ILLINOIS POLLUTION CONTROL BOARD

December 16, 2004

IN THE MATTER OF:	)

)

RCRA SUBTITLE C UPDATE, USEPA	)	R05-2

AMENDMENTS (January 1, 2004 through	)	(Identical-in-Substance

June 30, 2004 and October 25, 2004)	)	Rulemaking - Land)

Proposed Rule.  Proposal for Public Comment.

ORDER OF THE BOARD (by G.T. Girard):

## SUMMARY OF TODAY’S ACTION

This identical-in-substance rulemaking would update the Illinois hazardous waste regulations to incorporate revisions to the federal regulations.  The federal amendments that prompted this action were made by the United States Environmental Protection Agency (USEPA) during the period of January 1, 2004 through June 30, 2004 and October 25, 2004.  This proceeding proposes amendments to 35 Ill. Adm. Code 720, 722, 724, and 725.  This proposal for public comment would also make a series of non-substantive corrections and stylistic revisions to segments of the text of 35 Ill. Adm. Code 722 and 725 that are not otherwise affected by the covered federal amendments.

Sections 7.2 and 22.4(a) of the Environmental Protection Act (Act) (415 ILCS 5/7.2 and 22.4(a) (2002)) require the Board to adopt regulations that are “identical in substance” to hazardous waste regulations adopted by the USEPA.  These USEPA rules implement Subtitle C of the federal Resource Conservation and Recovery Act of 1976 (RCRA Subtitle C) (42 U.S.C. §§ 6921 et seq. (2000)).

Sections 7.2 and 22.4(a) provide for quick adoption of regulations that are identical in substance to federal regulations that USEPA adopts to implement Sections 3001 through 3005 of RCRA (42 U.S.C. §§ 6921-6925 (2000)).  Section 22.4(a) also provides that Title VII of the Act and section 5 of the Administrative Procedure Act (APA) (5 ILCS 100/5-35 and 5-40 (2002)) do not apply to the Board’s adoption of identical-in-substance regulations.  The federal RCRA Subtitle C regulations are found at 40 C.F.R. 260 through 266, 268, 270, 271, 273, and 279.

This order is supported by an opinion that the Board also adopts today.  The Board will cause the proposed amendments to be published in the Illinois Register and will hold the docket open to receive public comments for 45 days after the date of publication.

IT IS SO ORDERED.

TITLE 35:  ENVIRONMENTAL PROTECTION

SUBTITLE G:  WASTE DISPOSAL

CHAPTER I:  POLLUTION CONTROL BOARD

SUBCHAPTER c:  HAZARDOUS WASTE OPERATING REQUIREMENTS

PART 720

HAZARDOUS WASTE MANAGEMENT SYSTEM:  GENERAL

- SUBPART A:  GENERAL PROVISIONS

Section

720.101	Purpose, Scope, and Applicability

720.102	Availability of Information; Confidentiality of Information

720.103	Use of Number and Gender

- SUBPART B:  DEFINITIONS AND REFERENCES

Section

720.110	Definitions

720.111	References

- SUBPART C:  RULEMAKING PETITIONS AND OTHER PROCEDURES

Section

720.120	Rulemaking

720.121	Alternative Equivalent Testing Methods

720.122	Waste Delisting

720.123	Petitions for Regulation as Universal Waste

720.130	Procedures for Solid Waste Determinations

720.131	Solid Waste Determinations

720.132	Boiler Determinations

720.133	Procedures for Determinations

720.140	Additional Regulation of Certain Hazardous Waste Recycling Activities on a Case-by-Case Basis

720.141	Procedures for Case-by-Case Regulation of Hazardous Waste Recycling Activities

720.Appendix A	Overview of 40 CFR, Subtitle C Regulations

AUTHORITY:  Implementing Sections 7.2, 13, and 22.4 and authorized by Section 27 of the Environmental Protection Act [415 ILCS 5/7.2, 13, 22.4, and 27].

SOURCE:  Adopted in R81-22 at 5 Ill. Reg. 9781, effective May 17, 1982; amended and codified in R81-22 at 6 Ill. Reg. 4828, effective May 17, 1982; amended in R82-19 at 7 Ill. Reg. 14015, effective October 12, 1983; amended in R84-9 at 9 Ill. Reg. 11819, effective July 24, 1985; amended in R85-22 at 10 Ill. Reg. 968, effective January 2, 1986; amended in R86-1 at 10 Ill. Reg. 13998, effective August 12, 1986; amended in R86-19 at 10 Ill. Reg. 20630, effective December 2, 1986; amended in R86-28 at 11 Ill. Reg. 6017, effective March 24, 1987; amended in R86-46 at 11 Ill. Reg. 13435, effective August 4, 1987; amended in R87-5 at 11 Ill. Reg. 19280, effective November 12, 1987; amended in R87-26 at 12 Ill. Reg. 2450, effective January 15, 1988; amended in R87-39 at 12 Ill. Reg. 12999, effective July 29, 1988; amended in R88-16 at 13 Ill. Reg. 362, effective December 27, 1988; amended in R89-1 at 13 Ill. Reg. 18278, effective November 13, 1989; amended in R89-2 at 14 Ill. Reg. 3075, effective February 20, 1990; amended in R89-9 at 14 Ill. Reg. 6225, effective April 16, 1990; amended in R90-10 at 14 Ill. Reg. 16450, effective September 25, 1990; amended in R90-17 at 15 Ill. Reg. 7934, effective May 9, 1991; amended in R90-11 at 15 Ill. Reg. 9323, effective June 17, 1991; amended in R91-1 at 15 Ill. Reg. 14446, effective September 30, 1991; amended in R91-13 at 16 Ill. Reg. 9489, effective June 9, 1992; amended in R92-1 at 16 Ill. Reg. 17636, effective November 6, 1992; amended in R92-10 at 17 Ill. Reg. 5625, effective March 26, 1993; amended in R93-4 at 17 Ill. Reg. 20545, effective November 22, 1993; amended in R93-16 at 18 Ill. Reg. 6720, effective April 26, 1994; amended in R94-7 at 18 Ill. Reg. 12160, effective July 29, 1994; amended in R94-17 at 18 Ill. Reg. 17480, effective November 23, 1994; amended in R95-6 at 19 Ill. Reg. 9508, effective June 27, 1995; amended in R95-20 at 20 Ill. Reg. 10929, effective August 1, 1996; amended in R96-10/R97-3/R97-5 at 22 Ill. Reg. 256, effective December 16, 1997; amended in R98-12 at 22 Ill. Reg. 7590, effective April 15, 1998; amended in R97-21/R98-3/R98-5 at 22 Ill. Reg. 17496, effective September 28, 1998; amended in R98-21/R99-2/R99-7 at 23 Ill. Reg. 1704, effective January 19, 1999; amended in R99-15 at 23 Ill. Reg. 9094, effective July 26, 1999; amended in R00-5 at 24 Ill. Reg. 1063, effective January 6, 2000; amended in R00-13 at 24 Ill. Reg. 9443, effective June 20, 2000; amended in R01-3 at 25 Ill. Reg. 1266, effective January 11, 2001; amended in R01-21/R01-23 at 25 Ill. Reg. 9168, effective July 9, 2001; amended in R02-1/R02-12/R02-17 at 26 Ill. Reg. 6550, effective April 22, 2002; amended in R03-7 at 27 Ill. Reg. 3712, effective February 14, 2003; amended in R03-18 at 27 Ill. Reg. 12713, effective July 17, 2003; amended in R05-2 at 29 Ill. Reg. ________, effective ______________________.

- SUBPART B:  DEFINITIONS AND REFERENCES

- Section 720.111	References

The following documents are incorporated by reference for the purposes of this Part and 35 Ill. Adm. Code 703 through 705, 721 through 726, 728, 730, 733, 738, and 739:

a)	Non-Regulatory Government Publications and Publications of Recognized Organizations and Associations:

ACI.  Available from the American Concrete Institute, Box 19150, Redford Station, Detroit, Michigan  48219:

ACI 318-83:  “Building Code Requirements for Reinforced Concrete,” adopted September 1983.

ANSI.  Available from the American National Standards Institute, 1430 Broadway, New York, New York  10018, 212-354-3300:

ANSI B31.3 and B31.4.  See ASME/ANSI B31.3 and B31.4.

API.  Available from the American Petroleum Institute, 1220 L Street, N.W., Washington, D.C.  20005, 202-682-8000:

“Cathodic Protection of Underground Petroleum Storage Tanks and Piping Systems,” API Recommended Practice 1632, Second Edition, December 1987.

“Evaporative Loss from External Floating-Roof Tanks,” API Publication 2517, Third Edition, February 1989.

“Guide for Inspection of Refinery Equipment, Chapter XIII, Atmospheric and Low Pressure Storage Tanks,” 4th Edition, 1981, reaffirmed December 1987.

“Installation of Underground Petroleum Storage Systems,” API Recommended Practice 1615, Fourth Edition, November 1987.

ASME.  Available from the American Society of Mechanical Engineers, 345 East 47th Street, New York, NY  10017, 212-705-7722:

“Chemical Plant and Petroleum Refinery Piping,” ASME/ANSI B31.3-1987, as supplemented by B31.3a-1988 and B31.3b-1988.  Also available from ANSI.

“Liquid Transportation Systems for Hydrocarbons, Liquid Petroleum Gas, Anhydrous Ammonia, and Alcohols,” ASME/ANSI B31.4-1986, as supplemented by B31.4a-1987.  Also available from ANSI.

ASTM.  Available from American Society for Testing and Materials, 100 Barr Harbor Drive, West Conshohocken, PA 19428-2959, 610-832-9585:

ASTM C 94-90, Standard Specification for Ready-Mixed Concrete, approved March 30, 1990.

ASTM D 88-87, Standard Test Method for Saybolt Viscosity, April 24, 1981, reapproved January 1987.

ASTM D 93-85, Standard Test Methods for Flash Point by Pensky-Martens Closed Tester, approved October 25, 1985.

ASTM D 140–70, Standard Practice for Sampling Bituminous Materials, approved 1970.

ASTM D 346–75, Standard Practice for Collection and Preparation of Coke Samples for Laboratory Analysis, approved 1975.

ASTM D 420–69, Guide to Site Characterization for Engineering, Design, and Construction Purposes, approved 1969.

ASTM D 1452–65, Standard Practice for Soil Investigation and Sampling by Auger Borings, approved 1965.

ASTM D 1946-90, Standard Practice for Analysis of Reformed Gas by Gas Chromatography, approved March 30, 1990.

ASTM D 2161-87, Standard Practice for Conversion of Kinematic Viscosity to Saybolt Universal or to Saybolt Furol Viscosity, March 27, 1987.

ASTM D 2234–76, Standard Practice for Collection of a Gross Sample of Coal, approved 1976.

ASTM D 2267-88, Standard Test Method for Aromatics in Light Naphthas and Aviation Gasolines by Gas Chromatography, approved November 17, 1988.

ASTM D 2382-88, Standard Test Method for Heat of Combustion of Hydrocarbon Fuels by Bomb Calorimeter (High Precision Method), approved October 31, 1988.

ASTM D 2879-92, Standard Test Method for Vapor Pressure-Temperature Relationship and Initial Decomposition Temperature of Liquids by Isoteniscope, approved 1992.

ASTM D 3828-87, Standard Test Methods for Flash Point of Liquids by Setaflash Closed Tester, approved December 14, 1988.

ASTM E 168-88, Standard Practices for General Techniques of Infrared Quantitative Analysis, approved May 27, 1988.

ASTM E 169-87, Standard Practices for General Techniques of Ultraviolet-Visible Quantitative Analysis, approved February 1, 1987.

ASTM E 260-85, Standard Practice for Packed Column Gas Chromatography, approved June 28, 1985.

ASTM Method G 21-70 (1984a), Standard Practice for Determining Resistance of Synthetic Polymer Materials to Fungi.

ASTM Method G 22-76 (1984b), Standard Practice for Determining Resistance of Plastics to Bacteria.

MICE.  Methods Information Communication Exchange Service, 703-821-4690:

“Test Methods for Evaluating Solid Waste, Physical/Chemical Methods,” USEPA publication number SW-846, Update IIIA (April 1998).

GPO.  Available from the Superintendent of Documents, U.S. Government Printing Office, Washington, D.C.  20402,202-512-1800:

Standard Industrial Classification Manual (1972), and 1977 Supplement, republished in 1983.

“Test Methods for Evaluating Solid Waste, Physical/Chemical Methods,” USEPA Publication number SW-846 (Third Edition, November 1986), as amended by Updates I (July 1992), II (September 1994), IIA (August, 1993), IIB (January 1995), and III (December 1996) (document number 955-001-00000-1).

NACE.  Available from the National Association of Corrosion Engineers, 1400 South Creek Dr., Houston, TX  77084, 713-492-0535:

“Control of External Corrosion on Metallic Buried, Partially Buried, or Submerged Liquid Storage Systems,” NACE Recommended Practice RP-02-85, approved March 1985.

NFPA.  Available from the National Fire Protection Association, Batterymarch Park, Boston, MA  02269, 617-770-3000 or 800-344-3555:

“Flammable and Combustible Liquids Code,” NFPA 30, issued July 17, 1987.  Also available from ANSI.

NTIS.  Available from the U.S. Department of Commerce, National Technical Information Service, 5285 Port Royal Road, Springfield, VA  22161, 703-605-6000 or 800-553-6847:

APTI Course 415:  Control of Gaseous Emissions, PB80-208895, December 1981.

“Generic Quality Assurance Project Plan for Land Disposal Restrictions Program,” EPA/530-SW-87-011, March 15, 1987 (document number PB88-170766).

“Guideline on Air Quality Models,” Revised 1986 (document number PB86-245-248 (Guideline) and PB88-150-958 (Supplement), also set forth at 40 CFR 51, Appendix W).

“Method 164, Revision A, n-Hexane Extractable Material (HEM; Oil and Grease) and Silica Gel Treated n-Hexane Extractable Material (SGT-HEM; Non-polar Material) by Extraction and Gravimetry” (document number PB99-121949).

“Methods for Chemical Analysis of Water and Wastes,” Third Edition, March 1983 (document number PB84-128677).

“Methods Manual for Compliance with BIF Regulations,” December 1990 (document number PB91-120-006).

“Screening Procedures for Estimating the Air Quality Impact of Stationary Sources,” October 1992, publication number EPA-450/R-92-019.

“Test Methods for Evaluating Solid Waste, Physical/Chemical Methods,” USEPA Publication number SW-846 (Third Edition, November 1986), as amended by Updates I (July 1992), II (September 1994), IIA (August 1993), IIB (January 1995),  III (December 1996), and IIIA (April 1998) (document number 955-001-00000-1).

OECD.  Organisation for Economic Co-operation and Development, Environment Directorate, 2 rue Andre Pascal, 75775 Paris Cedex 16, France (www.oecd.org), also OECD Washington Center, 2001 L Street, NW Suite 650, Washington, DC 20036-4922, 202-785-6323 or 800-456-6323 (www.oecdwash.org):

OECD Amber List of Wastes, Appendix 4 to the OECD Council Decision C(92)39/FINAL (March 30, 1992), “Decision of the Council Concerning the Control of Transfrontier Movements of Wastes Destined for Recovery Operations.”

OECD Green List of Wastes, Appendix 3 to the OECD Council Decision C(92)39/FINAL (March 30, 1992), “Decision of the Council Concerning the Control of Transfrontier Movements of Wastes Destined for Recovery Operations.”

OECD Guideline for Testing of Chemicals, “Ready Biodegradability,” Method 301B: (July 17, 1992),  “CO2 Evolution (Modified Sturm Test),.” adopted 17 July 1992.

OECD Red List of Wastes, Appendix 5 to the OECD Council Decision C(92)39/FINAL (March 30, 1992), “Decision of the Council Concerning the Control of Transfrontier Movements of Wastes Destined for Recovery Operations.”

Table 2.B of the Annex of OECD Council Decision C(88)90(Final) of 27 May 1988 (May 27, 1988), amended by C(94)152(Final) (July 28, 1994), “Decision of the Council on Transfrontier Movements of Hazardous Wastes”.

STI.  Available from the Steel Tank Institute, 728 Anthony Trail, Northbrook, IL  60062, 708-498-1980:

“Standard for Dual Wall Underground Steel Storage Tanks” (1986).

USDOD.  Available from the United States Department of Defense:

“DOD Ammunition and Explosives Safety Standards” (DOD 6055.9-STD), as in effect in July 1999.

The Motor Vehicle Inspection Report (DD Form 626), as in effect on November 8, 1995.

Requisition tracking form (DD Form 1348), as in effect on November 8, 1995.

The Signature and Tally Record (DD Form 1907), as in effect on November 8, 1995.

Special Instructions for Motor Vehicle Drivers (DD Form 836), as in effect on November 8, 1995.

USEPA.  Available from United States Environmental Protection Agency, Office of Drinking Water, State Programs Division, WH 550 E, Washington, D.C.  20460:

“Technical Assistance Document:  Corrosion, Its Detection and Control in Injection Wells,” EPA 570/9-87-002, August 1987.

USEPA.  Available from Receptor Analysis Branch, USEPA (MD-14), Research Triangle Park, NC  27711:

“Samplers and Sampling Procedures for Hazardous Waste Streams,” EPA 600/2–80–018, January 1980.

“Screening Procedures for Estimating the Air Quality Impact of Stationary Sources, Revised,” October 1992, publication number EPA-450/R-92-019.

USEPA.  Available from RCRA Docket Information Center, 401 M Street, SW, Washington, D.C. 20460 (phone:  202-566-0270) (Docket # F-94-IEHF-FFFFF):

OECD Amber List of Wastes, Appendix 4 to the OECD Council Decision C(92)39/FINAL (Concerning the Control of Transfrontier Movements of Wastes Destined for Recovery Operations) (May 1993).

OECD Green List of Wastes, Appendix 3 to the OECD Council Decision C(92)39/FINAL (Concerning the Control of Transfrontier Movements of Wastes Destined for Recovery Operations) (May 1994).

OECD Red List of Wastes, Appendix 5 to the OECD Council Decision C(92)39/FINAL (Concerning the Control of Transfrontier Movements of Wastes Destined for Recovery Operations) (May 1993).

Table 2.B of the Annex of OECD Council Decision C(88)90(Final) (May 27, 1988).

USEPA Region 6.  Available from United States Environmental Protection Agency, Region 6, Multimedia Permitting and Planning Division, 1445 Ross Avenue, Dallas, TX 75202 (phone:  214-665-7430):

“EPA RCRA Delisting Program--Guidance Manual for the Petitioner,” March 23, 2000.

USGSA.  Available from the United States Government Services Administration:

Government Bill of Lading (GBL) (GSA Standard Form 1109), as in effect on November 8, 1995.

b)	Code of Federal Regulations.  Available from the Superintendent of Documents, U.S. Government Printing Office, Washington, D.C.  20401, 202-783-3238:

10 CFR 20.2006 (2002) (2004)

10 CFR 20, Appendix B (2002) (2004)

10 CFR 71 (2002) (2004)

40 CFR 51.100(ii) (2002) (2004)

40 CFR 51, Appendix W (2002) (2004)

40 CFR 52.741, Appendix B (2002) (2004)

40 CFR 60 (2002) (2004)

40 CFR 61, Subpart V (2002) (2004)

40 CFR 63 (2002), as amended at 67 Fed. Reg. 77687 (December 19, 2002) (2004)

40 CFR 136 (2002), as amended at 67 Fed. Reg. 65220 (October 23, 2002) and 67 Fed. Reg. 65876 (October 29, 2002) (2004)

40 CFR 142 (2002) (2004)

40 CFR 220 (2002) (2004)

40 CFR 232.2 (2002) (2004)

40 CFR 260.20 (2002) (2004)

40 CFR 262.53 through 262.57 and Appendix (2004)

40 CFR 264 (2002) (2004)

40 CFR 265, Appendices I, and III through V (2004)

40 CFR 268, Appendix IX (2002) (2004)

40 CFR 270.5 (2002) (2004)

40 CFR 302.4, 302.5, and 302.6 (2002) (2004)

40 CFR 423, appendix A (2002) (2004)

40 CFR 761 (2002) (2004)

49 CFR 107 (2002) (2003)

49 CFR 171 (2002) (2003)

49 CFR 172 (2002) (2003)

49 CFR 173 (2002) (2003)

49 CFR 178 (2002) (2003)

49 CFR 179 (2002) (2003)

c)	Federal Statutes:

Sections 201(v), 201(w), and 360b(j) of the Federal Food, Drug, and Cosmetic Act (FFDCA; 21 USC 321(v), 321(w), and 512(j)), as amended through October 25, 1994 January 2, 2001.

Section 1412 of the Department of Defense Authorization Act of 1986, Pub. L. 99-145, 50 USC 1521(j)(1) (1997), as amended through January 23, 2000.

d)	This Section incorporates no later editions or amendments.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART C:  RULEMAKING PETITIONS AND OTHER PROCEDURES

- Section 720.122	Waste Delisting

a)	Any person seeking to exclude a waste from a particular generating facility from the lists in Subpart D of 35 Ill. Adm. Code 721 may file a petition, as specified in subsection (n) of this Section.  The Board will grant the petition if the following occur:

1)	The petitioner demonstrates that the waste produced by a particular generating facility does not meet any of the criteria under which the waste was listed as a hazardous or acute hazardous waste; and

2)	If the Board determines that there is a reasonable basis to believe that factors (including additional constituents) other than those for which the waste was listed could cause the waste to be a hazardous waste, that such factors do not warrant retaining the waste as a hazardous waste.  A Board determination under the preceding sentence must be made by reliance on, and in a manner consistent with, “EPA RCRA Delisting Program--Guidance Manual for the Petitioner,” incorporated by reference in Section 720.111(a).  A waste that is so excluded, however, still may be a hazardous waste by operation of Subpart C of 35 Ill. Adm. Code 721.

b)	Listed wastes and mixtures.  A person may also petition the Board to exclude from 35 Ill. Adm. Code 721.103(a)(2)(B) or (a)(2)(C), a waste that is described in these Sections and is either a waste listed in Subpart D of 35 Ill. Adm. Code 721, or is derived from a waste listed in that Subpart.  This exclusion may only be granted for a particular generating, storage, treatment, or disposal facility.  The petitioner must make the same demonstration as required by subsection (a) of this Section.  Where the waste is a mixture of a solid waste and one or more listed hazardous wastes or is derived from one or more listed hazardous wastes, the demonstration must be made with respect to the waste mixture as a whole; analyses must be conducted for not only those constituents for which the listed waste contained in the mixture was listed as hazardous, but also for factors (including additional constituents) that could cause the waste mixture to be a hazardous waste.  A waste that is so excluded may still be a hazardous waste by operation of Subpart C of 35 Ill. Adm. Code 721.

c)	Ignitable, corrosive, reactive and toxicity characteristic wastes.  If the waste is listed in codes “I,” “C,” “R,” or “E” in Subpart D of 35 Ill. Adm. Code 721:

1)	The petitioner must demonstrate that the waste does not exhibit the relevant characteristic for which the waste was listed, as defined in 35 Ill. Adm. Code 721.121, 721.122, 721.123, or 721.124, using any applicable methods prescribed in those Sections.  The petitioner must also show that the waste does not exhibit any of the other characteristics, defined in those Sections, using any applicable methods prescribed in those Sections;

2)	Based on a complete petition, the Board will determine, if it has a reasonable basis to believe that factors (including additional constituents) other than those for which the waste was listed could cause the waste to be hazardous waste, that such factors do not warrant retaining the waste as a hazardous waste.  A Board determination under the preceding sentence must be made by reliance on, and in a manner consistent with, “EPA RCRA Delisting Program--Guidance Manual for the Petitioner,” incorporated by reference in Section 720.111(a).  A waste that is so excluded, however, may still be a hazardous waste by operation of Subpart C of 35 Ill. Adm. Code 721.

d)	Toxic waste.  If the waste is listed in code “T” in Subpart D of 35 Ill. Adm. Code 721:

1)	The petitioner must demonstrate that the waste fulfills the following criteria:

A)	It does not contain the constituent or constituents (as defined in Appendix G of 35 Ill. Adm. Code 721) that caused USEPA to list the waste, using the appropriate test methods prescribed in “Test Methods for Evaluating Solid Waste, Physical/Chemical Methods,” USEPA Publication SW-846, as incorporated by reference in Section 720.111(a); or

B)	Although containing one or more of the hazardous constituents (as defined in Appendix G of 35 Ill. Adm. Code 721) that caused USEPA to list the waste, the waste does not meet the criterion of 35 Ill. Adm. Code 721.111(a)(3) when considering the factors used in 35 Ill. Adm. Code 721.111(a)(3)(A) through (a)(3)(K) under which the waste was listed as hazardous; and

2)	Based on a complete petition, the Board will determine, if it has a reasonable basis to believe that factors (including additional constituents) other than those for which the waste was listed could cause the waste to be hazardous waste, that such factors do not warrant retaining the waste as a hazardous waste.

3)	The petitioner must demonstrate that the waste does not exhibit any of the characteristics, defined in 35 Ill. Adm. Code 721.121, 721.122, 721.123, or 721.124, using any applicable methods prescribed in those Sections.

4)	A waste that is so excluded, however, may still be a hazardous waste by operation of Subpart C of 35 Ill. Adm. Code 721.

e)	Acute hazardous waste.  If the waste is listed with the code “H” in Subpart D of 35 Ill. Adm. Code 721:

1)	The petitioner must demonstrate that the waste does not meet the criterion of 35 Ill. Adm. Code 721.111(a)(2); and

2)	Based on a complete petition, the Board will determine, if it has a reasonable basis to believe that factors (including additional constituents) other than those for which the waste was listed could cause the waste to be hazardous waste, that such factors do not warrant retaining the waste as a hazardous waste.  A Board determination under the preceding sentence must be made by reliance on, and in a manner consistent with, “EPA RCRA Delisting Program--Guidance Manual for the Petitioner,” incorporated by reference in Section 720.111(a).

3)	The petitioner must demonstrate that the waste does not exhibit any of the characteristics, defined in 35 Ill. Adm. Code 721.121, 721.122, 721.123, or 721.124, using any applicable methods prescribed in those Sections.

4)	A waste that is so excluded, however, may still be a hazardous waste by operation of Subpart C of 35 Ill. Adm. Code 721.

f)	This subsection corresponds with 40 CFR 260.22(f), which USEPA has marked “reserved.”  This statement maintains structural consistency with the federal regulations.

g)	This subsection corresponds with 40 CFR 260.22(g), which USEPA has marked “reserved.”  This statement maintains structural consistency with the federal regulations.

h)	Demonstration samples must consist of enough representative samples, but in no case less than four samples, taken over a period of time sufficient to represent the variability or the uniformity of the waste.

i)	Each petition must include, in addition to the information required by subsection (n) of this Section:

1)	The name and address of the laboratory facility performing the sampling or tests of the waste;

2)	The names and qualifications of the persons sampling and testing the waste;

3)	The dates of sampling and testing;

4)	The location of the generating facility;

5)	A description of the manufacturing processes or other operations and feed materials producing the waste and an assessment of whether such processes, operations, or feed materials can or might produce a waste that is not covered by the demonstration;

6)	A description of the waste and an estimate of the average and maximum monthly and annual quantities of waste covered by the demonstration;

7)	Pertinent data on and discussion of the factors delineated in the respective criterion for listing a hazardous waste, where the demonstration is based on the factors in 35 Ill. Adm. Code 721.111(a)(3);

8)	A description of the methodologies and equipment used to obtain the representative samples;

9)	A description of the sample handling and preparation techniques, including techniques used for extraction, containerization, and preservation of the samples;

10)	A description of the tests performed (including results);

11)	The names and model numbers of the instruments used in performing the tests; and

12)	The following statement signed by the generator or the generator’s authorized representative:

I certify under penalty of law that I have personally examined and am familiar with the information submitted in this demonstration and all attached documents, and that, based on my inquiry of those individuals immediately responsible for obtaining the information, I believe that the submitted information is true, accurate and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment.

j)	After receiving a petition, the Board may request any additional information that the Board needs to evaluate the petition.

k)	An exclusion will only apply to the waste generated at the individual facility covered by the demonstration and will not apply to waste from any other facility.

l)	The Board will exclude only part of the waste for which the demonstration is submitted if the Board determines that variability of the waste justifies a partial exclusion.

BOARD NOTE:  See “EPA RCRA Delisting Program--Guidance Manual for the Petitioner,” incorporated by reference in Section 720.111(a).

m)	Delisting of specific wastes from specific sources that have been adopted by USEPA may be proposed as State regulations that are identical in substance pursuant to Section 720.120(a).

n)	Delistings that have not been adopted by USEPA may be proposed to the Board pursuant to a petition for adjusted standard pursuant to Section 28.1 of the Act [415 ILCS 5/28.1] and Subpart D of 35 Ill. Adm. Code 104.  The justification for the adjusted standard is as specified in subsections (a) through (g) of this Section, as applicable to the waste in question.  The petition must be clearly labeled as a RCRA delisting adjusted standard petition.

1)	In accordance with 35 Ill. Adm. Code 101.304, the petitioner must serve copies of the petition, and any other documents filed with the Board, on USEPA at the following addresses:

USEPA

Office of Solid Waste and Emergency Response

1200 Pennsylvania Avenue, NW

Washington, D.C. 20460

USEPA, Region 5

77 West Jackson Boulevard

Chicago, IL 60604

2)	The Board will mail copies of all opinions and orders to USEPA at the above addresses.

3)	In conjunction with the normal updating of the RCRA regulations, the Board will maintain, in Appendix I of 35 Ill. Adm. Code 721, a listing of all adjusted standards granted by the Board.

o)	The Agency may determine in a permit or a letter directed to a generator that, based on 35 Ill. Adm. Code 721, a waste from a particular source is not subject to these regulations.  Such a finding is evidence against the Agency in any subsequent proceedings but will not be conclusive with reference to other persons or the Board.

p)	Any petition to delist directed to the Board or request for determination directed to the Agency must include a showing that the waste will be generated or managed in Illinois.

q)	The Board will not grant any petition that would render the Illinois RCRA program less stringent than if the decision were made by USEPA.

r)	Delistings apply only within Illinois.  Generators must comply with 35 Ill. Adm. Code 722 for waste that is hazardous in any state to which it is to be transported.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

TITLE 35:  ENVIRONMENTAL PROTECTION

SUBTITLE G:  WASTE DISPOSAL

CHAPTER I:  POLLUTION CONTROL BOARD

SUBCHAPTER c:  HAZARDOUS WASTE OPERATING REQUIREMENTS

PART 722

STANDARDS APPLICABLE TO GENERATORS OF HAZARDOUS WASTE

- SUBPART A:  GENERAL

Section

722.110	Purpose, Scope, and Applicability

722.111	Hazardous Waste Determination

722.112	USEPA Identification Numbers

- SUBPART B:  THE MANIFEST

Section

722.120	General Requirements

722.121	Acquisition of Manifests

722.122	Number of Copies

722.123	Use of the Manifest

- SUBPART C:  PRE-TRANSPORT REQUIREMENTS

Section

722.130	Packaging

722.131	Labeling

722.132	Marking

722.133	Placarding

722.134	Accumulation Time

- SUBPART D:  RECORDKEEPING AND REPORTING

Section

722.140	Recordkeeping

722.141	Annual Reporting

722.142	Exception Reporting

722.143	Additional Reporting

722.144	Special Requirements for Generators of between 100 and 1,000 kilograms per month

- SUBPART E:  EXPORTS OF HAZARDOUS WASTE

Section

722.150	Applicability

722.151	Definitions

722.152	General Requirements

722.153	Notification of Intent to Export

722.154	Special Manifest Requirements

722.155	Exception Report

722.156	Annual Reports

722.157	Recordkeeping

722.158	International Agreements

- SUBPART F:  IMPORTS OF HAZARDOUS WASTE

Section

722.160	Imports of Hazardous Waste

- SUBPART G:  FARMERS

Section

722.170	Farmers

- SUBPART H:  TRANSFRONTIER SHIPMENTS OF HAZARDOUS WASTE FOR RECOVERY WITHIN THE OECD

Section

722.180	Applicability

722.181	Definitions

722.182	General Conditions

722.183	Notification and Consent

722.184	Tracking Document

722.185	Contracts

722.186	Provisions Relating to Recognized Traders

722.187	Reporting and Recordkeeping

722.189	OECD Waste Lists

722.Appendix A	Hazardous Waste Manifest

AUTHORITY:  Implementing Sections 7.2 and 22.4 and authorized by Section 27 of the Environmental Protection Act [415 ILCS 5/7.2, 22.4, and 27].

SOURCE:  Adopted in R81-22 at 5 Ill. Reg. 9781, effective May 17, 1982; amended and codified in R81-22 at 6 Ill. Reg. 4828, effective May 17, 1982; amended in R82-18 at 7 Ill. Reg. 2518, effective February 22, 1983; amended in R84-9 at 9 Ill. Reg. 11950, effective July 24, 1985; amended in R85-22 at 10 Ill. Reg. 1131, effective January 2, 1986; amended in R86-1 at 10 Ill. Reg. 14112, effective August 12, 1986; amended in R86-19 at 10 Ill. Reg. 20709, effective December 2, 1986; amended in R86-46 at 11 Ill. Reg. 13555, effective August 4, 1987; amended in R87-5 at 11 Ill. Reg. 19392, effective November 12, 1987; amended in R87-39 at 12 Ill. Reg. 13129, effective July 29, 1988; amended in R88-16 at 13 Ill. Reg. 452, effective December 27, 1988; amended in R89-1 at 13 Ill. Reg. 18523, effective November 13, 1989; amended in R90-10 at 14 Ill. Reg. 16653, effective September 25, 1990; amended in R90-11 at 15 Ill. Reg. 9644, effective June 17, 1991; amended in R91-1 at 15 Ill. Reg. 14562, effective October 1, 1991; amended in R91-13 at 16 Ill. Reg. 9833, effective June 9, 1992; amended in R92-1 at 16 Ill. Reg. 17696, effective November 6, 1992; amended in R93-4 at 17 Ill. Reg. 20822, effective November 22, 1993; amended in R95-6 at 19 Ill. Reg. 9935, effective June 27, 1995; amended in R95-20 at 20 Ill. Reg. 11236, effective August 1, 1996; amended in R96-10/R97-3/R97-5 at 22 Ill. Reg. 603, effective December 16, 1997; amended in R97-21/R98-3/R98-5 at 22 Ill. Reg. 17950, effective September 28, 1998; amended in R00-5 at 24 Ill. Reg. 1136, effective January 6, 2000; amended in R00-13 at 24 Ill. Reg. 9822, effective June 20, 2000; expedited correction at 25 Ill. Reg. 5105, effective June 20, 2000; amended in R05-2 at 29 Ill. Reg. ________, effective ______________________.

- SUBPART A:  GENERAL

- Section 722.110	Purpose, Scope, and Applicability

a)	These regulations establish This Part establishes standards for generators of hazardous waste.

b)	A generator must use 35 Ill. Adm. Code 721.105(c) and (d) must be used to determine the applicability of provisions of this Part that are dependent on calculations of the quantity of hazardous waste generated per month.

c)	A generator that treats, stores, or disposes of a hazardous waste on-site must only comply only with the following Sections of this Part with respect to that waste:  Section 722.111, for determining whether or not the generator has a hazardous waste,; Section 722.112, for obtaining an USEPA identification number,; Section 722.140(c) and (d), for recordkeeping,; Section 722.143, for additional reporting; and, if applicable, Section 722.170, for farmers, if applicable.

d)	Any person that exports or imports hazardous waste that is subject to the hazardous waste manifesting requirements of this Part or subject to the universal waste management standards of 35 Ill. Adm. Code 733, to or from countries listed in Section 722.158(a)(1) for recovery, must comply with Subpart H of this Part.

e)	This subsection corresponds with 40 CFR 262.10(e), a federal provision imposing the generator standards on a person importing hazardous waste into the United States.  The regulation of international trade is a matter within the exclusive authority of the federal government.  This statement maintains structural consistency with USEPA rules.Any person that imports hazardous waste into the United States must comply with the generator standards of this Part.

f)	A farmer that generates waste pesticides which that are hazardous waste and that complies with all of the requirements of Section 722.170 is not required to comply with other standards in this Part, or 35 Ill. Adm. Code 702, 703, 724, 725, or 728 with respect to such pesticides.

g)	A person that generates a hazardous waste, as defined by 35 Ill. Adm. Code 721, is subject to the compliance requirements and penalties prescribed in Title VIII and XII of the Environmental Protection Act if he that person does not comply with the requirements of this Part.

h)	An owner or operator that initiates a shipment of hazardous waste from a treatment, storage, or disposal facility must comply with the generator standards established in this Part.

i)	A person responding to an explosives or munitions emergency in accordance with 35 Ill. Adm. Code 724.101(g)(8)(A)(iv) or (g)(8)(D) or 35 Ill. Adm. Code 725.101(c)(11)(A)(iv) or (c)(11)(D) and 35 Ill. Adm. Code 703.121(a)(4) or (c) is not required to comply with the standards of this part.

BOARD NOTE:  The provisions of Section 722.134 are applicable to the on-site accumulation of hazardous waste by generators.  Therefore, the provisions of Section 722.134 only apply to owners or operators that are shipping hazardous waste which they generated at that facility.  A generator that treats, stores, or disposes of hazardous waste on-site must comply with the applicable standards and permit requirements set forth in 35 Ill. Adm. Code 702, 703, 724, 725, 726, and 728.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.111	Hazardous Waste Determination

A person who that generates a solid waste, as defined in 35 Ill. Adm. Code 721.102, shall must determine if that waste is a hazardous waste using the following method:

a)	The person should first determine if the waste is excluded from regulation under 35 Ill. Adm. Code 721.104.

b)	The person should then determine if the waste is listed as a hazardous waste in 35 Subpart D of Ill. Adm. Code 721.Subpart D.

(Board Note:  BOARD NOTE:  Even if a waste is listed as a hazardous waste, the generator still has an opportunity under 35 Ill. Adm. Code 720.122 and 40 CFR 260.22 (1986) to demonstrate that the waste from the generator’s particular facility or operation is not a hazardous waste.

c)	For purposes of compliance with 35 Ill. Adm. Code 728, or if the waste is not listed as a hazardous waste in Subpart D of 35 Ill. Adm. Code 721.Subpart D, the generator shall must then determine whether the waste is identified in Subpart C of 35 Ill. Adm. Code 721.Subpart C by either of the following methods:

1)	Testing the waste according to the methods set forth in Subpart C of 35 Ill. Adm. Code 721.Subpart C, or according to an equivalent method approved by the Board under 35 Ill. Adm. Code 720.121; or

2)	Applying knowledge of the hazard characteristic of the waste in light of the materials or processes used.

d)	If the generator determines that the waste is hazardous, the generator shall must refer to 35 Ill. Adm. Code 724, 725, 728, and 733 for possible exclusions or restrictions pertaining to the management of the specific waste.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.112	USEPA Identification Numbers

a)	A generator must not treat, store, dispose of, transport, or offer for transportation, hazardous waste without having received an a USEPA identification number from the Administrator USEPA.

b)	A generator who that has not received an a USEPA identification number may obtain one by applying to the Administrator using USEPA form 8700-12.  Upon receiving the request the Administrator USEPA will assign an a USEPA identification number to the generator.

c)	A generator must not offer his its hazardous waste to transporters or to treatment, storage or disposal facilities that have not received an a USEPA identification number.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

### SUBPART B:  THE MANIFEST

#### Section 722.120	General Requirements

a)	A generator who that transports, hazardous waste or offers hazardous waste for transportation, hazardous waste for off-site treatment, storage, or disposal must prepare a manifest before transporting the waste off-site.

b)	A generator must designate on the manifest one receiving facility which that is permitted to handle the waste described on the manifest.

c)	A generator may also designate on the manifest one alternate receiving facility which that is permitted to handle his waste in the event an emergency prevents delivery of the waste to the primary designated facility.

d)	If the transporter is unable to deliver the hazardous waste to the designated receiving facility or the alternate facility, the generator must either designate another receiving facility or instruct the transporter to return the waste.

e)	The requirements of this Subpart B do not apply to hazardous waste produced by generators of greater than 100 kg but less than 1,000 kg in a calendar month where the following conditions are fulfilled:

1)	The waste is reclaimed under a contractual agreement pursuant to which: that specifies the type of waste and frequency of shipments;

A)	The type of waste and frequency of shipments are specified in the agreement:

B2)	The vehicle used to transport the waste to the recycling facility and to deliver regenerated material back to the generator is owned and operated by the reclaimer of the waste; and

23)	The generator maintains a copy of the reclamation agreement in his files for a period of at least three years after termination or expiration of the agreement.

f)	The requirements of this Subpart B and Section 722.132(b) do not apply to the transport of hazardous wastes on a public or private right-of-way within or along the border of contiguous property under the control of the same person, even if such contiguous property is divided by a public or private right-of-way.  Notwithstanding 35 Ill. Adm. Code 723.110(a), the generator or transporter shall must comply with the requirements for transporters set forth in 35 Ill. Adm. Code 723.130 and 723.131 in the event of a discharge of hazardous waste on a public or private right-of-way.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.121	Acquisition of Manifests

a)	If the State of Illinois is the state to which the shipment is manifested (consignment designated receiving state), the generator shall must use the manifest supplied by the Agency.

b)	If the State of Illinois is not the consignment designated receiving state, the generator shall must use the manifest required by the consignment designated receiving state.  If the consignment designated receiving state does not supply and require the manifest, then the generator shall must use the manifest supplied by the Agency.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.123	Use of the Manifest

a)	The generator shall do the following:

1)	Sign the manifest certification by hand; and

2)	Obtain the handwritten signature of the initial transporter and date of acceptance on the manifest; and

3)	Retain one copy, in accordance with Section 722.140(a); and

4)	Send one copy of the manifest to the Agency within two working days.

b)	The generator shall must give the transporter the remaining copies of the manifest.

c)	For shipments of hazardous waste within the United States solely by water (bulk shipments only), the generator shall must send three copies of the manifest dated and signed in accordance with this Section to the owner or operator of the designated receiving facility, if that facility is in the United States, or to the last water (bulk shipment) transporter to handle the waste in the United States, if the waste is exported by water.  Copies of the manifest are not required for each transporter.

d)	For rail shipments of hazardous waste within the United States which that originate at the site of generation, the generator shall must send at least three copies of the manifest dated and signed in accordance with this Section to the following persons:

1)	The next non-rail transporter, if any; or

2)	The designated receiving facility, if the waste is transported solely by rail; or

3)	The last rail transporter to handle the waste in the United States, if the waste is exported by rail.

BOARD NOTE:  See Section 723.120(e) and (f) for special provisions for rail or water (bulk shipment) transporters.

e)	For shipments of hazardous waste to a designated receiving facility in an authorized state which that has not yet obtained authorization to regulate that particular waste as hazardous, the generator shall must assure that the designated receiving facility agrees to sign and return the manifest to the generator, and that any out-of-state transporter signs and forwards the manifest to the designated receiving facility.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART C:  PRE-TRANSPORT REQUIREMENTS

- Section 722.130	Packaging

Before transporting hazardous waste or offering hazardous waste for transportation off-site, a generator must package the waste in accordance with the applicable U.S. Department of Transporation Transportation (USDOT) regulations on packaging under 49 CFR Parts 173, 178, and 179, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.131	Labeling

Before transporting or offering hazardous waste for transportation off-site, a generator must label each package in accordance with the applicable Department of Transportation USDOT regulations on hazardous materials under 49 CFR Part 172, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.132	Marking

a)	Before transporting or offering hazardous waste for transportation off-site, a generator must mark each package of hazardous waste in accordance with the applicable Department of Transportation USDOT regulations on hazardous materials under 49 CFR Part 172, incorporated by reference in 35 Ill. Adm. Code 720.111(b);

b)	Before transporting hazardous waste or offering hazardous waste for transportation off-site, a generator must mark each container of 416 liters (110 gallons) or less that is used in such transportation with the following words and information displayed in accordance with the requirements of 49 CFR 172.304, incorporated by reference in 35 Ill. Adm. Code 720.111(b):

HAZARDOUS WASTE -- Federal Law Prohibits Improper Disposal.  If found, contact the nearest police or public safety authority or the U.S. Environmental Protection Agency.

Generator’s Name and Address _______________________.

Manifest Document Number _________________________.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.133	Placarding

Before transporting hazardous waste or offering hazardous waste for transportation off-site, a generator must placard or offer the initial transporter the appropriate placards according to Department of Transportation regulations for hazardous materials under Subpart F of 49 CFR Part 172, Subpart F, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.134	Accumulation Time

a)	Except as provided in subsection (d), (e), (f), (g), (h), or (i) of this Section, a generator is exempt from all the requirements in Subparts G and H of 35 Ill. Adm. Code 725.Subparts G and H, except for 35 Ill. Adm. Code 725.211 and 725.214, and may accumulate hazardous waste on-site for 90 days or less without a permit or without having interim status, provided that the following conditions are fulfilled:

1)	The waste is placed in or on one of the following types of units, and the generator complies with the applicable requirements:

A)	In containers, and the generator complies with Subparts I, AA, BB, and CC of 35 Ill. Adm. Code 725.Subparts I, AA, BB, and CC;

B)	In tanks, and the generator complies with Subparts J, AA, BB, and CC of 35 Ill. Adm. Code 725.Subparts J, AA, BB, and CC, except 35 Ill. Adm. Code 725.297(c) and 725.300;

C)	On drip pads, and the generator complies with Subpart W of 35 Ill. Adm. Code 725.Subpart W and maintains the following records at the facility:

i)	A description of the procedures that will be followed to ensure that all wastes are removed from the drip pad and associated collection system at least once every 90 days,; and

ii)	Documentation of each waste removal, including the quantity of waste removed from the drip pad and the sump or collection system and the date and time of removal; or

D)	In containment buildings, and the generator complies with Subpart DD of 35 Ill. Adm. Code 725.Subpart DD (has placed its Professional Engineer (PE) certification that the building complies with the design standards specified in 35 Ill. Adm. Code 725.1101 in the facility’s operating record prior to the date of initial operation of the unit).  The owner or operator shall must maintain the following records at the facility:

i)	A written description of procedures to ensure that each waste volume remains in the unit for no more than 90 days, a written description of the waste generation and management practices for the facility showing that they are consistent with respect to the 90 day limit, and documentation that the procedures are complied with; or

ii)	Documentation that the unit is emptied at least once every 90 days;

BOARD NOTE:  The Board placed the “in addition” hanging subsection that appears in the Federal rules after 40 CFR 262.34(a)(1)(iv)(B) is in the introduction to subsection (a) of this Section.

2)	The date upon which each period of accumulation begins is clearly marked and visible for inspection on each container;

3)	While being accumulated on-site, each container and tank is labeled or marked clearly with the words “Hazardous Waste”; and

4)	The generator complies with the requirements for owners or operators in Subparts C and D of 35 Ill. Adm. Code 725.Subparts C and D and with 35 Ill. Adm. Code 725.116 and 728.107(a)(5).

b)	A generator that accumulates hazardous waste for more than 90 days is an operator of a storage facility. and Such a generator is subject to the requirements of 35 Ill. Adm. Code 724 and 725 and the permit requirements of 35 Ill. Adm. Code 702, 703, and 705, unless the generator has been granted an extension of the 90-day period.  If hazardous wastes must remain on-site for longer than 90 days due to unforeseen, temporary, and uncontrollable circumstances, the generator may seek an extension of up to 30 days by means of a variance or provisional variance, pursuant to Section 37 Sections 35(b), 36(c), and 37(b) of the Environmental Protection Act [415 ILCS 5/35(b), 36(c), and 37(b)] and 35 Ill. Adm. Code 180 (Agency procedural regulations).

c)	Accumulation near the point of generation.

1)	A generator may accumulate as much as 55 gallons of hazardous waste or one quart of acutely hazardous waste listed in 35 Ill. Adm. Code 721.133(e) in containers at or near any point of generation where wastes initially accumulate that is under the control of the operator of the process generating the waste without a permit or interim status and without complying with subsection (a) of this Section, provided the generator does the following:

A)	Complies The generator complies with 35 Ill. Adm. Code 725.271, 725.272, and 725.273(a); and

B)	Marks The generator marks the generator’s containers either with the words “Hazardous Waste” or with other words that identify the contents of the containers.

2)	A generator that accumulates either hazardous waste or acutely hazardous waste listed in 35 Ill. Adm. Code 721.133(e) in excess of the amounts listed in subsection (c)(1) of this Section at or near any point of generation must, with respect to that amount of excess waste, comply within three days with subsection (a) of this Section or other applicable provisions of this Chapter.  During the three day period the generator must continue to comply with subsection (c)(1) of this Section.  The generator must mark the container holding the excess accumulation of hazardous waste with the date the excess amount began accumulating.

d)	A generator that generates greater than 100 kilograms but less than 1,000 kilograms of hazardous waste in a calendar month may accumulate hazardous waste on-site for 180 days or less without a permit or without having interim status provided that the following conditions are fulfilled:

1)	The quantity of waste accumulated on-site never exceeds 6,000 kilograms;

2)	The generator complies with the requirements of Subpart I of 35 Ill. Adm. Code 725.Subpart I (except 35 Ill. Adm. Code 725.276 and 725.278);

3)	The generator complies with the requirements of 35 Ill. Adm. Code 725.301;

4)	The generator complies with the requirements of subsections (a)(2) and (a)(3) of this Section, Subpart C of 35 Ill. Adm. Code 725.Subpart C, and 35 Ill. Adm. Code 728.107(a)(5); and

5)	The generator complies with the following requirements:

A)	At all times there must be at least one employee either on the premises or on call (i.e., available to respond to an emergency by reaching the facility within a short period of time) with the responsibility for coordinating all emergency response measures specified in subsection (d)(5)(D) of this Section.  The employee is the emergency coordinator.

B)	The generator shall must post the following information next to the telephone:

i)	The name and telephone number of the emergency coordinator;

ii)	Location of fire extinguishers and spill control material and, if present, fire alarm; and

iii)	The telephone number of the fire department, unless the facility has a direct alarm.

C)	The generator shall must ensure that all employees are thoroughly familiar with proper waste handling and emergency procedures, relevant to their responsibilities during normal facility operations and emergencies.

D)	The emergency coordinator or designee shall must respond to any emergencies that arise.  The following are applicable responses are as follows:

i)	In the event of a fire, call the fire department or attempt to extinguish it using a fire extinguisher;

ii)	In the event of a spill, contain the flow of hazardous waste to the extent possible and, as soon as is practicable, clean up the hazardous waste and any contaminated materials or soil; and

iii)	In the event of a fire, explosion, or other release that could threaten human health outside the facility, or when the generator has knowledge that a spill has reached surface water, the generator shall must immediately notify the National Response Center (using its 24-hour toll free number 800-424-8802).  The report must include the following information:  the name, address, and USEPA identification number (Section 722.112 of this Part) of the generator; the date, time, and type of incident (e.g., spill or fire); the quantity and type of hazardous waste involved in the incident; the extent of injuries, if any; and the estimated quantity and disposition of recoverable materials, if any.

E)	A report to the National Response center pursuant to subsection (d)(5)(D)(iii) of this Section must include the following information:

i)	The name, address, and USEPA identification number (Section 722.112 of this Part) of the generator;

ii)	The date, time, and type of incident (e.g., spill or fire);

iii)	The quantity and type of hazardous waste involved in the incident; the extent of injuries, if any; and

iv)	The estimated quantity and disposition of recoverable materials, if any.

BOARD NOTE:  The Board has codified 40 CFR 262.34(d)(5)(iv)(C)(1) through (d)(5)(iv)(C)(5) as subsections (d)(5)(E)(i) through (d)(5)(E)(iv) because Illinois Administrative Code codification requirements do not allow the use of a fifth level of subsection indents.

e)	A generator that generates greater than 100 kilograms but less than 1,000 kilograms of hazardous waste in a calendar month and that must transport the waste or offer the waste for transportation over a distance of 200 miles or more for off-site treatment, storage, or disposal may accumulate hazardous waste on-site for 270 days or less without a permit or without having interim status, provided that the generator complies with the requirements of subsection (d) of this Section.

f)	A generator that generates greater than 100 kilograms but less than 1,000 kilograms of hazardous waste in a calendar month and that accumulates hazardous waste in quantities exceeding 6,000 kg or accumulates hazardous waste for more than 180 days (or for more than 270 days if the generator must transport the waste or offer the waste for transportation over a distance of 200 miles or more) is an operator of a storage facility and is subject to the requirements of 35 Ill. Adm. Code 724 and 725 and the permit requirements of 35 Ill. Adm. Code 703, unless the generator has been granted an extension to the 180-day (or 270-day if applicable) period.  If hazardous wastes must remain on-site for longer than 180 days (or 270 days if applicable) due to unforeseen, temporary, and uncontrollable circumstances, the generator may seek an extension of up to 30 days by means of variance or provisional variance pursuant to Section 37 Sections 35(b), 36(c), and 37(b) of the Environmental Protection Act [415 ILCS 5/35(b), 36(c), and 37(b)].

g)	A generator that generates 1,000 kilograms or greater of hazardous waste per calendar month which also generates wastewater treatment sludges from electroplating operations that meet the listing description for the RCRA hazardous waste code F006, may accumulate F006 waste on-site for more than 90 days, but not more than 180 days, without a permit or without having interim status provided that the generator fulfills the following conditions:

1)	The generator has implemented pollution prevention practices that reduce the amount of any hazardous substances, pollutants, or contaminants entering F006 or otherwise released to the environment prior to its recycling;

2)	The F006 waste is legitimately recycled through metals recovery;

3)	No more than 20,000 kilograms of F006 waste is accumulated on-site at any one time; and

4)	The F006 waste is managed in accordance with the following conditions:

A)	The F006 waste is placed in one of the following containing devices:

i)	In containers and the generator complies with the applicable requirements of Subparts I, AA, BB, and CC of 35 Ill. Adm. Code 725.Subparts I, AA, BB, and CC;

ii)	In tanks and the generator complies with the applicable requirements of Subparts J, AA, BB, and CC of 35 Ill. Adm. Code 725.Subparts J, AA, BB, and CC, except 35 Ill. Adm. Code 725.297(c) and 725.300; or

iii)	In containment buildings, and the generator complies with Subpart DD of 35 Ill. Adm. Code 725.Subpart DD and has placed its professional engineer certification that the building complies with the design standards specified in 35 Ill. Adm. Code 725.1101 in the facility's operating record prior to operation of the unit.  The owner or operator shall must maintain the records listed in subsection (g)(4)(F) of this Section at the facility.

B)	In addition, such a generator is exempt from all the requirements in Subparts G and H of 35 Ill. Adm. Code 725.Subparts G and H, except for 35 Ill. Adm. Code 725.211 and 725.214.

C)	The date upon which each period of accumulation begins is clearly marked and visible for inspection on each container;

D)	While being accumulated on-site, each container and tank is labeled or marked clearly with the words, “Hazardous Waste”; and

E)	The generator complies with the requirements for owners or operators in Subparts C and D of 35 Ill. Adm. Code 725.Subparts C and D, with 35 Ill. Adm. Code 725.116, and with 35 Ill. Adm. Code 728.107(a)(5).

F)	Required records for a containment building:

i)	A written description of procedures to ensure that the F006 waste remains in the unit for no more than 180 days, a written description of the waste generation and management practices for the facility showing that they are consistent with the 180-day limit, and documentation that the generator is complying with the procedures; or

ii)	Documentation that the unit is emptied at least once every 180 days.

BOARD NOTE:  The Board has codified 40 CFR 262.34(g)(4)(Ai)(iiiC)(1) and (g)(4)(Ai)(iiiC)(2) as subsections (g)(4)(F)(i) and (g)(4)(F)(ii) because Illinois Administrative Code codification requirements do not allow the use of a fifth level of subsection indents.

h)	A generator that generates 1,000 kilograms or greater of hazardous waste per calendar month, which also generates wastewater treatment sludges from electroplating operations that meet the listing description for the RCRA hazardous waste code F006, and which must transport this waste or offer this waste for transportation over a distance of 200 miles or more for off-site metals recovery may accumulate F006 waste on-site for more than 90 days, but not more than 270 days, without a permit or without having interim status if the generator complies with the requirements of paragraphs (g)(1) through (g)(4) of this Section.

i)	A generator accumulating F006 in accordance with paragraphs (g) and (h) of this Section that accumulates F006 waste on-site for more than 180 days (or for more than 270 days if the generator must transport this waste or offer this waste for transportation over a distance of 200 miles or more), or which accumulates more than 20,000 kilograms of F006 waste on-site is an operator of a storage facility, and such a generator is subject to the requirements of 35 Ill. Adm. Code 724 and 725 and the permit requirements of 35 Ill. Adm. Code 702 and 703, unless the generator has been granted an extension to the 180-day (or 270-day if applicable) period or an exception to the 20,000 kilogram accumulation limit.

1)	On a case-by-case basis, the Board will Agency must grant a provisional variance that allows an extension of the accumulation time up to an additional 30 days pursuant to Section 37 Section 35(b), 36(c), and 37(b) of the Act [415 ILCS 5/35(b), 36(c), and 37(b)] on notification that the Agency has found if it finds that the F006 waste must remain on-site for longer than 180 days (or 270 days if applicable) due to unforeseen, temporary, and uncontrollable circumstances.

2)	On a case-by-case basis, the Board will Agency must grant a provisional variance pursuant to Sections 35(b), 36(c), and 37(b) of the Act [415 ILCS 5/35(b), 36(c), and 37(b)] that allows an exception to the 20,000 kilogram accumulation limit on notification that if the Agency has found finds that more than 20,000 kilograms of F006 waste must remain on-site due to unforeseen, temporary, and uncontrollable circumstances.

3)	A generator shall must follow the procedure of 35 Ill. Adm. Code 180 (Agency procedural rules) when seeking a provisional variance under subsection (i)(1) or (i)(2) of this Section.

j)	A member of the federal National Environmental Performance Track program that generates 1,000 kg or greater of hazardous waste per month (or one kilogram or more of acute hazardous waste) may accumulate hazardous waste on-site without a permit or interim status for an extended period of time, provided that the following conditions are fulfilled:

1)	The generator accumulates the hazardous waste for no more than 180 days, or for no more than 270 days if the generator must transport the waste (or offer the waste for transport) more than 200 miles from the generating facility;

2)	The generator first notifies USEPA Region 5 and the Agency in writing of its intent to begin accumulation of hazardous waste for extended time periods under the provisions of this Section.  Such advance notice must include the following information:

A)	The name and USEPA ID number of the facility and specification of when the facility will begin accumulation of hazardous wastes for extended periods of time in accordance with this Section;

B)	A description of the types of hazardous wastes that will be accumulated for extended periods of time and the units that will be used for such extended accumulation;

C)	A statement that the facility has made all changes to its operations; procedures, including emergency preparedness procedures; and equipment, including equipment needed for emergency preparedness, that will be necessary to accommodate extended time periods for accumulating hazardous wastes; and

D)	If the generator intends to accumulate hazardous wastes on-site for up to 270 days, a certification that a facility that is permitted (or operating under interim status) under 35 Ill. Adm. Code 702 and 703, 40 CFR 270, or the corresponding regulations of a sister state to receive these wastes is not available within 200 miles of the generating facility;

3)	The waste is managed in the following types of units:

A)	Containers, in accordance with the applicable requirements of Subparts I AA, BB, and CC of 35 Ill. Adm. Code 725 and 35 Ill. Adm. Code 724.275;

B)	Tanks, in accordance with the requirements of Subparts J, AA, BB, and CC of 35 Ill. Adm. Code 725, except for Sections 725.297(c) and Section 725.300;

C)	Drip pads, in accordance with Subpart W of 35 Ill. Adm. Code 725; or

D)	Containment buildings, in accordance with Subpart DD of 35 Ill. Adm. Code 725;

4)	The quantity of hazardous waste that is accumulated for extended time periods at the facility does not exceed 30,000 kg;

5)	The generator maintains the following records at the facility for each unit used for extended accumulation times:

A)	A written description of procedures to ensure that each waste volume remains in the unit for no more than 180 days (or 270 days, as applicable), a description of the waste generation and management practices at the facility showing that they are consistent with the extended accumulation time limit and documentation that the procedures are complied with; or

B)	Documentation that the unit is emptied at least once every 180 days (or 270 days, if applicable);

6)	Each container or tank that is used for extended accumulation time periods is labeled or marked clearly with the words “Hazardous Waste,” and for each container the date upon which each period of accumulation begins is clearly marked and visible for inspection;

7)	The generator complies with the requirements for owners and operators in Subparts C and D of 35 Ill. Adm. Code 725, 35 Ill. Adm. Code 725.116, and 35 Ill. Adm. Code 728.107(a)(5).  In addition, such a generator is exempt from all the requirements in Subparts G and H of 35 Ill. Adm. Code 725, except for 35 Ill. Adm. Code 725.211 and 725.214;

8)	The generator has implemented pollution prevention practices that reduce the amount of any hazardous substances, pollutants, or contaminants released to the environment prior to its recycling, treatment, or disposal; and

9)	The generator includes the following information with its federal National Environmental Performance Track Annual Performance Report, which must be submitted to the USEPA Region 5 and the Agency:

A)	Information on the total quantity of each hazardous waste generated at the facility that has been managed in the previous year according to extended accumulation time periods;

B)	Information for the previous year on the number of off-site shipments of hazardous wastes generated at the facility, the types and locations of destination facilities, how the wastes were managed at the destination facilities (e.g., recycling, treatment, storage, or disposal), and what changes in on-site or off-site waste management practices have occurred as a result of extended accumulation times or other pollution prevention provisions of this Section;

C)	Information for the previous year on any hazardous waste spills or accidents occurring at extended accumulation units at the facility, or during off-site transport of accumulated wastes; and

D)	If the generator intends to accumulate hazardous wastes on-site for up to 270 days, a certification that a facility that is permitted (or operating under interim status) under 35 Ill. Adm. Code 702 and 703, 40 CFR 270, or the corresponding regulations of a sister state to receive these wastes is not available within 200 miles of the generating facility; and

BOARD NOTE:  The National Environmental Performance Track program is operated exclusively by USEPA.  USEPA established the program in 2000 (see 65 Fed. Reg. 41655 (July 6, 2000) and amended it in 2004 (see 69 Fed. Reg. 27922 (May 17, 2004).  USEPA confers membership in the program on application of interested and eligible entities.  Information about the program is available from a website maintained by USEPA:  www.epa.gov/performancetrack.

k)	If the Agency finds that hazardous wastes must remain on-site at a federal National Environmental Performance Track member facility for longer than the 180 days (or 270 days, if applicable) allowed under subsection (j) of this Section due to unforeseen, temporary, and uncontrollable circumstances, it must grant an extension to the extended accumulation time period of up to 30 days on a case-by-case basis by a provisional variance pursuant to Sections 35(b), 36(c), and 37(b) of the Act [415 ILCS 5/35(b), 36(c), and 37(b)].

1)	If a generator that is a member of the federal National Environmental Performance Track program withdraws from the National Environmental Performance Track program or if USEPA Region 5 terminates a generator’s membership, the generator must return to compliance with all otherwise applicable hazardous waste regulations as soon as possible, but no later than six months after the date of withdrawal or termination.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART D:  RECORDKEEPING AND REPORTING

- Section 722.140	Recordkeeping

a)	A generator must keep a copy of each manifest signed in accordance with Section 722.123(a) for three years or until he it receives a signed copy from the designated facility which that received the waste.  This signed copy must be retained as a record for at least three years from the date the waste was accepted by the initial transporter.

b)	A generator must keep a copy of each Annual Report and Exception Report for a period of at least three years from the due date of the report (March 1).

c)	A generator must keep records of any test results, waste analyses, or other determinations made in accordance with Section 722.111 for at least three years from the date that the waste was last sent to on-site or off-site treatment, storage, or disposal.

d)	The periods of retention referred to in this section Section are extended automatically during the course of any unresolved enforcement action regarding the regulated activity or as requested by the Director Agency.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.141	Annual Reporting

a)	A generator who that ships any hazardous waste off-site to a treatment, storage or disposal facility within the United States shall must prepare and submit a single copy of an annual report to the Agency by March 1 for the preceding calendar year.  The annual report must be submitted on a form supplied by the Agency, and must cover generator activities during the previous calendar year, and must include the following information:

1)	The USEPA identification number, name, and address of the generator;

2)	The calendar year covered by the report;

3)	The USEPA identification number, name, and address for each off-site treatment, storage, or disposal facility in the United States to which waste was shipped during the year;

4)	The name and USEPA identification number of each transporter used during the reporting year for shipments to a treatment, storage, or disposal facility within the United States.;

5)	A description, USEPA hazardous waste number (from Subpart C or D of 35 Ill. Adm. Code 721.Subpart C or D), USDOT hazard class and quantity of each hazardous waste shipped off-site for shipments to a treatment, storage, or disposal facility within the United States.  This information must be listed by USEPA identification number of each off-site facility to which waste was shipped.;

6)	A description of the efforts undertaken during the year to reduce the volume and toxicity of waste generated.;

7)	A description of the changes in volume and toxicity of waste actually achieved during the year in comparison to previous years to the extent such information is available for years prior to 1984.; and

8)	The certification signed by the generator or the generator’s authorized representative.

b)	Any generator who that treats, stores, or disposes of hazardous waste on-site must submit an annual report covering those wastes in accordance with the provisions of 35 Ill. Adm. Code 702, 703, 724, 725 and 726.  Reporting for exports of hazardous waste is not required on the annual report form.  A separate annual report requirement is set forth at Section 722.156.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.142	Exception Reporting

a)	Generators of greater than 1,000 kilograms of hazardous waste in a calendar month.

1)	A generator of greater than 1,000 kilograms of hazardous waste in a calendar month who that does not receive a copy of the manifest with the handwritten signature of the owner or operator of the designated facility within 35 days of the date the waste was accepted by the initial transporter must contact the transporter or the owner or operator of the designated facility to determine the status of the hazardous waste.

2)	A generator of greater than 1,000 kilograms of hazardous waste in a calendar month must submit an Exception Report to the Agency if the generator has not received a copy of the manifest with the handwritten signature of the owner or operator of the designated facility within 45 days of the date the waste was accepted by the initial transporter.  The Exception Report must include the following documents:

A)	A legible copy of the manifest for which the generator does not have a confirmation of delivery; and

B)	A cover letter signed by the generator or the generator’s authorized representative explaining the efforts taken to locate the hazardous waste and the result of those efforts.

b)	A generator of greater than 100 kilograms but less than 1,000 kilograms of hazardous waste in a calendar month who that does not receive a copy of the manifest with the handwritten signature of the owner or operator of the designated facility within 60 days of the date the waste was accepted by the initial transporter must submit a legible copy of the manifest to the Agency, with some indication that the generator has not received confirmation of delivery, to the Agency.

(BOARD NOTE:  The submission need be only a handwritten or typed note on the manifest itself, or on an attached sheet of paper, stating that the returned copy was not received.)

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.143	Additional Reporting

The Director Agency, as he it deems necessary under Section 4 of the Illinois Environmental Protection Act [415 ILCS 5/4], may require generators to furnish additional reports concerning the quantities and disposition of wastes identified or listed in Part 721.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.144	Special Requirements for Generators of between 100 and 1,000 kilograms per month

Of the requirements in this Subpart D, a generator of greater than 100 kilograms but less than 1,000 kilograms of hazardous waste in a calendar month is subject to only the following requirements:

a)	Section 722.140(a), (c), and (d), recordkeeping;

b)	Section 722.142(b), exception reporting; and

c)	Section 722.143, additional reporting.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART E:  EXPORTS OF HAZARDOUS WASTE

- Section 722.150	Applicability

This Subpart E establishes requirements applicable to exports of hazardous waste.  Except to the extent Section 722.158 provides otherwise, a primary exporter of hazardous waste shall must comply with the special requirements of this Subpart E and a transporter transporting hazardous waste for export shall must comply with applicable requirements of 35 Ill. Adm. Code 723.  Section 722.158 sets forth the requirements of international agreements between the United States and receiving countries which that establish different notice, export, and enforcement procedures for the transportation, treatment, storage, and disposal of hazardous waste for shipments between the United States and those countries.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.151	Definitions

In addition to the definitions set forth at 35 Ill. Adm. Code 720.110, the following definitions apply to this Subpart E:

“Consignee” means the ultimate treatment, storage, or disposal facility in a receiving country to which the hazardous waste will be sent.

“Primary Exporter” means any person who that is required to originate the manifest for a shipment of hazardous waste in accordance with Subpart B of this Part which that specifies a treatment, storage, or disposal facility in a receiving country as the facility to which the hazardous waste will be sent and any intermediary arranging for the export.

“Receiving country” means a foreign country to which a hazardous waste is sent for the purpose of treatment, storage, or disposal (except short-term storage incidental to transportation).

“Transit country” means any foreign country, other than a receiving country, through which a hazardous waste is transported.

“USEPA Acknowledgment of Consent” means the cable sent to USEPA from the United States Embassy in a receiving country that acknowledges the written consent of the receiving country to accept the hazardous waste and describes the terms and conditions of the receiving country’s consent to the shipment.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.152	General Requirements

Exports of hazardous waste are prohibited except in compliance with the applicable requirements of this Subpart E and 35 Ill. Adm. Code 723.  Exports of hazardous waste are prohibited unless the following conditions are fulfilled:

a)	Notification in accordance with Section 722.153 has been provided;

b)	The receiving country has consented to accept the hazardous waste;

c)	A copy of the USEPA Acknowledgment of Consent to the shipment accompanies the hazardous waste shipment and, unless exported by rail, is attached to the manifest (or shipping paper for exports by water (bulk shipment)).; and

d)	The hazardous waste shipment conforms to the terms of the receiving country’s written consent as reflected in the USEPA Acknowledgment of Consent.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.153	Notification of Intent to Export

a)	The Board incorporates by reference 40 CFR 262.53 (1996).  This Part incorporates no future editions or amendments.

ba)	A primary exporter of hazardous waste shall must notify USEPA in accordance with 40 CFR 262.53 (1996), incorporated by reference in 35 Ill. Adm. Code 720.111(b).

cb)	The primary exporter shall must send the Agency a copy of each notice sent to USEPA pursuant to subsection (b) of this Section.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.154	Special Manifest Requirements

a)	The Board incorporates by reference 40 CFR 262.54 (1986), as amended at 51 Fed. Reg. 28682.  This Part incorporates no future editions or amendments.

ba)	A primary exporter shall must comply with the manifest requirements as specified in 40 CFR 262.54, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

cb)	The primary exporter shall must send a copy of the manifest to the Agency.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.155	Exception Report

a)	The Board incorporates by reference 40 CFR 262.55 (1986), as amended at 51 Fed. Reg. 28682.  This Part incorporates no future editions or amendments.

ba)	In lieu of the requirements of Section 722.142, a primary exporter shall must file an exception report with USEPA as provided by 40 CFR 262.55, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

cb)	The primary exporter shall must send a copy of the exception report to the Agency.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.156	Annual Reports

a)	The Board incorporates by reference 40 CFR 262.56 (1996).  This Part incorporates no future editions or amendments.

ba)	Primary exporters of hazardous waste shall must file with USEPA, no later than March 1 of each year, a report as specified in 40 CFR 262.56 (1996), incorporated by reference in 35 Ill. Adm. Code 720.111(b).

cb)	The primary exporter shall must send the Agency a copy of each report sent to USEPA.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.157	Recordkeeping

a)	The Board incorporates by reference 40 CFR 262.57 (1986), as amended at 51 Fed. Reg. 28682.  This Part incorporates no future editions or amendments.

b)	For all exports a primary exporter shall must comply with the recordkeeping requirements of 40 CFR 262.57, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.158	International Agreements

a)	Any person that exports or imports hazardous waste subject to either the manifest requirements of this Part or the universal waste management standards of 35 Ill. Adm. Code 733 which is shipped to or from designated member countries of the Organization Organisation for Economic Cooperation Co-operation and Development (OECD), as defined in subsection (a)(1) of this Section, for purposes of recovery is subject to the requirements of Subpart H of this Part.  The requirements of Subparts E and F of this Part do not apply where Subpart H of this Part applies.

1)	For the purposes of this Subpart E, the designated OECD countries are Australia, Austria, Belgium, Denmark, Finland, France, Germany, Greece, Iceland, Ireland, Italy, Japan, Luxembourg, Netherlands, New Zealand, Norway, Portugal, Spain, Sweden, Switzerland, Turkey, the United Kingdom, and the United States.

2)	Only for the purposes of transit under this Subpart E, Canada and Mexico are considered OECD member countries.

b)	Any person that exports hazardous waste to or imports hazardous waste from any designated OECD member country for purposes other than recovery (e.g., incineration, disposal), Mexico (for any purpose), or Canada (for any purpose) remains subject to the requirements of Subparts E and F of this Part.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART F:  IMPORTS OF HAZARDOUS WASTE

- Section 722.160	Imports of Hazardous Waste

a)	Any person who that imports hazardous waste from a foreign country into the United States shall must comply with the requirements of this Part and the special requirements of this Subpart F.

b)	When importing hazardous waste, a person shall must meet all the requirements of Section 722.120(a) for the manifest, except that the following information items are substituted:

1)	In place of the generator’s name, address, and USEPA identification number, the name and address of the foreign generator and the importer’s name, address, and USEPA identification number must be used.

2)	In place of the generator’s signature on the certification statement, the United States importer or the importer’s agent shall must sign and date the certification and obtain the signature of the initial transporter.

c)	A person who that imports hazardous waste must obtain the manifest form, as provided in Section 722.121.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART G:  FARMERS

- Section 722.170	Farmers

A farmer disposing of waste pesticides from the farmer’s own use which that are hazardous wastes is not required to comply with the standards in this Part or other standards in 35 Ill. Adm. Code 702, 703, 724, 725, or 728 for those wastes, provided the farmer triple rinses each emptied pesticide container in accordance with 35 Ill. Adm. Code 721.107(b)(3) and disposes of the pesticide residues on the farmer’s own farm in a manner consistent with the disposal instructions on the pesticide label.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART H:  TRANSFRONTIER SHIPMENTS OF HAZARDOUS WASTE FOR RECOVERY WITHIN THE OECD

- Section 722.180	Applicability

a)	The requirements of this Subpart H apply to imports and exports of wastes that are considered hazardous under U.S. national procedures and which are destined for recovery operations in any of the countries listed in Section 722.158(a)(1).  A waste is considered hazardous under U.S. national procedures if it meets the definition of hazardous waste in 35 Ill. Adm. Code 721.103 and it is subject to either the manifesting requirements in Subpart B of this Part or to the universal waste management standards of 35 Ill. Adm. Code 733.

b)	Any person (notifier, consignee, or recovery facility operator) that mixes two or more wastes (including hazardous and non-hazardous wastes) or otherwise subjects two or more wastes (including hazardous and non-hazardous wastes) to physical or chemical transformation operations, and thereby creates a new hazardous waste, becomes a generator and assumes all subsequent generator duties under this Subchapter c and any notifier duties under this Subpart H, as applicable.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.181	Definitions

The following definitions apply to this Subpart H:

“Amber-list waste” means a waste listed in the OECD Amber List of Wastes, Appendix 4 to the OECD Council Decision C(92)39/FINAL, incorporated by reference in 35 Ill. Adm. Code 720.111(a).

“Amber-list controls” means the controls listed in Section IV of the Annex to the OECD Council Decision C(92)39/FINAL, incorporated by reference in 35 Ill. Adm. Code 720.111(a).

“Competent authorities” means the regulatory authorities of concerned countries having jurisdiction over transfrontier movements of wastes destined for recovery operations.

“Concerned countries” means the exporting and importing OECD member countries and any OECD member countries of transit.

“Consignee” means the person to whom possession or other form of legal control of the waste is assigned at the time the waste is received in the importing country.

“Country of transit” means any designated OECD country in Section 722.158(a)(1) and (a)(2) other than the exporting or importing country across which a transfrontier movement of wastes is planned or takes place.

“Exporting country” means any designated OECD member country in Section 722.158(a)(1) from which a transfrontier movement of wastes is planned or has commenced.

“Green-list waste” means a waste listed in the OECD Green List of Wastes, Appendix 3 to the OECD Council Decision C(92)39/FINAL, incorporated by reference in 35 Ill. Adm. Code 720.111(a).

“Green-list controls” means the controls listed in Section III of the Annex to the OECD Council Decision C(92)39/FINAL, incorporated by reference in 35 Ill. Adm. Code 720.111(a).

“Importing country” means any designated OECD country in Section 722.158(a)(1) to which a transfrontier movement of wastes is planned or takes place for the purpose of submitting the wastes to recovery operations therein.

“Notifier” means the person under the jurisdiction of the exporting country that has, or will have at the time the planned transfrontier movement commences, possession or other forms of legal control of the wastes and that proposes their transfrontier movement for the ultimate purpose of submitting them to recovery operations.  When the United States (U.S.) is the exporting country, notifier is interpreted to mean a person domiciled in the U.S.

“OECD area” means all land or marine areas under the national jurisdiction of any designated OECD member country in Section 722.158.  When the regulations refer to shipments to or from an OECD country, this means OECD area.

“Recognized trader” means a person that, with appropriate authorization of concerned countries, acts in the role of principal to purchase and subsequently sell wastes; this person has legal control of such wastes from time of purchase to time of sale; such a person may act to arrange and facilitate transfrontier movements of wastes destined for recovery operations.

“Recovery facility” means an entity which that, under applicable domestic law, is operating or is authorized to operate in the importing country to receive wastes and to perform recovery operations on them.

“Recovery operations” means activities leading to resource recovery, recycling, reclamation, direct re-use, or alternative uses, as listed in Table 2.B of the Annex of OECD Council Decision C(88)90(Final) of 27 May 1988, incorporated by reference in 35 Ill. Adm. Code 720.111(a), which include the following activities:

R1	Use as a fuel (other than in direct incineration) or other means to generate energy,

R2	Solvent reclamation or regeneration,

R3	Recycling or reclamation of organic substances which that are not used as solvents,

R4	Recycling or reclamation of metals and metal compounds,

R5	Recycling or reclamation of other inorganic materials,

R6	Regeneration of acids or bases,

R7	Recovery of components used for pollution control,

R8	Recovery of components from catalysts,

R9	Used oil re-refining or other reuses of previously used oil,

R10	Land treatment resulting in benefit to agriculture or ecological improvement,

R11	Uses of residual materials obtained from any of the operations numbered R1 through R10,

R12	Exchange of wastes for submission to any of the operations numbered R1 through R11, and

R13	Accumulation of material intended for any operation in Table 2.B.

“Red-list waste” means a waste listed in the OECD Green List of Wastes, Appendix 5 to the OECD Council Decision C(92)39/FINAL, incorporated by reference in 35 Ill. Adm. Code 720.111(a).

“Red-list controls” means the controls listed in Section V of the Annex to the OECD Council Decision C(92)39/FINAL, incorporated by reference in 35 Ill. Adm. Code 720.111(a).

“Transfrontier movement” means any shipment of wastes destined for recovery operations from an area under the national jurisdiction of one OECD member country to an area under the national jurisdiction of another OECD member country.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.182	General Conditions

a)	Scope.  The level of control for exports and imports of waste is indicated by assignment of the waste to a green, amber, or red list and by U.S. national procedures, as defined in Section 722.180(a).  The green, amber, and red lists are incorporated by reference in 35 Ill. Adm. Code 720.111(ba).

1)	Wastes on the green Green-list waste are is subject to existing controls normally applied to commercial transactions, except as provided below:

A)	Green-list wastes waste that are is considered hazardous under U.S. national procedures are is subject to amber-list controls.

B)	Green-list wastes waste that are is sufficiently contaminated or mixed with amber-list wastes waste, such that the waste or waste mixture is considered hazardous under U.S. national procedures, are is subject to amber-list controls.

C)	Green-list wastes waste that are is sufficiently contaminated or mixed with other wastes subject to red-list controls, such that the waste or waste mixture is considered hazardous under U.S. national procedures, must be handled in accordance with the red-list controls.

2)	Wastes on the amber Amber-list waste that are is considered hazardous under U.S. national procedures, as defined in Section 722.180(a), are is subject to the amber-list controls of this Subpart H.  If amber-list wastes are waste is sufficiently contaminated or mixed with other wastes subject to red-list controls, such that the waste or waste mixture is considered hazardous under U.S. national procedures, the wastes must be handled in accordance with the red-list controls.

3)	Wastes on the red Red-list waste that are is considered hazardous under U.S. national procedures, as defined in Section 722.180(a), are is subject to the red-list controls of this Subpart H.

BOARD NOTE:  Some wastes on the amber amber-list wastes or red lists red-list wastes are not listed or otherwise identified as hazardous under RCRA (e.g., polychlorinated biphenyls) and therefore are not subject to the amber-list or red-list controls of this Subpart H.  Regardless of the status of the waste under RCRA, however, other federal environmental statutes (e.g., the Toxic Substances Control Act) may restrict certain waste imports or exports.  Such restrictions continue to apply without regard to this Subpart H.

4)	Wastes Waste not yet assigned to a list are is eligible for transfrontier movements, as follows:

A)	If such wastes are waste is considered hazardous under U.S. national procedures, as defined in Section 722.180(a), these wastes are this waste is subject to the red-list controls; or

B)	If such wastes are waste is not considered hazardous under U.S. national procedures, as defined in Section 722.180(a), such wastes waste may move as though they appeared on the green list it were a green-list waste.

b)	General conditions applicable to transfrontier movements of hazardous waste.

1)	The waste must be destined for recovery operations at a facility that, under applicable domestic law, is operating or is authorized to operate in the importing country;

2)	The transfrontier movement must be in compliance with applicable international transport agreements; and

BOARD NOTE:  These international agreements include, but are not limited to, the Chicago Convention (1944), ADR (1957), ADNR (1970), MARPOL Convention (1973/1978), SOLAS Convention (1974), IMDG Code (1985), COTIF (1985), and RID (1985).

3)	Any transit of waste through a non-OECD member country must be conducted in compliance with all applicable international and national laws and regulations.

c)	Provisions relating to re-export for recovery to a third country.

1)	Re-export of wastes waste that is subject to the amber-list control system controls from the U.S., as the importing country, to a third country listed in Section 722.158(a)(1) may occur only after a notifier in the U.S. provides notification to and obtains consent of the competent authorities in the third country, the original exporting country, and new transit countries.  The notification must comply with the notice and consent procedures in Section 722.183 for all concerned countries and the original exporting country.  The competent authorities of the original exporting country, as well as the competent authorities of all other concerned countries, have 30 days to object to the proposed movement.

A)	The 30-day period begins once the competent authorities of both the initial exporting country and new importing country issue Acknowledgments of Receipt of the notification.

B)	The transfrontier movement may commence if no objection has been lodged after the 30-day period has passed or immediately after written consent is received from all relevant OECD importing and transit countries.

2)	Re-export of waste that is subject to the red-list control system controls from the original importing country to a third country listed in Section 722.158(a)(1) may occur only following notification of the competent authorities of the third country, the original exporting country, and new transit countries by a notifier in the original importing country in accordance with Section 722.183.  The transfrontier movement may not proceed until receipt by the original importing country of written consent from the competent authorities of the third country, the original exporting country, and new transit countries.

3)	In the case of re-export of amber-list waste or red-list wastes waste to a country other than those in Section 722.158(a)(1), notification to and consent of the competent authorities of the original OECD member country of export and any OECD member countries of transit is required as specified in subsections (c)(1) and (c)(2) of this Section in addition to compliance with all international agreements and arrangements to which the first importing OECD member country is a party and all applicable regulatory requirements for exports from the first importing country.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.183	Notification and Consent

a)	Applicability.  Consent must be obtained from the competent authorities of the relevant OECD importing and transit countries prior to exporting hazardous waste destined for recovery operations subject to this Subpart H.  Hazardous wastes subject to amber-list controls are subject to the requirements of subsection (b) of this Section; hazardous wastes subject to red-list controls are subject to the requirements of subsection (c) of this Section; and wastes not identified on any list are subject to the requirements of subsection (d) of this Section.

b)	Amber-list wastes.  The export from the U.S. of hazardous wastes waste, as described in Section 722.180(a), that appear on the amber list is amber-list waste is prohibited unless the notification and consent requirements of subsection (b)(1) or subsection (b)(2) of this Section are met.

1)	Transactions requiring specific consent:.

A)	Notification.  At least 45 days prior to commencement of the transfrontier movement, the notifier must provide written notification in English of the proposed transfrontier movement to the Office of Enforcement and Compliance Assurance, Office of Compliance, Enforcement Planning, Targeting and Data Division (2222A), Environmental Protection Agency, 401 M St., SW, Washington, DC 20460, and the Illinois Environmental Protection Agency, Bureau of Land, Division of Land Pollution Control, P.O. Box 19276, Springfield, IL 62794-9276, with the words “Attention: OECD Export Notification” prominently displayed on the envelope.  This notification must include all of the information identified in subsection (e) of this Section.  In cases where wastes having similar physical and chemical characteristics, the same United Nations classification, and the same RCRA USEPA hazardous waste codes are to be sent periodically to the same recovery facility by the same notifier, the notifier may submit one notification of intent to export these wastes in multiple shipments during a period of up to one year.

B)	Tacit consent.  If no objection has been lodged by any concerned country (i.e., exporting, importing, or transit countries) to a notification provided pursuant to subsection (b)(1)(A) of this Section within 30 days after the date of issuance of the Acknowledgment of Receipt of notification by the competent authority of the importing country, the transfrontier movement may commence.  Tacit consent expires one calendar year after the close of the 30 day 30-day period; renotification and renewal of all consents is required for exports after that date.

C)	Written consent.  If the competent authorities of all the relevant OECD importing and transit countries provide written consent in a period less than 30 days, the transfrontier movement may commence immediately after all necessary consents are received.  Written consent expires for each relevant OECD importing and transit country one calendar year after the date of that country’s consent unless otherwise specified; renotification and renewal of each expired consent is required for exports after that date.

2)	Shipments to facilities pre-approved by the competent authorities of the importing countries to accept specific wastes for recovery:.

A)	The notifier must provide USEPA and the Agency the information identified in subsection (e) of this Section in English, at least 10 days in advance of commencing shipment to a pre-approved facility.  The notification should indicate that the recovery facility is pre-approved, and may apply to a single specific shipment or to multiple shipments as described in subsection (b)(1)(A) of this Section.  This information must be sent to the Office of Enforcement and Compliance Assurance, Office of Compliance, Enforcement Planning, Targeting and Data Division (2222A), Environmental Protection Agency, 401 M St., SW., Washington, DC 20460, and the Illinois Environmental Protection Agency, Bureau of Land, Division of Land Pollution Control, P.O. Box 19276, Springfield, IL 62794-9276, with the words “OECD Export Notification--Pre-approved Facility” prominently displayed on the envelope.

B)	Shipments may commence after the notification required in subsection (b)(1)(A) of this Section has been received by the competent authorities of all concerned countries, unless the notifier has received information indicating that the competent authorities of one or more concerned countries objects to the shipment.

c)	Red-list wastes.  The export from the U.S. of hazardous wastes waste, as described in Section 722.180(a), that appear on the red list is red-list waste is prohibited unless notice is given pursuant to subsection (b)(1)(A) of this Section and the notifier receives written consent from the importing country and any transit countries prior to commencement of the transfrontier movement.

d)	Unlisted wastes.  Wastes not assigned to the green, amber, or red list that are Waste that is not green-list waste, amber-list waste, or red-list waste which is considered hazardous under U.S. national procedures, as defined in Section 722.180(a), are is subject to the notification and consent requirements established for red-list wastes in accordance with subsection (c) of this Section.  Unlisted wastes that are not considered hazardous under U.S. national procedures, as defined in Section 722.180(a), are not subject to amber-list or red-list controls when exported or imported.

e)	Notification information.  Notifications submitted under this Section must include the following information:

1)	Serial number or other accepted identifier of the notification form;

2)	Notifier name and USEPA identification number (if applicable), address, and telephone and telefax numbers;

3)	Importing recovery facility name, address, telephone and telefax numbers, and technologies employed;

4)	Consignee name (if not the owner or operator of the recovery facility), address, and telephone and telefax numbers; whether the consignee will engage in waste exchange or storage prior to delivering the waste to the final recovery facility; and identification of recovery operations to be employed at the final recovery facility;

5)	Intended transporters or their agents;

6)	Country of export and relevant competent authority and point of departure;

7)	Countries of transit and relevant competent authorities and points of entry and departure;

8)	Country of import and relevant competent authority and point of entry;

9)	Statement of whether the notification is a single notification or a general notification.  If general, include period of validity requested;

10)	Date foreseen for commencement of transfrontier movement;

11)	Designation of waste type(s) types from the appropriate list (e.g., amber amber-list waste or red red-list waste and waste list code), descriptions of each waste type, estimated total quantity of each, RCRA USEPA hazardous waste code, and United Nations number for each waste type; and

12)	Certification/Declaration signed by the notifier that states as follows:

“I certify that the above information is complete and correct to the best of my knowledge. I also certify that legally-enforceable written contractual obligations have been entered into, and that any applicable insurance or other financial guarantees are or shall must be in force covering the transfrontier movement.

Name: _____________________________________

Signature: __________________________________

Date: _____________________________________”

BOARD NOTE:  The U.S. does not currently require financial assurance; however, U.S. exporters may be asked by other governments to provide and certify to such assurance as a condition of obtaining consent to a proposed movement.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.184	Tracking Document

a)	All U.S. parties subject to the contract provisions of Section 722.185 must ensure that a tracking document meeting the conditions of subsection (b) of this Section accompanies each transfrontier shipment of wastes subject to amber-list or red-list controls from the initiation of the shipment until it reaches the final recovery facility, including cases in which the waste is stored or exchanged by the consignee prior to shipment to the final recovery facility, except as provided in this subsection (a).

1)	For shipments of hazardous waste within the U.S. solely by water (bulk shipments only), the generator must forward the tracking document with the manifest to the last water (bulk shipment) transporter to handle the waste in the U.S. if exported by water (in accordance with the manifest routing procedures at Section 722.123(c)).

2)	For rail shipments of hazardous waste within the U.S. which that originate at the site of generation, the generator must forward the tracking document with the manifest (in accordance with the routing procedures for the manifest in Section 722.123(d)) to the next non-rail transporter, if any, or the last rail transporter to handle the waste in the U.S. if exported by rail.

b)	The tracking document must include all information required under Section 722.183 (for notification) and the following informations:

1)	The date shipment commenced;

2)	The name (if not notifier), address, and telephone and telefax numbers of primary exporter;

3)	The company name and USEPA identification number of all transporters;

4)	Identification (license, registered name, or registration number) of means of transport, including types of packaging;

5)	Any special precautions to be taken by transporters;

6)	A certification or declaration signed by notifier that no objection to the shipment has been lodged as follows:

“I certify that the above information is complete and correct to the best of my knowledge.  I also certify that legally-enforceable written contractual obligations have been entered into, that any applicable insurance or other financial guarantees are or shall must be in force covering the transfrontier movement, and that:”

“1. All necessary consents have been received;” OR

“2. The shipment is directed at a recovery facility within the OECD area and no objection has been received from any of the concerned countries within the 30 day tacit consent period;” OR

“3. The shipment is directed at a recovery facility pre-authorized for that type of waste within the OECD area, such an authorization has not been revoked, and no objection has been received from any of the concerned countries.”

(delete sentences that are not applicable)

“Name:  _____________________________________

Signature:  __________________________________

Date:  _____________________________________”; and

7)	The appropriate signatures for each custody transfer (e.g., transporter, consignee, and owner or operator of the recovery facility).

c)	Notifiers also must comply with the special manifest requirements of Section 722.154(a), (b), (c), (e), and (i) and consignees must comply with the import requirements of Subpart F of this Part.

d)	Each U.S. person that has physical custody of the waste from the time the movement commences until it arrives at the recovery facility must sign the tracking document (e.g., transporter, consignee, and owner or operator of the recovery facility).

e)	Within three working days of the receipt of imports subject to this Subpart H, the owner or operator of the U.S. recovery facility must send signed copies of the tracking document to the notifier, to the Office of Enforcement and Compliance Assurance, Office of Compliance, Enforcement Planning, Targeting and Data Division (2222A), Environmental Protection Agency, 401 M St., SW., Washington, DC 20460, and to the competent authorities of the exporting and transit countries.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.185	Contracts

a)	Transfrontier movements of hazardous wastes subject to amber or red control procedures are prohibited unless they occur under the terms of a valid written contract, chain of contracts, or equivalent arrangements (when the movement occurs between parties controlled by the same corporate or legal entity).  Such contracts or equivalent arrangements must be executed by the notifier and the owner or operator of the recovery facility, and must specify responsibilities for each.  Contracts or equivalent arrangements are valid for the purposes of this Section only if persons assuming obligations under the contracts or equivalent arrangements have appropriate legal status to conduct the operations specified in the contract or equivalent arrangement.

b)	Contracts or equivalent arrangements must specify the following names and USEPA identification numbers, where available:

1)	The generator of each type of waste;

2)	Each person that will have physical custody of the wastes;

3)	Each person that will have legal control of the wastes; and

4)	The recovery facility.

c)	Contracts or equivalent arrangements must specify which party to the contract will assume responsibility for alternate management of the wastes if its disposition cannot be carried out as described in the notification of intent to export.  In such cases, contracts must specify the following:

1)	That the person having actual possession or physical control over the wastes will immediately inform the notifier and the competent authorities of the exporting and importing countries and, if the wastes are located in a country of transit, the competent authorities of that country; and

2)	That the person specified in the contract will assume responsibility for the adequate management of the wastes in compliance with applicable laws and regulations including, if necessary, arranging their return to the original country of export.

d)	Contracts must specify that the consignee will provide the notification required in Section 722.182(c) prior to re-export of controlled wastes to a third country.

e)	Contracts or equivalent arrangements must include provisions for financial guarantees, if required by the competent authorities of any concerned country, in accordance with applicable national or international law requirements.

BOARD NOTE:  Financial guarantees so required are intended to provide for alternative recycling, disposal, or other means of sound management of the wastes in cases where arrangements for the shipment and the recovery operations cannot be carried out as foreseen.  The U.S. does not require such financial guarantees at this time; however, some OECD countries do.  It is the responsibility of the notifier to ascertain and comply with such requirements; in some cases, transporters or consignees may refuse to enter into the necessary contracts absent specific references or certifications to financial guarantees.

f)	Contracts or equivalent arrangements must contain provisions requiring each contracting party to comply with all applicable requirements of this Subpart H.

g)	Upon request by USEPA or the Agency, U.S. notifiers, consignees, or recovery facilities shall must submit to USEPA and the Agency copies of contracts, chain of contracts, or equivalent arrangements (when the movement occurs between parties controlled by the same corporate or legal entity).  Information contained in the contracts or equivalent arrangements for which a claim of confidentiality is asserted in accordance with 35 Ill. Adm. Code 120 will be treated as confidential and will be disclosed by the Agency only as provided in 35 Ill. Adm. Code 120.

BOARD NOTE: Although the U.S. does not require routine submission of contracts at this time, OECD Council Decision C(92)39/FINAL allows members to impose such requirements.  When other OECD countries require submission of partial or complete copies of the contract as a condition to granting consent to proposed movements, USEPA or the Agency will request the required information; absent submission of such information, some OECD countries may deny consent for the proposed movement.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.186	Provisions Relating to Recognized Traders

a)	A recognized trader that takes physical custody of a waste and conducts recovery operations (including storage prior to recovery) is acting as the owner or operator of a recovery facility and must be so authorized in accordance with all applicable federal laws.

b)	A recognized trader acting as a notifier or consignee for transfrontier shipments of waste must comply with all the notifier or consignee requirements of this Subpart H.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.187	Reporting and Recordkeeping

a)	Annual reports.  For all waste movements subject to this Subpart H, persons (e.g., notifiers, recognized traders) that meet the definition of primary exporter in Section 722.151 shall must file an annual report with the Office of Enforcement and Compliance Assurance, Office of Compliance, Enforcement Planning, Targeting and Data Division (2222A), U.S. Environmental Protection Agency, 401 M St., SW., Washington, DC 20460 and the Illinois Environmental Protection Agency, Bureau of Land, Division of Land Pollution Control, P.O. Box 19276, Springfield, IL 62794, no later than March 1 of each year summarizing the types, quantities, frequency, and ultimate destination of all such hazardous waste exported during the previous calendar year.  (If the primary exporter is required to file an annual report for waste exports that are not covered under this Subpart H, the person filing may include all export information in one report provided the following information on exports of waste destined for recovery within the designated OECD member countries is contained in a separate Section).  Such reports shall must include the following information:

1)	The USEPA identification number, name, and mailing and site address of the notifier filing the report;

2)	The calendar year covered by the report;

3)	The name and site address of each final recovery facility;

4)	By final recovery facility, for each hazardous waste exported, a description of the hazardous waste, the USEPA hazardous waste number (from Subpart C or D of 35 Ill. Adm. Code 721.Subpart C or 721.Subpart D),; the designation of waste type(s) types from the OECD waste list and applicable waste code from the OECD lists, as decribed in OECD Council Decision C(88)90/FINAL, incorporated by reference in 35 Ill. Adm. Code 720.111(a), USDOT hazard class,; the name and USEPA identification number (where applicable) for each transporter used,; the total amount of hazardous waste shipped pursuant to this Subpart H,; and number of shipments pursuant to each notification;

5)	In even numbered years, for each hazardous waste exported, except for hazardous waste produced by exporters of greater than 100 kilograms (kg) but less than 1,000 kg in a calendar month, and except for hazardous waste for which information was already provided pursuant to Section 722.141:

A)	A description of the efforts undertaken during the year to reduce the volume and toxicity of waste generated; and

B)	A description of the changes in volume and toxicity of the waste actually achieved during the year in comparison to previous years to the extent such information is available for years prior to 1984; and

6)	A certification signed by the person acting as primary exporter that states as follows:

“I certify under penalty of law that I have personally examined and am familiar with the information submitted in this and all attached documents, and that based on my inquiry of those individuals immediately responsible for obtaining the information, I believe that the submitted information is true, accurate, and complete.  I am aware that there are significant penalties for submitting false information including the possibility of fine and imprisonment.”

b)	Exception reports.  Any person that meets the definition of primary exporter in Section 722.151 shall must file with USEPA and the Agency an exception report in lieu of the requirements of Section 722.142 if any of the following occurs:

1)	The person has not received a copy of the tracking documentation signed by the transporter stating point of departure of the waste from the United States within 45 days from the date it was accepted by the initial transporter;

2)	Within 90 days from the date the waste was accepted by the initial transporter, the notifier has not received written confirmation from the recovery facility that the hazardous waste was received; or

3)	The waste is returned to the United States.

c)	Recordkeeping.

1)	Persons that meet the definition of primary exporter in Section 722.151 shall must keep the following records:

A)	A copy of each notification of intent to export and all written consents obtained from the competent authorities of concerned countries, for a period of at least three years from the date the hazardous waste was accepted by the initial transporter;

B)	A copy of each annual report, for a period of at least three years from the due date of the report; and

C)	A copy of any exception reports and a copy of each confirmation of delivery (i.e., tracking documentation) sent by the recovery facility to the notifier, for at least three years from the date the hazardous waste was accepted by the initial transporter or received by the recovery facility, whichever is applicable.

2)	The periods of retention referred to in this Section are extended automatically during the course of any unresolved enforcement action regarding the regulated activity or as requested by USEPA or the Agency.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.189	OECD Waste Lists

a)	General.  For the purposes of this Subpart H, a waste is considered hazardous under U.S. national procedures, and hence subject to this Subpart H, if the following is true of the waste:

1)	Meets The waste meets the federal definition of hazardous waste in 35 Ill. Adm. Code 721.103; and

2)	Is The waste is subject to either the hazardous waste manifesting requirements of Subpart B of this Part or the universal waste management standards of 35 Ill. Adm. Code 733.

b)	If a waste is hazardous under subsection (a) of this Section and it appears on the amber or red list is amber-list waste or red-list waste, it is subject to either the amber-list or red-list requirements controls, as appropriate.

c)	If a waste is hazardous under subsection (a) of this Section and it does not appear on either the amber or red list is not amber-list or red-list waste, it is subject to the red-list requirements controls.

d)	The appropriate control procedures for hazardous wastes and hazardous waste mixtures are addressed in Section 722.182.

e)	The OECD Green List of Wastes (revised May 1994), Amber List of Wastes (revised May 1993), and Red List of Wastes (revised May 1993), as set forth in Appendix 3, Appendix 4 and Appendix 5, respectively, to the OECD Council Decision C(92)39/FINAL (Concerning the Control of Transfrontier Movements of Wastes Destined for Recovery Operations), incorporated by reference in 35 Ill. Adm. Code 720.111.This subsection (e) corresponds with 40 CFR 262.89(e), which incorporates the OECD amber, green, and red lists by reference.  This statement maintains structural consistency with the corresponding federal regulations.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 722.Appendix A	Hazardous Waste Manifest

The Board incorporates by reference 40 CFR 262, Appendix (1997).  This Part incorporates no later amendments or editions.  The Agency shall must prepare manifest forms based on 40 CFR 262, Appendix, incorporated by reference in 35 Ill. Adm. Code 720.111(b), with such changes as are necessary under Illinois law.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

TITLE 35:  ENVIRONMENTAL PROTECTION

SUBTITLE G:  WASTE DISPOSAL

CHAPTER I:  POLLUTION CONTROL BOARD

SUBCHAPTER c:  HAZARDOUS WASTE OPERATING REQUIREMENTS

PART 724

STANDARDS FOR OWNERS AND OPERATORS OF HAZARDOUS WASTE TREATMENT, STORAGE, AND DISPOSAL FACILITIES

- SUBPART A:  GENERAL PROVISIONS

Section

724.101	Purpose, Scope, and Applicability

724.103	Relationship to Interim Status Standards

- SUBPART B:  GENERAL FACILITY STANDARDS

Section

724.110	Applicability

724.111	USEPA Identification Number

724.112	Required Notices

724.113	General Waste Analysis

724.114	Security

724.115	General Inspection Requirements

724.116	Personnel Training

724.117	General Requirements for Ignitable, Reactive, or Incompatible Wastes

724.118	Location Standards

724.119	Construction Quality Assurance Program

- SUBPART C:  PREPAREDNESS AND PREVENTION

Section

724.130	Applicability

724.131	Design and Operation of Facility

724.132	Required Equipment

724.133	Testing and Maintenance of Equipment

724.134	Access to Communications or Alarm System

724.135	Required Aisle Space

724.137	Arrangements with Local Authorities

- SUBPART D:  CONTINGENCY PLAN AND EMERGENCY PROCEDURES

Section

724.150	Applicability

724.151	Purpose and Implementation of Contingency Plan

724.152	Content of Contingency Plan

724.153	Copies of Contingency Plan

724.154	Amendment of Contingency Plan

724.155	Emergency Coordinator

724.156	Emergency Procedures

- SUBPART E:  MANIFEST SYSTEM, RECORDKEEPING AND REPORTING

Section

724.170	Applicability

724.171	Use of Manifest System

724.172	Manifest Discrepancies

724.173	Operating Record

724.174	Availability, Retention, and Disposition of Records

724.175	Annual Report

724.176	Unmanifested Waste Report

724.177	Additional Reports

- SUBPART F:  RELEASES FROM SOLID WASTE MANAGEMENT UNITS

Section

724.190	Applicability

724.191	Required Programs

724.192	Groundwater Protection Standard

724.193	Hazardous Constituents

724.194	Concentration Limits

724.195	Point of Compliance

724.196	Compliance Period

724.197	General Groundwater Monitoring Requirements

724.198	Detection Monitoring Program

724.199	Compliance Monitoring Program

724.200	Corrective Action Program

724.201	Corrective Action for Solid Waste Management Units

- SUBPART G:  CLOSURE AND POST-CLOSURE CARE

Section

724.210	Applicability

724.211	Closure Performance Standard

724.212	Closure Plan; Amendment of Plan

724.213	Closure; Time Allowed For Closure

724.214	Disposal or Decontamination of Equipment, Structures, and Soils

724.215	Certification of Closure

724.216	Survey Plat

724.217	Post-Closure Care and Use of Property

724.218	Post-Closure Care Plan; Amendment of Plan

724.219	Post-Closure Notices

724.220	Certification of Completion of Post-Closure Care

725.221	Alternative Post-Closure Care Requirements

- SUBPART H:  FINANCIAL REQUIREMENTS

Section

724.240	Applicability

724.241	Definitions of Terms as Used in This Subpart

724.242	Cost Estimate for Closure

724.243	Financial Assurance for Closure

724.244	Cost Estimate for Post-Closure Care

724.245	Financial Assurance for Post-Closure Care

724.246	Use of a Mechanism for Financial Assurance of Both Closure and Post-Closure Care

724.247	Liability Requirements

724.248	Incapacity of Owners or Operators, Guarantors, or Financial Institutions

724.251	Wording of the Instruments

- SUBPART I:  USE AND MANAGEMENT OF CONTAINERS

Section

724.270	Applicability

724.271	Condition of Containers

724.272	Compatibility of Waste with Container

724.273	Management of Containers

724.274	Inspections

724.275	Containment

724.276	Special Requirements for Ignitable or Reactive Waste

724.277	Special Requirements for Incompatible Wastes

724.278	Closure

724.279	Air Emission Standards

- SUBPART J:  TANK SYSTEMS

Section

724.290	Applicability

724.291	Assessment of Existing Tank System Integrity

724.292	Design and Installation of New Tank Systems or Components

724.293	Containment and Detection of Releases

724.294	General Operating Requirements

724.295	Inspections

724.296	Response to Leaks or Spills and Disposition of Leaking or Unfit-for-Use Tank Systems

724.297	Closure and Post-Closure Care

724.298	Special Requirements for Ignitable or Reactive Waste

724.299	Special Requirements for Incompatible Wastes

724.300	Air Emission Standards

- SUBPART K:  SURFACE IMPOUNDMENTS

Section

724.320	Applicability

724.321	Design and Operating Requirements

724.322	Action Leakage Rate

724.323	Response Actions

724.326	Monitoring and Inspection

724.327	Emergency Repairs; Contingency Plans

724.328	Closure and Post-Closure Care

724.329	Special Requirements for Ignitable or Reactive Waste

724.330	Special Requirements for Incompatible Wastes

724.331	Special Requirements for Hazardous Wastes F020, F021, F022, F023, F026, and F027

724.332	Air Emission Standards

- SUBPART L:  WASTE PILES

Section

724.350	Applicability

724.351	Design and Operating Requirements

724.352	Action Leakage Rate

724.353	Response Action Plan

724.354	Monitoring and Inspection

724.356	Special Requirements for Ignitable or Reactive Waste

724.357	Special Requirements for Incompatible Wastes

724.358	Closure and Post-Closure Care

724.359	Special Requirements for Hazardous Wastes F020, F021, F022, F023, F026, and F027

- SUBPART M:  LAND TREATMENT

Section

724.370	Applicability

724.371	Treatment Program

724.372	Treatment Demonstration

724.373	Design and Operating Requirements

724.376	Food-Chain Crops

724.378	Unsaturated Zone Monitoring

724.379	Recordkeeping

724.380	Closure and Post-Closure Care

724.381	Special Requirements for Ignitable or Reactive Waste

724.382	Special Requirements for Incompatible Wastes

724.383	Special Requirements for Hazardous Wastes F020, F021, F022, F023, F026, and F027

- SUBPART N:  LANDFILLS

Section

724.400	Applicability

724.401	Design and Operating Requirements

724.402	Action Leakage Rate

724.403	Monitoring and Inspection

724.404	Response Actions

724.409	Surveying and Recordkeeping

724.410	Closure and Post-Closure Care

724.412	Special Requirements for Ignitable or Reactive Waste

724.413	Special Requirements for Incompatible Wastes

724.414	Special Requirements for Bulk and Containerized Liquids

724.415	Special Requirements for Containers

724.416	Disposal of Small Containers of Hazardous Waste in Overpacked Drums (Lab Packs)

724.417	Special Requirements for Hazardous Wastes F020, F021, F022, F023, F026, and F027

- SUBPART O:  INCINERATORS

Section

724.440	Applicability

724.441	Waste Analysis

724.442	Principal Organic Hazardous Constituents (POHCs)

724.443	Performance Standards

724.444	Hazardous Waste Incinerator Permits

724.445	Operating Requirements

724.447	Monitoring and Inspections

724.451	Closure

- SUBPART S:  SPECIAL PROVISIONS FOR CLEANUP

Section

724.650	Applicability of Corrective Action Management Unit Regulations

724.651	Grandfathered Corrective Action Management Units

724.652	Corrective Action Management Units

724.653	Temporary Units

724.654	Staging Piles

724.655	Disposal of CAMU-Eligible Wastes in Permitted Hazardous Waste Landfills

- SUBPART W:  DRIP PADS

Section

724.670	Applicability

724.671	Assessment of Existing Drip Pad Integrity

724.672	Design and Installation of New Drip Pads

724.673	Design and Operating Requirements

724.674	Inspections

724.675	Closure

- SUBPART X:  MISCELLANEOUS UNITS

Section

724.700	Applicability

724.701	Environmental Performance Standards

724.702	Monitoring, Analysis, Inspection, Response, Reporting, and Corrective Action

724.703	Post-Closure Care

- SUBPART AA:  AIR EMISSION STANDARDS FOR PROCESS VENTS

Section

724.930	Applicability

724.931	Definitions

724.932	Standards:  Process Vents

724.933	Standards:  Closed-vent Systems and Control Devices

724.934	Test methods and procedures

724.935	Recordkeeping Requirements

724.936	Reporting Requirements

- SUBPART BB:  AIR EMISSION STANDARDS FOR EQUIPMENT LEAKS

Section

724.950	Applicability

724.951	Definitions

724.952	Standards:  Pumps in Light Liquid Service

724.953	Standards:  Compressors

724.954	Standards:  Pressure Relief Devices in Gas/Vapor Service

724.955	Standards:  Sampling Connecting Systems

724.956	Standards:  Open-ended Valves or Lines

724.957	Standards:  Valves in Gas/Vapor or Light Liquid Service

724.958	Standards:  Pumps, Valves, Pressure Relief Devices, and Other Connectors

724.959	Standards:  Delay of Repair

724.960	Standards:  Closed-Vent Systems and Control Devices

724.961	Alternative Percentage Standard for Valves

724.962	Skip Period Alternative for Valves

724.963	Test Methods and Procedures

724.964	Recordkeeping Requirements

724.965	Reporting Requirements

- SUBPART CC:  AIR EMISSION STANDARDS FOR TANKS, SURFACE IMPOUNDMENTS, AND CONTAINERS

Section

724.980	Applicability

724.981	Definitions

724.982	Standards:  General

724.983	Waste Determination Procedures

724.984	Standards:  Tanks

724.985	Standards:  Surface Impoundments

724.986	Standards:  Containers

724.987	Standards:  Closed-Vent Systems and Control Devices

724.988	Inspection and Monitoring Requirements

724.989	Recordkeeping Requirements

724.990	Reporting Requirements

724.991	Alternative Control Requirements for Tanks (Repealed)

- SUBPART DD:  CONTAINMENT BUILDINGS

Section

724.1100	Applicability

724.1101	Design and Operating Standards

724.1102	Closure and Post-Closure Care

Subpart EE:  Hazardous Waste Munitions and Explosives Storage

Section

724.1200	Applicability

724.1201	Design and operating standards

724.1202	Closure and post-closure care

724.Appendix A	Recordkeeping Instructions

724.Appendix B	EPA Report Form and Instructions (Repealed)

724.Appendix D	Cochran’s Approximation to the Behrens-Fisher Student’s T-Test

724.Appendix E	Examples of Potentially Incompatible Waste

724.Appendix I	Groundwater Monitoring List

AUTHORITY:  Implementing Sections 7.2 and 22.4 and authorized by Section 27 of the Environmental Protection Act [415 ILCS 5/7.2, 22.4, and 27].

SOURCE:  Adopted in R82-19 at 7 Ill. Reg. 14059, effective October 12, 1983; amended in R84-9 at 9 Ill. Reg. 11964, effective July 24, 1985; amended in R85-22 at 10 Ill. Reg. 1136, effective January 2, 1986; amended in R86-1 at 10 Ill. Reg. 14119, effective August 12, 1986; amended in R86-28 at 11 Ill. Reg. 6138, effective March 24, 1987; amended in R86-28 at 11 Ill. Reg. 8684, effective April 21, 1987; amended in R86-46 at 11 Ill. Reg. 13577, effective August 4, 1987; amended in R87-5 at 11 Ill. Reg. 19397, effective November 12, 1987; amended in R87-39 at 12 Ill. Reg. 13135, effective July 29, 1988; amended in R88-16 at 13 Ill. Reg. 458, effective December 28, 1988; amended in R89-1 at 13 Ill. Reg. 18527, effective November 13, 1989; amended in R90-2 at 14 Ill. Reg. 14511, effective August 22, 1990; amended in R90-10 at 14 Ill. Reg. 16658, effective September 25, 1990; amended in R90-11 at 15 Ill. Reg. 9654, effective June 17, 1991; amended in R91-1 at 15 Ill. Reg. 14572, effective October 1, 1991; amended in R91-13 at 16 Ill. Reg. 9833, effective June 9, 1992; amended in R92-1 at 16 Ill. Reg. 17702, effective November 6, 1992; amended in R92-10 at 17 Ill. Reg. 5806, effective March 26, 1993; amended in R93-4 at 17 Ill. Reg. 20830, effective November 22, 1993; amended in R93-16 at 18 Ill. Reg. 6973, effective April 26, 1994; amended in R94-7 at 18 Ill. Reg. 12487, effective July 29, 1994; amended in R94-17 at 18 Ill. Reg. 17601, effective November 23, 1994; amended in R95-6 at 19 Ill. Reg. 9951, effective June 27, 1995; amended in R95-20 at 20 Ill. Reg. 11244, effective August 1, 1996; amended in R96-10/R97-3/R97-5 at 22 Ill. Reg. 636, effective December 16, 1997; amended in R98-12 at 22 Ill. Reg. 7638, effective April 15, 1998; amended in R97-21/R98-3/R98-5 at 22 Ill. Reg. 17972, effective September 28, 1998; amended in R98-21/R99-2/R99-7 at 23 Ill. Reg. 2186, effective January 19, 1999; amended in R99-15 at 23 Ill. Reg. 9437, effective July 26, 1999; amended in R00-5 at 24 Ill. Reg. 1146, effective January 6, 2000; amended in R00-13 at 24 Ill. Reg. 9833, effective June 20, 2000; expedited correction at 25 Ill. Reg. 5115, effective June 20, 2000; amended in R02-1/R02-12/R02-17 at 26 Ill. Reg. 6635, effective April 22, 2002; amended in R03-7 at 27 Ill. Reg. 3725, effective February 14, 2003; amended in R05-2 at 29 Ill. Reg. ________, effective ______________________.

- SUBPART H:  FINANCIAL REQUIREMENTS

- Section 724.251	Wording of the Instruments

The Board incorporates by reference 40 CFR 264.151 (2002).  This incorporation includes no later amendments or editions.  The Agency must promulgate standardized forms based on 40 CFR 264.151, incorporated by reference in 35 Ill. Adm. Code 720.111(b), with such changes in wording as are necessary under Illinois law.  Any owner or operator required to establish financial assurance under this Subpart H must do so only upon the standardized forms promulgated by the Agency.  The Agency must reject any financial assurance document that is not submitted on such standardized forms.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART J:  TANK SYSTEMS

- Section 724.297	Closure and Post-Closure Care

a)	At closure of a tank system, the owner or operator must remove or decontaminate all waste residues, containmented contaminated containment system components (liners, etc.), contaminated soils and structures and equipment contaminated with waste, and manage them as hazardous waste, unless 35 Ill. Adm. Code 721.103(d) applies.  The closure plan, closure activities, cost estimates for closure and financial responsibility for tank systems must meet all of the requirements specified in Subparts G and H of this Part.

b)	If the owner or operator demonstrates to the Agency by way of permit application that not all contaminated soils can be practicably removed or decontaminated, as required in subsection (a) of this Section, then the owner or operator must close the tank system and perform post-closure care in accordance with the closure and post-closure care requirements that apply to landfills (Section 724.410).  In addition, for the purposes of closure, post-closure and financial responsibility, such a tank system is then considered to be a landfill, and the owner or operator must meet all of the requirements for landfills specified in Subparts G and H of this Part.

c)	If an owner or operator has a tank system that does not have secondary containment which meets the requirements of Section 724.193(b) through (f), and the owner and operator has not been granted alternative design and operating practices for secondary containment requirements in accordance with Section 724.293(g), then the following apply:

1)	The closure plan for the tank system must include both a plan for complying with subsection (a) of this Section and a contingent plan for complying with subsection (b) of this Section.

2)	A contingent post-closure plan for complying with subsection (b) of this Section must be prepared and submitted as part of the permit application.

3)	The cost estimates calculated for closure and post-closure care must reflect the costs of complying with the contingent closure plan and the contingent post-closure plan if those costs are greater than the costs of complying with the closure plan prepared for the expected closure under subsection (a) of this Section.

4)	Financial assurance must be based on the cost estimates in subsection (c)(3) of this Section.

5)	For the purposes of the contingent closure and post-closure plans, such a tank system is considered to be a landfill, and the contingent plans must meet all of the closure, post-closure, and financial responsibility requirements for landfills under Subparts G and H of this Part.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART AA:  AIR EMISSION STANDARDS FOR PROCESS VENTS

- Section 724.936	Reporting Requirements

a)	A semiannual report must be submitted by owners and operators subject to the requirements of this Subpart AA to the Agency by dates specified in the RCRA permit.  The report must include the following information:

1)	The USEPA identification number (35 Ill. Adm. Code 722.112), name, and address of the facility.

2)	For each month during the semiannual reporting period the following:

A)	Dates when the control device did the following:

i)	Exceeded or operated outside of the design specifications, as defined in Section 724.935(c)(4); and

ii)	Such exceedances exceedences were not corrected within 24 hours, or that a flare operated with visible emissions, as defined by Method 22 monitoring;

B)	The duration and cause of each exceedance exceedence or visible emissions; and

C)	Any corrective measures taken.

b)	If during the semiannual reporting period, the control device does not exceed or operate outside of the design specifications, as defined in Section 724.935(c)(4), for more than 24 hours or a flare does not operate with visible emissions, as defined in Section 724.933(d), a report to the Agency is not required.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART BB:  AIR EMISSION STANDARDS FOR EQUIPMENT LEAKS

- Section 724.950	Applicability

a)	The regulations in this Subpart BB apply to owners and operators of facilities that treat, store, or dispose of hazardous wastes (except as provided in Section 724.101).

b)	Except as provided in Section 724.964(k), this Subpart BB applies to equipment that contains or contacts hazardous wastes with organic concentrations of at least 10 percent by weight that are managed in one of the following:

1)	A unit that is subject to the RCRA permitting requirements of 35 Ill. Adm. Code 702, 703, and 705,

2)	A unit (including a hazardous waste recycling unit) that is not exempt from permitting under the provisions of 35 Ill. Adm. Code 722.134(a) (i.e., a hazardous waste recycling unit that is not a “90-day” tank or container) and that is located at a hazardous waste management facility otherwise subject to the permitting requirements of 35 Ill. Adm. Code 702, 703, and 705, or

3)	A unit that is exempt from permitting under the provisions of 35 Ill. Adm. Code 722.134(a) (i.e., a “90-day” tank or container) and which is not a recycling unit under the provisions of 35 Ill. Adm. Code 721.106.

c)	For the owner or operator of a facility subject to this Subpart BB that received a final permit under 35 Ill. Adm. Code 702, 703, and 705 prior to December 6, 1996, the requirements of this Subpart BB must be incorporated into the permit when the permit is reissued, renewed, or modified in accordance with the requirements of 35 Ill. Adm. Code 703 and 705.  Until such date when the owner or operator receives a final permit incorporating the requirements of this Subpart BB, the owner or operator is subject to the requirements of Subpart BB of 35 Ill. Adm. Code 725.

d)	Each piece of equipment to which this Subpart BB applies must be marked in such a manner that it can be distinguished readily from other pieces of equipment.

e)	Equipment that is in vacuum service is excluded from the requirements of Sections 724.952 to 724.960, if it is identified as required in Section 724.964(g)(5).

f)	Equipment that contains or contacts hazardous waste with an organic concentration of at least 10 percent by weight for less than 300 hours per calendar year is excluded from the requirements of Sections 724.952 through 724.960 if it is identified as required in Section 724.964(g)(6).

g)	This subsection (g) corresponds with 40 CFR 264.1050(g), which relates exclusively to a facility outside Illinois.  This statement maintains structural consistency with the corresponding federal regulations.

h)	Purged coatings and solvents from surface coating operations subject to the federal national emission standards for hazardous air pollutants (NESHAPs) for the surface coating of automobiles and light-duty trucks at Subpart IIII of 40 CFR 63, incorporated by reference in 35 Ill. Adm. Code 720.111(b), are not subject to the requirements of this Subpart BB.

BOARD NOTE:  The requirements of Sections 724.952 through 724.965 apply to equipment associated with hazardous waste recycling units previously exempt under 35 Ill. Adm. Code 721.106(c)(1).  Other exemptions under 35 Ill. Adm. Code 721.104 and 724.101(g) are not affected by these requirements.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 724.965	Reporting Requirements

a)	A semiannual report must be submitted by owners and operators subject to the requirements of this Subpart BB to the Agency by dates specified in the RCRA permit.  The report must include the following information:

1)	The USEPA identification number (35 Ill. Adm. Code 722.112), name, and address of the facility.

2)	For each month during the semiannual reporting period, the following:

A)	The equipment identification number of each valve for which a leak was not repaired, as required in Section 724.957(d).

B)	The equipment identification number of each pump for which a leak was not repaired, as required in Section 724.952(c) and (d)(6).

C)	The equipment identification number of each compressor for which a leak was not repaired, as required in Section 724.953(g),

3)	Dates of hazardous waste management unit shutdowns that occurred within the semiannual reporting period.

4)	For each month during the semiannual reporting period, dates when the control device installed as required by Sections 724.952, 724.953, 724.954, or 724.955, exceeded or operated outside of the design specifications, as defined in Section 724.964(e) and as indicated by the control device monitoring required by Section 724.960 and was not corrected within 24 hours, the duration and cause of each exceedance exceedence, and any corrective measures taken.

b)	If, during the semiannual reporting period, leaks from valves, pumps, and compressors are repaired as required in Sections 724.957(d), 724.952(c) and (d)(6), and 724.953(g), respectively, and the control device does not exceed or operate outside of the design specifications, as defined in Section 724.964(e) for more than 24 hours, a report to the Agency is not required.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART DD:  CONTAINMENT BUILDINGS

- Section 724.1101	Design and Operating Standards

a)	All containment buildings must comply with the following design and operating standards:

1)	The containment building must be completely enclosed with a floor, walls, and a roof to prevent exposure to the elements (e.g. precipitation, wind, run on) and to assure containment of managed wastes.

2)	The floor and containment walls of the unit, including the secondary containment system if required under subsection (b) of this Section, must be designed and constructed of materials of sufficient strength and thickness to support themselves, the waste contents, and any personnel and heavy equipment that operate within the unit, and to prevent failure due to pressure gradients, settlement, compression, or uplift, physical contact with the hazardous wastes to which they are exposed; climatic conditions; and the stresses of daily operation, including the movement of heavy equipment within the unit and contact of such equipment with containment walls.  The unit must be designed so that it has sufficient structural strength to prevent collapse or other failure.  All surfaces to be in contact with hazardous wastes must be chemically compatible with those wastes.  The containment building must meet the structural integrity requirements established by professional organizations generally recognized by the industry such as the American Concrete Institute (ACI) and the American Society of Testing Materials (ASTM).  If appropriate to the nature of the waste management operation to take place in the unit, an exception to the structural strength requirement may be made for light-weight doors and windows that meet the following criteria:

A)	They provide an effective barrier against fugitive dust emissions under subsection (c)(1)(C) of this Section; and

B)	The unit is designed and operated in a fashion that assures that wastes will not actually come in contact with these openings.

3)	Incompatible hazardous wastes or treatment reagents must not be placed in the unit or its secondary containment system if they could cause the unit or secondary containment system to leak, corrode, or otherwise fail.

4)	A containment building must have a primary barrier designed to withstand the movement of personnel, waste, and handling equipment in the unit during the operating life of the unit and appropriate for the physical and chemical characteristics of the waste to be managed.

b)	For a containment building used to manage hazardous wastes containing free liquids or treated with free liquids (the presence of which is determined by the paint filter test, a visual examination, or other appropriate means), the owner or operator must include the following:

1)	A primary barrier designed and constructed of materials to prevent the migration of hazardous constituents into the barrier (e.g., a geomembrane covered by a concrete wear surface).

2)	A liquid collection and removal system to minimize the accumulation of liquid on the primary barrier of the containment building, as follows:

A)	The primary barrier must be sloped to drain liquids to the associated collection system; and

B)	Liquids and waste must be collected and removed to minimize hydraulic head on the containment system at the earliest practicable time.

3)	A secondary containment system including a secondary barrier designed and constructed to prevent migration of hazardous constituents into the barrier, and a leak detection system that is capable of detecting failure of the primary barrier and collecting accumulated hazardous wastes and liquids at the earliest practicable time.

A)	The requirements of the leak detection component of the secondary containment system are satisfied by installation of a system that is, at a minimum, as follows:

i)	It is constructed with a bottom slope of 1 percent or more; and

ii)	It is constructed of a granular drainage material with a hydraulic conductivity of 1 x 10-2 cm/sec or more and a thickness of 12 inches (30.5 cm) or more, or constructed of synthetic or geonet drainage materials with a transmissivity of 3 x 10-5 m2/sec or more.

B)	If treatment is to be conducted in the building, an area in which such treatment will be conducted must be designed to prevent the release of liquids, wet materials, or liquid aerosols to other portions of the building.

C)	The secondary containment system must be constructed of materials that are chemically resistant to the waste and liquids managed in the containment building and of sufficient strength and thickness to prevent collapse under the pressure exerted by overlaying materials and by any equipment used in the containment building.  (Containment buildings can serve as secondary containment systems for tanks placed within the building under certain conditions.  A containment building can serve as an external liner system for a tank, provided it meets the requirements of Section 724.193(d)(1).  In addition, the containment building must meet the requirements of Section 724.193(b) and Sections 724.193(c)(1) and (c)(2) to be an acceptable secondary containment system for a tank.)

4)	For existing units other than 90-day generator units, USEPA may delay the secondary containment requirement for up to two years, based on a demonstration by the owner or operator that the unit substantially meets the standards of this Subpart DD.  In making this demonstration, the owner or operator must have done the following:

A)	Provided written notice to USEPA of their request by November 16, 1992.  This notification must have described the unit and its operating practices with specific reference to the performance of existing systems, and specific plans for retrofitting the unit with secondary containment;

B)	Responded  to any comments from USEPA on these plans within 30 days; and

C)	Fulfilled the terms of the revised plans, if such plans are approved by USEPA.

c)	Owners or operators An owner or operator of all a containment buildings building must do the following:

1)	Use controls and practice to ensure containment of the hazardous waste within the unit, and at a minimum:

A)	Maintain the primary barrier to be free of significant cracks, gaps, corrosion, or other deterioration that could cause hazardous waste to be release from the primary barrier;

B)	Maintain the level of the stored or treated hazardous waste within the containment walls of the unit so that the height of any containment wall is not exceeded;

C)	Take measures to prevent the tracking of hazardous waste out of the unit by personnel or by equipment used in handling the waste.  An area must be designated to decontaminate equipment and any rinsate must be collected and properly managed; and

D)	Take measures to control fugitive dust emissions such that any openings (doors, windows, vents, cracks, etc.) exhibit no visible emissions (see 40 CFR 60, Appendix A, Method 22 - Visual Determination of Fugitive Emissions from Material Sources and Smoke Emissions from Flares).  In addition, all associated particulate collection devices (e.g., fabric filter, electrostatic precipitator) must be operated and maintained with sound air pollution control practices (see 40 CFR 60 for guidance).  This state of no visible emissions must be maintained effectively at all times during routine operating and maintenance conditions, including when vehicles and personnel are entering and exiting the unit.

BOARD NOTE:  At 40 CFR 264.1101(c)(1)(iv), as added as 57 Fed. Reg. 37266 (Aug. 18, 1992) (2004), USEPA cites “40 CFR part 60, subpart 292.”  At 57 Fed. Reg. 37217 (Aug. 18, 1992), USEPA repeats this citation in the preamble discussion of adoption of the rules.  No such provision exists in the Code of Federal Regulations.  The Board has chosen to use the more general citation:  “40 CFR 60.”

2)	Obtain certification by a qualified registered professional engineer (PE) that the containment building design meets the requirements of subsections (a) through (c) of this Section.  For units placed into operation prior to February 18, 1993, this certification must be have been placed in the facility’s operating record (on-site files for generators who that are not formally required to have operating records) no later than 60 days after the date of initial operation of the unit.  After February 18, 1993, PE certification will be has been required prior to operation of the unit.

3)	Throughout the active life of the containment building, if the owner or operator detects a condition that could lead to or has caused a release of hazardous waste, must repair the condition promptly.  In addition, however the following is required:

A)	Upon detection of a condition that has caused to a release of hazardous wastes (e.g., upon detection of leakage from the primary barrier) the owner or operator must do the following:

i)	Enter a record of the discovery in the facility operating record;

ii)	Immediately remove the portion of the containment building affected by the condition from service;

iii)	Determine what steps must be taken to repair the containment building, remove any leakage from the secondary collection system, and establish a schedule for accomplishing the cleanup and repairs; and

iv)	Within seven days after the discovery of the condition, notify the Agency in writing of the condition, and within 14 working days, provide a written notice to the Agency with a description of the steps taken to repair the containment building, and the schedule for accomplishing the work.

B)	The Agency must review the information submitted, make a determination in accordance with Section 34 of the Act, regarding whether the containment building must be removed from service completely or partially until repairs and cleanup are complete, and notify the owner or operator of the determination and the underlying rationale in writing.

C)	Upon completing all repairs and cleanup the owner and operator must notify the Agency in writing and provide a verification, signed by a qualified, registered professional engineer, that the repairs and cleanup have been completed according to the written plan submitted in accordance with subsection (c)(3)(A)(iv) of this Section.

4)	Inspect and record in the facility’s operating record, at least once every seven days, data gathered from monitoring equipment and leak detection equipment, as well as the containment building and the area immediately surrounding the containment building, to detect signs of releases of hazardous waste.

d)	For containment buildings that contain areas both with and without secondary containment, the owner or operator must do the following:

1)	Design and operate each area in accordance with the requirements enumerated in subsections (a) through (c) of this Section;

2)	Take measures to prevent the release of liquids or wet materials into areas without secondary containment; and

3)	Maintain in the facility’s operating log a written description of the operating procedures used to maintain the integrity of areas without secondary containment.

e)	Notwithstanding any other provision of this Subpart DD the Agency must not require secondary containment for a permitted containment building where the owner operator demonstrates that the only free liquids in the unit are limited amounts of dust suppression liquids required to meet occupational health and safety requirements, and where containment of managed wastes and liquids can be assured without a secondary containment system.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 724.Appendix A	Recordkeeping Instructions

The Board hereby incorporates by reference See 40 CFR 264, Appendix I (2002), incorporated by reference in 35 Ill. Adm. Code 720.111(b).  This incorporation includes no later amendments or editions.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

TITLE 35:  ENVIRONMENTAL PROTECTION

SUBTITLE G:  WASTE DISPOSAL

CHAPTER I:  POLLUTION CONTROL BOARD

SUBCHAPTER c:  HAZARDOUS WASTE OPERATING REQUIREMENTS

PART 725

INTERIM STATUS STANDARDS FOR OWNERS AND OPERATORS OF HAZARDOUS WASTE TREATMENT, STORAGE, AND DISPOSAL FACILITIES

- SUBPART A:  GENERAL PROVISIONS

Section

725.101	Purpose, Scope, and Applicability

725.104	Imminent Hazard Action

- SUBPART B:  GENERAL FACILITY STANDARDS

Section

725.110	Applicability

725.111	USEPA Identification Number

725.112	Required Notices

725.113	General Waste Analysis

725.114	Security

725.115	General Inspection Requirements

725.116	Personnel Training

725.117	General Requirements for Ignitable, Reactive, or Incompatible Wastes

725.118	Location Standards

725.119	Construction Quality Assurance Program

- SUBPART C:  PREPAREDNESS AND PREVENTION

Section

725.130	Applicability

725.131	Maintenance and Operation of Facility

725.132	Required Equipment

725.133	Testing and Maintenance of Equipment

725.134	Access to Communications or Alarm System

725.135	Required Aisle Space

725.137	Arrangements with Local Authorities

- SUBPART D:  CONTINGENCY PLAN AND EMERGENCY PROCEDURES

Section

725.150	Applicability

725.151	Purpose and Implementation of Contingency Plan

725.152	Content of Contingency Plan

725.153	Copies of Contingency Plan

725.154	Amendment of Contingency Plan

725.155	Emergency Coordinator

725.156	Emergency Procedures

- SUBPART E:  MANIFEST SYSTEM, RECORDKEEPING, AND REPORTING

Section

725.170	Applicability

725.171	Use of Manifest System

725.172	Manifest Discrepancies

725.173	Operating Record

725.174	Availability, Retention, and Disposition of Records

725.175	Annual Report

725.176	Unmanifested Waste Report

725.177	Additional Reports

- SUBPART F:  GROUNDWATER MONITORING

Section

725.190	Applicability

725.191	Groundwater Monitoring System

725.192	Sampling and Analysis

725.193	Preparation, Evaluation, and Response

725.194	Recordkeeping and Reporting

- SUBPART G:  CLOSURE AND POST-CLOSURE CARE

Section

725.210	Applicability

725.211	Closure Performance Standard

725.212	Closure Plan; Amendment of Plan

725.213	Closure; Time Allowed for Closure

725.214	Disposal or Decontamination of Equipment, Structures, and Soils

725.215	Certification of Closure

725.216	Survey Plat

725.217	Post-closure Post-Closure Care and Use of Property

725.218	Post-Closure Care Plan; Amendment of Plan

725.219	Post-Closure Notices

725.220	Certification of Completion of Post-Closure Care

725.221	Alternative Post-Closure Care Requirements

- SUBPART H:  FINANCIAL REQUIREMENTS

Section

725.240	Applicability

725.241	Definitions of Terms as Used in this Subpart H

725.242	Cost Estimate for Closure

725.243	Financial Assurance for Closure

725.244	Cost Estimate for Post-closure Post-Closure Care

725.245	Financial Assurance for Post-closure Post-Closure Monitoring and Maintenance

725.246	Use of a Mechanism for Financial Assurance of Both Closure and Post-closure Post-Closure Care

725.247	Liability Requirements

725.248	Incapacity of Owners or Operators, Guarantors, or Financial Institutions

725.251	Promulgation of Forms (Repealed)

- SUBPART I:  USE AND MANAGEMENT OF CONTAINERS

Section

725.270	Applicability

725.271	Condition of Containers

725.272	Compatibility of Waste with Container Containers

725.273	Management of Containers

725.274	Inspections

725.276	Special Requirements for Ignitable or Reactive Waste Wastes

725.277	Special Requirements for Incompatible Wastes

725.278	Air Emission Standards

- SUBPART J:  TANK SYSTEMS

Section

725.290	Applicability

725.291	Assessment of Existing Tank System’s System Integrity

725.292	Design and Installation of New Tank Systems or Components

725.293	Containment and Detection of Releases

725.294	General Operating Requirements

725.295	Inspections

725.296	Response to leaks Leaks or spills Spills and disposition Disposition of Tank Systems

725.297	Closure and Post-Closure Care

725.298	Special Requirements for Ignitable or Reactive Waste Wastes

725.299	Special Requirements for Incompatible Wastes

725.300	Waste Analysis and Trial Tests

725.301	Generators of 100 to 1,000 Kilograms of Hazardous Waste Per Month

725.302	Air Emission Standards

- SUBPART K:  SURFACE IMPOUNDMENTS

Section

725.320	Applicability

725.321	Design and Operating Requirements

725.322	Action Leakage Rate

725.323	Response Actions

725.324	Containment System

725.325	Waste Analysis and Trial Tests

725.326	Monitoring and Inspections

725.328	Closure and Post-closure Post-Closure Care

725.329	Special Requirements for Ignitable or Reactive Waste Wastes

725.330	Special Requirements for Incompatible Wastes

725.331	Air Emission Standards

- SUBPART L:  WASTE PILES

Section

725.350	Applicability

725.351	Protection from Wind

725.352	Waste Analysis

725.353	Containment

725.354	Design and Operating Requirements

725.355	Action Leakage Rates

725.356	Special Requirements for Ignitable or Reactive Waste Wastes

725.357	Special Requirements for Incompatible Wastes

725.358	Closure and Post-closure Post-Closure Care

725.359	Response Actions

725.360	Monitoring and Inspection Inspections

- SUBPART M:  LAND TREATMENT

Section

725.370	Applicability

725.372	General Operating Requirements

725.373	Waste Analysis

725.376	Food Chain Crops

725.378	Unsaturated Zone (Zone of Aeration) Monitoring

725.379	Recordkeeping

725.380	Closure and Post-closure Post-Closure Care

725.381	Special Requirements for Ignitable or Reactive Waste Wastes

725.382	Special Requirements for Incompatible Wastes

- SUBPART N:  LANDFILLS

Section

725.400	Applicability

725.401	Design Requirements

725.402	Action Leakage Rate

725.403	Response Actions

725.404	Monitoring and Inspection Inspections

725.409	Surveying and Recordkeeping

725.410	Closure and Post-closure Post-Closure Care

725.412	Special Requirements for Ignitable or Reactive Waste Wastes

725.413	Special Requirements for Incompatible Wastes

725.414	Special Requirements for Liquid Wastes

725.415	Special Requirements for Containers

725.416	Disposal of Small Containers of Hazardous Waste in Overpacked Drums (Lab Packs)

- SUBPART O:  INCINERATORS

Section

725.440	Applicability

725.441	Waste Analysis

725.445	General Operating Requirements

725.447	Monitoring and Inspection Inspections

725.451	Closure

725.452	Interim Status Incinerators Burning Particular Hazardous Wastes

- SUBPART P:  THERMAL TREATMENT

Section

725.470	Other Thermal Treatment

725.473	General Operating Requirements

725.475	Waste Analysis

725.477	Monitoring and Inspections

725.481	Closure

725.482	Open Burning; Waste Explosives

725.483	Interim Status Thermal Treatment Devices Burning Particular Hazardous Waste Wastes

- SUBPART Q:  CHEMICAL, PHYSICAL, AND BIOLOGICAL TREATMENT

Section

725.500	Applicability

725.501	General Operating Requirements

725.502	Waste Analysis and Trial Tests

725.503	Inspections

725.504	Closure

725.505	Special Requirements for Ignitable or Reactive Waste Wastes

725.506	Special Requirements for Incompatible Wastes

- SUBPART R:  UNDERGROUND INJECTION

Section

725.530	Applicability

- SUBPART W:  DRIP PADS

Section

725.540	Applicability

725.541	Assessment of existing drip pad integrity Existing Drip Pad Integrity

725.542	Design and installation Installation of new drip pads New Drip Pads

725.543	Design and operating requirements Operating Requirements

725.544	Inspections

725.545	Closure

- SUBPART AA:  AIR EMISSION STANDARDS FOR PROCESS VENTS

Section

725.930	Applicability

725.931	Definitions

725.932	Standards:  Process Vents

725.933	Standards:  Closed-vent Closed-Vent Systems and Control Devices

725.934	Test methods Methods and procedures Procedures

725.935	Recordkeeping Requirements

- SUBPART BB:  AIR EMISSION STANDARDS FOR EQUIPMENT LEAKS

Section

725.950	Applicability

725.951	Definitions

725.952	Standards:  Pumps in Light Liquid Service

725.953	Standards:  Compressors

725.954	Standards:  Pressure Relief Devices in Gas/Vapor Service

725.955	Standards:  Sampling Connecting Systems

725.956	Standards:  Open-ended Open-Ended Valves or Lines

725.957	Standards:  Valves in Gas/Vapor or Light Liquid Service

725.958	Standards:  Pumps, Valves, Pressure Relief Devices, Flanges, and otherConnectors Other Connectors

725.959	Standards:  Delay of Repair

725.960	Standards:  Closed-vent Closed-Vent Systems and Control Devices

725.961	Percent Leakage Alternative for Valves

725.962	Skip Period Alternative for Valves

725.963	Test Methods and Procedures

725.964	Recordkeeping Requirements

- SUBPART CC:  AIR EMISSION STANDARDS FOR TANKS, SURFACE IMPOUNDMENTS, AND CONTAINERS

Section

725.980	Applicability

725.981	Definitions

725.982	Schedule for Implementation of Air Emission Standards

725.983	Standards:  General

725.984	Waste Determination Procedures

725.985	Standards:  Tanks

725.986	Standards:  Surface Impoundments

725.987	Standards:  Containers

725.988	Standards:  Closed-vent Systems and Control Devices

725.989	Inspection and Monitoring Requirements

725.990	Recordkeeping Requirements

725.991	Alternative Tank Emission Control Requirements (Repealed)

- SUBPART DD:  CONTAINMENT BUILDINGS

Section

725.1100	Applicability

725.1101	Design and operating standards Operating Standards

725.1102	Closure and Post Closure-Care Post-Closure Care

Subpart EE:  Hazardous Waste Munitions and Explosives Storage

SUBPART EE:  HAZARDOUS WASTE MUNITIONS AND EXPLOSIVES STORAGE

Section

725.1200	Applicability

725.1201	Design and operating standards Operating Standards

725.1202	Closure and Post Closure-Care Post-Closure Care

725.Appendix A	Recordkeeping Instructions

725.Appendix B	EPA Report Form and Instructions (Repealed)

725.Appendix C	USEPA Interim Primary Drinking Water Standards

725.Appendix D	Tests for Significance

725.Appendix E	Examples of Potentially Incompatible Waste Wastes

725.Appendix F	Compounds With with Henry’s Law Constant Less Than 0.1 Y/X (at 25°C)

AUTHORITY:  Implementing Sections 7.2 and 22.4 and authorized by Section 27 of the Environmental Protection Act [415 ILCS 5/7.2, 22.4, and 27].

SOURCE:  Adopted in R81-22 at 5 Ill. Reg. 9781, effective May 17, 1982; amended and codified in R81-22 at 6 Ill. Reg. 4828, effective May 17, 1982; amended in R82-18 at 7 Ill. Reg. 2518, effective February 22, 1983; amended in R82-19 at 7 Ill. Reg. 14034, effective October 12, 1983; amended in R84-9 at 9 Ill. Reg. 11869, effective July 24, 1985; amended in R85-22 at 10 Ill. Reg. 1085, effective January 2, 1986; amended in R86-1 at 10 Ill. Reg. 14069, effective August 12, 1986; amended in R86-28 at 11 Ill. Reg. 6044, effective March 24, 1987; amended in R86-46 at 11 Ill. Reg. 13489, effective August 4, 1987; amended in R87-5 at 11 Ill. Reg. 19338, effective November 10, 1987; amended in R87-26 at 12 Ill. Reg. 2485, effective January 15, 1988; amended in R87-39 at 12 Ill. Reg. 13027, effective July 29, 1988; amended in R88-16 at 13 Ill. Reg. 437, effective December 28, 1988; amended in R89-1 at 13 Ill. Reg. 18354, effective November 13, 1989; amended in R90-2 at 14 Ill. Reg. 14447, effective August 22, 1990; amended in R90-10 at 14 Ill. Reg. 16498, effective September 25, 1990; amended in R90-11 at 15 Ill. Reg. 9398, effective June 17, 1991; amended in R91-1 at 15 Ill. Reg. 14534, effective October 1, 1991; amended in R91-13 at 16 Ill. Reg. 9578, effective June 9, 1992; amended in R92-1 at 16 Ill. Reg. 17672, effective November 6, 1992; amended in R92-10 at 17 Ill. Reg. 5681, effective March 26, 1993; amended in R93-4 at 17 Ill. Reg. 20620, effective November 22, 1993; amended in R93-16 at 18 Ill. Reg. 6771, effective April 26, 1994; amended in R94-7 at 18 Ill. Reg. 12190, effective July 29, 1994; amended in R94-17 at 18 Ill. Reg. 17548, effective November 23, 1994; amended in R95-6 at 19 Ill. Reg. 9566, effective June 27, 1995; amended in R95-20 at 20 Ill. Reg. 11078, effective August 1, 1996; amended in R96-10/R97-3/R97-5 at 22 Ill. Reg. 369, effective December 16, 1997; amended in R98-12 at 22 Ill. Reg. 7620, effective April 15, 1998; amended in R97-21/R98-3/R98-5 at 22 Ill. Reg. 17620, effective September 28, 1998; amended in R98-21/R99-2/R99-7 at 23 Ill. Reg. 1850, effective January 19, 1999; amended in R99-15 at 23 Ill. Reg. 9168, effective July 26, 1999; amended in R00-5 at 24 Ill. Reg. 1076, effective January 6, 2000; amended in R00-13 at 24 Ill. Reg. 9575, effective June 20, 2000; amended in R03-7 at 27 Ill. Reg. 4187, effective February 14, 2003; amended in R05-2 at 29 Ill. Reg. ________, effective ______________________.

### SUBPART A:  GENERAL PROVISIONS

#### Section 725.101	Purpose, Scope, and Applicability

a)	The purpose of this Part is to establish minimum standards that define the acceptable management of hazardous waste during the period of interim status and until certification of final closure or, if the facility is subject to post-closure care requirements, until post-closure care responsibilities are fulfilled.

b)	Except as provided in Section 725.980(b), the standards in this Part and 35 Ill. Adm. Code 724.652 through 724.654 apply to owners and operators of facilities that treat, store, or dispose of hazardous waste that and which have fully complied with the requirements for interim status under Section 3005(e) of the Resource Conservation and Recovery Act (RCRA) (42 USC 6901 et seq. 6925(e)) and 35 Ill. Adm. Code 703, until either a permit is issued under Section 3005 of the Resource Conservation and Recovery Act (42 USC 6905) or Section 21(f) of the Environmental Protection Act [415 ILCS 5/21(f)], or until applicable closure and post-closure care responsibilities under this Part are fulfilled, and to those owners and operators of facilities in existence on November 19, 1980, that have failed to provide timely notification as required by Section 3010(a) of RCRA (42 USC 6910(a)) or that have failed to file Part A of the Permit Application, as required by 40 CFR 270.10(e) and (g) or 35 Ill. Adm. Code 703.150 and 703.152.  These standards apply to all treatment, storage, or disposal of hazardous waste at these facilities after November 19, 1980, except as specifically provided otherwise in this Part or in 35 Ill. Adm. Code 721.

BOARD NOTE:  As stated in Section 3005(a) of RCRA (42 USC 6905(a)), after the effective date of regulations under that Section (i.e., 40 CFR 270 and 124) the treatment, storage, or disposal of hazardous waste is prohibited except in accordance with a permit.  Section 3005(e) of RCRA (42 USC 6905(e)) provides for the continued operation of an existing facility that meets certain conditions until final administrative disposition of the owner’s and operator’s permit application is made.  35 Ill. Adm. Code 703.140 et seq. provide that a permit is deemed issued under Section 21(f)(1) of the Environmental Protection Act under conditions similar to federal interim status.

c)	The requirements of this Part do not apply to any of the following:

1)	A person disposing of hazardous waste by means of ocean disposal subject to a permit issued under the federal Marine Protection, Research and Sanctuaries Act (16 USC 1431-1434; 33 USC 1401 et seq.);

BOARD NOTE:  This Part applies to the treatment or storage of hazardous waste before it is loaded into an ocean vessel for incineration or disposal at sea, as provided in subsection (b) of this Section.

2)	This subsection (c)(2) corresponds with 40 CFR 265.1(c)(2), marked “reserved” by USEPA.  This statement maintains structural consistency with USEPA rules;

3)	The owner or operator of a POTW (publicly owned treatment works) that treats, stores, or disposes of hazardous waste;

BOARD NOTE:  The owner or operator of a facility under subsections (c)(1) and (c)(3) is subject to the requirements of 35 Ill. Adm. Code 724 to the extent they are included in a permit by rule granted to such a person under 35 Ill. Adm. Code 702 and 703 or are required by Subpart F of 35 Ill. Adm. Code 704.Subpart F.

4)	This subsection (c)(4) corresponds with 40 CFR 265.1(c)(4), which pertains exclusively to the applicability of the federal regulations in authorized states.  There is no need for a parallel provision in the Illinois regulations.  This statement maintains structural consistency with USEPA rules;

5)	The owner or operator of a facility permitted, licensed, or registered by Illinois to manage municipal or industrial solid waste, if the only hazardous waste the facility treats, stores, or disposes of is excluded from regulation under this Part by 35 Ill. Adm. Code 721.105;

6)	The owner or operator of a facility managing recyclable materials described in 35 Ill. Adm. Code 721.106(a)(2) through (a)(4), except to the extent that requirements of this Part are referred to in Subparts C, F, G, or H of 35 Ill. Adm. Code 726.Subparts C, F, G, or H or 35 Ill. Adm. Code 739;

7)	A generator accumulating waste on-site in compliance with 35 Ill. Adm. Code 722.134, except to the extent the requirements are included in 35 Ill. Adm. Code 722.134;

8)	A farmer disposing of waste pesticides from the farmer’s own use in compliance with 35 Ill. Adm. Code 722.170;

9)	The owner or operator of a totally enclosed treatment facility, as defined in 35 Ill. Adm. Code 720.110;

10)	The owner or operator of an elementary neutralization unit or a wastewater treatment unit, as defined in 35 Ill. Adm. Code 720.110, provided that if the owner or operator is diluting hazardous ignitable (D001) wastes (other than the D001 High TOC Subcategory defined in Table T 35 Ill. Adm. Code 728.Table T) or reactive (D003) waste in order to remove the characteristic before land disposal, the owner or operator shall must comply with the requirements set out forth in Section 725.117(b);

11)	Immediate response:.

A)	Except as provided in subsection (c)(11)(B) of this Section, a person engaged in treatment or containment activities during immediate response to any of the following situations:

i)	A discharge of a hazardous waste;

ii)	An imminent and substantial threat of a discharge of a hazardous waste;

iii)	A discharge of a material that becomes a hazardous waste when discharged; or

iv)	An immediate threat to human health, public safety, property, or the environment from the known or suspected presence of military munitions, other explosive material, or an explosive device, as determined by an explosives or munitions emergency response specialist as defined in 35 Ill. Adm. Code 720.110.

B)	An owner or operator of a facility otherwise regulated by this Part shall must comply with all applicable requirements of Subparts C and D of this Part.

C)	Any person that is covered by subsection (c)(11)(A) of this Section that continues or initiates hazardous waste treatment or containment activities after the immediate response is over is subject to all applicable requirements of this Part and 35 Ill. Adm. Code 702, 703, and 705 for those activities;

D)	In the case of an explosives or munitions emergency response, if a federal, state, or local official acting within the scope of his or her official responsibilities or an explosives or munitions emergency response specialist determines that immediate removal of the material or waste is necessary to protect human health or the environment, that official or specialist may authorize the removal of the material or waste by transporters that do not have USEPA identification numbers and without the preparation of a manifest.  In the case of emergencies involving military munitions, the responding military emergency response specialist’s organizational unit shall must retain records for three years identifying the dates of the response, the responsible persons responding, the type and description of material addressed, and its disposition;

12)	A transporter storing manifested shipments of hazardous waste in containers meeting the requirements of 35 Ill. Adm. Code 722.130 at a transfer facility for a period of ten days or less;

13)	The addition of absorbent material to waste in a container (as defined in 35 Ill. Adm. Code 720.110) or the addition of waste to the absorbent material in a container, provided that these actions occur at the time that the waste is first placed in the containers and Sections 725.117(b), 725.271, and 725.272 are complied with;

14)	A universal waste handler or universal waste transporter (as defined in 35 Ill. Adm. Code 720.110) that handles any of the wastes listed below is subject to regulation under 35 Ill. Adm. Code 733 when handling the following universal wastes:

A)	Batteries, as described in 35 Ill. Adm. Code 733.102;

B)	Pesticides, as described in 35 Ill. Adm. Code 733.103;

C)	Thermostats, as described in 35 Ill. Adm. Code 733.104; and

D)	Lamps, as described in 35 Ill. Adm. Code 733.105.

d)	The following hazardous wastes must not be managed at facilities subject to regulation under this Part:  hazardous waste numbers F020, F021, F022, F023, F026, or F027, unless the following conditions are fulfilled:

1)	The wastewater treatment sludge is generated in a surface impoundment as part of the plant’s wastewater treatment system;

2)	The waste is stored in tanks or containers;

3)	The waste is stored or treated in waste piles that meet the requirements of 35 Ill. Adm. Code 724.350(c) and all other applicable requirements of Subpart L of this Part;

4)	The waste is burned in incinerators that are certified pursuant to the standards and procedures in Section 725.452; or

5)	The waste is burned in facilities that thermally treat the waste in a device other than an incinerator and that are certified pursuant to the standards and procedures in Section 725.483.

e)	This Part applies to owners and operators of facilities that treat, store, or dispose of hazardous wastes referred to in 35 Ill. Adm. Code 728, and the 35 Ill. Adm. Code 728 standards are considered material conditions or requirements of the interim status standards of this Part.

f)	35 Ill. Adm. Code 726.505 identifies when the requirements of this part apply to the storage of military munitions classified as solid waste under 35 Ill. Adm. Code 726.302.  The treatment and disposal of hazardous waste military munitions are subject to the applicable permitting, procedural, and technical standards in 35 Ill. Adm. Code 702, 703, 705, 720 through 726, and 728.

g)	Other bodies of regulations may apply to a person, facility, or activity, such as 35 Ill. Adm. Code 809 (special waste hauling), 35 Ill. Adm. Code 807 or 810 through 817 (solid waste landfills), 35 Ill. Adm. Code 848 or 849 (used and scrap tires), or 35 Ill. Adm. Code 1420 through 1422 (potentially infectious medical waste), depending on the provisions of those other regulations.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.104	Imminent Hazard Action

Notwithstanding any other provisions of these regulations, enforcement actions may be brought pursuant to Title VIII of the Illinois Environmental Protection Act [415 ILCS 5/Title VIII].

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART B: GENERAL FACILITY STANDARDS

- Section 725.110	Applicability

The regulations in this Subpart B apply to owners and operators of all hazardous waste facilities, except as § Section 725.101 provides otherwise.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.111	USEPA Identification Number

Every facility owner or operator must apply to EPA USEPA for an EPA USEPA identification number in accordance with the EPA USEPA notification procedures (45 FR 12746).

BOARD NOTE:  USEPA Form 8700-12 is the required instructions and forms for notification.  The federal instructions require that an owner or operator file notice for an Illinois facility file that notice with the Agency, Bureau of Land (telephone:  217-782-6762).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.112	Required Notices

a)	Receipt from a foreign source.

1)	The owner or operator of a facility that has arranged to receive hazardous waste from a foreign source must notify the Regional Administrator the Agency and USEPA Region 5 in writing at least four weeks in advance of the date the waste is expected to arrive at the facility.  Notice of subsequent shipments of the same waste from the same foreign source is not required.

2)	The owner or operator of a recovery facility that has arranged to receive hazardous waste subject to Subpart H of 35 Ill. Adm. Code 722.Subpart H must provide a copy of the tracking document bearing all required signatures to the notifier, to the Office of Enforcement and Compliance Assurance, Office of Compliance, Enforcement Planning, Targeting and Data Division (2222A), Environmental Protection Agency, 401 M St., SW, Washington, DC 20460; to the Bureau of Land, Division of Land Pollution Control, Illinois Environmental Protection Agency, P.O. Box 19276, Springfield, IL 62794-9276; and to the competent authorities of all other concerned countries within three working days of receipt of the shipment.  The original of the signed tracking document must be maintained at the facility for at least three years.

b)	Before transferring ownership or operation of a facility during its operating life, or of a disposal facility during the post-closure care period, the owner or operator must notify the new owner or operator in writing of the requirements of this Part and 35 Ill. Adm. Code 702 and 703 (also see 35 Ill. Adm. Code 703.155).

BOARD NOTE:  An owner’s or operator’s failure to notify the new owner or operator of the requirements of this Part in no way relieves the new owner or operator of his obligation to comply with all applicable requirements.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.113	General Waste Analysis

a)	Waste analysis:

1)	Before an owner or operator treats, stores, or disposes of any hazardous wastes, or non-hazardous wastes if applicable under Section 725.213(d), the owner or operator shall must obtain a detailed chemical and physical analysis of a representative sample of the wastes.  At a minimum, the analysis must contain all the information that must be known to treat, store, or dispose of the waste in accordance with this Part and 35 Ill. Adm. Code 728.

2)	The analysis may include data developed under 35 Ill. Adm. Code 721 and existing published or documented data on the hazardous waste or on waste generated from similar processes.

BOARD NOTE:  For example, the facility’s record of analyses performed on the waste before the effective date of these regulations or studies conducted on hazardous waste generated from processes similar to that which generated the waste to be managed at the facility may be included in the data base required to comply with subsection (a)(1) of this Section, except as otherwise specified in 35 Ill. Adm. Code 728.107(b) and (c).  The owner or operator of an off-site facility may arrange for the generator of the hazardous waste to supply part or all of the information required by subsection (a)(1) of this Section.  If the generator does not supply the information and the owner or operator chooses to accept a hazardous waste, the owner or operator is responsible for obtaining the information required to comply with this Section.

3)	The analysis must be repeated as necessary to ensure that it is accurate and up to date.  At a minimum, the analysis must be repeated as follows:

A)	When the owner or operator is notified or has reason to believe that the process or operation generating the hazardous waste, or non-hazardous waste if applicable under Section 725.213(d), has changed; and

B)	For off-site facilities, when the results of the inspection required in subsection (a)(4) of this Section indicate that the hazardous waste received at the facility does not match the waste designated on the accompanying manifest or shipping paper.

4)	The owner or operator of an off-site facility shall must inspect and, if necessary, analyze each hazardous waste movement received at the facility to determine whether it matches the identity of the waste specified on the accompanying manifest or shipping paper.

b)	The owner or operator shall must develop and follow a written waste analysis plan that describes the procedures that the owner or operator will carry out to comply with subsection (a) of this Section.  The owner or operator shall must keep this plan at the facility.  At a minimum, the plan must specify the following:

1)	The parameters for which each hazardous waste, or non-hazardous waste if applicable under Section 725.213(d), will be analyzed and the rationale for the selection of these parameters (i.e., how analysis for these parameters will provide sufficient information on the waste’s properties to comply with subsection (a) of this Section).

2)	The test methods that will be used to test for these parameters.

3)	The sampling method that will be used to obtain a representative sample of the waste to be analyzed.  A representative sample may be obtained using either of the following methods:

A)	One of the sampling methods described in Appendix A to 35 Ill. Adm. Code 721.Appendix A, or

B)	An equivalent sampling method.

BOARD NOTE:  See 35 Ill. Adm. Code 720.120(c) for related discussion.

4)	The frequency with which the initial analysis of the waste will be reviewed or repeated to ensure that the analysis is accurate and up-to-date.

5)	For off-site facilities, the waste analyses that hazardous waste generators have agreed to supply.

6)	Where applicable, the methods that will be used to meet the additional waste analysis requirements for specific waste management methods, as specified in Sections 725.300, 725.325, 725.352, 725.373, 725.414, 725.441, 725.475, 725.502, 725.934(d), 725.963(d), and 725.984, and 35 Ill. Adm. Code 728.107.

7)	For surface impoundments exempted from land disposal restrictions under 35 Ill. Adm. Code 728.104(a), the procedures and schedules for the following:

A)	The sampling of impoundment contents;

B)	The analysis of test data; and

C)	The annual removal of residues that are not delisted under 35 Ill. Adm. Code 720.122 or that exhibit a characteristic of hazardous waste and either of the following is true:

i)	Do The waste residues do not meet the applicable treatment standards of Subpart D of 35 Ill. Adm. Code 728.Subpart D, or

ii)	Where no treatment standards have been established:  Such, the waste residues are prohibited from land disposal under 35 Ill. Adm. Code 728.132 or 728.139.

8)	For Owners and operators an owner or operator seeking an exemption to the air emission standards of 724.Subpart CC Subpart CC of 35 Ill. Adm. Code 724 in accordance with Section 725.983:

A)	If direct measurement is used for the waste determination, the procedures and schedules for waste sampling and analysis, and the analysis of test data to verify the exemption.

B)	If knowledge of the waste is used for the waste determination, any information prepared by the facility owner or operator, or by the generator of the waste if the waste is received from off-site, that is used as the basis for knowledge of the waste.

c)	For off-site facilities, the waste analysis plan required in subsection (b) of this Section must also specify the procedures that will be used to inspect and, if necessary, analyze each movement of hazardous waste received at the facility to ensure that it matches the identity of the waste designated on the accompanying manifest or shipping paper.  At a minimum, the plan must describe the following:

1)	The procedures that will be used to determine the identity of each movement of waste managed at the facility;

2)	The sampling method that will be used to obtain a representative sample of the waste to be identified if the identification method includes sampling; and

3)	The procedures that the owner or operator of an off-site landfill receiving containerized hazardous waste will use to determine whether a hazardous waste generator or treater has added a biodegradable sorbent to the waste in the container.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.114	Security

a)	The owner or operator must prevent the unknowing entry and minimize the possibility for the unauthorized entry of persons or livestock onto the active portion of his facility, unless the following are true:

1)	Physical contact with the waste, structures, or equipment of the active portion of the facility will not injure unknowing or unauthorized persons or livestock that may enter the active portion of the facility; and

2)	Disturbance of the waste or equipment by the unknowing or unauthorized entry of persons or livestock onto the active portion of a facility will not cause a violation of the requirements of this Part.

b)	Unless exempt under subsections (a)(1) and (a)(2) above of this Section, a facility must have the following:

1)	A 24-hour surveillance system (e.g., television monitoring or surveillance by guards or facility personnel) that continuously monitors and controls entry into the active portion of the facility; or

2)	Controlled access, including the following minimum elements:

A)	An artificial or natural barrier (e.g., a fence in good repair or a fence combined with a cliff) that completely surrounds the active portion of the facility; and

B)	A means to control entry at all times through the gates or other entrances to the active portion of the facility (e.g., an attendant, television monitors, locked entrance, or controlled roadway access to the facility).

BOARD NOTE:  The requirements of subsection (b) above of this Section are satisfied if the facility or plant within which the active portion is located itself has a surveillance system or a barrier and a means to control entry that complies with the requirements of subsection (b)(1) or (b)(2) of this Section.

c)	Unless exempt under subsection (a)(1) or (a)(2) above of this Section, a sign with the legend, “Danger--Unauthorized Personnel Keep Out,” must be posted at each entrance to the active portion of a facility and at other locations in sufficient numbers to be seen from any approach to this active portion.  The sign must be legible from a distance of at least 25 feet.  Existing signs with a legend other than “Danger--Unauthorized Personnel Keep Out” may be used if the legend on the sign indicates that only authorized personnel are allowed to enter the active portion and that entry onto the active portion can be dangerous.

BOARD NOTE:  See Section 725.217(b) for discussion of security requirements at disposal facilities during the post-closure care period.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.115	General Inspection Requirements

a)	The owner or operator shall must inspect the facility for malfunctions and deterioration, operator errors and discharges that may be causing--or may lead to--the conditions listed below.  The owner or operator shall must conduct these inspections often enough to identify problems in time to correct them before they harm human health or the environment.

1)	Release of hazardous waste constituents to the environment, or

2)	A threat to human health.

b)	Written schedule.

1)	The owner or operator shall must develop and follow a written schedule for inspecting all monitoring equipment, safety and emergency equipment, security devices, and operating and structural equipment (such as dikes and sump pumps) that are important to preventing, detecting, or responding to environmental or human health hazards.

2)	The owner or operator shall must keep this schedule at the facility.

3)	The schedule must identify the types of problems (e.g., malfunctions or deterioration) that are to be looked for during the inspection (e.g., inoperative sump pump, leaking fitting, eroding dike, etc.).

4)	The frequency of inspection may vary for the items on the schedule.  However, the frequency should be based on the rate of deterioration of the equipment and the probability of an environmental or human health incident if the deterioration, malfunction, or any operator error goes undetected between inspections.  Areas subject to spills, such as loading and unloading areas, must be inspected daily when in use.  At a minimum, the inspection schedule must include the items and frequencies called for in Sections 725.274, 725.293, 725.295, 725.326, 725.360, 725.378, 725.404, 725.447, 725.477, 725.503, 725.933, 725.952, 725.953, 725.958, and 725.984 through 725.990, where applicable.

c)	The owner or operator shall must remedy any deterioration or malfunction of equipment or structure that the inspection reveals on a schedule which that ensures that the problem does not lead to an environmental or human health hazard.  Where a hazard is imminent or has already occurred, remedial action must be taken immediately.

d)	The owner or operator shall must record inspections in an inspection log or summary.  The owner or operator shall must keep these records for at least three years from the date of inspection.  At a minimum, these records must include the date and time of the inspection, the name of the inspector, a notation of the observations made and the date, and nature of any repairs or other remedial actions.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.116	Personnel Training

a)	Personnel training program.

1)	Facility personnel must successfully complete a program of classroom instruction or on-the-job training that teaches them to perform their duties in a way that ensures the facility’s compliance with the requirements of this part.  The owner or operator must ensure that this program includes all the elements described in the document required under paragraph subsection (d)(3) of this section Section.

2)	This program must be directed by a person trained in hazardous waste management procedures, and must include instruction which that teaches facility personnel hazardous waste management procedures (including contingency plan implementation) relevant to the positions in which they are employed.

3)	At a minimum, the training program must be designed to ensure that facility personnel are able to respond effectively to emergencies by familiarizing them with emergency procedures, emergency equipment and emergency systems, including the following where applicable:

A)	Procedures for using, inspecting, repairing and replacing facility emergency and monitoring equipment;

B)	Key parameters for automatic waste feed cut-off systems;

C)	Communications or alarm systems;

D)	Response to fires or explosions;

E)	Response to groundwater contamination incidents; and

F)	Shutdown of operations.

b)	Facility personnel must successfully complete the program required in paragraph subsection (a) of this section Section upon the effective date of these regulations or six months after the date of their employment or assignment to a facility or to a new position at a facility, whichever is later.  Employees hired after the effective date of these regulations must not work in unsupervised positions until they have completed the training requirements of paragraph subsection (a) of this section Section.

c)	Facility personnel must take part in an annual review of the initial training required in paragraph subsection (a) of this section Section.

d)	The owner or operator must maintain the following documents and records at the facility:

1)	The job title for each position at the facility related to hazardous waste management and the name of the employee filling each job;

2)	A written job description for each position listed under paragraph subsection (d)(1) of this section Section.  This description may be consistent in its degree of specificity with descriptions for other similar positions in the same company location or bargaining unit, but must include the requisite skill, education, or other qualifications and duties of facility personnel assigned to each position;

3)	A written description of the type and amount of both introductory and continuing training that will be given to each person filling a position listed under paragraph subsection (d)(1) of this section Section;

4)	Records that document that the training or job experience required under paragraph subsections (a), (b), and (c) of this section Section has been given to and completed by facility personnel.

e)	Training records on current personnel must be kept until closure of the facility.  Training records on former employees must be kept for at least three years from the date the employee last worked at the facility.  Personnel training records may accompany personnel transferred within the same company.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.117	General Requirements for Ignitable, Reactive, or Incompatible Wastes

a)	The owner or operator must take precautions to prevent accidental ignition or reaction of ignitable or reactive waste.  This waste must be separated and protected from sources of ignition or reaction, including, but not limited to, open flames, smoking, cutting and welding, hot surfaces, frictional heat, sparks (static, electrical or mechanical), spontaneous ignition (e.g., from heat-producing chemical reactions), and radiant heat.  While ignitable or reactive waste is being handled, the owner or operator must confine smoking and open flame to specially designated locations.  “No Smoking” signs must be conspicuously placed wherever there is a hazard from ignitable or reactive waste.

b)	Where specifically required by other Sections of this Part, the treatment, storage, or disposal of ignitable or reactive waste and the mixture or commingling of incompatible waste or incompatible wastes and materials, must be conducted so that it does not do any of the following:

1)	Generate It does not generate extreme heat or pressure, fire or explosion, or violent reaction;

2)	Produce It does not produce uncontrolled toxic mists, fumes, dusts, or gases in sufficient quantities to threaten human health;

3)	Produce It does not produce uncontrolled flammable fumes or gases in sufficient quantities to pose a risk of fire or explosions;

4)	Damage It does not damage the structural integrity of the device or facility containing the waste; or

5)	Through other like means, it does not threaten human health or the environment.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.118	Location Standards

The placement of any hazardous waste in a salt dome, salt bed formation, underground mine, or cave is prohibited.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.119	Construction Quality Assurance Program

a)	CQA program.

1)	A construction quality assurance (CQA) program is required for all surface impoundment, waste pile and landfill units that are required to comply with Sections 725.321(a), 725.354, and 725.401(a). The program must ensure that the constructed unit meets or exceeds all design criteria and specifications in this Part.  The program must be developed and implemented under the direction of a CQA officer who that is a registered professional engineer.

2)	The CQA program must address the following physical components, where applicable:

A)	Foundations;

B)	Dikes;

C)	Low-permeability soil liners;

D)	Geomembranes (flexible membrane liners);

E)	Leachate collection and removal systems and leak detection systems; and

F)	Final cover systems.

b)	Written CQA plan. Before construction begins on a unit subject to the CQA program under subsection (a) above of this Section, the owner or operator shall must develop a written CQA plan. The plan must identify steps that will be used to monitor and document the quality of materials and the condition and manner of their installation.  The CQA plan must include the following:

1)	Identification of applicable units and a description of how they will be constructed.

2)	Identification of key personnel in the development and implementation of the CQA plan, and CQA officer qualifications.

3)	A description of inspection and sampling activities for all unit components identified in subsection (a)(2) above of this Section, including observations and tests that will be used before, during and after construction to ensure that the construction materials and the installed unit components meet the design specifications.  The description must cover: Sampling size and locations; frequency of testing; data evaluation procedures; acceptance and rejection criteria for construction materials; plans for implementing corrective measures; and data or other information to be recorded and retained in the operating record under Section 725.173.

c)	Contents of program.

1)	The CQA program must include observations, inspections, tests and measurements sufficient to ensure the following:

A)	Structural stability and integrity of all components of the unit identified in subsection (a)(2) above of this Section;

B)	Proper construction of all components of the liners, leachate collection and removal system, leak detection system, and final cover system, according to permit specifications and good engineering practices, and proper installation of all components (e.g., pipes) according to design specifications;

C)	Conformity of all materials used with design and other material specifications under 35 Ill. Adm. Code 724.321, 724.351, and 724.401.

2)	The CQA program shall must include test fills for compacted soil liners, using the same compaction methods as in the full-scale unit, to ensure that the liners are constructed to meet the hydraulic conductivity requirements of 35 Ill. Adm. Code 724.321(c)(1), 724.351(c)(1), or 724.401(c)(1) in the field.  Compliance with the hydraulic conductivity requirements must be verified by using in-situ testing on the constructed test fill.  The test fill requirement is waived where data are sufficient to show that a constructed soil liner meets the hydraulic conductivity requirements of 35 Ill. Adm. Code 724.321(c)(1), 724.354(c)(1), or 724.401(c)(1) in the field.

d)	Certification.  The owner or operator of units subject to this Section must submit to the Agency by certified mail or hand delivery, at least 30 days prior to receiving waste, a certification signed by the CQA officer that the CQA plan has been successfully carried out and that the unit meets the requirements of Sections 725.321(a), 725.354, or 725.401(a).  The owner or operator may receive waste in the unit after 30 days from the Agency’s receipt of the CQA certification unless the Agency determines in writing that the construction is not acceptable, or extends the review period for a maximum of 30 more days, or seeks additional information from the owner or operator during this period.  Documentation supporting the CQA officer’s certification must be furnished to the Agency upon request.

e)	Final Agency determinations pursuant to this Section are deemed to be permit denials for purposes of appeal to the Board pursuant to Section 40 of the Environmental Protection Act [415 ILCS 5/40].

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART C: PREPAREDNESS AND PREVENTION

- Section 725.130	Applicability

The regulations in this subpart Subpart C apply to owners and operators of all hazardous waste facilities, except as § Section 725.101 provides otherwise.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.131	Maintenance and Operation of Facility

Facilities must be maintained and operated to minimize the possibility of a fire, explosion or any unplanned sudden or non-sudden release of hazardous waste or hazardous waste constituents to air, soil, or surface water which that could threaten human health or the environment.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.132	Required Equipment

All facilities must be equipped with the following, unless none of the hazards posed by waste handled at the facility could require a particular kind of equipment specified below:

a)	An internal communications or alarm system capable of providing immediate emergency instruction (voice or signal) to facility personnel;

b)	A device, such as a telephone (immediately available at the scene of operations) or a hand-held two-way radio, capable of summoning emergency assistance from local police departments, fire departments, or State or local emergency response teams;

c)	Portable fire extinguishers, fire control equipment (including special extinguishing equipment, such as that using foam, inert gas, or dry chemicals), spill control equipment and decontamination equipment; and

d)	Water at adequate volume and pressure to supply water hose streams or foam producing equipment or automatic sprinklers or water spray systems.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.133	Testing and Maintenance of Equipment

All facility communications or alarm systems, fire protection equipment, spill control equipment, and decontamination equipment, where required, must be tested and maintained as necessary to assure its proper operation in time of emergency.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.134	Access to Communications or Alarm System

a)	Whenever hazardous waste is being poured, mixed, spread, or otherwise handled, all personnel involved in the operation must have immediate access to an internal alarm or emergency communication device, either directly or through visual or voice contact with another employee, unless such a device is not required under § Section 725.132.

b)	If there is ever just one employee on the premises while the facility is operating, he must have immediate access to a device, such as a telephone (immediately available at the scene of operation) or a hand-held two-way radio, capable of summoning external emergency assistance, unless such a device is not required under § Section 725.132.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.135	Required Aisle Space

The owner or operator must maintain aisle space to allow the unobstructed movement of personnel, fire protection equipment, spill control equipment, and decontamination equipment to any area of facility operation in an emergency, unless aisle space is not needed for any of these purposes.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.137	Arrangements with Local Authorities

a)	The owner or operator must attempt to make the following arrangements, as appropriate for the type of waste handled at his facility and the potential need for the services of these the following organizations:

1)	Arrangements to familiarize police, fire departments, and emergency response teams with the layout of the facility, properties of hazardous waste handled at the facility and associated hazards, places where facility personnel would normally be working, entrances to roads inside the facility and possible evacuation routes;

2)	Where more than one police and fire department might respond to an emergency, agreements designating primary emergency authority to a specific police and a specific fire department and agreements with any others to provide support to the primary emergency authority;

3)	Agreements with State emergency response teams, emergency response contractors, and equipment suppliers; and

4)	Arrangements to familiarize local hospitals with the properties of hazardous waste handled at the facility and the types of injuries or illnesses which that could result from fires, explosions, or releases at the facility.

b)	Where state or local authorities decline to enter into such arrangements, the owner or operator must document the refusal in the operating record.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART D: CONTINGENCY PLAN AND EMERGENCY PROCEDURES

- Section 725.150	Applicability

The regulations in this Subpart D apply to owners and operators of all hazardous waste facilities, except as Section 725.101 provides otherwise.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.151	Purpose and Implementation of Contingency Plan

a)	Each owner or operator must have a contingency plan for his facility.  The contingency plan must be designed to minimize hazards to human health or the.environment the environment from fires, explosions, or any unplanned sudden or non-sudden release of hazardous waste or hazardous waste constituents to air, soil, or surface water.

b)	The provisions of the plan must be carried out immediately whenever there is a fire, explosion, or release of hazardous waste or hazardous waste constituents which that could threaten human health or the environment.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.152	Content of Contingency Plan

a)	The contingency plan must describe the actions facility personnel must take to comply with Sections 725.151 and 725.156 in response to fires, explosions, or any unplanned sudden or non-sudden release of hazardous waste or hazardous waste constituents to air, soil, or surface water at the facility.

b)	If the owner or operator has already prepared a federal Spill Prevention Control and Countermeasures (SPCC) Plan in accordance with 40 CFR Part 112 or 300, or some other emergency or contingency plan, it needs only amend that plan to incorporate hazardous waste management provisions that are sufficient to comply with the requirements of this Part.

c)	The plan must describe arrangements agreed to by local police department, fire departments, hospitals, contractors, and state and local emergency response teams to coordinate emergency services, pursuant to Section 725.137.

d)	The plan must list names, addresses, and phone numbers (office and home) of all persons qualified to act as emergency coordinator (see Section 725.155), and this list must be kept up to date.  Where more than one person is listed one must be named as primary emergency coordinator and others must be listed in the order in which they will assume responsibility as alternates.

e)	The plan must include a list of all emergency equipment at the facility [(such as fire extinguishing systems, spill control equipment, communications and alarm systems (internal and external), and decontamination equipment]) where this equipment is required.  This list must be kept up to date.  In addition, the plan must include the location and a physical description of each item on the list and a brief outline of its capabilities.

f)	The plan must include an evacuation plan for facility personnel where there is a possibility that evacuation could be necessary.  This plan must describe signal(s) signals to be used to begin evacuation, evacuation routes, and alternate evacuation routes (in cases where the primary routes could be blocked by releases of hazardous waste or fires).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.153	Copies of Contingency Plan

A copy of the contingency plan and all revisions to the plan must be disposed as follows:

a)	Maintained They must be maintained at the facility; and

b)	Submitted They must be submitted to all local police departments, fire departments, hospitals, and state and local emergency response teams that may be called upon to provide emergency services.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.154	Amendment of Contingency Plan

The contingency plan must be reviewed and immediately amended, if necessary, whenever any of the following occurs:

a)	Applicable regulations are revised;

b)	The plan fails in an emergency;

c)	The facility changes--in its design, construction, operation, maintenance, or other circumstances--in a way that materially increases the potential for fires, explosions, or releases of hazardous waste or hazardous waste constituents or changes the response necessary in an emergency;

d)	The list of emergency coordinators changes; or

e)	The list of emergency equipment changes.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.155	Emergency Coordinator

At all times, there must be at least one employee either on the facility premises or on call (i.e., available to respond to an emergency by reaching the facility within a short period of time) with the responsibility for coordinating all emergency response measures.  This emergency coordinator must be thoroughly familiar with all aspects of the facility’s contingency plan, all operations and activities at the facility, the location and characteristics of waste handled, the location of all records within the facility and the facility layout.  In addition, this person must have the authority to commit the resources needed to carry out the contingency plan.

Comment:  BOARD NOTE:  The emergency coordinator’s responsibilities are more fully spelled out in § Section 725.156.  Applicable responsibilities for the emergency coordinator vary, depending on factors such as type and variety of waste(s) wastes handled by the facility and type and complexity of the facility.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.156	Emergency Procedures

a)	Whenever there is an imminent or actual emergency situation, the emergency coordinator (or his designee when the emergency coordinator is on call) shall must immediately do the following:

1)	Activate internal facility alarms or communication systems, where applicable, to notify all facility personnel; and

2)	Notify appropriate state or local agencies with designated response roles if their help is needed.

b)	Whenever there is a release, fire, or explosion, the emergency coordinator shall must immediately identify the character, exact source, amount, and a real extent of any released materials.  He or she may do this by observation or review of facility records or manifests and, if necessary, by chemical analysis.

c)	Concurrently, the emergency coordinator shall must assess possible hazards to human health or the environment that may result from the release, fire, or explosion.  This assessment must consider both direct and indirect effects of the release, fire, or explosion (e.g., the effects of any toxic, irritating, or asphyxiating gases that are generated, or the effects of any hazardous surface water runoffs from water or chemical agents used to control fire and heat-induced explosions).

d)	If the emergency coordinator determines that the facility has had a release, fire, or explosion that could threaten human health or the environment outside the facility, he or she shall must report his findings as follows:

1)	If his assessment indicates that evacuation of local areas may be advisable, he or she shall the emergency coordinator must immediately notify appropriate local authorities.  He or she must be available to help appropriate officials decide whether local areas should be evacuated; and

2)	He or she shall The emergency coordinator must immediately notify either the government official designated as the on-scene coordinator for that geographical area (in the applicable regional contingency plan under 40 CFR 300), or the National Response Center (using their 24-hour toll free number 800-424-8802).  The report must include the following:

A)	Name The name and telephone number of reporter;

B)	Name The name and address of facility;

C)	Time The time and type of incident (e.g., release, fire);

D)	Name The name and quantity of materials involved, to the extent known;

E)	The extent of injuries, if any; and

F)	The possible hazards to human health or the environment outside the facility.

e)	During an emergency the emergency coordinator shall must take all reasonable measures necessary to ensure that fires, explosions, and releases do not occur, recur, or spread to other hazardous waste at the facility.  These measures must include, where applicable, stopping processes and operations, collecting and containing released waste, and removing or isolating containers.

f)	If the facility stops operations in response to a fire, explosion or release, the emergency coordinator shall must monitor for leaks, pressure buildup, gas generation, or ruptures in valves, pipes, or other equipment, wherever this is appropriate.

g)	Immediately after an emergency, the emergency coordinator shall must provide for treating, storing, or disposing of recovered waste, contaminated soil, or surface water, or any other material that results from a release, fire, or explosion at the facility.

BOARD NOTE:  Unless the owner or operator can demonstrate in accordance with Section 35 Ill. Adm. Code 721.103(d) or (e) that the recovered material is not a hazardous waste, the owner or operator becomes a generator of hazardous waste and shall must manage it in accordance with all applicable requirements of Parts 35 Ill. Adm. Code 722, 723, and 725.

h)	The emergency coordinator shall must ensure that, in the affected areas of the facility, the following occur:

1)	No waste that may be incompatible with the released material is treated, stored, or disposed of until cleanup procedures are completed; and

2)	All emergency equipment listed in the contingency plan is cleaned and fit for its intended use before operations are resumed.

i)	The owner or operator shall must notify the Director Agency and other appropriate state and local authorities that the facility is in compliance with subsection (h) above of this Section before operations are resumed in the affected areas of the facility.

j)	The owner or operator shall must note in the operating record the time, date, and details of any incident that requires implementing the contingency plan.  Within 15 days after the incident, it shall must submit a written report on the incident to the Director Agency.  The report must include the following information:

1)	Name, The name, address, and telephone number of the owner or operator;

2)	Name, The name, address, and telephone number of the facility;

3)	Date, The date, time, and type of incident (e.g., fire, explosion, etc.);

4)	Name The name and quantity of materials involved;

5)	The extent of injuries, if any;

6)	An assessment of actual or potential hazards to human health or the environment, where this is applicable; and

7)	Estimated The estimated quantity and disposition of recovered material that resulted from the incident.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

### SUBPART E:  MANIFEST SYSTEM, RECORDKEEPING, AND REPORTING

#### Section 725.170	Applicability

The regulations in this subpart Subpart E apply to owners and operators of both on-site and off-site facilities, except as Section 725.101 provides otherwise.  Sections 725.171, 725.172, and 725.176 do not apply to owners and operators of on-site facilities that do not receive any hazardous waste from off-site sources, nor do they apply to owners and operators of off-site facilities with respect to waste military munitions exempted from manifest requirements under 35 Ill. Adm. Code 726.303(a).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.171	Use of Manifest System

a)	If a facility receives hazardous waste accompanied by a manifest, the owner or operator or his its agent must do each of the following:

1)	Sign and date each copy of the manifest to certify that the hazardous waste covered by the manifest was received;

2)	Note any significant discrepancies in the manifest, as defined in Section 725.172(a), on each copy of the manifest;

BOARD NOTE:  An owner or operator of a facility whose procedures under Section 725.113(c) include waste analysis need not perform that analysis before signing the manifest and giving it to the transporter.  Section 725.172(b), however, requires the owner or operator to report any unreconciled discrepancy discovered during later analysis.

3)	Immediately give the transporter at least one copy of the signed manifest;

4)	Send a copy of the manifest to the generator and the Agency within 30 days of the date of delivery; and

5)	Retain at the facility a copy of each manifest for at least three years from the date of delivery.

b)	If a facility receives from a rail or water (bulk shipment) transporter hazardous waste that is accompanied by a shipping paper containing all the information required on the manifest (excluding the USEPA identification numbers, generator’s generators certification, and signatures), the owner or operator or its agent must do each of the following:

1)	Sign and date each copy of the manifest or shipping paper (if the manifest has not been received) to certify that the hazardous waste covered by the manifest or shipping paper was received;

2)	Note any significant discrepancies, as defined in Section 725.172(a), in the manifest or shipping paper (if the manifest has not been received) on each copy of the manifest or shipping paper;

BOARD NOTE:  The owner or operator of a facility whose procedures under Section 725.113(c) include waste analysis need not perform that analysis before signing the shipping paper and giving it to the transporter.  Section 725.172(b), however, requires reporting an unreconciled discrepancy discovered during later analysis.

3)	Immediately give the rail or water (bulk shipment) transporter at least one copy of the manifest or shipping paper (if the manifest has not been received);

4)	Send a copy of the signed and dated manifest to the generator and to the Agency within 30 days after the delivery; however, if the manifest has not been received within 30 days after delivery, the owner or operator, or his its agent, must send a copy of the shipping paper signed and dated to the generator; and

BOARD NOTE:  35 Ill. Adm. Code 722.123(c) requires the generator to send three copies of the manifest to the facility when hazardous waste is sent by rail or water (bulk shipment).

5)	Retain at the facility a copy of the manifest and shipping paper (if signed in lieu of the manifest at the time of delivery) for at least three years from the date of delivery.

c)	Whenever a shipment of hazardous waste is initiated from a facility, the owner or operator of that facility must comply with the requirements of 35 Ill. Adm. Code 722.

BOARD NOTE:  The provisions of 35 Ill. Adm. Code 722.134 are applicable to the on-site accumulation of hazardous wastes by generators.  Therefore, the provisions of 35 Ill. Adm. Code 722.134 apply only to owners or operators that are shipping hazardous waste that which they generated at that facility.

d)	Within three working days of the receipt of a shipment subject to Subpart H of 35 Ill. Adm. Code 722.Subpart H, the owner or operator of the facility must provide a copy of the tracking document bearing all required signatures to the notifier; to the Office of Enforcement and Compliance Assurance, Office of Compliance, Enforcement Planning, Targeting and Data Division (2222A), Environmental Protection Agency, 401 M St., SW, Washington, DC 20460; to the Bureau of Land, Division of Land Pollution Control, Illinois Environmental Protection Agency, P.O. Box 19276, Springfield, IL 62794-9276; and to competent authorities of all other concerned countries.  The original copy of the tracking document must be maintained at the facility for at least three years from the date of signature.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.172	Manifest Discrepancies

a)	Manifest discrepancies are differences between the quantity or type of hazardous waste designated on the manifest or shipping paper and the quantity or type of hazardous waste a facility actually receives.

b)	Significant discrepancies in quantity are defined as follows:

1)	For bulk waste, variations greater than 10 percent in weight, and

2)	For batch waste, any variation in piece count, such as a discrepancy of one drum in a truckload.

c)	Significant discrepancies in type are obvious differences which that can be discovered by inspection or waste analysis, such as waste solvent substituted for waste acid or toxic constituents not reported on the manifest or shipping paper.

d)	Upon discovering a significant discrepancy, the owner or operator must attempt to reconcile the discrepancy with the waste generator or transporter (e.g., with telephone conversations).  If the discrepancy is not resolved within 15 days after receiving the waste, the owner or operator must immediately submit to the Director Agency a letter describing the discrepancy and attempts to reconcile it and a copy of the manifest or shipping paper at issue.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.173	Operating Record

a)	The owner or operator shall must keep a written operating record at the facility.

b)	The following information must be recorded as it becomes available and maintained in the operating record until closure of the facility.:

1)	A description and the quantity of each hazardous waste received and the method or methods and date or dates of its treatment, storage, or disposal at the facility, as required by Section 725.Appendix A to this Part;

2)	The location of each hazardous waste within the facility and the quantity at each location.  For disposal facilities the location and quantity of each hazardous waste must be recorded on a map or diagram of each cell or disposal area.  For all facilities this information must include cross-references to specific manifest document numbers if the waste was accompanied by a manifest;

BOARD NOTE:  See Sections 725.219, 725.379, and 725.409 for related requirements.

3)	Records and results of waste analysis, waste determinations, and trial tests performed, as specified in Sections 725.113, 725.300, 725.325, 725.352, 725.373, 725.414, 725.441, 725.475, 725.502, 725.934, 725.963, and 725.984 and 35 Ill. Adm. Code 728.104(a) and 728.107;

4)	Summary reports and details of all incidents that require implementing the contingency plan, as specified in Section 725.156(j);

5)	Records and results of inspections, as required by Sections Section 725.115(d) (except these data need be kept only three years);

6)	Monitoring, testing, or analytical data, where required by Subpart F of this Part or Sections 725.119, 725.190, 725.194, 725.291, 725.293, 725.295, 725.322, 725.323, 725.326, 725.355, 725.359, 725.360, 725.376, 725.378, 725.380(d)(1), 725.402 through 725.404, 725.447, 725.477, 725.934(c) through (f), 725.935, 725.963(d) through (i), 725.964, and 725.1083 through 725.990;

BOARD NOTE:  As required by Section 725.194, monitoring data at disposal facilities must be kept throughout the post-closure period.

7)	All closure cost estimates under Section 725.242 and, for disposal facilities, all post-closure cost estimates under Section 725.244;

8)	Records of the quantities (and date of placement) for each shipment of hazardous waste placed in land disposal units under an extension of the effective date of any land disposal restriction granted pursuant to 35 Ill. Adm. Code 728.105, a petition pursuant to 35 Ill. Adm. Code 728.106, or a certification under 35 Ill. Adm. Code 728.108 and the applicable notice required of a generator under 35 Ill. Adm. Code 728.107(a);

9)	For an off-site treatment facility, a copy of the notice and the certification and demonstration, if applicable, required of the generator or the owner or operator under 35 Ill. Adm. Code 728.107 or 728.108;

10)	For an on-site treatment facility, the information contained in the notice (except the manifest number) and the certification and demonstration, if applicable, required of the generator or the owner or operator under 35 Ill. Adm. Code 728.107 or 728.108;

11)	For an off-site land disposal facility, a copy of the notice and the certification and demonstration, if applicable, required of the generator or the owner or operator of a treatment facility under 35 Ill. Adm. Code 728.107 or 728.108;

12)	For an on-site land disposal facility, the information contained in the notice required of the generator or owner or operator of a treatment facility under 35 Ill. Adm. Code 728.107, except for the manifest number, and the certification and demonstration, if applicable, required under 35 Ill. Adm. Code 728.107 or 728.108;

13)	For an off-site storage facility, a copy of the notice and the certification and demonstration, if applicable, required of the generator or the owner or operator under 35 Ill. Adm. Code 728.107 or 728.108; and

14)	For an on-site storage facility, the information contained in the notice (except the manifest number) and the certification and demonstration, if applicable, required of the generator or the owner or operator under 35 Ill. Adm. Code 728.107 or 728.108.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.174	Availability, Retention, and Disposition of Records

a)	All records, including plans, required under this part must be furnished upon request and made available at all reasonable times for inspection by any officer, employee, or representative of the Agency who that is duly designated by the Director Agency.

b)	The retention period for all records required under this Part is extended automatically during the course of any unresolved enforcement action regarding the facility or as requested by the Director Agency.

c)	A copy of records of waste disposal locations and quantities under Section 725.173(b)(2) must be submitted to the Director Agency and local land authority upon closure of the facility (see Section 725.219).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.175	Annual Report

The owner and operator shall must prepare and submit a single copy of an annual report to the Agency by March 1 of each year.  The report form and instructions supplied by the Agency must be used for this report.  The annual report must cover facility activities during the previous calendar year and must include the following information:

a)	The USEPA identification number (Section 725.111), name, and address of the facility;

b)	The calendar year covered by the report;

c)	For off-site facilities, the USEPA identification number of each hazardous waste generator from which the facility received a hazardous waste during the year; for imported shipments, the report must give the name and address of the foreign generator;

d)	A description and the quantity of each hazardous waste the facility received during the year.  For off-site facilities this information must be listed by USEPA identification number of each generator;

e)	The method of treatment, storage, or disposal for each hazardous waste;

f)	Monitoring data under Section 725.194(a)(2)(B), and (a)(2)(C), and (b)(2), where required;

g)	The most recent closure cost estimate under Section 725.242 and for disposal facilities the most recent post-closure cost estimate under Section 725.244;

h)	For generators which that treat, store, or dispose of hazardous waste on-site, a description of the efforts undertaken during the year to reduce the volume and toxicity of the waste generated;

i)	For generators which that treat, store, or dispose of hazardous waste on-site, a description of the changes in volume and toxicity of waste actually achieved during the year in comparison to previous years, to the extent such information is available for years prior to 1984; and

j)	The certification signed by the owner or operator of the facility or the owner or operator’s authorized representative.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.176	Unmanifested Waste Report

If a facility accepts for treatment, storage, or disposal any hazardous waste from an off-site source without an accompanying manifest or without an accompanying shipping paper, as described in 35 Ill. Adm. Code 723.120(e)(2), and, if the waste is not excluded from the manifest requirement by 35 Ill. Adm. Code 721.105, then the owner or operator must prepare and submit a single copy of a report to the Director Agency within 15 days after receiving the waste.  The unmanifested waste report must be submitted on USEPA form 8700-13B.  Such report must be designated ‘“Unmanifested Waste Report’” and must include the following information:

a)	The USEPA identification number, name, and address of the facility;

b)	The date the facility received the waste;

c)	The USEPA identification number, name, and address of the generator and the transporter, if available;

d)	A description and the quantity of each unmanifested hazardous waste the facility received;

e)	The method of treatment, storage, or disposal for each hazardous waste;

f)	The certification signed by the owner or operator of the facility or his its authorized representative; and

g)	A brief explanation of why the waste was unmanifested, if known.

(Board Note:  (BOARD NOTE:  Small quantities of hazardous waste are excluded from regulation under this Part and do not require a manifest.  Where a facility received unmanifested hazardous waste, the Board suggests that the owner or operator obtain from each generator a certification that the waste qualifies for exclusion.  Otherwise, the Board suggests that the owner or operator file an unmanifested waste report for the hazardous waste movement.)

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.177	Additional Reports

In addition to submitting the annual report and unmanifested waste reports described in Sections 725.175 and 725.176, the owner or operator shall must also report the following information to the Agency:

a)	Releases, fires, and explosions, as specified in Section 725.156(j);

b)	Groundwater contamination and monitoring data, as specified in Section 725.193 and 725.194;

c)	Facility closure, as specified in Section 725.215; and

d)	As otherwise required by 725.Subparts AA, BB, and CC Subparts AA, BB, and CC of this Part.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART F: GROUNDWATER MONITORING

- Section 725.190	Applicability

a)	The owner or operator of a surface impoundment, landfill, or land treatment facility which that is used to manage hazardous waste shall must implement a groundwater monitoring program capable of determining the facility’s impact on the quality of groundwater in the uppermost aquifer underlying the facility, except as Section 725.101 and paragraph subsection (c) of this Section provide otherwise.

b)	Except as paragraphs subsections (c) and (d) of this Section provide otherwise, the owner or operator shall must install, operate, and maintain a groundwater monitoring system which that meets the requirements of Section 725.191 and shall must comply with Sections 725.192 through 725.194.  This groundwater monitoring program must be carried out during the active life of the facility and for disposal facilities during the post-closure care period as well.

c)	All or part of the groundwater monitoring requirements of this Subpart F may be waived if the owner or operator can demonstrate that there is a low potential for migration of hazardous waste or hazardous waste constituents from the facility via the uppermost aquifer to water supply wells (domestic, industrial, or agricultural) or to surface water.  This demonstration must be in writing and must be kept at the facility.  This demonstration must be certified by a qualified geologist or geotechnical engineer and must establish the following:

1)	The potential for migration of hazardous waste or hazardous waste constituents from the facility to the uppermost aquifer by an evaluation of the following information:

A)	A water balance of precipitation, evapotransportation, evapotranspiration, runoff, and infiltration; and

B)	Unsaturated zone characteristics (i.e., geologic materials, physical properties, and depth to ground water); and

2)	The potential for hazardous waste or hazardous waste constituents which that enter the uppermost aquifer to migrate to a water supply well or surface water by an evaluation of the following information:

A)	Saturated zone characteristics (i.e., geologic materials, physical properties, and rate of groundwater flow); and

B)	The proximity of the facility to water supply wells or surface water.

d)	If an owner or operator assumes (or knows) that groundwater monitoring of indicator parameters in accordance with Sections 725.191 and 725.192 would show statistically significant increases (or decreases in the case of pH) when evaluated under Section 725.193(b), he it may install, operate, and maintain an alternate groundwater monitoring system (other than the one described in Sections 725.191 and 725.192).  If the owner or operator decides to use an alternate groundwater monitoring system it shall must have done as follows:

1)	By November 19, 1981, the owner or operator must have submitted to the Regional Administrator USEPA Region 5 a specific plan, certified by a qualified geologist or geotechnical engineer, which that satisfies the requirements of 40 CFR 265.93(d)(3) for an alternate groundwater monitoring system;

2)	By November 19, 1981, the owner or operator must have initiated the determinations specified in 40 CFR 265.93(d)(4);

3)	Prepare The owner or operator must have prepared and submit submitted a written report in accordance with Section 725.193(d)(5);

4)	Continue The owner or operator must continue to make the determinations specified in Section 725.193(d)(4) on a quarterly basis until final closure of the facility; and

5)	Comply The owner or operator must comply with the recordkeeping and reporting requirements in Section 725.194(b).

e)	The groundwater monitoring requirements of this Subpart F may be waived with respect to any surface impoundment of which the following is true:

1)	Is The impoundment is used to neutralize wastes which that are hazardous solely because they exhibit the corrosivity characteristic under 35 Ill. Adm. Code 721.122 or which are listed as hazardous wastes in Subpart D of 35 Ill. Adm. Code 721, Subpart D only for this reason; and

2)	Contains The impoundment contains no other hazardous wastes, if the owner or operator can demonstrate that there is no potential for migration of hazardous wastes from the impoundment.  The demonstration must establish, based upon consideration of the characteristics of the wastes and the impoundment, that the corrosive wastes will be neutralized to the extent that they no longer meet the corrosivity characteristic before they can migrate out of the impoundment.  The demonstration must be in writing and must be certified by a qualified professional.

f)	A permit or enforceable document can contain alternative requirements for groundwater monitoring that replace all or part of the requirements of this Subpart F applicable to a regulated unit (as defined in 35 Ill. Adm. Code 724.190), as provided under 35 Ill. Adm. Code 703.161, where the Board or Agency determines has determined by an adjusted standard granted pursuant to Section 28.1 of the Act [415 ILCS 5/28.1] and Subpart D of 35 Ill. Adm. Code 104 the following:

1)	The regulated unit is situated among solid waste management units (or areas of concern), a release has occurred, and both the regulated unit and one or more solid waste management units (or areas of concern) are likely to have contributed to the release; and

2)	It is not necessary to apply the groundwater monitoring requirements of this Subpart F because the alternative requirements will protect human health and the environment.  The alternative standards for the regulated unit must meet the requirements of 35 Ill. Adm. Code 724.201(a).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.191	Groundwater Monitoring System

a)	A groundwater monitoring system must be capable of yielding groundwater samples for analysis and must consist of the following components:

1)	Monitoring wells (at least one) installed hydraulically upgradient (i.e., in the direction of increasing static head) from the limit of the waste management area.  Their number, locations, and depths must be sufficient to yield groundwater samples that are fulfill both of the following requirements:

A)	Representative The samples are representative of background groundwater quality in the uppermost aquifer near the facility; and

B)	Not The samples are not affected by the facility; and

2)	Monitoring wells (at least three) installed hydraulically downgradient (i.e., in the direction of decreasing static head) at the limit of the waste management area.  Their number, locations, and depths must ensure that they immediately detect any statistically significant amounts of hazardous waste or hazardous waste constituents that migrate from the waste management area to the uppermost aquifer.

b)	Separate monitoring systems for each waste management component of a facility are not required provided that provisions for sampling upgradient and downgradient water quality will detect any discharge from the waste management area.

1)	In the case of a facility consisting of only one surface impoundment, landfill, or land treatment area, the waste management area is described by the waste boundary (perimeter).

2)	In the case of a facility consisting of more than one surface impoundment, landfill, or land treatment area, the waste management area is described by the imaginary boundary line which that circumscribes the several waste management components.

3)	The facility owner or operator may demonstrate that an alternate hydraulically downgradient monitoring well location will meet the criteria outlined below.  The demonstration must be in writing and kept at the facility.  The demonstration must be certified by a qualified groundwater scientist and establish that each of the following:

A)	An That an existing physical obstacle prevents monitoring well installation at the hydraulically downgradient limit of the waste management area; and

B)	The That the selected alternate downgradient location is as close to the limit of the waste management area as practical; and

C)	The That the alternate location ensures detection as early as possible of any statistically significant amounts of hazardous waste or hazardous waste constituents that migrate from the waste management area to the uppermost aquifer.

D)	Lateral expansion, new, or replacement units are not eligible for an alternate downgradient location under this subsection (b)(3).

c)	All monitoring wells must be cased in a manner that maintains the integrity of the monitoring well bore hole.  This casing must be screened or perforated and packed with gravel or sand where necessary to enable sample collection at depths where appropriate aquifer flow zones exist.  The annular space (i.e., the space between the bore hole and well casing) above the sampling depth must be sealed with a suitable material (e.g., cement grout or bentonite slurry) to prevent contamination of samples and the groundwater.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.192	Sampling and Analysis

a)	The owner or operator shall must obtain and analyze samples from the installed groundwater monitoring system.  The owner or operator shall must develop and follow a groundwater sampling and analysis plan.  The owner or operator shall must keep this plan at the facility.  The plan must include procedures and techniques for each of the following:

1)	Sample collection;

2)	Sample preservation and shipment;

3)	Analytical procedures; and

4)	Chain of custody control.

BOARD NOTE:  See “Procedures Manual For Groundwater Monitoring At Solid Waste Disposal Facilities” and “Methods for Chemical Analysis of Water and Wastes,”, incorporated by reference in 35 Ill. Adm. Code 720.111(a), for discussions of sampling and analysis procedures.

b)	The owner or operator shall must determine the concentration or value of the following parameters in groundwater samples in accordance with subsections (c) and (d) below of this Section:

1)	Parameters characterizing the suitability of the groundwater as a drinking water supply, as specified in Section 725.Appendix C to this Part.

2)	Parameters The following parameters extablishing establishing groundwater quality:

A)	Chloride,

B)	Iron,

C)	Manganese,

D)	Phenols,

E)	Sodium, and

F)	Sulfate.

BOARD NOTE:  These parameters are to be used as a basis for comparison in the event a groundwater quality assessment is required under Section 725.193(d).

3)	Parameters The following parameters used as indicators of groundwater contamination:

A)	pH,

B)	Specific Conductance,

C)	Total Organic Carbon, and

D)	Total Organic Halogen.

c)	Establishing background concentrations:.

1)	For all monitoring wells, the owner or operator shall must establish initial background concentrations or values of all parameters specified in subsection (b) above of this Section.  The owner or operator shall must do this quarterly for one year.

2)	For each of the indicator parameters specified in subsection (b)(3) above of this Section, the owner or operator shall must obtain at least four replicate measurements for each sample and determine the initial background arithmetic mean and variance by pooling the replicate measurements for the respective parameter concentrations or values in samples obtained from upgradient wells during the first year.

d)	After the first year, the owner or operator shall must sample all monitoring wells and analyze the samples with the following frequencies:

1)	Samples collected to establish groundwater quality must be obtained and analyzed for the parameters specified in subsection (b)(2) above of this Section at least annually.

2)	Samples collected to indicate groundwater contamination must be obtained and analyzed for the parameters specified in subsection (b)(3) above of this Section at least semi-annually.

e)	The owner or operator shall must determine the elevation of the groundwater surface at each monitoring well each time a sample is obtained.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.193	Preparation, Evaluation, and Response

a)	By no later than November 19, 1981, the owner or operator must prepare have prepared an outline of a groundwater quality assessment program.  The outline must describe a more comprehensive groundwater monitoring program (than that described in Sections 725.191 and 725.192) capable of determining each of the following:

1)	Whether hazardous waste or hazardous waste constituents have entered the groundwater;

2)	The rate and extent of migration of hazardous waste or hazardous waste constituents in the groundwater; and

3)	The concentrations of hazardous waste or hazardous waste constituents in the groundwater.

b)	For each indicator parameter specified in Section 725.192(b)(3), the owner or operator must calculate the arithmetic mean and variance, based on at least four replicate measurements on each sample, for each well monitored in accordance with Section 725.192(d)(2) and compare these results with its initial background arithmetic mean.  The comparison must consider individually each of the wells in the monitoring system and must use the Student’s t-test at the 0.01 level of significance (see Appendix D) to determine statistically significant increases (and decreases, in the case of pH) over initial background.

c)	Well comparisons.

1)	If the comparisons for the upgradient wells made under paragraph subsection (b) of this Section show a significant increase (or pH decrease) the owner or operator must submit this information in accordance with Section 725.194(a)(2)(B).

2)	If the comparisons for downgradient wells made under paragraph subsection (b) of this Section show a significant increase (or pH decrease) the owner or operator must then immediately obtain additional groundwater samples for those downgradient wells where a significant difference was detected, split the samples in two and obtain analyses of all additional samples to determine whether the significant difference was a result of laboratory error.

d)	Notice to the Agency.

1)	If the analyses performed under paragraph subsection (c)(2) of this Section confirm the significant increase (or pH decrease) the owner or operator must provide written notice to the Director Agency--within seven days of the date of such confirmation--that the facility may be affecting groundwater quality.

2)	Within 15 days after the notification under paragraph subsection (d)(1) of this Section, the owner or operator must develop and submit to the Director Agency a specific plan, based on the outline required under paragraph subsection (a) of this Section and certified by a qualified geologist or geotechnical engineer for a groundwater quality assessment program at the facility.

3)	The plan to be submitted under Section 725.190(d)(1) or paragraph subsection (d)(2) of this Section must specify all of the following:

A)	The number, location, and depth of wells;

B)	Sampling and analytical methods for those hazardous wastes or hazardous waste constituents in the facility;

C)	Evaluation procedures, including any use of previously gathered groundwater quality information; and

D)	A schedule of implementation.

4)	The owner or operator must implement the groundwater quality assessment plan which that satisfies the requirements of paragraph subsection (d)(3) of this Section and, at a minimum, determine each of the following:

A)	The rate and extent of migration of the hazardous waste or hazardous waste constituents in the groundwater; and

B)	The concentrations of the hazardous waste or hazardous waste constituents in the groundwater.

5)	The owner or operator must make his first determination under paragraph subsection (d)(4) of this Section as soon as technically feasible and, within 15 days after that determination, submit to the Director Agency a written report containing an assessment of the groundwater quality.

6)	If the owner or operator determines, based on the results of the first determination under paragraph subsection (d)(4) of this Section, that no hazardous waste or hazardous waste constituents from the facility have entered the groundwater, then he may reinstate the indicator evaluation program described in Section 725.192 and paragraph subsection (b) of this Section.  If the owner or operator reinstates the indicator evaluation program, he must so notify the Director Agency in the report submitted under paragraph subsection (d)(5) of this Section.

7)	If the owner or operator determines, based on the first determination under paragraph subsection (d)(4) of this Section, that hazardous waste or hazardous waste constituents from the facility have entered the groundwater, then he the owner or operator must do either of the following:

A)	Must It must continue to make the determinations required under paragraph subsection (d)(4) of this Section on a quarterly basis until final closure of the facility if the groundwater quality assessment plan was implemented prior to final closure of the facility; or

B)	May It may cease to make the determinations required under paragraph subsection (d)(4) of this Section if the groundwater quality assessment plan was implemented during the post-closure care period.

e)	Notwithstanding any other provision of this Subpart F, any groundwater quality assessment to satisfy the requirements of paragraph subsection (d)(4) of this Section which that is initiated prior to final closure of the facility must be completed and reported in accordance with paragraph 725.193subsection (d)(5) of this Section.

f)	Unless the groundwater is monitored to satisfy the requirements of paragraph 725.193subsection (d)(4) of this Section at least annually the owner or operator must evaluate the data on groundwater surface elevations obtained under Section 725.192(e) to determine whether the requirements under Section 725.191(a) for locating the monitoring wells continues to be satisfied.  If the evaluation shows that Section 725.191(a) is no longer satisfied, the owner or operator must immediately modify the number, location, or depth of the monitoring wells to bring the groundwater monitoring system into compliance with this requirement.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.194	Recordkeeping and Reporting

a)	Unless the groundwater is monitored to satisfy the requirements of Section 725.193(d)(4), the owner or operator shall must do the following:

1)	Keep records of the analyses required in Section 725.192(c) and (d), the associated groundwater surface elevations required in Section 725.192(e), and the evaluations required in Section 725.193(b) throughout the active life of the facility and, for disposal facilities, also throughout the post-closure care period; and

2)	Report the following groundwater monitoring information to the Agency:

A)	During the first year when initial background concentrations are being established for the facility:  concentrations or values of the parameters listed in Section 725.192(b)(1) for each groundwater monitoring well, within 15 days after completing each quarterly analysis.  The owner or operator shall must separately identify for each monitoring well any parameters whose concentration or value has been found to exceed the maximum contaminant levels listed in Section 725.Appendix C to this Part.;

B)	Annually:  concentrations or values of the parameters listed in Section 725.192(b)(3) for each groundwater monitoring well, along with the required evaluations for these parameters under Section 725.193(b).   The owner or operator shall must separately identify any significant differences from initial background found in the upgradient wells, in accordance with Section 725.193(c)(1).  During the active life of the facility, the owner or operator shall must submit this information as part of the annual report required under Section 725.175.; and

C)	As part of the annual report required under Section 725.175:  results of the evaluation of groundwater surface elevations under Section 725.193(f) and a description of the response to the evaluation, where applicable.

b)	If the groundwater is monitored to satisfy the requirements of Section 725.193(d)(4), the owner or operator shall must do the following:

1)	Keep records of the analyses and evaluations specified in the plan that satisfy the requirements of Section 725.193(d)(3) throughout the active life of the facility and, for disposal facilities, also throughout the post-closure care period; and

2)	Annually, until final closure of the facility, submit to the Agency a report containing the results of the groundwater quality assessment program that includes, but is not limited to, the calculated (or measured) rate of migration of hazardous waste or hazardous waste constituents in the groundwater during the reporting period.  The owner or operator shall must submit this report as part of the annual report required under Section 725.175.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART G: CLOSURE AND POST-CLOSURE CARE

- Section 725.210	Applicability

Except as Section 725.101 provides otherwise, the following requirements apply as indicated:

a)	Sections 725.211 through 725.215 (which concern closure) apply to the owners and operators of all hazardous waste management facilities; and

b)	Sections 725.216 through 725.220 (which concern post-closure care) apply to the owners and operators of the following:

1)	All hazardous waste disposal facilities; or

2)	Waste piles and surface impoundments from which the owner or operator intends to remove the wastes at closure to the extent that these Sections are made applicable to such facilities in Section 725.328 or 725.358; or

3)	Tank systems which that are required under Section 725.297 to meet requirements for landfills; or

4)	Containment buildings that are required under Section 725.1102 to meet the requirement for landfills.

c)	Section 725.221 applies to owners and operators of units that are subject to the requirements of 35 Ill. Adm. Code 703.161 and which are regulated under an enforceable document (as established pursuant to 35 Ill. Adm. Code 703.161).

d)	A permit or enforceable document can contain alternative requirements that replace all or part of the closure and post-closure care requirements of this Subpart G (and the unit-specific standards in Section 725.211(c)) applying to a regulated unit (as defined in 35 Ill. Adm. Code 724.190), as provided in 35 Ill. Adm. Code 703.161, where the Board or Agency determines has determined by an adjusted standard granted pursuant to Section 28.1 of the Act [415 ILCS 5/28.1] and Subpart D of 35 Ill. Adm. Code 104 the following:

1)	The regulated unit is situated among solid waste management units (or areas of concern), a release has occurred, and both the regulated unit and one or more solid waste management units (or areas of concern) are likely to have contributed to the release; and

2)	It is not necessary to apply the closure requirements of this Subpart G (and those referenced herein) because the alternative requirements will protect human health and the environment, and will satisfy the closure performance standard of Section 725.211 (a) and (b).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.211	Closure Performance Standard

The owner or operator shall must close the facility in a manner that does the following:

a)	Minimizes The closure minimizes the need for further maintenance; and

b)	Controls, The closure controls, minimizes, or eliminates, to the extent necessary to protect human health and the environment, post-closure escape of hazardous waste, hazardous constituents, leachate, contaminated run-off, or hazardous waste decomposition products to the ground or surface waters or to the atmosphere, and

c)	Complies The closure complies with the closure requirements of this Part, including, but not limited to, the requirements of Sections 725.297, 725.328, 725.358, 725.380, 725.410, 725.451, 725.481, 725.504, and 725.1102.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.212	Closure Plan; Amendment of Plan

a)	Written plan.  Within six months after the effective date of the rule that first subjects a facility to provisions of this Section, the owner or operator of a hazardous waste management facility shall must have a written closure plan.  Until final closure is completed and certified in accordance with Section 725.215, a copy of the most current plan must be furnished to the Agency upon request including request by mail.  In addition, for facilities without approved plans, it must also be provided during site inspections on the day of inspection to any officer, employee, or representative of the Agency.

b)	Content of plan.  The plan must identify the steps necessary to perform partial or final closure of the facility at any point during its active life.  The closure plan must include, at least the following minimal information:

1)	A description of how each hazardous waste management unit at the facility will be closed in accordance with Section 725.211;

2)	A description of how final closure of the facility will be conducted in accordance with Section 725.211.  The description must identify the maximum extent of the operation which that will be unclosed during the active life of the facility;

3)	An estimate of the maximum inventory of hazardous wastes ever on-site over the active life of the facility and a detailed description of the methods to be used during partial and final closure, including, but not limited to methods for removing, transporting, treating, storing, or disposing of all hazardous waste, and identification of and the type(s) types of off-site hazardous waste management unit(s) units to be used, if applicable;

4)	A detailed description of the steps needed to remove or decontaminate all hazardous waste residues and contaminated containment system components, equipment, structures, and soils during partial and final closure including, but not limited to, procedures for cleaning equipment and removing contaminated soils, methods for sampling and testing surrounding soils, and criteria for determining the extent of decontamination necessary to satisfy the closure performance standard;

5)	A detailed description of other activities necessary during the partial and final closure period to ensure that all partial closures and final closure satisfy the closure performance standards, including, but not limited to, groundwater monitoring, leachate collection, and runon and runoff control;

6)	A schedule for closure of each hazardous waste management unit and for final closure of the facility.  The schedule must include, at a minimum, the total time required to close each hazardous waste management unit and the time required for intervening closure activities which that will allow tracking of the progress of partial and final closure.  (For example, in the case of a landfill unit, estimates of the time required to treat or dispose of all hazardous waste inventory and of the time required to place a final cover must be included.);

7)	An estimate of the expected year of final closure for facilities that use trust funds to demonstrate financial assurance under Section 725.243 or 725.245 and whose remaining operating life is less than twenty years, and for facilities without approved closure plans; and

8)	For a facility where alternative requirements are established at a regulated unit under Section 725.190(f), 725.210(d), or 725.240(d), as provided under 35 Ill. Adm. Code 703.161, either the alternative requirements applying to the regulated unit or a reference to the enforceable document containing those alternative requirements.

c)	Amendment of plan.  The owner or operator may amend the closure plan at any time prior to the notification of partial or final closure of the facility.  An owner or operator with an approved closure plan shall must submit a written request to the Agency to authorize a change to the approved closure plan.  The written request must include a copy of the amended closure plan for approval by the Agency.

1)	The owner or operator shall must amend the closure plan, whenever any of the following occurs:

A)	Changes in the operating plans or facility design affect the closure plan;

B)	Whenever there is a change in the expected year of closure, if applicable;

C)	In conducting partial or final closure activities, unexpected events require a modification of the closure plan; or

D)	The owner or operator requests the establishment of alternative requirements, as provided under 35 Ill. Adm. Code 703.161, to a regulated unit under Section 725.190(f), 725.210(c), or 725.240(d).

2)	The owner or operator shall must amend the closure plan at least 60 days prior to the proposed change in facility design or operation, or no later than 60 days after an unexpected event has occurred which that has affected the closure plan.  If an unexpected event occurs during the partial or final closure period, the owner or operator shall must amend the closure plan no later than 30 days after the unexpected event.  These provisions also apply to owners or operators of surface impoundments and waste piles that intended to remove all hazardous wastes at closure, but are required to close as landfills in accordance with Section 725.410.

3)	An owner or operator with an approved closure plan shall must submit the modified plan to the Agency at least 60 days prior to the proposed change in facility design or operation, or no more than 60 days after an unexpected event has occurred which that has affected the closure plan.  If an unexpected event has occurred during the partial or final closure period, the owner or operator shall must submit the modified plan no more than 30 days after the unexpected event.  These provisions also apply to owners or operators of surface impoundments and waste piles that intended to remove all hazardous wastes at closure but are required to close as landfills in accordance with Section 725.410.  If the amendment to the plan is a Class 2 or 3 modification according to the criteria in 35 Ill. Adm. Code 703.280, the modification to the plan shall must be approved according to the procedures in subsection (d)(4) of this Section.

4)	The Agency may request modifications to the plan under the conditions described in subsection (c)(1) of this Section.  An owner or operator with an approved closure plan shall must submit the modified plan within 60 days after the request from the Agency, or within 30 days if the unexpected event occurs during partial or final closure.  If the amendment is considered a Class 2 or 3 modification according to the criteria in 35 Ill. Adm. Code 703.280, the modification to the plan must be approved in accordance with the procedures in subsection (d)(4) of this Section.

d)	Notification of partial closure and final closure.

1)	When notice is required.

A)	The owner or operator shall must submit the closure plan to the Agency at least 180 days prior to the date on which the owner or operator expects to begin closure of the first surface impoundment, waste pile, land treatment, or landfill unit, or final closure if it involves such a unit, whichever is earlier.

B)	The owner or operator shall must submit the closure plan to the Agency at least 45 days prior to the date on which the owner or operator expects to begin partial or final closure of a boiler or industrial furnace.

C)	The owner or operator shall must submit the closure plan to the Agency at least 45 days prior to the date on which the owner or operator expects to begin final closure of a facility with only tanks, container storage, or incinerator units.

D)	Owners or operators An owner or operator with an approved closure plans shall plan must notify the Agency in writing at least 60 days prior to the date on which the owner or operator expects to begin closure of a surface impoundment, waste pile, landfill, or land treatment unit, or final closure of a facility involving such a unit.

E)	Owners or operators An owner or operator with an approved closure plans shall plan must notify the Agency in writing at least 45 days prior to the date on which the owner or operator expects to begin partial or final closure of a boiler or industrial furnace.

F)	Owners and operators An owner or operator with an approved closure plans shall plan must notify the Agency in writing at least 45 days prior to the date on which the owner or operator expects to begin final closure of a facility with only tanks, container storage, or incinerator units.

2)	The date when the owner or operator “expects to begin closure” must be either of the following dates:

A)	Within 30 days after the date on which any hazardous waste management unit receives the known final volume of hazardous wastes or, if there is a reasonable possibility that the hazardous waste management unit will receive additional hazardous wastes, no later than one year after the date on which the unit received the most recent volume of hazardous waste.  If the owner or operator of a hazardous waste management unit demonstrates to the Agency that the hazardous waste management unit or facility has the capacity to receive additional hazardous wastes and that the owner or operator has taken and will continue to take, all steps to prevent threats to human health and the environment, including compliance with all interim status requirements, the Agency shall must approve an extension to this one-year limit; or

B)	For units meeting the requirements of Section 725.213(d), no later than 30 days after the date on which the hazardous waste management unit receives the known final volume of non-hazardous wastes, or, if there is a reasonable possibility that the hazardous waste management unit will receive additional non-hazardous wastes, no later than one year after the date on which the unit received the most recent volume of non-hazardous wastes.  If the owner or operator demonstrates to the Agency that the hazardous waste management unit has the capacity to receive additional non-hazardous wastes and that the owner and operator have taken, and will continue to take, all steps to prevent threats to human health and the environment, including compliance with all applicable interim status requirements, the Agency shall must approve an extension to this one-year limit.

3)	The owner or operator shall must submit the closure plan to the Agency no later than 15 days after occurrence of either of the following events:

A)	Termination of interim status (except when a permit is issued to the facility simultaneously with termination of interim status); or

B)	Issuance of a judicial decree or Board order to cease receiving hazardous wastes or to close the facility or unit.

4)	The Agency shall must provide the owner or operator and the public, through a newspaper notice, the opportunity to submit written comments on the plan and request modifications of the plan no later than 30 days from the date of the notice.  The Agency shall must also, in response to a request or at its own discretion, hold a public hearing whenever such a hearing might clarify one or more issues concerning a closure plan.  The Agency shall must give public notice of the hearing at least 30 days before it occurs.  (Public notice of the hearing may be given at the same time as notice of the opportunity for the public to submit written comments and the two notices may be combined.)  The Agency shall must approve, modify, or disapprove the plan within 90 days of its receipt.  If the Agency does not approve the plan, the Agency shall must provide the owner or operator with a detailed written statement of reasons for the refusal, and the owner or operator shall must modify the plan or submit a new plan for approval within 30 days after receiving such written statement.  The Agency shall must approve or modify this plan in writing within 60 days.  If the Agency modifies the plan, this modified plan becomes the approved closure plan.  The Agency shall must assure that the approved plan is consistent with Sections 725.211 through 725.215 and the applicable requirements of Sections 725.190 et seq., 725.297, 725.328, 725.358, 725.380, 725.410, 725.451, 725.481, 725.504, and 724.1102.  A copy of this modified plan with a detailed statement of reasons for the modifications must be mailed to the owner or operator.

e)	Removal of wastes and decontamination or dismantling of equipment.  Nothing in this Section precludes the owner or operator from removing hazardous wastes and decontaminating or dismantling equipment in accordance with the approved partial or final closure plan at any time before or after notification of partial or final closure.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.213	Closure; Time Allowed for Closure

a)	Within 90 days after receiving the final volume of hazardous wastes, or the final volume of non-hazardous wastes, if the owner or operator complies with all the applicable requirements of subsections (d) and (e), below, of this Section at a hazardous waste management unit or facility, or 90 days after approval of the closure plan, whichever is later, the owner or operator shall must treat, remove from the unit or facility, or dispose of on-site, all hazardous wastes in accordance with the approved closure plan.  The Agency shall must approve a longer period if the owner or operator demonstrates that the following:

1)	EitherThe need to remain in operation by showing either of the following conditions exist:

A)	The activities required to comply with this paragraph subsection (a) of this Section will, of necessity, take longer than 90 days to complete; or

B)	All of the following conditions are true:

i)	The hazardous waste management unit or facility has the capacity to receive additional hazardous wastes, or has the capacity to receive non-hazardous wastes, if the owner or operator complies with subsections (d) and (e), below of this Section;

ii)	There is a reasonable likelihood that the owner or operator, or another person will recommence operation of the hazardous waste management unit or facility within one year; and

iii)	Closure of the hazardous waste management unit or facility would be incompatible with continued operation of the site; and

2)	The owner or operator have has taken and will continue to take all steps to prevent threats to human health and the environment including compliance with all applicable interim status requirements.

b)	The owner or operator shall must complete partial and final closure activities in accordance with the approved closure plan and within 180 days after receiving the final volume of hazardous wastes, or the final volume of non-hazardous wastes, if the owner or operator complies with all applicable requirements of subsections (d) and (e), below, of this Section at the hazardous waste management unit or facility, or 180 days after approval of the closure plan, if that is later.  The Agency shall must approve an extension to the closure period if the owner or operator demonstrates that the following:

1)	EitherThe need to remain in operation by showing either of the following conditions exist:

A)	The partial or final closure activities will, of necessity, take longer than 180 days to complete; or

B)	All of the following conditions are true:

i)	The hazardous waste management unit or facility has the capacity to receive additional hazardous wastes, or the final volume of non-hazardous wastes, if the owner or operator complies with all the applicable requirements of subsections (d) and (e), below of this Section; and

ii)	There is a reasonable likelihood that the owner or operator or another person will recommence operation of the hazardous waste management unit or facility within one year; and

iii)	Closure of the hazardous waste management unit or facility would be incompatible with continued operation of the site; and

2)	The owner and operator have has taken and will continue to take all steps to prevent threats to human health and the environment from the unclosed but not operating hazardous waste management unit or facility, including compliance with all applicable interim status requirements.

c)	The demonstration referred to in subsections (a)(1) and (b)(1), above, of this Section must be made as follows:

1)	The demonstration in subsection (a)(1), above of this Section, must be made at least 30 days prior to the expiration of the 90-day period in subsection (a), above of this Section; and

2)	The demonstrations in subsection (b)(1), above of this Section, must be made at least 30 days prior to the expiration of the 180-day period in subsection (b), above of this Section, unless the owner or operator is otherwise subject to deadlines in subsection (d), below of this Section.

d)	Continued receipt of non-hazardous waste.  The Agency shall must permit an owner or operator to receive non-hazardous wastes in a landfill, land treatment unit or surface impoundment unit after the final receipt of hazardous wastes at that unit if the following are true:

1)	The owner or operator submits an amended Part B application, or a new Part B application if none was previously submitted, and demonstrates that the following:

A)	The unit has the existing design capacity as indicated on the Part A application to receive non-hazardous wastes; and

B)	There is a reasonable likelihood that the owner or operator or another person will receive non-hazardous waste in the unit within one year after the final receipt of hazardous wastes; and

C)	The non-hazardous wastes will not be incompatible with any remaining wastes in the unit, or with the facility design and operating requirements of the unit or facility under this Part; and

D)	Closure of the hazardous waste management unit would be incompatible with continued operation of the unit or facility; and

E)	The owner or operator is operating and will continue to operate in compliance with all applicable interim status requirements; and

2)	The Part B application includes an amended waste analysis plan, groundwater monitoring and response program, human exposure assessment required under 35 Ill. Adm. Code 703.186, and closure and post-closure care plans, and updated cost estimates, and demonstrations of financial assurance for closure and post-closure care, as necessary and appropriate, to reflect any changes due to the presence of hazardous constituents in the non-hazardous wastes, and changes in closure activities, including the expected year of closure, if applicable under Section 725.212(b)(7), as a result of the receipt of non-hazardous wastes following the final receipt of hazardous wastes; and

3)	The Part B application is amended, as necessary and appropriate, to account for the receipt of non-hazardous wastes following receipt of the final volume of hazardous wastes; and

4)	The Part B application and the demonstrations referred to in subsections (d)(1) and (d)(2), above of this Section, are submitted to the Agency no later than 180 days prior to the date on which the owner or operator of the facility receives the known final volume of hazardous wastes, or no later than 90 days after the effective date of this Section applies to the facility, whichever is later.

e)	Surface impoundments.  In addition to the requirements in subsection (d), above of this Section, an owner or operator of a hazardous waste surface impoundment which that is not in compliance with the liner and leachate collection system requirements in Section 725.321(a) shall must receive non-hazardous wastes only as authorized by an adjusted standard pursuant to this subsection (e).

1)	The petition for adjusted standard must include the following:

A)	A plan for removing hazardous wastes; and

B)	A contingent corrective measures plan.

2)	The removal plan must provide for the following:

A)	Removing all hazardous liquids; and

B)	Removing all hazardous sludges to the extent practicable without impairing the integrity of the liner or liners, if any; and

C)	Removal of hazardous wastes no later than 90 days after the final receipt of hazardous wastes.  The Board will allow a longer time, if the owner or operator demonstrates the following:

i)	That the removal of hazardous wastes will, of necessity, take longer than the allotted period to complete; and

ii)	That an extension will not pose a threat to human health and the environment.

3)	The following is required of contingent corrective measures plan:

A)	Must It must meet the requirements of a corrective action plan under Section 724.199, based upon the assumption that a release has been detected from the unit.

B)	May It may be a portion of a corrective action plan previously submitted under Section 724.199.

C)	May It may provide for continued receipt of non-hazardous wastes at the unit following a release only if the owner or operator demonstrates that continued receipt of wastes will not impede corrective action.

D)	Must It must provide for implementation within one year after a release, or within one year after the grant of the adjusted standard, whichever is later.

4)	Release.  A release is a statistically significant increase (or decrease in the case of pH) in hazardous constituents over background levels, detected in accordance with the requirements in Subpart F of this Part.

5)	In the event of a release, the owner or operator of the unit must perform the following actions:

A)	Within 35 days, the owner or operator must file with the Board a petition for adjusted standard pursuant to Section 28.1 of the Act [415 ILCS 5/28.1] and Subpart D of 35 Ill. Adm. Code 104.  If the Board finds that it is necessary to do so in order to protect human health and the environment, the Board will modify the adjusted standard to require the owner or operator to perform either of the following actions:

i)	Begin to implement the corrective measures plan in less than one year; or,

ii)	Cease the receipt of wastes until the plan has been implemented.

iii)	The Board will retain jurisdiction or condition the adjusted standard so as to require the filing of a new petition to address any required closure pursuant to subsection (e)(7), below. of this Section;

B)	Shall The owner or operator must implement the contingent corrective measures plan.; and

C)	May The owner or operator may continue to receive wastes at the unit if authorized by the approved contingent measures plan.

6)	Semi-annual report.  During the period of corrective action, the owner or operator shall must provide semi-annual reports to the Agency which that fulfill the following requirements:

A)	Describe They describe the progress of the corrective action program;

B)	Compile They compile all groundwater monitoring data; and

C)	Evaluate They evaluate the effect of the continued receipt of non-hazardous wastes on the effectiveness of the corrective action.

7)	Required closure.  The owner or operator shall must commence closure of the unit in accordance with the closure plan and the requirements of this Part if the Board terminates the adjusted standard, or if the adjusted standard terminates pursuant to its terms.

A)	The Board will terminate the adjusted standard if the owner or operator failed to implement corrective action measures in accordance with the approved contingent corrective measures plan; or.

B)	The Board will terminate the adjusted standard if the owner or operator fails to make substantial progress in implementing the corrective measures plan and achieving the facility’s groundwater protection standard, or background levels if the facility has not yet established a groundwater protection standard; or.

C)	The adjusted standard will automatically terminate if the owner or operator fails to implement the removal plan.

D)	The adjusted standard will automatically terminate if the owner or operator fails to timely file a required petition for adjusted standard.

8)	Adjusted standard procedures.  The following procedures must be used in granting, modifying or terminating an adjusted standard pursuant to this subsection.

A)	Except as otherwise provided, the owner or operator shall must follow the procedures of Section 28.1 of the Act [415 ILCS 5/28.1] and Subpart D of 35 Ill. Adm. Code 106.Subpart G 104 to petition the Board for an adjusted standard.

B)	Initial justification.  The Board will grant an adjusted standard pursuant to subsection (e)(1), above of this Section, if the owner or operator demonstrates that the removal plan and contingent corrective measures plans meet the requirements of subsections (e)(2) and (e)(3), above of this Section.

C)	The Board will include the following conditions in granting an adjusted standard pursuant to subsection (e)(1), above of this Section:

i)	A plan for removing hazardous wastes.;

ii)	A requirement that the owner or operator remove hazardous wastes in accordance with the plan.;

iii)	A contingent corrective measures plan.;

iv)	A requirement that, in the event of a release, the owner or operator shall: must, within 35 days, file with the Board a petition for adjusted standard;, implement the corrective measures plan;, and, file semi-annual reports with the Agency.;

v)	A condition that the adjusted standard will terminate if the owner or operator fails to: implement the removal plan;, or, timely file a required petition for adjusted standard.; and

vi)	A requirement that, in the event the adjusted standard is terminated, the owner or operator shall must commence closure of the unit in accordance with the requirements of the closure plan and this Part.

D)	Justification in the event of a release.  The Board will modify or terminate the adjusted standard pursuant to a petition filed under subsection (e)(5)(A), above of this Section, as provided in that subsection or in subsection (e)(7), above of this Section.

9)	The owner or operator may file a revised closure plan within 15 days after an adjusted standard is terminated.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.214	Disposal or Decontamination of Equipment, Structures, and Soils

During the partial and final closure periods, all contaminated equipment, structures, and soil must be properly disposed of, or decontaminated unless specified otherwise in Sections Section 725.297, 725.328, 725.358, 725.380, or 725.410.  By removing all hazardous wastes or hazardous constituents during partial and final closure, the owner or operator may become a generator of hazardous waste and shall must handle that hazardous waste in accordance with all applicable requirements of 35 Ill. Adm. Code 722.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.215	Certification of Closure

Within 60 days after completion of closure of each hazardous waste surface impoundment, waste pile, land treatment, and landfill unit, and within 60 days after completion of final closure, the owner or operator shall must submit to the Agency, by registered mail, a certification that the hazardous waste management unit or facility, as applicable, has been closed in accordance with the specifications in the approved closure plan.  The certification must be signed by the owner or operator and by an independent registered professional engineer.  Documentation supporting the independent registered professional engineer’s certification must be furnished to the Agency upon request until the Agency releases the owner or operator from the financial assurance requirements for closure under Section 725.243(h).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.216	Survey Plat

No later than the submission of the certification of closure of each hazardous waste disposal unit, an owner or operator shall must submit to any local zoning authority, or authority with jurisdiction over local land use, to the County Recorder and to the Agency, a survey plat indicating the location and dimensions of landfill cells or other hazardous waste disposal units with respect to permanently surveyed benchmarks.  This plat must be prepared and certified by a professional land surveyor.  The plat filed with any local zoning authority, or authority with jurisdiction over local land use, and the County Recorder must contain a note, prominently displayed, which that states the owner’s and operator’s obligation to restrict disturbance of the hazardous waste disposal unit in accordance with the applicable regulations of this Subpart G regulations.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.217	Post-closure Post-Closure Care and Use of Property

a)	Post-closure care.

1)	Post-closure care for each hazardous waste management unit subject to the requirements of Sections 725.217 through 725.220 must begin after completion of closure of the unit and continue for 30 years after that date.  It must consist of at least the following:

A)	Monitoring and reporting in accorance accordance with the requirements of Subparts F, K, L, M, and N of this Part; and

B)	Maintenance and monitoring of waste containment systems in accordance with the requirements of Subparts F, K, L, M, and N of this Part.

2)	Any time preceding closure of a hazardous waste management unit subject to post-closure care requirements or final closure, or any time during the post-closure period for a particular hazardous waste disposal unit, the Board will, by an adjusted standard granted pursuant to Section 28.1 of the Act [415 ILCS 5/28.1] and Subpart D of 35 Ill. Adm. Code 104 or by an order in some other appropriate type of proceeding (e.g., an enforcement proceeding), do the following:

A)	Shorten the post-closure care period applicable to the hazardous waste management unit, or facility, if all disposal units have been closed, if the Board finds that the reduced period is sufficient to protect human health and the environment (e.g., leachate or groundwater monitoring results, characteristics of the hazardous waste, application of advanced technology, or alternative disposal, treatment or re-use techniques indicate that the hazardous waste management unit or facility is secure); or

B)	Extend the post-closure care period applicable to the hazardous waste management unit or facility, if the Board finds that the extended period is necessary to protect human health and the environment (e.g., leachate or groundwater monitoring results indicate a potential for migration of hazardous wastes at levels which that may be harmful to human health and the environment).

3)	As provided by Section 725.218(i), the Board will utilize site-specific rulemaking to adjust the length of the post-closure care period.

b)	The Agency shall must require, at partial or final closure, continuation of any of the security requirements of Section 725.214 during part or all of the post-closure period when either of the following occur:

1)	Hazardous wastes may remain exposed after completion of partial or final closure; or

2)	Access by the public or domestic livestock may pose a hazard to human health.

c)	Post-closure use of property on or in which hazardous wastes remain after partial or final closure must never be allowed to disturb the integrity of the final cover, liner(s) liners, or any other components of any containment system or the function of the facility’s monitoring systems, unless the Agency determines that either of the following with respect to the disturbance:

1)	Is It is necessary to the proposed use of the property, and will not increase the potential hazard to human health or the environment; or

2)	Is It is necessary to reduce a threat to human health or the environment.

d)	All post-closure care activities must be performed in accordance with the provisions of the approved post-closure plan, as specified in Section 725.218.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.218	Post-Closure Care Plan; Amendment of Plan

a)	Written Plan.  The owner or operator of a hazardous waste disposal unit shall must have a written post-closure care plan.  An owner or operator of a surface impoundment or waste pile that intends to remove all hazardous wastes at closure shall must prepare a post-closure care plan and submit it to the Agency within 90 days after the date that the owner or operator or Agency determines that the hazardous waste management unit or facility must be closed as a landfill, subject to the requirements of Sections 725.217 through 725.220.

b)	Until final closure of the facility, a copy of the most current post-closure care plan must be furnished to the Agency upon request, including request by mail.  In addition, for facilities without approved post-closure care plans, it must also be provided during site inspections, on the day of inspection, to any officer, employee, or representative of the Agency.  After final closure has been certified, the person or office specified in subsection (c)(3) shall must keep the approved post-closure care plan during the post-closure care period.

c)	For each hazardous waste management unit subject to the requirements of this Section, the post-closure care plan must identify the activities which that will be carried on after closure of each disposal unit and the frequency of these activities and include at least the following minimal information:

1)	A description of the planned monitoring activities and frequencies at which they will be performed to comply with Subpart of this Part during the post-closure care period.;

2)	A description of the planned maintenance activities and frequencies at which they will be performed to ensure the following:

A)	The integrity of the cap and final cover or other containment systems in accordance with the requirements of Subparts K, L, M, and N of this Part; and

B)	The function of the monitoring equipment in accordance with the requirements of Subparts F, K, L, M, and N. of this Part;

3)	The name, address, and phone number of the person or office to contact about the hazardous waste disposal unit or facility during the post-closure care period.;

4)	For a facility subject to Section 725.221, provisions that satisfy the requirements of Section 725.221(a)(1) and (a)(3).; and

5)	For a facility where alternative requirements are established at a regulated unit under Section 725.190(f), 725.210(d), or 725.240(d), as provided under 35 Ill. Adm. Code 703.161, either the alternative requirements that apply to the regulated unit, or a reference to the enforceable document containing those requirements.

d)	Amendment of plan.  The owner or operator may amend the post-closure care plan at any time during the active life of the facility or during the post-closure care period.  An owner or operator with an approved post-closure care plan shall must submit a written request to the Agency to authorize a change to the approved plan.  The written request must include a copy of the amended post-closure care plan for approval by the Agency.

1)	The owner or operator shall must amend the post-closure care plan whenever the following occur:

A)	Changes in operating plans or facility design affect the post-closure care plan; or

B)	Events occur during the active life of the facility, including partial and final closures, which that affect the post-closure care plan; and

C)	The owner or operator requests the establishment of alternative requirements to a regulated unit under Section 725.190(f), 725.210(d), or 725.240(d).

2)	The owner or operator shall must amend the post-closure care plan at least 60 days prior to the proposed changes in facility design or operation, or no later than 60 days after an unexpected event has occurred which that has affected the post-closure care plan.

3)	An owner or operator with an approved post-closure care plan shall must submit the modified plan to the Agency at least 60 days prior to the proposed change in facility design or operation, or no more than 60 days after an unexpected event has occurred which that has affected the post-closure care plan.  If an owner or operator of a surface impoundment or a waste pile that intended to remove all hazardous wastes at closure in accordance with Section 725.328(b) or 725.358(a) is required to close as a landfill in accordance with Section 725.410, the owner or operator shall must submit a post-closure care plan within 90 days after the determination by the owner or operator or Agency that the unit must be closed as a landfill.  If the amendment to the post-closure care plan is a Class 2 or 3 modification according to the criteria in 35 Ill. Adm. Code 703.280, the modification to the plan must be approved according to the procedures in subsection (f) of this Section.

4)	The Agency may request modifications to the plan under the conditions described in subsection (d)(1) of this Section.  An owner or operator with an approved post-closure care plan shall must submit the modified plan no later than 60 days after the request from the Agency.  If the amendment to the plan is considered a Class 2 or 3 modification according to the criteria in 35 Ill. Adm. Code 703.280 the modifications to the post-closure care plan must be approved in accordance with the procedures in subsection (f) of this Section.  If the Agency determines that an owner or operator of a surface impoundment or waste pile that intended to remove all hazardous wastes at closure shall must close the facility as a landfill, the owner or operator shall must submit a post-closure care plan for approval to the Agency within 90 days after the determination.

e)	The owner or operator of a facility with hazardous waste management units subject to these requirements shall must submit the post-closure care plan to the Agency at least 180 days before the date the owner or operator expects to begin partial or final closure of the first hazardous waste disposal unit.  The date when the owner or operator “expects to begin closure” of the first hazardous waste disposal unit must be either within 30 days after the date on which the hazardous waste management unit receives the known final volume of hazardous waste or, if there is a reasonable possibility that the hazardous waste management unit will receive additional hazardous wastes, no later than one year after the date on which the unit received the most recent volume of hazardous wastes.  The owner or operator shall must submit the closure plan to the Agency no later than 15 days after either of the following:

1)	Termination of interim status (except when a permit is issued to the facility simultaneously with termination of interim status); or

2)	Issuance of a judicial decree or Board order to cease receiving wastes or close.

f)	Procedures.

1)	Except as provided in subsection (f)(2) of this Section, the Agency shall must provide the owner or operator and the public through a newspaper notice the opportunity to submit written comments on the post-closure care plan and request modifications to the plan, no later than 30 days after the date of the notice.  The Agency may also, in response to a request or at its own discretion, hold a public hearing whenever such a hearing might clarify one or more issues concerning the post-closure care plan.  The Agency shall must give public notice of the hearing at least 30 days before it occurs.  (Public notice of the hearing may be given at the same time as notice of the opportunity for written public comments and the two notices may be combined.)  The Agency shall must approve, modify, or disapprove the plan within 90 days of its receipt.  If the Agency determines not to approve the plan, the Agency shall must provide the owner or operator with a detailed statement of reasons for the refusal and the owner or operator shall must modify the plan or submit a new plan for approval within 30 days after receiving such written statements.  The Agency shall must approve or modify this plan in writing within 60 days.  If the Agency modifies the plan, this modified plan becomes the approved post-closure care plan.  Any final Agency determination shall must ensure that the approved post-closure care plan is consistent with Sections 725.217 through 725.220.  A copy of this modified plan with a detailed statement of reasons for the modifications must be mailed to the owner or operator.

2)	The Agency shall must not provide notice or the opportunity for public comment if, in a prior proceeding, the Board has ordered the modifications to the plan.

g)	The post-closure care plan and length of the post-closure care period may be modified at any time prior to the end of the post-closure care period in either of the following two ways:

1)	The owner or operator or any member of the public may petition to extend or reduce the post-closure care period applicable to a hazardous waste management unit or facility based on cause, or alter the requirements of the post-closure care period based on cause.

A)	The petition must include evidence demonstrating that either of the following:

i)	The secure nature of the hazardous waste management unit or facility makes the post-closure care requirement(s) requirements unnecessary or supports reduction of the post-closure care period specified in the current post-closure care plan (e.g., leachate or groundwater monitoring results,; characteristics of the waste,; application of advanced technology; or alternative disposal, treatment, or re-use techniques indicate that the facility is secure), or

ii)	The requested extension in the post-closure care period or alteration of post-closure care requirements is necessary to prevent threats to human health and the environment (e.g., leachate or groundwater monitoring results indicate a potential for migration of hazardous wastes at levels which that may be harmful to human health and the environment).

B)	These petitions must be considered only when they present new and relevant information not previously considered.

i)	Except as provided in subsection (g)(1)(B)(ii), whenever the Agency is considering a petition, it shall must provide the owner or operator and the public, through a newspaper notice, the opportunity to submit written comments within 30 days of the date of the notice.  The Agency shall must also, in response to a request or at its own discretion, hold a public hearing whenever a hearing might clarify one or more issues concerning the post-closure care plan.  The Agency shall must give the public notice of the hearing at least 30 days before it occurs.  (Public notice of the hearing may be given at the same time as notice of the opportunity for written public comments and the two notices may be combined.)  After considering the comments, the Agency shall must issue a final determination, based upon the criteria set forth in subsection(g)(1) of this Section.

ii)	The Agency shall must not provide notice or the opportunity for public comment if, in a prior proceeding, the Board has ordered the modifications to the plan.

C)	If the Agency denies the petition, it shall must send the petitioner a brief written response giving a reason for the denial.

2)	The Agency shall must tentatively decide to modify the post-closure care plan if the Agency determines that it is necessary to prevent threats to human health and the environment.  The Agency may propose to extend or reduce the post-closure care period applicable to a hazardous waste management unit or facility based on cause or alter the requirements of the post-closure care period based on cause.

A)	The Agency shall must provide the owner or operator and the affected public, through a newspaper notice, the opportunity to submit written comments within 30 days after the date of the notice and the opportunity for a public hearing as in subsection (g)(1)(B) of this Section.  After considering the comments, the Agency shall must issue a final determination.

B)	The Agency shall must base its final determination upon the same criteria as required for petitions under subsection (g)(1)(A) of this Section.  A modification of the post-closure care plan may include, where appropriate, the temporary suspension rather than permanent deletion of one or more post-closure care requirements.  At the end of the specified period of suspension, the Agency would then determine whether the requirement(s) requirements should be permanently discontinued or reinstated to prevent threats to human health and the environment.

h)	The Agency procedures described in Sections 725.212 through 725.219 are in the nature of permit amendments.  Amendment of refusal to amend the plan is a permit denial for purposes of appeal pursuant to 35 Ill. Adm. Code 105.  The Agency shall must not amend permits in such a manner so that the permit would not conform with Board regulations.

i)	If any person seeks a closure or post-closure care plan which that would not conform with Board regulations, such person shall must file a site-specific rulemaking petition pursuant to 35 Ill. Adm. Code 102 or a variance petition pursuant to Sections 35 through 38 of the Act [415 ILCS 5/35 through 38] and Subpart B of 35 Ill. Adm. Code 104.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.219	Post-Closure Notices

Within 90 days after closure is completed, the owner or operator of a disposal facility must submit to the County Recorder and to the Director Agency a survey plat indicating the location and dimensions of landfill cells or other disposal areas with respect to permanently surveyed benchmarks.  This plat must be prepared and certified by a professional land surveyor.  The plat filed with the County Recorder must contain a note, prominently displayed, which that states the owner’s or operator’s obligation to restrict disturbance of the site as specified in Section 725.217(c).  In addition, the owner or operator must submit to the Director Agency and to the County Recorder a record of the type, location, and quantity of hazardous waste disposed of within each cell or area of the facility.  The owner or operator must identify the type, location, and quantity of hazardous wastes disposed of within each cell or area of the facility.  For wastes disposed of before these regulations were promulgated, the owner or operator must identify the type, location, and quantity of the wastes to the best of his knowledge and in accordance with any records he the owner or operator has kept.

a)	No later than 60 days after certification of closure of each hazardous waste disposal unit, the owner or operator shall must submit to the County Recorder, to any local zoning authority, or any authority with jurisdiction over local land use, and to the Agency, a record of the type, location, and quantity of hazardous wastes disposed of within each cell or other disposal unit of the facility.  For hazardous wastes disposed of before January 12, 1981, the owner or operator shall must identify the type, location, and quantity of the hazardous wastes to the best of the owner or operator’s knowledge and in accordance with any records the owner or operator has kept.

b)	Within 60 days after certification of closure of the first hazardous waste disposal unit and within 60 days after certification of closure of the last hazardous waste disposal unit, the owner or operator shall must do the following:

1)	Record, in accordance with Illinois law, a notation on the deed to the facility property, -- or on some other instrument which that is normally examined during title search, -- that will in perpetuity notify any potential purchaser of the property that of the following:

A)	The land has been used to manage hazardous wastes; and

B)	Its use is restricted under Subpart G of 35 Ill. Adm. Code 725. Subpart G; and

C)	The survey plat and record of the type, location, and quantity of hazardous wastes disposed of within each cell or other hazardous waste disposal unit of the facility required by Sections 725.216 and 725.219(a) have been filed with the County Recorder, any local zoning authority, or any authority with jurisdiction over local land use, and with the Agency; and

2)	Submit to the Agency a certification signed by the owner or operator that the owner or operator has recorded the notation specified in subsection (b)(1) of this Section, and together with a copy of the document in which the notation has been placed, to the Agency.

c)	If the owner or operator or any subsequent owner of the land upon which a hazardous waste disposal unit was located wishes to remove hazardous wastes and hazardous waste residues,; the liner, if any,; and all contaminated structures, equipment, and soils, such person shall must request a modification to the approved post-closure plan in accordance with the requirements of Section 725.218(g).  The owner or operator shall must demonstrate that the removal of hazardous wastes will satisfy the criteria of Section 725.217(c).  By removing hazardous waste, the owner or operator may become a generator of hazardous waste and shall must manage it in accordance with all applicable requirements of 35 Ill. Adm. Code 702, 703, and 720 through 726.  If the owner or operator is granted approval to conduct the removal activities, the owner or operator may request that the Agency approve either of the following:

1)	Removal of the notation on the deed to the facility property or other instrument normally examined during title search, or

2)	Addition of a notation to the deed or instrument indicating the removal of the hazardous waste.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.220	Certification of Completion of Post-Closure Care

No later than 60 days after the completion of the established post-closure care period for each hazardous waste disposal unit, the owner or operator shall must submit to the Agency, by registered mail, a certification that the post-closure care period for the hazardous waste disposal unit was performed in accordance with the specifications in the approved post-closure plan.  The certification must be signed by the owner or operator and an independent registered professional engineer.  Documentation supporting the independent registered professional engineer’s certification must be furnished to the Agency upon request until the Agency releases the owner or operator from the financial assurance requirements for post-closure care under Section 725.245(h).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.221	Alternative Post-Closure Care Requirements

a)	An owner or operator that is subject to the requirement to obtain a post-closure care permit under Subpart B of 35 Ill. Adm. Code 703.Subpart B but which obtain obtains an enforceable document in lieu of a post-closure permit, as provided in 35 Ill. Adm. Code 703.161, shall must comply with the following requirements:

1)	The requirements to submit information about the facility in 35 Ill. Adm. Code 703.214;

2)	The requirements for facility-wide corrective action in 35 Ill. Adm. Code 724.201; and

3)	The requirements of 35 Ill. Adm. Code 724.191 through 724.200.

b)	Implementation of Alternative Requirements.

1)	Public notice, public comments, and public hearing.

A)	In establishing alternative requirements in an enforceable document in lieu of a permit under this Section, the Board will assure a meaningful opportunity for public involvement that, at a minimum, includes public notice and opportunity for public comment, as provided under the relevant provisions of the Act:

i)	For a site-specific rulemaking, in Sections 27 and 28 of the Act [415 ILCS 5/27 and 28].

ii)	For an adjusted standard, in Section 28.1 of the Act [415 ILCS 5/28.1].

iii)	For a variance, in Sections 35 through 38 of the Act [415 ILCS 5/35 through 38].

iv)	For an order issued pursuant to Section 33(a) of the Act [415 ILCS 5/33(a)], in Sections 31, 32, and 33 of the Act [415 ILCS 5/31, 32, and 33].

B)	When an owner or operator submits a plan to the Agency pursuant to an appropriate statutory or regulatory authority, the Agency shall must provide public notice and an opportunity for public hearing on the plan according to the requirements of Subparts D and E 35 Ill. Adm. Code 705.Subparts D and E as follows:

i)	When the Agency becomes involved in remedial action at the facility under regulations or in an enforcement action;

ii)	On the proposed preferred remedy and on the assumptions on which the remedy is based, especially those relating to land use and site characterization; and

iii)	At the time of a proposed decision that remedial action is complete at the facility.

C)	The requirements of subsection (b)(1)(B) of this Section must be met before the Agency may consider that the facility owner or operator has met the requirements of 35 Ill. Adm. Code 703.161, unless the facility qualifies for a modification to these public participation requirements under either of subsections (b)(2) or (b)(3) of this Section.

2)	If the Agency determines that even a short delay in the implementation of a remedy would adversely affect human health or the environment, the Agency may delay compliance with the requirements of subsection (b)(1)(B) of this Section and immediately implement the remedy.  However, the Agency shall must assure involvement of the public at the earliest opportunity and, in all cases, upon making the decision that additional remedial action is not needed at the facility.

3)	The Agency may allow a remediation initiated prior to August 6, 1999 to substitute for corrective action required under a post-closure care permit even if the public involvement requirements of subsection (b)(1)(B) of this Section have not been met, so long as the Agency assures that notice and comment on the decision that no further remediation is necessary to adequately protect human health and the environment takes place at the earliest reasonable opportunity after August 6, 1999.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART H: FINANCIAL REQUIREMENTS

- Section 725.240	Applicability

a)	The requirements of Sections 725.242, 725.243, and 725.247 through 725.250 apply to owners and operators of all hazardous waste facilities, except as provided otherwise in this Section or in Section 725.101.

b)	The requirements of Sections 725.244 and 725.246 apply only to owners and operators of any of the following:

1)	Disposal facilities;

2)	Tank systems that are required under Section 725.297 to meet the requirements for landfills; or

3)	Containment buildings that are required under Section 725.1102 to meet the requirements for landfills.

c)	States and the Federal Government federal government are exempt from the requirements of this Subpart H.

d)	A permit or enforceable document can contain alternative requirements that replace all or part of the financial assurance requirements of this Subpart H of this Part applying to a regulated unit, as provided in 35 Ill. Adm. Code 703.161, where the Board or Agency has done the following:

1)	The Board or Agency, by an adjusted standard granted pursuant to Section 28.1 of the Act [415 ILCS 5/28.1] and Subpart D of 35 Ill. Adm. Code 104, has established alternative requirements for the regulated unit established under Section 725.190(f) or Section 724.210(d); and

2)	The Board or Agency determines has determined that it is not necessary to apply the financial assurance requirements of this Subpart H of this Part because the alternative financial assurance requirements will protect human health and the environment.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.241	Definitions of Terms as Used in this Subpart H

a)	“Closure plan” means the plan for closure prepared in accordance with the requirements of Section 725.212.

b)	“Current closure cost estimate” means the most recent of the estimates prepared in accordance with Sections 725.242(a), (b), and (c).

c)	“Current post-closure cost estimate” means the most recent of the estimates prepared in accordance with Sections 725.244(a), (b), and (c).

d)	“Parent corporation” means a corporation which that directly owns at least 50 percent of the voting stock of the corporation which that is the facility owner or operator; the latter corporation is deemed a “subsidiary” of the parent corporation.

e)	“Post-closure plan” means the plan for post-closure care prepared in accordance with the requirements of Sections 725.217 through 725.220.

f)	The following terms are used in the specifications for the financial tests for closure, post-closure care, and liability coverage.  The definitions are intended to assist in the understanding of these regulations and are not intended to limit the meanings of terms in a way that conflicts with generally accepted accounting practices.

“Assets” mean all existing and all probable future economic benefits obtained or controlled by a particular entity.

“Current assets” mean cash or other assets or resources commonly identified as those which that are reasonably expected to be realized in cash or sold or consumed during the normal operating cycle of the business.

“Current liabilities” means obligations whose liquidation is reasonably expected to require the use of existing resources properly classifiable as current assets or the creation of other current liabilities.

“Current plugging and abandonment cost estimate” means the most recent of the estimates prepared in accordance with 35 Ill. Adm. Code 704.212(a), (b), and (c).

“Independently audited” refers to an audit performed by an independent certified public accountant in accordance with generally accepted auditing standards.

“Liabilities” means probable future sacrifices of economic benefits arising from present obligations to transfer assets or provide services to other entities in the future as a result of past transactions or events.

“Net working capital” means current assets minus current liabilities.

“Net worth” means total assets minus total liabilities and is equivalent to owner’s equity.

“Tangible net worth” means the tangible assets that remain after deducting liabilities; such assets would not include intangibles, such as goodwill and rights to patents or royalties.

g)	In the liability insurance requirements the terms “bodily injury” and “property damage” have the meanings given below.  The Board intends the meanings of other terms used in the liability insurance requirements to be consistent with their common meanings within the insurance industry.  The definitions given below of several of the terms are intended to assist in the understanding of these regulations and are not intended to limit their meanings in a way that conflicts with general insurance industry usage.

“Accidental occurrence” means an accident, including continuous or repeated exposure to conditions, which that results in bodily injury or property damage neither expected nor intended from the standpoint of the insured.

“Bodily injury” means bodily injury, sickness, or disease sustained by a person, including death resulting from any of these at any time.  However, this term does not include those liabilities which that, consistent with standard insurance industry practices, are excluded from coverage in liability insurance policies for bodily injury.

BOARD NOTE:  Derived from 40 CFR 264.141 (1988), as amended at 53 Fed. Reg. 33950, September 1, 1988, modified to insert the Insurance Services Office definition.

“Environmental damage” means the injurious presence in or upon land, the atmosphere or any watercourse or body of water of solid, liquid, gaseous, or thermal contaminants, irritants, or pollutants.

BOARD NOTE:  This term is used in the definition of “pollution incident.”.

“Legal defense costs” means any expenses that an insurer incurs in defending against claims of third parties brought under the terms and conditions of an insurance policy.

“Nonsudden accidental occurrence” means an occurrence which that takes place over time and involves continuous or repeated exposure.

“Pollutants” means any solid, liquid, gaseous, or thermal irritant or contaminant, including smoke, vapor, soot, fumes, acids, alkalis, chemicals, and waste.

BOARD NOTE:  This definition is used in the definition of “pollution incident.”.

“Pollution incident” means emission, discharge, release or escape of pollutants into or upon land, the atmosphere or any watercourse or body of water, provided that such emission, discharge, release, or escape results in “environmental damage.”.  The entirety of any such emission, discharge, release, or escape shall must be deemed to be one “pollution incident.”.  “Waste” includes materials to be recycled, reconditioned, or reclaimed.  The term “pollution incident” includes an “occurrence.”.

BOARD NOTE:  This definition is used in the definition of “property damage.”.

“Property damage” means as follows:

Either of the following:

Physical injury to, destruction of, or contamination of tangible property, including all resulting loss of use of that property; or

Loss of use of tangible property that is not physically injured, destroyed, or contaminated, but has been evacuated, withdrawn from use, or rendered inaccessible because of a “pollution incident.”.

This term does not include those liabilities which that, consistent with standard insurance industry practices, are excluded from coverage in liability insurance policies for property damage.

BOARD NOTE:  Derived from 40 CFR 264.141 (1988), as amended at 53 Fed. Reg. 33950, September 1, 1988, modified to insert the Insurance Services Office definition.

“Sudden accidental occurrence” means an occurrence which that is not continuous or repeated in nature.

h)	“Substantial business relationship” means that one business entity has an ownership interest in another.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.242	Cost Estimate for Closure

a)	The owner or operator shall must have a detailed written estimate, in current dollars, of the cost of closing the facility in accordance with the requirements in Sections 725.211 through 725.215 and applicable closure requirements of Sections 725.278, 725.297, 725.328, 725.358, 725.380, 725.410, 725.451, 725.481, 725.504, and 725.1102.

1)	The estimate must equal the cost of final closure at the point in the facility’s active life when the extent and manner of its operation would make closure the most expensive, as indicated by its closure plan (see Section 725.212(b)); and

2)	The closure cost estimate must be based on the costs to the owner or operator of hiring a third party to close the facility.  A third party is a party who that is neither a parent nor a subsidiary of the owner or operator.  (See definition of “parent corporation” in Section 725.241(d).)  The owner or operator may use costs for on-site disposal if the owner or operator demonstrates that on-site disposal capacity will exist at all times over the life of the facility.

3)	The closure cost estimate must not incorporate any salvage value that may be realized by the sale of hazardous wastes, or non-hazardous wastes if applicable under Section 725.213(d), facility structures or equipment, land or other facility assets at the time of partial or final closure.

4)	The owner or operator shall must not incorporate a zero cost for hazardous waste, or non-hazardous waste if applicable under Section 725.213(d), which that may have economic value.

b)	During the active life of the facility, the owner or operator shall must adjust the closure cost estimate for inflation within 60 days prior to the anniversary date of the establishment of the financial instruments used to comply with Section 725.243.  For owners and operators an owner or operator using the financial test or corporate guarantee, the closure cost estimate must be updated for inflation within 30 days after the close of the firm’s fiscal year and before submission of updated information to the Agency, as specified in Section 725.243(e)(5).  The adjustment may be made by recalculating the closure cost estimate in current dollars, or by using an inflation factor derived from the most recent annual Implicit Price Deflator for Gross National Product, as published by the U.S. Department of Commerce in its Survey of Current Business as specified in subsections (b)(1) and (b)(2), below of this Section.  The inflation factor is the result of dividing the latest published annual Deflator by the Deflator for the previous year.

1)	The first adjustment is made by multiplying the closure cost estimate by the inflation factor.  The result is the adjusted closure cost estimate.

2)	Subsequent adjustments are made by multiplying the latest adjusted closure cost estimate by the latest inflation factor.

c)	During the active life of the facility, the owner or operator shall must revise the closure cost estimate no later than 30 days after a revision has been made to the closure plan which that increases the cost of closure.  If the owner or operator has an approved closure plan, the closure cost estimate must be revised no later than 30 days after the Agency has approved the request to modify the closure plan if the change in the closure plan increases the cost of closure.  The revised closure cost estimate must be adjusted for inflation as specified in subsection (b), above of this Section.

d)	The owner or operator shall must keep the following at the facility during the operating life of the facility:  The the latest closure cost estimate prepared in accordance with subsections (a) and (c), above of this Section, and, when this estimate has been adjusted in accordance with subsection (b), above of this Section, the latest adjusted closure cost estimate.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.243	Financial Assurance for Closure

An owner or operator of each facility shall must establish financial assurance for closure of the facility.  The owner or operator shall must choose from the options as specified in subsections (a) through (e), below of this Section.

a)	Closure trust fund.

1)	An owner or operator may satisfy the requirements of this Section by establishing a closure trust fund which that conforms to the requirements of this subsection and submitting an original, signed duplicate of the trust agreement to the Agency.  The trustee must be an entity which that has the authority to act as a trustee and whose trust operations are regulated and examined by a Federal federal or State agency.

2)	The wording of the trust agreement must be as specified in 35 Ill. Adm. Code 724.251 and the trust agreement must be accompanied by a formal certification of acknowledgment as specified in 35 Ill. Adm. Code 724.251.  Schedule A of the trust agreement must be updated within 60 days after a change in the amount of the current closure cost estimate covered by the agreement.

3)	Payments into the trust fund must be made annually by the owner or operator over the 20 years beginning May 19, 1981, or over the remaining operating life of the facility as estimated in the closure plan, whichever period is shorter; this period is hereafter referred to as the “pay-in period.” The payments into the closure trust fund must be made as follows:

A)	The first payment must be made before May 19, 1981, except as provided in subsection (a)(5), below of this Section.  The first payment must be at least equal to the current closure cost estimate, except as provided in subsection (f), below of this Section, divided by the number of years in the pay-in period.

B)	Subsequent payments must be made no later than 30 days after each anniversary date of the first payment.  The amount of each subsequent payment must be determined by this formula:

Next payment = (CE - CV) / Y

Next Payment=CE−CVY

where CE is the current closure cost estimate, CV is the current value of the trust fund and Y is the number of years remaining in the pay-in period.

where

CE is the current closure cost estimate,

CV is the current value of the trust fund, and

Y is the number of years remaining in the pay-in period.

4)	The owner or operator may accelerate payments into the trust fund or may deposit the full amount of the current closure cost estimate at the time the fund is established.  However, the owner or operator shall must maintain the value of the fund at no less than the value that the fund would have if annual payments were made as specified in subsection (a)(3), above of this Section.

5)	If the owner or operator establishes a closure trust fund after having used one or more alternate mechanisms specified in this Section, the owner or operator’s first payment must be in at least the amount that the fund would contain if the trust fund were established initially and annual payments made as specified in subsection (a)(3), above of this Section.

6)	After the pay-in period is completed, whenever the current closure cost estimate changes, the owner or operator shall must compare the new estimate with the trustee’s most recent annual valuation of the trust fund.  If the value of the fund is less than the amount of the new estimate, the owner or operator, within 60 days after the change in the cost estimate, shall must either deposit an amount into the fund so that its value after this deposit at least equals the amount of the current closure cost estimate, or obtain other financial assurance, as specified in this Section, to cover the difference.

7)	If the value of the trust fund is greater than the total amount of the current closure cost estimate, the owner or operator may submit a written request to the Agency for release of the amount in excess of the current closure cost estimate.

8)	If an owner or operator substitutes other financial assurance, as specified in this Section, for all or part of the trust fund, the owner or operator may submit a written request to the Agency for release of the amount in excess of the current closure cost estimate covered by the trust fund.

9)	Within 60 days after receiving a request from the owner or operator for release of funds as specified in subsections subsection (a)(7) or (a)(8), above of this Section, the Agency shall must instruct the trustee to release to the owner or operator such funds as the Agency specifies in writing.

10)	After beginning partial or final closure, an owner or operator or another person authorized to conduct partial or final closure may request reimbursement for closure expenditures by submitting itemized bills to the Agency.  The owner or operator may request reimbursement for partial closure only if sufficient funds are remaining in the trust fund to cover the maximum costs of closing the facility over its remaining operating life.  Within 60 days after receiving bills for partial or final closure activities, the Agency shall must instruct the trustee to make reimbursement in those amounts as the Agency specifies in writing if the Agency determines that the partial or final closure expenditures are in accordance with the approved closure plan, or otherwise justified.  If the Agency determines that the maximum cost of closure over the remaining life of the facility will be significantly greater than the value of the trust fund, it shall must withhold reimbursement of such amounts as it deems prudent until it determines, in accordance with subsection (h), below of this Section, that the owner or operator is no longer required to maintain financial assurance for final closure of the facility.  If the Agency does not instruct the trustee to make such reimbursements, the Agency shall must provide the owner or operator a detailed written statement of reasons.

11)	The Agency shall must agree to termination of the trust when either of the following occurs:

A)	An owner or operator substitutes alternate financial assurance, as specified in this Section; or

B)	The Agency releases the owner or operator from the requirements of this Section in accordance with subsection (h), below of this Section.

b)	Surety bond guaranteeing payment into a closure trust fund.

1)	An owner or operator may satisfy the requirements of this Section by obtaining a surety bond which that conforms to the requirements of this subsection (b) and submitting the bond to the Agency.  The surety company issuing the bond must, at a minimum, be among those listed as acceptable sureties on Federal federal bonds in Circular 570 of the U.S. Department of the Treasury.

2)	The wording of the surety bond must be as specified in 35 Ill. Adm. Code 724.251.

3)	The owner or operator who that uses a surety bond to satisfy the requirements of this Section shall must also establish a standby trust fund.  Under the terms of the bond, all payments made thereunder will be deposited by the surety directly into the standby trust fund in accordance with instructions from the Agency.  This standby trust fund must meet the requirements specified in subsection (a), above of this Section except that as follows:

A)	An original, signed duplicate of the trust agreement must be submitted to the Agency with the surety bond; and

B)	Until the standby trust fund is funded pursuant to the requirements of this Section, the following are not required by these regulations:

i)	Payments into the trust fund, as specified in subsection (a);

ii)	Updating of Schedule A of the trust agreement (see 40 CFR 264.251(a)) to show current closure cost estimates;

iii)	Annual valuations, as required by the trust agreement; and

iv)	Notices of nonpayment, as required by the trust agreement.

4)	The bond must guarantee that the owner or operator will:

A)	Fund the standby trust fund in an amount equal to the penal sum of the bond before the beginning of final closure of the facility; or

B)	Fund the standby trust fund in an amount equal to the penal sum within 15 days after an order to begin final closure is issued by the Board or a U.S. district court or other court of competent jurisdiction; or

C)	Provide alternate financial assurance, as specified in this Section, and obtain the Agency’s written approval of the assurance provided, within 90 days after receipt by both the owner or operator and the Agency of a notice of cancellation of the bond from the surety.

5)	Under the terms of the bond, the surety will become liable on the bond obligation when the owner or operator fails to perform as guaranteed by the bond.

6)	The penal sum of the bond must be in an amount at least equal to the current closure cost estimate, except as provided in subsection (f), below of this Section.

7)	Whenever the current closure cost estimate increases to an amount greater than the penal sum, the owner or operator, within 60 days after the increase, shall must either cause the penal sum to be increased to an amount at least equal to the current closure cost estimate and submit evidence of such increase to the Agency, or obtain other financial assurance, as specified in this Section, to cover the increase.  Whenever the current closure cost estimate decreases, the penal sum may be reduced to the amount of the current closure cost estimate following written approval by the Agency.

8)	Under the terms of the bond, the surety may cancel the bond by sending notice of cancellation by certified mail to the owner or operator and to the Agency.  Cancellation may not occur, however, during the 120 days beginning on the date of receipt of the notice of cancellation by both the owner or operator and the Agency, as evidenced by the return receipts.

9)	The owner or operator may cancel the bond if the Agency has given prior written consent based on its receipt of evidence of alternate financial assurance, as specified in this Section.

c)	Closure letter of credit.

1)	An owner or operator may satisfy the requirements of this Section by obtaining an irrevocable standby letter of credit which that conforms to the requirements of this subsection (c) and submitting the letter to the Agency.  The issuing institution must be an entity which that has the authority to issue letters of credit and whose letter-of-credit operations are regulated and examined by a Federal federal or State agency.

2)	The wording of the letter of credit must be as specified in 35 Ill. Adm. Code 724.251.

3)	An owner or operator who that uses a letter of credit to satisfy the requirements of this Section shall must also establish a standby trust fund.  Under the terms of the letter of credit, all amounts paid pursuant to a draft by the Agency will must be deposited by the issuing institution directly into the standby trust fund in accordance with instructions from the Agency.  This standby trust fund must meet the requirements of the trust fund specified in subsection (a), above of this Section, except that as follows:

A)	An original, signed duplicate of the trust agreement must be submitted to the Agency with the letter of credit; and

B)	Unless the standby trust fund is funded pursuant to the requirements of this Section, the following are not required by these regulations.:

i)	Payments into the trust fund, as specified in subsection (a), above of this Section;

ii)	Updating of Schedule A of the trust agreement (as specified in 35 Ill. Adm. Code 724.251) to show current closure cost estimates;

iii)	Annual valuations, as required by the trust agreement; and

iv)	Notices of nonpayment as required by the trust agreement.

4)	The letter of credit must be accompanied by a letter from the owner or operator referring to the letter of credit by number, issuing institution, and date and providing the following information:  the USEPA Identification Number identification number, name and address of the facility, and the amount of funds assured for closure of the facility by the letter of credit.

5)	The letter of credit must be irrevocable and issued for a period of at least 1 year.  The the letter of credit must provide that the expiration date will be automatically extended for a period of at least 1 one year unless, at least 120 days before the current expiration date, the issuing institution notifies both the owner or operator and the Agency by certified mail of a decision not to extend the expiration date.  Under the terms of the letter of credit, the 120 days will begin on the date when both the owner or operator and the Agency have received the notice, as evidenced by the return receipts.

6)	The letter of credit must be issued in an amount at least equal to the current closure cost estimate, except as provided in subsection (f), below of this Section.

7)	Whenever the current closure cost estimate increases to an amount greater than the amount of the credit, the owner or operator, within 60 days after the increase, shall must either cause the amount of the credit to be increased so that it at least equals the current closure cost estimate and submit evidence of such increase to the Agency, or obtain other financial assurance, as specified in this Section, to cover the increase.  Whenever the current closure cost estimate decreases, the amount of the credit may be reduced to the amount of the current closure cost estimate following written approval by the Agency.

8)	Following a final judicial determination or Board order finding that the owner or operator has failed to perform final closure in accordance with the approved closure plan when required to do so, the Agency may draw on the letter of credit.

9)	If the owner or operator does not establish alternate financial assurance, as specified in this Section, and obtain written approval of such alternate assurance from the Agency within 90 days after receipt by both the owner or operator and the Agency of a notice from issuing institution that it has decided not to extend the letter of credit beyond the current expiration date, the Agency shall must draw on the letter of credit.  The Agency may delay the drawing if the issuing institution grants an extension of the term of the credit.  During the last 30 days of any such extension the Agency shall must draw on the letter of credit if the owner or operator has failed to provide alternate financial assurance, as specified in this Section, and obtain written approval of such assurance from the Agency.

10)	The Agency shall must return the letter of credit to the issuing institution for termination when one of the following occurs:

A)	An owner or operator substitutes alternate financial assurance, as specified in this Section; or

B)	The Agency releases the owner or operator from the requirements of this Section in accordance with subsection (h), below of this Section.

d)	Closure insurance.

1)	An owner or operator may satisfy the requirements of this Section by obtaining closure insurance which that conforms to the requirements of this subsection and submitting a certificate of such insurance to the Agency.  At a minimum, the insurer must be licensed to transact the business of insurance, or eligible to provide insurance as an excess or surplus lines insurer, in one or more States.

2)	The wording of the certificate of insurance must be as specified in 35 Ill. Adm. Code 724.251.

3)	The closure insurance policy must be issued for a face amount at least equal to the current closure cost estimate, except as provided in subsection (f), below of this Section.  The term “face amount” means the total amount the insurer is obligated to pay under the policy.  Actual payments by the insurer will not change the face amount, although the insurer’s future liability will be lowered by the amount of the payments.

4)	The closure insurance policy must guarantee that funds will be available to close the facility whenever final closure occurs.  The policy must also guarantee that, once final closure begins, the insurer will be responsible for paying out funds, up to an amount equal to the face amount of the policy, upon the direction of the Agency to such party or parties as the Agency specifies.

5)	After beginning partial or final closure, an owner or operator or any other person authorized to conduct closure may request reimbursement for closure expenditures by submitting itemized bills to the Agency.  The owner or operator may request reimbursement for partial closure only if the remaining value of the policy is sufficient to cover the maximum costs of closing the facility over its remaining operating life.  Within 60 days after receiving bills for closure activities, the Agency shall must instruct the insurer to make reimbursement in such amounts as the Agency specifies in writing if the Agency determines that the partial or final closure expenditures are in accordance with the approved closure plan or otherwise justified.  If the Agency determines that the maximum cost of closure over the remaining life of the facility will be significantly greater than the face amount of the policy, it shall must withhold reimbursement of such amounts as it deems prudent until it determines, in accordance with subsection (h), below of this Section, that the owner or operator is no longer required to maintain financial assurance for final closure of the particular facility.  If the Agency does not instruct the insurer to make such reimbursements, the Agency shall must provide the owner or operator with a detailed written statement of reasons.

6)	The owner or operator shall must maintain the policy in full force and effect until the Agency consents to termination of the policy by the owner or operator as specified in subsection (d)(10), below of this Section.  Failure to pay the premium, without substitution of alternate financial assurance as specified in this Section, will constitute a significant violation of these regulations, warranting such remedy as the Board may impose pursuant to the Environmental Protection Act.  Such violation will be deemed to begin upon receipt by the Agency of a notice of future cancellation, termination, or failure to renew due to nonpayment of the premium, rather than upon the date of expiration.

7)	Each policy must contain a provision allowing assignment of the policy to a successor owner or operator.  Such assignment may be conditional upon consent of the insurer, provided such consent is not unreasonably refused.

8)	The policy must provide that the insurer may not cancel, terminate, or fail to renew the policy except for failure to pay the premium.  The automatic renewal of the policy must, at a minimum, provide the insured with the option of renewal at the face amount of the expiring policy.  If there is a failure to pay the premium, the insurer may elect to cancel, terminate, or fail to renew the policy by sending notice by certified mail to the owner or operator and the Agency.  Cancellation, termination, or failure to renew may not occur, however, during the 120 days beginning with the date of receipt of the notice by both the Agency and the owner or operator, as evidenced by the return receipts.  Cancellation, termination, or failure to renew may not occur and the policy will remain in full force and effect in the event that on or before the date of expiration one of the following occurs:

A)	The Agency deems the facility abandoned; or

B)	Interim status is terminated or revoked; or

C)	Closure is ordered by the Board or a U.S. district court or other court of competent jurisdiction; or

D)	The owner or operator is named as debtor in a voluntary or involuntary proceeding under 11 U.S.C. (Bankruptcy); or

E)	The premium due is paid.

9)	Whenever the current closure cost estimate increases to an amount greater than the face amount of the policy, the owner or operator, within 60 days after the increase, shall must either cause the face amount to be increased to an amount at least equal to the current closure cost estimate and submit evidence of such increase to the Agency, or obtain other financial assurance as specified in this Section to cover the increase.  Whenever the current closure cost estimate decreases, the face amount may be reduced to the amount of the current closure cost estimate following written approval by the Agency.

10)	The Agency shall must give written consent to the owner or operator that the owner or operator may terminate the insurance policy when either of the following occurs:

A)	An owner or operator substitutes alternate financial assurance, as specified in this Section; or

B)	The Agency releases the owner or operator from the requirements of this Section in accordance with subsection (h) below of this Section.

e)	Financial test and corporate guarantee for closure.

1)	An owner or operator may satisfy the requirements of this Section by demonstrating that the owner or operator passes a financial test as specified in this subsection.  To pass this test the owner or operator shall must meet the criteria of either subsection (e)(1)(A) or (e)(1)(B), below of this Section:

A)	The owner or operator shall must have all of the following:

i)	Two of the following three ratios:  a ratio of total liabilities to net worth less than 2.0; a ratio of the sum of net income plus depreciation, depletion and amortization to total liabilities greater than 0.1; and a ratio of current assets to current liabilities greater than 1.5; and

ii)	Net working capital and tangible net worth each at least six times the sum of the current closure and post-closure cost estimates and the current plugging and abandonment cost estimates; and

iii)	Tangible net worth of at least $10 million; and

iv)	Assests Assets located in the United States amounting to at least 90 percent of total assets or at least six times the sum of the current closure and post-closure cost estimates and the current plugging and abandonment cost estimates.

B)	The owner or operator shall must have all of the following:

i)	A current rating for its most recent bond issuance of AAA, AA, A, or BBB, as issued by Standard and Poor’s, or Aaa, Aa, A, or Baa, as issued by Moody’s; and

ii)	Tangible net worth at least six times the sum of the current closure and post-closure cost estimates and the current plugging and abandonment cost estimates; and

iii)	Tangible net worth of at least $10 million; and

iv)	Assets located in the United States amounting to at least 90 percent of total assets or at least six times the sum of the current closure and post-closure cost estimates and the current plugging and abandonment cost estimates.

2)	The phrase “current closure and post-closure cost estimates,” as used in subsection (e)(1), above of this Section, refers to the cost estimates required to be shown in subsections 1 through 4 of the letter from the owner’s or operator’s chief financial officer (40 CFR 264.151(f)) (incorporated by reference in 35 Ill. Adm. Code 724.251).  The phrase “current plugging and abandonment cost estimates,” as used in subsection (e)(1), above of this Section, refers to the cost estimates required to be shown in subsections 1 through 4 of the letter from the owner’s or operator’s chief financial officer (40 CFR 144.70(f)), incorporated by reference in 35 Ill. Adm. Code 704.240.

3)	To demonstrate that the owner or operator meets this test, the owner or operator shall must submit each of the following items to the Agency:

A)	A letter signed by the owner’s or operator’s chief financial officer and worded as specified in 35 Ill. Adm. Code 724.251; and

B)	A copy of the independent certified public accountant’s report on examination of the owner’s or operator’s financial statements for the latest completed fiscal year; and

C)	A special report from the owner’s or operator’s independent certified public accountant to the owner or operator stating that the following:

i)	The That the accountant has compared the data which that the letter from the chief financial officer specifies as having been derived from the independently audited, year-end financial statements for the latest fiscal year with the amounts in such financial statements; and

ii)	In connection with that procedure, that no matters came to the accountant’s attention which caused the accountant to believe that the specified data should be adjusted.

4)	This subsection (e)(4) corresponds with 40 CFR 265.143(e)(4), a federal provision relating to an extension of the time to file the proofs of financial assurance required by this subsection (e) granted by USEPA.  This statement maintains structural consistency with the corresponding federal regulations.

5)	After the initial submission of items specified in subsection (e)(3), above of this Section, the owner or operator shall must send updated information to the Agency within 90 days after the close of each succeeding fiscal year.  This information must consist of all three items specified in subsection (e)(3), above of this Section.

6)	If the owner or operator no longer meets the requirements of subsection (e)(1), above, of this Section, the owner or operator shall must send notice to the Agency of intent to establish alternate financial assurance as specified in this Section.  The notice must be sent by certified mail within 90 days after the end of the fiscal year for which the year-end financial data show that the owner or operator no longer meets the requirements.  The owner or operator shall must provide the alternate financial assurance within 120 days after the end of such fiscal year.

7)	The Agency may, based on a reasonable belief that the owner or operator may no longer meet the requirements of subsection (e)(1), above, of this Section, require reports or of financial condition at any time from the owner or operator in addition to those specified in subsection (e)(3), above of this Section.  If the Agency finds, on the basis of such reports or other information, that the owner or operator no longer meets the requirements of subsection (e)(1), above of this Section, the owner or operator shall must provide alternate financial assurance as specified in this Section within 30 days after notification of such a finding.

8)	The Agency may disallow use of this test on the basis of qualifications in the opinion expressed by the independent certified public accountant in the accountant’s report on examination of the owner’s or operator’s financial statements (see subsection (e)(3)(B), above of this Section).  An adverse opinion or a disclaimer of opinion will be cause for disallowance.  The Agency shall must evaluate other qualifications on an individual basis.  The owner or operator shall must provide alternate financial assurance as specified in this Section within 30 days after notification of the disallowance.

9)	The owner or operator is no longer required to submit the items specified in subsection (e)(3), above, of this Section when either of the following occurs:

A)	An owner or operator substitutes alternate financial assurance, as specified in this Section; or

B)	The Agency releases the owner or operator from the requirements of this Section in accordance with subsection (h), below of this Section.

10)	An owner or operator may meet the requirements of this Section by obtaining a written guarantee, hereafter referred to as “corporate guarantee.” The guarantor shall must be the direct or higher-tier parent corporation of the owner or operator, a firm whose parent corporation is also the parent corporation of the owner or operator, or a firm with a “substantial business relationship” with the owner or operator.  The guarantor shall must meet the requirements for owners or operators in subsections (e)(1) through (e)(8), above of this Section, and shall must comply with the terms of the corporate guarantee.  The wording of the corporate guarantee must be identical to the wording specified in 35 Ill. Adm. Code 724.251.  The corporate guarantee must accompany the items sent to the Agency as specified in subsection (e)(3), above of this Section.  One of these items must be the letter from the guarantor’s chief financial officer.  If the guarantor’s parent corporation is also the parent corporation of the owner or operator, the letter must describe the value received in consideration of the guarantee.  If the guarantor is a firm with a “substantial business relationship” with the owner or operator, this letter must describe this substantial business relationship” and the value received in consideration of the guarantee.  The terms of the corporate guarantee must provide that the following:

A)	If That, if the owner or operator fails to perform final closure of a facility covered by the corporate guarantee in accordance with the closure plan and other interim status requirements whenever required to do so, the guarantor will do so or establish a trust fund as specified in subsection (a), above of this Section, in the name of the owner or operator.

B)	The That the corporate guarantee will remain in force unless the guarantor sends notice of cancellation by certified mail to the owner or operator and to the Agency.  Cancellation may not occur, however, during the 120 days beginning on the date of receipt of the notice of cancellation by both the owner or operator and the Agency, as evidenced by the return receipts.

C)	If That, if the owner or operator fails to provide alternate financial assurance as specified in this Section and obtain the written approval of such alternate assurance from the Agency within 90 days after receipt by both the owner or operator and the Agency of a notice of cancellation of the corporate guarantee from the guarantor, the guarantor will provide such alternate financial assurance in the name of the owner or operator.

f)	Use of multiple financial mechanisms.  An owner or operator may satisfy the requirements of this Section by establishing more than one financial mechanism per facility.  These mechanisms are limited to trust funds, surety bonds, letters of credit, and insurance.  The mechanisms must be as specified in subsections (a) through (d), above of this Section, respectively, except that it is the combination of mechanisms, rather than the single mechanism, which that must provide financial assurance for an amount at least equal to the current closure cost estimate.  If an owner or operator uses a trust fund in combination with a surety bond or a letter of credit, the owner or operator may use the trust fund as the standby trust fund for the other mechanisms.  A single standby trust fund may be established for two or more mechanisms.  The Agency may use any or all of the mechanisms to provide for closure of the facility.

g)	Use of a financial mechanism for multiple facilities.  An owner or operator may use a financial assurance mechanism specified in this Section to meet the requirements of this Section for more than one facility.  Evidence of financial assurance submitted to the Agency must include a list showing, for each facility, the USEPA Identification Number, name, address, and the amount of funds for closure assured by the mechanism.  The amount of funds available through the mechanism must be no less than the sum of funds that would be available if a separate mechanism had been established and maintained for each facility.  The amount of funds available to the Agency must be sufficient to close all of the owner or operator’s facilities.  In directing funds available through the mechanism for closure of any of the facilities covered by the mechanism, the Agency may direct only the amount of funds designated for that facility, unless the owner or operator agrees to the use of additional funds available under the mechanism.

h)	Release of the owner or operator from the requirements of this Section.  Within 60 days after receiving certifications from the owner or operator and an independent registered professional engineer that final closure has been completed in accordance with the approved closure plan, the Agency shall must notify the owner or operator in writing that the owner or operator is no longer required by this Section to maintain financial assurance for closure of the facility, unless the Agency determines that closure has not been in accordance with the approved closure plan.  The Agency shall must provide the owner or operator a detailed written statement of any such determination that closure has not been in accordance with the approved closure plan.

i)	Appeal.  The following Agency actions are deemed to be permit modifications or refusals to modify for purposes of appeal to the Board (35 Ill. Adm. Code 702.184(e)(3)):

1)	An increase in, or a refusal to decrease the amount of, a bond, letter of credit, or insurance; or

2)	Requiring alternate assurance upon a finding that an owner or operator, or parent corporation, no longer meets a financial test.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.244	Cost Estimate for Post-closure Post-Closure Care

a)	The owner or operator of a hazardous waste disposal unit shall must have a detailed written estimate, in current dollars, of the annual cost of post-closure monitoring and maintenance of the facility in accordance with the applicable post-closure regulations in Section 725.217 through 725.220, 725.328, 725.358, 725.380, and 725.410.

1)	The post-closure cost estimate must be based on the costs to the owner or operator of hiring a third party to conduct post-closure care activities.  A third party is a party who that is neither a parent nor a subsidiary of the owner or operator.  (See the definition of “parent corporation” in Section 725.241(d).)

2)	The post-closure cost estimate is calculated by multiplying the annual post-closure cost estimate by the number of years of post-closure care required under Section 725.217.

b)	During the active life of the facility, the owner or operator shall must adjust the post-closure cost estimate for inflation within 30 days after each anniversary of the date on which the first post-closure cost estimate was prepared.  The adjustment must be made 60 days prior to the anniversary date of the establishment of the financial instruments used to comply with Section 725.245.  For owners and operators an owner or operator using the financial test or corporate guarantee, the closure cost estimate must be updated for inflation within 30 days after the close of the firm’s fiscal year and before submission of updated information to the Agency as specified in Section 725.245(e)(5).  The adjustment may be made by recalculating the post-closure cost estimate in current dollars, or by using an inflation factor derived from the annual Implicit Price Deflator for Gross National Product as published by the U.S. Department of Commerce in its Survey of Current Business as specified in subsections (b)(1) and (b)(2) of this Section.  The inflation factor is the result of dividing the latest published annual Deflator by the Deflator for the previous year.

1)	The first adjustment is made by multiplying the post-closure estimate by the inflation factor.  The result is the adjusted post-closure cost estimate.

2)	Subsequent adjustments are made by multiplying the latest adjusted post-closure cost estimate by the latest inflation factor.

c)	During the active life of the facility, the owner or operator shall must revise the post-closure cost estimate  whenever a change in the post-closure plan no later than 30 days after a revision to the post-closure plan which that increases the cost of post-closure care.  If the owner or operator has an approved post-closure plan, the post-closure cost estimate must be revised no later than 30 days after the Agency has approved the request to modify the plan if the change in the post-closure plan increases the cost of post-closure care.  The revised post-closure cost estimate must be adjusted for inflation as specified in subsection (b) of this Section.

d)	The owner or operator shall must keep the following at the facility during the operating life of the facility:  the latest post-closure cost estimate prepared in accordance with subsections (a) and (c) of this Section and, when this estimate has been adjusted in accordance with subsection (b) of this Section, the latest adjusted post-closure cost estimate.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.245	Financial Assurance for Post-closure Post-Closure Monitoring and Maintenance

An owner or operator of a facility with a hazardous waste disposal unit shall must establish financial assurance for post-closure care of the disposal unit(s) units.  The owner or operator shall must choose from the following options:

a)	Post-closure trust fund.

1)	An owner or operator may satisfy the requirements of this Section by establishing a post-closure trust fund which that conforms to the requirements of this subsection and submitting an original, signed dulicate duplicate of the trust agreement to the Agency.  The trustee must be an entity which that has the authority to act as a trustee and whose trust operations are regulated and examined by a Federal federal or State agency.

2)	The wording of the trust agreement must be as specified in 35 Ill. Adm. Code 724.251 and the trust agreement must be accompanied by a formal certification of acknowledgment (as specified in 35 Ill. Adm. Code 724.251).  Schedule A of the trust agreement must be updated within 60 days after a change in the amount of the current post-closure cost estimate covered by the agreement.

3)	Payments into the trust fund must be made annually by the owner or operator over the 20 years beginning May 19, 1981, or over the remaining operating life of the facility as estimated in the closure plan, whichever period is shorter; this period is hereafter referred to as the “pay-in period.” The payments into the post-closure trust fund must be made as follows:

A)	The first payment must be have been made before May 19, 1981, except as provided in subsection (a)(5), above of this Section.  The first payment must be at least equal to the current post-closure cost estimate, except as provided in subsection (f), above of this Section, divided by the number of years in the pay-in period.

B)	Subsequent payments must be made no later than 30 days after each anniversary date of the first payment.  The amount of each subsequent payment must be determined by this formula:

Next payment = (CE - CV) / Y

Next Payment=CE−CVY

where CE is the current closure cost estimate, CV is the current value of the trust fund and Y is the number of years remaining in the pay-in period.

where

CE is the current closure cost estimate,

CV is the current value of the trust fund, and

Y is the number of years remaining in the pay-in period.

4)	The owner or operator may accelerate payments into the trust fund or may deposit the full amount of the current post-closure cost estimate at the time the fund is established.  However, the owner or operator shall must maintain the value of the fund at no less than the value that the fund would have if annual payments were made as specified in subsection (a)(3), above of this Section.

5)	If the owner or operator establishes a post-closure trust fund after having used one or more alternate mechanisms specified in this Section, the owner or operator’s first payment must be in at least the amount that the fund would contain if the trust fund were established initially and annual payments made as specified in subsection (a)(3), above of this Section.

6)	After the pay-in period is completed, whenever the current post-closure cost estimate changes during the operating life of the facility, the owner or operator shall must compare the new estimate with the trustee’s most recent annual valuation of the trust fund.  If the value of the fund is less than the amount of the new estimate, the owner or operator, within 60 days after the change in the cost estimate, shall must either deposit an amount into the fund so that its value after this deposit at least equals the amount of the current post-closure cost estimate, or obtain other financial assurance as specified in this Section to cover the difference.

7)	During the operating life of the facility, if the value of the trust fund is greater than the total amount of the current post-closure cost estimate, the owner or operator may submit a written request to the Agency for release of the amount in excess of the current post-closure cost estimate.

8)	If an owner or operator substitutes other financial assurance as specified in this Section for all or part of the trust fund, owner or operator may submit a written request to the Agency for release of the amount in excess of the current post-closure cost estimate covered by the trust fund.

9)	Within 60 days after receiving a request from the owner or operator for release of funds as specified in subsections subsection (a)(7) or (a)(8), above of this Section, the Agency shall must instruct the trustee to release to the owner or operator such funds as the Agency specifies in writing.

10)	During the period of post-closure care, the Agency shall must approve a release of funds if the owner or operator demonstrates to the Agency that the value of the trust fund exceeds the remaining cost of post-closure care.

11)	An owner or operator or any other person authorized to perform post-closure care may request reimbursement for post-closure care expenditures by submitting itemized bills to the Agency.  Within 60 days after receiving bills for post-closure activities, the Agency shall must instruct the trustee to make reimbursement in those amounts as the Agency specifies in writing if the Agency determines that the post-closure care expenditures are in accordance with the approved post-closure plan or otherwise justified.  If the Agency does not instruct the trustee to make such reimbursements, the Agency shall must provide the owner or operator with a detailed written statement of reasons.

12)	The Agency shall must agree to termination of a trust when either of the following occurs:

A)	An owner or operator substitutes alternate financial assurance, as specified in this Section; or

B)	The Agency releases the owner or operator from the requirements of this Section in accordance with subsection (h), below of this Section.

b)	Surety bond guaranteeing payment into a post-closure trust fund.

1)	An owner or operator may satisfy the requirements of this Section by obtaining a surety bond which that conforms to the requirements of this subsection (b) and submitting the bond to the Agency.  The surety company issuing the bond must, at a minimum, be among those listed as acceptable sureties on Federal bonds in Circular 570 of the U.S. Department of the Treasury.

2)	The wording of the surety bond must be as specified in 35 Ill. Adm. Code 724.251.

3)	The owner or operator who that uses a surety bond to satisfy the requirements of this Section shall must also establish a standby trust fund.  Under the terms of the bond, all payments made thereunder will be deposited by the surety directly into the standby trust fund in accordance with instructions from the Agency.  This standby trust fund must meet the requirements specified in subsection (a), above of this Section, except that as follows:

A)	An original, signed duplicate of the trust agreement must be submitted to the Agency with the surety bond; and

B)	Until the standby trust fund is funded pursuant to the requirements of this Section, the following are not required by these regulations:

i)	Payments into the trust fund, as specified in subsection (a), above of this Section;

ii)	Updating of Schedule A of the trust agreement (as specified in 35 Ill. Adm. Code 724.251) to show current post-closure cost estimates;

iii)	Annual valuations, as required by the trust agreement; and

iv)	Notices of nonpayment, as required by the trust agreement.

4)	The bond must guarantee that the owner or operator will perform the following acts:

A)	Fund the standby trust fund in an amount equal to the penal sum of the bond before the beginning of final closure of the facility; or

B)	Fund the standby trust fund in an amount equal to the penal sum within 15 days after an order to begin closure is issued by the Board or a U.S. district court or other court of competent jurisdiction; or

C)	Provide alternate financial assurance, as specified in this Section, and obtain the Agency’s written approval of the assurance provided, within 90 days after receipt by both the owner or operator and the Agency of a notice of cancellation of the bond from the surety.

5)	Under the terms of the bond, the surety will become liable on the bond obligation when the owner or operator fails to perform as guaranteed by the bond.

6)	The penal sum of the bond must be in an amount at least equal to the current post-closure cost estimate, except as provided in subsection (f), above of this Section.

7)	Whenever the current post-closure cost estimate increases to an amount greater than the penal sum, the owner or operator, within 60 days after the increase, shall must either cause the penal sum to be increased to an amount at least equal to the current post-closure cost estimate and submit evidence of such increase to the Agency or obtain other financial assurance as specified in this Section to cover the increase.  Whenever the current post-closure cost estimate decreases, the penal sum may be reduced to the amount of the current post-closure cost estimate following written approval by the Agency.

8)	Under the terms of the bond, the surety may cancel the bond by sending notice of cancellation by certified mail to the owner or operator and to the Agency.  Cancellation may not occur, however, during the 120 days beginning on the date of receipt of the notice of cancellation by both the owner or operator and the Agency, as evidenced by the return receipts.

9)	The owner or operator may cancel the bond if the Agency has given prior written consent based on its receipt of evidence of alternate financial assurance as specified in this Section.

c)	Post-closure letter of credit.

1)	An owner or operator may satisfy the requirements of this Section by obtaining an irrevocable standby letter of credit which that conforms to the requirements of this subsection (c) and submitting the letter to the Agency.  The issuing institution shall must be an entity which that has the authority to issue letters of credit and whose letter-of-credit operations are regulated and examined by a Federal federal or State agency.

2)	The wording of the letter of credit must be as specified in 35 Ill. Adm. Code 724.251.

3)	An owner or operator who that uses a letter of credit to satisfy the requirements of this Section shall must also establish a standby trust fund.  Under the terms of the letter of credit, all amounts paid pursuant to a draft by the Agency will must be deposited by the issuing institution directly into the standby trust fund in accordance with instructions from the Agency.  This standby trust fund must meet the requirements of the trust fund specified in subsection (a), above of this Section, except that as follows:

A)	An original, signed duplicate of the trust agreement must be submitted to the Agency with the letter of credit; and

B)	Unless the standby trust fund is funded pursuant to the requirements of this Section, the following are not required by these regulations:

i)	Payments into the trust fund, as specified in subsection (a), above of this Section;

ii)	Updating of Schedule A of the trust agreement (as specified in 35 Ill. Adm. Code 724.151) to show current post-closure cost estimates;

iii)	Annual valuations, as required by the trust agreement; and

iv)	Notices of nonpayment, as required by the trust agreement.

4)	The letter of credit must be accompanied by a letter from the owner or operator referring to the letter of credit by number, issuing institution, and date and providing the following information:  the USEPA Identification Number identification number, name, and address of the facility, and the amount of funds assured for post-closure care of the facility by the letter of credit.

5)	The letter of credit must be irrevocable and issued for a period of at least 1 one year.  The letter of credit must provide that the expiration date will be automatically extended for a period of at least 1 one year unless, at least 120 days before the current expiration date, the issuing institution notifies both the owner or operator and the Agency by certified mail of a decision not to extend the expiration date.  Under the terms of the letter of credit, the 120 days will begin on the date when both the owner or operator and the Agency have received the notice, as evidenced by the return receipts.

6)	The letter of credit must be issued in an amount at least equal to the current post-closure cost estimate, except as provided in subsection (f), above of this Section.

7)	Whenever the current post-closure cost estimate increases to an amount greater than the amount of the credit during the operating life of the facility, the owner or operator, within 60 days after the increase, shall must either cause the amount of the credit to be increased so that it at least equals the current post-closure cost estimate and submit evidence of such increase to the Agency, or obtain other financial assurance, as specified in this Section, to cover the increase.  Whenever the current cost estimate decreases during the operating life of the facility, the amount of the credit may be reduced to the amount of the current post-closure cost estimate following written approval by the Agency.

8)	During the period of post-closure care, the Agency shall must approve a decrease in the amount of the letter of credit if the owner or operator demonstrates to the Agency that the amount exceeds the remaining cost of post-closure care.

9)	Following a final judicial determination or Board order finding that the owner or operator has failed to perform post-closure care in accordance with the approved post-closure plan and other interim status requirements, the Agency may draw on the letter of credit.

10)	If the owner or operator does not establish alternate financial assurance, as specified in this Section, and obtain written approval of such alternate assurance from the Agency within 90 days after receipt by both the owner or operator and the Agency of a notice from the issuing institution that it has decided not to extend the letter of credit beyond the current expiration date, the Agency shall must draw on the letter of credit.  The Agency may delay the drawing if the issuing institution grants an extension of the term of the credit.  During the last 30 days of any such extension the Agency shall must draw on the letter of credit if the owner or operator has failed to provide alternate financial assurance, as specified in this Section, and obtain written approval of such assurance from the Agency.

11)	The Agency shall must return the letter of credit to the issuing institution for termination when either of the following occurs:

A)	An owner or operator substitutes alternate financial assurance, as specified in this Section; or

B)	The Agency releases the owner of or operator from the requirements of this Section in accordance with subsection (h), below of this Section.

d)	Post-closure insurance.

1)	An owner or operator may satisfy the requirements of this Section by obtaining post-closure insurance which that conforms to the requirements of this subsection and submitting a certificate of such insurance to the Agency.  At a minimum, the insurer shall must be licensed to transact the business of insurance, or eligible to provide insurance as an excess or surplus lines insurer, in one or more states.

2)	The wording of the certificate of insurance must be as specified in 35 Ill. Adm. Code 724.251.

3)	The post-closure insurance policy must be issued for a face amount at least equal to the current post-closure estimate, except as provided in subsection (f), below of this Section.  The term “face amount” means the total amount the insurer is obligated to pay under the policy.  Actual payments by the insurer’s will not change the face amount, although the insurer’s future liability will be lowered by the amount of the payments.

4)	The post-closure insurance policy must guarantee that funds will be available to provide post-closure care of facility whenever the post-closure period begins.  The policy must also guarantee that, once post-closure care begins, the insurer will be responsible for paying out funds, up to an amount equal to the face amount of the policy, upon the direction of the Agency, to such party or parties as the Agency specifies.

5)	An owner or operator or any other person authorized to perform post-closure care may request reimbursement for post-closure care expenditures by submitting itemized bills to the Agency.  Within 60 days after receiving bills for post-closure activities, the Agency shall must instruct the insurer to make reimbursement in such amounts as the Agency specifies in writing, if the Agency determines that the post-closure care expenditures are in accordance with the approved post-closure plan or otherwise justified.  If the Agency does not instruct the insurer to make such reimbursements, the Agency shall must provide the owner or operator with a detailed written statement of reasons.

6)	The owner or operator shall must maintain the policy in full force and effect until the Agency consents to termination of the policy by the owner or operator, as specified in subsection (d)(11), below of this Section.  Failure to pay the premium, without substitution of alternate financial assurance, as specified in this Section, will constitute a significant violation of these regulations, warranting such remedy as the Board may impose pursuant to the Environmental Protection Act.  Such violation will be deemed to begin upon receipt by the Agency of a notice of future cancellation, termination, or failure to renew due to nonpayment of the premium, rather than upon the date of expiration.

7)	Each policy must contain a provision allowing assignment of the policy to a successor owner or operator.  Such assignment may be conditional upon consent of the insurer, provided such consent is not unreasonably refused.

8)	The policy must provide that the insurer may not cancel, terminate, or fail to renew the policy except for failure to pay the premium.  The automatic renewal of the policy must, at a minimum, provide the insured with the option of renewal at the face amount of the expiring policy.  If there is a failure to pay the premium, the insurer may elect to cancel, terminate, or fail to renew the policy by sending notice by certified mail to the owner or operator and the Agency.  Cancellation, termination, or failure to renew may not occur, however, during the 120 days beginning with the date of receipt of the notice by both the Agency and the owner or operator, as evidenced by the return receipts.  Cancellation, termination, or failure to renew may not occur, and the policy will remain in full force and effect in the event that on or before the date of expiration one of the following occurs:

A)	The Agency deems the facility abandoned; or

B)	Interim status is terminated or revoked; or

C)	Closure is ordered by the Board or a U.S. district court or other court of competent jurisdiction; or

D)	The owner or operator is named as debtor in a voluntary or involuntary proceeding under 11 U.S.C. (Bankruptcy); or

E)	The premium due is paid.

9)	Whenever the current post-closure cost estimate increases to an amount greater than the face amount of the policy during the operating life of the facility, the owner or operator, within 60 days after the increase, shall must either cause the face amount to be increased to an amount at least equal to the current post-closure cost estimate and submit evidence of such increase to the Agency, or obtain other financial assurance, as specified in this Section, to cover the increase.  Whenever the current post-closure cost estimate decreases during the operating life of the facility, the face amount may be reduced to the amount of the current post-closure cost estimate following written approval by the Agency.

10)	Commencing on the date that liability to make payments pursuant to the policy accrues, the insurer shall must thereafter annually increase the face amount of the policy.  Such increase must be equivalent to the face amount of the policy, less any payments made, multiplied by an amount equivalent to 85 percent of the most recent investment rate or of the equivalent coupon-issue yield announced by the U.S. Treasury for 26-week Treasury securities.

11)	The Agency shall must give written consent to the owner or operator that the owner or operator may terminate the insurance policy when either of the following occurs:

A)	An owner or operator substitutes alternate financial assurance, as specified in this Section; or

B)	The Agency releases the owner or operator from the requirements of this Section in accordance with subsection (h), below of this Section.

e)	Financial test and corporate guarantee for post-closure care.

1)	An owner or operator may satisfy the requirements of this Section by demonstrating that the owner or operator passes a financial test, as specified in this subsection (e).  To pass this test the owner or operator shall must meet the criteria of either subsection (e)(1)(A) or (e)(1)(B), below of this Section:

A)	The owner or operator shall must have each of the following:

i)	Two of the following three ratios:  a ratio of total liabilities to net worth less than 2.0; a ratio of the sum of net income plus depreciation, depletion and amortization to total liabilities greater than 0.1; and a ratio of current assets to current liabilities greater than 1.5; and

ii)	Net working capital and tangible net worth each at least six times the sum of the current closure and post-closure cost estimates and the current plugging and abandonment cost estimates; and

iii)	Tangible new worth of at least $10 million; and

iv)	Assets in the United States amounting to at least 90 percent of total assets or at least six times the sum of the current closure and post-closure cost estimates and the plugging and abandonment cost estimates.

B)	The owner or operator shall must have each of the following:

i)	A current rating for its most recent bond issuance of AAA, AA, A, or BBB, as issued by Standard and Poor’s, or Aaa, Aa, A, or Baa, as issued by Moody’s; and

ii)	Tangible net worth at least six times the sum of the current closure and post-closure cost estimates and the current plugging and abandonment cost estimates; and

iii)	Tangible net worth of at least $10 million; and

iv)	Assets located in the United States amounting to at least 90 percent of its total assets or at least six times the sum of the current closure and post-closure cost estimates and the current plugging and abandonment cost estimates.

2)	The phrase “current closure and post-closure cost estimates,” as used in subsection (e)(1), above of this Section, refers to the cost estimates required to be shown in subsections 1 through 4 of the letter from the owner’s or operator’s chief financial officer (40 CFR 264.151(f)), (incorporated by reference in 35 Ill. Adm. Code 724.251).  The phrases “current plugging and abandonment cost estimates” as used in subsection (e)(1), above of this Section, refers to the cost estimates required to be shown in subsections 1 through 4 of the letter from the owner’s or operator’s chief financial officer (40 CFR 144.70(f)), incorporated by reference in 35 Ill. Adm. Code 704.240).

3)	To demonstrate that it meets this test, the owner or operator shall must submit each of the following items to the Agency:

A)	A letter signed by the owner’s or operator’s chief financial officer and worded, as specified in 35 Ill. Adm. Code 724.251; and

B)	A copy of the independent certified public accountant’s report on examination of the owner’s or operator’s financial statements for the latest completed fiscal year; and

C)	A special report from the owner’s or operator’s independent certified public accountant to the owner or operator stating that both of the following:

i)	The That the accountant has compared the data which that the letter from the chief financial officer specifies as having been derived from the independently audited, year-end financial statements for the latest fiscal year with the amounts in such financial statements; and

ii)	In connection with that procedure, that no matters came to the accountant’s attention which that caused the accountant to believe that the specified data should be adjusted.

4)	This subsection (e)(4) corresponds with 40 CFR 265.143(e)(4), a federal provision relating to an extension of the time to file the proofs of financial assurance required by this subsection (e) granted by USEPA.  This statement maintains structural consistency with the corresponding federal regulations.

5)	After the initial submission of items specified in subsection (e)(3), above, of this Section, the owner or operator shall must send updated information to the Agency within 90 days after the close of each succeeding fiscal year.  This information must consist of all three items specified in subsection (e)(3), above of this Section.

6)	If the owner or operator no longer meets the requirements of subsection (e)(1), above of this Section, the owner or operator shall must send notice to the Agency of intent to establish alternate financial assurance, as specified in this Section.  The notice must be sent by certified mail within 90 days after the end of the fiscal year for which the year-end financial data show that the owner or operator no longer meets the requirements.  The owner or operator shall must provide the alternate financial assurance within 120 days after the end of such fiscal year.

7)	The Agency may, based on a reasonable belief that the owner or operator may no longer meet the requirements of subsection (e)(1), above of this Section, require reports of financial condition at any time from the owner or operator in addition to those specified in subsection (e)(3), above of this Section.  If the Agency finds, on the basis of such reports or other information, that the owner or operator no longer meets the requirements of subsection (e)(1), above of this Section, the owner or operator shall must provide alternate financial assurance, as specified in this Section, within 30 days after notification of such a finding.

8)	The Agency may disallow use of this test on the basis of qualifications in the opinion expressed by the independent certified public accountant in the accountant’s report on examination of the owner’s or operator’s financial statements (see subsection (e)(3)(B), above of this Section).  An adverse opinion or a disclaimer of opinion will be cause for disallowance.  The Agency shall must evaluate other qualifications on an individual basis.  The owner or operator shall must provide alternate financial assurance, as specified in this Section, within 30 days after notification of the disallowance.

9)	During the period of post-closure care, the Agency shall must approve a decrease in the current post-closure cost estimate for which this test demonstrates financial assurance if the owner or operator demonstrates to the Agency that the amount of the cost estimate exceeds the remaining cost of post-closure care.

10)	The owner or operator is no longer required to submit the items specified in subsection (e)(3), above of this Section when either of the following occurs:

A)	An owner or operator substitutes alternate financial assurance, as specified in this Section; or

B)	The Agency releases the owner or operator from the requirements of this Section in accordance with subsection (h), below of this Section.

11)	An owner or operator may meet the requirements of this Section by obtaining a written guarantee, hereafter referred to as “corporate guarantee.”  The guarantor shall must be the direct or higher-tier parent corporation of the owner or operator, a firm whose parent corporation is also the parent corporation of the owner or opeartor operator, or a firm with a “substantial business relationship” with the owner or operator.  The guarantor shall must meet the requirements for owners or operators in subsections (e)(1) through (e)(9), above of this Section, and shall must comply with the terms of the corporate guarantee.  The wording of the corporate guarantee must be identical to the wording specified in 35 Ill. Adm. Code 724.251.  The corporate guarantee must accompany the items sent to the Agency as specified in subsection (e)(3), above of this Section.  One of these items must be the letter from the guarantor’s chief financial officer.  If the guarantor’s parent corporation is also the parent corporation of the owner or operator, the letter must describe the value received in consideration of the guarantee.  If the guarantor is a firm with a “substantial business relationship” with the owner or operator, this letter must describe this substantial business relationship” and the value received in consideration of the guarantee.  The terms of the corporate guarantee must provide that as follows:

A)	If That, if the owner or operator fails to perform post-closure care of a facility covered by the corporate guarantee in accordance with the post-closure plan and other interim status requirements whenever required to do so, the guarantor will do so or establish a trust fund as specified in subsection (a), above of this Section, in the name of the owner or operator.

B)	The That the corporate guarantee will remain in force unless the guarantor sends notice of cancellation by certified mail to the owner or operator and to the Agency.  Cancellation may not occur, however, during the 120 days beginning on the date of receipt of the notice of cancellation by both the owner or operator and the Agency, as evidenced by the return receipts.

C)	If That, if the owner or operator fails to provide alternate financial assurance, as specified in this Section, and obtain the written approval of such alternate assurance from the Agency within 90 days after receipt by both the owner or operator and the Agency of a notice of cancellation of the corporate guarantee from the guarantor, the guarantor will provide such alternate financial assurance in the name of the owner or operator.

f)	Use of multiple financial mechanisms.  An owner or operator may satisfy the requirements of this Section by establishing more than one financial mechanism per facility.  These mechanisms are limited to trust funds, surety bonds, letters of credit, and insurance.  The mechanisms must be as specified in subsections (a) through (d), above of this Section, respectively, except that it is the combination of mechanisms, rather than the single mechanism, which that must provide financial assurance for an amount at least equal to the current post-closure cost estimate.  If an owner or operator uses a trust fund in combination with a surety bond or a letter of credit, it may use the trust fund as the standby trust fund for the other mechanisms.  A single standby trust fund may be established for two or more mechanisms.  The Agency may use any or all of the mechanisms to provide for post-closure care of the facility.

g)	Use of a financial mechanism for multiple facilities.  An owner or operator may use a financial assurance mechanism specified in this Section to meet the requirements of this Section for more than one facility.  Evidence of financial assurance submitted to the Agency must include a list showing, for each facility, the USEPA Identification Number, name, address, and the amount of funds for post-closure care assured by the mechanism.  The amount of funds available through the mechanism must be no less than the sum of funds that would be available if a separate mechanism had been established and maintained for each facility.  The amount of funds available to the Agency must be sufficient to provide post-closure care for all of the owner or operator’s facilities.  In directing funds available through the mechanism for post-closure care of any of the facilities covered by the mechanism, the Agency may direct only the amount of funds designated for that facility, unless the owner or operator agrees to the use of additional funds available under the mechanism.

h)	Release of the owner or operator from the requirements of this Section.  Within 60 days after receiving certifications from the owner or operator and an independent registered professional engineer that the post-closure care period has been completed in accordance with the approved post-closure plan, the Agency shall must notify the owner or operator in writing that the owner or operator is no longer required by this Section to maintain financial assurance for post-closure care of that unit, unless the Agency determines that post-closure care has not been in accordance with the approved post-closure plan.  The Agency shall must provide the owner or operator a detailed written statement of any such determination that post-closure care has not been in accordance with the approved post-closure plan.

ji)	Appeal.  The following Agency actions are deemed to be permit modifications or refusals to modify for purposes of appeal to the Board (35 Ill. Adm. Code 702.184(e)(3)):

1)	An increase in, or a refusal to decrease the amount of, a bond, letter of credit, or insurance; or

2)	Requiring alternate assurance upon a finding that an owner or operator, or parent corporation, no longer meets a financial test.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.246	Use of a Mechanism for Financial Assurance of Both Closure and Post-closure Post-Closure Care

An owner or operator may satisfy the requirements for financial assurance for both closure and post-closure care for one or more facilities by using a trust fund, surety bond, letter of credit, insurance, financial test, or corporate guarantee that meets the specifications for the mechanism in both Sections 725.243 and 725.245.  The amount of funds available through the mechanism must be no less than the sum of funds that would be available if a separate mechanism had been established and maintained for financial assurance of closure and of post-closure care.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.247	Liability Requirements

a)	Coverage for sudden accidental occurrences.  An owner or operator of a hazardous waste treatment, storage, or disposal facility, or a group of such facilities, shall must demonstrate financial responsibility for bodily injury and property damage to third parties caused by sudden accidental occurrences arising from operations of the facility or group of facilities.  The owner or operator shall must have and maintain liability coverage for sudden accidental occurrences in the amount of at least $1 million per occurrence with an annual aggregate of at least $2 million, exclusive of legal defense costs.  This liability coverage may be demonstrated, as specified in subsections (a)(1), (2), (3), (4), (5) and through (a)(6) below of this Section:

1)	An owner or operator may demonstrate the required liability coverage by having liability insurance, as specified in this subsection (a)(1).

A)	Each insurance policy must be amended by attachment of the Hazardous Waste Facility Liability Endorsement or evidenced by a Certificate of Liability Insurance.  The wording of the endorsement must be as specified in 35 Ill. Adm. Code 724.251.  The wording of the certificate of insurance must be as specified in 35 Ill. Adm. Code 724.251.  The owner or operator shall must submit a signed duplicate original of the endorsement or the certificate of insurance to the Agency.  If requested by the Agency, the owner or operator shall must provide a signed duplicate original of the insurance policy.

B)	Each insurance policy must be issued by an insurer which that is licensed by the Illinois Department of Insurance.

2)	An owner or operator may meet the requirements of this Section by passing a financial test or using the guarantee for liability coverage, as specified in subsections (f) and (g) below of this Section.

3)	An owner or operator may meet the requirements of this Section by obtaining a letter of credit for liability coverage, as specified in subsection (h) below of this Section.

4)	An owner or operator may meet the requirements of this Section by obtaining a surety bond for liability coverage, as specified in subsection (i) below of this Section.

5)	An owner or operator may meet the requirements of this Section by obtaining a trust fund for liability coverage, as specified in subsection (j) below of this Section.

6)	An owner or operator may demonstrate the required liability coverage through the use of combinations of insurance, financial test, guarantee, letter of credit, surety bond, and trust fund, except that the owner or operator may not combine a financial test covering part of the liability coverage requirement with a guarantee unless the financial statement of the owner or operator is not consolidated with the financial statement of the guarantor.  The amounts of coverage demonstrated must total at least the minimum amounts required by this Section.  If the owner or operator demonstrates the required coverage through the use of a combination of financial assurances under this subsection, the owner or operator shall must specify at least one such assurance as “primary” coverage, and shall must specify other such assurance as “excess” coverage.

7)	An owner or operator shall must notify the Agency within 30 days whenever one of the following occurs:

A)	A claim results in a reduction in the amount of financial assurance for liability coverage provided by a financial instrument authorized in subsections (a)(1) through (a)(6) above. of this Section;

B)	A Certification of Valid Claim for bodily injury or property damages caused by sudden or non-sudden accidental occurrence arising from the operation of a hazardous waste treatment, storage, or disposal facility is entered between the owner or operator and third-party claimant for liability coverage under subsections (a)(1) through (a)(6) above of this Section; or

C)	A final court order establishing a judgement for bodily injury or property damage caused by a sudden or non-sudden accidental occurrence arising from the operation of a hazardous waste treatment, storage, or disposal facility is issued against the owner or operator or an instrument that is providing financial assurance for liability coverage under subsections (a)(1) through (a)(6) above of this Section.

b)	Coverage for nonsudden accidental occurrences.  An owner or operator of a surface impoundment, landfill, or land treatment facility which that is used to manage hazardous waste, or a group of such facilities, shall must demonstrate financial responsibility for bodily injury and property damage to third parties caused by nonsudden accidental occurrences arising from operations of the facility or group of facilities.  The owner or operator shall must have and maintain liability coverage for nonsudden accidental occurrences in the amount of at least $3 million per occurrence with an annual aggregate of at least $6 million, exclusive of legal defense costs.  An owner or operator meeting the requirements of this Section may combine the required per-occurrence coverage levels for sudden and nonsudden accidental occurrences into a single per-occurrence level, and combine the required annual aggregate coverage levels for sudden and nonsudden accidental occurrences into a single annual aggregate level.  Owners or operators who An owner or operator that combine coverage levels for sudden and nonsudden accidental occurrences shall must maintain liability coverage in the amount of at least $4 million per occurrence and $8 million annual aggregate.  This liability coverage may be demonstrated, as specified in subsections (b)(1), (2), (3), (4), (5) and (6) below through (b)(6) of this Section:

1)	An owner or operator may demonstrate the required liability coverage by having liability insurance, as specified in this subsection (b)(1).

A)	Each insurance policy must be amended by attachment of the Hazardous Waste Facility Liability Endorsement or evidenced by a Certificate of Liability Insurance.  The wording of the endorsement must be as specified in 35 Ill. Adm. Code 724.251.  The wording of the certificate of insurance must be as specified in 35 Ill. Adm. Code 724.251.  The owner or operator shall must submit a signed duplicate original of the endorsement or the certificate of insurance to the Agency.  If requested by the Agency, the owner or operator shall must provide a signed duplicate original of the insurance policy.

B)	Each insurance policy must be issued by an insurer which that is licensed by the Illinois Department of Insurance.

2)	An owner or operator may meet the requirements of this Section by passing a financial test or using the guarantee for liability coverage, as specified in subsections (f) and (g) below of this Section.

3)	An owner or operator may meet the requirements of this Section by obtaining a letter of credit for liability coverage, as specified in subsection (h) below of this Section.

4)	An owner or operator may meet the requirements of this Section by obtaining a surety bond for liability coverage, as specified in subsection (i) below of this Section.

5)	An owner or operator may meet the requirements of this Section by obtaining a trust fund for liability coverage, as specified in subsection (j) below of this Section.

6)	An owner or operator may demonstrate the required liability coverage through the use of combinations of insurance, financial test, guarantee, letter of credit, surety bond, and trust fund, except that the owner or operator may not combine a financial test covering part of the liability coverage requirement with a guarantee unless the financial statement of the owner or operator is not consolidated with the financial statement of the guarantor.  The amounts of coverage demonstrated must total at least the minimum amounts required by this Section.  If the owner or operator demonstrates the required coverage through the use of a combination of financial assurances under this subsection, the owner or operator shall must specify at least one such assurance as “primary” coverage, and shall must specify other such assurance as “excess” coverage.

7)	An owner or operator shall must notify the Agency within 30 days whenever one of the following occurs:

A)	A claim results in a reduction in the amount of financial assurance for liability coverage provided by a financial instrument authorized in subsections (b)(1) through (b)(6) above. of this Section;

B)	A Certification of Valid Claim for bodily injury or property damages caused by sudden or non-sudden accidental occurrence arising from the operation of a hazardous waste treatment, storage, or disposal facility is entered between the owner or operator and third-party claimant for liability coverage under subsections (b)(1) through (b)(6) above of this Section; or

C)	A final court order establishing a judgement judgment for bodily injury or property damage caused by a sudden or non-sudden accidental occurrence arising from the operation of a hazardous waste treatment, storage, or disposal facility is issued against the owner or operator or an instrument that is providing financial assurance for liability coverage under subsections (b)(1) through (b)(6) above of this Section.

c)	Request for adjusted level of required liability coverage.  If an owner or operator demonstrates to the Agency that the levels of financial responsibility required by subsections (a) or (b) above of this Section are not consistent with the degree and duration of risk associated with treatment, storage, or disposal at the facility or group of facilities, the owner or operator may obtain an adjusted level of required liability coverage from the Agency.  The request for an adjusted level of required liability coverage must be submitted in writing to the Agency.  If granted, the Agency’s action shall must take the form of an adjusted level of required liability coverage, such level to be based on the Agency assessment of the degree and duration of risk associated with the ownership or operation of the facility or group of facilities.  The Agency may require an owner or operator who that requests an adjusted level of required liability coverage to provide such technical and engineering information as is necessary to determine a level of financial responsibility other than that required by subsection (a) or (b) above of this Section.  The Agency shall must process any request for an adjusted level of required liability coverage as if it were a permit modification request under 35 Ill. Adm. Code 703.271(e)(3) and 705.128.  Notwithstanding any other provision, the Agency shall must hold a public hearing whenever it finds, on the basis of requests, a significant degree of public interest in a tentative decision to grant an adjusted level of required liability insurance.  The Agency may also hold a public hearing at its discretion whenever such a hearing might clarify one or more issues involved in the tentative decision.

d)	Adjustments by the Agency.  If the Agency determines that the levels of financial responsibility required by subsection (a) or (b) above of this Section are not consistent with the degree and duration of risk associated with treatment, storage, or disposal at the facility or group of facilities, the Agency shall must adjust the level of financial responsibility required under subsection (a) or (b) above of this Section as may be necessary to protect human health and the environment.  This adjusted level must be based on the Agency’s assessment of the degree and duration of risk associated with the ownership or operation of the facility or group of facilities.  In addition, if the Agency determines that there is a significant risk to human health and the environment from nonsudden accidental occurrences resulting from the operations of a facility that is not a surface impoundment, landfill or land treatment facility, the Agency may require that an owner or operator of the facility comply with subsection (b) above of this Section.  An owner or operator shall must furnish to the Agency, within a time specified by the Agency in the request, which shall must not be less than 30 days, any information which that the Agency requests to determine whether cause exists for such adjustments of level or type of coverage.  The Agency shall must process any request for an adjusted level of required liability coverage as if it were a permit modification request under 35 Ill. Adm. Code 703.271(e)(3) and 705.128.  Notwithstanding any other provision, the Agency shall must hold a public hearing whenever it finds, on the basis of requests, a significant degree of public interest in a tentative decision to grant an adjusted level of required liability insurance.  The Agency may also hold a public hearing at its discretion whenever such a hearing might clarify one or more issues involved in the tentative decision.

e)	Period of coverage.  Within 60 days after receiving certifications from the owner or operator and an independent registered professional engineer that final closure has been completed in accordance with the approved closure plan, the Agency shall must notify the owner or operator in writing that the owner or operator is no longer required by this Section to maintain liability coverage for that facility, unless the Agency determines that closure has not been in accordance with the approved closure plan.

f)	Financial test for liability coverage.

1)	An owner or operator may satisfy the requirements of this Section by demonstrating that the owner or operator passes a financial test, as specified in this subsection (f)(1).  To pass this test the owner or operator shall must meet the criteria of subsection (f)(1)(A) or (f)(1)(B) below of this Section:

A)	The owner or operator shall must have each of the following:

i)	Net working capital and tangible net worth each at least six times the amount of liability coverage to be demonstrated by this test; and

ii)	Tangible net worth of at least $10 million; and

iii)	Assets in the United States amounting to either:  at least 90 percent of total assets; or at least six times the amount of liability coverage to be demonstrated by this test.

B)	The owner or operator shall must have each of the following:

i)	A current rating for the owner or operator’s most recent bond issuance of AAA, AA, A, or BBB, as issued by Standard and Poor’s, or Aaa, Aa, A, or Baa, as issued by Moody’s; and

ii)	Tangible net worth of at least $10 million; and

iii)	Tangible net worth at least six times the amount of liability coverage to be demonstrated by this test; and

iv)	Assets in the United States amounting to either of the following:  at least 90 percent of total assets; or at least six times the amount of liability coverage to be demonstrated by this test.

2)	The phrase “amount of liability coverage,” as used in subsection (f)(1) above of this Section, refers to the annual aggregate amounts for which coverage is required under subsections (a) and (b) above of this Section.

3)	To demonstrate that the owner or operator meets this test, the owner or operator shall must submit each of the following three items to the Agency:

A)	A letter signed by the owner’s or operator’s chief financial officer and worded as specified in 35 Ill. Adm. Code 724.251.  If an owner or operator is using the financial test to demonstrate both assurance for closure or post-closure care, as specified by 35 Ill. Adm. Code 724.243(f) and 724.245(f), or by Sections 725.243(e) and 725.245(e), and liability coverage, it shall must submit the letter specified in 35 Ill. Adm. Code 724.251 to cover both forms of financial responsibility; a separate letter, as specified in 35 Ill. Adm. Code 724.251 is not required.

B)	A copy of the independent certified public accountant’s report on examination of the owner’s or operator’s financial statements for the latest completed fiscal year.

C)	A special report from the owner’s or operator’s independent certified public accountant to the owner or operator stating that as follows:

i)	The That the accountant has compared the data which that the letter from the chief financial officer specifies as having been derived from the independently audited, year-end financial statements for the latest fiscal year with the amounts in such financial statements; and

ii)	In connection with that procedure, that no matters came to the accountant’s attention which that caused the accountant to believe that the specified data should be adjusted.

5)	After the initial submission of items specified in subsection (f)(3) above of this Section, the owner or operator shall must send updated information to the Agency within 90 days after the close of each succeeding fiscal year.  This information must consist of all three items specified in subsection (f)(3) above of this Section.

6)	If the owner or operator no longer meets the requirements of subsection (f)(1) above of this Section, the owner or operator shall must obtain insurance, a letter of credit, a surety bond, a trust fund, or a guarantee for the entire amount of required liability coverage, as specified in this Section.  Evidence of insurance must be submitted to the Agency within 90 days after the end of the fiscal year for which the year-end financial data show that the owner or operator no longer meets the test requirements.

7)	The Agency may disallow use of this test on the basis of qualifications in the opinion expressed by the independent certified public accountant in the accountant’s report on examination of the owner’s or operator’s financial statements (see subsection (f)(3)(B) above of this Section).  An adverse opinion or a disclaimer of opinion is cause for disallowance.  The Agency shall must evaluate other qualifications on an individual basis.  The owner or operator shall must provide evidence of insurance for the entire amount of required liability coverage, as specified in this Section, within 30 days after notification of disallowance.

g)	Guarantee for liability coverage.

1)	Subject to subsection (g)(2) below of this Section, an owner or operator may meet the requirements of this Section by obtaining a written guarantee, referred to as a “guarantee.” The guarantor shall must be the direct or higher-tier parent corporation of the owner or operator, a firm whose parent corporation is also the parent corporation of the owner or operator, or a firm with a “substantial business relationship” with the owner or operator.  The guarantor shall must meet the requirements for owners and operators in subsection subsections (f)(1) through (f)(6) above of this Section.  The wording of the guarantee must be as specified in 35 Ill. Adm. Code 724.251.  A certified copy of the guarantee must accompany the items sent to the Agency as specified in subsection (f)(3) above of this Section.  One of these items must be the letter from the guarantor’s chief financial officer.  If the guarantor’s parent corporation is also the parent corporation of the owner or operator, this letter must describe the value received in consideration of the guarantee.  If the guarantor is a firm with a “substantial business relationship” with the owner or operator, this letter must describe this “substantial business relationship” and the value received in consideration of the guarantee.  The terms of the guarantee must provide that as follows:

A)	If the owner or operator fails to satisfy a judgment based on a determination of liability for bodily injury or property damage to third parties caused by sudden or nonsudden accidental occurrences (or both as the case may be), arising from the operation of facilities covered by this guarantee, or fails to pay an amount agreed to in settlement of claims arising from or alleged to arise from such injury or damage, the guarantor will do so up to the limits of coverage.

B)	The guarantee remains in force unless the guarantor sends notice of cancellation by certified mail to the owner or operator and to the Agency.  The guarantee must not be terminated unless and until the Agency approves alternate liability coverage complying with Section 725.247 or 35 Ill. Adm. Code 724.247.

2)	The guarantor shall must execute the guarantee in Illinois.  The guarantee shall must be accompanied by a letter signed by the guarantor which that states that as follows:

A)	The guarantee was signed in Illinois by an authorized agent of the guarantor;

B)	The guarantee is governed by Illinois law; and

C)	The name and address of the guarantor’s registered agent for service of process.

3)	The guarantor shall must have a registered agent pursuant to Section 5.05 of the Business Corporation Act of 1983 (Ill. Rev. Stat. 1991, ch. 32, par. 5.05 [805 ILCS 5/5.05]) or Section 105.05 of the General Not-for-Profit Corporation Act of 1986 (Ill. Rev. Stat. 1991, ch. 32, par. 105.05 [805 ILCS 105/105.05]).

h)	Letter of credit for liability coverage.

1)	An owner or operator may satisfy the requirements of this Section by obtaining an irrevocable standby letter of credit which that conforms to the requirements of this subsection, and submitting a copy of the letter of credit to the Agency.

2)	The financial institution issuing the letter of credit shall must be an entity which that has the authority to issue letters of credit and whose letter of credit operations are regulated and examined by the Illinois Commissioner of Banks and Trust Companies.

3)	The wording of the letter of credit must be as specified in 35 Ill. Adm. Code 724.251.

4)	An owner or operator who that uses a letter of credit to satisfy the requirements of this Section may also establish a trust fund.  Under the terms of such a letter of credit, all amounts paid pursuant to a draft by the trustee of the standby trust will be deposited by the issuing institution into the standby trust in accordance with instructions from the trustee.  The trustee of the standby trust fund must be an entity which that has the authority to act as a trustee and whose trust operations are regulated and examined by the Illinois Commissioner of Banks and Trust Companies, or who that complies with the Corporate Fiduciary Act (Ill. Rev. Stat. 1991, ch. 32, par. 1551-1 et seq. [205 ILCS 620/1-1 et seq.])

5)	The wording of the standby trust fund must be identical to the wording specified in 35 Ill. Adm. Code 724.251(n).

i)	Surety bond for liability coverage.

1)	An owner or operator may satisfy the requirements of this Section by obtaining a surety bond which that conforms to the requirements of this subsection (i) and submitting a copy of the bond to the Agency.

2)	The surety company issuing the bond shall must be licensed by the Illinois Department of Insurance.

3)	The wording of the surety bond must be as specified in 35 Ill. Adm. Code 724.251.

j)	Trust fund for liability coverage.

1)	An owner or operator may satisfy the requirements of this Section by establishing a trust fund which that conforms to the requirements of this subsection and submitting a signed, duplicate original of the trust agreement to the Agency.

2)	The trustee shall must be an entity which that has the authority to act as a trustee and whose trust operations are regulated and examined by the Illinois Commissioner of Banks and Trust Companies, or who that complies with the Corporate Fiduciary Act.  (Ill. Rev. Stat. 1991, ch. 32, par. 1551-1 et seq. [205 ILCS 620/1-1 et seq.])

3)	The trust fund for liability coverage must be funded for the full amount of the liability coverage to be provided by the trust fund before it may be relied upon to satisfy the requirements of this Section.  If at any time after the trust fund is created the amount of funds in the trust fund is reduced below the full amount of liability coverage to be provided, the owner or operator, by the anniversary of the date of establishment of the fund, shall must either add sufficient funds to the trust fund to cause its value to equal the full amount of liability coverage to be provided, or obtain other financial assurance, as specified in this Section, to cover the difference.  For purposes of this subsection, “the full amount of the liability coverage to be provided” means the amount of coverage for sudden and nonsudden accidental occurrences required to be provided by the owner or operator by this Section, less the amount of financial assurance for liability coverage which that is being provided by other financial assurance mechanisms being used to demonstrate financial assurance by the owner or operator.

4)	The wording of the trust fund must be as specified in 35 Ill. Adm. Code 724.251.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.248	Incapacity of Owners or Operators, Guarantors, or Financial Institutions

a)	An owner or operator shall must notify the Agency by certified mail of the commencement of a voluntary or involuntary proceeding under 11 U.S.C. (Bankruptcy) naming the owner or operator as debtor, within 10 days after commencement of the proceeding.  A guarantor of a corporate guarantee as specified in Sections 725.243(e) and 725.245(e) shall must make such a notification if the guarantor is named as a debtor, as required under the terms of the corporate guarantee (35 Ill. Adm. Code 724.251).

b)	An owner or operator who that fulfills the requirements of Sections 725.243, 725.245 or 725.247 by obtaining a trust fund, surety bond, letter of credit, or insurance policy will be deemed to be without the required financial assurance or liability coverage in the event of bankruptcy of the trustee or issuing institution, or a suspension or revocation of the authority of the trustee institution to act as trustee or of the institution issuing the surety bond, letter of credit, or insurance policy to issue such instruments.  The owner or operator shall must establish other financial assurance or liability coverage within 60 days after such an event.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART I: USE AND MANAGEMENT OF CONTAINERS

- Section 725.270	Applicability

The regulations in this Subpart I apply to owners and operators of all hazardous waste facilities that store containers of hazardous waste, except as § Section 725.101 provides otherwise.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.271	Condition of Containers

If a container holding hazardous waste is not in good condition or if it begins to leak, the owner or operator shall must transfer the hazardous waste from this container to a container that is in good condition or manage the waste in some other way that it complies with the requirements of this Part.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.272	Compatibility of Waste with Container Containers

The owner or operator shall must use a container made of or lined with materials that will not react with and are otherwise compatible with the hazardous waste to be stored, so that the ability of the container to contain the waste is not impaired.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.273	Management of Containers

a)	A container holding hazardous waste must always be closed during storage, except when it is necessary to add or remove waste.

b)	A container holding hazardous waste must not be opened, handled or stored in a manner which that may rupture the container or cause it to leak.

Comment:  BOARD NOTE:  Re-use of containers in transportation is governed by U.S. Department of Transportation regulations, including those set forth in 49 CFR 173.28, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.274	Inspections

The owner or operator shall must inspect areas where containers are stored at least weekly, looking for leaks and for deterioration caused by corrosion or other factors.

BOARD NOTE:  See Section 725.271 for remedial action required if deterioration or leaks are detected.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.276	Special Requirements for Ignitable or Reactive Waste Wastes

Containers holding ignitable or reactive waste must be located at least 15 meters (50 feet) from the facility’s property line.

Comment:  See § Section 725.117(a) for additional requirements.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.277	Special Requirements for Incompatible Wastes

a)	Incompatible wastes or incompatible wastes and materials (see Appendix V of 40 CFR 265, incorporated by reference in 35 Ill. Adm. Code 720.111(b), for examples) must not be placed in the same container, unless § Section 725.117(b) is complied with.

b)	Hazardous waste must not be placed in an unwashed container that previously held an incompatible waste or material (see Appendix V of 40 CFR 265, incorporated by reference in 35 Ill. Adm. Code 720.111(b), for examples), unless § Section 725.117(b) is complied with.

c)	A storage container holding a hazardous waste that is incompatible with any waste or other materials stored nearby in other containers, piles, open tanks, or surface impoundments must be separated from the other materials or protected from them by means of a dike, berm, wall, or other device.

Comment:  BOARD NOTE:  The purpose of this is to prevent fires, explosions, gaseous emissions, leaching, or other discharge or hazardous waste or hazardous waste constituents which that could result from the mixing of incompatible wastes or materials if containers break or leak.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.278	Air Emission Standards

The owner or operator shall must manage all hazardous waste placed in a container in accordance with the requirements of Subparts AA, BB, and CC of 35 Ill. Adm. Code 724.Subparts AA, BB, and CC.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART J: TANK SYSTEMS

- Section 725.290	Applicability

The regulations of this Subpart J apply to owners and operators of facilities that use tank systems for storing or treating hazardous waste, except as otherwise provided in subsections (a), (b) or (c) below, of this Section or in Section 725.101.

a)	Tank systems that are used to store or treat hazardous waste that contains no free liquids and that are situated inside a building with an impermeable floor are exempted from the requirements in Section 725.293.  To demonstrate the absence or presence of free liquids in the stored or treated waste, the following test must be used:  U.S. EPA USEPA Method 9095 (Paint Filter Liquids Test), as described in “Test Methods for Evaluating Solid Wastes, Physical/Chemical Methods,”, U.S. EPA USEPA Publication No. SW-846), incorporated by reference in 35 Ill. Adm. Code 720.111(a).

b)	Tank systems, including sumps, as defined in 35 Ill. Adm. Code 720.110, that serve as part of a secondary containment system to collect or contain releases of hazardous wastes are exempted from the requirements in Section 725.293(a).

c)	Tanks, sumps, and other collection devices used in conjunction with drip pads, as defined in 35 Ill. Adm. Code 720.110 and regulated under Subpart W of this Part, must meet the requirements of this Subpart J.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.291	Assessment of Existing Tank System’s System Integrity

a)	For each existing tank system that does not have secondary containment meeting the requirements of Section 725.293, the owner or operator shall must determine either that the tank system is not leaking or that it is unfit for use.  Except as provided in subsection (c), the owner or operator shall, by after January 12, 1988, obtain and keep on file at the facility a written assessment reviewed and certified by an independent, qualified, registered professional engineer in accordance with 35 Ill. Adm. Code 702.126(d), that attests to the tank system’s integrity.

b)	This assessment must determine whether the tank system is adequately designed and has sufficient structural strength and compatibility with the waste(s) wastes to be stored or treated to ensure that it will not collapse, rupture, or fail.  At a minimum, this assessment must consider the following:

1)	Design standard(s) standards, if available, according to which the tank and ancillary equipment were constructed;

2)	Hazardous characteristics of the waste(s) wastes that have been or will be handled;

3)	Existing corrosion protection measures;

4)	Documented age of the tank system, if available, (otherwise, an estimate of the age); and

5)	Results of a leak test, internal inspection, or other tank integrity examination, such that the following conditions are met:

A)	For non-enterable underground tanks, this assessment must consist of a leak test that is capable of taking into account the effects of temperature variations, tank end deflection, vapor pocket and high water table effects.

B)	For other than non-enterable underground tanks and for ancillary equipment, this assessment must be either a leak test, as described above, or an internal inspection and/or other tank integrity examination certified by an independent, qualified, registered professional engineer in accordance with 35 Ill. Adm. Code 702.126(d), that addresses cracks, leaks, corrosion, and erosion.

(Board Note:  BOARD NOTE:  The practices described in the American Petroleum Institute (API) Publication, Guide for Inspection of Refinery Equipment, Chapter XIII, “Atmospheric and Low-Pressure Storage Tanks, incorporated by reference in 35 Ill. Adm. Code 720.111(a), may be used, where applicable, as guidelines in conducting the integrity examination of an other than non-enterable underground tank system.)

c)	Tank systems that store or treat materials that become hazardous wastes subsequent to July 14, 1986 must conduct this assessment within 12 months after the date that the waste becomes a hazardous waste.

d)	If, as a result of the assessment conducted in accordance with subsection (a) of this Section, a tank system is found to be leaking or unfit for use, the owner or operator shall must comply with the requirements of Sections 725.296.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.292	Design and Installation of New Tank Systems or Components

a)	Owners and operators An owner or operator of a new tank systems system or components shall component must ensure that the foundation, structural support, seams, connections, and pressure controls (if applicable) are adequately designed and that the tank system has sufficient structural strength, compatibility with the waste(s) wastes to be stored or treated, and corrosion protection so that it will not collapse, rupture, or fail.  The owner or operator shall must obtain a written assessment reviewed and certified by an independent, qualified, registered professional engineer in accordance with 35 Ill. Adm. Code 702.126(d), attesting that the system has sufficient structural integrity and is acceptable for the storing and treating of hazardous waste.  This assessment must include, at a minimum, the following information:

1)	Design standard(s) standards according to which the tank(s) tanks and ancillary equipment is or will be constructed.

2)	Hazardous characteristics of the waste(s) wastes to be handled.

3)	For new tank systems or components in which the external shell of a metal tank or any external metal component of the tank system is or will be in contact with the soil or with water, a determination by a corrosion expert of the following:

A)	Factors affecting the potential for corrosion, including but not limited to the following:

i)	Soil moisture content;

ii)	Soil pH;

iii)	Soil sulfides level;

iv)	Soil resistivity;

v)	Structure to soil potential;

vi)	Influence of nearby underground metal structures (e.g., piping);

vii)	Stray electric current;

viii)	Existing corrosion-protection measures (e.g., coating, cathodic protection); and

B)	The type and degree of external corrosion protection that are needed to ensure the integrity of the tank system during the use of the tank system or component, consisting of one or more of the following:

i)	Corrosion-resistant materials of construction such as special alloys, or fiberglass-reinforced plastic;

ii)	Corrosion-resistant coating (such as epoxy, fiberglass, etc.) with cathodic protection (e.g., impressed current or sacrificial anodes); and

iii)	Electrical isolation devices such as insulating joints and flanges, etc.

(Board Note:  BOARD NOTE:  The practices described in the National Association of Corrosion Engineers (NACE) Standard.  “Recommended Practice (RP-02-85) Control of External Corrosion on Metallic Buried, Partially Buried, or Submerged Liquid Storage Systems,”, and API Publication 1632, “Cathodic Protection of Underground Petroleum Storage Tanks and Piping Systems,” incorporated by reference in 35 Ill. Adm. Code 720.111(a), may be used, where applicable, as guidelines in providing corrosion protection for tank systems.)

4)	For underground tank system components that are likely to be affected by vehicular traffic, a determination of design or operational measures that will protect the tank system against potential damage; and

5)	Design considerations to ensure that the following:

A)	Tank foundations will maintain the load of a full tank;

B)	Tank systems will be anchored to prevent flotation or dislodgement where the tank system is placed in a saturated zone, or is located within a seismic fault zone; and

C)	Tank systems will withstand the effects of frost heave.

b)	The owner and operator of a new tank system shall must ensure that proper handling procedures are adhered to in order to prevent damage to the system during installation.  Prior to covering, enclosing or placing a new tank system or component in use, an independent, qualified installation inspector or an independent, qualified, registered professional engineer, either of whom is trained and experienced in the proper installation of tank systems or components, shall must inspect the system or component for the presence of any of the following items:

1)	Weld breaks;

2)	Punctures;

3)	Scrapes of protective coatings;

4)	Cracks;

5)	Corrosion; and

6)	Other structural damage or inadequate construction or installation.  All discrepancies must be remedied before the tank system is covered, enclosed, or placed in use.

c)	New tank systems or components and piping that are placed underground and that which are backfilled must be provided with a backfill material that is a noncorrosive, porous, and homogeneous substance and that which is carefully installed so that the backfill is placed completely around the tank and compacted to ensure that the tank and piping are fully and uniformly supported.

d)	All new tanks and ancillary equipment must be tested for tightness prior to being covered, enclosed or placed in use.  If a tank system is found not to be tight, all repairs necessary to remedy the leak(s) leaks in the system must be performed prior to the tank system being covered, enclosed, or placed in use.

e)	Ancillary equipment must be supported and protected against physical damage and excessive stress due to settlement, vibration, expansion, or contraction.

(Board Note:  BOARD NOTE:  The piping system installation procedures described in API Publication 1615, “Installation of Underground Petroleum Storage Systems,” or ANSI Standard B31.3, “Petroleum Refinery Piping,”, incorporated by reference in 35 Ill. Adm. Code 720.111(a), may be used where applicable, as guidelines for proper installation of piping systems.)

f)	The owner and operator shall must provide the type and degree of corrosion protection necessary, based on the information provided under subsection (a)(3) of this Section, to ensure the integrity of the tank system during use of the tanks system.  The An independent corrosion expert must supervise the installation of a corrosion protection system that is field fabricated must be supervised by an independent corrosion expert to ensure proper installation.

g)	The owner and operator must obtain and keep on file at the facility written statements by those persons required to certify the design of the tank system and supervise the installation of the tank system in accordance with the requirements of subsections (b) through (f) of this Section to attest that the tank system was properly designed and installed and that repairs, pursuant to subsections (b) and (d) of this Section were performed.  These written statements must also include the certification statement, as required in 35 Ill. Adm. Code 702.126(d).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.293	Containment and Detection of Releases

a)	In order to prevent the release of hazardous waste or hazardous constituents to the environment, secondary containment that meets the requirements of this Section must be provided (except as provided in subsections (f) and (g) of this Section).

1)	For all a new tank systems system or components component, prior to their its being put into service;

2)	For all existing tanks used to store or treat USEPA Hazardous Waste Numbers F020, F021, F022, F023, F026, and F027, as defined in 35 Ill. Adm. Code 721.131, within two years after January 12, 1987;

3)	For those existing tank systems of known and documentable age, within two years after January 12, 1987, or when the tank systems have reached 15 years of age, whichever come later;

4)	For those existing tank systems for which the age cannot be documented, within eight years of January 12, 1987; but if the age of the facility is greater than seven years, secondary containment must be provided by the time the facility reaches 15 years of age or within two years of January 12, 1987, whichever comes later; and

5)	For tank systems that store or treat materials that become hazardous wastes subsequent to January 12, 1987, within the time intervals required in subsections (a)(1) through (a)(4) of this Section, except that the date that a material becomes a hazardous waste must be used in place of January 12, 1987.

b)	Secondary containment systems must be as follows:

1)	Designed, installed, and operated to prevent any migration of wastes or accumulated liquid out of the system to the soil, groundwater, or surface water at any time during the use of the tank system; and

2)	Capable of detecting and collecting releases and accumulated liquids until the collected material is removed.

c)	To meet the requirements of subsection (b) of this Section, secondary containment systems must be at a minimum as follows:

1)	Constructed of or lined with materials that are compatible with the waste(s) wastes to be placed in the tank system and of sufficient strength and thickness to prevent failure due to pressure gradients (including static head and external hydrological forces), physical contact with the waste to which they are exposed, climatic conditions, the stress of installation, and the stress of daily operation (including stresses from nearby vehicular traffic);

2)	Placed on a foundation or base capable of providing support to the secondary containment system and resistance to pressure gradients above and below the system and capable of preventing failure due to settlement, compression, or uplift;

3)	Provided with a leak detection system that is designed and operated so that it will detect the failure of either the primary and secondary containment structure or any release of hazardous waste or accumulated liquid in the secondary containment system within 24 hours, or as otherwise provided in the RCRA permit if the operator has demonstrated to the Agency, by way of permit application, that the existing detection technology or site conditions will not allow detection of a release within 24 hours;

4)	Sloped or otherwise designed or operated to drain and remove liquids resulting from leaks, spills, or precipitation.  Spilled or leaked waste and accumulated precipitation must be removed from the secondary containment system within 24 hours, or as otherwise provided in the RCRA permit if the operator has demonstrated to the Agency, by way of permit application, that removal of the released waste or accumulated precipitation cannot be accomplished within 24 hours.

BOARD NOTE:  If the collected material is a hazardous waste under 35 Ill. Adm. Code 721, it is subject to management as a hazardous waste in accordance with all applicable requirements of 35 Ill. Adm. Code 722 through 725.  If the collected material is discharged through a point source to waters of the State, it is subject to the NPDES permit requirement of Section 12(f) of the Environmental Protection Act and 35 Ill. Adm. Code 309.  If discharged to a Publicly Owned Treatment Works (POTW), it is subject to the requirements of 35 Ill. Adm. Code 307 and 310.  If the collected material is released to the environment, it may be subject to the reporting requirements of 35 Ill. Adm. Code 750.410 and 40 CFR 302.6, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

d)	Secondary containment for tanks must include one or more of the following devices:

1)	A liner (external to the tank);

2)	A vault;

3)	A double-walled tank; or

4)	An equivalent device as approved by the Board in an adjusted standards proceeding.

e)	In addition to the requirements of subsections (b), (c), and (d), secondary containment systems must satisfy the following requirements:

1)	External liner systems must be as follows:

A)	Designed or operated to contain 100 percent of the capacity of the largest tank within the liner system’s boundary;

B)	Designed or operated to prevent run-on or infiltration of precipitation into the secondary containment system, unless the collection system has sufficient excess capacity to contain run-on or infiltration.  Such additional capacity must be sufficient to contain precipitation from a 25-year, 24-hour rainfall event;

C)	Free of cracks or gaps; and

D)	Designed and installed to completely surround the tank and to cover all surrounding earth likely to come into contact with the waste if released from the tank(s) tanks (i.e., capable of preventing lateral as well as vertical migration of the waste).

2)	Vault systems must be as follows:

A)	Designed or operated to contain 100 percent of the capacity of the largest tank within the vault system’s boundary;

B)	Designed or operated to prevent run-on or infiltration of precipitation into the secondary containment system, unless the collection system has sufficient excess capacity to contain run-on or infiltration.  Such additional capacity must be sufficient to contain precipitation from a 25-year, 24-hour rainfall event;

C)	Constructed with chemical-resistant water stops in place at all joints (if any);

D)	Provided with an impermeable interior coating or lining that is compatible with the stored waste and that will prevent migration of waste into the concrete;

E)	Provided with a means to protect against the formation of and ignition of vapors within the vault, if the waste being stored or treated:

i)	Meets the definition of ignitable waste under 35 Ill. Adm. Code 721.121; or

ii)	Meets the definition of reactive waste under 35 Ill. Adm. Code 721.123 and may form an ignitable or explosive vapor; and

F)	Provided with an exterior moisture barrier or be otherwise designed or operated to prevent migration of moisture into the vault if the vault is subject to hydraulic pressure.

3)	Double-walled tanks must be as follows:

A)	Designed as an integral structure (i.e., an inner tank within an outer shell) so that any release from the inner tank is contained by the outer shell;

B)	Protected, if constructed of metal, from both corrosion of the primary tank interior and the external surface of the outer shell; and

C)	Provided with a built-in continuous leak detection system capable of detecting a release within 24 hours or as otherwise provided in the RCRA permit if the operator has demonstrated to the Agency, by way of permit application, that the existing leak detection technology or site conditions will not allow detection of a release within 24 hours.

BOARD NOTE:  The provisions outlined in the Steel Tank Institute (STI) “Standard for Dual Wall Underground Steel Storage Tanks,” incorporated by reference in 35 Ill. Adm. Code 720.111(a), may be used as guidelines for aspects of the design of underground steel double-walled tanks.

f)	Ancillary equipment must be provided with full secondary containment (e.g., trench, jacketing, double-walled piping) that meets the requirements of subsections (h) and (c) of this Section except for the following:

1)	Aboveground piping (exclusive of flanges, joints, valves, and connections) that are visually inspected for leaks on a daily basis;

2)	Welded flanges, welded joints, and welded connections that are visually inspected for leaks on a daily basis;

3)	Sealless or magnetic coupling pumps and sealless valves that are visually inspected for leaks on a daily basis; and

4)	Pressurized aboveground piping systems with automatic shut-off devices (e.g., excess flow check valves, flow metering shutdown devices, loss of pressure actuated shut-off devices) that are visually inspected for leaks on a daily basis.

g)	Pursuant to Section 28.1 of the Environmental Protection Act [415 ILCS 5/28.1], and in accordance with Subpart D of 35 Ill. Adm. Code 106.Subpart D 104, an adjusted standard will be granted by the Board regarding alternative design and operating practices only if the Board finds either that the alternative design and operating practices, together with location characteristics, will prevent the migration of any hazardous waste or hazardous constituents into the groundwater or surface water at least as effectively as secondary containment during the active life of the tank system, or that in the event of a release that does migrate to groundwater or surface water, no substantial present or potential hazard will be posed to human health or the environment.  New underground tank systems may not receive an adjusted standard from the secondary containment requirements of this Section through a justification in accordance with subsection (g)(2) of this Section.

1)	When determining whether to grant alternative design and operating practices based on a demonstration of equivalent protection of groundwater and surface water, the Board will consider whether the petitioner has justified an adjusted standard based on the following factors:

A)	The nature and quantity of the waste;

B)	The proposed alternate design and operation;

C)	The hydrogeologic setting of the facility, including the thickness of soils between the tank system and groundwater; and

D)	All other factors that would influence the quality and mobility of the hazardous constituents and the potential for them to migrate to groundwater or surface water.

2)	In deciding whether to grant alternative design and operating practices based on a demonstration of no substantial present or potential hazard, the Board will consider whether the petitioner has justified an adjusted standard based on the following factors:

A)	The potential adverse effects on groundwater, surface water, and land quality taking the following into account:

i)	The physical and chemical characteristics of the waste in the tank system, including its potential for migration;

ii)	The hydrogeological characteristics of the facility and surrounding land;

iii)	The potential for health risks caused by human exposure to waste constituents;

iv)	The potential for damage to wildlife; crops, vegetation, and physical structures caused by exposure to waste constituents; and

v)	The persistence and permanence of the potential adverse effects.;

B)	The potential adverse effects of a release on groundwater quality, taking the following into account:

i)	The quantity and quality of groundwater and the direction of groundwater flow;

ii)	The proximity and withdrawal rates of water in the area;

iii)	The current and future uses of groundwater in the area; and

iv)	The existing quality of groundwater, including other sources of contamination and their cumulative impact on the groundwater quality.;

C)	The potential adverse effects of a release on surface water quality, taking the following into account:

i)	The quantity and quality of groundwater and the direction of groundwater flow;

ii)	The patterns of rainfall in the region;

iii)	The proximity of the tank system to surface waters;

iv)	The current and future uses of surface waters in the area and water quality standards established for those surface waters; and

v)	The existing quality of surface water, including other sources of contamination and the cumulative impact on surface water quality.  And,; and

D)	The potential adverse effects of a release on the land surrounding the tank system, taking the following into account:

i)	The patterns of rainfall in the region; and

ii)	The current and future uses of the surrounding land.

3)	The owner or operator of a tank system, for which alternative design and operating practices had been granted in accordance with the requirements of subsection (g)(1), at which a release of hazardous waste has occurred from the primary tank system but has not migrated beyond the zone of engineering control (as established in the alternative design and operating practices), shall must fulfill the following requirements:

A)	Comply It must comply with the requirements of Section 725.296, except Section 725.296(d); and

B)	Decontaminate It must decontaminate or remove contaminated soil to the extent necessary to assure the following:

i)	Enable It must enable the tank system, for which alternative design and operating practices were granted, to resume operation with the capability for the detection of and response to releases at least equivalent to the capability it had prior to the release; and

ii)	Prevent It must prevent the migration of hazardous waste or hazardous constituents to groundwater or surface water.

C)	If contaminated soil cannot be removed or decontaminated in accordance with subsection (g)(3)(B), it must comply with the requirements of Section 725.297(b).

4)	The owner or operator of a tank system, for which alternative design and operating practices had been granted in accordance with the requirements of subsection (g)(1) of this Section, at which a release of hazardous waste has occurred from the primary tank system and has migrated beyond the zone of engineering control (as established in the alternative design and operating practices, shall must fulfill the following requirements:

A)	Comply It must comply with the requirements of Section 725.296(a), (b), (c), and (d); and

B)	Prevent It must prevent the migration of hazardous waste or hazardous constituents to groundwater or surface water, if possible, and decontaminate or remove contaminated soil.  If contaminated soil cannot be decontaminated or removed, or if groundwater has been contaminated, the owner or operator shall must comply with the requirements of Section 725.297(b);

C)	If repairing, replacing, or reinstalling the tank system, it must provide secondary containment in accordance with the requirements of subsections (a) through (f) of this Section, or make the alternative design and operating practices demonstration to the Board again with respect to secondary containment and meet the requirements for new tank systems in Section 725.292 if the tank system is replaced.  The owner or operator shall must comply with these requirements even if contaminated soil is decontaminated or removed, and groundwater or surface water has not been contaminated.

h)	In order to make an alternative design and operating practices demonstration, the owner or operator shall must follow the following procedures, in addition to those specified in Section 28.1 of the Act [415 ILCS 5/28.1] and Subpart D of 35 Ill. Adm. Code 106.Subpart D 104:

1)	The owner or operator shall must file a petition for approval of alternative design and operating practices according to the following schedule:

A)	For existing tank systems, at least 24 months prior to the date that secondary containment must be provided in accordance with subsection (a) of this Section; and

B)	For new tank systems, at least 30 days prior to entering into a contract for installation of the tank system.

2)	As part of the petition, the owner or operator shall must also submit the following to the Board:

A)	A description of the steps necessary to conduct the demonstration and a timetable for completing each of the steps.  The demonstration must address each of the factors listed in subsection (g)(1) or (g)(2) of this Section; and

B)	The portion of the Part B permit application specified in 35 Ill. Adm. Code 703.202.

3)	The owner or operator shall must complete its showing within 180 days after filing its petition for approval of alternative design and operating practices.

4)	The Agency shall must issue or modify the RCRA permit so as to require the permittee to construct and operate the tank system in the manner that was provided in any Board order approving alternative design and operating practices.

i)	All tank systems, until such time as secondary containment meeting the requirements of this Section is provided, must comply with the following:

1)	For non-enterable underground tanks, a leak test that meets the requirements of Section 725.291(b)(5) must be conducted at least annually;

2)	For other than non-enterable underground tanks and for all ancillary equipment, an annual leak test, as described in subsection (i)(1) of this Section, or an internal inspection or other tank integrity examination, by an independent, qualified, registered professional engineer, that addresses cracks, leaks, corrosion and erosion must be conducted at least annually.  The owner or operator shall must remove the stored waste from the tank, if necessary, to allow the condition of all internal tank surfaces to be assessed.

BOARD NOTE:  The practices described in API Publication, Guide for Inspection of Refining Equipment, Chapter XIII, “Atmospheric and Low Pressure Storage Tanks,”, incorporated by reference in 35 Ill. Adm. Code 720.111(a), may be used, when applicable, as guidelines for assessing the overall condition of the tank system.

3)	The owner or operator shall must maintain on file at the facility a record of the results of the assessments conducted in accordance with subsections (i)(1) through (i)(3) of this Section.

4)	If a tank system or component is found to be leaking or unfit for use as a result of the leak test or assessment in subsections (i)(1) through (i)(3) of this Section, the owner or operator shall must comply with the requirements of Section 725.296.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.294	General Operating Requirements

a)	Hazardous wastes or treatment reagents must not be placed in a tank system if they could cause the tank, its ancillary equipment or the secondary containment system to rupture, leak, corrode, or otherwise fail.

b)	The owner or operator shall must use appropriate controls and practices to prevent spills and overflows from tank or secondary containment systems.  These include the following, at a minimum:

1)	Spill prevention controls (e.g., check valves, dry disconnect couplings, etc.);

2)	Overfill prevention controls (e.g., level sensing devices, high level alarms, automatic feed cutoff, or bypass to a standby tank); and

3)	Maintenance of sufficient freeboard in uncovered tanks to prevent overtopping by wave or wind action or by precipitation.

c)	The owner or operator shall must comply with the requirements of Section 725.296 if a leak or spill occurs in the tank system.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.295	Inspections

a)	The owner or operator shall must inspect the following, where present, at least once each operating day:

1)	Overfill/spill control equipment (e.g., waste-feed cutoff systems, bypass systems, and drainage systems) to ensure that it is in good working order;

2)	The aboveground portion of the tank system, if any, to detect corrosion or releases of waste;

3)	Data gathered from monitoring equipment, (e.g., pressure and temperature gauges, monitoring wells, etc.) to ensure that the tank system is being operated according to its design; and

4)	The construction materials and the area immediately surrounding the externally accessible portion of the tank system including secondary containment structures (e.g., dikes) to detect erosion or signs of releases of hazardous waste (e.g., wet spots, dead vegetation, etc.);

(Board Note:  BOARD NOTE:  Section 725.115(c) requires the owner or operator to remedy any deterioration or malfunction the owner or operator finds.  Section 725.296 requires the owner or operator to notify the Agency within 24 hours of confirming a release.  Also, 40 CFR 302 (1986), incorporated by reference in 35 Ill. Adm. Code 720.111(b), may require the owner or operator to notify the National Response Center of a release.

b)	The owner or operator shall must inspect cathodic protection systems, if present, according to, at a minimum, the following schedule to ensure that they are functioning properly:

1)	The proper operation of the cathodic protection system must be confirmed within six months after initial installation, and annually thereafter; and

2)	All sources of impressed current must be inspected and/or or tested, as appropriate, at least every other month.

(Board Note:  BOARD NOTE:  The practices described in NACE Standard, “Recommended Practice (RP-02-85), Control of External Corrosion on Metallic Buried, Partially Buried, or Submerged Liquid Storage Systems,”, API Publication 1632, “Cathodic Protection of Underground Petroleum Storage Tanks and Piping Systems,”, incorporated by reference in 35 Ill. Adm. Code 720.111(a), may be used, where applicable, as guidelines in maintaining and inspecting cathodic protection systems.)

c)	The owner or operator shall must document in the operating record of the facility an inspection of those items in subsections (a) and (b) of this Section.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.296	Response to leaks Leaks or spills Spills and disposition Disposition of Tank Systems

A tank system or secondary containment system from which there has been a leak or spill, or which is unfit for use, must be removed from service immediately.  The owner or operator shall must satisfy the following requirements:

a)	Cease using; prevent flow or addition of wastes.  The owner or operator shall must immediately stop the flow of hazardous waste into the tank system or secondary containment system and inspect the system to determine the cause of the release.

b)	Removal of waste from tank system or secondary containment system.

1)	If the release was from the tank system, the owner or operator shall must, within 24 hours after detection of the leak, remove as much of the waste as is necessary to prevent further release of hazardous waste to the environment and to allow inspection and repair of the tank system to be performed.

2)	If the release was to a secondary containment system, all released materials must be removed within 24 hours to prevent harm to human health and the environment.

c)	Containment of visible releases to the environment.  The owner or operator shall must immediately conduct a visual inspection of the release and, based upon that inspection, do the following:

1)	Prevent further migration of the leak or spill to soils or surface water; and

2)	Remove, and properly dispose of, any visible contamination of the soil or surface water.

d)	Notifications,; reports.

1)	Any release to the environment, except as provided in subsection (d)(2) of this Section, must be reported to the Agency within 24 hours of after detection.

2)	A leak or spill of hazardous waste is exempted from the requirements of this paragraph subsection (d) if it is the following occur:

A)	Less The spill is less than or equal to a quantity of one (1) pound; and

B)	Immediately The spill is immediately contained and cleaned-up.

3)	Within 30 days of detection of a release to the environment, a report containing the following information must be submitted to the Agency:

A)	Likely route of migration of the release;

B)	Characteristics of the surrounding soil (soil composition, geology, hydrogeology, climate, etc.);

C)	Results of any monitoring or sampling conducted in connection with the release, (if available).  If sampling or monitoring data relating to the release are not available within 30 days, these data must be submitted to the Agency as soon as they become available.

D)	Proximity to downgradient drinking water, surface water, and population areas; and

E)	Description of response actions taken or planned.

e)	Provision of secondary containment, repair, or closure.

1)	Unless the owner or operator satisfies the requirements of subsections (e)(2) through (e)(4) of this Section, the tank system must be closed in accordance with Section 725.297.

2)	If the cause of the release was a spill that has not damaged the integrity of the system, the owner or operator may return the system to service as soon as the released waste is removed and repairs, if necessary, are made.

3)	If the cause of the release was a leak from the primary tank system into the secondary containment system, the system must be repaired prior to returning the tank system to service.

4)	If the source of the release was a leak to the environment from a component of a tank system without secondary containment, the owner or operator shall must provide the component of the system from which the leak occurred with secondary containment that satisfies the requirements of Section 725.293 before it is returned to service, unless the source of the leak is an aboveground portion of a tank system.  If the source is an aboveground component that can be inspected visually, the component must be repaired and may be returned to service without secondary containment as long as the requirements of subsection (f) of this Section are satisfied.  If a component is replaced to comply with the requirements of this subpargraph subsection (e)(4), that component must satisfy the requirements for new tank systems or components in Sections 725.292 and 725.293.  Additionally, if a leak has occurred in any portion of a tank system component that is not readily accessible for visual inspection (e.g., the bottom of an inground or onground tank), the entire component must be provided with secondary containment in accordance with Section 725.293 prior to being returned to use.

f)	Certification of major repairs.  If the owner or operator has repaired a tank system in accordance with subsection (e) of this Section, and the repair has been extensive (e.g., installation of an internal liner; repair of a ruptured primary containment or secondary containment vessel), the tank system must not be returned to service unless the owner or operator has obtained a certification by an independent qualified, registered professional engineer in accordance with 35 Ill. Adm. Code 702.126(d) that the repaired system is capable of handling hazardous wastes without release for the intended life of the system.  This certification must be submitted to the Agency within seven days after returning the tank system to use.

BOARD NOTE:  See Section 725.115(c) for the requirements necessary to remedy a failure.  Also, 40 CFR 302.6, incorporated by reference in 35 Ill. Adm. Code 720.111(b), requires the owner or operator to notify the National Response Center of a release of any “reportable quantity.”

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.297	Closure and Post-Closure Care

a)	At closure of a tank system, the owner or operator shall must remove or decontaminate all waste residues, contaminated containment system components (liners, etc.), contaminated soils and structures and equipment contaminated with waste, and manage them as hazardous waste, unless 35 Ill. Adm. Code 721.103(d) applies.  The closure plan, closure activities, cost estimates for closure and financial responsibility for tank systems must meet all of the requirements specified in Subparts G and H of this Part.

b)	If the owner or operator demonstrates that not all contaminated soils can be practicably removed or decontaminated as required in subsection (a) of this Section, then the owner or operator shall must close the tank system and perform post-closure care in accordance with the closure and post-closure care requirements that apply to landfills (Section 725.410).  In addition, for the purposes of closure, post-closure and financial responsbility responsibility, such a tank system is then considered to be a landfill, and the owner or operator shall must meet all of the requirements of landfills specified in Subparts G and H of this Part.

c)	If an owner or operator has a tank system which that does not have secondary containment that meets the requirements of Section 725.293(b) through (f), and which is not exempt from the secondary containment requirements in accordance with Section 725.293(g), then the following requirements apply:

1)	The closure plan for the tank system must include both a plan for complying with subsection (a) of this Section, and a contingent plan for complying with subsection (b) of this Section;

2)	A contingent post-closure plan for complying with subsection (b) of this Section must be prepared and submitted as part of the permit application;

3)	The cost estimates calculated for closure and post-closure care must reflect the costs of complying with the contingent closure plan and the contingent post-closure plan, if these costs are greater than the costs of complying with the closure plan prepared for the expected closure under subsection (a) of this Section;

4)	Financial assurance must be based on the cost estimates in subsection (c)(3) of this Section; and

5)	For the purposes of the contingent closure and post-closure plans, such a tank system is considered to be a landfill, and the contingent plans must meet all of the closure, post-closure care, and financial responsibility requirements for landfills under Subparts G and H of this Part.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.298	Special Requirements for Ignitable or Reactive Waste Wastes

a)	Ignitable or reactive waste must not be placed in a tank system, unless either of the following conditions is fulfilled:

1)	The waste is treated, rendered or mixed before or immediately after placement in the tank system so that the following two conditions are fulfilled:

A)	The resulting waste, mixture, or dissolved material no longer meets the definition of ignitable or reactive waste under 35 Ill. Adm. Code 721.121 or 721.123; and

B)	Section 725.117(b) is complied with; or

2)	The waste is stored or treated in such a way that it is protected from any material or conditions which that may cause the waste to ignite or react; or

3)	The tank system is used solely for emergencies.

b)	The owner or operator of a facility where ignitable or reactive waste is stored or tested in tanks shall must comply complies with the requirements for the maintenance of protective distances between the waste management area and any public ways, streets, alleys, or an adjoining property line that can be built upon as required in Tables 2-1 through 2-6 of the National Fire Protection Association’s “Flammable and Combustible Liquids Code,” NFPA 30, incorporated by reference in 35 Ill. Adm. Code 720.111(a).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.299	Special Requirements for Incompatible Wastes

a)	Incompatible wastes or incompatible wastes and materials must not be placed in the same tank system, unless Section 725.117(b) is complied with.

b)	Hazardous waste must not be placed in a tank system which that has not been decontaminated and which previously held an incompatible waste or material unless Section 725.117(b) is complied with.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.300	Waste Analysis and Trial Tests

In addition to performing the waste analysis required by Section 725.113, the owner or operator shall, whenever a tank system is to be used to chemically treat chemically, or to store, a hazardous waste that is substantially different from waste previously treated or stored in that tank system;, or to treat chemically a hazardous waste with a substantially different process than any previously used in that tank system, the owner or operator must do the following:

a)	Conduct It must conduct waste analyses and trial treatment or storage tests (e.g., bench-scale or pilot-plant scale tests); or

b)	Obtain It must obtain written, documented information on similar waste under similar operating conditions to show that the proposed treatment or storage will meet the requirements of Section 725.294(a).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.301	Generators of 100 to 1,000 Kilograms of Hazardous Waste Per Month

a)	The requirements of this Section apply to small quantity generators that generate more than 100 kg but less than 1,000 kg of hazardous waste in a calendar month, that accumulate hazardous waste in tanks for less than 180 days (or 270 days if the generator must ship the waste greater than 200 miles), and that do not accumulate over 6,000 kg on-site at any time.

b)	A generator of between 100 and 1,000 kg/mo hazardous waste shall must comply with the following general operating requirements:

1)	Treatment or storage of hazardous waste in tanks must comply with Section 725.117(b);

2)	Hazardous wastes or treatment reagents must not be placed in a tank if they could cause the tank or its inner liner to rupture, leak, corrode, or otherwise fail before the end of its intended life;

3)	Uncovered tanks must be operated to ensure at least 60 centimeters (2 feet) of freeboard unless the tank is equipped with a containment structure (e.g., dike or trench), a drainage control system, or a diversion structure (e.g., standby tank) with a capacity that equals or exceeds the volume of the top 60 centimeters (2 feet) of the tank; and

4)	Where hazardous waste is continuously fed into a tank, the tank must be equipped with a means to stop this inflow (e.g., waste feed cutoff system or by-pass system to a stand-by tank).

BOARD NOTE:  These systems are intended to be used in the event of a leak or overflow from the tank due to a system failure (e.g., a malfunction in the treatment process, a crack in the tank, etc.).

c)	A generator of between 100 and 1,000 kg/mo accumulating hazardous waste in tanks shall must inspect the following, where present:

1)	Discharge control equipment (e.g., waste feed cutoff systems, by-pass systems, and drainage systems) at least once each operating day, to ensure that it is in good working order;

2)	Data gathered from monitoring equipment (e.g., pressure and temperature gauges) at least once each operating day to ensure that the tank is being operated according to its design;

3)	The level of waste in the tank at least once each operating day to ensure compliance with subsection (b)(3) of this Section;

4)	The construction materials of the tank at least weekly to detect corrosion or leaking of fixtures or seams; and

5)	The construction materials of and the area immediately surrounding discharge confinement structures (e.g., dikes) at least weekly to detect erosion or obvious signs of leakage (e.g., wet spots or dead vegetation).

BOARD NOTE:  As required by Section 725.115(c), the owner or operator must remedy any deterioration or malfunction the owner or operator finds.

d)	A generator of between 100 and 1,000 kg/mo accumulating hazardous waste in tanks shall must, upon closure of the facility, remove all hazardous waste from tanks, discharge control equipment, and discharge confinement structures.

BOARD NOTE:  At closure, as throughout the operating period, unless the owner or operator demonstrates, in accordance with 35 Ill. Adm. Code 721.103(d) or (e), that any solid waste removed from the tank is not a hazardous waste, the owner or operator becomes a generator of hazardous waste and must manage it in accordance with all applicable requirements of 35 Ill. Adm. Code 722, 723, and 725.

e)	A generator of between 100 and 1,000 kg/mo shall must comply with the following special requirements for ignitable or reactive waste:

1)	Ignitable or reactive waste must not be placed in a tank unless one of the following conditions are fulfilled:

A)	The waste is treated, rendered, or mixed before or immediately after placement in a tank so that the following is true of the waste:

i)	The resulting waste, mixture, or dissolution of material no longer meets the definition of ignitable or reactive waste under 35 Ill. Adm. Code 721.121 or 721.123, and

ii)	Section 725.117(b) is complied with;

B)	The waste is stored or treated in such a way that it is protected from any material or conditions that may cause the waste to ignite or react; or

C)	The tank is used solely for emergencies.

2)	The owner or operator of a facility that treats or stores ignitable or reactive waste in covered tanks shall must comply with the buffer zone requirements for tanks contained in Tables 2-1 through 2-6 of the National Fire Protection Association’s “Flammable and Combustible Liquids Code,” NFPA 30, incorporated by reference in 35 Ill. Adm. Code 720.111(a).

f)	A generator of between 100 and 1,000 kg/mo shall must comply with the following special requirements for incompatible wastes:

1)	Incompatible wastes or incompatible wastes and materials (see Appendix E for examples) must not be placed in the same tank unless Section 725.117(b) is complied with.

2)	Hazardous waste must not be placed in an unwashed tank that previously held an incompatible waste or material unless Section 725.117(b) is complied with.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.302	Air Emission Standards

The owner or operator shall must manage all hazardous waste placed in a tank in accordance with the requirements of Subparts AA, BB, and CC of this Part.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART K: SURFACE IMPOUNDMENTS

- Section 725.320	Applicability

The regulations in this Subpart K apply to owners and operators of facilities that use surface impoundments to treat, store, or dispose of hazardous waste, except as § Section 725.101 provides otherwise.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.321	Design and Operating Requirements

a)	The owner or operator of each new surface impoundment unit on which construction commences after January 29, 1992, each lateral expansion of a surface impoundment unit on which construction commences after July 29, 1992, and each replacement of an existing surface impoundment unit that is to commence reuse after July 29, 1992, shall must install two or more liners and a leachate collection and removal system between such liners, and operate the leachate collection and removal system, in accordance with 35 Ill. Adm. Code 724.321(c), unless exempted under 35 Ill. Adm. Code 724.321(d), (e), or (f). “Construction commences” is as defined in 35 Ill. Adm. Code 720.110 under “existing facility.”

b)	The owner or operator of each unit referred to in subsection (a) above shall of this Section must notify the Agency at least sixty days prior to receiving waste.  The owner or operator of each facility submitting notice shall must file a Part B application within six months of the receipt of such notice.

c)	The owner or operator of any replacement surface impoundment unit is exempt from subsection (a) above of this Section if the following conditions are fulfilled:

1)	The existing unit was constructed in compliance with the design standards of 35 Ill. Adm. Code 724.321(c), (d), and (e), as amended in R86-1, at 10 Ill. Reg. 14119, effective August 12, 1986; and

BOARD NOTE: The cited subsections implemented the design standards of Sections sections 3004(o)(1)(A)(i) and (o)(5) of the Resource Conservation and Recovery Act (42 U.S.C. 6901 et seq. 6924(o)(1)(A)(i) and (o)(5)).

2)	There is no reason to believe that the liner is not functioning as designed.

d)	The Agency shall must not require a double liner as set forth in subsection (a) above of this Section for any monofill, if the following conditions are fulfilled:

1)	The monofill contains only hazardous wastes from foundry furnace emission controls or metal casting molding sand, and such wastes do not contain constituents which that render the wastes hazardous for reasons other than the toxicity characteristic in 35 Ill. Adm. Code 721.124, with USEPA hazardous waste numbers D004 through D017; and

2)	No migration demonstration.

A)	Design and location requirements.

i)	The monofill has at least one liner for which there is no evidence that such liner is leaking.  For the purposes of this subsection (d)(2)(A)(i) the term “liner” means a liner designed, constructed, installed, and operated to prevent hazardous waste from passing into the liner at any time during the active life of the facility, or a liner designed, constructed, installed, and operated to prevent hazardous waste from migrating beyond the liner to adjacent subsurface soil, groundwater, or surface water at any time during the active life of the facility.  In the case of any surface impoundment which that has been exempted from the requirements of subsection (a) above of this Section, of a liner designed, constructed, installed, and operated to prevent hazardous waste from passing beyond the liner, at the closure of such impoundment the owner or operator shall must remove or decontaminate all waste residues, all contaminated liner material and contaminated soil to the extent practicable.  If all contaminated soil is not removed or decontaminated, the owner or operator of such impoundment shall must comply with appropriate post-closure requirements, including but not limited to groundwater monitoring and corrective action;

ii)	The monofill is located more than one-quarter mile from an underground source of drinking water (as that term is defined in 35 Ill. Adm. Code 702.110); and

iii)	The monofill is in compliance with generally applicable groundwater monitoring requirements for facilities with RCRA permits; or,

B)	The owner or operator demonstrates to the Board that the monofill is located, designed, and operated so as to assure that there will be no migration of any hazardous constituent into groundwater or surface water at any future time.

e)	In the case of any unit in which the liner and leachate collection system have been installed pursuant to the requirements of subsection (a) above of this Section, and in good faith compliance with subsection (a) above of this Section and with guidance documents governing liners and leachate collection systems under subsection (a) above of this Section, the Agency shall must not require a liner or leachate collection system which that is different from that which was so installed pursuant to subsection (a) above of this Section when issuing the first permit to such facility, except that the Agency is not precluded from requiring installation of a new liner when the Agency finds that any liner installed pursuant to the requirements of subsection (a) above of this Section is leaking.

f)	A surface impoundment must maintain enough freeboard to prevent any overtopping of the dike by overfilling, wave action, or a storm. Except as provided in subsection (g), below of this Section, there must be at least 60 centimeters (2 two feet) of freeboard.

g)	A freeboard level less than 60 centimeters (two feet) may be maintained if the owner or operator obtains certification by a qualified engineer that alternate design features or operating plans will, to the best of the engineer’s knowledge and opinion, prevent overtopping of the dike.  The certification, along with a written identification of alternate design features or operating plans preventing overtopping, must be maintained at the facility.

BOARD NOTE: Any point source discharge from a surface impoundment to waters of the State is subject to the requirements of Section 12 of the Environmental Protection Act [415 ILCS 5/12].  Spills may be subject to Section 311 of the Clean Water Act (33 U.S.C. 1251 et seq. 1321)

h)	Surface impoundments that are newly subject to this Part due to the promulgation of additonal additional listings or characteristics for the identification of hazardous waste must be in compliance with subsections (a), (c), or (d) above of this Section not later than 48 months after the promulgation of the additonal additional listing or characteristic.  This compliance period shall must not be cut short as the result of the promulgation of land disposal prohibitions under 35 Ill. Adm. Code 728 or the granting of an extension to the effective date of a prohibiton prohibition pursuant to 35 Ill. Adm. Code 728.105, within this 48 month period.

i)	Refusal to grant an exemption or waiver, or grant with conditions, may be appealed to the Board.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.322	Action Leakage Rate

a)	The owner or operator of surface impoundment units subject to Section 725.321(a) shall must submit a proposed action leakage rate to the Agency when submitting the notice required under Section 725.321(b).  Within 60 days of receipt of the notification, the Agency will: must do either of the following:  Establish establish an action leakage rate, either as proposed by the owner or operator or modified using the criteria in this Section;, or extend the review period for up to 30 days.  If no action is taken by the Agency before the original 60 or extended 90 day review periods, the action leakage rate will be approved as proposed by the owner or operator.

b)	The Agency shall must approve an action leakage rate for surface impoundment units subject to Section 725.321(a).  The action leakage rate is the maximum design flow rate that the leak detection system (LDS) can remove without the fluid head on the bottom liner exceeding 1 one foot.  The action leakage rate must include an adequate safety margin to allow for uncertainties in the design (e.g., slope, hydraulic conductivity, thickness of drainage material, etc.),; construction,; operation, and location of the LDS,; waste and leachate characteristics,; the likelihood and amounts of other sources of liquids in the LDS; and proposed response actions (e.g., the action leakage rate must consider decreases in the flow capacity of the system over time resulting from siltation and clogging, rib layover, and creep of synthetic components of the system,; overburden pressures,; etc.).

c)	To determine if the action leakage rate has been exceeded, the owner or operator shall must convert the weekly or monthly flow rate from the monitoring data obtained under Section 725.326(b) to an average daily flow rate (gallons per acre per day) for each sump.  The average daily flow rate for each sump must be calculated weekly during the active life and closure period and, if the unit is closed in accordance with Section 725.328(a)(2), monthly during the post-closure care period, unless the Agency approves a different frequency pursuant to Section 725.326(b).

d)	Final Agency determinations pursuant to this Section are deemed to be permit denials for purposes of appeal to the Board pursuant to Section 40 of the Environmental Protection Act [415 ILCS 5/40].

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.323	Response Actions

a)	The owner or operator of surface impoundment units subject to Section 725.321(a) shall must submit a response action plan to the Agency when submitting the proposed action leakage rate under Section 725.322.  The response action plan must set forth the actions to be taken if the action leakage rate has been exceeded.  At a minimum, the response action plan must describe the actions specified in subsection (b) below of this Section.

b)	If the flow rate into the LDS exceeds the action leakage rate for any sump, the owner or operator shall must do the following:

1)	Notify the Agency in writing of the exceedence within 7 seven days of the determination;

2)	Submit a preliminary written assessment to the Agency within 14 days of the determination, as to the amount of liquids,; likely sources of liquids,; possible location, size, and cause of any leaks,; and short-term actions taken and planned;

3)	Determine to the extent practicable the location, size, and cause of any leak;

4)	Determine whether waste receipt should cease or be curtailed,; whether any waste should be removed from the unit for inspection, repairs, or controls,; and whether or not the unit should be closed;

5)	Determine any other short-term and longer-term actions to be taken to mitigate or stop any leaks; and

6)	Within 30 days after the notification that the action leakage rate has been exceeded, submit to the Agency the results of the determinations specified in subsections (b)(3), (4) and through (b)(5) above of this Section, the results of actions taken, and actions planned.  Monthly thereafter, as long as the flow rate in the LDS exceeds the action leakage rate, the owner or operator shall must submit to the Agency a report summarizing the results of any remedial actions taken and actions planned.

c)	To make the leak or remediation determinations in subsections (b)(3), (4) and through (b)(5) above of this Section, the owner or operator shall must do either of the following:

1)	Perform the following assessments:

A)	Assess the source of liquids and amounts of liquids by source;

B)	Conduct a fingerprint, hazardous constituent, or other analyses of the liquids in the LDS to identify the source of liquids and possible location of any leaks, and the hazard and mobility of the liquid; and

C)	Assess the seriousness of any leaks in terms of potential for escaping into the environment; or

2)	Document why such assessments are not needed.

d)	Final Agency determinations pursuant to this Section are deemed to be permit denials for purposes of appeal to the Board pursuant to Section 40 of the Environmental Protection Act [415 ILCS 5/40].

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.324	Containment System

All An earthen dikes dike must have a protective cover, such as grass, shale, or rock to minimize wind and water erosion and to preserve their its structural integrity.

BOARD NOTE:  This Section is derived from Two versions of 40 CFR 265.223, which was inadvertently repealed exist.  USEPA added the second at 57 Fed. Reg. 3486, January 29, 1992.  Section 725.324 is derived from the original version of 40 CFR 265.223.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.325	Waste Analysis and Trial Tests

In addition to the waste analyses required by Section 725.113, whenever a surface impoundment is to be used to for either of the purposes in subsections (a) and (b) of this Section, the owner or operator must, before treating the different waste or using the different process, perform either of the required actions listed in subsection (c) of this Section:

a)	Chemically treat a hazardous waste that is substantially different from waste previously treated in that impoundment; or

b)	Chemically treat hazardous waste with a substantially different process than and previously used in that impoundment, the owner or operator must, before treating the different waste or using the different process:.

c)	Required actions.

1)	Conduct The owner or operator must conduct waste analyses and trial treatment tests (e.g., bench scale or pilot plant scale tests); or

2)	Obtain The owner or operator must obtain written, documented information on similar treatment of similar waste under similar operating conditions, to show that this treatment will comply with Section 725.117(b).

BOARD NOTE:  As required by Section 725.113, the waste analyses plan must include analyses needed to comply with Sections 725.329 and 725.330.  As required by Section 725.173, the owner or operator shall must place the results from each waste analysis and trial test, or the documented information in the operating record of the facility.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.326	Monitoring and Inspection Inspections

a)	The owner or operator shall must inspect:

1)	The freeboard level at least once each operating day to ensure compliance with Section 725.322; and

2)	The surface impoundment, including dikes and vegetation surrounding the dike, at least once a week to detect any leaks, deterioration, or failures in the impoundment.

BOARD NOTE: As required by Section 725.115(c), the owner or operator shall must remedy any deterioration or malfunction the owner or operator finds.

b)	LDS.

1)	An owner or operator required to have a LDS under Section 725.321(a) shall must record the amount of liquids removed from each LDS sump at least once each week during the active life and closure period.

2)	After the final cover is installed, the amount of liquids removed from each LDS sump must be recorded at least monthly.  If the liquid level in the sump stays below the pump operating level for two consecutive months, the amount of liquids in the sumps must be recorded at least quarterly.  If the liquid level in the sump stays below the pump operating level for two consecutive quarters, the amount of liquids in the sumps must be recorded at least semi-annually.  If at any time during the post-closure care period the pump operating level is exceeded at units on quarterly or semi-annual recording schedules, the owner or operator shall must return to monthly recording of amounts of liquids removed from each sump until the liquid level again stays below the pump operating level for two consecutive months.

3)	“Pump operating level” is a liquid level proposed by the owner or operator and approved by the Agency based on pump activation level, sump dimensions, and level that avoids backup into the drainage layer and minimizes head in the sump.  The timing for submission and approval of the proposed “pump operating level” will be in accordance with Section 725.322(a).

c)	Final Agency determinations pursuant to this Section are deemed to be permit denials for purposes of appeal to the Board pursuant to Section 40 of the Environmental Protection Act [415 ILCS 5/40].

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.328	Closure and Post-closure Post-Closure Care

a)	At closure, the owner or operator shall must do either of the following:

1)	Remove or decontaminate all waste residues, contaminated containment system components (liners, etc.), contaminated subsoils, and structures and equipment contaminated with waste or leachate, and manage them as hazardous waste, unless 35 Ill. Adm. Code 721.103(d) applies; or

2)	Close the impoundment and provide post-closure care for a landfill under Subpart G of this Part and Section 725.410, including the following:

A)	Eliminate free liquids by removing liquid wastes or solidifying the remaining wastes and waste residues;

B)	Stabilize remaining wastes to a bearing capacity sufficient to support final cover; and

C)	Cover the surface impoundment with a final cover designed and constructed to do the following:

i)	Provide long-term minimization of the migration of liquids through the closed impoundment;

ii)	Function with minimum maintenance;

iii)	Promote drainage and minimize erosion or abrasion of the cover;

iv)	Accommodate settling and subsidence so that the cover’s integrity is maintained; and

v)	Have a permeability less than or equal to the permeability of any bottom liner system or natural subsoils present.

b)	In addition to the requirements of Subpart G of this Part and Section 725.410, during the post-closure care period the owner or operator of a surface impoundment in which wastes, waste residues or contaminated materials remain after closure in accordance with subsection (a)(2) above shall of this Section must:

1)	Maintain the integrity and effectiveness of the final cover, including making repairs to the cover as necessary to correct the effects of settling, subsidence, erosion, or other events;

2)	Maintain and monitor the LDS in accordance with 35 Ill. Adm. Code 724.321(c)(2)(D) and (c)(3) and 725.326(b) and comply with all other applicable LDS requirements of this Part;

3)	Maintain and monitor the groundwater monitoring system and comply with all other applicable requirements of Subpart F of this Part; and

4)	Prevent run-on and run-off from eroding or damaging the final cover.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.329	Special Requirements for Ignitable or Reactive Waste Wastes

Ignitable or reactive waste must not be placed in a surface impoundment, unless the waste and impoundment satisfy all applicable requirements of 35 Ill. Adm. Code 728, and one of the following conditions is fulfilled:

a)	The waste is treated, rendered, or mixed before or immediately after placement in the impoundment so that the following conditions are true:

1)	The resulting waste, mixture, or dissolution of material no longer meets the definition of ignitable or reactive waste under 35 Ill. Adm. Code 721.121 or 721.123; and

2)	Section 725.117(b) is complied with; or

b)	Management conditions.

1)	The waste is managed in such a way that it is protected from any material or conditions which that may cause it to ignite or react; and

2)	The owner or operator obtains a certification from a qualified chemist or engineer that, to the best of the chemist chemist’s or engineer’s knowledge and opinion, the design features or operating plans of the facility will prevent ignition or reaction; and

3)	The certification and the basis for it are maintained at the facility; or

c)	The surface impoundment is used solely for emergencies.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.330	Special Requirements for Incompatible Wastes

Imcompatible Incompatible wastes, or incompatible waste and materials (see Appendix V of 40 CFR 265, incorporated by reference in 35 Ill. Adm. Code 720.111(b), for examples) must not be placed in the same surface impoundment, unless § Section 725.117(b) is complied with.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.331	Air Emission Standards

The owner or operator shall must manage all hazardous waste placed in a surface impoundment in accordance with the requirements of Subparts BB and CC of 35 Ill. Adm. Code 724.Subparts BB and CC.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART L: WASTE PILES

- Section 725.350	Applicability

The regulations in this Subpart L apply to owners and operators of facilities that treat or store hazardous waste in piles, except as § Section 725.101 provides otherwise.  Alternatively, a pile of hazardous waste may be managed as a landfill under Subpart N of this Part.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.351	Protection from Wind

The owner or operator of a pile containing hazardous waste which that could be subject to dispersal by wind must cover or otherwise manage the pile so that wind dispersal is controlled.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.352	Waste Analysis

a)	In addition to the waste analyses required by Section 725.113, the owner or operator shall must analyze a representative sample of waste from each incoming movement before adding the waste to any existing pile unless either of the following conditions is fulfilled:

1)	The only wastes the facility receives that are amenable to piling are compatible with each other, or

2)	The waste received is compatible with the waste in the pile to which it is to be added.

b)	The analysis conducted must be capable of differentiating between the types of hazardous waste the owner or operator places in piles, so that mixing of incompatible waste does not inadvertently occur.  The analysis must include a visual comparison of color and texture.

BOARD NOTE:  As required by Section 725.113, the waste analysis plan must include analyses needed to comply with Sections 725.356 and 725.357.  As required by Section 725.173, the owner or operator must place the results of this analysis in the operating record of the facility.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.353	Containment

If leachate or run-off from a pile is a hazardous waste, then control of the leachate or runoff must be accomplished by either of the following means:

a)	Control by pile design, construction, and operation.

1)	The pile must be placed on an impermeable base that is compatible with the waste under the conditions of treatment or storage;

2)	The owner or operator must design, construct, operate and maintain a run-on control system capable of preventing flow onto the active portion of the pile during peak discharge from at least a 25-year storm;

3)	The owner or operator must design, construct, operate and maintain a run-off management system to collect and control at least the water volume resulting from a 24-hour, 25-year storm; and

4)	Collection and holding facilities (e.g., tanks or basins) associated with run-on and run-off control systems must be emptied or otherwise managed expeditiously to maintain design capacity of the system; or

b)	Alternative control.

1)	The pile must be protected from precipitation and runon by some other means; and

2)	No liquids or wastes containing free liquids may be placed in the pile.

BOARD NOTE:  If collected leachate or runoff is discharged through a point source to waters of the United States, it is subject to the requirements of Section 12 of the Illinois Environmental Protection Act [415 ILCS 5/12], as amended.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.354	Design and Operating Requirements

The owner or operator of each new waste pile on which construction commences after January 29, 1992, each lateral expansion of a waste pile unit on which construction commences after July 29, 1992, and each such replacement of an existing waste pile unit that is to commence reuse after July 29, 1992, shall must install two or more liners and a leachate collection and removal system above and between such liners and operate the leachate collection and removal systems, in accordance with 35 Ill. Adm. Code 724.351(c), unless exempted under 35 Ill. Adm. Code 724.351(d), (e) or (f); and shall must comply with the procedures of Section 725.321(b). “Construction commences” is as defined in 35 Ill. Adm. Code 720.110 under “existing facility.”. The owner or operator of each unit referred to in this Section shall must notify the Agency at least sixty days prior to receiving waste.  The owner or operator of each facility submitting notice shall must file a Part B application within six months of the receipt of such notice.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.355	Action Leakage Rates

a)	The owner or operator of waste pile units subject to Section 725.354 shall must submit a proposed action leakage rate to the Agency when submitting the notice required under Section 725.354.  Within 60 days of receipt of the notification, the Agency will: must either establish an action leakage rate, either as proposed by the owner or operator or modified using the criteria in this section; Section, or it must extend the review period for up to 30 days.  If no action is taken by the Agency before the original 60 or extended 90 day review periods period, the action leakage rate will must be approved as proposed by the owner or operator.

b)	The Agency shall must approve an action leakage rate for surface impoundment units subject to Section 725.354. The action leakage rate is the maximum design flow rate that the LDS can remove without the fluid head on the bottom liner exceeding 1 one foot.  The action leakage rate must include an adequate safety margin to allow for uncertainties in the design (e.g., slope, hydraulic conductivity, thickness of drainage material, etc.), construction, operation, and location of the LDS,; waste and leachate characteristics,; the likelihood and amounts of other sources of liquids in the LDS,; and proposed response actions (e.g., the action leakage rate must consider decreases in the flow capacity of the system over time resulting from siltation and clogging, rib layover, and creep of synthetic components of the system,; overburden pressures,; etc.).

c)	To determine if the action leakage rate has been exceeded, the owner or operator shall must convert the weekly flow rate from the monitoring data obtained under Section 725.360, to an average daily flow rate (gallons per acre per day) for each sump.  The average daily flow rate for each sump must be calculated weekly during the active life and closure period.

d)	Final Agency determinations pursuant to this Section are deemed to be permit denials for purposes of appeal to the Board pursuant to Section 40 of the Environmental Protection Act [415 ILCS 5/40].

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.356	Special Requirements for Ignitable or Reactive Waste Wastes

Ignitable or reactive waste must not be placed in a pile, unless the waste and pile meet all applicable requirements of 35 Ill. Adm. Code 728, and either of the following is true:

a)	Addition Both of the following are true of addition of the waste to an existing pile:

1)	Results The addition results in the waste or mixture no longer meeting the definition of ignitable or reactive waste under 35 Ill. Adm. Code 721.121 or 721.123; and

2)	Complies The addition complies with Section 725.117(b); or

b)	The waste is managed in such a way that it is protected from any material or conditions which that may cause it to ignite or react.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.357	Special Requirements for Incompatible Wastes

a)	Incompatible wastes, or incompatible wastes and materials (see Appendix V of 40 CFR 265, incorporated by reference in 35 Ill. Adm. Code 720.111(b), for examples) must not be placed in the same pile, unless § Section 725.117(b) is complied with.

b)	A pile of hazardous waste that is incompatible with any waste or other material stored nearby in other containers, piles, open tanks, or surface impoundments must be separated from the other materials or protected from them by means of a dike, berm, wall, or other device.

Comment:  BOARD NOTE:  The purpose of this is to prevent fires, explosions, gaseous emissions, leaching, or other discharge of hazardous waste or hazardous waste constituents which that could result from the contact or mixing of incompatible wastes or materials.

c)	Hazardous waste must not be piled on the same area where incompatible wastes or materials were previously piled, unless that area has been decontaminated sufficiently to ensure compliance with § Section 725.117(b).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.358	Closure and Post-closure Post-Closure Care

a)	At closure, the owner or operator must remove or decontaminate all waste residues, contaminated containment system components (liners, etc.), contaminated subsoils, and structures and equipment contaminated with waste and leachate, and manage them as hazardous waste, unless 35 Ill. Adm. Code 721.103(d) applies; or

b)	If, after removing or decontaminating all residues and making all reasonable efforts to effect removal or decontamination of contaminated components, subsoils, structures, and equipment, as required in paragraph subsection (a) of this Section, the owner or operator finds that not all contaminated subsoils can be practicably removed or decontaminated, it must close the facility and perform post-closure care in accordance with the closure and post-closure requirements that apply to landfills (Section 725.410).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.359	Response Actions

a)	The owner or operator of waste pile units subject to Section 725.354 shall must submit a response action plan to the Agency when submitting the proposed action leakage rate under Section 725.355. The response action plan must set forth the actions to be taken if the action leakage rate has been exceeded.  At a minimum, the response action plan must describe the actions specified in subsection (b) below of this Section.

b)	If the flow rate into the leak determination system exceeds the action leakage rate for any sump, the owner or operator shall must do the following:

1)	Notify the Agency in writing of the exceedence within 7 seven days of the determination;

2)	Submit a preliminary written assessment to the Agency within 14 days of the determination, as to the amount of liquids,; likely sources of liquids,; possible location, size, and cause of any leaks,; and short-term actions taken and planned;

3)	Determine to the extent practicable the location, size, and cause of any leak;

4)	Determine whether waste receipts should cease or be curtailed,; whether any waste should be removed from the unit for inspection, repairs, or controls,; and whether or not the unit should be closed;

5)	Determine any other short-term and longer-term actions to be taken to mitigate or stop any leaks; and

6)	Within 30 days after the notification that the action leakage rate has been exceeded, submit to the Agency the results of the determinations specified in subsections (b)(3), (4) and through (b)(5) above of this Section, the results of actions taken, and actions planned. Monthly thereafter, as long as the flow rate in the LDS exceeds the action leakage rate, the owner or operator shall must submit to the Agency a report summarizing the results of any remedial actions taken and actions planned.

c)	To make the leak or remediation determinations in subsections (b)(3), (4) and through (b)(5) above of this Section, the owner or operator shall must do either of the following:

1)	Perform the following assessments:

A)	Assess the source of liquids and amounts of liquids by source;

B)	Conduct a fingerprint, hazardous constituent, or other analyses of the liquids in the LDS to identify the source of liquids and possible location of any leaks, and the hazard and mobility of the liquid; and

C)	Assess the seriousness of any leaks in terms of potential for escaping into the environment; or

2)	Document why such assessments are not needed.

d)	Final Agency determinations pursuant to this Section are deemed to be permit denials for purposes of appeal to the Board pursuant to Section 40 of the Environmental Protection Act [415 ILCS 5/40].

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.360	Monitoring and Inspection Inspections

An owner or operator required to have a LDS under Section 725.354 shall must record the amount of liquids removed from each LDS sump at least once each week during the active life and closure period.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART M: LAND TREATMENT

- Section 725.370	Applicability

The regulations in this subpart Subpart M apply to owners and operators of hazardous waste land treatment facilities, except as § Section 725.101 provides otherwise.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.372	General Operating Requirements

a)	Hazardous waste must not be placed in or on a land treatment facility, unless the waste can be made less hazardous or non-hazardous by degradation, transformation, or immobilization processes occurring in or on the soil.

b)	The owner or operator must design, construct, operate, and maintain a run-on control system capable of preventing flow onto the active portions of the unit during peak discharge from at least a 25-year storm.

c)	The owner or operator must design, construct, operate, and maintain a run-off management system capable of collecting and controlling a water volume at least equivalent to a 24-hour, 25-year storm.

d)	Collection and holding facilities (e.g., tanks or basins) associated with run-on and run-off control systems must be emptied or otherwise managed expeditiously after storms to maintain design capacity of the system.

e)	If the treatment zone contains particulate matter which that may be subject to wind dispersal the owner or operator must manage the unit to control wind dispersal.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.373	Waste Analysis

In addition to the waste analyses required by Section 725.113, before placing a hazardous waste in or on a land treatment facility, the owner or operator shall must do each of the following:

a)	Determine the concentrations in the waste of any substances which that equal or exceed the maximum concentrations contained in 35 Ill. Adm. Code 721.124 that cause a waste to exhibit the toxicity characteristic;

b)	For any waste listed in Subpart D of 35 Ill. Adm. Code 721.Subpart D, determine the concentrations of any substances which that caused the waste to be listed as a hazardous waste; and

c)	If food chain crops are grown, determine the concentrations in the waste of each of the following constituents:  arsenic, cadmium, lead, and mercury, unless the owner or operator has written, documented data that show that the constituent is not present.

BOARD NOTE:  35 Ill. Adm. Code 721 specifies the substances for which a waste is listed as a hazardous changed "shall" to "must"waste.  As required by Section 725.113 the waste analysis plan must include analyses needed to comply with Sections 725.381 and 725.382.  As required by Section 725.173, the owner or operator shall must place the results from each waste analysis, or the documented information, in the operating record of the facility.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.376	Food Chain Crops

a)	An owner or operator of a hazardous waste land treatment facility on which food chain crops are being grown, or have been grown and will be grown in the future, must notify have notified the Director Agency by July 16, 1982.

(Board Note:  BOARD NOTE:  The growth of food chain crops at a facility which that has never before been used for this purpose is a significant change in process under 35 Ill. Adm. Code 703.155.  Owners and operators the owner or operator of such a land treatment facilities who propose facility that proposes to grow food chain crops after the effective date of this Part must comply with 35 Ill. Adm. Code 703.155

b)	Limitation relating to arsenic, lead, mercury, and other constituents.

1)	Food chain crops must not be grown on the treated area of a hazardous waste land treatment facility, unless the owner or operator can demonstrate, based on field testing, that either of the following is true of any arsenic, lead, mercury, or other constituents identified under Section 725.373(b):

A)	Will They will not be transferred to the food portion of the crop by plant uptake or direct contact and will not otherwise be ingested by food chain animals (e.g., by grazing); or

B)	Will They will not occur in greater concentrations in the crops grown on the land treatment facility than in the same crops grown on untreated soils under similar conditions in the same region.

2)	The information necessary to make the demonstration required by paragraph subsection (b)(1) of this Section must be kept at the facility and must, at a minimum, fulfill the following conditions:

A)	Be It must be based on tests for the specific waste and application rates being used at the facility; and

B)	Include It must include descriptions of crop and soil characteristics, sample selection, criteria, sample size determination, analytical methods, and statistical procedures.

c)	Limitation relating to cadmium.  Food chain crops must not be grown on a land treatment facility receiving waste that contains cadmium unless all requirements of paragraph subsections (c)(1)(A) through (c)(1)(C) of this Section or all requirements of paragraph subsection (c)(2)(A) through (c)(2)(D) of this Section are met.

1)	Cadmium limitation for crops for human consumption.  Application of waste must comply with all of the following conditions:

A)	The pH of the waste and soil mixture is 6.5 or greater at the time of each waste application, except for waste containing cadmium at concentrations of 2 mg/kg (dry weight) or less;

B)	The annual application of cadmium from waste does not exceed 0.5 kilograms per hectare (kg/ha) on land used for production of tobacco, leafy vegetables, or root crops grown for human consumption.  For other food chain crops the annual cadmium application rate does not exceed the following:

ANNUAL CADMIUM APPLICATION RATE

(kilograms per hectare)

Present to June 30, 1984	2.0

July 1, 1984 to December 31, 1986	1.25

Beginning January 1, 1987	0.5

C)	The cumulative application of cadmium from waste does not exceed the levels in either paragraph subsection (c)(1)(C)(i) or paragraph (c)(1)(C)(ii) of this Section.

i)	Maximum cumulative application of cadmium.

MAXIMUM CUMULATIVE APPLICATION OF CADMIUM

(kilograms per hectare)

FOR BACKGROUND SOIL pH LESS THAN 6.5

Soil cation exchange capacity (milliequivalents per 100 grams)

Less than 5	5

5-155 to 15	5

Greater than 15	5

FOR BACKGROUND SOIL pH GREATER THAN 6.5

Soil cation exchange capacity (milliequivalents per 100 grams)

Less than 5	 5

5 to 15	10

Greater than 15	20

ii)	For soils with a background pH of less than 6.5, the cumulative cadmium application rate does not exceed the levels below: (provided, that the pH of the waste and soil mixture is adjusted to and maintained at 6.5 or greater whenever food chain crops are grown.):

MAXIMUM CUMULATIVE APPLICATION OF CADMIUM

(kilograms per hectare)

FOR BACKGROUND SOIL pH LESS THAN 6.5 WITH pH ADJUSTMENT

Soil Cation exchange capacity (milliequivalents per 100 grams)

Less than 5	5

5 to 15	10

Greater than 15	20

2)	Cadmium limitation for crops for animal feed.  Application of waste must comply with all of the following conditions:

A)	The only food chain crop produced is animal feed.;

B)	The pH of the waste and soil mixture is 6.5 or greater at the time of waste application or at the time the crop is planted, whichever occurs later and this pH level is maintained whenever food chain crops are grown.;

C)	There is a facility operating plan which that demonstrates how the animal feed will be distributed to preclude ingestion by humans.  The facility operating plan describes the measures to be taken to safeguard against possible health hazards from cadmium entering the food chain which that may result from alternative land uses.; and

D)	Future property owners are notified by a stipulation in the land record or property deed which that states that the property has received waste at high cadmium application rates and that food chain crops must not be grown except in compliance with paragraph subsection (c)(2) of this Section.

(Board Note:  BOARD NOTE:  As required by Section 725.173, if an owner or operator grows food chain crops on his land treatment facility, he must place the information developed in this section Section in the operating record of the facility.)

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.378	Unsaturated Zone (Zone of Aeration) Monitoring

a)	The owner or operator shall must have in writing, and shall must implement, an unsaturated zone monitoring plan that is designed to accomplish the following:

1)	Detect It must detect the vertical migration of hazardous waste and hazardous waste constituents under the active portion of the land treatment facility, and

2)	Provide It must provide information on the background concentrations of the hazardous waste and hazardous waste constitients constituents in similar but untreated soil nearby.  This background monitoring must be conducted before or in conjunction with the monitoring required under subsection (a)(1) above of this Section.

b)	The unsaturated zone monitoring plan must include, at a minimum, both of the following:

1)	Soil monitoring using soil cores, and

2)	Soil-pore water monitoring using devices, such as lysimeters.

c)	To comply with subsection (a)(1) above of this Section, the owner or operator must demonstrate in his unsaturated zone monitoring plan that ensures the following:

1)	The depth at which soil and soil-pore water samples are to be taken is below the depth to which the waste is incorporated into the soil;

2)	The number of soil and soil-pore water samples to be taken is based on the variability of the following:

A)	The hazardous waste constituents (as identified in Section 725.373(a) and(b)) in the waste and in the soil, and

B)	The soil types; and

3)	The frequency and timing of soil and soil-pore water sampling is based on the frequency, time, and rate of waste application, proximity to ground water, and soil permeability.

d)	The owner or operator shall must keep at the facility its unsaturated zone monitoring plan and the rationale used in developing this plan.

e)	The owner or operator shall must analyze the soil and soil-pore water samples for the hazardous waste constituents that were found in the waste during the waste analysis under Section 725.373(a) and (b).

BOARD NOTE:  As required by Section 725.173, the owner or operator must place all data and information developed under this Section in the operating record of the facility.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.380	Closure and Post-closure Post-Closure Care

a)	In the closure plan under Section 725.212 and the post-closure plan under Section 725.218 the owner or operator must address the following objectives and indicate how they will be achieved:

1)	Control of the migration of hazardous waste and hazardous waste constituents from the treated area into the groundwater;

2)	Control of the release of contaminated runoff from the facility into surface water;

3)	Control of the release of airborne particulate contaminants caused by wind erosion; and

4)	Compliance with Section 725.376 concerning the growth of food-chain crops.

b)	The owner or operator must consider at least the following factors in addressing the closure and post-closure care objectives of paragraph subsection (a) of this section Section:

1)	Type The type and amount of hazardous waste and hazardous waste constituents applied to the land treatment facility;

2)	The mobility and the expected rate of migration of the hazardous waste and hazardous waste constituents;

3)	Site The site location, topography, and surrounding land use with respect to the potential effects of pollutant migration (e.g., proximity to groundwater, surface water, and drinking water sources);

4)	Climate, including amount, frequency, and pH of precipitation;

5)	Geological and soil profiles and surface and subsurface hydrology of the site and soil characteristics, including cation exchange capacity, total organic carbon, and pH;

6)	Unsaturated zone monitoring information obtained under Section 725.378; and

7)	Type, The type, concentration, and depth of migration of hazardous waste constituents in the soil, as compared to their background concentrations.

c)	The owner or operator must consider at least the following methods in addressing the closure and post-closure care objectives of paragraph subsection (a) of this section Section:

1)	Removal of contaminated soils;

2)	Placement of a final cover, considering the following:

A)	Functions of the cover (e.g., infiltration control, erosion and runoff control, and wind erosion control); and

B)	Characteristics of the cover, including material, final surface contours, thickness, porosity and permeability, slope, length of run of slope, and type of vegetation on the cover; and

3)	Monitoring of groundwater.

d)	In addition to the requirements of Subpart G of this Part during the closure period the owner or operator of a land treatment facility must do the following:

1)	Continue It must continue unsaturated zone monitoring in a manner and frequency specified in the closure plan, except that soil pore liquid monitoring may be terminated 90 days after the last application of waste to the treatment zone;

2)	Maintain It must maintain the run-on control system required under Section 725.372(b);

3)	Maintain It must maintain the run-off management system required under Section 725.372(c); and

4)	Control It must control wind dispersal of particulate matter which that may be subject to wind dispersal.

e)	For the purpose of complying with Section 725.215, when closure is completed the owner or operator may submit to the Agency certification both by the owner or operator and by an independent qualified soil scientist, in lieu of an independent registered professional engineer, that the facility has been closed in accordance with the specifications in the approved closure plan.

f)	In addition to the requirements of Section 725.217, during the post-closure care period the owner or operator of a land treatment unit must fulfill the following requirements:

1)	Continue It must continue soil-core monitoring by collecting and analyzing samples in a manner and frequency specified in the post-closure plan;

2)	Restrict I must restrict access to the unit as appropriate for its post-closure use;

3)	Assure It must assure that growth of food chain crops complies with Section 725.376; and

4)	Control It must control wind dispersal of hazardous waste.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.381	Special Requirements for Ignitable or Reactive Waste Wastes

The owner or operator shall must not apply ignitable or reactive waste to the treatment zone unless the waste and treatment zone meet all applicable requirements of 35 Ill. Adm. Code 728, and:

a)	The waste is immediately incorporated into the soil so that the following conditions are fulfilled:

1)	The resulting waste, mixture, or dissolution of material no longer meets the definition of ignitable or reactive waste under  35 Ill. Adm. Code 721.121 or 721.123; and

2)	Section 724.117(b) is complied with; or

b)	The waste is managed in such a way that it is protected from any material or conditions which that may cause it to ignite or react.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.382	Special Requirements for Incompatible Wastes

Incompatible wastes or incompatible wastes and materials (see Appendix V of 40 CFR 265, incorporated by reference in 35 Ill. Adm. Code 720.111(b), for examples), must not be placed in the same land treatment area unless § Section 725.117(b) is complied with.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART N: LANDFILLS

- Section 725.400	Applicability

The regulations in this subpart Subpart N apply to owners and operators of facilities that dispose of hazardous waste in landfills, except as § Section 725.101 provides otherwise.  A waste pile used as a disposal facility is a landfill and is governed by this subpart Subpart N.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.401	Design Requirements

a)	The owner or operator of each new landfill unit on which construction commences after January 29, 1992, each lateral expansion of a landfill unit on which construction commences after July 29, 1992, and each replacement of an existing landfill unit that is to commence reuse after July 29, 1992, shall must install two or more liners and a leachate collection and removal system above and between such liners, and operate the leachate collection and removal systems, in accordance with 35 Ill. Adm. Code 724.401(c), unless exempted by 35 Ill. Adm. Code 724.401(d), (e) or (f). “Construction commences” is as defined in 35 Ill. Adm. Code 720.110 under “existing facility.”.

b)	The owner or operator of each unit referred to in subsection (a) above shall of this Section must notify the Agency at least sixty days prior to receiving waste.  The owner or operator of each facility submitting notice shall must file a Part B application within six months of the receipt of such notice.

c)	The owner or operator of any replacement landfill unit is exempt from subsection (a) above of this Section if both of the following are true:

1)	The existing unit was constructed in compliance with the design standards of 35 Ill. Adm. Code 724.401(c), (d), and (e), as amended in R86-1, at 10 Ill. Reg. 14119, effective August 12, 1986; and

BOARD NOTE: The cited subsections implemented the design standards of sections 3004(o)(1)(A)(i) and (o)(5) of the Resource Conservation and Recovery Act (42 U.S.C. 6901 et seq. 6924(o)(1)(A)(i) and (o)(5)).

2)	There is no reason to believe that the liner is not functioning as designed.

d)	The Agency shall must not require a double liner as set forth in subsection (a) above of this Section for any monofill, if the following conditions are fulfilled:

1)	The monofill contains only hazardous wastes from foundry furnace emission controls or metal casting molding sand, and such waste does not contain constituents which that render the wastes hazardous for reasons other the toxicity characteristic in 35 Ill. Adm. Code 721.124, with hazardous waste number D004 through D017; and

2)	Alternative demonstration.

A)	Liner and location requirements.

i)	The monofill has at least one liner for which there is no evidence that such liner is leaking;

ii)	The monofill is located more than one-quarter mile from an underground source of drinking water (as that term is defined in 35 Ill. Adm. Code 702.110); and

iii)	The monofill is in compliance with generally applicable groundwater monitoring requirements for facilities with RCRA permits; or

B)	The owner or operator demonstrates to the Board that the monofill is located, designed, and operated so as to assure that there will be no migration of any hazardous constituent into groundwater or surface water at any future time.

e)	In the case of any unit in which the liner and leachate collection system have been installed pursuant to the requirements of subsection (a) above of this Section, and in good faith compliance with subsection (a) above of this Section and with guidance documents governing liners and leachate collection systems under subsection (a) above of this Section, the Agency shall must not require a liner or leachate collection system which that is different from that which was so installed pursuant to subsection (a) above of this Section when issuing the first permit to such facility, except that the Agency is not precluded from requiring installation of a new liner when the Agency finds that any liner installed pursuant to the requirements of subsection (a) above of this Section is leaking.

f)	The owner or operator shall must design, construct, operate, and maintain a run-on control system capable of preventing flow onto the active portion of the landfill during peak discharge from at least a 25-year storm.

g)	The owner or operator shall must design, construct, operate, and maintain a run-off management system to collect and control at least the water volume resulting from a 24 hour, 25-year storm.

h)	Collection and holding facilities (e.g., tanks or basins) associated with run-on and run-off control systems must be emptied or otherwise managed expeditiously after storms to maintain design capacity of the system.

i)	The owner or operator of a landfill containing hazardous waste which that is subject to dispersal by wind shall must cover or otherwise manage the landfill so that wind dispersal of the hazardous waste is controlled.

BOARD NOTE: As required by Section 725.113, the waste analysis plan must include analyses needed to comply with Sections 725.412, 725.413, and 725.414.  As required by Section 725.173, the owner or operator shall must place the results of these analyses in the operating record of the facility.

j)	Refusal to grant an exemption or waiver, or grant with conditions, may be appealed to the Board.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.402	Action Leakage Rate

a)	The owner or operator of landfill units subject to Section 725.401(a) shall must submit a proposed action leakage rate to the Agency when submitting the notice required under Section 725.401(b).  Within 60 days of receipt of the notification, the Agency will: Establish must establish an action leakage rate, either as proposed by the owner or operator or modified using the criteria in this section; Section, or extend the review period for up to 30 days.  If no action is taken by the Agency before the original 60 or extended 90 day review periods, the action leakage rate will be approved as proposed by the owner or operator.

b)	The Agency shall must approve an action leakage rate for landfill units subject to Section 725.401(a).  The action leakage rate is the maximum design flow rate that the LDS can remove without the fluid head on the bottom liner exceeding 1 one foot.  The action leakage rate must include an adequate safety margin to allow for uncertainties in the design (e.g., slope, hydraulic conductivity, thickness of drainage material),; construction, operation, and location of the LDS,; waste and leachate characteristics, likelihood and amounts of other sources of liquids in the LDS,; and proposed response actions (e.g., the action leakage rate must consider decreases in the flow capacity of the system over time resulting from siltation and clogging, rib layover, and creep of synthetic components of the system,; overburden pressures,; etc.).

c)	To determine if the action leakage rate has been exceeded, the owner or operator shall must convert the weekly or monthly flow rate from the monitoring data obtained under Section 725.404 to an average daily flow rate (gallons per acre per day) for each sump. The average daily flow rate for each sump must be calculated weekly during the active life and closure period, and monthly during the post-closure care period unless the Agency approves a different period under Section 725.404(b).

d)	Final Agency determinations pursuant to this Section are deemed to be permit denials for purposes of appeal to the Board pursuant to Section 40 of the Environmental Protection Act [415 ILCS 5/40].

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.403	Response Actions

a)	The owner or operator of landfill units subject to Section 725.401(a) shall must submit a response action plan to the Agency when submitting the proposed action leakage rate under Section 725.402.  The response action plan must set forth the actions to be taken if the action leakage rate has been exceeded.  At a minimum, the response action plan must describe the actions specified in subsection (b) below of this Section.

b)	If the flow rate into the LDS exceeds the action leakage rate for any sump, the owner or operator shall must do each of the following:

1)	Notify the Agency in writing of the exceedence within 7 seven days of the determination;

2)	Submit a preliminary written assessment to the Agency within 14 days of the determination, as to the amount of liquids,; likely sources of liquids,; possible location, size, and cause of any leaks,; and short-term actions taken and planned;

3)	Determine to the extent practicable the location, size, and cause of any leak;

4)	Determine whether waste receipt should cease or be curtailed,; whether any waste should be removed from the unit for inspection, repairs ,or controls,; and whether or not the unit should be closed;

5)	Determine any other short-term and longer-term actions to be taken to mitigate or stop any leaks; and

6)	Within 30 days after the notification that the action leakage rate has been exceeded, submit to the Agency the results of the determinations specified in subsections (b)(3), (4) and through (b)(5) above of this Section, the results of actions taken, and actions planned.  Monthly thereafter, as long as the flow rate in the LDS exceeds the action leakage rate, the owner or operator shall must submit to the Agency a report summarizing the results of any remedial actions taken and actions planned.

c)	To make the leak or remediation determinations in subsections (b)(3), (4) and through (b)(5) above of this Section, the owner or operator shall must do either of the following:

1)	Perform the following assessments:

A)	Assess the source of liquids and amounts of liquids by source;

B)	Conduct a fingerprint, hazardous constituent or other analyses of the liquids in the LDS to identify the source of liquids and possible location of any leaks, and the hazard and mobility of the liquid; and

C)	Assess the seriousness of any leaks in terms of potential for escaping into the environment; or

2)	Document why such assessments are not needed.

d)	Final Agency determinations pursuant to this Section are deemed to be permit denials for purposes of appeal to the Board pursuant to Section 40 of the Environmental Protection Act [415 ILCS 5/40].

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.404	Monitoring and Inspection Inspections

a)	An owner or operator required to have an LDS under Section 725.401(a) shall must record the amount of liquids removed from each LDS sump at least once each week during the active life and closure period.

b)	After the final cover is installed, the amount of liquids removed from each LDS sump must be recorded at least monthly.  If the liquid level in the sump stays below the pump operating level for two consecutive months, the amount of liquids in the sumps must be recorded at least quarterly.  If the liquid level in the sump stays below the pump operating level for two consecutive quarters, the amount of liquids in the sumps must be recorded at least semi-annually.  If at any time during the post-closure care period the pump operating level is exceeded at units on quarterly or semi-annual recording schedules, the owner or operator shall must return to monthly recording of amounts of liquids removed from each sump until the liquid level again stays below the pump operating level for two consecutive months.

c)	“Pump operating level” is a liquid level proposed by the owner or operator and approved by the Agency based on pump activation level, sump dimensions and level that avoids backup into the drainage layer and minimizes head in the sump. The timing for submission and approval of the proposed “pump operating level” will be in accordance with Section 725.402(a).

d)	Final Agency determinations pursuant to this Section are deemed to be permit denials for purposes of appeal to the Board pursuant to Section 40 of the Environmental Protection Act [415 ILCS 5/40].

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.410	Closure and Post-closure Post-Closure Care

a)	At final closure of the landfill or upon closure of any cell, the owner or operator shall must cover the landfill or cell with a final cover designed and constructed to accomplish the following:

1)	Provide It must provide long-term minimization of migration of liquids through the closed landfill;

2)	Function It must function with minimum maintenance;

3)	Promote It must promote drainage and minimize erosion or abrasion of the cover;

4)	Accommodate It must accommodate settling and subsidence so that the cover’s integrity is maintained; and

5)	Have It must have a permeability less than or equal to the permeability of any bottom liner system or natural subsoils present.

b)	After final closure, the owner or operator shall must comply with all post-closure requirements contained in Section 725.217 through 725.220 including maintenance and monitoring throughout the post-closure care period.  The owner or operator shall must do the following:

1)	Maintain It must maintain the integrity and effectiveness of the final cover, including making repairs to the cover as necessary to correct the effects of settling, subsidence, erosion, or other events;

2)	Maintain It must maintain and monitor the LDS in accordance with 35 Ill. Adm. Code 724.401(c)(3)(D) and (c)(4) and Section 725.404(b), and comply with all other applicable LDS requirements of this Part;

3)	Maintain It must maintain and monitor the groundwater monitoring system and comply with all other applicable requirements of Subpart F of this Part;

4)	Prevent It must prevent run-on and run-off from eroding or otherwise damaging the final cover; and

5)	Protect It must protect and maintain surveyed benchmarks used in complying with Section 725.409.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.412	Special Requirements for Ignitable or Reactive Waste Wastes

a)	Except as provided in subsection (b) of this Section and in Section 725.416, ignitable or reactive waste must not be placed in a landfill, unless the waste and landfill meets all applicable requirements of 35 Ill. Adm. Code 728, and the waste is treated, rendered or mixed before or immediately after placement in a landfill so that both of the following conditions are fulfilled:

1)	The resulting waste, mixture, or dissolution of material no longer meets the definition of ignitable or reactive waste under 35 Ill. Adm. Code 721.121 or 721.123; and

2)	Section 725.117(b) is complied with.

b)	Except for prohibited wastes which that remain subject to treatment standards in Subpart D of 35 Ill. Adm. Code 728.Subpart D, ignitable waste in containers may be landfilled without meeting the requirements of subsection (a) of this Section, provided that the wastes are disposed of in such a way that they are protected from any material or conditions which that may cause them to ignite.  At a minimum, ignitable wastes must be disposed of in non-leaking containers which that are carefully handled and placed so as to avoid heat, sparks, rupture, or any other condition that might cause ignition of the wastes; must be covered daily with soil or other non-combustible material to minimize the potential for ignition of the wastes; and must not be disposed in cells that contain or will contain other wastes which that may generate heat sufficient to cause ignition of the waste.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.413	Special Requirements for Incompatible Wastes

Incompatible wastes or incompatible wastes and materials (see Appendix V of 40 CFR 265, incorporated by reference in 35 Ill. Adm. Code 720.111(b), for examples) must not be placed in the same landfill cell, unless § Section 725.117(b) is complied with.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.414	Special Requirements for Liquid Wastes

a)	This subsection (a) corresponds with 40 CFR 265.314(a), which pertains to the placement of bulk or non-containerized liquid waste or waste containing free liquids in a landfill prior to May 8, 1985.  This statement maintains structural consistency with USEPA rules.

b)	The placement of bulk or non-containerized liquid hazardous waste or hazardous waste containing free liquids (whether or not sorbents have been added) in any landfill is prohibited.

c)	Containers holding free liquids must not be placed in a landfill unless one of the following conditions is fulfilled:

1)	All One of the following occurs with regard to all free-standing liquid:

A)	It has been removed by decanting or other methods;

B)	It has been mixed with sorbent or solidified so that free-standing liquid is no longer observed; or

C)	It has been otherwise eliminated; or

2)	The container is very small, such as an ampule; or

3)	The container is designed to hold free liquids for use other than storage, such as a battery or capacitor; or

4)	The container is a lab pack, as defined in Section 724.416 and is disposed of in accordance with Section 724.416.

d)	To demonstrate the absence or presence of free liquids in either a containerized or a bulk waste, the following test must be used:  Method 9095 (Paint Filter Liquids Test), as described in “Test Methods for Evaluating Solid Wastes, Physical/Chemical Methods,”, USEPA Publication No. SW-846, incorporated by reference in 35 Ill. Adm. Code 720.111(a).

e)	The placement of any liquid that is not a hazardous waste in a landfill is prohibited (35 Ill. Adm. Code 729.311).

f)	Sorbents used to treat free liquids to be disposed of in landfills must be nonbiodegradable.  Nonbiodegradable sorbents are one of the following:  materials listed or described in subsection (f)(1) of this Section; materials that pass one of the tests in subsection (f)(2) of this Section; or materials that are determined by the Board to be nonbiodegradable through the adjusted standard procedure of Section 28.1 of the Act [415 ILCS 5/28.1] and Subpart D of 35 Ill. Adm. Code 106 adjusted standard process 104.

1)	Nonbiodegradable sorbents are the following:

A)	Inorganic minerals, other inorganic materials, and elemental carbon (e.g., aluminosilicates, clays, smectites, Fuller’s earth, bentonite, calcium bentonite, montmorillonite, calcined montmorillonite, kaolinite, micas (illite), vermiculites, zeolites;, calcium carbonate (organic free limestone);, oxides/hydroxides, alumina, lime, silica (sand), diatomaceous earth;, perlite (volcanic glass);, expanded volcanic rock;, volcanic ash;, cement kiln dust;, fly ash;, rice hull ash;, activated charcoal/activated carbon); or

B)	High molecular weight synthetic polymers (e.g., polyethylene, high density polyethylene (HDPE), polypropylene, polystyrene, polyurethane, polyacrylate, polynorborene, polyisobutylene, ground synthetic rubber, cross-linked allylstyrene, and tertiary butyl copolymers).  This does not include polymers derived from biological material or polymers specifically designed to be degradable; or

C)	Mixtures of these nonbiodegradable materials.

2)	Tests for nonbiodegradable sorbents.

A)	The sorbent material is determined to be nonbiodegradable under ASTM Method G21-70 (1984a)--”Standard Practice for Determining Resistance of Synthetic Polymer Materials to Fungi,”, incorporated by reference in 35 Ill. Adm. Code 720.111(a);

B)	The sorbent material is determined to be nonbiodegradable under ASTM Method G22-76 (1984b)--”Standard Practice for Determining Resistance of Plastics to Bacteria,”, incorporated by reference in 35 Ill. Adm. Code 720.111(a); or

C)	The sorbent material is determined to be non-biodegradable under OECD test 301B (CO2 Evolution (Modified Sturm Test)), incorporated by reference in 35 Ill. Adm. Code 720.111(a).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.415	Special Requirements for Containers

Unless they are very small, such as an ampule, containers must be in either of the following conditions:

a)	At They must be at least 90 percent full when placed in the landfill; or

b)	Crushed, They must be crushed, shredded, or similarly reduced in volume to the maximum practical extent before burial in the landfill.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.416	Disposal of Small Containers of Hazardous Waste in Overpacked Drums (Lab Packs)

Small containers of hazardous waste in overpacked drums (lab packs) may be placed in a landfill if the following requirements are met:

a)	Hazardous waste must be packaged in non-leaking inside containers.  The inside containers must be of a design and constructed of a material that will not react dangerously with, be decomposed by, or be ignited by the waste held therein.  Inside containers must be tightly and securely sealed.  The inside containers must be of the size and type specified in the Department of Transportation (USDOT) hazardous materials regulations, (49 CFR 173, 178, and 179), incorporated by reference in 35 Ill. Adm. Code 720.111(b), if those regulations specify a particular inside container for the waste.

b)	The inside containers must be overpacked in an open head USDOT-specification metal shipping container, (49 CFR 178 and 179), incorporated by reference in 35 Ill. Adm. Code 720.111(b), of no more than 416 liter (110 gallon) capacity and surrounded by, at a minimum, a sufficient quantity of sorbent material, determined to be nonbiodegradable in accordance with 35 Ill. Adm. Code 725.414(f) to completely sorb all of the liquid contents of the inside containers.  The metal outer container must be full after packing with inside containers and sorbent material.

c)	The sorbent material used must not be capable of reacting dangerously with, being decomposed by, or being ignited by the contents of the inside containers, in accordance with Section 725.117(b).

d)	Incompatible wastes, as defined in 35 Ill. Adm. Code 720.110, must not be placed in the same outside container.

e)	Reactive waste, other than cyanide- or sulfide-bearing waste, as defined in 35 Ill. Adm. Code 721.123(a)(5), must be treated or rendered non-reactive prior to packaging in accordance with subsections (a) through (d) of this Section.  Cyanide- or sulfide-bearing reactive waste may be packaged in accordance with subsections (a) through (d) of this Section without first being treated or rendered non-reactive.

f)	Such disposal is in compliance with the requirements of 35 Ill. Adm. Code 728.  Persons who that incinerate lab packs according to the requirements of 35 Ill. Adm. Code 728.142(c)(1) may use fiber drums in place of metal outer containers. Such fiber drums must meet the USDOT specifications in 49 CFR 171.12 173.12 and be overpacked according to subsection (b), above of this Section.

g)	Pursuant to 35 Ill. Adm. Code 729.312, the use of labpacks for disposal of liquid wastes or wastes containing free liquids allowed under this Section is restricted to labwaste and non-periodic waste, as those terms are defined in that Part.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART O: INCINERATORS

- Section 725.440	Applicability

a)	The regulations in this Subpart O of this Part apply to owners or operators of hazardous waste incinerators (as defined in 35 Ill. Adm. Code 720.110), except as 35 Ill. Adm. Code 724.101 provides otherwise.

b)	Integration of the MACT standards.

1)	Except as provided by subsections (b)(2) and (b)(3) of this Section, the standards of this Part no longer apply when an owner or operator demonstrates compliance with the maximum achievable control technology (MACT) requirements of Subpart EEE of 40 CFR 63, Subpart EEE, incorporated by reference in 35 Ill. Adm. Code 720.111(b), by conducting a comprehensive performance test and submitting to the Agency a Notification of Compliance, under 40 CFR 63.1207(j) and 63.1210(b), documenting compliance with the requirements of Subpart EEE of 40 CFR 63, Subpart EEE.

2)	The MACT standards of Subpart EEE of 40 CFR 63, Subpart EEE do not replace the closure requirements of Section 724.451 or the applicable requirements of Subparts A through H, BB, and CC of this Part.

3)	Section 725.445, generally prohibiting burning of hazardous waste during startup and shutdown, remains in effect if the owner or operator elects to comply with 35 Ill. Adm. Code 703.320(b)(1)(A) to minimize emissions of toxic compounds from startup and shutdown.

BOARD NOTE::  Operating conditions used to determine effective treatment of hazardous waste remain effective after the owner or operator demonstrates compliance with the standards of Subpart EEE of 40 CFR 63, subpart EEE.  Sections 9.1 and 39.5 of the Environmental Protection Act [415 ILCS 5/9.1 and 39.5] make the federal MACT standards directly applicable to entities in Illinois and authorize the Agency to issue permits based on the federal standards.

c)	An owner or operator of an incinerator that burns hazardous waste is exempt from all of the requirements of this Subpart O, except Section 725.451 (Closure), provided that the owner or operator has documented, in writing, that the waste would not reasonably be expected to contain any of the hazardous constituents listed in Appendix H to 35 Ill. Adm. Code 721 and such documentation is retained at the facility, if the waste to be burned is one of the following:

1)	It is listed as a hazardous waste in Subpart D of 35 Ill. Adm. Code 721, solely because it is ignitable (Hazard Code I), corrosive (Hazard Code C), or both;

2)	It is listed as a hazardous waste in Subpart D of 35 Ill. Adm. Code 721, solely because it is reactive (Hazard Code R) for characteristics other than those listed in 35 Ill. Adm. Code 721.123(a)(4) and (a)(5), and will not be burned when other hazardous wastes are present in the combustion zone;

3)	It is a hazardous waste solely because it possesses the characteristic of ignitability, corrosivity, or both, as determined by the tests for characteristics of hazardous wastes under Subpart C of 35 Ill. Adm. Code 721; or

4)	It is a hazardous waste solely because it possesses the reactivity characteristics described by 35 Ill. Adm. Code 721.123 (a)(1), (a)(2), (a)(3), (a)(6), (a)(7), or (a)(8) and will not be burned when other hazardous wastes are present in the combustion zone.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.441	Waste Analysis

In addition to the waste analyses required by § Section 725.113, the owner or operator must sufficiently analyze any waste which that he has not previously burned in his incinerator to enable him to establish steady state (normal) operating conditions (including waste and auxiliary fuel feed and air flow) and to determine the type of pollutants which that might be emitted.  At a minimum, the analysis must determine the following:

a)	Heating value of the waste;

b)	Halogen content and sulfur content in the waste; and

c)	Concentrations in the waste of lead and mercury, unless the owner or operator has written, documented data that show that the element is not present.

Comment:  BOARD NOTE:  As required by § Section 725.173, the owner or operator must place the results from each waste analysis or the documented information in the operating record of the facility.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.445	General Operating Requirements

During startup and shutdown of an incinerator, the owner or operator must not feed hazardous waste unless the incinerator is at steady state (normal) conditions of operation, including steady state operating temperature and air flow airflow.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.447	Monitoring and Inspection Inspections

The owner or operator must conduct, as a minimum, the following monitoring and inspections when incinerating hazardous waste:

a)	Existing instruments which that relate to combustion and emission control must be monitored at least every 15 minutes.  Appropriate corrections to maintain steady state combustion conditions must be made immediately either automatically or by the operator.  Instruments which that relate to combustion and emission control would normally include those measuring waste feed, auxiliary fuel feed, air flow, incinerator temperature, scrubber flow, scrubber pH, and relevant level controls.

b)	The complete incinerator and associated equipment (pumps, valves, conveyors, pipes, etc.) must be inspected at least daily for leaks, spills, and fugitive emissions and all emergency shutdown controls and system alarms must be checked to assure proper operation.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.451	Closure

At closure, the owner or operator must remove all hazardous waste and hazardous waste residues (including but not limited to ash, scrubber waters, and scrubber sludges) from the incinerator.

Comment:  BOARD NOTE:  At closure, as throughout the operating period, unless the owner or operator can demonstrate, in accordance with § Section 721.103(d), that the residue removed from his incinerator is not a hazardous waste, the owner or operator becomes a generator of hazardous waste and must manage it in accordance with all applicable requirements of Parts 35 Ill. Adm. Code  722-725 and 40 CFR Part 266 through 726 and 728.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.452	Interim Status Incinerators Burning Particular Hazardous Wastes

a)	Owners or operators An owner or operator of incinerators an incinerator subject to this Subpart O may burn hazardous wastes numbers F020, F021, F022, F023, F026, or F027 if they receive it receives a certification from the Agency that they can meet the performance standards to Subpart O of 35 Ill. Adm. Code 724.Subpart O when they burn it burns these wastes.

b)	The following standards and procedures will be used in determining whether to certify an incinerator:

1)	The owner or operator shall must submit an application to the Agency containing applicable information in 35 Ill. Adm. Code 703.125, 703.222, 703.223, 703.224, and 703.225 demonstrating that the incinerator can meet the performance standards in Subpart O of 35 Ill. Adm. Code 724.Subpart O when they burn these wastes.

2)	The Agency shall must issue a tentative decision as to whether the incinerator can meet the performance standards in Subpart O of 35 Ill. Adm. Code 724.Subpart O.  Notification of this tentative decision will be provided by newspaper advertisement and radio broadcast in the county where the incinerator is located.  The Agency shall must accept comment on the tentative decision for 60 days.  The Agency also may hold a public hearing upon request or at its discretion.

3)	After the close of the public comment period, the Agency shall must issue a decision whether or not to certify the incinerator.

4)	Any person who that participated may appeal the Agency’s decision to the Board, pursuant to 35 Ill. Adm. Code 705.212.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART P: THERMAL TREATMENT

- Section 725.470	Other Thermal Treatment

The regulations in this Subpart P apply to owners and operators of facilities that thermally treat hazardous waste in devices other than enclosed devices using controlled flame combustion except, as Section 725.101 provides otherwise.  Thermal treatment in enclosed devices using controlled flame combustion is subject to the requirements of Subpart O of this Part if the unit is an incinerator, and Subpart H of 35 Ill. Adm. Code 726.Subpart H, if the unit is a boiler of or industrial furnace, as defined in 35 Ill. Adm. Code 720.110.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.473	General Operating Requirements

Before adding hazardous waste, the owner or operator must bring his thermal treatment process to steady state (normal) conditions of operation--,including steady state operating temperature-using auxiliary fuel or other means, unless the process is a noncontinuous non-continuous (batch) thermal treatment process which that requires a complete thermal cycle to treat a discrete quantity of hazardous waste.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.475	Waste Analysis

In addition to the waste analyses required by Section 725.113, the owner or operator must sufficiently analyze any waste which that he has not previously treated in his thermal process to enable him to establish steady state (normal) or other appropriate (for a noncontinuous process) operating conditions (including waste and auxiliary fuel feed) and to determine the type of pollutants which that might be emitted.  At minimum, the analysis must determine the following:

a)	Heating value of the waste;

b)	Halogen content and sulfur content in the waste; and

c)	Concentrations in the waste of lead and mercury, unless the owner or operator has written, documented data that show that the element is not present.

Comment:  BOARD NOTE:  As required by § Section 725.173, the owner or operator must place the results from each waste analysis or the documented information in the operating record of the facility.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.477	Monitoring and Inspections

The owner or operator shall must conduct, as a minimum, the following monitoring and inspections when thermally treating hazardous waste:

a)	Existing instruments that relate to temperature and emission control (if an emission control device is present) must be monitored at least every 15 minutes.  Appropriate corrections to maintain steady state or other appropriate thermal treatment conditions must be made immediately either automatically or by the operator.  Instruments that relate to temperature and emission control would normally include those measuring waste feed, auxiliary fuel feed, treatment process temperature, and relevant process flow and level controls.

b)	The stack plume (emissions), where present, must be observed visually at least hourly for normal appearance (color and opacity).  The operator must immediately make any indicated operating corrections necessary to return any visible emissions to their normal appearance.

c)	The complete thermal treatment process and associated equipment (pumps, valves, conveyors, pipes, etc.) must be inspected at least daily for leaks, spills, and fugitive emissions, and all emergency shutdown controls and system alarms must be checked to assure proper operation.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.481	Closure

At closure, the owner or operator must remove all hazardous waste and hazardous waste residues (including, but not limited to, ash) from the thermal treatment process or equipment.

Comment:  BOARD NOTE:  At closure, as throughout the operating period, unless the owner or operator can demonstrate, in accordance with § 721.103 (c) or (d) Section 721.103(c) or (d) that any solid waste removed from his thermal treatment process or equipment is not a hazardous waste, the owner or operator becomes a generator of hazardous waste and must manage it in accordance with all applicable requirements of Parts 722, 723, and 725.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.482	Open Burning; Waste Explosives

Open burning of hazardous waste is prohibited except for the open burning and detonation of waste explosives.  Waste explosives include waste which that has the potential to detonate and bulk military propellants which that cannot safely be disposed of through other modes of treatment.  Detonation is an explosion in which chemical transformation passes through the material faster than the speed of sound (0.33 kilometers/second at sea level).  Owners or operators choosing to open burn or detonate waste explosives must do so in accordance with the following table and in a manner that does not threaten human health or the environment.

| Pounds of Waste Explosives or Propellants | Minimum Distance From Open Burning or Detonation To the Property of Others |
| --- | --- |

| 0 to 100 | 204 meters (670 feet) |
| --- | --- |
| 101 to 1,000 | 380 meters (1,250 feet) |
| 1,001 to 10,000 | 530 meters (1,730 feet) |
| 10,001 to 30,000 | 690 meters (2,260 feet) |

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.483	Interim Status Thermal Treatment Devices Burning Particular Hazardous Waste Wastes

a)	Owners or operators An owner or operator of a thermal treatment devices device subject to this Subpart P may burn hazardous waste numbers F020, F021, F022, F023, F026, or F027 if they receive it receives a certification from the Agency that they it can meet the performance standards of Subpart O of 35 Ill. Adm. Code 724.Subpart O when they burn it burns these wastes.

b)	The following standards and procedures will must be used in determining whether to certify a thermal treatment unit:

1)	The owner or operator shall must submit an application to the Agency containing the applicable information in 35 Ill. Adm. Code 703.125, 703.222, 703.223, 703.224, and 703.225 demonstrating that the thermal treatment unit can meet the performance standard in Subpart O of 35 Ill. Adm. Code 724.Subpart O when they burn it burns these wastes.

2)	The Agency shall must issue a tentative decision as to whether the thermal treatment unit can meet the performance standards in Subpart O of 35 Ill. Adm. Code 724.Subpart O.  Notification of this tentative decision must be provided by newspaper advertisement and radio broadcast in the county where the thermal treatment device is located.  The Agency shall must accept comment on the tentative decision for 60 days.  The Agency also may hold a public hearing upon request or at its discretion.

3)	After the close of the public comment period, the Agency shall must issue a decision whether or not to certify the thermal treatment unit.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART Q: CHEMICAL, PHYSICAL, AND BIOLOGICAL TREATMENT

- Section 725.500	Applicability

The regulations in this subpart Subpart Q apply to owners and operators of facilities which that treat hazardous waste by chemical, physical, or biological methods in other than tanks, surface impoundments, and land treatment facilities, except as § Section 725.101 provides otherwise.   Chemical, physical, and biological treatment of hazardous waste in tanks, surface impoundments and land treatment facilities must be conducted in accordance with Subparts J, K, and M of this Part, respectively.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.501	General Operating Requirements

a)	Chemical, physical, or biological treatment of hazardous waste must comply with Section 725.117(b).

b)	Hazardous waste or treatment reagents must not be placed in the treatment process or equipment if they could cause the treatment process or equipment to rupture, leak, corrode, or otherwise fail before the end of its intended life.

c)	Where hazardous waste is continuously fed into a treatment process or equipment, the process or equipment must be equipped with a means to stop this inflow (e.g., a waste feed cutoff system or bypass system to a standby containment device).

BOARD NOTE:  These systems are intended to be used in the event of a malfunction in the treatment process or equipment.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.502	Waste Analysis and Trial Tests

a)	In addition to the waste analysis required by Section 725.113, subsection (b) above of this Section applies whenever either of the following conditions exist:

1)	A hazardous waste that is substantially different from waste previously treated in a treatment process or equipment at the facility is to be treated in that process or equipment, or

2)	A substantially different process from any previously used at the facility is to be used to chemically treat hazardous waste.

b)	To show that this proposed treatment will meet all applicable requirements of Section 725.501(a) and (b), the owner or operator must, before treating the different waste or using the different process or equipment:

1)	Conduct waste analyses and trial treatment tests (e.g., bench scale or pilot plant scale tests), or

2)	Obtain written, documented information on similar treatment of similar waste under similar operating conditions.

BOARD NOTE:  As required by Section 725.113, the waste analysis plan must include analyses needed to comply with Sections 725.505 and 725.506.  As required by Section 725.173, the owner or operator shall must place the results from each waste analysis and trial test, or the documented information, in the operating record of the facility.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.503	Inspections

The owner operator of a treatment facility shall must inspect the following, where present:

a)	Discharge control and safety equipment (e.g., waste feed cutoff systems, bypass systems, drainage systems, and pressure relief systems) at least once each operating day to ensure that it is in good working order;

b)	Data gathered from monitoring equipment (e.g., pressure and temperature gauges) at least once each operating day to ensure that the treatment process or equipment is being operated according to its design;

c)	The construction materials of the treatment process or equipment at least weekly to detect corrosion or leaking of fixtures or seams; and

d)	The construction materials of, and the area immediately surrounding, discharge confinement structures (e.g., dikes) at least weekly to detect erosion or obvious signs of leakage (e.g., wet spots or dead vegetation).

BOARD NOTE:  As required by Section 725.115(c), the owner or operator must remedy any deterioration or malfunction it finds.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.505	Special Requirements for Ignitable or Reactive Waste Wastes

Ignitable or reactive waste must not be placed in a treatment process or equipment unless either of the following conditions exists:

a)	The waste is treated, rendered, or mixed before or immediately after placement in the treatment process or equipment so that both of the following conditions are fulfilled:

1)	The resulting waste, mixture, or dissolution of material no longer meets the definition of ignitable or reactive waste under Section 721.121 or 721.123, and

2)	Section 725.117(b) is complied with; or

b)	The waste is treated in such a way that it is protected from any material or conditions that may cause the waste to ignite or react.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.506	Special Requirements for Incompatible Wastes

a)	An owner or operator shall must not place incompatible wastes or incompatible wastes and materials (see Section 725.Appendix E to this Part for examples) in the same treatment process or equipment unless it complies with Section 725.117(b).

b)	An owner or operator shall must not place hazardous waste in unwashed treatment equipment that previously held an incompatible waste or material, unless it complies with Section 725.117(b).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART R: UNDERGROUND INJECTION

- Section 725.530	Applicability

Except as Section 725.101 provides otherwise, the following apply:

a)	the The owner or operator of a facility which that disposes of hazardous waste by underground injection is excluded from the requirements of Subpart Subparts G and H of this Part.

b)	the The requirements of this Subpart R apply to owners and operators of wells that are used to dispose of hazardous waste which are classified as Class I under 35 Ill. Adm. Code 704.106(a) and which are classified as Class IV under 35 Ill. Adm. Code 704.106(d).

(Comment:  In addition to the requirements of Subpart A through E of this Part, the owner or operator of a facility which disposes of hazardous waste by underground injection ultimately must comply with the requirements of Sections 725.531-725.537.  These Sections are reserved at this time.  The USEPA intends to submit proposed regulations at a later date that would establish those requirements.)

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART W: DRIP PADS

- Section 725.540	Applicability

a)	The requirements of this Subpart W apply to owners and operators of facilities that use new or existing drip pads to convey treated wood drippage, precipitation or surface water run-on to an associated collection system.

1)	“Existing An “existing drip pads pad” are is one that fulfills the following conditions:

A)	Those It was constructed before December 6, 1990; and or

B)	Those It was one for which the owner or operator has had a design and has had entered into binding financial or other agreements for construction prior to December 6, 1990.

2)	All other drip pads are “new drip pads.”.

3)	The requirements of Section 725.543(b)(3) to install a leak collection system applies only to those drip pads that are constructed after December 24, 1992, except for those constructed after December 24, 1992 for which the owner or operator has a design and has entered into binding financial or other agreements for construction prior to December 24, 1992.

b)	The owner or operator of any drip pad that is inside or under a structure that provides protection from precipitation so that neither run-off nor run-on is generated is not subject to regulation under Section 724.672(e) or (f).

c)	The requirements of this subsection are not applicable to the management of infrequent and incidental drippage in storage yards provided that the owner or operator maintains and complies with a written contingency plan that describes how the owner or operator will respond immediately to the discharge of infrequent and incidental drippage.  At a minimum, the contingency plan must desribe describe how the owner or operator will do the following:

1)	Clean up the drippage;

2)	Document the clean-up of the drippage;

3)	Retain documentaion documentation regarding the clean-up for three years; and

4)	Manage the contaminated media in a manner consistent with State and Federal federal regulations.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.541	Assessment of existing drip pad integrity Existing Drip Pad Integrity

a)	For each existing drip pad, the owner or operator shall must evaluate the drip pad and determine that it meets all of the requirements of this Subpart W, except the requirements for liners and leak detection systems of Section 725.543(b).  No later than June 6, 1991, the owner or operator shall must obtain and keep on file at the facility a written assessment of the drip pad, reviewed and certified by an independent, qualified registered professional engineer that attests to the results of the evaluation.  The assessment must be reviewed, updated, and re-certified annually until all upgrades, repairs, or modifications necessary to achieve compliance with all of the standards of Section 725.543 are complete.  The evaluation must document the extent to which the drip pad meets each of the design and operating standards of Section 725.543, except the standards for liners and leak detection systems, specified in Section 725.543(b).

b)	The owner or operator shall must develop a written plan for upgrading, repairing and modifying the drip pad to meet the requirements of Section 725.543(b) and submit the plan to the Agency no later than 2 two years before the date that all repairs, upgrades, and modifications will be complete.  This written plan must describe all changes to be made to the drip pad in sufficient detail to document compliance with all the requirements of Section 725.543.  The plan must be reviewed and certified by an independent qualified, registered professional engineer.  All upgrades, repairs, and modifications must be completed in accordance with the following:

1)	For existing drip pads of known and documentable age, all upgrades, repairs, and modifications must be completed by June 6, 1993, or when the drip pad has reached 15 years of age, whichever comes later.

2)	For existing drip pads for which the age cannot be documented, by June 6, 1999; but, if the age of the facility is greater than 7 seven years, all upgrades, repairs and modifications must be completed by the time the facility reaches 15 years of age or by June 6, 1993, whichever comes later.

3)	The owner or operator may petition the Board for an extension of the deadline in subsection (b)(1) or (b)(2), above of this Section.

A)	The owner or operator shall must file a petition for a RCRA variance, as specified in Subpart B of 35 Ill. Adm. Code 104.

B)	The Board will grant the petition for extension if it finds that the following:

i)	The drip pad meets all of the requirements of Section 725.543, except those for liners and leak detection systems specified in Section 725.543(b); and

ii)	That it will continue to be protective of human health and the environment.

c)	Upon completion of all repairs and modifications, the owner or operator shall must submit to the Agency, the as-built drawings for the drip pad, together with a certification by an independent, qualified, registered professional engineer attesting that the drip pad conforms to the drawings.

d)	If the drip pad is found to be leaking or unfit for use, the owner or operator shall must comply with the provisions of Section 725.543(m) or close the drip pad in accordance with Section 725.545.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.542	Design and installation Installation of new drip pads New Drip Pads

Owners and operators of new drip pads shall must ensure that the pads are designed, installed and operated in accordance with one of the following:

a)	All of the requirements of Sections 725.543 (except 725.543(a)(4)), 725.544, and 725.545; or

b)	All of the requirements of Section 725.543 (except 725.543(b)), 725.544, and 725.545.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.543	Design and operating requirements Operating Requirements

a)	Drip pads must fulfill the following requirements:

1)	Not be constructed of earthen materials, wood, or asphalt, unless the asphalt is structurally supported;

2)	Be sloped to free-drain to the associated collection system treated wood drippage, rain, other waters, or solutions of drippage and water or other wastes;

3)	Have a curb or berm around the perimeter;

4)	In addition, the drip pad must fulfill the following requirements:

A)	Have a hydralic hydraulic conductivity of less than or equal to 1 X 10-7 1  10-7 centimeters per second, e.g., existing concrete drip pads must be sealed, coated, or covered with a surface material with a hydraulic conductivity of less than or equal to 1 X 10-7 1  10-7 centimeters per second such that the entire surface where drippage occurs or may run across is capable of containing such drippage and mixtures of drippage and precipitation, materials, or other wastes while being routed to an associated collection system.  This surface material must be maintained free of cracks and gaps that could adversely affect its hydraulic conductivity, and the material must be chemically compatible with the preservatives that contact the drip pad.  The requirements of this provision apply only to the existing drip pads and those drip pads for which the owner or operator elects to comply with Section 725.542(a) instead of Section 725.542(b).

B)	The owner or operator must obtain and keep on file at the facility a written assessment of the drip pad, reviewed and certififed certified by an independant independent qualified registered professional engineer that attests to the results of the evaluation.  The assessment must be reviewed, updated, and recertififed recertified annually.  The evaluation must document the extent to which the drip pad meets the design and operating standards of this Section, except for in subsection (b) below of this Section.

5)	Be of sufficient structural strength and thickness to prevent failure due to physical contact, climatic conditions, the stress of installation, and the stress of daily operations, e.g., variable and moving loads such as vehicle traffic, movement of wood, etc.

BOARD NOTE:  In judging the structural integrity requirement of this subsection (a), the Agency should generally consider applicable standards established by professional organizations generally recognized by the industry, including ACI 318 or ASTM C94, incorporated by reference in 35 Ill. Adm. Code 720.111(a).

b)	If an owner or operator elects to comply with subsection Section 725.542(b) instead of subsection Section 725.542(a), the drip pad must have the following features:

1)	A synthetic liner installed below the drip pad that is designed, constructed, and installed to prevent leakage from the drip pad into the adjacent subsurface soil or groundwater or surface water at any time during the active life (including the closure period) of the drip pad.  The liner must be constructed of materials that will prevent waste from being absorbed into the liner and to prevent releases into the adjacent subsurface soil or groundwater or surface water during the active life of the facility.  The liner must be constructed as follows:

A)	Constructed of materials that have appropriate chemical properties and sufficient strength and thickness to prevent failure due to pressure gradients (including static head and external hydrogeologic forces), physical contact with the waste or drip pad leakage to which they are exposed, climatic conditions, the stress of installation, and the stress of daily operation (including stresses from vehicular traffic on the drip pad);

B)	Placed upon a foundation or base capable of providing support to the liner and resistance to pressure gradients above and below the liner to prevent failure of the liner due to settlement, compression, or uplift; and

C)	Installed to cover all surrounding earth that could come in contact with the waste or leakage; and

2)	A leakage detection system immediately above the liner that is designed, constructed, maintained, and operated to detect leakage from the drip pad.  The leakage detection system must be constructed as follows:

A)	Constructed of materials that are fulfill the following requirements:

i)	Chemically They are chemically resistant to the waste managed in the drip pad and the leakage that might be generated; and

ii)	Of They are of sufficient strength and thickness to prevent collapse under the pressures exerted by overlaying materials and by any equipment used at the drip pad; and

B)	Designed and operated to function without clogging through the scheduled closure of the drip pad; and

C)	Designed so that it will detect the failure of the drip pad or the presence of a release of hazardous waste or accumulated liquid at the earliest practicable time.

3)	A leakage collection system immediately above the liner that is designed, constructed, maintained, and operated to collect leakage from the drip pad such that it can be removed from below the drip pad.  The date, time, and quanity quantity of any leakage collected in this system and removed must be documented in the operating log.

A)	The drip pad surface must be cleaned thoroughly in a manner and frequency such that accumulated residues of hazardous waste or other materials are removed, with residues being properly managed as to allow weekly inspections of the entire drip pad surface without interference or hindrance from accumulated residues of hazardous waste or other materials on the drip pad.  The owner or operator must document the date and time of each cleaning and cleaning procedure used in the facility’s operating log.

B)	The Federal rules do not contain a 40 CFR 265.443(b)(3)(ii).  This subsection is added to conform to Illinois Administrative Code requirements.

c)	Drip pads must be maintained such that they remain free of cracks, gaps, corrosion, or other deterioration that could cause hazardous waste to be released from the drip pad.

BOARD NOTE: See subsection (m) below of this Section for remedial action required if deterioration or leakage is detected.

d)	The drip pad and associated collection system must be designed and operated to convey, drain and collect liquid resulting from drippage or precipitation in order to prevent run-off.

e)	Unless the drip pad is protected by a structure, as described in Section 725.540(b), the owner or operator shall must design, construct, operate, and maintain a run-on control system capable of preventing flow onto the drip pad during peak discharge from at least a 24-hour, 25-year storm, unless the system has sufficient excess capacity to contain any run-on that might enter the system.

f)	Unless the drip pad is protected by a structure or cover, as described in Section 725.540(b), the owner or operator shall must design, construct, operate, and maintain a run-off management system to collect and control at least the water volume resulting from a 24-hour, 25-year storm.

g)	The drip pad must be evaluated to determine that it meets the requirements of subsections (a) through (f), above of this Section.  The owner or operator shall must obtain a statement from an independent, qualified, registered professional engineer certifying that the drip pad design meets the requirements of this Section.

h)	Drippage and accumulated precipitation must be removed from the associated collection system as necessary to prevent overflow onto the drip pad.

i)	The drip pad surface must be cleaned thoroughly at least once every seven days using an appropriate and effective cleaning technique, including but not limited to, rinsing, washing with detergents or other appropriate solvents, or steam cleaning, with residues being properly managed, such that accumulated residues of hazardous waste or other materials are removed, using an appropriate and effective cleaning technique, including but not limited to, rinsing, washing with detergents or other appropriate solvents, or steam cleaning as to allow weekly inspections of the entire drip pad surface without interference or hindrance from accumulated residues of hazardous waste or other materials on the drip pad.  The owner or operator shall must document, in the facility’s operating log, the date and time of each cleaning and the cleaning procedure.

j)	Drip pads must be operated and maintained in a manner to minimize tracking of hazardous waste or hazardous waste constituents off the drip pad as a result of activities by personnel or equipment.

k)	After being removed from the treatment vessel, treated wood from pressure and non-pressure processes must be held on the drip pad until drippage has ceased.  The owner or operator shall must maintain records sufficient to document that all treated wood is held on the pad, in accordance with this Section, following treatment.

l)	Collection and holding units associated with run-on and run-off control systems must be emptied or otherwise managed as soon as possible after storms to maintain design capacity of the system.

m)	Throughout the active life of the drip pad, if the owner or operator detects a condition that may have caused or has caused a release of hazardous waste, the condition must be repaired within a reasonably prompt period of time following discovery, in accordance with the following procedures:

1)	Upon detection of a condition that may have caused or has caused a release of hazardous waste (e.g., upon detection of leakage in the leak detection system), the owner or operator shall must perform the following acts:

A)	Enter a record of the discovery in the facility operating log;

B)	Immediately remove from service the portion of the drip pad affected by the condition;

C)	Determine what steps must be taken to repair the drip pad, clean up any leakage from below the drip pad, and establish a schedule for accomplishing the clean up and repairs;

D)	Within 24 hours after discovery of the condition, notify the Agency of the condition and, within 10 working days, provide written notice to the Agency with a description of the steps that will be taken to repair the drip pad and clean up any leakage, and the schedule for accomplishing this work.

2)	The Agency shall must: review the information submitted; make a determination regarding whether the pad must be removed from service completely or partially until repairs and clean up are complete; and notify the owner or operator of the determination and the underlying rationale in writing.

3)	Upon completing all repairs and clean up, the owner or operator shall must notify the Agency in writing and provide a certification, signed by an independent, qualified, registered professional engineer, that the repairs and clean up have been completed according to the written plan submitted in accordance with subsection (m)(1)(D) above of this Section.

n)	The owner or operator shall must maintain, as part of the facility operating log, documentation of past operating and waste handling practices.  This must include identification of preservative formulations used in the past, a description of drippage management practices and a description of treated wood storage and handling practices.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.544	Inspections

a)	During construction or installation, liners and cover systems (e.g., membranes, sheets, or coatings) must be inspected for uniformity, damage, and imperfections (e.g., holes, cracks, thin spots, or foreign materials).  Immediately after construction or installation, liners must be inspected and certified as meeting the requirements of Section 725.543 by an independent, qualified, registered professional engineer.  The certification must be maintained at the facility as part of the facility operating record.  After installation liners and covers must be inspected to ensure tight seams and joints and the absence of tears, punctures, or blisters.

b)	While a drip pad is in operation, it must be inspected weekly and after storms to detect evidence of any of the following:

1)	Deterioration, malfunctions, or improper operation of run-on and run-off control systems;

2)	The presence of leakage in and proper functioning of leak detection system.

3)	Deterioration or cracking of the drip pad surface.

BOARD NOTE:  See Section 725.543(m) for remedial action required if deterioration or leakage is detected.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.545	Closure

a)	At closure, the owner or operator shall must remove or decontaminate all waste residues, contaminated containment system components (pad, liners, etc.), contaminated subsoils, and structures and equipment contaminated with waste and leakage, and manage them as hazardous waste.

b)	If, after removing or decontaminating all residues and making all reasonable efforts to effect removal or decontamination of contaminated components, subsoils, structures, and equipment as required in subsection (a) of this Section, the owner or operator finds that not all contaminated subsoils can be practically removed or decontaminated.  The operator shall must close the unit and perform post-closure care in accordance with closure and post-closure care requirements that apply to landfills (Section 725.410).  For permitted units, the requirement to have a permit continues throughout the post-closure period.

c)	Existing drip pads without liners.

1)	The owner or operator of an existing drip pad that does not comply with the liner requirements of Section 725.543(b)(1) shall must do the following:

A)	Include It must include in the closure plan for the drip pad under Section 725.212 both a plan for complying with subsection (a) of this Section and a contingent plan for complying with subsection (b) of this Section in case not all contaminated subsoils can be practicably removed at closure; and

B)	Prepare It must prepare a contingent post-closure plan under Section 725.218 for complying with subsection (b) of this Section in case not all contaminated subsoils can be practicably removed at closure.

2)	The cost estimates calculated under Sections 725.212 and 725.244 for closure and post closure care of a drip pad subject to this subsection must include the cost of complying with the contingent closure plan and the contingent post closure plan, but are not required to include the cost of expected closure under subsection (a) of this Section.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART AA:  AIR EMISSION STANDARDS FOR PROCESS VENTS

- Section 725.930	Applicability

a)	This Subpart AA applies to owners and operators of facilities that treat, store, or dispose of hazardous wastes (except as provided in Section 725.101).

b)	Except for Section 725.934(d) and (e), this Subpart AA applies to process vents associated with distillation, fractionation, thin-film evaporation, solvent extraction, or air or steam stripping operations that manage hazardous wastes with organic concentrations of at least 10 ppmw (parts per million by weight), if these operations are conducted in one of the following:

1)	A unit that is subject to the permitting requirements of 35 Ill. Adm. Code 702, 703, and 705;

2)	A unit (including a hazardous waste recycling unit) that is not exempt from permitting under the provisions of 35 Ill. Adm. Code 722.134(a) (i.e., a hazardous waste recycling unit that is not a 90-day tank or container) and that is located on a hazardous waste management facility otherwise subject to the permitting requirements of 35 Ill. Adm. Code 702, 703, and 705; or

3)	A unit that is exempt from permitting under the provisions of 35 Ill. Adm. Code 722.134(a) (i.e., a “90-day” tank or container) and which is not a recycling unit under the requirements of 35 Ill. Adm. Code 721.106.

BOARD NOTE:  The requirements of Sections 725.932 through 725.936 apply to process vents on hazardous waste recycling units previously exempt under 35 Ill. Adm. Code 721.106(c)(1).  Other exemptions under 35 Ill. Adm. Code 721.104 and 725.101(c) are not affected by these requirements.

c)	Agency decisions pursuant to this Part must be made in writing, are in the nature of permit decisions pursuant to Section 39 of the Environmental Protection Act and may be appealed to the Board pursuant to 35 Ill. Adm. Code 105.

d)	The requirements of this subpart AA do not apply to the process vents at a facility where the facility owner or operator certifies that all of the process vents which that would otherwise be subject to this Subpart AA are equipped with and operating air emission controls in accordance with the process vent requirements of an applicable federal Clean Air Act regulation codified under 40 CFR 60, 61, or 63.  The documentation of compliance under regulations at 40 CFR 60, 61, or 63 must be kept with, or made readily available with, the facility operating record.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.931	Definitions

As used in this Subpart AA, all terms not defined in the this Subpart AA have the meaning given them in 35 Ill. Adm. Code 724.931, the Resource Conservation and Recovery Act, and 35 Ill. Adm. Code 720 through 726.

“BTU” means British thermal unit.

“ft” means foot.

“h” means hour.

“kg” means kilogram.

“kPa” means kilopascals.

“lb” means pound.

“m” means meter.

“Mg” means Megagrams, or metric tonnes.

“MJ” means Megajoules, or ten to the sixth Joules.

“MW” means Megawatts.

“ppmv” means parts per million by volume.

“ppmw” meant parts per million by weight.

“s” means second.

“scm” means standard cubic meter.

“scft” meant standard cubic foot.

“yr” means year.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.932	Standards:  Process Vents

a)	The owner or operator of a facility with process vents associated with distillation, fractionation, thin-film evaporation, solvent extraction, or air or steam stripping operations managing hazardous wastes with organic concentrations of at least 10 ppmw shall must do either of the following:

1)	Reduce total organic emissions from all affected process vents at the facility below 1.4 kg/h (3 lb/h) and 2.8 Mg/yr (3.1 tons/yr); or

2)	Reduce, by use of a control device, total organic emissions from all affected process vents at the facility by 95 weight percent.

b)	If the owner or operator installs a closed-vent system and control device to comply with the provisions of subsection (a) of this Section, the closed-vent system and control device must meet the requirements of Section 725.933.

c)	Determinations of vent emissions and emission reductions or total organic compound concentrations achieved by add-on control devices must be based on either engineering calculations or performance tests.  If performance tests are used to determine vent emissions, emission reductions, or total organic compound concentrations achieved by add-on control devices, the performance tests must conform with the requirements of Section 725.934(c).

d)	When an owner or operator and the Agency do not agree on determinations of vent emissions or emission reductions or total organic compound concentrations achieved by add-on control devices based on engineering calculations, the test methods in Section 725.934(c) must be used to resolve the disagreement.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.933	Standards:  Closed-vent Systems and Control Devices

a)	Compliance Required.

1)	Owners or operators of closed-vent systems and control devices used to comply with provisions of this Part shall must comply with the provisions of this Section.

2)	Implementation Schedule.

A)	The owner or operator of an existing facility that cannot install a closed-vent system and control device to comply with the provisions of this Subpart AA on the effective date that the facility becomes subject to the provisions of this Subpart AA shall must prepare an implementation schedule that includes dates by which the closed-vent system and control device will be installed and in operation.  The controls must be installed as soon as possible, but the implementation schedule may allow up to 30 months after the effective date that the facility becomes subject to this Subpart AA for installation and startup.

B)	Any unit that begins operation after December 21, 1990, and which is subject to the provisions of this subpart AA when operation begins, must comply with the rules immediately (i.e., must have control devices installed and operating on startup of the affected unit); the 30-month implementation schedule does not apply.

C)	The owner or operator of any facility in existence on the effective date of a statutory or regulatory amendment that renders the facility subject to this Subpart AA shall must comply with all requirements of this Subpart AA as soon as practicable but no later than 30 months after the effective date of the amendment.  When control equipment required by this Subpart AA can not be installed and begin operation by the effective date of the amendment, the facility owner or operator shall must prepare an implementation schedule that includes the following information:  Specific specific calendar dates for award of contracts or issuance of purchase orders for the control equipment, initiation of on-site installation of the control equipment, completion of the control equipment installation, and performance of any testing to demonstrate that the installed equipment meets the applicable standards of this Subpart AA.  The owner or operator shall must enter the implementation schedule in the operating record or in a permanent, readily available file located at the facility.

D)	An owner or operator of a facility or unit that becomes newly subject to the requirements of this Subpart AA after December 8, 1997, due to an action other than those described in subsection (a)(2)(iii) of this Section must comply with all applicable requirements immediately (i.e., the facility or unit must have control devices installed and operating on the date the facility or unit becomes subject to this Subpart AA; the 30-month implementation schedule does not apply).

b)	A control device involving vapor recovery (e.g., a condenser or adsorber) must be designed and operated to recover the organic vapors vented to it with an efficiency of 95 weight percent or greater unless the total organic emission limits of Section 725.932(a)(1) for all affected process vents is attained at an efficiency less than 95 weight percent.

c)	An enclosed combustion device (e.g., a vapor incinerator, boiler, or process heater) must be designed and operated to reduce the organic emissions vented to it by 95 weight percent or greater; to achieve a total organic compound concentration of 20 ppmv, expressed as the sum of the actual compounds, not carbon equivalents, on a dry basis corrected to three percent oxygen; or to provide a minimum residence time of 0.50 seconds at a minimum temperature of 760 degrees Celsius (° C).  If a boiler or process heater is used as the control device, then the vent stream must be introduced into the flame combustion zone of the boiler or process heater.

d)	Flares.

1)	A flare must be designed for and operated with no visible emissions as determined by the methods specified in subsection (e)(1) of this Section except for periods not to exceed a total of 5 five minutes during any 2 two consecutive hours.

2)	A flare must be operated with a flame present at all times, as determined by the methods specified in subsection (f)(2)(c) of this Section.

3)	A flare must be used only if the net heating value of the gas being combusted is 11.2 MJ/scm (300 Btu/scf) or greater if the flare is steam-assisted or air-assisted, or if the net heating value of the gas being combusted is 7.45 MJ/scm (200 Btu/scf) or greater if the flare is nonassisted.  The net heating value of the gas being combusted must be determined by the methods specified in subsection (e)(2) of this Section.

4)	Exit Velocity.

A)	A steam-assisted or nonassisted flare must be designed for and operated with an exit velocity, as determined by the methods specified in subsection (e)(3) of this Section, less than 18.3 m/s (60 ft/s), except as provided in subsections (d)(4)(B) and (d)(4)(C) of this Section.

B)	A steam-assisted or nonassisted flare designed for and operated with an exit velocity, as determined by the methods specified in subsection (e)(3) of this Section, equal to or greater than 18.3 m/s (60 ft/s) but less than 122 m/s (400 ft/s) is allowed if the net heating value of the gas being combusted is greater than 37.3 MJ/scm (1,000 Btu/scf).

C)	A steam-assisted or nonassisted flare designed for and operated with an exit velocity, as determined by the methods specified in subsection (e)(3) of this Section, less than the velocity, V as determined by the method specified in subsection (e)(4) and less than 122 m/s (400 ft/s) is allowed.

5)	An air-assisted flare must be designed and operated with an exit velocity less than the velocity, V, as determined by the method specified in subsection (e)(5) of this Section.

6)	A flare used to comply with this Section must be steam-assisted, air-assisted, or nonassisted.

e)	Compliance determination and equations.

1)	Reference Method 22 in 40 CFR 60, incorporated by reference in 35 Ill. Adm. Code 720.111(b), must be used to determine the compliance of a flare with the visible emission provisions of this Subpart AA.  The observation period is 2 two hours and must be used according to Method 22.

2)	The net heating value of the gas being combusted in a flare must be calculated using the following equation:

HT=K´i=1nCi´Hi

Where:

HT is the net heating value of the sample in MJ/scm; where the net enthalpy per mole of offgas is based on combustion at 25° C and 760 mm Hg, but the standard temperature for determining the volume corrersponding corresponding to 1 mole is 20° C.;

K = 1.7410-7 (1/ppm)(g mol/scm)(MJ/kcal) where the standard temperature for (g mol/scm) is 20° C.;

Xi means the sum of the values of X for each component i, from i=1 to n.;

Ci is the concentration of sample component i in ppm on a wet basis, as measured for organics by Reference Method 18 in 40 CFR 60, and for carbon monoxide, by ASTM D 1946-90, incorporated by reference in 35 Ill. Adm. Code 720.111(a).; and

Hi is the net heat of combustion of sample component i, kcal/gmol at 25° C and 760 mm Hg.  The heats of combustion must be determined using ASTM D 2382-88, incorporated by reference in 35 Ill. Adm. Code 720.111(a), if published values are not available or cannot be calculated.

3)	The actual exit velocity of a flare must be determined by dividing the volumetric flow rate (in units of standard temperature and pressure), as determined by Reference Methods 2, 2A, 2C, or 2D in 40 CFR 60, incorporated by reference in 35 Ill. Adm. Code 720.111(b), as appropriate, by the unobstructed (free) cross-sectional area of the flare tip.

4)	The maximum allowed velocity in m/s, V for a flare complying with subsection (d)(4)(C) of this Section must be determined by the following equation:

log10Vmax=HT+28.831.7

Where:

log10 means logarithm to the base 10; and

HT is the net heating value as determined in subsection (e)(2) of this Section.

5)	The maximum allowed velocity in m/s, V for an air-assisted flare must be determined by the following equation:

V=8.706+0.7084HT

Where:

HT is the net heating value as determined in subsection (e)(2) of this Section.

f)	The owner or operator shall must monitor and inspect each control device required to comply with this Section to ensure proper operation and maintenance of the control device by implementing the following requirements:

1)	Install, calibrate, maintain, and operate according to the manufacturer’s specifications a flow indicator that provides a record of vent stream flow from each affected process vent to the control device at least once every hour.  The flow indicator sensor must be installed in the vent stream at the nearest feasible point to the control device inlet but before being combined with other vent streams.

2)	Install, calibrate, maintain, and operate according to the manufacturer’s specifications a device to continuously monitor control device operation, as specified below:

A)	For a thermal vapor incinerator, a temperature monitoring device equipped with a continuous recorder.  The device must have accuracy of ±1 percent of the temperature being monitored in ° C or ± 0.5° C, whichever is greater.  The temperature sensor must be installed at a location in the combustion chamber downstream of the combustion zone.

B)	For a catalytic vapor incinerator, a temperature monitoring device equipped with a continuous recorder.  The device must be capable of monitoring temperature at two locations and have an accuracy of ±1 percent of the temperature being monitored in ° C or ± 0.5° C, whichever is greater.  One temperature sensor must be installed in the vent stream at the nearest feasible point to the catalyst bed inlet and a second temperature sensor must be installed in the vent stream at the nearest feasible point to the catalyst bed outlet.

C)	For a flare, a heat sensing monitoring device equipped with a continuous recorder that indicates the continuous ignition of the pilot flame.

D)	For a boiler or process heater having a design heat input capacity less than 44 MW, a temperature monitoring device equipped with a continuous recorder.  The device must have an accuracy of ±1 percent of the temperature being monitored in ° C or ± 0.5° C, whichever is greater.  The temperature sensor must be installed at a location in the furnace downstream of the combustion zone.

E)	For a boiler or process heater having a design heat input capacity greater than or equal to 44 MW, a monitoring device equipped with a continuous recorder to measure parameters that indicate good combustion operating practices are being used.

F)	For a condenser, either of the following:

i)	A monitoring device equipped with a continuous recorder to measure the concentration level of the organic compounds in the exhaust vent stream from the condenser; or

ii)	A temperature monitoring device equipped with a continuous recorder.  The device must be capable of monitoring temperature with an accuracy of ±1 percent of the temperature being monitored in degrees Celsius (° C) or ±0.5° C, whichever is greater.  The temperature sensor must be installed at a location in the exhaust vent stream from the condenser exit (i.e., product side).

G)	For a carbon adsorption system, such as a fixed-bed carbon adsorber that regenerates the carbon bed directly in the control device, either of the following:

i)	A monitoring device equipped with a continuous recorder to measure the concentration level of the organic compounds in the exhaust vent stream from the carbon bed; or

ii)	A monitoring device equipped with a continuous recorder to measure a parameter that indicates the carbon bed is regenerated on a regular, predetermined time cycle.

3)	Inspect the readings from each monitoring device required by subsections (f)(1) and (f)(2) of this Section at least once each operating day to check control device operation and, if necessary, immediately implement the corrective measures necessary to ensure the control device operates in compliance with the requirements of this Section.

g)	An owner or operator using a carbon adsorption system such as a fixed-bed carbon adsorber that regenerates the carbon bed directly onsite in the control device shall must replace the existing carbon in the control device with fresh carbon at a regular, predetermined time interval that is no longer than the carbon service life established as a requirement of Section 725.935(b)(4)(C)(vi).

h)	An owner or operator using a carbon adsorption system, such as a carbon canister, that does not regenerate the carbon bed directly onsite in the control device shall must replace the existing carbon in the control device with fresh carbon on a regular basis by using one of the following procedures:

1)	Monitor the concentration level of the organic compounds in the exhaust vent stream from the carbon adsorption system on a regular schedule, and replace the existing carbon with fresh carbon immediately when carbon breakthrough is indicated.  The monitoring frequency must be daily or at an interval no greater than 20 percent of the time required to consume the total carbon working capacity established as a requirement of Section 725.935(b)(4)(C)(vii), whichever is longer.

2)	Replace the existing carbon with fresh carbon at a regular, predetermined time interval that is less than the design carbon replacement interval established as a requirement of Section 725.935(b)(4)(C)(vii).

i)	An owner or operator of an affected facility seeking to comply with the provisions of this Part by using a control device other than a thermal vapor incinerator, catalytic vapor incinerator, flare, boiler, process heater, condenser, or carbon adsorption system is required to develop documentation including sufficient information to describe the control device operation and identify the process parameter or parameters that indicate proper operation and maintenance of the control device.

j)	A closed-vent system must meet either of the following design requirements:

1)	A closed-vent system must be designed to operate with no detectable emissions, as indicated by an instrument reading of less than 500 ppmv above background, as determined by the methods specified at Section 725.934(b), and by visual inspections; or

2)	A closed-vent system must be designed to operate at a pressure below atmospheric pressure.  The system must be equipped with at least one pressure gauge or other pressure measurement device that can be read from a readily accessible location to verify that negative pressure is being maintained in the closed-vent system when the control device is operating.

k)	The owner or operator shall must monitor and inspect each closed-vent system required to comply with this Section to ensure proper operation and maintenance of the closed-vent system by implementing the following requirements:

1)	Each closed-vent system that is used to comply with subsection (j)(1) of this Section shall must be inspected and monitored in accordance with the following requirements:

A)	An initial leak detection monitoring of the closed-vent system shall must be conducted by the owner or operator on or before the date that the system becomes subject to this Section.  The owner or operator shall must monitor the closed-vent system components and connections using the procedures specified in Section 725.934(b) to demonstrate that the closed-vent system operates with no detectable emissions, as indicated by an instrument reading of less than 500 ppmv above background.

B)	After initial leak detection monitoring required in subsection (k)(1)(A) of this Section, the owner or operator shall must inspect and monitor the closed-vent system as follows:

i)	Closed-vent system joints, seams, or other connections that are permanently or semi-permanently sealed (e.g., a welded joint between two sections of hard piping or a bolted and gasketed ducting flange) must be visually inspected at least once per year to check for defects that could result in air pollutant emissions.  The owner or operator shall must monitor a component or connection using the procedures specified in Section 725.934(b) to demonstrate that it operates with no detectable emissions following any time the component is repaired or replaced (e.g., a section of damaged hard piping is replaced with new hard piping) or the connection is unsealed (e.g., a flange is unbolted).

ii)	Closed-vent system components or connections other than those specified in subsection (k)(1)(B)(i) of this Section must be monitored annually and at other times as requested by the Regional Administrator Agency, except as provided for in subsection (n) of this Section, using the procedures specified in Section 725.934(b) to demonstrate that the components or connections operate with no detectable emissions.

C)	In the event that a defect or leak is detected, the owner or operator shall must repair the defect or leak in accordance with the requirements of subsection (k)(3) of this Section.

D)	The owner or operator shall must maintain a record of the inspection and monitoring in accordance with the requirements specified in Section 725.935.

2)	Each closed-vent system that is used to comply with subsection (j)(2) of this Section must be inspected and monitored in accordance with the following requirements:

A)	The closed-vent system must be visually inspected by the owner or operator to check for defects that could result in air pollutant emissions.  Defects include, but are not limited to, visible cracks, holes, or gaps in ductwork or piping or loose connections.

B)	The owner or operator shall must perform an initial inspection of the closed-vent system on or before the date that the system becomes subject to this Section.  Thereafter, the owner or operator shall must perform the inspections at least once every year.

C)	In the event that a defect or leak is detected, the owner or operator shall must repair the defect in accordance with the requirements of subsection (k)(3) of this Section.

D)	The owner or operator shall must maintain a record of the inspection and monitoring in accordance with the requirements specified in Section 725.935.

3)	The owner or operator shall must repair all detected defects as follows:

A)	Detectable emissions, as indicated by visual inspection or by an instrument reading greater than 500 ppmv above background, must be controlled as soon as practicable, but not later than 15 calendar days after the emission is detected, except as provided for in subsection (k)(3)(C) of this Section.

B)	A first attempt at repair must be made no later than five calendar days after the emission is detected.

C)	Delay of repair of a closed-vent system for which leaks have been detected is allowed if the repair is technically infeasible without a process unit shutdown, or if the owner or operator determines that emissions resulting from immediate repair would be greater than the fugitive emissions likely to result from delay of repair.  Repair of such equipment must be completed by the end of the next process unit shutdown.

D)	The owner or operator shall must maintain a record of the defect repair in accordance with the requirements specified in Section 725.935.

l)	A closed-vent system or control device used to comply with provisions of this Subpart AA must be operated at all times when emissions may be vented to it.

m)	The owner or operator using a carbon adsorption system to control air pollutant emissions shall must document that all carbon removed that is a hazardous waste and that is removed from the control device is managed in one of the following manners, regardless of the volatile organic concentration of the carbon:

1)	It is regenerated or reactivated in a thermal treatment unit that meets one of the following:

A)	The owner or operator of the unit has been issued a final permit under 35 Ill. Adm. Code 702, 703, and 705 that implements the requirements of Subpart X of 35 Ill. Adm. Code 724.Subpart X; or

B)	The unit is equipped with and operating air emission controls in accordance with the applicable requirements of Subparts AA and CC of this Part or 35 Ill. Adm. Code 724; or

C)	The unit is equipped with and operating air emission controls in accordance with a national emission standard for hazardous air pollutants under 40 CFR 61 or 40 CFR 63, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

2)	It is incinerated in a hazardous waste incinerator for which the owner or operator has done either of the following:

A)	The owner or operator has been issued a final permit under 35 Ill. Adm. Code 702, 703, and 705 that implements the requirements of Subpart O of 35 Ill. Adm. Code 724.Subpart O, or

B)	The owner or operator has designed and operates the incinerator in accordance with the interim status requirements of Subpart O of this Part.

3)	It is burned in a boiler or industrial furnace for which the owner or operator has done either of the following:

A)	The owner or operator has been issued a final permit under 35 Ill. Adm. Code 702, 703, and 705 that implements the requirements of Subpart H of 35 Ill. Adm. Code 726.Subpart H, or

B)	The owner or operator has designed and operates the boiler or industrial furnace in accordance with the interim status requirements of Subpart H of 35 Ill. Adm. Code 726.Subpart H.

n)	Any components of a closed-vent system that are designated, as described in Section 725.935(c)(9), as unsafe to monitor are exempt from the requirements of subsection (k)(1)(B)(ii) of this Section if both of the following conditions are fulfilled:

1)	The owner or operator of the closed-vent system has determined that the components of the closed-vent system are unsafe to monitor because monitoring personnel would be exposed to an immediate danger as a consequence of complying with subsection (k)(1)(B)(ii) of this Section; and

2)	The owner or operator of the closed-vent system adheres to a written plan that requires monitoring the closed-vent system components using the procedure specified in subsection (k)(1)(B)(ii) of this Section as frequently as practicable during safe-to-monitor times.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.934	Test Methods and Procedures

a)	Each owner or operator subject to the provisions of this Subpart AA shall must comply with the test methods and procedures requirements provided in this Section.

b)	When a closed-vent system is tested for compliance with no detectable emissions, as required in Section 725.933(k), the test must comply with the following requirements:

1)	Monitoring must comply with Reference Method 21 in 40 CFR 60, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

2)	The detection instrument must meet the performance criteria of Reference Method 21.

3)	The instrument must be calibrated before use on each day of its use by the procedures specified in Reference Method 21.

4)	Calibration gases must be:

A)	Zero air (less than 10 ppm of hydrocarbon in air).

B)	A mixture of methane or n-hexane and air at a concentration of approximately, but less than, 10,000 ppm methane or n-hexane.

5)	The background level must be determined as set forth in Reference Method 21.

6)	The instrument probe must be traversed around all potential leak interfaces as close to the interface as possible, as described in Reference Method 21.

7)	The arithmetic difference between the maximum concentration indicated by the instrument and the background level is compared with 500 ppm for determining compliance.

c)	Performance tests to determine compliance with Section 725.932(a) and with the total organic compound concentration limit of Section 725.933(c) must comply with the following:

1)	Performance tests to determine total organic compound concentrations and mass flow rates entering and exiting control devices must be conducted and data reduced in accordance with the following reference methods and calculation procedures:

A)	Method 2 in 40 CFR 60, incorporated by reference in 35 Ill. Adm. Code 720.111(b), for velocity and volumetric flow rate.

B)	Method 18 in 40 CFR 60, incorporated by reference in 35 Ill. Adm. Code 720.111(b), for organic content.

C)	Each performance test must consist of three separate runs, each run conducted for at least 1 hour under the conditions that exist when the hazardous waste management unit is operating at the highest load or capacity level reasonably expected to occur.  For the purpose of determining total organic compound concentrations and mass flow rates, the average of results of all runs applies.  The average must be computed on a time-weighed basis.

D)	Total organic mass flow rates must be determined by the following equation:

Eh=Q2sdx(nåi=1CixMWi)x0.0416x10-6

Where:

Eh = The total organic mass flow rate, kg/h.;

Q2sd = The volumetric flow rate of gases entering or exiting control device, dscm/h, as determined by Method 2 in 40 CFR 60, incorporated by reference in 35 Ill. Adm. Code 720.111.(b);

n = The number of organic compounds in the vent gas.;

Ci = The organic concentration in ppm, dry basis, of compound i in the vent gas, as determined by Method 18 in 40 CFR 60., incorporated by reference in 35 Ill. Adm. Code 720.111(b);

MWi = The molecular weight of organic compound i in the vent gas, kg/kg-mol.;

0.0416 = The conversion factor for molar volume, kg-mol/m3, at 293 K and 760 mm Hg.; and

10-6 = The conversion factor from ppm.

E)	The annual total organic emission rate must be determined by the following equation:

A = F  H

Where:

A is total organic emission rate, kg/y.;

F is the total organic mass flow rate, kg/h, as calculated in subsection (c)(1)(D) of this Section.; and

H is the total annual hours of operation for the affected unit.

F)	Total organic emissions from all affected process vents at the facility must be determined by summing the hourly total organic mass emissions rates (F, as determined in subsection (c)(1)(D) of this Section) and by summing the annual total organic mass emission rates (A, as determined in subsection (c)(1)(E) of this Section) for all affected process vents at the facility.

2)	The owner or operator shall must record such process information as is necessary to determine the conditions of the performance tests.  Operations during periods of startup, shutdown, and malfunction do not constitute representative conditions for the purpose of a performance test.

3)	The owner or operator of an affected facility shall must provide, or cause to be provided, performance testing facilities as follows:

A)	Sampling ports adequate for the test methods specified in subsection (c)(1) of this Section.

B)	Safe sampling platform(s) platforms.

C)	Safe access to sampling platform(s) platforms.

D)	Utilities for sampling and testing equipment.

4)	For the purpose of making compliance determinations, the time-weighted average of the results of the three runs must apply.  In the event that a sample is accidentally lost or conditions occur in which one of the three runs must be discontinued because of forced shutdown, failure of an irreplaceable portion of the sample train, extreme meteorological conditions, or other circumstances beyond the owner or operator’s control, compliance may, upon the Agency’s approval, be determined using the average of the results of the two other runs.

d)	To show that a process vent associated with a hazardous waste distillation, fractionation, thin-film evaporation, solvent extraction, or air or steam stripping operation is not subject to the requirements of this Subpart AA, the owner or operator shall must make an initial determination that the time-weighted, annual average total organic concentration of the waste managed by the waste management unit is less than 10 ppmw using one of the following two methods:

1)	Direct measurement of the organic concentration of the waste using the following procedures:

A)	The owner or operator shall must take a minimum of four grab samples of waste for each wastestream managed in the affected unit under process conditions expected to cause the maximum waste organic concentration.

B)	For waste generated onsite, the grab samples must be collected at a point before the waste is exposed to the atmosphere, such as in an enclosed pipe or other closed system that is used to transfer the waste after generation to the first affected distillation, fractionation, thin-film evaporation, solvent extraction, or air or steam stripping operation.  For waste generated offsite, the grab samples must be collected at the inlet to the first waste management unit that receives the waste provided the waste has been transferred to the facility in a closed system such as a tank truck and the waste is not diluted or mixed with other waste.

C)	Each sample must be analyzed and the total organic concentration of the sample must be computed using Method 9060 or 8260 of SW-846, incorporated by reference under 35 Ill. Adm. Code 720.111(a).

D)	The arithmetic mean of the results of the analyses of the four samples apply for each wastestream managed in the unit in determining the time-weighted, annual average total organic concentration of the waste.  The time-weighted average is to be calculated using the annual quantity of each waste stream processed and the mean organic concentration of each wastestream managed in the unit.

2)	Using knowledge of the waste to determine that its total organic concentration is less than 10 ppmw.  Documentation of the waste determination is required.  Examples of documentation that must be used to support a determination under this subsection (d)(2) include the following:

A)	Production process information documenting that no organic compounds are used;

B)	Information that the waste is generated by a process that is identical to a process at the same or another facility that has previously been demonstrated by direct measurement to generate a wastestream having a total organic content less than 10 ppmw; or

C)	Prior speciation analysis results on the same wastestream where it is documented that no process changes have occurred since that analysis that could affect the waste total organic concentration.

e)	The determination that distillation, fractionation, thin-film evaporation, solvent extraction, or air or steam stripping operations which that manage hazardous wastes with time-weighted, annual average total organic concentrations less than 10 ppmw must be made as follows:

1)	By the effective date that the facility becomes subject to the provisions of this Subpart AA or by the date when the waste is first managed in a waste management unit, whichever is later; and

2)	For continuously generated waste, annually; or

3)	Whenever there is a change in the waste being managed or a change in the process that generates or treats the waste.

f)	When an owner or operator and the Agency do not agree on whether a distillation, fractionation, thin-film evaporation, solvent extraction, or air or steam stripping operation manages a hazardous waste with organic concentrations of at least 10 ppmw based on knowledge of the waste, the procedures in Method 8260 in SW-846, incorporated by reference in 35 Ill. Adm. Code 720.111(a), must be used to resolve the dispute.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.935	Recordkeeping Requirements

a)	Compliance Required.

1)	Each owner or operator subject to the provisions of this Subpart AA shall must comply with the recordkeeping requirements of this Section.

2)	An owner or operator of more than one hazardous waste management unit subject to the provisions of this Subpart AA may comply with the recordkeeping requirements for these hazardous waste management units in one recordkeeping system if the system identifies each record by each hazardous waste management unit.

b)	Owners and operators shall must record the following information in the facility operating record:

1)	For facilities that comply with the provisions of Section 725.933(a)(2), an implementation schedule that includes dates by which the closed-vent system and control device will be installed and in operation.  The schedule must also include a rationale of why the installation cannot be completed at an earlier date.  The implementation schedule must be in the facility operating record by the effective date that the facility becomes subject to the provisions of this Subpart AA.

2)	Up-to-date documentation of compliance with the process vent standards in Section 725.932, including the following:

A)	Information and data identifying all affected process vents, annual throughput and operating hours of each affected unit, estimated emission rates for each affected vent and for the overall facility (i.e., the total emissions for all affected vents at the facility), and the approximate location within the facility of each affected unit (e.g., identify the hazardous waste management units on a facility plot plan).

B)	Information and data supporting determination of vent emissions and emission reductions achieved by add-on control devices based on engineering calculations or source tests.  For the purpose of determining compliance, determinations of vent emissions and emission reductions must be made using operating parameter values (e.g., temperatures, flow rates, or vent stream organic compounds and concentrations) that represent the conditions that result in maximum organic emissions, such as when the waste management unit is operating at the highest load or capacity level reasonably expected to occur.  If the owner or operator takes any action (e.g., managing a waste of different composition or increasing operating hours of affected waste management units) that would result in an increase in total organic emissions from affected process vents at the facility, then a new determination is required.

3)	Where an owner or operator chooses to use test date to determine the organic removal efficiency or total organic compound concentration achieved by the control device, a performance test plan.  The test plan must include the following:

A)	A description of how it is determined that the planned test is going to be conducted when the hazardous waste management unit is operating at the highest load or capacity level reasonably expected to occur.  This must include the estimated or design flow rate and organic content of each vent stream and define the acceptable operating ranges of key process and control device parameters during the test program.

B)	A detailed engineering description of the closed-vent system and control device including the following:

i)	Manufacturer’s name and model number of control device.;

ii)	Type of control device.;

iii)	Dimensions of the control device.;

iv)	Capacity.; and

v)	Construction materials.

C)	A detailed description of sampling and monitoring procedures, including sampling and monitoring locations in the system, the equipment to be used, sampling and monitoring frequency, and planned analytical procedures for sample analysis.

4)	Documentation of compliance with Section 725.933 must include the following information:

A)	A list of all information references and sources used in preparing the documentation.;

B)	Records, including the dates of each compliance test required by Section 725.933(j).;

C)	If engineering calculations are used, a design analysis, specifications, drawings, schematics, and piping and instrumentation diagrams based on the appropriate sections of APTI Course 415 (incorporated by reference in 35 Ill. Adm. Code 720.111(a)) or other engineering texts, approved by the Agency, that present basic control device design information.  Documentation provided by the control device manufacturer or vendor that describes the control device design in accordance with subsections (b)(4)(C)(i) through (b)(4)(C)(vii) of this Section may be used to comply with this requirement.  The design analysis must address the vent stream characteristics and control device operation parameters as specified below.

i)	For a thermal vapor incinerator, the design analysis must consider the vent stream composition, constituent concentrations, and flow rate.  The design analysis must also establish the design minimum and average temperature in the combustion zone and the combustion zone residence time.

ii)	For a catalytic vapor incinerator, the design analysis must consider the vent stream composition, constituent concentrations, and flow rate.  The design analysis must also establish the design minimum and average temperatures across the catalyst bed inlet and outlet.

iii)	For a boiler or process heater, the design analysis must consider the vent stream composition, constituent concentrations, and flow rate.  The design analysis must also establish the design minimum and average flame zone temperatures, combustion zone residence time and description of method and location where the vent stream is introduced into the combustion zone.

iv)	For a flare, the design analysis must consider the vent stream composition, constituent concentrations, and flow rate.  The design analysis must also consider the requirements specified in Section 725.933(d).

v)	For a condenser, the design analysis must consider the vent stream composition, constituent concentrations, flow rate, relative humidity, and temperature.  The design analysis must also establish the design outlet organic compound concentration level, design average temperature of the condenser exhaust vent stream and design average temperatures of the coolant fluid at the condenser inlet and outlet.

vi)	For a carbon adsorption system, such as a fixed-bed adsorber that regenerates the carbon bed directly onsite in the control device, the design analysis must consider the vent stream composition, constituent concentrations, flow rate, relative humidity and temperature.  The design analysis must also establish the design exhaust vent stream organic compound concentration level, number and capacity of carbon beds, type and working capacity of activated carbon used for carbon beds, design total steam flow over the period of each complete carbon bed regeneration cycle, duration of the carbon bed steaming and cooling/drying cycles, design carbon bed temperature after regeneration, design carbon bed regeneration time and design service life of carbon.

vii)	For a carbon adsorption system, such as a carbon canister that does not regenerate the carbon bed directly onsite in the control device, the design analysis must consider the vent stream composition, constituent concentrations, flow rate, relative humidity and temperature.  The design analysis must also establish the design outlet organic concentration level, capacity of carbon bed, type and working capacity of activated carbon used for carbon bed and design carbon replacement interval based on the total carbon working capacity of the control device and source operating schedule.;

D)	A statement signed and dated by the owner or operator certifying that the operating parameters used in the design analysis reasonably represent the conditions that exist when the hazardous waste management unit is or would be operating at the highest load or capacity level reasonably expected to occur.;

E)	A statement signed and dated by the owner or operator certifying that the control device is designed to operate at an efficiency of 95% percent or greater unless the total organic concentration limit of Section 725.932(a) is achieved at an efficiency less than 95 weight percent or the total organic emission limits of Section 725.932(a) for affected process vents at the facility are attained by a control device involving vapor recovery at an efficiency less than 95 weight percent.  A statement provided by the control device manufacturer or vendor certifying that the control equipment meets the design specifications may be used to comply with this requirement.; and

F)	If performance tests are used to demonstrate compliance, all test results.

c)	Design documentation and monitoring operating and inspection information for each closed-vent system and control device required to comply with the provisions of this Part must be recorded and kept up-to-date in the facility operating record.  The information must include the following:

1)	Description and date of each modification that is made to the closed-vent system or control device design.;

2)	Identification of operating parameter, description of monitoring device, and diagram of monitoring sensor location or locations used to comply with Section 725.933(f)(1) and (f)(2).;

3)	Monitoring, operating and inspection information required by Section 725.933(f) through (k).;

4)	Date, time, and duration of each period that occurs while the control device is operating when any monitored parameter exceeds the value established in the control device design analysis, as specified below:

A)	For a thermal vapor incinerator designed to operate with a minimum residence time of 0.50 second at a minimum temperature of 760 C, any period when the combustion temperature is below 760 C.

B)	For a thermal vapor incinerator designed to operate with an organic emission reduction efficiency of 95% percent or greater, any period when the combustion zone temperature is more than 28° C below the design average combustion zone temperature established as a requirement of subsection (b)(4)(C)(i) of this Section.

C)	For a catalytic vapor incinerator, any period when either of the following occurs:

i)	Temperature of the vent stream at the catalyst bed inlet is more than 28° C below the average temperature of the inlet vent stream established as a requirement of subsection (b)(4)(C)(ii) of this Section; or

ii)	Temperature difference across the catalyst bed is less than 80% percent of the design average temperature difference established as a requirement of subsection (b)(4)(C)(ii) of this Section.

D)	For a boiler or process heater, any period when either of the following occurs:

i)	Flame zone temperature is more than 28° C below the design average flame zone temperature established as a requirement of subsection (b)(4)(C)(iii) of this Section; or

ii)	Position changes where the vent stream is introduced to the combustion zone from the location established as a requirement of subsection (b)(4)(C)(iii) of this Section.

E)	For a flare, period when the pilot flame is not ignited.

F)	For a condenser that complies with Section 725.933(f)(2)(F)(i), any period when the organic compound concentration level or readings of organic compounds in the exhaust vent stream from the condenser are more than 20% percent greater than the design outlet organic compound concentration level established as a requirement of subsection (b)(4)(C)(v) of this Section.

G)	For a condenser that complies with Section 725.933(f)(2)(F)(ii), any period when either of the following occurs:

i)	Temperature of the exhaust vent stream from the condenser is more than 6° C above the design average exhaust vent stream temperature established as a requirement of subsection (b)(4)(C)(v) of this Section.; or

ii)	Temperature of the coolant fluid exiting the condenser is more than 6° C above the design average coolant fluid temperature at the condenser outlet established as a requirement of subsection (b)(4)(C)(v) of this Section.

H)	For a carbon adsorption system such as a fixed-bed carbon adsorber that regenerates the carbon bed directly onsite in the control device and complies with Section 725.933(f)(2)(G)(i), any period when the organic compound concentration level or readings of organic compounds in the exhaust vent stream from the carbon bed are more than 20% percent greater than the design exhaust vent stream organic compound concentration level established as a requirement of subsection (b)(4)(C)(vi) of this Section.

I)	For a carbon adsorption system such as a fixed-bed carbon adsorber that regenerates the carbon bed directly onsite in the control device and complies with Section 725.933(f)(2)(G)(ii), any period when the vent stream continues to flow through the control device beyond the predetermined carbon bed regeneration time established as a requirement of subsection (b)(4)(C)(vi) of this Section.;

5)	Explanation for each period recorded under subsection (c)(4) of this Section of the cause for control device operating parameter exceeding the design value and the measures implemented to correct the control device operation.;

6)	For carbon adsorption systems operated subject to requirements specified in Section 725.933(g) or (h)(2), any date when existing carbon in the control device is replaced with fresh carbon.;

7)	For carbon adsorption systems operated subject to requirements specified in Section 725.933(h)(1), a log that records:

A)	Date and time when control device is monitored for carbon breakthrough and the monitoring device reading.

B)	Date when existing carbon in the control device is replaced with fresh carbon.;

8)	Date of each control device startup and shutdown.;

9)	An owner or operator designating any components of a closed-vent system as unsafe to monitor pursuant to Section 725.933(n) shall must record in a log that is kept in the facility operating record the identification of closed-vent system components that are designated as unsafe to monitor in accordance with the requirements of Section 725.933(n), an explanation for each closed-vent system component stating why the closed-vent system component is unsafe to monitor, and the plan for monitoring each closed-vent system component.; and

10)	When each leak is detected as specified in Section 725.933(k), the following information must be recorded:

A)	The instrument identification number, the closed-vent system component identification number, and the operator name, initials, or identification number.;

B)	The date the leak was detected and the date of first attempt to repair the leak.;

C)	The date of successful repair of the leak.;

D)	Maximum instrument reading measured by Method 21 of 40 CFR 60, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b), after it is successfully repaired or determined to be nonrepairable.; and

E)	“Repair delayed” and the reason for the delay if a leak is not repaired within 15 calendar days after discovery of the leak.

i)	The owner or operator may develop a written procedure that identifies the conditions that justify a delay of repair.  In such cases, reasons for delay of repair may be documented by citing the relevant sections of the written procedure.

ii)	If delay of repair was caused by depletion of stocked parts, there must be documentation that the spare parts were sufficiently stocked on-site before depletion and the reason for depletion.; and

d)	Records of the monitoring, operating and inspection information required by subsections (c)(3) through (c)(10) of this Section must be maintained by the owner or operator for at least three years following the date of each occurrence, measurement, corrective action, or record.

e)	For a control device other than a thermal vapor incinerator, catalytic vapor incinerator, flare, boiler, process heater, condenser or carbon adsorption system, monitoring and inspection information indicating proper operation and maintenance of the control device must be recorded in the facility operating record.

f)	Up-to-date information and data used to determine whether or not a process vent is subject to the requirements in Section 725.932, including supporting documentation as required by Section 725.934(d)(2), when application of the knowledge of the nature of the hazardous wastestream or the process by which it was produced is used, must be recorded in a log that is kept in the facility operating record.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART BB:  AIR EMISSION STANDARDS FOR EQUIPMENT LEAKS

- Section 725.950	Applicability

a)	The regulations in this Subpart BB apply to owners and operators of facilities that treat, store, or dispose of hazardous wastes (except as provided in Section 725.101).

b)	Except as provided in Section 725.964(k), this Subpart BB applies to equipment that contains or contacts hazardous wastes with organic concentrations of at least 10 percent by weight that are managed in one of the following:

1)	A unit that is subject to the RCRA permitting requirements of 35 Ill. Adm. Code 702, 703, and 705;

2)	A unit (including a hazardous waste recycling unit) that is not exempt from permitting under the provisions of 35 Ill. Adm. Code 722.134(a) (i.e., a hazardous waste recycling unit that is not a “90-day” tank or container) and that is located at a hazardous waste management facility otherwise subject to the permitting requirements of 35 Ill. Adm. Code 702, 703, and 705; or

3)	A unit that is exempt from permitting under the provisions of 35 Ill. Adm. Code 722.134(a) (i.e., a “90-day” tank or container) and which is not a recycling unit under the provisions of 35 Ill. Adm. Code 721.106.

c)	Each piece of equipment to which this Subpart BB applies must be marked in such a manner that it can be distinguished readily from other pieces of equipment.

d)	Equipment that is in vacuum service is excluded from the requirements of Sections 725.952 to 725.960, if it is identified as required in Section 725.964(g)(5).

e)	Equipment that contains or contacts hazardous waste with an organic concentration of at least 10 percent by weight for less than 300 hours per calendar year is excluded from the requirements of Sections 725.952 through 725.960 if it is identified as required in Section 725.964(g)(6).

f)	Agency decisions pursuant to this Part must be made in writing, are in the nature of permit decisions pursuant to Section 39 of the Environmental Protection Act and may be appealed to the Board pursuant to 35 Ill. Adm. Code 105.

f)	This subsection (f) corresponds with 40 CFR 265.1050(f), which relates exclusively to a facility outside Illinois.  This statement maintains structural consistency with the corresponding federal regulations.

g)	Purged coatings and solvents from surface coating operations subject to the federal national emission standards for hazardous air pollutants (NESHAPs) for the surface coating of automobiles and light-duty trucks at Subpart IIII of 40 CFR 63, incorporated by reference in 35 Ill. Adm. Code 720.111(b), are not subject to the requirements of this Subpart BB.

BOARD NOTE:  The requirements of Sections 725.952 through 725.964 apply to equipment associated with hazardous waste recycling units previously exempt under 35 Ill. Adm. Code 721.106(c)(1).  Other exemptions under 35 Ill. Adm. Code 721.104 and 725.101(e) are not affected by these requirements.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.951	Definitions

As used in this Subpart BB, all terms have the meaning given them in Section 725.931, the Resource Conservation and Recovery Act and 35 Ill. Adm. Code 720 through 726.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.952	Standards:  Pumps in Light Liquid Service

a)	Monitoring.

1)	Each pump in light liquid service must be monitored monthly to detect leaks by the methods specified in Section 725.963(b), except as provided in subsections (d), (e), and (f), below of this Section.

2)	Each pump in light liquid service must be checked by visual inspection each calendar week for indications of liquids dripping from the pump seal.

b)	Leaks.

1)	If an instrument reading of 10,000 ppm or greater is measured, a leak is detected.

2)	If there are indications of liquids dripping from the pump seal, a leak is detected.

c)	Repairs.

1)	When a leak is detected, it must be repaired as soon as practicable, but not later than 15 calendar days after it is detected, except as provided in Section 725.959.

2)	A first attempt at repair (e.g., tightening the packing gland) must be made no later than 5 calendar days after each leak is detected.

d)	Each pump equipped with a dual mechanical seal system that includes a barrier fluid system is exempt from the requirements of subsection (a), above of this Section, provided the following requirements are met:

1)	Each dual mechanical seal system must be as follows:

A)	Operated with the barrier fluid at a pressure that is at all times greater than the pump stuffing box pressures; or

B)	Equipped with a barrier fluid degassing reservoir that is connected by a closed-vent system to a control device that complies with the requirements of Section 725.960; or

C)	Equipped with a system that purges the barrier fluid into a hazardous wastestream with no detectable emissions to the atmosphere.;

2)	The barrier fluid system must not be a hazardous waste with organic concentrations 10 percent or greater by weight.;

3)	Each barrier fluid system must be equipped with a sensor that will detect failure of the seal system, the barrier fluid system, or both.;

4)	Each pump must be checked by visual inspection, each calendar week, for indications of liquids dripping from the pump seals.;

5)	Alarms.

A)	Each sensor as described in subsection (d)(3), above of this Section, must be checked daily or be equipped with an audible alarm that must be checked monthly to ensure that it is functioning properly.

B)	The owner or operator shall must determine, based on design considerations and operating experience, a criterion that indicates failure of the seal system, the barrier fluid system, or both.; and

6)	Leaks.

A)	If there are indications of liquids dripping from the pump seal or the sensor indicates failure of the seal system, the barrier fluid system, or both based on the criterion determined in subsection (d)(5)(B), above of this Section, a leak is detected.

B)	When a leak is detected, it must be repaired as soon as practicable, but not later than 15 calendar days after it is detected, except as provided in Section 725.959.

C)	A first attempt at repair (e.g., relapping the seal) must be made no later than 5 five calendar days after each leak is detected.

e)	Any pump that is designated, as described in Section 725.964(g)(2), for no detectable emissions, as indicated by an instrument reading of less than 500 ppm above background, is exempt from the requirements of subsections (a), (c) and (d), above of this Section, if the pump meets the following requirements:

1)	Must have no externally actuated shaft penetrating the pump housing.;

2)	Must operate with no detectable emissions as indicated by an instrument reading of less than 500 ppm above background as measured by the methods specified in Section 725.963(c).; and

3)	Must be tested for compliance with subsection (e)(2), above of this Section, initially upon designation, annually and at other times as specified by the Agency pursuant to Section 725.950(e).

f)	If any pump is equipped with a closed-vent system capable of capturing and transporting any leakage from the seal or seals to a control device that complies with the requirements of Section 725.960, it is exempt from the requirements of subsections (a) through (e), above of this Section.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.953	Standards:  Compressors

a)	Each compressor must be equipped with a seal system that includes a barrier fluid system and that prevents leakage of total organic emissions to the atmosphere, except as provided in subsections (h) and (i) of this Section.

b)	Each The following must be true of each compressor seal system, as required in subsection (a) of this Section must be:

1)	Operated with the barrier fluid at a pressure that is at all times greater than the compressor stuffing box pressure; or

2)	Equipped with a barrier fluid system that is connected by a closed-vent system to a control device that complies with the requirements of Section 725.960; or

3)	Equipped with a system that purges the barrier fluid into a hazardous wastestream with no detectable emissions to atmosphere.

c)	The barrier fluid must not be a hazardous waste with organic concentrations 10 percent or greater by weight.

d)	Each barrier fluid system, as described in subsections (a) through (c) of this Section, must be equipped with a sensor that will detect failure of the seal system, barrier fluid system, or both.

e)	Inspections.

1)	Each sensor, as required in subsection (d) of this Section, must be checked daily or must be equipped with an audible alarm that must be checked monthly to ensure that it is functioning properly, unless the compressor is located within the boundary of an unmanned plant site, in which case the sensor must be checked daily.

2)	The owner or operator shall must determine, based on design considerations and operating experience, a criterion that indicates failure of the seal system, the barrier fluid system, or both.

f)	If the sensor indicates failure of the seal system, the barrier fluid system, or both based on the criterion determined under subsection (e)(2) of this Section, a leak is detected.

g)	Repairs.

1)	When a leak is detected, it must be repaired as soon as practicable, but not later than 15 calendar days after it is detected, except as provided in Section 725.959.

2)	A first attempt at repair (e.g., tightening the packing gland) must be made no later than 5 five calendar days after each leak is detected.

h)	A compressor is exempt from the requirements of subsections (a) and (b) of this Section if it is equipped with a closed-vent system capable of capturing and transporting any leakage from the seal to a control device that complies with the requirements of Section 725.960, except as provided in subsection (i) of this Section.

i)	Any compressor that is designated, as described in Section 725.964(g)(2), for no detectable emission as indicated by an instrument reading of less than 500 ppm above background, is exempt from the requirements of subsections (a) through (h) of this Section if the following is true of the compressor:

1)	Is It is determined to be operating with no detectable emissions, as indicated by an instrument reading of less than 500 ppm above background, as measured by the method specified in Section 725.963(c).

2)	Is It is tested for compliance with subsection (i)(1) of this Section initially upon designation, annually and other times as specified by the Agency pursuant to Section 725.950(e).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.954	Standards:  Pressure Relief Devices in Gas/Vapor Service

a)	Except during pressure releases, each pressure relief device in gas/vapor service must be operated with no detectable emissions, as indicated by an instrument reading of less than 500 ppm above background as measured by the method specified in Section 725.963(c).

b)	Actions following pressure release.

1)	After each pressure release, the pressure relief device must be returned to a condition of no detectable emissions, as indicated by an instrument reading of less than 500 ppm above background, as soon as practicable, but no later than 5 calendar days after each pressure release, except as provided in Section 725.959.

2)	No later than 5 five calendar days after the pressure release, the pressure relief device must be monitored to confirm the condition of no detectable emissions, as indicated by an instrument reading of less than 500 ppm above background, as measured by the method specified in Section 725.963(c).

c)	Any pressure relief device that is equipped with a closed-vent system capable of capturing and transporting leakage from the pressure relief device to a control device as described in Section 725.960 is exempt from the requirements of subsections (a) and (b) of this Section.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.956	Standards:  Open-ended Open-Ended Valves or Lines

a)	Equipment.

1)	Each open-ended valve or line must be equipped with a cap, blind flange, plug, or a second valve.

2)	The cap, blind flange, plug, or second valve must seal the open end at all times except during operations requiring hazardous wastestream flow through the open-ended valve or line.

b)	Each open-ended valve or line equipped with a second valve must be operated in a manner such that the valve on the hazardous wastestream end is closed before the second valve is closed.

c)	When a double block and bleed system is being used, the bleed valve or line may remain open during operations that require venting the line between the block valves but must comply with subsection (a) of this Section at all other times.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.957	Standards:  Valves in Gas/Vapor or Light Liquid Service

a)	Each valve in gas/vapor or light liquid service must be monitored monthly to detect leaks by the methods specified in Section 725.963(b) and must comply with subsections (b) through (e) of this Section, except as provided in subsections (f), (g), and (h) of this Section, and in Section 725.961 and 725.962.

b)	If an instrument reading of 10,000 ppm or greater is measured, a leak is detected.

c)	Monitoring Frequency.

1)	Any valve for which a leak is not detected for two successive months must be monitored the first month of every succeeding quarter, beginning with the next quarter, until a leak is detected.

2)	If a leak is detected, the valve must be monitored monthly until a leak is not detected for two successive months,

d)	Leak repair.

1)	When a leak is detected, it must be repaired as soon as practicable, but no later than 15 calendar days after the leak is detected, except as provided in Section 725.959.

2)	A first attempt at repair must be made no later than 5 five calendar days after each leak is detected.

e)	First attempts at repair include, but are not limited to the following best practices where practicable:

1)	Tightening of bonnet bolts.;

2)	Replacement of bonnet bolts.;

3)	Tightening of packing gland nuts.; or

4)	Injection of lubricant into lubricated packing.

f)	Any valve that is designated, as described in Section 725.964(g)(2), for no detectable emissions, as indicated by an instrument reading of less than 500 ppm above background, is exempt from the requirements of subsection (a) of this Section if the valve fulfills the following requirements:

1)	Has It has no external actuating mechanism in contact with the hazardous wastestream.;

2)	Is It is operated with emissions less than 500 ppm above background as determined by the method specified in Section 725.963(c).; and

3)	Is It is tested for compliance with subsection (f)(2) initially upon designation, annually, and at other times as specified by the Agency pursuant to Section 725.950(e).

g)	Any valve that is designated, as described in Section 725.964(h)(1), as an unsafe-to-monitor valve is exempt from the requirements of subsection (a), if the following conditions are fulfilled:

1)	The owner or operator of the valve determines that the valve is unsafe to monitor because monitoring personnel would be exposed to an immediate danger as a consequence of complying with subsection (a) of this Section.; and

2)	The owner or operator of the valve adheres to a written plan that requires monitoring of the valve as frequently as practicable during safe-to-monitor times.

h)	Any valve that is designated, as described in Section 725.964(h)(2), as a difficult-to-monitor valve is exempt from the requirements of subsection (a), if the following conditions are fulfilled:

1)	The owner or operator of the valve determines that the valve cannot be monitored without elevating the monitoring personnel more than 2 two meters above a support surface;

2)	The hazardous waste management unit within which the valve is located was in operation before June 21, 1990; and

3)	The owner or operator of the valve follows a written plan that requires monitoring of the valve at least once per calendar year.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.958	Standards:  Pumps, Valves, Pressure Relief Devices, Flanges, and other Other Connectors

a)	Pumps and valves in heavy liquid service, pressure relief devices in light liquid or heavy liquid service and flanges and other connectors must be monitored within 5 five days by the method specified in Section 725.963(b), if evidence of a potential leak is found by visual, audible, olfactory, or any other detection method.

b)	If an instrument reading of 10,000 ppm or greater is measured, a leak is detected.

c)	Repairs.

1)	When a leak is detected, it must be repaired as soon as practicable, but not later than 15 calendar days after it is detected, except as provided in Section 725.959.

2)	The first attempt at repair must be made no later than five calendar days after each leak is detected.

d)	First attempts at repair include, but are not limited to, the best practices described under Section 725.957(e).

e)	Any connector that is inaccessible or is ceramic or ceramic-lined (e.g., porcelain, glass, or glass-lined) is exempt from the monitoring requirements of subsection (a) of this Section and from the recordkeeping requirements of Section 725.964.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.959	Standards:  Delay of Repair

a)	Delay of repair of equipment for which leaks have been detected is allowed if the repair is technically infeasible without a hazardous waste management unit shutdown.  In such a case, repair of this equipment must occur before the end of the next hazardous waste management unit shutdown.

b)	Delay of repair of equipment for which leaks have been detected is allowed for equipment that is isolated from the hazardous waste management unit and that does not continue to contain or contact hazardous waste with organic concentrations at least 10 percent by weight.

c)	Delay of repair for valves is allowed if the following conditions are fulfilled:

1)	The owner or operator determines that emissions of purged material resulting from immediate repair are greater than the emissions likely to result from delay of repair.; and

2)	When repair procedures are effected, the purged material is collected and destroyed or recovered in a control device complying with Section 725.960.

d)	Delay of repair for pumps is allowed if the following conditions are met:

1)	Repair requires the use of a dual mechanical seal system that includes a barrier fluid system.; and

2)	Repair is completed as soon as practicable, but not later than 6 six months after the leak was detected.

e)	Delay of repair beyond a hazardous waste management unit shutdown is allowed for a valve if valve assembly replacement is necessary during the hazardous waste management unit shutdown, valve assembly supplies have been depleted, and valve assembly supplies had been sufficiently stocked before the supplies were depleted.  Delay of repair beyond the next hazardous waste management unit shutdown is not allowed unless the next hazardous waste management unit shutdown occurs sooner than 6 six months after the first hazardous waste management unit shutdown.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.960	Standards:  Closed-vent Closed-Vent Systems and Control Devices

a)	An owner or operator of a closed-vent system or control device subject to this Subpart BB shall must comply with the provisions of Section 725.933.

b)	Implementation Schedule.

1)	The owner or operator of an existing facility that cannot install a closed-vent system and control device to comply with the provisions of this Subpart BB on the effective date that the facility becomes subject to the provisions of this Subpart BB shall must prepare an implementation schedule that includes dates by which the closed-vent system and control device will be installed and in operation.  The controls must be installed as soon as possible, but the implementation schedule may allow up to 30 months after the effective date that the facility becomes subject to this Subpart BB for installation and startup.

2)	Any unit that begins operation after December 21, 1990, and which is subject to the provisions of this Subpart BB when operation begins, must comply with the rules immediately (i.e., the unit must have control devices installed and operating on startup of the affected unit); the 30-month implementation schedule does not apply.

3)	The owner or operator of any facility in existence on the effective date of a statutory or regulatory amendment that renders the facility subject to this Subpart BB shall must comply with all requirements of this Subpart BB as soon as practicable but no later than 30 months after the effective date of the amendment.  When control equipment required by this Subpart BB can not be installed and begin operation by the effective date of the amendment, the facility owner or operator shall must prepare an implementation schedule that includes the following information:  Specific calendar dates for award of contracts or issuance of purchase orders for the control equipment, initiation of on-site installation of the control equipment, completion of the control equipment installation, and performance of any testing to demonstrate that the installed equipment meets the applicable standards of this Subpart BB.  The owner or operator shall must enter the implementation schedule in the operating record or in a permanent, readily available file located at the facility.

4)	An owner or operator of a facility or unit that becomes newly subject to the requirements of this Subpart BB due to an action other than those described in subsection (b)(3) of this Section shall must comply with all applicable requirements immediately (i.e., the facility or unit must have control devices installed and operating on the date the facility or unit becomes subject to this Subpart BB; the 30-month implementation schedule does not apply).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.961	Percent Leakage Alternative for Valves

a)	An owner or operator subject to the requirements of Section 725.957 may elect to have all valves within a hazardous waste management unit comply with an alternative standard which that allows no greater than 2 two percent of the valves to leak.

b)	The following requirements must be met if an owner or operator decides to comply with the alternative standard of allowing 2 two percent of valves to leak:

1)	An owner or operator shall must notify the Agency that the owner or operator has elected to comply with the requirements of this Section.;

2)	A performance test as specified in subsection (c) of this Section must be conducted initially upon designation, annually and other times as specified by the Agency pursuant to Section 725.950(e).; and

3)	If a valve leak is detected it must be repaired in accordance with Section 725.957(d) and (e).

c)	Performance tests must be conducted in the following manner:

1)	All valves subject to the requirements in Section 725.957 within the hazardous waste management unit must be monitored within 1 week by the methods specified in Section 725.963(b).;

2)	If an instrument reading of 10,000 ppm or greater is measured, a leak is detected.; and

3)	The leak percentage must be determined by dividing the number of valves subject to the requirements in Section 725.957 for which leaks are detected by the total number of valves subject to the requirements in Section 725.957 within the hazardous waste management unit.

d)	If an owner or operator decides no longer to comply with this Section, the owner or operator shall must notify the Agency in writing that the work practice standard described in Section 725.957(a) through (e) will be followed.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.962	Skip Period Alternative for Valves

a)	Election.

1)	An owner or operator subject to the requirements of Section 725.957 may elect for all valves within a hazardous waste management unit to comply with one of the alternative work practices specified in subsections (b)(2) and (b)(3) of this Section.

2)	An owner or operator shall must notify the Agency before implementing one of the alternative work practices.

b)	Reduced Monitoring.

1)	An owner or operator shall must comply with the requirements for valves, as described in Section 725.957, except as described in subsections (b)(2) and (b)(3) of this Section.

2)	After two consecutive quarterly leak detection periods with the percentage of valves leaking equal to or less than two percent, an owner or operator may begin to skip one of the quarterly leak detection periods (i.e., the owner or operator may monitor for leaks once every six months) for the valves subject to the requirements in Section 725.957.

3)	After five consecutive quarterly leak detection periods with the percentage of valves leaking equal to or less than two percent, an owner or operator may begin to skip three of the quarterly leak detection periods (i.e., the owner or operator may monitor for leaks once every year) for the valves subject to the requirements in Section 725.957.

4)	If the percentage of valves leaking is greater than 2 two percent, the owner or operator shall must monitor monthly in compliance with the requirements in Section 725.957, but may again elect to use this Section after meeting the requirements of Section 725.957(c)(1).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

#### Section 725.963	Test Methods and Procedures

a)	Each owner or operator subject to the provisions of this Subpart BB shall must comply with the test methods and procedures requirements provided in this Section.

b)	Leak detection monitoring, as required in Sections 725.952 through 725.962, must comply with the following requirements:

1)	Monitoring must comply with Reference Method 21 in 40 CFR 60, incorporated by reference in 35 Ill. Adm. Code 720.111(b).;

2)	The detection instrument must meet the performance criteria of Reference Method 21.;

3)	The instrument must be calibrated before use on each day of its use by the procedures specified in Reference Method 21.;

4)	Calibration gases must be as follows:

A)	Zero air (less than 10 ppm of hydrocarbon in air).;

B)	A mixture of methane or n-hexane and air at a concentration of approximately, but less than, 10,000 ppm methane or n-hexane.; and

5)	The instrument probe must be traversed around all potential leak interfaces as close to the interface as possible as described in Reference Method 21.

c)	When equipment is tested for compliance with no detectable emissions, as required in Sections 725.952(e), 725.953(i), 725.954, and 725.957(f), the test must comply with the following requirements:

1)	The requirements of subsections (b)(1) through (b)(4) of this Section apply.;

2)	The background level must be determined as set forth in Reference Method 21.;

3)	The instrument probe must be traversed around all potential leak interfaces as close to the interface as possible as described in Reference Method 21.; and

4)	This arithmetic difference between the maximum concentration indicated by the instrument and the background level is compared with 500 ppm for determining compliance.

d)	In accordance with the waste analysis plan required by Section 725.113(b), an owner or operator of a facility shall must determine, for each piece of equipment, whether the equipment contains or contacts a hazardous waste with organic concentration that equals or exceeds 10 percent by weight using the following:

1)	Methods described in ASTM Methods D 2267-88, E 168-88, E 169-87, or E 260-85, incorporated by reference in 35 Ill. Adm. Code 720.111(a);

2)	Method 9060 or 8260 of SW-846, incorporated by reference in 35 Ill. Adm. Code 720.111(a); or

3)	Application of the knowledge of the nature of the hazardous wastestream or the process by which it was produced.  Documentation of a waste determination by knowledge is required.  Examples of documentation that must be used to support a determination under this provision include production process information documenting that no organic compounds are used, information that the waste is generated by a process that is identical to a process at the same or another facility that has previously been demonstrated by direct measurement to have a total organic content less than 10 percent, or prior speciation analysis results on the same wastestream where it is also documented that no process changes have occurred since that analysis that could affect the waste total organic concentration.

e)	If an owner or operator determines that a piece of equipment contains or contacts a hazardous waste with organic concentrations at least 10 percent by weight, the determination can be revised only after following the procedures in subsection (d)(1) or (d)(2) of this Section.

f)	When an owner or operator and the Agency do not agree on whether a piece of equipment contains or contacts a hazardous waste with organic concentrations at least 10 percent by weight, the procedures in subsection (d)(1) or (d)(2) of this Section must be used to resolve the dispute.

g)	Samples used in determining the percent organic content must be representative of the highest total organic content hazardous waste that is expected to be contained in or contact the equipment.

h)	To determine if pumps or valves are in light liquid service, the vapor pressures of constituents must either be obtained from standard reference texts or be determined by ASTM D 2879-92, incorporated by reference in 35 Ill. Adm. Code 720.111(a).

i)	Performance tests to determine if a control device achieves 95 weight percent organic emission reduction must comply with the procedures of Section 725.934(c)(1) through (c)(4).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.964	Recordkeeping Requirements

a)	Lumping Units.

1)	Each owner or operator subject to the provisions of this Subpart BB shall must comply with the recordkeeping requirements of this Section.

2)	An owner or operator of more than one hazardous waste management unit subject to the provisions of this Subpart BB may comply with the recordkeeping requirements for these hazardous waste management units in one recordkeeping system if the system identifies each record by each hazardous waste management unit.

b)	Owners and operators shall must record the following information in the facility operating record:

1)	For each piece of equipment to which this Subpart BB applies, the following:

A)	Equipment identification number and hazardous waste management unit identification.;

B)	Approximate locations within the facility (e.g., identify the hazardous waste management unit on a facility plot plan).;

C)	Type of equipment (e.g., a pump or pipeline valve).;

D)	Percent-by-weight total organics in the hazardous wastestream at the equipment.;

E)	Hazardous waste state at the equipment (e.g., gas/vapor or liquid).; and

F)	Method of compliance with the standard (e.g., “monthly leak detection and repair” or “equipped with dual mechanical seals”).;

2)	For facilities that comply with the provisions of Section 725.933(a)(2), an implementation schedule, as specified in that Section.;

3)	Where an owner or operator chooses to use test data to demonstrate the organic removal efficiency or total organic compound concentration achieved by the control device, a performance test plan, as specified in Section 725.935(b)(3).; and

4)	Documentation of compliance with Section 725.960, including the detailed design documentation or performance test results specified in Section 725.935(b)(4).

c)	When each leak is detected, as specified in Section 725.952, 725.953, 725.957, or 725.958, the following requirements apply:

1)	A weatherproof and readily visible identification, marked with the equipment identification number, the date evidence of a potential leak was found in accordance with Section 725.958(a), and the date the leak was detected, must be attached to the leaking equipment.;

2)	The identification on equipment except on a valve, may be removed after it has been repaired.; and

3)	The identification on a valve may be removed after it has been monitored for 2 two successive months as specified in Section 725.957(c) and no leak has been detected during those 2 two months.

d)	When each leak is detected, as specified in Sections 725.952, 725.953, 725.957, or 725.958, the following information must be recorded in an inspection log and must be kept in the facility operating record:

1)	The instrument and operator identification numbers and the equipment identification number.;

2)	The date evidence of a potential leak was found in accordance with Section 725.958(a).;

3)	The date the leak was detected and the dates of each attempt to repair the leak.;

4)	Repair methods applied in each attempt to repair the leak.;

5)	“Above 10,000,”, if the maximum instrument reading measured by the methods specified in Section 725.963(b) after each repair attempt is equal to or greater than 10,000 ppm.;

6)	“Repair delayed” and the reason for the delay if a leak is not repaired within 15 calendar days after discovery of the leak.;

7)	Documentation supporting the delay of repair of a valve in compliance with Section 725.959(c).;

8)	The signature of the owner or operator (or designate) whose decision it was that repair could not be effected without a hazardous waste management unit shutdown.;

9)	The expected date of successful repair of the leak if a leak is not repaired within 15 calendar days.; and

10)	The date of successful repair of the leak.

e)	Design documentation and monitoring, operating, and inspection information for each closed-vent system and control device required to comply with the provisions of Section 725.960 must be recorded and kept up-to-date in the facility operating record as specified in Section 725.935(c)(1) and (c)(2), and monitoring, operating and inspection information in Section 725.935(c)(3) through (c)(8).

f)	For a control device other than a thermal vapor incinerator, catalytic vapor incinerator, flare, boiler, process heater, condenser, or carbon adsorption system, monitoring and inspection information indicating proper operation and maintenance of the control device must be recorded in the facility operating record.

g)	The following information pertaining to all equipment subject to the requirements in Sections 725.952 through 725.960 must be recorded in a log that is kept in the facility operating record:

1)	A list of identification numbers for equipment (except welded fittings) subject to the requirements of this Subpart BB.

2)	List of Equipment.

A)	A list of identification numbers for equipment that the owner or operator elects to designate for no detectable emissions, as indicated by an instrument reading of less than 500 ppm above background, under the provisions of Sections 725.952(e), 725.953(i), and 725.957(f).

B)	The designation of this equipment as subject to the requirements of Section 725.952(e), 725.953(i), or 725.957(f) must be signed by the owner or operator.

3)	A list of equipment identification numbers for pressure relief devices required to comply with Section 725.954(a).

4)	Compliance tests.

A)	The dates of each compliance test required in Sections 725.952(e), 725.953(i), 725.954, and 725.957(f).

B)	The background level measured during each compliance test.

C)	The maximum instrument reading measured at the equipment during each compliance test.

5)	A list of identification numbers for equipment in vacuum service.

6)	Identification, either by list or location (area or group) of equipment that contains or contacts hazardous waste with an organic concentration of at least 10 percent by weight for less than 300 hours per year.

h)	The following information pertaining to all valves subject to the requirements of Section 725.957(g) and (h) must be recorded in a log that is kept in the facility operating record:

1)	A list of identification numbers for valves that are designated as unsafe to monitor, an explanation for each valve stating why the valve is unsafe to monitor, and the plan for monitoring each valve.; and

2)	A list of identification numbers for valves that are designated as difficult to monitor, an explanation for each valve stating why the valve is difficult to monitor, and the planned schedule for monitoring each valve.

i)	The following information must be recorded in the facility operating record for valves complying with Section 725.962:

1)	A schedule of monitoring.; and

2)	The percent of valves found leaking during each monitoring period.

j)	The following information must be recorded in a log that is kept in the facility operating record:

1)	Criteria required in Sections 725.952(d)(5)(B) and 725.953(e)(2) and an explanation of the criteria.; and

2)	Any changes to these criteria and the reasons for the changes.

k)	The following information must be recorded in a log that is kept in the facility operating record for use in determining exemptions, as provided in Section 725.950 and other specific Subparts:

1)	An analysis determining the design capacity of the hazardous waste management unit.;

2)	A statement listing the hazardous waste influent to and effluent from each hazardous waste management unit subject to the requirements in Section 725.960 and an analysis determining whether these hazardous wastes are heavy liquids.; and

3)	An up-to-date analysis and the supporting information and data used to determine whether or not equipment is subject to the requirements in Sections 725.952 through 725.960.  The record must include supporting documentation, as required by Section 725.963(d)(3), when application of the knowledge of the nature of the hazardous wastestream or the process by which it was produced is used.  If the owner or operator takes any action (e.g., changing the process that produced the waste) that could result in an increase in the total organic content of the waste contained in or contacted by equipment determined not to be subject to the requirements in Sections 725.952 through 725.960, then a new determination is required.

l)	Records of the equipment leak information required by subsection (d) of this Section and the operating information required by subsection (e) of this Section need be kept only three years.

m)	The owner or operator of any facility with equipment that is subject to this Subpart and to regulations at 40 CFR 60, 61, or 63, incorporated by reference in 35 Ill. Adm. Code 720.111(b), may elect to determine compliance with this Subpart BB by documentation of compliance either pursuant to Section 725.964 or by documentation of compliance with the regulations at 40 CFR 60, 61, or 63, pursuant to the relevant provisions of 40 CFR 60, 61, or 63..  The documentation of compliance under the regulation at 40 CFR 60, 61, or 63 must be kept with or made readily available with the facility operating record.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART CC:  AIR EMISSION STANDARDS FOR TANKS, SURFACE IMPOUNDMENTS, AND CONTAINERS

- Section 725.980	Applicability

a)	The requirements of this Subpart CC apply to owners and operators of all facilities that treat, store, or dispose of hazardous waste in tanks, surface impoundments, or containers that are subject to Subpart I, J, or K of this Part, except as Section 725.101 and subsection (b) of this Section provide otherwise.

b)	The requirements of this Subpart CC do not apply to the following waste management units at the facility:

1)	A waste management unit that holds hazardous waste placed in the unit before December 6, 1996, and in which no hazardous waste is added to the unit on or after December 6, 1996.;

2)	A container that has a design capacity less than or equal to 0.1 m3 (3.5 ft3 or 26.4 gal).;

3)	A tank in which an owner or operator has stopped adding hazardous waste and the owner or operator has begun implementing or completed closure pursuant to an approved closure plan.;

4)	A surface impoundment in which an owner or operator has stopped adding hazardous waste (except to implement an approved closure plan) and the owner or operator has begun implementing or completed closure pursuant to an approved closure plan.;

5)	A waste management unit that is used solely for on-site treatment or storage of hazardous waste that is placed in the unit as a result of implementing remedial activities required pursuant to the Act or Board regulations or under the corrective action authorities of RCRA sections 3004(u), 3004(v), or 3008(h); CERCLA authorities; or similar federal or State authorities.;

6)	A waste management unit that is used solely for the management of radioactive mixed waste in accordance with all applicable regulations under the authority of the Atomic Energy Act (42 USC 2011 et seq.) and the Nuclear Waste Policy Act of 1982 (42 USC 10101 et seq.).; and

7)	A hazardous waste management unit that the owner or operator certifies is equipped with and operating air emission controls in accordance with the requirements of an applicable federal Clean Air Act regulation codified under 40 CFR 60, 61, or 63, incorporated by reference in 35 Ill. Adm. Code 720.111(b).  For the purpose of complying with this subsection (b)(7), a tank for which the air emission control includes an enclosure, as opposed to a cover, must be in compliance with the enclosure and control device requirements of Section 725.985(i), except as provided in Section 725.983(c)(5).; and

8)	A tank that has a process vent, as defined in 35 Ill. Adm. Code 725.931.

c)	For the owner and operator of a facility subject to this Subpart CC that has received a final RCRA permit prior to December 6, 1996, the following requirements apply:

1)	The requirements of Subpart CC of 35 Ill. Adm. Code 724.Subpart CC must be incorporated into the permit when the permit is reissued, renewed, or modified in accordance with the requirements of 35 Ill. Adm. Code 703 and 705.

2)	Until the date when the permit is reissued, renewed, or modified in accordance with the requirements of 35 Ill. Adm. Code 703 and 705, the owner and operator is subject to the requirements of this Subpart CC.

d)	The requirements of this Subpart CC, except for the recordkeeping requirements specified in Section 725.990(i), are stayed for a tank or container used for the management of hazardous waste generated by organic peroxide manufacturing and its associated laboratory operations, when the owner or operator of the unit meets all of the following conditions:

1)	The owner or operator identifies that the tank or container receives hazardous waste generated by an organic peroxide manufacturing process producing more than one functional family of organic peroxides or multiple organic peroxides within one functional family, that one or more of these organic peroxides could potentially undergo self-accelerating thermal decomposition at or below ambient temperatures, and that organic peroxides are the predominant products manufactured by the process.  For the purposes of this subsection, “organic peroxide” means an organic compound that contains the bivalent -O-O- structure and which may be considered to be a structural derivative of hydrogen peroxide where one or both of the hydrogen atoms has been replaced by an organic radical.;

2)	The owner or operator prepares documentation, in accordance with Section 725.990(i), explaining why an undue safety hazard would be created if air emission controls specified in Sections 725.985 through 725.988 are installed and operated on the tanks and containers used at the facility to manage the hazardous waste generated by the organic peroxide manufacturing process or processes meeting the conditions of subsection (d)(1) of this Section.; and

3)	The owner or operator notifies the Agency in writing that hazardous waste generated by an organic peroxide manufacturing process or processes meeting the conditions of subsection (d)(1) of this Section are managed at the facility in tanks or containers meeting the conditions of subsection (d)(2) of this Section.  The notification must state the name and address of the facility and be signed and dated by an authorized representative of the facility owner or operator.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.981	Definitions

As used in this Subpart CC and in 35 Ill. Adm. Code 724, all terms not defined herein shall will have the meanings given to them in the Act and 35 Ill. Adm. Code 720 through 726.

“Average volatile organic concentration” or “average VO concentration” means the mass-weighted average volatile organic concentration of a hazardous waste, as determined in accordance with the requirements of Section 725.984.

“Closure device” means a cap, hatch, lid, plug, seal, valve, or other type of fitting that blocks an opening in a cover so that when the device is secured in the closed position it prevents or reduces air pollutant emissions to the atmosphere.  Closure devices include devices that are detachable from the cover (e.g., a sampling port cap), manually operated (e.g., a hinged access lid or hatch), or automatically operated (e.g., a spring-loaded pressure relief valve).

“Continuous seal” means a seal that forms a continuous closure that completely covers the space between the edge of the floating roof and the wall of a tank.  A continuous seal may be a vapor-mounted seal, liquid-mounted seal, or metallic shoe seal.  A continuous seal may be constructed of fastened segments so as to form a continuous seal.

“Cover” means a device that provides a continuous barrier over the hazardous waste managed in a unit to prevent or reduce air emissions to the atmosphere.  A cover may have openings (such as access hatches, sampling ports, and gauge wells) that are necessary for operation, inspection, maintenance, or repair of the unit on which the cover is used.  A cover may be a separate piece of equipment which that can be detached and removed from the unit or a cover may be formed by structural features permanently integrated into the design of the unit.

“Enclosure” means a structure that surrounds a tank or container, captures organic vapors emitted from the tank or container, and vents the captured vapors through a closed-vent system to a control device.

“External floating roof” means a pontoon-type or double-deck type cover that rests on the surface of a hazardous waste being managed in a tank with no fixed roof.

“Fixed roof” means a cover that is mounted on a unit in a stationary position and does not move with fluctuations in the level of the material managed in the unit.

“Floating membrane cover” means a cover consisting of a synthetic flexible membrane material that rests upon and is supported by the hazardous waste being managed in a surface impoundment.

“Floating roof” means a cover consisting of a double-deck, pontoon single-deck, or internal floating cover that rests upon and is supported by the material being contained, and is equipped with a continuous seal.

“Hard-piping” means pipe or tubing that is manufactured and properly installed in accordance with relevant standards and good engineering practices.

“In light material service” means that the container is used to manage a material for which both of the following conditions apply:  the vapor pressure of one or more of the organic constituents in the material is greater than 0.3 kilopascals (kPa) at 20°C (1.2 inches H2O at 68°F); and the total concentration of the pure organic constituents having a vapor pressure greater than 0.3 kPa at 20°C (1.2 inches H2O at 68°F) is equal to or greater than 20 percent by weight.

“Internal floating roof” means a cover that rests or floats on the material surface (but not necessarily in complete contact with it) inside a tank that has a fixed roof.

“Liquid-mounted seal” means a foam or liquid-filled primary seal mounted in contact with the hazardous waste between the tank wall and the floating roof, continuously around the circumference of the tank.

“Malfunction” means any sudden, infrequent, and not reasonably preventable failure of air pollution control equipment, process equipment, or a process to operate in a normal or usual manner.  A failure that is caused in part by poor maintenance or careless operation is not a malfunction.

“Maximum organic vapor pressure” means the sum of the individual organic constituent partial pressures exerted by the material contained in a tank at the maximum vapor pressure-causing conditions (i.e., temperature, agitation, pH effects of combining wastes, etc.) reasonably expected to occur in the tank.  For the purpose of this Subpart CC, maximum organic vapor pressure is determined using the procedures specified in Section 725.984(c).

“Metallic shoe seal” means a continuous seal that is constructed of metal sheets that are held vertically against the wall of the tank by springs, weighted levers, or other mechanisms and which is connected to the floating roof by braces or other means.  A flexible coated fabric (envelope) spans the annular space between the metal sheet and the floating roof.

“No detectable organic emissions” means no escape of organics to the atmosphere, as determined using the procedure specified in Section 725.984(d).

“Point of waste origination” means as follows:

When the facility owner or operator is the generator of the hazardous waste, the “point of waste origination” means the point where a solid waste produced by a system, process, or waste management unit is determined to be a hazardous waste, as defined in 35 Ill. Adm. Code 721.

BOARD NOTE:  In this case, this term is being used in a manner similar to the use of the term “point of generation” in air standards established for waste management operations under authority of the federal Clean Air Act in 40 CFR 60, 61, and 63, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

When the facility owner and operator are not the generator of the hazardous waste, “point of waste origination” means the point where the owner or operator accepts delivery or takes possession of the hazardous waste.

“Point of waste treatment” means the point where a hazardous waste to be treated in accordance with Section 725.983(c)(2) exits the treatment process.  Any waste determination must be made before the waste is conveyed, handled, or otherwise managed in a manner that allows the waste to volatilize to the atmosphere.

“Safety device” means a closure device, such as a pressure relief valve, frangible disc, fusible plug, or any other type of device, which that functions exclusively to prevent physical damage or permanent deformation to a unit or its air emission control equipment by venting gases or vapors directly to the atmosphere during unsafe conditions resulting from an unplanned, accidental, or emergency event.  For the purpose of this Subpart CC, a safety device is not used for routine venting of gases or vapors from the vapor headspace underneath a cover such as during filling of the unit or to adjust the pressure in this vapor headspace in response to normal daily diurnal ambient temperature fluctuations.  A safety device is designed to remain in a closed position during normal operations and open only when the internal pressure, or another relevant parameter, exceeds the device threshold setting applicable to the air emission control equipment as determined by the owner or operator based on manufacturer recommendations, applicable regulations, fire protection and prevention codes, standard engineering codes and practices, or other requirements for the safe handling of flammable, ignitable, explosive, reactive, or hazardous materials.

“Single-seal system” means a floating roof having one continuous seal.  This seal may be vapor-mounted, liquid-mounted, or a metallic shoe seal.

“Vapor-mounted seal” means a continuous seal that is mounted so that there is a vapor space between the hazardous waste in the unit and the bottom of the seal.

“Volatile organic concentration” or “VO concentration” means the fraction by weight of organic compounds contained in a hazardous waste expressed in terms of parts per million (ppmw), as determined by direct measurement or by knowledge of the waste, in accordance with the requirements of Section 725.984.  For the purpose of determining the VO concentration of a hazardous waste, organic compounds with a Henry’s law constant value of at least 0.1 mole-fraction-in-the-gas-phase/mole-fraction-in-the-liquid-phase (0.1 Y/X) (which can also be expressed as 1.810-6 atmospheres/gram-mole/m3) at 25° C (77° F) must be included.  Appendix F of this Part presents a list of compounds known to have a Henry’s law constant value less than the cutoff level.

“Waste determination” means performing all applicable procedures in accordance with the requirements of Section 725.984 to determine whether a hazardous waste meets standards specified in this Subpart CC.  Examples of a waste determination include performing the procedures in accordance with the requirements of Section 725.984 to determine the average VO concentration of a hazardous waste at the point of waste origination, determining the average VO concentration of a hazardous waste at the point of waste treatment and comparing the results to the exit concentration limit specified for the process used to treat the hazardous waste, the organic reduction efficiency and the organic biodegradation efficiency for a biological process used to treat a hazardous waste and comparing the results to the applicable standards, or determining the maximum volatile organic vapor pressure for a hazardous waste in a tank and comparing the results to the applicable standards.

“Waste stabilization process” means any physical or chemical process used to either reduce the mobility of hazardous constituents in a hazardous waste or eliminate free liquids as determined by Test Method 9095 (Paint Filter Liquids Test) in “Test Methods for Evaluating Solid Waste, Physical/Chemical Methods,”, incorporated by reference in 35 Ill. Adm. Code 720.111(a).  A waste stabilization process includes mixing the hazardous waste with binders or other materials and curing the resulting hazardous waste and binder mixture.  Other synonymous terms used to refer to this process are “waste fixation” or “waste solidification.”.  This does not include the addition of absorbent materials to the surface of a waste to absorb free liquid without mixing, agitation, or subsequent curing.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.982	Schedule for Implementation of Air Emission Standards

a)	An owner or operator of a facility in existence on December 6, 1996 and subject to Subpart I, J, or K of this Part shall must meet the following requirements:

1)	The owner or operator shall must install and begin operation of all control equipment required to comply with this Subpart CC and complete modifications of production or treatment processes to satisfy exemption criteria in accordance with Section 725.983(c) by December 6, 1996, except as provided in subsection (a)(2) of this Section.; and

2)	When control equipment or waste management units required to comply with this Subpart CC cannot be installed and in operation or modifications of production or treatment processes to satisfy exemption criteria in accordance with Section 725.983(c) cannot be completed by December 6, 1996, the owner or operator shall must do the following:

A)	Install and begin operation of the control equipment and waste management units, and complete modifications of production or treatment processes as soon as possible but no later than December 8, 1997.;

B)	Prepare an implementation schedule that includes the following information:  specific calendar dates for award of contracts or issuance of purchase orders for the control equipment, waste management units, and production or treatment process modifications; the dates of initiation of on-site installation of the control equipment, or waste management units, and modifications of production or treatment processes; the dates of completion of the control equipment or waste management unit installation, and production or treatment process modifications; and the dates of performance of  testing to demonstrate that the installed equipment or waste management units, and modified production or treatment processes meet the applicable standards of this Subpart CC.;

C)	For a facility subject to the recordkeeping requirements of Section 725.173, the owner or operator shall must enter the implementation schedule specified in subsection (a)(2)(B) of this Section in the operating record no later than December 6, 1996.; and

D)	For a facility not subject to Section 725.173 of this Section, the owner or operator shall must enter the implementation schedule specified in subsection (a)(2)(B) of this section in a permanent, readily available file located at the facility no later than December 6, 1996.

b)	An owner or operator of a facility or unit in existence on the effective date of statutory or regulatory amendments under the Act that render the facility subject to Subpart I, J, or K of this Part shall must meet the following requirements:

1)	The owner or operator shall must install and begin operation of all control equipment required to comply with this Subpart CC and complete modifications of production or treatment processes to satisfy exemption criteria of Section 725.983(c) by the effective date of the amendment, except as provided in subsection (b)(2) of this Section.

2)	When control equipment or waste management units required to comply with this Subpart CC cannot be installed and begin operation or when modifications of production or treatment processes to satisfy the exemption criteria of Section 725.983(c) cannot be completed by the effective date of the amendment, the owner or operator shall must undertake the following actions:

A)	Install and begin operation of the control equipment or waste management unit and complete modification of production or treatment processes as soon as possible, but no later than 30 months after the effective date of the amendment; and

B)	Maintenance of implementation schedule.

i)	For facilities subject to the recordkeeping requirements of Section 725.173, enter and maintain the implementation schedule specified in subsection (a)(2)(B) of this Section in the operating record no later than the effective date of the amendment, or

ii)	For facilities not subject to Section 725.173, the owner or operator shall must enter and maintain the implementation schedule specified in subsection (a)(2)(B) of this Section in a permanent, readily available file located at the facility site no later than the effective date of the amendment.

c)	The owner or operator of a facility or unit that becomes newly subject to the requirements of this Subpart CC after December 8, 1997 due to an action other than those described in subsection (b) of this Section shall must comply with all applicable requirements immediately (i.e., the owner or operator shall must have control devices installed and operating on the date the facility or unit becomes subject to the requirements of this Subpart CC; the 30-month implementation schedule does not apply to the owner or operator of such a facility).

d)	The Board will grant an adjusted standard pursuant to Section 28.1 of the Act and Subpart D of 35 Ill. Adm. Code 106 104 that extends the implementation date for control equipment at a facility to a date later than December 8, 1997 when the facility owner or operator proves the following:

1)	That special circumstances beyond the facility owner’s or operator’s control have delayed or will delay installation or operation of control equipment,; and

2)	That the owner or operator has made all reasonable and prudent attempts to comply with the requirements of this Subpart CC.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.983	Standards:  General

a)	This Section applies to the management of hazardous waste in tanks, surface impoundments, and containers subject to this Subpart CC.

b)	The owner or operator shall must control air pollutant emissions from each hazardous waste management unit in accordance with the standards specified in Sections 725.985 through 725.988, as applicable to the hazardous waste management unit, except as provided for in subsection (c) of this Section.

c)	A tank, surface impoundment, or container is exempted from standards specified in Sections 725.985 through 725.988, provided that all hazardous waste placed in the waste management unit is one of the following:

1)	A tank, surface impoundment, or container for which all hazardous waste entering the unit has an average VO concentration at the point of waste origination of less than 500 parts per million by weight (ppmw).  The average VO concentration must be determined by the procedures specified in Section 725.984(a).  The owner or operator shall must review and update, as necessary, this determination at least once every 12 months following the date of the initial determination for the hazardous waste streams entering the unit.;

2)	A tank, surface impoundment, or container for which the organic content of all the hazardous waste entering the waste management unit has been reduced by an organic destruction or removal process that achieves any one of the following conditions:

A)	The process removes or destroys the organics contained in the hazardous waste to such a level that the average VO concentration of the hazardous waste at the point of waste treatment is less than the exit concentration limit (Ct) established for the process.  The average VO concentration of the hazardous waste at the point of waste treatment and the exit concentration limit for the process must be determined using the procedures specified in Section 725.984(b).;

B)	The process removes or destroys the organics contained in the hazardous waste to such a level that the organic reduction efficiency (R) for the process is equal to or greater than 95 percent, and the average VO concentration of the hazardous waste at the point of waste treatment is less than 100 ppmw.  The organic reduction efficiency for the process and the average VO concentration of the hazardous waste at the point of waste treatment must be determined using the procedures specified in Section 725.984(b).;

C)	The process removes or destroys the organics contained in the hazardous waste to such a level that the actual organic mass removal rate (MR) for the process is equal to or greater than the required organic mass removal rate (RMR) established for the process.  The required organic mass removal rate and the actual organic mass removal rate for the process must be determined using the procedures specified in Section 725.984(b).;

D)	The process is a biological process that destroys or degrades the organics contained in the hazardous waste so that either of the following conditions is met:

i)	The organic reduction efficiency (R) for the process is equal to or greater than 95 percent, and the organic biodegradation efficiency (Rbio) for the process is equal to or greater than 95 percent.  The organic reduction efficiency and the organic biodegradation efficiency for the process must be determined using the procedures specified in Section 725.984(b).; and

ii)	The total actual organic mass biodegradation rate (MRbio) for all hazardous waste treated by the process is equal to or greater than the required organic mass removal rate (RMR).  The required organic mass removal rate and the actual organic mass biodegradation rate for the process must be determined using the procedures specified in Section 725.984(b).;

E)	The process is one that removes or destroys the organics contained in the hazardous waste and meets all of the following conditions:

i)	From the point of waste origination through the point where the hazardous waste enters the treatment process, the hazardous waste is continuously managed in waste management units that use air emission controls in accordance with the standards specified in Section 725.985 through Section 725.988, as applicable to the waste management unit.;

ii)	From the point of waste origination through the point where the hazardous waste enters the treatment process, any transfer of the hazardous waste is accomplished through continuous hard-piping or other closed system transfer that does not allow exposure of the waste to the atmosphere.;

BOARD NOTE:  The USEPA considers a drain system that meets the requirements of Subpart RR of 40 CFR 63, subpart RR, “National Emission Standards for Individual Drain Systems,”, to be a closed system.

iii)	The average VO concentration of the hazardous waste at the point of waste treatment is less than the lowest average VO concentration at the point of waste origination determined for each of the individual hazardous waste streams entering the process or 500 ppmw, whichever value is lower.  The average VO concentration of each individual hazardous waste stream at the point of waste origination must be determined using the procedures specified in Section 725.984(a).  The average VO concentration of the hazardous waste at the point of waste treatment must be determined using the procedures specified in Section 725.984(b).;

F)	A process that removes or destroys the organics contained in the hazardous waste to a level such that the organic reduction efficiency (R) for the process is equal to or greater than 95 percent and the owner or operator certifies that the average VO concentration at the point of waste origination for each of the individual waste streams entering the process is less than 10,000 ppmw.  The organic reduction efficiency for the process and the average VO concentration of the hazardous waste at the point of waste origination shall must be determined using the procedures specified in Section 724.983(b) and Section 724.983(a), respectively.;

G)	A hazardous waste incinerator for which either of the following conditions is true:

i)	The owner or operator has been issued a final permit under 35 Ill. Adm. Code 702, 703, and 705 that implements the requirements of Subpart O of 35 Ill. Adm. Code 724.Subpart O; or

ii)	The owner or operator has designed and operates the incinerator in accordance with the interim status requirements of Subpart O of this Part.;

H)	A boiler or industrial furnace for which either of the following conditions is true:

i)	The owner or operator has been issued a final permit under 35 Ill. Adm. Code 702, 703, and 705 that implements the requirements of Subpart H of 35 Ill. Adm. Code 726.Subpart H; or

ii)	The owner or operator has designed and operates the industrial furnace or incinerator in accordance with the interim status requirements of Subpart H of 35 Ill. Adm. Code 726.Subpart H.; and

I)	For the purpose of determining the performance of an organic destruction or removal process in accordance with the conditions in each of subsections (c)(2)(A) through (c)(2)(F) of this Section, the owner or operator shall must account for VO concentrations determined to be below the limit of detection of the analytical method by using the following VO concentration:

i)	If Method 25D in 40 CFR 60, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b), is used for the analysis, one-half the blank value determined in the method at Section 4.4 of Method 25D or a value of 25 ppmw, whichever is less.; and

ii)	If any other analytical method is used, one-half the sum of the limits of detection established for each organic constituent in the waste that has a Henry’s law constant value at least 0.1 mole-fraction-in-the-gas-phase/mole-fraction-in-the-liquid-phase (0.1 Y/X) (which can also be expressed as 1.8 x 10-6 atmospheres/gram-mole/m3) at 25° C.;

3)	A tank or surface impoundment used for biological treatment of hazardous waste in accordance with the requirements of subsection (c)(2)(D) of this Section.;

4)	A tank, surface impoundment, or container for which all hazardous waste placed in the unit fulfills either of the following two conditions:

A)	It meets the numerical concentration limits for organic hazardous constituents, applicable to the hazardous waste, as specified in Table T to 35 Ill. Adm. Code 728.Table T; or

B)	The organic hazardous constituents in the waste have been treated by the treatment technology established by USEPA for the waste, as set forth in 35 Ill. Adm. Code 728.142(a), or treated by an equivalent method of treatment approved by the Agency pursuant to 35 Ill. Adm. Code 728.142(b).; or

5)	A tank used for bulk feed of hazardous waste to a waste incinerator, and all of the following conditions are met:

A)	The tank is located inside an enclosure vented to a control device that is designed and operated in accordance with all applicable requirements specified under Subpart FF of 40 CFR 61, subpart FF, “National Emission Standards for Benzene Waste Operations,”, incorporated by reference in 35 Ill. Adm. Code 720.111(a), for a facility at which the total annual benzene quantity from the facility waste is equal to or greater than 10 megagrams (11 tons) per year;

B)	The enclosure and control device serving the tank were installed and began operation prior to November 25, 1996; and

C)	The enclosure is designed and operated in accordance with the criteria for a permanent total enclosure as specified in “Procedure T--Criteria for and Verification of a Permanent or Temporary Total Enclosure” under 40 CFR 52.741, appendix B, incorporated by reference in 35 Ill. Adm. Code 720.111(b).  The enclosure may have permanent or temporary openings to allow worker access; passage of material into or out of the enclosure by conveyor, vehicles, or other mechanical or electrical equipment; or to direct air flow into the enclosure.  The owner or operator shall must perform the verification procedure for the enclosure as specified in Section 5.0 to “Procedure T--Criteria for and Verification of a Permanent or Temporary Total Enclosure” annually.

d)	The Agency may at any time perform or request that the owner or operator perform a waste determination for a hazardous waste managed in a tank, surface impoundment, or container that is exempted from using air emission controls under the provisions of this Section as follows:

1)	The waste determination for average VO concentration of a hazardous waste at the point of waste origination must be performed using direct measurement in accordance with the applicable requirements of Section 725.984(a).  The waste determination for a hazardous waste at the point of waste treatment must be performed in accordance with the applicable requirements of Section 725.984(b).;

2)	In performing a waste determination pursuant to subsection (d)(1) of this Section, the sample preparation and analysis shall must be conducted as follows:

A)	In accordance with the method used by the owner or operator to perform the waste analysis, except in the case specified in subsection (d)(2)(B) of this Section.; and

B)	If the Agency determines that the method used by the owner or operator was not appropriate for the hazardous waste managed in the tank, surface impoundment, or container, then the Agency may choose an appropriate method.;

3)	Where the owner or operator is requested to perform the waste determination, the Agency may elect to have an authorized representative observe the collection of the hazardous waste samples used for the analysis.;

4)	Where the results of the waste determination performed or requested by the Agency do not agree with the results of a waste determination performed by the owner or operator using knowledge of the waste, then the results of the waste determination performed in accordance with the requirements of subsection (d)(1) of this Section must be used to establish compliance with the requirements of this Subpart CC.; and

5)	Where the owner or operator has used an averaging period greater than one hour for determining the average VO concentration of a hazardous waste at the point of waste origination, the Agency may elect to establish compliance with this Subpart CC by performing or requesting that the owner or operator perform a waste determination using direct measurement, based on waste samples collected within a 1-hour period as follows:

A)	The average VO concentration of the hazardous waste at the point of waste origination must be determined by direct measurement in accordance with the requirements of Section 725.984(a).;

B)	Results of the waste determination performed or requested by the Agency showing that the average VO concentration of the hazardous waste at the point of waste origination is equal to or greater than 500 ppmw shall must constitute noncompliance with this Subpart CC, except in a case as provided for in subsection (d)(4)(C) of this Section.; and

C)	Where the average VO concentration of the hazardous waste at the point of waste origination previously has been determined by the owner or operator using an averaging period greater than one hour to be less than 500 ppmw but because of normal operating process variations the VO concentration of the hazardous waste determined by direct measurement for any given 1-hour period may be equal to or greater than 500 ppmw, information that was used by the owner or operator to determine the average VO concentration of the hazardous waste (e.g., test results, measurements, calculations, and other documentation) and recorded in the facility records in accordance with the requirements of Sections 725.984(a) and 725.990 must be considered by the Agency together with the results of the waste determination performed or requested by the Agency in establishing compliance with this Subpart CC.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.984	Waste Determination Procedures

a)	Waste determination procedure for volatile organic (VO) concentration of a hazardous waste at the point of waste origination.

1)	An owner or operator shall must determine the average VO concentration at the point of waste origination for each hazardous waste placed in a waste management unit exempted under the provisions of Section 725.983(c)(1) from using air emission controls in accordance with standards specified in Section 725.985 through Section 725.988, as applicable to the waste management unit.

A)	An owner or operator shall must make an initial determination of the average VO concentration of the waste stream before the first time any portion of the material in the hazardous waste stream is placed in a waste management unit exempted under the provisions of Section 725.983(c)(1) from using air emission controls.  Thereafter, an owner or operator shall must make an initial determination of the average VO concentration of the waste stream for each averaging period that a hazardous waste is managed in the unit.

B)	An owner or operator shall must perform a new waste determination whenever changes to the source generating the waste stream are reasonably likely to cause the average VO concentration of the hazardous waste to increase to a level that is equal to or greater than the VO concentration limits specified in Section 725.983(c)(1).

2)	For a waste determination that is required by subsection (a)(1) of this Section, the average VO concentration of a hazardous waste at the point of waste origination must be determined using either direct measurement, as specified in subsection (a)(3) of this Section, or by knowledge of the waste, as specified in subsection (a)(4) of this Section.

3)	Direct measurement to determine average VO concentration of a hazardous waste at the point of waste origination.

A)	Identification.  The owner or operator shall must identify and record the point of waste origination for the hazardous waste.

B)	Sampling.  Samples of the hazardous waste stream must be collected at the point of waste origination in such a manner that volatilization of organics contained in the waste and in the subsequent sample is minimized and an adequately representative sample is collected and maintained for analysis by the selected method.

i)	The averaging period to be used for determining the average VO concentration for the hazardous waste stream on a mass-weighted average basis must be designated and recorded.  The averaging period can represent any time interval that the owner or operator determines is appropriate for the hazardous waste stream but must not exceed one year.

ii)	A sufficient number of samples, but no fewer than four samples, must be collected for a hazardous waste determination.  All of the samples for a given waste determination must be collected within a one-hour period.  The average of the four or more sample results constitutes a waste determination for the waste stream.  One or more waste determinations may be required to represent the complete range of waste compositions and quantities that occur during the entire averaging period due to normal variations in the operating conditions for the source or process generating the hazardous waste stream.  Examples of such normal variations are seasonal variations in waste quantity or fluctuations in ambient temperature.

iii)	All samples must be collected and handled in accordance with written procedures prepared by the owner or operator and documented in a site sampling plan.  This plan must describe the procedure by which representative samples of the hazardous waste stream are collected so that a minimum loss of organics occurs throughout the sample collection and handling process, and by which sample integrity is maintained.  A copy of the written sampling plan must be maintained on-site in the facility operating records.  An example of an acceptable sampling plan includes a plan incorporating sample collection and handling procedures in accordance with the requirements specified in “Test Methods for Evaluating Solid Waste, Physical/Chemical Methods,” USEPA Publication SW-846, incorporated by reference in 35 Ill. Adm. Code 720.111(a), or in Method 25D in 40 CFR 60, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

iv)	Sufficient information, as specified in the “site sampling plan” required under subsection (a)(3)(B)(iii) of this Section, must be prepared and recorded to document the waste quantity represented by the samples and, as applicable, the operating conditions for the source or process generating the hazardous waste represented by the samples.

C)	Analysis.  Each collected sample must be prepared and analyzed in accordance with one or more of the methods listed in subsections (a)(3)(C)(i) through (a)(3)(C)(ix) of this Section, including the appropriate quality assurance and quality control (QA/QC) checks and use of target compounds for calibration.  If Method 25D in 40 CFR 60, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b), is not used, then one or more methods should be chosen that are appropriate to ensure that the waste determination accounts for and reflects all organic compounds in the waste with Henry’s law constant values at least 0.1 mole-fraction-in-the-gas-phase/mole-fraction-in-the-liquid-phase (0.1 Y/X) (which can also be expressed as 1.810-6 atmospheres/gram-mole/m3) at 25° C (77° F).  Each of the analytical methods listed in subsections (a)(3)(C)(ii) through (a)(3)(C)(vii) of this Section has an associated list of approved chemical compounds for which USEPA considers the method appropriate for measurement.  If an owner or operator uses USEPA Method 624, 625, 1624, or 1625 in 40 CFR 136, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b), to analyze one or more compounds that are not on that method’s published list, the Alternative Test Procedure contained in 40 CFR 136.4 and 136.5, incorporated by reference in 35 Ill. Adm. Code 720.111(b), must be followed.  If an owner or operator uses USEPA Method 8260 or 8270 in “Test Methods for Evaluating Solid Waste, Physical/Chemical Methods,”, USEPA Publication SW-846, incorporated by reference in 35 Ill. Adm. Code 720.111(a), to analyze one or more compounds that are not on that method’s published list, the procedures in subsection (a)(3)(C)(viii) of this Section must be followed.  At the owner’s or operator’s discretion, the owner or operator may adjust test data measured by a method other than Method 25D to the corresponding average VO concentration value that would have been obtained, had the waste samples been analyzed using Method 25D.  To adjust these data, the measured concentration of each individual chemical constituent contained in the waste is multiplied by the constituent-specific adjustment factor (fm25D).  If the owner or operator elects to adjust test data, the adjustment must be made to all individual chemical constituents with a Henry's law constant value greater than or equal to 0.1 Y/X at 25° C contained in the waste.  Constituent-specific adjustment factors (fm25D) can be obtained by contacting the USEPA, Waste and Chemical Processes Group, Office of Air Quality Planning and Standards, Research Triangle Park, NC 27711.

i)	Method 25D in 40 CFR 60, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

ii)	Method 624 in 40 CFR 136, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

iii)	Method 625 in 40 CFR 136, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b).  Perform corrections to the compounds for which the analysis is being conducted based on the “accuracy as recovery” using the factors in Table 7 of the method.

iv)	Method 1624 in 40 CFR 136, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

v)	Method 1625 in 40 CFR 136, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

vi)	Method 8260 in “Test Methods for Evaluating Solid Waste, Physical/Chemical Methods,”, USEPA Publication SW-846, incorporated by reference in 35 Ill. Adm. Code 720.111(a).  Maintain a formal quality assurance program consistent with the requirements of Method 8260.  The quality assurance program must include the elements set forth in subsection (a)(3)(F) of this Section.

vii)	Method 8270 in “Test Methods for Evaluating Solid Waste, Physical/Chemical Methods,”, USEPA Publication SW-846, incorporated by reference in 35 Ill. Adm. Code 720.111(a).  Maintain a formal quality assurance program consistent with the requirements of Method 8270.  The quality assurance program must include the elements set forth in subsection (a)(3)(F) of this Section.

viii)	Any other USEPA standard method that has been validated in accordance with “Alternative Validation Procedure for USEPA Waste and Wastewater Methods,”, 40 CFR 63, appendix D, incorporated by reference in 35 Ill. Adm. Code 720.111(b).  As an alternative, other USEPA standard methods may be validated by the procedure specified in subsection (a)(3)(C)(ix) of this Section.

ix)	Any other analysis method that has been validated in accordance with the procedures specified in Section 5.1 or Section 5.3, and the corresponding calculations in Section 6.1 or Section 6.3, of Method 301 in 40 CFR 63, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b).  The data are acceptable if they meet the criteria specified in Section 6.1.5 or Section 6.3.3 of Method 301.  If correction is required under Section 6.3.3 of Method 301, the data are acceptable if the correction factor is within the range 0.7 to 1.30.  Other Sections of Method 301 are not required.

D)	Calculations.

i)	The average VO concentration (C) on a mass-weighted basis must be calculated by using the results for all waste determinations conducted in accordance with subsections (a)(3)(B) and (a)(3)(C) of this Section and the following equation:

C=1QTxaligncnåi=1(QixCi)

11Where:

C =	Average VO concentration of the hazardous waste at the point of waste origination on a mass-weighted basis, in ppmw.;

i =	Individual waste determination “i” of the hazardous waste.;

n =	Total number of waste determinations of the hazardous waste conducted for the averaging period (not to exceed one year).;

Qi =	Mass quantity of the hazardous waste stream represented by Ci, in kg/hr.;

QT =	Total mass quantity of the hazardous waste during the averaging period, in kg/hr.; and

Ci =	Measured VO concentration of waste determination “i,”, as determined in accordance with subsection (a)(3)(C) of this Section (i.e.,  the average of the four or more samples specified in subsection (a)(3)(B)(ii) of this Section), in ppmw.

ii)	For the purpose of determining Ci, for individual waste samples analyzed in accordance with subsection (a)(3)(C) of this Section, the owner or operator shall must account for VO concentrations determined to be below the limit of detection of the analytical method by using the VO concentration determined according to subsection (a)(3)(G) of this Section.

E)	Provided that the test method is appropriate for the waste as required under subsection (a)(3)(C) of this Section, the Agency must determine compliance based on the test method used by the owner or operator as recorded pursuant to Section 725.990(f)(1).

F)	The quality assurance program elements required under subsections (a)(3)(C)(vi) and (a)(3)(C)(vii) of this Section are as follows:

i)	Documentation of site-specific procedures to minimize the loss of compounds due to volatilization, biodegradation, reaction, or sorption during the sample collection, storage, preparation, introduction, and analysis steps.

ii)	Measurement of the overall accuracy and precision of the specific procedures.

BOARD NOTE:  Subsections (a)(3)(F)(i) and (a)(3)(F)(ii) are derived from 40 CFR 265.984(a)(3)(iii)(F)(1), (a)(3)(iii)(F)(2), (a)(3)(iii)(G)(1), and (a)(3)(iii)(G)(2), which the Board has codified here to comport with Illinois Administrative Code format requirements.

G)	VO concentrations below the limit of detection must be considered to be as follows:

i)	If Method 25D in 40 CFR 60, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b), is used for the analysis, the VO concentration must be considered to be one-half the blank value determined in the method at Section 4.4 of Method 25D in 40 CFR 60, appendix A.

ii)	If any other analytical method is used, the VO concentration must be considered to be one-half the sum of the limits of detection established for each organic constituent in the waste that has a Henry’s law constant value at least 0.1 mole-fraction-in-the-gas-phase/mole-fraction-in-the-liquid-phase (0.1 Y/X) (which can also be expressed as 1.8 x 10-6 atmospheres/gram-mole/m3) at 25° C.

BOARD NOTE:  Subsections (a)(3)(G)(i) and (a)(3)(G)(ii) are derived from 40 CFR 265.984(a)(3)(iv)(A)(1) and (a)(3)(iv)(A)(2), which the Board has codified here to comport with Illinois Administrative Code format requirements.

4)	Use of owner or operator knowledge to determine average VO concentration of a hazardous waste at the point of waste origination.

A)	Documentation must be prepared that presents the information used as the basis for the owner’s or operator’s knowledge of the hazardous waste stream’s average VO concentration.  Examples of information that may be used as the basis for knowledge include the following:  material balances for the source or process generating the hazardous waste stream; constituent-specific chemical test data for the hazardous waste stream from previous testing that are still applicable to the current waste stream; previous test data for other locations managing the same type of waste stream; or other knowledge based on information included in manifests, shipping papers, or waste certification notices.

B)	If test data are used as the basis for knowledge, then the owner or operator shall must document the test method, sampling protocol, and the means by which sampling variability and analytical variability are accounted for in the determination of the average VO concentration.  For example, an owner or operator may use organic concentration test data for the hazardous waste stream that are validated in accordance with Method 301 in 40 CFR 63, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b), as the basis for knowledge of the waste.

C)	An owner or operator using chemical constituent-specific concentration test data as the basis for knowledge of the hazardous waste may adjust the test data to the corresponding average VO concentration value that would have been obtained had the waste samples been analyzed using Method 25D in 40 CFR 60, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b).  To adjust these data, the measured concentration for each individual chemical constituent contained in the waste is multiplied by the appropriate constituent-specific adjustment factor (fm25D).

D)	In the event that the Agency and the owner or operator disagree on a determination of the average VO concentration for a hazardous waste stream using knowledge, then the results from a determination of average VO concentration using direct measurement, as specified in subsection (a)(3) of this Section, must be used to establish compliance with the applicable requirements of this Subpart CC.  The Agency may perform or request that the owner or operator perform this determination using direct measurement.  The owner or operator may choose one or more appropriate methods to analyze each collected sample in accordance with the requirements of subsection (a)(3)(C) of this Section.

b)	Waste determination procedures for treated hazardous waste.

1)	An owner or operator shall must perform the applicable waste determination for each treated hazardous waste placed in a waste management unit exempted under the provisions of Section 725.983(c)(2)(A) through (c)(2)(F) from using air emission controls in accordance with the standards specified in Sections 725.985 through 725.988, as applicable to the waste management unit.

A)	An owner or operator shall must make an initial determination of the average VO concentration of the waste stream before the first time any portion of the material in the treated waste stream is placed in the waste management unit exempt under Section 725.983(c)(2), (c)(3), or (c)(4) from using air emission controls.  Thereafter, an owner or operator shall must update the information used for the waste determination at least once every 12 months following the date of the initial waste determination.

B)	An owner or operator shall must perform a new waste determination whenever changes to the process generating or treating the waste stream are reasonably likely to cause the average VO concentration of the hazardous waste to increase to such a level that the applicable treatment conditions specified in Section 725.983 (c)(2), (c)(3), or (c)(4) are not achieved.

2)	The owner or operator shall must designate and record the specific provision in Section 725.983(c)(2) under which the waste determination is being performed.  The waste determination for the treated hazardous waste must be performed using the applicable procedures specified in subsections (b)(3) through (b)(9) of this Section.

3)	Procedure to determine the average VO concentration of a hazardous waste at the point of waste treatment.

A)	Identification.  The owner or operator shall must identify and record the point of waste treatment for the hazardous waste.

B)	Sampling.  Samples of the hazardous waste stream must be collected at the point of waste treatment in such a manner that volatilization of organics contained in the waste and in the subsequent sample is minimized and an adequately representative sample is collected and maintained for analysis by the selected method.

i)	The averaging period to be used for determining the average VO concentration for the hazardous waste stream on a mass-weighted average basis must be designated and recorded.  The averaging period can represent any time interval that the owner or operator determines is appropriate for the hazardous waste stream but must not exceed one year.

ii)	A sufficient number of samples, but no fewer than four samples, must be collected and analyzed for a hazardous waste determination.  All of the samples for a given waste determination must be collected within a one-hour period.  The average of the four or more sample results constitutes a waste determination for the hazardous waste stream.  One or more waste determinations may be required to represent the complete range of waste compositions and quantities that occur during the entire averaging period due to normal variations in the operating conditions for the process generating or treating the hazardous waste stream.  Examples of such normal variations are seasonal variations in waste quantity or fluctuations in ambient temperature.

iii)	All samples must be collected and handled in accordance with written procedures prepared by the owner or operator and documented in a site sampling plan.  This plan must describe the procedure by which representative samples of the hazardous waste stream are collected so that a minimum loss of organics occurs throughout the sample collection and handling process, and by which sample integrity is maintained.  A copy of the written sampling plan must be maintained on-site in the facility operating records.  An example of an acceptable sampling plan includes a plan incorporating sample collection and handling procedures in accordance with the requirements specified in “Test Methods for Evaluating Solid Waste, Physical/Chemical Methods,” USEPA Publication No. SW-846, incorporated by reference in 35 Ill. Adm. Code 720.111(a), or in Method 25D in 40 CFR 60, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

iv)	Sufficient information, as specified in the “site sampling plan” required under subsection (a)(3)(B)(iii) of this Section, must be prepared and recorded to document the waste quantity represented by the samples and, as applicable, the operating conditions for the process treating the hazardous waste represented by the samples.

C)	Analysis.  Each collected sample must be prepared and analyzed in accordance with one or more of the methods listed in subsections (b)(3)(C)(i) through (b)(3)(C)(ix) of this Section, including appropriate quality assurance and quality control (QA/QC) checks and use of target compounds for calibration.  When the owner or operator is making a waste determination for a treated hazardous waste that is to be compared to an average VO concentration at the point of waste origination or the point of waste entry to the treatment system, to determine if the conditions of 35 Ill. Adm. Code 724.982(c)(2)(A) through (c)(2)(F) or Section 725.983(c)(2)(A) through (c)(2)(F) are met, then the waste samples must be prepared and analyzed using the same method or methods as were used in making the initial waste determinations at the point of waste origination or at the point of entry to the treatment system.  If Method 25D in 40 CFR 60, appendix A is not used, then one or more methods should be chosen that are appropriate to ensure that the waste determination accounts for and reflects all organic compounds in the waste with Henry’s law constant values at least 0.1 mole-fraction-in-the-gas-phase/mole-fraction-in-the-liquid-phase (0.1 Y/X) (which can also be expressed as 1.810-6 atmospheres/gram-mole/m3) at 25 degrees Celsius.  Each of the analytical methods listed in subsections (b)(3)(C)(ii) through (b)(3)(C)(vii) of this Section has an associated list of approved chemical compounds, for which USEPA considers the method appropriate for measurement.  If an owner or operator uses USEPA Method 624, 625, 1624, or 1625 in 40 CFR 136, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b), to analyze one or more compounds that are not on that method’s published list, the Alternative Test Procedure contained in 40 CFR 136.4 and 136.5, incorporated by reference in 35 Ill. Adm. Code 720.111(b), must be followed.  If an owner or operator uses USEPA Method 8260 or 8270 in “Test Methods for Evaluating Solid Waste, Physical/Chemical Methods,”, USEPA Publication SW-846, incorporated by reference in 35 Ill. Adm. Code 720.111(a), to analyze one or more compounds that are not on that method’s published list, the procedures in subsection (b)(3)(C)(viii) of this Section must be followed.  At the owner’s or operator’s discretion, the owner or operator may adjust test data measured by a method other than Method 25D to the corresponding average VO concentration value that would have been obtained, had the waste samples been analyzed using Method 25D.  To adjust these data, the measured concentration of each individual chemical constituent contained in the waste is multiplied by the constituent-specific adjustment factor (fm25D).  If the owner or operator elects to adjust test data, the adjustment must be made to all individual chemical constituents with a Henry's law constant value greater than or equal to 0.1 Y/X at 25° C contained in the waste.  Constituent-specific adjustment factors (fm25D) can be obtained by contacting the USEPA, Waste and Chemical Processes Group, Office of Air Quality Planning and Standards, Research Triangle Park, NC 27711.

i)	Method 25D in 40 CFR 60, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

ii)	Method 624 in 40 CFR 136, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

iii)	Method 625 in 40 CFR 136, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b).  Perform corrections to the compounds for which the analysis is being conducted based on the “accuracy as recovery” using the factors in Table 7 of the method.

iv)	Method 1624 in 40 CFR 136, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

v)	Method 1625 in 40 CFR 136, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

vi)	Method 8260 in “Test Methods for Evaluating Solid Waste, Physical/Chemical Methods,”, USEPA Publication SW-846, incorporated by reference in 35 Ill. Adm. Code 720.111(a).  Maintain a formal quality assurance program consistent with the requirements of Method 8260.  The quality assurance program must include the elements set forth in subsection (b)(3)(E) of this Section.

vii)	Method 8270 in “Test Methods for Evaluating Solid Waste, Physical/Chemical Methods,”, USEPA Publication SW-846, incorporated by reference in 35 Ill. Adm. Code 720.111(a).  Maintain a formal quality assurance program consistent with the requirements of Method 8270.  The quality assurance program must include the elements set forth in subsection (b)(3)(E) of this Section.

viii)	Any other USEPA standard method that has been validated in accordance with “Alternative Validation Procedure for EPA Waste and Wastewater Methods,”, 40 CFR 63, appendix D, incorporated by reference in 35 Ill. Adm. Code 720.111(b).  As an alternative, other USEPA standard methods may be validated by the procedure specified in subsection (b)(3)(C)(ix) of this Section.

ix)	Any other analysis method that has been validated in accordance with the procedures specified in Section 5.1 or Section 5.3, and the corresponding calculations in Section 6.1 or Section 6.3, of Method 301 in 40 CFR 63, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b).  The data are acceptable if they meet the criteria specified in Section 6.1.5 or Section 6.3.3 of Method 301.  If correction is required under Section 6.3.3 of Method 301, the data are acceptable if the correction factor is within the range 0.7 to 1.30.  Other Sections of Method 301 are not required.

D)	Calculations.  The average VO concentration (C) on a mass-weighted basis must be calculated by using the results for all samples analyzed in accordance with subsection (b)(3)(C) of this Section and the following equation:

C=1QTxaligncnåi=1(QixCi)12

Where:

C =	Average VO concentration of the hazardous waste at the point of waste treatment on a mass-weighted basis, in ppmw.;

i =	Individual determination “i” of the hazardous waste.;

n =	Total number of waste determinations of the hazardous waste collected for the averaging period (not to exceed 1 year).;

Qi =	Mass quantity of the hazardous waste stream represented by Ci, in kg/hr.;

QT =	Total mass quantity of hazardous waste during the averaging period, in kg/hr.; and

Ci =	Measured VO concentration of waste determinations “i,”, as determined in accordance with the requirements of subsection (b)(3)(C) of this Section (i.e.,  the average of the four or more samples specified in subsection (b)(3)(B)(ii) of this Section), in ppmw.

E)	Provided that the test method is appropriate for the waste as required under subsection (b)(3)(C) of this Section, compliance must be determined based on the test method used by the owner or operator as recorded pursuant to Section 725.990(f)(1).

4)	Procedure to determine the exit concentration limit (Ct) for a treated hazardous waste.

A)	The point of waste origination for each hazardous waste treated by the process at the same time must be identified.

B)	If a single hazardous waste stream is identified in subsection (b)(4)(A) of this Section, then the exit concentration limit (Ct) must be 500 ppmw.

C)	If more than one hazardous waste stream is identified in subsection (b)(4)(A) of this Section, then the average VO concentration of each hazardous waste stream at the point of waste origination must be determined in accordance with the requirements of subsection (a) of this Section.  The exit concentration limit (Ct) must be calculated by using the results determined for each individual hazardous waste stream and the following equation:

Ct=måx=1(QxxCx)+nåy=1(Qyx500ppmw)måx=1Qx+nåy=1Qy13

Where:

Ct =	Exit concentration limit for treated hazardous waste, in ppmw.;

x =	Individual hazardous waste stream “x” that has an average VO concentration less than 500 ppmw at the point of waste origination, as determined in accordance with the requirements of subsection (a) of this Section.;

y =	Individual hazardous waste stream “y” that has an average VO concentration equal to or greater than 500 ppmw at the point of waste origination, as determined in accordance with the requirements of subsection (a) of this Section.;

m =	Total number of “x” hazardous waste streams treated by process.;

n =	Total number of “y” hazardous waste streams treated by process.;

Qx =	Annual mass quantity of hazardous waste stream “x,”, in kg/yr.;

Qy =	Annual mass quantity of hazardous waste stream “y,”, in kg/yr.; and

Cx =	Average VO concentration of hazardous waste stream “x” at the point of waste origination, as determined in accordance with the requirements of subsection (a) of this Section, in ppmw.

5)	Procedure to determine the organic reduction efficiency (R) for a treated hazardous waste.

A)	The organic reduction efficiency (R) for a treatment process must be determined based on results for a minimum of three consecutive runs.

B)	All hazardous waste streams entering the process and all hazardous waste streams exiting the treatment process must be identified.  The owner or operator shall must prepare a sampling plan for measuring these streams that accurately reflects the retention time of the hazardous waste in the process.

C)	For each run, information must be determined for each hazardous waste stream identified in subsection (b)(5)(B) of this Section, using the following procedures:

i)	The mass quantity of each hazardous waste stream entering the process (Qb) and the mass quantity of each hazardous waste stream exiting the process (Qa) must be determined.; and

ii)	The average VO concentration at the point of waste origination of each hazardous waste stream entering the process (Cb) during the run must be determined in accordance with the requirements of subsection (a)(3) of this Section.  The average VO concentration at the point of waste treatment of each hazardous waste stream exiting the process (Ca) during the run must be determined in accordance with the requirements of subsection (b)(3) of this Section.

D)	The waste volatile organic mass flow entering the process (Eb) and the waste volatile organic mass flow exiting the process (Ea) must be calculated by using the results determined in accordance with subsection (b)(5)(C) of this Section and the following equations:

Eb=1106måj=1(QbjxCbj)14

Ea=1106måj=1(QajxCaj)15

Where:

Ea =	Waste volatile organic mass flow exiting the process, in kg/hr.;

Eb =	Waste volatile organic mass flow entering the process, in kg/hr.;

m =	Total number of runs (at least 3).;

j =	Individual run “j.”;

Qbj =	Mass quantity of hazardous waste entering the process during run “j,”, in kg/hr.;

Qaj =	Average mass quantity of waste exiting the process during run “j,”, in kg/hr.;

Caj=	Average VO concentration of hazardous waste exiting the process during run “j,”, as determined in accordance with the requirements of subsection (b)(3) of this Section, in ppmw.; and

Cbj =	Average VO concentration of hazardous waste entering the process during run “j,”, as determined in accordance with the requirements of subsection 725.984 (a)(3) of this Section, in ppmw.

E)	The organic reduction efficiency of the process must be calculated by using the results determined in accordance with subsection (b)(5)(D) of this Section and the following equation:

R=Eb−EaEb16

Where:

R =	Organic reduction efficiency, in percent.;

Eb =	Waste volatile organic mass flow entering the process, as determined in accordance with the requirements of subsection (b)(5)(D) of this Section, in kg/hr.; and

Ea =	Waste volatile organic mass flow exiting the process, as determined in accordance with the requirements of subsection (b)(5)(D) of this Section, in kg/hr.

6)	Procedure to determine the organic biodegradation efficiency (Rbio) for a treated hazardous waste.

A)	The fraction of organics biodegraded (Fbio) must be determined using the procedure specified in 40 CFR 63, appendix C, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

B)	The organic biodegradation efficiency (Rbio) must be calculated by using the following equation:

Rbio=Fbiox100%17

Where:

Rbio =	Organic biodegradation efficiency, in percent.; and

Fbio =	Fraction of organic biodegraded, as determined in accordance with the requirements of subsection (b)(6)(A) of this Section.

7)	Procedure to determine the required organic mass removal rate (RMR) for a treated hazardous waste.

A)	All of the hazardous waste streams entering the treatment process must be identified.

B)	The average VO concentration of the hazardous waste stream at the point of waste origination must be determined in accordance with the requirements of subsection (a) of this Section.

C)	For each individual hazardous waste stream that has an average volatile organic concentration equal to or greater than 500 ppmw at the point of waste origination, the average volumetric flow rate of hazardous waste and the density of the hazardous waste stream at the point of waste origination must be determined.

D)	The required organic mass removal rate (RMR) for the hazardous waste must be calculated by using the average VO concentration, average volumetric flow rate, and density determined for each individual hazardous waste stream, and the following equation:

RMR=nåy=1Vyxkyx(Cy-500ppmw)10618

Where:

RMR = Required organic mass removal rate, in kg/hr.;

y =	Individual hazardous waste stream “y” that has an average volatile organic (VO) concentration equal to or greater than 500 ppmw at the point of waste origination, as determined in accordance with the requirements of subsection (a) of this Section.;

n =	Total number of “y” hazardous waste streams treated by process.;

Vy =	Average volumetric flow rate of hazardous waste  stream “y” at the point of waste origination, in m3/hr.;

ky =	Density of hazardous waste stream “y,”, in kg/m3.; and

Cy Cy =	Average VO concentration of hazardous waste stream “y” at the point of waste origination, as determined in accordance with the requirements of subsection (a) of this Section, in ppmw.

8)	Procedure to determine the actual organic mass removal rate (MR) for a treated hazardous waste.

A)	The actual organic mass removal rate (MR) must be determined based on results for a minimum of three consecutive runs. The sampling time for each run must be one hour.

B)	The waste volatile organic mass flow entering the process (Eb) and the waste volatile organic mass flow exiting the process (Ea) must be determined in accordance with the requirements of subsection (b)(5)(D) of this Section.

C)	The actual organic mass removal rate (MR) must be calculated by using the mass flow rate determined in accordance with the requirements of subsection (b)(8)(B) of this Section and the following equation:

MR=Eb−Ea19

Where:

MR =	Actual organic mass removal rate, in kg/hr.;

Eb =	Waste volatile organic mass flow entering the process, as determined in accordance with the requirements of subsection (b)(5)(D) of this Section, in kg/hr.; and

Ea =	Waste volatile organic mass flow exiting the process, as determined in accordance with the requirements of subsection (b)(5)(D) of this Section, in kg/hr.

9)	Procedure to determine the actual organic mass biodegradation rate (MRbio) for a treated hazardous waste.

A)	The actual organic mass biodegradation rate (MRbio) must be determined based on results for a minimum of three consecutive runs.  The sampling time for each run must be one hour.

B)	The waste organic mass flow entering the process (Eb) must be determined in accordance with the requirements of subsection (b)(5)(D) of this Section.

C)	The fraction of organic biodegraded (Fbio) must be determined using the procedure specified in 40 CFR 63, appendix C, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

D)	The actual organic mass biodegradation rate (MRbio) must be calculated by using the mass flow rates and fraction of organic biodegraded, as determined in accordance with the requirements of subsections (b)(9)(B) and (b)(9)(C) of this Section, respectively, and the following equation:

MRbio=EbxFbio20

Where:

MRbio = Actual organic mass biodegradation rate, in kg/hr.;

Eb =	Waste organic mass flow entering the process, as determined in accordance with the requirements of subsection (b)(5)(D) of this Section, in kg/hr.; and

Fbio =	Fraction of organic biodegraded, as determined in accordance with the requirements of subsection (b)(9)(C) of this Section.

c)	Procedure to determine the maximum organic vapor pressure of a hazardous waste in a tank.

1)	An owner or operator shall must determine the maximum organic vapor pressure for each hazardous waste placed in a tank using Tank Level 1 controls in accordance with standards specified in Section 725.985(c).

2)	An owner or operator shall must use either direct measurement, as specified in subsection (c)(3) of this Section, or knowledge of the waste, as specified by subsection (c)(4) of this Section, to determine the maximum organic vapor pressure that is representative of the hazardous waste composition stored or treated in the tank.

3)	Direct measurement to determine the maximum organic vapor pressure of a hazardous waste.

A)	Sampling.  A sufficient number of samples must be collected to be representative of the waste contained in the tank.  All samples must be conducted and handled in accordance with written procedures prepared by the owner or operator and documented in a site sampling plan.  This plan must describe the procedure by which representative samples of the hazardous waste are collected so that a minimum loss of organics occurs throughout the sample collection and handling process and by which sample integrity is maintained.  A copy of the written sampling plan must be maintained on-site in the facility operating records.  An example of an acceptable sampling plan includes a plan incorporating sample collection and handling procedures in accordance with the requirements specified in “Test Methods for Evaluating Solid Waste, Physical/Chemical Methods,”, USEPA Publication No. SW-846, incorporated by reference in 35 Ill. Adm. Code 720.111(a), or in Method 25D in 40 CFR 60, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

B)	Analysis.  Any appropriate one of the following methods may be used to analyze the samples and compute the maximum organic vapor pressure of the hazardous waste:

i)	Method 25E in 40 CFR 60, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b);

ii)	Methods described in American Petroleum Institute Publication 2517, incorporated by reference in 35 Ill. Adm. Code 720.111(a);

iii)	Methods obtained from standard reference texts;

iv)	ASTM Method D 2879-92, incorporated by reference in 35 Ill. Adm. Code 720.111(a); or

v)	Any other method approved by the Agency.

4)	Use of knowledge to determine the maximum organic vapor pressure of the hazardous waste.  Documentation must be prepared and recorded that presents the information used as the basis for the owner’s or operator’s knowledge that the maximum organic vapor pressure of the hazardous waste is less than the maximum vapor pressure limit listed in Section 725.985(b)(1)(A) for the applicable tank design capacity category.  An example of information that may be used is documentation that the hazardous waste is generated by a process for which at other locations it previously has been determined by direct measurement that the waste maximum organic vapor pressure is less than the maximum vapor pressure limit for the appropriate tank design capacity category.

d)	The procedure for determining no detectable organic emissions for the purpose of complying with this Subpart CC is as follows:

1)	The test must be conducted in accordance with the procedures specified in Method 21 of 40 CFR 60, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b).  Each potential leak interface (i.e., a location where organic vapor leakage could occur) on the cover and associated closure devices must be checked.  Potential leak interfaces that are associated with covers and closure devices include, but are not limited to, any of the following:  the interface of the cover and its foundation mounting, the periphery of any opening on the cover and its associated closure device, and the sealing seat interface on a spring-loaded pressure relief valve.

2)	The test must be performed when the unit contains a hazardous waste having an organic concentration representative of the range of concentrations for the hazardous waste expected to be managed in the unit.  During the test, the cover and closure devices must be secured in the closed position.

3)	The detection instrument must meet the performance criteria of Method 21 of 40 CFR 60, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b), except the instrument response factor criteria in Section 3.1.2(a) of Method 21 must be for the average composition of the organic constituents in the hazardous waste placed in the waste management unit, not for each individual organic constituent.

4)	The detection instrument must be calibrated before use on each day of its use by the procedures specified in Method 21 of 40 CFR 60, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

5)	Calibration gases must be as follows:

A)	Zero air (less than 10 ppmv hydrocarbon in air), and

B)	A mixture of methane or n-hexane in air at a concentration of approximately, but less than, 10,000 ppmv methane or n-hexane.

6)	The background level must be determined according to the procedures in Method 21 of 40 CFR 60, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

7)	Each potential leak interface must be checked by traversing the instrument probe around the potential leak interface as close to the interface as possible, as described in Method 21 of 40 CFR 60, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b).  In the case when the configuration of the cover or closure device prevents a complete traverse of the interface, all accessible portions of the interface must be sampled.  In the case when the configuration of the closure device prevents any sampling at the interface and the device is equipped with an enclosed extension or horn (e.g., some pressure relief devices), the instrument probe inlet must be placed at approximately the center of the exhaust area to the atmosphere.

8)	The arithmetic difference between the maximum organic concentration indicated by the instrument and the background level must be compared with the value of 500 ppmv except when monitoring a seal around a rotating shaft that passes through a cover opening, in which case the comparison must be as specified in subsection (d)(9) of this Section.  If the difference is less than 500 ppmv, then the potential leak interface is determined to operate with no detectable organic emissions.

9)	For the seals around a rotating shaft that passes through a cover opening, the arithmetic difference between the maximum organic concentration indicated by the instrument and the background level must be compared with the value of 10,000 ppmw.  If the difference is less than 10,000 ppmw, then the potential leak interface is determined to operate with no detectable organic emissions.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.985	Standards:  Tanks

a)	The provisions of this Section apply to the control of air pollutant emissions from tanks for which Section 725.983(b) references the use of this Section for such air emission control.

b)	The owner or operator shall must control air pollutant emissions from each tank subject to this Section in accordance with the following requirements, as applicable:

1)	For a tank that manages hazardous waste which that meets all of the conditions specified in subsections (b)(1)(A) through (b)(1)(C) of this Section, the owner or operator shall must control air pollutant emissions from the tank in accordance with the Tank Level 1 controls specified in subsection (c) of this Section or the Tank Level 2 controls specified in subsection (d) of this Section.

A)	The hazardous waste in the tank has a maximum organic vapor pressure that is less than the maximum organic vapor pressure limit for the tank’s design capacity category, as follows:

i)	For a tank design capacity equal to or greater than 151 m3 (5333 ft3 or 39,887 gal), the maximum organic vapor pressure limit for the tank is 5.2 kPa (0.75 psia or 39 mm Hg);

ii)	For a tank design capacity equal to or greater than 75 m3 (2649 ft3 or 19,810 gal) but less than 151 m3 (5333 ft3 or 39,887 gal), the maximum organic vapor pressure limit for the tank is 27.6 kPa (4.0 psia or 207 mm Hg); or

iii)	For a tank design capacity less than 75 m3 (2649 ft3 or 19,810 gal), the maximum organic vapor pressure limit for the tank is 76.6 kPa (11.1 psia or 574 mm Hg).

B)	The hazardous waste in the tank is not heated by the owner or operator to a temperature that is greater than the temperature at which the maximum organic vapor pressure of the hazardous waste is determined for the purpose of complying with subsection (b)(1)(A) of this Section.

C)	The hazardous waste in the tank is not treated by the owner or operator using a waste stabilization process, as defined in Section 725.981.

2)	For a tank that manages hazardous waste that does not meet all of the conditions specified in subsections (b)(1)(A) through (b)(1)(C) of this Section, the owner or operator shall must control air pollutant emissions from the tank by using Tank Level 2 controls in accordance with the requirements of subsection (d) of this Section.  Examples of tanks required to use Tank Level 2 controls include the following:  a tank used for a waste stabilization process and a tank for which the hazardous waste in the tank has a maximum organic vapor pressure that is equal to or greater than the maximum organic vapor pressure limit for the tank’s design capacity category, as specified in subsection (b)(1)(A) of this Section.

c)	Owners and operators An owner or operator controlling air pollutant emissions from a tank using Tank Level 1 controls shall must meet the requirements specified in subsections (c)(1) through (c)(4) of this Section:

1)	The owner or operator shall must determine the maximum organic vapor pressure for a hazardous waste to be managed in the tank using Tank Level 1 controls before the first time the hazardous waste is placed in the tank.  The maximum organic vapor pressure must be determined using the procedures specified in Section 725.984(c).  Thereafter, the owner or operator shall must perform a new determination whenever changes to the hazardous waste managed in the tank could potentially cause the maximum organic vapor pressure to increase to a level that is equal to or greater than the maximum organic vapor pressure limit for the tank design capacity category specified in subsection (b)(1)(A) of this Section, as applicable to the tank.

2)	The tank must be equipped with a fixed roof designed to meet the following specifications:

A)	The fixed roof and its closure devices must be designed to form a continuous barrier over the entire surface area of the hazardous waste in the tank.  The fixed roof may be a separate cover installed on the tank (e.g., a removable cover mounted on an open-top tank) or may be an integral part of the tank structural design (e.g., a horizontal cylindrical tank equipped with a hatch).

B)	The fixed roof must be installed in such a manner that there are no visible cracks, holes, gaps, or other open spaces between roof section joints or between the interface of the roof edge and the tank wall.

C)	Either of the following must be true of each opening in the fixed roof and of any manifold system associated with the fixed roof must be either:

i)	The opening or manifold system is equipped with a closure device designed to operate so that when the closure device is secured in the closed position there are no visible cracks, holes, gaps, or other open spaces in the closure device or between the perimeter of the opening and the closure device; or

ii)	The opening or manifold system is connected by a closed-vent system that is vented to a control device.  The control device must remove or destroy organics in the vent stream, and it must be operating whenever hazardous waste is managed in the tank, except as provided for in subsection (c)(2)(E).

D)	The fixed roof and its closure devices must be made of suitable materials that will minimize exposure of the hazardous waste to the atmosphere, to the extent practical, and which will maintain the integrity of the fixed roof and closure devices throughout their intended service life.  Factors to be considered when selecting the materials for and designing the fixed roof and closure devices must include the following:  organic vapor permeability; the effects of any contact with the hazardous waste or its vapors managed in the tank; the effects of outdoor exposure to wind, moisture, and sunlight; and the operating practices used for the tank on which the fixed roof is installed.

E)	The control device operated pursuant to subsection (c)(2)(C) of this Section needs not remove or destroy organics in the vent stream under the following conditions:

i)	During periods when it is necessary to provide access to the tank for performing the activities of subsection (c)(2)(E)(ii) of this Section, venting of the vapor headspace underneath the fixed roof to the control device is not required, opening of closure devices is allowed, and removal of the fixed roof is allowed.  Following completion of the activity, the owner or operator shall must promptly secure the closure device in the closed position or reinstall the cover, as applicable, and resume operation of the control device; and

ii)	During periods of routine inspection, maintenance, or other activities needed for normal operations, and for the removal of accumulated sludge or other residues from the bottom of the tank.

BOARD NOTE:  Subsections (c)(2)(E)(i) and (c)(2)(E)(ii) are derived from 40 CFR 265.985(c)(2)(iii)(B)(1) and (c)(2)(iii)(B)(2), which the Board has codified here to comport with Illinois Administrative Code format requirements.

3)	Whenever a hazardous waste is in the tank, the fixed roof must be installed with each closure device secured in the closed position, except as follows:

A)	Opening of closure devices or removal of the fixed roof is allowed at the following times:

i)	To provide access to the tank for performing routine inspection, maintenance, or other activities needed for normal operations.  Examples of such activities include those times when a worker needs to open a port to sample the liquid in the tank, or when a worker needs to open a hatch to maintain or repair equipment.  Following completion of the activity, the owner or operator shall must promptly secure the closure device in the closed position or reinstall the cover, as applicable, to the tank.

ii)	To remove accumulated sludge or other residues from the bottom of tank.

B)	Opening of a spring-loaded pressure-vacuum relief valve, conservation vent, or similar type of pressure relief device that vents to the atmosphere is allowed during normal operations for the purpose of maintaining the tank internal pressure in accordance with the tank design specifications.  The device must be designed to operate with no detectable organic emissions when the device is secured in the closed position.  The settings at which the device opens must be established so that the device remains in the closed position whenever the tank internal pressure is within the internal pressure operating range determined by the owner or operator based on the tank manufacturer recommendations; applicable regulations; fire protection and prevention codes; standard engineering codes and practices; or other requirements for the safe handling of flammable, ignitable, explosive, reactive, or hazardous materials.  Examples of normal operating conditions that may require these devices to open are during those times when the tank internal pressure exceeds the internal pressure operating range for the tank as a result of loading operations or diurnal ambient temperature fluctuations.

C)	Opening of a safety device, as defined in Section 725.981, is allowed at any time conditions require doing so to avoid an unsafe condition.

4)	The owner or operator shall must inspect the air emission control equipment in accordance with the following requirements.

A)	The fixed roof and its closure devices must be visually inspected by the owner or operator to check for defects that could result in air pollutant emissions.  Defects include, but are not limited to, visible cracks, holes, or gaps in the roof sections or between the roof and the tank wall; broken, cracked, or otherwise damaged seals or gaskets on closure devices; and broken or missing hatches, access covers, caps, or other closure devices.

B)	The owner or operator shall must perform an initial inspection of the fixed roof and its closure devices on or before the date that the tank becomes subject to this Section.  Thereafter, the owner or operator shall must perform the inspections at least once every year, except under the special conditions provided for in subsection (l) of this Section.

C)	In the event that a defect is detected, the owner or operator shall must repair the defect in accordance with the requirements of subsection (k) of this Section.

D)	The owner or operator shall must maintain a record of the inspection in accordance with the requirements specified in Section 725.990(b).

d)	Owners and operators An owner or operator controlling air pollutant emissions from a tank using Tank Level 2 controls shall must use one of the following tanks:

1)	A fixed-roof tank equipped with an internal floating roof in accordance with the requirements specified in subsection (e) of this Section;

2)	A tank equipped with an external floating roof in accordance with the requirements specified in subsection (f) of this Section;

3)	A tank vented through a closed-vent system to a control device in accordance with the requirements specified in subsection (g) of this Section;

4)	A pressure tank designed and operated in accordance with the requirements specified in subsection (h) of this Section; or

5)	A tank located inside an enclosure that is vented through a closed-vent system to an enclosed combustion control device in accordance with the requirements specified in subsection (i) of this Section.

e)	The owner or operator that controls air pollutant emissions from a tank using a fixed roof with an internal floating roof shall must meet the requirements specified in subsections (e)(1) through (e)(3) of this Section.

1)	The tank must be equipped with a fixed roof and an internal floating roof in accordance with the following requirements:

A)	The internal floating roof must be designed to float on the liquid surface except when the floating roof must be supported by the leg supports.

B)	The internal floating roof must be equipped with a continuous seal between the wall of the tank and the floating roof edge that meets either of the following requirements:

i)	A single continuous seal that is either a liquid-mounted seal or a metallic shoe seal, as defined in Section 725.981; or

ii)	Two continuous seals mounted one above the other.  The lower seal may be a vapor-mounted seal.

C)	The internal floating roof must meet the following specifications:

i)	Each opening in a noncontact internal floating roof except for automatic bleeder vents (vacuum breaker vents) and the rim space vents is to provide a projection below the liquid surface.;

ii)	Each opening in the internal floating roof must be equipped with a gasketed cover or a gasketed lid except for leg sleeves, automatic bleeder vents, rim space vents, column wells, ladder wells, sample wells, and stub drains.;

iii)	Each penetration of the internal floating roof for the purpose of sampling must have a slit fabric cover that covers at least 90 percent of the opening.;

iv)	Each automatic bleeder vent and rim space vent must be gasketed.;

v)	Each penetration of the internal floating roof that allows for passage of a ladder must have a gasketed sliding cover.; and

vi)	Each penetration of the internal floating roof that allows for passage of a column supporting the fixed roof must have a flexible fabric sleeve seal or a gasketed sliding cover.

2)	The owner or operator shall must operate the tank in accordance with the following requirements:

A)	When the floating roof is resting on the leg supports, the process of filling, emptying, or refilling must be continuous and must be completed as soon as practical.;

B)	Automatic bleeder vents are to be set closed at all times when the roof is floating, except when the roof is being floated off or is being landed on the leg supports.; and

C)	Prior to filling the tank, each cover, access hatch, gauge float well or lid on any opening in the internal floating roof must be bolted or fastened closed (i.e., no visible gaps).  Rim space vents are to be set to open only when the internal floating roof is not floating or when the pressure beneath the rim exceeds the manufacturer’s recommended setting.

3)	The owner or operator shall must inspect the internal floating roof in accordance with the procedures specified as follows:

A)	The floating roof and its closure devices must be visually inspected by the owner or operator to check for defects that could result in air pollutant emissions.  Defects include, but are not limited to, the following:  when the internal floating roof is not floating on the surface of the liquid inside the tank; when liquid has accumulated on top of the internal floating roof; when any portion of the roof seals have detached from the roof rim; when holes, tears, or other openings are visible in the seal fabric; when the gaskets no longer close off the hazardous waste surface from the atmosphere; or when the slotted membrane has more than 10 percent open area.;

B)	The owner or operator shall must inspect the internal floating roof components as follows, except as provided in subsection (e)(3)(C) of this Section:

i)	Visually inspect the internal floating roof components through openings on the fixed roof (e.g., manholes and roof hatches) at least once every 12 months after initial fill, and

ii)	Visually inspect the internal floating roof, primary seal, secondary seal (if one is in service), gaskets, slotted membranes, and sleeve seals (if any) each time the tank is emptied and degassed and at least once every 10 years.;

C)	As an alternative to performing the inspections specified in subsection (e)(3)(B) of this Section for an internal floating roof equipped with two continuous seals mounted one above the other, the owner or operator may visually inspect the internal floating roof, primary and secondary seals, gaskets, slotted membranes, and sleeve seals (if any) each time the tank is emptied and degassed and at least every five years.;

D)	Prior to each inspection required by subsection (e)(3)(B) or (e)(3)(C) of this Section, the owner or operator shall must notify the Agency in advance of each inspection to provide the Agency with the opportunity to have an observer present during the inspection.  The owner or operator shall must notify the Agency of the date and location of the inspection as follows:

i)	Prior to each visual inspection of an internal floating roof in a tank that has been emptied and degassed, written notification must be prepared and sent by the owner or operator so that it is received by the Agency at least 30 calendar days before refilling the tank, except when an inspection is not planned, as provided for in subsection (e)(3)(D)(ii) of this Section.; and

ii)	When a visual inspection is not planned and the owner or operator could not have known about the inspection 30 calendar days before refilling the tank, the owner or operator shall must notify the Agency as soon as possible, but no later than seven calendar days before refilling of the tank.  This notification may be made by telephone and immediately followed by a written explanation for why the inspection is unplanned.  Alternatively, written notification, including the explanation for the unplanned inspection, may be sent so that it is received by the Regional Administrator at least seven calendar days before refilling the tank.;

E)	In the event that a defect is detected, the owner or operator shall must repair the defect in accordance with the requirements of subsection (k) of this Section.; and

F)	The owner or operator shall must maintain a record of the inspection in accordance with the requirements specified in Section 725.990(b).

4)	Safety devices, as defined in Section 725.981, may be installed and operated as necessary on any tank complying with the requirements of this subsection (e).

f)	The owner or operator that controls air pollutant emissions from a tank using an external floating roof shall must meet the requirements specified in subsections (f)(1) through (f)(3) of this Section.

1)	The owner or operator shall must design the external floating roof in accordance with the following requirements:

A)	The external floating roof must be designed to float on the liquid surface except when the floating roof must be supported by the leg supports.;

B)	The floating roof must be equipped with two continuous seals, one above the other, between the wall of the tank and the roof edge.  The lower seal is referred to as the primary seal, and the upper seal is referred to as the secondary seal.

i)	The primary seal must be a liquid-mounted seal or a metallic shoe seal, as defined in Section 725.981.  The total area of the gaps between the tank wall and the primary seal must not exceed 212 square centimeters (cm2) per meter (10.0 in2 per foot) of tank diameter, and the width of any portion of these gaps must not exceed 3.8 centimeters (cm) (1.5 inches).  If a metallic shoe seal is used for the primary seal, the metallic shoe seal must be designed so that one end extends into the liquid in the tank and the other end extends a vertical distance of at least 61 centimeters (24 inches) above the liquid surface.

ii)	The secondary seal must be mounted above the primary seal and cover the annular space between the floating roof and the wall of the tank.  The total area of the gaps between the tank wall and the secondary seal must not exceed 21.2 cm2 per meter (1.0 in2 per foot) of tank diameter, and the width of any portion of these gaps must not exceed 1.3 cm (0.5 inch).; and

C)	The external floating roof must meet the following specifications:

i)	Except for automatic bleeder vents (vacuum breaker vents) and rim space vents, each opening in a noncontact external floating roof must provide a projection below the liquid surface.;

ii)	Except for automatic bleeder vents, rim space vents, roof drains, and leg sleeves, each opening in the roof must be equipped with a gasketed cover, seal, or lid.;

iii)	Each access hatch and each gauge float well must be equipped with a cover designed to be bolted or fastened when the cover is secured in the closed position.;

iv)	Each automatic bleeder vent and each rim space vent must be equipped with a gasket.;

v)	Each roof drain that empties into the liquid managed in the tank must be equipped with a slotted membrane fabric cover that covers at least 90 percent of the area of the opening.;

vi)	Each unslotted and slotted guide pole well must be equipped with a gasketed sliding cover or a flexible fabric sleeve seal.;

vii)	Each unslotted guide pole must be equipped with a gasketed cap on the end of the pole.;

viii)	Each slotted guide pole must be equipped with a gasketed float or other device that closes off the liquid surface from the atmosphere.; and

ix)	Each gauge hatch and each sample well must be equipped with a gasketed cover.

2)	The owner or operator shall must operate the tank in accordance with the following requirements:

A)	When the floating roof is resting on the leg supports, the process of filling, emptying, or refilling must be continuous and must be completed as soon as practical.;

B)	Except for automatic bleeder vents, rim space vents, roof drains, and leg sleeves, each opening in the roof must be secured and maintained in a closed position at all times except when the closure device must be open for access.;

C)	Covers on each access hatch and each gauge float well must be bolted or fastened when secured in the closed position.;

D)	Automatic bleeder vents must be set closed at all times when the roof is floating, except when the roof is being floated off or is being landed on the leg supports.;

E)	Rim space vents must be set to open only at those times that the roof is being floated off the roof leg supports or when the pressure beneath the rim seal exceeds the manufacturer’s recommended setting.;

F)	The cap on the end of each unslotted guide pole must be secured in the closed position at all times except when measuring the level or collecting samples of the liquid in the tank.;

G)	The cover on each gauge hatch or sample well must be secured in the closed position at all times except when the hatch or well must be opened for access.; and

H)	Both the primary seal and the secondary seal must completely cover the annular space between the external floating roof and the wall of the tank in a continuous fashion except during inspections.

3)	The owner or operator shall must inspect the external floating roof in accordance with the procedures specified as follows:

A)	The owner or operator shall must measure the external floating roof seal gaps in accordance with the following requirements:

i)	The owner or operator shall must perform measurements of gaps between the tank wall and the primary seal within 60 calendar days after initial operation of the tank following installation of the floating roof and, thereafter, at least once every five years.;

ii)	The owner or operator shall must perform measurements of gaps between the tank wall and the secondary seal within 60 calendar days after initial operation of the tank following installation of the floating roof and, thereafter, at least once every year.;

iii)	If a tank ceases to hold hazardous waste for a period of one year or more, subsequent introduction of hazardous waste into the tank must be considered an initial operation for the purposes of subsections (f)(3)(A)(i) and (f)(3)(A)(ii) of this Section.;

iv)	The owner or operator shall must determine the total surface area of gaps in the primary seal and in the secondary seal individually using the procedure set forth in subsection (f)(4)(D) of this Section.;

v)	In the event that the seal gap measurements do not conform to the specifications in subsection (f)(1)(B) of this Section, the owner or operator must repair the defect in accordance with the requirements of subsection (k) of this Section.; and

vi)	The owner or operator shall must maintain a record of the inspection in accordance with the requirements specified in Section 725.990(b).;

B)	The owner or operator shall must visually inspect the external floating roof in accordance with the following requirements:

i)	The floating roof and its closure devices must be visually inspected by the owner or operator to check for defects that could result in air pollutant emissions.  Defects include, but are not limited to any of the following:  holes, tears, or other openings in the rim seal or seal fabric of the floating roof; a rim seal detached from the floating roof; all or a portion of the floating roof deck being submerged below the surface of the liquid in the tank; broken, cracked, or otherwise damaged seals or gaskets on closure devices; and broken or missing hatches, access covers, caps, or other closure devices.;

ii)	The owner or operator shall must perform an initial inspection of the external floating roof and its closure devices on or before the date that the tank becomes subject to this Section.  Thereafter, the owner or operator shall must perform the inspections at least once every year except for the special conditions provided for in subsection (l) of this Section.;

iii)	In the event that a defect is detected, the owner or operator shall must repair the defect in accordance with the requirements of subsection (k) of this Section.; and

iv)	The owner or operator shall must maintain a record of the inspection in accordance with the requirements specified in Section 725.990(b).;

C)	Prior to each inspection required by subsection (f)(3)(A) or (f)(3)(B) of this Section, the owner or operator shall must notify the Agency in advance of each inspection to provide the Agency with the opportunity to have an observer present during the inspection.  The owner or operator shall must notify the Agency of the date and location of the inspection as follows:

i)	Prior to each inspection to measure external floating roof seal gaps as required under subsection (f)(3)(A) of this Section, written notification must be prepared and sent by the owner or operator so that it is received by the Agency at least 30 calendar days before the date the measurements are scheduled to be performed.;

ii)	Prior to each visual inspection of an external floating roof in a tank that has been emptied and degassed, written notification must be prepared and sent by the owner or operator so that it is received by the Agency at least 30 calendar days before refilling the tank except when an inspection is not planned, as provided for in subsection (f)(3)(C)(iii) of this Section.; and

iii)	When a visual inspection is not planned and the owner or operator could not have known about the inspection 30 calendar days before refilling the tank, the owner or operator shall must notify the Agency as soon as possible, but no later than seven calendar days before refilling of the tank.  This notification may be made by telephone and immediately followed by a written explanation for why the inspection is unplanned.  Alternatively, written notification, including the explanation for the unplanned inspection, may be sent so that it is received by the Regional Administrator at least seven calendar days before refilling the tank.; and

D)	Procedure for determining gaps in the primary seal and in the secondary seal for the purposes of subsection (f)(3)(A)(iv) of this Section:

i)	The seal gap measurements must be performed at one or more floating roof levels when the roof is floating off the roof supports.;

ii)	Seal gaps, if any, must be measured around the entire perimeter of the floating roof in each place where a 0.32-cm (¼-inch) diameter uniform probe passes freely (without forcing or binding against the seal) between the seal and the wall of the tank and measure the circumferential distance of each such location.;

iii)	For a seal gap measured under this subsection (f)(3), the gap surface area must be determined by using probes of various widths to measure accurately the actual distance from the tank wall to the seal and multiplying each such width by its respective circumferential distance.; and

iv)	The total gap area must be calculated by adding the gap surface areas determined for each identified gap location for the primary seal and the secondary seal individually, and then dividing the sum for each seal type by the nominal diameter of the tank.  These total gap areas for the primary seal and secondary seal are then compared to the respective standards for the seal type, as specified in subsection (f)(1)(B) of this Section.; and

BOARD NOTE:  Subsections (f)(3)(D)(i) through (f)(3)(D)(iv) are derived from 40 CFR 265.1085(f)(3)(i)(D)(1) through (f)(3)(i)(D)(4), which the Board has codified here to comport with Illinois Administrative Code format requirements.

4)	Safety devices, as defined in Section 725.981, may be installed and operated as necessary on any tank complying with the requirements of this subsection (f).

g)	The owner or operator that controls air pollutant emissions from a tank by venting the tank to a control device shall must meet the requirements specified in subsections (g)(1) through (g)(3) of this Section.

1)	The tank must be covered by a fixed roof and vented directly through a closed-vent system to a control device in accordance with the following requirements:

A)	The fixed roof and its closure devices must be designed to form a continuous barrier over the entire surface area of the liquid in the tank.;

B)	Each opening in the fixed roof not vented to the control device must be equipped with a closure device.  If the pressure in the vapor headspace underneath the fixed roof is less than atmospheric pressure when the control device is operating, the closure devices must be designed to operate so that when the closure device is secured in the closed position there are no visible cracks, holes, gaps, or other open spaces in the closure device or between the perimeter of the cover opening and the closure device.  If the pressure in the vapor headspace underneath the fixed roof is equal to or greater than atmospheric pressure when the control device is operating, the closure device must be designed to operate with no detectable organic emissions.;

C)	The fixed roof and its closure devices must be made of suitable materials that will minimize exposure of the hazardous waste to the atmosphere, to the extent practical, and will maintain the integrity of the fixed roof and closure devices throughout their intended service life.  Factors to be considered when selecting the materials for and designing the fixed roof and closure devices must include the following:  organic vapor permeability; the effects of any contact with the liquid and its vapor managed in the tank; the effects of outdoor exposure to wind, moisture, and sunlight; and the operating practices used for the tank on which the fixed roof is installed.; and

D)	The closed-vent system and control device must be designed and operated in accordance with the requirements of Section 725.988.

2)	Whenever a hazardous waste is in the tank, the fixed roof must be installed with each closure device secured in the closed position and the vapor headspace underneath the fixed roof vented to the control device except as follows:

A)	Venting to the control device is not required, and opening of closure devices or removal of the fixed roof is allowed at the following times:

i)	To provide access to the tank for performing routine inspection, maintenance, or other activities needed for normal operations.  Examples of such activities include those times when a worker needs to open a port to sample liquid in the tank, or when a worker needs to open a hatch to maintain or repair equipment.  Following completion of the activity, the owner or operator shall must promptly secure the closure device in the closed position or reinstall the cover, as applicable, to the tank.; and

ii)	To remove accumulated sludge or other residues from the bottom of a tank.; and

B)	Opening of a safety device, as defined in Section 725.981, is allowed at any time conditions require doing so to avoid an unsafe condition.

3)	The owner or operator shall must inspect and monitor the air emission control equipment in accordance with the following procedures:

A)	The fixed roof and its closure devices must be visually inspected by the owner or operator to check for defects that could result in air pollutant emissions.  Defects include, but are not limited to any of the following:  visible cracks, holes, or gaps in the roof sections or between the roof and the tank wall; broken, cracked, or otherwise damaged seals or gaskets on closure devices; and broken or missing hatches, access covers, caps, or other closure devices.;

B)	The closed-vent system and control device must be inspected and monitored by the owner or operator in accordance with the procedures specified in Section 725.988.;

C)	The owner or operator shall must perform an initial inspection of the air emission control equipment on or before the date that the tank becomes subject to this Section.  Thereafter, the owner or operator shall must perform the inspections at least once every year except for the special conditions provided for in subsection (l) of this Section.;

D)	In the event that a defect is detected, the owner or operator shall must repair the defect in accordance with the requirements of subsection (k) of this Section.; and

E)	The owner or operator shall must maintain a record of the inspection in accordance with the requirements specified in Section 725.990(b).

h)	The owner or operator that controls air pollutant emissions by using a pressure tank must meet the following requirements.:

1)	The tank must be designed not to vent to the atmosphere as a result of compression of the vapor headspace in the tank during filling of the tank to its design capacity.;

2)	All tank openings must be equipped with closure devices designed to operate with no detectable organic emissions as determined using the procedure specified in Section 725.984(d).; and

3)	Whenever a hazardous waste is in the tank, the tank must be operated as a closed-vent system that does not vent to the atmosphere, except under either of the following two conditions:

A)	The tank does not need to be operated as a closed-vent system at those times when the opening of a safety device, as defined in Section 725.981, is required to avoid an unsafe condition.; and

B)	The tank does not need to be operated as a closed-vent system at those times when the purging of inerts from the tank is required and the purge stream is routed to a closed-vent system and control device designed and operated in accordance with the requirements of Section 724.987.

i)	The owner or operator that controls air pollutant emissions by using an enclosure vented through a closed-vent system to an enclosed combustion control device shall must meet the requirements specified in subsections (i)(1) through (i)(4) of this Section.

1)	The tank must be located inside an enclosure.  The enclosure must be designed and operated in accordance with the criteria for a permanent total enclosure, as specified in “Procedure T—Criteria for and Verification of a Permanent or Temporary Total Enclosure” under 40 CFR 52.741, appendix B, incorporated by reference in 35 Ill. Adm. Code 720.111(b).  The enclosure may have permanent or temporary openings to allow worker access; passage of material into or out of the enclosure by conveyor, vehicles, or other mechanical means; entry of permanent mechanical or electrical equipment; or direct airflow into the enclosure.  The owner or operator shall must perform the verification procedure for the enclosure as specified in Section 5.0 to “Procedure T—Criteria for and Verification of a Permanent or Temporary Total Enclosure” initially when the enclosure is first installed and, thereafter, annually.;

2)	The enclosure must be vented through a closed-vent system to an enclosed combustion control device that is designed and operated in accordance with the standards for either a vapor incinerator, boiler, or process heater specified in Section 725.988.;

3)	Safety devices, as defined in Section 725.981, may be installed and operated as necessary on any enclosure, closed-vent system, or control device used to comply with the requirements of subsections (i)(1) and (i)(2) of this Section.; and

4)	The owner or operator shall must inspect and monitor the closed-vent system and control device, as specified in Section 725.988.

j)	The owner or operator shall must transfer hazardous waste to a tank subject to this Section in accordance with the following requirements:

1)	Transfer of hazardous waste, except as provided in subsection (j)(2) of this Section, to the tank from another tank subject to this Section or from a surface impoundment subject to Section 725.986 must be conducted using continuous hard-piping or another closed system that does not allow exposure of the hazardous waste to the atmosphere.  For the purpose of complying with this provision, an individual drain system is considered to be a closed system when it meets the requirements of Subpart RR of 40 CFR 63, subpart RR, “National Emission Standards for Individual Drain Systems,”, incorporated by reference in 35 Ill. Adm. Code 720.111(b).; and

2)	The requirements of subsection (j)(1) of this Section do not apply when transferring a hazardous waste to the tank under any of the following conditions:

A)	The hazardous waste meets the average VO concentration conditions specified in Section 725.983(c)(1) at the point of waste origination.;

B)	The hazardous waste has been treated by an organic destruction or removal process to meet the requirements in Section 725.983(c)(2).; and

C)	The hazardous waste meets the requirements of Section 725.983(c)(4).

k)	The owner or operator shall must repair each defect detected during an inspection performed in accordance with the requirements of subsection (c)(4), (e)(3), (f)(3), or (g)(3) of this Section as follows:

1)	The owner or operator shall must make first efforts at repair of the defect no later than five calendar days after detection, and repair must be completed as soon as possible but no later than 45 calendar days after detection except as provided in subsection (k)(2) of this Section.; and

2)	Repair of a defect may be delayed beyond 45 calendar days if the owner or operator determines that repair of the defect requires emptying or temporary removal from service of the tank and no alternative tank capacity is available at the site to accept the hazardous waste normally managed in the tank.  In this case, the owner or operator shall must repair the defect the next time the process or unit that is generating the hazardous waste managed in the tank stops operation.  Repair of the defect must be completed before the process or unit resumes operation.

l)	Following the initial inspection and monitoring of the cover as required by the applicable provisions of this Subpart CC, subsequent inspection and monitoring may be performed at intervals longer than one year under the following special conditions:

1)	Where inspecting or monitoring the cover would expose a worker to dangerous, hazardous, or other unsafe conditions, then the owner or operator may designate a cover as an “unsafe to inspect and monitor cover” and comply with all of the following requirements:

A)	Prepare a written explanation for the cover stating the reasons why the cover is unsafe to visually inspect or to monitor, if required.; and

B)	Develop and implement a written plan and schedule to inspect and monitor the cover, using the procedures specified in the applicable Section of this Subpart CC, as frequently as practicable during those times when a worker can safely access the cover.; and

2)	In the case when a tank is buried partially or entirely underground, an owner or operator is required to inspect and monitor, as required by the applicable provisions of this Section, only those portions of the tank cover and those connections to the tank (e.g., fill ports, access hatches, gauge wells, etc.) that are located on or above the ground surface.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.986	Standards:  Surface Impoundments

a)	The provisions of this Section apply to the control of air pollutant emissions from surface impoundments for which Section 725.983(b) of this Subpart CC references the use of this Section for such air emission control.

b)	The owner or operator shall must control air pollutant emissions from the surface impoundment by installing and operating either of the following:

1)	A floating membrane cover in accordance with the provisions specified in subsection (c) of this Section; or

2)	A cover that is vented through a closed-vent system to a control device in accordance with the requirements specified in subsection (d) of this Section.

c)	The owner or operator that controls air pollutant emissions from a surface impoundment using a floating membrane cover must meet the requirements specified in subsections (c)(1) through (c)(3) of this Section.

1)	The surface impoundment must be equipped with a floating membrane cover designed to meet the following specifications:

A)	The floating membrane cover must be designed to float on the liquid surface during normal operations and form a continuous barrier over the entire surface area of the liquid.;

B)	The cover must be fabricated from a synthetic membrane material that is either of the following:

i)	High density polyethylene (HDPE) with a thickness no less than 2.5 millimeters (mm) (0.10 inch); or

ii)	A material or a composite of different materials determined to have both organic permeability properties that are equivalent to those of the material listed in subsection (c)(1)(B)(i) of this Section and chemical and physical properties that maintain the material integrity for the intended service life of the material.;

C)	The cover must be installed in a manner such that there are no visible cracks, holes, gaps, or other open spaces between cover section seams or between the interface of the cover edge and its foundation mountings.;

D)	Except as provided for in subsection (c)(1)(E) of this Section, each opening in the floating membrane cover must be equipped with a closure device so designed as to operate that when the closure device is secured in the closed position there are no visible cracks, holes, gaps, or other open spaces in the closure device or between the perimeter of the cover opening and the closure device.;

E)	The floating membrane cover may be equipped with one or more emergency cover drains for removal of stormwater.  Each emergency cover drain must be equipped with a slotted membrane fabric cover that covers at least 90 percent of the area of the opening or a flexible fabric sleeve seal.; and

F)	The closure devices must be made of suitable materials that will minimize exposure of the hazardous waste to the atmosphere, to the extent practical, and will maintain the integrity of the closure devices throughout their intended service life.  Factors to be considered when selecting the materials of construction and designing the cover and closure devices must include the following:  the organic vapor permeability; the effects of any contact with the liquid and its vapor managed in the surface impoundment; the effects of outdoor exposure to wind, moisture, and sunlight; and the operating practices used for the surface impoundment on which the floating membrane cover is installed.

2)	Whenever a hazardous waste is in the surface impoundment, the floating membrane cover must float on the liquid and each closure device must be secured in the closed position, except as follows:

A)	Opening of closure devices or removal of the cover is allowed at the following times:

i)	To provide access to the surface impoundment for performing routine inspection, maintenance, or other activities needed for normal operations.  Examples of such activities include those times when a worker needs to open a port to sample the liquid in the surface impoundment, or when a worker needs to open a hatch to maintain or repair equipment.  Following completion of the activity, the owner or operator shall must promptly replace the cover and secure the closure device in the closed position, as applicable.; or

ii)	To remove accumulated sludge or other residues from the bottom of surface impoundment.; and

B)	Opening of a safety device, as defined in Section 725.981, is allowed at any time conditions require doing so to avoid an unsafe condition.

3)	The owner or operator shall must inspect the floating membrane cover in accordance with the following procedures:

A)	The floating membrane cover and its closure devices must be visually inspected by the owner or operator to check for defects that could result in air pollutant emissions.  Defects include, but are not limited to, visible cracks, holes, or gaps in the cover section seams or between the interface of the cover edge and its foundation mountings; broken, cracked, or otherwise damaged seals or gaskets on closure devices; and broken or missing hatches, access covers, caps, or other closure devices.;

B)	The owner or operator shall must perform an initial inspection of the floating membrane cover and its closure devices on or before the date that the surface impoundment becomes subject to this Section.  Thereafter, the owner or operator shall must perform the inspections at least once every year except for the special conditions provided for in subsection (g) of this Section.;

C)	In the event that a defect is detected, the owner or operator shall must repair the defect in accordance with the requirements of subsection (f) of this Section.; and

D)	The owner or operator shall must maintain a record of the inspection in accordance with the requirements specified in Section 725.990(c).

d)	The owner or operator that controls air pollutant emissions from a surface impoundment using a cover vented to a control device shall must meet the requirements specified in subsections (d)(1) through (d)(3) of this Section.

1)	The surface impoundment must be covered by a cover and vented directly through a closed-vent system to a control device in accordance with the following requirements:

A)	The cover and its closure devices must be designed to form a continuous barrier over the entire surface area of the liquid in the surface impoundment.;

B)	Each opening in the cover not vented to the control device must be equipped with a closure device.  If the pressure in the vapor headspace underneath the cover is less than atmospheric pressure when the control device is operating, the closure devices must be designed to operate such that when the closure device is secured in the closed position there are no visible cracks, holes, gaps, or other open spaces in the closure device or between the perimeter of the cover opening and the closure device.  If the pressure in the vapor headspace underneath the cover is equal to or greater than atmospheric pressure when the control device is operating, the closure device must be designed to operate with no detectable organic emissions using the procedure specified in Section 725.984(d).;

C)	The cover and its closure devices must be made of suitable materials that will minimize exposure of the hazardous waste to the atmosphere to the extent practical and which will maintain the integrity of the cover and closure devices throughout their intended service life.  Factors to be considered when selecting the materials of construction and designing the cover and closure devices must include the following:  the organic vapor permeability; the effects of any contact with the liquid or its vapors managed in the surface impoundment; the effects of outdoor exposure to wind, moisture, and sunlight; and the operating practices used for the surface impoundment on which the cover is installed.; and

D)	The closed-vent system and control device must be designed and operated in accordance with the requirements of Section 725.988.

2)	Whenever a hazardous waste is in the surface impoundment, the cover must be installed with each closure device secured in the closed position and the vapor headspace underneath the cover vented to the control device, except as follows:

A)	Venting to the control device is not required, and opening of closure devices or removal of the cover is allowed at the following times:

i)	To provide access to the surface impoundment for performing routine inspection, maintenance, or other activities needed for normal operations.  Examples of such activities include those times when a worker needs to open a port to sample liquid in the surface impoundment, or when a worker needs to open a hatch to maintain or repair equipment.  Following completion of the activity, the owner or operator shall must promptly secure the closure device in the closed position or reinstall the cover, as applicable, to the surface impoundment.; or

ii)	To remove accumulated sludge or other residues from the bottom of the surface impoundment.; and

B)	Opening of a safety device, as defined in Section 725.981, is allowed at any time conditions require doing so to avoid an unsafe condition.

3)	The owner or operator shall must inspect and monitor the air emission control equipment in accordance with the following procedures:

A)	The surface impoundment cover and its closure devices must be visually inspected by the owner or operator to check for defects that could result in air pollutant emissions.  Defects include, but are not limited to, visible cracks, holes, or gaps in the cover section seams or between the interface of the cover edge and its foundation mountings; broken, cracked, or otherwise damaged seals or gaskets on closure devices; and broken or missing hatches, access covers, caps, or other closure devices.;

B)	The closed-vent system and control device must be inspected and monitored by the owner or operator in accordance with the procedures specified in Section 725.988.;

C)	The owner or operator shall must perform an initial inspection of the air emission control equipment on or before the date that the surface impoundment becomes subject to this Section.  Thereafter, the owner or operator shall must perform the inspections at least once every year except for the special conditions provided for in subsection (g) of this Section.;

D)	In the event that a defect is detected, the owner or operator shall must repair the defect in accordance with the requirements of subsection (f) of this Section.; and

E)	The owner or operator shall must maintain a record of the inspection in accordance with the requirements specified in Section 725.990(c).

e)	The owner or operator shall must transfer hazardous waste to a surface impoundment subject to this Section in accordance with the following requirements:

1)	Transfer of hazardous waste, except as provided in subsection (e)(2) of this Section, to the surface impoundment from another surface impoundment subject to this Section or from a tank subject to Section 725.985 must be conducted using continuous hard-piping or another closed system that does not allow exposure of the waste to the atmosphere.  For the purpose of complying with this provision, an individual drain system is considered to be a closed system when it meets the requirements of Subpart RR of 40 CFR 63, subpart RR, “National Emission Standards for Individual Drain Systems,”, incorporated by reference in 35 Ill. Adm. Code 720.111(b).; and

2)	The requirements of subsection (e)(1) of this Section do not apply when transferring a hazardous waste to the surface impoundment under any of the following conditions:

A)	The hazardous waste meets the average VO concentration conditions specified in Section 725.983(c)(1) at the point of waste origination.;

B)	The hazardous waste has been treated by an organic destruction or removal process to meet the requirements in Section 725.983(c)(2).; or

C)	The hazardous waste meets the requirements of Section 725.983(c)(4).

f)	The owner or operator shall must repair each defect detected during an inspection performed in accordance with the requirements of subsection (c)(3) or (d)(3) of this Section as follows:

1)	The owner or operator shall must make first efforts at repair of the defect no later than five calendar days after detection, and repair must be completed as soon as possible but no later than 45 calendar days after detection except as provided in subsection (f)(2) of this Section.; and

2)	Repair of a defect may be delayed beyond 45 calendar days if the owner or operator determines that repair of the defect requires emptying or temporary removal from service of the surface impoundment and no alternative capacity is available at the site to accept the hazardous waste normally managed in the surface impoundment.  In this case, the owner or operator shall must repair the defect the next time the process or unit that is generating the hazardous waste managed in the tank stops operation.  Repair of the defect must be completed before the process or unit resumes operation.

g)	Following the initial inspection and monitoring of the cover as required by the applicable provisions of this Subpart CC, subsequent inspection and monitoring may be performed at intervals longer than one year in the case when inspecting or monitoring the cover would expose a worker to dangerous, hazardous, or other unsafe conditions.  In this case, the owner or operator may designate the cover as an “unsafe to inspect and monitor cover” and comply with all of the following requirements:

1)	Prepare a written explanation for the cover stating the reasons why the cover is unsafe to visually inspect or to monitor, if required.; and

2)	Develop and implement a written plan and schedule to inspect and monitor the cover using the procedures specified in the applicable Section of this Subpart CC as frequently as practicable during those times when a worker can safely access the cover.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.987	Standards:  Containers

a)	The provisions of this Section apply to the control of air pollutant emissions from containers for which Section 725.983(b) references the use of this Section for such air emission control.

b)	General requirements.

1)	The owner or operator shall must control air pollutant emissions from each container subject to this Section in accordance with the following requirements, as applicable to the container, except when the following special provisions for waste stabilization processes specified in subsection (b)(2) of this Section apply to the container.:

A)	For a container having a design capacity greater than 0.1 m3 (26 gal) and less than or equal to 0.46 m3 (120 gal), the owner or operator shall must control air pollutant emissions from the container in accordance with the Container Level 1 standards specified in subsection (c) of this Section.;

B)	For a container having a design capacity greater than 0.46 m3 (120 gal) that is not in light material service, the owner or operator shall must control air pollutant emissions from the container in accordance with the Container Level 1 standards specified in subsection (c) of this Section.; and

C)	For a container having a design capacity greater than 0.46 m3 (120 gal) that is in light material service, the owner or operator shall must control air pollutant emissions from the container in accordance with the Container Level 2 standards specified in subsection (d) of this Section.

2)	When a container having a design capacity greater than 0.1 m3 (26 gal) is used for treatment of a hazardous waste by a waste stabilization process, the owner or operator shall must control air pollutant emissions from the container in accordance with the Container Level 3 standards specified in subsection (e) of this Section at those times during the waste stabilization process when the hazardous waste in the container is exposed to the atmosphere.

c)	Container Level 1 standards.

1)	A container using Container Level 1 controls is one of the following:

A)	A container that meets the applicable USDOT regulations on packaging hazardous materials for transportation, as specified in subsection (f) of this Section.;

B)	A container equipped with a cover and closure devices that form a continuous barrier over the container openings so that when the cover and closure devices are secured in the closed position there are no visible holes, gaps, or other open spaces into the interior of the container.  The cover may be a separate cover installed on the container (e.g., a lid on a drum or a suitably secured tarp on a roll-off box) or may be an integral part of the container structural design (e.g., a “portable tank” or bulk cargo container equipped with a screw-type cap).; and

C)	An open-top container in which an organic-vapor suppressing barrier is placed on or over the hazardous waste in the container so that no hazardous waste is exposed to the atmosphere.  One example of such a barrier is application of a suitable organic-vapor suppressing foam.

2)	A container used to meet the requirements of subsection (c)(1)(B) or (c)(1)(C) of this Section must be equipped with covers and closure devices, as applicable to the container, that are composed of suitable materials to minimize exposure of the hazardous waste to the atmosphere and to maintain the equipment integrity for as long as it is in service.  Factors to be considered in selecting the materials of construction and designing the cover and closure devices must include the following:  the organic vapor permeability; the effects of contact with the hazardous waste or its vapor managed in the container; the effects of outdoor exposure of the closure device or cover material to wind, moisture, and sunlight; and the operating practices for which the container is intended to be used.

3)	Whenever a hazardous waste is in a container using Container Level 1 controls, the owner or operator shall must install all covers and closure devices for the container, as applicable to the container, and secure and maintain each closure device in the closed position except as follows:

A)	Opening of a closure device or cover is allowed for the purpose of adding hazardous waste or other material to the container as follows:

i)	In the case when the container is filled to the intended final level in one continuous operation, the owner or operator shall must promptly secure the closure devices in the closed position and install the covers, as applicable to the container, upon conclusion of the filling operation.; and

ii)	In the case when discrete quantities or batches of material intermittently are added to the container over a period of time, the owner or operator shall must promptly secure the closure devices in the closed position and install covers, as applicable to the container, upon either the container being filled to the intended final level; the completion of a batch loading after which no additional material will be added to the container within 15 minutes; the person performing the loading operation leaving the immediate vicinity of the container; or the shutdown of the process generating the material being added to the container, whichever condition occurs first.;

B)	Opening of a closure device or cover is allowed for the purpose of removing hazardous waste from the container as follows:

i)	For the purpose of meeting the requirements of this Section, an empty container, as defined in 35 Ill. Adm. Code 721.107(b), may be open to the atmosphere at any time (i.e., covers and closure devices are not required to be secured in the closed position on an empty container).; and

ii)	In the case when discrete quantities or batches of material are removed from the container but the container does not meet the conditions to be an empty container, as defined in 35 Ill. Adm. Code 721.107(b), the owner or operator shall must promptly secure the closure devices in the closed position and install covers, as applicable to the container, upon the completion of a batch removal after which no additional material will be removed from the container within 15 minutes or the person performing the unloading operation leaves the immediate vicinity of the container, whichever condition occurs first.;

C)	Opening of a closure device or cover is allowed when access inside the container is needed to perform routine activities other than transfer of hazardous waste.  Examples of such activities include those times when a worker needs to open a port to measure the depth of or sample the material in the container, or when a worker needs to open a manhole hatch to access equipment inside the container.  Following completion of the activity, the owner or operator shall must promptly secure the closure device in the closed position or reinstall the cover, as applicable to the container.;

D)	Opening of a spring-loaded, pressure-vacuum relief valve, conservation vent, or similar type of pressure relief device that vents to the atmosphere is allowed during normal operations for the purpose of maintaining the container internal pressure in accordance with the design specifications of the container.  The device must be designed to operate with no detectable organic emissions when the device is secured in the closed position.  The settings at which the device opens must be established so that the device remains in the closed position whenever the internal pressure of the container is within the internal pressure operating range determined by the owner or operator based on container manufacturer recommendations, applicable regulations, fire protection and prevention codes, standard engineering codes and practices, or other requirements for the safe handling of flammable, ignitable, explosive, reactive, or hazardous materials.  Examples of normal operating conditions that may require these devices to open are during those times when the internal pressure of the container exceeds the internal pressure operating range for the container as a result of loading operations or diurnal ambient temperature fluctuations.; and

E)	Opening of a safety device, as defined in Section 725.981, is allowed at any time conditions require doing so to avoid an unsafe condition.

4)	The owner or operator of containers using Container Level 1 controls must inspect the containers and their covers and closure devices as follows:

A)	In the case when a hazardous waste already is in the container at the time the owner or operator first accepts possession of the container at the facility and the container is not emptied within 24 hours after the container is accepted at the facility (i.e., it does not meet the conditions for an empty container as specified in 35 Ill. Adm. Code 721.107(b)), the owner or operator shall must visually inspect the container and its cover and closure devices to check for visible cracks, holes, gaps, or other open spaces into the interior of the container when the cover and closure devices are secured in the closed position.  The container visual inspection must be conducted on or before the date on which the container is accepted at the facility (i.e., the date when the container becomes subject to the Subpart CC container standards).  For the purposes of this requirement, the date of acceptance is the date of signature that the facility owner or operator enters on Item 20 of the Uniform Hazardous Waste Manifest incorporated by reference in Appendix A to 35 Ill. Adm. Code 722.Appendix A (USEPA Forms 8700-22 and 8700-22A), as required under Section 725.171.  If a defect is detected, the owner or operator shall must repair the defect in accordance with the requirements of subsection (c)(4)(C) of this Section.;

B)	In the case when a container used for managing hazardous waste remains at the facility for a period of one year or more, the owner or operator shall must visually inspect the container and its cover and closure devices initially and thereafter, at least once every 12 months, to check for visible cracks, holes, gaps, or other open spaces into the interior of the container when the cover and closure devices are secured in the closed position.  If a defect is detected, the owner or operator shall must repair the defect in accordance with the requirements of subsection (c)(4)(C) of this Section.; and

C)	When a defect is detected in the container, cover, or closure devices, the owner or operator shall must make first efforts at repair of the defect no later than 24 hours after detection, and repair must be completed as soon as possible but no later than five calendar days after detection.  If repair of a defect cannot be completed within five calendar days, then the hazardous waste must be removed from the container and the container must not be used to manage hazardous waste until the defect is repaired.

5)	The owner or operator shall must maintain at the facility a copy of the procedure used to determine that containers with capacity of 0.46 m3 (120 gal) or greater, which do not meet applicable USDOT regulations, as specified in subsection (f) of this Section, are not managing hazardous waste in light material service.

d)	Container Level 2 standards.

1)	A container using Container Level 2 controls is one of the following:

A)	A container that meets the applicable USDOT regulations on packaging hazardous materials for transportation as specified in subsection (f) of this Section.;

B)	A container that operates with no detectable organic emissions, as defined in Section 725.981, and determined in accordance with the procedure specified in subsection (g) of this Section.; and

C)	A container that has been demonstrated within the preceding 12 months to be vapor-tight by using 40 CFR 60, appendix A, Method 27, incorporated by reference in 35 Ill. Adm. Code 720.111(b), in accordance with the procedure specified in subsection (h) of this Section.

2)	Transfer of hazardous waste into or out of a container using Container Level 2 controls must be conducted in such a manner as to minimize exposure of the hazardous waste to the atmosphere, to the extent practical, considering the physical properties of the hazardous waste and good engineering and safety practices for handling flammable, ignitable, explosive, reactive or other hazardous materials.  Examples of container loading procedures that the USEPA considers to meet the requirements of this subsection (d)(2) include using any one of the following:  a submerged-fill pipe or other submerged-fill method to load liquids into the container; a vapor-balancing system or a vapor-recovery system to collect and control the vapors displaced from the container during filling operations; or a fitted opening in the top of a container through which the hazardous waste is filled and subsequently purging the transfer line before removing it from the container opening.

3)	Whenever a hazardous waste is in a container using Container Level 2 controls, the owner or operator shall must install all covers and closure devices for the container, and secure and maintain each closure device in the closed position, except as follows:

A)	Opening of a closure device or cover is allowed for the purpose of adding hazardous waste or other material to the container as follows:

i)	In the case when the container is filled to the intended final level in one continuous operation, the owner or operator shall must promptly secure the closure devices in the closed position and install the covers, as applicable to the container, upon conclusion of the filling operation.; and

ii)	In the case when discrete quantities or batches of material intermittently are added to the container over a period of time, the owner or operator shall must promptly secure the closure devices in the closed position and install covers, as applicable to the container, upon either the container being filled to the intended final level; the completion of a batch loading after which no additional material will be added to the container within 15 minutes; the person performing the loading operation leaving the immediate vicinity of the container; or the shutdown of the process generating the material being added to the container, whichever condition occurs first.;

B)	Opening of a closure device or cover is allowed for the purpose of removing hazardous waste from the container as follows:

i)	For the purpose of meeting the requirements of this Section, an empty container as defined in 35 Ill. Adm. Code 721.107(b) may be open to the atmosphere at any time (i.e., covers and closure devices are not required to be secured in the closed position on an empty container).; and

ii)	In the case when discrete quantities or batches of material are removed from the container but the container does not meet the conditions to be an empty container as defined in 35 Ill. Adm. Code 721.107(b), the owner or operator shall must promptly secure the closure devices in the closed position and install covers, as applicable to the container, upon the completion of a batch removal after which no additional material will be removed from the container within 15 minutes or the person performing the unloading operation leaves the immediate vicinity of the container, whichever condition occurs first.;

C)	Opening of a closure device or cover is allowed when access inside the container is needed to perform routine activities other than transfer of hazardous waste.  Examples of such activities include those times when a worker needs to open a port to measure the depth of or sample the material in the container, or when a worker needs to open a manhole hatch to access equipment inside the container.  Following completion of the activity, the owner or operator shall must promptly secure the closure device in the closed position or reinstall the cover, as applicable to the container.;

D)	Opening of a spring-loaded, pressure-vacuum relief valve, conservation vent, or similar type of pressure relief device that vents to the atmosphere is allowed during normal operations for the purpose of maintaining the internal pressure of the container in accordance with the container design specifications.  The device must be designed to operate with no detectable organic emission when the device is secured in the closed position.  The settings at which the device opens must be established so that the device remains in the closed position whenever the internal pressure of the container is within the internal pressure operating range determined by the owner or operator based on container manufacturer recommendations, applicable regulations, fire protection and prevention codes, standard engineering codes and practices, or other requirements for the safe handling of flammable, ignitable, explosive, reactive, or hazardous materials.  Examples of normal operating conditions that may require these devices to open are during those times when the internal pressure of the container exceeds the internal pressure operating range for the container as a result of loading operations or diurnal ambient temperature fluctuations.; and

E)	Opening of a safety device, as defined in Section 725.981, is allowed at any time conditions require doing so to avoid an unsafe condition.

4)	The owner or operator of containers using Container Level 2 controls shall must inspect the containers and their covers and closure devices as follows:

A)	In the case when a hazardous waste already is in the container at the time the owner or operator first accepts possession of the container at the facility and the container is not emptied within 24 hours after the container is accepted at the facility (i.e., it does not meet the conditions for an empty container as specified in 35 Ill. Adm. Code 721.107(b)), the owner or operator shall must visually inspect the container and its cover and closure devices to check for visible cracks, holes, gaps, or other open spaces into the interior of the container when the cover and closure devices are secured in the closed position.  The container visual inspection must be conducted on or before the date on which the container is accepted at the facility (i.e., the date when the container becomes subject to the Subpart CC container standards).  For the purposes of this requirement, the date of acceptance is the date of signature that the facility owner or operator enters on Item 20 of the Uniform Hazardous Waste Manifest incorporated by reference in Appendix A to 35 Ill. Adm. Code 722.Appendix A (USEPA Forms 8700-22 and 8700-22A), as required under Section 725.171.  If a defect is detected, the owner or operator shall must repair the defect in accordance with the requirements of subsection (d)(4)(C) of this Section.;

B)	In the case when a container used for managing hazardous waste remains at the facility for a period of one year or more, the owner or operator shall must visually inspect the container and its cover and closure devices initially and thereafter, at least once every 12 months, to check for visible cracks, holes, gaps, or other open spaces into the interior of the container when the cover and closure devices are secured in the closed position.  If a defect is detected, the owner or operator shall must repair the defect in accordance with the requirements of subsection (d)(4)(C) of this Section.; and

C)	When a defect is detected in the container, cover, or closure devices, the owner or operator shall must make first efforts at repair of the defect no later than 24 hours after detection, and repair must be completed as soon as possible but no later than five calendar days after detection.  If repair of a defect cannot be completed within five calendar days, then the hazardous waste must be removed from the container and the container must not be used to manage hazardous waste until the defect is repaired.

e)	Container Level 3 standards.

1)	A container using Container Level 3 controls is one of the following:

A)	A container that is vented directly through a closed-vent system to a control device in accordance with the requirements of subsection (e)(2)(B) of this Section.; or

B)	A container that is vented inside an enclosure which that is exhausted through a closed-vent system to a control device in accordance with the requirements of subsections (e)(2)(A) and (e)(2)(B) of this Section.

2)	The owner or operator shall must meet the following requirements, as applicable to the type of air emission control equipment selected by the owner or operator:

A)	The container enclosure must be designed and operated in accordance with the criteria for a permanent total enclosure as specified in “Procedure T—Criteria for and Verification of a Permanent or Temporary Total Enclosure” under 40 CFR 52.741, appendix B, incorporated by reference in 35 Ill. Adm. Code 720.111(b).  The enclosure may have permanent or temporary openings to allow worker access; passage of containers through the enclosure by conveyor or other mechanical means; entry of permanent mechanical or electrical equipment; or direct airflow into the enclosure.  The owner or operator shall must perform the verification procedure for the enclosure as specified in Section 5.0 to “Procedure T—Criteria for and Verification of a Permanent or Temporary Total Enclosure” initially when the enclosure is first installed and, thereafter, annually.; and

B)	The closed-vent system and control device must be designed and operated in accordance with the requirements of Section 725.988.

3)	Safety devices, as defined in Section 725.981, may be installed and operated as necessary on any container, enclosure, closed-vent system, or control device used to comply with the requirements of subsection (e)(1) of this Section.

4)	Owners and operators using Container Level 3 controls in accordance with the provisions of this Subpart CC shall must inspect and monitor the closed-vent systems and control devices, as specified in Section 725.988.

5)	Owners and operators that use Container Level 3 controls in accordance with the provisions of this Subpart CC shall must prepare and maintain the records specified in Section 725.990(d).

6)	The transfer of hazardous waste into or out of a container using Container Level 3 controls must be conducted in such a manner as to minimize exposure of the hazardous waste to the atmosphere, to the extent practical considering the physical properties of the hazardous waste and good engineering and safety practices for handling flammable, ignitable, explosive, reactive, or other hazardous materials.  Examples of container loading procedures that USEPA considers to meet the requirements of this subsection (e)(6) include using any one of the following:  the use of a submerged-fill pipe or other submerged-fill method to load liquids into the container; the use of a vapor-balancing system or a vapor-recovery system to collect and control the vapors displaced from the container during filling operations; or the use of a fitted opening in the top of a container through which the hazardous waste is filled and subsequently purging the transfer line before removing it from the container opening.

f)	For the purpose of compliance with subsection (c)(1)(A) or (d)(1)(A) of this Section, containers must be used that meet the applicable USDOT regulations on packaging hazardous materials for transportation as follows:

1)	The container meets the applicable requirements specified in 49 CFR 178, “Specifications for Packaging,”, or 49 CFR 179, “Specifications for Tank Cars,”, both incorporated by reference in 35 Ill. Adm. Code 720.111(b).;

2)	Hazardous waste is managed in the container in accordance with the applicable requirements specified in Subpart B of 49 CFR 107, subpart B, “Exemptions”; 49 CFR 172, “Hazardous Materials Table, Special Provisions, Hazardous Materials Communications, Emergency Response Information, and Training Requirements”; 49 CFR 173, “Shippers—General Requirements for Shipments and Packages”; and 49 CFR 180, “Continuing Qualification and Maintenance of Packagings,”, each incorporated by reference in 35 Ill. Adm. Code 720.111(b).;

3)	For the purpose of complying with this Subpart CC, no exceptions to the 49 CFR 178 or 179 regulations are allowed, except as provided for in subsection (f)(4) of this Section.; and

4)	For a lab pack that is managed in accordance with the requirements of 49 CFR 178 for the purpose of complying with this Subpart CC, an owner or operator may comply with the exceptions for combination packagings specified in 49 CFR 173.12(b), incorporated by reference in 35 Ill. Adm. Code 720.111(b).

g)	To determine compliance with the no detectable organic emissions requirements of subsection (d)(1)(B) of this Section, the procedure specified in Section 725.984(d) must be used.

1)	Each potential leak interface (i.e., a location where organic vapor leakage could occur) on the container, its cover, and associated closure devices, as applicable to the container, must be checked.  Potential leak interfaces that are associated with containers include, but are not limited to:  the interface of the cover rim and the container wall; the periphery of any opening on the container or container cover and its associated closure device; and the sealing seat interface on a spring-loaded pressure-relief valve.

2)	The test must be performed when the container is filled with a material having a volatile organic concentration representative of the range of volatile organic concentrations for the hazardous wastes expected to be managed in this type of container.  During the test, the container cover and closure devices must be secured in the closed position.

h)	The procedure for determining a container to be vapor-tight using Method 27 of 40 CFR 60, appendix A for the purpose of complying with subsection (d)(1)(C) of this Section is as follows:

1)	The test must be performed in accordance with Method 27 of 40 CFR 60, appendix A, incorporated by reference in 35 Ill. Adm. Code 720.111(b).;

2)	A pressure measurement device must be used that has a precision of ±2.5 mm (0.10 inch) water and that is capable of measuring above the pressure at which the container is to be tested for vapor tightness.; and

3)	If the test results determined by Method 27 indicate that the container sustains a pressure change less than or equal to 750 Pascals (0.11 psig) within five minutes after it is pressurized to a minimum of 4,500 Pascals (0.65 psig), then the container is determined to be vapor-tight.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.988	Standards:  Closed-vent Systems and Control Devices

a)	This Section applies to each closed-vent system and control device installed and operated by the owner or operator to control air emissions in accordance with standards of this Subpart CC.

b)	The closed-vent system must meet the following requirements:

1)	The closed-vent system must route the gases, vapors, and fumes emitted from the hazardous waste in the waste management unit to a control device that meets the requirements specified in subsection (c) of this Section.;

2)	The closed-vent system must be designed and operated in accordance with the requirements specified in Section 725.933(j).;

3)	When the closed-vent system includes bypass devices that could be used to divert the gas or vapor stream to the atmosphere before entering the control device, each bypass device must be equipped with either a flow indicator as specified in subsection (b)(3)(A) of this Section or a seal or locking device as specified in subsection (b)(3)(B) of this Section.  For the purpose of complying with this subsection, low leg drains, high point bleeds, analyzer vents, open-ended valves or lines, spring-loaded pressure relief valves, and other fittings used for safety purposes are not considered to be bypass devices.

A)	If a flow indicator is used to comply with this subsection (b)(3), the indicator must be installed at the inlet to the bypass line used to divert gases and vapors from the closed-vent system to the atmosphere at a point upstream of the control device inlet.  For the purposes of this subsection, a flow indicator means a device which that indicates the presence of either gas or vapor flow in the bypass line.

B)	If a seal or locking device is used to comply with this subsection (b)(3), the device must be placed on the mechanism by which the bypass device position is controlled (e.g., valve handle or damper lever) when the bypass device is in the closed position such that the bypass device cannot be opened without breaking the seal or removing the lock.  Examples of such devices include, but are not limited to, a car-seal or a lock-and-key configuration valve.  The owner or operator shall must visually inspect the seal or closure mechanism at least once every month to verify that the bypass mechanism is maintained in the closed position.; and

4)	The closed-vent system must be inspected and monitored by the owner or operator in accordance with the procedure specified in Section 725.933(k).

c)	The control device must meet the following requirements:

1)	The control device must be one of the following devices:

A)	A control device designed and operated to reduce the total organic content of the inlet vapor stream vented to the control device by at least 95 percent by weight;

B)	An enclosed combustion device designed and operated in accordance with the requirements of Section 725.933(c); or

C)	A flare designed and operated in accordance with the requirements of Section 725.933(d).;

2)	The owner or operator that elects to use a closed-vent system and control device to comply with the requirements of this Section shall must comply with the requirements specified in subsections (c)(2)(A) through (c)(2)(G) of this Section.

A)	Periods of planned routine maintenance of the control device, during which the control device does not meet the specifications of subsection (c)(1)(A), (c)(1)(B), or (c)(1)(C) of this Section, as applicable, must not exceed 240 hours per year.

B)	The specifications and requirements in subsections (c)(1)(A), (c)(1)(B), and (c)(1)(C) of this Section for control devices do not apply during periods of planned routine maintenance.

C)	The specifications and requirements in subsections (c)(1)(A), (c)(1)(B), and (c)(1)(C) of this Section for control devices do not apply during a control device system malfunction.

D)	The owner or operator shall must demonstrate compliance with the requirements of subsection (c)(2)(A) of this Section (i.e., planned routine maintenance of a control device, during which the control device does not meet the specifications of subsection (c)(1)(A), (c)(1)(B), or (c)(1)(C) of this Section, as applicable, must not exceed 240 hours per year) by recording the information specified in Section 725.990(e)(1)(E).

E)	The owner or operator shall must correct control device system malfunctions as soon as practicable after their occurrence in order to minimize excess emissions of air pollutants.

F)	The owner or operator shall must operate the closed-vent system so that gases, vapors, or fumes are not actively vented to the control device during periods of planned maintenance or control device system malfunction (i.e., periods when the control device is not operating or not operating normally), except in cases when it is necessary to vent the gases, vapors, or fumes to avoid an unsafe condition or to implement malfunction corrective actions or planned maintenance actions.;

3)	The owner or operator using a carbon adsorption system to comply with subsection (c)(1) of this Section shall must operate and maintain the control device in accordance with the following requirements:

A)	Following the initial startup of the control device, all activated carbon in the control device must be replaced with fresh carbon on a regular basis in accordance with the requirements of Section 725.933(g) or 725.933(h).

B)	All carbon that is a hazardous waste and that is removed from the control device must be managed in accordance with the requirements of Section 725.933(m), regardless of the average volatile organic concentration of the carbon.;

4)	An owner or operator using a control device other than a thermal vapor incinerator, flare, boiler, process heater, condenser, or carbon adsorption system to comply with subsection (c)(1) of this Section shall must operate and maintain the control device in accordance with the requirements of Section 725.933(i).;

5)	The owner or operator shall must demonstrate that a control device achieves the performance requirements of subsection (c)(1) of this Section as follows:

A)	An owner or operator shall must demonstrate using either a performance test, as specified in subsection (c)(5)(C) of this Section, or a design analysis, as specified in subsection (c)(5)(D) of this Section, the performance of each control device except for the following:

i)	A flare;

ii)	A boiler or process heater with a design heat input capacity of 44 megawatts or greater;

iii)	A boiler or process heater into which the vent stream is introduced with the primary fuel;

iv)	A boiler or industrial furnace burning hazardous waste for which the owner or operator has been issued a final permit under 35 Ill. Adm. Code 702, 703, and 705 and has designed and operates in accordance with the requirements of Subpart H of 35 Ill. Adm. Code 726.Subpart H; or

v)	A boiler or industrial furnace burning hazardous waste for which the owner or operator has designed and operates in accordance with the interim status requirements of Subpart H of 35 Ill. Adm. Code 726.Subpart H.;

B)	An owner or operator shall must demonstrate the performance of each flare in accordance with the requirements specified in Section 725.933(e).;

C)	For a performance test conducted to meet the requirements of subsection (c)(5)(A) of this Section, the owner or operator shall must use the test methods and procedures specified in Section 725.934(c)(1) through (c)(4).;

D)	For a design analysis conducted to meet the requirements of subsection (c)(5)(A) of this Section, the design analysis must meet the requirements specified in Section 725.935(b)(4)(C).; and

E)	The owner or operator shall must demonstrate that a carbon adsorption system achieves the performance requirements of subsection (c)(1) of this Section based on the total quantity of organics vented to the atmosphere from all carbon adsorption system equipment that is used for organic adsorption, organic desorption or carbon regeneration, organic recovery, and carbon disposal.;

6)	If the owner or operator and the Agency do not agree on a demonstration of control device performance using a design analysis, then the disagreement must be resolved using the results of a performance test performed by the owner or operator in accordance with the requirements of subsection (c)(5)(C) of this Section.  The Agency may choose to have an authorized representative observe the performance test.; and

7)	The closed-vent system and control device must be inspected and monitored by the owner or operator in accordance with the procedures specified in Section 725.933(f)(2) and (k).  The readings from each monitoring device required by Section 725.933(f)(2) must be inspected at least once each operating day to check control device operation.  Any necessary corrective measures must be immediately implemented to ensure the control device is operated in compliance with the requirements of this Section.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.989	Inspection and Monitoring Requirements

a)	The owner or operator shall must inspect and monitor air emission control equipment used to comply with this Subpart CC in accordance with the requirements specified in Sections 725.985 through 725.988.

b)	The owner or operator shall must develop and implement a written plan and schedule to perform the inspections and monitoring required by subsection (a) of this Section.  The owner or operator shall must incorporate this plan and schedule into the facility inspection plan required under Section 725.115.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.990	Recordkeeping Requirements

a)	Each owner or operator of a facility subject to the requirements in this Subpart CC shall must record and maintain the information specified in subsections (b) through (j) of this Section, as applicable to the facility.  Except for air emission control equipment design documentation and information required by subsection (j) of this Section, records required by this Section must be maintained in the operating record for a minimum of three years.  Air emission control equipment design documentation must be maintained in the operating record until the air emission control equipment is replaced or is otherwise no longer in service.  Information required by subsections (i) and (j) of this Section must be maintained in the operating record for as long as the waste management unit is not using air emission controls specified in Sections 725.985 through 725.988, in accordance with the conditions specified in Section 725.980(d) or (b)(7), respectively.

b)	The owner or operator of a tank using air emission controls in accordance with the requirements of Section 725.985 shall must prepare and maintain records for the tank that include the following information:

1)	For each tank using air emission controls in accordance with the requirements of Section 725.985 of this Subpart CC, the owner or operator shall must record the following information:

A)	A tank identification number (or other unique identification description as selected by the owner or operator).; and

B)	A record for each inspection required by Section 725.985 that includes the following information:

i)	Date inspection was conducted.; and

ii)	For each defect detected during the inspection, the location of the defect, a description of the defect, the date of detection, and corrective action taken to repair the defect.  In the event that repair of the defect is delayed in accordance with the provisions of Section 725.985, the owner or operator shall must also record the reason for the delay and the date that completion of repair of the defect is expected.; and

2)	In addition to the information required by subsection (b)(1) of this Section, the owner or operator shall must record the following information, as applicable to the tank:

A)	The owner or operator using a fixed roof to comply with the Tank Level 1 control requirements specified in Section 725.985(c) shall must prepare and maintain records for each determination for the maximum organic vapor pressure of the hazardous waste in the tank performed in accordance with the requirements of Section 725.985(c).  The records must include the date and time the samples were collected, the analysis method used, and the analysis results.;

B)	The owner or operator using an internal floating roof to comply with the Tank Level 2 control requirements specified in Section 725.985(e) shall must prepare and maintain documentation describing the floating roof design.;

C)	Owners and operators using an external floating roof to comply with the Tank Level 2 control requirements specified in Section 725.985(f) shall must prepare and maintain the following records:

i)	Documentation describing the floating roof design and the dimensions of the tank.; and

ii)	Records for each seal gap inspection required by Section 725.985(f)(3) describing the results of the seal gap measurements.  The records must include the date that the measurements were performed, the raw data obtained for the measurements, and the calculations of the total gap surface area.  In the event that the seal gap measurements do not conform to the specifications in Section 725.985(f)(1), the records must include a description of the repairs that were made, the date the repairs were made, and the date the tank was emptied, if necessary.

D)	Each owner or operator using an enclosure to comply with the Tank Level 2 control requirements specified in Section 725.985(i) shall must prepare and maintain the following records:

i)	Records for the most recent set of calculations and measurements performed by the owner or operator to verify that the enclosure meets the criteria of a permanent total enclosure as specified in “Procedure T--Criteria for and Verification of a Permanent or Temporary Total Enclosure” under 40 CFR 52.741, appendix B, incorporated by reference in 35 Ill. Adm. Code 720.111(b).; and

ii)	Records required for the closed-vent system and control device in accordance with the requirements of subsection (e) of this Section.

c)	The owner or operator of a surface impoundment using air emission controls in accordance with the requirements of Section 725.986 shall must prepare and maintain records for the surface impoundment that include the following information:

1)	A surface impoundment identification number (or other unique identification description as selected by the owner or operator).;

2)	Documentation describing the floating membrane cover or cover design, as applicable to the surface impoundment, that includes information prepared by the owner or operator or provided by the cover manufacturer or vendor describing the cover design, and certification by the owner or operator that the cover meets the specifications listed in Section 725.986(c).;

3)	A record for each inspection required by Section 725.986 that includes the following information:

A)	Date inspection was conducted.; and

B)	For each defect detected during the inspection the following information:  the location of the defect, a description of the defect, the date of detection, and corrective action taken to repair the defect.  In the event that repair of the defect is delayed in accordance with the provisions of Section 725.986(f), the owner or operator shall must also record the reason for the delay and the date that completion of repair of the defect is expected.; and

4)	For a surface impoundment equipped with a cover and vented through a closed-vent system to a control device, the owner or operator shall must prepare and maintain the records specified in subsection (e) of this Section.

d)	The owner or operator of containers using Container Level 3 air emission controls in accordance with the requirements of Section 725.987 shall must prepare and maintain records that include the following information:

1)	Records for the most recent set of calculations and measurements performed by the owner or operator to verify that the enclosure meets the criteria of a permanent total enclosure as specified in “Procedure T--Criteria for and Verification of a Permanent or Temporary Total Enclosure” under 40 CFR 52.741, appendix B, incorporated by reference in 35 Ill. Adm. Code 720.111(b).; and

2)	Records required for the closed-vent system and control device in accordance with the requirements of subsection (e) of this Section.

e)	The owner or operator using a closed-vent system and control device in accordance with the requirements of Section 725.988 shall must prepare and maintain records that include the following information:

1)	Documentation for the closed-vent system and control device that includes the following documentation:

A)	Certification that is signed and dated by the owner or operator stating that the control device is designed to operate at the performance level documented by a design analysis as specified in subsection (e)(1)(B) of this Section or by performance tests as specified in subsection (e)(1)(C) of this Section when the tank, surface impoundment, or container is or would be operating at capacity or the highest level reasonably expected to occur.;

B)	If a design analysis is used, then design documentation, as specified in Section 725.935(b)(4).  The documentation must include information prepared by the owner or operator or provided by the control device manufacturer or vendor that describes the control device design in accordance with Section 725.935(b)(4)(C) and certification by the owner or operator that the control equipment meets the applicable specifications.;

C)	If performance tests are used, then a performance test plan as specified in Section 725.935(b)(3) and all test results.;

D)	Information as required by Section 725.935(c)(1) and (c)(2), as applicable.;

E)	An owner or operator shall must record, on a semiannual basis, the following information specified in subsections (e)(1)(E)(i) and (e)(1)(E)(ii) of this Section for those planned routine maintenance operations that would require the control device not to meet the requirements of Section 725.988(c)(1)(A), (c)(1)(B), or (c)(1)(C), as applicable.:

i)	A description of the planned routine maintenance that is anticipated to be performed for the control device during the next six-month period.  This description must include the type of maintenance necessary, planned frequency of maintenance, and lengths of maintenance periods.; and

ii)	A description of the planned routine maintenance that was performed for the control device during the previous six-month period.  This description must include the type of maintenance performed and the total number of hours during those six months that the control device did not meet the requirements of Section 725.988(c)(1)(A), (c)(1)(B), or (c)(1)(C), as applicable, due to planned routine maintenance.;

F)	An owner or operator shall must record the following information specified in subsections (e)(1)(F)(i) through (e)(1)(F)(iii) of this Section for those unexpected control device system malfunctions that would require the control device not to meet the requirements of Section 725.988(c)(1)(A), (c)(1)(B), or (c)(1)(C), as applicable.:

i)	The occurrence and duration of each malfunction of the control device system.;

ii)	The duration of each period during a malfunction when gases, vapors, or fumes are vented from the waste management unit through the closed-vent system to the control device while the control device is not properly functioning.; and

iii)	Actions taken during periods of malfunction to restore a malfunctioning control device to its normal or usual manner of operation.; and

G)	Records of the management of carbon removed from a carbon adsorption system conducted in accordance with Section 725.988(c)(3)(B).

f)	The owner or operator of a tank, surface impoundment, or container exempted from standards in accordance with the provisions of Section 725.983(c) of this Subpart shall must prepare and maintain the following records, as applicable:

1)	For tanks, surface impoundments, or containers exempted under the hazardous waste organic concentration conditions specified in Section 725.983 (c)(1) or 725.984(c)(2)(A) through (c)(2)(F), the owner or operator shall must record the information used for each waste determination (e.g., test results, measurements, calculations, and other documentation) in the facility operating log.  If analysis results for waste samples are used for the waste determination, then the owner or operator shall must record the date, time, and location that each waste sample is collected in accordance with the applicable requirements of Section 725.984 of this Subpart.; and

2)	For tanks, surface impoundments, or containers exempted under the provisions of Section 725.983(c)(2)(G) or (c)(2)(H), the owner or operator shall must record the identification number for the incinerator, boiler, or industrial furnace in which the hazardous waste is treated.

g)	An owner or operator designating a cover as “unsafe to inspect and monitor” pursuant to Section 725.985(l) shall must record in a log that is kept in the facility operating record the following information:  the identification numbers for waste management units with covers that are designated as “unsafe to inspect and monitor,”, the explanation for each cover stating why the cover is unsafe to inspect and monitor, and the plan and schedule for inspecting and monitoring each cover.

h)	The owner or operator of a facility that is subject to this Subpart CC and to the control device standards in Subpart VV of 40 CFR 60, Subpart VV, or Subpart V of 40 CFR 61, Subpart V, incorporated by reference in 35 Ill. Adm. Code 270.111, may elect to demonstrate compliance with the applicable Sections of this Subpart by documentation either pursuant to this Subpart CC, or pursuant to the provisions of Subpart VV of 40 CFR 60, Subpart VV or Subpart V of 40 CFR 61, Subpart V, to the extent that the documentation required by 40 CFR 60 or 61 duplicates the documentation required by this Section.

i)	For each tank or container not using air emission controls specified in Sections 725.985 through 725.988 in accordance with the conditions specified in Section 725.980(d), the owner or operator shall must record and maintain the following information:

1)	A list of the individual organic peroxide compounds manufactured at the facility that meet the conditions specified in Section 725.980(d)(1).;

2)	A description of how the hazardous waste containing the organic peroxide compounds identified pursuant to subsection (i)(1) are managed at the facility in tanks and containers.  This description must include the following information:

A)	For the tanks used at the facility to manage this hazardous waste, sufficient information must be provided to describe each tank:  a facility identification number for the tank, the purpose and placement of this tank in the management train of this hazardous waste, and the procedures used to ultimately dispose of the hazardous waste managed in the tanks.; and

B)	For containers used at the facility to manage this hazardous waste, sufficient information must be provided to describe the following for each container:  a facility identification number for the container or group of containers; the purpose and placement of this container or group of containers in the management train of this hazardous waste; and the procedures used to ultimately dispose of the hazardous waste handled in the containers.; and

3)	An explanation of why managing the hazardous waste containing the organic peroxide compounds identified pursuant to subsection (i)(1) of this Section in the tanks or containers identified pursuant to subsection (i)(2) of this Section would create an undue safety hazard if the air emission controls specified in Sections 725.985 through 725.988 were installed and operated on these waste management units.  This explanation must include the following information:

A)	For tanks used at the facility to manage this hazardous waste, sufficient information must be provided to explain:  how use of the required air emission controls on the tanks would affect the tank design features and facility operating procedures currently used to prevent an undue safety hazard during the management of this hazardous waste in the tanks; and why installation of safety devices on the required air emission controls, as allowed under this Subpart CC, would not address those situations in which evacuation of tanks equipped with these air emission controls is necessary and consistent with good engineering and safety practices for handling organic peroxides.; and

B)	For containers used at the facility to manage this hazardous waste, sufficient information must be provided to explain:  how use of the required air emission controls on the containers would affect the container design features and handling procedures currently used to prevent an undue safety hazard during management of this hazardous waste in the containers; and why installation of safety devices on the required air emission controls, as allowed under this Subpart CC, would not address those situations in which evacuation of containers equipped with these air emission controls is necessary and consistent with good engineering and safety practices for handling organic peroxides.

j)	For each hazardous waste management unit not using air emission controls specified in Sections 725.985 through 725.988 in accordance with the provisions of Section 725.980(b)(7), the owner and operator shall must record and maintain the following information:

1)	The certification that the waste management unit is equipped with and operating air emission controls in accordance with the requirements of an applicable federal Clean Air Act regulation codified under 40 CFR 60, 61, or 63.; and

2)	An identification of the specific federal requirements codified under 40 CFR 60, 61, or 63 with which the waste management unit is in compliance.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- SUBPART DD:  CONTAINMENT BUILDINGS

- Section 725.1100	Applicability

The requirements of this Subpart DD apply to owners or operators who that store or treat hazardous waste in units designed and operated under Section 725.1101.  These provisions will become effective on February 18, 1993.  The owner or operator is not subject to the definition of land disposal in 35 Ill. Adm. Code 728.102 provided that the following is true of the unit:

a)	Is It is a completely enclosed, self-supporting structure that is designed and constructed of manmade materials of sufficient strength and thickness to support themselves, the waste contents, and any personnel and heavy equipment that operate within the unit, and to prevent failure due to any of the following causes:

1)	Pressure gradients;

2)	Settlement, compression, or uplift;

3)	Physical contact with the hazardous wastes to which they are exposed;

4)	Climatic conditions; and or

5)	The stresses of daily operation including the movement of heavy equipment within the unit and contact of such equipment with containment walls;

b)	Has It has a primary barrier that is designed to be sufficiently durable to withstand the movement of personnel, wastes, and handling equipment within the unit;

c)	If used to manage liquids, the unit has the following design features:

1)	A primary barrier designed and constructed of materials to prevent migration of hazardous constituents into the barrier; and

2)	A liquid collection system designed and constructed of materials to minimize the accumulation of liquid on the primary barrier; and

3)	A secondary containment system designed and constructed of materials to prevent migration of hazardous constituents into the barrier, with a leak detection and liquid collection system capable of detecting, collecting, and removing leaks of hazardous constituents at the earliest possible time, unless the unit has been granted a variance from the secondary containment system requirements under subsection 725.1101(b)(4);

d)	Has It has controls sufficient to permit fugitive dust emissions to meet the no visible emission standard in subsection 725.1101(c)(1)(D); and

e)	Is It is designed and operated to ensure containment and prevent the tracking of materials from the unit by personnel or equipment.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.1101	Design and operating standards Operating Standards

a)	All containment buildings must comply with the following design and operating standards:

1)	The containment building must be completely enclosed with a floor, walls, and a roof to prevent exposure to the elements (e.g. precipitation, wind, run on) and to assure containment of managed wastes.;

2)	The floor and containment walls of the unit, including the secondary containment system if required under subsection (b) of this Section, must be designed and constructed of materials of sufficient strength and thickness to support themselves, the waste contents, and any personnel and heavy equipment that operate within the unit, and to prevent failure due to pressure gradients, settlement, compression, or uplift, physical contact with the hazardous wastes to which they are exposed; climatic conditions; and the stresses of daily operation, including the movement of heavy equipment within the unit and contact of such equipment with containment walls.  The unit must be designed so that it has sufficient structural strength to prevent collapse or other failure.  All surfaces to be in contact with hazardous wastes must be chemically compatible with those wastes.  The containment building shall must meet the structural integrity requirements established by professional organizations generally recognized by the industry such as the American Concrete Institute [ACI] and the American Society of Testing Materials [ASTM].  If appropriate to the nature of the waste management operation to take place in the unit, an exception to the structural strength requirement may be made for light-weight doors and windows that meet these criteria:

A)	They provide an effective barrier against fugitive dust emissions under subsection (c)(1)(D) below of this Section; and

B)	The unit is designed and operated in a fashion that assures that wastes will not actually come in contact with these openings.;

3)	Incompatible hazardous wastes or treatment reagents must not be placed in the unit or its secondary containment system if they could cause the unit or secondary containment system to leak, corrode, or otherwise fail.; and

4)	A containment building must have a primary barrier designed to withstand the movement of personnel, waste, and handling equipment in the unit during the operating life of the unit and appropriate for the physical and chemical characteristics of the waste to be managed.

b)	For a containment building used to manage hazardous wastes containing free liquids or treated with free liquids (the presence of which is determined by the paint filter test, a visual examination, or other appropriate means), the owner or operator must include the following design features:

1)	A primary barrier designed and constructed of materials to prevent the migration of hazardous constituents into the barrier (e.g., a geomembrane covered by a concrete wear surface).

2)	A liquid collection and removal system to minimize the accumulation of liquid on the primary barrier of the containment building:

A)	The primary barrier must be sloped to drain liquids to the associated collection system; and

B)	Liquids and waste must be collected and removed to minimize hydraulic head on the containment system at the earliest practicable time.

3)	A secondary containment system including a secondary barrier designed and constructed to prevent migration of hazardous constituents into the barrier, and a leak detection system that is capable of detecting failure of the primary barrier and collecting accumulated hazardous wastes and liquids at the earliest practicable time.

A)	The requirements of the leak detection component of the secondary containment system are satisfied by installation of a system that is, at a minimum, as follows:

i)	Constructed It is constructed with a bottom slope of 1 percent or more; and

ii)	Constructed It is constructed of a granular drainage material with a hydraulic conductivity of 1 x 10-2 cm/sec or more and a thickness of 12 inches (30.5 cm) or more, or constructed of synthetic or geonet drainage materials with a transmissivity of 3 x 10-5 m2/sec or more.

B)	If treatment is to be conducted in the building, an area in which such treatment will be conducted must be designed to prevent the release of liquids, wet materials, or liquid aerosols to other portions of the building.

C)	The secondary containment system must be constructed of materials that are chemically resistant to the waste and liquids managed in the containment building and of sufficient strength and thickness to prevent collapse under the pressure exerted by overlaying materials and by any equipment used in the containment building.  (Containment buildings can serve as secondary containment systems for tanks placed within the building under certain conditions.  A containment building can serve as an external liner system for a tank, provided it meets the requirements of Section 725.293(d)(1).  In addition, the containment building must meet the requirements of subsections 725.293(b) and (c) to be an acceptable secondary containment system for a tank.)

4)	For existing units other than 90-day generator units, USEPA may delay the secondary containment requirement for up to two years, based on a demonstration by the owner or operator that the unit substantially meets the standards of this Subpart DD.  In making this demonstration, the owner or operator must do each of the following:

A)	Provide written notice to USEPA of their request by November 16, 1992.  This notification must describe the unit and its operating practices with specific reference to the performance of existing systems, and specific plans for retrofitting the unit with secondary containment;

B)	Respond to any comments from USEPA on these plans within 30 days; and

C)	Fulfill the terms of the revised plans, if such plans are approved by USEPA.

c)	Owners or operators of all containment buildings must; do each of the following:

1)	Use controls and practice to ensure containment of the hazardous waste within the unit, and at a minimum do each of the following:

A)	Maintain the primary barrier to be free of significant cracks, gaps, corrosion, or other deterioration that could cause hazardous waste to be release released from the primary barrier;

B)	Maintain the level of the stored or treated hazardous waste within the containment walls of the unit so that the height of any containment wall is not exceeded;

C)	Take measures to prevent the tracking of hazardous waste out of the unit by personnel or by equipment used in handling the waste.  An area must be designated to decontaminate equipment and any rinsate must be collected and properly managed; and

D)	Take measures to control fugitive dust emissions such that any openings (doors, windows, vents, cracks, etc.) exhibit no visible emissions (see 40 CFR 60, Appendix A, Method 22 - Visual Determination of Fugitive Emissions from Material Sources and Smoke Emissions from Flares).  In addition, all associated particulate collection devices (e.g., fabric filter, electrostatic precipitator) must be operated and maintained with sound air pollution control practices (see 40 CFR 60, Subpart 292 for guidance).  This state of no visible emissions must be maintained effectively at all times during routine operating and maintenance conditions, including when vehicles and personnel are entering and exiting the unit.;

BOARD NOTE:  At 40 CFR 265.1101(c)(1)(iv) (2004), USEPA cites “40 CFR part 60, subpart 292.”  At 57 Fed. Reg. 37217 (Aug. 18, 1992), USEPA repeats this citation in the preamble discussion of adoption of the rules.  No such provision exists in the Code of Federal Regulations.  The Board has chosen to use the more general citation:  “40 CFR 60.”

2)	Obtain certification by a qualified registered professional engineer (PE) that the containment building design meets the requirements of subsections (a) through (c) of this Section.  For units placed into operation prior to February 18, 1993, this certification must be placed in the facility’s operating record (on-site files for generators who that are not formally required to have operating records) no later than 60 days after the date of initial operation of the unit.  After February 18, 1993, PE certification will be required prior to operation of the unit.;

3)	Throughout the active life of the containment building, if the owner or operator detects a condition that could lead to or has caused a release of hazardous waste, must repair the condition promptly.  In addition, however, the owner or operator must do the following:

A)	Upon detection of a condition that has caused to a release of hazardous wastes (e.g., upon detection of leakage from the primary barrier) the owner or operator must do the following:

i)	Enter a record of the discovery in the facility operating record;

ii)	Immediately remove the portion of the containment building affected by the condition from service;

iii)	Determine what steps must be taken to repair the containment building, remove any leakage from the secondary collection system, and establish a schedule for accomplishing the cleanup and repairs; and

iv)	Within 7 seven days after the discovery of the condition, notify the Agency in writing of the condition, and within 14 working days, provide a written notice to the Agency with a description of the steps taken to repair the containment building, and the schedule for accomplishing the work.;

B)	The Agency will must review the information submitted, make a determination regarding whether the containment building must be removed from service completely or partially until repairs and cleanup are complete, and notify the owner or operator of the determination and the underlying rationale in writing.; and

C)	Upon completing all repairs and cleanup the owner and operator must notify the Agency in writing and provide a verification, signed by a qualified, registered professional engineer, that the repairs and cleanup have been completed according to the written plan submitted in accordance with subsection (c)(3)(A)(iv) above of this Section.; and

4)	Inspect and record in the facility’s operating record, at least once every seven days, data gathered from monitoring equipment and leak detection equipment as well as the containment building and the area immediately surrounding the containment building to detect signs of releases of hazardous waste.

d)	For containment buildings that contain areas both with and without secondary containment, the owner or operator must do the following:

1)	Design and operate each area in accordance with the requirements enumerated in subsections (a) through (c) above of this Section;

2)	Take measures to prevent the release of liquids or wet materials into areas without secondary containment; and

3)	Maintain in the facility’s operating log a written description of the operating procedures used to maintain the integrity of areas without secondary containment.

e)	Notwithstanding any other provision of this Subpart DD the Agency shall must not require secondary containment for a permitted containment building where the owner operator demonstrates that the only free liquids in the unit are limited amounts of dust suppression liquids required to meet occupational health and safety requirements, and where containment of managed wastes and liquids can be assured without a secondary containment system.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.1102	Closure and Post Closure-Care Post-Closure Care

a)	At closure of a containment building, the owner or operator must remove or decontaminate all waste residues, contaminated containment system components (liners, etc.), contaminated subsoils, and structures and equipment contaminated with waste and leachate, and manage them as hazardous waste unless 35 Ill. Adm. Code 721.103(e) applies.  The closure plan, closure activities, cost estimates for closure, and financial responsibility for containment buildings must meet all of the requirements specified in 725.Subparts G and H of this Part.

b)	If, after removing or decontaminating all residues and making all reasonable efforts to effect removal or decontamination of contaminated components, subsoils, structures, and equipment as required in subsection (a) above of this Section, the owner or operator finds that not all contaminated subsoils can be practicably removed or decontaminated, he must close the facility and perform post-closure care in accordance with the closure and post-closure requirements that apply to landfills (35 Ill. Adm. Code 725.310).  In addition, for the purposes of closure, post-closure, and financial responsibility, such a containment building is then considered to be a landfill, and the owner or operator must meet all the requirements for landfills specified in 725.Subparts G and H of this Part.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

Subpart EE:  Hazardous Waste Munitions and Explosives Storage

- Section 725.1200	Applicability

The requirements of this subpart EE apply to owners or operators who that store munitions and explosive hazardous wastes, except as Section 725.101 provides otherwise.

BOARD NOTE:  Depending on explosive hazards, hazardous waste munitions and explosives may also be managed in other types of storage units, including containment buildings (Subpart DD of this Part), tanks (Subpart J of this Part), or containers (Subpart I of this Part); see 35 Ill. Adm. Code 726.305 for storage of waste military munitions.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.1201	Design and operating standards

a)	An owner or operator of a hazardous waste munitions and explosives storage unit shall must design and operate the unit with containment systems, controls, and monitoring that fulfill each of the following requirements:

1)	The owner or operator minimizes the potential for detonation or other means of release of hazardous waste, hazardous constituents, hazardous decomposition products, or contaminated run-off to the soil, ground water, surface water, and atmosphere;

2)	The owner or operator provides a primary barrier, which may be a container (including a shell) or tank, designed to contain the hazardous waste;

3)	For wastes stored outdoors, the owner or operator provides that the waste and containers will not be in standing precipitation;

4)	For liquid wastes, the owner or operator provides a secondary containment system that assures that any released liquids are contained and promptly detected and removed from the waste area or a vapor detection system that assures that any released liquids or vapors are promptly detected and an appropriate response taken (e.g., additional containment, such as overpacking or removal from the waste area); and

5)	The owner or operator provides monitoring and inspection procedures that assure the controls and containment systems are working as designed and that releases that may adversely impact human health or the environment are not escaping from the unit.

b)	Hazardous waste munitions and explosives stored under this Subpart EE may be stored in one of the following:

1)	Earth-covered magazines.  The owner or operator of an earth-covered magazine shall must fulfill each of the following requirements:

A)	The magazine is constructed of waterproofed, reinforced concrete or structural steel arches, with steel doors that are kept closed when not being accessed;

B)	The magazine is so designed and constructed that it fulfills each of the following requirements:

i)	The magazine is of sufficient strength and thickness to support the weight of any explosives or munitions stored and any equipment used in the unit;

ii)	The magazine provides working space for personnel and equipment in the unit; and

iii)	The magazine can withstand movement activities that occur in the unit; and

C)	The magazine is located and designed, with walls and earthen covers that direct an explosion in the unit in a safe direction, so as to minimize the propagation of an explosion to adjacent units and to minimize other effects of any explosion.

2)	Above-ground magazines.  Above-ground magazines must be located and designed so as to minimize the propagation of an explosion to adjacent units and to minimize other effects of any explosion.

3)	Outdoor or open storage areas.  Outdoor or open storage areas must be located and designed so as to minimize the propagation of an explosion to adjacent units and to minimize other effects of any explosion.

c)	An owner or operator shall must store hazardous waste munitions and explosives in accordance with a Standard Operating Procedure that specifies procedures which ensure safety, security, and environmental protection.  If these procedures serve the same purpose as the security and inspection requirements of Section 725.114, the preparedness and prevention procedures of Subpart C of this Part, and the contingency plan and emergency procedures requirements of Subpart D of this Part, then the Standard Operating Procedure may be used to fulfill those requirements.

d)	An owner or operator shall must package hazardous waste munitions and explosives to ensure safety in handling and storage.

e)	An owner or operator shall must inventory hazardous waste munitions and explosives at least annually.

f)	An owner or operator shall must inspect and monitor hazardous waste munitions and explosives and their storage units as necessary to ensure explosives safety and to ensure that there is no migration of contaminants out of the unit.

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.1202	Closure and post-closure care

a)	At closure of a magazine or unit that stored hazardous waste under this subpart EE, the owner or operator shall must remove or decontaminate all waste residues, contaminated containment system components, contaminated subsoils, and structures and equipment contaminated with waste and manage them as hazardous waste, unless 35 Ill. Adm. Code 721.103(d) applies.  The closure plan, closure activities, cost estimates for closure, and financial responsibility for magazines or units must meet all of the requirements specified in Subparts G and H of this part, except that the owner or operator may defer closure of the unit as long as it remains in service as a munitions or explosives magazine or storage unit.

b)	If, after removing or decontaminating all residues and making all reasonable efforts to effect removal or decontamination of contaminated components, subsoils, structures, and equipment as required in subsection (a) of this section, the owner or operator finds that not all contaminated subsoils can be practicably removed or decontaminated, the owner or operator shall must close the facility and perform post-closure care in accordance with the closure and post-closure requirements that apply to landfills (see 35 Ill. Adm. Code 724.410).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.Appendix A	Recordkeeping Instructions

The Board hereby incorporates by reference See Appendix I to 40 CFR 265, Appendix I (1992), as amended at 59 Fed. Reg. 13892 (Mar. 24, 1994).  This incorporation includes no later amendments or editions incorporated by reference in 35 Ill. Adm. Code 720.111(b).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.Appendix C	USEPA Interim Primary Drinking Water Standards

See Appendix III to 40 CFR Part 265, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.Appendix D	Tests for Significance

See Appendix IV to 40 CFR Part 265, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.Appendix E	Examples of Potentially Incompatible Waste Wastes

See Appendix V to 40 CFR Part 265, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

- Section 725.Appendix F	Compounds With with Henry’s Law Constant Less Than 0.1 Y/X (at 25 C)

| Compound name | CAS No. |
| --- | --- |
| Acetaldol | 107-89-1 |
| Acetamide | 60-35-5 |
| 2-Acetylaminofluorene | 53-96-3 |
| 3-Acetyl-5-hydroxypiperidine |  |
| 3-Acetylpiperidine | 618-42-8 |
| 1-Acetyl-2-thiourea | 591-08-2 |
| Acrylamide | 79-06-1 |
| Acrylic acid | 79-10-7 |
| Adenine | 73-24-5 |
| Adipic acid | 124-04-9 |
| Adiponitrile | 111-69-3 |
| Alachlor | 15972-60-8 |
| Aldicarb | 116-06-3 |
| Ametryn | 834-12-8 |
| 4-Aminobiphenyl | 92-67-1 |
| 4-Aminopyridine | 504-24-5 |
| Aniline | 62-53-3 |
| o-Anisidine | 90-04-0 |
| Anthraquinone | 84-65-1 |
| Atrazine | 1912-24-9 |
| Benzenearsonic acid | 98-05-5 |
| Benzenesulfonic acid | 98-11-3 |
| Benzidine | 92-87-5 |
| Benzo(a)anthracene | 56-55-3 |
| Benzo(k)fluoranthene | 207-08-9 |
| Benzoic acid | 65-85-0 |
| Benzo(g,h,i)perylene | 191-24-2 |
| Benzo(a)pyrene | 50-32-8 |
| Benzyl alcohol | 100-51-6 |
| -BHC | 58-89-9 |
| Bis(2-ethylhexyl)phthalate | 117-81-7 |
| Bromochloromethyl acetate |  |
| Bromoxynil (3,5-Dibromo-4-hydroxybenzonitrile) | 1689-84-5 |
| Butyric acid | 107-92-6 |
| Caprolactam (hexahydro-2H-azepin-2-one) | 105-60-2 |
| Catechol (o-dihydroxybenzene) | 120-80-9 |
| Cellulose | 9004-34-6 |
| Cell wall |  |
| Chlorhydrin (3-Chloro-1,2-propanediol) | 96-24-2 |
| Chloroacetic acid | 79-11-8 |
| 2-Chloroacetophenone | 93-76-5 |
| p-Chloroaniline | 106-47-8 |
| p-Chlorobenzophenone | 134-85-0 |
| Chlorobenzilate | 510-15-6 |
| p-Chloro-m-cresol (6-chloro-m-cresol) | 59-50-7 |
| 3-Chloro-2,5-diketopyrrolidine |  |
| Chloro-1,2-ethane diol |  |
| 4-Chlorophenol | 106-48-9 |
| Chlorophenol polymers (2-chlorophenol & 4-chlorophenol) | 95-57-8 & 106-48-9 |
| 1-(o-Chlorophenyl)thiourea | 5344-82-1 |
| Chrysene | 218-01-9 |
| Citric acid | 77-92-9 |
| Creosote | 8001-58-9 |
| m-Cresol | 108-39-4 |
| o-Cresol | 95-48-7 |
| p-Cresol | 106-44-5 |
| Cresol (mixed isomers) | 1319-77-3 |
| 4-Cumylphenol | 27576-86 |
| Cyanide | 57-12-5 |
| 4-Cyanomethyl benzoate |  |
| Diazinon | 333-41-5 |
| Dibenzo(a,h)anthracene | 53-70-3 |
| Dibutylphthalate | 84-74-2 |
| 2,5-Dichloroaniline (N,N’-dichloroaniline) | 95-82-9 |
| 2,6-Dichlorobenzonitrile | 1194-65-6 |
| 2,6-Dichloro-4-nitroaniline | 99-30-9 |
| 2,5-Dichlorophenol | 333-41-5 |
| 3,4-Dichlorotetrahydrofuran | 3511-19 |
| Dichlorvos (DDVP) | 62-73-7 |
| Diethanolamine | 111-42-2 |
| N,N-Diethylaniline | 91-66-7 |
| Diethylene glycol | 111-46-6 |
| Diethylene glycol dimethyl ether (dimethyl Carbitol) | 111-96-6 |
| Diethylene glycol monobutyl ether (butyl Carbitol) | 112-34-5 |
| Diethylene glycol monoethyl ether acetate (Carbitol acetate) | 112-15-2 |
| Diethylene glycol monoethyl ether (Carbitol Cellosolve) | 111-90-0 |
| Diethylene glycol monomethyl ether (methyl Carbitol) | 111-77-3 |
| N,N’-Diethylhydrazine | 1615-80-1 |
| Diethyl(4-methylumbelliferyl)thionophosphate | 299-45-6 |
| Diethylphosphorothioate | 126-75-0 |
| N,N’-Diethylpropionamide | 15299-99-7 |
| Dimethoate | 60-51-5 |
| 2,3-Dimethoxystrychnidin-10-one | 357-57-3 |
| 4-Dimethylaminoazobenzene | 60-11-7 |
| 7,12-Dimethylbenz(a)anthracene | 57-97-6 |
| 3,3-Dimethylbenzidine | 119-93-7 |
| Dimethylcarbamoyl chloride | 79-44-7 |
| Dimethyldisulfide | 624-92-0 |
| Dimethylformamide | 68-12-2 |
| 1,1-Dimethylhydrazine | 57-14-7 |
| Dimethylphthalate | 131-11-3 |
| Dimethylsulfone | 67-71-0 |
| Dimethylsulfoxide | 67-68-5 |
| 4,6-Dinitro-o-cresol | 534-52-1 |
| 1,2-Diphenylhydrazine | 122-66-7 |
| Dipropylene glycol (1,1'-oxydi-2-propanol) | 110-98-5 |
| Endrin | 72-20-8 |
| Epinephrine | 51-43-4 |
| mono-Ethanolamine | 141-43-5 |
| Ethyl carbamate (urethane) | 51-79-6 |
| Ethylene glycol | 107-21-1 |
| Ethylene glycol monobutyl ether (butyl Cellosolve) | 111-76-2 |
| Ethylene glycol monoethyl ether (Cellosolve) | 110-80-5 |
| Ethylene glycol monoethyl ether acetate (Cellosolve acetate) | 111-15-9 |
| Ethylene glycol monomethyl ether (methyl Cellosolve) | 109-86-4 |
| Ethylene glycol monophenyl ether (phenyl Cellosolve) | 122-99-6 |
| Ethylene glycol monopropyl ether (propyl Cellosolve) | 2807-30-9 |
| Ethylene thiourea (2-imidazolidinethione) | 9-64-57 |
| 4-Ethylmorpholine | 100-74-3 |
| 3-Ethylphenol | 620-17-7 |
| Fluoroacetic acid, sodium salt | 62-74-8 |
| Formaldehyde | 50-00-0 |
| Formamide | 75-12-7 |
| Formic acid | 64-18-6 |
| Fumaric acid | 110-17-8 |
| Glutaric acid | 110-94-1 |
| Glycerin (Glycerol) | 56-81-5 |
| Glycidol | 556-52-5 |
| Glycinamide | 598-41-4 |
| Glyphosate | 1071-83-6 |
| Guthion | 86-50-0 |
| Hexamethylene-1,6-diisocyanate (1,6-diisocyanatohexane) | 822-06-0 |
| Hexamethyl phosphoramide | 680-31-9 |
| Hexanoic acid | 142-62-1 |
| Hydrazine | 302-01-2 |
| Hydrocyanic acid | 74-90-8 |
| Hydroquinone | 123-31-9 |
| Hydroxy-2-propionitrile (hydracrylonitrile) | 109-78-4 |
| Indeno(1,2,3-cd)pyrene | 193-39-5 |
| Lead acetate | 301-04-2 |
| Lead subacetate (lead acetate, monobasic) | 1335-32-6 |
| Leucine | 61-90-5 |
| Malathion | 121-75-5 |
| Maleic acid | 110-16-7 |
| Maleic anhydride | 108-31-6 |
| Mesityl oxide | 141-79-7 |
| Methane sulfonic acid | 75-75-2 |
| Methomyl | 16752-77-5 |
| p-Methoxyphenol | 150-76-5 |
| Methylacrylate | 96-33-3 |
| 4,4'-Methylene-bis-(2-chloroaniline) | 101-14-4 |
| 4,4'-Methylenediphenyl diisocyanate (diphenyl methane diisocyanate) | 101-68-8 |
| 4,4'-Methylenedianiline | 101-77-9 |
| Methylene diphenylamine (MDA) |  |
| 5-Methylfurfural | 620-02-0 |
| Methylhydrazine | 60-34-4 |
| Methyliminoacetic acid |  |
| Methyl methane sulfonate | 66-27-3 |
| 1-Methyl-2-methoxyaziridine |  |
| Methylparathion | 298-00-0 |
| Methyl sulfuric acid (sulfuric acid, dimethyl ester) | 77-78-1 |
| 4-Methylthiophenol | 106-45-6 |
| Monomethylformamide (n-methylformamide) | 123-39-7 |
| Nabam | 142-59-6 |
| -Naphthol | 90-15-3 |
| -Naphthol | 135-19-3 |
| -Naphthylamine | 134-32-7 |
| -Naphthylamine | 91-59-8 |
| Neopentyl glycol | 126-30-7 |
| Niacinamide | 98-92-0 |
| o-Nitroaniline | 88-74-4 |
| Nitroglycerin | 55-63-0 |
| 2-Nitrophenol | 88-75-5 |
| 4-Nitrophenol | 100-02-7 |
| N-Nitrosodimethylamine | 62-75-9 |
| Nitrosoguanidine | 674-81-7 |
| N-Nitroso-n-methylurea | 684-93-5 |
| N-Nitrosomorpholine (4-nitrosomorpholine) | 59-89-2 |
| Oxalic acid | 144-62-7 |
| Parathion | 56-38-2 |
| Pentaerythritol | 115-77-5 |
| Phenacetin | 62-44-2 |
| Phenol | 108-95-2 |
| Phenylacetic acid | 103-82-2 |
| m-Phenylene diamine | 108-45-2 |
| o-Phenylene diamine | 95-54-5 |
| p-Phenylene diamine | 106-50-3 |
| Phenyl mercuric acetate | 62-38-4 |
| Phorate | 298-02-2 |
| Phthalic anhydride | 85-44-9 |
| -Picoline (2-methyl pyridine) | 109-06-8 |
| 1,3-Propane sulfone | 1120-71-4 |
| -Propiolactone | 57-57-8 |
| Proporur (Baygon) |  |
| Propylene glycol | 57-55-6 |
| Pyrene | 129-00-0 |
| Pyridinium bromide | 39416-48-3 |
| Quinoline | 91-22-5 |
| Quinone (p-benzoquinone) | 106-51-4 |
| Resorcinol | 108-46-3 |
| Simazine | 122-34-9 |
| Sodium acetate | 127-09-3 |
| Sodium formate | 141-53-7 |
| Strychnine | 57-24-9 |
| Succinic acid | 110-15-6 |
| Succinimide | 123-56-8 |
| Sulfanilic acid | 121-47-1 |
| Terephthalic acid | 100-21-0 |
| Tetraethyldithiopyrophosphate | 3689-24-5 |
| Tetraethylenepentamine | 112-57-2 |
| Thiofanox | 39196-18-4 |
| Thiosemicarbazide | 79-19-6 |
| 2,4-Toluenediamine | 95-80-7 |
| 2,6-Toluenediamine | 823-40-5 |
| 3,4-Toluenediamine | 496-72-0 |
| 2,4-Toluene diisocyanate | 584-84-9 |
| p-Toluic acid | 99-94-5 |
| m-Toluidine | 108-44-1 |
| 1,1,2-Trichloro-1,2,2-trifluoroethane | 76-13-1 |
| Triethanolamine | 102-71-6 |
| Triethylene glycol dimethyl ether |  |
| Tripropylene glycol | 24800-44-0 |
| Warfarin | 81-81-2 |
| 3,4-Xylenol (3,4-dimethylphenol) | 95-65-8 |

(Source:  Amended at 29 Ill. Reg. ________, effective ______________________)

I, Dorothy M. Gunn, Clerk of the Illinois Pollution Control Board, certify that the Board adopted the above order on December 16, 2004, by a vote of 5-0.

Dorothy M. Gunn, Clerk

Illinois Pollution Control Board