TITLE 35: ENVIRONMENTAL PROTECTION

SUBTITLE G: WASTE DISPOSAL

CHAPTER I: POLLUTION CONTROL BOARD

SUBCHAPTER c: HAZARDOUS WASTE OPERATING REQUIREMENTS

PART 721

IDENTIFICATION AND LISTING OF HAZARDOUS WASTE

SUBPART A: GENERAL PROVISIONS

Section

721.101 Purpose and Scope

721.102 Definition of Solid Waste

721.103 Definition of Hazardous Waste

721.104 Exclusions

721.105 Special Requirements for Hazardous Waste Generated by Small Quantity Generators (Repealed)

721.106 Requirements for Recyclable Materials

721.107 Residues of Hazardous Waste in Empty Containers

721.108 PCB Wastes Regulated under TSCA

721.109 Requirements for Universal Waste

SUBPART B: CRITERIA FOR IDENTIFYING THE CHARACTERISTICS OF HAZARDOUS WASTE AND FOR LISTING HAZARDOUS WASTES

Section

721.110 Criteria for Identifying the Characteristics of Hazardous Waste

721.111 Criteria for Listing Hazardous Waste

SUBPART C: CHARACTERISTICS OF HAZARDOUS WASTE

Section

721.120 General

721.121 Characteristic of Ignitability

721.122 Characteristic of Corrosivity

721.123 Characteristic of Reactivity

721.124 Toxicity Characteristic

SUBPART D: LISTS OF HAZARDOUS WASTE

Section

721.130 General

721.131 Hazardous Wastes from Nonspecific Sources

721.132 Hazardous Waste from Specific Sources

721.133 Discarded Commercial Chemical Products, Off-Specification Species, Container Residues, and Spill Residues Thereof

721.135 Wood Preserving Wastes

SUBPART E: EXCLUSIONS AND EXEMPTIONS

Section

721.138 Exclusion of Comparable Fuel and Syngas Fuel (Repealed)

721.139 Conditional Exclusion for Used, Broken CRTs and Processed CRT Glass Undergoing Recycling

721.140 Conditional Exclusion for Used, Intact CRTs Exported for Recycling

721.141 Notification and Recordkeeping for Used, Intact CRTs Exported for Reuse

SUBPART H: FINANCIAL REQUIREMENTS FOR MANAGEMENT OF EXCLUDED HAZARDOUS SECONDARY MATERIALS

Section

721.240 Applicability

721.241 Definitions of Terms as Used in This Subpart

721.242 Cost Estimate

721.243 Financial Assurance Condition

721.247 Liability Requirements

721.248 Incapacity of Owners or Operators, Guarantors, or Financial Institutions

721.249 Use of State-Required Mechanisms

721.250 State Assumption of Responsibility

721.251 Wording of the Instruments

SUBPART I: USE AND MANAGEMENT OF CONTAINERS

Section

721.270 Applicability

721.271 Condition of Containers

721.272 Compatibility of Hazardous Secondary Materials with Containers

721.273 Management of Containers

721.275 Secondary Containment

721.276 Special Requirements for Ignitable or Reactive Hazardous Secondary Material

721.277 Special Requirements for Incompatible Materials

721.279 Air Emission Standards

SUBPART J: TANK SYSTEMS

Section

721.290 Applicability

721.291 Assessment of Existing Tank System’s Integrity

721.293 Containment and Detection of Releases

721.294 General Operating Requirements

721.296 Response to Leaks or Spills and Disposition of Leaking or Unfit-for-Use Tank Systems

721.297 Termination of Remanufacturing Exclusion

721.298 Special Requirements for Ignitable or Reactive Materials

721.299 Special Requirements for Incompatible Materials

721.300 Air Emission Standards

SUBPART M: EMERGENCY PREPAREDNESS AND RESPONSE FOR MANAGEMENT OF EXCLUDED HAZARDOUS SECONDARY MATERIALS

Section

721.500 Applicability

721.510 Preparedness and Prevention

721.511 Emergency Procedures for Facilities Generating or Accumulating 6,000 kg or Less of Hazardous Secondary Material

721.520 Contingency Planning and Emergency Procedures for Facilities Generating or Accumulating More Than 6,000 kg of Hazardous Secondary Material

SUBPART AA: AIR EMISSION STANDARDS FOR PROCESS VENTS

Section

721.930 Applicability

721.931 Definitions

721.932 Standards: Process Vents

721.933 Standards: Closed-Vent Systems and Control Devices

721.934 Test Methods and Procedures

721.935 Recordkeeping Requirements

SUBPART BB: AIR EMISSION STANDARDS FOR EQUIPMENT LEAKS

Section

721.950 Applicability

721.951 Definitions

721.952 Standards: Pumps in Light Liquid Service

721.953 Standards: Compressors

721.954 Standards: Pressure Relief Devices in Gas/Vapor Service

721.955 Standards: Sampling Connection Systems

721.956 Standards: Open-Ended Valves or Lines

721.957 Standards: Valves in gas/Vapor Service or in Light Liquid Service

721.958 Standards: Pumps and Valves in Heavy Liquid Service, Pressure Relief Devices in Light Liquid or Heavy Liquid Service, and Flanges and Other Connectors

721.959 Standards: Delay of Repair

721.960 Standards: Closed-Vent Systems and Control Devices

721.961 Alternative Standards for Valves in Gas/Vapor Service or in Light Liquid Service: Percentage of Valves Allowed to Leak

721.962 Alternative Standards for Valves in Gas/Vapor Service or in Light Liquid Service: Skip Period Leak Detection and Repair

721.963 Test Methods and Procedures

721.964 Recordkeeping Requirements

SUBPART CC: AIR EMISSION STANDARDS FOR TANKS AND CONTAINERS

Section

721.980 Applicability

721.981 Definitions

721.982 Standards: General

721.983 Material Determination Procedures

721.984 Standards: Tanks

721.986 Standards: Containers

721.987 Standards: Closed-Vent Systems and Control Devices

721.988 Inspection and Monitoring Requirements

721.989 Recordkeeping Requirements

721.APPENDIX A Representative Sampling Methods

721.APPENDIX B Method 1311 Toxicity Characteristic Leaching Procedure (TCLP)

(Repealed)

721.APPENDIX C Chemical Analysis Test Methods (Repealed)

721.TABLE A Analytical Characteristics of Organic Chemicals (Repealed)

721.TABLE B Analytical Characteristics of Inorganic Species (Repealed)

721.TABLE C Sample Preparation/Sample Introduction Techniques (Repealed)

721.APPENDIX G Basis for Listing Hazardous Wastes

721.APPENDIX H Hazardous Constituents

721.APPENDIX I Wastes Excluded by Administrative Action

721.TABLE A Wastes Excluded by USEPA under 40 CFR 260.20 and

260.22 from Non-Specific Sources

721.TABLE B Wastes Excluded by USEPA under 40 CFR 260.20 and

260.22 from Specific Sources

721.TABLE C Wastes Excluded by USEPA under 40 CFR 260.20 and

260.22 from Commercial Chemical Products, Off-Specification

Species, Container Residues, and Soil Residues Thereof

721.TABLE D Wastes Excluded by the Board by Adjusted Standard

721.APPENDIX J Method of Analysis for Chlorinated Dibenzo-p-Dioxins and

Dibenzofurans (Repealed)

721.APPENDIX Y Table to Section 721.138: Maximum Contaminant Concentration

and Minimum Detection Limit Values for Comparable Fuel Specification (Repealed)

721.APPENDIX Z Table to Section 721.102: Recycled Materials that Are Solid

Waste

AUTHORITY: Implementing Sections 7.2 and 22.4 and authorized by Section 27 of the Environmental Protection Act [415 ILCS 5/7.2, 22.4 and 27].

SOURCE: Adopted in R81-22 at 5 Ill. Reg. 9781, effective May 17, 1982; amended and codified in R81-22 at 6 Ill. Reg. 4828, effective May 17, 1982; amended in R82-18 at 7 Ill. Reg. 2518, effective February 22, 1983; amended in R82-19 at 7 Ill. Reg. 13999, effective October 12, 1983; amended in R84-34, 61 at 8 Ill. Reg. 24562, effective December 11, 1984; amended in R84-9 at 9 Ill. Reg. 11834, effective July 24, 1985; amended in R85-22 at 10 Ill. Reg. 998, effective January 2, 1986; amended in R85-2 at 10 Ill. Reg. 8112, effective May 2, 1986; amended in R86-1 at 10 Ill. Reg. 14002, effective August 12, 1986; amended in R86-19 at 10 Ill. Reg. 20647, effective December 2, 1986; amended in R86-28 at 11 Ill. Reg. 6035, effective March 24, 1987; amended in R86-46 at 11 Ill. Reg. 13466, effective August 4, 1987; amended in R87-32 at 11 Ill. Reg. 16698, effective September 30, 1987; amended in R87-5 at 11 Ill. Reg. 19303, effective November 12, 1987; amended in R87-26 at 12 Ill. Reg. 2456, effective January 15, 1988; amended in R87-30 at 12 Ill. Reg. 12070, effective July 12, 1988; amended in R87-39 at 12 Ill. Reg. 13006, effective July 29, 1988; amended in R88-16 at 13 Ill. Reg. 382, effective December 27, 1988; amended in R89-1 at 13 Ill. Reg. 18300, effective November 13, 1989; amended in R90-2 at 14 Ill. Reg. 14401, effective August 22, 1990; amended in R90-10 at 14 Ill. Reg. 16472, effective September 25, 1990; amended in R90-17 at 15 Ill. Reg. 7950, effective May 9, 1991; amended in R90-11 at 15 Ill. Reg. 9332, effective June 17, 1991; amended in R91-1 at 15 Ill. Reg. 14473, effective September 30, 1991; amended in R91-12 at 16 Ill. Reg. 2155, effective January 27, 1992; amended in R91-26 at 16 Ill. Reg. 2600, effective February 3, 1992; amended in R91-13 at 16 Ill. Reg. 9519, effective June 9, 1992; amended in R92-1 at 16 Ill. Reg. 17666, effective November 6, 1992; amended in R92-10 at 17 Ill. Reg. 5650, effective March 26, 1993; amended in R93-4 at 17 Ill. Reg. 20568, effective November 22, 1993; amended in R93-16 at 18 Ill. Reg. 6741, effective April 26, 1994; amended in R94-7 at 18 Ill. Reg. 12175, effective July 29, 1994; amended in R94-17 at 18 Ill. Reg. 17490, effective November 23, 1994; amended in R95-6 at 19 Ill. Reg. 9522, effective June 27, 1995; amended in R95-20 at 20 Ill. Reg. 10963, effective August 1, 1996; amended in R96-10/R97-3/R97-5 at 22 Ill. Reg. 275, effective December 16, 1997; amended in R98-12 at 22 Ill. Reg. 7615, effective April 15, 1998; amended in R97-21/R98-3/R98-5 at 22 Ill. Reg. 17531, effective September 28, 1998; amended in R98-21/R99-2/R99-7 at 23 Ill. Reg. 1718, effective January 19, 1999; amended in R99-15 at 23 Ill. Reg. 9135, effective July 26, 1999; amended in R00-13 at 24 Ill. Reg. 9481, effective June 20, 2000; amended in R01-3 at 25 Ill. Reg. 1281, effective January 11, 2001; amended in R01-21/R01-23 at 25 Ill. Reg. 9108, effective July 9, 2001; amended in R02-1/R02-12/R02-17 at 26 Ill. Reg. 6584, effective April 22, 2002; amended in R03-18 at 27 Ill. Reg. 12760, effective July 17, 2003; amended in R04-16 at 28 Ill. Reg. 10693, effective July 19, 2004; amended in R05-8 at 29 Ill. Reg. 6003, effective April 13, 2005; amended in R06-5/R06-6/R06-7 at 30 Ill. Reg. 2992, effective February 23, 2006; amended in R06-16/R06-17/R06-18 at 31 Ill. Reg. 791, effective December 20, 2006; amended in R07-5/R07-14 at 32 Ill. Reg. 11786, effective July 14, 2008; amended in R09-3 at 33 Ill. Reg. 986, effective December 30, 2008; amended in R09-16/R10-4 at 34 Ill. Reg. 18611, effective November 12, 2010; amended in R11-2/R11-16 at 35 Ill. Reg. 17734, effective October 14, 2011; amended in R13-5 at 37 Ill. Reg. 3213, effective March 4, 2013; amended in R14-13 at 38 Ill. Reg. 12442, effective May 27, 2014; amended in R15-1 at 39 Ill. Reg. 1607, effective January 12, 2015; amended in R16-7 at 40 Ill. Reg. 11367, effective August 9, 2016; amended in R17-14/R17-15/R18-12/R18-31 at 42 Ill. Reg. 21673, effective November 19, 2018; amended in R19-3 at 43 Ill. Reg. 496, effective December 6, 2018; amended in R19-11 at 43 Ill. Reg. 5884, effective May 2, 2019; amended in R20-8/R20-16 at 44 Ill. Reg. 15142, effective September 3, 2020; amended in R21-13 at 48 Ill. Reg. 9827, effective June 20, 2024; amended in R24-12 at 48 Ill. Reg. 16813, effective November 22, 2024.

SUBPART A: GENERAL PROVISIONS

**Section** **721.101 Purpose and Scope**

a) This Part identifies those solid wastes that are subject to regulation as hazardous wastes under 35 Ill. Adm. Code 702, 703, and 722 through 728, and that are subject to the notification requirements of Section 3010 of RCRA (42 USC 6930). In this Part:

1) Subpart A defines the terms “solid waste” and “hazardous waste”, identifies those wastes that are excluded from regulation under 35 Ill. Adm. Code 702, 703, and 722 through 728, and establishes special management requirements for hazardous waste that is recycled.

2) Subpart B specifies the criteria used to identify characteristics of hazardous waste and to list hazardous wastes.

3) Subpart C identifies characteristics of hazardous wastes.

4) Subpart D lists particular hazardous wastes.

b) Limitations on Definition of Solid Waste

1) The definition of solid waste contained in this Part applies only to wastes that also are hazardous for the regulations implementing Subtitle C of RCRA. For example, it does not apply to materials (like non-hazardous scrap, paper, textiles, or rubber) that are not otherwise hazardous wastes and that are recycled.

2) This Part identifies only some of the materials that are solid wastes and hazardous wastes under Sections 1004(5), 1004(27) and 7003 of RCRA. A material that is not defined as a solid waste in this Part, or is not a hazardous waste identified or listed in this Part, is still a hazardous waste under those Sections if, in the case of Section 7003 of RCRA, the statutory elements are established.

c) For Sections 721.102 and 721.106, the following definitions apply:

1) A “spent material” is any material that has been used and because of contamination can no longer serve the purpose for which it was produced without processing.

2) “Sludge” has the same meaning used in 35 Ill. Adm. Code 720.110.

3) A “by-product” is a material that is not one of the primary products of a production process and is not solely or separately produced by the production process.  Examples are process residues like slags or distillation column bottoms.  The term does not include a co-product that is produced for the general public’s use and is ordinarily used in the form it is produced by the process.

4) A material is “reclaimed” if it is processed to recover a usable product, or if it is regenerated. Examples are recovering lead values from spent batteries and regenerating spent solvents. In addition, for Section 721.104(a)(23) and (a)(24) smelting, melting, and refining furnaces are considered to be solely engaged in metals reclamation if the metal recovery from the hazardous secondary materials meets the same requirements as those specified for metals recovery from hazardous waste in 35 Ill. Adm. Code 726.200(d)(1) through (d)(3), and if the residuals meet the requirements specified in 35 Ill. Adm. Code 726.212.

5) A material is “used or reused” if:

A) It is employed as an ingredient (including use as an intermediate) in an industrial process to make a product (for example, distillation bottoms from one process used as feedstock in another process).  However, a material will not meet this condition if distinct components of the material are recovered as separate end products (as when metals are recovered from metal-containing secondary materials); or

B) It is employed in a particular function or application as an effective substitute for a commercial product (for example, spent pickle liquor used as phosphorus precipitant and sludge conditioner in wastewater treatment).

6) “Scrap metal” is bits and pieces of metal parts (e.g., bars, turnings, rods, sheets, or wire) or metal pieces that may be combined with bolts or soldering (e.g., radiators, scrap automobiles, or railroad box cars) that when worn or superfluous can be recycled.

7) A material is “recycled” if it is used, reused, or reclaimed.

8) A material is “accumulated speculatively” if it is accumulated before being recycled. A material is not accumulated speculatively, however, if the person accumulating it can show that the material is potentially recyclable and has a feasible means of being recycled; and that, during the calendar year (commencing on January 1), the amount of material that is recycled, or transferred to a different site for recycling, equals at least 75 percent by weight or volume of the amount of that material accumulated at the beginning of the period. Materials must be placed in a storage unit with a label indicating the first date that the material began to be accumulated. If placing a label on the storage unit is not practicable, the accumulation period must be documented through an inventory log or other appropriate method. In calculating the percentage of turnover, the 75 percent requirement is to be applied to each material of the same type (e.g., slags from a single smelting process) that is recycled in the same way (i.e., from which the same material is recovered or that is used in the same way). Materials accumulating in units that would be exempt from regulation under Section 721.104(c) are not to be included in making the calculation. Materials that are already defined as solid wastes also are not to be included in making the calculation. Materials are no longer in this category once they are removed from accumulation for recycling, however.

BOARD NOTE: Various segments of this Part and 35 Ill. Adm. Code 720 use the verbal phrase “accumulated speculatively” and the noun phrase “speculative accumulation”. Some of those segments rely on this subsection (c)(8) definition of “speculatively accumulated” for defining “speculative accumulation”. The Board infers that USEPA intends that the verb phrase define the noun phrase: material that is accumulated speculatively is the subject of speculative accumulation.

9) “Excluded scrap metal” is processed scrap metal, unprocessed home scrap metal, and unprocessed prompt scrap metal.

10) “Processed scrap metal” is scrap metal that has been manually or physically altered to either separate it into distinct materials to enhance economic value or to improve the handling of materials. Processed scrap metal includes scrap metal that has been baled, shredded, sheared, chopped, crushed, flattened, cut, melted, or separated by metal type (i.e., sorted) and fines, drosses, and related materials that have been agglomerated. (Note: shredded circuit boards being sent for recycling are not considered processed scrap metal. They are covered under the exclusion from the definition of solid waste for shredded circuit boards being recycled (Section 721.104(a)(14)).

11) “Home scrap metal” is scrap metal as generated by steel mills, foundries, and refineries, like turnings, cuttings, punchings, and borings.

12) “Prompt scrap metal” is scrap metal as generated by the metal working/fabrication industries, and it includes scrap metal like turnings, cuttings, punchings, and borings. Prompt scrap metal is also known as industrial or new scrap metal.

d) The Agency has inspection authority under Section 3007 of RCRA and Section 4 of the Act.

e) Electronic reporting. The filing of any document under any provision of this Part as an electronic document is subject to 35 Ill. Adm. Code 720.104.

BOARD NOTE: Subsection (e) is derived from 40 CFR 3, 271.10(b), 271.11(b), and 271.12(h) (2017).

(Source: Amended at 48 Ill. Reg. 16813, effective November 22, 2024)

**Section** **721.102 Definition of Solid Waste**

a) Solid Waste

1) A solid waste is any discarded material that is not excluded pursuant to Section 721.104(a) or that is not excluded pursuant to 35 Ill. Adm. Code 720.130 and 720.131 or 35 Ill. Adm. Code 720.130 and 720.134.

2) Discarded Material

A) A discarded material is any material that is described as follows:

i) It is abandoned, as described in subsection (b);

ii) It is recycled, as described in subsection (c);

iii) It is considered inherently waste-like, as described in subsection (d); or

iv) It is a military munition identified as a solid waste in 35 Ill. Adm. Code 726.302.

B) This subsection (a)(2)(B) corresponds with 40 CFR 261.2(a)(2)(ii), which USEPA has removed and marked “reserved”. This statement maintains structural consistency with the corresponding federal regulations.

b) A material is a solid waste if it is abandoned in one of the following ways:

1) It is disposed of;

2) It is burned or incinerated;

3) It is accumulated, stored, or treated (but not recycled) before or in lieu of being abandoned by being disposed of, burned, or incinerated; or

4) Sham recycled, as explained in subsection (g).

c) A material is a solid waste if it is recycled—or accumulated, stored, or treated before recycling—as specified in subsections (c)(1) through (c)(4), if one of the following occurs with regard to the material:

1) The material is used in a manner constituting disposal.

A) A material that is noted with a “yes” in column 1 of the table in Appendix Z is a solid waste when one of the following occurs:

i) The material is applied to or placed on the land in a manner that constitutes disposal; or

ii) The material is used to produce products that are applied to or placed on the land or are otherwise contained in products that are applied to or placed on the land (in which cases the product itself remains a solid waste).

B) However, a commercial chemical product that is listed in Section 721.133 is not a solid waste if it is applied to the land and that is its ordinary manner of use.

2) The material is burned for energy recovery.

A) A material that is noted with a “yes” in column 2 of the table in Appendix Z is a solid waste when one of the following occurs:

i) It is burned to recover energy;

ii) It is used to produce a fuel or is otherwise contained in fuels (in which case the fuel itself remains a solid waste);

iii) It is contained in fuels (in which case the fuel itself remains a solid waste).

B) However, a commercial chemical product that is listed in Section 721.133 is not a solid waste if it is itself a fuel.

3) Reclaimed.  A material noted with a “No” in column 3 of the table in Appendix Z is not a solid waste when reclaimed (except as provided under Section 721.104(a)(17)).  A material noted with a “Yes” in column 3 of Appendix Z is a solid waste when reclaimed, unless it meets the requirements of Section 721.104(a)(17), (a)(23), (a)(24), or (a)(27).

4) Accumulated Speculatively.  A material noted with “yes” in column 4 of the table in Appendix Z is a solid waste when accumulated speculatively.

d) Inherently Waste-Like Materials.  The following materials are solid wastes when they are recycled in any manner:

1) USEPA hazardous waste numbers F020, F021 (unless used as an ingredient to make a product at the site of generation), F022, F023, F026, and F028.

2) A secondary material fed to a halogen acid furnace that exhibits a characteristic of a hazardous waste or which is listed as a hazardous waste, as defined in Subpart C or D, except for brominated material that meets the following criteria:

A) The material must contain a bromine concentration of at least 45 percent;

B) The material must contain less than a total of one percent of toxic organic compounds listed in Appendix H; and

C) The material is processed continually on-site in the halogen acid furnace via direct conveyance (hard piping).

3) The following criteria are used to add wastes to the list:

A) Disposal Method or Toxicity

i) The material is ordinarily disposed of, burned, or incinerated; or

ii) The material contains toxic constituents listed in Appendix H and these constituents are not ordinarily found in raw materials or products for which the material substitutes (or are found in raw materials or products in smaller concentrations) and is not used or reused during the recycling process; and

B) The material may pose a substantial hazard to human health and the environment when recycled.

e) Materials That Are Not Solid Waste When Recycled

1) A material is not a solid waste when it can be shown to be recycled by fulfilling one of the following conditions:

A) It is used or reused as an ingredient in an industrial process to make a product, provided the material is not being reclaimed; or

B) It is used or reused as effective substitutes for commercial products; or

C) It is returned to the original process from which it is generated, without first being reclaimed or land disposed. The material must be returned as a substitute for feedstock materials. In cases where the original process to which the material is returned is a secondary process, the material must be managed in such a manner that there is no placement on the land. In cases where the material is generated and reclaimed within the primary mineral processing industry, the conditions of the exclusion found at Section 721.104(a)(17) apply rather than this provision.

2) The following materials are solid wastes, even if the recycling involves use, reuse, or return to the original process (described in subsections (e)(1)(A) through (e)(1)(C)):

A) A material used in a manner constituting disposal or used to produce a product that is applied to the land; or

B) A material burned for energy recovery, used to produce a fuel, or contained in fuels; or

C) A material accumulated speculatively; or

D) A material listed in subsections (d)(1) and (d)(2).

f) Documentation of Claims That a material is Not a Solid Waste or is Conditionally Exempt from Regulation.  A respondent in an action to enforce regulations implementing Subtitle C of RCRA or Section 21 of the Environmental Protection Act that raises a claim that a certain material is not a solid waste or that the material is conditionally exempt from regulation must demonstrate that there is a known market or disposition for the material and that the material meets the terms of the exclusion or exemption.  In doing so, the person must provide appropriate documentation (such as contracts showing that a second person uses the material as an ingredient in a production process) to demonstrate that the material is not a waste or that the material is exempt from regulation.  In addition, an owner or operator of a facility claiming that it actually is recycling a material must show that it has the necessary equipment to recycle that material.

g) Sham Recycling. A hazardous secondary material found to be sham recycled is considered discarded and a solid waste. Sham recycling is recycling that is not legitimate recycling, as defined in 35 Ill. Adm. Code 720.143.

(Source: Amended at 42 Ill. Reg. 21673, effective November 19, 2018)

**Section** **721.103 Definition of Hazardous Waste**

a) A solid waste, as defined in Section 721.102, is a hazardous waste if the following is true of the waste:

1) It is not excluded from regulation as a hazardous waste pursuant to Section 721.104(b); and

2) It meets any of the following criteria:

A) It exhibits any of the characteristics of hazardous waste identified in Subpart C. However, any mixture of a waste from the extraction, beneficiation, and processing of ores and minerals excluded pursuant to Section 721.104(b)(7) and any other solid waste exhibiting a characteristic of hazardous waste pursuant to Subpart C is a hazardous waste only if it exhibits a characteristic that would not have been exhibited by the excluded waste alone if such mixture had not occurred, or if the mixture continues to exhibit any of the characteristics exhibited by the non-excluded wastes prior to mixture. Further, for the purposes of applying the toxicity characteristic to such mixtures, the mixture is also a hazardous waste if it exceeds the maximum concentration for any contaminant listed in Section 721.124 that would not have been exceeded by the excluded waste alone if the mixture had not occurred or if it continues to exceed the maximum concentration for any contaminant exceeded by the nonexempt waste prior to mixture.

B) It is listed in Subpart D and has not been excluded from the lists in Subpart D pursuant to 35 Ill. Adm. Code 720.120 and 720.122.

C) This subsection (a)(2)(B) corresponds with 40 CFR 261.3(a)(2)(iii), which USEPA removed and marked as “reserved” at 66 Fed. Reg. 27266 (May 16, 2001). This statement maintains structural consistency with the federal regulations.

D) It is a mixture of solid waste and one or more hazardous wastes listed in Subpart D and has not been excluded from this subsection (a)(2) pursuant to 35 Ill. Adm. Code 720.120 and 720.122 or subsection (g) or (h); however, the following mixtures of solid wastes and hazardous wastes listed in Subpart D are not hazardous wastes (except by application of subsection (a)(2)(A) or (a)(2)(B)) if the generator demonstrates that the mixture consists of wastewater the discharge of which is subject to regulation under either 35 Ill. Adm. Code 309 or 310 (including wastewater at facilities that have eliminated the discharge of wastewater) and the following is true of the waste:

i) It is one or more of the following solvents listed in Section 721.131: benzene, carbon tetrachloride, tetra­chloro­ethylene, trichloroethylene or the scrubber waters derived from the combustion of these spent solvents, provided that the maximum total weekly usage of these solvents (other than the amounts that can be demonstrated not to be discharged to wastewater) divided by the average weekly flow of wastewater into the headworks of the facility’s wastewater treatment or pretreatment system does not exceed 1 part per million, or the total measured concentration of these solvents entering the headworks of the facility’s wastewater treatment system (at a facility that is subject to regulation under the federal Clean Air Act new source performance standards or national emission standards for hazardous air pollutants of 40 CFR 60, 61, or 63 or at a facility that is subject to an enforceable limit in a federal operating permit that minimizes fugitive emissions) does not exceed 1 part per million on an average weekly basis. Any facility that uses benzene as a solvent and claims this exemption must use an aerated biological wastewater treatment system and must use only lined surface impoundments or tanks prior to secondary clarification in the wastewater treatment system. A facility that chooses to measure concentration levels must file a copy of its sampling and analysis plan with the Agency. A facility must file a copy of a revised sampling and analysis plan only if the initial plan is rendered inaccurate by changes in the facility’s operations. The sampling and analysis plan must include the monitoring point location (headworks), the sampling frequency and methodology, and a list of constituents to be monitored. A facility is eligible for the direct monitoring option once it receives confirmation that the sampling and analysis plan has been received by the Agency. The Agency must reject the sampling and analysis plan if it determines that the sampling and analysis plan fails to include the information required by this subsection (a)(2)(D)(i) or that the plan parameters would not enable the facility to calculate the weekly average concentration of these chemicals accurately. If the Agency rejects the sampling and analysis plan, or if the Agency determines that the facility is not following the sampling and analysis plan, the Agency must notify the facility to cease the use of the direct monitoring option until such time as the bases for rejection are corrected;

ii) It is one or more of the following spent solvents listed in Section 721.131: methylene chloride, 1,1,1-trichloro­ethane, chlorobenzene, o-dichloro­benzene, cresols, cresylic acid, nitro­benzene, toluene, methyl ethyl ketone, carbon disulfide, isobutanol, pyridine, spent chloro­fluoro­carbon solvents, 2- ethoxyethanol, or the scrubber waters derived-from the combustion of these spent solvents, provided that the maximum total weekly usage of these solvents (other than the amounts that can be demonstrated not to be discharged to wastewater) divided by the average weekly flow of wastewater into the headworks of the facility’s wastewater treatment or pretreatment system does not exceed 25 parts per million, or the total measured concentration of these solvents entering the headworks of the facility’s wastewater treatment system (at a facility that is subject to regulation under the federal Clean Air Act new source performance standards or national emission standards for hazardous air pollutants of 40 CFR 60, 61, or 63 or at a facility that is subject to an enforceable limit in a federal operating permit that minimizes fugitive emissions) does not exceed 25 parts per million on an average weekly basis. A facility that chooses to measure concentration levels must file a copy of its sampling and analysis plan with the Agency. A facility must file a copy of a revised sampling and analysis plan only if the initial plan is rendered inaccurate by changes in the facility’s operations. The sampling and analysis plan must include the monitoring point location (headworks), the sampling frequency and methodology, and a list of constituents to be monitored. A facility is eligible for the direct monitoring option once it receives confirmation that the sampling and analysis plan has been received by the Agency. The Agency must reject the sampling and analysis plan if it determines that the sampling and analysis plan fails to include the information required by this subsection (a)(2)(D)(ii) or that the plan parameters would not enable the facility to calculate the weekly average concentration of these chemicals accurately. If the Agency rejects the sampling and analysis plan, or if the Agency determines that the facility is not following the sampling and analysis plan, the Agency must notify the facility to cease the use of the direct monitoring option until such time as the bases for rejection are corrected;

iii) It is one of the following wastes listed in Section 721.132, provided that the wastes are discharged to the refinery oil recovery sewer before primary oil/water/solids separation: heat exchanger bundle cleaning sludge from the petroleum refining industry (USEPA hazardous waste number K050), crude oil storage tank sediment from petroleum refining operations (USEPA hazardous waste number K169), clarified slurry oil tank sediment or in-line filter/separation solids from petroleum refining operations (USEPA hazardous waste number K170), spent hydrotreating catalyst (USEPA hazardous waste number K171), and spent hydrorefining catalyst (USEPA hazardous waste number K172);

iv) It is a discarded hazardous waste, commercial chemical product or chemical intermediate listed in Section 721.121, 721.132, or 721.133 arising from de minimis losses of these materials. For purposes of this subsection (a)(2)(D)(iv), “de minimis” losses are inadvertent releases to a wastewater treatment system, including those from normal material handling operations (e.g., spills from the unloading or transfer of materials from bins or other containers, leaks from pipes, valves, or other devices used to transfer materials); minor leaks of process equipment, storage tanks, or containers; leaks from well-maintained pump packings and seals; sample purgings; relief device discharges; discharges from safety showers and rinsing and cleaning of personal safety equipment; and rinsate from empty containers or from containers that are rendered empty by that rinsing. Any manufacturing facility that claims an exemption for de minimisquantities of a waste listed in Section 721.131 or 721.132, or any nonmanufacturing facility that claims an exemption for de minimisquantities of wastes listed in Subpart D, must either have eliminated the discharge of wastewaters or have included in its federal Clean Water Act (33 USC 1251 et seq.) permit application or wastewater pretreatment submission to the Agency or the wastewater pretreatment Control Authority pursuant to 35 Ill. Adm. Code 307 of the constituents for which each waste was listed (in Appendix G); and the constituents in Table T to 35 Ill. Adm. Code 728 for which each waste has a treatment standard (*i.e.*, land disposal restriction constituents). A facility is eligible to claim the exemption once the Agency or Control Authority has been notified of possible de minimisreleases via the Clean Water Act permit application or the wastewater pretreatment submission. A copy of the Clean Water Act permit application or the wastewater pretreatment submission must be placed in the facility’s on-site files;

v) It is wastewater resulting from laboratory operations containing toxic (T) wastes listed in Subpart D, provided that the annualized average flow of laboratory wastewater does not exceed one percent of total wastewater flow into the headworks of the facility’s wastewater treatment or pretreatment system or provided that the wastes’ combined annualized average concentration does not exceed one part per million in the headworks of the facility’s wastewater treatment or pretreatment facility. Toxic (T) wastes used in laboratories that are demonstrated not to be discharged to wastewater are not to be included in this calculation;

vi) It is one or more of the following wastes listed in Section 721.132: wastewaters from the production of carbamates and carbamoyl oximes (USEPA hazardous waste number K157), provided that the maximum weekly usage of formaldehyde, methyl chloride, methylene chloride, and triethylamine (including all amounts that cannot be demonstrated to be reacted in the process, destroyed through treatment, or recovered, i.e., what is discharged or volatilized) divided by the average weekly flow of process wastewater prior to any dilutions into the headworks of the facility’s wastewater treatment system does not exceed a total of 5 parts per million by weight, or the total measured concentration of these chemicals entering the headworks of the facility’s wastewater treatment system (at a facility that is subject to regulation under the federal Clean Air Act new source performance standards or national emission standards for hazardous air pollutants of 40 CFR 60, 61, or 63 or at a facility that is subject to an enforceable limit in a federal operating permit that minimizes fugitive emissions) does not exceed 5 parts per million on an average weekly basis. A facility that chooses to measure concentration levels must file a copy of its sampling and analysis plan with the Agency. A facility must file a copy of a revised sampling and analysis plan only if the initial plan is rendered inaccurate by changes in the facility’s operations. The sampling and analysis plan must include the monitoring point location (headworks), the sampling frequency and methodology, and a list of constituents to be monitored. A facility is eligible for the direct monitoring option once it receives confirmation that the sampling and analysis plan has been received by the Agency. The Agency must reject the sampling and analysis plan if it determines that the sampling and analysis plan fails to include the information required by this subsection (a)(2)(D)(vi) or that the plan parameters would not enable the facility to calculate the weekly average concentration of these chemicals accurately. If the Agency rejects the sampling and analysis plan, or if the Agency determines that the facility is not following the sampling and analysis plan, the Agency must notify the facility to cease the use of the direct monitoring option until such time as the bases for rejection are corrected; or

vii) It is wastewater derived from the treatment of one or more of the following wastes listed in Section 721.132: organic waste (including heavy ends, still bottoms, light ends, spent solvents, filtrates, and decantates) from the production of carbamates and carbamoyl oximes (USEPA hazardous waste number K156), provided that the maximum concentration of formaldehyde, methyl chloride, methylene chloride, and triethylamine prior to any dilutions into the headworks of the facility’s wastewater treatment system does not exceed a total of 5 milligrams per liter, or the total measured concentration of these chemicals entering the headworks of the facility’s wastewater treatment system (at a facility that is subject to regulation under the federal Clean Air Act new source performance standards or national emission standards for hazardous air pollutants of 40 CFR 60, 61, or 63 or at a facility that is subject to an enforceable limit in a federal operating permit that minimizes fugitive emissions) does not exceed 5 milligrams per liter on an average weekly basis. A facility that chooses to measure concentration levels must file a copy of its sampling and analysis plan with the Agency. A facility must file a copy of a revised sampling and analysis plan only if the initial plan is rendered inaccurate by changes in the facility’s operations. The sampling and analysis plan must include the monitoring point location (headworks), the sampling frequency and methodology, and a list of constituents to be monitored. A facility is eligible for the direct monitoring option once it receives confirmation that the sampling and analysis plan has been received by the Agency. The Agency must reject the sampling and analysis plan if it determines that the sampling and analysis plan fails to include the information required by this subsection (a)(2)(D)(vii) or that the plan parameters would not enable the facility to calculate the weekly average concentration of these chemicals accurately. If the Agency rejects the sampling and analysis plan, or if the Agency determines that the facility is not following the sampling and analysis plan, the Agency must notify the facility to cease the use of the direct monitoring option until such time as the bases for rejection are corrected.

E) Rebuttable presumption for used oil. Used oil containing more than 1,000 ppm total halogens is presumed to be a hazardous waste because it has been mixed with halogenated hazardous waste listed in Subpart D. Persons may rebut this presumption by demonstrating that the used oil does not contain hazardous waste (for example, to show that the used oil does not contain significant concentrations of halogenated hazardous constituents listed in Appendix H).

i) The rebuttable presumption does not apply to a metalworking oil or fluid containing chlorinated paraffins if it is processed through a tolling arrangement, as described in 35 Ill. Adm. Code 739.124(c), to reclaim metalworking oils or fluids. The presumption does apply to a metalworking oil or fluid if such an oil or fluid is recycled in any other manner, or disposed of.

ii) The rebuttable presumption does not apply to a used oil contaminated with chlorofluorocarbons (CFCs) removed from refrigeration units where the CFCs are destined for reclamation. The rebuttable presumption does apply to a used oil contaminated with CFCs that have been mixed with used oil from a source other than a refrigeration unit.

b) A solid waste that is not excluded from regulation pursuant to subsection (a)(1) becomes a hazardous waste when any of the following events occur:

1) In the case of a waste listed in Subpart D, when the waste first meets the listing description set forth in Subpart D.

2) In the case of a mixture of solid waste and one or more listed hazardous wastes, when a hazardous waste listed in Subpart D is first added to the solid waste.

3) In the case of any other waste (including a waste mixture), when the waste exhibits any of the characteristics identified in Subpart C.

c) Unless and until it meets the criteria of subsection (e), a hazardous waste will remain a hazardous waste.

BOARD NOTE: This subsection (c) corresponds with 40 CFR 261.3(c)(1) (2017). The Board has codified 40 CFR 261.3(c)(2) at subsection (e).

d) Any solid waste described in subsection (e) is not a hazardous waste if it meets the following criteria:

1) In the case of any solid waste, it does not exhibit any of the characteristics of hazardous waste identified in Subpart C. (However, wastes that exhibit a characteristic at the point of generation may still be subject to 35 Ill. Adm. Code 728, even if they no longer exhibit a characteristic at the point of land disposal.)

2) In the case of a waste that is a listed waste pursuant to Subpart D, a waste that contains a waste listed pursuant to Subpart D, or a waste that is derived from a waste listed in Subpart D, it also has been excluded from subsection (e) pursuant to 35 Ill. Adm. Code 720.120 and 720.122.

e) Specific Inclusions and Exclusions

1) Except as otherwise provided in subsection (e)(2), (g), or (h), any solid waste generated from the treatment, storage, or disposal of a hazardous waste, including any sludge, spill residue, ash, emission control dust, or leachate (but not including precipitation run-off), is a hazardous waste. (However, materials that are reclaimed from solid wastes and that are used beneficially are not solid wastes and hence are not hazardous wastes under this provision unless the reclaimed material is burned for energy recovery or used in a manner constituting disposal.)

2) The following solid wastes are not hazardous even though they are generated from the treatment, storage, or disposal of a hazardous waste, unless they exhibit one or more of the characteristics of hazardous waste:

A) Waste pickle liquor sludge generated by lime stabilization of spent pickle liquor from the iron and steel industry (SIC Codes 331 and 332).

B) Wastes from burning any of the materials exempted from regulation by Section 721.106(a)(3)(C) and (a)(3)(D).

C) Nonwastewater residues, such as slag, resulting from high temperature metal recovery (HTMR) processing of K061, K062, or F006 waste in the units identified in this subsection (e)(2) that are disposed of in non-hazardous waste units, provided that these residues meet the generic exclusion levels identified in the tables in this subsection (e)(2)(C) for all constituents and the residues exhibit no characteristics of hazardous waste. The types of units identified are rotary kilns, flame reactors, electric furnaces, plasma arc furnaces, slag reactors, rotary hearth furnace/electric furnace combinations, or the following types of industrial furnaces (as defined in 35 Ill. Adm. Code 720.110): blast furnaces; smelting, melting, and refining furnaces (including pyrometallurgical devices such as cupolas, reverberator furnaces, sintering machines, roasters, and foundry furnaces); and other furnaces designated by the Agency pursuant to that definition.

i) Testing requirements must be incorporated in a facility’s waste analysis plan or a generator’s self-implementing waste analysis plan; at a minimum, composite samples of residues must be collected and analyzed quarterly and when the process or operation generating the waste changes.

ii) Persons claiming this exclusion in an enforcement action will have the burden of proving by clear and convincing evidence that the material meets all of the exclusion requirements. The generic exclusion levels are the following:

Generic exclusion levels for K061 and K062 nonwastewater HTMR residues:

|  |  |
| --- | --- |
| Constituent | Maximum for any single composite sample (mg/ℓ) |
| Antimony | 0.10 |
| Arsenic | 0.50 |
| Barium | 7.6 |
| Beryllium | 0.010 |
| Cadmium | 0.050 |
| Chromium (total) | 0.33 |
| Lead | 0.15 |
| Mercury | 0.009 |
| Nickel | 1.0 |
| Selenium | 0.16 |
| Silver | 0.30 |
| Thallium | 0.020 |
| Vanadium | 1.26 |
| Zinc | 70 |

Generic exclusion levels for F006 nonwastewater HTMR residues:

|  |  |
| --- | --- |
| Constituent | Maximum for any single composite sample (mg/ℓ) |
| Antimony | 0.10 |
| Arsenic | 0.50 |
| Barium | 7.6 |
| Beryllium | 0.010 |
| Cadmium | 0.050 |
| Chromium (total) | 0.33 |
| Cyanide (total) (mg/kg) | 1.8 |
| Lead | 0.15 |
| Mercury | 0.009 |
| Nickel | 1.0 |
| Selenium | 0.16 |
| Silver | 0.30 |
| Thallium | 0.020 |
| Zinc | 70 |

iii) A one-time notification and certification must be placed in the facility’s files and sent to the Agency (or, for out-of-State shipments, to the appropriate Regional Administrator of USEPA or the state agency authorized to implement federal 40 CFR 268 requirements) for K061, K062, or F006 HTMR residues that meet the generic exclusion levels for all constituents, which do not exhibit any characteristics, and which are sent to RCRA Subtitle D (municipal solid waste landfill) units. The notification and certification that is placed in the generator’s or treater’s files must be updated if the process or operation generating the waste changes or if the RCRA Subtitle D unit receiving the waste changes. However, the generator or treater need only notify the Agency on an annual basis if such changes occur. Such notification and certification should be sent to the Agency by the end of the calendar year, but no later than December 31. The notification must include the following information: the name and address of the non-hazardous waste management unit receiving the waste shipment; the USEPA hazardous waste number and treatability group at the initial point of generation; and the treatment standards applicable to the waste at the initial point of generation. The certification must be signed by an authorized representative and must state as follows:

“I certify under penalty of law that the generic exclusion levels for all constituents have been met without impermissible dilution and that no characteristic of hazardous waste is exhibited. I am aware that there are significant penalties for submitting a false certification, including the possibility of fine and imprisonment.”

D) Biological treatment sludge from the treatment of one of the following wastes listed in Section 721.132: organic waste (including heavy ends, still bottoms, light ends, spent solvents, filtrates, and decantates) from the production of carbamates and carbamoyl oximes (USEPA hazardous waste number K156) and wastewaters from the production of carbamates and carbamoyl oximes (USEPA hazardous waste number K157).

E) Catalyst inert support media separated from one of the following wastes listed in Section 721.132: spent hydrotreating catalyst (USEPA hazardous waste number K171) and spent hydrorefining catalyst (USEPA hazardous waste number K172).

BOARD NOTE: This subsection (e) would normally correspond with 40 CFR 261.3(e), a subsection that has been deleted and marked “reserved” by USEPA. Rather, this subsection (e) corresponds with 40 CFR 261.3(c)(2), which the Board codified here to comport with codification requirements and to enhance clarity.

f) Notwithstanding subsections (a) through (e) and provided the debris, as defined in 35 Ill. Adm. Code 728.102, does not exhibit a characteristic identified at Subpart C, the following materials are not subject to regulation under 35 Ill. Adm. Code 702, 703, 720, 721 to 726, or 728:

1) Hazardous debris as defined in 35 Ill. Adm. Code 728.102 that has been treated using one of the required extraction or destruction technologies specified in Table F to 35 Ill. Adm. Code 728; persons claiming this exclusion in an enforcement action will have the burden of proving by clear and convincing evidence that the material meets all of the exclusion requirements; or

2) Debris, as defined in 35 Ill. Adm. Code 728.102, that the Agency, considering the extent of contamination, has determined is no longer contaminated with hazardous waste.

g) Exclusion of certain wastes listed in Subpart D solely because they exhibit a characteristic of ignitability, corrosivity, or reactivity.

1) A hazardous waste that is listed in Subpart D solely because it exhibits one or more characteristics of ignitability, as defined under Section 721.121; corrosivity, as defined under Section 721.122; or reactivity, as defined under Section 721.123 is not a hazardous waste if the waste no longer exhibits any characteristic of hazardous waste identified in Subpart C.

2) The exclusion described in subsection (g)(1) also pertains to the following:

A) Any mixture of a solid waste and a hazardous waste listed in Subpart D solely because it exhibits the characteristics of ignitability, corrosivity, or reactivity, as regulated under subsection (a)(2)(D); and

B) Any solid waste generated from treating, storing, or disposing of a hazardous waste listed in Subpart D solely because it exhibits the characteristics of ignitability, corrosivity, or reactivity, as regulated under subsection (e)(1).

3) Wastes excluded pursuant to this subsection (g) are subject to 35 Ill. Adm. Code 728 (as applicable), even if they no longer exhibit a characteristic at the point of land disposal.

4) Any mixture of a solid waste excluded from regulation in Section 721.104(b)(7) and a hazardous waste listed in Subpart D solely because the listed hazardous waste exhibits one or more of the characteristics of ignitability, corrosivity, or reactivity, as regulated under subsection (a)(2)(D), is not a hazardous waste if the mixture no longer exhibits any characteristic of hazardous waste identified in Subpart C for which USEPA listed the hazardous waste listed in Subpart D.

h) Eligible Radioactive Mixed Waste

1) Hazardous waste containing radioactive waste is no longer a hazardous waste when it meets the eligibility criteria and conditions of Subpart N of 35 Ill. Adm. Code 726 (i.e., it is “eligible radioactive mixed waste”).

2) The exemption described in subsection (h)(1) also pertains to the following:

A) Any mixture of a solid waste and an eligible radioactive mixed waste; and

B) Any solid waste generated from treating, storing, or disposing of an eligible radioactive mixed waste.

3) Waste exempted pursuant to this subsection (h) must meet the eligibility criteria and specified conditions in 35 Ill. Adm. Code 726.325 and 726.330 (for storage and treatment) and in 35 Ill. Adm. Code 726.410 and 726.415 (for transportation and disposal). Waste that fails to satisfy these eligibility criteria and conditions is regulated as hazardous waste.

(Source: Amended at 42 Ill. Reg. 21673, effective November 19, 2018)

**Section 721.104 Exclusions**

a) Materials That Are Not Solid Wastes. The following materials are not solid wastes for this Part:

1) Sewage.

A) Domestic sewage (untreated sanitary wastes that pass through a sewer system); and

B) Any mixture of domestic sewage and other waste that passes through a sewer system to publicly-owned treatment works for treatment, except as prohibited by 35 Ill. Adm. Code 726.605 and 40 CFR 403.5(b), incorporated by reference in 35 Ill. Adm. Code 720.111.

2) Industrial wastewater discharges that are point source discharges with NPDES permits issued by the Agency under Section 12(f) of the Act and 35 Ill. Adm. Code 309.

BOARD NOTE: This exclusion applies only to the actual point source discharge. It does not exclude industrial wastewaters while they are being collected, stored, or treated before discharge, nor does it exclude sludges that are generated by industrial wastewater treatment.

3) Irrigation return flows.

4) Source, by-product, or special nuclear material, as defined by Section 11 of the Atomic Energy Act of 1954, as amended (42 USC 2014), incorporated by reference in 35 Ill. Adm. Code 720.111(b).

5) Materials subjected to in-situ mining techniques that are not removed from the ground as part of the extraction process.

6) Pulping liquors (i.e., black liquors) that are reclaimed in a pulping liquor recovery furnace and then reused in the pulping process, unless it is accumulated speculatively, as defined in Section 721.101(c).

7) Spent sulfuric acid used to produce virgin sulfuric acid, provided it is not accumulated speculatively, as defined in Section 721.101(c).

8) Secondary materials that are reclaimed and returned to the original process or processes in which they were generated, if they are reused in the production process, provided that the following is true:

A) Only tank storage is involved, and the entire process through completing reclamation is closed by being entirely connected with pipes or other comparable enclosed means of conveyance;

B) Reclamation does not involve controlled flame combustion (like that occurring in boilers, industrial furnaces, or incinerators);

C) The secondary materials are never accumulated in tanks for over 12 months without being reclaimed; and

D) The reclaimed material is not used to produce a fuel or used to produce products that are used in a manner constituting disposal.

9) Wood preserving wastes.

A) Spent wood preserving solutions that have been used and that are reclaimed and reused for their original intended purpose;

B) Wastewaters from the wood preserving process that have been reclaimed and that are reused to treat wood; and

C) Prior to reuse, the wood preserving wastewaters and spent wood preserving solutions described in subsections (a)(9)(A) and (a)(9)(B), so long as they meet the following conditions:

i) The wood preserving wastewaters and spent wood preserving solutions are reused on-site at water-borne plants in the production process for their original intended purpose;

ii) Prior to reuse, the wastewaters and spent wood preserving solutions are managed to prevent release to either land or groundwater or both;

iii) Any unit used to manage wastewaters or spent wood preserving solutions prior to reuse can be visually or otherwise determined to prevent such releases;

iv) Any drip pad used to manage the wastewaters or spent wood preserving solutions prior to reuse complies with the standards in Subpart W of 35 Ill. Adm. Code 725, regardless of whether the plant generates a total of less than 100 kg/month of hazardous waste; and

v) Prior to operating under this exclusion, the plant owner or operator prepares a one-time notification to the Agency stating that the plant intends to claim the exclusion, giving the date on which the plant intends to begin operating under the exclusion, and containing the following language: “I have read the applicable regulation establishing an exclusion for wood preserving wastewaters and spent wood preserving solutions and understand it requires me to comply at all times with the conditions set out in the regulation.” The plant must maintain a copy of that document in its on-site records until closure of the facility. The exclusion applies only so long as the plant meets the conditions under subsection (a)(9)(C). If the plant does not comply with any condition, it may apply to the Agency for reinstatement of the exclusion. The Agency must reinstate the exclusion in writing if it finds that the plant has returned to complying with all conditions and that the violations are not likely to recur. If the Agency denies an application, it must transmit to the applicant specific, detailed statements in writing as to the reasons it denied the application. The applicant under this subsection (a)(9)(C)(v) may appeal the Agency’s determination to deny the reinstatement, grant the reinstatement with conditions, or terminate a reinstatement before the Board under Section 40 of the Act.

10) USEPA hazardous waste numbers K060, K087, K141, K142, K143, K144, K145, K147, and K148, and any wastes from the coke by-products processes that are hazardous only because they exhibit the toxicity characteristic specified in Section 721.124, when subsequent to generation these materials are recycled to coke ovens, to the tar recovery process as a feedstock to produce coal tar, or are mixed with coal tar prior to the tar’s sale or refining. This exclusion is conditioned on there being no land disposal of the waste from the point it is generated to the point it is recycled to coke ovens, to tar recovery, to the tar refining processes, or prior to when it is mixed with coal.

11) Nonwastewater splash condenser dross residue from the treatment of USEPA hazardous waste number K061 in high temperature metals recovery units, provided it is shipped in drums (if shipped) and not land disposed before recovery.

12) Certain oil-bearing hazardous secondary materials and recovered oil, as follows:

A) Oil-bearing hazardous secondary materials (i.e., sludges, by-products, or spent materials) that are generated at a petroleum refinery (standard industrial classification (SIC) code 2911) and are inserted into the petroleum refining process (SIC code 2911: including, distillation, catalytic cracking, fractionation, or thermal cracking units (i.e., cokers)), unless the material is placed on the land, or speculatively accumulated before being so recycled. Materials inserted into thermal cracking units are excluded under this subsection (a)(12), if the coke product also does not exhibit a characteristic of hazardous waste. Oil-bearing hazardous secondary materials may be inserted into the same petroleum refinery where they are generated or sent directly to another petroleum refinery and still be excluded under this provision. Except as provided in subsection (a)(12)(B), oil-bearing hazardous secondary materials generated elsewhere in the petroleum industry (i.e., from sources other than petroleum refineries) are not excluded under this Section. Residuals generated from processing or recycling materials excluded under this subsection (a)(12)(A), if the materials as generated would have otherwise met a listing under Subpart D, are designated as USEPA hazardous waste number F037 listed wastes when disposed of or intended for disposal.

B) Recovered oil that is recycled in the same manner and with the same conditions as described in subsection (a)(12)(A). Recovered oil is oil that has been reclaimed from secondary materials (including wastewater) generated from normal petroleum industry practices, including refining, exploration and production, bulk storage, and transportation incident (SIC codes 1311, 1321, 1381, 1382, 1389, 2911, 4612, 4613, 4922, 4923, 4789, 5171, and 5172). Recovered oil does not include oil-bearing hazardous wastes listed in Subpart D; however, oil recovered from such wastes may be considered recovered oil. Recovered oil does not include used oil, as defined in 35 Ill. Adm. Code 739.100.

13) Excluded scrap metal (processed scrap metal, unprocessed home scrap metal, and unprocessed prompt scrap metal) being recycled.

14) Shredded circuit boards being recycled if they meet the following conditions:

A) The circuit boards are stored in containers sufficient to prevent a release to the environment prior to recovery; and

B) The circuit boards are free of mercury switches, mercury relays, nickel-cadmium batteries, and lithium batteries.

15) Condensates derived from the overhead gases from kraft mill steam strippers that are used to comply with federal Clean Air Act regulation 40 CFR 63.446(e). The exemption applies only to combustion at the mill generating the condensates.

16) This subsection (a)(16) corresponds with 40 CFR 261.4(a)(16), marked “reserved” by USEPA. This statement maintains structural consistency with the federal regulations.

17) Spent materials (as defined in Section 721.101) (other than hazardous wastes listed in Subpart D) generated within the primary mineral processing industry from which minerals, acids, cyanide, water, or other values are recovered by mineral processing or by beneficiation, if :

A) The spent material is legitimately recycled to recover minerals, acids, cyanide, water, or other values;

B) The spent material is not accumulated speculatively;

C) Except as provided in subsection (a)(17)(D), the spent material is stored in tanks, containers, or buildings that meet the following minimum integrity standards: a building must be an engineered structure with a floor, walls, and a roof that are made of non-earthen materials providing structural support (except that smelter buildings may have partially earthen floors if the spent material is stored on the non-earthen portion), and have a roof suitable for diverting rainwater away from the foundation; a tank must be free standing, not be a surface impoundment (as defined in 35 Ill. Adm. Code 720.110), and be manufactured of a material suitable for containment of its contents; a container must be free standing and be manufactured of a material suitable for containment of its contents. If a tank or container contains any particulate that may be subject to wind dispersal, the owner or operator must operate the unit in a manner that controls fugitive dust. A tank, container, or building must be designed, constructed, and operated to prevent significant releases to the environment of these materials.

D) The Agency must allow by permit in writing that solid mineral processing spent materials only may be placed on pads, rather than in tanks, containers, or buildings if the facility owner or operator can demonstrate the following: the solid mineral processing secondary materials do not contain any free liquid; the pads are designed, constructed, and operated to prevent significant releases of the spent material into the environment; and the pads provide the same degree of containment afforded by the non-RCRA tanks, containers, and buildings eligible for exclusion.

i) The Agency must also consider whether storage on pads poses the potential for significant releases via groundwater, surface water, and air exposure pathways. Factors to be considered for assessing the groundwater, surface water, and air exposure pathways must include the following:  the volume and physical and chemical properties of the spent material, including its potential for migration off the pad; the potential for human or environmental exposure to hazardous constituents migrating from the pad via each exposure pathway; and the possibility and extent of harm to human and environmental receptors via each exposure pathway.

ii) Pads must meet the following minimum standards: they must be designed of non-earthen material that is compatible with the chemical nature of the mineral processing spent material; they must be capable of withstanding physical stresses associated with placement and removal; they must have run-on and run-off controls; they must be operated in a manner that controls fugitive dust; and they must have integrity assurance through inspections and maintenance programs.

iii) Before making a determination under this subsection (a)(17)(D), the Agency must provide notice and the opportunity for comment to all persons potentially interested in the determination. This can be accomplished by placing notice of this action in major local newspapers, or broadcasting notice over local radio stations.

BOARD NOTE: See Subpart D of 35 Ill. Adm. Code 703 for the RCRA Subtitle C permit public notice requirements.

E) The owner or operator provides a notice to the Agency, providing the following information: the types of materials to be recycled, the type and location of the storage units and recycling processes, and the annual quantities expected to be placed in land-based units. This notification must be updated when there is a change in the type of materials recycled or the location of the recycling process.

F) For subsection (b)(7), mineral processing spent materials must be the result of mineral processing and may not include any listed hazardous wastes. Listed hazardous wastes and characteristic hazardous wastes generated by non-mineral processing industries are not eligible for the conditional exclusion from the definition of solid waste.

18) Petrochemical recovered oil from an associated organic chemical manufacturing facility, if the oil is to be inserted into the petroleum refining process (SIC code 2911) along with normal petroleum refinery process streams, if:

A) The oil is hazardous only because it exhibits the characteristic of ignitability (as defined in Section 721.121) or toxicity for benzene (Section 721.124, USEPA hazardous waste number D018); and

B) The oil generated by the organic chemical manufacturing facility is not placed on the land, or speculatively accumulated before being recycled into the petroleum refining process. An “associated organic chemical manufacturing facility” is a facility for which the: primary SIC code is 2869, but its operations may also include SIC codes 2821, 2822, and 2865; it is physically co-located with a petroleum refinery; and the petroleum refinery to which the oil being recycled is returned also provides hydrocarbon feedstocks to the organic chemical manufacturing facility. “Petrochemical recovered oil” is oil that has been reclaimed from secondary materials (i.e., sludges, by-products, or spent materials, including wastewater) from normal organic chemical manufacturing operations, as well as oil recovered from organic chemical manufacturing processes.

19) Spent caustic solutions from petroleum refining liquid treating processes used as a feedstock to produce cresylic or naphthenic acid, unless the material is placed on the land or accumulated speculatively, as defined in Section 721.101(c).

20) Hazardous secondary materials used to make zinc fertilizers, if that the following conditions are met:

A) Hazardous secondary materials used to make zinc micronutrient fertilizers must not be accumulated speculatively, as defined in Section 721.101(c)(8).

B) A generator or intermediate handler of zinc-bearing hazardous secondary materials that are to be incorporated into zinc fertilizers must:

i) Submit a one-time notice to the Agency that contains the name, address, and USEPA identification number of the generator or intermediate handler facility, that provides a brief description of the secondary material that will be subject to the exclusion, and that identifies when the manufacturer intends to begin managing excluded zinc-bearing hazardous secondary materials under the conditions specified in this subsection (a)(20).

ii) Store the excluded secondary material in tanks, containers, or buildings that are constructed and maintained in a way that prevents releases of the secondary materials into the environment. At a minimum, any building used for this purpose must be an engineered structure made of non-earthen materials that provide structural support, and it must have a floor, walls, and a roof that prevent wind dispersal and contact with rainwater. A tank used for this purpose must be structurally sound and, if outdoors, it must have a roof or cover that prevents contact with wind and rain. A container used for this purpose must be kept closed, except when it is necessary to add or remove material, and it must be in sound condition. Containers that are stored outdoors must be managed within storage areas that meet the conditions of subsection (a)(20)(F).

iii) With each off-site shipment of excluded hazardous secondary materials, provide written notice to the receiving facility that the material is subject to the conditions of this subsection (a)(20).

iv) Maintain records at the generator’s or intermediate handler’s facility, for at least three years, of all shipments of excluded hazardous secondary materials. For each shipment these records must, at a minimum, contain the information specified in subsection (a)(20)(G).

C) A manufacturer of zinc fertilizers or zinc fertilizer ingredients made from excluded hazardous secondary materials must:

i) Store excluded hazardous secondary materials in compliance with the storage requirements for generators and intermediate handlers, as specified in subsection (a)(20)(B)(ii).

ii) Submit a one-time notification to the Agency that, at a minimum, specifies the name, address, and USEPA identification number of the manufacturing facility and that identifies when the manufacturer intends to begin managing excluded zinc-bearing hazardous secondary materials under the conditions specified in this subsection (a)(20).

iii) Maintain for a minimum of three years records of all shipments of excluded hazardous secondary materials received by the manufacturer, which must at a minimum identify for each shipment the name and address of the generating facility, the name of transporter, and the date on which the materials were received, the quantity received, and a brief description of the industrial process that generated the material.

iv) Submit an annual report to the Agency that identifies the total quantities of all excluded hazardous secondary materials that were used to manufacture zinc fertilizers or zinc fertilizer ingredients in the previous year, the name and address of each generating facility, and the industrial processes from which the hazardous secondary materials were generated.

D) Nothing in this Section preempts, overrides, or otherwise negates the provision in 35 Ill. Adm. Code 722.111 that requires any person who generates a solid waste to determine if that waste is a hazardous waste.

E) Interim status and permitted storage units that have been used to store only zinc-bearing hazardous wastes prior to submitting the one-time notice described in subsection (a)(20)(B)(i), and that afterward will be used only to store hazardous secondary materials excluded under this subsection (a)(20), are not subject to the closure requirements of 35 Ill. Adm. Code 724 and 725.

F) Storage areas where containers are stored outdoors under subsection (a)(20)(B)(ii), must:

i) Have containment structures or systems sufficiently impervious to contain leaks, spills, and accumulated precipitation;

ii) Provide for effective drainage and removal of leaks, spills, and accumulated precipitation; and

iii) Prevent run-on into the containment system.

BOARD NOTE: Subsections (a)(20)(F)(i) through (a)(20)(F)(iii) are derived from 40 CFR 261.4(a)(20)(ii)(B)(1) through (a)(20)(ii)(B)(3). The Board added the preamble to these federal paragraphs as subsection (a)(20)(F) to comport with Illinois Administrative Code codification requirements.

G) Required records of shipments of excluded hazardous secondary materials under subsection (a)(20)(B)(iv) must, at a minimum, contain the following information:

i) The name of the transporter and date of the shipment;

ii) The name and address of the facility that received the excluded material, along with documentation confirming receipt of the shipment; and

iii) The type and quantity of excluded secondary material in each shipment.

BOARD NOTE: Subsections (a)(20)(G)(i) through (a)(20)(G)(iii) are derived from 40 CFR 261.4(a)(20)(ii)(D)(1) through (a)(20)(ii)(D)(3). The Board added the preamble to these federal paragraphs as subsection (a)(20)(G) to comport with Illinois Administrative Code codification requirements.

21) Zinc fertilizers made from hazardous wastes or hazardous secondary materials that are excluded under subsection (a)(20), if:

A) The fertilizers meet the following contaminant limits:

i) For metal contaminants:

|  |  |
| --- | --- |
| Constituent | Maximum Allowable Total Concentration in Fertilizer, per Unit (1%) of Zinc (ppm) |
| Arsenic | 0.3 |
| Cadmium | 1.4 |
| Chromium | 0.6 |
| Lead | 2.8 |
| Mercury | 0.3 |

ii) For dioxin contaminants, the fertilizer must contain no more than eight parts per trillion of dioxin, measured as toxic equivalent (TEQ).

B) The manufacturer performs sampling and analysis of the fertilizer product to determine compliance with the contaminant limits for metals at least once every six months, and for dioxins at least once every 12 months. Testing must also be performed whenever changes occur to manufacturing processes or ingredients that could significantly affect the amounts of contaminants in the fertilizer product. The manufacturer may use any reliable analytical method to demonstrate that a constituent of concern is not present in the product at concentrations above the applicable limits. It is the responsibility of the manufacturer to ensure that the sampling and analysis are unbiased, precise, and representative of the products introduced into commerce.

C) The manufacturer maintains, for at least three years, records of all sampling and analyses performed for determining compliance with subsection (a)(21)(B). The records must at a minimum include the following:

i) The dates and times product samples were taken, and the dates the samples were analyzed;

ii) The names and qualifications of the persons taking the samples;

iii) A description of the methods and equipment used to take the samples;

iv) The name and address of the laboratory facility at which analyses of the samples were performed;

v) A description of the analytical methods used, including any cleanup and sample preparation methods; and

vi) All laboratory analytical results used to determine compliance with the contaminant limits specified in this subsection (a)(21).

22) Used CRTs

A) Used, intact CRTs, as defined in 35 Ill. Adm. Code 720.110, are not solid waste within the United States, unless they are disposed of or speculatively accumulated, as defined in Section 721.101(c)(8), by a CRT collector or glass processor.

B) Used, intact CRTs, as defined in 35 Ill. Adm. Code 720.110, are not solid waste when exported for recycling if they comply with Section 721.140.

C) Used, broken CRTs, as defined in 35 Ill. Adm. Code 720.110, are not solid waste if they comply with the requirements of Section 721.139.

D) Glass removed from CRTs is not a solid waste if it complies with the requirements of Section 721.139(c).

23) Hazardous Secondary Materials Reclaimed under the Control of the Generator. Hazardous secondary material generated and legitimately reclaimed within the United States or its territories and under the control of the generator, if the material complies with subsections (a)(23)(A) and (a)(23)(B):

A) Excluded Hazardous Secondary Materials

i) The hazardous secondary material is generated and reclaimed at the generating facility. (For this subsection (a)(23)(A)(i), “generating facility” means all contiguous property owned, leased, or otherwise controlled by the hazardous secondary material generator.);

ii) The hazardous secondary material is generated and reclaimed at different facilities, if the reclaiming facility is controlled by the generator or if both the generating facility and the reclaiming facility are controlled by a person as defined in 35 Ill. Adm. Code 720.110, and if the generator provides one of the following certifications:

“On behalf of [insert generator facility name], I certify that this facility will send the indicated hazardous secondary material to [insert reclaimer facility name], which is controlled by [insert generator facility name] and that [insert name of either facility] has acknowledged full responsibility for the safe management of the hazardous secondary material.”

or

“On behalf of [insert generator facility name], I certify that this facility will send the indicated hazardous secondary material to [insert reclaimer facility name], that both facilities are under common control, and that [insert name of either facility] has acknowledged full responsibility for the safe management of the hazardous secondary material.”

For subsection (a)(23)(A)(ii), “control” means the power to direct the policies of the facility, whether by the ownership of stock, voting rights, or otherwise, except that contractors who operate facilities on behalf of a different person, as defined in 35 Ill. Adm. Code 720.110, cannot be deemed to “control” such facilities. The generating and receiving facilities must both maintain at their facilities, for no less than three years, records of hazardous secondary materials sent or received under this exclusion. In both cases, the records must contain the name of the transporter, the date of the shipment, and the type and quantity of the hazardous secondary material shipped or received under the exclusion. These requirements may be satisfied by routine business records (e.g., financial records, bills of lading, copies of USDOT shipping papers, or electronic confirmations); or

iii) The hazardous secondary material is generated under a written contract between a tolling contractor and a toll manufacturer and is reclaimed by the tolling contractor, if the tolling contractor certifies as follows:

“On behalf of [insert tolling contractor name], I certify that [insert tolling contractor name] has a written contract with [insert toll manufacturer name] to manufacture [insert name of product or intermediate] which is made from specified unused materials, and that [insert tolling contractor name] will reclaim the hazardous secondary materials generated during this manufacture. On behalf of [insert tolling contractor name], I also certify that [insert tolling contractor name] retains ownership of, and responsibility for, the hazardous secondary materials that are generated during the course of the manufacture, including any releases of hazardous secondary materials that occur during the manufacturing process.”

The tolling contractor must maintain at its facility, for at least three years, records of hazardous secondary materials received under its written contract with the tolling manufacturer, and the tolling manufacturer must maintain at its facility, for no less than three years, records of hazardous secondary materials shipped under its written contract with the tolling contractor. In both cases, the records must contain the name of the transporter, the date of the shipment, and the type and quantity of the hazardous secondary material shipped or received under the written contract. These requirements may be satisfied by routine business records (e.g., financial records, bills of lading, copies of USDOT shipping papers, or electronic confirmations). For this subsection (a)(23)(A)(ii), “tolling contractor” means a person who arranges for producing a product or intermediate made from specified unused materials through a written contract with a toll manufacturer. “Toll manufacturer” means a person who produces a product or intermediate made from specified unused materials under a written contract with a tolling contractor.

B) Management of Hazardous Secondary Materials

i) The hazardous secondary material is contained, as defined in 35 Ill. Adm. Code 720.110. A hazardous secondary material released to the environment is discarded material and a solid waste unless it is immediately recovered for reclamation. Hazardous secondary material managed in a unit with leaks or other continuing or intermittent unpermitted releases is discarded material and a solid waste;

ii) The hazardous secondary material is not speculatively accumulated, as defined in Section 721.101(c)(8);

iii) Notice is provided, as required by 35 Ill. Adm. Code 720.142;

iv) The hazardous secondary material is not otherwise subject to material-specific management conditions under subsection (a) when reclaimed, and it is not a spent lead acid battery (see 35 Ill. Adm. Code 726.180 and 733.102);

v) Persons performing the recycling of hazardous secondary materials under this exclusion must maintain documentation of their legitimacy determination on-site. Documentation must be a written description of how the recycling meets all three factors in 35 Ill. Adm. Code 720.143(a) and how the factor in 35 Ill. Adm. Code 720.143(b) was considered. Documentation must be maintained for three years after the recycling operation has ceased; and

vi) The emergency preparedness and response requirements found in Subpart M are met.

24) Hazardous Secondary Materials Transferred for Off-Site Reclamation. Hazardous secondary material that is generated and then transferred to another person for reclamation is not a solid waste if the management of the material meets the conditions of subsections (a)(24)(A) through (a)(24)(G):

A) The hazardous secondary material must not be speculatively accumulated, as defined in Section 721.101(c)(8).

B) No person or facility other than the hazardous secondary material generator, the transporter, an intermediate facility, or a reclaimer manages the material; the hazardous secondary material must not be stored for more than ten days at a transfer facility, as defined in Section 721.110; and the hazardous secondary material must be packaged according to applicable USDOT regulations codified as 49 CFR 173, 178, and 179, incorporated by reference in 35 Ill. Adm. Code 720.111, while in transport.

C) The hazardous secondary material must not otherwise be subject to material-specific management conditions under other provisions of this subsection (a) when reclaimed, and the hazardous secondary material must not be a spent lead-acid battery (see 35 Ill. Adm. Code 726.180 and 733.102).

D) Reclaiming the hazardous secondary material must be legitimate, as determined under 35 Ill. Adm. Code 720.143.

E) The hazardous secondary material generator must meet each of the following conditions:

i) The hazardous secondary material must be contained as defined in 35 Ill. Adm. Code 720.110. A hazardous secondary material released to the environment is discarded and a solid waste unless it is immediately recovered for recycling. Hazardous secondary material managed in a unit that leaks or that otherwise continuously releases hazardous secondary material is discarded material and a solid waste.

ii) Prior to arranging for transport of hazardous secondary materials to a reclamation facility where the hazardous secondary material is managed in a unit that is not subject to a RCRA permit or interim status standards, the hazardous secondary material generator must make reasonable efforts to ensure that each reclaimer intends to properly and legitimately reclaim the hazardous secondary material and not discard it, and that each reclaimer will manage the hazardous secondary material in a manner that is protective of human health and the environment. If the hazardous secondary material will pass through an intermediate facility where the hazardous secondary materials is managed at that facility in a unit that is not subject to a RCRA permit or interim status standards, the hazardous secondary material generator must make contractual arrangements with the intermediate facility to ensure that the hazardous secondary material is sent to the reclamation facility identified by the hazardous secondary material generator, and the hazardous secondary material generator must perform reasonable efforts to ensure that the intermediate facility will manage the hazardous secondary material in a manner that is protective of human health and the environment. Reasonable efforts must be repeated at a minimum of every three years for the hazardous secondary material generator to claim the exclusion and to send the hazardous secondary materials to each reclaimer and any intermediate facility. In making these reasonable efforts, the generator may use any credible evidence available, including information gathered by the hazardous secondary material generator, provided by the reclaimer or intermediate facility, or provided by a third party. The hazardous secondary material generator must affirmatively answer the questions in subsection (a)(24)(H) for each reclamation facility and any intermediate facility.

BOARD NOTE: The Board moved the required generator inquiries of 40 CFR 261.4(a)(24)(v)(B)(*1*) through (a)(24)(v)(B)(*5*) to subsection (a)(24)(H) to comply with codification requirements.

iii) The hazardous secondary material generator must maintain for a minimum of three years documentation and certification that reasonable efforts were made for each reclamation facility and, if applicable, intermediate facility where the facility manages the hazardous secondary materials in a unit that is not subject to a RCRA permit or interim status standards prior to transferring hazardous secondary material. Documentation and certification must be made available upon request by USEPA or the Agency within 72 hours, or within a longer period as specified by USEPA or the Agency. The certification statement must include the printed name and official title of an authorized representative of the hazardous secondary material generator company, the authorized representative’s signature, and the date signed. The certification statement must also incorporate the following language:

“I hereby certify in good faith and to the best of my knowledge that, prior to arranging for transport of excluded hazardous secondary materials to [insert name(s) of reclamation facility and any intermediate facility], reasonable efforts were made in compliance with 35 Ill. Adm. Code 721.104(a)(24)(E)(ii) to ensure that the hazardous secondary materials would be recycled legitimately, and otherwise managed in a manner that is protective of human health and the environment, and that such efforts were based on current and accurate information.”

BOARD NOTE: The Board combined the documentation, certification, and records retention requirements of corresponding 40 CFR 261.4(a)(24)(v)(C)(*1*) through (a)(24)(v)(C)(*3*) into subsection (a)(24)(E)(iii) to comply with codification requirements.

iv) The hazardous secondary material generator must maintain certain records at the generating facility for a minimum of three years that document every off-site shipment of hazardous secondary materials. The documentation for each shipment must, at a minimum, include the following information about the shipment: the name of the transporter and date of the shipment; the name and address of each reclaimer and intermediate facility to which the hazardous secondary material was sent; and the type and quantity of hazardous secondary material in the shipment.

BOARD NOTE: The Board combined and moved the shipping documentation and records retention requirements of corresponding 40 CFR 261.4(a)(24)(v)(C) and (a)(24)(v)(C)(1) through (a)(24)(v)(C)(3) to this single subsection (a)(24)(E)(iv). This combination allowed complying with codification requirements relating to the maximum permissible indent level.

v) The hazardous secondary material generator must maintain at the generating facility, for a minimum of three years, for every off-site shipment of hazardous secondary materials, confirmations of receipt from each reclaimer and intermediate facility to which its hazardous secondary materials were sent. Each confirmation of receipt must include the name and address of the reclaimer (or intermediate facility), the type and quantity of the hazardous secondary materials received, and the date on which the facility received the hazardous secondary materials. The generator may meet this requirement using routine business records (e.g., financial records, bills of lading, copies of USDOT shipping papers, or electronic confirmations of receipt).

vi) The hazardous secondary material generator must comply with the emergency preparedness and response conditions in Subpart M.

BOARD NOTE: The Board intends that “RCRA permit” in subsections (a)(24)(E)(ii) and (a)(24)(E)(iii) include a permit issued by USEPA or a sister state under section 3005 of RCRA (42 USC 6925).

F) The reclaimer of hazardous secondary material or any intermediate facility, as defined in 35 Ill. Adm. Code 720.110, that manages material that is excluded from regulation under this subsection (a)(24) must meet the following conditions:

i) The owner or operator of a reclamation or intermediate facility must maintain at its facility for a minimum of three years records of every shipment of hazardous secondary material that the facility received and, if applicable, for every shipment of hazardous secondary material that the facility received and subsequently sent off-site from the facility for further reclamation. For each shipment, these records must, at a minimum, contain the following information: the name of the transporter and date of the shipment; the name and address of the hazardous secondary material generator and, if applicable, the name and address of the reclaimer or intermediate facility from which the facility received the hazardous secondary materials; the type and quantity of hazardous secondary material in the shipment; and, for hazardous secondary materials that the facility subsequently transferred off-site for further reclamation after receiving it, the name and address of the (subsequent) reclaimer and any intermediate facility to which the facility sent the hazardous secondary material.

BOARD NOTE: The Board combined the provisions from 40 CFR 261.4(a)(24)(vi)(A) and (a)(24)(vi)(A)(1) through (a)(24)(vi)(A)(3) that enumerate the required information into this single subsection (a)(24)(F)(i). This combination allowed complying with codification requirements relating to the maximum permissible indent level.

ii) The intermediate facility must send the hazardous secondary material to the reclaimers designated by the generator of the hazardous secondary materials.

iii) The reclaimer or intermediate facility that receives a shipment of hazardous secondary material must send a confirmation of receipt to the hazardous secondary material generator for each off-site shipment of hazardous secondary materials. A confirmation of receipt must include the name and address of the reclaimer (or intermediate facility), the type and quantity of the hazardous secondary materials received, and the date on which the facility received the hazardous secondary materials. The reclaimer or intermediate facility may meet this requirement using routine business records (e.g., financial records, bills of lading, copies of USDOT shipping papers, or electronic confirmations of receipt).

iv) The reclaimer or intermediate facility must manage the hazardous secondary material in a manner that is at least as protective of human health and the environment as that employed for analogous raw material, and the material must be contained. An “analogous raw material” is a raw material for which the hazardous secondary material substitutes and that serves the same function and has similar physical and chemical properties as the hazardous secondary material.

v) A reclaimer of hazardous secondary materials must manage any residuals that are generated from its reclamation processes in a manner that is protective of human health and the environment. If any residuals of the reclamation process exhibit a characteristic of hazardous waste, as defined in Subpart C, or if the residuals themselves are specifically listed as hazardous waste in Subpart D, those residuals are hazardous waste. The reclaimer and any subsequent persons must manage that hazardous waste in compliance with the applicable requirements of 35 Ill. Adm. Code: Subtitle G or similar regulations authorized by USEPA as equivalent to 40 CFR 260 through 272.

vi) The reclaimer and intermediate facility must have financial assurance that complies with Subpart H.

G) In addition, any person claiming the exclusion for recycled hazardous secondary material under this subsection (a)(24) must provide notification as required by 35 Ill. Adm. Code 720.142.

H) For the reasonable inquiries required by subsection (a)(24)(E)(ii), the hazardous secondary material generator must affirmatively answer the following questions for each reclamation facility and any intermediate facility:

i) Does the available information indicate that the reclamation process is legitimate under 35 Ill. Adm. Code 720.143? In answering this question, the hazardous secondary material generator can rely on its existing knowledge of the physical and chemical properties of the hazardous secondary material, as well as information from other sources (e.g., the reclamation facility, audit reports, etc.) about the reclamation process.

ii) Does the publicly available information indicate that the reclamation facility and any intermediate facility that is used by the hazardous secondary material generator notified the appropriate authorities of hazardous secondary materials reclamation activities under 35 Ill. Adm. Code 720.142, and have they notified the appropriate authorities that the financial assurance condition is satisfied per subsection (a)(24)(F)(vi)? In answering these questions, the hazardous secondary material generator can rely on the available information documenting the reclamation facility’s and any intermediate facility’s complying with the notification requirements per 35 Ill. Adm. Code 720.142, including the requirement in 35 Ill. Adm. Code 720.142(a)(5) to notify USEPA or the Agency whether the reclaimer or intermediate facility has financial assurance.

iii) Does publicly available information indicate that the reclamation facility or any intermediate facility that is used by the hazardous secondary material generator has not had any formal enforcement actions taken against the facility in the previous three years for violations of the RCRA hazardous waste regulations and has not been classified as a significant noncomplier with RCRA Subtitle C? In answering this question, the hazardous secondary material generator can rely on the publicly available information from USEPA or the state. If the reclamation facility or any intermediate facility that is used by the hazardous secondary material generator has had a formal enforcement action taken against the facility in the previous three years for violations of the RCRA hazardous waste regulations and has been classified as a significant non-complier with RCRA Subtitle C, does the hazardous secondary material generator have credible evidence that the facility will manage the hazardous secondary materials properly? In answering this question, the hazardous secondary material generator can obtain additional information from USEPA, the state, or the facility itself that the facility has addressed the violations, taken remedial steps to address the violations and prevent future violations, or that the violations are not relevant to the proper management of the hazardous secondary materials.

iv) Does the available information indicate that the reclamation facility and any intermediate facility that is used by the hazardous secondary material generator have the equipment and trained personnel to safely recycle the hazardous secondary material? In answering this question, the generator may rely on a description by the reclamation facility or by an independent third party of the equipment and trained personnel to be used to recycle the generator’s hazardous secondary material.

v) If residuals are generated from reclaiming the excluded hazardous secondary materials, does the reclamation facility have the permits required (if any) to manage the residuals? If not, does the reclamation facility have a contract with an appropriately permitted facility to dispose of the residuals? If not, does the hazardous secondary material generator have credible evidence that the residuals will be managed in a manner that is protective of human health and the environment? In answering these questions, the hazardous secondary material generator can rely on publicly available information from USEPA or the state, or information provided by the facility itself.

BOARD NOTE: The Board moved the required generator inquiries into a reclamation or intermediate facility of 40 CFR 261.4(a)(24)(v)(B) and (a)(24)(v)(B)(1) through (a)(24)(v)(B)(5) to this subsection (a)(24)(H) to comply with codification requirements.

25) Hazardous secondary material that is exported from the United States and reclaimed at a reclamation facility located in a foreign country is not a solid waste, provided that the hazardous secondary material generator complies with the applicable requirements of subsections (a)(24)(A) through (a)(24)(E) and (a)(24)(H) (excepting subsection (a)(24)(H)(ii) for foreign reclaimers and foreign intermediate facilities), and that the hazardous secondary material generator also complies with the following requirements:

A) The generator must notify USEPA of an intended export before the hazardous secondary material is scheduled to leave the United States. The generator must submit a complete notification at least 60 days before the initial shipment is intended to be shipped off-site. This notification may cover export activities extending over a 12-month or lesser period. The notification must be in writing, signed by the hazardous secondary material generator, and include the following information:

i) The name, mailing address, telephone number and USEPA identification number (if applicable) of the hazardous secondary material generator;

ii) A description of the hazardous secondary material and the USEPA hazardous waste number that would apply if the hazardous secondary material were managed as hazardous waste and the USDOT proper shipping name, hazard class and identification number (UN or NA) for each hazardous secondary material as identified in the hazardous materials table in 49 CFR 172.101, incorporated by reference in 35 Ill. Adm. Code 720.111;

iii) The estimated frequency or rate at which the hazardous secondary material is to be exported and the period over which the hazardous secondary material is to be exported;

iv) The estimated total quantity of hazardous secondary material;

v) All points of entry to and departure from each foreign country through which the hazardous secondary material will pass;

vi) A description of the means by which each shipment of the hazardous secondary material will be transported (e.g., mode of transportation vehicle (air, highway, rail, water, etc.), types of container (drums, boxes, tanks, etc.), etc.);

vii) A description of how the hazardous secondary material will be reclaimed in the country of import;

viii) The name and address of the reclaimer, any intermediate facility, and any alternate reclaimer and intermediate facilities; and

ix) The name of any countries of transit through which the hazardous secondary material will be sent and a description of the approximate length of time it will remain in such countries and the nature of its handling while there (for this Section, the terms “USEPA Acknowledgement of Consent”, “country of import”, and “country of transit” are used as defined in 35 Ill. Adm. Code 722.181 with the exception that the terms in this Section refer to hazardous secondary materials, rather than hazardous waste).

B) The generator must submit notifications electronically using USEPA’s Waste Import Export Tracking System (WIETS).

C) Except for changes to the telephone number required in subsection (a)(25)(A)(i) and decreases in the quantity of hazardous secondary material indicated under subsection (a)(25)(A)(iv), when the conditions specified on the original notification change (including any exceedance of the estimate of the quantity of hazardous secondary material specified in the original notification), the hazardous secondary material generator must provide USEPA with a written renotification of the change. The shipment must not occur until consent of the country of import to the changes (except for changes to subsection (a)(25)(A)(ix) and in the ports of entry to and departure from countries of transit under subsection (a)(25)(A)(v)) has been obtained and the hazardous secondary material generator receives from USEPA a USEPA Acknowledgment of Consent reflecting the country of import’s consent to the changes.

D) Upon request by USEPA, the hazardous secondary material generator must furnish to USEPA any additional information that a country of import requests to respond to a notification.

E) USEPA will provide a complete notification to the country of import and any countries of transit. A notification is complete when USEPA receives a notification that USEPA determines complies with subsection (a)(25)(A). When a claim of confidentiality is asserted with respect to any notification information required by subsection (a)(25)(A), USEPA may find the notification not complete until any such claim is resolved in compliance with 35 Ill. Adm. Code 720.102.

F) The export of hazardous secondary material under this subsection (a)(25) is prohibited unless the hazardous secondary material generator receives from USEPA an USEPA Acknowledgment of Consent documenting the consent of the country of import to the receipt of hazardous secondary material. When the country of import objects to receipt of the hazardous secondary material or withdraws a prior consent, USEPA will notify the hazardous secondary material generator in writing. USEPA will also notify the hazardous secondary material generator of any responses from countries of transit.

G) For exports to OECD member countries, the receiving country may respond to the notification using tacit consent. If no objection has been lodged by any country of import or countries of transit to a notification provided under subsection (a)(25)(A) within 30 days after the date of issuance of the acknowledgement of receipt of notification by the competent authority of the country of import, the transboundary movement may commence. In such cases, USEPA will send a USEPA Acknowledgment of Consent to inform the hazardous secondary material generator that the country of import and any relevant countries of transit have not objected to the shipment and are thus presumed to have consented tacitly. Tacit consent expires one calendar year after the close of the 30-day period; renotification and renewal of all consents is required for exports after that date.

H) A copy of the USEPA Acknowledgment of Consent must accompany the shipment. The shipment must conform to the terms of the USEPA Acknowledgment of Consent.

I) If the shipment cannot be delivered for any reason to the reclaimer, intermediate facility or the alternate reclaimer or alternate intermediate facility, the hazardous secondary material generator must re-notify USEPA of a change in the conditions of the original notification to allow shipment to a new reclaimer in compliance with subsection (a)(25)(C) and obtain another USEPA Acknowledgment of Consent.

J) Hazardous secondary material generators must keep a copy of each notification of intent to export and each USEPA Acknowledgment of Consent for a period of three years following receipt of the USEPA Acknowledgment of Consent. They may meet this recordkeeping requirement by retaining electronically submitted notifications or electronically generated Acknowledgements in their account on USEPA’s WIETS, provided that such copies are readily available for viewing and production if requested by any USEPA or Agency inspector. No hazardous secondary material generator may be held liable for the inability to produce a notification or Acknowledgement for inspection under this Section if it can demonstrate that the inability to produce such copies is due exclusively to technical difficulty with USEPA’s WIETS for which the hazardous secondary material generator bears no responsibility.

K) Hazardous secondary material generators must file with USEPA, no later than March 1 of each year, a report summarizing the types, quantities, frequency, and ultimate destination of all hazardous secondary materials exported during the previous calendar year. Annual reports must be submitted electronically using USEPA’s WIETS. Such reports must include the following information:

i) Name, mailing and site address, and USEPA identification number (if applicable) of the hazardous secondary material generator;

ii) The calendar year covered by the report;

iii) The name and site address of each reclaimer and intermediate facility;

iv) By reclaimer and intermediate facility, for each hazardous secondary material exported, a description of the hazardous secondary material and the USEPA hazardous waste number that would apply if the hazardous secondary material were managed as hazardous waste; the USDOT hazard class, incorporated by reference in 35 Ill. Adm. Code 720.111; the name and USEPA identification number (if applicable) for each transporter used, the consent number(s) under which the hazardous secondary material was shipped and for each consent number(s) the total amount of hazardous secondary material shipped, and the number of shipments during the calender year covered by the report; and

v) A certification signed by the hazardous secondary material generator that states as follows:

“I certify under penalty of law that I have personally examined and am familiar with the information submitted in this and all attached documents, and that, based on my inquiry of those individuals immediately responsible for obtaining the information, I believe that the submitted information is true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment.”

L) Any person claiming an exclusion under this subsection (a)(25) must provide notification as required by 35 Ill. Adm. Code 720.142.

26) Solvent-contaminated wipes that are sent for cleaning and reuse are not solid wastes from the point of generation if the following conditions are met:

A) The solvent-contaminated wipes, when accumulated, stored, and transported, are contained in non-leaking, closed containers that are labeled “Excluded Solvent-Contaminated Wipes”. The containers must be able to contain free liquids, should free liquids occur. During accumulation, a container is considered closed when there is complete contact between the fitted lid and the rim, except when it is necessary to add or remove solvent-contaminated wipes. When the container is full, when the solvent-contaminated wipes are no longer being accumulated, or when the container is being transported, the container must be sealed with all lids properly and securely affixed to the container and all openings tightly bound or closed sufficiently to prevent leaks and emissions;

B) The solvent-contaminated wipes may be accumulated by the generator for up to 180 days from the start date of accumulation for each container prior to being sent for cleaning;

C) At the point of being sent for cleaning on-site or at the point of being transported off-site for cleaning, the solvent-contaminated wipes must contain no free liquids, as defined in 35 Ill. Adm. Code 720.110;

D) Free liquids removed from the solvent-contaminated wipes or from the container holding the wipes must be managed according to the applicable regulations found in this Part and 35 Ill. Adm. Code 720, 722 through 728, and 733;

E) Generators must maintain at their site the following documentation:

i) The name and address of the laundry or dry cleaner that is receiving the solvent-contaminated wipes;

ii) The documentation that the 180-day accumulation time limit in 35 Ill. Adm. Code 721.104(a)(26)(B) is being met; and

iii) A description of the process the generator is using to ensure that the solvent-contaminated wipes contain no free liquids at the point of being laundered or dry cleaned on-site or at the point of being transported off-site for laundering or dry cleaning; and

F) The solvent-contaminated wipes are sent to a laundry or dry cleaner whose discharge, if any, is regulated under sections 301 and 402 or section 307 of the federal Clean Water Act (33 USC 1311 and 1341 or 33 USC 1317) or equivalent Illinois or sister-state requirements approved by USEPA under 33 USC 1311 through 1346 and 1370.

27) Hazardous secondary material that is generated and then transferred to another person for remanufacturing is not a solid waste, provided that the following conditions are met:

BOARD NOTE: The North American Industrial Classification System (NAICS) codes used in this subsection (a)(27) are defined in the NAICS Manual, available from the Office of Management and Budget and incorporated by reference in 35 Ill. Adm. Code 720.111.

A) The hazardous secondary material consists of one or more of the following spent solvents: toluene, xylenes, ethylbenzene, 1,2,4-trimethylbenzene, chlorobenzene, n-hexane, cyclohexane, methyl tert-butyl ether, acetonitrile, chloroform, chloromethane, dichloro­methane, methyl isobutyl ketone, N,N-dimethylformamide, tetra­hydrofuran, n-butyl alcohol, ethanol, or methanol.

B) The hazardous secondary material originated from using one or more of the solvents listed in subsection (a)(27)(A) in a commercial grade for reacting, extracting, purifying, or blending chemicals (or for rinsing out the process lines associated with these functions) in the pharmaceutical manufacturing (NAICS 325412), basic organic chemical manufacturing (NAICS 325199), plastics and resins manufacturing (NAICS 325211), or the paints and coatings manufacturing sectors (NAICS 325510).

C) The hazardous secondary material generator sends the hazardous secondary material spent solvents listed in subsection (a)(27)(A) to a remanufacturer in the pharmaceutical manufacturing (NAICS 325412), basic organic chemical manufacturing (NAICS 325199), plastics and resins manufacturing (NAICS 325211), or the paints and coatings manufacturing sectors (NAICS 325510).

D) After remanufacturing one or more of the solvents listed in subsection (a)(27)(A), the use of the remanufactured solvent must be limited to reacting, extracting, purifying, or blending chemicals (or for rinsing out the process lines associated with these functions) in the pharmaceutical manufacturing (NAICS 325412), basic organic chemical manufacturing (NAICS 325199), plastics and resins manufacturing (NAICS 325211), and the paints and coatings manufacturing sectors (NAICS 325510) or to using them as ingredients in a product. These allowed uses correspond to chemical functional uses enumerated in 40 CFR 711.15(b)(4)(i)(C) (Reporting Information to EPA), incorporated by reference in 35 Ill. Adm. Code 720.111, including Industrial Function Category Codes U015 (solvents consumed in a reaction to produce other chemicals) and U030 (solvents that become part of the mixture).

BOARD NOTE: The Board observes that the citation to Toxic Substances Control Act function categories and use of the word “including” to preface specific example Industrial Function Category Codes does not expand the range of permissible uses beyond the express limitations recited in the first segment of this subsection (a)(27)(D) and subsection (a)(27)(E).

E) After remanufacturing one or more of the solvents listed in subsection (a)(27)(i), the use of the remanufactured solvent does not involve cleaning or degreasing oil, grease, or similar material from textiles, glassware, metal surfaces, or other articles. (These disallowed continuing uses correspond to chemical functional uses in Industrial Function Category Code U029 (solvents (for cleaning and degreasing)) in 40 CFR 711.15(b)(4)(i)(C), incorporated by reference in 35 Ill. Adm. Code 720.111.

F) Both the hazardous secondary material generator and the remanufacturer must meet the following requirements:

i) The generator and remanufacturer must notify USEPA Region 5 and the Agency, and update the notification every two years per 35 Ill. Adm. Code 720.142;

ii) The generator and remanufacturer must develop and maintain an up-to-date remanufacturing plan that identifies the information enumerated in subsection (a)(27)(G);

BOARD NOTE: The Board moved corresponding 40 CFR 261.4(a)(27)(vi)(B)(*1*) through (a)(27)(vi)(B)(*1*) to appear as subsections (a)(27)(G)(i) through (a)(27)(G)(v) to comport with codification requirements.

iii) The generator and remanufacturer must maintain records of shipments and confirmations of receipts for a period of three years from the dates of the shipments;

iv) The generator and remanufacturer must, prior to remanufacturing, store the hazardous spent solvents in tanks or containers that meet technical standards found in Subparts I and J, with the tanks and containers being labeled or otherwise having an immediately available record of the material being stored;

v) The generator and remanufacturer must, during remanufacturing, and during storage of the hazardous secondary materials prior to remanufacturing, the remanufacturer certifies that the remanufacturing equipment, vents, and tanks are equipped with and are operating air emission controls complying with the applicable Clean Air Act regulations of 40 CFR 60, 61 and 63, incorporated by reference in 35 Ill. Adm. Code 720.111; or, absent such Clean Air Act standards for the particular operation or piece of equipment covered by the remanufacturing exclusion, are complying with the appropriate standards in Subparts AA (vents), BB (equipment) and CC (tank storage); and

vi) The generator and remanufacturer must meet the requirements prohibiting speculative accumulation in Section 721.101(c)(8).

G) The following information items are required elements for a remanufacturing plan.

i) The name, address and USEPA ID number of the generators and the remanufacturers;

ii) The types and estimated annual volumes of spent solvents to be remanufactured;

iii) The processes and industry sectors that generate the spent solvents;

iv) The specific uses and industry sectors for the remanufactured solvents; and

v) A certification from the remanufacturer stating as follows:

“On behalf of [insert remanufacturer facility name], I certify that this facility is a remanufacturer under pharmaceutical manufacturing (NAICS 325412), basic organic chemical manufacturing (NAICS 325199), plastics and resins manufacturing (NAICS 325211), and/or the paints and coatings manufacturing sectors (NAICS 325510), and will accept the spent solvent(s) solely for remanufacturing into commercial-grade solvent(s) that will be used for reacting, extracting, purifying, or blending chemicals (or for rinsing out the process lines associated with these functions) or for use as product ingredient(s). I also certify that the remanufacturing equipment, vents, and tanks are equipped with and are operating air emission controls complying with the appropriate Clean Air Act regulations under 40 CFR 60, 61 or 63, or, absent such Clean Air Act standards for the particular operation or piece of equipment covered by the remanufacturing exclusion, comply with the appropriate standards in Subparts AA (vents), BB (equipment) and CC (tank storage).”

BOARD NOTE: Subsections (a)(27)(G)(i) through (a)(27)(G)(v) correspond with 40 CFR 261.4(a)(27)(vi)(B)(*1*) through (a)(27)(vi)(B)(*1*), moved to this subsection (a)(27)(G) to comport with codification requirements.

b) Solid Wastes That Are Not Hazardous Wastes.  The following solid wastes are not hazardous wastes:

1) Household waste, including household waste that has been collected, transported, stored, treated, disposed of, recovered (e.g., refuse-derived fuel), or reused. “Household waste” means any waste material (including garbage, trash, and sanitary wastes in septic tanks) derived from households (including single and multiple residences, hotels, and motels, bunkhouses, ranger stations, crew quarters, campgrounds, picnic grounds, and day-use recreation areas). A resource recovery facility managing municipal solid waste must not be deemed to be treating, storing, disposing of, or otherwise managing hazardous wastes for regulation under this Part, if the following describe the facility:

A) The facility receives and burns only the following waste:

i) Household waste (from single and multiple dwellings, hotels, motels, and other residential sources); or

ii) Solid waste from commercial or industrial sources that does not contain hazardous waste; and

B) The facility does not accept hazardous waste and the owner or operator of such facility has established contractual requirements or other appropriate notification or inspection procedures to assure that hazardous wastes are not received at or burned in such facility.

BOARD NOTE: The U.S. Supreme Court determined, in City of Chicago v. Environmental Defense Fund, Inc., 511 U.S. 328, 114 S. Ct. 1588, 128 L. Ed. 2d 302 (1994), that this exclusion and RCRA section 3001(i) (42 USC 6921(i)) do not exclude the ash from facilities covered by this subsection (b)(1) from regulation as a hazardous waste. At 59 Fed. Reg. 29372 (June 7, 1994), USEPA granted facilities managing ash from such facilities that is determined a hazardous waste under Subpart C until December 7, 1994 to file a RCRA Part A permit application under 35 Ill. Adm. Code 703.181. At 60 Fed. Reg. 6666 (Feb. 3, 1995), USEPA stated that it interpreted that the point at which ash becomes subject to RCRA Subtitle C regulation is when that material leaves the combustion building (including connected air pollution control equipment).

2) Solid wastes generated by any of the following that are returned to the soil as fertilizers:

A) The growing and harvesting of agricultural crops; or

B) The raising of animals, including animal manures.

3) Mining overburden returned to the mine site.

4) Coal and Fossil Fuel Combustion Waste

A) Fly ash waste, bottom ash waste, slag waste, and flue gas emission control waste generated primarily from combusting coal or other fossil fuels, except as provided in 35 Ill. Adm. Code 726.212 for facilities that burn or process hazardous waste.

B) The following wastes generated primarily from processes that support combusting coal or other fossil fuels that are co-disposed with the wastes in subsection (b)(4)(A), except as provided by 35 Ill. Adm. Code 726.112 for facilities that burn or process hazardous waste:

i) Coal Pile Run-Off. For this subsection (b)(4), “coal pile run-off” means any precipitation that drains off coal piles.

ii) Boiler Cleaning Solutions. For this subsection (b)(4), “boiler cleaning solutions” means water solutions and chemical solutions used to clean the fire-side and waterside of the boiler.

iii) Boiler Blowdown. For this subsection (b)(4), “boiler blowdown” means water purged from boilers used to generate steam.

iv) Process Water Treatment and Demineralizer Regeneration Wastes. For this subsection (b)(4), “process water treatment and demineralizer regeneration wastes” means sludges, rinses, and spent resins generated from processes to remove dissolved gases, suspended solids, and dissolved chemical salts from combustion system process water.

v) Cooling Tower Blowdown. For this subsection (b)(4), “cooling tower blowdown” means water purged from a closed cycle cooling system. Closed cycle cooling systems include cooling towers, cooling ponds, or spray canals.

vi) Air Heater and Precipitator Washes. For this subsection (b)(4), “air heater and precipitator washes” means wastes from cleaning air preheaters and electrostatic precipitators.

vii) Effluents from Floor and Yard Drains and Sumps. For this subsection (b)(4), “effluents from floor and yard drains and sumps” means wastewaters, such as wash water, collected by or from floor drains, equipment drains, and sumps located inside the power plant building; and wastewaters, such as rain run-off, collected by yard drains and sumps located outside the power plant building.

viii) Wastewater Treatment Sludges. For this subsection (b)(4), “wastewater treatment sludges” refers to sludges generated from the treatment of wastewaters specified in subsections (b)(4)(B)(i) through (b)(4)(B)(vi).

5) Drilling fluids, produced waters, and other wastes associated with the exploring, developing, or producing crude oil, natural gas, or geothermal energy.

6) Chromium Wastes

A) Wastes that fail the test for the toxicity characteristic (Section 721.124 and Appendix B) because chromium is present or that are listed in Subpart D due to the presence of chromium, that do not fail the test for the toxicity characteristic for any other constituent or that are not listed due to the presence of any other constituent, and that do not fail the test for any other characteristic, if the waste generator shows the following:

i) The chromium in the waste is exclusively (or nearly exclusively) trivalent chromium;

ii) The waste is generated from an industrial process that uses trivalent chromium exclusively (or nearly exclusively) and the process does not generate hexavalent chromium; and

iii) The waste is typically and frequently managed in non-oxidizing environments.

B) The following are specific wastes that meet the standard in subsection (b)(6)(A) (so long as they do not fail the test for the toxicity characteristic for any other constituent and do not exhibit any other characteristic):

i) Chrome (blue) trimmings generated by the following subcategories of the leather tanning and finishing industry:  hair pulp/chrome tan/retan/wet finish, hair save/chrome tan/retan/wet finish, retan/wet finish, no beamhouse, through-the-blue, and shearling;

ii) Chrome (blue) shavings generated by the following subcategories of the leather tanning and finishing industry:  hair pulp/chrome tan/retan/wet finish, hair save/chrome tan/retan/wet finish, retan/wet finish, no beamhouse, through-the-blue, and shearling;

iii) Buffing dust generated by the following subcategories of the leather tanning and finishing industry:  hair pulp/chrome tan/retan/wet finish, hair save/chrome tan/retan/wet finish, retan/wet finish, no beamhouse, through-the-blue;

iv) Sewer screenings generated by the following subcategories of the leather tanning and finishing industry:  hair pulp/chrome tan/retan/wet finish, hair save/chrome tan/retan/wet finish, retan/wet finish, no beamhouse, through-the-blue, and shearling;

v) Wastewater treatment sludges generated by the following subcategories of the leather tanning and finishing industry:  hair pulp/chrome tan/retan/wet finish, hair save/chrome tan/retan/wet finish, retan/wet finish, no beamhouse, through-the-blue, and shearling;

vi) Wastewater treatment sludges generated by the following subcategories of the leather tanning and finishing industry:  hair pulp/chrome tan/retan/wet finish, hair save/chrome tan/retan/wet finish, and through-the-blue;

vii) Waste scrap leather from the leather tanning industry, the shoe manufacturing industry, and other leather product manufacturing industries; and

viii) Wastewater treatment sludges from producing titanium dioxide pigment using chromium-bearing ores by the chloride process.

7) Solid waste from extracting, beneficiating, and processing of ores and minerals (including coal, phosphate rock, and overburden from the mining of uranium ore), except as provided by 35 Ill. Adm. Code 726.212 for facilities that burn or process hazardous waste.

A) For this subsection (b)(7), beneficiating ores and minerals is restricted to the following activities: crushing; grinding; washing; dissolution; crystallization; filtration; sorting; sizing; drying; sintering; pelletizing; briquetting; calcining to remove water or carbon dioxide; roasting; autoclaving or chlorination in preparation for leaching (except if the roasting (or autoclaving or chlorination) and leaching sequence produces a final or intermediate product that does not undergo further beneficiation or processing); gravity concentration; magnetic separation; electrostatic separation; floatation; ion exchange; solvent extraction; electrowinning; precipitation; amalgamation; and heap, dump, vat tank, and in situ leaching.

B) For this subsection (b)(7), solid waste from the processing of ores and minerals includes only the following wastes as generated:

i) Slag from primary copper processing;

ii) Slag from primary lead processing;

iii) Red and brown muds from bauxite refining;

iv) Phosphogypsum from phosphoric acid production;

v) Slag from elemental phosphorus production;

vi) Gasifier ash from coal gasification;

vii) Process wastewater from coal gasification;

viii) Calcium sulfate wastewater treatment plant sludge from primary copper processing;

ix) Slag tailings from primary copper processing;

x) Fluorogypsum from hydrofluoric acid production;

xi) Process wastewater from hydrofluoric acid production;

xii) Air pollution control dust or sludge from iron blast furnaces;

xiii) Iron blast furnace slag;

xiv) Treated residue from roasting and leaching of chrome ore;

xv) Process wastewater from primary magnesium processing by the anhydrous process;

xvi) Process wastewater from phosphoric acid production;

xvii) Basic oxygen furnace and open-hearth furnace air pollution control dust or sludge from carbon steel production;

xviii) Basic oxygen furnace and open-hearth furnace slag from carbon steel production;

xix) Chloride processing waste solids from titanium tetrachloride production; and

xx) Slag from primary zinc production.

C) A residue derived from co-processing mineral processing secondary materials with normal beneficiation raw materials or with normal mineral processing raw materials remains excluded under this subsection (b) if the following conditions are met:

i) The owner or operator processes at least 50 percent by weight normal beneficiation raw materials or normal mineral processing raw materials; and

ii) The owner or operator legitimately reclaims the secondary mineral processing materials.

8) Cement kiln dust waste, except as provided by 35 Ill. Adm. Code 726.212 for facilities that burn or process hazardous waste.

9) Solid waste that consists of discarded arsenical-treated wood or wood products that fails the test for the toxicity characteristic for USEPA hazardous waste numbers D004 through D017 and that is not a hazardous waste for any other reason if the waste is generated by persons that utilize the arsenical-treated wood and wood products for these materials’ intended end use.

10) Petroleum-contaminated media and debris that fail the test for the toxicity characteristic of Section 721.124 (USEPA hazardous waste numbers D018 through D043 only) and that are subject to corrective action regulations under 35 Ill. Adm. Code 731.

11) This subsection (b)(11) corresponds with 40 CFR 261.4(b)(11), which expired by its own terms on January 25, 1993. This statement maintains structural parity with USEPA regulations.

12) Used chlorofluorocarbon refrigerants from totally enclosed heat transfer equipment, including mobile air conditioning systems, mobile refrigeration, and commercial and industrial air conditioning and refrigeration systems, that use chlorofluorocarbons as the heat transfer fluid in a refrigeration cycle, provided the refrigerant is reclaimed for further use.

13) Non-terne plated used oil filters that are not mixed with wastes listed in Subpart D, if these oil filters have been gravity hot-drained using one of the following methods:

A) Puncturing the filter anti-drain back valve or the filter dome end and hot-draining;

B) Hot-draining and crushing;

C) Dismantling and hot-draining; or

D) Any other equivalent hot-draining method that will remove used oil.

14) Used oil re-refining distillation bottoms that are used as feedstock to manufacture asphalt products.

15) Leachate or gas condensate collected from landfills where certain solid wastes have been disposed of, under the following circumstances:

A) The following conditions must be met:

i) The solid wastes disposed of would meet one or more of the listing descriptions for the following USEPA hazardous waste numbers that are generated after the effective date listed for the waste:

|  |  |
| --- | --- |
| USEPA Hazardous Waste Numbers | Listing Effective Date |
| K169, K170, K171, and K172 | February 8, 1999 |
| K174 and K175 | May 7, 2001 |
| K176, K177, and K178 | May 20, 2002 |
| K181 | August 23, 2005 |

ii) The solid wastes described in subsection (b)(15)(A)(i) were disposed of prior to the effective date of the listing (as provided in that subsection);

iii) The leachate or gas condensate does not exhibit any characteristic of hazardous waste nor is derived from any other listed hazardous waste; and

iv) Discharge of the leachate or gas condensate, including leachate or gas condensate transferred from the landfill to a POTW by truck, rail, or dedicated pipe, is subject to regulation under section 307(b) or 402 of the federal Clean Water Act (33 USC 1317(b) or 1342).

B) Leachate or gas condensate derived from K169, K170, K171, K172, K176, K177, K178, or K181 waste will no longer be exempt if it is stored or managed in a surface impoundment prior to discharge. There is one exception: if the surface impoundment is used to temporarily store leachate or gas condensate in response to an emergency situation (e.g., shutdown of wastewater treatment system), provided the impoundment has a double liner, and provided the leachate or gas condensate is removed from the impoundment and continues to be managed complying with the conditions of this subsection (b)(15) after the emergency ends.

16) This subsection (b)(16) corresponds with 40 CFR 261.4(b)(16), which USEPA has marked “reserved”. This statement maintains structural parity with USEPA regulations.

17) This subsection (b)(17) corresponds with 40 CFR 261.4(b)(17), which pertains exclusively to waste generated by a specific facility outside Illinois. This statement maintains structural parity with USEPA regulations.

18) Solvent-contaminated wipes, except for wipes that are hazardous waste due to the presence of trichloroethylene, that are sent for disposal are not hazardous wastes from the point of generation if the following conditions are met:

A) The solvent-contaminated wipes, when accumulated, stored, and transported, are contained in non-leaking, closed containers that are labeled “Excluded Solvent-Contaminated Wipes”. The containers must be able to contain free liquids, should free liquids occur. During accumulation, a container is considered closed when there is complete contact between the fitted lid and the rim, except when it is necessary to add or remove solvent-contaminated wipes. When the container is full, when the solvent-contaminated wipes are no longer being accumulated, or when the container is being transported, the container must be sealed with all lids properly and securely affixed to the container and all openings tightly bound or closed sufficiently to prevent leaks and emissions;

B) The solvent-contaminated wipes may be accumulated by the generator for up to 180 days from the start date of accumulation for each container prior to being sent for disposal;

C) At the point of being transported for disposal, the solvent-contaminated wipes must contain no free liquids, as defined in 35 Ill. Adm. Code 720.110;

D) Free liquids removed from the solvent-contaminated wipes or from the container holding the wipes must be managed according to the applicable regulations found in this Part and 35 Ill. Adm. Code 720, 722 through 728, and 733;

E) Generators must maintain at their site the following documentation:

i) The name and address of the landfill or combustor that is receiving the solvent-contaminated wipes;

ii) The documentation that the 180-day accumulation time limit in 35 Ill. Adm. Code 721.104(b)(18)(B) is being met; and

iii) A description of the process the generator is using to ensure that the solvent-contaminated wipes contain no free liquids at the point of being transported for disposal; and

F) The solvent-contaminated wipes are sent for disposal at one of the following facilities:

i) A municipal solid waste landfill regulated under RCRA Subtitle D regulations: 35 Ill. Adm. Code 810 through 815, including the landfill design criteria of 35 Ill. Adm. Code 811.303 through 811.309, 811.315 through 811.317, and Subpart E of 35 Ill. Adm. Code 811 or 35 Ill. Adm. Code 814.302 and 814.402; 40 CFR 258, including the landfill design criteria of 40 CFR 258.40; or equivalent regulations of a sister state that USEPA has approved under 42 USC 6943 and 6947; or

ii) A hazardous waste landfill regulated under RCRA Subtitle C regulations: 35 Ill. Adm. Code 724 or 725; 40 CFR 264 or 265; or equivalent regulations of a sister state that USEPA has approved under 42 USC 6926; or

iii) A municipal waste combustor or other combustion facility regulated under section 129 of the Clean Air Act (42 USC 7429) or equivalent Illinois or sister-state regulations approved by USEPA under 42 USC 7429; or

iv) A hazardous waste combustor, boiler, or industrial furnace regulated under RCRA Subtitle C regulations: 35 Ill. Adm. Code 724 or 725 or Subpart H of 35 Ill. Adm. Code 726; 40 CFR 264 or 265 or subpart H of 40 CFR 266; or equivalent regulations of a sister state that USEPA has approved under 42 USC 6926.

c) Hazardous wastes that are exempted from certain regulations. A hazardous waste that is generated in a product or raw material storage tank, a product or raw material transport vehicle or vessel, a product or raw material pipeline, or in a manufacturing process unit, or an associated non-waste-treatment manufacturing unit, is not subject to regulation under 35 Ill. Adm. Code 702, 703, and 722 through 728 or to the notification requirements of section 3010 of RCRA (42 USC 6930) until it exits the unit in which it was generated, unless the unit is a surface impoundment, or unless the hazardous waste remains in the unit more than 90 days after the unit ceases to be operated for manufacturing or for storage or transporting product or raw materials.

d) Samples

1) Except as provided in subsections (d)(2) and (d)(4), a sample of solid waste or a sample of water, soil, or air that is collected solely for testing to determine its characteristics or composition is not subject to any requirements of this Part or 35 Ill. Adm. Code 702, 703, and 722 through 728. The sample qualifies when it meets one of the following conditions:

A) The sample is being transported to a laboratory for testing;

B) The sample is being transported back to the sample collector after testing;

C) The sample is being stored by the sample collector before transport to a laboratory for testing;

D) The sample is being stored in a laboratory before testing;

E) The sample is being stored in a laboratory for testing but before it is returned to the sample collector; or

F) The sample is being stored temporarily in the laboratory after testing for a specific purpose (for example, until conclusion of a court case or enforcement action if further testing of the sample may be necessary).

2) To qualify for the exemption in subsection (d)(1)(A) or (d)(1)(B), a sample collector shipping samples to a laboratory and a laboratory returning samples to a sample collector must do the following:

A) Comply with USDOT, U.S. Postal Service (USPS), or any other applicable shipping requirements; or

B) Comply with the following requirements if the sample collector determines that USDOT, USPS, or other shipping requirements do not apply to the shipment of the sample:

i) Assure that the following information accompanies the sample: The sample collector’s name, mailing address, and telephone number; the laboratory’s name, mailing address, and telephone number; the quantity of the sample; the date of the shipment; and a description of the sample; and

ii) Package the sample so that it does not leak, spill, or vaporize from its packaging.

3) This exemption does not apply if the laboratory determines that the waste is hazardous, but the laboratory is no longer meeting any of the conditions stated in subsection (d)(1).

4) To qualify for the exemption in subsections (d)(1)(A) and (d)(1)(B), the mass of a sample that will be exported to a foreign laboratory or that will be imported to a U.S. laboratory from a foreign source must additionally not exceed 25 kg.

e) Treatability Study Samples

1) Except as provided in subsections (e)(2) and (e)(4), a person that generates or collects samples for conducting treatability studies, as defined in 35 Ill. Adm. Code 720.110, are not subject to any requirement of 35 Ill. Adm. Code 721 through 723 or to the notification requirements of section 3010 of RCRA (42 USC 6930).  Nor are such samples included in the quantity determinations of 35 Ill. Adm. Code 722.114 and 722.116 when:

A) The sample is being collected and prepared for transportation by the generator or sample collector;

B) The sample is being accumulated or stored by the generator or sample collector prior to transportation to a laboratory or testing facility; or

C) The sample is being transported to the laboratory or testing facility for conducting a treatability study.

2) The exemption in subsection (e)(1) is applicable to samples of hazardous waste being collected and shipped for conducting treatability studies provided that the following conditions are met:

A) The generator or sample collector uses (in “treatability studies”) no more than 10,000 kg of media contaminated with non-acute hazardous waste, 1,000 kg of non-acute hazardous waste other than contaminated media, 1 kg of acute hazardous waste, or 2,500 kg of media contaminated with acute hazardous waste for each process being evaluated for each generated waste stream;

B) The mass of each shipment does not exceed 10,000 kg; the 10,000 kg quantity may be all media contaminated with non-acute hazardous waste, or may include 2,500 kg of media contaminated with acute hazardous waste, 1,000 kg of hazardous waste, and 1 kg of acute hazardous waste;

C) The sample must be packaged so that it does not leak, spill, or vaporize from its packaging during shipment and subsection (e)(2)(C)(i) or (e)(2)(C)(ii) are met.

i) Transporting each sample shipment complies with USDOT, USPS, or any other applicable shipping requirements; or

ii) If the USDOT, USPS, or other shipping requirements do not apply to the shipment of the sample, the following information must accompany the sample: The name, mailing address, and telephone number of the originator of the sample; the name, address, and telephone number of the facility that will perform the treatability study; the quantity of the sample; the date of the shipment; and, a description of the sample, including its USEPA hazardous waste number;

D) The sample is shipped to a laboratory or testing facility that is exempt under subsection (f), or has an appropriate RCRA permit or interim status;

E) The generator or sample collector maintains the following records for a period ending three years after completing the treatability study:

i) Copies of the shipping documents;

ii) A copy of the contract with the facility conducting the treatability study; and

iii) Documentation showing the following: The amount of waste shipped under this exemption; the name, address, and USEPA identification number of the laboratory or testing facility that received the waste; the date the shipment was made; and whether or not unused samples and residues were returned to the generator; and

F) The generator reports the information required in subsection (e)(2)(E)(iii) in its report under 35 Ill. Adm. Code 722.141.

3) The Agency may grant requests on a case-by-case basis for up to an additional two years for treatability studies involving bioremediation.  The Agency may grant requests, on a case-by-case basis, for quantity limits in excess of those specified in subsections (e)(2)(A), (e)(2)(B), and (f)(4), for up to an additional 5,000 kg of media contaminated with non-acute hazardous waste, 500 kg of non-acute hazardous waste, 2,500 kg of media contaminated with acute hazardous waste, and 1 kg of acute hazardous waste under the circumstances in either subsection (e)(3)(A) or (e)(3)(B), subject to the limitations of subsection (e)(3)(C):

A) In response to requests for authorization to ship, store, and conduct further treatability studies on additional quantities in advance of commencing treatability studies. Factors to be considered in reviewing such requests include the nature of the technology, the type of process (e.g., batch versus continuous), the size of the unit undergoing testing (particularly in relation to scale-up considerations), the time or quantity of material required to reach steady-state operating conditions, or test design considerations, such as mass balance calculations.

B) In response to requests for authorization to ship, store, and conduct treatability studies on additional quantities after initiating or completing initial treatability studies when the following occurs: There has been an equipment or mechanical failure during the conduct of the treatability study, there is need to verify the results of a previously-conducted treatability study, there is a need to study and analyze alternative techniques within a previously-evaluated treatment process, or there is a need to do further evaluating an ongoing treatability study to determine final specifications for treatment.

C) The additional quantities and timeframes allowed in subsections (e)(3)(A) and (e)(3)(B) are subject to all the provisions in subsections (e)(1) and (e)(2)(B) through (e)(2)(F).  The generator or sample collector must apply to the Agency and provide in writing the following information:

i) The reason why the generator or sample collector requires additional time or quantity of sample for the treatability study evaluation and the additional time or quantity needed;

ii) Documentation accounting for all samples of hazardous waste from the waste stream that have been sent for or undergone treatability studies, including the date each previous sample from the waste stream was shipped, the quantity of each previous shipment, the laboratory or testing facility to which it was shipped, what treatability study processes were conducted on each sample shipped, and the available results of each treatability study;

iii) A description of the technical modifications or change in specifications that will be evaluated and the expected results;

iv) If such further study is being required due to equipment or mechanical failure, the applicant must include information regarding the reason for the failure or breakdown and also include what procedures or equipment improvements have been made to protect against further breakdowns; and

v) Such other information as the Agency determines is necessary.

4) To qualify for the exemption in subsection (e)(1)(A), the mass of a sample that will be exported to a foreign laboratory or testing facility, or that will be imported to a U.S. laboratory or testing facility from a foreign source must additionally not exceed 25 kg.

5) Final Agency determinations under this subsection (e) may be appealed to the Board.

f) Samples undergoing treatability studies at laboratories or testing facilities. Samples undergoing treatability studies and the laboratory or testing facility conducting such treatability studies (to the extent such facilities are not otherwise subject to RCRA requirements) are not subject to any requirement of this Part, or of 35 Ill. Adm. Code 702, 703, 722 through 726, and 728 or to the notification requirements of section 3010 of RCRA (42 USC 6930), provided that the owner or operator complies with subsections (f)(1) through (f)(11). A mobile treatment unit may qualify as a testing facility subject to subsections (f)(1) through (f)(11). Where a group of mobile treatment units are located at the same site, the limitations specified in subsections (f)(1) through (f)(11) apply to the entire group of mobile treatment units collectively as if the group were one mobile treatment unit.

1) No less than 45 days before conducting treatability studies, the facility notifies the Agency in writing that it intends to conduct treatability studies under this subsection (f).

2) The laboratory or testing facility conducting the treatability study has a USEPA identification number.

3) No more than a total of 10,000 kg of “as received” media contaminated with non-acute hazardous waste, 2,500 kg of media contaminated with acute hazardous waste, or 250 kg of other “as received” hazardous waste is subject to initiating treatment in all treatability studies in any single day. “As received” waste refers to the waste as received in the shipment from the generator or sample collector.

4) The quantity of “as received” hazardous waste stored at the facility for evaluation in treatability studies does not exceed 10,000 kg, the total of which can include 10,000 kg of media contaminated with non-acute hazardous waste, 2,500 kg of media contaminated with acute hazardous waste, 1,000 kg of non-acute hazardous wastes other than contaminated media, and 1 kg of acute hazardous waste.  This quantity limitation does not include treatment materials (including non-hazardous solid waste) added to “as received” hazardous waste.

5) No more than 90 days have elapsed since the treatability study for the sample was completed, or no more than one year (two years for treatability studies involving bioremediation) has elapsed since the generator or sample collector shipped the sample to the laboratory or testing facility, whichever date first occurs. Up to 500 kg of treated material from a particular waste stream from treatability studies may be archived for future evaluation up to five years from the date of initial receipt. Quantities of materials archived are counted against the total storage limit for the facility.

6) The treatability study does not involve the placement of hazardous waste on the land or open burning of hazardous waste.

7) The facility maintains records for three years following completing each study that show complying with the treatment rate limits and the storage time and quantity limits. The following specific information must be included for each treatability study conducted:

A) The name, address, and USEPA identification number of the generator or sample collector of each waste sample;

B) The date the shipment was received;

C) The quantity of waste accepted;

D) The quantity of “as received” waste in storage each day;

E) The date the treatment study was initiated and the amount of “as received” waste introduced to treatment each day;

F) The date the treatability study was concluded;

G) The date any unused sample or residues generated from the treatability study were returned to the generator or sample collector or, if sent to a designated facility, the name of the facility and the USEPA identification number.

8) The facility keeps, on-site, a copy of the treatability study contract and all shipping papers associated with the transport of treatability study samples to and from the facility for a period ending three years from the completion date of each treatability study.

9) The facility prepares and submits a report to the Agency, by March 15 of each year, that includes the following information for the previous calendar year:

A) The name, address, and USEPA identification number of the facility conducting the treatability studies;

B) The types (by process) of treatability studies conducted;

C) The names and addresses of persons for whom studies have been conducted (including their USEPA identification numbers);

D) The total quantity of waste in storage each day;

E) The quantity and types of waste subjected to treatability studies;

F) When each treatability study was conducted; and

G) The final disposition of residues and unused sample from each treatability study.

10) The facility determines whether any unused sample or residues generated by the treatability study are hazardous waste under Section 721.103 and, if so, are subject to 35 Ill. Adm. Code 702, 703, and 721 through 728, unless the residues and unused samples are returned to the sample originator under the exemption of subsection (e).

11) The facility notifies the Agency by letter when the facility is no longer planning to conduct any treatability studies at the site.

g) Dredged Material That Is Not a Hazardous Waste. Dredged material that is subject to a permit that has been issued under section 404 of the Federal Water Pollution Control Act (33 USC 1344) is not a hazardous waste. For this this subsection (g), the following definitions apply:

“Dredged material” has the meaning ascribed it in 40 CFR 232.2 (Definitions), incorporated by reference in 35 Ill. Adm. Code 720.111(b).

“Permit” means any of the following:

A permit issued by the U.S. Army Corps of Engineers (Army Corps) under section 404 of the Federal Water Pollution Control Act (33 USC 1344);

A permit issued by the Army Corps under section 103 of the Marine Protection, Research, and Sanctuaries Act of 1972 (33 USC 1413);

or

In the case of Army Corps civil works projects, the administrative equivalent of the permits referred to in the preceding two paragraphs of this definition, as provided for in Army Corps regulations (for example, see 33 CFR 336.1, 336.2, and 337.6).

h) Carbon Dioxide Stream Injected for Geologic Sequestration. Carbon dioxide streams that are captured and transported for injecting into an underground injection well subject to the requirements for Class VI carbon sequestration injection wells, including the requirements in 35 Ill. Adm. Code 704 and 730, are not a hazardous waste, if the following conditions are met:

1) Transporting the carbon dioxide stream must comply with U.S. Department of Transportation requirements, including the pipeline safety laws (chapter 601 of subtitle VIII of 49 USC, incorporated by reference in 35 Ill. Adm. Code 720.111) and regulations (49 CFR 190 through 199, incorporated by reference in 35 Ill. Adm. Code 720.111) of the U.S. Department of Transportation, and pipeline safety regulations adopted and administered by a state authority under a certification under 49 USC 60105, incorporated by reference in 35 Ill. Adm. Code 720.111, and 49 CFR 171 through 180, incorporated by reference in 35 Ill. Adm. Code 720.111, as applicable;

BOARD NOTE: The parenthetical language relating to pipeline transportation does not preclude transportation by air, water, highway, or rail that complies with U.S. Department of Transportation regulations at 49 CFR 171 through 180. For this reason, the Board has added citations of those regulations.

2) Injecting the carbon dioxide stream must comply with the applicable requirements for Class VI carbon sequestration injection wells, including the applicable requirements in 35 Ill. Adm. Code 704 and 730;

3) No hazardous wastes may be mixed with, or otherwise co-injected with, the carbon dioxide stream; and

4) Required Certifications

A) Any generator of a carbon dioxide stream, that claims that a carbon dioxide stream is excluded under this subsection (h), must have an authorized representative (as defined in 35 Ill. Adm. Code 720.110) sign a certification statement worded as follows:

“I certify under penalty of law that the carbon dioxide stream that I am claiming to be excluded under 35 Ill. Adm. Code 721.104(h) has not been mixed with hazardous wastes, and I have transported the carbon dioxide stream complying with (or have contracted with a pipeline operator or transporter to transport the carbon dioxide stream complying with) U.S. Department of Transportation requirements, including the pipeline safety laws (49 USC 60101 et seq.) and regulations (49 CFR Parts 190 through 199) of the U.S. Department of Transportation, and the pipeline safety regulations adopted and administered by a state authority pursuant to a certification under 49 USC 60105, as applicable, for injection into a well subject to the requirements for the Class VI Underground Injection Control Program of the federal Safe Drinking Water Act (42 USC 300f et seq.).”

B) Any Class VI carbon sequestration injection well owner or operator, who claims that a carbon dioxide stream is excluded under this subsection (h), must have an authorized representative (as defined in 35 Ill. Adm. Code 720.110) sign a certification statement worded as follows:

“I certify under penalty of law that the carbon dioxide stream that I am claiming to be excluded under 35 Ill. Adm. Code 721.104(h) has not been mixed with, or otherwise co-injected with, hazardous waste at the UIC Class VI permitted facility, and that injecting the carbon dioxide stream complies with the applicable requirements for UIC Class VI wells, including the applicable requirements in 35 Ill. Adm. Code 704 and 730.”

C) The signed certification statement must be kept on-site, for no less than three years, and must be made available within 72 hours after a written request from the Agency or USEPA, or their designee. The signed certification statement must be renewed every year that the exclusion is claimed, by having an authorized representative (as defined in 35 Ill. Adm. Code 720.110) annually prepare and sign a new copy of the certification statement within one year after the date of the previous statement. The signed certification statement must also be readily accessible on the facility’s publicly available website (if such website exists) as a public notification with the title of “Carbon Dioxide Stream Certification” at the time the exclusion is claimed.

i) This subsection corresponds with 40 CFR 261.4(i), which USEPA marked “Reserved”. This statement maintains structural consistency with the federal regulation.

j) Airbag Waste

1) At the airbag waste handler or during transport to an airbag waste collection facility or designated facility, airbag waste is not subject to regulation under 35 Ill. Adm. Code 702, 703, and 722 through 728 and is not subject to the notification requirements of section 3010 of RCRA provided that the airbag waste handler or transporter meets the following conditions:

A) The airbag waste handler or transporter accumulates the airbag waste in a quantity of no more than 250 airbag modules or airbag inflators for no longer than 180 days;

B) The airbag waste handler or transporter packages the airbag waste in a container designed to address the risk posed by the airbag waste and labeled “Airbag Waste—Do Not Reuse”;

C) The airbag waste handler or transporter sends the airbag waste directly to either of the following facilities:

i) An airbag waste collection facility in the United States that is under the control of a vehicle manufacturer or its authorized representative or that is under the control of a person authorized to administer a remedy program in response to a vehicle safety recall under 49 USC 30120; or

ii) A designated facility, as defined in 35 Ill. Adm. Code 720.110;

D) The transport of the airbag waste complies with all applicable USDOT regulations in 49 CFR 171 through 180 during transit; and

E) The airbag waste handler maintains at the handler facility, for at least three years, records of each off-site shipment of airbag waste and each confirmation of receipt from the receiving facility. For each shipment, these records must, at a minimum, contain the name of the transporter, the date of the shipment, the name and address of the receiving facility, and the type and quantity of airbag waste (i.e., airbag modules or airbag inflators) in the shipment. A confirmation of receipt must include the name and address of the receiving facility, the type and quantity of the airbag waste (i.e., airbag modules and airbag inflators) received, and the date when the airbag waste collection facility received the airbag waste. The airbag waste handler must make shipping records and confirmations of receipt available for inspection and may meet this requirement using routine business records (e.g., electronic or paper financial records, bills of lading, copies of USDOT shipping papers, electronic confirmations of receipt, etc.).

2) Once the airbag waste arrives at an airbag waste collection facility or designated facility, it becomes subject to all applicable hazardous waste regulations. The facility receiving airbag waste is considered the hazardous waste generator for the hazardous waste regulations and must comply with 35 Ill. Adm. Code 722.

3) Reuse in vehicles of defective airbag modules or defective airbag inflators that are subject to a recall under 49 USC 30120 is considered sham recycling and prohibited under 35 Ill. Adm. Code 721.102(g).

BOARD NOTE: This precludes any possibility that reuse qualifies for recycling-based exclusion from the definition of solid waste. Federal law prohibits selling defective recalled motor vehicle equipment if it may reasonably be used for its original purpose. (See 42 USC 30120(j).)

(Source: Amended at 48 Ill. Reg. 16813, effective November 22, 2024)

**Section** **721.105 Special Requirements for Hazardous Waste Generated by Small Quantity Generators (Repealed)**

(Source: Repealed at 42 Ill. Reg. 21673, effective November 19, 2018)

**Section** **721.106 Requirements for Recyclable Materials**

a) Recyclable Materials

1) Hazardous wastes that are recycled are subject to the requirements for generators, transporters, and storage facilities of subsections (b) and (c), except for the materials listed in subsections (a)(2) and (a)(3). Hazardous wastes that are recycled will be known as “recyclable materials”.

2) The following recyclable materials are not subject to this Section but are regulated under Subparts C through H of 35 Ill. Adm. Code 726 and all applicable provisions in 35 Ill. Adm. Code 702, 703, and 728.

A) Recyclable materials used in a manner constituting disposal (see Subpart C of 35 Ill. Adm. Code 726);

B) Hazardous wastes burned (as defined in 35 Ill. Adm. Code 726.200(a)) in boilers and industrial furnaces that are not regulated under Subpart O of 35 Ill. Adm. Code 724 or Subpart O (see Subpart H of 35 Ill. Adm. Code 726);

C) Recyclable materials from which precious metals are reclaimed (see Subpart F of 35 Ill. Adm. Code 726); and

D) Spent lead-acid batteries that are being reclaimed (see Subpart G of 35 Ill. Adm. Code 726).

3) The following recyclable materials are not subject to regulation under 35 Ill. Adm. Code 722 through 728, or 702 and 703 and are not subject to the notification requirements of section 3010 of RCRA (42 USC 6930):

A) Industrial ethyl alcohol that is reclaimed except that exports and imports of these recyclable material must comply with 40 CFR 262, subpart H.

B) Scrap metal that is not excluded under Section 721.104(a)(13);

C) Fuels produced from the refining of oil-bearing hazardous wastes along with normal process streams at a petroleum refining facility if these wastes result from normal petroleum refining, production, and transportation practices (this exemption does not apply to fuels produced from oil recovered from oil-bearing hazardous waste if the recovered oil is already excluded under Section 721.104(a)(12));

D) Petroleum Refining Wastes

i) Hazardous waste fuel produced from oil-bearing hazardous wastes from petroleum refining, production, or transportation practices or produced from oil reclaimed from the hazardous wastes, if these hazardous wastes are reintroduced into a process that does not use distillation or does not produce products from crude oil, so long as the resulting fuel meets the used oil specification under 35 Ill. Adm. Code 739.111 and so long as no other hazardous wastes are used to produce the hazardous waste fuel;

ii) Hazardous waste fuel produced from oil-bearing hazardous waste from petroleum refining production, and transportation practices, if the hazardous wastes are reintroduced into a refining process after a point at which contaminants are removed, so long as the fuel meets the used oil fuel specification under 35 Ill. Adm. Code 739.111; and

iii) Oil reclaimed from oil-bearing hazardous wastes from petroleum refining, production, and transportation practices, which reclaimed oil is burned as a fuel without reintroduction to a refining process, so long as the reclaimed oil meets the used oil fuel specification under 35 Ill. Adm. Code 739.111.

4) Used oil that is recycled and is also a hazardous waste solely because it exhibits a hazardous characteristic is not subject to 35 Ill. Adm. Code 720 through 728, but it is regulated under 35 Ill. Adm. Code 739. Used oil that is recycled includes any used oil that is reused for any purpose following its original use (including the purpose for which the oil was originally used). This term includes oil that is re-refined, reclaimed, burned for energy recovery, or reprocessed.

5) Hazardous waste that is exported or imported for recovery is subject to Subpart H of 35 Ill. Adm. Code 722.

b) Generators and transporters of recyclable materials are subject to the applicable requirements of 35 Ill. Adm. Code 722 and 723 and the notification requirements under section 3010 of RCRA (42 USC 6930), except as provided in subsection (a).

c) Storage and Recycling

1) Owners or operators of facilities that store recyclable materials before they are recycled are regulated under all applicable provisions of Subparts A through L, AA through DD of 35 Ill. Adm. Code 724 and 725 and 35 Ill. Adm. Code 702, 703, 705, 726, 727, and 728; and the notification requirement under section 3010 of RCRA (42 USC 6930), except as provided in subsection (a). (The recycling process itself is exempt from regulation, except as provided in subsection (d).)

2) Owners or operators of facilities that recycle recyclable materials without storing them before they are recycled are subject to the following requirements, except as provided in subsection (a):

A) Notification requirements under section 3010 of RCRA (42 USC 6930);

B) 35 Ill. Adm. Code 725.171 and 725.172 (dealing with the use of the manifest and manifest discrepancies);

C) Subsection (d); and

D) 35 Ill. Adm. Code 725.175 (annual reporting requirements).

d) Owners or operators of facilities required to have a RCRA permit under 35 Ill. Adm. Code 703 with hazardous waste management units that recycle hazardous wastes are subject to Subparts AA and BB of 35 Ill. Adm. Code 724 or 725 or 35 Ill. Adm. Code 267.

(Source: Amended at 48 Ill. Reg. 16813, effective November 22, 2024)

**Section 721.107 Residues of Hazardous Waste in Empty Containers**

a) Applicability of rules.

1) Any hazardous waste remaining in either an empty container or an inner liner removed from an empty container, as defined in subsection (b), is not subject to regulation under 35 Ill. Adm. Code 702, 703, or 721 through 728, or to the notification requirements of Section 3010 of the Resource Conservation and Recovery Act.

2) Any hazardous waste in either a container that is not empty or an inner liner that is removed from a container that is not empty, as defined in subsection (b), is subject to regulations under 35 Ill. Adm. Code 702, 703, and 721 through 728 and to the notification requirements of Section 3010 of the Resource Conservation and Recovery Act.

b) Definition of “empty”:

1) A container or an inner liner removed from a container that has held any hazardous waste, except a waste that is a compressed gas or that is identified as an acute hazardous waste listed in Section 721.131 or 721.133(e), is empty if the conditions of subsections (b)(1)(A) and (b)(1)(B) exist, subject to the limitations of subsection (b)(1)(C):

A) All wastes have been removed that can be removed using the practices commonly employed to remove materials from that type of container, e.g., pouring, pumping, and aspirating, and

B) No more than 2.5 centimeters (one inch) of residue remain on the bottom of the container or inner liner, or

C) Weight Limits

i) No more than three percent by weight of the total capacity of the container remains in the container or inner liner if the container is less than or equal to 119 gallons (450 liters) in size; or

ii) No more than 0.3 percent by weight of the total capacity of the container remains in the container or inner liner if the container is greater than 119 gallons (450 liters) in size.

2) A container that has held a hazardous waste that is a compressed gas is empty when the pressure in the container approaches ambient atmospheric pressure.

3) A container or an inner liner removed from a container that has held an acute hazardous waste listed in Section 721.131 or 721.133(e) is empty if any of the following occurs:

A) The container or inner liner has been triple rinsed using a solvent capable of removing the commercial chemical product or manufacturing chemical intermediate;

B) The container or inner liner has been cleaned by another method that has been shown in the scientific literature, or by tests conducted by the generator, to achieve equivalent removal; or

C) In the case of a container, the inner liner that prevented contact of the commercial chemical product or manufacturing chemical intermediate with the container has been removed.

c) A container that held hazardous waste pharmaceuticals is determined empty under 35 Ill. Adm. Code 726.607, in lieu of under this Section, except as provided by 35 Ill. Adm. Code 726.607(c) and (d).

(Source: Amended at 44 Ill. Reg. 15142, effective September 3, 2020)

**Section** **721.108 PCB Wastes Regulated under TSCA**

Polychlorinatedbiphenyl-(PCB-)containing dielectric fluid and electric equipment containing such fluid are exempt from regulation under 35 Ill. Adm. Code 702, 703, and 721 through 728, and from the notification requirements of Section 3010 of RCRA (42 USC 6930) if the following conditions are fulfilled with regard to the fluid:

a) The fluid is authorized for use and regulated pursuant to federal 40 CFR 761; and

b) The fluid is hazardous only because it fails the test for toxicity characteristic (hazardous waste numbers D018 through D043 only).

(Source: Amended at 42 Ill. Reg. 21673, effective November 19, 2018)

**Section 721.109 Requirements for Universal Waste**

The wastes listed in this Section are exempt from regulation under 35 Ill. Adm. Code 702, 703, 722 through 726, and 728, except as specified in 35 Ill. Adm. Code 733, and are therefore not fully regulated as hazardous waste. The following wastes are subject to regulation under 35 Ill. Adm. Code 733:

a) Batteries, as described in 35 Ill. Adm. Code 733.102;

b) Pesticides, as described in 35 Ill. Adm. Code 733.103;

c) Mercury-containing equipment, as described in 35 Ill. Adm. Code 733.104;

d) Lamps, as described in 35 Ill. Adm. Code 733.105; and

e) Aerosol cans, as described in 35 Ill. Adm. Code 733.106.

(Source: Amended at 44 Ill. Reg. 15142, effective September 3, 2020)

SUBPART B: CRITERIA FOR IDENTIFYING THE CHARACTERISTICS OF HAZARDOUS WASTE AND FOR LISTING HAZARDOUS WASTES

**Section** **721.110 Criteria for Identifying the Characteristics of Hazardous Waste**

a) USEPA stated in corresponding federal 40 CFR 261.10 that it identifies and defines a characteristic of hazardous waste in Subpart C only upon determining the following:

1) That a solid waste that exhibits the characteristic may do either of the following:

A) It could cause, or significantly contribute to, an increase in mortality or an increase in serious irreversible, or incapacitating reversible, illness; or

B) It could pose a substantial present or potential hazard to human health or the environment when it is improperly treated, stored, transported, disposed of or otherwise managed; and

2) That the characteristic can be as follows:

A) It can be measured by an available standardized test method that is reasonable within the capability of generators of solid waste or private sector laboratories that are available to serve generators of solid waste; or

B) It can reasonably be detected by generators of solid waste through their knowledge of their waste.

b) Delisting procedures are contained in 35 Ill. Adm. Code 720.122.

(Source: Amended at 42 Ill. Reg. 21673, effective November 19, 2018)

**Section** **721.111 Criteria for Listing Hazardous Waste**

a) USEPA stated in corresponding federal 40 CFR 261.11 that it lists a solid waste as a hazardous waste only upon determining that the solid waste meets one of the following criteria:

1) The solid waste exhibits any of the characteristics of hazardous waste identified in Subpart C; or

2) Acute hazardous waste. The solid waste has been found to be fatal to humans in low doses or, in the absence of data on human toxicity, it has been shown in studies to have an oral LD 50 toxicity (rat) of less than 50 mg/kg, an inhalation LC 50 toxicity (rat) of less than 2 mg/ℓ, or a dermal LD 50 toxicity (rabbit) of less than 200 mg/kg or is otherwise capable of causing or significantly contributing to an increase in serious irreversible or incapacitating reversible, illness.

BOARD NOTE: Waste listed under subsection (a)(2) are designated Acute Hazardous Waste.

3) Toxic Waste. The solid waste contains any of the toxic constituents listed in Appendix H and, after considering the following factors, USEPA concludes that the waste is capable of posing a substantial present or potential hazard to human health or the environment when improperly treated, stored, transported, or disposed of, or otherwise managed:

BOARD NOTE: Substances are listed in Appendix H only if they have been shown in scientific studies to have toxic, carcinogenic, mutagenic, or teratogenic effects on humans or other life forms.

A) The nature of the toxicity presented by the constituent;

B) The concentration of the constituent in the waste;

C) The potential of the constituent or any toxic degradation product of the constituent to migrate from the waste into the environment under the types of improper management considered in subsection (a)(3)(G);

D) The persistence of the constituent or any toxic degradation product of the constituent;

E) The potential for the constituent or any toxic degradation product of the constituent to degrade into nonharmful constituents and the rate of degradation;

F) The degree to which the constituent or any degradation product of the constituent bioaccumulates in ecosystems;

G) The plausible types of improper management to which the waste could be subjected;

H) The quantities of the waste generated at individual generator sites or on a regional or national basis;

I) The nature and severity of the human health and environmental damage that has occurred because of the improper management of the wastes containing the constituent;

J) Action taken by other governmental agencies or regulatory programs based on the health or environmental hazard posed by the waste or waste constituent; and

K) Other factors as may be appropriate.

BOARD NOTE: Wastes listed under subsection (a)(3) are designated toxic wastes.

b) USEPA stated in corresponding federal 40 CFR 261.11(b) that it may list classes or types of solid waste as hazardous waste if USEPA has reason to believe that individual wastes, within the class or type of waste, typically or frequently are hazardous under the definition of hazardous waste found in section 1004(5) of RCRA (42 USC 6904(5)).

(Source: Amended at 48 Ill. Reg. 16813, effective November 22, 2024)

SUBPART C: CHARACTERISTICS OF HAZARDOUS WASTE

**Section** **721.120 General**

a) A solid waste, as defined in Section 721.102, that is not excluded from regulation as a hazardous waste under Section 721.104(b), is a hazardous waste if it exhibits any of the characteristics identified in this Subpart C.

BOARD NOTE: 35 Ill. Adm. Code 722.111 states the generator’s responsibility to determine whether the generator’s waste exhibits one or more characteristics identified in this Subpart C.

b) A hazardous waste that is identified by a characteristic in this Subpart C is assigned every USEPA hazardous waste number that is applicable as specified in this Subpart C. This number must be used in complying with the notification requirements of Section 3010 of RCRA (42 U.S.C. 6930) and all applicable recordkeeping and reporting requirements under 35 Ill. Adm. Code 702, 703, and 722 through 728.

c) For this Subpart C, a sample obtained using any of the applicable sampling methods specified in Appendix A is a representative sample within the meaning of 35 Ill. Adm. Code 720.

BOARD NOTE: Since the Appendix A sampling methods are not being formally adopted, a person who desires to employ an alternative sampling method is not required to demonstrate the equivalency of the person’s method under the procedures set forth in 35 Ill. Adm. Code 720.121.

(Source: Amended at 48 Ill. Reg. 9827, effective June 20, 2024)

**Section** **721.121 Characteristic of Ignitability**

a) A solid waste exhibits the characteristic of ignitability if a representative sample of the waste has any of the following properties:

1) It is a liquid, other than a solution containing less than 24 percent alcohol by volume and at least 50 percent water by weight, that has a flash point less than 60°C (140°F), as determined by one of the following ASTM standards: D 93-79, D 93-80, D 3278-78, D 8174-18, or D 8175-18, each incorporated by reference in 35 Ill. Adm. Code 720.111(a), as specified in SW-846 Test Methods 1010B or 1020C, each incorporated by reference in 35 Ill. Adm. Code 720.111(a).

2) It is not a liquid and is capable, under standard temperature and pressure, of causing fire through friction, absorbing moisture, or spontaneous chemical changes and, when ignited, burns so vigorously and persistently that it creates a hazard.

3) It is an ignitable compressed gas.

A) The term "compressed gas" designates any material or mixture having in the container an absolute pressure exceeding 40 p.s.i. at 70 °F or, regardless of the pressure at 70 °F, having an absolute pressure exceeding 104 p.s.i. at 130 °F. Alternatively, the term "compressed gas" designates any liquid flammable material having a vapor pressure exceeding 40 p.s.i. absolute at 100 °F, as determined by ASTM D 323.

B) A compressed gas is characterized as ignitable if any one of the following occurs:

i) Either a mixture of 13 percent or less (by volume) with air forms a flammable mixture or the flammable range with air is wider than 12 percent regardless of the lower limit. These limits must be determined at atmospheric temperature and pressure. The method of sampling and test procedure must be ASTM E 681-85, incorporated by reference in 35 Ill. Adm. Code 720.111, or other equivalent methods approved by the Associate Administrator, Pipeline and Hazardous Materials Safety Administration, U.S. Department of Transportation.

ii) It is determined to be flammable or extremely flammable using 49 CFR 173.115(l), incorporated by reference in 35 Ill. Adm. Code 720.111.

4) It is an oxidizer, as defined in 49 CFR 173.127 (Class 5, Division 5.1—Definition and Assignment of Packaging Groups), incorporated by reference in 35 Ill. Adm. Code 720.111(b).

A) An organic compound containing the bivalent -O-O- structure and which may be considered a derivative of hydrogen peroxide where one or more of the hydrogen atoms have been replaced by organic radicals must be classed as an organic peroxide unless:

i) The material is a Division 1.1, 1.2, or 1.3 explosive, as defined in 40 CFR § 261.23(a)(8), in which case it must be classed as an explosive;

ii) Offering the material for transportation is forbidden under 49 CFR 172.101 and 49 CFR 173.21;

iii) The predominant hazard of the material containing an organic peroxide is other than that of an organic peroxide; or

iv) According to data on file with the Pipeline and Hazardous Materials Safety Administration in the U.S. Department of Transportation, it has been determined that the material does not present a hazard in transportation.

b) A solid waste that exhibits the characteristic of ignitability has the USEPA hazardous waste number of D001.

(Source: Amended at 48 Ill. Reg. 9827, effective June 20, 2024)

**Section** **721.122 Characteristic of Corrosivity**

a) A solid waste exhibits the characteristic of corrosivity if a representative sample of the waste has either of the following properties:

1) It is aqueous and has a pH less than or equal to 2 or greater than or equal to 12.5, as determined by a pH meter using Method 9040C (pH Electrometric Measurement) in “Test Methods for the Evaluation of Solid Waste, Physical/Chemical Methods”, USEPA publication number EPA-530/SW-846, incorporated by reference in 35 Ill. Adm. Code 720.111(a).

2) It is a liquid and corrodes steel (SAE 1020) at a rate greater than 6.35 mm (0.250 inch) per year at a test temperature of 55 °C (130 °F), as determined by Method 1110A (Corrosivity Toward Steel) in “Test Methods for the Evaluation of Solid Waste, Physical/Chemical Methods”, USEPA publication number EPA-530/SW-846, incorporated by reference in 35 Ill. Adm. Code 720.111(a).

BOARD NOTE: The corrosivity characteristic determination currently does not apply to non-liquid wastes, as discussed by USEPA at 45 Fed. Reg. 33109, May 19, 1980 and at 55 Fed. Reg. 22549, June 1, 1990.

b) A solid waste that exhibits the characteristic of corrosivity has the USEPA hazardous waste number of D002.

(Source: Amended at 44 Ill. Reg. 15142, effective September 3, 2020)

**Section 721.123 Characteristic of Reactivity**

a) A solid waste exhibits the characteristic of reactivity if a representative sample of the waste has any of the following properties:

1) It is normally unstable and readily undergoes violent change without detonating.

2) It reacts violently with water.

3) It forms potentially explosive mixtures with water.

4) When mixed with water, it generates toxic gases, vapors, or fumes in a quantity sufficient to present a danger to human health or the environment.

5) It is a cyanide or sulfide bearing waste which, when exposed to pH conditions between 2 and 12.5 can generate toxic gases, vapors, or fumes in a quantity sufficient to present a danger to human health or the environment.

6) It is capable of detonation or explosive reaction if it is subjected to a strong initiating source or if heated under confinement.

7) It is readily capable of detonation or explosive decomposition or reaction at standard temperature and pressure.

8) It is a forbidden explosive, as defined in federal 49 CFR 173.54 (Forbidden Explosives) or a Division 1.1, 1.2, or 1.3 explosive, as defined in 49 CFR 173.50 (Class 1—Definitions), each incorporated by reference in 35 Ill. Adm. Code 720.111(b).

BOARD NOTE: Corresponding 40 CFR 261.23 cites to 49 CFR 173.53 (Provisions for Using Old Classifications of Explosives). That citation aids bridging obsolete USDOT rules to the current version. The Board has not included citation to 49 CFR 173.53 because it imposes no substantive requirements.

b) A solid waste that exhibits the characteristic of reactivity has the USEPA hazardous waste number of D003.

(Source: Amended at 35 Ill. Reg. 17734, effective October 14, 2011)

**Section** **721.124 Toxicity Characteristic**

a) A solid waste (except manufactured gas plant waste) exhibits the characteristic of toxicity if, using Method 1311 (Toxicity Characteristic Leaching Procedure (TCLP)) in “Test Methods for Evaluating Solid Waste, Physical/Chemical Methods”, USEPA publication number EPA-530/SW-846, as incorporated by reference in 35 Ill. Adm. Code 720.111(a), the extract from a representative sample of the waste contains any of the contaminants listed in the table in subsection (b) at a concentration equal to or greater than the respective value given in that table. If the waste contains less than 0.5 percent filterable solids, the waste itself, after filtering using the methodology outlined in Method 1311, is the extract for this Section.

BOARD NOTE: The reference to the “EP toxicity test” in 35 Ill. Adm. Code 808.410(b)(4) is to be understood as referencing the test required by this Section.

b) A solid waste that exhibits the characteristic of toxicity has the USEPA hazardous waste number specified in the following table that corresponds to the toxic contaminant causing it to be hazardous.

MAXIMUM CONCENTRATION OF CONTAMINANTS FOR THE TOXICITY CHARACTERISTIC

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| USEPA Hazardous Waste No. | Contaminant | CAS Number | Note | Regulatory Level (mg/ℓ) |
| D004 | Arsenic | 7440-38-2 |  | 5.0 |
| D005 | Barium | 7440-39-3 |  | 100.0 |
| D018 | Benzene | 71-43-2 |  | 0.5 |
| D006 | Cadmium | 7440-43-9 |  | 1.0 |
| D019 | Carbon tetrachloride | 56-23-5 |  | 0.5 |
| D020 | Chlordane | 57-74-9 |  | 0.03 |
| D021 | Chlorobenzene | 108-90-7 |  | 100.0 |
| D022 | Chloroform | 67-66-3 |  | 6.0 |
| D007 | Chromium | 7440-47-3 |  | 5.0 |
| D023 | o-Cresol | 95-48-7 | 2 | 200.0 |
| D024 | m-Cresol | 108-39-4 | 2 | 200.0 |
| D025 | p-Cresol | 106-44-5 | 2 | 200.0 |
| D026 | Cresol |  | 2 | 200.0 |
| D016 | 2,4-D | 94-75-7 |  | 10.0 |
| D027 | 1,4-Dichlorobenzene | 106-46-7 |  | 7.5 |
| D028 | 1,2-Dichloroethane | 107-06-2 |  | 0.5 |
| D029 | 1,1-Dichloroethylene | 75-35-4 |  | 0.7 |
| D030 | 2,4-Dinitrotoluene | 121-14-2 | 1 | 0.13 |
| D012 | Endrin | 72-20-8 |  | 0.02 |
| D031 | Heptachlor (and its epoxide) | 76-44-8 |  | 0.008 |
| D032 | Hexachlorobenzene | 118-74-1 | 1 | 0.13 |
| D033 | Hexachlorobutadiene | 87-68-3 |  | 0.5 |
| D034 | Hexachloroethane | 67-72-1 |  | 3.0 |
| D008 | Lead | 7439-92-1 |  | 5.0 |
| D013 | Lindane | 58-89-9 |  | 0.4 |
| D009 | Mercury | 7439-97-6 |  | 0.2 |
| D014 | Methoxychlor | 72-43-5 |  | 10.0 |
| D035 | Methyl ethyl ketone | 78-93-3 |  | 200.0 |
| D036 | Nitrobenzene | 98-95-3 |  | 2.0 |
| D037 | Pentachlorophenol | 87-86-5 |  | 100.0 |
| D038 | Pyridine | 110-86-1 | 1 | 5.0 |
| D010 | Selenium | 7782-49-2 |  | 1.0 |
| D011 | Silver | 7440-22-4 |  | 5.0 |
| D039 | Tetrachloroethylene | 127-18-4 |  | 0.7 |
| D015 | Toxaphene | 8001-35-2 |  | 0.5 |
| D040 | Trichloroethylene | 79-01-6 |  | 0.5 |
| D041 | 2,4,5-Trichlorophenol | 95-95-4 |  | 400.0 |
| D042 | 2,4,6-Trichlorophenol | 88-06-2 |  | 2.0 |
| D017 | 2,4,5-TP (Silvex) | 93-72-1 |  | 1.0 |
| D043 | Vinyl chloride | 75-01-4 |  | 0.2 |

Notes to Table:

1 Quantitation limit is greater than the calculated regulatory level. The quantitation limit therefore becomes the regulatory level.

2 If o-, m-, p-cresol concentrations cannot be differentiated, the total cresol (D026) concentration is used. The regulatory level of total cresol is 200.0 mg/ℓ.

(Source: Amended at 48 Ill. Reg. 9827, effective June 20, 2024)

SUBPART D: LISTS OF HAZARDOUS WASTE

**Section** **721.130 General**

a) A solid waste is a hazardous waste if it is listed in this Subpart D unless it has been excluded from this list under 35 Ill. Adm. Code 720.120 and 720.122.

b) The basis for listing the classes or types of wastes listed in this Subpart D is indicated by employing one or more of the following hazard codes:

1) Hazard Codes.

A) Ignitable waste (I)

B) Corrosive waste (C)

C) Reactive waste (R)

D) Toxicity Characteristic waste (E)

E) Acute hazardous waste (H)

F) Toxic waste (T)

2) Appendix G identifies the constituent that caused USEPA to list the waste as a toxicity characteristic waste (E) or toxic waste (T) in Sections 721.131 and 721.132.

c) Each hazardous waste listed in this Subpart D is assigned a USEPA hazardous waste number that precedes the name of the waste. This number must be used in complying with the federal notification requirements of section 3010 of RCRA (42 USC 6930) and certain recordkeeping and reporting requirements under 35 Ill. Adm. Code 702, 703, and 722 through 725, 727, and 728.

d) The following hazardous wastes listed in Section 721.131 or 721.132 are subject to the generator category limits for acute hazardous wastes established in 35 Ill. Adm. Code 722.113(g): hazardous wastes numbers F020, F021, F022, F023, F026, and F027.

(Source: Amended at 48 Ill. Reg. 16813, effective November 22, 2024)

**Section** **721.131 Hazardous Wastes from Nonspecific Sources**

a) The following solid wastes are listed hazardous wastes from non-specific sources, unless they are excluded under 35 Ill. Adm. Code 720.120 and 720.122 and listed in Appendix I.

|  |  |  |
| --- | --- | --- |
| USEPA Hazardous Waste No. | Industry and Hazardous Waste | Haz­ard Code |
| F001 | The following spent halogenated solvents used in degreasing: tetrachloroethylene, trichloroethylene, methylene chloride, 1,1,1-trichloroethane, carbon tetra­chloride, and chlorinated fluorocarbons; all spent solvent mixtures and blends used in degreasing containing, before use, a total of ten percent or more (by volume) of one or more of the above halogenated solvents or those solvents listed in F002, F004, or F005; and still bottoms from the recovery of these spent solvents and spent solvent mixtures. | (T) |
| F002 | The following spent halogenated solvents: tetrachloro­ethylene, methylene chloride, trichloroethylene, 1,1,1-trichloroethane, chlorobenzene, 1,1,2-trichloro-1,2,2-tri­fluoroethane, orthodichlorobenzene, trichlorofluoro­methane, and 1,1,2-trichloroethane; all spent solvent mixtures and blends containing, before use, a total of ten percent or more (by volume) of one or more of the above halogenated solvents or those solvents listed in F001, F004, or F005; and still bottoms from the recovery of these spent solvents and spent solvent mixtures. | (T) |
| F003 | The following spent non-halogenated solvents: xylene, acetone, ethyl acetate, ethyl benzene, ethyl ether, methyl isobutyl ketone, n-butyl alcohol, cyclohexanone, and methanol; all spent solvent mixtures and blends containing, before use, only the above spent non-halogenated solvents; and all spent solvent mixtures and blends containing, before use, one or more of the above non-halogenated solvents and a total of ten percent or more (by volume) of one or more of those solvents listed in F001, F002, F004, or F005; and still bottoms from the recovery of these spent solvents and spent solvent mixtures. | (I) |
| F004 | The following spent non-halogenated solvents: cresols and cresylic acid and nitrobenzene; all spent solvent mixtures and blends containing, before use, a total of ten percent or more (by volume) of one or more of the above non-halogenated solvents or those solvents listed in F001, F002, or F005; and still bottoms from the recovery of these spent solvents and spent solvent mixtures. | (T) |
| F005 | The following spent non-halogenated solvents: toluene, methyl ethyl ketone, carbon disulfide, isobutanol, pyridine, benzene, 2-ethoxyethanol, and 2-nitropropane; all spent solvent mixtures and blends, containing, before use, a total of ten percent or more (by volume) of one or more of the above non-halogenated solvents or those solvents listed in F001, F002, or F004; and still bottoms from the recovery of these spent solvents and spent solvent mixtures. | (I, T) |
| F006 | Wastewater treatment sludges from electroplating operations except from the following processes: (1) sulfuric acid anodizing of aluminum; (2) tin plating on carbon steel; (3) zinc plating (segregated basis) on carbon steel; (4) aluminum or zinc-aluminum plating on carbon steel; (5) cleaning/stripping associated with tin, zinc, and aluminum plating on carbon steel; and (6) chemical etching and milling of aluminum. | (T) |
| F007 | Spent cyanide plating bath solutions from electroplating operations. | (R, T) |
| F008 | Plating bath residues from the bottom of plating baths from electroplating operations where cyanides are used in the process. | (R, T) |
| F009 | Spent stripping and cleaning bath solutions from electroplating operations where cyanides are used in the process. | (R, T) |
| F010 | Quenching bath residues from oil baths from metal heat-treating operations where cyanides are used in the process. | (R, T) |
| F011 | Spent cyanide solutions from salt bath pot cleaning from metal heat-treating operations. | (R, T) |
| F012 | Quenching wastewater treatment sludges from metal heat-treating operations where cyanides are used in the process. | (T) |
| F019 | Wastewater treatment sludges from the chemical conversion coating of aluminum except from zirconium phosphating in aluminum can washing when such phosphating is an exclusive conversion coating process.  Wastewater treatment sludge from the manufacturing of motor vehicles using a zinc phosphating process will not be subject to this listing at the point of generation if the waste is not placed outside on the land prior to shipment to a landfill for disposal and it is disposed of in a regulated landfill that fulfills either of the following conditions:  It is located in Illinois, and it is one of the following types of landfills:  It is a landfill that is a hazardous waste management unit, as defined in 35 Ill. Adm. Code 720.110;  It is a municipal solid waste landfill, as defined in 35 Ill. Adm. Code 810.103; or  It is a putrescible or chemical waste landfill that is subject to the requirements of Subpart C of 35 Ill. Adm. Code 811.  It is located outside Illinois, and it is one of the following types of landfills:  It is a RCRA Subtitle D municipal solid waste or industrial solid waste landfill unit that is equipped with a single clay liner and which is permitted, licensed or otherwise authorized by the state; or  It is a landfill unit that is subject to or which otherwise meets the landfill requirements in 40 CFR 258.40, 264.301 or 265.301.  For the purposes of this hazardous waste listing, “motor vehicle manufacturing” is defined in subsection (b)(4)(A), and subsection (b)(4)(B) describes the recordkeeping requirements for motor vehicle manufacturing facilities. | (T) |
| F020 | Wastes (except wastewater and spent carbon from hydrogen chloride purification) from the production or manufacturing use (as a reactant, chemical intermediate or component in a formulating process) of tri- or tetra­chlorophenol or of intermediates used to produce their pesticide derivatives. (This listing does not include wastes from the production of hexachlorophene from highly purified 2,4,5-trichlorophenol.) | (H) |
| F021 | Wastes (except wastewater and spent carbon from hydrogen chloride purification) from the production or manufacturing use (as a reactant, chemical intermediate or component in a formulating process) of pentachloro­phenol or of intermediates used to produce its derivatives. | (H) |
| F022 | Wastes (except wastewater and spent carbon from hydrogen chloride purification) from the manufacturing use (as a reactant, chemical intermediate or component in a formulating process) of tetra-, penta-, or hexa­chloro­benzenes under alkaline conditions. | (H) |
| F023 | Wastes (except wastewater and spent carbon from hydrogen chloride purification) from the production of materials on equipment previously used for the production or manufacturing use (as a reactant, chemical intermediate or component in a formulating process) of tri- and tetrachlorophenols. (This listing does not include wastes from equipment used only for the production or use of hexachlorophene from highly purified 2,4,5-trichlorophenol.) | (H) |
| F024 | Process wastes, including but not limited to, distillation residues, heavy ends, tars, and reactor cleanout wastes, from the production of certain chlorinated aliphatic hydrocarbons by free radical catalyzed processes. These chlorinated aliphatic hydrocarbons are those having carbon chain lengths ranging from one to and including five, with varying amounts and positions of chlorine substitution. (This listing does not include wastewaters, wastewater treatment sludges, spent catalysts, and wastes listed in this Section or in Section 721.132.) | (T) |
| F025 | Condensed light ends, spent filters and filter aids, and spent desiccant wastes from the production of certain chlorinated aliphatic hydrocarbons by free radical catalyzed processes. These chlorinated aliphatic hydrocarbons are those having carbon chain lengths ranging from one to and including five, with varying amounts and positions of chlorine substitution. | (T) |
| F026 | Wastes (except wastewater and spent carbon from hydrogen chloride purification) from the production of materials on equipment previously used for the manufacturing use (as a reactant, chemical intermediate, or component in a formulating process) of tetra-, penta-, or hexachlorobenzene under alkaline conditions. | (H) |
| F027 | Discarded unused formulations containing tri-, tetra- or pentachlorophenol or discarded unused formulations containing compounds derived from these chloro­phenols. (This listing does not include formulations containing hexachlorophene synthesized from prepurified 2,4,5-trichlorophenol as the sole component.) | (H) |
| F028 | Residues resulting from the incineration or thermal treatment of soil contaminated with hazardous waste numbers F020, F021, F022, F023, F026, and F027. | (T) |
| F032 | Wastewaters (except those that have not come into contact with process contaminants), process residuals, preservative drippage, and spent formulations from wood preserving processes generated at plants that currently use or have previously used chlorophenolic formulations (except potentially cross-contaminated wastes that have had the F032 hazardous waste number deleted in accordance with Section 721.135 and where the generator does not resume or initiate use of chlorophenolic formulations). This listing does not include K001 bottom sediment sludge from the treatment of wastewater from wood preserving processes that use creosote or pentachlorophenol. | (T) |
| F034 | Wastewaters (except those that have not come into contact with process contaminants), process residuals, preservative drippage, and spent formulations from wood preserving processes generated at plants that use creosote formulations. This listing does not include K001 bottom sediment sludge from the treatment of wastewater from wood preserving processes that use creosote or pentachlorophenol. | (T) |
| F035 | Wastewaters, (except those that have not come into contact with process contaminants), process residuals, preservative drippage, and spent formulations from wood preserving processes generated at plants that use inorganic preservatives containing arsenic or chromium. This listing does not include K001 bottom sediment sludge from the treatment of wastewater from wood preserving processes that use creosote or pentachloro­phenol. | (T) |
| F037 | Petroleum refinery primary oil/water/solids separation sludge—any sludge generated from the gravitational separation of oil/water/solids during the storage or treatment of process wastewaters and oily cooling wastewaters from petroleum refineries. Such sludges include, but are not limited to, those generated in: oil/water/solids separators; tanks and impoundments; ditches and other conveyances; sumps; and stormwater units receiving dry weather flow. Sludge generated in stormwater units that do not receive dry weather flow, sludge generated from non-contact once-through cooling waters segregated for treatment from other process or oily cooling waters, sludge generated in aggressive biological treatment units as defined in subsection (b)(2) (including sludge generated in one or more additional units after wastewaters have been treated in aggressive biological treatment units), and K051 wastes are not included in this listing. This listing does include residuals generated from processing or recycling oil-bearing hazardous secondary materials excluded under Section 721.104(a)(12)(A) if those residuals are to be disposed of. | (T) |
| F038 | Petroleum refinery secondary (emulsified) oil/water/solids separation sludge—any sludge or float generated from the physical or chemical separation of oil/water/solids in process wastewaters and oily cooling wastewaters from petroleum refineries. Such wastes include, but are not limited to, all sludges and floats generated in the following types of units: induced air floatation (IAF) units, tanks and impoundments, and all sludges generated in dissolved air flotation (DAF) units. Sludges generated in stormwater units that do not receive dry weather flow, sludges generated from non-contact once-through cooling waters segregated for treatment from other process or oily cooling waters, sludges and floats generated in aggressive biological treatment units as defined in subsection (b)(2) (including sludges and floats generated in one or more additional units after wastewaters have been treated in aggressive biological treatment units), F037, K048, and K051 wastes are not included in this listing. | (T) |
| F039 | Multi-source leachate resulting from the disposal of more than one restricted waste classified as hazardous under this Subpart D. For purposes of this hazardous waste listing, “leachate” means liquids that have percolated through land-disposed wastes. (This multi-source leachate listing does not apply to leachate resulting from the disposal of more than one of the following USEPA hazardous wastes where the disposal of no other hazardous waste is involved: F020, F021, F022, F026, F027, and F028. Leachate from disposal of any combination of these hazardous wastes is considered single-source leachate, and that leachate retains the USEPA hazardous waste numbers of the wastes from which the leachate derived, and the leachate must meet the treatment standards for the underlying hazardous waste numbers.)  BOARD NOTE: Derived from the listing for F039 at 40 CFR 261.31(a) (2017) and the discussion at 55 Fed. Reg. 22520, 22619-22623 (June 1, 1990). | (T) |

BOARD NOTE: The primary hazardous properties of these materials have been indicated by the letters T (Toxicity), R (Reactivity), I (Ignitability), and C (Corrosivity). The letter H indicates Acute Hazardous Waste. “(I, T)” should be used to specify mixtures that are ignitable and contain toxic constituents.

b) Listing-Specific Definitions

1) For the purpose of the F037 and F038 listings, “oil/water/solids” is defined as oil or water or solids.

2) For the purposes of the F037 and F038 listings, the following apply:

A) “Aggressive biological treatment units” are defined as units that employ one of the following four treatment methods: activated sludge, trickling filter, rotating biological contactor for the continuous accelerated biological oxidation of wastewaters, or high-rate aeration. “High-rate aeration” is a system of surface impoundments or tanks in which intense mechanical aeration is used to completely mix the wastes, enhance biological activity, and the following is true:

i) The units employ a minimum of six horsepower per million gallons of treatment volume; and either

ii) The hydraulic retention time of the unit is no longer than five days; or

iii) The hydraulic retention time is no longer than 30 days and the unit does not generate a sludge that is a hazardous waste by the toxicity characteristic.

B) Generators and treatment, storage, or disposal (TSD) facilities have the burden of proving that their sludges are exempt from listing as F037 or F038 wastes under this definition. Generators and TSD facilities must maintain, in their operating or other on site records, documents and data sufficient to prove the following:

i) The unit is an aggressive biological treatment unit, as defined in this subsection; and

ii) The sludges sought to be exempted from F037 or F038 were actually generated in the aggressive biological treatment unit.

3) Time of Generation. For the purposes of the designated waste, the “time of generation” is defined as follows:

A) For the F037 listing, sludges are considered to be generated at the moment of deposition in the unit, where deposition is defined as at least a temporary cessation of lateral particle movement.

B) For the F038 listing:

i) Sludges are considered to be generated at the moment of deposition in the unit, where deposition is defined as at least a temporary cessation of lateral particle movement; and

ii) Floats are considered to be generated at the moment they are formed in the top of the unit.

4) For the purposes of the F019 hazardous waste listing, the following apply to wastewater treatment sludges from the manufacturing of motor vehicles using a zinc phosphating process:

A) “Motor vehicle manufacturing” is defined to include the manufacture of automobiles and light trucks or utility vehicles (including light duty vans, pick-up trucks, minivans, and sport utility vehicles). A facility owner or operator must be engaged in manufacturing complete vehicles (body and chassis or unibody) or chassis only; and

B) The generator must maintain documentation and information in its on-site records that is sufficient to prove that the wastewater treatment sludge to be exempted from the F019 listing meets the conditions of the listing. These records must include the following information: the volumes of waste generated and disposed of off site; documentation showing when the waste volumes were generated and sent off site; the name and address of the receiving facility; and documentation confirming receipt of the waste by the receiving facility. The generator must maintain these documents on site for no less than three years. The retention period for the documentation is automatically extended during the pendency of any enforcement action or as requested by USEPA or by the Agency in writing.

(Source: Amended at 42 Ill. Reg. 21673, effective November 19, 2018)

**Section** **721.132 Hazardous Waste from Specific Sources**

a) The following solid wastes are listed hazardous wastes from specific sources unless they are excluded under 35 Ill. Adm. Code 720.120 and 720.122 and listed in Appendix I.

|  |  |  |
| --- | --- | --- |
| USEPA Hazardous Waste No. | Industry and Hazardous Waste | Hazard Code |

Wood Preservation Process Wastes:

|  |  |  |
| --- | --- | --- |
| K001 | Bottom sediment sludge from the treatment of wastewaters from wood preserving processes that use creosote or pentachlorophenol. | (T) |

Inorganic Pigments Production Wastes:

|  |  |  |
| --- | --- | --- |
| K002 | Wastewater treatment sludge from the production of chrome yellow and orange pigments. | (T) |
| K003 | Wastewater treatment sludge from the production of molybdate orange pigments. | (T) |
| K004 | Wastewater treatment sludge from the production of zinc yellow pigments. | (T) |
| K005 | Wastewater treatment sludge from the production of chrome green pigments. | (T) |
| K006 | Wastewater treatment sludge from the production of chrome oxide green pigments (anhydrous and hydrated). | (T) |
| K007 | Wastewater treatment sludge from the production of iron blue pigments. | (T) |
| K008 | Oven residue from the production of chrome oxide green pigments. | (T) |

Organic Chemicals Production Wastes:

|  |  |  |
| --- | --- | --- |
| K009 | Distillation bottoms from the production of acetaldehyde from ethylene. | (T) |
| K010 | Distillation side cuts from the production of acetaldehyde from ethylene. | (T) |
| K011 | Bottom stream from the wastewater stripper in the production of acrylonitrile. | (R, T) |
| K013 | Bottom stream from the acetonitrile column in the production of acrylonitrile. | (R, T) |
| K014 | Bottoms from the acetonitrile purification column in the production of acrylonitrile. | (T) |
| K015 | Still bottoms from the distillation of benzyl chloride. | (T) |
| K016 | Heavy ends or distillation residues from the production of carbon tetrachloride. | (T) |
| K017 | Heavy ends (still bottoms) from the purification column in the production of epichlorohydrin. | (T) |
| K018 | Heavy ends from the fractionation column in ethyl chloride production. | (T) |
| K019 | Heavy ends from the distillation of ethylene dichloride in ethylene dichloride production. | (T) |
| K020 | Heavy ends from the distillation of vinyl chloride in vinyl chloride monomer production. | (T) |
| K021 | Aqueous spent antimony catalyst waste from fluoromethanes production. | (T) |
| K022 | Distillation bottom tars from the production of phenol/acetone from cumene. | (T) |
| K023 | Distillation light ends from the production of phthalic anhydride from naphthalene. | (T) |
| K024 | Distillation bottoms from the production of phthalic anhydride from naphthalene. | (T) |
| K093 | Distillation light ends from the production of phthalic anhydride from ortho-xylene. | (T) |
| K094 | Distillation bottoms from the production of phthalic anhydride from ortho-xylene. | (T) |
| K025 | Distillation bottoms from the production of nitrobenzene by the nitration of benzene. | (T) |
| K026 | Stripping still tails from the production of methyl ethyl pyridines. | (T) |
| K027 | Centrifuge and distillation residues from toluene diiso­cyanate production. | (R, T) |
| K028 | Spent catalyst from the hydrochlorinator reactor in the production of 1,1,1-trichloroethane. | (T) |
| K029 | Waste from the product stream stripper in the production of 1,1,1-trichloroethane. | (T) |
| K095 | Distillation bottoms from the production of 1,1,1-tri­chloroethane. | (T) |
| K096 | Heavy ends from the heavy ends column from the production of 1,1,1-trichloroethane. | (T) |
| K030 | Column bottoms or heavy ends from the combined production of trichloroethylene and perchloroethylene. | (T) |
| K083 | Distillation bottoms from aniline production. | (T) |
| K103 | Process residues from aniline extraction from the production of aniline. | (T) |
| K104 | Combined wastewater streams generated from nitrobenzene/aniline production. | (T) |
| K085 | Distillation or fractionation column bottoms from the production of chlorobenzenes. | (T) |
| K105 | Separated aqueous stream from the reactor product washing step in the production of chlorobenzenes. | (T) |
| K107 | Column bottoms from product separation from the production of 1,1-dimethylhydrazine (UDMH) from carboxylic acid hydrazides. | (C, T) |
| K108 | Condensed column overheads from product separation and condensed reactor vent gases from the production of 1,1-dimethylhydrazine (UDMH) from carboxylic acid hydrazides. | (I, T) |
| K109 | Spent filter cartridges from the product purification from the production of 1,1-dimethylhydrazine (UDMH) from carboxylic acid hydrazides. | (T) |
| K110 | Condensed column overheads from intermediate separation from the production of 1,1-dimethylhydrazine (UDMH) from carboxylic acid hydrazides. | (T) |
| K111 | Product washwaters from the production of dinitro­toluene via nitration of toluene. | (C, T) |
| K112 | Reaction by-product water from the drying column in the production of toluenediamine via hydrogenation of di­nitrotoluene. | (T) |
| K113 | Condensed liquid light ends from the purification of toluenediamine in the production of toluenediamine via hydrogenation of dinitrotoluene. | (T) |
| K114 | Vicinals from the purification of toluenediamine in the production of toluenediamine via hydrogenation of dinitrotoluene. | (T) |
| K115 | Heavy ends from the purification of toluenediamine in the production of toluenediamine via hydrogenation of dinitrotoluene. | (T) |
| K116 | Organic condensate from the solvent recovery column in the production of toluene diisocyanate via phosgenation of toluenediamine. | (T) |
| K117 | Wastewater from the reactor vent gas scrubber in the production of ethylene dibromide via bromination of ethene. | (T) |
| K118 | Spent adsorbent solids from purification of ethylene di­bromide in the production of ethylene dibromide via bromination of ethene. | (T) |
| K136 | Still bottoms from the purification of ethylene dibromide in the production of ethylene dibromide via bromination of ethene. | (T) |
| K156 | Organic waste (including heavy ends, still bottoms, light ends, spent solvents, filtrates, and decantates) from the production of carbamates and carbamoyl oximes.  (This listing does not apply to wastes generated from the manufacture of 3-iodo-2-propynyl n-butylcarbamate.) | (T) |
| K157 | Wastewaters (including scrubber waters, condenser waters, washwaters, and separation waters) from the production of carbamates and carbamoyl oximes.  (This listing does not apply to wastes generated from the manufacture of 3-iodo-2-propynyl n-butylcarbamate.) | (T) |
| K158 | Baghouse dusts and filter/separation solids from the production of carbamates and carbamoyl oximes.  (This listing does not apply to wastes generated from the manufacture of 3-iodo-2-propynyl n-butylcarbamate.) | (T) |
| K159 | Organics from the treatment of thiocarbamate wastes. | (T) |
| K161 | Purification solids (including filtration, evaporation, and centrifugation solids), bag house dust, and floor sweepings from the production of dithiocarbamate acids and their salts.  (This listing does not include K125 or K126.) | (R, T) |
| K174 | Wastewater treatment sludges from the production of ethylene dichloride or vinyl chloride monomer (including sludges that result from commingled ethylene dichloride or vinyl chloride monomer wastewater and other wastewater), unless the sludges meet the following conditions:  1) The sludges are disposed of in a RCRA Subtitle C (42 USC 6921-6939e) or non-hazardous landfill licensed or permitted by a state or the federal government;  2) The sludges are not otherwise placed on the land prior to final disposal; and  3) The generator maintains documentation demonstrating that the waste was either disposed of in an on-site landfill or consigned to a transporter or disposal facility that provided a written commitment to dispose of the waste in an off-site landfill. Upon a showing by the government that a respondent in any enforcement action brought to enforce the requirements of RCRA Subtitle C managed wastewater treatment sludges from the production of vinyl chloride monomer or ethylene dichloride, the respondent must demonstrate that it meets the conditions of the exclusion that are set forth above. In doing so, the respondent must provide appropriate documentation that the terms of the exclusion were met (e.g., contracts between the generator and the landfill owner or operator, invoices documenting delivery of waste to landfill, etc.). | (T) |
| K175 | Wastewater treatment sludges from the production of vinyl chloride monomer using mercuric chloride catalyst in an acetylene-based process. | (T) |

Inorganic Chemicals Production Wastes:

|  |  |  |
| --- | --- | --- |
| K071 | Brine purification muds from the mercury cell process in chlorine production, where separately prepurified brine is not used. | (T) |
| K073 | Chlorinated hydrocarbon waste from the purification step of the diaphragm cell process using graphite anodes in chlorine production. | (T) |
| K106 | Wastewater treatment sludge from the mercury cell process in chlorine production. | (T) |
| K176 | Baghouse filters from the production of antimony oxide, including filters from the production of intermediates (e.g., antimony metal or crude antimony oxide). | (E) |
| K177 | Slag from the production of antimony oxide that is speculatively accumulated or disposed of, including slag from the production of intermediates (e.g., antimony metal or crude antimony oxide). | (T) |
| K178 | Residues from manufacturing and manufacturing-site storage of ferric chloride from acids formed during the production of titanium dioxide using the chloride-ilmenite process. | (T) |
| K181 | Nonwastewaters from the production of dyes or pigments (including nonwastewaters commingled at the point of generation with nonwastewaters from other processes) that, at the point of generation, contain mass loadings of any of the constituents identified in subsection (c) that are equal to or greater than the corresponding subsection (c) levels, as determined on a calendar year basis. These wastes will not be hazardous if the nonwastewaters are managed in one of the following ways:  1) They are disposed of in a municipal solid waste landfill unit that is subject to the design criteria in 35 Ill. Adm. Code 811.303 through 811.309 and 811.315 through 811.317 and Subpart E of 35 Ill. Adm. Code 811 or 35 Ill. Adm. Code 814.302 and 814.402;  2) They are disposed of in a hazardous waste landfill unit that is subject to either 35 Ill. Adm. Code 724.401 or 725.401;  3) They are disposed of in other municipal solid waste landfill units that meet the design criteria in 35 Ill. Adm. Code 811.303 through 811.309 and 811.315 through 811.317 and Subpart E of 35 Ill. Adm. Code 811 or 35 Ill. Adm. Code 814.302 and 814.402, 35 Ill. Adm. Code 724.401, or 35 Ill. Adm. Code 725.401; or  4) They are treated in a combustion unit that is permitted under 415 ILCS 5/39(d), or an onsite combustion unit that is permitted under 415 ILCS 5/39.5.  For the purposes of this listing, dyes or pigments production is defined in subsection (b)(1). Subsection (d) describes the process for demonstrating that a facility’s nonwastewaters are not K181 waste. This listing does not apply to wastes that are otherwise identified as hazardous under Sections 721.121 through 721.124 and 721.131 through 721.133 at the point of generation. Also, the listing does not apply to wastes generated before any annual mass loading limit is met, as set forth in subsection (c). | (T) |

Pesticides Production Wastes:

|  |  |  |
| --- | --- | --- |
| K031 | By-product salts generated in the production of MSMA and cacodylic acid. | (T) |
| K032 | Wastewater treatment sludge from the production of chlordane. | (T) |
| K033 | Wastewater and scrub water from the chlorination of cyclopentadiene in the production of chlordane. | (T) |
| K034 | Filter solids from the filtration of hexachlorocyclopenta­diene in the production of chlordane. | (T) |
| K097 | Vacuum stripper discharge from the chlordane chlorinator in the production of chlordane. | (T) |
| K035 | Wastewater treatment sludges generated in the production of creosote. | (T) |
| K036 | Still bottoms from toluene reclamation distillation in the production of disulfoton. | (T) |
| K037 | Wastewater treatment sludges from the production of di­sulfoton. | (T) |
| K038 | Wastewater from the washing and stripping of phorate production. | (T) |
| K039 | Filter cake from the filtration of diethylphosphorodithioic acid in the production of phorate. | (T) |
| K040 | Wastewater treatment sludge from the production of phorate. | (T) |
| K041 | Wastewater treatment sludge from the production of toxaphene. | (T) |
| K098 | Untreated process wastewater from the production of toxaphene. | (T) |
| K042 | Heavy ends or distillation residues from the distillation of tetrachlorobenzene in the production of 2,4,5-T. | (T) |
| K043 | 2,6-Dichlorophenol waste from the production of 2,4-D. | (T) |
| K099 | Untreated wastewater from the production of 2,4-D. | (T) |
| K123 | Process wastewater (including supernates, filtrates, and washwaters) from the production of ethylenebisdithio­carbamic acid and its salts. | (T) |
| K124 | Reactor vent scrubber water from the production of ethylenebisdithiocarbamic acid and its salts. | (C, T) |
| K125 | Filtration, evaporation, and centrifugation solids from the production of ethylenebisdithiocarbamic acid and its salts. | (T) |
| K126 | Baghouse dust and floor sweepings in milling and packaging operations from the production or formulation of ethylenebisdithiocarbamic acid and its salts. | (T) |
| K131 | Wastewater from the reactor and spent sulfuric acid from the acid dryer from the production of methyl bromide. | (C, T) |
| K132 | Spent absorbent and wastewater separator solids from the production of methyl bromide. | (T) |

Explosives Production Wastes:

|  |  |  |
| --- | --- | --- |
| K044 | Wastewater treatment sludges from the manufacturing and processing of explosives. | (R) |
| K045 | Spent carbon from the treatment of wastewater containing explosives. | (R) |
| K046 | Wastewater treatment sludges from the manufacturing, formulation and loading of lead-based initiating compounds. | (T) |
| K047 | Pink/red water from TNT operations. | (R) |

Petroleum Refining Wastes:

|  |  |  |
| --- | --- | --- |
| K048 | Dissolved air flotation (DAF) float from the petroleum refining industry. | (T) |
| K049 | Slop oil emulsion solids from the petroleum refining industry. | (T) |
| K050 | Heat exchanger bundle cleaning sludge from the petroleum refining industry. | (T) |
| K051 | API separator sludge from the petroleum refining industry. | (T) |
| K052 | Tank bottoms (leaded) from the petroleum refining industry. | (T) |
| K169 | Crude oil storage tank sediment from petroleum refining operations. | (T) |
| K170 | Clarified slurry oil tank sediment or in-line filter/separation solids from petroleum refining operations. | (T) |
| K171 | Spent hydrotreating catalyst from petroleum refining operations, including guard beds used to desulfurize feeds to other catalytic reactors (this listing does not include inert support media). | (I, T) |
| K172 | Spent hydrorefining catalyst from petroleum refining operations, including guard beds used to desulfurize feeds to other catalytic reactors (this listing does not include inert support media). | (I, T) |

Iron and Steel Production Wastes:

|  |  |  |
| --- | --- | --- |
| K061 | Emission control dust/sludge from the primary production of steel in electric furnaces. | (T) |
| K062 | Spent pickle liquor generated by steel finishing operations of facilities within the iron and steel industry (SIC Codes 331 and 332) (as defined in 35 Ill. Adm. Code 720.110). | (C, T) |

Primary Aluminum Production Wastes:

|  |  |  |
| --- | --- | --- |
| K088 | Spent potliners from primary aluminum reduction. | (T) |

Secondary Lead Production Wastes:

|  |  |  |
| --- | --- | --- |
| K069 | Emission control dust/sludge from secondary lead smelting. | (T) |

BOARD NOTE:  This listing is administratively stayed for sludge generated from secondary acid scrubber systems.  The stay will remain in effect until this note is removed.

|  |  |  |
| --- | --- | --- |
| K100 | Waste leaching solution from acid leaching of emission control dust/sludge from secondary lead smelting. | (T) |

Veterinary Pharmaceuticals Production Wastes:

|  |  |  |
| --- | --- | --- |
| K084 | Wastewater treatment sludges generated during the production of veterinary pharmaceuticals from arsenic or organo-arsenic compounds. | (T) |
| K101 | Distillation tar residues from the distillation of aniline-based compounds in the production of veterinary pharmaceuticals from arsenic or organo-arsenic compounds. | (T) |
| K102 | Residue from use of activated carbon for decolorization in the production of veterinary pharmaceuticals from arsenic or organo-arsenic compounds. | (T) |

Ink Formulation Wastes:

|  |  |  |
| --- | --- | --- |
| K086 | Solvent washes and sludges, caustic washes and sludges, or water washes and sludges from cleaning tubs and equipment used in the formulation of ink from pigments, dryers, soaps and stabilizers containing chromium and lead. | (T) |

Coke Production Wastes:

|  |  |  |
| --- | --- | --- |
| K060 | Ammonia still lime sludge from coking operations. | (T) |
| K087 | Decanter tank tar sludge from coking operations. | (T) |
| K141 | Process residues from the recovery of coal tar, including, but not limited to, collecting sump residues from the production of coke from coal or the recovery of coke by-products produced from coal.  This listing does not include K087 (decanter tank tar sludges from coking operations). | (T) |
| K142 | Tar storage tank residues from the production of coke from coal or from the recovery of coke by-products produced from coal. | (T) |
| K143 | Process residues from the recovery of light oil, including, but not limited to, those generated in stills, decanters, and wash oil recovery units from the recovery of coke by-products produced from coal. | (T) |
| K144 | Wastewater sump residues from light oil refining, including, but not limited to, intercepting or contamination sump sludges from the recovery of coke by-products produced from coal. | (T) |
| K145 | Residues from naphthalene collection and recovery operations from the recovery of coke by-products produced from coal. | (T) |
| K147 | Tar storage tank residues from coal tar refining. | (T) |
| K148 | Residues from coal tar distillation, including, but not limited to, still bottoms. | (T) |
| K149 | Distillation bottoms from the production of α- (or methyl-) chlorinated toluenes, ring-chlorinated toluenes, benzoyl chlorides, and compounds with mixtures of these functional groups.  (This waste does not include still bottoms from the distillation of benzyl chloride.) | (T) |
| K150 | Organic residuals, excluding spent carbon adsorbent, from the spent chlorine gas and hydrochloric acid recovery processes associated with the production of α- (or methyl-) chlorinated toluenes, ring-chlorinated toluenes, benzoyl chlorides, and compounds with mixtures of these functional groups. | (T) |
| K151 | Wastewater treatment sludges, excluding neutralization and biological sludges, generated during the treatment of wastewaters from the production of α- (or methyl-) chlorinated toluenes, ring-chlorinated toluenes, benzoyl chlorides, and compounds with mixtures of these functional groups. | (T) |

b) Listing-Specific Definition. For the purposes of the K181 hazardous waste listing in subsection (a), “dyes or pigments production” includes manufacture of the following product classes: dyes, pigments, and FDA-certified colors that are in the azo, triarylmethane, perylene, and anthraquinone classes. Azo products include azo, monoazo, diazo, triazo, polyazo, azoic, benzidine, and pyrazolone products. Triarylmethane products include both triarylmethane and triphenylmethane products. Wastes that are not generated at a dyes or pigments manufacturing site, such as wastes from the offsite use, formulation, and packaging of dyes or pigments, are not included in the K181 listing.

c) K181 Listing Levels. Nonwastewaters containing constituents in amounts equal to or exceeding the following levels during any calendar year are subject to the K181 hazardous waste listing in subsection (a), unless the conditions in the K181 hazardous waste listing are met:

|  |  |  |
| --- | --- | --- |
| Constituent | Chemical Abstracts No. | Mass Levels (kg/yr) |
| Aniline | 62-53-3 | 9,300 |
| o-Anisidine | 90-04-0 | 110 |
| 4-Chloroaniline | 106-47-8 | 4,800 |
| p-Cresidine | 120-71-8 | 660 |
| 2,4-Dimethylaniline | 95-68-1 | 100 |
| 1,2-Phenylenediamine | 95-54-5 | 710 |
| 1,3-Phenylenediamine | 108-45-2 | 1,200 |

d) Procedures for Demonstrating That Dyes or Pigments Nonwastewaters Are Not K181 Waste. The procedures described in subsections (d)(1) through (d)(3) and (d)(5) establish when nonwastewaters from the production of dyes or pigments would not be hazardous. (These procedures apply to wastes that are not disposed of in landfill units or treated in combustion units, as specified in subsection (a)). If the nonwastewaters are disposed of in landfill units or treated in combustion units as described in subsection (a), then the nonwastewaters are not hazardous. In order to demonstrate that it is meeting the landfill disposal or combustion conditions contained in the K181 waste listing description, the generator must maintain documentation as described in subsection (d)(4).

1) Determination Based on No K181 Waste Constituents. A generator that has knowledge (e.g., knowledge of constituents in wastes based on prior sampling and analysis data or information about raw materials used, production processes used, and reaction and degradation products formed) that its waste contains none of the K181 waste constituents (see subsection (c)) can use its knowledge to determine that its waste is not K181 waste. The generator must document the basis for all such determinations on an annual basis and keep each annual documentation for three years.

2) Determination for Generated Quantities of 1,000 Tonnes (1,000 Metric Tons) Per Year or Less for Wastes That Contain K181 Waste Constituents. If the total annual quantity of dyes or pigments nonwastewaters generated is 1,000 tonnes or less, the generator can use knowledge of the wastes (e.g., knowledge of constituents in wastes based on prior analytical data or information about raw materials used, production processes used, and reaction and degradation products formed) to conclude that annual mass loadings for the K181 constituents are below the listing levels of subsection (c). To make this determination, the generator must fulfill the following conditions:

A) Each year, the generator must document the basis for determining that the annual quantity of nonwastewaters expected to be generated will be less than 1,000 tonnes;

B) The generator must track the actual quantity of nonwastewaters generated from January 1 through December 31 of each calendar year. If, at any time within the year, the actual waste quantity exceeds 1,000 tonnes, the generator must comply with the requirements of subsection (d)(3) for the remainder of that calendar year;

C) The generator must keep a running total of the K181 waste constituent mass loadings over the course of the calendar year; and

D) The generator must keep the following records on site for the three most recent calendar years in which the hazardous waste determinations were made:

i) The quantity of dyes or pigments nonwastewaters generated;

ii) The relevant process information used; and

iii) The calculations performed to determine annual total mass loadings for each K181 waste constituent in the nonwastewaters during the year.

3) Determination for generated quantities greater than 1,000 tonnes per year for wastes that contain K181 constituents. If the total annual quantity of dyes or pigments nonwastewaters generated is greater than 1,000 tonnes, the generator must perform each of the following steps in order to make a determination that its waste is not K181 waste:

A) The generator must determine which K181 waste constituents (see subsection (c)) are reasonably expected to be present in the wastes based on knowledge of the wastes (e.g., based on prior sampling and analysis data or information about raw materials used, production processes used, and reaction and degradation products formed);

B) If 1,2-phenylenediamine is present in the wastes, the generator can use either knowledge of the wastes or sampling and analysis procedures to determine the level of this constituent in the wastes. For determinations based on use of knowledge of the wastes, the generator must comply with the procedures for using knowledge of the wastes described in subsection (d)(2) and keep the records described in subsection (d)(2)(D). For determinations based on sampling and analysis, the generator must comply with the sampling and analysis and recordkeeping requirements described in subsection (d)(3)(C);

C) The generator must develop a waste sampling and analysis plan (or modify an existing plan) to collect and analyze representative waste samples for the K181 waste constituents reasonably expected to be present in the wastes. At a minimum, the plan must include the following elements:

i) A discussion of the number of samples needed to characterize the wastes fully;

ii) The planned sample collection method to obtain representative waste samples;

iii) A discussion of how the sampling plan accounts for potential temporal and spatial variability of the wastes; and

iv) A detailed description of the test methods to be used, including sample preparation, clean up (if necessary), and determinative methods;

D) The generator must collect and analyze samples in accordance with the waste sampling and analysis plan, and the plan must fulfill the following requirements:

i) The sampling and analysis must be unbiased, precise, and representative of the wastes; and

ii) The analytical measurements must be sufficiently sensitive, accurate, and precise to support any claim that the constituent mass loadings are below the listing levels of subsection (c);

E) The generator must record the analytical results;

F) The generator must record the waste quantity represented by the sampling and analysis results;

G) The genrator must calculate constituent-specific mass loadings (product of concentrations and waste quantity);

H) The generator must keep a running total of the K181 waste constituent mass loadings over the course of the calendar year;

I) The generator must determine whether the mass of any of the K181 waste constituents listed in subsection (c) generated between January 1 and December 31 of any calendar year is below the K181 waste listing levels;

J) The generator must keep the following records on site for the three most recent calendar years in which the hazardous waste determinations are made:

i) The sampling and analysis plan;

ii) The sampling and analysis results (including quality assurance or quality control data);

iii) The quantity of dyes or pigments nonwastewaters generated; and

iv) The calculations performed to determine annual mass loadings; and

K) The generator must conduct non-hazardous waste determinations annually to verify that the wastes remain non-hazardous.

i) The annual testing requirements are suspended after three consecutive successful annual demonstrations that the wastes are non-hazardous. The generator can then use knowledge of the wastes to support subsequent annual determinations.

ii) The annual testing requirements are reinstated if the manufacturing or waste treatment processes generating the wastes are significantly altered, resulting in an increase of the potential for the wastes to exceed the listing levels.

iii) If the annual testing requirements are suspended, the generator must keep records of the process knowledge information used to support a non-hazardous determination. If testing is reinstated, the generator must retain a description of the process change.

4) Recordkeeping for the Landfill Disposal and Combustion Exemptions. For the purposes of meeting the landfill disposal and combustion condition set out in the K181 waste listing description in subsection (a), the generator must maintain on site for three years documentation demonstrating that each shipment of waste was received by a landfill unit that is subject to or which meets the landfill design standards set out in the listing description or that the waste was treated in combustion units, as specified in the listing description in subsection (a).

5) Waste Holding and Handling. During the interim period, from the point of generation to completion of the hazardous waste determination, the generator must store the wastes appropriately. If the wastes are determined to be hazardous and the generator has not complied with the hazardous waste storage requirements of 35 Ill. Adm. Code 722.116 during the interim period, the generator could be subject to an enforcement action for improper hazardous waste management.

(Source: Amended at 42 Ill. Reg. 21673, effective November 19, 2018)

**Section** **721.133 Discarded Commercial Chemical Products, Off-Specification Species, Container Residues, and Spill Residues Thereof**

**Section 721.133 Discarded Commercial Chemical Products, Off-Specification Species, Container Residues, and Spill Residues Thereof**

The following materials or items are hazardous wastes if and when they are discarded or intended to be discarded, as described in Section 721.102(a)(2)(A); when they are mixed with waste oil or used oil or other material and applied to the land for dust suppression or road treatment; when they are otherwise applied to the land in lieu of their original intended use or when they are contained in products that are applied to land in lieu of their original intended use; or when, in lieu of their original intended use, they are produced for use as (or as a component of) a fuel, distributed for use as a fuel, or burned as a fuel.

a) Any commercial chemical product or manufacturing chemical intermediate having the generic name listed in subsection (e) or (f).

b) Any off-specification commercial chemical product or manufacturing chemical intermediate that, if it met specifications, would have the generic name listed in subsection (e) or (f).

c) Any residue remaining in a container or inner liner removed from a container that has held any commercial chemical product or manufacturing chemical intermediate having the generic name listed in subsection (e) or (f), unless the container is empty, as defined in Section 721.107(b)(3) or 35 Ill. Adm. Code 726.607.

BOARD NOTE:  Unless the residue is being beneficially used or reused; legitimately recycled or reclaimed; or accumulated, stored, transported, or treated prior to such use, reuse, recycling, or reclamation, the Board considers the residue to be intended for discard, and thus a hazardous waste.  An example of a legitimate reuse of the residue would be if the residue remains in the container and the container is used to hold the same commercial chemical product or manufacturing chemical intermediate it previously held.  An example of the discard of the residue would be if the drum is sent to a drum reconditioner that reconditions the drum but discards the residue.

d) Any residue or contaminated soil, water, or other debris resulting from the cleanup of a spill into or on any land or water of any commercial chemical product or manufacturing chemical intermediate having the generic name listed in subsection (e) or (f) or any residue or contaminated soil, water, or other debris resulting from the cleanup of a spill into or on any land or water of any off-specification chemical product or manufacturing chemical intermediate that, if it met specifications, would have the generic name listed in subsection (e) or (f).

BOARD NOTE:  The phrase “commercial chemical product or manufacturing chemical intermediate having the generic name” refers to a chemical substance that is manufactured or formulated for commercial or manufacturing use that consists of the commercially pure grade of the chemical, any technical grades of the chemical that are produced or marketed, and all formulations in which the chemical is the sole active ingredient.  It does not refer to a material, such as a manufacturing process waste, that contains any of the substances listed in subsection (e) or (f).  If a manufacturing process waste is deemed to be a hazardous waste because it contains a substance listed in subsection (e) or (f), such waste will be listed in either Sections 721.131 or 721.132 or will be identified as a hazardous waste by the characteristics set forth in Subpart C.

e) The commercial chemical products, manufacturing chemical intermediates, or off-specification commercial chemical products or manufacturing chemical intermediates referred to in subsections (a) through (d) are identified as acute hazardous waste (H).  These wastes and their corresponding USEPA hazardous waste numbers are the following:

BOARD NOTE:  For the convenience of the regulated community, the primary hazardous properties of these materials have been indicated by the letters T (Toxicity), and R (Reactivity).  The absence of a letter indicates that the compound is only listed for acute toxicity. Wastes are first listed in alphabetical order by substance and then listed again in numerical order by USEPA hazardous waste number.

Alphabetical Listing

|  |  |  |  |
| --- | --- | --- | --- |
| USEPA Hazardous Waste No. | Chemical Abstracts No. (CAS No.) | Substance | Hazard Code |
| P023 | 107-20-0 | Acetaldehyde, chloro- |  |
| P002 | 591-08-2 | Acetamide, N-(aminothioxomethyl) |  |
| P057 | 640-19-7 | Acetamide, 2-fluoro- |  |
| P058 | 62-74-8 | Acetic acid, fluoro-, sodium salt |  |
| P002 | 591-08-2 | 1-Acetyl-2-thiourea |  |
| P003 | 107-02-8 | Acrolein |  |
| P070 | 116-06-3 | Aldicarb |  |
| P203 | 1646-88-4 | Aldicarb sulfone |  |
| P004 | 309-00-2 | Aldrin |  |
| P005 | 107-18-6 | Allyl alcohol |  |
| P006 | 20859-73-8 | Aluminum phosphide | (R, T) |
| P007 | 2763-96-4 | 5-(Aminomethyl)-3-isoxazolol |  |
| P008 | 504-24-5 | 4-Aminopyridine |  |
| P009 | 131-74-8 | Ammonium picrate | (R) |
| P119 | 7803-55-6 | Ammonium vanadate |  |
| P099 | 506-61-6 | Argentate(1-), bis(cyano-C)-, potassium |  |
| P010 | 7778-39-4 | Arsenic acid H3AsO4 |  |
| P012 | 1327-53-3 | Arsenic oxide As2O3 |  |
| P011 | 1303-28-2 | Arsenic oxide As2O5 |  |
| P011 | 1303-28-2 | Arsenic pentoxide |  |
| P012 | 1327-53-3 | Arsenic trioxide |  |
| P038 | 692-42-2 | Arsine, diethyl- |  |
| P036 | 696-28-6 | Arsonous dichloride, phenyl- |  |
| P054 | 151-56-4 | Aziridine |  |
| P067 | 75-55-8 | Aziridine, 2-methyl |  |
| P013 | 542-62-1 | Barium cyanide |  |
| P024 | 106-47-8 | Benzenamine, 4-chloro- |  |
| P077 | 100-01-6 | Benzenamine, 4-nitro- |  |
| P028 | 100-44-7 | Benzene, (chloromethyl)- |  |
| P042 | 51-43-4 | 1,2-Benzenediol, 4-(1-hydroxy-2-(methylamino)ethyl)-, (R)- |  |
| P046 | 122-09-8 | Benzeneethanamine, α,α-dimethyl- |  |
| P014 | 108-98-5 | Benzenethiol |  |
| P127 | 1563-66-2 | 7-Benzofuranol, 2,3-dihydro-2,2-dimethyl-, methylcarbamate |  |
| P188 | 57-64-7 | Benzoic acid, 2-hydroxy-, compound with (3aS-cis)-1,2,3,3a,8,8a-hexahydro-1,3a,8-trimethylpyrrolo­(2,3-b)indol-5-yl methylcarbamate ester (1:1) |  |
| P001 | 81-81-2\* | 2H-1-Benzopyran-2-one, 4-hydroxy-3-(3-oxo-1-phenylbutyl)-, and salts, when present at concentrations greater than 0.3 percent |  |
| P028 | 100-44-7 | Benzyl chloride |  |
| P015 | 7440-41-7 | Beryllium powder |  |
| P017 | 598-31-2 | Bromoacetone |  |
| P018 | 357-57-3 | Brucine |  |
| P045 | 39196-18-6 | 2-Butanone, 3,3-dimethyl-1-(methyl­thio)-, O-((methylamino)carbonyl) oxime |  |
| P021 | 592-01-8 | Calcium cyanide |  |
| P021 | 592-01-8 | Calcium cyanide Ca(CN)2 |  |
| P189 | 55285-14-8 | Carbamic acid, ((dibutylamino)-thio)­methyl-, 2,3-dihydro-2,2-dimethyl-7-benzofuranyl ester |  |
| P191 | 644-64-4 | Carbamic acid, dimethyl-, 1-((dimethyl-amino)carbonyl)-5-methyl-1H-pyrazol-3-yl ester |  |
| P192 | 119-38-0 | Carbamic acid, dimethyl-, 3-methyl-1-(1-methylethyl)-1H-pyrazol-5-yl ester |  |
| P190 | 1129-41-5 | Carbamic acid, methyl-, 3-methyl­phenyl ester |  |
| P127 | 1563-66-2 | Carbofuran |  |
| P022 | 75-15-0 | Carbon disulfide |  |
| P095 | 75-44-5 | Carbonic dichloride |  |
| P189 | 55285-14-8 | Carbosulfan |  |
| P023 | 107-20-0 | Chloroacetaldehyde |  |
| P024 | 106-47-8 | p-Chloroaniline |  |
| P026 | 5344-82-1 | 1-(o-Chlorophenyl)thiourea |  |
| P027 | 542-76-7 | 3-Chloropropionitrile |  |
| P029 | 544-92-3 | Copper cyanide |  |
| P029 | 544-92-3 | Copper cyanide CuCN |  |
| P202 | 64-00-6 | m-Cumenyl methylcarbamate |  |
| P030 |  | Cyanides (soluble cyanide salts), not otherwise specified |  |
| P031 | 460-19-5 | Cyanogen |  |
| P033 | 506-77-4 | Cyanogen chloride |  |
| P033 | 506-77-4 | Cyanogen chloride CNCl |  |
| P034 | 131-89-5 | 2-Cyclohexyl-4,6-dinitrophenol |  |
| P016 | 542-88-1 | Dichloromethyl ether |  |
| P036 | 696-28-6 | Dichlorophenylarsine |  |
| P037 | 60-57-1 | Dieldrin |  |
| P038 | 692-42-2 | Diethylarsine |  |
| P041 | 311-45-5 | Diethyl-p-nitrophenyl phosphate |  |
| P040 | 297-97-2 | O,O-Diethyl O-pyrazinyl phosphorothioate |  |
| P043 | 55-91-4 | Diisopropylfluorophosphate (DFP) |  |
| P191 | 644-64-4 | Dimetilan |  |
| P004 | 309-00-2 | 1,4,5,8-Dimethanonaphthalene, 1,2,3,4,10,10-hexachloro-1,4,4a,5,8,8a-hexahydro-, (1α,4α,4aβ,5α,8α,8aβ)- |  |
| P060 | 465-73-6 | 1,4,5,8-Dimethanonaphthalene, 1,2,3,4,10,10-hexachloro-1,4,4a,5,8,8a-hexahydro-, (1α,4α,4aβ,5β,8β,8aβ)- |  |
| P037 | 60-57-1 | 2,7:3,6-Dimethanonaphth(2,3-b)­oxirene, 3,4,5,6,9,9-hexachloro-1a,2,2a,3,6,6a,7,7a-octahydro-, (1aα,2β,2aα,3β,6β,6aα,7β,7aα)- |  |
| P051 | 72-20-8\* | 2,7:3,6-Dimethanonaphth(2,3-b)­oxirene, 3,4,5,6,9,9-hexachloro-1a,2,2a,3,6,6a,7,7a-octahydro-, (1aα,2β,2aβ,3α,6α,6aβ,7β,7aα)-, and metabolites |  |
| P044 | 60-51-5 | Dimethoate |  |
| P046 | 122-09-8 | α,α-Dimethylphenethylamine |  |
| P047 | 534-52-1\* | 4,6-Dinitro-o-cresol and salts |  |
| P048 | 51-28-5 | 2,4-Dinitrophenol |  |
| P020 | 88-85-7 | Dinoseb |  |
| P085 | 152-16-9 | Diphosphoramide, octamethyl- |  |
| P111 | 107-49-3 | Diphosphoric acid, tetraethyl ester |  |
| P039 | 298-04-4 | Disulfoton |  |
| P049 | 541-53-7 | Dithiobiuret |  |
| P185 | 26419-73-8 | 1,3-Dithiolane-2-carboxaldehyde, 2,4-dimethyl-, O-((methylamino)- carbonyl)oxime |  |
| P050 | 115-29-7 | Endosulfan |  |
| P088 | 145-73-3 | Endothall |  |
| P051 | 72-20-8 | Endrin |  |
| P051 | 72-20-8 | Endrin, and metabolites |  |
| P042 | 51-43-4 | Epinephrine |  |
| P031 | 460-19-5 | Ethanedinitrile |  |
| P194 | 23135-22-0 | Ethanimidothioic acid, 2-(dimethyl­amino)-N-(((methylamino)carbonyl)­oxy)-2-oxo-, methyl ester |  |
| P066 | 16752-77-5 | Ethanimidothioic acid, N-(((methyl­amino)carbonyl)oxy)-, methyl ester |  |
| P101 | 107-12-0 | Ethyl cyanide |  |
| P054 | 151-56-4 | Ethyleneimine |  |
| P097 | 52-85-7 | Famphur |  |
| P056 | 7782-41-4 | Fluorine |  |
| P057 | 640-19-7 | Fluoroacetamide |  |
| P058 | 62-74-8 | Fluoroacetic acid, sodium salt |  |
| P198 | 23422-53-9 | Formetanate hydrochloride |  |
| P197 | 17702-57-7 | Formparanate |  |
| P065 | 628-86-4 | Fulminic acid, mercury (2+) salt | (R, T) |
| P059 | 76-44-8 | Heptachlor |  |
| P062 | 757-58-4 | Hexaethyl tetraphosphate |  |
| P116 | 79-19-6 | Hydrazinecarbothioamide |  |
| P068 | 60-34-4 | Hydrazine, methyl- |  |
| P063 | 74-90-8 | Hydrocyanic acid |  |
| P063 | 74-90-8 | Hydrogen cyanide |  |
| P096 | 7803-51-2 | Hydrogen phosphide |  |
| P060 | 465-73-6 | Isodrin |  |
| P192 | 119-38-0 | Isolan |  |
| P202 | 64-00-6 | 3-Isopropylphenyl-N-methylcarbamate |  |
| P007 | 2763-96-4 | 3(2H)-Isoxazolone, 5-(aminomethyl)- |  |
| P196 | 15339-36-3 | Manganese, bis(dimethylcarbamo­dithioato-S,S’)- |  |
| P196 | 15339-36-3 | Manganese dimethyldithiocarbamate |  |
| P092 | 62-38-4 | Mercury, (acetato-O)phenyl- |  |
| P065 | 628-86-4 | Mercury fulminate | (R, T) |
| P082 | 62-75-9 | Methanamine, N-methyl-N-nitroso- |  |
| P064 | 624-83-9 | Methane, isocyanato- |  |
| P016 | 542-88-1 | Methane, oxybis(chloro- |  |
| P112 | 509-14-8 | Methane, tetranitro- | (R) |
| P118 | 75-70-7 | Methanethiol, trichloro- |  |
| P198 | 23422-53-9 | Methanimidamide, N,N-dimethyl-N’-(3-(((methylamino)-carbonyl)oxy)­phenyl)-, monohydrochloride |  |
| P197 | 17702-57-7 | Methanimidamide, N,N-dimethyl-N’-(2-methyl-4-(((methylamino)­carbonyl)oxy)phenyl)- |  |
| P199 | 2032-65-7 | Methiocarb |  |
| P050 | 115-29-7 | 6,9-Methano-2,4,3-benzodioxathiepen, 6,7,8,9,10,10-hexachloro-1,5,5a,6,9,9a-hexahydro-, 3-oxide |  |
| P059 | 76-44-8 | 4,7-Methano-1H-indene, 1,4,5,6,7,8,8-heptachloro-3a,4,7,7a-tetrahydro- |  |
| P066 | 16752-77-5 | Methomyl |  |
| P068 | 60-34-4 | Methyl hydrazine |  |
| P064 | 624-83-9 | Methyl isocyanate |  |
| P069 | 75-86-5 | 2-Methyllactonitrile |  |
| P071 | 298-00-0 | Methyl parathion |  |
| P190 | 1129-41-5 | Metolcarb |  |
| P128 | 315-18-4 | Mexacarbate |  |
| P072 | 86-88-4 | α-Naphthylthiourea |  |
| P073 | 13463-39-3 | Nickel carbonyl |  |
| P073 | 13463-39-3 | Nickel carbonyl Ni(CO)4, (T-4)- |  |
| P074 | 557-19-7 | Nickel cyanide |  |
| P074 | 557-19-7 | Nickel cyanide Ni(CN)2 |  |
| P075 | 54-11-5\* | Nicotine, and salts (excluding patches, gums and lozenges that are FDA-approved over-the-counter nicotine replacement therapies) |  |
| P076 | 10102-43-9 | Nitric oxide |  |
| P077 | 100-01-6 | p-Nitroaniline |  |
| P078 | 10102-44-0 | Nitrogen dioxide |  |
| P076 | 10102-43-9 | Nitrogen oxide NO |  |
| P078 | 10102-44-0 | Nitrogen oxide NO2 |  |
| P081 | 55-63-0 | Nitroglycerine | (R) |
| P082 | 62-75-9 | N-Nitrosodimethylamine |  |
| P084 | 4549-40-0 | N-Nitrosomethylvinylamine |  |
| P085 | 152-16-9 | Octamethylpyrophosphoramide |  |
| P087 | 20816-12-0 | Osmium oxide OsO4, (T-4)- |  |
| P087 | 20816-12-0 | Osmium tetroxide |  |
| P088 | 145-73-3 | 7-Oxabicyclo(2.2.1)heptane-2,3-di­carboxylic acid |  |
| P194 | 23135-22-0 | Oxamyl |  |
| P089 | 56-38-2 | Parathion |  |
| P034 | 131-89-5 | Phenol, 2-cyclohexyl-4,6-dinitro- |  |
| P128 | 315-18-4 | Phenol, 4-(dimethylamino)-3,5-dimethyl-, methylcarbamate (ester) |  |
| P199 | 2032-65-7 | Phenol, (3,5-dimethyl-4-(methylthio)-, methylcarbamate |  |
| P048 | 51-28-5 | Phenol, 2,4-dinitro- |  |
| P047 | 534-52-1\* | Phenol, 2-methyl-4,6-dinitro-, and salts |  |
| P202 | 64-00-6 | Phenol, 3-(1-methylethyl)-, methyl carbamate |  |
| P201 | 2631-37-0 | Phenol, 3-methyl-5-(1-methylethyl)-, methyl carbamate |  |
| P020 | 88-85-7 | Phenol, 2-(1-methylpropyl)-4,6-di­nitro- |  |
| P009 | 131-74-8 | Phenol, 2,4,6-trinitro-, ammonium salt | (R) |
| P092 | 62-38-4 | Phenylmercury acetate |  |
| P093 | 103-85-5 | Phenylthiourea |  |
| P094 | 298-02-2 | Phorate |  |
| P095 | 75-44-5 | Phosgene |  |
| P096 | 7803-51-2 | Phosphine |  |
| P041 | 311-45-5 | Phosphoric acid, diethyl 4-nitrophenyl ester |  |
| P039 | 298-04-4 | Phosphorodithioic acid, O,O-diethyl S-(2-(ethylthio)ethyl) ester |  |
| P094 | 298-02-2 | Phosphorodithioic acid, O,O-diethyl S-((ethylthio)methyl) ester |  |
| P044 | 60-51-5 | Phosphorodithioic acid, O,O-dimethyl S-(2-(methylamino)-2-oxoethyl)ester |  |
| P043 | 55-91-4 | Phosphorofluoridic acid, bis(1-methyl­ethyl)ester |  |
| P089 | 56-38-2 | Phosphorothioic acid, O,O-diethyl O-(4-nitrophenyl) ester |  |
| P040 | 297-97-2 | Phosphorothioic acid, O,O-diethyl O-pyrazinyl ester |  |
| P097 | 52-85-7 | Phosphorothioic acid, O-(4-((di­methylamino)sulfonyl)phenyl) O,O-di­methyl ester |  |
| P071 | 298-00-0 | Phosphorothioic acid, O,O-dimethyl O-(4-nitrophenyl) ester |  |
| P204 | 57-47-6 | Physostigmine |  |
| P188 | 57-64-7 | Physostigmine salicylate |  |
| P110 | 78-00-2 | Plumbane, tetraethyl- |  |
| P098 | 151-50-8 | Potassium cyanide |  |
| P098 | 151-50-8 | Potassium cyanide KCN |  |
| P099 | 506-61-6 | Potassium silver cyanide |  |
| P201 | 2631-37-0 | Promecarb |  |
| P203 | 1646-88-4 | Propanal, 2-methyl-2-(methyl-sulfonyl)-, O-((methylamino)carbonyl) oxime |  |
| P070 | 116-06-3 | Propanal, 2-methyl-2-(methylthio)-, O-((methylamino)carbonyl)oxime |  |
| P101 | 107-12-0 | Propanenitrile |  |
| P027 | 542-76-7 | Propanenitrile, 3-chloro- |  |
| P069 | 75-86-5 | Propanenitrile, 2-hydroxy-2-methyl- |  |
| P081 | 55-63-0 | 1,2,3-Propanetriol, trinitrate- | (R) |
| P017 | 598-31-2 | 2-Propanone, 1-bromo- |  |
| P102 | 107-19-7 | Propargyl alcohol |  |
| P003 | 107-02-8 | 2-Propenal |  |
| P005 | 107-18-6 | 2-Propen-1-ol |  |
| P067 | 75-55-8 | 1,2-Propylenimine |  |
| P102 | 107-19-7 | 2-Propyn-1-ol |  |
| P008 | 504-24-5 | 4-Pyridinamine |  |
| P075 | 54-11-5\* | Pyridine, 3-(1-methyl-2-pyrrolidinyl)-, (S)- and salts (excluding patches, gums and lozenges that are FDA-approved over-the-counter nicotine replacement therapies) |  |
| P204 | 57-47-6 | Pyrrolo(2,3-b)indol-5-ol, 1,2,3,3a,8,8a-hexahydro-1,3a,8-trimethyl-, methyl­carbamate (ester), (3aS-cis)- |  |
| P114 | 12039-52-0 | Selenious acid, dithallium (1+) salt |  |
| P103 | 630-10-4 | Selenourea |  |
| P104 | 506-64-9 | Silver cyanide |  |
| P104 | 506-64-9 | Silver cyanide AgCN |  |
| P105 | 26628-22-8 | Sodium azide |  |
| P106 | 143-33-9 | Sodium cyanide |  |
| P106 | 143-33-9 | Sodium cyanide NaCN |  |
| P108 | 57-24-9\* | Strychnidin-10-one, and salts |  |
| P018 | 357-57-3 | Strychnidin-10-one, 2,3-dimethoxy- |  |
| P108 | 57-24-9\* | Strychnine and salts |  |
| P115 | 7446-18-6 | Sulfuric acid, dithallium (1+) salt |  |
| P109 | 3689-24-5 | Tetraethyldithiopyrophosphate |  |
| P110 | 78-00-2 | Tetraethyl lead |  |
| P111 | 107-49-3 | Tetraethylpyrophosphate |  |
| P112 | 509-14-8 | Tetranitromethane | (R) |
| P062 | 757-58-4 | Tetraphosphoric acid, hexaethyl ester |  |
| P113 | 1314-32-5 | Thallic oxide |  |
| P113 | 1314-32-5 | Thallium oxide Tl2O3 |  |
| P114 | 12039-52-0 | Thallium (I) selenite |  |
| P115 | 7446-18-6 | Thallium (I) sulfate |  |
| P109 | 3689-24-5 | Thiodiphosphoric acid, tetraethyl ester |  |
| P045 | 39196-18-4 | Thiofanox |  |
| P049 | 541-53-7 | Thioimidodicarbonic diamide ((H2N)C(S))2NH |  |
| P014 | 108-98-5 | Thiophenol |  |
| P116 | 79-19-6 | Thiosemicarbazide |  |
| P026 | 5344-82-1 | Thiourea, (2-chlorophenyl)- |  |
| P072 | 86-88-4 | Thiourea, 1-naphthalenyl- |  |
| P093 | 103-85-5 | Thiourea, phenyl- |  |
| P123 | 8001-35-2 | Toxaphene |  |
| P185 | 26419-73-8 | Tirpate |  |
| P118 | 75-70-7 | Trichloromethanethiol |  |
| P119 | 7803-55-6 | Vanadic acid, ammonium salt |  |
| P120 | 1314-62-1 | Vanadium oxide V2O5 |  |
| P120 | 1314-62-1 | Vanadium pentoxide |  |
| P084 | 4549-40-0 | Vinylamine, N-methyl-N-nitroso- |  |
| P001 | 81-81-2\* | Warfarin, and salts, when present at concentrations greater than 0.3 percent |  |
| P121 | 557-21-1 | Zinc cyanide |  |
| P121 | 557-21-1 | Zinc cyanide Zn(CN)2 |  |
| P205 | 137-30-4 | Zinc, bis(dimethylcarbamodithioato-S,S’)- |  |
| P122 | 1314-84-7 | Zinc phosphide Zn3P2, when present at concentrations greater than 10 percent | (R, T) |
| P205 | 137-30-4 | Ziram |  |

Numerical Listing

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| USEPA Hazardous Waste No. | Chemical Abstracts No. (CAS No.) | Substance | | Hazard Code | |
| P001 | 81-81-2\* | 2H-1-Benzopyran-2-one, 4-hydroxy-3-(3-oxo-1-phenylbutyl)-, and salts, when present at concentrations greater than 0.3 percent |  | |
| P001 | 81-81-2\* | Warfarin, and salts, when present at concentrations greater than 0.3 percent |  | |
| P002 | 591-08-2 | Acetamide, N-(aminothioxomethyl) |  | |
| P002 | 591-08-2 | 1-Acetyl-2-thiourea |  | |
| P003 | 107-02-8 | Acrolein |  | |
| P003 | 107-02-8 | 2-Propenal |  | |
| P004 | 309-00-2 | Aldrin |  | |
| P004 | 309-00-2 | 1,4,5,8-Dimethanonaphthalene, 1,2,3,4,10,10-hexachloro-1,4,4a,5,8,8a-hexahydro-, (1α,4α,4aβ,5α,8α,8aβ)- |  | |
| P005 | 107-18-6 | Allyl alcohol |  | |
| P005 | 107-18-6 | 2-Propen-1-ol |  | |
| P006 | 20859-73-8 | Aluminum phosphide | (R, T) | |
| P007 | 2763-96-4 | 5-(Aminomethyl)-3-isoxazolol |  | |
| P007 | 2763-96-4 | 3(2H)-Isoxazolone, 5-(aminomethyl)- |  | |
| P008 | 504-24-5 | 4-Aminopyridine |  | |
| P008 | 504-24-5 | 4-Pyridinamine |  | |
| P009 | 131-74-8 | Ammonium picrate | (R) | |
| P009 | 131-74-8 | Phenol, 2,4,6-trinitro-, ammonium salt | (R) | |
| P010 | 7778-39-4 | Arsenic acid H3AsO4 |  | |
| P011 | 1303-28-2 | Arsenic oxide As2O5 |  | |
| P011 | 1303-28-2 | Arsenic pentoxide |  | |
| P012 | 1327-53-3 | Arsenic oxide As2O3 |  | |
| P012 | 1327-53-3 | Arsenic trioxide |  | |
| P013 | 542-62-1 | Barium cyanide |  | |
| P014 | 108-98-5 | Benzenethiol |  | |
| P014 | 108-98-5 | Thiophenol |  | |
| P015 | 7440-41-7 | Beryllium powder |  | |
| P016 | 542-88-1 | Dichloromethyl ether |  | |
| P016 | 542-88-1 | Methane, oxybis(chloro- |  | |
| P017 | 598-31-2 | Bromoacetone |  | |
| P017 | 598-31-2 | 2-Propanone, 1-bromo- |  | |
| P018 | 357-57-3 | Brucine |  | |
| P018 | 357-57-3 | Strychnidin-10-one, 2,3-dimethoxy- |  | |
| P020 | 88-85-7 | Dinoseb |  | |
| P020 | 88-85-7 | Phenol, 2-(1-methylpropyl)-4,6-di­nitro- |  | |
| P021 | 592-01-8 | Calcium cyanide |  | |
| P021 | 592-01-8 | Calcium cyanide Ca(CN)2 |  | |
| P022 | 75-15-0 | Carbon disulfide |  | |
| P023 | 107-20-0 | Acetaldehyde, chloro- |  | |
| P023 | 107-20-0 | Chloroacetaldehyde |  | |
| P024 | 106-47-8 | Benzenamine, 4-chloro- |  | |
| P024 | 106-47-8 | p-Chloroaniline |  | |
| P026 | 5344-82-1 | 1-(o-Chlorophenyl)thiourea |  | |
| P026 | 5344-82-1 | Thiourea, (2-chlorophenyl)- |  | |
| P027 | 542-76-7 | 3-Chloropropionitrile |  | |
| P027 | 542-76-7 | Propanenitrile, 3-chloro- |  | |
| P028 | 100-44-7 | Benzene, (chloromethyl)- |  | |
| P028 | 100-44-7 | Benzyl chloride |  | |
| P029 | 544-92-3 | Copper cyanide |  | |
| P029 | 544-92-3 | Copper cyanide CuCN |  | |
| P030 |  | Cyanides (soluble cyanide salts), not otherwise specified |  | |
| P031 | 460-19-5 | Cyanogen |  | |
| P031 | 460-19-5 | Ethanedinitrile |  | |
| P033 | 506-77-4 | Cyanogen chloride |  | |
| P033 | 506-77-4 | Cyanogen chloride CNCl |  | |
| P034 | 131-89-5 | 2-Cyclohexyl-4,6-dinitrophenol |  | |
| P034 | 131-89-5 | Phenol, 2-cyclohexyl-4,6-dinitro- |  | |
| P036 | 696-28-6 | Arsonous dichloride, phenyl- |  | |
| P036 | 696-28-6 | Dichlorophenylarsine |  | |
| P037 | 60-57-1 | Dieldrin |  | |
| P037 | 60-57-1 | 2,7:3,6-Dimethanonaphth(2,3-b)­oxirene, 3,4,5,6,9,9-hexachloro-1a,2,2a,3,6,6a,7,7a-octahydro-, (1aα,2β,2aα,3β,6β,6aα,7β,7aα)- |  | |
| P038 | 692-42-2 | Arsine, diethyl- |  | |
| P038 | 692-42-2 | Diethylarsine |  | |
| P039 | 298-04-4 | Disulfoton |  | |
| P039 | 298-04-4 | Phosphorodithioic acid, O,O-diethyl S-(2-(ethylthio)ethyl) ester |  | |
| P040 | 297-97-2 | O,O-Diethyl O-pyrazinyl phosphorothioate |  | |
| P040 | 297-97-2 | Phosphorothioic acid, O,O-diethyl O-pyrazinyl ester |  | |
| P041 | 311-45-5 | Diethyl-p-nitrophenyl phosphate |  | |
| P041 | 311-45-5 | Phosphoric acid, diethyl 4-nitrophenyl ester |  | |
| P042 | 51-43-4 | 1,2-Benzenediol, 4-(1-hydroxy-2-(methylamino)ethyl)-, (R)- |  | |
| P042 | 51-43-4 | Epinephrine |  | |
| P043 | 55-91-4 | Diisopropylfluorophosphate (DFP) |  | |
| P043 | 55-91-4 | Phosphorofluoridic acid, bis(1-methyl­ethyl)ester |  | |
| P044 | 60-51-5 | Dimethoate |  | |
| P044 | 60-51-5 | Phosphorodithioic acid, O,O-dimethyl S-(2-(methylamino)-2-oxoethyl)ester |  | |
| P045 | 39196-18-6 | 2-Butanone, 3,3-dimethyl-1-(methyl­thio)-, O-((methylamino)carbonyl) oxime |  | |
| P045 | 39196-18-4 | Thiofanox |  | |
| P046 | 122-09-8 | Benzeneethanamine, α,α-dimethyl- |  | |
| P046 | 122-09-8 | α,α-Dimethylphenethylamine |  | |
| P047 | 534-52-1\* | 4,6-Dinitro-o-cresol and salts |  | |
| P047 | 534-52-1\* | Phenol, 2-methyl-4,6-dinitro-, and salts |  | |
| P048 | 51-28-5 | 2,4-Dinitrophenol |  | |
| P048 | 51-28-5 | Phenol, 2,4-dinitro- |  | |
| P049 | 541-53-7 | Dithiobiuret |  | |
| P049 | 541-53-7 | Thioimidodicarbonic diamide ((H2N)C(S))2NH |  | |
| P050 | 115-29-7 | Endosulfan |  | |
| P050 | 115-29-7 | 6,9-Methano-2,4,3-benzodioxathiepen, 6,7,8,9,10,10-hexachloro-1,5,5a,6,9,9a-hexahydro-, 3-oxide |  | |
| P051 | 72-20-8\* | 2,7:3,6-Dimethanonaphth(2,3-b)­oxirene, 3,4,5,6,9,9-hexachloro-1a,2,2a,3,6,6a,7,7a-octahydro-, (1aα,2β,2aβ,3α,6α,6aβ,7β,7aα)-, and metabolites |  | |
| P051 | 72-20-8 | Endrin |  | |
| P051 | 72-20-8 | Endrin, and metabolites |  | |
| P054 | 151-56-4 | Aziridine |  | |
| P054 | 151-56-4 | Ethyleneimine |  | |
| P056 | 7782-41-4 | Fluorine |  | |
| P057 | 640-19-7 | Acetamide, 2-fluoro- |  | |
| P057 | 640-19-7 | Fluoroacetamide |  | |
| P058 | 62-74-8 | Acetic acid, fluoro-, sodium salt |  | |
| P058 | 62-74-8 | Fluoroacetic acid, sodium salt |  | |
| P059 | 76-44-8 | Heptachlor |  | |
| P059 | 76-44-8 | 4,7-Methano-1H-indene, 1,4,5,6,7,8,8-heptachloro-3a,4,7,7a-tetrahydro- |  | |
| P060 | 465-73-6 | 1,4,5,8-Dimethanonaphthalene, 1,2,3,4,10,10-hexachloro-1,4,4a,5,8,8a-hexahydro-, (1α,4α,4aβ,5β,8β,8aβ)- |  | |
| P060 | 465-73-6 | Isodrin |  | |
| P062 | 757-58-4 | Hexaethyl tetraphosphate |  | |
| P062 | 757-58-4 | Tetraphosphoric acid, hexaethyl ester |  | |
| P063 | 74-90-8 | Hydrocyanic acid |  | |
| P063 | 74-90-8 | Hydrogen cyanide |  | |
| P064 | 624-83-9 | Methane, isocyanato- |  | |
| P064 | 624-83-9 | Methyl isocyanate |  | |
| P065 | 628-86-4 | Fulminic acid, mercury (2+) salt | (R, T) | |
| P065 | 628-86-4 | Mercury fulminate | (R, T) | |
| P066 | 16752-77-5 | Ethanimidothioic acid, N-(((methyl­amino)carbonyl)oxy)-, methyl ester |  | |
| P066 | 16752-77-5 | Methomyl |  | |
| P067 | 75-55-8 | Aziridine, 2-methyl |  | |
| P067 | 75-55-8 | 1,2-Propylenimine |  | |
| P068 | 60-34-4 | Hydrazine, methyl- |  | |
| P068 | 60-34-4 | Methyl hydrazine |  | |
| P069 | 75-86-5 | 2-Methyllactonitrile |  | |
| P069 | 75-86-5 | Propanenitrile, 2-hydroxy-2-methyl- |  | |
| P070 | 116-06-3 | Aldicarb |  | |
| P070 | 116-06-3 | Propanal, 2-methyl-2-(methylthio)-, O-((methylamino)carbonyl)oxime |  | |
| P071 | 298-00-0 | Methyl parathion |  | |
| P071 | 298-00-0 | Phosphorothioic acid, O,O-dimethyl O-(4-nitrophenyl) ester |  | |
| P072 | 86-88-4 | α-Naphthylthiourea |  | |
| P072 | 86-88-4 | Thiourea, 1-naphthalenyl- |  | |
| P073 | 13463-39-3 | Nickel carbonyl |  | |
| P073 | 13463-39-3 | Nickel carbonyl Ni(CO)4, (T-4)- |  | |
| P074 | 557-19-7 | Nickel cyanide |  | |
| P074 | 557-19-7 | Nickel cyanide Ni(CN)2 |  | |
| P075 | 54-11-5\* | Nicotine, and salts (excluding patches, gums and lozenges that are FDA-approved over-the-counter nicotine replacement therapies) |  | |
| P075 | 54-11-5\* | Pyridine, 3-(1-methyl-2-pyrrolidinyl)-, (S)- and salts (excluding patches, gums and lozenges that are FDA-approved over-the-counter nicotine replacement therapies) |  | |
| P076 | 10102-43-9 | Nitric oxide |  | |
| P076 | 10102-43-9 | Nitrogen oxide NO |  | |
| P077 | 100-01-6 | Benzenamine, 4-nitro- |  | |
| P077 | 100-01-6 | p-Nitroaniline |  | |
| P078 | 10102-44-0 | Nitrogen dioxide |  | |
| P078 | 10102-44-0 | Nitrogen oxide NO2 |  | |
| P081 | 55-63-0 | Nitroglycerine | (R) | |
| P081 | 55-63-0 | 1,2,3-Propanetriol, trinitrate- | (R) | |
| P082 | 62-75-9 | Methanamine, N-methyl-N-nitroso- |  | |
| P082 | 62-75-9 | N-Nitrosodimethylamine |  | |
| P084 | 4549-40-0 | N-Nitrosomethylvinylamine |  | |
| P084 | 4549-40-0 | Vinylamine, N-methyl-N-nitroso- |  | |
| P085 | 152-16-9 | Diphosphoramide, octamethyl- |  | |
| P085 | 152-16-9 | Octamethylpyrophosphoramide |  | |
| P087 | 20816-12-0 | Osmium oxide OsO4, (T-4)- |  | |
| P087 | 20816-12-0 | Osmium tetroxide |  | |
| P088 | 145-73-3 | Endothall |  | |
| P088 | 145-73-3 | 7-Oxabicyclo(2.2.1)heptane-2,3-di­carboxylic acid |  | |
| P089 | 56-38-2 | Parathion |  | |
| P089 | 56-38-2 | Phosphorothioic acid, O,O-diethyl O-(4-nitrophenyl) ester |  | |
| P092 | 62-38-4 | Mercury, (acetato-O)phenyl- |  | |
| P092 | 62-38-4 | Phenylmercury acetate |  | |
| P093 | 103-85-5 | Phenylthiourea |  | |
| P093 | 103-85-5 | Thiourea, phenyl- |  | |
| P094 | 298-02-2 | Phorate |  | |
| P094 | 298-02-2 | Phosphorodithioic acid, O,O-diethyl S-((ethylthio)methyl) ester |  | |
| P095 | 75-44-5 | Carbonic dichloride |  | |
| P095 | 75-44-5 | Phosgene |  | |
| P096 | 7803-51-2 | Hydrogen phosphide |  | |
| P096 | 7803-51-2 | Phosphine |  | |
| P097 | 52-85-7 | Famphur |  | |
| P097 | 52-85-7 | Phosphorothioic acid, O-(4-((di­methylamino)sulfonyl)phenyl) O,O-di­methyl ester |  | |
| P098 | 151-50-8 | Potassium cyanide |  | |
| P098 | 151-50-8 | Potassium cyanide KCN |  | |
| P099 | 506-61-6 | Argentate(1-), bis(cyano-C)‑, potassium |  | |
| P099 | 506-61-6 | Potassium silver cyanide |  | |
| P101 | 107-12-0 | Ethyl cyanide |  | |
| P101 | 107-12-0 | Propanenitrile |  | |
| P102 | 107-19-7 | Propargyl alcohol |  | |
| P102 | 107-19-7 | 2-Propyn-1-ol |  | |
| P103 | 630-10-4 | Selenourea |  | |
| P104 | 506-64-9 | Silver cyanide |  | |
| P104 | 506-64-9 | Silver cyanide AgCN |  | |
| P105 | 26628-22-8 | Sodium azide |  | |
| P106 | 143-33-9 | Sodium cyanide |  | |
| P106 | 143-33-9 | Sodium cyanide NaCN |  | |
| P108 | 57-24-9\* | Strychnidin-10-one, and salts |  | |
| P108 | 57-24-9\* | Strychnine and salts |  | |
| P109 | 3689-24-5 | Tetraethyldithiopyrophosphate |  | |
| P109 | 3689-24-5 | Thiodiphosphoric acid, tetraethyl ester |  | |
| P110 | 78-00-2 | Plumbane, tetraethyl- |  | |
| P110 | 78-00-2 | Tetraethyl lead |  | |
| P111 | 107-49-3 | Diphosphoric acid, tetraethyl ester |  | |
| P111 | 107-49-3 | Tetraethylpyrophosphate |  | |
| P112 | 509-14-8 | Methane, tetranitro- | (R) | |
| P112 | 509-14-8 | Tetranitromethane | (R) | |
| P113 | 1314-32-5 | Thallic oxide |  | |
| P113 | 1314-32-5 | Thallium oxide Tl2O3 |  | |
| P114 | 12039-52-0 | Selenious acid, dithallium (1+) salt |  | |
| P114 | 12039-52-0 | Thallium (I) selenite |  | |
| P115 | 7446-18-6 | Sulfuric acid, dithallium (1+) salt |  | |
| P115 | 7446-18-6 | Thallium (I) sulfate |  | |
| P116 | 79-19-6 | Hydrazinecarbothioamide |  | |
| P116 | 79-19-6 | Thiosemicarbazide |  | |
| P118 | 75-70-7 | Methanethiol, trichloro- |  | |
| P118 | 75-70-7 | Trichloromethanethiol |  | |
| P119 | 7803-55-6 | Ammonium vanadate |  | |
| P119 | 7803-55-6 | Vanadic acid, ammonium salt |  | |
| P120 | 1314-62-1 | Vanadium oxide V2O5 |  | |
| P120 | 1314-62-1 | Vanadium pentoxide |  | |
| P121 | 557-21-1 | Zinc cyanide |  | |
| P121 | 557-21-1 | Zinc cyanide Zn(CN)2 |  | |
| P122 | 1314-84-7 | Zinc phosphide Zn3P2, when present at concentrations greater than 10 percent | (R, T) | |
| P123 | 8001-35-2 | Toxaphene |  | |
| P127 | 1563-66-2 | 7-Benzofuranol, 2,3-dihydro-2,2-dimethyl-, methylcarbamate |  | |
| P127 | 1563-66-2 | Carbofuran |  | |
| P128 | 315-18-4 | Phenol, 4-(dimethylamino)-3,5-dimethyl-, methylcarbamate (ester) |  | |
| P128 | 315-18-4 | Mexacarbate |  | |
| P185 | 26419-73-8 | 1,3-Dithiolane-2-carboxaldehyde, 2,4-dimethyl-, O-((methylamino)- carbonyl)oxime |  | |
| P185 | 26419-73-8 | Tirpate |  | |
| P188 | 57-64-7 | Benzoic acid, 2-hydroxy-, compound with (3aS-cis)-1,2,3,3a,8,8a-hexahydro-1,3a,8-trimethylpyrrolo­(2,3-b)indol-5-yl methylcarbamate ester (1:1) |  | |
| P188 | 57-64-7 | Physostigmine salicylate |  | |
| P189 | 55285-14-8 | Carbamic acid, ((dibutylamino)-thio)­methyl-, 2,3-dihydro-2,2-dimethyl-7-benzofuranyl ester |  | |
| P189 | 55285-14-8 | Carbosulfan |  | |
| P190 | 1129-41-5 | Carbamic acid, methyl-, 3-methyl­phenyl ester |  | |
| P190 | 1129-41-5 | Metolcarb |  | |
| P191 | 644-64-4 | Carbamic acid, dimethyl-, 1-((dimethyl-amino)carbonyl)-5-methyl-1H-pyrazol-3-yl ester |  | |
| P191 | 644-64-4 | Dimetilan |  | |
| P192 | 119-38-0 | Carbamic acid, dimethyl-, 3-methyl-1-(1-methylethyl)-1H-pyrazol-5-yl ester |  | |
| P192 | 119-38-0 | Isolan |  | |
| P194 | 23135-22-0 | Ethanimidothioic acid, 2-(dimethyl­amino)-N-(((methylamino)carbonyl)­oxy)-2-oxo-, methyl ester |  | |
| P194 | 23135-22-0 | Oxamyl |  | |
| P196 | 15339-36-3 | Manganese, bis(dimethylcarbamo­dithioato-S,S’)- |  | |
| P196 | 15339-36-3 | Manganese dimethyldithiocarbamate |  | |
| P197 | 17702-57-7 | Formparanate |  | |
| P197 | 17702-57-7 | Methanimidamide, N,N-dimethyl-N’-(2-methyl-4-(((methylamino)­carbonyl)oxy)phenyl)- |  | |
| P198 | 23422-53-9 | Formetanate hydrochloride |  | |
| P198 | 23422-53-9 | Methanimidamide, N,N-dimethyl-N’-(3-(((methylamino)-carbonyl)oxy)­phenyl)-, monohydrochloride |  | |
| P199 | 2032-65-7 | Methiocarb |  | |
| P199 | 2032-65-7 | Phenol, (3,5-dimethyl-4-(methylthio)-, methylcarbamate |  | |
| P201 | 2631-37-0 | Phenol, 3-methyl-5-(1-methylethyl)-, methyl carbamate |  | |
| P201 | 2631-37-0 | Promecarb |  | |
| P202 | 64-00-6 | m-Cumenyl methylcarbamate |  | |
| P202 | 64-00-6 | 3-Isopropylphenyl-N-methylcarbamate |  | |
| P202 | 64-00-6 | Phenol, 3-(1-methylethyl)-, methyl carbamate |  | |
| P203 | 1646-88-4 | Aldicarb sulfone |  | |
| P203 | 1646-88-4 | Propanal, 2-methyl-2-(methyl-sulfonyl)-, O-((methylamino)carbonyl) oxime |  | |
| P204 | 57-47-6 | Physostigmine |  | |
| P204 | 57-47-6 | Pyrrolo(2,3-b)indol-5-ol, 1,2,3,3a,8,8a-hexahydro-1,3a,8-trimethyl-, methyl­carbamate (ester), (3aS-cis)- |  | |
| P205 | 137-30-4 | Zinc, bis(dimethylcarbamodithioato-S,S’)- |  | |
| P205 | 137-30-4 | Ziram |  | |

BOARD NOTE:  An asterisk (\*) following the CAS number indicates that the CAS number is given for the parent compound only.

f) The commercial chemical products, manufacturing chemical intermediates, or off-specification commercial chemical products referred to in subsections (a) through (d), are identified as toxic wastes (T) unless otherwise designated.  These wastes and their corresponding USEPA hazardous waste numbers are the following:

BOARD NOTE:  For the convenience of the regulated community, the primary hazardous properties of these materials have been indicated by the letters T (Toxicity), R (Reactivity), I (Ignitability), and C (Corrosivity).  The absence of a letter indicates that the compound is only listed for toxicity. Wastes are first listed in alphabetical order by substance and then listed again in numerical order by USEPA hazardous waste number.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| USEPA Hazardous Waste No. | Chemical Abstracts No. (CAS No.) | | Substance | | Hazard Code | |
| U394 | | 30558-43-1 | | A2213 | |  | |
| U001 | | 75-07-0 | | Acetaldehyde | | (I) | |
| U034 | | 75-87-6 | | Acetaldehyde, trichloro- | |  | |
| U187 | | 62-44-2 | | Acetamide, N-(4-ethoxyphenyl)- | |  | |
| U005 | | 53-96-3 | | Acetamide, N-9H-fluoren-2-yl- | |  | |
| U240 | | P 94-75-7 | | Acetic acid, (2,4-dichlorophenoxy)-, salts and esters | |  | |
| U112 | | 141-78-6 | | Acetic acid, ethyl ester | | (I) | |
| U144 | | 301-04-2 | | Acetic acid, lead (2+) salt | |  | |
| U214 | | 563-68-8 | | Acetic acid, thallium (1+) salt | |  | |
| See F027 | | 93-76-5 | | Acetic acid, (2,4,5-trichlorophenoxy)- | |  | |
| U002 | | 67-64-1 | | Acetone | | (I) | |
| U003 | | 75-05-8 | | Acetonitrile | | (I, T) | |
| U004 | | 98-86-2 | | Acetophenone | |  | |
| U005 | | 53-96-3 | | 2-Acetylaminofluorene | |  | |
| U006 | | 75-36-5 | | Acetyl chloride | | (C, R, T) | |
| U007 | | 79-06-1 | | Acrylamide | |  | |
| U008 | | 79-10-7 | | Acrylic acid | | (I) | |
| U009 | | 107-13-1 | | Acrylonitrile | |  | |
| U011 | | 61-82-5 | | Amitrole | |  | |
| U012 | | 62-53-3 | | Aniline | | (I, T) | |
| U136 | | 75-60-5 | | Arsinic acid, dimethyl- | |  | |
| U014 | | 492-80-8 | | Auramine | |  | |
| U015 | | 115-02-6 | | Azaserine | |  | |
| U010 | | 50-07-7 | | Azirino(2',3':3,4)pyrrolo(1,2-a)indole-4,7-dione, 6-amino-8-(((amino­carbonyl)oxy)methyl)-1,1a,2,8,8a,8b-hexahydro-8a-methoxy-5-methyl-, (1a-S-(1aα,8β,8aα,8bα))- | |  | |
| U280 | | 101-27-9 | | Barban | |  | |
| U278 | | 22781-23-3 | | Bendiocarb | |  | |
| U364 | | 22961-82-6 | | Bendiocarb phenol | |  | |
| U271 | | 17804-35-2 | | Benomyl | |  | |
| U157 | | 56-49-5 | | Benz(j)aceanthrylene, 1,2-dihydro-3-methyl- | |  | |
| U016 | | 225-51-4 | | Benz(c)acridine | |  | |
| U017 | | 98-87-3 | | Benzal chloride | |  | |
| U192 | | 23950-58-5 | | Benzamide, 3,5-dichloro-N-(1,1-di­methyl-2-propynyl)- | |  | |
| U018 | | 56-55-3 | | Benz(a)anthracene | |  | |
| U094 | | 57-97-6 | | Benz(a)anthracene, 7,12-dimethyl- | |  | |
| U012 | | 62-53-3 | | Benzenamine | | (I, T) | |
| U014 | | 492-80-8 | | Benzenamine, 4,4'-carbonimidoylbis­(N,N-dimethyl- | |  | |
| U049 | | 3165-93-3 | | Benzenamine, 4-chloro-2-methyl-, hydrochloride | |  | |
| U093 | | 60-11-7 | | Benzenamine, N,N-dimethyl-4-(phenylazo)- | |  | |
| U328 | | 95-53-4 | | Benzenamine, 2-methyl- | |  | |
| U353 | | 106-49-0 | | Benzenamine, 4-methyl- | |  | |
| U158 | | 101-14-4 | | Benzenamine, 4,4'-methylenebis(2-chloro- | |  | |
| U222 | | 636-21-5 | | Benzenamine, 2-methyl-, hydrochloride | |  | |
| U181 | | 99-55-8 | | Benzenamine, 2-methyl-5-nitro- | |  | |
| U019 | | 71-43-2 | | Benzene | | (I, T) | |
| U038 | | 510-15-6 | | Benzeneacetic acid, 4-chloro-α-(4-chlorophenyl)-α-hydroxy-, ethyl ester | |  | |
| U030 | | 101-55-3 | | Benzene, 1-bromo-4-phenoxy- | |  | |
| U035 | | 305-03-3 | | Benzenebutanoic acid, 4-(bis(2-chloroethyl)amino)- | |  | |
| U037 | | 108-90-7 | | Benzene, chloro- | |  | |
| U221 | | 25376-45-8 | | Benzenediamine, ar-methyl- | |  | |
| U028 | | 117-81-7 | | 1,2-Benzenedicarboxylic acid, bis(2-ethylhexyl) ester | |  | |
| U069 | | 84-74-2 | | 1,2-Benzenedicarboxylic acid, dibutyl ester | |  | |
| U088 | | 84-66-2 | | 1,2-Benzenedicarboxylic acid, diethyl ester | |  | |
| U102 | | 131-11-3 | | 1,2-Benzenedicarboxylic acid, di­methyl ester | |  | |
| U107 | | 117-84-0 | | 1,2-Benzenedicarboxylic acid, dioctyl ester | |  | |
| U070 | | 95-50-1 | | Benzene, 1,2-dichloro- | |  | |
| U071 | | 541-73-1 | | Benzene, 1,3-dichloro- | |  | |
| U072 | | 106-46-7 | | Benzene, 1,4-dichloro- | |  | |
| U060 | | 72-54-8 | | Benzene, 1,1'-(2,2-dichloroethyl­idene)bis(4-chloro- | |  | |
| U017 | | 98-87-3 | | Benzene, (dichloromethyl)- | |  | |
| U223 | | 26471-62-5 | | Benzene, 1,3-diisocyanatomethyl- | | (R, T) | |
| U239 | | 1330-20-7 | | Benzene, dimethyl- | | (I) | |
| U201 | | 108-46-3 | | 1,3-Benzenediol | |  | |
| U127 | | 118-74-1 | | Benzene, hexachloro- | |  | |
| U056 | | 110-82-7 | | Benzene, hexahydro- | | (I) | |
| U220 | | 108-88-3 | | Benzene, methyl- | |  | |
| U105 | | 121-14-2 | | Benzene, 1-methyl-2,4-dinitro- | |  | |
| U106 | | 606-20-2 | | Benzene, 2-methyl-1,3-dinitro- | |  | |
| U055 | | 98-82-8 | | Benzene, (1-methylethyl)- | | (I) | |
| U169 | | 98-95-3 | | Benzene, nitro- | | (I, T) | |
| U183 | | 608-93-5 | | Benzene, pentachloro- | |  | |
| U185 | | 82-68-8 | | Benzene, pentachloronitro- | |  | |
| U020 | | 98-09-9 | | Benzenesulfonic acid chloride | | (C, R) | |
| U020 | | 98-09-9 | | Benzenesulfonyl chloride | | (C, R) | |
| U207 | | 95-94-3 | | Benzene, 1,2,4,5-tetrachloro- | |  | |
| U061 | | 50-29-3 | | Benzene, 1,1'-(2,2,2-trichloroethyl­idene)bis(4-chloro- | |  | |
| U247 | | 72-43-5 | | Benzene, 1,1'-(2,2,2-trichloroethyl­idene)bis(4-methoxy- | |  | |
| U023 | | 98-07-7 | | Benzene, (trichloromethyl)- | | (C, R, T) | |
| U234 | | 99-35-4 | | Benzene, 1,3,5-trinitro- | | (R, T) | |
| U021 | | 92-87-5 | | Benzidene | |  | |
| U203 | | 94-59-7 | | 1,3-Benzodioxole, 5-(2-propenyl)- | |  | |
| U141 | | 120-58-1 | | 1,3-Benzodioxole, 5-(1-propenyl)- | |  | |
| U090 | | 94-58-6 | | 1,3-Benzodioxole, 5-propyl- | |  | |
| U278 | | 22781-23-3 | | 1,3-Benzodioxol-4-ol, 2,2-dimethyl-, methyl carbamate | |  | |
| U364 | | 22961-82-6 | | 1,3-Benzodioxol-4-ol, 2,2-dimethyl- | |  | |
| U367 | | 1563-38-8 | | 7-Benzofuranol, 2,3-dihydro-2,2-di­methyl- | |  | |
| U064 | | 189-55-9 | | Benzo(rst)pentaphene | |  | |
| U248 | | 81-81-2 | | 2H-1-Benzopyran-2-one, 4-hydroxy-3-(3-oxo-1-phenylbutyl)-, and salts, when present at concentrations of 0.3 percent or less | |  | |
| U022 | | 50-32-8 | | Benzo(a)pyrene | |  | |
| U197 | | 106-51-4 | | p-Benzoquinone | |  | |
| U023 | | 98-07-7 | | Benzotrichloride | | (C, R, T) | |
| U085 | | 1464-53-5 | | 2,2'-Bioxirane | | (I, T) | |
| U021 | | 92-87-5 | | (1,1'-Biphenyl)-4,4'-diamine | |  | |
| U073 | | 91-94-1 | | (1,1'-Biphenyl)-4,4'-diamine, 3,3'-di­chloro- | |  | |
| U091 | | 119-90-4 | | (1,1'-Biphenyl)-4,4'-diamine, 3,3'-di­methoxy- | |  | |
| U095 | | 119-93-7 | | (1,1'-Biphenyl)-4,4'-diamine, 3,3'-di­methyl- | |  | |
| U225 | | 75-25-2 | | Bromoform | |  | |
| U030 | | 101-55-3 | | 4-Bromophenyl phenyl ether | |  | |
| U128 | | 87-68-3 | | 1,3-Butadiene, 1,1,2,3,4,4-hexachloro- | |  | |
| U172 | | 924-16-3 | | 1-Butanamine, N-butyl-N-nitroso- | |  | |
| U031 | | 71-36-3 | | 1-Butanol | | (I) | |
| U159 | | 78-93-3 | | 2-Butanone | | (I, T) | |
| U160 | | 1338-23-4 | | 2-Butanone, peroxide | | (R, T) | |
| U053 | | 4170-30-3 | | 2-Butenal | |  | |
| U074 | | 764-41-0 | | 2-Butene, 1,4-dichloro- | | (I, T) | |
| U143 | | 303-34-4 | | 2-Butenoic acid, 2-methyl-, 7-((2,3-di­hydroxy-2-(1-methoxyethyl)-3-methyl-1-oxobutoxy)methyl)-2,3,5,7a-tetrahydro-1H-pyrrolizin-1-yl ester, (1S-(1α(Z), 7(2S\*,3R\*), 7aα))- | |  | |
| U031 | | 71-36-3 | | n-Butyl alcohol | | (I) | |
| U136 | | 75-60-5 | | Cacodylic acid | |  | |
| U032 | | 13765-19-0 | | Calcium chromate | |  | |
| U372 | | 10605-21-7 | | Carbamic acid, 1H-benzimidazol-2-yl, methyl ester | |  | |
| U271 | | 17804-35-2 | | Carbamic acid, (1-((butylamino)­carbonyl)-1H-benzimidazol-2-yl)-, methyl ester | |  | |
| U280 | | 101-27-9 | | Carbamic acid, (3-chlorophenyl)-, 4-chloro-2-butynyl ester | |  | |
| U238 | | 51-79-6 | | Carbamic acid, ethyl ester | |  | |
| U178 | | 615-53-2 | | Carbamic acid, methylnitroso-, ethyl ester | |  | |
| U373 | | 122-42-9 | | Carbamic acid, phenyl-, 1-methylethyl ester | |  | |
| U409 | | 23564-05-8 | | Carbamic acid, (1,2-phenylenebis­(iminocarbonothioyl))bis-, dimethyl ester | |  | |
| U097 | | 79-44-7 | | Carbamic chloride, dimethyl- | |  | |
| U114 | | P 111-54-6 | | Carbamodithioic acid, 1,2-ethanediyl­bis-, salts and esters | |  | |
| U062 | | 2303-16-4 | | Carbamothioic acid, bis(1-methyl­ethyl)-, S-(2,3-dichloro-2-propenyl) ester | |  | |
| U389 | | 2303-17-5 | | Carbamothioic acid, bis(1-methyl­ethyl)-, S-(2,3,3-trichloro-2-propenyl) ester | |  | |
| U387 | | 52888-80-9 | | Carbamothioic acid, dipropyl-, S-(phenylmethyl) ester | |  | |
| U279 | | 63-25-2 | | Carbaryl | |  | |
| U372 | | 10605-21-7 | | Carbendazim | |  | |
| U367 | | 1563-38-8 | | Carbofuran phenol | |  | |
| U215 | | 6533-73-9 | | Carbonic acid, dithallium (1+) salt | |  | |
| U033 | | 353-50-4 | | Carbonic difluoride | | (R, T) | |
| U156 | | 79-22-1 | | Carbonochloridic acid, methyl ester | | (I, T) | |
| U033 | | 353-50-4 | | Carbon oxyfluoride | | (R, T) | |
| U211 | | 56-23-5 | | Carbon tetrachloride | |  | |
| U034 | | 75-87-6 | | Chloral | |  | |
| U035 | | 305-03-3 | | Chlorambucil | |  | |
| U036 | | 57-74-9 | | Chlordane, α and γ isomers | |  | |
| U026 | | 494-03-1 | | Chlornaphazin | |  | |
| U037 | | 108-90-7 | | Chlorobenzene | |  | |
| U038 | | 510-15-6 | | Chlorobenzilate | |  | |
| U039 | | 59-50-7 | | p-Chloro-m-cresol | |  | |
| U042 | | 110-75-8 | | 2-Chloroethyl vinyl ether | |  | |
| U044 | | 67-66-3 | | Chloroform | |  | |
| U046 | | 107-30-2 | | Chloromethyl methyl ether | |  | |
| U047 | | 91-58-7 | | β-Chloronaphthalene | |  | |
| U048 | | 95-57-8 | | o-Chlorophenol | |  | |
| U049 | | 3165-93-3 | | 4-Chloro-o-toluidine, hydrochloride | |  | |
| U032 | | 13765-19-0 | | Chromic acid H2CrO4, calcium salt | |  | |
| U050 | | 218-01-9 | | Chrysene | |  | |
| U051 | |  | | Creosote | |  | |
| U052 | | 1319-77-3 | | Cresol (Cresylic acid) | |  | |
| U053 | | 4170-30-3 | | Crotonaldehyde | |  | |
| U055 | | 98-82-8 | | Cumene | | (I) | |
| U246 | | 506-68-3 | | Cyanogen bromide CNBr | |  | |
| U197 | | 106-51-4 | | 2,5-Cyclohexadiene-1,4-dione | |  | |
| U056 | | 110-82-7 | | Cyclohexane | | (I) | |
| U129 | | 58-89-9 | | Cyclohexane, 1,2,3,4,5,6-hexachloro-, (1α,2α,3β,4α,5α,6β)- | |  | |
| U057 | | 108-94-1 | | Cyclohexanone | | (I) | |
| U130 | | 77-47-4 | | 1,3-Cyclopentadiene, 1,2,3,4,5,5-hexachloro- | |  | |
| U058 | | 50-18-0 | | Cyclophosphamide | |  | |
| U240 | | P 94-75-7 | | 2,4-D, salts and esters | |  | |
| U059 | | 20830-81-3 | | Daunomycin | |  | |
| U060 | | 72-54-8 | | DDD | |  | |
| U061 | | 50-29-3 | | DDT | |  | |
| U062 | | 2303-16-4 | | Diallate | |  | |
| U063 | | 53-70-3 | | Dibenz(a,h)anthracene | |  | |
| U064 | | 189-55-9 | | Dibenzo(a,i)pyrene | |  | |
| U066 | | 96-12-8 | | 1,2-Dibromo-3-chloropropane | |  | |
| U069 | | 84-74-2 | | Dibutyl phthalate | |  | |
| U070 | | 95-50-1 | | o-Dichlorobenzene | |  | |
| U071 | | 541-73-1 | | m-Dichlorobenzene | |  | |
| U072 | | 106-46-7 | | p-Dichlorobenzene | |  | |
| U073 | | 91-94-1 | | 3,3'-Dichlorobenzidine | |  | |
| U074 | | 764-41-0 | | 1,4-Dichloro-2-butene | | (I, T) | |
| U075 | | 75-71-8 | | Dichlorodifluoromethane | |  | |
| U078 | | 75-35-4 | | 1,1-Dichloroethylene | |  | |
| U079 | | 156-60-5 | | 1,2-Dichloroethylene | |  | |
| U025 | | 111-44-4 | | Dichloroethyl ether | |  | |
| U027 | | 108-60-1 | | Dichloroisopropyl ether | |  | |
| U024 | | 111-91-1 | | Dichloromethoxy ethane | |  | |
| U081 | | 120-83-2 | | 2,4-Dichlorophenol | |  | |
| U082 | | 87-65-0 | | 2,6-Dichlorophenol | |  | |
| U084 | | 542-75-6 | | 1,3-Dichloropropene | |  | |
| U085 | | 1464-53-5 | | 1,2:3,4-Diepoxybutane | | (I, T) | |
| U395 | | 5952-26-1 | | Diethylene glycol, dicarbamate | |  | |
| U108 | | 123-91-1 | | 1,4-Diethyleneoxide | |  | |
| U028 | | 117-81-7 | | Diethylhexyl phthalate | |  | |
| U086 | | 1615-80-1 | | N,N'-Diethylhydrazine | |  | |
| U087 | | 3288-58-2 | | O,O-Diethyl S-methyl dithiophosphate | |  | |
| U088 | | 84-66-2 | | Diethyl phthalate | |  | |
| U089 | | 56-53-1 | | Diethylstilbestrol | |  | |
| U090 | | 94-58-6 | | Dihydrosafrole | |  | |
| U091 | | 119-90-4 | | 3,3'-Dimethoxybenzidine | |  | |
| U092 | | 124-40-3 | | Dimethylamine | | (I) | |
| U093 | | 60-11-7 | | p-Dimethylaminoazobenzene | |  | |
| U094 | | 57-97-6 | | 7,12-Dimethylbenz(a)anthracene | |  | |
| U095 | | 119-93-7 | | 3,3'-Dimethylbenzidine | |  | |
| U096 | | 80-15-9 | | α, α-Dimethylbenzylhydroperoxide | | (R) | |
| U097 | | 79-44-7 | | Dimethylcarbamoyl chloride | |  | |
| U098 | | 57-14-7 | | 1,1-Dimethylhydrazine | |  | |
| U099 | | 540-73-8 | | 1,2-Dimethylhydrazine | |  | |
| U101 | | 105-67-9 | | 2,4-Dimethylphenol | |  | |
| U102 | | 131-11-3 | | Dimethyl phthalate | |  | |
| U103 | | 77-78-1 | | Dimethyl sulfate | |  | |
| U105 | | 121-14-2 | | 2,4-Dinitrotoluene | |  | |
| U106 | | 606-20-2 | | 2,6-Dinitrotoluene | |  | |
| U107 | | 117-84-0 | | Di-n-octyl phthalate | |  | |
| U108 | | 123-91-1 | | 1,4-Dioxane | |  | |
| U109 | | 122-66-7 | | 1,2-Diphenylhydrazine | |  | |
| U110 | | 142-84-7 | | Dipropylamine | | (I) | |
| U111 | | 621-64-7 | | Di-n-propylnitrosamine | |  | |
| U041 | | 106-89-8 | | Epichlorohydrin | |  | |
| U001 | | 75-07-0 | | Ethanal | | (I) | |
| U404 | | 121-44-8 | | Ethanamine, N,N-diethyl- | |  | |
| U174 | | 55-18-5 | | Ethanamine, N-ethyl-N-nitroso- | |  | |
| U155 | | 91-80-5 | | 1,2-Ethanediamine, N,N-dimethyl-N'-2-pyridinyl-N'-(2-thienylmethyl)- | |  | |
| U067 | | 106-93-4 | | Ethane, 1,2-dibromo- | |  | |
| U076 | | 75-34-3 | | Ethane, 1,1-dichloro- | |  | |
| U077 | | 107-06-2 | | Ethane, 1,2-dichloro- | |  | |
| U131 | | 67-72-1 | | Ethane, hexachloro- | |  | |
| U024 | | 111-91-1 | | Ethane, 1,1'-(methylenebis(oxy))bis(2-chloro- | |  | |
| U117 | | 60-29-7 | | Ethane, 1,1'-oxybis- | | (I) | |
| U025 | | 111-44-4 | | Ethane, 1,1'-oxybis(2-chloro- | |  | |
| U184 | | 76-01-7 | | Ethane, pentachloro- | |  | |
| U208 | | 630-20-6 | | Ethane, 1,1,1,2-tetrachloro- | |  | |
| U209 | | 79-34-5 | | Ethane, 1,1,2,2-tetrachloro- | |  | |
| U218 | | 62-55-5 | | Ethanethioamide | |  | |
| U226 | | 71-55-6 | | Ethane, 1,1,1-trichloro- | |  | |
| U227 | | 79-00-5 | | Ethane, 1,1,2-trichloro- | |  | |
| U410 | | 59669-26-0 | | Ethanimidothioic acid, N,N'- (thiobis­((methylimino)carbonyloxy))bis-, dimethyl ester | |  | |
| U394 | | 30558-43-1 | | Ethanimidothioic acid, 2-(dimethyl­amino)-N-hydroxy-2-oxo-, methyl ester | |  | |
| U359 | | 110-80-5 | | Ethanol, 2-ethoxy- | |  | |
| U173 | | 1116-54-7 | | Ethanol, 2,2'-(nitrosoimino)bis- | |  | |
| U395 | | 5952-26-1 | | Ethanol, 2,2'-oxybis-, dicarbamate | |  | |
| U004 | | 98-86-2 | | Ethanone, 1-phenyl- | |  | |
| U043 | | 75-01-4 | | Ethene, chloro- | |  | |
| U042 | | 110-75-8 | | Ethene, (2-chloroethoxy)- | |  | |
| U078 | | 75-35-4 | | Ethene, 1,1-dichloro- | |  | |
| U079 | | 156-60-5 | | Ethene, 1,2-dichloro-, (E)- | |  | |
| U210 | | 127-18-4 | | Ethene, tetrachloro- | |  | |
| U228 | | 79-01-6 | | Ethene, trichloro- | |  | |
| U112 | | 141-78-6 | | Ethyl acetate | | (I) | |
| U113 | | 140-88-5 | | Ethyl acrylate | | (I) | |
| U238 | | 51-79-6 | | Ethyl carbamate (urethane) | |  | |
| U117 | | 60-29-7 | | Ethyl ether | | (I) | |
| U114 | | P 111-54-6 | | Ethylenebisdithiocarbamic acid, salts and esters | |  | |
| U067 | | 106-93-4 | | Ethylene dibromide | |  | |
| U077 | | 107-06-2 | | Ethylene dichloride | |  | |
| U359 | | 110-80-5 | | Ethylene glycol monoethyl ether | |  | |
| U115 | | 75-21-8 | | Ethylene oxide | | (I, T) | |
| U116 | | 96-45-7 | | Ethylenethiourea | |  | |
| U076 | | 75-34-3 | | Ethylidene dichloride | |  | |
| U118 | | 97-63-2 | | Ethyl methacrylate | |  | |
| U119 | | 62-50-0 | | Ethyl methanesulfonate | |  | |
| U120 | | 206-44-0 | | Fluoranthene | |  | |
| U122 | | 50-00-0 | | Formaldehyde | |  | |
| U123 | | 64-18-6 | | Formic acid | | (C, T) | |
| U124 | | 110-00-9 | | Furan | | (I) | |
| U125 | | 98-01-1 | | 2-Furancarboxaldehyde | | (I) | |
| U147 | | 108-31-6 | | 2,5-Furandione | |  | |
| U213 | | 109-99-9 | | Furan, tetrahydro- | | (I) | |
| U125 | | 98-01-1 | | Furfural | | (I) | |
| U124 | | 110-00-9 | | Furfuran | | (I) | |
| U206 | | 18883-66-4 | | Glucopyranose, 2-deoxy-2-(3-methyl-3-nitrosoureido)-, D- | |  | |
| U206 | | 18883-66-4 | | D-Glucose, 2-deoxy-2-(((methyl­nitrosoamino)-carbonyl)amino)- | |  | |
| U126 | | 765-34-4 | | Glycidylaldehyde | |  | |
| U163 | | 70-25-7 | | Guanidine, N-methyl-N'-nitro-N-nitroso- | |  | |
| U127 | | 118-74-1 | | Hexachlorobenzene | |  | |
| U128 | | 87-68-3 | | Hexachlorobutadiene | |  | |
| U130 | | 77-47-4 | | Hexachlorocyclopentadiene | |  | |
| U131 | | 67-72-1 | | Hexachloroethane | |  | |
| U132 | | 70-30-4 | | Hexachlorophene | |  | |
| U243 | | 1888-71-7 | | Hexachloropropene | |  | |
| U133 | | 302-01-2 | | Hydrazine | | (R, T) | |
| U086 | | 1615-80-1 | | Hydrazine, 1,2-diethyl- | |  | |
| U098 | | 57-14-7 | | Hydrazine, 1,1-dimethyl- | |  | |
| U099 | | 540-73-8 | | Hydrazine, 1,2-dimethyl- | |  | |
| U109 | | 122-66-7 | | Hydrazine, 1,2-diphenyl- | |  | |
| U134 | | 7664-39-3 | | Hydrofluoric acid | | (C, T) | |
| U134 | | 7664-39-3 | | Hydrogen fluoride | | (C, T) | |
| U135 | | 7783-06-4 | | Hydrogen sulfide | |  | |
| U135 | | 7783-06-4 | | Hydrogen sulfide H2S | |  | |
| U096 | | 80-15-9 | | Hydroperoxide, 1-methyl-1-phenyl­ethyl- | | (R) | |
| U116 | | 96-45-7 | | 2-Imidazolidinethione | |  | |
| U137 | | 193-39-5 | | Indeno(1,2,3-cd)pyrene | |  | |
| U190 | | 85-44-9 | | 1,3-Isobenzofurandione | |  | |
| U140 | | 78-83-1 | | Isobutyl alcohol | | (I, T) | |
| U141 | | 120-58-1 | | Isosafrole | |  | |
| U142 | | 143-50-0 | | Kepone | |  | |
| U143 | | 303-34-4 | | Lasiocarpene | |  | |
| U144 | | 301-04-2 | | Lead acetate | |  | |
| U146 | | 1335-32-6 | | Lead, bis(acetato-O)tetrahydroxytri- | |  | |
| U145 | | 7446-27-7 | | Lead phosphate | |  | |
| U146 | | 1335-32-6 | | Lead subacetate | |  | |
| U129 | | 58-89-9 | | Lindane | |  | |
| U163 | | 70-25-7 | | MNNG | |  | |
| U147 | | 108-31-6 | | Maleic anhydride | |  | |
| U148 | | 123-33-1 | | Maleic hydrazide | |  | |
| U149 | | 109-77-3 | | Malononitrile | |  | |
| U150 | | 148-82-3 | | Melphalan | |  | |
| U151 | | 7439-97-6 | | Mercury | |  | |
| U152 | | 126-98-7 | | Methacrylonitrile | | (I, T) | |
| U092 | | 124-40-3 | | Methanamine, N-methyl- | | (I) | |
| U029 | | 74-83-9 | | Methane, bromo- | |  | |
| U045 | | 74-87-3 | | Methane, chloro- | | (I, T) | |
| U046 | | 107-30-2 | | Methane, chloromethoxy- | |  | |
| U068 | | 74-95-3 | | Methane, dibromo- | |  | |
| U080 | | 75-09-2 | | Methane, dichloro- | |  | |
| U075 | | 75-71-8 | | Methane, dichlorodifluoro- | |  | |
| U138 | | 74-88-4 | | Methane, iodo- | |  | |
| U119 | | 62-50-0 | | Methanesulfonic acid, ethyl ester | |  | |
| U211 | | 56-23-5 | | Methane, tetrachloro- | |  | |
| U153 | | 74-93-1 | | Methanethiol | | (I, T) | |
| U225 | | 75-25-2 | | Methane, tribromo- | |  | |
| U044 | | 67-66-3 | | Methane, trichloro- | |  | |
| U121 | | 75-69-4 | | Methane, trichlorofluoro- | |  | |
| U036 | | 57-74-9 | | 4,7-Methano-1H-indene, 1,2,4,5,6,7,8,8-octachloro-2,3,3a,4,7,7a-hexahydro- | |  | |
| U154 | | 67-56-1 | | Methanol | | (I) | |
| U155 | | 91-80-5 | | Methapyrilene | |  | |
| U142 | | 143-50-0 | | 1,3,4-Metheno-2H-cyclobuta(cd)­pentalen-2-one, 1,1a,3,3a,4,5,5,5a,5b,6-decachloro­octahydro- | |  | |
| U247 | | 72-43-5 | | Methoxychlor | |  | |
| U154 | | 67-56-1 | | Methyl alcohol | | (I) | |
| U029 | | 74-83-9 | | Methyl bromide | |  | |
| U186 | | 504-60-9 | | 1-Methylbutadiene | | (I) | |
| U045 | | 74-87-3 | | Methyl chloride | | (I, T) | |
| U156 | | 79-22-1 | | Methyl chlorocarbonate | | (I, T) | |
| U226 | | 71-55-6 | | Methylchloroform | |  | |
| U157 | | 56-49-5 | | 3-Methylcholanthrene | |  | |
| U158 | | 101-14-4 | | 4,4'-Methylenebis(2-chloroaniline) | |  | |
| U068 | | 74-95-3 | | Methylene bromide | |  | |
| U080 | | 75-09-2 | | Methylene chloride | |  | |
| U159 | | 78-93-3 | | Methyl ethyl ketone (MEK) | | (I, T) | |
| U160 | | 1338-23-4 | | Methyl ethyl ketone peroxide | | (R, T) | |
| U138 | | 74-88-4 | | Methyl iodide | |  | |
| U161 | | 108-10-1 | | Methyl isobutyl ketone | | (I) | |
| U162 | | 80-62-6 | | Methyl methacrylate | | (I, T) | |
| U161 | | 108-10-1 | | 4-Methyl-2-pentanone | | (I) | |
| U164 | | 56-04-2 | | Methylthiouracil | |  | |
| U010 | | 50-07-7 | | Mitomycin C | |  | |
| U059 | | 20830-81-3 | | 5,12-Naphthacenedione, 8-acetyl-10-((3-amino-2,3,6-trideoxy-α-L-lyxo-hexapyranosyl)oxyl)-7,8,9,10-tetra­hydro-6,8,11-trihydroxy-1-methoxy-, (8S-cis)- | |  | |
| U167 | | 134-32-7 | | 1-Naphthalenamine | |  | |
| U168 | | 91-59-8 | | 2-Naphthalenamine | |  | |
| U026 | | 494-03-1 | | Naphthaleneamine, N,N'-bis(2-chloro­ethyl)- | |  | |
| U165 | | 91-20-3 | | Naphthalene | |  | |
| U047 | | 91-58-7 | | Naphthalene, 2-chloro- | |  | |
| U166 | | 130-15-4 | | 1,4-Naphthalenedione | |  | |
| U236 | | 72-57-1 | | 2,7-Naphthalenedisulfonic acid, 3,3'-((3,3'-dimethyl-(1,1'-biphenyl)-4,4'-di­yl)bis(azo)bis(5-amino-4-hydroxy)-, tetrasodium salt | |  | |
| U279 | | 63-25-2 | | 1-Naphthalenol, methylcarbamate | |  | |
| U166 | | 130-15-4 | | 1,4-Naphthoquinone | |  | |
| U167 | | 134-32-7 | | α-Naphthylamine | |  | |
| U168 | | 91-59-8 | | β-Naphthylamine | |  | |
| U217 | | 10102-45-1 | | Nitric acid, thallium (1+) salt | |  | |
| U169 | | 98-95-3 | | Nitrobenzene | | (I, T) | |
| U170 | | 100-02-7 | | p-Nitrophenol | |  | |
| U171 | | 79-46-9 | | 2-Nitropropane | | (I, T) | |
| U172 | | 924-16-3 | | N-Nitrosodi-n-butylamine | |  | |
| U173 | | 1116-54-7 | | N-Nitrosodiethanolamine | |  | |
| U174 | | 55-18-5 | | N-Nitrosodiethylamine | |  | |
| U176 | | 759-73-9 | | N-Nitroso-N-ethylurea | |  | |
| U177 | | 684-93-5 | | N-Nitroso-N-methylurea | |  | |
| U178 | | 615-53-2 | | N-Nitroso-N-methylurethane | |  | |
| U179 | | 100-75-4 | | N-Nitrosopiperidine | |  | |
| U180 | | 930-55-2 | | N-Nitrosopyrrolidine | |  | |
| U181 | | 99-55-8 | | 5-Nitro-o-toluidine | |  | |
| U193 | | 1120-71-4 | | 1,2-Oxathiolane, 2,2-dioxide | |  | |
| U058 | | 50-18-0 | | 2H-1,3,2-Oxazaphosphorin-2-amine, N,N-bis(2-chloroethyl)tetrahydro-, 2-oxide | |  | |
| U115 | | 75-21-8 | | Oxirane | | (I, T) | |
| U126 | | 765-34-4 | | Oxiranecarboxyaldehyde | |  | |
| U041 | | 106-89-8 | | Oxirane, (chloromethyl)- | |  | |
| U182 | | 123-63-7 | | Paraldehyde | |  | |
| U183 | | 608-93-5 | | Pentachlorobenzene | |  | |
| U184 | | 76-01-7 | | Pentachloroethane | |  | |
| U185 | | 82-68-8 | | Pentachloronitrobenzene (PCNB) | |  | |
| See F027 | | 87-86-5 | | Pentachlorophenol | |  | |
| U161 | | 108-10-1 | | Pentanol, 4-methyl- | | (I) | |
| U186 | | 504-60-9 | | 1,3-Pentadiene | | (I) | |
| U187 | | 62-44-2 | | Phenacetin | |  | |
| U188 | | 108-95-2 | | Phenol | |  | |
| U048 | | 95-57-8 | | Phenol, 2-chloro- | |  | |
| U039 | | 59-50-7 | | Phenol, 4-chloro-3-methyl- | |  | |
| U081 | | 120-83-2 | | Phenol, 2,4-dichloro- | |  | |
| U082 | | 87-65-0 | | Phenol, 2,6-dichloro- | |  | |
| U089 | | 56-53-1 | | Phenol, 4,4'-(1,2-diethyl-1,2-ethenedi­yl)bis-, (E)- | |  | |
| U101 | | 105-67-9 | | Phenol, 2,4-dimethyl- | |  | |
| U052 | | 1319-77-3 | | Phenol, methyl- | |  | |
| U132 | | 70-30-4 | | Phenol, 2,2'-methylenebis(3,4,6-tri­chloro- | |  | |
| U411 | | 114-26-1 | | Phenol, 2-(1-methylethoxy)-, methyl­carbamate | |  | |
| U170 | | 100-02-7 | | Phenol, 4-nitro- | |  | |
| See F027 | | 87-86-5 | | Phenol, pentachloro- | |  | |
| See F027 | | 58-90-2 | | Phenol, 2,3,4,6-tetrachloro- | |  | |
| See F027 | | 95-95-4 | | Phenol, 2,4,5-trichloro- | |  | |
| See F027 | | 88-06-2 | | Phenol, 2,4,6-trichloro- | |  | |
| U150 | | 148-82-3 | | L-Phenylalanine, 4-(bis(2-chloro­ethyl)amino)- | |  | |
| U145 | | 7446-27-7 | | Phosphoric acid, lead (2+) salt (2:3) | |  | |
| U087 | | 3288-58-2 | | Phosphorodithioic acid, O,O-diethyl S-methyl ester | |  | |
| U189 | | 1314-80-3 | | Phosphorus sulfide | | (R) | |
| U190 | | 85-44-9 | | Phthalic anhydride | |  | |
| U191 | | 109-06-8 | | 2-Picoline | |  | |
| U179 | | 100-75-4 | | Piperidine, 1-nitroso- | |  | |
| U192 | | 23950-58-5 | | Pronamide | |  | |
| U194 | | 107-10-8 | | 1-Propanamine | | (I, T) | |
| U111 | | 621-64-7 | | 1-Propanamine, N-nitroso-N-propyl- | |  | |
| U110 | | 142-84-7 | | 1-Propanamine, N-propyl- | | (I) | |
| U066 | | 96-12-8 | | Propane, 1,2-dibromo-3-chloro- | |  | |
| U083 | | 78-87-5 | | Propane, 1,2-dichloro- | |  | |
| U149 | | 109-77-3 | | Propanedinitrile | |  | |
| U171 | | 79-46-9 | | Propane, 2-nitro- | | (I, T) | |
| U027 | | 108-60-1 | | Propane, 2,2'-oxybis(2-chloro- | |  | |
| See F027 | | 93-72-1 | | Propanoic acid, 2-(2,4,5-trichloro­phenoxy)- | |  | |
| U193 | | 1120-71-4 | | 1,3-Propane sultone | |  | |
| U235 | | 126-72-7 | | 1-Propanol, 2,3-dibromo-, phosphate (3:1) | |  | |
| U140 | | 78-83-1 | | 1-Propanol, 2-methyl- | | (I, T) | |
| U002 | | 67-64-1 | | 2-Propanone | | (I) | |
| U007 | | 79-06-1 | | 2-Propenamide | |  | |
| U084 | | 542-75-6 | | 1-Propene, 1,3-dichloro- | |  | |
| U243 | | 1888-71-7 | | 1-Propene, 1,1,2,3,3,3-hexachloro- | |  | |
| U009 | | 107-13-1 | | 2-Propenenitrile | |  | |
| U152 | | 126-98-7 | | 2-Propenenitrile, 2-methyl- | | (I, T) | |
| U008 | | 79-10-7 | | 2-Propenoic acid | | (I) | |
| U113 | | 140-88-5 | | 2-Propenoic acid, ethyl ester | | (I) | |
| U118 | | 97-63-2 | | 2-Propenoic acid, 2-methyl-, ethyl ester | |  | |
| U162 | | 80-62-6 | | 2-Propenoic acid, 2-methyl-, methyl ester | | (I, T) | |
| U373 | | 122-42-9 | | Propham | |  | |
| U411 | | 114-26-1 | | Propoxur | |  | |
| See F027 | | 93-72-1 | | Propionic acid, 2-(2,4,5-trichloro­phenoxy)- | |  | |
| U194 | | 107-10-8 | | n-Propylamine | | (I, T) | |
| U083 | | 78-87-5 | | Propylene dichloride | |  | |
| U387 | | 52888-80-9 | | Prosulfocarb | |  | |
| U148 | | 123-33-1 | | 3,6-Pyridazinedione, 1,2-dihydro- | |  | |
| U196 | | 110-86-1 | | Pyridine | |  | |
| U191 | | 109-06-8 | | Pyridine, 2-methyl- | |  | |
| U237 | | 66-75-1 | | 2,4-(1H,3H)-Pyrimidinedione, 5-(bis­(2-chloroethyl)amino)- | |  | |
| U164 | | 56-04-2 | | 4(1H)-Pyrimidinone, 2,3-dihydro-6-methyl-2-thioxo- | |  | |
| U180 | | 930-55-2 | | Pyrrolidine, 1-nitroso- | |  | |
| U200 | | 50-55-5 | | Reserpine | |  | |
| U201 | | 108-46-3 | | Resorcinol | |  | |
| U203 | | 94-59-7 | | Safrole | |  | |
| U204 | | 7783-00-8 | | Selenious acid | |  | |
| U204 | | 7783-00-8 | | Selenium dioxide | |  | |
| U205 | | 7488-56-4 | | Selenium sulfide | | (R, T) | |
| U205 | | 7488-56-4 | | Selenium sulfide SeS2 | | (R, T) | |
| U015 | | 115-02-6 | | L-Serine, diazoacetate (ester) | |  | |
| See F027 | | 93-72-1 | | Silvex (2,4,5-TP) | |  | |
| U206 | | 18883-66-4 | | Streptozotocin | |  | |
| U103 | | 77-78-1 | | Sulfuric acid, dimethyl ester | |  | |
| U189 | | 1314-80-3 | | Sulfur phosphide | | (R) | |
| See F027 | | 93-76-5 | | 2,4,5-T | |  | |
| U207 | | 95-94-3 | | 1,2,4,5-Tetrachlorobenzene | |  | |
| U208 | | 630-20-6 | | 1,1,1,2-Tetrachloroethane | |  | |
| U209 | | 79-34-5 | | 1,1,2,2-Tetrachloroethane | |  | |
| U210 | | 127-18-4 | | Tetrachloroethylene | |  | |
| See F027 | | 58-90-2 | | 2,3,4,6-Tetrachlorophenol | |  | |
| U213 | | 109-99-9 | | Tetrahydrofuran | | (I) | |
| U214 | | 563-68-8 | | Thallium (I) acetate | |  | |
| U215 | | 6533-73-9 | | Thallium (I) carbonate | |  | |
| U216 | | 7791-12-0 | | Thallium (I) chloride | |  | |
| U216 | | 7791-12-0 | | Thallium chloride TlCl | |  | |
| U217 | | 10102-45-1 | | Thallium (I) nitrate | |  | |
| U218 | | 62-55-5 | | Thioacetamide | |  | |
| U410 | | 59669-26-0 | | Thiodicarb | |  | |
| U153 | | 74-93-1 | | Thiomethanol | | (I, T) | |
| U244 | | 137-26-8 | | Thioperoxydicarbonic diamide ((H2N)C(S))2S2, tetramethyl- | |  | |
| U409 | | 23564-05-8 | | Thiophanate-methyl | |  | |
| U219 | | 62-56-6 | | Thiourea | |  | |
| U244 | | 137-26-8 | | Thiram | |  | |
| U220 | | 108-88-3 | | Toluene | |  | |
| U221 | | 25376-45-8 | | Toluenediamine | |  | |
| U223 | | 26471-62-5 | | Toluene diisocyanate | | (R, T) | |
| U328 | | 95-53-4 | | o-Toluidine | |  | |
| U353 | | 106-49-0 | | p-Toluidine | |  | |
| U222 | | 636-21-5 | | o-Toluidine hydrochloride | |  | |
| U389 | | 2303-17-5 | | Triallate | |  | |
| U011 | | 61-82-5 | | 1H-1,2,4-Triazol-3-amine | |  | |
| U227 | | 79-00-5 | | Ethane, 1,1,2-trichloro- | |  | |
| U227 | | 79-00-5 | | 1,1,2-Trichloroethane | |  | |
| U228 | | 79-01-6 | | Trichloroethylene | |  | |
| U121 | | 75-69-4 | | Trichloromonofluoromethane | |  | |
| See F027 | | 95-95-4 | | 2,4,5-Trichlorophenol | |  | |
| See F027 | | 88-06-2 | | 2,4,6-Trichlorophenol | |  | |
| U404 | | 121-44-8 | | Triethylamine | |  | |
| U234 | | 99-35-4 | | 1,3,5-Trinitrobenzene | | (R, T) | |
| U182 | | 123-63-7 | | 1,3,5-Trioxane, 2,4,6-trimethyl- | |  | |
| U235 | | 126-72-7 | | Tris(2,3-dibromopropyl) phosphate | |  | |
| U236 | | 72-57-1 | | Trypan blue | |  | |
| U237 | | 66-75-1 | | Uracil mustard | |  | |
| U176 | | 759-73-9 | | Urea, N-ethyl-N-nitroso- | |  | |
| U177 | | 684-93-5 | | Urea, N-methyl-N-nitroso- | |  | |
| U043 | | 75-01-4 | | Vinyl chloride | |  | |
| U248 | | 81-81-2 | | Warfarin, and salts, when present at concentrations of 0.3 percent or less | |  | |
| U239 | | 1330-20-7 | | Xylene | | (I) | |
| U200 | | 50-55-5 | | Yohimban-16-carboxylic acid, 11,17-dimethoxy-18-((3,4,5-trimethoxybenz­oyl)oxy)-, methyl ester, (3β,16β,17α,18β,20α)- | |  | |
| U249 | | 1314-84-7 | | Zinc phosphide Zn3P2, when present at concentrations of 10 percent or less | |  | |

Numerical Listing

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| USEPA Hazardous Waste No. | Chemical Abstracts No. (CAS No.) | | Substance | | Hazard Code | |
| U001 | 75-07-0 | Acetaldehyde | | (I) | |
| U001 | 75-07-0 | Ethanal | | (I) | |
| U002 | 67-64-1 | Acetone | | (I) | |
| U002 | 67-64-1 | 2-Propanone | | (I) | |
| U003 | 75-05-8 | Acetonitrile | | (I, T) | |
| U004 | 98-86-2 | Acetophenone | |  | |
| U004 | 98-86-2 | Ethanone, 1-phenyl- | |  | |
| U005 | 53-96-3 | Acetamide, N-9H-fluoren-2-yl- | |  | |
| U005 | 53-96-3 | 2-Acetylaminofluorene | |  | |
| U006 | 75-36-5 | Acetyl chloride | | (C, R, T) | |
| U007 | 79-06-1 | Acrylamide | |  | |
| U007 | 79-06-1 | 2-Propenamide | |  | |
| U008 | 79-10-7 | Acrylic acid | | (I) | |
| U008 | 79-10-7 | 2-Propenoic acid | | (I) | |
| U009 | 107-13-1 | Acrylonitrile | |  | |
| U009 | 107-13-1 | 2-Propenenitrile | |  | |
| U010 | 50-07-7 | Azirino(2',3':3,4)pyrrolo(1,2-a)indole-4,7-dione, 6-amino-8-(((amino­carbonyl)oxy)methyl)-1,1a,2,8,8a,8b-hexahydro-8a-methoxy-5-methyl-, (1a-S-(1aα,8β,8aα,8bα))- | |  | |
| U010 | 50-07-7 | Mitomycin C | |  | |
| U011 | 61-82-5 | Amitrole | |  | |
| U011 | 61-82-5 | 1H-1,2,4-Triazol-3-amine | |  | |
| U012 | 62-53-3 | Aniline | | (I, T) | |
| U012 | 62-53-3 | Benzenamine | | (I, T) | |
| U014 | 492-80-8 | Auramine | |  | |
| U014 | 492-80-8 | Benzenamine, 4,4'-carbonimidoylbis­(N,N-dimethyl- | |  | |
| U015 | 115-02-6 | Azaserine | |  | |
| U015 | 115-02-6 | L-Serine, diazoacetate (ester) | |  | |
| U016 | 225-51-4 | Benz(c)acridine | |  | |
| U017 | 98-87-3 | Benzal chloride | |  | |
| U017 | 98-87-3 | Benzene, (dichloromethyl)- | |  | |
| U018 | 56-55-3 | Benz(a)anthracene | |  | |
| U019 | 71-43-2 | Benzene | | (I, T) | |
| U020 | 98-09-9 | Benzenesulfonic acid chloride | | (C, R) | |
| U020 | 98-09-9 | Benzenesulfonyl chloride | | (C, R) | |
| U021 | 92-87-5 | Benzidene | |  | |
| U021 | 92-87-5 | (1,1'-Biphenyl)-4,4'-diamine | |  | |
| U022 | 50-32-8 | Benzo(a)pyrene | |  | |
| U023 | 98-07-7 | Benzene, (trichloromethyl)- | | (C, R, T) | |
| U023 | 98-07-7 | Benzotrichloride | | (C, R, T) | |
| U024 | 111-91-1 | Dichloromethoxy ethane | |  | |
| U024 | 111-91-1 | Ethane, 1,1'-(methylenebis(oxy))bis­(2-chloro- | |  | |
| U025 | 111-44-4 | Dichloroethyl ether | |  | |
| U025 | 111-44-4 | Ethane, 1,1'-oxybis(2-chloro- | |  | |
| U026 | 494-03-1 | Chlornaphazin | |  | |
| U026 | 494-03-1 | Naphthaleneamine, N,N'-bis(2-chloro­ethyl)- | |  | |
| U027 | 108-60-1 | Dichloroisopropyl ether | |  | |
| U027 | 108-60-1 | Propane, 2,2'-oxybis(2-chloro- | |  | |
| U028 | 117-81-7 | 1,2-Benzenedicarboxylic acid, bis(2-ethylhexyl) ester | |  | |
| U028 | 117-81-7 | Diethylhexyl phthalate | |  | |
| U029 | 74-83-9 | Methane, bromo- | |  | |
| U029 | 74-83-9 | Methyl bromide | |  | |
| U030 | 101-55-3 | Benzene, 1-bromo-4-phenoxy- | |  | |
| U030 | 101-55-3 | 4-Bromophenyl phenyl ether | |  | |
| U031 | 71-36-3 | 1-Butanol | | (I) | |
| U031 | 71-36-3 | n-Butyl alcohol | | (I) | |
| U032 | 13765-19-0 | Calcium chromate | |  | |
| U032 | 13765-19-0 | Chromic acid H2CrO4, calcium salt | |  | |
| U033 | 353-50-4 | Carbonic difluoride | | (R, T) | |
| U033 | 353-50-4 | Carbon oxyfluoride | | (R, T) | |
| U034 | 75-87-6 | Acetaldehyde, trichloro- | |  | |
| U034 | 75-87-6 | Chloral | |  | |
| U035 | 305-03-3 | Benzenebutanoic acid, 4-(bis(2-chloroethyl)amino)- | |  | |
| U035 | 305-03-3 | Chlorambucil | |  | |
| U036 | 57-74-9 | Chlordane, α and γ isomers | |  | |
| U036 | 57-74-9 | 4,7-Methano-1H-indene, 1,2,4,5,6,7,8,8-octachloro-2,3,3a,4,7,7a-hexahydro- | |  | |
| U037 | 108-90-7 | Benzene, chloro- | |  | |
| U037 | 108-90-7 | Chlorobenzene | |  | |
| U038 | 510-15-6 | Benzeneacetic acid, 4-chloro-α-(4-chlorophenyl)-α-hydroxy-, ethyl ester | |  | |
| U038 | 510-15-6 | Chlorobenzilate | |  | |
| U039 | 59-50-7 | p-Chloro-m-cresol | |  | |
| U039 | 59-50-7 | Phenol, 4-chloro-3-methyl- | |  | |
| U041 | 106-89-8 | Epichlorohydrin | |  | |
| U041 | 106-89-8 | Oxirane, (chloromethyl)- | |  | |
| U042 | 110-75-8 | 2-Chloroethyl vinyl ether | |  | |
| U042 | 110-75-8 | Ethene, (2-chloroethoxy)- | |  | |
| U043 | 75-01-4 | Ethene, chloro- | |  | |
| U043 | 75-01-4 | Vinyl chloride | |  | |
| U044 | 67-66-3 | Chloroform | |  | |
| U044 | 67-66-3 | Methane, trichloro- | |  | |
| U045 | 74-87-3 | Methane, chloro- | | (I, T) | |
| U045 | 74-87-3 | Methyl chloride | | (I, T) | |
| U046 | 107-30-2 | Chloromethyl methyl ether | |  | |
| U046 | 107-30-2 | Methane, chloromethoxy- | |  | |
| U047 | 91-58-7 | β-Chloronaphthalene | |  | |
| U047 | 91-58-7 | Naphthalene, 2-chloro- | |  | |
| U048 | 95-57-8 | o-Chlorophenol | |  | |
| U048 | 95-57-8 | Phenol, 2-chloro- | |  | |
| U049 | 3165-93-3 | Benzenamine, 4-chloro-2-methyl-, hydrochloride | |  | |
| U049 | 3165-93-3 | 4-Chloro-o-toluidine, hydrochloride | |  | |
| U050 | 218-01-9 | Chrysene | |  | |
| U051 |  | Creosote | |  | |
| U052 | 1319-77-3 | Cresol (Cresylic acid) | |  | |
| U052 | 1319-77-3 | Phenol, methyl- | |  | |
| U053 | 4170-30-3 | 2-Butenal | |  | |
| U053 | 4170-30-3 | Crotonaldehyde | |  | |
| U055 | 98-82-8 | Benzene, (1-methylethyl)- | | (I) | |
| U055 | 98-82-8 | Cumene | | (I) | |
| U056 | 110-82-7 | Benzene, hexahydro- | | (I) | |
| U056 | 110-82-7 | Cyclohexane | | (I) | |
| U057 | 108-94-1 | Cyclohexanone | | (I) | |
| U058 | 50-18-0 | Cyclophosphamide | |  | |
| U058 | 50-18-0 | 2H-1,3,2-Oxazaphosphorin-2-amine, N,N-bis(2-chloroethyl)tetrahydro-, 2-oxide | |  | |
| U059 | 20830-81-3 | Daunomycin | |  | |
| U059 | 20830-81-3 | 5,12-Naphthacenedione, 8-acetyl-10-((3-amino-2,3,6-trideoxy)-α-L-lyxo-hexapyranosyl)oxyl)-7,8,9,10-tetra­hydro-6,8,11-trihydroxy-1-methoxy-, (8S-cis)- | |  | |
| U060 | 72-54-8 | Benzene, 1,1'-(2,2-dichloroethyl­idene)bis(4-chloro- | |  | |
| U060 | 72-54-8 | DDD | |  | |
| U061 | 50-29-3 | Benzene, 1,1'-(2,2,2-trichloroethyl­idene)bis(4-chloro- | |  | |
| U061 | 50-29-3 | DDT | |  | |
| U062 | 2303-16-4 | Carbamothioic acid, bis(1-methyl­ethyl)-, S-(2,3-dichloro-2-propenyl) ester | |  | |
| U062 | 2303-16-4 | Diallate | |  | |
| U063 | 53-70-3 | Dibenz(a,h)anthracene | |  | |
| U064 | 189-55-9 | Benzo(rst)pentaphene | |  | |
| U064 | 189-55-9 | Dibenzo(a,i)pyrene | |  | |
| U066 | 96-12-8 | 1,2-Dibromo-3-chloropropane | |  | |
| U066 | 96-12-8 | Propane, 1,2-dibromo-3-chloro- | |  | |
| U067 | 106-93-4 | Ethane, 1,2-dibromo- | |  | |
| U067 | 106-93-4 | Ethylene dibromide | |  | |
| U068 | 74-95-3 | Methane, dibromo- | |  | |
| U068 | 74-95-3 | Methylene bromide | |  | |
| U069 | 84-74-2 | 1,2-Benzenedicarboxylic acid, dibutyl ester | |  | |
| U069 | 84-74-2 | Dibutyl phthalate | |  | |
| U070 | 95-50-1 | Benzene, 1,2-dichloro- | |  | |
| U070 | 95-50-1 | o-Dichlorobenzene | |  | |
| U071 | 541-73-1 | Benzene, 1,3-dichloro- | |  | |
| U071 | 541-73-1 | m-Dichlorobenzene | |  | |
| U072 | 106-46-7 | Benzene, 1,4-dichloro- | |  | |
| U072 | 106-46-7 | p-Dichlorobenzene | |  | |
| U073 | 91-94-1 | (1,1'-Biphenyl)-4,4'-diamine, 3,3'-di­chloro- | |  | |
| U073 | 91-94-1 | 3,3'-Dichlorobenzidine | |  | |
| U074 | 764-41-0 | 2-Butene, 1,4-dichloro- | | (I, T) | |
| U074 | 764-41-0 | 1,4-Dichloro-2-butene | | (I, T) | |
| U075 | 75-71-8 | Dichlorodifluoromethane | |  | |
| U075 | 75-71-8 | Methane, dichlorodifluoro- | |  | |
| U076 | 75-34-3 | Ethane, 1,1-dichloro- | |  | |
| U076 | 75-34-3 | Ethylidene dichloride | |  | |
| U077 | 107-06-2 | Ethane, 1,2-dichloro- | |  | |
| U077 | 107-06-2 | Ethylene dichloride | |  | |
| U078 | 75-35-4 | 1,1-Dichloroethylene | |  | |
| U078 | 75-35-4 | Ethene, 1,1-dichloro- | |  | |
| U079 | 156-60-5 | 1,2-Dichloroethylene | |  | |
| U079 | 156-60-5 | Ethene, 1,2-dichloro-, (E)- | |  | |
| U080 | 75-09-2 | Methane, dichloro- | |  | |
| U080 | 75-09-2 | Methylene chloride | |  | |
| U081 | 120-83-2 | 2,4-Dichlorophenol | |  | |
| U081 | 120-83-2 | Phenol, 2,4-dichloro- | |  | |
| U082 | 87-65-0 | 2,6-Dichlorophenol | |  | |
| U082 | 87-65-0 | Phenol, 2,6-dichloro- | |  | |
| U083 | 78-87-5 | Propane, 1,2-dichloro- | |  | |
| U083 | 78-87-5 | Propylene dichloride | |  | |
| U084 | 542-75-6 | 1,3-Dichloropropene | |  | |
| U084 | 542-75-6 | 1-Propene, 1,3-dichloro- | |  | |
| U085 | 1464-53-5 | 2,2'-Bioxirane | | (I, T) | |
| U085 | 1464-53-5 | 1,2:3,4-Diepoxybutane | | (I, T) | |
| U086 | 1615-80-1 | N,N'-Diethylhydrazine | |  | |
| U086 | 1615-80-1 | Hydrazine, 1,2-diethyl- | |  | |
| U087 | 3288-58-2 | O,O-Diethyl S-methyl dithiophosphate | |  | |
| U087 | 3288-58-2 | Phosphorodithioic acid, O,O-diethyl S-methyl ester | |  | |
| U088 | 84-66-2 | 1,2-Benzenedicarboxylic acid, diethyl ester | |  | |
| U088 | 84-66-2 | Diethyl phthalate | |  | |
| U089 | 56-53-1 | Diethylstilbestrol | |  | |
| U089 | 56-53-1 | Phenol, 4,4'-(1,2-diethyl-1,2-ethenedi­yl)bis-, (E)- | |  | |
| U090 | 94-58-6 | 1,3-Benzodioxole, 5-propyl- | |  | |
| U090 | 94-58-6 | Dihydrosafrole | |  | |
| U091 | 119-90-4 | (1,1'-Biphenyl)-4,4'-diamine, 3,3'-di­methoxy- | |  | |
| U091 | 119-90-4 | 3,3'-Dimethoxybenzidine | |  | |
| U092 | 124-40-3 | Dimethylamine | | (I) | |
| U092 | 124-40-3 | Methanamine, N-methyl- | | (I) | |
| U093 | 60-11-7 | Benzenamine, N,N-dimethyl-4-(phenylazo)- | |  | |
| U093 | 60-11-7 | p-Dimethylaminoazobenzene | |  | |
| U094 | 57-97-6 | Benz(a)anthracene, 7,12-dimethyl- | |  | |
| U094 | 57-97-6 | 7,12-Dimethylbenz(a)anthracene | |  | |
| U095 | 119-93-7 | (1,1'-Biphenyl)-4,4'-diamine, 3,3'-di­methyl- | |  | |
| U095 | 119-93-7 | 3,3'-Dimethylbenzidine | |  | |
| U096 | 80-15-9 | α, α-Dimethylbenzylhydroperoxide | | (R) | |
| U096 | 80-15-9 | Hydroperoxide, 1-methyl-1-phenyl­ethyl- | | (R) | |
| U097 | 79-44-7 | Carbamic chloride, dimethyl- | |  | |
| U097 | 79-44-7 | Dimethylcarbamoyl chloride | |  | |
| U098 | 57-14-7 | 1,1-Dimethylhydrazine | |  | |
| U098 | 57-14-7 | Hydrazine, 1,1-dimethyl- | |  | |
| U099 | 540-73-8 | 1,2-Dimethylhydrazine | |  | |
| U099 | 540-73-8 | Hydrazine, 1,2-dimethyl- | |  | |
| U101 | 105-67-9 | 2,4-Dimethylphenol | |  | |
| U101 | 105-67-9 | Phenol, 2,4-dimethyl- | |  | |
| U102 | 131-11-3 | 1,2-Benzenedicarboxylic acid, di­methyl ester | |  | |
| U102 | 131-11-3 | Dimethyl phthalate | |  | |
| U103 | 77-78-1 | Dimethyl sulfate | |  | |
| U103 | 77-78-1 | Sulfuric acid, dimethyl ester | |  | |
| U105 | 121-14-2 | Benzene, 1-methyl-2,4-dinitro- | |  | |
| U105 | 121-14-2 | 2,4-Dinitrotoluene | |  | |
| U106 | 606-20-2 | Benzene, 2-methyl-1,3-dinitro- | |  | |
| U106 | 606-20-2 | 2,6-Dinitrotoluene | |  | |
| U107 | 117-84-0 | 1,2-Benzenedicarboxylic acid, dioctyl ester | |  | |
| U107 | 117-84-0 | Di-n-octyl phthalate | |  | |
| U108 | 123-91-1 | 1,4-Diethyleneoxide | |  | |
| U108 | 123-91-1 | 1,4-Dioxane | |  | |
| U109 | 122-66-7 | 1,2-Diphenylhydrazine | |  | |
| U109 | 122-66-7 | Hydrazine, 1,2-diphenyl- | |  | |
| U110 | 142-84-7 | Dipropylamine | | (I) | |
| U110 | 142-84-7 | 1-Propanamine, N-propyl- | | (I) | |
| U111 | 621-64-7 | Di-n-propylnitrosamine | |  | |
| U111 | 621-64-7 | 1-Propanamine, N-nitroso-N-propyl- | |  | |
| U112 | 141-78-6 | Acetic acid, ethyl ester | | (I) | |
| U112 | 141-78-6 | Ethyl acetate | | (I) | |
| U113 | 140-88-5 | Ethyl acrylate | | (I) | |
| U113 | 140-88-5 | 2-Propenoic acid, ethyl ester | | (I) | |
| U114 | P 111-54-6 | Carbamodithioic acid, 1,2-ethanediyl­bis-, salts and esters | |  | |
| U114 | P 111-54-6 | Ethylenebisdithiocarbamic acid, salts and esters | |  | |
| U115 | 75-21-8 | Ethylene oxide | | (I, T) | |
| U115 | 75-21-8 | Oxirane | | (I, T) | |
| U116 | 96-45-7 | Ethylenethiourea | |  | |
| U116 | 96-45-7 | 2-Imidazolidinethione | |  | |
| U117 | 60-29-7 | Ethane, 1,1'-oxybis- | | (I) | |
| U117 | 60-29-7 | Ethyl ether | | (I) | |
| U118 | 97-63-2 | Ethyl methacrylate | |  | |
| U118 | 97-63-2 | 2-Propenoic acid, 2-methyl-, ethyl ester | |  | |
| U119 | 62-50-0 | Ethyl methanesulfonate | |  | |
| U119 | 62-50-0 | Methanesulfonic acid, ethyl ester | |  | |
| U120 | 206-44-0 | Fluoranthene | |  | |
| U121 | 75-69-4 | Methane, trichlorofluoro- | |  | |
| U121 | 75-69-4 | Trichloromonofluoromethane | |  | |
| U122 | 50-00-0 | Formaldehyde | |  | |
| U123 | 64-18-6 | Formic acid | | (C, T) | |
| U124 | 110-00-9 | Furan | | (I) | |
| U124 | 110-00-9 | Furfuran | | (I) | |
| U125 | 98-01-1 | 2-Furancarboxaldehyde | | (I) | |
| U125 | 98-01-1 | Furfural | | (I) | |
| U126 | 765-34-4 | Glycidylaldehyde | |  | |
| U126 | 765-34-4 | Oxiranecarboxyaldehyde | |  | |
| U127 | 118-74-1 | Benzene, hexachloro- | |  | |
| U127 | 118-74-1 | Hexachlorobenzene | |  | |
| U128 | 87-68-3 | 1,3-Butadiene, 1,1,2,3,4,4-hexa­chloro- | |  | |
| U128 | 87-68-3 | Hexachlorobutadiene | |  | |
| U129 | 58-89-9 | Cyclohexane, 1,2,3,4,5,6-hexachloro-, (1α,2α,3β,4α,5α,6β)- | |  | |
| U129 | 58-89-9 | Lindane | |  | |
| U130 | 77-47-4 | 1,3-Cyclopentadiene, 1,2,3,4,5,5-hexachloro- | |  | |
| U130 | 77-47-4 | Hexachlorocyclopentadiene | |  | |
| U131 | 67-72-1 | Ethane, hexachloro- | |  | |
| U131 | 67-72-1 | Hexachloroethane | |  | |
| U132 | 70-30-4 | Hexachlorophene | |  | |
| U132 | 70-30-4 | Phenol, 2,2'-methylenebis(3,4,6-tri­chloro- | |  | |
| U133 | 302-01-2 | Hydrazine | | (R, T) | |
| U134 | 7664-39-3 | Hydrofluoric acid | | (C, T) | |
| U134 | 7664-39-3 | Hydrogen fluoride | | (C, T) | |
| U135 | 7783-06-4 | Hydrogen sulfide | |  | |
| U135 | 7783-06-4 | Hydrogen sulfide H2S | |  | |
| U136 | 75-60-5 | Arsinic acid, dimethyl- | |  | |
| U136 | 75-60-5 | Cacodylic acid | |  | |
| U137 | 193-39-5 | Indeno(1,2,3-cd)pyrene | |  | |
| U138 | 74-88-4 | Methane, iodo- | |  | |
| U138 | 74-88-4 | Methyl iodide | |  | |
| U140 | 78-83-1 | Isobutyl alcohol | | (I, T) | |
| U140 | 78-83-1 | 1-Propanol, 2-methyl- | | (I, T) | |
| U141 | 120-58-1 | 1,3-Benzodioxole, 5-(1-propenyl)- | |  | |
| U141 | 120-58-1 | Isosafrole | |  | |
| U142 | 143-50-0 | Kepone | |  | |
| U142 | 143-50-0 | 1,3,4-Metheno-2H-cyclobuta(cd)­pentalen-2-one, 1,1a,3,3a,4,5,5,5a,5b,6-decachloro­octahydro- | |  | |
| U143 | 303-34-4 | 2-Butenoic acid, 2-methyl-, 7-((2,3-dihydroxy-2-(1-methoxyethyl)-3-methyl-1-oxobutoxy)methyl)-2,3,5,7a-tetrahydro-1H-pyrrolizin-1-yl ester, (1S-(1α(Z), 7(2S\*,3R\*), 7aα))- | |  | |
| U143 | 303-34-4 | Lasiocarpene | |  | |
| U144 | 301-04-2 | Acetic acid, lead (2+) salt | |  | |
| U144 | 301-04-2 | Lead acetate | |  | |
| U145 | 7446-27-7 | Lead phosphate | |  | |
| U145 | 7446-27-7 | Phosphoric acid, lead (2+) salt (2:3) | |  | |
| U146 | 1335-32-6 | Lead, bis(acetato-O)tetrahydroxytri- | |  | |
| U146 | 1335-32-6 | Lead subacetate | |  | |
| U147 | 108-31-6 | 2,5-Furandione | |  | |
| U147 | 108-31-6 | Maleic anhydride | |  | |
| U148 | 123-33-1 | Maleic hydrazide | |  | |
| U148 | 123-33-1 | 3,6-Pyridazinedione, 1,2-dihydro- | |  | |
| U149 | 109-77-3 | Malononitrile | |  | |
| U149 | 109-77-3 | Propanedinitrile | |  | |
| U150 | 148-82-3 | Melphalan | |  | |
| U150 | 148-82-3 | L-Phenylalanine, 4-(bis(2-chloro­ethyl)amino)- | |  | |
| U151 | 7439-97-6 | Mercury | |  | |
| U152 | 126-98-7 | Methacrylonitrile | | (I, T) | |
| U152 | 126-98-7 | 2-Propenenitrile, 2-methyl- | | (I, T) | |
| U153 | 74-93-1 | Methanethiol | | (I, T) | |
| U153 | 74-93-1 | Thiomethanol | | (I, T) | |
| U154 | 67-56-1 | Methanol | | (I) | |
| U154 | 67-56-1 | Methyl alcohol | | (I) | |
| U155 | 91-80-5 | 1,2-Ethanediamine, N,N-dimethyl-N'-2-pyridinyl-N'-(2-thienylmethyl)- | |  | |
| U155 | 91-80-5 | Methapyrilene | |  | |
| U156 | 79-22-1 | Carbonochloridic acid, methyl ester | | (I, T) | |
| U156 | 79-22-1 | Methyl chlorocarbonate | | (I, T) | |
| U157 | 56-49-5 | Benz(j)aceanthrylene, 1,2-dihydro-3-methyl- | |  | |
| U157 | 56-49-5 | 3-Methylcholanthrene | |  | |
| U158 | 101-14-4 | Benzenamine, 4,4'-methylenebis(2-chloro- | |  | |
| U158 | 101-14-4 | 4,4'-Methylenebis(2-chloroaniline) | |  | |
| U159 | 78-93-3 | 2-Butanone | | (I, T) | |
| U159 | 78-93-3 | Methyl ethyl ketone (MEK) | | (I, T) | |
| U160 | 1338-23-4 | 2-Butanone, peroxide | | (R, T) | |
| U160 | 1338-23-4 | Methyl ethyl ketone peroxide | | (R, T) | |
| U161 | 108-10-1 | Methyl isobutyl ketone | | (I) | |
| U161 | 108-10-1 | 4-Methyl-2-pentanone | | (I) | |
| U161 | 108-10-1 | Pentanol, 4-methyl- | | (I) | |
| U162 | 80-62-6 | Methyl methacrylate | | (I, T) | |
| U162 | 80-62-6 | 2-Propenoic acid, 2-methyl-, methyl ester | | (I, T) | |
| U163 | 70-25-7 | Guanidine, N-methyl-N’-nitro-N-nitroso- | |  | |
| U163 | 70-25-7 | MNNG | |  | |
| U164 | 56-04-2 | Methylthiouracil | |  | |
| U164 | 56-04-2 | 4(1H)-Pyrimidinone, 2,3-dihydro-6-methyl-2-thioxo- | |  | |
| U165 | 91-20-3 | Naphthalene | |  | |
| U166 | 130-15-4 | 1,4-Naphthalenedione | |  | |
| U166 | 130-15-4 | 1,4-Naphthoquinone | |  | |
| U167 | 134-32-7 | 1-Naphthalenamine | |  | |
| U167 | 134-32-7 | α-Naphthylamine | |  | |
| U168 | 91-59-8 | 2-Naphthalenamine | |  | |
| U168 | 91-59-8 | β-Naphthylamine | |  | |
| U169 | 98-95-3 | Benzene, nitro- | | (I, T) | |
| U169 | 98-95-3 | Nitrobenzene | | (I, T) | |
| U170 | 100-02-7 | p-Nitrophenol | |  | |
| U170 | 100-02-7 | Phenol, 4-nitro- | |  | |
| U171 | 79-46-9 | 2-Nitropropane | | (I, T) | |
| U171 | 79-46-9 | Propane, 2-nitro- | | (I, T) | |
| U172 | 924-16-3 | 1-Butanamine, N-butyl-N-nitroso- | |  | |
| U172 | 924-16-3 | N-Nitrosodi-n-butylamine | |  | |
| U173 | 1116-54-7 | Ethanol, 2,2'-(nitrosoimino)bis- | |  | |
| U173 | 1116-54-7 | N-Nitrosodiethanolamine | |  | |
| U174 | 55-18-5 | Ethanamine, N-ethyl-N-nitroso- | |  | |
| U174 | 55-18-5 | N-Nitrosodiethylamine | |  | |
| U176 | 759-73-9 | N-Nitroso-N-ethylurea | |  | |
| U176 | 759-73-9 | Urea, N-ethyl-N-nitroso- | |  | |
| U177 | 684-93-5 | N-Nitroso-N-methylurea | |  | |
| U177 | 684-93-5 | Urea, N-methyl-N-nitroso- | |  | |
| U178 | 615-53-2 | Carbamic acid, methylnitroso-, ethyl ester | |  | |
| U178 | 615-53-2 | N-Nitroso-N-methylurethane | |  | |
| U179 | 100-75-4 | N-Nitrosopiperidine | |  | |
| U179 | 100-75-4 | Piperidine, 1-nitroso- | |  | |
| U180 | 930-55-2 | N-Nitrosopyrrolidine | |  | |
| U180 | 930-55-2 | Pyrrolidine, 1-nitroso- | |  | |
| U181 | 99-55-8 | Benzenamine, 2-methyl-5-nitro- | |  | |
| U181 | 99-55-8 | 5-Nitro-o-toluidine | |  | |
| U182 | 123-63-7 | Paraldehyde | |  | |
| U182 | 123-63-7 | 1,3,5-Trioxane, 2,4,6-trimethyl- | |  | |
| U183 | 608-93-5 | Benzene, pentachloro- | |  | |
| U183 | 608-93-5 | Pentachlorobenzene | |  | |
| U184 | 76-01-7 | Ethane, pentachloro- | |  | |
| U184 | 76-01-7 | Pentachloroethane | |  | |
| U185 | 82-68-8 | Benzene, pentachloronitro- | |  | |
| U185 | 82-68-8 | Pentachloronitrobenzene (PCNB) | |  | |
| U186 | 504-60-9 | 1-Methylbutadiene | | (I) | |
| U186 | 504-60-9 | 1,3-Pentadiene | | (I) | |
| U187 | 62-44-2 | Acetamide, N-(4-ethoxyphenyl)- | |  | |
| U187 | 62-44-2 | Phenacetin | |  | |
| U188 | 108-95-2 | Phenol | |  | |
| U189 | 1314-80-3 | Phosphorus sulfide | | (R) | |
| U189 | 1314-80-3 | Sulfur phosphide | | (R) | |
| U190 | 85-44-9 | 1,3-Isobenzofurandione | |  | |
| U190 | 85-44-9 | Phthalic anhydride | |  | |
| U191 | 109-06-8 | 2-Picoline | |  | |
| U191 | 109-06-8 | Pyridine, 2-methyl- | |  | |
| U192 | 23950-58-5 | Benzamide, 3,5-dichloro-N-(1,1-di­methyl-2-propynyl)- | |  | |
| U192 | 23950-58-5 | Pronamide | |  | |
| U193 | 1120-71-4 | 1,2-Oxathiolane, 2,2-dioxide | |  | |
| U193 | 1120-71-4 | 1,3-Propane sultone | |  | |
| U194 | 107-10-8 | 1-Propanamine | | (I, T) | |
| U194 | 107-10-8 | n-Propylamine | | (I, T) | |
| U196 | 110-86-1 | Pyridine | |  | |
| U197 | 106-51-4 | p-Benzoquinone | |  | |
| U197 | 106-51-4 | 2,5-Cyclohexadiene-1,4-dione | |  | |
| U200 | 50-55-5 | Reserpine | |  | |
| U200 | 50-55-5 | Yohimban-16-carboxylic acid, 11,17-dimethoxy-18-((3,4,5-trimethoxy­benzoyl)oxy)-, methyl ester, (3β,16β,17α,18β,20α)- | |  | |
| U201 | 108-46-3 | 1,3-Benzenediol | |  | |
| U201 | 108-46-3 | Resorcinol | |  | |
| U203 | 94-59-7 | 1,3-Benzodioxole, 5-(2-propenyl)- | |  | |
| U203 | 94-59-7 | Safrole | |  | |
| U204 | 7783-00-8 | Selenious acid | |  | |
| U204 | 7783-00-8 | Selenium dioxide | |  | |
| U205 | 7488-56-4 | Selenium sulfide | | (R, T) | |
| U205 | 7488-56-4 | Selenium sulfide SeS2 | | (R, T) | |
| U206 | 18883-66-4 | Glucopyranose, 2-deoxy-2-(3-methyl-3-nitrosoureido)-, D- | |  | |
| U206 | 18883-66-4 | D-Glucose, 2-deoxy-2-(((methyl­nitrosoamino)-carbonyl)amino)- | |  | |
| U206 | 18883-66-4 | Streptozotocin | |  | |
| U207 | 95-94-3 | Benzene, 1,2,4,5-tetrachloro- | |  | |
| U207 | 95-94-3 | 1,2,4,5-Tetrachlorobenzene | |  | |
| U208 | 630-20-6 | Ethane, 1,1,1,2-tetrachloro- | |  | |
| U208 | 630-20-6 | 1,1,1,2-Tetrachloroethane | |  | |
| U209 | 79-34-5 | Ethane, 1,1,2,2-tetrachloro- | |  | |
| U209 | 79-34-5 | 1,1,2,2-Tetrachloroethane | |  | |
| U210 | 127-18-4 | Ethene, tetrachloro- | |  | |
| U210 | 127-18-4 | Tetrachloroethylene | |  | |
| U211 | 56-23-5 | Carbon tetrachloride | |  | |
| U211 | 56-23-5 | Methane, tetrachloro- | |  | |
| U213 | 109-99-9 | Furan, tetrahydro- | | (I) | |
| U213 | 109-99-9 | Tetrahydrofuran | | (I) | |
| U214 | 563-68-8 | Acetic acid, thallium (1+) salt | |  | |
| U214 | 563-68-8 | Thallium (I) acetate | |  | |
| U215 | 6533-73-9 | Carbonic acid, dithallium (1+) salt | |  | |
| U215 | 6533-73-9 | Thallium (I) carbonate | |  | |
| U216 | 7791-12-0 | Thallium (I) chloride | |  | |
| U216 | 7791-12-0 | Thallium chloride TlCl | |  | |
| U217 | 10102-45-1 | Nitric acid, thallium (1+) salt | |  | |
| U217 | 10102-45-1 | Thallium (I) nitrate | |  | |
| U218 | 62-55-5 | Ethanethioamide | |  | |
| U218 | 62-55-5 | Thioacetamide | |  | |
| U219 | 62-56-6 | Thiourea | |  | |
| U220 | 108-88-3 | Benzene, methyl- | |  | |
| U220 | 108-88-3 | Toluene | |  | |
| U221 | 25376-45-8 | Benzenediamine, ar-methyl- | |  | |
| U221 | 25376-45-8 | Toluenediamine | |  | |
| U222 | 636-21-5 | Benzenamine, 2-methyl-, hydrochloride | |  | |
| U222 | 636-21-5 | o-Toluidine hydrochloride | |  | |
| U223 | 26471-62-5 | Benzene, 1,3-diisocyanatomethyl- | | (R, T) | |
| U223 | 26471-62-5 | Toluene diisocyanate | | (R, T) | |
| U225 | 75-25-2 | Bromoform | |  | |
| U225 | 75-25-2 | Methane, tribromo- | |  | |
| U226 | 71-55-6 | Ethane, 1,1,1-trichloro- | |  | |
| U226 | 71-55-6 | Methylchloroform | |  | |
| U227 | 79-00-5 | Ethane, 1,1,2-trichloro- | |  | |
| U227 | 79-00-5 | 1,1,2-Trichloroethane | |  | |
| U228 | 79-01-6 | Ethene, trichloro- | |  | |
| U228 | 79-01-6 | Trichloroethylene | |  | |
| U234 | 99-35-4 | Benzene, 1,3,5-trinitro- | | (R, T) | |
| U234 | 99-35-4 | 1,3,5-Trinitrobenzene | | (R, T) | |
| U235 | 126-72-7 | 1-Propanol, 2,3-dibromo-, phosphate (3:1) | |  | |
| U235 | 126-72-7 | Tris(2,3-dibromopropyl) phosphate | |  | |
| U236 | 72-57-1 | 2,7-Naphthalenedisulfonic acid, 3,3'-((3,3'-dimethyl-(1,1'-biphenyl)-4,4'-diyl)bis(azo)bis(5-amino-4-hydroxy)-, tetrasodium salt | |  | |
| U236 | 72-57-1 | Trypan blue | |  | |
| U237 | 66-75-1 | 2,4-(1H,3H)-Pyrimidinedione, 5-(bis­(2-chloroethyl)amino)- | |  | |
| U237 | 66-75-1 | Uracil mustard | |  | |
| U238 | 51-79-6 | Carbamic acid, ethyl ester | |  | |
| U238 | 51-79-6 | Ethyl carbamate (urethane) | |  | |
| U239 | 1330-20-7 | Benzene, dimethyl- | | (I, T) | |
| U239 | 1330-20-7 | Xylene | | (I, T) | |
| U240 | P 94-75-7 | Acetic acid, (2,4-dichlorophenoxy)-, salts and esters | |  | |
| U240 | P 94-75-7 | 2,4-D, salts and esters | |  | |
| U243 | 1888-71-7 | Hexachloropropene | |  | |
| U243 | 1888-71-7 | 1-Propene, 1,1,2,3,3,3-hexachloro- | |  | |
| U244 | 137-26-8 | Thioperoxydicarbonic diamide ((H2N)C(S))2S2, tetramethyl- | |  | |
| U244 | 137-26-8 | Thiram | |  | |
| U246 | 506-68-3 | Cyanogen bromide CNBr | |  | |
| U247 | 72-43-5 | Benzene, 1,1'-(2,2,2-trichloroethyl­idene)bis(4-methoxy- | |  | |
| U247 | 72-43-5 | Methoxychlor | |  | |
| U248 | 81-81-2 | 2H-1-Benzopyran-2-one, 4-hydroxy-3-(3-oxo-1-phenylbutyl)-, and salts, when present at concentrations of 0.3 percent or less | |  | |
| U248 | 81-81-2 | Warfarin, and salts, when present at concentrations of 0.3 percent or less | |  | |
| U249 | 1314-84-7 | Zinc phosphide Zn3P2, when present at concentrations of 10 percent or less | |  | |
| U271 | 17804-35-2 | Benomyl | |  | |
| U271 | 17804-35-2 | Carbamic acid, (1-((butylamino)­carbonyl)-1H-benzimidazol-2-yl)-, methyl ester | |  | |
| U278 | 22781-23-3 | Bendiocarb | |  | |
| U278 | 22781-23-3 | 1,3-Benzodioxol-4-ol, 2,2-dimethyl-, methyl carbamate | |  | |
| U279 | 63-25-2 | Carbaryl | |  | |
| U279 | 63-25-2 | 1-Naphthalenol, methylcarbamate | |  | |
| U280 | 101-27-9 | Barban | |  | |
| U280 | 101-27-9 | Carbamic acid, (3-chlorophenyl)-, 4-chloro-2-butynyl ester | |  | |
| U328 | 95-53-4 | Benzenamine, 2-methyl- | |  | |
| U328 | 95-53-4 | o-Toluidine | |  | |
| U353 | 106-49-0 | Benzenamine, 4-methyl- | |  | |
| U353 | 106-49-0 | p-Toluidine | |  | |
| U359 | 110-80-5 | Ethanol, 2-ethoxy- | |  | |
| U359 | 110-80-5 | Ethylene glycol monoethyl ether | |  | |
| U364 | 22961-82-6 | Bendiocarb phenol | |  | |
| U364 | 22961-82-6 | 1,3-Benzodioxol-4-ol, 2,2-dimethyl- | |  | |
| U367 | 1563-38-8 | 7-Benzofuranol, 2,3-dihydro-2,2-di­methyl- | |  | |
| U367 | 1563-38-8 | Carbofuran phenol | |  | |
| U372 | 10605-21-7 | Carbamic acid, 1H-benzimidazol-2-yl, methyl ester | |  | |
| U372 | 10605-21-7 | Carbendazim | |  | |
| U373 | 122-42-9 | Carbamic acid, phenyl-, 1-methyl­ethyl ester | |  | |
| U373 | 122-42-9 | Propham | |  | |
| U387 | 52888-80-9 | Carbamothioic acid, dipropyl-, S-(phenylmethyl) ester | |  | |
| U387 | 52888-80-9 | Prosulfocarb | |  | |
| U389 | 2303-17-5 | Carbamothioic acid, bis(1-methyl­ethyl)-, S-(2,3,3-trichloro-2-propenyl) ester | |  | |
| U389 | 2303-17-5 | Triallate | |  | |
| U394 | 30558-43-1 | A2213 | |  | |
| U394 | 30558-43-1 | Ethanimidothioic acid, 2-(dimethyl­amino)-N-hydroxy-2-oxo-, methyl ester | |  | |
| U395 | 5952-26-1 | Diethylene glycol, dicarbamate | |  | |
| U395 | 5952-26-1 | Ethanol, 2,2'-oxybis-, dicarbamate | |  | |
| U404 | 121-44-8 | Ethanamine, N,N-diethyl- | |  | |
| U404 | 121-44-8 | Triethylamine | |  | |
| U409 | 23564-05-8 | Carbamic acid, (1,2-phenylenebis­(iminocarbonothioyl))bis-, dimethyl ester | |  | |
| U409 | 23564-05-8 | Thiophanate-methyl | |  | |
| U410 | 59669-26-0 | Ethanimidothioic acid, N,N'- (thiobis­((methylimino)carbonyloxy))bis-, dimethyl ester | |  | |
| U410 | 59669-26-0 | Thiodicarb | |  | |
| U411 | 114-26-1 | Phenol, 2-(1-methylethoxy)-, methyl­carbamate | |  | |
| U411 | 114-26-1 | Propoxur | |  | |

(Source: Amended at 44 Ill. Reg. 15142, effective September 3, 2020)

**Section 721.135 Wood Preserving Wastes**

a) Wastes from wood preserving processes at plants that do not resume or initiate use of chlorophenolic preservatives will not meet the listing definition of F032 once the generator has met all of the requirements of subsections (b) and (c). These wastes may, however, continue to meet another hazardous waste listing description or may exhibit one or more of the hazardous waste characteristics.

b) Generators must either clean or replace all process equipment that may have come into contact with chlorophenolic formulations or constituents thereof, including, but not limited to, treatment cylinders, sumps, tanks, piping systems, drip pads, fork lifts and trams, in a manner that minimizes or eliminates the escape of hazardous waste or constituents, leachate, contaminated drippage or hazardous waste decomposition products to the groundwater, surface water, or atmosphere.

1) Generators must do one of the following:

A) Prepare and follow an equipment cleaning plan and clean equipment in accordance with subsection (b)(2); or

B) Prepare and follow an equipment replacement plan and replace equipment in accordance with subsection (b)(3); or

C) Document cleaning and replacement in accordance with subsections (b)(2) and (b)(3), carried out after termination of use of chlorophenolic preservatives.

2) Cleaning requirements.

A) The generator must prepare and sign a written equipment cleaning plan that describes the following:

i) The equipment to be cleaned;

ii) How the equipment will be cleaned;

iii) The solvent to be used in cleaning;

iv) How solvent rinses will be tested; and

v) How cleaning residues will be disposed of.

B) Equipment must be cleaned as follows:

i) Remove all visible residues from process equipment; and

ii) Rinse process equipment with an appropriate solvent until dioxins and dibenzofurans are not detected in the final solvent rinse.

C) Analytical requirements.

i) Rinses must be tested by using an appropriate method.

ii) “Not detected” means at or below the following lower method calibration limit (MCL): the 2,3,7,8-TCDD-based MCL is 0.01 parts per trillion (ppt), using a sample weight of 1000 g, an IS spiking level of 1 ppt, and a final extraction volume of 10 to 50 µℓ. For other congeners, multiply the values by 1 for TCDF, PeCDD, or PeCDF; by 2.5 for HxCDD, HxCDF, HpCDD, or HpCDF; or by 5 for OCDD or OCDF.

D) The generator must manage all residues from the cleaning process as F032 waste.

3) Replacement requirements.

A) The generator must prepare and sign a written equipment replacement plan that describes the following:

i) The equipment to be replaced;

ii) How the equipment will be replaced; and

iii) How the equipment will be disposed of.

B) The generator must manage the discarded equipment as F032 waste.

4) Documentation requirements. The generator must document that previous equipment cleaning and replacement was performed in accordance with subsections (b)(2) and (b)(3) and that the equipment cleaning and replacement occurred after cessation of use of chlorophenolic preservatives.

c) The generator must maintain the following records documenting the cleaning and replacement as part of the facility’s operating record:

1) The name and address of the facility;

2) Formulations previously used and the date on which their use ceased in each process at the plant;

3) Formulations currently used in each process at the plant;

4) The equipment cleaning or replacement plan;

5) The name and address of any persons who conducted the cleaning and replacement;

6) The dates on which cleaning and replacement were accomplished;

7) The dates of sampling and testing;

8) A description of the sample handling and preparation techniques used for extraction, containerization, preservation and chain-of-custody of the samples;

9) A description of the tests performed, the date the tests were performed and the results of the tests;

10) The name and model numbers of the instruments used in performing the tests;

11) QA/QC documentation; and

12) The following statement signed by the generator or the generator’s authorized representative:

I certify under penalty of law that all process equipment required to be cleaned or replaced under 35 Ill. Adm. Code 721.135 was cleaned or replaced as represented in the equipment cleaning and replacement plan and accompanying documentation. I am aware that there are significant penalties for providing false information, including the possibility of fine or imprisonment.

(Source: Amended at 40 Ill. Reg. 11367, effective August 9, 2016)

SUBPART E: EXCLUSIONS AND EXEMPTIONS

**Section 721.138 Exclusion of Comparable Fuel and Syngas Fuel (Repealed)**

(Source: Repealed at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section** **721.139 Conditional Exclusion for Used, Broken CRTs and Processed CRT Glass Undergoing Recycling**

Used, broken CRTs are not solid waste if they meet the following conditions:

a) Prior to CRT Processing. These materials are not solid wastes if they are destined for recycling and they meet the following requirements:

1) Storage. The broken CRTs must be managed in either of the following ways:

A) They are stored in a building with a roof, floor, and walls, or

B) They are placed in a container (i.e., a package or a vehicle) that is constructed, filled, and closed to minimize releases to the environment of CRT glass (including fine solid materials).

2) Labeling. Each container in which the used, broken CRT is contained must be labeled or marked clearly with one of the following phrases: “Used cathode ray tubes—contains leaded glass” or “Leaded glass from televisions or computers”. It must also be labeled with the following statement: “Do not mix with other glass materials.”

3) Transportation. The used, broken CRTs must be transported in a container meeting the requirements of subsections (a)(1)(B) and (a)(2).

4) Speculative Accumulation and Use Constituting Disposal. The used, broken CRTs are subject to the limitations on speculative accumulation, as defined in subsection (c)(8). If they are used in a manner constituting disposal, they must comply with the applicable requirements of Subpart C of 35 Ill. Adm. Code 726, instead of the requirements of this Section.

5) Exports. In addition to the applicable conditions specified in subsections (a)(1) through (a)(4), an exporter of used, broken CRTs must comply with the following requirements:

A) It must notify the Agency and USEPA of an intended export before the CRTs are scheduled to leave the United States. A complete notification should be submitted sixty (60) days before the initial shipment is intended to be shipped off-site. This notification may cover export activities extending over a 12-month or shorter period. The notification must be in writing, signed by the exporter, and include the following information:

i) The name, mailing address, telephone number and USEPA identification number (if applicable) of the exporter of the CRTs.

ii) The estimated frequency or rate at which the CRTs are to be exported and the period of time over which they are to be exported.

iii) The estimated total quantity of CRTs specified in kilograms.

iv) All points of entry to and departure from each foreign country through which the CRTs will pass.

v) A description of the means by which each shipment of the CRTs will be transported (e.g., mode of transportation vehicle (air, highway, rail, water, etc.), types of container (drums, boxes, tanks, etc.)).

vi) The name and address of the recycler or recyclers and the estimated quantity of used CRTs to be sent to each facility, as well as the name of any alternate recycler.

vii) A description of the manner in which the CRTs will be recycled in the foreign country that will be receiving the CRTs.

viii) The name of any transit country through which the CRTs will be sent and a description of the approximate length of time the CRTs will remain in such country and the nature of their handling while there.

B) Notifications must be submitted electronically using USEPA’s Waste Import Export Tracking System (WIETS).

C) Upon request by the Agency or USEPA, the exporter must furnish to the Agency and USEPA any additional information which a receiving country requests in order to respond to a notification.

D) USEPA has stated that it will provide a complete notification to the receiving country and any transit countries. A notification is complete when the Agency and USEPA receives a notification that USEPA determines satisfies the requirements of subsection (a)(5)(A).

E) The export of CRTs is prohibited, unless all of the following occur:

i) The receiving country consents to the intended export. When the receiving country consents in writing to the receipt of the CRTs, USEPA has stated that it will forward a USEPA an Acknowledgment of Consent (AOC) to Export CRTs to the exporter. Where the receiving country objects to receipt of the CRTs or withdraws a prior consent, USEPA has stated that it will notify the exporter in writing. USEPA has stated that it will also notify the exporter of any responses from transit countries.

ii) The exporter or a U.S. authorized agent must fulfill the requirements of subsection (a)(6).

BOARD NOTE: The Board moved the text of corresponding 40 CFR 261.39(a)(5)(v)(B)(*1*) through (a)(5)(v)(B)(*2*)(*vii*) to appear as subsections (a)(6)(A) through (a)(6)(B)(vii) to comport with codification requirements.

F) When the conditions specified on the original notification change, the exporter must provide the Agency and USEPA with a written renotification of the change using the allowable methods listed in subsection (a)(5)(ii) of this section, except for changes to the telephone number in subsection (a)(5)(A)(i) and decreases in the quantity indicated pursuant to subsection (a)(5)(A)(iii). The shipment cannot take place until consent of the receiving country to the changes has been obtained (except for changes to information about points of entry and departure and transit countries pursuant to subsections (a)(5)(A)(iv) and (a)(5)(A)(viii)) and the exporter of CRTs receives from USEPA a copy of the AOC to Export CRTs reflecting the receiving country’s consent to the changes.

G) A copy of the AOC to Export CRTs must accompany the shipment of CRTs. The shipment must conform to the terms of the Acknowledgment.

H) If a shipment of CRTs cannot be delivered for any reason to the recycler or the alternate recycler, the exporter of CRTs must renotify the Agency and USEPA of a change in the conditions of the original notification to allow shipment to a new recycler in accordance with subsection (a)(5)(F) and obtain another AOC to Export CRTs.

I) An exporter must keep copies of notifications and AOCs to Export CRTs for a period of three years following receipt of the AOC. An exporter may satisfy this recordkeeping requirement by retaining electronically submitted notifications or electronically generated Acknowledgements in the CRT exporter’s account on USEPA’s WIETS, or its successor system, provided that such copies are readily available for viewing and production if requested by any USEPA or authorized state inspector. No CRT exporter may be held liable for the inability to produce a notification or Acknowledgement for inspection under this section if the CRT exporter can demonstrate that the inability to produce such copies are due exclusively to technical difficulty with USEPA’s WIETS, or its successor system for which the CRT exporter bears no responsibility.

J) A CRT exporter must file with USEPA, no later than March 1 of each year, an annual report summarizing the quantities (in kilograms), frequency of shipment, and ultimate destinations (i.e., the facility or facilities where the recycling occurs) of all used CRTs exported during the previous calendar year. This annual report must also include the following:

i) The name, USEPA identification number (if applicable), and mailing and site address of the exporter;

ii) The calendar year covered by the report;

iii) A certification signed by the CRT exporter that states as follows:

“I certify under penalty of law that I have personally examined and am familiar with the information submitted in this and all attached documents and that, based on my inquiry of those individuals immediately responsible for obtaining this information, I believe that the submitted information is true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment.”

K) Annual reports must be submitted to the office listed using the allowable methods specified in subsection (a)(5)(B). Exporters must keep copies of each annual report for a period of at least three years after the due date of the report. An exporter may satisfy this recordkeeping requirement by retaining electronically submitted annual reports in the CRT exporter’s account on USEPA’s WIETS, or its successor system, provided that a copy is readily available for viewing and production if requested by any USEPA or authorized Agency inspector. No CRT exporter may be held liable for the inability to produce an annual report for inspection under this Section if the CRT exporter can demonstrate that the inability to produce the annual report is due exclusively to technical difficulty with USEPA’s WIETS, or its successor system for which the CRT exporter bears no responsibility.

BOARD NOTE: The hazardous waste import and export rules define “USEPA Acknowledgement of Consent” in 35 Ill. Adm. Code 722.181.

6) AES Reporting Requirements.

A) Submit Electronic Export Information (EEI) for each shipment to the Automated Export System (AES) or its successor system, under the International Trade Data System (ITDS) platform, in accordance with 15 CFR 30.4(b), incorporated by reference in 35 Ill. Adm. Code 720.111.

B) Include the following items in the EEI, along with the other information required under 15 CFR 30.6, incorporated by reference in 35 Ill. Adm. Code 720.111:

i) The USEPA license code;

ii) The commodity classification code (per 15 CFR 30.6(a)(12));

iii) The USEPA consent number;

iv) The country of ultimate destination (per 15 CFR 30.6(a)(5));;

v) The date of export (per 15 CFR 30.6(a)(2));;

vi) The quantity of waste in shipment and units for reported quantity, if required reporting units established by value for the reported commodity classification number are in units of weight or volume (per 15 CFR 30.6(a)(15));; or

vii) The USEPA net quantity reported in units of kilograms, if required reporting units established by value for the reported commodity classification number are not in units of weight or volume.

BOARD NOTE: The Board moved the text of corresponding 40 CFR 261.39(a)(5)(v)(B)(*1*) through (a)(5)(v)(B)(*2*)(*vii*) to appear as subsections (a)(6)(A) through (a)(6)(B)(vii) to comport with codification requirements.

BOARD NOTE: Corresponding 40 CFR 261.39(a)(5) requires communications relating to export of CRTs between the exporter and USEPA. It is clear that USEPA intends to maintain its central role between the exporter and the export-receiving country and it granting authorization to export. Nevertheless, the Board has required the exporter submit to the Agency also whatever notifications it must submit to USEPA relating to the export. The intent is to facilitate the Agency’s efforts towards assurance of compliance with the regulations as a whole, and not to require a separate authorization for export by the Agency.

b) Requirements for used CRT processing. Used, broken CRTs undergoing CRT processing, as defined in 35 Ill. Adm. Code 720.110, are not solid waste if they meet the following requirements:

1) Storage. Used, broken CRTs undergoing CRT processing are subject to the requirement of subsection (a)(4).

2) CRT Processing

A) All activities specified in the second and third paragraphs of the definition of “CRT processing” in 35 Ill. Adm. Code 720.110 must be performed within a building with a roof, floor, and walls; and

BOARD NOTE: The activities specified in the second and third paragraphs of the definition of “CRT processing” are “intentionally breaking intact CRTs or further breaking or separating broken CRTs” and “sorting or otherwise managing glass removed from CRT monitors”.

B) No activities may be performed that use temperatures high enough to volatilize lead from CRTs.

c) Glass from CRT processing that is sent to CRT glass making or lead smelting. Glass from CRT processing that is destined for recycling at a CRT glass manufacturer or a lead smelter after CRT processing is not a solid waste unless it is speculatively accumulated, as defined in Section 721.101(c)(8).

d) Use constituting disposal. Glass from CRT processing that is used in a manner constituting disposal must comply with the requirements of Subpart C of 35 Ill. Adm. Code 726 instead of the requirements of this Section.

(Source: Amended at 42 Ill. Reg. 21673, effective November 19, 2018)

**Section 721.140 Conditional Exclusion for Used, Intact CRTs Exported for Recycling**

Used, intact CRTs exported for recycling are not solid waste if they meet the notice and consent conditions of Section 721.139(a)(5) and they are not speculatively accumulated, as defined in Section 721.101(c)(8).

(Source: Added at 32 Ill. Reg. 11786, effective July 14, 2008)

**Section** **721.141 Notification and Recordkeeping for Used, Intact CRTs Exported for Reuse**

a) A CRT exporter that exports used, intact CRTs for reuse must send a notification to the Agency and USEPA. This notification may cover export activities extending over a 12-month or lesser period.

1) The notification must be in writing, signed by the exporter, and include the following information:

A) Name, mailing address, telephone number, and USEPA identification number (if applicable) of the exporter of the used, intact CRTs;

B) The estimated frequency or rate at which the used, intact CRTs are to be exported for reuse and the period of time over which they are to be exported;

C) The estimated total quantity of used, intact CRTs specified in kilograms;

D) All points of entry to and departure from each transit country through which the used, intact CRTs will pass, a description of the approximate length of time the used, intact CRTs will remain in that country, and the nature of their handling while there;

E) A description of the means by which each shipment of the used, intact CRTs will be transported (e.g., mode of transportation vehicle (air, highway, rail, water, etc.), types of container (drums, boxes, tanks, etc.));

F) The name and address of the ultimate destination facility or facilities where the used, intact CRTs will be reused, refurbished, distributed, or sold for reuse and the estimated quantity of used, intact CRTs to be sent to each facility, as well as the name of any alternate destination facility or facilities;

G) A description of the manner in which the used, intact CRTs will be reused (including reuse after refurbishment) in the foreign country that will be receiving the used, intact CRTs; and

H) A certification signed by the CRT exporter that states as follows:

“I certify under penalty of law that the CRTs described in this notice are intact and fully functioning or capable of being functional after refurbishment and that the used CRTs will be reused or refurbished and reused. I certify under penalty of law that I have personally examined and am familiar with the information submitted in this and all attached documents and that, based on my inquiry of those individuals immediately responsible for obtaining the information, I believe that the submitted information is true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment.”

2) Notifications submitted by mail should be sent to the following mailing address:

Office of Enforcement and Compliance Assurance

Office of Federal Activities

International Compliance Assurance Division (Mail Code 2254A)

Environmental Protection Agency

1200 Pennsylvania Ave., NW

Washington, DC 20460

Hand-delivered notifications should be sent to the following address:

Office of Enforcement and Compliance Assurance

Office of Federal Activities

International Compliance Assurance Division (Mail Code 2254A)

Environmental Protection Agency

William Jefferson Clinton Building, Room 6144

1200 Pennsylvania Ave., NW

Washington, DC 20004

In either case, the following must be prominently displayed on the front of the envelope:

“Attention: Notification of Intent to Export CRTs”.

A notification submitted to the Agency by mail or hand-delivered must be sent to the following mailing address:

###### Illinois Environmental Protection Agency

Bureau of Land Pollution Control

1021 North Grand Ave. East

P.O. Box 19276

Springfield, IL 62794-9276

b) A CRT exporter that exports used, intact CRTs for reuse must keep copies of normal business records, such as contracts, demonstrating that each shipment of exported used, intact CRTs will be reused. This documentation must be retained for a period of at least three years from the date the CRTs were exported. If the documents are written in a language other than English, a CRT exporter of used, intact CRTs sent for reuse must provide both the original, non-English version of the normal business records, as well as a third-party translation of the normal business records into English, within 30 days after a request by USEPA.

(Source: Amended at 42 Ill. Reg. 21673, effective November 19, 2018)

SUBPART H: FINANCIAL REQUIREMENTS FOR MANAGEMENT OF EXCLUDED HAZARDOUS SECONDARY MATERIALS

**Section 721.240 Applicability**

a) The requirements of this Subpart H apply to owners or operators of reclamation and intermediate facilities managing hazardous secondary materials excluded under Section 721.104(a)(24), except as provided otherwise in this Section.

b) States and the federal government are exempt from the financial assurance requirements of this Subpart H.

(Source: Added at 34 Ill. Reg. 18611, effective November 12, 2010)

**Section 721.241 Definitions of Terms as Used in This Subpart**

The terms defined in 35 Ill. Adm. Code 725.241(d), (f), (g), and (h) have the same meaning in this Subpart H as they do in 35 Ill. Adm. Code 725.241.

(Source: Added at 34 Ill. Reg. 18611, effective November 12, 2010)

**721.242 Cost Estimate**

a) The owner or operator of a reclamation or intermediate facility must have a detailed written estimate, in current dollars, of the cost of disposing of any hazardous secondary material as listed or characteristic hazardous waste, and the potential cost of closing the facility as a treatment, storage, and disposal facility.

1) The estimate must equal the cost of conducting the activities described in this subsection (a) at the point when the extent and manner of the facility’s operation would make these activities the most expensive.

2) The cost estimate must be based on the costs to the owner or operator of hiring a third party to conduct these activities. A third party is a party that is neither a parent nor a subsidiary of the owner or operator. (See definition of “parent corporation” in 35 Ill. Adm. Code 725.241(d).) The owner or operator may use costs for on-site disposal in compliance with applicable requirements if the owner or operator can demonstrate that on-site disposal capacity will always exist over the life of the facility.

3) The cost estimate may not incorporate any salvage value that may be realized with the sale of hazardous secondary materials, or hazardous or non-hazardous wastes (if permitted by the Agency under 35 Ill. Adm. Code 725.213(d)), facility structures or equipment, land, or other assets associated with the facility.

4) The owner or operator may not incorporate a zero cost for hazardous secondary materials, or hazardous or non-hazardous wastes (if permitted by the Agency under 35 Ill. Adm. Code 725.213(d)) that might have economic value.

b) During the active life of the facility, the owner or operator must adjust the written cost estimate for inflation within 60 days prior to the anniversary date of the establishment of the financial instruments used to comply with Section 721.243. An owner or operator that uses the financial test or corporate guarantee must update its cost estimate for inflation within 30 days after the close of the firm’s fiscal year and before submitting updated information to the Agency and USEPA under Section 721.243(e)(3). The adjustment may be made by recalculating the cost estimate in current dollars, or by using an inflation factor derived from the most recent Implicit Price Deflator for Gross National Product (Deflator) published by the U.S. Department of Commerce, as specified in subsections (b)(1) and (b)(2). The inflation factor is the result of dividing the latest published annual Deflator by the Deflator for the previous year.

1) The first adjustment is made by multiplying the cost estimate by the inflation factor. The result is the adjusted cost estimate.

2) Subsequent adjustments are made by multiplying the latest adjusted cost estimate by the latest inflation factor.

BOARD NOTE: The table of Deflators is available as Table 1.1.9. in the National Income and Product Account Tables, published by U.S. Department of Commerce, Bureau of Economic Analysis, National Economic Accounts, available on-line at the following web address: <https://apps.bea.gov/itable/?reqid=19&step=2&isuri=1&categories=survey>

Select: Section 1-Domestic Product and Income

c) During the active life of the facility, the owner or operator must revise the cost estimate within 30 days after a change in a facility’s operating plan or design that would increase the costs of conducting the activities described in subsection (a) or within 60 days after an unexpected event that increases the cost of conducting the activities described in subsection (a). The revised cost estimate must be adjusted for inflation, as specified in subsection (b).

d) The owner or operator must keep the following documents at the facility during the operating life of the facility: The latest cost estimate prepared under subsections (a) and (c) and, when this estimate has been adjusted under subsection (b), the latest adjusted cost estimate.

(Source: Amended at 48 Ill. Reg. 16813, effective November 22, 2024)

**Section** **721.243 Financial Assurance Condition**

As required by Section 721.104(a)(24)(F)(vi), an owner or operator of a reclamation facility or an intermediate facility must have financial assurance as a condition of the exclusion. The owner or operator must choose from the options specified in subsections (a) through (e).

a) Trust Fund

1) An owner or operator may meet the requirements of this Section by establishing a trust fund that complies with this subsection (a) and submitting an originally signed duplicate of the trust agreement to the Agency. The trustee must be an entity that has the authority to act as a trustee and whose trust operations are regulated and examined by a federal or state agency.

2) The wording of the trust agreement must be identical to the wording specified by the Agency under Section 721.251, and the trust agreement must be accompanied by a formal certification of acknowledgment, as specified by the Agency under Section 721.251. Schedule A of the trust agreement must be updated within 60 days after any change in the amount of the current cost estimate covered by the agreement.

3) The trust fund must be funded for the full amount of the current cost estimate before it may be relied upon to comply with this Section.

4) Whenever the current cost estimate changes, the owner or operator must compare the new cost estimate with the trustee’s most recent annual valuation of the trust fund. Within 60 days after the change in the cost estimate, if the value of the fund is less than the amount of the new cost estimate, the owner or operator must either deposit an amount into the fund so that its value after this deposit at least equals the amount of the current cost estimate, or the owner or operator must obtain other financial assurance that complies with this Section to cover the difference.

5) If the value of the trust fund is greater than the total amount of the current cost estimate, the owner or operator may submit a written request to the Agency for release of the amount more than the current cost estimate.

6) If an owner or operator substitutes other financial assurance that complies with this Section for all or part of the trust fund, it may submit a written request to the Agency for release of the amount in excess of the current cost estimate covered by the trust fund.

7) Within 60 days after receiving a request from the owner or operator for a release of funds, as specified in subsection (a)(5) or (a)(6), the Agency will instruct the trustee to release to the owner or operator those funds that the Agency specifies in writing. If the owner or operator begins final closure under Subpart G of 35 Ill. Adm. Code 724 or 725, it may request reimbursements for partial or final closure expenditures by submitting itemized bills to the Agency. The owner or operator may request reimbursements for partial closure only if sufficient funds are remaining in the trust fund to cover the maximum costs of closing the facility over its remaining operating life. Within 60 days after receiving bills for partial or final closure activities, if the Agency determines that the partial or final closure expenditures conforms to the approved closure plan, or otherwise justified, the Agency will instruct the trustee to make reimbursements in those amounts as the Agency specifies in writing. If the Agency has reason to believe that the maximum cost of closure over the remaining life of the facility will be significantly greater than the value of the trust fund, the Agency may withhold reimbursements of those amounts that the Agency deems prudent until the Agency determines, in under 35 Ill. Adm. Code 725.243(i), that the owner or operator is no longer required to maintain financial assurance for final closure of the facility. If the Agency does not instruct the trustee to make these reimbursements, the Agency must provide to the owner or operator a detailed written statement of reasons.

8) The Agency must agree to terminating the trust fund when either of the following has occurred:

A) The Agency determines that the owner or operator has substituted alternative financial assurance that complies with this Section; or

B) The Agency releases the owner or operator from obligation under this Section in compliance with subsection (i).

b) Surety Bond Guaranteeing Payment into a Trust Fund

1) An owner or operator may comply with this Section by obtaining a surety bond that complies with this subsection (b) and submitting the bond to the Agency. The surety company issuing the bond must, at a minimum, be listed as acceptable sureties on federal bonds in Circular 570 of the U.S. Department of the Treasury.

BOARD NOTE: The U.S. Department of the Treasury updates Circular 570, “Companies Holding Certificates of Authority as Acceptable Sureties on Federal Bonds and as Acceptable Reinsuring Companies”, on an annual basis under 31 CFR 223.16. Circular 570 is available on the Internet from the following website: <https://www.fiscal.treasury.gov/surety-bonds/circular-570.html>.

2) The wording of the surety bond must be identical to the wording specified by the Agency under Section 721.251.

3) The owner or operator that uses a surety bond to comply with this Section must also establish a standby trust fund. Under the terms of the bond, all payments made under the bond will be deposited by the surety directly into the standby trust fund according to the Agency's instructions. This standby trust fund must comply with subsection (a), except that the following also apply:

A) The owner or operator must submit an originally signed duplicate of the trust agreement to the Agency with the surety bond; and

B) Until the standby trust fund is funded under this Section, the following are not required:

i) Payments into the trust fund, as specified in subsection (a);

ii) Updating Schedule A of the trust agreement to show current cost estimates;

iii) Annual valuations, as required by the trust agreement; and

iv) Notices of nonpayment, as required by the trust agreement.

4) The bond must guarantee that the owner or operator will undertake one of the following actions:

A) That the owner or operator will fund the standby trust fund in an amount equal to the penal sum of the bond before loss of the exclusion under Section 721.104(a)(24);

B) That the owner or operator will fund the standby trust fund in an amount equal to the penal sum within 15 days after an administrative order to begin closure issued by the Agency becomes final, or within 15 days after an order to begin closure is issued by the Board or a court of competent jurisdiction; or

C) Within 90 days after receipt by both the owner or operator and the Agency of a notice cancelling the bond from the surety, that the owner or operator will provide alternate financial assurance that complies with this Section and obtain the Agency’s written approval of the assurance provided.

5) Under the terms of the bond, the surety must become liable on the bond obligation when the owner or operator fails to perform as guaranteed by the bond.

6) The penal sum of the bond must be in an amount at least equal to the current cost estimate, except as provided in subsection (f).

7) Whenever the current cost estimate increases to an amount greater than the penal sum, the owner or operator, within 60 days after the increase, must either cause the penal sum to be increased to an amount at least equal to the current cost estimate and submit evidence of this increase to the Agency, or obtain other financial assurance that complies with this Section to cover the increase. Whenever the current cost estimate decreases, the penal sum may be reduced to the amount of the current cost estimate following written approval by the Agency.

8) Under the terms of the bond, the surety may cancel the bond by sending notice of cancellation by certified mail to the owner or operator and to the Agency. Cancellation may not occur, however, during the 120 days beginning on the date of receipt of the notice of cancellation by both the owner or operator and the Agency, as evidenced by the return receipts.

9) The owner or operator may cancel the bond if the Agency has given prior written consent based on the Agency’s receipt of evidence of alternate financial assurance that complies with this Section.

c) Letter of Credit

1) An owner or operator may comply with this Section by obtaining an irrevocable standby letter of credit that complies with this subsection (c) and submitting the letter to the Agency. The issuing institution must be an entity that has the authority to issue letters of credit and whose letter-of-credit operations are regulated and examined by a federal or state agency.

2) The wording of the letter of credit must be identical to the wording specified by the Agency under Section 721.251.

3) An owner or operator that uses a letter of credit to comply with this Section must also establish a standby trust fund. Under the terms of the letter of credit, all amounts paid under a draft by the Agency will be deposited by the issuing institution directly into the standby trust fund according to the Agency's instructions. This standby trust fund must comply with subsection (a), except that the following also apply:

A) The owner or operator must submit an originally signed duplicate of the trust agreement to the Agency with the letter of credit; and

B) Unless the standby trust fund is funded under this Section, the following are not required:

i) Payments into the trust fund, as specified in subsection (a);

ii) Updating Schedule A of the trust agreement to show current cost estimates;

iii) Annual valuations, as required by the trust agreement; and

iv) Notices of nonpayment, as required by the trust agreement.

4) The letter of credit must be accompanied by a letter from the owner or operator that refers to the letter of credit by number, issuing institution, and date, and that provides the following information: The USEPA identification number (if any issued), name, and address of the facility, and the amount of funds assured for the facility by the letter of credit.

5) The letter of credit must be irrevocable, and the letter must be issued for a period of at least one year. The letter of credit must provide that the expiration date will be automatically extended for a period of at least one year unless, at least 120 days before the current expiration date, the issuing institution notifies both the owner or operator and the Agency by certified mail of a decision not to extend the expiration date. Under the terms of the letter of credit, the 120 days will begin on the date when both the owner or operator and the Agency have received the notice, as evidenced by the return receipts.

6) The letter of credit must be issued in an amount at least equal to the current cost estimate, except as provided in subsection (f).

7) Whenever the current cost estimate increases to an amount greater than the amount of the credit, within 60 days after the increase, the owner or operator must either cause the amount of the credit to be increased, so that it at least equals the current cost estimate, and submit evidence of this increase to the Agency, or it must obtain other financial assurance that complies with this Section to cover the increase. Whenever the current cost estimate decreases, the amount of the credit may be reduced to the amount of the current cost estimate following written approval by the Agency.

8) Following a determination by the Agency that the hazardous secondary materials do not meet the conditions of the exclusion set forth in Section 721.104(a)(24), the Agency may draw on the letter of credit.

9) If the owner or operator does not establish alternative financial assurance that complies with this Section and obtain written approval of the alternate assurance from the Agency within 90 days after receipt by both the owner or operator and the Agency of a notice from the issuing institution that it has decided not to extend the letter of credit beyond the current expiration date, the Agency may draw on the letter of credit. The Agency may delay the drawing if the issuing institution extends the term of the credit. During the last 30 days after any extension, the Agency may draw on the letter of credit if the owner or operator has failed to provide alternative financial assurance that complies with this Section and obtain written approval of this assurance from the Agency.

10) The Agency must return the letter of credit to the issuing institution for termination when either of the following occurs:

A) The owner or operator substitutes alternative financial assurance that complies with this Section; or

B) The Agency releases the owner or operator from the requirements of this Section under subsection (i).

d) Insurance

1) An owner or operator may comply with this Section by obtaining insurance that complies with this subsection (d) and submitting a certificate of that insurance to the Agency. At a minimum, the insurer must be licensed to transact the business of insurance, or eligible to provide insurance as an excess or surplus lines insurer, in one or more states.

2) The wording of the certificate of insurance must be identical to the wording specified by the Agency under Section 721.251.

3) The insurance policy must be issued for a face amount at least equal to the current cost estimate, except as provided in subsection (f). The term “face amount” means the total amount the insurer is obligated to pay under the policy. Actual payments by the insurer will not change the face amount, although the insurer’s future liability will be lowered by the amount of the payments.

4) The insurance policy must guarantee that funds will be available whenever needed to pay the cost of removal of all hazardous secondary materials from the unit, to pay the cost of decontaminating the unit, and to pay the costs of performing activities required under Subpart G of 35 Ill. Adm. Code 724 or 725, as applicable, for the facilities covered by the policy. The policy must also guarantee that once funds are needed, the insurer will be responsible for paying out funds, up to an amount equal to the face amount of the policy, upon the direction of the Agency, to the party or parties as the Agency specifies.

5) After beginning partial or final closure under 35 Ill. Adm. Code 724 or 725, as applicable, an owner or operator or any other authorized person may request reimbursements for closure expenditures by submitting itemized bills to the Agency. The owner or operator may request reimbursements only if the remaining value of the policy is sufficient to cover the maximum costs of closing the facility over its remaining operating life. If the Agency determines that the expenditures are according to the approved plan or are otherwise justified, the Agency must, within 60 days after receiving bills for closure activities, instruct the insurer in writing to make reimbursements in the amounts that the Agency specifies. If the Agency has reason to believe that the maximum cost over the remaining life of the facility will be significantly greater than the face amount of the policy, the Agency may withhold reimbursement of the amounts that the Agency deems prudent until the Agency determines, under subsection (h), that the owner or operator is no longer required to maintain financial assurance for the particular facility. If the Agency does not instruct the insurer to make the reimbursements under this subsection (d)(5), the Agency must provide to the owner or operator a detailed written statement of reasons.

BOARD NOTE: The owner or operator may appeal any Agency determination made under this subsection (d)(5), as provided by Section 40 of the Act.

6) The owner or operator must maintain the policy in full force and effect until the Agency consents to the owner or operator terminating the policy, as specified in subsection (d)(10). Failure to pay the premium, without substituting alternate financial assurance as specified in this Section, will constitute a significant violation of these regulations warranting the remedy that is deemed necessary under Sections 31, 39, and 40 of the Act. This violation will be deemed to begin upon receipt by the Agency of a notice of future cancellation, termination, or failure to renew the policy due to nonpayment of the premium, rather than upon the date of policy expiration.

7) Each policy must contain a provision allowing assignment of the policy to a successor owner or operator. The assignment may be conditioned on consent of the insurer, so long as the policy provides that the insurer may not unreasonably refuse this consent.

8) The policy must provide that the insurer may not cancel, terminate, or fail to renew the policy, except for failure to pay the premium. The automatic renewal of the policy must, at a minimum, provide the insured with the option of renewing at the face amount of the expiring policy. If the owner or operator fails to pay the premium, the insurer may elect to cancel, terminate, or fail to renew the policy by sending notice by certified mail to the owner or operator and the Agency. Cancellation, termination, or failure to renew may not occur, however, during the 120 days that begin on the date that both the Agency and the owner or operator have received the notice, as evidenced by the return receipts. Cancellation, termination, or failure to renew the policy may not occur, and the policy will remain in full force and effect if on or before the expiration date, one of the following events occurs:

A) The Agency deems the facility abandoned;

B) Conditional exclusion or interim status is lost, terminated, or revoked;

C) Closure is ordered by the Board or a court of competent jurisdiction;

D) The owner or operator is named as debtor in a voluntary or involuntary proceeding under Title 11 of the U.S. Code (Bankruptcy); or

E) The premium due has been paid.

9) Whenever the owner or operator learns that the current cost estimate has increased to an amount greater than the face amount of the policy, the owner or operator must, within 60 days after learning of the increase, either cause the face amount to be increased to an amount at least equal to the current cost estimate and submit evidence of this increase to the Agency, or the owner or operator must obtain other financial assurance that complies with this Section to cover the increase. Whenever the current cost estimate decreases, the face amount may be reduced to the amount of the current cost estimate after the owner or operator has obtained the written approval of the Agency.

10) The Agency must give written consent that allows the owner or operator to terminate the insurance policy when either of the following events occurs:

A) The Agency has determined that the owner or operator has substituted alternative financial assurance that complies with this Section; or

B) The Agency has released the owner or operator from obligation under this Section under subsection (i).

e) Financial Test and Corporate Guarantee

1) An owner or operator may comply with this Section by demonstrating that the owner or operator passes one of the financial tests specified in this subsection (e). To pass a financial test, the owner or operator must meet the criteria of either subsection (e)(1)(A) or (e)(1)(B):

A) Test 1. The owner or operator must have each of the following:

i) Two of the following three ratios: A ratio of total liabilities to net worth less than 2.0; a ratio of the sum of net income plus depreciation, depletion, and amortization to total liabilities greater than 0.1; and a ratio of current assets to current liabilities greater than 1.5;

ii) Net working capital and tangible net worth each at least six times the sum of the current cost estimates and the current plugging and abandonment cost estimates;

iii) Tangible net worth of at least $10 million; and

iv) Assets located in the United States amounting to at least 90 percent of total assets or at least six times the sum of the current cost estimates and the current plugging and abandonment cost estimates.

B) Test 2. The owner or operator must have each of the following:

i) A current rating for its most recent bond issuance of AAA, AA, A, or BBB, as issued by Standard and Poor’s, or Aaa, Aa, A, or Baa, as issued by Moody’s;

ii) Tangible net worth at least six times the sum of the current cost estimates and the current plugging and abandonment cost estimates;

iii) Tangible net worth of at least $10 million; and

iv) Assets located in the United States amounting to either at least 90 percent of total assets or at least six times the sum of the current cost estimates and the current plugging and abandonment cost estimates.

2) Definitions as used in subsection (e)(1).

“Current cost estimates” means the following four cost estimates required in the standard letter from the owner’s or operator’s chief financial officer:

The cost estimate for each facility for which the owner or operator has demonstrated financial assurance through the financial test specified in subsections (e)(1) through (e)(9);

The cost estimate for each facility for which the owner or operator has demonstrated financial assurance through the corporate guarantee specified in subsection (e)(10);

For facilities in a state outside of Illinois, the cost estimate for each facility for which the owner or operator has demonstrated financial assurance through the financial test specified in Subpart H of 40 CFR 261 or through a financial test deemed by USEPA as equivalent to that in Subpart H of 40 CFR 261; and

The cost estimate for each facility for which the owner or operator has not demonstrated financial assurance to the Agency, USEPA, or a sister state in which the facility is located by any mechanism that complies with the applicable of this Subpart H, Subpart H of 40 CFR 261, or regulations deemed by USEPA as equivalent to Subpart H of 40 CFR 261.

“Current plugging and abandonment cost estimates” means the following four cost estimates required in the standard form of a letter from the owner’s or operator’s chief financial officer (see 35 Ill. Adm. Code 704.240):

The cost estimate for each facility for which the owner or operator has demonstrated financial assurance through the financial test specified in 35 Ill. Adm. Code 704.219(a) through (i);

The cost estimate for each facility for which the owner or operator has demonstrated financial assurance through the financial test specified in 35 Ill. Adm. Code 704.219(j);

For facilities in a state outside of Illinois, the cost estimate for each facility for which the owner or operator has demonstrated financial assurance through the financial test specified in Subpart F of 40 CFR 144 or through a financial test deemed by USEPA as equivalent to that in Subpart F of 40 CFR 144; and

The cost estimate for each facility for which the owner or operator has not demonstrated financial assurance to the Agency, USEPA, or a sister state in which the facility is located by any mechanism that complies with the applicable requirements of Subpart G of 35 Ill. Adm. Code 704, Subpart F of 40 CFR 144, or regulations deemed by USEPA as equivalent to Subpart F of 40 CFR 144.

BOARD NOTE: Corresponding 40 CFR 261.143(e)(2) defines “current cost estimate” as “the cost estimates required to be shown in paragraphs 1–4 of the letter from the owner’s or operator’s chief financial officer (Section 261.151(e))” and “current plugging and abandonment cost estimates” as “the cost estimates required to be shown in paragraphs 1–4 of the letter from the owner’s or operator’s chief financial officer (Section 144.70(f) of this chapter)”. The Board has substituted the descriptions of these estimates, using those specified by USEPA in 40 CFR 261.151(e) and 144.70(f), as appropriate. Since the letter of the chief financial officer must include the cost estimates for any facilities that the owner or operator manages outside of Illinois, the Board has referred to the corresponding regulations of those sister states as “regulations deemed by USEPA as equivalent to Subpart F of 40 CFR 144 and Subpart H of 40 CFR 261”.

3) To demonstrate that it meets the financial test in subsection (e)(1), the owner or operator must submit the following items to the Agency:

A) A letter signed by the owner’s or operator’s chief financial officer and worded as specified by the Agency under Section 721.251 that is derived from the independently audited, year-end financial statements for the latest fiscal year, with the amounts of the pertinent environmental liabilities included in these financial statements;

B) A copy of an independent certified public accountant’s report on examining the owner’s or operator’s financial statements for the latest completed fiscal year; and

C) If the chief financial officer’s letter prepared under subsection (e)(3)(A) includes financial data that shows that the owner or operator meets the test in subsection (e)(1)(A) (Test 1), and either the data in the chief financial officer’s letter are different from the data in the audited financial statements required by subsection (e)(3)(B)of this Section, or the data are different from any other audited financial statement or data filed with the federal Securities and Exchange Commission, then the owner or operator must submit a special report from its independent certified public accountant. The special report must be based on an agreed-upon procedures engagement, in compliance with professional auditing standards. The report must describe the procedures used to compare the data in the chief financial officer’s letter (prepared under subsection (e)(3)(A)), the findings of the comparison, and the reasons for any differences.

4) This subsection (e)(3)(4) corresponds with 40 CFR 261.143(e)(3)(iv), a provision relating to extending the deadline for filing the financial documents required by 40 CFR 261.143(e)(3) until 90 days after the effective date of the federal rule. Thus, the latest date for filing the documents was March 29, 2009, which is now past. See 40 CFR 261.143(e)(3) and 73 Fed. Reg. 64668 (Oct. 30, 2008). This statement maintains structural consistency with the corresponding federal provision.

5) After initially submitting items specified in subsection (e)(3), the owner or operator must send updated information to the Agency within 90 days after the close of each succeeding fiscal year. This information must comprise all three items specified in subsection (e)(3).

6) If the owner or operator no longer complies with subsection (e)(1), it must send notice to the Agency of intent to establish alternative financial assurance that complies with this Section. The owner or operator must send the notice by certified mail within 90 days after the end of the fiscal year for which the year-end financial data show that the owner or operator no longer meets the requirements. The owner or operator must provide the alternative financial assurance within 120 days after the end of the fiscal year.

7) The Agency may, based on a reasonable belief that the owner or operator may no longer be complying with subsection (e)(1), require reports of financial condition at any time from the owner or operator in addition to those specified in subsection (e)(3). If the Agency finds, on the basis of these reports or other information, that the owner or operator no longer complies with subsection (e)(1), the owner or operator must provide alternative financial assurance that meets the requirements of this Section within 30 days after receiving notice of the finding.

8) The Agency must disallow use of the financial tests in this subsection (e) on the basis of qualifications in the opinion expressed by the independent certified public accountant in the accountant’s report on examining the owner’s or operator’s financial statements (see subsection (e)(3)(B)) if the Agency determines that those qualifications significantly, adversely affect the owner’s or operator’s ability to provide its own financial assurance by this mechanism. An adverse opinion or a disclaimer of opinion will be cause for disallowance. The Agency must evaluate all other kinds of qualifications on an individual basis. The owner or operator must provide alternative financial assurance that complies with this Section within 30 days after receiving notice of Agency disallowance under this subsection (e)(8).

9) The owner or operator is no longer required to submit the items specified in subsection (e)(3) when either of the following events occur:

A) An owner or operator has substituted alternative financial assurance that complies with this Section; or

B) The Agency releases the owner or operator from obligation under this Section under subsection (i).

10) Corporate guarantee for financial responsibility. An owner or operator may comply with this Section by obtaining a written corporate guarantee. The guarantor must be the direct or higher-tier parent corporation of the owner or operator, a sister firm whose parent corporation is also the parent corporation of the owner or operator, or a firm with a “substantial business relationship” with the owner or operator. The guarantor must meet the requirements applicable to an owner or operator in subsections (e)(1) through (e)(8), and it must comply with the terms of the guarantee. The wording of the guarantee must be identical to the wording specified by the Agency under Section 721.251. A certified copy of the guarantee must accompany the items sent to the Agency that are required by subsection (e)(3). One of these items must be the letter from the guarantor’s chief financial officer. If the guarantor’s parent corporation is also the parent corporation of the owner or operator, the letter must describe the value received in consideration of the guarantee. If the guarantor is a firm with a “substantial business relationship” with the owner or operator, this letter must describe this “substantial business relationship” and the value received in consideration of the guarantee. The terms of the guarantee must provide as follows:

A) Following a determination by the Agency that the hazardous secondary materials at the owner or operator’s facility covered by this guarantee do not meet the conditions of the exclusion under Section 721.104(a)(24), the guarantor must dispose of any hazardous secondary material as hazardous waste and close the facility in compliance with the applicable closure requirements in 35 Ill. Adm. Code 724 or 725, or the guarantor must establish a trust fund in the name of the owner or operator and in the amount of the current cost estimate that complies with subsection (a).

B) The corporate guarantee must remain in force unless the guarantor has sent notice of cancellation by certified mail to the owner or operator and to the Agency. Cancellation may not occur, however, during the 120 days beginning on the date on which both the owner or operator and the Agency have received the notice of cancellation, as evidenced by the return receipts.

C) If the owner or operator fails to provide alternative financial assurance that complies with this Section and obtain the written approval of the alternate assurance from the Agency within 90 days after the date on which both the owner or operator and the Agency have received the notice of cancellation of the corporate guarantee from the guarantor, the guarantor must provide the alternative financial assurance in the name of the owner or operator.

f) Use of Multiple Financial Mechanisms. An owner or operator may comply with this Section by establishing more than one financial mechanism per facility. The mechanisms that an owner or operator may use for this purpose are limited to a trust fund that complies with subsection (a), a surety bond that complies with subsection (b), a letter of credit that complies with subsection (c), and insurance that complies with subsection (d). The mechanisms must individually satisfy the indicated requirements of this Section, except that it is the combination of all mechanisms used by the owner or operator, rather than any individual mechanism, that must provide financial assurance for an aggregated amount at least equal to the current cost estimate. If an owner or operator uses a trust fund in combination with a surety bond or a letter of credit, the owner or operator may use the trust fund as the standby trust fund for the other mechanisms. The owner or operator may establish a single standby trust fund for two or more mechanisms. The Agency may use any of the mechanisms to provide care for the facility.

g) Use of a Single Financial Mechanism for Multiple Facilities. An owner or operator may use a single financial assurance mechanism that complies with this Section to comply with this Section for more than one facility. Evidence of financial assurance submitted to the Agency must include a list showing, for each facility, the USEPA identification number (if any), name, address, and the amount of funds assured by the mechanism. If the facilities covered by the mechanism are in more than one Region, USEPA requires the owner of operator to submit and maintain identical evidence of financial assurance with each USEPA Region in which a covered facility is located. The amount of funds available through the mechanism must not be less than the sum of funds that would be available if a separate mechanism had been established and maintained for each facility. In directing funds available through a mechanism for any of the facilities covered by that mechanism, the Agency may direct only that amount of funds designated for that facility, unless the owner or operator agrees to the use of additional funds available under the mechanism.

h) Removal and Decontamination Plan for Release from Financial Assurance Obligations

1) An owner or operator of a reclamation facility or an intermediate facility that wishes to be released from its financial assurance obligations under Section 721.104(a)(24)(F)(vi) must submit a plan for removing all hazardous secondary material residues from the facility. The owner or operator must submit the plan to the Agency at least 180 days prior to the date on which the owner or operator expects to cease to operate under the exclusion.

2) The plan must, at a minimum, include the following information:

A) For each hazardous secondary materials storage unit subject to financial assurance requirements under Section 721.104(a)(24)(F)(vi), the plan must describe how all excluded hazardous secondary materials will be recycled or sent for recycling, and how all residues, contaminated containment systems (liners, etc.), contaminated soils, subsoils, structures, and equipment will be removed or decontaminated as necessary to protect human health and the environment;

B) The plan must describe the steps necessary to remove or decontaminate all hazardous secondary material residues and contaminated containment system components, equipment, structures, and soils, including procedures for cleaning equipment and removing contaminated soils, methods for sampling and testing surrounding soils, and criteria for determining the extent of decontamination necessary to protect human health and the environment;

C) The plan must describe any other activities necessary to protect human health and the environment during this timeframe, including leachate collection, run-on and run-off control, etc.; and

D) The plan must include a schedule for conducting the activities described that, at a minimum, includes the total time required to remove all excluded hazardous secondary materials for recycling and decontaminate all units subject to financial assurance under Section 721.104(a)(24)(F)(vi) and the time required for intervening activities that will allow tracking of the progress of decontamination.

3) The Agency must provide the owner or operator and the public, through a newspaper notice, the opportunity to submit written comments on and request modifications to the plan. The Agency must accept any comments or requests to modify the plan that it receives within 30 days after the date when the notice is published. The Agency must also, in response to a request or in its discretion, hold a public hearing whenever it determines that a hearing might clarify one or more issues concerning the plan. The Agency must give public notice of the hearing at least 30 days before it occurs. (Public notice of the hearing may be given at the same time as notice of the opportunity for the public to submit written comments, and the Agency may combine the two notices.) The Agency must approve, modify, or disapprove the plan within 90 days after its receipt. If the Agency does not approve the plan, the Agency must provide the owner or operator with a detailed written statement of reasons for its refusal, and the owner or operator must modify the plan or submit a new plan for approval within 30 days after the owner or operator receives a written statement from the Agency. The Agency must approve or modify this owner‑ or operator-modified plan in writing within 60 days. If the Agency modifies the owner‑ or operator-modified plan, this modified plan becomes the approved plan. The Agency must assure that the approved plan is consistent with this subsection (h). A copy of the modified plan with a detailed statement of reasons for the modifications must be mailed to the owner or operator.

4) Within 60 days after completing the activities described for each hazardous secondary materials management unit, the owner or operator must submit to the Agency, by registered mail, a certification that all hazardous secondary materials have been removed from the unit and that the unit has been decontaminated in compliance with the specifications in the approved plan. The certification must be signed by the owner or operator and by a qualified Professional Engineer. Upon request, the owner or operator must furnish the Agency with documentation that supports the Professional Engineer’s certification, until the Agency releases the owner or operator from the financial assurance requirements of Section 721.104(a)(24)(F)(vi).

i) Releasing the Owner or Operator from Obligation Under This Section. Within 60 days after receiving certifications from the owner or operator and a qualified Professional Engineer that all hazardous secondary materials have been removed from the facility or from a unit at the facility and the facility or unit has been decontaminated according to the approved plan in compliance with subsection (h), the Agency must determine whether or not the owner or operator has accomplished the objectives of removing all hazardous secondary materials from the facility or from a unit at the facility and decontaminating the facility in compliance with the approved plan. If the Agency determines that the owner or operator has accomplished both objectives, the Agency must notify the owner or operator in writing, within the 60 days, that the owner and operator are no longer required under Section 721.104(a)(24)(F)(vi) to maintain financial assurance for that facility or unit at the facility. If the Agency determines that the owner or operator has not accomplished both objectives, it must provide the owner or operator with a detailed written statement of the basis for its determination.

(Source: Amended at 48 Ill. Reg. 16813, effective November 22, 2024)

**Section** **721.247 Liability Requirements**

a) Coverage for Sudden Accidental Occurrences. The owner or operator of one or more hazardous secondary material reclamation facilities or intermediate facilities that are subject to financial assurance requirements under Section 721.104(a)(24)(F)(vi) must demonstrate financial responsibility for bodily injury and property damage to third parties caused by sudden accidental occurrences arising from operations of its facilities. The owner or operator must maintain liability coverage in force for sudden accidental occurrences in the amount of at least $1 million per occurrence with an annual aggregate of at least $2 million, exclusive of legal defense costs. This liability coverage may be demonstrated as specified in any of subsections (a)(1), (a)(2), (a)(3), (a)(4), (a)(5), or (a)(6).

1) An owner or operator may demonstrate the required liability coverage by having liability insurance that complies with this subsection (a)(1).

A) Each insurance policy must be amended by attachment of the Hazardous Secondary Material Facility Liability Endorsement or evidenced by a Certificate of Liability Insurance. The wording of the Hazardous Secondary Material Facility Liability Endorsement must be identical to the wording specified by the Agency under Section 721.251. The wording of the Certificate of Liability Insurance must be identical to the wording specified by the Agency under Section 721.251. The owner or operator must submit a signed duplicate original of the Hazardous Secondary Material Facility Liability Endorsement or the Certificate of Liability Insurance to the Agency. If requested by the Agency, the owner or operator must provide a signed duplicate original of the insurance policy.

B) At a minimum, each insurance policy must be issued by an insurer that is licensed to transact the business of insurance, or that is eligible to provide insurance as an excess or surplus lines insurer, in one or more states.

2) An owner or operator may comply with this Section by passing a financial test or using the guarantee for liability coverage that complies with subsections (f) and (g).

3) An owner or operator may comply with this Section by obtaining a letter of credit for liability coverage that complies with subsection (h).

4) An owner or operator may comply with this Section by obtaining a surety bond for liability coverage that complies with subsection (i).

5) An owner or operator may comply with this Section by obtaining a trust fund for liability coverage that complies with subsection (j).

6) An owner or operator may demonstrate the required liability coverage by using a combination of insurance under subsections (a)(2) through (a)(5), except that the owner or operator may not combine a financial test covering part of the liability coverage requirement with a guarantee if the financial statement of the owner or operator is consolidated with the financial statement of the guarantor. The amounts of coverage demonstrated by the combination must total at least the minimum amounts required for the facility by this Section. If the owner or operator demonstrates the required coverage using a combination of financial assurances under this subsection (a)(6), the owner or operator must specify at least one assurance as “primary” coverage and all other assurance as “excess” coverage.

7) An owner or operator must notify the Agency in writing within 30 days whenever any of the following events has occurred:

A) A claim has resulted in a reduction in the amount of financial assurance for liability coverage provided by a financial instrument authorized by any of subsections (a)(1) through (a)(6);

B) A Certification of Valid Claim for bodily injury or property damages caused by a sudden or non-sudden accidental occurrence arising from operating a hazardous secondary material reclamation facility or intermediate facility is entered between the owner or operator and a third-party claimant for liability coverage established under any of subsections (a)(1) through (a)(6); or

C) A final court order that establishes a judgment for bodily injury or property damage caused by a sudden or non-sudden accidental occurrence that arose from operating a hazardous secondary material reclamation facility or intermediate facility is issued against the owner or operator or an instrument that is providing financial assurance for liability coverage under any of subsections (a)(1) through (a)(6).

BOARD NOTE: Corresponding 40 CFR 261.147(a) recites that it applies to “a hazardous secondary material reclamation facility or intermediate facility with land-based units…or a group of such facilities”. The Board has rendered this provision in the singular, intending that it include several facilities as a group if necessary. The Board does not intend to limit the applicability of this provision to multiple facilities. Note that the Agency can require complying with this provision by a facility to which it would not otherwise apply under subsection (d)(2), subject to the owner’s or operator’s right to appeal an Agency determination to the Board.

b) Coverage for Non-sudden Accidental Occurrences. An owner or operator of a hazardous secondary material reclamation facility or intermediate facility with land-based units, as defined in Section 720.110, that is used to manage hazardous secondary materials excluded under Section 721.104(a)(24) must demonstrate financial responsibility for bodily injury and property damage to third parties caused by non-sudden accidental occurrences that arise from operations of the facility or group of facilities. The owner or operator must maintain liability coverage for non-sudden accidental occurrences in the amount of at least $3 million per occurrence with an annual aggregate of at least $6 million, exclusive of legal defense costs. An owner or operator that must comply with this Section may combine the required per occurrence coverage levels for sudden and non-sudden accidental occurrences into a single per-occurrence level, and the owner or operator may combine the required annual aggregate coverage levels for sudden and non-sudden accidental occurrences into a single annual aggregate level. An owner or operator that combines coverage levels for sudden and non-sudden accidental occurrences must maintain liability coverage in the amount of at least $4 million per occurrence and $8 million annual aggregate. The owner or operator may demonstrate this liability coverage by any of the means in subsections (b)(1) through (b)(6):

1) An owner or operator may demonstrate the required liability coverage by having liability insurance that complies with this subsection (b)(1).

A) Each insurance policy must be amended by attachment of the Hazardous Secondary Material Facility Liability Endorsement or evidenced by a Certificate of Liability Insurance. The wording of the Hazardous Secondary Material Facility Liability Endorsement must be identical to the wording specified by the Agency under Section 721.251. The wording of the Certificate of Liability Insurance must be identical to the wording specified by the Agency under Section 721.251. The owner or operator must submit a signed duplicate original of the Hazardous Secondary Material Facility Liability Endorsement or the Certificate of Liability Insurance to the Agency. If requested by the Agency, the owner or operator must provide a signed duplicate original of the insurance policy.

B) At a minimum, each insurance policy must be issued by an insurer that is licensed to transact the business of insurance, or that is eligible to provide insurance as an excess or surplus lines insurer, in one or more states.

2) An owner or operator may comply with this Section by passing a financial test or by using the guarantee for liability coverage that complies with subsections (f) and (g).

3) An owner or operator may comply with this Section by obtaining a letter of credit for liability coverage that complies with subsection (h).

4) An owner or operator may comply with this Section by obtaining a surety bond for liability coverage that complies with subsection (i).

5) An owner or operator may comply with this Section by obtaining a trust fund for liability coverage that complies with subsection (j).

6) An owner or operator may demonstrate the required liability coverage by using a combination of insurance under subsections (b)(1) through (b)(5), except that the owner or operator may not combine a financial test covering part of the liability coverage requirement with a guarantee if the financial statement of the owner or operator is consolidated with the financial statement of the guarantor. The amounts of coverage demonstrated by the combination must total to at least the minimum amounts required for the facility by this Section. If the owner or operator demonstrates the required coverage by using a combination of financial assurances under this subsection (b)(6), the owner or operator must specify at least one assurance as “primary” coverage and all other assurance as “excess” coverage.

7) An owner or operator must notify the Agency in writing within 30 days whenever any of the following events has occurred:

A) A claim has resulted in a reduction in the amount of financial assurance for liability coverage provided by a financial instrument authorized by any of subsections (b)(1) through (b)(6);

B) A Certification of Valid Claim for bodily injury or property damages caused by a sudden or non-sudden accidental occurrence arising from operating a hazardous secondary material treatment or storage facility is entered between the owner or operator and a third-party claimant for liability coverage established under any of subsections (b)(1) through (b)(6); or

C) A final court order that establishes a judgment for bodily injury or property damage caused by a sudden or non-sudden accidental occurrence that arose from operating a hazardous secondary material treatment and/or storage facility is issued against the owner or operator or an instrument that is providing financial assurance for liability coverage under any of subsections (b)(1) through (b)(6).

BOARD NOTE: Corresponding 40 CFR 261.147(b) recites that it applies to “a hazardous secondary material reclamation facility or intermediate facility with land-based units ... or a group of such facilities”. The Board has rendered this provision in the singular, intending that it include several facilities as a group if necessary. The Board does not intend to limit the applicability of this provision to multiple facilities. Note that the Agency can require complying with this provision by a facility to which it would not otherwise apply under subsection (d)(2), subject to the owner’s or operator’s right to appeal an Agency determination to the Board.

c) Petition for Adjusted Standard. If an owner or operator can demonstrate that the level of financial responsibility required by subsection (a) or (b) is not consistent with the degree and duration of risk associated with treatment or storage at a facility, the owner or operator may petition the Board for an adjusted standard under Section 28.1 of the Act. The petition for an adjusted standard must be filed with the Board and submitted in writing to the Agency, as required by 35 Ill. Adm. Code 101 and Subpart D of 35 Ill. Adm. Code 104. If granted, the adjusted standard will take the form of an adjusted level of required liability coverage, this level to be based on the Board’s assessment of the degree and duration of risk associated with owning or operating the facility or group of facilities. The owner or operator that requests an adjusted standard must provide the technical and engineering information that is necessary for the Board to determine that an alternative level of financial responsibility to that required by subsection (a) or (b) should apply.

BOARD NOTE: Corresponding 40 CFR 261.147(c) allows application for a “variance” for “the levels of financial responsibility” required for “the facility or group of facilities”. The Board has rendered this provision in the singular, intending that it include a single petition pertaining to several facilities as a group. The Board does not intend to limit the applicability of this provision to multiple facilities in a single petition. The Board has chosen the adjusted standard procedure for variance from the level of financial responsibility required by subsection (a) or (b).

d) Adjustments by the Agency

1) If the Agency determines that the level of financial responsibility required by subsection (a) or (b) is not consistent with the degree and duration of risk associated with treatment or storage of hazardous secondary material at a facility, the Agency may adjust the level of financial responsibility required to comply with subsection (a) or (b) to the level that the Agency considers necessary to protect human health and the environment. The Agency must base this adjusted level on an assessment of the degree and duration of risk associated with owning or operating the facility.

2) In addition, if the Agency determines that there is a significant risk to human health and the environment from non-sudden accidental occurrences resulting from the operations of a facility that is not a surface impoundment, pile, or land treatment facility, the Agency may require the owner or operator of the facility to comply with subsection (b).

3) An owner or operator must furnish to the Agency, within a reasonable time, any information that the Agency requests to aid its determination whether cause exists for these adjustments of level or type of coverage.

BOARD NOTE: The owner or operator may appeal any Agency determination made under this subsection (d) under Section 40 of the Act.

e) Release from the Financial Assurance Obligation for a Facility or a Unit at a Facility

1) After an owner or operator has removed all hazardous secondary material from a facility or a unit at a facility and decontaminated the facility or unit at the facility, the owner or operator may submit a written request that the Agency release it from the obligation of subsections (a) and (b) as they apply to the facility or to the unit. The owner or operator and a qualified Professional Engineer must submit with the request certifications stating that all hazardous secondary materials have been removed from the facility or from a unit at the facility, and that the facility or a unit has been decontaminated in compliance with the owner’s or operator’s Agency-approved Section 721.243(h) plan.

2) Within 60 days after receiving the complete request and certifications described in subsection (e)(1), the Agency must notify the owner or operator in writing of its determination on the request. The Agency must grant the request only if it determines that the owner or operator has removed all hazardous secondary materials from the facility or from the unit at the facility and that the owner or operator has decontaminated the facility or unit in compliance with its Agency-approved Section 721.243(h) plan.

3) After an affirmative finding by the Agency under subsection (e)(2), the owner or operator is no longer required to maintain liability coverage under Section 721.104(a)(24)(F)(vi) for that facility or unit at the facility that is indicated in the written notice issued by the Agency.

BOARD NOTE: The Board has broken the single sentence of corresponding 40 CFR 261.147(e) into five sentences in three subsections in this subsection (e) for enhanced clarity. The owner or operator may appeal any Agency determination made under this subsection (e) under Section 40 of the Act.

f) Financial Test for Liability Coverage

1) An owner or operator may comply with this Section by demonstrating that it passes one of the financial tests specified in this subsection (f)(1). To pass a financial test, the owner or operator must meet the criteria of either subsection (f)(1)(A) or (f)(1)(B):

A) Test 1. The owner or operator must have each of the following:

i) Net working capital and tangible net worth each at least six times the amount of liability coverage that the owner or operator needs to demonstrate by this test;

ii) Tangible net worth of at least $10 million; and

iii) Assets in the United States that amount to either at least 90 percent of the owner’s or operator’s total assets or at least six times the amount of liability coverage that it needs to demonstrate by this test.

B) Test 2. The owner or operator must have each of the following:

i) A current rating for its most recent bond issuance of AAA, AA, A, or BBB, as issued by Standard and Poor’s, or Aaa, Aa, A, or Baa, as issued by Moody’s;

ii) Tangible net worth of at least $10 million;

iii) Tangible net worth at least six times the amount of liability coverage to be demonstrated by this test; and

iv) Assets in the United States amounting to either at least 90 percent of the owner’s or operator’s total assets or at least six times the amount of liability coverage that it needs to demonstrate by this test.

2) Definition

“Amount of liability coverage”, as used in subsection (f)(1), refers to the annual aggregate amounts for which coverage is required under subsections (a) and (b) and the annual aggregate amounts for which coverage is required under 35 Ill. Adm. Code 724.247(a) and (b) or 725.247(a) and (b).

3) To demonstrate that it meets the financial test in subsection (f)(1), the owner or operator must submit the following three items to the Agency:

A) A letter signed by the owner’s or operator’s chief financial officer and worded as specified by the Agency under Section 721.251. If an owner or operator is using the financial test to demonstrate both financial assurance, as specified by Section 721.243(e), and liability coverage, as specified by this Section, the owner or operator must submit the letter specified by the Agency under Section 721.251 for financial assurance to cover both forms of financial responsibility; no separate letter is required for liability coverage;

B) A copy of an independent certified public accountant’s report on examining the owner’s or operator’s financial statements for the latest completed fiscal year; and

C) If the chief financial officer’s letter prepared under subsection (f)(3)(A) includes financial data that shows that the owner or operator satisfies the test in subsection (f)(1)(A) (Test 1), and either the data in the chief financial officer’s letter are different from the data in the audited financial statements required by subsection (f)(3)(B), or the data are different from any other audited financial statement or data filed with the federal Securities and Exchange Commission, then the owner or operator must submit a special report from its independent certified public accountant. The special report must be based on an agreed-upon procedures engagement, in compliance with professional auditing standards. The report must describe the procedures used to compare the data in the chief financial officer’s letter (prepared under subsection (f)(3)(A)), the findings of the comparison, and the reasons for any difference.

4) This subsection (f)(4) corresponds with 40 CFR 261.147(f)(3)(iv), a provision relating to extending the deadline for filing the financial documents required by 40 CFR 261.147(f)(3) until as late as 90 days after the effective date of the federal rule. Thus, the latest date for filing the documents was March 29, 2009, which is now past. See 40 CFR 261.147(f)(3) and 73 Fed. Reg. 64668 (Oct. 30, 2008). This statement maintains structural consistency with the corresponding federal provision.

5) After initially submitting items specified in subsection (f)(3), the owner or operator must send updated information to the Agency within 90 days after the close of each succeeding fiscal year. This information must comprise all three items specified in subsection (f)(3).

6) If the owner or operator no longer complies with of subsection (f)(1), it must obtain insurance (subsection (a)(1), a letter of credit (subsection (h), a surety bond (subsection (i), a trust fund (subsection (j), or a guarantee (subsection (g) for the entire amount of required liability coverage required by this Section. Evidence of liability coverage must be submitted to the Agency within 90 days after the end of the fiscal year for which the year-end financial data show that the owner or operator no longer meets the test requirements.

7) The Agency must disallow use of the financial tests in this subsection (f) on the basis of qualifications in the opinion expressed by the independent certified public accountant in the accountant’s report on examining the owner’s or operator’s financial statements (see subsection (f)(3)(B)) if the Agency determines that those qualifications significantly, adversely affect the owner’s or operator’s ability to provide its own financial assurance by this mechanism. An adverse opinion or a disclaimer of opinion will be cause for disallowance. The Agency must evaluate all other kinds of qualifications on an individual basis. The owner or operator must provide evidence of insurance for the entire amount of required liability coverage that complies with this Section within 30 days after receiving notice Agency disallowance under this subsection (f)(7).

g) Corporate Guarantee for Liability Coverage

1) Subject to the limitations of subsection (g)(2), an owner or operator may comply with this Section by obtaining a written guarantee (“guarantee”). The guarantor must be the direct or higher-tier parent corporation of the owner or operator, a sister firm whose parent corporation is also the parent corporation of the owner or operator, or a firm with a “substantial business relationship” with the owner or operator. The guarantor must meet the requirements applicable to an owner or operator in subsections (f)(1) through (f)(6). The wording of the guarantee must be identical to the wording specified by the Agency under Section 721.251. A certified copy of the guarantee must accompany the items sent to the Agency that are required by subsection (f)(3). One of these items must be the letter from the guarantor’s chief financial officer. If the guarantor’s parent corporation is also the parent corporation of the owner or operator, this letter must describe the value received in consideration of the guarantee. If the guarantor is a firm with a “substantial business relationship” with the owner or operator, this letter must describe this “substantial business relationship” and the value received in consideration of the guarantee.

A) The guarantor must pay full satisfaction, up to the limits of coverage, whenever either of the following events has occurred with regard to liability for bodily injury or property damage to third parties caused by sudden or non-sudden accidental occurrences (or both) that arose from operating facilities covered by the corporate guarantee:

i) The owner or operator has failed to meet a judgment based on a determination of liability; or

ii) The owner or operator has failed to pay an amount agreed to in settlement of claims arising from or alleged to arise from the injury or damage.

B) This subsection (g)(1)(B) is derived from 40 CFR 261.147(g)(1)(ii), which USEPA has marked as “reserved”. This statement maintains structural consistency with the corresponding federal regulations.

BOARD NOTE: Any determination by the Agency under this subsection (g)(1)(B) is subject to Section 40 of the Act. This subsection (g)(1)(B) is derived from 40 CFR 264.141(h) and 265.141(h) (2017).

2) Limitations on Guarantee and Documentation Required

A) If both the guarantor and the owner or operator are incorporated in the United States, a guarantee may be used to comply with this Section only if the Attorneys General or Insurance Commissioners of each of the following states have submitted a written statement to the Agency that a guarantee executed as described in this Section is a legally valid and enforceable obligation in that state:

i) The state in which the guarantor is incorporated (if other than the State of Illinois); and

ii) The State of Illinois (as the state in which the facility covered by the guarantee is located).

B) If either the guarantor or the owner or operator is incorporated outside the United States, a guarantee may be used to comply with this Section only if both of the following has occurred:

i) The non-U.S. corporation has identified a registered agent for service of process in the State of Illinois (as the state in which the facility covered by the guarantee is located) and in the state in which it has its principal place of business (if other than the State of Illinois); and

ii) The Attorney General or Insurance Commissioner of the State of Illinois (as the state in which a facility covered by the guarantee is located) and the state in which the guarantor corporation has its principal place of business (if other than the State of Illinois) has submitted a written statement to the Agency that a guarantee executed as described in this Section is a legally valid and enforceable obligation in that state.

C) The facility owner or operator and the guarantor must provide the Agency with all documents that are necessary and adequate to support an Agency determination that the required substantial business relationship exists adequate to support the guarantee.

BOARD NOTE: The Board added documentation to this subsection (g)(2)(C) to ensure that the owner and operator ensures all information necessary for an Agency determination is submitted to the Agency. The information required would include copies of any contracts and other documents that establish the nature, extent, and duration of the business relationship; any statements of competent legal opinion, signed by an attorney duly licensed to practice law in each of the jurisdictions referred to in the applicable of subsection (g)(2)(A) or (g)(2)(B), that would support a conclusion that the business relationship is adequate consideration to support the guarantee in the pertinent jurisdiction; a copy of the documents required by subsection (g)(2)(A)(ii) or (g)(2)(B)(ii); documents that identify the registered agent, as required by subsection (g)(2)(B)(i); and any other documents requested by the Agency that are reasonably necessary to make a determination that a substantial business relationship exists, as defined in subsection (g)(1)(A).

h) Letter of Credit for Liability Coverage

1) An owner or operator may comply with this Section by obtaining an irrevocable standby letter of credit that complies with this subsection (h) and submitting a copy of the letter of credit to the Agency.

2) The financial institution issuing the letter of credit must be an entity that has the authority to issue letters of credit and whose letter of credit operations are regulated and examined by a federal or state agency.

3) The wording of the letter of credit must be identical to the wording specified by the Agency under Section 721.251.

4) An owner or operator that uses a letter of credit to comply with Section may also establish a standby trust fund. Under the terms of this letter of credit, all amounts paid under a draft by the trustee of the standby trust fund must be deposited by the issuing institution into the standby trust fund complying with instructions from the trustee. The trustee of the standby trust fund must be an entity that has the authority to act as a trustee and whose trust operations are regulated and examined by a federal or state agency.

5) The wording of the standby trust fund must be identical to the wording specified by the Agency under Section 721.251.

i) Surety Bond for Liability Coverage

1) An owner or operator may comply with this Section by obtaining a surety bond that complies with this subsection (i) and submitting a copy of the bond to the Agency.

2) The surety company issuing the bond must be among those listed as acceptable sureties on federal bonds in the most recent Circular 570 of the U.S. Department of the Treasury.

BOARD NOTE: The U.S. Department of the Treasury updates Circular 570, “Companies Holding Certificates of Authority as Acceptable Sureties on Federal Bonds and as Acceptable Reinsuring Companies”, on an annual basis under 31 CFR 223.16. Circular 570 is available on the Internet at the following website: http://www.fiscal.treasury.gov/surety-bonds/circular-570.html.

3) The wording of the surety bond must be identical to the wording specified by the Agency under Section 721.251.

4) A surety bond may be used to comply with this Section only if the Attorneys General or Insurance Commissioners of the following states have submitted a written statement to the Agency that a surety bond executed as described in this Section is a legally valid and enforceable obligation in that state:

A) The state in which the surety is incorporated; and

B) The State of Illinois (as the state in which the facility covered by the surety bond is located).

j) Trust Fund for Liability Coverage

1) An owner or operator may comply with this Section by establishing a trust fund that complies with this subsection (j) and submitting an originally signed duplicate of the trust agreement to the Agency.

2) The trustee must be an entity that has the authority to act as a trustee and whose trust operations are regulated and examined by a federal or state agency.

3) The trust fund for liability coverage must be funded for the full amount of the liability coverage to be provided by the trust fund before it may be relied upon to comply with this Section. If at any time after the trust fund is created the amount of funds in the trust fund is reduced below the full amount of the liability coverage that the owner or operator must provide, the owner or operator must either add sufficient funds to the trust fund to cause its value to equal the full amount of liability coverage to be provided, or the owner or operator must obtain other financial assurance that complies with this Section to cover the difference. If the owner or operator must either add sufficient funds or obtain other financial assurance, it must do so before the anniversary date of the establishment of the trust fund. For this subsection, “the full amount of the liability coverage to be provided” means the amount of coverage for sudden or non-sudden occurrences that the owner or operator must provide under this Section, less the amount of financial assurance for liability coverage that the owner or operator has provided by other financial assurance mechanisms to demonstrate financial assurance.

4) The wording of the trust fund must be identical to the wording specified by the Agency under Section 721.251.

(Source: Amended at 48 Ill. Reg. 16813, effective November 22, 2024)

**Section 721.248 Incapacity of Owners or Operators, Guarantors, or Financial Institutions**

a) An owner or operator must notify the Agency by certified mail of the commencement of a voluntary or involuntary proceeding pursuant to Title 11 of the United States Code (Bankruptcy) that names the owner or operator as debtor, within 10 days after commencement of the proceeding. A guarantor of a corporate guarantee undertaken to satisfy the requirements of Section 721.243(e) must make such a notification if it is named as debtor, as required under the terms of the corporate guarantee.

b) An owner or operator that satisfies the requirements of Section 721.243 or 721.247 by obtaining a trust fund, surety bond, letter of credit, or insurance policy will be deemed to be without the required financial assurance or liability coverage in the event of bankruptcy of the trustee or issuing institution, or in the event of a suspension or revocation of the authority of the trustee institution to act as trustee or of the institution issuing the surety bond, letter of credit, or insurance policy to issue such instruments. The owner or operator must establish other financial assurance or liability coverage within 60 days after such an event.

(Source: Added at 34 Ill. Reg. 18611, effective November 12, 2010)

**Section 721.249 Use of State-Required Mechanisms**

This Section corresponds with 40 CFR 261.149, which pertains to USEPA approval of state-endorsed instruments for providing financial assurance. The Board directs attention to that federal provision without duplicating its requirements here, since it is important to regulated entities in Illinois, although it does not impose requirements necessary as a matter of State law.

(Source: Added at 34 Ill. Reg. 18611, effective November 12, 2010)

**Section 721.250 State Assumption of Responsibility**

This Section corresponds with 40 CFR 261.150, which pertains to USEPA approval of state financial assurance requirements and the assumption of responsibility by a state. The Board directs attention to that federal provision without duplicating its requirements here, since USEPA approval of the Illinois requirements is important to regulated entities in Illinois, although the federal provision does not impose requirements necessary as a matter of State law.

(Source: Added at 34 Ill. Reg. 18611, effective November 12, 2010)

**Section 721.251 Wording of the Instruments**

The Agency must promulgate standardized forms for financial assurance instruments based on 40 CFR 261.151 (Wording of the Instruments), incorporated by reference in 35 Ill. Adm. Code 720.111(b), with such changes in wording as are necessary under Illinois law. Any owner or operator required to establish financial assurance under this Subpart H must do so only upon the standardized forms for financial assurance instruments promulgated by the Agency. The Agency must reject any financial assurance instrument that does not comport with the Agency-promulgated standardized forms.

(Source: Added at 34 Ill. Reg. 18611, effective November 12, 2010)

SUBPART I: USE AND MANAGEMENT OF CONTAINERS

**Section 721.270 Applicability**

This Subpart I applies to hazardous secondary materials excluded under the remanufacturing exclusion at Section 721.104(a)(27) and stored in containers.

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section 721.271 Condition of Containers**

If a container holding hazardous secondary material is not in good condition (e.g., the container has severe rusting, apparent structural defects, etc.) or if the container begins to leak, the hazardous secondary material must be transferred from this container to a container that is in good condition or managed in some other way that complies with the requirements of this Part.

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section 721.272 Compatibility of Hazardous Secondary Materials with Containers**

A container holding hazardous secondary material must be made of or lined with materials that will not react with, and are otherwise compatible with, the hazardous secondary material to be stored, so that the ability of the container to contain the material is not impaired.

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section 721.273 Management of Containers**

a) A container holding hazardous secondary material must always be closed during storage, except when it is necessary to add or remove the hazardous secondary material.

b) A container holding hazardous secondary material must not be opened, handled, or stored in a manner that may rupture the container or cause it to leak.

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section 721.275 Secondary Containment**

a) Container storage areas must have a secondary containment system that is designed and operated in accordance with subsection (b).

b) A secondary containment system must be designed and operated as follows:

1) A base must underlie the containers which is free of cracks or gaps and is sufficiently impervious to contain leaks, spills, and accumulated precipitation until the collected material is detected and removed;

2) The base must be sloped or the secondary containment system must be otherwise designed and operated to drain and remove liquids resulting from leaks, spills, or precipitation, unless the containers are elevated or are otherwise protected from contact with accumulated liquids;

3) The secondary containment system must have sufficient capacity to contain ten percent of the volume of containers or the volume of the largest container, whichever is greater;

4) Run-on into the secondary containment system must be prevented unless the collection system has sufficient excess capacity in addition to that required in subsection (b)(3) to contain any run-on which might enter the system; and

5) Spilled or leaked material and accumulated precipitation must be removed from the sump or collection area in as timely a manner as is necessary to prevent overflow of the secondary collection system.

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section 721.276 Special Requirements for Ignitable or Reactive Hazardous Secondary Material**

Containers holding ignitable or reactive hazardous secondary material must be located at least 15 meters (50 feet) from the facility’s property line.

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section 721.277 Special Requirements for Incompatible Materials**

a) Incompatible materials must not be placed in the same container.

b) Hazardous secondary material must not be placed in an unwashed container that previously held an incompatible material.

c) A storage container holding a hazardous secondary material that is incompatible with any other materials stored nearby must be separated from the other materials or protected from them by means of a dike, berm, wall, or other device.

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section** **721.279 Air Emission Standards**

The remanufacturer or other person that stores or treats the hazardous secondary material must manage all hazardous secondary material placed in a container in accordance with the applicable requirements of Subparts AA, BB, and CC.

(Source: Amended at 42 Ill. Reg. 21673, effective November 19, 2018)

SUBPART J: TANK SYSTEMS

**Section 721.290 Applicability**

a) The requirements of this Subpart J apply to tank systems for storing or treating hazardous secondary material excluded under the remanufacturing exclusion at Section 721.104(a)(27).

b) Tank systems, including sumps, as defined in 35 Ill. Adm. Code 720.110, that serve as part of a secondary containment system to collect or contain releases of hazardous secondary materials are exempted from the requirements in Section 721.293(a).

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section** **721.291 Assessment of Existing Tank System’s Integrity**

a) A tank system must meet the secondary containment requirements of Section 721.293, or the remanufacturer or other person that handles the hazardous secondary material must determine that the tank system is not leaking or is unfit for use. Except as provided in subsection (c), a written assessment reviewed and certified by a qualified Professional Engineer must be kept on file at the remanufacturer’s facility or other facility that stores or treats the hazardous secondary material that attests to the tank system’s integrity.

b) The qualified Professional Engineer’s assessment must determine that the tank system is adequately designed and has sufficient structural strength and compatibility with the materials to be stored or treated, to ensure that the tank system will not collapse, rupture, or fail. At a minimum, this assessment must consider the following:

1) Design standards, if available, according to which the tank system and ancillary equipment were constructed;

2) Hazardous characteristics of the materials that have been and will be handled;

3) Existing corrosion protection measures;

4) Documented age of the tank system, if available (otherwise, an estimate of the age); and

5) Results of a leak test, internal inspection, or other tank system integrity examination such that:

A) For non-enterable underground tanks, the assessment must include a leak test that is capable of taking into account the effects of temperature variations, tank end deflection, vapor pockets, and high water table effects; and

B) For other than non-enterable underground tanks and for ancillary equipment, this assessment must include either a leak test, as described above, or other integrity examination that is certified by a qualified Professional Engineer that addresses cracks, leaks, corrosion, and erosion.

BOARD NOTE: The practices described in the American Petroleum Institute (API) Publication, Guide for Inspection of Refinery Equipment, Chapter XIII, “Atmospheric and Low-Pressure Storage Tanks”, 4th edition, 1981, incorporated by reference in 35 Ill. Adm. Code 720.111, may be used, where applicable, as guidelines in conducting other than a leak test.

c) If, as a result of the assessment conducted in accordance with subsection (a), a tank system is found to be leaking or unfit for use, the remanufacturer or other person that stores or treats the hazardous secondary material must comply with the requirements of Section 721.296.

(Source: Amended at 42 Ill. Reg. 21673, effective November 19, 2018)

**Section** **721.293 Containment and Detection of Releases**

a) The following must be true of a secondary containment system:

1) The system is designed, installed, and operated to prevent any migration of materials or accumulated liquid out of the system to the soil, ground water, or surface water at any time during the use of the tank system; and

2) The system is capable of detecting and collecting releases and accumulated liquids until the collected material is removed.

BOARD NOTE: If the collected material is a hazardous waste under this Part, the material is subject to management as a hazardous waste in accordance with all applicable requirements of 35 Ill. Adm. Code 722 through 728. If the collected material is discharged through a point source to waters of the United States, it is subject to the NPDES permit requirement of Section 12(f) of the Environmental Protection Act and 35 Ill. Adm. Code 309. If discharged to a Publicly Owned Treatment Works (POTW), it is subject to the requirements of 35 Ill. Adm. Code 307 and 310. If the collected material is released to the environment, it may be subject to the reporting requirements of 35 Ill. Adm. Code 750.410 and federal 40 CFR 302.6.

b) To meet the requirements of subsection (a), a secondary containment system must fulfill the following requirements:

1) The secondary containment system must be constructed of or lined with materials that are compatible with the materials to be placed in the tank system and must have sufficient strength and thickness to prevent failure owing to pressure gradients (including static head and external hydrological forces), physical contact with the material to which it is exposed, climatic conditions, and the stress of daily operation (including stresses from nearby vehicular traffic);

2) The secondary containment system must be placed on a foundation or base capable of providing support to the secondary containment system, resistance to pressure gradients above and below the system, and capable of preventing failure due to settlement, compression, or uplift;

3) The secondary containment system must be provided with a leak-detection system that is designed and operated so that the system will detect the failure of either the primary or secondary containment structure or the presence of any release of hazardous secondary material or accumulated liquid in the secondary containment system at the earliest practicable time; and

4) The secondary containment system must be sloped or otherwise designed or operated to drain and remove liquids resulting from leaks, spills, or precipitation. Spilled or leaked material and accumulated precipitation must be removed from the secondary containment system in as timely a manner as is possible, but in no case later than 24 hours after the leak, spill, or accumulation of precipitation occurs, to prevent harm to human health and the environment.

c) Secondary containment for tanks must include one or more of the following devices:

1) A liner (external to the tank);

2) A vault; or

3) A double-walled tank.

d) In addition to the requirements of subsections (a), (b), and (c), secondary containment systems must satisfy the following requirements:

1) An external liner system must fulfill the following requirements:

A) The secondary containment system must be designed or operated to contain 100 percent of the capacity of the largest tank within its boundary;

B) The secondary containment system must be designed or operated to prevent run-on or infiltration of precipitation into the secondary containment system unless the collection system has sufficient excess capacity to contain run-on or infiltration. The additional capacity must be sufficient to contain precipitation from a 25-year, 24-hour rainfall event;

C) The secondary containment system must be free of cracks or gaps; and

D) The secondary containment system must be designed and installed to surround the tank completely and to cover all surrounding earth likely to come into contact with the material if the material is released from the tanks (i.e., capable of preventing lateral as well as vertical migration of the material).

2) A vault system must fulfill the following requirements:

A) The vault system must be designed or operated to contain 100 percent of the capacity of the largest tank within its boundary;

B) The vault system must be designed or operated to prevent run-on or infiltration of precipitation into the secondary containment system unless the collection system has sufficient excess capacity to contain run-on or infiltration. The additional capacity must be sufficient to contain precipitation from a 25-year, 24-hour rainfall event;

C) The vault system must be constructed with chemical-resistant water stops in place at all joints (if any);

D) The vault system must be provided with an impermeable interior coating or lining that is compatible with the stored material and that will prevent migration of material into the concrete;

E) The vault system must be provided with a means to protect against the formation of and ignition of vapors within the vault, if the material being stored or treated is ignitable or reactive; and

F) The vault system must be provided with an exterior moisture barrier or be otherwise designed or operated to prevent migration of moisture into the vault if the vault is subject to hydraulic pressure.

3) A double-walled tank must fulfill the following requirements:

A) The double-walled tank must be designed as an integral structure (i.e., an inner tank completely enveloped within an outer shell) so that any release from the inner tank is contained by the outer shell;

B) The double-walled tank must be protected, if constructed of metal, from both corrosion of the primary tank interior and of the external surface of the outer shell; and

C) The double-walled tank must be provided with a built-in continuous leak detection system capable of detecting a release at the earliest practicable time, but in no case later than 24 hours after the release occurs.

BOARD NOTE: The provisions outlined in the Steel Tank Institute’s (STI) “Standard for Dual Wall Underground Steel Storage Tanks”, incorporated by reference in 35 Ill. Adm. Code 720.111, may be used as guidelines for aspects of the design of underground steel double-walled tanks.

e) This subsection (e) corresponds with 40 CFR 261.194(e), which USEPA has marked “reserved”. This statement maintains structural consistency with the corresponding federal regulations.

f) Ancillary equipment must be provided with secondary containment (e.g., trench, jacketing, double-walled piping, etc.) that meets the requirements of subsections (a) and (b), except for the following equipment:

1) Aboveground piping (exclusive of flanges, joints, valves, and other connections) that are visually inspected for leaks on a daily basis;

2) Welded flanges, welded joints, and welded connections that are visually inspected for leaks on a daily basis;

3) Seal-less or magnetic coupling pumps and seal-less valves that are visually inspected for leaks on a daily basis; and

4) Pressurized aboveground piping systems with automatic shut-off devices (e.g., excess flow check valves, flow metering shutdown devices, loss of pressure actuated shut-off devices, etc.) that are visually inspected for leaks on a daily basis.

(Source: Amended at 42 Ill. Reg. 21673, effective November 19, 2018)

**Section 721.294 General Operating Requirements**

a) Hazardous secondary materials or treatment reagents must not be placed in a tank system if the materials or reagents could cause the tank, its ancillary equipment, or the containment system to rupture, leak, corrode, or otherwise fail.

b) The remanufacturer or other person that stores or treats the hazardous secondary material must use appropriate controls and practices to prevent spills and overflows from tank or containment systems. These include, at a minimum, the following controls and practices:

1) Spill prevention controls (e.g., check valves, dry disconnect couplings, etc.);

2) Overfill prevention controls (e.g., level sensing devices, high level alarms, automatic feed cutoff, or bypass to a standby tank); and

3) Maintenance of sufficient freeboard in uncovered tanks to prevent overtopping by wave or wind action or by precipitation.

c) The remanufacturer or other person that stores or treats the hazardous secondary material must comply with the requirements of Section 721.296 if a leak or spill occurs in the tank system.

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section 721.296 Response to Leaks or Spills and Disposition of Leaking or Unfit-for-Use Tank Systems**

A tank system or secondary containment system from which there has been a leak or spill, or that is unfit for use, must be removed from service immediately, and the remanufacturer or other person that stores or treats the hazardous secondary material must satisfy the following requirements:

a) Cessation of use; prevent flow or addition of materials. The remanufacturer or other person that stores or treats the hazardous secondary material must immediately stop the flow of hazardous secondary material into the tank system or secondary containment system and inspect the system to determine the cause of the release.

b) Removal of material from tank system or secondary containment system.

1) If the release was from the tank system, the remanufacturer or other person that stores or treats the hazardous secondary material must, within 24 hours after detection of the leak or, if the remanufacturer or other person that stores or treats the hazardous secondary material demonstrates that it is not possible, at the earliest practicable time, remove as much of the material as is necessary to prevent further release of hazardous secondary material to the environment and to allow inspection and repair of the tank system to be performed.

2) If the material released was to a secondary containment system, all released materials must be removed within 24 hours or in as timely a manner as is possible to prevent harm to human health and the environment.

c) Containment of visible releases to the environment. The remanufacturer or other person that stores or treats the hazardous secondary material must immediately conduct a visual inspection of the release and, based upon that inspection:

1) The remanufacturer must prevent further migration of the leak or spill to soils or surface water; and

2) The remanufacturer must remove, and properly dispose of, any visible contamination of the soil or surface water.

d) Notifications, reports.

1) Any release to the environment, except as provided in subsection (d)(2), must be reported to the Agency and the Administrator of USEPA Region 5 within 24 hours of its detection. If the release has been reported pursuant to 40 CFR 302, that report will satisfy the requirement to notify USEPA, but the release must still be reported to the Agency.

2) A leak or spill of hazardous secondary material is exempted from the requirements of this subsection (d) if the following is true of the leak or spill:

A) The leak or spill is less than or equal to a quantity of one pound; and

B) The leak or spill is immediately contained and cleaned up.

3) Within 30 days after detection of a release to the environment, a report containing the following information must be submitted to the Agency and the Administrator of USEPA Region 5:

A) The likely route of migration of the release;

B) The characteristics of the surrounding soil (soil composition, geology, hydrogeology, climate);

C) The results of any monitoring or sampling conducted in connection with the release (if available). If sampling or monitoring data relating to the release are not available within 30 days, these data must be submitted to the Agency and the Administrator of USEPA Region 5 as soon as the results become available;

D) The proximity to downgradient drinking water, surface water, and populated areas; and

E) A description of response actions taken or planned.

e) Provision of secondary containment, repair, or closure.

1) Unless the remanufacturer or other person that stores or treats the hazardous secondary material satisfies the requirements of subsections (e)(2) through (e)(4), the tank system must cease to operate under the remanufacturing exclusion at Section 721.104(a)(27).

2) If the cause of the release was a spill that has not damaged the integrity of the tank system, the remanufacturer or other person that stores or treats the hazardous secondary material may return the tank system to service as soon as the released material is removed and repairs, if necessary, are made.

3) If the cause of the release was a leak from the primary tank system into the secondary containment system, the primary tank system must be repaired prior to returning the tank system to service.

4) If the source of the release was a leak to the environment from a component of a tank system without secondary containment, the remanufacturer or other person that stores or treats the hazardous secondary material must provide the component of the tank system from which the leak occurred with secondary containment that satisfies the requirements of Section 721.293 before it can be returned to service, unless the source of the leak is an aboveground portion of a tank system that can be inspected visually. If the source is an aboveground component that can be inspected visually, the component must be repaired and may be returned to service without secondary containment as long as the requirements of subsection (f) are satisfied. Additionally, if a leak has occurred in any portion of a tank system component that is not readily accessible for visual inspection (e.g., the bottom of an inground or on-ground tank), the entire component must be provided with secondary containment in accordance with Section 721.193 prior to being returned to use.

f) Certification of major repairs. If the remanufacturer or other person that stores or treats the hazardous secondary material has repaired a tank system in accordance with subsection (e), and the repair has been extensive (e.g., installation of an internal liner, repair of a ruptured primary containment or secondary containment vessel, etc.), the tank system must not be returned to service, unless the remanufacturer or other person that stores or treats the hazardous secondary material has obtained a certification by a qualified Professional Engineer that the repaired system is capable of handling hazardous secondary materials without release for the intended life of the system. This certification must be kept on file at the facility and maintained until closure of the facility.

BOARD NOTE: USEPA stated in note 1 appended to corresponding 40 CFR 261.196 that the Regional Administrator may, on the basis of any information received that there is or has been a release of hazardous secondary material or hazardous constituents into the environment, issue an order under RCRA section 7003(a) (42 USC 6973(a)) requiring corrective action or such other response as deemed necessary to protect human health or the environment. USEPA stated in note 2 appended to corresponding 40 CFR 261.196 that 40 CFR 302 may require the owner or operator to notify the National Response Center of certain releases.

(Source: Amended at 43 Ill. Reg. 5884, May 2, 2019)

**Section 721.297 Termination of Remanufacturing Exclusion**

Hazardous secondary material stored in units more than 90 days after the unit ceases to operate under the remanufacturing exclusion at Section 721.104(a)(27) or otherwise ceases to be operated for manufacturing, or for storage of a product or a raw material, then becomes subject to regulation as hazardous waste under 35 Ill. Adm. Code 702, 703, 705, and 721 through 728, as applicable.

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section** **721.298 Special Requirements for Ignitable or Reactive Materials**

a) Ignitable or reactive material must not be placed in a tank system, unless the material is stored or treated in such a way that it is protected from any material or conditions that may cause the material to ignite or react.

b) The remanufacturer or other person that stores or treats hazardous secondary material that is ignitable or reactive must store or treat the hazardous secondary material in a tank system that is in compliance with the requirements for the maintenance of protective distances between the material management area and any public ways, streets, alleys, or an adjoining property line that can be built upon as required in Tables 2-1 through 2-6 of the National Fire Protection Association’s “Flammable and Combustible Liquids Code”, incorporated by reference in 35 Ill. Adm. Code 720.111.

(Source: Amended at 42 Ill. Reg. 21673, effective November 19, 2018)

**Section 721.299 Special Requirements for Incompatible Materials**

a) Incompatible materials must not be placed together in the same tank system.

b) Hazardous secondary material must not be placed in a tank system that has not been decontaminated and that previously held an incompatible material.

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section** **721.300 Air Emission Standards**

The remanufacturer or other person that stores or treats the hazardous secondary material must manage all hazardous secondary material placed in a tank in accordance with the applicable requirements of Subparts AA, BB, and CC.

(Source: Amended at 42 Ill. Reg. 21673, effective November 19, 2018)

SUBPART M: EMERGENCY PREPAREDNESS AND RESPONSE FOR MANAGEMENT OF EXCLUDED HAZARDOUS SECONDARY MATERIALS

**Section 721.500 Applicability**

The requirements of Subpart M apply to those areas of an entity managing hazardous secondary materials excluded under Section 721.104(a)(23) or (a)(24) where hazardous secondary materials are generated or accumulated on site.

a) A generator of hazardous secondary material, or an intermediate or reclamation facility operating, that accumulates 6,000 kg or less of hazardous secondary material at any time must comply with Sections 721.510 and 721.511.

b) A generator of hazardous secondary material, or an intermediate or reclamation facility that accumulates more than 6,000 kg of hazardous secondary material at any time must comply with Sections 721.510 and 721.520.

(Source: Amended at 48 Ill. Reg. 16813, effective November 22, 2024)

**Section 721.510 Preparedness and Prevention**

a) Maintaining and Operating the Facility. Facilities generating or accumulating hazardous secondary material must be maintained and operated to minimize the possibility of a fire, explosion, or any unplanned sudden or non-sudden release of hazardous secondary materials or hazardous secondary material constituents to air, soil, or surface water that could threaten human health or the environment.

b) Required Equipment. All facilities generating or accumulating hazardous secondary material must be equipped with the following, unless none of the hazards posed by hazardous secondary material handled at the facility could require a particular kind of equipment specified below:

1) An internal communications or alarm system capable of providing immediate emergency instruction (voice or signal) to facility personnel;

2) A device, like a telephone (immediately available at the scene of operations) or a hand-held two-way radio, capable of summoning emergency assistance from local police departments, fire departments, or state or local emergency response teams;

3) Portable fire extinguishers, fire control equipment (including special extinguishing equipment, like those using foam, inert gas, or dry chemicals), spill control equipment, and decontamination equipment; and

4) Water at adequate volume and pressure to supply water hose streams, or foam producing equipment, or automatic sprinklers, or water spray systems.

c) Testing and Maintenance of Equipment. The owner or operator must test and maintain all required facility communications or alarm systems, fire protection equipment, spill control equipment, and decontamination equipment as necessary to assure its proper operation in time of emergency.

d) Access to Communications or Alarm System

1) Whenever hazardous secondary material is being poured, mixed, spread, or otherwise handled, all personnel involved in the operation must have immediate access to an internal alarm or emergency communication device, either directly or through visual or voice contact with another employee, unless the device is not required under subsection (b).

2) If there is ever just one employee on the premises while the facility is operating, the employee must have immediate access to a device, like a telephone (immediately available at the scene of operation) or a hand-held two-way radio, capable of summoning external emergency assistance, unless the device is not required under subsection (b).

e) Required Aisle Space. The hazardous secondary material generator or intermediate or reclamation facility must maintain aisle space to allow the unobstructed movement of personnel, fire protection equipment, spill control equipment, and decontamination equipment to any area of facility operation in an emergency, unless aisle space is not needed for any of these purposes.

f) Arrangements with Local Authorities

1) The hazardous secondary material generator or an intermediate or reclamation facility must attempt to make the following arrangements, as appropriate for the type of waste handled at its facility and the potential need for the services of these organizations:

A) Arrangements to familiarize police, fire departments, and emergency response teams with the layout of the facility, properties of hazardous secondary material handled at the facility and associated hazards, places where facility personnel would normally be working, entrances to roads inside the facility, and possible evacuation routes;

B) If more than one police and fire department might respond to an emergency, agreements designating primary emergency authority to a specific police department and a specific fire department, and agreements with any others to provide support to the primary emergency authority;

C) Agreements with state emergency response teams, emergency response contractors, and equipment suppliers; and

D) Arrangements to familiarize local hospitals with the properties of hazardous waste handled at the facility and the types of injuries or illnesses that could result from fires, explosions, or releases at the facility.

2) When state or local authorities decline to enter into the arrangements required by this subsection (f), the hazardous secondary material generator or an intermediate or reclamation facility must document the refusal in the operating record.

(Source: Amended at 48 Ill. Reg. 16813, effective November 22, 2024)

**Section 721.511 Emergency Procedures for Facilities Generating or Accumulating 6,000 kg or Less of Hazardous Secondary Material**

A generator or an intermediate or reclamation facility that generates or accumulates 6,000 kg or less of hazardous secondary material must comply with the following requirements:

a) At all times there must be at least one employee either on the premises or on call (i.e., available to respond to an emergency by reaching the facility within a short period of time) with the responsibility for coordinating all emergency response measures specified in subsection (d). This employee is the emergency coordinator.

b) The generator or intermediate or reclamation facility must post the following information next to the telephone:

1) The name and telephone number of the emergency coordinator;

2) Location of fire extinguishers and spill control material, and, if present, fire alarm; and

3) The telephone number of the fire department, unless the facility has a direct alarm.

c) The generator or an intermediate or reclamation facility must ensure that all employees are thoroughly familiar with proper waste handling and emergency procedures, relevant to their responsibilities during normal facility operations and emergencies;

d) The emergency coordinator or their designee must respond to any emergencies that arise. The applicable responses are as follows:

1) In the event of a fire, call the fire department or attempt to extinguish it using a fire extinguisher;

2) In the event of a spill, contain the flow of hazardous waste to the extent possible and, as soon as is practicable, clean up the hazardous waste and any contaminated materials or soil;

3) In the event of a fire, explosion, or other release that could threaten human health outside the facility or when the generator or an intermediate or reclamation facility has knowledge that a spill has reached surface water, the generator or an intermediate or reclamation facility must immediately notify the National Response Center (using their 24-hour toll free number 800-424-8802). The report must include the following information:

A) The name, address, and USEPA identification number of the facility;

B) The date, time, and type of incident (e.g., spill or fire);

C) The quantity and type of hazardous waste involved in the incident;

D) The extent of injuries, if any; and

E) The estimated quantity and disposition of recovered materials, if any.

(Source: Amended at 48 Ill. Reg. 16813, effective November 22, 2024)

**Section** **721.520 Contingency Planning and Emergency Procedures for Facilities Generating or Accumulating More Than 6,000 kg of Hazardous Secondary Material**

A generator or an intermediate or reclamation facility that generates or accumulates more than 6,000 kg of hazardous secondary material must comply with the following requirements:

a) Purpose of and Implementing Contingency Plan

1) Each generator or an intermediate or reclamation facility that accumulates more than 6,000 kg of hazardous secondary material must have a contingency plan for its facility. The contingency plan must be designed to minimize hazards to human health or the environment from fires, explosions, or any unplanned sudden or non-sudden release of hazardous secondary material or hazardous secondary material constituents to air, soil, or surface water.

2) The provisions of the contingency plan must be carried out immediately whenever there is a fire, explosion, or release of hazardous secondary material or hazardous secondary material constituents that could threaten human health or the environment.

b) Content of Contingency Plan

1) The contingency plan must describe the actions facility personnel must take to comply with subsections (a) and (f) in response to fires, explosions, or any unplanned sudden or non-sudden release of hazardous secondary material or hazardous secondary material constituents to air, soil, or surface water at the facility.

2) If the generator or an intermediate or reclamation facility accumulating more than 6,000 kg of hazardous secondary material has already prepared a Spill Prevention, Control, and Countermeasures (SPCC) Plan under 40 CFR 112, or some other emergency or contingency plan, the facility needs only amend that plan to incorporate hazardous secondary material management provisions that are sufficient to comply with this Part. The hazardous secondary material generator or an intermediate or reclamation facility may develop one contingency plan that meets all regulatory requirements. When modifications are made to non-RCRA provisions in an integrated contingency plan, the changes do not trigger the need for a RCRA permit modification.

BOARD NOTE: USEPA has recommended that the contingency plan be based on the National Response Team’s Integrated Contingency Plan Guidance (“One Plan”).

3) The contingency plan must describe arrangements agreed to by local police departments, fire departments, hospitals, contractors, and State and local emergency response teams to coordinate emergency services, under 35 Ill. Adm. Code 722.510(f).

4) The contingency plan must list names, addresses, and phone numbers (office and home) of all persons qualified to act as emergency coordinator (see subsection (e)), and this list must be kept up to date. If more than one person is listed, one must be named as primary emergency coordinator and others must be listed in the order in which they will assume responsibility as alternates.

5) The contingency plan must include a list of all emergency equipment at the facility (like fire extinguishing systems, spill control equipment, communications and alarm systems (internal and external), and decontamination equipment), if this equipment is required. This list must be kept up to date. In addition, the plan must include the location and a physical description of each emergency equipment item on the list, and a brief outline of its capabilities.

6) The contingency plan must include an evacuation plan for facility personnel if there is a possibility that evacuation could be necessary. This evacuation plan must describe signals to be used to begin evacuation, evacuation routes, and alternate evacuation routes (if the primary routes could be blocked by releases of hazardous secondary material or fires).

c) Copies of Contingency Plan. The facility owner or operator must do as follows with the contingency plan and all revisions to the plan:

1) Maintain a copy at the facility; and

2) Submit a copy to every local police department, fire department, hospital, and State and local emergency response team that may be called upon to provide emergency services.

d) Amendment of Contingency Plan. The facility owner or operator must review and immediately amend its contingency plan, if necessary, whenever any of the following occurs:

1) Applicable regulations are revised;

2) The plan fails in an emergency;

3) The facility changes—in its design, construction, operation, maintenance, or other circumstances—in a way that materially increases the potential for fires, explosions, or releases of hazardous secondary material or hazardous secondary material constituents, or the facility changes the response necessary in an emergency;

4) The list of emergency coordinators changes; or

5) The list of emergency equipment changes.

e) Emergency Coordinator. At all times, there must be at least one employee, either on the facility premises or on call (i.e., available to respond to an emergency by reaching the facility within a short period of time), with the responsibility for coordinating all emergency response measures. This emergency coordinator must be thoroughly familiar with all aspects of the facility’s contingency plan, all operations and activities at the facility, the location and characteristics of hazardous secondary materials handled, the location of all records within the facility, and the facility layout. In addition, this person must have the authority to commit the resources needed to carry out the contingency plan. The emergency coordinator’s responsibilities are more fully spelled out in subsection (f). Applicable responsibilities for the emergency coordinator vary, depending on factors like type and variety of hazardous secondary materials handled by the facility, and type and complexity of the facility.

f) Emergency Procedures

1) Whenever there is an imminent or actual emergency, the emergency coordinator (or his designee when the emergency coordinator is on call) must immediately:

A) Activate internal facility alarms or communication systems, when applicable, to notify all facility personnel; and

B) Notify appropriate State or local agencies with designated response roles if their help is needed.

2) Whenever there is a release, fire, or explosion, the emergency coordinator must immediately identify the character, exact source, amount, and areal extent of any released materials. The emergency coordinator may do this by observation or review of facility records or manifests and, if necessary, by chemical analysis.

3) Concurrently, the emergency coordinator must assess possible hazards to human health or the environment that may result from the release, fire, or explosion. This assessment must consider both direct and indirect effects of the release, fire, or explosion (e.g., the effects of any toxic, irritating, or asphyxiating gases that are generated, or the effects of any hazardous surface water run-offs from water or chemical agents used to control fire and heat-induced explosions).

4) If the emergency coordinator determines that the facility has had a release, fire, or explosion that could threaten human health, or the environment, outside the facility, the emergency coordinator must report its findings as follows:

A) If the emergency coordinator’s assessment indicates that evacuating local areas may be advisable, the emergency coordinator must immediately notify appropriate local authorities. The emergency coordinator must be available to help appropriate officials decide whether local areas should be evacuated; and

B) The emergency coordinator must immediately notify either the government official designated as the on-scene coordinator for that geographical area, or the National Response Center (using their 24-hour toll free number 800-424-8802). The report must include the following information:

i) The name and telephone number of the reporter;

ii) The name and address of facility;

iii) The time and type of incident (e.g., release, fire);

iv) The name and quantity of materials involved, to the extent known;

v) The extent of injuries, if any; and

vi) The possible hazards to human health, or the environment, outside the facility.

5) During an emergency, the emergency coordinator must take all reasonable measures necessary to ensure that fires, explosions, and releases do not occur, recur, or spread to other hazardous secondary material at the facility. These measures must include, when applicable, stopping processes and operations, collecting, and containing released material, and removing or isolating containers.

6) If the facility stops operations in response to a fire, explosion or release, the emergency coordinator must monitor for leaks, pressure buildup, gas generation, or ruptures in valves, pipes, or other equipment, wherever this is appropriate.

7) Immediately after an emergency, the emergency coordinator must provide for treating, storing, or disposing of recovered secondary material, contaminated soil or surface water, or any other material that results from a release, fire, or explosion at the facility. Unless the hazardous secondary material generator can demonstrate, in compliance with Section 721.103(c) or (d), that the recovered material is not a hazardous waste, the owner or operator becomes a generator of hazardous waste and must manage the recovered material in compliance with all applicable requirements of 35 Ill. Adm. Code 722, 723, and 725.

8) The emergency coordinator must ensure that the following has occurred in the affected areas of the facility:

A) Any secondary material that may be incompatible with the released material is treated, stored, or disposed of until cleanup procedures are completed; and

B) All emergency equipment listed in the contingency plan is cleaned and fit for its intended use before operations are resumed.

9) The hazardous secondary material generator must note in the operating record the time, date, and details of any incident that requires implementing the contingency plan. Within 15 days after the incident, the emergency coordinator must submit a written report on the incident to the Regional Administrator. The report must include the following information:

A) The name, address, and telephone number of the hazardous secondary material generator;

B) The name, address, and telephone number of the facility;

C) The date, time, and type of incident (e.g., fire, explosion, etc.);

D) The name and quantity of materials involved;

E) The extent of injuries, if any;

F) An assessment of actual or potential hazards to human health or the environment, when this is applicable; and

G) The estimated quantity and disposition of recovered material that resulted from the incident.

g) Personnel Training. All employees must be thoroughly familiar with proper waste handling and emergency procedures relevant to their responsibilities during normal facility operations and emergencies.

(Source: Amended at 48 Ill. Reg. 16813, effective November 22, 2024)

SUBPART AA: AIR EMISSION STANDARDS FOR PROCESS VENTS

**Section 721.930 Applicability**

The regulations in this Subpart AA apply to process vents associated with distillation, fractionation, thin-film evaporation, solvent extraction, or air or stream stripping operations that manage hazardous secondary materials excluded under the remanufacturing exclusion at Section 721.104(a)(27) with organic concentrations of at least 10 ppmw (parts per million by weight), unless the process vents are equipped with operating air emission controls in accordance with the requirements of an applicable federal Clean Air Act regulation codified under 40 CFR 60, 61, or 63.

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section** **721.931 Definitions**

As used in this Subpart AA, all terms not defined in this Section will have the meaning given them in section 1004 of the Resource Conservation and Recovery Act, incorporated by reference in 35 Ill. Adm. Code 720.111, and 35 Ill. Adm. Code 720 through 726.

“Air stripping operation” is a desorption operation employed to transfer one or more volatile components from a liquid mixture into a gas (air) either with or without the application of heat to the liquid. Packed towers, spray towers, and bubble-cap, sieve, or valve-type plate towers are among the process configurations used for contacting the air and a liquid.

“Bottoms receiver” means a container or tank used to receive and collect the heavier bottoms fractions of the distillation feed stream that remain in the liquid phase.

“Closed-vent system” means a system that is not open to the atmosphere and that is composed of piping, connections, and, if necessary, flow-inducing devices that transport gas or vapor from a piece or pieces of equipment to a control device.

“Condenser” means a heat-transfer device that reduces a thermodynamic fluid from its vapor phase to its liquid phase.

“Connector” means flanged, screwed, welded, or other joined fittings used to connect two pipelines or a pipeline and a piece of equipment. For the purposes of reporting and recordkeeping, connector means flanged fittings that are not covered by insulation or other materials that prevent location of the fittings.

“Continuous recorder” means a data-recording device recording an instantaneous data value at least once every 15 minutes.

“Control device” means an enclosed combustion device, vapor recovery system, or flare. Any device the primary function of which is the recovery or capture of solvents or other organics for use, reuse, or sale (e.g., a primary condenser on a solvent recovery unit) is not a control device.

“Control device shutdown” means the cessation of operation of a control device for any purpose.

“Distillate receiver” means a container or tank used to receive and collect liquid material (condensed) from the overhead condenser of a distillation unit and from which the condensed liquid is pumped to larger storage tanks or other process units.

“Distillation operation” means an operation, either batch or continuous, separating one or more feed streams into two or more exit streams, each exit stream having component concentrations different from those in the feed streams. The separation is achieved by the redistribution of the components between the liquid and vapor phase as they approach equilibrium within the distillation unit.

“Double block and bleed system” means two block valves connected in series with a bleed valve or line that can vent the line between the two block valves.

“Equipment” means each valve, pump, compressor, pressure relief device, sampling connection system, open-ended valve or line, or flange or other connector, and any control devices or systems required by this Subpart AA.

“Flame zone” means the portion of the combustion chamber in a boiler occupied by the flame envelope.

“Flow indicator” means a device that indicates whether gas flow is present in a vent stream.

“First attempt at repair” means to take rapid action for the purpose of stopping or reducing leakage of organic material to the atmosphere using best practices.

“Fractionation operation” means a distillation operation or method used to separate a mixture of several volatile components of different boiling points in successive stages, each stage removing from the mixture some proportion of one of the components.

“Hazardous secondary material management unit shutdown” means a work practice or operational procedure that stops operation of a hazardous secondary material management unit or part of a hazardous secondary material management unit. An unscheduled work practice or operational procedure that stops operation of a hazardous secondary material management unit or part of a hazardous secondary material management unit for less than 24 hours is not a hazardous secondary material management unit shutdown. The use of spare equipment and technically feasible bypassing of equipment without stopping operation are not hazardous secondary material management unit shutdowns.

“Hot well” means a container for collecting condensate as in a steam condenser serving a vacuum-jet or steam-jet ejector.

“In gas/vapor service” means that the piece of equipment contains or contacts a hazardous secondary material stream that is in the gaseous state at operating conditions.

“In heavy liquid service” means that the piece of equipment is not in gas/vapor service or in light liquid service.

“In light liquid service” means that the piece of equipment contains or contacts a material stream where the vapor pressure of one or more of the organic components in the stream is greater than 0.3 kilopascals (kPa) at 20 °C, the total concentration of the pure organic components having a vapor pressure greater than 0.3 kPa at 20 °C is equal to or greater than 20 percent by weight, and the fluid is a liquid at operating conditions.

“In situ sampling systems” means non-extractive samplers or in-line samplers.

“In vacuum service” means that equipment is operating at an internal pressure that is at least 5 kPa below ambient pressure.

“Malfunction” means any sudden failure of a control device or a hazardous secondary material management unit or failure of a hazardous secondary material management unit to operate in a normal or usual manner, so that organic emissions are increased.

“Open-ended valve or line” means any valve, except pressure relief valves, having one side of the valve seat in contact with hazardous secondary material and one side open to the atmosphere, either directly or through open piping.

“Pressure release” means the emission of materials resulting from the system pressure being greater than the set pressure of the pressure relief device.

“Process heater” means a device that transfers heat liberated by burning fuel to fluids contained in tubes, including all fluids except water that are heated to produce steam.

“Process vent” means any open-ended pipe or stack that is vented to the atmosphere either directly, through a vacuum-producing system, or through a tank (e.g., distillate receiver, condenser, bottoms receiver, surge control tank, separator tank, or hot well) associated with hazardous secondary material distillation, fractionation, thin-film evaporation, solvent extraction, or air or steam stripping operations.

“Repaired” means that equipment is adjusted, or otherwise altered, to eliminate a leak.

“Sampling connection system” means an assembly of equipment within a process or material management unit used during periods of representative operation to take samples of the process or material fluid. Equipment used to take non-routine grab samples is not considered a sampling connection system.

“Sensor” means a device that measures a physical quantity or the change in a physical quantity, such as temperature, pressure, flow rate, pH, or liquid level.

“Separator tank” means a device used for separation of two immiscible liquids.

“Solvent extraction operation” means an operation or method of separation in which a solid or solution is contacted with a liquid solvent (the two being mutually insoluble) to preferentially dissolve and transfer one or more components into the solvent.

“Startup” means the setting in operation of a hazardous secondary material management unit or control device for any purpose.

“Steam stripping operation” means a distillation operation in which vaporization of the volatile constituents of a liquid mixture takes place by the introduction of steam directly into the charge.

“Surge control tank” means a large-sized pipe or storage reservoir sufficient to contain the surging liquid discharge of the process tank to which it is connected.

“Thin-film evaporation operation” means a distillation operation that employs a heating surface consisting of a large diameter tube that may be either straight or tapered, horizontal or vertical. Liquid is spread on the tube wall by a rotating assembly of blades that maintain a close clearance from the wall or actually ride on the film of liquid on the wall.

“Vapor incinerator” means any enclosed combustion device that is used for destroying organic compounds and does not extract energy in the form of steam or process heat.

“Vented” means discharged through an opening, typically an open-ended pipe or stack, allowing the passage of a stream of liquids, gases, or fumes into the atmosphere. The passage of liquids, gases, or fumes is caused by mechanical means such as compressors or vacuum-producing systems or by process-related means such as evaporation produced by heating and not caused by tank loading and unloading (working losses) or by natural means such as diurnal temperature changes.

(Source: Amended at 42 Ill. Reg. 21673, effective November 19, 2018)

**Section 721.932 Standards: Process Vents**

a) The remanufacturer or other person that stores or treats hazardous secondary materials in hazardous secondary material management units with process vents associated with distillation, fractionation, thin-film evaporation, solvent extraction, or air or steam stripping operations managing hazardous secondary material with organic concentrations of at least 10 ppmw must either:

1) Reduce total organic emissions from all affected process vents at the facility below 1.4 kg/h (3 lb/h) and 2.8 Mg/yr (3.1 tons/yr); or

2) Reduce, by use of a control device, total organic emissions from all affected process vents at the facility by 95 weight percent.

b) If the remanufacturer or other person that stores or treats the hazardous secondary material installs a closed-vent system and control device to comply with the provisions of subsection (a) the closed-vent system and control device must meet the requirements of Section 721.933.

c) Determinations of vent emissions and emission reductions or total organic compound concentrations achieved by add-on control devices may be based on engineering calculations or performance tests. If performance tests are used to determine vent emissions, emission reductions, or total organic compound concentrations achieved by add-on control devices, the performance tests must conform with the requirements of Section 721.934(c).

d) When a remanufacturer or other person that stores or treats the hazardous secondary material and the Agency do not agree on determinations of vent emissions or emission reductions or total organic compound concentrations achieved by add-on control devices based on engineering calculations, the procedures in Section 721.934(c) must be used to resolve the disagreement. The Agency must state any disagreement on a determination of vent emissions or emission reductions in writing to the remanufacturer or other person that stores or treats the hazardous secondary material.

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section** **721.933 Standards: Closed-Vent Systems and Control Devices**

a) Applicability

1) The remanufacturer or other person that stores or treats the hazardous secondary materials in hazardous secondary material management units using closed-vent systems and control devices used to comply with provisions of this Part must comply with the provisions of this Section.

2) This subsection (a)(2) corresponds with 40 CFR 261.1033, which USEPA has marked “reserved”. This statement maintains structural consistency with the federal regulations.

b) A control device involving vapor recovery (e.g., a condenser or adsorber) must be designed and operated to recover the organic vapors vented to it with an efficiency of 95 weight percent or greater unless the total organic emission limits of Section 721.932(a)(1) for all affected process vents can be attained at an efficiency less than 95 weight percent.

c) An enclosed combustion device (e.g., a vapor incinerator, boiler, or process heater) must be designed and operated to reduce the organic emissions vented to it by 95 weight percent or greater; to achieve a total organic compound concentration of 20 ppmv, expressed as the sum of the actual compounds, not carbon equivalents, on a dry basis corrected to three percent oxygen; or to provide a minimum residence time of 0.50 seconds at a minimum temperature of 760 °C. If a boiler or process heater is used as the control device, then the vent stream must be introduced into the flame zone of the boiler or process heater.

d) Flares

1) A flare must be designed for and operated with no visible emissions, as determined by the methods specified in subsection (e)(1), except for periods not to exceed a total of five minutes during any two consecutive hours.

2) The owner or operator must operate a flare with a flame present at all times, as determined by the methods specified in subsection (f)(2)(C).

3) A flare must be used only if the net heating value of the gas being combusted is 11.2 MJ/scm (300 Btu/scf) or greater if the flare is steam-assisted or air-assisted; or if the net heating value of the gas being combusted is 7.45 MJ/scm (200 Btu/scf) or greater if the flare is non-assisted. The net heating value of the gas being combusted must be determined by the methods specified in subsection (e)(2).

4) Exit Velocity

A) A steam-assisted or unassisted flare must be designed for and operated with an exit velocity, as determined by the methods specified in subsection (e)(3), less than 18.3 m/s (60 ft/s), except as provided in subsections (d)(4)(B) and (C).

B) A steam-assisted or non-assisted flare designed for and operated with an exit velocity, as determined by the methods specified in subsection (e)(3), equal to or greater than 18.3 m/s (60 ft/s) but less than 122 m/s (400 ft/s) is allowed if the net heating value of the gas being combusted is greater than 37.3 MJ/scm (1,000 Btu/scf).

C) A steam-assisted or non-assisted flare designed for and operated with an exit velocity, as determined by the methods specified in subsection (e)(3), less than the velocity, Vmax, as determined by the method specified in subsection (e)(4), and less than 122 m/s (400 ft/s) is allowed.

5) An air-assisted flare must be designed and operated with an exit velocity less than the velocity, Vmax, as determined by the method specified in subsection (e)(5).

6) A flare used to comply with this Section must be steam-assisted, air-assisted, or unassisted.

e) Compliance Determination and Equations

1) Reference Method 22 (Visual Determination of Fugitive Emissions from Material Sources and Smoke Emissions from Flares) in appendix A to 40 CFR 60 (Test Methods), incorporated by reference in 35 Ill. Adm. Code 720.111, must be used to determine the compliance of a flare with the visible emission provisions of this Subpart AA. The observation period is two hours and must be used according to Method 22.

2) The net heating value of the gas being combusted in a flare must be calculated using the following equation:

Where:

HT = Net heating value of the sample, MJ/scm; if the net enthalpy per mole of offgas is based on combustion at 25°C and 760 mm Hg, but the standard temperature for determining the volume corresponding to one mol is 20°C

K = Constant, 1.74 × 10‑7 (1/ppm) (g mol/scm) (MJ/kcal) if standard temperature for (g mol/scm) is 20°C

Ci = Concentration of sample component i in ppm on a wet basis, as measured for organics by Reference Method 18 (Measurement of Gaseous Organic Compound Emissions by Gas Chromatography) in appendix A to 40 CFR 60 (Test Methods), incorporated by reference in 35 Ill. Adm. Code 720.111, and measured for hydrogen and carbon monoxide by ASTM D 1946-90, incorporated by reference in Section 720.111

Hi = Net heat of combustion of sample component i, kcal/g mol at 25°C and 760 mm Hg. The heats of combustion may be determined using ASTM D 2382–83, incorporated by reference in Section 720.111, if published values are not available or cannot be calculated.

3) The actual exit velocity of a flare must be determined by dividing the volumetric flow rate (in units of standard temperature and pressure), as determined by Reference Methods 2 (Determination of Stack Gas Velocity and Volumetric Flow Rate (Type S Pitot Tube)), 2A (Direct Measurement of Gas Volume through Pipes and Small Ducts), 2C (Determination of Gas Velocity and Volumetric Flow Rate in Small Stacks or Ducts (Standard Pitot Tube)), or 2D (Measurement of Gas Volume Flow Rates in Small Pipes and Ducts) in appendix A to 40 CFR 60 (Test Methods), each incorporated by reference in 35 Ill. Adm. Code 720.111, as appropriate, by the unobstructed (free) cross-sectional area of the flare tip.

4) The maximum allowed velocity in m/s, Vmax, for a flare complying with subsection (d)(4)(C) must be determined by the following equation:

Where:

HT = The net heating value as determined in subsection (e)(2)

5) The maximum allowed velocity in m/s, Vmax, for an air-assisted flare must be determined by the following equation:

Where:

HT = The net heating value as determined in subsection (e)(2)

f) The remanufacturer or other person that stores or treats the hazardous secondary material must monitor and inspect each control device required to comply with this section to ensure proper operation and maintenance of the control device by implementing the following requirements:

1) Install, calibrate, maintain, and operate according to the manufacturer’s specifications a flow indicator that provides a record of vent stream flow from each affected process vent to the control device at least once every hour. The flow indicator sensor must be installed in the vent stream at the nearest feasible point to the control device inlet but before the point at which the vent streams are combined.

2) Install, calibrate, maintain, and operate according to the manufacturer’s specifications a device to continuously monitor control device operation as specified below:

A) For a thermal vapor incinerator, a temperature monitoring device equipped with a continuous recorder. The device must have an accuracy of ±1 percent of the temperature being monitored in °C or ±0.5°C, whichever is greater. The temperature sensor must be installed at a location in the combustion chamber downstream of the combustion zone.

B) For a catalytic vapor incinerator, a temperature monitoring device equipped with a continuous recorder. The device must be capable of monitoring temperature at two locations and have an accuracy of ±1 percent of the temperature being monitored in °C or ±0.5°C, whichever is greater. One temperature sensor must be installed in the vent stream at the nearest feasible point to the catalyst bed inlet and a second temperature sensor must be installed in the vent stream at the nearest feasible point to the catalyst bed outlet.

C) For a flare, a heat sensing monitoring device equipped with a continuous recorder that indicates the continuous ignition of the pilot flame.

D) For a boiler or process heater having a design heat input capacity less than 44 MW, a temperature monitoring device equipped with a continuous recorder. The device must have an accuracy of ±1 percent of the temperature being monitored in °C or ±0.5°C, whichever is greater. The temperature sensor must be installed at a location in the furnace downstream of the combustion zone.

E) For a boiler or process heater having a design heat input capacity greater than or equal to 44 MW, a monitoring device equipped with a continuous recorder to measure a parameter(s) that indicates good combustion operating practices are being used.

F) For a condenser, either:

i) A monitoring device equipped with a continuous recorder to measure the concentration level of the organic compounds in the exhaust vent stream from the condenser; or

ii) A temperature monitoring device equipped with a continuous recorder. The device must be capable of monitoring temperature with an accuracy of ±1 percent of the temperature being monitored in °C or ±0.5 °C, whichever is greater. The temperature sensor must be installed at a location in the exhaust vent stream from the condenser exit (i.e., product side).

G) For a carbon adsorption system that regenerates the carbon bed directly in the control device like a fixed-bed carbon adsorber, either:

i) A monitoring device equipped with a continuous recorder to measure the concentration level of the organic compounds in the exhaust vent stream from the carbon bed; or

ii) A monitoring device equipped with a continuous recorder to measure a parameter that indicates the carbon bed is regenerated on a regular, predetermined time cycle.

3) Inspect the readings from each monitoring device required by subsections (f)(1) and (f)(2) at least once each operating day to check control device operation and, if necessary, immediately implement the corrective measures necessary to ensure the control device operates in compliance with this Section.

g) A remanufacturer or other person that stores or treats hazardous secondary material in a hazardous secondary material management unit using a carbon adsorption system like a fixed-bed carbon adsorber that regenerates the carbon bed directly onsite in the control device must replace the existing carbon in the control device with fresh carbon at a regular, predetermined time interval that is no longer than the carbon service life established as a requirement of Section 721.935(b)(4)(C)(vi).

h) A remanufacturer or other person that stores or treats hazardous secondary material in a hazardous secondary material management unit using a carbon adsorption system like a carbon canister that does not regenerate the carbon bed directly onsite in the control device must replace the existing carbon in the control device with fresh carbon on a regular basis by using one of the following procedures:

1) Monitor the concentration level of the organic compounds in the exhaust vent stream from the carbon adsorption system on a regular schedule and replace the existing carbon with fresh carbon immediately when carbon breakthrough is indicated. The monitoring frequency must be daily or at an interval no greater than 20 percent of the time required to consume the total carbon working capacity established as a requirement of Section 721.935(b)(4)(C)(vii), whichever is longer.

2) Replace the existing carbon with fresh carbon at a regular, predetermined time interval that is less than the design carbon replacement interval established as a requirement of Section 721.935(b)(4)(C)(vii).

i) An alternative operational or process parameter may be monitored if it can be demonstrated that another parameter will ensure that the control device is operated in conformance with these standards and the control device’s design specifications.

j) A remanufacturer or other person that stores or treats hazardous secondary material at an affected facility seeking to comply with the provisions of this part by using a control device other than a thermal vapor incinerator, catalytic vapor incinerator, flare, boiler, process heater, condenser, or carbon adsorption system must develop documentation including sufficient information to describe the control device operation and identify the process parameter or parameters that indicate proper operation and maintenance of the control device.

k) A closed-vent system must meet either of the following design requirements:

1) A closed-vent system must be designed to operate with no detectable emissions, as indicated by an instrument reading of less than 500 ppmv above background as determined by the procedure in Section 721.934(b), and by visual inspections; or

2) A closed-vent system must be designed to operate at a pressure below atmospheric pressure. The system must be equipped with at least one pressure gauge or other pressure measurement device that can be read from a readily accessible location to verify that negative pressure is being maintained in the closed-vent system when the control device is operating.

l) The remanufacturer or other person that stores or treats the hazardous secondary material must monitor and inspect each closed-vent system required to comply with this section to ensure proper operation and maintenance of the closed-vent system by implementing the following requirements:

1) Each closed-vent system that is used to comply with subsection (k)(1) must be inspected and monitored in compliance with the following requirements:

A) An initial leak detection monitoring of the closed-vent system must be conducted by the remanufacturer or other person that stores or treats the hazardous secondary material on or before the date that the system becomes subject to this section. The remanufacturer or other person that stores or treats the hazardous secondary material must monitor the closed-vent system components and connections using the procedures specified in Section 721.934(b) to demonstrate that the closed-vent system operates with no detectable emissions, as indicated by an instrument reading of less than 500 ppmv above background.

B) After initial leak detection monitoring required in subsection (l)(1)(A), the remanufacturer or other person that stores or treats the hazardous secondary material must inspect and monitor the closed-vent system as follows:

i) Closed-vent system joints, seams, or other connections that are permanently or semi-permanently sealed (e.g., a welded joint between two sections of hard piping or a bolted and gasketed ducting flange) must be visually inspected at least once per year to check for defects that could result in air pollutant emissions. The remanufacturer or other person that stores or treats the hazardous secondary material must monitor a component or connection using the procedures specified in Section 721.934(b) to demonstrate that it operates with no detectable emissions following any time the component is repaired or replaced (e.g., a section of damaged hard piping is replaced with new hard piping) or the connection is unsealed (e.g., a flange is unbolted).

ii) Closed-vent system components or connections other than those specified in subsection (l)(1)(B)(i) must be monitored annually and at other times as requested by the Agency, except as provided for in subsection (o), using the procedures specified in Section 721.934(b) to demonstrate that the components or connections operate with no detectable emissions. The Agency must make any request for monitoring in writing to the remanufacturer or other person that stores or treats the hazardous secondary material.

C) If a defect or leak is detected, the remanufacturer or other person that stores or treats the hazardous secondary material must repair the defect or leak in compliance with subsection (l)(3).

D) The remanufacturer or other person that stores or treats the hazardous secondary material must maintain a record of the inspection and monitoring in compliance with the requirements specified in Section 721.935.

2) Each closed-vent system that is used to comply with subsection (k)(2) must be inspected and monitored as follows:

A) The closed-vent system must be visually inspected by the remanufacturer or other person that stores or treats the hazardous secondary material to check for defects that could result in air pollutant emissions. Defects include visible cracks, holes, or gaps in ductwork or piping or loose connections.

B) The remanufacturer or other person that stores or treats the hazardous secondary material must perform an initial inspection of the closed-vent system on or before the date that the system becomes subject to this Section. Thereafter, the remanufacturer or other person that stores or treats the hazardous secondary material must perform the inspections at least once every year.

C) If a defect or leak is detected, the remanufacturer or other person that stores or treats the hazardous secondary material must repair the defect or the leak in compliance with subsection (l)(3).

D) The remanufacturer or other person that stores or treats the hazardous secondary material must maintain a record of the inspection and monitoring in compliance with the requirements specified in Section 721.935.

3) The remanufacturer or other person that stores or treats the hazardous secondary material must repair all detected defects as follows:

A) Detectable emissions, as indicated by visual inspection, or by an instrument reading greater than 500 ppmv above background, must be controlled as soon as practicable, but not later than 15 calendar days after the emission is detected, except as provided for in subsection (l)(3)(C).

B) A first attempt at repair must be made within 5 calendar days after the emission is detected.

C) Delay of repair of a closed-vent system for which leaks have been detected is allowed if the repair is technically infeasible without a process unit shutdown, or if the remanufacturer or other person that stores or treats the hazardous secondary material determines that emissions resulting from immediate repair would be greater than the fugitive emissions likely to result from delay of repair. Repair of the equipment must be completed by the end of the next process unit shutdown.

D) The remanufacturer or other person that stores or treats the hazardous secondary material must maintain a record of the defect repair in compliance with the requirements specified in Section 721.935.

m) Closed-vent systems and control devices used to comply with provisions of this Subpart AA must be operated at all times when emissions may be vented to them.

n) The owner or operator using a carbon adsorption system to control air pollutant emissions must document that all carbon that is a hazardous waste and that is removed from the control device is managed in one of the following manners, regardless of the average volatile organic concentration of the carbon:

1) Regenerated or reactivated in a thermal treatment unit that meets one of the following:

A) The owner or operator of the unit has been issued a final permit under 35 Ill. Adm. Code 702, 703, and 705 that implements Subpart X; or

B) The unit is equipped with and operating air emission controls in compliance with the applicable requirements of Subparts AA and CC or Subparts AA and CC of 35 Ill. Adm. Code 725; or

C) The unit is equipped with and operating air emission controls in compliance with a national emission standard for hazardous air pollutants under 40 CFR 61 (National Emission Standards for Hazardous Air Pollutants) or 40 CFR 63 (National Emission Standards for Hazardous Air Pollutants for Source Categories), each incorporated by reference in 35 Ill. Adm. Code 720.111(b).

2) Incinerated in a hazardous waste incinerator for which the owner or operator either:

A) Has been issued a final permit under 35 Ill. Adm. Code 702, 703, and 705 that implements Subpart O; or

B) Has designed and operates the incinerator in compliance with the interim status requirements of Subpart O of 35 Ill. Adm. Code 725.

3) Burned in a boiler or industrial furnace for which the owner or operator either:

A) Has been issued a final permit under 35 Ill. Adm. Code 702, 703, and 705 that implements Subpart H of 35 Ill. Adm. Code 726; or

B) Has designed and operates the boiler or industrial furnace in compliance with the interim status requirements of Subpart H of 35 Ill. Adm. Code 726.

o) Any components of a closed-vent system that are designated, as described in Section 721.935(c)(9), as unsafe to monitor are exempt from subsection (l)(1)(B)(ii) if both of the following conditions are met:

1) The remanufacturer or other person that stores or treats the hazardous secondary material in a hazardous secondary material management unit using a closed-vent system determines that the components of the closed-vent system are unsafe to monitor because monitoring personnel would be exposed to an immediate danger as a consequence of complying with subsection (l)(1)(B)(ii); and

2) The remanufacturer or other person that stores or treats the hazardous secondary material in a hazardous secondary material management unit using a closed-vent system adheres to a written plan that requires monitoring the closed-vent system components using the procedure specified in subsection (l)(1)(B)(ii) as frequently as practicable during safe-to-monitor times.

(Source: Amended at 48 Ill. Reg. 16813, effective November 22, 2024)

**Section** **721.934 Test Methods and Procedures**

a) Each remanufacturer or other person that stores or treats the hazardous secondary material subject to the provisions of this Subpart AA must comply with the test methods and procedural requirements provided in this Section.

b) When a closed-vent system is tested for compliance with no detectable emissions, as required in Section 721.933(l) of this Subpart AA, the test must comply with the following requirements:

1) Monitoring must comply with Reference Method 21 (Determination of Volatile Organic Compound Leaks) in appendix A to 40 CFR 60 (Test Methods), incorporated by reference in 35 Ill. Adm. Code 720.111.

2) The detection instrument must meet the performance criteria of Reference Method 21.

3) The instrument must be calibrated before use on each day of its use by the procedures specified in Reference Method 21.

4) Calibration gases must be:

A) Zero air (less than 10 ppm of hydrocarbon in air).

B) A mixture of methane or n-hexane and air at a concentration of approximately, but less than, 10,000 ppm methane or n-hexane.

5) The background level must be determined as set forth in Reference Method 21.

6) The instrument probe must be traversed around all potential leak interfaces as close to the interface as possible as described in Reference Method 21.

7) The arithmetic difference between the maximum concentration indicated by the instrument and the background level is compared with 500 ppm for determining compliance.

c) Performance tests to determine compliance with Section 721.932(a) and with the total organic compound concentration limit of Section 721.933(c) must comply with the following:

1) Performance tests to determine total organic compound concentrations and mass flow rates entering and exiting control devices must be conducted and data reduced in accordance with the following reference methods and calculation procedures:

A) Reference Method 2 (Determination of Stack Gas Velocity and Volumetric Flow Rate (Type S Pitot Tube)) in appendix A to 40 CFR 60 (Test Methods), incorporated by reference in 35 Ill. Adm. Code 720.111 for velocity and volumetric flow rate.

B) Reference Method 18 (Measurement of Gaseous Organic Compound Emissions by Gas Chromatography) or Reference Method 25A (Determination of Total Gaseous Organic Concentration Using a Flame Ionization Analyzer) in appendix A to 40 CFR 60 (Test Methods), incorporated by reference in 35 Ill. Adm. Code 720.111, for organic content. If Reference Method 25A is used, the organic HAP used as the calibration gas must be the single organic HAP representing the largest percent by volume of the emissions. The use of Reference Method 25A is acceptable if the response from the high-level calibration gas is at least 20 times the standard deviation of the response from the zero calibration gas when the instrument is zeroed on the most sensitive scale.

C) Each performance test must consist of three separate runs; each run must be conducted for at least one hour under the conditions that exist when the hazardous secondary material management unit is operating at the highest load or capacity level reasonably expected to occur. For the purpose of determining total organic compound concentrations and mass flow rates, the average of results of all runs must apply. The average must be computed on a time-weighted basis.

D) Total organic mass flow rates must be determined by the following equation:

i) For sources utilizing Reference Method 18.

Where:

Eh = Total organic mass flow rate, kg/h

Q2sd = Volumetric flow rate of gases entering or exiting control device, as determined by Reference Method 2, dscm/h

n = Number of organic compounds in the vent gas

Ci = Organic concentration in ppm, dry basis, of compound i in the vent gas, as determined by Reference Method 18

MWi = Molecular weight of organic compound i in the vent gas, kg/kg-mol

0.0416 = Conversion factor for molar volume, kg-mol/m3 (@293 K and 760 mm Hg)

10-6 = Conversion from ppm

ii) For sources utilizing Reference Method 25A.

Eh= (Q)(C)(MW)(0.0416)(10-6)

Where:

Eh = Total organic mass flow rate, kg/h

Q = Volumetric flow rate of gases entering or exiting control device, as determined by Reference Method 2, dscm/h

C = Organic concentration in ppm, dry basis, as determined by Reference Method 25A

MW = Molecular weight of propane, 44

0.0416 = Conversion factor for molar volume, kg-mol/m3 (@293 K and 760 mm Hg)

10-6 = Conversion from ppm

E) The annual total organic emission rate must be determined by the following equation:

EA = (Eh)(H)

Where:

EA = Total organic mass emission rate, kg/y

Eh = Total organic mass flow rate for the process vent, kg/h

H = Total annual hours of operations for the affected unit, h/y

F) Total organic emissions from all affected process vents at the facility must be determined by summing the hourly total organic mass emission rates (Eh, as determined in subsection (c)(1)(D)) and by summing the annual total organic mass emission rates (EA, as determined in subsection (c)(1)(E)) for all affected process vents at the facility.

2) The remanufacturer or other person that stores or treats the hazardous secondary material must record process information as necessary to determine the conditions of the performance tests. Operations during periods of startup, shutdown, and malfunction must not constitute representative conditions for the purpose of a performance test.

3) The remanufacturer or other person that stores or treats the hazardous secondary material at an affected facility must provide, or cause to be provided, performance testing facilities, as follows:

A) Sampling ports adequate for the test methods specified in subsection (c)(1).

B) Safe sampling platforms.

C) Safe access to sampling platforms.

D) Utilities for sampling and testing equipment.

4) For the purpose of making compliance determinations, the time-weighted average of the results of the three runs must apply. In the event that a sample is accidentally lost or conditions occur in which one of the three runs must be discontinued because of forced shutdown, failure of an irreplaceable portion of the sample train, extreme meteorological conditions, or other circumstances beyond the control of the remanufacturer or other person that stores or treats the hazardous secondary material, the Agency may approve compliance determination using the average of the results of the two other runs. The Agency must state any approval or disapproval of a compliance determination in writing to the remanufacturer or other person that stores or treats the hazardous secondary material.

d) To show that a process vent associated with a hazardous secondary material distillation, fractionation, thin-film evaporation, solvent extraction, or air or steam stripping operation is not subject to the requirements of this Subpart AA, the remanufacturer or other person that stores or treats the hazardous secondary material must make an initial determination that the time-weighted, annual average total organic concentration of the material managed by the hazardous secondary material management unit is less than 10 ppmw using one of the following two methods:

1) Direct measurement of the organic concentration of the material using the following procedures:

A) The remanufacturer or other person that stores or treats the hazardous secondary material must take a minimum of four grab samples of material for each material stream managed in the affected unit under process conditions expected to cause the maximum material organic concentration.

B) For material generated onsite, the grab samples must be collected at a point before the material is exposed to the atmosphere such as in an enclosed pipe or other closed system that is used to transfer the material after generation to the first affected distillation, fractionation, thin-film evaporation, solvent extraction, or air or steam stripping operation. For material generated offsite, the grab samples must be collected at the inlet to the first material management unit that receives the material provided the material has been transferred to the facility in a closed system such as a tank truck and the material is not diluted or mixed with other material.

C) Each sample must be analyzed and the total organic concentration of the sample must be computed using Method 9060A of “Test Methods for Evaluating Solid Waste, Physical/Chemical Methods”, EPA Publication SW-846, incorporated by reference in 35 Ill. Adm. Code 720.111, or analyzed for its individual organic constituents.

D) The arithmetic mean of the results of the analyses of the four samples must apply for each material stream managed in the unit in determining the time-weighted, annual average total organic concentration of the material. The time-weighted average is to be calculated using the annual quantity of each material stream processed and the mean organic concentration of each material stream managed in the unit.

2) Using knowledge of the material to determine that its total organic concentration is less than 10 ppmw. Documentation of the material determination is required. Examples of documentation that must be used to support a determination under this provision include production process information documenting that no organic compounds are used, information that the material is generated by a process that is identical to a process at the same or another facility that has previously been demonstrated by direct measurement to generate a material stream having a total organic content less than 10 ppmw, or prior speciation analysis results on the same material stream where it can also be documented that no process changes have occurred since that analysis that could affect the material total organic concentration.

e) The determination that distillation, fractionation, thin-film evaporation, solvent extraction, or air or steam stripping operations manage hazardous secondary materials with time-weighted, annual average total organic concentrations less than 10 ppmw must be made as follows:

1) By the effective date that the facility becomes subject to the provisions of this Subpart AA or by the date when the material is first managed in a hazardous secondary material management unit, whichever is later; and

2) For continuously generated material, annually; or

3) Whenever there is a change in the material being managed or a change in the process that generates or treats the material.

f) When a remanufacturer or other person that stores or treats the hazardous secondary material and the Agency do not agree on whether a distillation, fractionation, thin-film evaporation, solvent extraction, or air or steam stripping operation manages a hazardous secondary material with organic concentrations of at least 10 ppmw based on knowledge of the material, the dispute may be resolved by using direct measurement, as specified at subsection (d)(1). The Agency must state any disagreement in writing to the remanufacturer or other person that stores or treats the hazardous secondary material.

(Source: Amended at 42 Ill. Reg. 21673, effective November 19, 2018)

**Section** **721.935 Recordkeeping Requirements**

a) Compliance Required

1) Each remanufacturer or other person that stores or treats the hazardous secondary material subject to the provisions of this Subpart AA must comply with the recordkeeping requirements of this Section.

2) A remanufacturer or other person that stores or treats the hazardous secondary material of more than one hazardous secondary material management unit subject to the provisions of this Subpart AA may comply with the recordkeeping requirements for these hazardous secondary material management units in one recordkeeping system if the system identifies each record by each hazardous secondary material management unit.

b) The remanufacturer or other person that stores or treats the hazardous secondary material must keep the following records on-site:

1) For facilities that comply with the provisions of Section 721.933(a)(2), an implementation schedule that includes dates by which the closed-vent system and control device will be installed and in operation. The schedule must also include a rationale of why the installation cannot be completed at an earlier date. The implementation schedule must be kept on-site at the facility by the effective date that the facility becomes subject to the provisions of this Subpart AA.

2) Up-to-date documentation of compliance with the process vent standards in Section 721.932, including the following:

A) Information and data identifying all affected process vents, annual throughput and operating hours of each affected unit, estimated emission rates for each affected vent and for the overall facility (i.e., the total emissions for all affected vents at the facility), and the approximate location within the facility of each affected unit (e.g., identify the hazardous secondary material management units on a facility plot plan).

B) Information and data supporting determinations of vent emissions and emission reductions achieved by add-on control devices based on engineering calculations or source tests. For the purpose of determining compliance, determinations of vent emissions and emission reductions must be made using operating parameter values (e.g., temperatures, flow rates, or vent stream organic compounds and concentrations) that represent the conditions that result in maximum organic emissions, such as when the hazardous secondary material management unit is operating at the highest load or capacity level reasonably expected to occur. If the remanufacturer or other person that stores or treats the hazardous secondary material takes any action (e.g., managing a material of different composition or increasing operating hours of affected hazardous secondary material management units) that would result in an increase in total organic emissions from affected process vents at the facility, then a new determination is required.

3) Where a remanufacturer or other person that stores or treats the hazardous secondary material chooses to use test data to determine the organic removal efficiency or total organic compound concentration achieved by the control device, a performance test plan must be developed and include the following:

A) A description of how it is determined that the planned test is going to be conducted when the hazardous secondary material management unit is operating at the highest load or capacity level reasonably expected to occur. This must include the estimated or design flow rate and organic content of each vent stream and define the acceptable operating ranges of key process and control device parameters during the test program.

B) A detailed engineering description of the closed-vent system and control device, including the following:

i) Manufacturer’s name and model number of control device.

ii) Type of control device.

iii) Dimensions of the control device.

iv) Capacity.

v) Construction materials.

C) A detailed description of sampling and monitoring procedures, including sampling and monitoring locations in the system, the equipment to be used, sampling and monitoring frequency, and planned analytical procedures for sample analysis.

4) Documentation of compliance with Section 721.933 must include the following information:

A) A list of all information references and sources used in preparing the documentation.

B) Records, including the dates, of each compliance test required by Section 721.933(k).

C) If engineering calculations are used, a design analysis, specifications, drawings, schematics, and piping and instrumentation diagrams based on the appropriate sections of “APTI Course 415: Control of Gaseous Emissions”, incorporated by reference as specified in 35 Ill. Adm. Code 720.111, or other engineering texts acceptable to the Agency that present basic control device design information. Documentation provided by the control device manufacturer or vendor that describes the control device design in accordance with subsections (b)(4)(C)(i) through (b)(4)(C)(vii) may be used to comply with this requirement. The design analysis must address the vent stream characteristics and control device operation parameters, as specified below. The Agency must state whether or not the other engineering texts are acceptable or unacceptable in writing to the remanufacturer or other person that stores or treats the hazardous secondary material.

i) For a thermal vapor incinerator, the design analysis must consider the vent stream composition, constituent concentrations, and flow rate. The design analysis must also establish the design minimum and average temperature in the combustion zone and the combustion zone residence time.

ii) For a catalytic vapor incinerator, the design analysis must consider the vent stream composition, constituent concentrations, and flow rate. The design analysis must also establish the design minimum and average temperatures across the catalyst bed inlet and outlet.

iii) For a boiler or process heater, the design analysis must consider the vent stream composition, constituent concentrations, and flow rate. The design analysis must also establish the design minimum and average flame zone temperatures, combustion zone residence time, and description of method and location where the vent stream is introduced into the combustion zone.

iv) For a flare, the design analysis must consider the vent stream composition, constituent concentrations, and flow rate. The design analysis must also consider the requirements specified in Section 721.933(d).

v) For a condenser, the design analysis must consider the vent stream composition, constituent concentrations, flow rate, relative humidity, and temperature. The design analysis must also establish the design outlet organic compound concentration level, design average temperature of the condenser exhaust vent stream, and design average temperatures of the coolant fluid at the condenser inlet and outlet.

vi) For a carbon adsorption system such as a fixed-bed adsorber that regenerates the carbon bed directly onsite in the control device, the design analysis must consider the vent stream composition, constituent concentrations, flow rate, relative humidity, and temperature. The design analysis must also establish the design exhaust vent stream organic compound concentration level, number and capacity of carbon beds, type and working capacity of activated carbon used for carbon beds, design total steam flow over the period of each complete carbon bed regeneration cycle, duration of the carbon bed steaming and cooling/ drying cycles, design carbon bed temperature after regeneration, design carbon bed regeneration time, and design service life of carbon.

vii) For a carbon adsorption system such as a carbon canister that does not regenerate the carbon bed directly onsite in the control device, the design analysis must consider the vent stream composition, constituent concentrations, flow rate, relative humidity, and temperature. The design analysis must also establish the design outlet organic concentration level, capacity of carbon bed, type and working capacity of activated carbon used for carbon bed, and design carbon replacement interval based on the total carbon working capacity of the control device and source operating schedule.

D) A statement signed and dated by the remanufacturer or other person that stores or treats the hazardous secondary material certifying that the operating parameters used in the design analysis reasonably represent the conditions that exist when the hazardous secondary material management unit is or would be operating at the highest load or capacity level reasonably expected to occur.

E) A statement signed and dated by the remanufacturer or other person that stores or treats the hazardous secondary material certifying that the control device is designed to operate at an efficiency of 95 percent or greater unless the total organic concentration limit of Section 721.932(a) is achieved at an efficiency less than 95 weight percent or the total organic emission limits of Section 721.932(a) for affected process vents at the facility can be attained by a control device involving vapor recovery at an efficiency less than 95 weight percent. A statement provided by the control device manufacturer or vendor certifying that the control equipment meets the design specifications may be used to comply with this requirement.

F) If performance tests are used to demonstrate compliance, all test results.

c) Design documentation and monitoring, operating, and inspection information for each closed-vent system and control device required to comply with the provisions of this part must be recorded and kept up-to-date at the facility. The information must include the following:

1) Description and date of each modification that is made to the closed-vent system or control device design.

2) Identification of operating parameter, description of monitoring device, and diagram of monitoring sensor location or locations used to comply with Section 721.933 (f)(1) and (f)(2).

3) Monitoring, operating, and inspection information required by Section 721.933(f) through (k).

4) Date, time, and duration of each period that occurs while the control device is operating when any monitored parameter exceeds the value established in the control device design analysis, as specified below:

A) For a thermal vapor incinerator designed to operate with a minimum residence time of 0.50 second at a minimum temperature of 760 ºC, period when the combustion temperature is below 760 ºC.

B) For a thermal vapor incinerator designed to operate with an organic emission reduction efficiency of 95 weight percent or greater, period when the combustion zone temperature is more than 28 ºC below the design average combustion zone temperature established as a requirement of subsection (b)(4)(C)(i).

C) For a catalytic vapor incinerator, period when either of the following occurs:

i) Temperature of the vent stream at the catalyst bed inlet is more than 28 ºC below the average temperature of the inlet vent stream established as a requirement of subsection (b)(4)(C)(ii); or

ii) Temperature difference across the catalyst bed is less than 80 percent of the design average temperature difference established as a requirement of subsection (b)(4)(C)(ii).

D) For a boiler or process heater, period when either of the following occurs:

i) Flame zone temperature is more than 28 ºC below the design average flame zone temperature established as a requirement of subsection (b)(4)(C)(iii); or

ii) Position changes where the vent stream is introduced to the combustion zone from the location established as a requirement of subsection (b)(4)(C)(iii).

E) For a flare, period when the pilot flame is not ignited.

F) For a condenser that complies with Section 721.933(f)(2)(F)(i), period when the organic compound concentration level or readings of organic compounds in the exhaust vent stream from the condenser are more than 20 percent greater than the design outlet organic compound concentration level established as a requirement of subsection (b)(4)(C)(v).

G) For a condenser that complies with Section 721.933(f)(2)(F)(ii), period when either of the following occurs:

i) Temperature of the exhaust vent stream from the condenser is more than 6 ºC above the design average exhaust vent stream temperature established as a requirement of subsection (b)(4)(C)(v); or

ii) Temperature of the coolant fluid exiting the condenser is more than 6 ºC above the design average coolant fluid temperature at the condenser outlet established as a requirement of subsection (b)(4)(C)(v).

H) For a carbon adsorption system, such as a fixed-bed carbon adsorber that regenerates the carbon bed directly onsite in the control device and which complies with Section 721.933(f)(2)(G)(i), any period when the organic compound concentration level or readings of organic compounds in the exhaust vent stream from the carbon bed are more than 20 percent greater than the design exhaust vent stream organic compound concentration level established as a requirement of subsection (b)(4)**(**C**)**(vi).

I) For a carbon adsorption system, such as a fixed-bed carbon adsorber that regenerates the carbon bed directly onsite in the control device and which complies with Section 721.933(f)(2)(G)(ii), any period when the vent stream continues to flow through the control device beyond the predetermined carbon bed regeneration time established as a requirement of subsection (b)(4)**(**C**)**(vi).

5) Explanation for each period recorded under subsection (c)(4) of the cause for control device operating parameter exceeding the design value and the measures implemented to correct the control device operation.

6) For a carbon adsorption system operated subject to requirements specified in Section 721.933(g) or (h)(2), any date when existing carbon in the control device is replaced with fresh carbon.

7) For a carbon adsorption system operated subject to requirements specified in Section 721.933(h)(1), a log that records:

A) Date and time when control device is monitored for carbon breakthrough and the monitoring device reading.

B) Date when existing carbon in the control device is replaced with fresh carbon.

8) Date of each control device startup and shutdown.

9) A remanufacturer or other person that stores or treats the hazardous secondary material designating any components of a closed-vent system as unsafe to monitor pursuant to Section 721.933(o) must record in a log that is kept at the facility the identification of closed-vent system components that are designated as unsafe to monitor in accordance with the requirements of Section 721.933(o), an explanation for each closed-vent system component stating why the closed-vent system component is unsafe to monitor, and the plan for monitoring each closed-vent system component.

10) When each leak is detected as specified in Section 721.933(l), the following information must be recorded:

A) The instrument identification number, the closed-vent system component identification number, and the operator name, initials, or identification number.

B) The date the leak was detected and the date of first attempt to repair the leak.

C) The date of successful repair of the leak.

D) Maximum instrument reading measured by Reference Method 21 (Determination of Volatile Organic Compound Leaks) in appendix A to 40 CFR 60 (Test Methods), incorporated by reference in 35 Ill. Adm. Code 720.111, after it is successfully repaired or determined to be nonrepairable.

E) “Repair delayed” and the reason for the delay if a leak is not repaired within 15 calendar days after discovery of the leak.

i) The remanufacturer or other person that stores or treats the hazardous secondary material may develop a written procedure that identifies the conditions that justify a delay of repair. In such cases, reasons for delay of repair may be documented by citing the relevant sections of the written procedure.

ii) If delay of repair was caused by depletion of stocked parts, there must be documentation that the spare parts were sufficiently stocked on-site before depletion and the reason for depletion.

d) Records of the monitoring, operating, and inspection information required by subsections (c)(3) through (c)(10) must be maintained by the owner or operator for at least three years following the date of each occurrence, measurement, maintenance, corrective action, or record.

e) For a control device other than a thermal vapor incinerator, catalytic vapor incinerator, flare, boiler, process heater, condenser, or carbon adsorption system, the Agency must specify the appropriate recordkeeping requirements. The Agency must specify the appropriate recordkeeping requirements in writing to the remanufacturer or other person that stores or treats the hazardous secondary material.

f) Up-to-date information and data used to determine whether or not a process vent is subject to the requirements in Section 721.932, including supporting documentation as required by Section 721.934(d)(2) when application of the knowledge of the nature of the hazardous secondary material stream or the process by which it was produced is used, must be recorded in a log that is kept at the facility.

(Source: Amended at 42 Ill. Reg. 21673, effective November 19, 2018)

SUBPART BB: AIR EMISSION STANDARDS FOR EQUIPMENT LEAKS

**Section** **721.950 Applicability**

The regulations in this this Subpart BB apply to equipment that contains hazardous secondary materials excluded under the remanufacturing exclusion at Section 721.104(a)(27), unless the equipment operations are subject to the requirements of an applicable federal Clean Air Act regulation in 40 CFR 60 (Standards of Performance for New Stationary Sources), 61 (National Emission Standards for Hazardous Air Pollutants), or 63 (National Emission Standards for Hazardous Air Pollutants for Source Categories), each incorporated by reference in 35 Ill. Adm. Code 720.111.

BOARD NOTE: Section 9.1(b) and (d) of the Act make the federal new source performance standards and national emission standards for hazardous air pollutants directly applicable in Illinois and prohibit operation of an emission source without a permit issued by the Agency. The Agency issues permits that incorporate the federal new source performance standards and national emission standards for hazardous air pollutants pursuant to Section 39.5 of the Act.

(Source: Amended at 42 Ill. Reg. 21673, effective November 19, 2018)

**Section 721.951 Definitions**

As used in this this Subpart BB, all terms will have the meaning given them in Section 721.931; section 1004 of the federal Resource Conservation and Recovery Act (42 USC 6903), incorporated by reference in 35 Ill. Adm. Code 720.111; and 35 Ill. Adm. Code 720 through 726.

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section 721.952 Standards: Pumps in Light Liquid Service**

a) Monitoring.

1) Each pump in light liquid service must be monitored monthly to detect leaks by the methods specified in Section 721.963(b), except as provided in subsections (d), (e), and (f).

2) Each pump in light liquid service must be checked by visual inspection each calendar week for indications of liquids dripping from the pump seal.

b) Leaks.

1) If an instrument reading of 10,000 ppm or greater is measured, a leak is detected.

2) If there are indications of liquids dripping from the pump seal, a leak is detected.

c) Repairs.

1) When a leak is detected, it must be repaired as soon as practicable, but not later than 15 calendar days after it is detected, except as provided in Section 721.959.

2) A first attempt at repair (e.g., tightening the packing gland) must be made no later than five calendar days after each leak is detected.

d) Each pump equipped with a dual mechanical seal system that includes a barrier fluid system is exempt from the requirements of subsection (a), provided the following requirements are met:

1) Each dual mechanical seal system must be as follows:

A) Operated with the barrier fluid at a pressure that is at all times greater than the pump stuffing box pressure; or

B) Equipped with a barrier fluid degassing reservoir that is connected by a closed-vent system to a control device that complies with the requirements of Section 721.960; or

C) Equipped with a system that purges the barrier fluid into a hazardous secondary material stream with no detectable emissions to the atmosphere.

2) The barrier fluid system must not be a hazardous secondary material with organic concentrations 10 percent or greater by weight.

3) Each barrier fluid system must be equipped with a sensor that will detect failure of the seal system, the barrier fluid system, or both.

4) Each pump must be checked by visual inspection, each calendar week, for indications of liquids dripping from the pump seals.

5) Alarms.

A) Each sensor as described in subsection (d)(3) must be checked daily or be equipped with an audible alarm that must be checked monthly to ensure that it is functioning properly.

B) The remanufacturer or other person that stores or treats the hazardous secondary material must determine, based on design considerations and operating experience, a criterion that indicates failure of the seal system, the barrier fluid system, or both.

6) Leaks.

A) If there are indications of liquids dripping from the pump seal or the sensor indicates failure of the seal system, the barrier fluid system, or both based on the criterion determined in subsection (d)(5)(B), a leak is detected.

B) When a leak is detected, it must be repaired as soon as practicable, but not later than 15 calendar days after it is detected, except as provided in Section 721.959.

C) A first attempt at repair (e.g., relapping the seal) must be made no later than five calendar days after each leak is detected.

e) Any pump that is designated, as described in Section 721.964(g)(2), for no detectable emissions, as indicated by an instrument reading of less than 500 ppm above background, is exempt from the requirements of subsections (a), (c), and (d) if the pump meets the following requirements:

1) Must have no externally actuated shaft penetrating the pump housing.

2) Must operate with no detectable emissions as indicated by an instrument reading of less than 500 ppm above background as measured by the methods specified in Section 721.963(c).

3) Must be tested for compliance with subsection (e)(2) initially upon designation, annually, and at other times as requested by the Agency. The Agency must request any compliance testing at times other than annually in writing to the remanufacturer or other person that stores or treats the hazardous secondary material.

f) If any pump is equipped with a closed-vent system capable of capturing and transporting any leakage from the seal or seals to a control device that complies with the requirements of Section 721.960, it is exempt from the requirements of subsections (a) through (e).

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section 721.953 Standards: Compressors**

a) Each compressor must be equipped with a seal system that includes a barrier fluid system and that prevents leakage of total organic emissions to the atmosphere, except as provided in subsections (h) and (i).

b) Each compressor seal system as required in subsection (a) must be:

1) Operated with the barrier fluid at a pressure that is at all times greater than the compressor stuffing box pressure; or

2) Equipped with a barrier fluid system that is connected by a closed-vent system to a control device that complies with the requirements of Section 721.960; or

3) Equipped with a system that purges the barrier fluid into a hazardous secondary material stream with no detectable emissions to atmosphere.

c) The barrier fluid must not be a hazardous secondary material with organic concentrations 10 percent or greater by weight.

d) Each barrier fluid system, as described in subsections (a) through (c), must be equipped with a sensor that will detect failure of the seal system, barrier fluid system, or both.

e) Inspections.

1) Each sensor as required in subsection (d) must be checked daily or must be equipped with an audible alarm that must be checked monthly to ensure that it is functioning properly unless the compressor is located within the boundary of an unmanned plant site, in which case the sensor must be checked daily.

2) The remanufacturer or other person that stores or treats the hazardous secondary material must determine, based on design considerations and operating experience, a criterion that indicates failure of the seal system, the barrier fluid system, or both.

f) If the sensor indicates failure of the seal system, the barrier fluid system, or both based on the criterion determined under subsection (e)(2), a leak is detected.

g) Repairs.

1) When a leak is detected, it must be repaired as soon as practicable, but not later than 15 calendar days after it is detected, except as provided in Section 721.959.

2) A first attempt at repair (e.g., tightening the packing gland) must be made no later than five calendar days after each leak is detected.

h) A compressor is exempt from the requirements of subsections (a) and (b) if it is equipped with a closed-vent system capable of capturing and transporting any leakage from the seal to a control device that complies with the requirements of Section 721.960, except as provided in subsection (i).

i) Any compressor that is designated, as described in Section 721.964(g)(2), for no detectable emissions as indicated by an instrument reading of less than 500 ppm above background is exempt from the requirements of subsections (a) through (h) if the compressor:

1) Is determined to be operating with no detectable emissions, as indicated by an instrument reading of less than 500 ppm above background, as measured by the method specified in Section 721.963(c).

2) Is tested for compliance with subsection (i)(1) initially upon designation, annually, and at other times as requested by the Agency. The Agency must request any compliance testing at times other than annually in writing to the remanufacturer or other person that stores or treats the hazardous secondary material.

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section 721.954 Standards: Pressure Relief Devices in Gas/Vapor Service**

a) Except during pressure releases, each pressure relief device in gas/vapor service must be operated with no detectable emissions, as indicated by an instrument reading of less than 500 ppm above background, as measured by the method specified in Section 721.963(c).

b) Actions following pressure release.

1) After each pressure release, the pressure relief device must be returned to a condition of no detectable emissions, as indicated by an instrument reading of less than 500 ppm above background, as soon as practicable, but no later than five calendar days after each pressure release, except as provided in Section 721.959.

2) No later than five calendar days after the pressure release, the pressure relief device must be monitored to confirm the condition of no detectable emissions, as indicated by an instrument reading of less than 500 ppm above background, as measured by the method specified in Section 721.963(c).

c) Any pressure relief device that is equipped with a closed-vent system capable of capturing and transporting leakage from the pressure relief device to a control device as described in Section 721.960 is exempt from the requirements of subsections (a) and (b).

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section 721.955 Standards: Sampling Connection Systems**

a) Each sampling connection system must be equipped with a closed-purge, closed-loop, or closed-vent system. This system must collect the sample purge for return to the process or for routing to the appropriate treatment system. Gases displaced during filling of the sample container are not required to be collected or captured.

b) Each closed-purge, closed-loop, or closed-vent system as required in subsection (a) must meet one of the following requirements:

1) It must return the purged process fluid directly to the process line;

2) It must collect and recycle the purged process fluid; or

3) It must be designed and operated to capture and transport all the purged process fluid to a material management unit that complies with the applicable requirements of Sections 721.984 through 264.986 or a control device that complies with the requirements of Section 721.960.

c) In-situ sampling systems and sampling systems without purges are exempt from the requirements of subsections (a) and (b).

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section 721.956 Standards: Open-Ended Valves or Lines**

a) Equipment.

1) Each open-ended valve or line must be equipped with a cap, blind flange, plug, or a second valve.

2) The cap, blind flange, plug, or second valve must seal the open end at all times except during operations requiring hazardous secondary material stream flow through the open-ended valve or line.

b) Each open-ended valve or line equipped with a second valve must be operated in a manner such that the valve on the hazardous secondary material stream end is closed before the second valve is closed.

c) When a double block and bleed system is being used, the bleed valve or line may remain open during operations that require venting the line between the block valves but must comply with subsection (a) at all other times.

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section 721.957 Standards: Valves in Gas/Vapor Service or in Light Liquid Service**

a) Each valve in gas/vapor or light liquid service must be monitored monthly to detect leaks by the methods specified in Section 721.963(b) and must comply with subsections (b) through (e), except as provided in subsections (f), (g), and (h) and Sections 721.961 and 721.962.

b) If an instrument reading of 10,000 ppm or greater is measured, a leak is detected.

c) Monitoring Frequency.

1) Any valve for which a leak is not detected for two successive months may be monitored the first month of every succeeding quarter, beginning with the next quarter, until a leak is detected.

2) If a leak is detected, the valve must be monitored monthly until a leak is not detected for two successive months,

d) Leak repair.

1) When a leak is detected, it must be repaired as soon as practicable, but no later than 15 calendar days after the leak is detected, except as provided in Section 721.959.

2) A first attempt at repair must be made no later than five calendar days after each leak is detected.

e) First attempts at repair include, but are not limited to, the following best practices where practicable:

1) Tightening of bonnet bolts.

2) Replacement of bonnet bolts.

3) Tightening of packing gland nuts.

4) Injection of lubricant into lubricated packing.

f) Any valve that is designated, as described in Section 721.964(g)(2), for no detectable emissions, as indicated by an instrument reading of less than 500 ppm above background, is exempt from the requirements of subsection (a) if the valve:

1) Has no external actuating mechanism in contact with the hazardous secondary material stream.

2) Is operated with emissions less than 500 ppm above background as determined by the method specified in Section 721.963(c).

3) Is tested for compliance with subsection (f)(2) initially upon designation, annually, and at other times as requested by the Agency. The Agency must request any compliance testing at times other than annually in writing to the remanufacturer or other person that stores or treats the hazardous secondary material.

g) Any valve that is designated, as described in Section 721.964(h)(1), as an unsafe-to-monitor valve is exempt from the requirements of subsection (a) if both of the following conditions are fulfilled:

1) The remanufacturer or other person that stores or treats the hazardous secondary material determines that the valve is unsafe to monitor because monitoring personnel would be exposed to an immediate danger as a consequence of complying with subsection (a); and

2) The remanufacturer or other person that stores or treats the hazardous secondary material adheres to a written plan that requires monitoring of the valve as frequently as practicable during safe-to-monitor times.

h) Any valve that is designated, as described in Section 721.964(h)(2), as a difficult-to-monitor valve is exempt from the requirements of subsection (a) if all of the following conditions are fulfilled:

1) The remanufacturer or other person that stores or treats the hazardous secondary material determines that the valve cannot be monitored without elevating the monitoring personnel more than two meters above a support surface;

2) The hazardous secondary material management unit within which the valve is located was in operation before January 13, 2015; and

3) The owner or operator of the valve follows a written plan that requires monitoring of the valve at least once per calendar year.

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section 721.958 Standards: Pumps and Valves in Heavy Liquid Service, Pressure Relief Devices in Light Liquid or Heavy Liquid Service, and Flanges and Other Connectors**

a) Pumps and valves in heavy liquid service, pressure relief devices in light liquid or heavy liquid service, and flanges and other connectors must be monitored within five days by the method specified in Section 721.963(b) if evidence of a potential leak is found by visual, audible, olfactory, or any other detection method.

b) If an instrument reading of 10,000 ppm or greater is measured, a leak is detected.

c) Repairs.

1) When a leak is detected, it must be repaired as soon as practicable, but not later than 15 calendar days after it is detected, except as provided in Section 721.959.

2) The first attempt at repair must be made no later than five calendar days after each leak is detected.

d) First attempts at repair include, but are not limited to, the best practices described under Section 721.957(e).

e) Any connector that is inaccessible or which is ceramic or ceramic-lined (e.g., porcelain, glass, or glass-lined) is exempt from the monitoring requirements of subsection (a) and from the recordkeeping requirements of Section 721.964.

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section 721.959 Standards: Delay of Repair**

a) Delay of repair of equipment for which leaks have been detected will be allowed if the repair is technically infeasible without a hazardous secondary material management unit shutdown. In such a case, repair of this equipment must occur before the end of the next hazardous secondary material management unit shutdown.

b) Delay of repair of equipment for which leaks have been detected will be allowed for equipment that is isolated from the hazardous secondary material management unit and that does not continue to contain or contact hazardous secondary material with organic concentrations at least 10 percent by weight.

c) Delay of repair for valves will be allowed if:

1) The remanufacturer or other person that stores or treats the hazardous secondary material determines that emissions of purged material resulting from immediate repair are greater than the emissions likely to result from delay of repair.

2) When repair procedures are effected, the purged material is collected and destroyed or recovered in a control device complying with Section 721.960.

d) Delay of repair for pumps will be allowed if both of the following conditions are fulfilled:

1) Repair requires the use of a dual mechanical seal system that includes a barrier fluid system; and

2) Repair is completed as soon as practicable, but not later than six months after the leak was detected.

e) Delay of repair beyond a hazardous secondary material management unit shutdown will be allowed for a valve if valve assembly replacement is necessary during the hazardous secondary material management unit shutdown, valve assembly supplies have been depleted, and valve assembly supplies had been sufficiently stocked before the supplies were depleted. Delay of repair beyond the next hazardous secondary material management unit shutdown will not be allowed unless the next hazardous secondary material management unit shutdown occurs sooner than six months after the first hazardous secondary material management unit shutdown.

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section** **721.960 Standards: Closed-Vent Systems and Control Devices**

a) The remanufacturer or other person that stores or treats the hazardous secondary material in a hazardous secondary material management unit using closed-vent systems and control devices subject to this Subpart BB must comply with the provisions of Section 721.933.

b) Implementation Schedule

1) The remanufacturer or other person that stores or treats the hazardous secondary material at an existing facility who cannot install a closed-vent system and control device to comply with the provisions of this Subpart BB on the effective date that the facility becomes subject to the provisions of this Subpart BB must prepare an implementation schedule that includes dates by which the closed-vent system and control device will be installed and in operation. The controls must be installed as soon as possible, but the implementation schedule may allow up to 30 months after the effective date that the facility becomes subject to this Subpart BB for installation and startup.

2) Any unit beginning operation that is subject to the provisions of this Subpart BB when operation begins, must comply with the rules immediately (i.e., must have control devices installed and operating on startup of the affected unit); the 30-month implementation schedule does not apply.

3) The remanufacturer or other person that stores or treats the hazardous secondary material at any facility in existence on the effective date of a statutory or regulatory amendment that renders the facility subject to this Subpart BB must comply with all requirements of this Subpart BB as soon as practicable but no later than 30 months after the amendment’s effective date. When control equipment required by this Subpart BB cannot be installed and begin operation by the effective date of the statutory or regulatory amendment that renders the facility subject to this Subpart BB, the facility owner or operator must prepare an implementation schedule that includes the following information: specific calendar dates for award of contracts or issuance of purchase orders for the control equipment, initiation of on-site installation of the control equipment, completion of the control equipment installation, and performance of any testing to demonstrate that the installed equipment meets the applicable standards of this Subpart BB. The remanufacturer or other person that stores or treats the hazardous secondary material must keep a copy of the implementation schedule at the facility.

BOARD NOTE: The federal effective date of this provision was July 15, 2015. The resulting compliance deadline for the Subpart BB standards was then January 18, 2018 for all facilities to which this Subpart BB applied on July 15, 2015. All new and modified facilities to which this Subpart BB applies are to immediately comply upon beginning operation after July 15, 2015. Where this Subpart BB becomes applicable to a facility subject to after July 15, 2015 as a result of statutory or regulatory amendment, compliance with the Subpart BB standards is required 30 months after the effective date of the statutory or regulatory amendment that subjected that facility to this provision.

4) Remanufacturers or other persons that store or treat the hazardous secondary materials at facilities and units that become newly subject to the requirements of this Subpart BB due to an action other than those described in subsection (b)(3), must comply with all applicable requirements immediately (i.e., must have control devices installed and operating on the date the facility or unit becomes subject to this Subpart BB; the 30-month implementation schedule does not apply).

(Source: Amended at 42 Ill. Reg. 21673, effective November 19, 2018)

**Section 721.961 Alternative Standards for Valves in Gas/Vapor Service or in Light Liquid Service: Percentage of Valves Allowed to Leak**

a) A remanufacturer or other person that stores or treats the hazardous secondary material subject to the requirements of Section 721.957 may elect to have all valves within a hazardous secondary material management unit comply with an alternative standard that allows no greater than two percent of the valves to leak.

b) The following requirements must be met if a remanufacturer or other person that stores or treats the hazardous secondary material decides to comply with the alternative standard of allowing two percent of valves to leak:

1) A performance test, as specified in subsection (c), must be conducted initially upon designation, annually, and at other times requested by the Agency in writing to the remanufacturer or other persons that stores or treats the hazardous secondary material; and

2) If a valve leak is detected, it must be repaired in accordance with Section 721.957(d) and (e).

c) Performance tests must be conducted in the following manner:

1) All valves subject to the requirements in Section 721.957 within the hazardous secondary material management unit must be monitored within one week by the methods specified in Section 721.963(b).

2) If an instrument reading of 10,000 ppm or greater is measured, a leak is detected.

3) The leak percentage must be determined by dividing the number of valves subject to the requirements in Section 721.957 for which leaks are detected by the total number of valves subject to the requirements in Section 721.957 within the hazardous secondary material management unit.

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section 721.962 Alternative Standards for Valves in Gas/Vapor Service or in Light Liquid Service: Skip Period Leak Detection and Repair**

a) A remanufacturer or other person that stores or treats the hazardous secondary material subject to the requirements of Section 721.957 may elect for all valves within a hazardous secondary material management unit to comply with one of the alternative work practices specified in subsections (b)(2) and (b)(3).

b) Reduced Monitoring.

1) A remanufacturer or other person that stores or treats the hazardous secondary material must comply with the requirements for valves, as described in Section 721.957, except as described in subsections (b)(2) and (b)(3).

2) After two consecutive quarterly leak detection periods with the percentage of valves leaking equal to or less than two percent, a remanufacturer or other person that stores or treats the hazardous secondary material may begin to skip one of the quarterly leak detection periods (i.e., monitor for leaks once every six months) for the valves subject to the requirements in Section 721.957.

3) After five consecutive quarterly leak detection periods with the percentage of valves leaking equal to or less than two percent, a remanufacturer or other person that stores or treats the hazardous secondary material may begin to skip three of the quarterly leak detection periods (i.e., monitor for leaks once every year) for the valves subject to the requirements in Section 721.957.

4) If the percentage of valves leaking is greater than two percent, the remanufacturer or other person that stores or treats the hazardous secondary material must monitor monthly in compliance with the requirements in Section 721.957, but may again elect to use this Section after meeting the requirements of Section 721.957(c)(1).

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section** **721.963 Test Methods and Procedures**

a) Each remanufacturer or other person that stores or treats the hazardous secondary material subject to the provisions of this Subpart BB must comply with the test methods and procedures requirements provided in this Section.

b) Leak detection monitoring, as required in Sections 721.952 through 721.962, must comply with the following requirements:

1) Monitoring must comply with Reference Method 21 (Determination of Volatile Organic Compound Leaks) in appendix A to 40 CFR 60 (Test Methods), incorporated by reference in 35 Ill. Adm. Code 720.111.

2) The detection instrument must meet the performance criteria of Reference Method 21.

3) The instrument must be calibrated before use on each day of its use by the procedures specified in Reference Method 21.

4) Calibration gases must be as follows:

A) Zero air (less than 10 ppm of hydrocarbon in air); and

B) A mixture of methane or n-hexane and air at a concentration of approximately, but less than, 10,000 ppm methane or n-hexane.

5) The instrument probe must be traversed around all potential leak interfaces as close to the interface as possible as described in Reference Method 21.

c) When equipment is tested for compliance with no detectable emissions, as required in Sections 721.952(e), 721.953(i), 721.954, and 721.957(f), the test must comply with the following requirements:

1) The requirements of subsections (b)(1) through (b)(4).

2) The background level must be determined as set forth in Reference Method 21.

3) The instrument probe must be traversed around all potential leak interfaces as close to the interface as possible as described in Reference Method 21.

4) The arithmetic difference between the maximum concentration indicated by the instrument and the background level is compared with 500 ppm for determining compliance.

d) A remanufacturer or other person that stores or treats the hazardous secondary material must determine, for each piece of equipment, whether the equipment contains or contacts a hazardous secondary material with organic concentration that equals or exceeds 10 percent by weight using the following:

1) Methods described in ASTM Methods D 2267–88, E 169–87, E 168– 88, E 260–85, incorporated by reference in 35 Ill. Adm. Code 720.111;

2) Method 9060A of “Test Methods for Evaluating Solid Waste”, USEPA Publication SW–846, incorporated by reference in 35 Ill. Adm. Code 720.111, for computing total organic concentration of the sample, or analyzed for its individual organic constituents; or

3) Application of the knowledge of the nature of the hazardous secondary material stream or the process by which it was produced. Documentation of a material determination by knowledge is required. Examples of documentation that must be used to support a determination under this provision include production process information documenting that no organic compounds are used, information that the material is generated by a process that is identical to a process at the same or another facility that has previously been demonstrated by direct measurement to have a total organic content less than 10 percent, or prior speciation analysis results on the same material stream, where it can also be documented that no process changes have occurred since that analysis that could affect the material total organic concentration.

e) If a remanufacturer or other person that stores or treats the hazardous secondary material determines that a piece of equipment contains or contacts a hazardous secondary material with organic concentrations at least 10 percent by weight, the determination can be revised only after following the procedures in subsection (d)(1) or (d)(2).

f) When a remanufacturer or other person that stores or treats the hazardous secondary material and the Agency do not agree on whether a piece of equipment contains or contacts a hazardous secondary material with organic concentrations at least 10 percent by weight, the procedures in subsection (d)(1) or (d)(2) can be used to resolve the dispute. The Agency must state any disagreement on whether a piece of equipment contains or contacts a hazardous secondary material with organic concentrations at least 10 percent by weight in writing to the remanufacturer or other person that stores or treats the hazardous secondary material.

g) Samples used in determining the percent organic content must be representative of the highest total organic content hazardous secondary material that is expected to be contained in or contact the equipment.

h) To determine if pumps or valves are in light liquid service, the vapor pressures of constituents may be obtained from standard reference texts or may be determined by ASTM D 2879-92, incorporated by reference in 35 Ill. Adm. Code 720.111.

i) Performance tests to determine if a control device achieves 95 weight percent organic emission reduction must comply with the procedures of Section 721.934(c)(1) through (c)(4).

(Source: Amended at 42 Ill. Reg. 21673, effective November 19, 2018)

**Section 721.964 Recordkeeping Requirements**

a) Lumping Units.

1) A remanufacturer or other person that stores or treats the hazardous secondary material subject to the provisions of this Subpart BB must comply with the recordkeeping requirements of this Section.

2) A remanufacturer or other person that stores or treats the hazardous secondary material in more than one hazardous secondary material management unit subject to the provisions of this Subpart BB may comply with the recordkeeping requirements for these hazardous secondary material management units in one recordkeeping system if the system identifies each record by each hazardous secondary material management unit.

b) A person that stores or treats a hazardous secondary material must record and keep the following information at the facility:

1) For each piece of equipment to which this Subpart BB applies:

A) The equipment identification number and hazardous secondary material management unit identification.

B) The approximate locations within the facility (e.g., identify the hazardous secondary material management unit on a facility plot plan).

C) The type of equipment (e.g., a pump or pipeline valve).

D) The percent-by-weight total organics in the hazardous secondary material stream at the equipment.

E) The hazardous secondary material state at the equipment (e.g., gas/vapor or liquid).

F) A method of compliance with the standard (e.g., “monthly leak detection and repair” or “equipped with dual mechanical seals”).

2) For facilities that comply with the provisions of Section 721.933(a)(2), an implementation schedule, as specified in Section 721.933(a)(2).

3) When a remanufacturer or other person that stores or treats the hazardous secondary material chooses to use test data to demonstrate the organic removal efficiency or total organic compound concentration achieved by the control device, a performance test plan, as specified in Section 721.935(b)(3).

4) Documentation of compliance with Section 721.960, including the detailed design documentation or performance test results specified in Section 721.935(b)(4).

c) When each leak is detected, as specified in Sections 721.952, 721.953, 721.957, and 721.958, the following requirements apply:

1) A weatherproof and readily visible identification, marked with the equipment identification number, the date evidence of a potential leak was found in accordance with Section 721.958(a), and the date the leak was detected, must be attached to the leaking equipment.

2) The identification on equipment, except on a valve, may be removed after it has been repaired.

3) The identification on a valve may be removed after it has been monitored for two successive months as specified in Section 721.957(c) and no leak has been detected during those two months.

d) When each leak is detected, as specified in Sections 721.952, 721.953, 721.957, and 721.958, the following information must be recorded in an inspection log and must be kept at the facility:

1) The instrument and operator identification numbers and the equipment identification number.

2) The date evidence of a potential leak was found in accordance with Section 721.958(a).

3) The date the leak was detected and the dates of each attempt to repair the leak.

4) Repair methods applied in each attempt to repair the leak.

5) “Above 10,000” if the maximum instrument reading measured by the methods specified in Section 721.963(b) after each repair attempt is equal to or greater than 10,000 ppm.

6) “Repair delayed” and the reason for the delay if a leak is not repaired within 15 calendar days after discovery of the leak.

7) Documentation supporting the delay of repair of a valve in compliance with Section 721.959(c).

8) The signature of the remanufacturer or other person that stores or treats the hazardous secondary material (or designate) whose decision it was that repair could not be effected without a hazardous secondary material management unit shutdown.

9) The expected date of successful repair of the leak if a leak is not repaired within 15 calendar days.

10) The date of successful repair of the leak.

e) Design documentation and monitoring, operating, and inspection information for each closed-vent system and control device required to comply with the provisions of Section 721.960 must be recorded and kept up-to-date at the facility, as specified in Section 721.935(c). Design documentation is specified in Section 721.935(c)(1) and (c)(2) and monitoring, operating, and inspection information in Section 721.935(c)(3) through (c)(8).

f) For a control device other than a thermal vapor incinerator, catalytic vapor incinerator, flare, boiler, process heater, condenser, or carbon adsorption system, the Agency must specify in writing the appropriate recordkeeping requirements.

g) The following information pertaining to all equipment subject to the requirements in Sections 721.952 through 721.960 must be recorded in a log that is kept at the facility:

1) A list of identification numbers for equipment (except welded fittings) subject to the requirements of this Subpart BB.

2) List of Equipment.

A) A list of identification numbers for equipment that the remanufacturer or other person that stores or treats the hazardous secondary material elects to designate for no detectable emissions, as indicated by an instrument reading of less than 500 ppm above background, under the provisions of Sections 721.952(e), 721.953(i), and 721.957(f).

B) The designation of this equipment as subject to the requirements of Sections 721.952(e), 721.953(i), or 721.957(f) must be signed by the remanufacturer or other person that stores or treats the hazardous secondary material.

3) A list of equipment identification numbers for pressure relief devices required to comply with Section 721.954(a).

4) Compliance Tests.

A) The dates of each compliance test required in Sections 721.952(e), 721.953(i), 721.954, and 721.957(f).

B) The background level measured during each compliance test.

C) The maximum instrument reading measured at the equipment during each compliance test.

5) A list of identification numbers for equipment in vacuum service.

6) Identification, either by list or location (area or group) of equipment that contains or contacts hazardous secondary material with an organic concentration of at least 10 percent by weight for less than 300 hours per calendar year.

h) The following information pertaining to all valves subject to the requirements of Section 721.957(g) and (h) must be recorded in a log that is kept at the facility:

1) A list of identification numbers for valves that are designated as unsafe to monitor, an explanation for each valve stating why the valve is unsafe to monitor, and the plan for monitoring each valve.

2) A list of identification numbers for valves that are designated as difficult to monitor, an explanation for each valve stating why the valve is difficult to monitor, and the planned schedule for monitoring each valve.

i) The following information must be recorded in a log that is kept at the facility for valves complying with Section 721.962:

1) A schedule of monitoring.

2) The percent of valves found leaking during each monitoring period.

j) The following information must be recorded in a log that is kept at in the facility:

1) Criteria required in Sections 721.952(d)(5)(B) and 721.953(e)(2) and an explanation of the design criteria.

2) Any changes to these criteria and the reasons for the changes.

k) The following information must be recorded in a log that is kept at the facility for use in determining exemptions, as provided in the applicability Section of this Subpart BB and other specific Subparts:

1) An analysis determining the design capacity of the hazardous secondary material management unit.

2) A statement listing the hazardous secondary material influent to and effluent from each hazardous secondary material management unit subject to the requirements in Sections 721.952 through 721.960 and an analysis determining whether these hazardous secondary materials are heavy liquids.

3) An up-to-date analysis and the supporting information and data used to determine whether or not equipment is subject to the requirements in Sections 721.952 through 721.960. The record must include supporting documentation as required by Section 721.963(d)(3) when application of the knowledge of the nature of the hazardous secondary material stream or the process by which it was produced is used. If the remanufacturer or other person that stores or treats the hazardous secondary material takes any action (e.g., changing the process that produced the material) that could result in an increase in the total organic content of the material contained in or contacted by equipment determined not to be subject to the requirements in Sections 721.952 through 721.960, then a new determination is required.

l) Records of the equipment leak information required by subsection (d) and the operating information required by subsection (e) need be kept only three years.

m) The remanufacturer or other person that stores or treats the hazardous secondary material at a facility with equipment that is subject to this Subpart BB and to regulations in 40 CFR 60 (Standards of Performance for New Stationary Sources), 61 (National Emission Standards for Hazardous Air Pollutants), or 63 (National Emission Standards for Hazardous Air Pollutants for Source Categories), incorporated by reference in 35 Ill. Adm. Code 720.111, may elect to determine compliance with this Subpart BB either by documentation pursuant to Section 721.964, or by documentation of compliance with the regulations in 40 CFR 60, 61, or 63 pursuant to the relevant provisions of the regulations in 40 CFR 60, 61, or 63. The documentation of compliance under regulations in 40 CFR 60, 61, or 63 must be kept with or made readily available at the facility.

BOARD NOTE: 415 ILCS 5/9.1(b) and (d) make the federal new source performance standards and national emission standards for hazardous air pollutants directly applicable in Illinois and prohibit operation of an emission source without a permit issued by the Agency. The Agency issues permits that incorporate the federal new source performance standards and national emission standards for hazardous air pollutants pursuant to 415 ILCS 5/39.5.

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

SUBPART CC: AIR EMISSION STANDARDS FOR TANKS AND CONTAINERS

**Section 721.980 Applicability**

The regulations in this Subpart CC apply to tanks and containers that contain hazardous secondary materials excluded under the remanufacturing exclusion at Section 721.104(a)(27), unless the tanks and containers are equipped with and operating air emission controls in accordance with the requirements of an applicable federal Clean Air Act regulations codified in 40 CFR 60 (Standards of Performance for New Stationary Sources), 61 (National Emission Standards for Hazardous Air Pollutants), or 63 (National Emission Standards for Hazardous Air Pollutants for Source Categories), each incorporated by reference in 35 Ill. Adm. Code 720.111.

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section 721.981 Definitions**

As used in this this Subpart CC, all terms not defined in this Section will have the meaning given to them in section 1004 of the federal Resource Conservation and Recovery Act (42 USC 6903), incorporated by reference in 35 Ill. Adm. Code 720.111, and 35 Ill. Adm. Code 720 through 726.

“Average volatile organic concentration” or “average VO concentration” means the mass-weighted average volatile organic concentration of a hazardous secondary material as determined in accordance with the requirements of Section 721.984.

“Closure device” means a cap, hatch, lid, plug, seal, valve, or other type of fitting that blocks an opening in a cover such that when the device is secured in the closed position it prevents or reduces air pollutant emissions to the atmosphere. Closure devices include devices that are detachable from the cover (e.g., a sampling port cap), manually operated (e.g., a hinged access lid or hatch), or automatically operated (e.g., a spring-loaded pressure relief valve).

“Continuous seal” means a seal that forms a continuous closure that completely covers the space between the edge of the floating roof and the wall of a tank. A continuous seal may be a vapor-mounted seal, liquid-mounted seal, or metallic shoe seal. A continuous seal may be constructed of fastened segments so as to form a continuous seal.

“Cover” means a device that provides a continuous barrier over the hazardous secondary material managed in a unit to prevent or reduce air pollutant emissions to the atmosphere. A cover may have openings (such as access hatches, sampling ports, gauge wells) that are necessary for operation, inspection, maintenance, and repair of the unit on which the cover is used. A cover may be a separate piece of equipment that can be detached and removed from the unit or a cover may be formed by structural features permanently integrated into the design of the unit.

“Empty hazardous secondary material container” means any of the following:

A container from which all hazardous secondary materials have been removed that can be removed using the practices commonly employed to remove materials from that type of container (e.g., pouring, pumping, or aspirating), and no more than 2.5 centimeters (one inch) of residue remain on the bottom of the container or inner liner;

A container that is less than or equal to 119 gallons (450 liters) in size and no more than three percent by weight of the total capacity of the container remains in the container or inner liner; or

A container that is greater than 119 (450 liters) gallons in size and no more than 0.3 percent by weight of the total capacity of the container remains in the container or inner liner.

“Enclosure” means a structure that surrounds a tank or container, captures organic vapors emitted from the tank or container, and vents the captured vapors through a closed-vent system to a control device.

“External floating roof” means a pontoon-type or double-deck type cover that rests on the surface of the material managed in a tank with no fixed roof.

“Fixed roof” means a cover that is mounted on a unit in a stationary position and does not move with fluctuations in the level of the material managed in the unit.

“Floating membrane cover” means a cover consisting of a synthetic flexible membrane material that rests upon and is supported by the hazardous secondary material being managed in a surface impoundment.

“Floating roof” means a cover consisting of a double deck, pontoon single deck, or internal floating cover which rests upon and is supported by the material being contained, and is equipped with a continuous seal.

“Hard-piping” means pipe or tubing that is manufactured and properly installed in accordance with relevant standards and good engineering practices.

“In light material service” means the container is used to manage a material for which both of the following conditions apply: The vapor pressure of one or more of the organic constituents in the material is greater than 0.3 kilopascals (kPa) at 20 °C; and the total concentration of the pure organic constituents having a vapor pressure greater than 0.3 kPa at 20 °C is equal to or greater than 20 percent by weight.

“Internal floating roof” means a cover that rests or floats on the material surface (but not necessarily in complete contact with it) inside a tank that has a fixed roof.

“Liquid-mounted seal” means a foam or liquid-filled primary seal mounted in contact with the hazardous secondary material between the tank wall and the floating roof continuously around the circumference of the tank.

“Malfunction” means any sudden, infrequent, and not reasonably preventable failure of air pollution control equipment, process equipment, or a process to operate in a normal or usual manner. Failures that are caused in part by poor maintenance or careless operation are not malfunctions.

“Material determination” means performing all applicable procedures in accordance with the requirements of Section 721.984 to determine whether a hazardous secondary material meets standards specified in this Subpart CC. Examples of a material determination include performing the procedures in accordance with the requirements of Section 721.984 to determine the average VO concentration of a hazardous secondary material at the point of material origination; the average VO concentration of a hazardous secondary material at the point of material treatment and comparing the results to the exit concentration limit specified for the process used to treat the hazardous secondary material; the organic reduction efficiency and the organic biodegradation efficiency for a biological process used to treat a hazardous secondary material and comparing the results to the applicable standards; or the maximum volatile organic vapor pressure for a hazardous secondary material in a tank and comparing the results to the applicable standards.

“Maximum organic vapor pressure” means the sum of the individual organic constituent partial pressures exerted by the material contained in a tank, at the maximum vapor pressure-causing conditions (i.e., temperature, agitation, pH effects of combining materials, etc.) reasonably expected to occur in the tank. For the purpose of this Subpart CC, maximum organic vapor pressure is determined using the procedures specified in Section 721.984(c).

“Metallic shoe seal” means a continuous seal that is constructed of metal sheets which are held vertically against the wall of the tank by springs, weighted levers, or other mechanisms and is connected to the floating roof by braces or other means. A flexible coated fabric (envelope) spans the annular space between the metal sheet and the floating roof.

“No detectable organic emissions” means no escape of organics to the atmosphere as determined using the procedure specified in Section 721.984(d).

“Point of material origination” means as follows:

Where the remanufacturer or other person that stores or treats the hazardous secondary material is the generator of the hazardous secondary material, the point of material origination means the point when a material produced by a system, process, or material management unit is determined to be a hazardous secondary material excluded under Section 721.104(a)(27).

BOARD NOTE: Where the person that stores or treats the hazardous secondary material is the generator of the hazardous secondary material, “point of material origination” is being used in a manner similar to the use of the term “point of generation” in air standards established under authority of the federal Clean Air Act in 40 CFR 60 (Standards of Performance for New Stationary Sources), 61 (National Emission Standards for Hazardous Air Pollutants), and 63 (National Emission Standards for Hazardous Air Pollutants for Source Categories), each incorporated by reference in 35 Ill. Adm. Code 720.111.

Where the remanufacturer or other person that stores or treats the hazardous secondary material is not the generator of the hazardous secondary material, point of material origination means the point when the remanufacturer or other person that stores or treats the hazardous secondary material accepts delivery or takes possession of the hazardous secondary material.

“Safety device” means a closure device such as a pressure relief valve, frangible disc, fusible plug, or any other type of device that functions exclusively to prevent physical damage or permanent deformation to a unit or its air emission control equipment by venting gases or vapors directly to the atmosphere during unsafe conditions resulting from an unplanned, accidental, or emergency event. For the purpose of this Subpart CC, a safety device is not used for routine venting of gases or vapors from the vapor headspace underneath a cover such as during filling of the unit or to adjust the pressure in this vapor headspace in response to normal daily diurnal ambient temperature fluctuations. A safety device is designed to remain in a closed position during normal operations and open only when the internal pressure, or another relevant parameter, exceeds the device threshold setting applicable to the air emission control equipment as determined by the remanufacturer or other person that stores or treats the hazardous secondary material based on manufacturer recommendations, applicable regulations, fire protection and prevention codes, standard engineering codes and practices, or other requirements for the safe handling of flammable, ignitable, explosive, reactive, or hazardous materials.

“Single-seal system” means a floating roof having one continuous seal. This seal may be vapor-mounted, liquid-mounted, or a metallic shoe seal.

“Vapor-mounted seal” means a continuous seal that is mounted such that there is a vapor space between the hazardous secondary material in the unit and the bottom of the seal.

“Volatile organic concentration” or “VO concentration” means the fraction by weight of the volatile organic compounds contained in a hazardous secondary material expressed in terms of parts per million (ppmw) as determined by direct measurement or by knowledge of the material in accordance with the requirements of Section 721.984. For the purpose of determining the VO concentration of a hazardous secondary material, organic compounds with a Henry’s law constant value of at least 0.1 mole-fraction-in-the-gas-phase/mole-fraction-in-the-liquid-phase (0.1 Y/X) (which can also be expressed as 1.8 × 10‑6 atmospheres/gram-mole/m3) at 25 ºC must be included.

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section 721.982 Standards: General**

a) This Section applies to the management of hazardous secondary material in tanks and containers subject to this Subpart CC.

b) The remanufacturer or other person that stores or treats the hazardous secondary material must control air pollutant emissions from each hazardous secondary material management unit in accordance with standards specified in Sections 721.984 through 721.987, as applicable to the hazardous secondary material management unit, except as provided for in subsection (c).

c) A tank or container is exempt from standards specified in Sections 721.984 through 721.987, as applicable, provided that the hazardous secondary material management unit is a tank or container for which all hazardous secondary material entering the unit has an average VO concentration at the point of material origination of less than 500 parts per million by weight (ppmw). The average VO concentration must be determined using the procedures specified in Section 721.983(a). The remanufacturer or other person that stores or treats the hazardous secondary material must review and update, as necessary, this determination at least once every 12 months following the date of the initial determination for the hazardous secondary material streams entering the unit.

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section** **721.983 Material Determination Procedures**

a) Procedure to Determine Average Volatile Organic (VO) Concentration

1) Determining average VO concentration at the point of material origination. A remanufacturer or other person that stores or treats the hazardous secondary material must determine the average VO concentration at the point of material origination for each hazardous secondary material placed in a hazardous secondary material management unit exempted under the provisions of Section 721.982(c) from using air emission controls in compliance with standards specified in Sections 721.984 through 721.987, as applicable to the hazardous secondary material management unit.

A) An initial determination of the average VO concentration of the material stream must be made before the first time any portion of the material in the hazardous secondary material stream is placed in a hazardous secondary material management unit exempted under the provisions of Section 721.982(c) from using air emission controls, and thereafter an initial determination of the average VO concentration of the material stream must be made for each averaging period that a hazardous secondary material is managed in the unit; and

B) Perform a new material determination whenever changes to the source generating the material stream are reasonably likely to cause the average VO concentration of the hazardous secondary material to increase to a level that is equal to or greater than the applicable VO concentration limits specified in Section 721.982.

2) Determining average VO concentration using direct measurement or knowledge. For a material determination that is required by subsection (a)(1), the average VO concentration of a hazardous secondary material at the point of material origination must be determined using either direct measurement, as specified in subsection (a)(3), or by knowledge of the hazardous secondary material, as specified in subsection (a)(4).

3) Direct measurement to determine average VO concentration of a hazardous secondary material at the point of material origination, as follows:

A) Identification. The remanufacturer or other person that stores or treats the hazardous secondary material must identify and record in a log that is kept at the facility the point of material origination for the hazardous secondary material.

B) Sampling. Samples of the hazardous secondary material stream must be collected at the point of material origination in a manner so that volatilization of organics contained in the material and in the subsequent sample is minimized and an adequately representative sample is collected and maintained for analysis by the selected method.

i) The averaging period to be used for determining the average VO concentration for the hazardous secondary material stream on a mass-weighted average basis must be designated and recorded. The averaging period can represent any time interval that the remanufacturer or other person that stores or treats the hazardous secondary material determines is appropriate for the hazardous secondary material stream but must not exceed one year.

ii) Enough samples, but at least four, must be collected and analyzed for a hazardous secondary material determination. The samples for a given material determination must be collected within a one-hour period. The average of the four or more sample results constitutes a material determination for the material stream. One or more material determinations may be required to represent the complete range of material compositions and quantities that occur during the entire averaging period due to normal variations in the operating conditions for the source or process generating the hazardous secondary material stream. Examples of these normal variations are seasonal variations in material quantity or fluctuations in ambient temperature.

iii) All samples must be collected and handled according to written procedures prepared by the remanufacturer or other person that stores or treats the hazardous secondary material and documented in a site sampling plan. This plan must describe the procedure by which representative samples of the hazardous secondary material stream are collected so that a minimum loss of organics occurs throughout the sample collection and handling process, and by which sample integrity is maintained. A copy of the written sampling plan must be maintained at the facility. An example of acceptable sample collection and handling procedures for a total volatile organic constituent concentration may be found in Reference Method 25D (Determination of the Volatile Organic Concentration of Waste Samples) in appendix A to 40 CFR 60 (Test Methods), incorporated by reference in 35 Ill. Adm. Code 720.111.

iv) Sufficient information, as specified in the “site sampling plan” required under subsection (a)(3)(B)(iii), must be prepared and recorded to document the material quantity represented by the samples and, as applicable, the operating conditions for the source or process generating the hazardous secondary material represented by the samples.

C) Analysis. Each collected sample must be prepared and analyzed according to Reference Method 25D (Determination of the Volatile Organic Concentration of Waste Samples) in appendix A to 40 CFR 60 (Test Methods), incorporated by reference in 35 Ill. Adm. Code 720.111, for the total concentration of volatile organic constituents, or using one or more methods when the individual organic compound concentrations are identified and summed and the summed material concentration accounts for and reflects all organic compounds in the material with Henry’s law constant values at least 0.1 mole-fraction-in-the-gas-phase/mole-fraction-in-the-liquid-phase (0.1 Y/X) (which can also be expressed as 1.8 × 10‑6 atmospheres/gram-mole/m3) at 25 ºC. At the discretion of the remanufacturer or other person that stores or treats the hazardous secondary material, the test data obtained may be adjusted by any appropriate method to discount any contribution to the total volatile organic concentration that is a result of including a compound with a Henry’s law constant value of less than 0.1 Y/X at 25ºC. To adjust these data, the measured concentration of each individual chemical constituent contained in the material is multiplied by the appropriate constituent-specific adjustment factor (fm25D). If the remanufacturer or other person that stores or treats the hazardous secondary material elects to adjust the test data, the adjustment must be made to all individual chemical constituents with a Henry’s law constant value greater than or equal to 0.1 Y/X at 25ºC contained in the material. To adjust these data, the measured concentration of each individual chemical constituent contained in the waste is multiplied by the constituent-specific adjustment factors (fm25D) approved in writing by the Agency. Other test methods may be used if they meet the requirements in subsection (a)(3)(C)(i) or (a)(3)(C)(ii) and provided the requirement to reflect all organic compounds in the material with Henry’s law constant values greater than or equal to 0.1 Y/X (which can also be expressed as 1.8 × 10‑6 atmospheres/gram-mole/m3) at 25 ºC, is met.

i) Any USEPA standard method that has been validated in compliance with appendix D to 40 CFR 63 (Alternative Validation Procedure for EPA Waste and Wastewater Methods), incorporated by reference in 35 Ill. Adm. Code 720.111.

ii) Any other analysis method that has been validated in according to the procedures specified in Section 5.1 or Section 5.3, and the corresponding calculations in Section 6.1 or Section 6.3, of Method 301 (Field Validation of Pollutant Measurement Methods from Various Waste Media) in appendix A to 40 CFR 63 (Test Methods), incorporated by reference in 35 Ill. Adm. Code 720.111. The data are acceptable if they meet the criteria specified in Section 6.1.5 or Section 6.3.3 of Method 301. If correction is required under section 6.3.3 of Method 301, the data are acceptable if the correction factor is within the range 0.7 to 1.30. Other sections of Method 301 are not required.

D) Calculations

i) The average VO concentration () on a mass-weighted basis must be calculated by using the results for all material determinations conducted in compliance with subsections (a)(3)(B) and (a)(3)(C) and the following equation:

Where:

 = Average VO concentration of the hazardous secondary material at the point of material origination on a mass-weighted basis, ppmw

i = Individual material determination “i” of the hazardous secondary material

n = Total number of material determinations of the hazardous secondary material conducted for the averaging period (not to exceed one year)

Qi = Mass quantity of hazardous secondary material stream represented by Ci, kg/hr

QT = Total mass quantity of hazardous secondary material during the averaging period, kg/hr

Ci = Measured VO concentration of material determination “i” as determined in compliance with subsection (a)(3)(C) (i.e., the average of the four or more samples specified in subsection (a)(3)(B)(ii)), ppmw

ii) For determining Ci, for individual material samples analyzed in compliance with subsection (a)(3)(C), the remanufacturer or other person that stores or treats the hazardous secondary material must account for VO concentrations determined to be below the detection limit of the analytical method by using the VO concentration that is one-half the blank value determined in the method at section 4.4 of Reference Method 25D, if Reference Method 25D is used for the analysis; or that is one-half the sum of the limits of detection established for each organic constituent in the material that has a Henry’s law constant values at least 0.1 mole-fraction-in-the-gas-phase/mole-fraction-in-the-liquid-phase (0.1 Y/X) (which can also be expressed as 1.8 × 10‑6 atmospheres/gram-mole/m3) at 25ºC, if any other analytical method is used.

4) Use of knowledge by the remanufacturer or other person that stores or treats the hazardous secondary material to determine average VO concentration of a hazardous secondary material at the point of material origination.

A) Documentation must be prepared that presents the information used as the basis for the knowledge by the remanufacturer or other person that stores or treats the hazardous secondary material of the hazardous secondary material stream’s average VO concentration. Examples of information that may be used as the basis for knowledge include material balances for the source or process generating the hazardous secondary material stream; constituent-specific chemical test data for the hazardous secondary material stream from previous testing that are still applicable to the current material stream; previous test data for other locations managing the same type of material stream; or other knowledge based on information included in shipping papers or material certification notices.

B) If test data are used as the basis for knowledge, then the remanufacturer or other person that stores or treats the hazardous secondary material must document the test method, sampling protocol, and the means by which sampling variability and analytical variability are accounted for in determining the average VO concentration. For example, a remanufacturer or other person that stores or treats the hazardous secondary material may use organic concentration test data for the hazardous secondary material stream that are validated according to Method 301 (Field Validation of Pollutant Measurement Methods from Various Waste Media) in appendix A to 40 CFR 63 (Test Methods) as the basis for knowledge of the material.

C) A remanufacturer or other person that stores or treats the hazardous secondary material using chemical constituent-specific concentration test data as the basis for knowledge of the hazardous secondary material may adjust the test data to the corresponding average VO concentration value that would have been obtained had the material samples been analyzed using Reference Method 25D (Determination of the Volatile Organic Concentration of Waste Samples) in appendix A to 40 CFR 60 (Test Methods), incorporated by reference in 35 Ill. Adm. Code 720.111(b). To adjust these data, the measured concentration for each individual chemical constituent contained in the material is multiplied by the appropriate constituent-specific adjustment factor (fm25D).

D) In the event that the Agency and the remanufacture or other person that stores or treats the hazardous secondary material disagree on a determination of the average VO concentration for a hazardous secondary material stream using knowledge, then the results from a determination of average VO concentration using direct measurement, as specified in subsection (a)(3), must be used to establish compliance with the applicable requirements of this Subpart CC. The Agency may perform or request that the remanufacturer or other person that stores or treats the hazardous secondary material perform this determination using direct measurement. The remanufacturer or other person that stores or treats the hazardous secondary material may choose one or more appropriate methods to analyze each collected sample under subsection (a)(3)(C). The Agency must state any disagreement on determination of the average VO concentration for a hazardous secondary material stream using knowledge in writing to the remanufacturer or other person that stores or treats the hazardous secondary material.

b) This subsection (b) corresponds with 40 CFR 261.1083(b), marked “reserved” by USEPA. This statement maintains structural consistency with the federal regulations.

c) Procedure to Determine the Maximum Organic Vapor Pressure of a Hazardous Secondary Material in a Tank

1) A remanufacturer or other person that stores or treats the hazardous secondary material must determine the maximum organic vapor pressure for each hazardous secondary material placed in a tank using Tank Level 1 controls in compliance with standards specified in Section 721.984(c).

2) A remanufacturer or other person that stores or treats the hazardous secondary material must use either direct measurement as specified in subsection (c)(3) or knowledge of the waste as specified by subsection (c)(4) to determine the maximum organic vapor pressure that is representative of the hazardous secondary material composition stored or treated in the tank.

3) Direct Measurement to Determine the Maximum Organic Vapor Pressure of a Hazardous Secondary Material

A) Sampling. Enough samples must be collected to be representative of the hazardous secondary material contained in the tank. All samples must be collected and handled according to written procedures prepared by the remanufacturer or other person that stores or treats the hazardous secondary material and documented in a site sampling plan. This plan must describe the procedure by which representative samples of the hazardous secondary material are collected so that a minimum loss of organics occurs throughout the sample collection and handling process and by which sample integrity is maintained. A copy of the written sampling plan must be maintained at the facility. An example of acceptable sample collection and handling procedures may be found in Reference Method 25D (Determination of the Volatile Organic Concentration of Waste Samples) in appendix A to 40 CFR 60 (Test Methods), incorporated by reference in 35 Ill. Adm. Code 720.111(b).

B) Analysis. Any appropriate one of the following methods may be used to analyze the samples and compute the maximum organic vapor pressure of the hazardous secondary material:

i) Reference Method 25E (Determination of Vapor Phase Organic Concentration in Waste Samples) in appendix A to 40 CFR 60 (Test Methods), incorporated by reference in 35 Ill. Adm. Code 720.111(b);

ii) Methods described in American Petroleum Institute Publication 2517, Third Edition, February 1989, “Evaporative Loss from External Floating-Roof Tanks”, incorporated by reference in 35 Ill. Adm. Code 720.111;

iii) Methods obtained from standard reference texts;

iv) ASTM Method 2879–92, incorporated by reference in 35 Ill. Adm. Code 720.111; and

v) Any other method approved in writing by the Agency.

4) Use of Knowledge to Determine the Maximum Organic Vapor Pressure of the Hazardous Secondary Material. Documentation must be prepared and recorded that presents the information used as the basis for the knowledge by the remanufacturer or other person that stores or treats the hazardous secondary material that the maximum organic vapor pressure of the hazardous secondary material is less than the maximum vapor pressure limit listed in Section 721.984(b)(1)(A) for the applicable tank design capacity category. An example of information that may be used is documentation that the hazardous secondary material is generated by a process for which at other locations it previously has been determined by direct measurement that the hazardous secondary material’s waste maximum organic vapor pressure is less than the maximum vapor pressure limit for the appropriate tank design capacity category.

d) Procedure for Determining No Detectable Organic Emissions for the Purpose of Complying with this Subpart CC

1) The test must be conducted according to the procedures specified in Reference Method 21 (Determination of Volatile Organic Compound Leaks) in appendix A to 40 CFR 60 (Test Methods), incorporated by reference in 35 Ill. Adm. Code 720.111. Each potential leak interface (i.e., a location if organic vapor leakage could occur) on the cover and associated closure devices must be checked. Potential leak interfaces that are associated with covers and closure devices include the interface of the cover and its foundation mounting, the periphery of any opening on the cover and its associated closure device, and the sealing seat interface on a spring-loaded pressure relief valve.

2) The test must be performed when the unit contains a hazardous secondary material having an organic concentration representative of the range of concentrations for the hazardous secondary material expected to be managed in the unit. During the test, the cover and closure devices must be secured in the closed position.

3) The detection instrument must meet the performance criteria of Reference Method 21, except the instrument response factor criteria in section 3.1.2(a) of Reference Method 21, must be for the average composition of the organic constituents in the hazardous secondary material placed in the hazardous secondary management unit, not for each individual organic constituent.

4) The detection instrument must be calibrated before use on each day of its use by the procedures specified in Reference Method 21.

5) Calibration gases must be as follows:

A) Zero air (less than 10 ppmv hydrocarbon in air); and

B) A mixture of methane or n-hexane and air at a concentration of approximately, but less than, 10,000 ppmv methane or n-hexane.

6) The background level must be determined according to the procedures in Reference Method 21.

7) Each potential leak interface must be checked by traversing the instrument probe around the potential leak interface as close to the interface as possible, as described in Reference Method 21. If the configuration of the cover or closure device prevents a complete traverse of the interface, all accessible portions of the interface must be sampled. If the configuration of the closure device prevents any sampling at the interface and the device is equipped with an enclosed extension or horn (e.g., some pressure relief devices), the instrument probe inlet must be placed at approximately the center of the exhaust area to the atmosphere.

8) The arithmetic difference between the maximum organic concentration indicated by the instrument and the background level must be compared with the value of 500 ppmv except when monitoring a seal around a rotating shaft that passes through a cover opening, in which case the comparison must be as specified in subsection (d)(9). If the difference is less than 500 ppmv, then the potential leak interface is determined to operate with no detectable organic emissions.

9) For the seals around a rotating shaft that passes through a cover opening, the arithmetic difference between the maximum organic concentration indicated by the instrument and the background level must be compared with the value of 10,000 ppmw. If the difference is less than 10,000 ppmw, then the potential leak interface is determined to operate with no detectable organic emissions.

(Source: Amended at 48 Ill. Reg. 16813, effective November 22, 2024)

**Section** **721.984 Standards: Tanks**

a) The provisions of this Section apply to the control of air pollutant emissions from tanks for which Section 721.982(b) references the use of this Section for air emission control.

b) The remanufacturer or other person that stores or treats the hazardous secondary material must control air pollutant emissions from each tank subject to this Section in compliance with the following requirements, as applicable:

1) For a tank that manages hazardous secondary material that meets the conditions specified in subsections (b)(1)(A) through (b)(1)(C), the remanufacturer or other person that stores or treats the hazardous secondary material must control air pollutant emissions from the tank in compliance with the Tank Level 1 controls specified in subsection (c) or the Tank Level 2 controls specified in subsection (d).

A) The hazardous secondary material in the tank has a maximum organic vapor pressure that is less than the maximum organic vapor pressure limit for the tank’s design capacity category, as follows:

i) For a tank design capacity equal to or greater than 151 m3, the maximum organic vapor pressure limit for the tank is 5.2 kPa.

ii) For a tank design capacity equal to or greater than 75 m3 but less than 151 m3, the maximum organic vapor pressure limit for the tank is 27.6 kPa.

iii) For a tank design capacity less than 75 m3, the maximum organic vapor pressure limit for the tank is 76.6 kPa.

B) The hazardous secondary material in the tank is not heated by the remanufacturer or other person that stores or treats the hazardous secondary material to a temperature that is greater than the temperature at which the maximum organic vapor pressure of the hazardous secondary material is determined for complying with subsection (b)(1)(A).

2) For a tank that manages hazardous secondary material that does not meet the conditions specified in subsections (b)(1)(A) through (b)(1)(C), the remanufacturer or other person that stores or treats the hazardous secondary material must control air pollutant emissions from the tank by using Tank Level 2 controls in compliance with subsection (d). An example of tanks required to use Tank Level 2 controls is a tank for which the hazardous secondary material in the tank has a maximum organic vapor pressure that is equal to or greater than the maximum organic vapor pressure limit for the tank’s design capacity category, as specified in subsection (b)(1)(A).

c) A remanufacturer or other person that stores or treats the hazardous secondary material controlling air pollutant emissions from a tank using Tank Level 1 controls must meet the requirements specified in subsections (c)(1) through (c)(4):

1) The remanufacturer or other person that stores or treats that hazardous secondary material must determine the maximum organic vapor pressure for a hazardous secondary material to be managed in the tank using Tank Level 1 controls before the first time the hazardous secondary material is placed in the tank. The maximum organic vapor pressure must be determined using the procedures specified in Section 721.983(c). Thereafter, the remanufacturer or other person that stores or treats the hazardous secondary material must perform a new determination whenever changes to the hazardous secondary material managed in the tank could potentially cause the maximum organic vapor pressure to increase to a level that is equal to or greater than the maximum organic vapor pressure limit for the tank design capacity category specified in subsection (b)(1)(A), as applicable to the tank.

2) The tank must be equipped with a fixed roof designed to meet the following specifications:

A) The fixed roof and its closure devices must be designed to form a continuous barrier over the entire surface area of the hazardous secondary material in the tank. The fixed roof may be a separate cover installed on the tank (e.g., a removable cover mounted on an open-top tank) or may be an integral part of the tank structural design (e.g., a horizontal cylindrical tank equipped with a hatch).

B) The fixed roof must be installed in a manner so that there are no visible cracks, holes, gaps, or other open spaces between roof section joints or between the interface of the roof edge and the tank wall.

C) Each opening in the fixed roof, and any manifold system associated with the fixed roof, must meet either of the following requirements:

i) It must be equipped with a closure device designed to operate so that when the closure device is secured in the closed position there are no visible cracks, holes, gaps, or other open spaces in the closure device or between the perimeter of the opening and the closure device; or

ii) It must be connected by a closed-vent system that is vented to a control device. The control device must remove or destroy organics in the vent stream and must be operating whenever hazardous secondary material is managed in the tank, except as provided in this subsection (c)(2)(C)(ii). During any period of routine inspection, maintenance, or other activities needed for normal operations, and for removal of accumulated sludge or other residues from the bottom of the tank. During any period when it is necessary to provide access to the tank for performing the foregoing activities, venting of the vapor headspace underneath the fixed roof to the control device is not required, opening of closure devices is allowed, and removal of the fixed roof is allowed. After completing the activity, the remanufacturer or other person that stores or treats the hazardous secondary material must promptly secure the closure device in the closed position or reinstall the cover, as applicable, and resume operating the control device.

BOARD NOTE: This subsection (c)(2)(C)(ii) corresponds with 40 CFR 261.1083(c)(2)(iii)(B). The Board combined the texts of 40 CFR 261.1083(c)(2)(iii)(B)(*1*) and (c)(2)(iii)(B)(*2*) into this single subsection to comport with codification requirements.

D) The fixed roof and its closure devices must be made of suitable materials that will minimize exposure of the hazardous secondary material to the atmosphere, to the extent practical, and will maintain the integrity of the fixed roof and closure devices throughout their intended service life. Factors to be considered when selecting the materials for and designing the fixed roof and closure devices must include the organic vapor permeability; the effects of any contact with the hazardous secondary material or its vapors managed in the tank; the effects of outdoor exposure to wind, moisture, and sunlight; and the operating practices used for the tank on which the fixed roof is installed.

3) Whenever a hazardous secondary material is in the tank, the fixed roof must be installed with each closure device secured in the closed position, except as follows:

A) Opening of closure devices or removal of the fixed roof is allowed at the following times:

i) To provide access to the tank for performing routine inspection, maintenance, or other activities needed for normal operations. Examples of these activities include those times when a worker needs to open a port to sample the liquid in the tank, or when a worker needs to open a hatch to maintain or repair equipment. After completing the activity, the remanufacturer or other person that stores or treats the hazardous secondary material must promptly secure the closure device in the closed position or reinstall the cover, as applicable, to the tank.

ii) To remove accumulated sludge or other residues from the bottom of tank.

B) Opening of a spring-loaded pressure-vacuum relief valve, conservation vent, or similar type of pressure relief device that vents to the atmosphere is allowed during normal operations for maintaining the tank internal pressure in compliance with the tank design specifications. The device must be designed to operate with no detectable organic emissions when the device is secured in the closed position. The settings at which the device opens must be established so that the device remains in the closed position whenever the tank internal pressure is within the internal pressure operating range determined by the remanufacturer or other person that stores or treats the hazardous secondary material based on the tank manufacturer recommendations, applicable regulations, fire protection and prevention codes, standard engineering codes and practices, or other requirements for the safe handling of flammable, ignitable, explosive, reactive, or hazardous materials. Examples of normal operating conditions that may require these devices to open are during those times when the tank internal pressure exceeds the internal pressure operating range for the tank because of loading operations or diurnal ambient temperature fluctuations.

C) Opening of a safety device, as defined in Section 721.981, is allowed at any time conditions require doing so to avoid an unsafe condition.

4) The remanufacturer or other person that stores or treats the hazardous secondary material must inspect the air emission control equipment in according to the following requirements.

A) The fixed roof and its closure devices must be visually inspected by the remanufacturer or other person that stores or treats the hazardous secondary material to check for defects that could result in air pollutant emissions. Defects include visible cracks, holes, or gaps in the roof sections or between the roof and the tank wall; broken, cracked, or otherwise damaged seals or gaskets on closure devices; and broken or missing hatches, access covers, caps, or other closure devices.

B) The remanufacturer or other person that stores or treats the hazardous secondary material must perform an initial inspection of the fixed roof and its closure devices on or before the date that the tank becomes subject to this section. Thereafter, the remanufacturer or other person that stores or treats the hazardous secondary material must perform the inspections at least once every year except under the special conditions provided for in subsection (l).

C) If a defect is detected, the remanufacturer or other person that stores or treats the hazardous secondary material must repair the defect in compliance with subsection (k).

D) The remanufacturer or other person that stores or treats the hazardous secondary material must maintain a record of the inspection in compliance with the requirements specified in Section 721.989(b).

d) Remanufacturers or other persons that store or treat the hazardous secondary material controlling air pollutant emissions from a tank using Tank Level 2 controls must use one of the following tanks:

1) A fixed-roof tank equipped with an internal floating roof in compliance with subsection (e);

2) A tank equipped with an external floating roof in compliance with subsection (f);

3) A tank vented through a closed-vent system to a control device in compliance with subsection (g);

4) A pressure tank designed and operated in compliance with subsection (h); or

5) A tank located inside an enclosure that is vented through a closed-vent system to an enclosed combustion control device in compliance with subsection (i).

e) The remanufacturer or other person that stores or treats the hazardous secondary material that controls air pollutant emissions from a tank using a fixed roof with an internal floating roof must meet the requirements specified in subsections (e)(1) through (e)(3).

1) The tank must be equipped with a fixed roof and an internal floating roof in compliance with the following requirements:

A) The internal floating roof must be designed to float on the liquid surface except when the floating roof must be supported by the leg supports.

B) The internal floating roof must be equipped with a continuous seal between the wall of the tank and the floating roof edge that meets either of the following requirements:

i) A single continuous seal that is either a liquid-mounted seal or a metallic shoe seal, as defined in Section 721.981; or

ii) Two continuous seals mounted one above the other. The lower seal may be a vapor-mounted seal.

C) The internal floating roof must meet the following specifications:

i) Each opening in a noncontact internal floating roof except for automatic bleeder vents (vacuum breaker vents) and the rim space vents is to provide a projection below the liquid surface.

ii) Each opening in the internal floating roof must be equipped with a gasketed cover or a gasketed lid except for leg sleeves, automatic bleeder vents, rim space vents, column wells, ladder wells, sample wells, and stub drains.

iii) Each penetration of the internal floating roof for sampling must have a slit fabric cover that covers at least 90 percent of the opening.

iv) Each automatic bleeder vent and rim space vent must be gasketed.

v) Each penetration of the internal floating roof that allows for passage of a ladder must have a gasketed sliding cover.

vi) Each penetration of the internal floating roof that allows for passage of a column supporting the fixed roof must have a flexible fabric sleeve seal or a gasketed sliding cover.

2) The remanufacturer or other person that stores or treats the hazardous secondary material must operate the tank in compliance with the following requirements:

A) When the floating roof is resting on the leg supports, the process of filling, emptying, or refilling must be continuous and must be completed as soon as practical.

B) Automatic bleeder vents are always to be set closed when the roof is floating, except when the roof is being floated off or is being landed on the leg supports.

C) Prior to filling the tank, each cover, access hatch, gauge float well or lid on any opening in the internal floating roof must be bolted or fastened closed (i.e., no visible gaps). Rim space vents are to be set to open only when the internal floating roof is not floating or when the pressure beneath the rim exceeds the manufacturer’s recommended setting.

3) The remanufacturer or other person that stores or treats the hazardous secondary material must inspect the internal floating roof in according to the following procedures:

A) The floating roof and its closure devices must be visually inspected by the remanufacturer or other person that stores or treats the hazardous secondary material to check for defects that could result in air pollutant emissions. Defects include the internal floating roof is not floating on the surface of the liquid inside the tank; liquid has accumulated on top of the internal floating roof; any portion of the roof seals have detached from the roof rim; holes, tears, or other openings are visible in the seal fabric; the gaskets no longer close off the hazardous secondary material surface from the atmosphere; or the slotted membrane has more than 10 percent open area.

B) The remanufacturer or other person that stores or treats the hazardous secondary material must inspect the internal floating roof components as follows, except as provided in subsection (e)(3)(C):

i) It must visually inspect the internal floating roof components through openings on the fixed roof (e.g., manholes and roof hatches) at least once every 12 months after initial fill; and

ii) It must visually inspect the internal floating roof, primary seal, secondary seal (if one is in service), gaskets, slotted membranes, and sleeve seals (if any) each time the tank is emptied and degassed and at least every 10 years.

C) As an alternative to performing the inspections specified in subsection (e)(3)(B), for an internal floating roof equipped with two continuous seals mounted one above the other, the remanufacturer or other person that stores or treats the hazardous secondary material must visually inspect the internal floating roof, primary and secondary seals, gaskets, slotted membranes, and sleeve seals (if any) each time the tank is emptied and degassed and at least every five years.

D) Prior to each inspection required by subsection (e)(3)(B) or (e)(3)(C), the remanufacturer or other person that stores or treats the hazardous secondary material must notify the Agency in advance of each inspection to provide the Agency with the opportunity to have an observer present during the inspection. The remanufacturer or other person that stores or treats the hazardous secondary material must notify the Agency of the date and location of the inspection as follows:

i) Prior to each visual inspection of an internal floating roof in a tank that has been emptied and degassed, written notification must be prepared and sent by the remanufacturer or other person that stores or treats the hazardous secondary material so that it is received by the Agency at least 30 calendar days before refilling the tank, except when an inspection is not planned as provided for in subsection (e)(3)(D)(ii).

ii) When a visual inspection is not planned and the remanufacturer or other person that stores or treats the hazardous secondary material could not have known about the inspection 30 calendar days before refilling the tank, the remanufacturer or other person that stores or treats the hazardous secondary material must notify the Agency as soon as possible, but no later than seven calendar days before refilling of the tank. This notification may be made by telephone and immediately followed by a written explanation for why the inspection is unplanned. Alternatively, written notification, including the explanation for the unplanned inspection, may be sent so that it is received by the Agency at least seven calendar days before refilling the tank.

E) In the event that a defect is detected, the remanufacturer or other person that stores or treats the hazardous secondary material must repair the defect in compliance with subsection (k).

F) The remanufacturer or other person that stores or treats the hazardous secondary material must maintain a record of the inspection in compliance with the requirements specified in Section 721.989(b).

4) Safety devices, as defined in Section 721.981, may be installed and operated as necessary on any tank complying with subsection (e).

f) The remanufacturer or other person that stores or treats the hazardous secondary material that controls air pollutant emissions from a tank using an external floating roof must meet the requirements specified in subsections (f)(1) through (f)(3).

1) The remanufacturer or other person that stores or treats the hazardous secondary material must design the external floating roof as follows:

A) The external floating roof must be designed to float on the liquid surface except when the floating roof must be supported by the leg supports.

B) The floating roof must be equipped with two continuous seals, one above the other, between the wall of the tank and the roof edge. The lower seal is referred to as the primary seal, and the upper seal is referred to as the secondary seal.

i) The primary seal must be a liquid-mounted seal or a metallic shoe seal, as defined in 35 Ill. Adm. Code 721.981. The total area of the gaps between the tank wall and the primary seal must not exceed 212 square centimeters (cm2) per meter of tank diameter, and the width of any portion of these gaps must not exceed 3.8 centimeters (cm). If a metallic shoe seal is used for the primary seal, the metallic shoe seal must be designed so that one end extends into the liquid in the tank and the other end extends a vertical distance of at least 61 cm above the liquid surface.

ii) The secondary seal must be mounted above the primary seal and cover the annular space between the floating roof and the wall of the tank. The total area of the gaps between the tank wall and the secondary seal must not exceed 21.2 cm2 per meter of tank diameter, and the width of any portion of these gaps must not exceed 1.3 cm.

C) The external floating roof must meet the following specifications:

i) Except for automatic bleeder vents (vacuum breaker vents) and rim space vents, each opening in a noncontact external floating roof must provide a projection below the liquid surface.

ii) Except for automatic bleeder vents, rim space vents, roof drains, and leg sleeves, each opening in the roof must be equipped with a gasketed cover, seal, or lid.

iii) Each access hatch and each gauge float well must be equipped with a cover designed to be bolted or fastened when the cover is secured in the closed position.

iv) Each automatic bleeder vent and each rim space vent must be equipped with a gasket.

v) Each roof drain that empties into the liquid managed in the tank must be equipped with a slotted membrane fabric cover that covers at least 90 percent of the area of the opening.

vi) Each unslotted and slotted guide pole well must be equipped with a gasketed sliding cover or a flexible fabric sleeve seal.

vii) Each unslotted guide pole must be equipped with a gasketed cap on the end of the pole.

viii) Each slotted guide pole must be equipped with a gasketed float or other device that closes off the liquid surface from the atmosphere.

ix) Each gauge hatch and each sample well must be equipped with a gasketed cover.

2) The remanufacturer or other person that stores or treats the hazardous secondary material must operate the tank in compliance with the following requirements:

A) When the floating roof is resting on the leg supports, the process of filling, emptying, or refilling must be continuous and must be completed as soon as practical.

B) Except for automatic bleeder vents, rim space vents, roof drains, and leg sleeves, each opening in the roof must be secured and maintained in a closed position at all times except when the closure device must be open for access.

C) Covers on each access hatch and each gauge float well must be bolted or fastened when secured in the closed position.

D) Automatic bleeder vents must be set closed always when the roof is floating, except when the roof is being floated off or is being landed on the leg supports.

E) Rim space vents must be set to open only at those times that the roof is being floated off the roof leg supports or when the pressure beneath the rim seal exceeds the manufacturer’s recommended setting.

F) The cap on the end of each unslotted guide pole must be secured in the closed position always except when measuring the level or collecting samples of the liquid in the tank.

G) The cover on each gauge hatch or sample well must be secured in the closed position always except when the hatch or well must be opened for access.

H) Both the primary seal and the secondary seal must completely cover the annular space between the external floating roof and the wall of the tank in a continuous fashion except during inspections.

3) The remanufacturer or other person that stores or treats the hazardous secondary material must inspect the external floating roof according to the following procedures:

A) The remanufacturer or other person that stores or treats the hazardous secondary material must measure the external floating roof seal gaps as follows:

i) The remanufacturer or other person that stores or treats the hazardous secondary material must perform measurements of gaps between the tank wall and the primary seal within 60 calendar days after initially operating the tank following installing the floating roof and, thereafter, at least once every five years.

ii) The remanufacturer or other person that stores or treats the hazardous secondary material must perform measurements of gaps between the tank wall and the secondary seal within 60 calendar days after initially operating the tank following installing the floating roof and, thereafter, at least once every year.

iii) If a tank ceases to hold hazardous secondary material for a period of one year or more, subsequently introducing hazardous secondary material into the tank must be considered an initial operation for subsections (f)(3)(A)(i) and (f)(3)(A)(ii).

iv) The remanufacturer or other person that stores or treats the hazardous secondary material must determine the total surface area of gaps in the primary seal and in the secondary seal individually using the procedure described in subsection (f)(3)(D):

BOARD NOTE: The Board moved corresponding 40 CFR 261.1084(f)(3)(i)(D)(*1*) through (f)(3)(i)(D)(*4*) to appear as subsections (f)(3)(D)(i) through (f)(3)(D)(iv) to comport with codification requirements.

v) If the seal gap measurements do not conform to the specifications in subsection (f)(1)(B), the remanufacturer or other person that stores or treats the hazardous secondary material must repair the defect in compliance with subsection (k).

vi) The remanufacturer or other person that stores or treats the hazardous secondary material must maintain a record of the inspection in compliance with the requirements specified in Section 721.989(b).

B) The remanufacturer or other person that stores or treats the hazardous secondary material must visually inspect the external floating roof as follows:

i) The floating roof and its closure devices must be visually inspected by the remanufacturer or other person that stores or treats the hazardous secondary material to check for defects that could result in air pollutant emissions. Defects include holes, tears, or other openings in the rim seal or seal fabric of the floating roof; a rim seal detached from the floating roof; all or a portion of the floating roof deck being submerged below the surface of the liquid in the tank; broken, cracked, or otherwise damaged seals or gaskets on closure devices; and broken or missing hatches, access covers, caps, or other closure devices.

ii) The remanufacturer or other person that stores or treats the hazardous secondary material must perform an initial inspection of the external floating roof and its closure devices on or before the date that the tank becomes subject to this Section. After the initial inspection, the remanufacturer or other person that stores or treats the hazardous secondary material must perform the inspections at least once every year except for the special conditions provided for in subsection (l).

iii) If a defect is detected, the remanufacturer or other person that stores or treats the hazardous secondary material must repair the defect in compliance with subsection (k).

iv) The remanufacturer or other person that stores or treats the hazardous secondary material must maintain a record of the inspection in compliance with the requirements specified in Section 721.989(b).

C) Before each inspection required by subsection (f)(3)(A) or (f)(3)(B), the remanufacturer or other person that stores or treats the hazardous secondary material must notify the Agency in advance of each inspection to provide the Agency with the opportunity to have an observer present during the inspection. The remanufacturer or other person that stores or treats the hazardous secondary material must notify the Agency of the date and location of the inspection as follows:

i) Before each inspection to measure external floating roof seal gaps, as required under subsection (f)(3)(A), written notification must be prepared and sent by the remanufacturer or other person that stores or treats the hazardous secondary material so that it is received by the Agency at least 30 calendar days before the date the measurements are scheduled to be performed.

ii) Before each visual inspection of an external floating roof in a tank that has been emptied and degassed, written notification must be prepared and sent by the remanufacturer or other person that stores or treats the hazardous secondary material so that it is received by the Agency at least 30 calendar days before refilling the tank, except when an inspection is not planned as provided for in subsection (f)(3)(C)(iii).

iii) When a visual inspection is not planned and the remanufacturer or other person that stores or treats the hazardous secondary material could not have known about the inspection 30 calendar days before refilling the tank, the owner or operator must notify the Agency as soon as possible, but no later than seven calendar days before refilling of the tank. This notification may be made by telephone and immediately followed by a written explanation for why the inspection is unplanned. Alternatively, written notification, including the explanation for the unplanned inspection, may be sent so that it is received by the Agency at least seven calendar days before refilling the tank.

D) Procedure for determining the total surface area of gaps in the primary seal and in the secondary seal individually.

i) The seal gap measurements must be performed at one or more floating roof levels when the roof is floating off the roof supports.

ii) Seal gaps, if any, must be measured around the entire perimeter of the floating roof in each place where a 0.32-cm diameter uniform probe passes freely (without forcing or binding against the seal) between the seal and the wall of the tank and measure the circumferential distance of each location.

iii) For a seal gap measured under this subsection (f)(3), the gap surface area must be determined by using probes of various widths to measure accurately the actual distance from the tank wall to the seal and multiplying each width by its respective circumferential distance.

iv) The total gap area must be calculated by adding the gap surface areas determined for each identified gap location for the primary seal and the secondary seal individually, and then dividing the sum for each seal type by the nominal diameter of the tank. These total gap areas for the primary seal and secondary seal are then compared to the respective standards for the seal type as specified in subsection (f)(1)(B).

BOARD NOTE: The texts of corresponding 40 CFR 261.1084(f)(3)(i)(D)(*1*) through (f)(3)(i)(D)(*4*), which would normally appear in subsection (f)(3)(A)(iv), but codification requirements do not allow a fifth level of subsections. Thus, the Board has codified them to appear as subsections (f)(3)(D)(i) through (f)(3)(D)(iv) to comport with codification requirements.

4) Safety devices, as defined in Section 721.981, may be installed and operated as necessary on any tank complying with this subsection (f).

g) The remanufacturer or other person that stores or treats the hazardous secondary material that controls air pollutant emissions from a tank by venting the tank to a control device must meet the following requirements:

1) The tank must be covered by a fixed roof and vented directly through a closed-vent system to a control device in compliance with the following requirements:

A) The fixed roof and its closure devices must be designed to form a continuous barrier over the entire surface area of the liquid in the tank.

B) Each opening in the fixed roof not vented to the control device must be equipped with a closure device. If the pressure in the vapor headspace underneath the fixed roof is less than atmospheric pressure when the control device is operating, the closure devices must be designed to operate so that when the closure device is secured in the closed position there are no visible cracks, holes, gaps, or other open spaces in the closure device or between the perimeter of the cover opening and the closure device. If the pressure in the vapor headspace underneath the fixed roof is equal to or greater than atmospheric pressure when the control device is operating, the closure device must be designed to operate with no detectable organic emissions.

C) The fixed roof and its closure devices must be made of suitable materials that will minimize exposure of the hazardous secondary material to the atmosphere, to the extent practical, and will maintain the integrity of the fixed roof and closure devices throughout their intended service life. Factors to be considered when selecting the materials for and designing the fixed roof and closure devices must include, organic vapor permeability, the effects of any contact with the liquid and its vapor managed in the tank; the effects of outdoor exposure to wind, moisture, and sunlight; and the operating practices used for the tank on which the fixed roof is installed.

D) The closed-vent system and control device must be designed and operated in compliance with the requirements of Section 721.987.

2) Whenever a hazardous secondary material is in the tank, the fixed roof must be installed with each closure device secured in the closed position and the vapor headspace underneath the fixed roof vented to the control device, except as follows:

A) Venting to the control device is not required, and opening of closure devices or removal of the fixed roof is allowed at the following times:

i) To provide access to the tank for performing routine inspection, maintenance, or other activities needed for normal operations. Examples of activities needed for normal operations include those times when a worker needs to open a port to sample liquid in the tank, or when a worker needs to open a hatch to maintain or repair equipment. After completing the activity, the remanufacturer or other person that stores or treats the hazardous secondary material must promptly secure the closure device in the closed position or reinstall the cover, as applicable, to the tank.

ii) To remove accumulated sludge or other residues from the bottom of a tank.

B) Opening of a safety device, as defined in Section 721.981, is allowed at any time conditions require doing so to avoid an unsafe condition.

3) The remanufacturer or other person that stores or treats the hazardous secondary material must inspect and monitor the air emission control equipment according to the following procedures:

A) The fixed roof and its closure devices must be visually inspected by the remanufacturer or other person that stores or treats the hazardous secondary material to check for defects that could result in air pollutant emissions. Defects include visible cracks, holes, or gaps in the roof sections or between the roof and the tank wall; broken, cracked, or otherwise damaged seals or gaskets on closure devices; and broken or missing hatches, access covers, caps, or other closure devices.

B) The closed-vent system and control device must be inspected and monitored by the remanufacturer or other person that stores or treats the hazardous secondary material according to the procedures specified in Section 721.987.

C) The remanufacturer or other person that stores or treats the hazardous secondary material must perform an initial inspection of the air emission control equipment on or before the date that the tank becomes subject to this section. Thereafter, the remanufacturer or other person that stores or treats the hazardous secondary material must perform the inspections at least once every year except for the special conditions provided for in subsection (l).

D) In the event that a defect is detected, the remanufacture or other person that stores or treats the hazardous secondary material must repair the defect in compliance with subsection (k).

E) The remanufacturer or other person that stores or treats the hazardous secondary material must maintain a record of the inspection in compliance with the requirements specified in Section 721.989(b).

h) The remanufacturer or other person that stores or treats the hazardous secondary material that controls air pollutant emissions by using a pressure tank must meet the following requirements:

1) The tank must be designed not to vent to the atmosphere because compression of the vapor headspace in the tank during filling of the tank to its design capacity.

2) All tank openings must be equipped with closure devices designed to operate with no detectable organic emissions as determined using the procedure specified in Section 721.983(d).

3) Whenever a hazardous secondary material is in the tank, the tank must be operated as a closed system that does not vent to the atmosphere, except under either or the following conditions described in subsection (h)(3)(A) or (h)(3)(B).

A) At those times when opening of a safety device, as defined in Section 721.981, is required to avoid an unsafe condition.

B) At those times when purging of inerts from the tank is required and the purge stream is routed to a closed-vent system and control device designed and operated in compliance with of Section 721.987.

i) The remanufacturer or other person that stores or treats the hazardous secondary material that controls air pollutant emissions by using an enclosure vented through a closed-vent system to an enclosed combustion control device must meet the following requirements:

1) The tank must be located inside an enclosure. The enclosure must be designed and operated in according to the criteria for a permanent total enclosure as specified in “Procedure T—Criteria for and Verification of a Permanent or Temporary Total Enclosure” in appendix B to 40 CFR 52.741, incorporated by reference in 35 Ill. Adm. Code 720.111. The enclosure may have permanent or temporary openings to allow worker access; passage of material into or out of the enclosure by conveyor, vehicles, or other mechanical means; entry of permanent mechanical or electrical equipment; or direct airflow into the enclosure. The remanufacturer or other person that stores or treats the hazardous secondary material must perform the verification procedure for the enclosure as specified in Section 5.0 of “Procedure T—Criteria for and Verification of a Permanent or Temporary Total Enclosure” initially when the enclosure is first installed and annually thereafter.

2) The enclosure must be vented through a closed-vent system to an enclosed combustion control device that is designed and operated in compliance with the standards for either a vapor incinerator, boiler, or process heater specified in Section 721.987.

3) Safety devices, as defined in Section 721.981, may be installed and operated as necessary on any enclosure, closed-vent system, or control device used to comply with subsections (i)(1) and (i)(2).

4) The remanufacturer or other person that stores or treats the hazardous secondary material must inspect and monitor the closed-vent system and control device, as specified in Section 721.987.

j) The remanufacturer or other person that stores or treats the hazardous secondary material must transfer hazardous secondary material to a tank subject to this section as follows:

1) Transfer of hazardous secondary material, except as provided in subsection (j)(2), to the tank from another tank subject to this section must be conducted using continuous hard-piping or another closed system that does not allow exposure of the hazardous secondary material to the atmosphere. For complying with this provision, an individual drain system is considered to be a closed system when it complies with subpart RR of 40 CFR 63 (National Emission Standards for Individual Drain Systems), incorporated by reference in 35 Ill. Adm. Code 720.111.

2) Subsection (j)(1) does not apply when transferring a hazardous secondary material to the tank under any of the following conditions:

A) The hazardous secondary material meets the average VO concentration conditions specified in Section 721.982(c) at the point of material origination.

B) The hazardous secondary material has been treated by an organic destruction or removal process to meet the requirements in Section 721.982(c).

C) The hazardous secondary material complies with Section 721.982(c).

k) The remanufacturer or other person that stores or treats the hazardous secondary material must repair each defect detected during an inspection performed under subsection I(4), (e)(3), (f)(3), or (g)(3), as follows:

1) The remanufacturer or other person that stores or treats the hazardous secondary material must make first efforts at repair of the defect no later than five calendar days after detection, and repair must be completed as soon as possible, but within 45 calendar days after detection, except as provided in subsection (k)(2).

2) Repair of a defect may be delayed beyond 45 calendar days if the remanufacturer or other person that stores or treats the hazardous secondary material determines that repair of the defect requires emptying or temporary removal from service of the tank and no alternative tank capacity is available at the site to accept the hazardous secondary material normally managed in the tank. In this case, the remanufacturer or other person that stores or treats the hazardous secondary material must repair the defect the next time the process or unit that is generating the hazardous secondary material managed in the tank stops operation. Repair of the defect must be completed before the process or unit resumes operation.

l) Following the initial inspection and monitoring of the cover as required by the applicable provisions of this Subpart CC, subsequent inspection and monitoring may be performed at intervals longer than one year under the following special conditions:

1) If inspecting or monitoring the cover would expose a worker to dangerous, hazardous, or other unsafe conditions, then the remanufacturer or other person that stores or treats the hazardous secondary material may designate a cover as an “unsafe to inspect and monitor cover” and comply with the following requirements:

A) Prepare a written explanation for the cover stating the reasons why the cover is unsafe to visually inspect or to monitor, if required.

B) Develop and implement a written plan and schedule to inspect and monitor the cover, using the procedures specified in the applicable Section of this Subpart CC, as frequently as practicable during those times when a worker can safely access the cover.

2) If a tank is buried partially or entirely underground, a remanufacturer or other person that stores or treats the hazardous secondary material must inspect and monitor, as required by the applicable provisions of this Section, only those portions of the tank cover and those connections to the tank (e.g., fill ports, access hatches, gauge wells, etc.) that are located on or above the ground surface.

(Source: Amended at 48 Ill. Reg. 16813, effective November 22, 2024)

**Section** **721.986 Standards: Containers**

a) Applicability. The provisions of this Section apply to the control of air pollutant emissions from containers for which Section 721.982(b) references the use of this Section for air emission control.

b) General Requirements

1) The remanufacturer or other person that stores or treats the hazardous secondary material must control air pollutant emissions from each container subject to this Section in accordance with the following requirements, as applicable to the container.

A) For a container having a design capacity greater than 0.1 m3 and less than or equal to 0.46 m3, the remanufacturer or other person that stores or treats the hazardous secondary material must control air pollutant emissions from the container in accordance with the Container Level 1 standards specified in subsection (c).

B) For a container having a design capacity greater than 0.46 m3 that is not in light material service, the remanufacturer or other person that stores or treats the hazardous secondary material must control air pollutant emissions from the container in accordance with the Container Level 1 standards specified in subsection (c).

C) For a container having a design capacity greater than 0.46 m3 that is in light material service, the remanufacturer or other person that stores or treats the hazardous secondary material must control air pollutant emissions from the container in accordance with the Container Level 2 standards specified in subsection (d).

2) This subsection (b)(2) corresponds with 40 CFR 261.1086(b)(2), marked “reserved” by USEPA. This statement maintains structural consistency with the federal regulations

c) Container Level 1 Standards

1) A container using Container Level 1 controls is one of the following:

A) A container that meets the applicable U.S. Department of Transportation (USDOT) regulations on packaging hazardous materials for transportation, as specified in subsection (f).

B) A container equipped with a cover and closure devices that form a continuous barrier over the container openings such that, when the cover and closure devices are secured in the closed position, there are no visible holes, gaps, or other open spaces into the interior of the container. The cover may be a separate cover installed on the container (e.g., a lid on a drum or a suitably secured tarp on a roll-off box) or may be an integral part of the container structural design (e.g., a “portable tank” or bulk cargo container equipped with a screw-type cap).

C) An open-top container in which an organic-vapor suppressing barrier is placed on or over the hazardous secondary material in the container such that no hazardous secondary material is exposed to the atmosphere. One example of such a barrier is application of a suitable organic-vapor suppressing foam.

2) A container used to meet the requirements of subsection (c)(1)(B) or (c)(1)(C) must be equipped with covers and closure devices, as applicable to the container, that are composed of suitable materials to minimize exposure of the hazardous secondary material to the atmosphere and to maintain the equipment integrity, for as long as the container is in service. Factors to be considered in selecting the materials of construction and designing the cover and closure devices must include, organic vapor permeability; the effects of contact with the hazardous secondary material or its vapor managed in the container; the effects of outdoor exposure of the closure device or cover material to wind, moisture, and sunlight; and the operating practices for which the container is intended to be used.

3) Whenever a hazardous secondary material is in a container using Container Level 1 controls, the remanufacturer or other person that stores or treats the hazardous secondary material must install all covers and closure devices for the container, as applicable to the container, and secure and maintain each closure device in the closed position except as follows:

A) Opening of a closure device or cover is allowed for the purpose of adding hazardous secondary material or other material to the container as follows:

i) If the container is filled to the intended final level in one continuous operation, the remanufacturer or other person that stores or treats the hazardous secondary material must promptly secure the closure devices in the closed position and install the covers, as applicable to the container, upon conclusion of the filling operation.

ii) If discrete quantities or batches of material intermittently are added to the container over a period of time, the remanufacturer or other person that stores or treats the hazardous secondary material must promptly secure the closure devices in the closed position and install covers, as applicable to the container, upon either the container being filled to the intended final level; the completion of a batch loading after which no additional material will be added to the container within 15 minutes; the person performing the loading operation leaving the immediate vicinity of the container; or the shutdown of the process generating the hazardous secondary material being added to the container, whichever condition occurs first.

B) Opening of a closure device or cover is allowed for the purpose of removing hazardous secondary material from the container, as follows:

i) For the purpose of meeting the requirements of this section, an empty hazardous secondary material container may be open to the atmosphere at any time (i.e., covers and closure devices on such a container are not required to be secured in the closed position).

ii) If discrete quantities or batches of material are removed from the container, but the container is not an empty hazardous secondary material container, the remanufacturer or other person that stores or treats the hazardous secondary material must promptly secure the closure devices in the closed position and install covers, as applicable to the container, upon the completion of a batch removal after which no additional material will be removed from the container within 15 minutes or the person performing the unloading operation leaves the immediate vicinity of the container, whichever condition occurs first.

C) Opening of a closure device or cover is allowed when access inside the container is needed to perform routine activities other than transfer of hazardous secondary material. Examples of routine activities other than transfer of hazardous secondary material include those times when a worker needs to open a port to measure the depth of or sample the material in the container, or when a worker needs to open a manhole hatch to access equipment inside the container. Following completion of the activity, the remanufacturer or other person that stores or treats the hazardous secondary material must promptly secure the closure device in the closed position or reinstall the cover, as applicable to the container.

D) Opening of a spring-loaded pressure-vacuum relief valve, conservation vent, or similar type of pressure relief device which vents to the atmosphere is allowed during normal operations for the purpose of maintaining the internal pressure of the container in accordance with the container design specifications. The device must be designed to operate with no detectable organic emissions when the device is secured in the closed position. The settings at which the device opens must be established such that the device remains in the closed position whenever the internal pressure of the container is within the internal pressure operating range determined by the remanufacturer or other persons that stores or treats the hazardous secondary material based on container manufacturer recommendations, applicable regulations, fire protection and prevention codes, standard engineering codes and practices, or other requirements for the safe handling of flammable, ignitable, explosive, reactive, or hazardous materials. Examples of normal operating conditions that may require these devices to open are during those times when the internal pressure of the container exceeds the internal pressure operating range for the container as a result of loading operations or diurnal ambient temperature fluctuations.

E) Opening of a safety device, as defined in Section 721.981, is allowed at any time conditions require doing so to avoid an unsafe condition.

4) The remanufacturer or other person that stores or treats the hazardous secondary material using containers with Container Level 1 controls must inspect the containers and their covers and closure devices, as follows:

A) If a hazardous secondary material already is in the container at the time the remanufacturer or other person that stores or treats the hazardous secondary material first accepts possession of the container at the facility and the container is not emptied within 24 hours after the container is accepted at the facility (i.e., is not an empty hazardous secondary material container) the remanufacturer or other person that stores or treats the hazardous secondary material must visually inspect the container and its cover and closure devices to check for visible cracks, holes, gaps, or other open spaces into the interior of the container when the cover and closure devices are secured in the closed position. The container visual inspection must be conducted on or before the date that the container is accepted at the facility (i.e., the date the container becomes subject to the container standards of this Subpart CC).

B) If a container used for managing hazardous secondary material remains at the facility for a period of one year or more, the remanufacturer or other person that stores or treats the hazardous secondary material must initially visually inspect the container and its cover and closure devices to check for visible cracks, holes, gaps, or other open spaces into the interior of the container when the cover and closure devices are secured in the closed position. After the initial inspection, a visual inspection must occur at least once every 12 months. If a defect is detected, the remanufacturer or other person that stores or treats the hazardous secondary material must repair the defect in accordance with the requirements of subsection (c)(4)(C).

C) When a defect is detected for the container, cover, or closure devices, the remanufacturer or other person that stores or treats the hazardous secondary material must make first efforts at repair of the defect no later than 24 hours after detection and repair must be completed as soon as possible but no later than five calendar days after detection. If repair of a defect cannot be completed within five calendar days, then the hazardous secondary material must be removed from the container and the container must not be used to manage hazardous secondary material until the defect is repaired.

5) The remanufacturer or other person that stores or treats the hazardous secondary material must maintain at the facility a copy of the procedure used to determine that containers with capacity of 0.46 m3 or greater which do not meet applicable USDOT regulations, as specified in subsection (f), are not managing hazardous secondary material in light material service.

d) Container Level 2 Standards

1) A container using Container Level 2 controls is one of the following:

A) A container that meets the applicable USDOT regulations on packaging hazardous materials for transportation, as specified in subsection (f).

B) A container that operates with no detectable organic emissions, as defined in Section 721.981, and determined in accordance with the procedure specified in subsection (g).

C) A container that has been demonstrated within the preceding 12 months to be vapor-tight by using Reference Method 27 (Determination of Vapor Tightness of Gasoline Delivery Tank Unis Pressure-Vacuum Test) in appendix A to 40 CFR 60 (Test Methods), incorporated by reference in 35 Ill. Adm. Code 720.111, in accordance with the procedure specified in subsection (h).

2) Transfer of hazardous secondary material in or out of a container using Container Level 2 controls must be conducted in such a manner as to minimize exposure of the hazardous secondary material to the atmosphere, to the extent practical, considering the physical properties of the hazardous secondary material and good engineering and safety practices for handling flammable, ignitable, explosive, reactive, or other hazardous materials. Examples of container loading procedures that USEPA has stated that it considers to meet the requirements of this subsection (d) include using any one of the following: a submerged-fill pipe or other submerged-fill method to load liquids into the container; a vapor-balancing system or a vapor-recovery system to collect and control the vapors displaced from the container during filling operations; or a fitted opening in the top of a container through which the hazardous secondary material is filled and subsequently purging the transfer line before removing it from the container opening.

3) Whenever a hazardous secondary material is in a container using Container Level 2 controls, the remanufacturer or other person that stores or treats the hazardous secondary material must install all covers and closure devices for the container, and secure and maintain each closure device in the closed position, except as follows:

A) Opening of a closure device or cover is allowed for the purpose of adding hazardous secondary material or other material to the container, as follows:

i) If the container is filled to the intended final level in one continuous operation, the remanufacturer or other person that stores or treats the hazardous secondary material must promptly secure the closure devices in the closed position and install the covers, as applicable to the container, upon conclusion of the filling operation.

ii) If discrete quantities or batches of material intermittently are added to the container over a period of time, the remanufacturer or other person that stores or treats the hazardous secondary material must promptly secure the closure devices in the closed position and install covers, as applicable to the container, upon either the container being filled to the intended final level; the completion of a batch loading after which no additional material will be added to the container within 15 minutes; the person performing the loading operation leaving the immediate vicinity of the container; or the shutdown of the process generating the material being added to the container, whichever condition occurs first.

B) Opening of a closure device or cover is allowed for the purpose of removing hazardous secondary material from the container, as follows:

i) For the purpose of meeting the requirements of this Section, an empty hazardous secondary material container may be open to the atmosphere at any time (i.e., covers and closure devices are not required to be secured in the closed position on an empty container).

ii) If discrete quantities or batches of material are removed from the container, but the container is not an empty hazardous secondary materials container, the remanufacturer or other person that stores or treats the hazardous secondary material must promptly secure the closure devices in the closed position and install covers, as applicable to the container, upon the completion of a batch removal after which no additional material will be removed from the container within 15 minutes or the person performing the unloading operation leaves the immediate vicinity of the container, whichever condition occurs first.

C) Opening of a closure device or cover is allowed when access inside the container is needed to perform routine activities other than transfer of hazardous secondary material. Examples of routine activities other than transfer of hazardous secondary material include those times when a worker needs to open a port to measure the depth of or sample the material in the container, or when a worker needs to open a manhole hatch to access equipment inside the container. Following completion of the activity, the remanufacturer or other person that stores or treats the hazardous secondary material must promptly secure the closure device in the closed position or reinstall the cover, as applicable to the container.

D) Opening of a spring-loaded, pressure-vacuum relief valve, conservation vent, or similar type of pressure relief device which vents to the atmosphere is allowed during normal operations for the purpose of maintaining the internal pressure of the container in accordance with the container design specifications. The device must be designed to operate with no detectable organic emission when the device is secured in the closed position. The settings at which the device opens must be established such that the device remains in the closed position whenever the internal pressure of the container is within the internal pressure operating range determined by the remanufacturer or other person that stores or treats the hazardous secondary material based on container manufacturer recommendations, applicable regulations, fire protection and prevention codes, standard engineering codes and practices, or other requirements for the safe handling of flammable, ignitable, explosive, reactive, or hazardous materials. Examples of normal operating conditions that may require these devices to open are during those times when the internal pressure of the container exceeds the internal pressure operating range for the container as a result of loading operations or diurnal ambient temperature fluctuations.

E) Opening of a safety device, as defined in Section 721.981, is allowed at any time conditions require doing so to avoid an unsafe condition.

4) The remanufacturer or other person that stores or treats the hazardous secondary material using containers with Container Level 2 controls must inspect the containers and their covers and closure devices as follows:

A) If a hazardous secondary material already is in the container at the time the remanufacturer or other person that stores or treats the hazardous secondary material first accepts possession of the container at the facility and the container is not emptied within 24 hours after the container is accepted at the facility (i.e., is not an empty hazardous secondary material container), the remanufacturer or other person that stores or treats the hazardous secondary material must visually inspect the container and its cover and closure devices to check for visible cracks, holes, gaps, or other open spaces into the interior of the container when the cover and closure devices are secured in the closed position. The container visual inspection must be conducted on or before the date that the container is accepted at the facility (i.e., the date the container becomes subject to the container standards of this Subpart CC).

B) If a container used for managing hazardous secondary material remains at the facility for a period of one year or more, the remanufacturer or other person that stores or treats the hazardous secondary material must visually inspect the container and its cover and closure devices initially and thereafter, at least once every 12 months, to check for visible cracks, holes, gaps, or other open spaces into the interior of the container when the cover and closure devices are secured in the closed position. If a defect is detected, the remanufacturer or other person that stores or treats the hazardous secondary material must repair the defect in accordance with the requirements of subsection (d)(4)(C).

C) When a defect is detected for the container, cover, or closure devices, the remanufacturer or other person that stores or treats the hazardous secondary material must make first efforts at repair of the defect no later than 24 hours after detection, and repair must be completed as soon as possible but no later than five calendar days after detection. If repair of a defect cannot be completed within five calendar days, then the hazardous secondary material must be removed from the container and the container must not be used to manage hazardous secondary material until the defect is repaired.

e) Container Level 3 Standards

1) A container using Container Level 3 controls is one of the following:

A) A container that is vented directly through a closed-vent system to a control device in accordance with the requirements of subsection (e)(2)(B).

B) A container that is vented inside an enclosure which is exhausted through a closed-vent system to a control device in accordance with the requirements of subsections (e)(2)(A) and (e)(2)(B).

2) The remanufacturer or other person that stores or treats the hazardous secondary material must meet the following requirements, as applicable to the type of air emission control equipment selected by the remanufacturer or other person that stores or treats the hazardous secondary material:

A) The container enclosure must be designed and operated in accordance with the criteria for a permanent total enclosure, as specified in “Procedure T—Criteria for and Verification of a Permanent or Temporary Total Enclosure” in appendix B (VOM Measurement Techniques for Capture Efficiency) to 40 CFR 52.741, incorporated by reference in 35 Ill. Adm. Code 720.111. The enclosure may have permanent or temporary openings to allow worker access; passage of containers through the enclosure by conveyor or other mechanical means; entry of permanent mechanical or electrical equipment; or direct airflow into the enclosure. The remanufacturer or other person that stores or treats the hazardous secondary material must perform the verification procedure for the enclosure as specified in Section 5.0 of “Procedure T—Criteria for and Verification of a Permanent or Temporary Total Enclosure” initially when the enclosure is first installed and, thereafter, annually.

B) The closed-vent system and control device must be designed and operated in accordance with the requirements of Section 721.987.

3) Safety devices, as defined in Section 721.981, may be installed and operated as necessary on any container, enclosure, closed-vent system, or control device used to comply with the requirements of subsection (e)(1).

4) Remanufacturers or other persons that store or treat the hazardous secondary material using Container Level 3 controls in accordance with the provisions of this Subpart CC must inspect and monitor the closed-vent systems and control devices as specified in Section 721.987.

5) Remanufacturers or other persons that store or treat the hazardous secondary material that use Container Level 3 controls in accordance with the provisions of this Subpart CC must prepare and maintain the records specified in Section 721.989(d).

6) Transfer of hazardous secondary material in or out of a container using Container Level 3 controls must be conducted in such a manner as to minimize exposure of the hazardous secondary material to the atmosphere, to the extent practical, considering the physical properties of the hazardous secondary material and good engineering and safety practices for handling flammable, ignitable, explosive, reactive, or other hazardous materials. Examples of container loading procedures that USEPA has stated that it considers to meet the requirements of this subsection (e) include using any one of the following: a submerged-fill pipe or other submerged-fill method to load liquids into the container; a vapor-balancing system or a vapor-recovery system to collect and control the vapors displaced from the container during filling operations; or a fitted opening in the top of a container through which the hazardous secondary material is filled and subsequently purging the transfer line before removing it from the container opening.

f) For the purpose of compliance with subsection (c)(1)(A) or (d)(1)(A), containers must be used that meet the applicable USDOT regulations on packaging hazardous materials for transportation, as follows:

1) The container meets the applicable requirements specified in 49 CFR 178 (Specifications for Packagings) or 179 (Specifications for Tank Cars), each incorporated by reference in 35 Ill. Adm. Code 720.111.

2) Hazardous secondary material is managed in the container in accordance with the applicable requirements specified in subpart B of 49 CFR 107 (Hazardous Material Program Procedures) and 49 CFR 172 (Hazardous Materials Table, Special Provisions, Hazardous Materials Communications, Emergency Response Information, Training Requirements, and Security Plans), 173 (Shippers—General Requirements for Shipments and Packagings), and 180 (Continuing Qualification and Maintenance of Packagings), incorporated by reference in 35 Ill. Adm. Code 720.111.

3) For the purpose of complying with this Subpart CC, no exceptions to the 49 CFR 178 (Specifications for Packagings) or 179 (Specifications for Tank Cars) regulations are allowed.

g) To determine compliance with the no detectable organic emissions requirement of subsection (d)(1)(B), the procedure specified in Section 721.983(d) must be used.

1) Each potential leak interface (i.e., a location where organic vapor leakage could occur) on the container, its cover, and associated closure devices, as applicable to the container, must be checked. Potential leak interfaces that are associated with containers include, but are not limited to: the interface of the cover rim and the container wall; the periphery of any opening on the container or container cover and its associated closure device; and the sealing seat interface on a spring-loaded pressure-relief valve.

2) The test must be performed when the container is filled with a material having a volatile organic concentration representative of the range of volatile organic concentrations for the hazardous secondary materials expected to be managed in this type of container. During the test, the container cover and closure devices must be secured in the closed position.

h) Procedure for determining a container to be vapor-tight using Reference Method 27 (Determination of Vapor Tightness of Gasoline Delivery Tank Unis Pressure-Vacuum Test) in appendix A (Test Methods) to 40 CFR 60, incorporated by reference in 35 Ill. Adm. Code 720.111, for the purpose of complying with subsection (d)(1)(C).

1) The test must be performed in accordance with Reference Method 27 of appendix A to 40 CFR 60.

2) A pressure measurement device must be used that has a precision of ±2.5 mm water and that is capable of measuring above the pressure at which the container is to be tested for vapor tightness.

3) If the test results determined by Reference Method 27 indicate that the container sustains a pressure change less than or equal to 0.75 kPa within five minutes after it is pressurized to a minimum of 4.5 kPa, then the container is determined to be vapor-tight.

(Source: Amended at 42 Ill. Reg. 21673, effective November 19, 2018)

**Section** **721.987 Standards: Closed-Vent Systems and Control Devices**

a) This Section applies to each closed-vent system and control device installed and operated by the remanufacturer or other person who stores or treats the hazardous secondary material to control air emissions in accordance with standards of this Subpart CC.

b) The closed-vent system must meet the following requirements:

1) The closed-vent system must route the gases, vapors, and fumes emitted from the hazardous secondary material in the hazardous secondary material management unit to a control device that meets the requirements specified in subsection (c).

2) The closed-vent system must be designed and operated in accordance with the requirements specified in Section 721.933(k).

3) If the closed-vent system includes bypass devices that could be used to divert the gas or vapor stream to the atmosphere before entering the control device, each bypass device must be equipped with either a flow indicator as specified in subsection (b)(3)(A) or a seal or locking device as specified in subsection (b)(3)(B). For the purpose of complying with this subsection (b), low leg drains, high point bleeds, analyzer vents, open-ended valves or lines, spring loaded pressure relief valves, and other fittings used for safety purposes are not considered to be bypass devices.

A) If a flow indicator is used to comply with subsection (b)(3), the indicator must be installed at the inlet to the bypass line used to divert gases and vapors from the closed-vent system to the atmosphere at a point upstream of the control device inlet. For this subsection (b), a flow indicator means a device which indicates the presence of either gas or vapor flow in the bypass line.

B) If a seal or locking device is used to comply with subsection (b)(3), the device must be placed on the mechanism by which the bypass device position is controlled (e.g., valve handle, damper lever, etc.) when the bypass device is in the closed position such that the bypass device cannot be opened without breaking the seal or removing the lock. Examples of such devices include, but are not limited to, a car-seal or a lock-and-key configuration valve. The remanufacturer or other person that stores or treats the hazardous secondary material must visually inspect the seal or closure mechanism at least once every month to verify that the bypass mechanism is maintained in the closed position.

4) The closed-vent system must be inspected and monitored by the remanufacturer or other person that stores or treats the hazardous secondary material in accordance with the procedure specified in Section 721.933(l).

c) The control device must meet the following requirements:

1) The control device must be one of the following devices:

A) A control device designed and operated to reduce the total organic content of the inlet vapor stream vented to the control device by at least 95 percent by weight;

B) An enclosed combustion device designed and operated in accordance with the requirements of Section 721.933(c); or

C) A flare designed and operated in accordance with the requirements of Section 721.933(d).

2) The remanufacturer or other person that stores or treats the hazardous secondary material who elects to use a closed-vent system and control device to comply with the requirements of this Section must comply with the requirements specified in subsections (c)(2)(A) through (c)(2)(F).

A) Periods of planned routine maintenance of the control device, during which the control device does not meet the specifications of subsection (c)(1)(A), (c)(1)(B), or (c)(1)(C), as applicable, must not exceed 240 hours per year.

B) The specifications and requirements in subsections (c)(1)(A) through (c)(1)(C) for control devices do not apply during periods of planned routine maintenance.

C) The specifications and requirements in subsections (c)(1)(A) through (c)(1)(C) for control devices do not apply during a control device system malfunction.

D) The remanufacturer or other person that stores or treats the hazardous secondary material must demonstrate compliance with the requirements of subsection (c)(2)(A) (i.e., planned routine maintenance of a control device, during which the control device does not meet the specifications of subsection (c)(1)(A), (c)(1)(B), or (c)(1)(C), as applicable, must not exceed 240 hours per year) by recording the information specified in Section 721.989(e)(1)(E).

E) The remanufacturer or other person that stores or treats the hazardous secondary material must correct control device system malfunctions as soon as practicable after their occurrence in order to minimize excess emissions of air pollutants.

F) The remanufacturer or other person that stores or treats the hazardous secondary material must operate the closed-vent system such that gases, vapors, or fumes are not actively vented to the control device during periods of planned maintenance or control device system malfunction (i.e., periods when the control device is not operating or not operating normally) except in cases when it is necessary to vent the gases, vapors, or fumes to avoid an unsafe condition or to implement malfunction corrective actions or planned maintenance actions.

3) The remanufacturer or other person that stores or treats the hazardous secondary material using a carbon adsorption system to comply with subsection (c)(1) must operate and maintain the control device in accordance with the following requirements:

A) Following the initial startup of the control device, all activated carbon in the control device must be replaced with fresh carbon on a regular basis in accordance with the requirements of Section 721.933(g) or (h).

B) All carbon that is hazardous waste and that is removed from the control device must be managed in accordance with the requirements of Section 721.933(n), regardless of the average volatile organic concentration of the carbon.

4) A remanufacturer or other person that stores or treats the hazardous secondary material using a control device other than a thermal vapor incinerator, flare, boiler, process heater, condenser, or carbon adsorption system to comply with subsection (c)(1) must operate and maintain the control device in accordance with the requirements of Section 721.933(j).

5) The remanufacturer or other person that stores or treats the hazardous secondary material must demonstrate that a control device achieves the performance requirements of subsection (c)(1) as follows:

A) A remanufacturer or other person that stores or treats the hazardous secondary material must demonstrate the performance of each control device, using either a performance test, as specified in subsection (c)(5)(C), or a design analysis, as specified in subsection (c)(5)(D), except for the following:

i) A flare;

ii) A boiler or process heater with a design heat input capacity of 44 megawatts or greater; or

iii) A boiler or process heater into which the vent stream is introduced with the primary fuel.

B) A remanufacturer or other person that stores or treats the hazardous secondary material must demonstrate the performance of each flare in accordance with the requirements specified in Section 721.933(e).

C) For a performance test conducted to meet the requirements of subsection (c)(5)(A), the remanufacturer or other person that stores or treats the hazardous secondary material must use the test methods and procedures specified in Section 721.934(c)(1) through (c)(4).

D) For a design analysis conducted to meet the requirements of subsection (c)(5)(A), the design analysis must meet the requirements specified in Section 721.935(b)(4)(C).

E) The remanufacturer or other person that stores or treats the hazardous secondary material must demonstrate that a carbon adsorption system achieves the performance requirements of subsection (c)(1) based on the total quantity of organics vented to the atmosphere from all carbon adsorption system equipment that is used for organic adsorption, organic desorption or carbon regeneration, organic recovery, and carbon disposal.

6) If the remanufacturer or other person that stores or treats the hazardous secondary material and the Agency do not agree on a demonstration of control device performance using a design analysis, then the disagreement must be resolved using the results of a performance test performed by the remanufacturer or other person that stores or treats the hazardous secondary material in accordance with the requirements of subsection (c)(5)(C). The Agency may choose to have an authorized representative observe the performance test. The Agency must state any disagreement on a demonstration of control device performance using a design analysis in writing to the remanufacturer or other person that treats or stores hazardous secondary material.

7) The closed-vent system and control device must be inspected and monitored by the remanufacture or other person that stores or treats the hazardous secondary material in accordance with the procedures specified in Section 721.933(f)(2) and (l). The readings from each monitoring device required by Section 721.933(f)(2) must be inspected at least once each operating day to check control device operation. Any necessary corrective measures must be immediately implemented to ensure the control device is operated in compliance with the requirements of this Section.

(Source: Amended at 42 Ill. Reg. 21673, effective November 19, 2018)

**Section 721.988 Inspection and Monitoring Requirements**

a) The remanufacturer or other person that stores or treats the hazardous secondary material must inspect and monitor air emission control equipment used to comply with this Subpart CC in accordance with the applicable requirements specified in Sections 721.984 through 721.987.

b) The remanufacturer or other person that stores or treats the hazardous secondary material must develop and implement a written plan and schedule to perform the inspections and monitoring required by subsection (a). The remanufacturer or other person that stores or treats the hazardous secondary material must keep the plan and schedule at the facility.

(Source: Added at 40 Ill. Reg. 11367, effective August 9, 2016)

**Section** **721.989 Recordkeeping Requirements**

a) Each remanufacturer or other person that stores or treats the hazardous secondary material subject to requirements of this Subpart CC must record and maintain the information specified in subsections (b) through (j), as applicable to the facility. Except for air emission control equipment design documentation and information required by subsections (i) and (j), records required by this section must be maintained at the facility for a minimum of three years. Air emission control equipment design documentation must be maintained at the facility until the air emission control equipment is replaced or otherwise no longer in service. Information required by subsections (i) and (j) must be maintained at the facility for as long as the hazardous secondary material management unit is not using air emission controls specified in Sections 721.984 through 721.987 in compliance with the conditions specified in Section 721.980.

b) The remanufacturer or other person that stores or treats the hazardous secondary material using a tank with air emission controls in compliance with Section 721.984 must prepare and maintain records for the tank that include the following information:

1) For each tank using air emission controls in compliance with Section 721.984, the remanufacturer or other person that stores or treats the hazardous secondary material must record:

A) A tank identification number (or other unique identification description as selected by the remanufacturer or other person that stores or treats the hazardous secondary material).

B) A record for each inspection required by Section 721.984 that includes the following information:

i) The date inspection was conducted.

ii) For each defect detected during the inspection, the location of the defect, a description of the defect, the date of detection, and corrective action taken to repair the defect. If the repair of the defect is delayed in under Section 721.984, the remanufacturer or other person that stores or treats the hazardous secondary material must also record the reason for the delay and the date that completion of repair of the defect is expected.

2) In addition to the information required by subsection (b)(1), the remanufacturer or other person that stores or treats the hazardous secondary material must record the following information, as applicable to the tank:

A) The remanufacturer or other person that stores or treats the hazardous secondary material using a fixed roof to comply with the Tank Level 1 control requirements specified in Section 721.984(c) must prepare and maintain records for each determination for the maximum organic vapor pressure of the hazardous secondary material in the tank performed in compliance with Section 721.984(c). The records must include the date and time the samples were collected, the analysis method used, and the analysis results.

B) The remanufacturer or other person that stores or treats the hazardous secondary material using an internal floating roof to comply with the Tank Level 2 control requirements specified in Section 721.1084(e) of this Subpart CC must prepare and maintain documentation describing the floating roof design.

C) Remanufacturer or other persons that store or treat the hazardous secondary material using an external floating roof to comply with the Tank Level 2 control requirements specified in Section 721.984(f) must prepare and maintain the following records:

i) Documentation describing the floating roof design and the dimensions of the tank.

ii) Records for each seal gap inspection required by Section 721.984(f)(3) describing the results of the seal gap measurements. The records must include the date that the measurements were performed, the raw data obtained for the measurements, and the calculations of the total gap surface area. If the seal gap measurements do not conform to the specifications in Section 721.984(f)(1), the records must include a description of the repairs that were made, the date the repairs were made, and the date the tank was emptied, if necessary.

D) Each remanufacturer or other person that stores or treats the hazardous secondary material using an enclosure to comply with the Tank Level 2 control requirements specified in Section 721.984(i) must prepare and maintain the following records:

i) Records for the most recent set of calculations and measurements performed by the remanufacturer or other person that stores or treats the hazardous secondary material to verify that the enclosure meets the criteria of a permanent total enclosure as specified in “Procedure T—Criteria for and Verification of a Permanent or Temporary Total Enclosure” in appendix B (VOM Measurement Techniques for Capture Efficiency) to 40 CFR 52.741, incorporated by reference in 35 Ill. Adm. Code 720.111.

ii) Records required for the closed-vent system and control device in compliance with subsection (e).

c) This subsection (c) corresponds with 40 CFR 261.1089(c), marked “reserved” by USEPA. This statement maintains structural consistency with the federal regulations.

d) The remanufacturer or other person that stores or treats the hazardous secondary material using containers with Container Level 3 air emission controls in compliance with Section 721.986 must prepare and maintain records that include the following information:

1) Records for the most recent set of calculations and measurements performed by the remanufacturer or other person that stores or treats the hazardous secondary material to verify that the enclosure meets the criteria of a permanent total enclosure as specified in “Procedure T—Criteria for and Verification of a Permanent or Temporary Total Enclosure” in appendix B (VOM Measurement Techniques for Capture Efficiency) to 40 CFR 52.741, incorporated by reference in 35 Ill. Adm. Code 720.111.

2) Records required for the closed-vent system and control device in compliance with subsection (e).

e) The remanufacturer or other person that stores or treats the hazardous secondary material using a closed-vent system and control device in compliance with Section 721.987 must prepare and maintain records that include the following information:

1) Documentation for the closed-vent system and control device that includes:

A) Certification that is signed and dated by the remanufacturer or other person that stores or treats the hazardous secondary material stating that the control device is designed to operate at the performance level documented by a design analysis, as specified in subsection (e)(1)(B), or by performance tests as specified in subsection (e)(1)(C) when the tank or container is or would be operating at capacity or the highest level reasonably expected to occur.

B) If a design analysis is used, then design documentation as specified in Section 721.935(b)(4). The documentation must include information prepared by the remanufacturer or other person that stores or treats the hazardous secondary material or provided by the control device manufacturer or vendor that describes the control device design in compliance with Section 721.935(b)(4)(C) and certification by the remanufacturer or other person that stores or treats the hazardous secondary material that the control equipment meets the applicable specifications.

C) If performance tests are used, then a performance test plan, as specified in Section 721.935(b)(3), and all test results.

D) Information as required by Section 721.935(c)(1) and (c)(2), as applicable.

E) A remanufacturer or other person that stores or treats the hazardous secondary material must record, on a semiannual basis, the information specified in subsections (e)(1)(E)(i) and (e)(1)(E)(ii) for those planned routine maintenance operations that would require the control device not to comply with Section 721.987(c)(1)(A), (c)(1)(B), or (c)(1)(C), as applicable.

i) A description of the planned routine maintenance that is anticipated to be performed for the control device during the next six-month period. This description must include the type of maintenance necessary, planned frequency of maintenance, and lengths of maintenance periods.

ii) A description of the planned routine maintenance that was performed for the control device during the previous six-month period. This description must include the type of maintenance performed and the total number of hours during those six months that the control device did not comply with Section 721.987(c)(1)(A), (c)(1)(B), or (c)(1)(C), as applicable, due to planned routine maintenance.

F) A remanufacturer or other person that stores or treats the hazardous secondary material must record the information specified in subsections (e)(1)(F)(i) through (e)(1)(F)(iii) for those unexpected control device system malfunctions that would require the control device not to comply with Section 721.987(c)(1)(A), (c)(1)(B), or (c)(1)(C), as applicable.

i) The occurrence and duration of each malfunction of the control device system.

ii) The duration of each period during a malfunction when gases, vapors, or fumes are vented from the hazardous secondary material management unit through the closed-vent system to the control device while the control device is not properly functioning.

iii) Actions taken during periods of malfunction to restore a malfunctioning control device to its normal or usual manner of operation.

G) Records of the management of carbon removed from a carbon adsorption system conducted in compliance with Section 721.987(c)(3)(B).

f) The remanufacturer or other person that stores or treats the hazardous secondary material using a tank or container exempted under the hazardous secondary material organic concentration conditions specified in Section 721.982(c), must prepare and maintain at the facility records documenting the information used for each material determination (e.g., test results, measurements, calculations, and other documentation). If analysis results for material samples are used for the material determination, then the remanufacturer or other person that stores or treats the hazardous secondary material must record the date, time, and location that each material sample is collected in compliance with applicable requirements of Section 721.983.

BOARD NOTE: Corresponding 40 CFR 261.1089(f) includes a subsection (f)(2) that USEPA marked “reserved”. Because there is no 40 CFR 1089(f)(1), the Board included no text to correspond with subsection (f)(2).

g) A remanufacturer or other person that stores or treats the hazardous secondary material designating a cover as “unsafe to inspect and monitor” under Section 721.984(l) must record and keep at facility the following information: the identification numbers for hazardous secondary material management units with covers that are designated as “unsafe to inspect and monitor”, the explanation for each cover stating why the cover is unsafe to inspect and monitor, and the plan and schedule for inspecting and monitoring each cover.

h) The remanufacturer or other person that stores or treats the hazardous secondary material that is subject to this Subpart CC and to the control device standards in subpart VV (Standards of Performance for Equipment Leaks of VOC in the Synthetic Organic Chemicals Manufacturing Industry for which Construction, Reconstruction, or Modification Commenced After January 5, 1981, on or Before November 7, 2006) of 40 CFR 60 or subpart V of 40 CFR 61 (National Emission Standard for Equipment Leaks (Fugitive Emission Sources)), each incorporated by reference in 35 Ill. Adm. Code 720.111, may elect to demonstrate complying with the applicable sections of this Subpart CC by documentation either under this Subpart CC, or under the provisions of subpart VV of 40 CFR 60 or subpart V of 40 CFR 61, to the extent that the documentation required by 40 CFR 60 or 61 duplicates the documentation required by this Section.

(Source: Amended at 48 Ill. Reg. 16813, effective November 22, 2024)

**Section** **721.APP****ENDIX A Representative Sampling Methods**

The methods and equipment used for sampling waste materials will vary with the form and consistency of the waste materials to be sampled. Samples collected using the sampling protocols listed below, for sampling waste with properties similar to the indicated materials, are considered by USEPA to be representative of the waste.

Extremely viscous liquid: ASTM D 140–70 (Standard Practice for Sampling Bituminous Materials), incorporated by reference in 35 Ill. Adm. Code 720.111(a).

Crushed or powdered material: ASTM D 346–75 (Standard Practice for Collection and Preparation of Coke Samples for Laboratory Analysis), incorporated by reference in 35 Ill. Adm. Code 720.111(a).

Soil or rock-like material: ASTM D 420–69 (Guide to Site Characterization for Engineering, Design, and Construction Purposes), incorporated by reference in 35 Ill. Adm. Code 720.111(a).

Soil-like material: ASTM D 1452–65 (Standard Practice for Soil Investigation and Sampling by Auger Borings), incorporated by reference in 35 Ill. Adm. Code 720.111(a).

Fly ash-like material: ASTM D 2234–76(Standard Practice for Collection of a Gross Sample of Coal), incorporated by reference in 35 Ill. Adm. Code 720.111(a).

Containerized liquid wastes: “Composite Liquid Waste Sampler (COLIWASA)”.

Liquid waste in pits, ponds, lagoons, and similar reservoirs: “Pond Sampler”.

(Source: Amended at 42 Ill. Reg. 21673, effective November 19, 2018)

**Section 721.APPENDIX B Method 1311 Toxicity Characteristic Leaching Procedure (TCLP) (Repealed)**

(Source: Repealed at 30 Ill. Reg. 2992, effective February 23, 2006)

**Section 721.APPENDIX C Chemical Analysis Test Methods (Repealed)**

(Source: Repealed at 30 Ill. Reg. 2992, effective February 23, 2006)

**Section 721.APPENDIX G Basis for Listing Hazardous Wastes**

|  |  |
| --- | --- |
| USEPA hazard­ous waste No. | Hazardous constituents for which listed |
| F001 | Tetrachloroethylene, methylene chloride, trichloroethylene, 1,1,1-trichloroethane, carbon tetrachloride, chlorinated fluorocarbons. |
| F002 | Tetrachloroethylene, methylene chloride, trichloroethylene, 1,1,1-trichloroethane, 1,1,2-trichlorethane, chlorobenzene, 1,1,2-trichloro-1,2,2-trifluoroethane, ortho-dichlorobenzene, trichlorofluoromethane. |
| F003 | N.A. |
| F004 | Cresols and cresylic acid, nitrobenzene. |
| F005 | Toluene, methyl ethyl ketone, carbon disulfide, isobutanol, pyridine, 2-ethoxyethanol, benzene, 2-nitropropane. |
| F006 | Cadmium, hexavalent chromium, nickel, cyanide (complexed). |
| F007 | Cyanide (salts). |
| F008 | Cyanide (salts). |
| F009 | Cyanide (salts). |
| F010 | Cyanide (salts). |
| F011 | Cyanide (salts). |
| F012 | Cyanide (complexed). |
| F019 | Hexavalent chromium, cyanide (complexed). |
| F020 | Tetra- and pentachlorodibenzo-p-dioxins; tetra- and pentachlorodibenzofurans; tri- and tetrachlorophenols and their clorophenoxy derivative acids, esters, ethers, amines, and other salts. |
| F021 | Penta- and hexachlorodibenzo-p-dioxins; penta- and hexachlorodibenzofurans; pentachlorophenol and its derivatives. |
| F022 | Tetra-, penta- and hexachlorodibenzo-p-dioxins; tetra-, penta-, and hexachlorodibenzofurans. |
| F023 | Tetra- and pentachlorodibenzo-p-dioxins; tetra- and pentachlorodibenzofurans; tri- and tetra- chlorophenols and their chlorophenoxy derivative acids, esters, ethers, amines, and other salts. |
| F024 | Chloromethane, dichloromethane, trichloromethane, carbon tetrachloride, chloroethylene, 1,1-dichloroethane, 1,2-dichloroethane, trans-1,2-dichloroethylene, 1,1-dichloroethylene, 1,1,1-trichloroethane, 1,1,2-trichloroethane, trichloroethylene, 1,1,1,2-tetrachloroethane, 1,1,2,2-tetrachloroethane, tetrachloroethylene, pentachloroethane, hexachloroethane, allyl chloride (3-chloropropene), dichloropropane, dichloropropene, 2-chloro-1,3-butadiene, hexachloro-1,3-butadiene, hexachlorochylopentadiene, hexachlorocylohexane, benzene, chlorobenzene, dichlorobenzenes, 1,2,4-trichlorobenzene, tetrachlorobenzenes, pentachlorobenzene, hexachlorobenzene, toluene, naphthalene. |
| F025 | Chloromethane, dicloromethane, trichloromethane; carbon tetrachloride; chloroethylene; 1,1-dichloroethane; 1,2-dichloroethane; trans-1,2-dichloroethylene; 1,1-dichloroethylene; 1,1,1-trichloroethane; 1,1,2-trichloroethane; trichloroethylene; 1,1,1,2-tetrachloroethane; 1,1,2,2-tetrachloroethane; tetrachloroethylene; pentachloroethane; hexachloroethane; allyl chloride (3-chloropropene); dichloropropane; dichloropropene; 2-chloro-1,3-butadiene; hexachloro-1,3-butadiene; hexachlorocyclopentadiene; benzene; chlorobenzene; dichlorobenzene; 1,2,4-trichlorobenzene; tetrachlorobenzene; pentachlorobenzene; hexachlorobenzene; toluene; naphthalene. |
| F026 | Tetra-, penta-, and hexachlorodibenzo-p-dioxins; tetra-, penta-, and hexachlorodibenzofurans. |
| F027 | Tetra-, penta, and hexachlorodibenzo-p-dioxins; tetra-, penta-, and hexachlorodibenzofurans; tri-, tetra-, and pentachlorophenols and their chlorophenoxy derivative acids, esters, ethers, amines, and other salts. |
| F028 | Tetra-, penta-, and hexachlorodibenzo-p-dioxins; tetra-, penta-, and hexachlorodibenzofurans; tri-, tetra-, and pentachlorophenols and their chlorophenoxy derivative acids, esters, ethers, amines, and other salts. |
| F032 | Benz(a)anthracene; benzo(a)pyrene; dibenz(a,h)anthracene; indeno(1,2,3-cd)pyrene; pentachlorophenol; arsenic; chromium; tetra-, penta-, hexa-, and heptachlorordibenzo-p-dioxins; tetra-, penta-, hexa-, and heptachlorodibenzofurans. |
| F034 | Benz(a)anthracene, benzo(k)fluoranthene, benzo(a)pyrene, dibenz(a,h)anthracene, indeno(1,2,3-cd)pyrene, naphthalene, arsenic, chromium. |
| F035 | Arsenic, chromium, lead. |
| F037 | Benzene, benzo(a)pyrene, chrysene, lead, chromium. |
| F038 | Benzene, benzo(a)pyrene, chrysene, lead, chromium. |
| F039 | All constituents for which treatment standards are specified for multi-source leachate (wastewaters and nonwastewaters) under Table B to 35 Ill. Adm. Code 728 (Constituent Concentrations in Waste). |
| K001 | Pentachlorophenol, phenol, 2-chlorophenol, p-chloro-m-cresol, 2,4-dimethylphenol, 2,4- dinitrophenol, trichlorophenols, tetrachlorophenols, 2,4- dinitrophenol, creosote, chrysene, naphthalene, fluoranthene, benzo(b)fluoranthene, benzo(a)pyrene, indeno(1,2,3-cd)pyrene, benz(a) anthracene, dibenz(a)anthracene, acenaphthalene. |
| K002 | Hexavalent chromium, lead. |
| K003 | Hexavalent chromium, lead. |
| K004 | Hexavalent chromium. |
| K005 | Hexavalent chromium, lead. |
| K006 | Hexavalent chromium. |
| K007 | Cyanide (complexed), hexavalent chromium. |
| K008 | Hexavalent chromium. |
| K009 | Chloroform, formaldehyde, methylene chloride, methyl chloride, paraldehyde, formic acid. |
| K010 | Chloroform, formaldehyde, methylene chloride, methyl chloride, paraldehyde, formic acid, chloroacetaldehyde. |
| K011 | Acrylonitrile, acetonitrile, hydrocyanic acid. |
| K013 | Hydrocyanic acid, acrylonitrile, acetonitrile. |
| K014 | Acetonitrile, acrylamide. |
| K015 | Benzyl chloride, chlorobenzene, toluene, benzotrichloride. |
| K016 | Hexachlorobenzene, hexachlorobutadiene, carbon tetrachloride, hexachloroethane, perchloroethylene. |
| K017 | Epichlorohydrin, chloroethers (bis(chloromethyl) ether and bis- (2-chloroethyl) ethers), trichloropropane, dichloropropanols. |
| K018 | 1,2-dichloroethane, trichloroethylene, hexachlorobutadiene, hexachlorobenzene. |
| K019 | Ethylene dichloride, 1,1,1-trichloroethane, 1,1,2-trichloroethane, tetrachloroethanes (1,1,2,2-tetrachloroethane and 1,1,1,2-tetrachloroethane), trichloroethylene, tetrachloroethylene, carbon tetrachloride, chloroform, vinyl chloride, vinylidene chloride. |
| K020 | Ethylene dichloride, 1,1,1-trichloroethane, 1,1,2-trichloroethane, tetrachloro­ethanes (1,1,2,2-tetrachloroethane and 1,1,1,2-tetrachloroethane), trichloroethylene, tetrachloroethylene, carbon tetrachloride, chloroform, vinyl chloride, vinylidene chloride. |
| K021 | Antimony, carbon tetrachloride, chloroform. |
| K022 | Phenol, tars (polycyclic aromatic hydrocarbons). |
| K023 | Phthalic anhydride, maleic anhydride. |
| K024 | Phthalic anhydride, 1,4-naphthoguinone. |
| K025 | Meta-dinitrobenzene, 2,4-dinitrotoluene. |
| K026 | Paraldehyde, pyridines, 2-picoline. |
| K027 | Toluene diisocyanate, toluene-2,4-diamine. |
| K028 | 1,1,1-trichloroethane, vinyl chloride. |
| K029 | 1,2-dichloroethane, 1,1,1-trichloroethane, vinyl chloride, vinylidene chloride, chloroform. |
| K030 | Hexachlorobenzene, hexachlorobutadiene, hexachloroethane, 1,1,1,2-tetrachloroethane, 1,1,2,2-tetrachloroethane, ethylene dichloride. |
| K031 | Arsenic. |
| K032 | Hexachlorocyclopentadiene. |
| K033 | Hexachlorocyclopentadiene. |
| K034 | Hexachlorocyclopentadiene. |
| K035 | Creosote, chrysene, naphthalene, fluoranthene, benzo(b) fluoranthene, benzo(a)-pyrene, indeno(1,2,3-cd) pyrene, benzo(a)anthracene, dibenzo(a)anthracene, acenaphthalene. |
| K036 | Toluene, phosphorodithioic and phosphorothioic acid esters. |
| K037 | Toluene, phosphorodithioic and phosphorothioic acid esters. |
| K038 | Phorate, formaldehyde, phosphorodithioic and phosphorothioic acid esters. |
| K039 | Phosphorodithioic and phosphorothioic acid esters. |
| K040 | Phorate, formaldehyde, phosphorodithioic and phosphorothioic acid esters. |
| K041 | Toxaphene. |
| K042 | Hexachlorobenzene, ortho-dichlorobenzene. |
| K043 | 2,4-dichlorophenol, 2,6-dichlorophenol, 2,4,6-trichlorophenol. |
| K044 | N.A. |
| K045 | N.A. |
| K046 | Lead. |
| K047 | N.A. |
| K048 | Hexavalent chromium, lead. |
| K049 | Hexavalent chromium, lead. |
| K050 | Hexavalent chromium. |
| K051 | Hexavalent chromium, lead. |
| K052 | Lead. |
| K060 | Cyanide, naphthalene, phenolic compounds, arsenic. |
| K061 | Hexavalent chromium, lead, cadmium. |
| K062 | Hexavalent chromium, lead. |
| K069 | Hexavalent chromium, lead, cadmium. |
| K071 | Mercury. |
| K073 | Chloroform, carbon tetrachloride, hexachloroethane, trichloroethane, tetrachloroethylene, dichloroethylene, 1,1,2,2-tetrachloroethane. |
| K083 | Aniline, diphenylamine, nitrobenzene, phenylenediamine. |
| K084 | Arsenic. |
| K085 | Benzene, dichlorobenzenes, trichlorobenzenes, tetrachlorobenzenes, pentachlorobenzene, hexachlorobenzene, benzyl chloride. |
| K086 | Lead, hexavalent chromium. |
| K087 | Phenol, naphthalene. |
| K088 | Cyanide (complexes). |
| K093 | Phthalic anhydride, maleic anhydride. |
| K094 | Phthalic anhydride. |
| K095 | 1,1,2-trichloroethane, 1,1,1,2-tetrachloroethane, 1,1,2,2-tetrachloroethane. |
| K096 | 1,2-dichloroethane, 1,1,1-trichloroethane, 1,1,2-trichloroethane. |
| K097 | Chlordane, heptachlor. |
| K098 | Toxaphene. |
| K099 | 2,4-dichlorophenol, 2,4,6-trichlorophenol. |
| K100 | Hexavalent chromium, lead, cadmium. |
| K101 | Arsenic. |
| K102 | Arsenic. |
| K103 | Aniline, nitrobenzene, phenylenediamine. |
| K104 | Aniline, benzene, diphenylamine, nitrobenzene, phynylenediamine. |
| K105 | Benzene, monochlorobenzene, dichlorobenzenes, 2,4,6-trichlorophenol. |
| K106 | Mercury. |
| K111 | 2,4-Dinitrotoluene. |
| K112 | 2,4-Toluenediamine, o-toluidine, p-toluidine, aniline. |
| K113 | 2,4-Toluenediamine, o-toluidine, p-toluidine, aniline. |
| K114 | 2,4-Toluenediamine, o-toluidine, p-toluidine. |
| K115 | 2,4-Toluenediamine. |
| K116 | Carbon tetrachloride, tetrachloroethylene, chloroform, phosgene. |
| K117 | Ethylene dibromide. |
| K118 | Ethylene dibromide. |
| K123 | Ethylene thiourea. |
| K124 | Ethylene thiourea. |
| K125 | Ethylene thiourea. |
| K126 | Ethylene thiourea. |
| K131 | Dimethyl sulfate, methyl bromide. |
| K132 | Methyl bromide. |
| K136 | Ethylene dibromide. |
| K141 | Benzene, benz(a)anthracene, benzo(a)pyrene, benzo(b)fluoranthene, benzo(k)fluoranthene, dibenz(a,h)anthracene, indeno(1,2,3-cd)pyrene. |
| K142 | Benzene, benz(a)anthracene, benzo(a)pyrene, benzo(b)fluoranthene, benzo(k)fluoranthene, dibenz(a,h)anthracene, indeno(1,2,3-cd)pyrene. |
| K143 | Benzene, benz(a)anthracene, benzo(b)fluoranthene, benzo(k)fluoranthene. |
| K144 | Benzene, benz(a)anthracene, benzo(a)pyrene, benzo(b)fluoranthene, benzo(k)fluoranthene, dibenz(a,h)anthracene. |
| K145 | Benzene, benz(a)anthracene, benzo(a)pyrene, dibenz(a,h)anthracene, naphthalene. |
| K147 | Benzene, benz(a)anthracene, benzo(a)pyrene, benzo(b)fluoranthene, benzo(k)fluoranthene, dibenz(a,h)anthracene, indeno(1,2,3-cd)pyrene. |
| K148 | Benz(a)anthracene, benzo(a)pyrene, benzo(b)fluoranthene, benzo(k)fluoranthene, dibenz(a,h)anthracene, indeno(1,2,3-cd)pyrene. |
| K149 | Benzotrichloride, benzyl chloride, chloroform, chloromethane, chlorobenzene, 1,4-dichlorobenzene, hexachlorobenzene, pentachlorobenzene, 1,2,4,5-tetrachlorobenzene, toluene. |
| K150 | Carbon tetrachloride, chloroform, chloromethane, 1,4-dichlorobenzene, hexachlorobenzene, pentachlorobenzene, 1,2,4,5-tetrachlorobenzene, 1,1,2,2-tetrachloroethane, tetrachloroethylene, 1,2,4-trichlorobenzene. |
| K151 | Benzene, carbon tetrachloride, chloroform, hexachlorobenzene, pentachlorobenzene, toluene, 1,2,4,5-tetrachlorobenzene, tetrachloroethylene. |
| K156 | Benomyl, carbaryl, carbendazim, carbofuran, carbosulfan, formaldehyde, methylene chloride, triethylamine. |
| K157 | Carbon tetrachloride, formaldehyde, methyl chloride, methylene chloride, pyridine, triethylamine. |
| K158 | Benomyl, carbendazim, carbofuran, carbosulfan, chloroform, methylene chloride. |
| K159 | Benzene, butylate, EPTC, molinate, pebulate, vernolate. |
| K161 | Antimony, arsenic, metam-sodium, ziram. |
| K169 | Benzene. |
| K170 | Benzo(a)pyrene, dibenz(a,h)anthracene, benzo (a) anthracene, benzo(b)fluoranthene, benzo(k)fluoranthene, 3-methylcholanthrene, 7,12-dimethylbenz(a)anthracene. |
| K171 | Benzene, arsenic. |
| K172 | Benzene, arsenic. |
| K174 | 1,2,3,4,6,7,8-Heptachlorodibenzo-p-dioxin (1,2,3,4,6,7,8-HpCDD), 1,2,3,4,6,7,8-heptachlorodibenzofuran (1,2,3,4,6,7,8-HpCDF), 1,2,3,4,7,8,9-heptachlorodibenzofuran (1,2,3,6,7,8,9-HpCDF), all hexachloro­dibenzo-p-dioxins (HxCDDs), all hexachloro­dibenzo­furans (HxCDFs), all pentachlorodibenzo-p-dioxins (PeCDDs), 1,2,3,4,6,7,8,9-octachlorodibenzo-p-dioxin (OCDD), 1,2,3,4,6,7,8,9- octachloro­dibenzo­furan (OCDF), all pentachlorodibenzofurans (PeCDFs), all tetrachloro­dibenzo-p-dioxins (TCDDs), all tetrachlorodibenzofurans (TCDFs). |
| K175 | Mercury. |
| K176 | Arsenic, lead. |
| K177 | Antimony. |
| K178 | Thallium. |
| K181 | Aniline, o-anisidine, 4-chloroaniline, p-cresidine, 2,4-dimethylaniline, 1,2‑phenylenediamine, 1,3-phenylenediamine. |

N.A.—Waste is hazardous because it fails the test for the characteristic of ignitability, corrosivity, or reactivity.

(Source: Amended at 35 Ill. Reg. 17734, effective October 14, 2011)

**Section** **721.APPENDIX H Hazardous Constituents**

|  |  |  |  |
| --- | --- | --- | --- |
| Common Name | Chemical Abstracts Name | Chemical Abstracts Number (CAS No.) | USEPA Hazard­ous Waste Number |
| A2213 | Ethanimidothioic acid, 2- (dimethylamino)-N-hydroxy-2-oxo-, methyl ester | 30558-43-1 | U394 |
| Acetonitrile | Same | 75-05-8 | U003 |
| Acetophenone | Ethanone, 1-phenyl- | 98-86-2 | U004 |
| 2-Acetylaminofluorene | Acetamide, N-9H-fluoren-2-yl- | 53-96-3 | U005 |
| Acetyl chloride | Same | 75-36-5 | U006 |
| 1-Acetyl-2-thiourea | Acetamide, N-(aminothioxomethyl)- | 591-08-2 | P002 |
| Acrolein | 2-Propenal | 107-02-8 | P003 |
| Acrylamide | 2-Propenamide | 79-06-1 | U007 |
| Acrylonitrile | 2-Propenenitrile | 107-13-1 | U009 |
| Aflatoxins | Same | 1402-68-2 |  |
| Aldicarb | Propanal, 2-methyl-2-(methylthio)-, O-((methylamino)carbonyl)oxime | 116-06-3 | P070 |
| Aldicarb sulfone | Propanal, 2-methyl-2- (methyl­sulfonyl)-, O-((methylamino)­carbonyl)oxime | 1646-88-4 | P203 |
| Aldrin | 1,4,5,8-Dimethanonaphthalene, 1,2,3,4,10,10-hexachloro-1,4,4a,5,8,8a-hexahydro-, (1-α,4-α,4a-β,5-α,8-α,8a-β)- | 309-00-2 | P004 |
| Allyl alcohol | 2-Propen-1-ol | 107-18-6 | P005 |
| Allyl chloride | 1-Propene, 3-chloro- | 107-05-1 |  |
| Aluminum phosphide | Same | 20859-73-8 | P006 |
| 4-Aminobiphenyl | (1,1'-Biphenyl)-4-amine | 92-67-1 |  |
| 5-(Aminomethyl)-3-isoxazolol | 3(2H)-Isoxazolone, 5-(amino­methyl)- | 2763-96-4 | P007 |
| 4-Aminopyridine | 4-Pyridinamine | 504-24-5 | P008 |
| Amitrole | 1H-1,2,4-Triazol-3-amine | 61-82-5 | U011 |
| Ammonium vanadate | Vanadic acid, ammonium salt | 7803-55-6 | P119 |
| Aniline | Benzenamine | 62-53-3 | U012 |
| o-Anisidine (2-methoxyaniline) | Benzenamine, 2-Methoxy- | 90-04-0 |  |
| Antimony | Same | 7440-36-0 |  |
| Antimony compounds, N.O.S. (not otherwise specified) |  |  |  |
| Aramite | Sulfurous acid, 2-chloroethyl-, 2-(4-(1,1-dimethylethyl)phenoxy)-1-methylethyl ester | 140-57-8 |  |
| Arsenic | Arsenic | 7440-38-2 |  |
| Arsenic compounds, N.O.S. |  |  |  |
| Arsenic acid | Arsenic acid H3AsO4 | 7778-39-4 | P010 |
| Arsenic pentoxide | Arsenic oxide As2O5 | 1303-28-2 | P011 |
| Arsenic trioxide | Arsenic oxide As2O3 | 1327-53-3 | P012 |
| Auramine | Benzenamine, 4,4'-carbonimidoyl­bis(N, N-dimethyl- | 492-80-8 | U014 |
| Azaserine | L-Serine, diazoacetate (ester) | 115-02-6 | U015 |
| Barban | Carbamic acid, (3-chlorophenyl)-, 4-chloro-2-butynyl ester | 101-27-9 | U280 |
| Barium | Same | 7440-39-3 |  |
| Barium compounds, N.O.S. |  |  |  |
| Barium cyanide | Same | 542-62-1 | P013 |
| Bendiocarb | 1,3-Benzodioxol-4-ol-2,2-dimethyl-, methyl carbamate | 22781-23-3 | U278 |
| Bendiocarb phenol | 1,3-Benzodioxol-4-ol-2,2-dimethyl-, | 22961-82-6 | U364 |
| Benomyl | Carbamic acid, (1- ((butylamino)­carbonyl)-1H-benzimidazol-2-yl)-, methyl ester | 17804-35-2 | U271 |
| Benz(c)acridine | Same | 225-51-4 | U016 |
| Benz(a)anthracene | Same | 56-55-3 | U018 |
| Benzal chloride | Benzene, (dichloromethyl)- | 98-87-3 | U017 |
| Benzene | Same | 71-43-2 | U019 |
| Benzenearsonic acid | Arsonic acid, phenyl- | 98-05-5 |  |
| Benzidine | (1,1'-Biphenyl)-4,4'-diamine | 92-87-5 | U021 |
| Benzo(b)fluoranthene | Benz(e)acephenanthrylene | 205-99-2 |  |
| Benzo(j)fluoranthene | Same | 205-82-3 |  |
| Benzo(k)fluoranthene | Same | 207-08-9 |  |
| Benzo(a)pyrene | Same | 50-32-8 | U022 |
| p-Benzoquinone | 2,5-Cyclohexadiene-1,4-dione | 106-51-4 | U197 |
| Benzotrichloride | Benzene, (trichloromethyl)- | 98-07-7 | U023 |
| Benzyl chloride | Benzene, (chloromethyl)- | 100-44-7 | P028 |
| Beryllium powder | Same | 7440-41-7 | P015 |
| Beryllium compounds, N.O.S. |  |  |  |
| Bis(pentamethylene)thiuram tetrasulfide | Piperidine, 1,1'-(tetrathio­dicarbonothioyl)-bis- | 120-54-7 |  |
| Bromoacetone | 2-Propanone, 1-bromo- | 598-31-2 | P017 |
| Bromoform | Methane, tribromo- | 75-25-2 | U225 |
| 4-Bromophenyl phenyl ether | Benzene, 1-bromo-4-phenoxy- | 101-55-3 | U030 |
| Brucine | Strychnidin-10-one, 2,3-dimethoxy- | 357-57-3 | P018 |
| Butylate | Carbamothioic acid, bis(2-methyl­propyl)-, S-ethyl ester | 2008-41-5 |  |
| Butyl benzyl phthalate | 1,2-Benzenedicarboxylic acid, butyl phenylmethyl ester | 85-68-7 |  |
| Cacodylic acid | Arsenic acid, dimethyl- | 75-60-5 | U136 |
| Cadmium | Same | 7440-43-9 |  |
| Cadmium compounds, N.O.S. |  |  |  |
| Calcium chromate | Chromic acid H2CrO4, calcium salt | 13765-19-0 | U032 |
| Calcium cyanide | Calcium cyanide Ca(CN)2 | 592-01-8 | P021 |
| Carbaryl | 1-Naphthalenol, methylcarbamate | 63-25-2 | U279 |
| Carbendazim | Carbamic acid, 1H-benzimidazol-2-yl, methyl ester | 10605-21-7 | U372 |
| Carbofuran | 7-Benzofuranol, 2,3-dihydro-2,2-dimethyl-, methylcarbamate | 1563-66-2 | P127 |
| Carbofuran phenol | 7-Benzofuranol, 2,3-dihydro-2,2-dimethyl- | 1563-38-8 | U367 |
| Carbosulfan | Carbamic acid, ((dibutylamino)­thio)methyl-2,3-dihydro-2,2-dimethyl-7-benzofuranyl ester | 55285-14-8 | P189 |
| Carbon disulfide | Same | 75-15-0 | P022 |
| Carbon oxyfluoride | Carbonic difuoride | 353-50-4 | U033 |
| Carbon tetrachloride | Methane, tetrachloro- | 56-23-5 | U211 |
| Chloral | Acetaldehyde, trichloro- | 75-87-6 | U034 |
| Chlorambucil | Benzenebutanoic acid, 4(bis-(2-chloroethyl)amino)- | 305-03-3 | U035 |
| Chlordane | 4,7-Methano-1H-indene, 1,2,4,5,6,7,8,8-octachloro-2,3,3a,4,7,7a-hexahydro- | 57-74-9 | U036 |
| Chlordane, α and γ isomers |  |  | U036 |
| Chlorinated benzenes, N.O.S. |  |  |  |
| Chlorinated ethane, N.O.S. |  |  |  |
| Chlorinated fluorocarbons, N.O.S. |  |  |  |
| Chlorinated naphthalene, N.O.S. |  |  |  |
| Chlorinated phenol, N.O.S. |  |  |  |
| Chlornaphazine | Naphthalenamine, N,N'-bis(2-chloroethyl)- | 494-03-1 | U026 |
| Chloroacetaldehyde | Acetaldehyde, chloro- | 107-20-0 | P023 |
| Chloroalkyl ethers, N.O.S. |  |  |  |
| p-Chloroaniline | Benzenamine, 4-chloro- | 106-47-8 | P024 |
| Chlorobenzene | Benzene, chloro- | 108-90-7 | U037 |
| Chlorobenzilate | Benzeneacetic acid, 4-chloro-α-(4-chlorophenyl)-α-hydroxy-, ethyl ester | 510-15-6 | U038 |
| p-Chloro-m-cresol | Phenol, 4-chloro-3-methyl- | 59-50-7 | U039 |
| 2-Chloroethyl vinyl ether | Ethene, (2-chloroethoxy)- | 110-75-8 | U042 |
| Chloroform | Methane, trichloro- | 67-66-3 | U044 |
| Chloromethyl methyl ether | Methane, chloromethoxy- | 107-30-2 | U046 |
| β-Chloronaphthalene | Naphthalene, 2-chloro- | 91-58-7 | U047 |
| o-Chlorophenol | Phenol, 2-chloro- | 95-57-8 | U048 |
| 1-(o-Chlorophenyl)thiourea | Thiourea, (2-chlorophenyl)- | 5344-82-1 | P026 |
| Chloroprene | 1,3-Butadiene, 2-chloro- | 126-99-8 |  |
| 3-Chloropropionitrile | Propanenitrile, 3-chloro- | 542-76-7 | P027 |
| Chromium | Same | 7440-47-3 |  |
| Chromium compounds, N.O.S. |  |  |  |
| Chrysene | Same | 218-01-9 | U050 |
| Citrus red No. 2 | 2-Naphthalenol, 1-((2,5-dimethoxyphenyl)azo)- | 6358-53-8 |  |
| Coal tar creosote | Same | 8007-45-2 |  |
| Copper cyanide | Copper cyanide CuCN | 544-92-3 | P029 |
| Copper dimethyldithiocarbamate | Copper, bis(dimethylcarbamo­dithioato-S,S')-, | 137-29-1 |  |
| Creosote | Same |  | U051 |
| p-Cresidine | 2-Methoxy-5-methylbenzenamine | 120-71-8 |  |
| Cresols (Cresylic acid) | Phenol, methyl- | 1319-77-3 | U052 |
| Crotonaldehyde | 2-Butenal | 4170-30-3 | U053 |
| m-Cumenyl methylcarbamate | Phenol, 3-(methylethyl)-, methyl carbamate | 64-00-6 | P202 |
| Cyanides (soluble salts and complexes), N.O.S. |  |  | P030 |
| Cyanogen | Ethanedinitrile | 460-19-5 | P031 |
| Cyanogen bromide | Cyanogen bromide (CN)Br | 506-68-3 | U246 |
| Cyanogen chloride | Cyanogen chloride (CN)Cl | 506-77-4 | P033 |
| Cycasin | β-D-glucopyranoside, (methyl-ONN-azoxy)methyl- | 14901-08-7 |  |
| Cycloate | Carbamothioic acid, cyclohexyl­ethyl-, S-ethyl ester | 1134-23-2 |  |
| 2-Cyclohexyl-4,6-dinitrophenol | Phenol, 2-cyclohexyl-4,6-dinitro- | 131-89-5 | P034 |
| Cyclophosphamide | 2H-1,3,2-Oxazaphosphorin-2-amine, N,N-bis(2-chloroethyl)­tetrahydro-2-oxide | 50-18-0 | U058 |
| 2,4-D | Acetic acid, (2,4-dichlorophen­oxy)- | 94-75-7 | U240 |
| 2,4-D, salts and esters | Acetic acid, (2,4-dichlorophenoxy)-, salts and esters |  | U240 |
| Daunomycin | 5,12-Naphthacenedione, 8-acetyl-10-((3-amino-2,3,6-trideoxy-α-L-lyxo-hexopyranosyl)oxy)-7,8,9,10-tetrahydro-6,8,11-tri­hydroxy-l-methoxy-, (8S-cis)- | 20830-81-3 | U059 |
| Dazomet | 2H-1,3,5-thiadiazine-2-thione, tetrahydro-3,5-dimethyl | 533-74-4 |  |
| DDD | Benzene, 1,1'-(2,2-dichloroethyl­idene)bis(4-chloro- | 72-54-8 | U060 |
| DDE | Benzene, 1,1'-(dichloroethenyl­idene)bis(4-chloro- | 72-55-9 |  |
| DDT | Benzene, 1,1'-(2,2,2-trichloro­ethylidene)bis(4-chloro- | 50-29-3 | U061 |
| Diallate | Carbamothioic acid, bis(1-methyl­ethyl)-, S-(2,3-dichloro-2-pro­penyl) ester | 2303-16-4 | U062 |
| Dibenz(a,h)acridine | Same | 226-36-8 |  |
| Dibenz(a,j)acridine | Same | 224-42-0 |  |
| Dibenz(a,h)anthracene | Same | 53-70-3 | U063 |
| 7H-Dibenzo(c,g)carbazole | Same | 194-59-2 |  |
| Dibenzo(a,e)pyrene | Naphtho(1,2,3,4-def)chrysene | 192-65-4 |  |
| Dibenzo(a,h)pyrene | Dibenzo(b,def)chrysene | 189-64-0 |  |
| Dibenzo(a,i)pyrene | Benzo(rst)pentaphene | 189-55-9 | U064 |
| 1,2-Dibromo-3-chloropropane | Propane, 1,2-dibromo-3-chloro- | 96-12-8 | U066 |
| Dibutyl phthalate | 1,2-Benzenedicarboxylic acid, dibutyl ester | 84-74-2 | U069 |
| o-Dichlorobenzene | Benzene, 1,2-dichloro- | 95-50-1 | U070 |
| m-Dichlorobenzene | Benzene, 1,3-dichloro- | 541-73-1 | U071 |
| p-Dichlorobenzene | Benzene, 1,4-dichloro- | 106-46-7 | U072 |
| Dichlorobenzene, N.O.S. | Benzene, dichloro- | 25321-22-6 |  |
| 3,3'-Dichlorobenzidine | (1,1'-Biphenyl)-4,4'-diamine, 3,3'-dichloro- | 91-94-1 | U073 |
| 1,4-Dichloro-2-butene | 2-Butene, 1,4-dichloro- | 764-41-0 | U074 |
| Dichlorodifluoromethane | Methane, dichlorodifluoro- | 75-71-8 | U075 |
| Dichloroethylene, N.O.S. | Dichloroethylene | 25323-30-2 |  |
| 1,1-Dichloroethylene | Ethene, 1,1-dichloro- | 75-35-4 | U078 |
| 1,2-Dichloroethylene | Ethene, 1,2-dichloro-, (E)- | 156-60-5 | U079 |
| Dichloroethyl ether | Ethane, 1,1'-oxybis(2-chloro- | 111-44-4 | U025 |
| Dichloroisopropyl ether | Propane, 2,2'-oxybis(2-chloro- | 108-60-1 | U027 |
| Dichloromethoxyethane | Ethane, 1,1'-(methylenebis(oxy)­bis(2-chloro- | 111-91-1 | U024 |
| Dichloromethyl ether | Methane, oxybis(chloro- | 542-88-1 | P016 |
| 2,4-Dichlorophenol | Phenol, 2,4-dichloro- | 120-83-2 | U081 |
| 2,6-Dichlorophenol | Phenol, 2,6-dichloro- | 87-65-0 | U082 |
| Dichlorophenylarsine | Arsonous dichloride, phenyl- | 696-28-6 | P036 |
| Dichloropropane, N.O.S. | Propane, dichloro- | 26638-19-7 |  |
| Dichloropropanol, N.O.S. | Propanol, dichloro- | 26545-73-3 |  |
| Dichloropropene, N.O.S. | 1-Propene, dichloro- | 26952-23-8 |  |
| 1,3-Dichloropropene | 1-Propene, 1,3-dichloro- | 542-75-6 | U084 |
| Dieldrin | 2,7:3,6-Dimethanonaphth(2, 3-b)­oxirene, 3,4,5,6,9,9-hexachloro-1a,2,2a,3,6, 6a,7,7a-octahydro-, (1aα,2β,2aα,3β,6β,6aα,7β,7aα)- | 60-57-1 | P037 |
| 1,2:3,4-Diepoxybutane | 2,2'-Bioxirane | 1464-53-5 | U085 |
| Diethylarsine | Arsine, diethyl- | 692-42-2 | P038 |
| Diethylene glycol, dicarbamate | Ethanol, 2,2'-oxybis-, dicarbamate | 5952-26-1 | U395 |
| 1,4-Diethyleneoxide | 1,4-Dioxane | 123-91-1 | U108 |
| Diethylhexyl phthalate | 1,2-Benzenedicarboxylic acid, bis(2-ethylhexyl) ester | 117-81-7 | U028 |
| N,N'-Diethylhydrazine | Hydrazine, 1,2-diethyl- | 1615-80-1 | U086 |
| O,O-Diethyl-S-methyl dithio­phosphate | Phosphorodithioic acid, O,O-diethyl S-methyl ester | 3288-58-2 | U087 |
| Diethyl-p-nitrophenyl phosphate | Phosphoric acid, diethyl 4-nitro­phenyl ester | 311-45-5 | P041 |
| Diethyl phthalate | 1,2-Benzenedicarboxylic acid, diethyl ester | 84-66-2 | U088 |
| O,O-Diethyl O-pyrazinyl phosphorothioate | Phosphorothioic acid, O,O-diethyl O-pyrazinyl ester | 297-97-2 | P040 |
| Diethylstilbestrol | Phenol, 4,4'-(1,2-diethyl-1,2-ethenediyl)bis-, (E)- | 56-53-1 | U089 |
| Dihydrosafrole | 1,3-Benzodioxole, 5-propyl- | 94-58-6 | U090 |
| Diisopropylfluorophosphate (DFP) | Phosphorofluoridic acid, bis(1-methylethyl) ester | 55-91-4 | P043 |
| Dimethoate | Phosphorodithioic acid, O,O-dimethyl S-(2-(methylamino)-2-oxoethyl) ester | 60-51-5 | P044 |
| 3,3'-Dimethoxybenzidine | (1,1'-Biphenyl)-4,4'-diamine, 3,3'-dimethoxy- | 119-90-4 | U091 |
| p-Dimethylaminoazobenzene | Benzenamine, N,N-dimethyl-4-(phenylazo)- | 60-11-7 | U093 |
| 2,4-Dimethylaniline (2,4-xylidine) | Benzenamine, 2,4-dimethyl- | 95-68-1 |  |
| 7,12-Dimethylbenz(a)anthracene | Benz(a)anthracene, 7,12-dimethyl- | 57-97-6 | U094 |
| 3,3'-Dimethylbenzidine | (1,1'-Biphenyl)-4,4'-diamine, 3,3'-dimethyl- | 119-93-7 | U095 |
| Dimethylcarbamoyl chloride | Carbamic chloride, dimethyl- | 79-44-7 | U097 |
| 1,1-Dimethylhydrazine | Hydrazine, 1,1-dimethyl- | 57-14-7 | U098 |
| 1,2-Dimethylhydrazine | Hydrazine, 1,2-dimethyl- | 540-73-8 | U099 |
| α,α-Dimethylphenethylamine | Benzeneethanamine, α, α-dimethyl- | 122-09-8 | P046 |
| 2,4-Dimethylphenol | Phenol, 2,4-dimethyl- | 105-67-9 | U101 |
| Dimethylphthalate | 1,2-Benzenedicarboxylic acid, dimethyl ester | 131-11-3 | U102 |
| Dimethyl sulfate | Sulfuric acid, dimethyl ester | 77-78-1 | U103 |
| Dimetilan | Carbamic acid, dimethyl-, 1- ((dimethylamino) carbonyl)-5-methyl-1H-pyrazol-3-yl ester | 644-64-4 | P191 |
| Dinitrobenzene, N.O.S. | Benzene, dinitro- | 25154-54-5 |  |
| 4,6-Dinitro-o-cresol | Phenol, 2-methyl-4,6-dinitro- | 534-52-1 | P047 |
| 4,6-Dinitro-o-cresol salts |  |  | P047 |
| 2,4-Dinitrophenol | Phenol, 2,4-dinitro- | 51-28-5 | P048 |
| 2,4-Dinitrotoluene | Benzene, 1-methyl-2,4-dinitro- | 121-14-2 | U105 |
| 2,6-Dinitrotoluene | Benzene, 2-methyl-1,3-dinitro- | 606-20-2 | U106 |
| Dinoseb | Phenol, 2-(1-methylpropyl)-4,6-dinitro- | 88-85-7 | P020 |
| Di-n-octyl phthalate | 1,2-Benzenedicarboxylic acid, dioctyl ester | 117-84-0 | U107 |
| Diphenylamine | Benzenamine, N-phenyl- | 122-39-4 |  |
| 1,2-Diphenylhydrazine | Hydrazine, 1,2-diphenyl- | 122-66-7 | U109 |
| Di-n-propylnitrosamine | 1-Propanamine, N-nitroso-N-propyl- | 621-64-7 | U111 |
| Disulfiram | Thioperoxydicarbonic diamide, tetraethyl | 97-77-8 |  |
| Disulfoton | Phosphorodithioic acid, O,O-diethyl S-(2-(ethylthio)ethyl) ester | 298-04-4 | P039 |
| Dithiobiuret | Thioimidodicarbonic diamide ((H2N)C(S))2NH | 541-53-7 | P049 |
| Endosulfan | 6, 9-Methano-2,4,3-benzodioxa­thiepen,6,7,8,9,10,10-hexachloro-1,5,5a,6,9,9a-hexahydro-, 3-oxide, | 115-29-7 | P050 |
| Endothal | 7-Oxabicyclo(2.2.1)heptane-2,3-dicarboxylic acid | 145-73-3 | P088 |
| Endrin | 2,7:3,6-Dimethanonaphth(2,3-b)­oxirene, 3,4,5,6,9,9-hexachloro-1a,2,2a,3,6,6a,7,7a-octahydro-, (1a α,2β,2aβ,3α,6α,6aβ,7β,7aα)‑, | 72-20-8 | P051 |
| Endrin metabolites |  |  | P051 |
| Epichlorohydrin | Oxirane, (chloromethyl)- | 106-89-8 | U041 |
| Epinephrine | 1,2-Benzenediol, 4-(1-hydroxy-2-(methylamino)ethyl)-, (R)- | 51-43-4 | P042 |
| EPTC | Carbamothioic acid, dipropyl-, S-ethyl ester | 759-94-4 |  |
| Ethyl carbamate (urethane) | Carbamic acid, ethyl ester | 51-79-6 | U238 |
| Ethyl cyanide | Propanenitrile | 107-12-0 | P101 |
| Ethylenebisdithiocarbamic acid | Carbamodithioic acid, 1,2-ethane­diylbis- | 111-54-6 | U114 |
| Ethylenebisdithiocarbamic acid, salts and esters |  |  | U114 |
| Ethylene dibromide | Ethane, 1,2-dibromo- | 106-93-4 | U067 |
| Ethylene dichloride | Ethane, 1,2-dichloro- | 107-06-2 | U077 |
| Ethylene glycol monoethyl ether | Ethanol, 2-ethoxy- | 110-80-5 | U359 |
| Ethyleneimine | Aziridine | 151-56-4 | P054 |
| Ethylene oxide | Oxirane | 75-21-8 | U115 |
| Ethylenethiourea | 2-Imidazolidinethione | 96-45-7 | U116 |
| Ethylidine dichloride | Ethane, 1,1-dichloro- | 75-34-3 | U076 |
| Ethyl methacrylate | 2-Propenoic acid, 2-methyl-, ethyl ester | 97-63-2 | U118 |
| Ethyl methanesulfonate | Methanesulfonic acid, ethyl ester | 62-50-0 | U119 |
| Ethyl Ziram | Zinc, bis(diethylcarbamodithioato-S,S')- | 14324-55-1 | U407 |
| Famphur | Phosphorothioc acid, O-(4-((dimethylamino)sulfonyl)phenyl) O,O-dimethyl ester | 52-85-7 | P097 |
| Ferbam | Iron, tris(dimethylcarbamo­dithioato-S,S')-, | 14484-64-1 |  |
| Fluoranthene | Same | 206-44-0 | U120 |
| Fluorine | Same | 7782-41-4 | P056 |
| Fluoroacetamide | Acetamide, 2-fluoro- | 640-19-7 | P057 |
| Fluoroacetic acid, sodium salt | Acetic acid, fluoro-, sodium salt | 62-74-8 | P058 |
| Formaldehyde | Same | 50-00-0 | U122 |
| Formetanate hydrochloride | Methanimidamide, N,N-dimethyl-N'-(3-(((methylamino)carbonyl)­oxy)phenyl)-, monohydrochloride | 23422-53-9 | P198 |
| Formic acid | Same | 64-18-16 | U123 |
| Formparanate | Methanimidamide, N,N-dimethyl-N'-(2-methyl-4-(((methylamino)­carbonyl)oxy)phenyl)- | 17702-57-7 | P197 |
| Glycidylaldehyde | Oxiranecarboxaldehyde | 765-34-4 | U126 |
| Halomethanes, N.O.S. |  |  |  |
| Heptachlor | 4,7-Methano-1H-indene,1,4,5,6,7,8,8-heptachloro-3a,4,7,7a-tetrahydro- | 76-44-8 | P059 |
| Heptachlor epoxide | 2,5-Methano-2H-indeno(1, 2b)oxirene, 2,3,4,5,6,7,7-hepta­chloro-1a,1b,5,5a,6,6a-hexa­hydro‑, (1aα,1bβ,2α,5α,5aβ,‌6β,‌6aα)- | 1024-57-3 |  |
| Heptachlor epoxide (α, β, and γ isomers) |  |  |  |
| Heptachlorodibenzofurans |  |  |  |
| Heptachlorodibenzo-p-dioxins |  |  |  |
| Hexachlorobenzene | Benzene, hexachloro- | 118-74-1 | U127 |
| Hexachlorobutadiene | 1,3-Butadiene, 1,1,2,3,4,4-hexa­chloro- | 87-68-3 | U128 |
| Hexachlorocyclo-pentadiene | 1,3-Cyclopentadiene, 1,2,3,4,5,5-hexachloro- | 77-47-4 | U130 |
| Hexachlorodibenzo-p-dioxins |  |  |  |
| Hexachlorodibenzofurans |  |  |  |
| Hexachloroethane | Ethane, hexachloro- | 67-72-1 | U131 |
| Hexachlorophene | Phenol, 2,2'-methylenebis(3,4,6-trichloro- | 70-30-4 | U132 |
| Hexachloropropene | 1-Propene, 1,1,2,3,3,3-hexachloro- | 1888-71-7 | U243 |
| Hexaethyltetraphosphate | Tetraphosphoric acid, hexaethyl ester | 757-58-4 | P062 |
| Hydrazine | Same | 302-01-2 | U133 |
| Hydrogen cyanide | Hydrocyanic acid | 74-90-8 | P063 |
| Hydrogen fluoride | Hydrofluoric acid | 7664-39-3 | U134 |
| Hydrogen sulfide | Hydrogen sulfide H2S | 7783-06-4 | U135 |
| Indeno(1,2,3-cd)pyrene | Same | 193-39-5 | U137 |
| 3-Iodo-2-propynyl-n-butyl­carbamate | Carbamic acid, butyl-, 3-iodo-2-propynyl ester | 55406-53-6 |  |
| Isobutyl alcohol | 1-Propanol, 2-methyl- | 78-83-1 | U140 |
| Isodrin | 1,4:5,8-Dimethanonaphthalene, 1,2,3,4,10,10-hexachloro-1,4,4a,5,8,8a-hexahydro- (1α,4α,4aβ,5β,8β,8aβ)-, | 465-73-6 | P060 |
| Isolan | Carbamic acid, dimethyl-, 3-methyl-1-(1-methylethyl)-1H-pyrazol-5-yl ester | 119-38-0 | P192 |
| Isosafrole | 1,3-Benzodioxole, 5-(1-propenyl)- | 120-58-1 | U141 |
| Kepone | 1,3,4-Metheno-2H-cyclobuta(cd)­pentalen-2-one, 1,1a,3,3a,4,5,5,5a,5b,6-decachlorooctahydro-, | 143-50-0 | U142 |
| Lasiocarpine | 2-Butenoic acid, 2-methyl-, 7-((2,3-dihydroxy-2-(1-methoxyethyl)-3-methyl-1-oxobutoxy)methyl)-2,3,5,7a-tetrahydro-1H-pyrrolizin-l-yl ester, (1S-(1-α(Z),7(2S\*,3R\*),7aα))- | 303-34-4 | U143 |
| Lead | Same | 7439-92-1 |  |
| Lead and compounds, N.O.S. |  |  |  |
| Lead acetate | Acetic acid, lead (2+) salt | 301-04-2 | U144 |
| Lead phosphate | Phosphoric acid, lead (2+) salt (2:3) | 7446-27-7 | U145 |
| Lead subacetate | Lead, bis(acetato-O)tetrahydroxy­tri- | 1335-32-6 | U146 |
| Lindane | Cyclohexane, 1,2,3,4,5,6-hexa­chloro-, 1α,2α,3β,4α,5α,6β)- | 58-89-9 | U129 |
| Maleic anhydride | 2,5-Furandione | 108-31-6 | U147 |
| Maleic hydrazide | 3,6-Pyridazinedione, 1,2-dihydro- | 123-33-1 | U148 |
| Malononitrile | Propanedinitrile | 109-77-3 | U149 |
| Manganese dimethyldithio­carbamate | Manganese, bis(dimethylcarbamo­dithioato-S,S')-, | 15339-36-3 | P196 |
| Melphalan | L-Phenylalanine, 4-(bis(2-chloro­ethyl)amino)- | 148-82-3 | U150 |
| Mercury | Same | 7439-97-6 | U151 |
| Mercury compounds, N.O.S. |  |  |  |
| Mercury fulminate | Fulminic acid, mercury (2+) salt | 628-86-4 | P065 |
| Metam Sodium | Carbamodithioic acid, methyl-, monosodium salt | 137-42-8 |  |
| Methacrylonitrile | 2-Propenenitrile, 2-methyl- | 126-98-7 | U152 |
| Methapyrilene | 1,2-Ethanediamine, N,N-dimethyl-N'-2-pyridinyl-N'-(2-thienyl­methyl)- | 91-80-5 | U155 |
| Methiocarb | Phenol, (3,5-dimethyl-4-(methylthio)-, methylcarbamate | 2032-65-7 | P199 |
| Metholmyl | Ethanimidothioic acid, N-(((methylamino)carbonyl)oxy)-, methyl ester | 16752-77-5 | P066 |
| Methoxychlor | Benzene, 1,1'-(2,2,2-trichloro­ethylidene)bis(4-methoxy- | 72-43-5 | U247 |
| Methyl bromide | Methane, bromo- | 74-83-9 | U029 |
| Methyl chloride | Methane, chloro- | 74-87-3 | U045 |
| Methylchlorocarbonate | Carbonochloridic acid, methyl ester | 79-22-1 | U156 |
| Methyl chloroform | Ethane, 1,1,1-trichloro- | 71-55-6 | U226 |
| 3-Methylcholanthrene | Benz(j)aceanthrylene, 1,2-dihydro-3-methyl- | 56-49-5 | U157 |
| 4,4'-Methylenebis(2-chloro­aniline) | Benzenamine, 4,4'-methylene­bis(2-chloro- | 101-14-4 | U158 |
| Methylene bromide | Methane, dibromo- | 74-95-3 | U068 |
| Methylene chloride | Methane, dichloro- | 75-09-2 | U080 |
| Methyl ethyl ketone (MEK) | 2-Butanone | 78-93-3 | U159 |
| Methyl ethyl ketone peroxide | 2-Butanone, peroxide | 1338-23-4 | U160 |
| Methyl hydrazine | Hydrazine, methyl- | 60-34-4 | P068 |
| Methyl iodide | Methane, iodo- | 74-88-4 | U138 |
| Methyl isocyanate | Methane, isocyanato- | 624-83-9 | P064 |
| 2-Methyllactonitrile | Propanenitrile, 2-hydroxy-2-methyl- | 75-86-5 | P069 |
| Methyl methacrylate | 2-Propenoic acid, 2-methyl-, methyl ester | 80-62-6 | U162 |
| Methyl methanesulfonate | Methanesulfonic acid, methyl ester | 66-27-3 |  |
| Methyl parathion | Phosphorothioic acid, O,O-dimethyl O-(4-nitrophenyl) ester | 298-00-0 | P071 |
| Methylthiouracil | 4-(1H)-Pyrimidinone, 2,3-dihydro-6-methyl-2-thioxo- | 56-04-2 | U164 |
| Metolcarb | Carbamic acid, methyl-, 3-methyl­phenyl ester | 1129-41-5 | P190 |
| Mexacarbate | Phenol, 4-(dimethylamino)-3,5-dimethyl-, methylcarbamate (ester) | 315-18-4 | P128 |
| Mitomycin C | Azirino(2', 3':3, 4)pyrrolo(1, 2-a)indole-4, 7-dione, 6-amino-8-(((aminocarbonyl)oxy)methyl)-1,1a,2,8,8a,8b-hexahydro-8a-methoxy-5-methyl-, (1a-S-(1aα,‌8β,‌8aα,‌8bα))-, | 50-07-7 | U010 |
| Molinate | 1H-Azepine-1-carbothioic acid, hexahydro-, S-ethyl ester | 2212-67-1 |  |
| MNNG | Guanidine, N-methyl-N'-nitro-N-nitroso- | 70-25-7 | U163 |
| Mustard gas | Ethane, 1,1'-thiobis(2-chloro- | 505-60-2 | U165 |
| Naphthalene | Same | 91-20-3 | U165 |
| 1,4-Naphthoquinone | 1,4-Naphthalenedione | 130-15-4 | U166 |
| α-Naphthylamine | 1-Naphthalenamine | 134-32-7 | U167 |
| β-Naphthylamine | 2-Naphthalenamine | 91-59-8 | U168 |
| α-Naphthylthiourea | Thiourea, 1-naphthalenyl- | 86-88-4 | P072 |
| Nickel | Same | 7440-02-0 |  |
| Nickel compounds, N.O.S. |  |  |  |
| Nickel carbonyl | Nickel carbonyl Ni(CO)4, (T-4)- | 13463-39-3 | P073 |
| Nickel cyanide | Nickel cyanide Ni(CN)2 | 557-19-7 | P074 |
| Nicotine | Pyridine, 3-(1-methyl-2-pyrrolidinyl)-, (S)- | 54-11-5 | P075 |
| Nicotine salts |  |  | P075 |
| Nitric oxide | Nitrogen oxide NO | 10102-43-9 | P076 |
| p-Nitroaniline | Benzenamine, 4-nitro- | 100-01-6 | P077 |
| Nitrobenzene | Benzene, nitro- | 98-95-3 | U169 |
| Nitrogen dioxide | Nitrogen oxide NO2 | 10102-44-0 | P078 |
| Nitrogen mustard | Ethanamine, 2-chloro-N-(2-chloroethyl)-N-methyl- | 51-75-2 |  |
| Nitrogen mustard, hydrochloride salt |  |  |  |
| Nitrogen mustard N-oxide | Ethanamine, 2-chloro-N-(2-chloroethyl)-N-methyl-, N-oxide | 126-85-2 |  |
| Nitrogen mustard, N-oxide, hydrochloride salt |  |  |  |
| Nitroglycerin | 1,2,3-Propanetriol, trinitrate | 55-63-0 | P081 |
| p-Nitrophenol | Phenol, 4-nitro- | 100-02-7 | U170 |
| 2-Nitropropane | Propane, 2-nitro- | 79-46-9 | U171 |
| Nitrosamines, N.O.S. |  | 35576-91-1 |  |
| N-Nitrosodi-n-butylamine | 1-Butanamine, N-butyl-N-nitroso- | 924-16-3 | U172 |
| N-Nitrosodiethanolamine | Ethanol, 2,2'-(nitrosoimino)bis- | 1116-54-7 | U173 |
| N-Nitrosodiethylamine | Ethanamine, N-ethyl-N-nitroso- | 55-18-5 | U174 |
| N-Nitrosodimethylamine | Methanamine, N-methyl-N-nitroso- | 62-75-9 | P082 |
| N-Nitroso-N-ethylurea | Urea, N-ethyl-N-nitroso- | 759-73-9 | U176 |
| N-Nitrosomethylethylamine | Ethanamine, N-methyl-N-nitroso- | 10595-95-6 |  |
| N-Nitroso-N-methylurea | Urea, N-methyl-N-nitroso- | 684-93-5 | U177 |
| N-Nitroso-N-methylurethane | Carbamic acid, methylnitroso-, ethyl ester | 615-53-2 | U178 |
| N-Nitrosomethylvinylamine | Vinylamine, N-methyl-N-nitroso- | 4549-40-0 | P084 |
| N-Nitrosomorpholine | Morpholine, 4-nitroso- | 59-89-2 |  |
| N-Nitrosonornicotine | Pyridine, 3-(1-nitroso-2-pyrrolidinyl)-, (S)- | 16543-55-8 |  |
| N-Nitrosopiperidine | Piperidine, 1-nitroso- | 100-75-4 | U179 |
| N-Nitrosopyrrolidine | Pyrrolidine, 1-nitroso- | 930-55-2 | U180 |
| N-Nitrososarcosine | Glycine, N-methyl-N-nitroso- | 13256-22-9 |  |
| 5-Nitro-o-toluidine | Benzenamine, 2-methyl-5-nitro- | 99-55-8 | U181 |
| Octachlorodibenzo-p-dioxin (OCDD) | 1,2,3,4,6,7,8,9-Octachlorodibenzo-p-dioxin. | 3268-87-9 |  |
| Octachlorodibenzofuran (OCDF) | 1,2,3,4,6,7,8,9-Octachlorodibenzo­furan. | 39001-02-0 |  |
| Octamethylpyrophosphoramide | Diphosphoramide, octamethyl- | 152-16-9 | P085 |
| Osmium tetroxide | Osmium oxide OsO4, (T-4) | 20816-12-0 | P087 |
| Oxamyl | Ethanimidothioc acid, 2-(dimethylamino)-N-(((methyl­amino)carbonyl)oxy)-2-oxo-, methyl ester | 23135-22-0 | P194 |
| Paraldehyde | 1,3,5-Trioxane, 2,4,6-trimethyl- | 123-63-7 | U182 |
| Parathion | Phosphorothioic acid, O,O-diethyl O-(4-nitrophenyl) ester | 56-38-2 | P089 |
| Pebulate | Carbamothioic acid, butylethyl-, S-propyl ester | 1114-71-2 |  |
| Pentachlorobenzene | Benzene, pentachloro- | 608-93-5 | U183 |
| Pentachlorodibenzo-p-dioxins |  |  |  |
| Pentachlorodibenzofurans |  |  |  |
| Pentachloroethane | Ethane, pentachloro- | 76-01-7 | U184 |
| Pentachloronitrobenzene (PCNB) | Benzene, pentachloronitro- | 82-68-8 | U185 |
| Pentachlorophenol | Phenol, pentachloro- | 87-86-5 | See F027 |
| Phenacetin | Acetamide, N-(4-ethoxyphenyl)- | 62-44-2 | U187 |
| Phenol | Same | 108-95-2 | U188 |
| Phenylenediamine | Benzenediamine | 25265-76-3 |  |
| 1,2-Phenylenediamine | 1,2-Benzenediamine | 95-54-5 |  |
| 1,3-Phenylenediamine | 1,3-Benzenediamine | 108-45-2 |  |
| Phenylmercury acetate | Mercury, (acetato-O)phenyl- | 62-38-4 | P092 |
| Phenylthiourea | Thiourea, phenyl- | 103-85-5 | P093 |
| Phosgene | Carbonic dichloride | 75-44-5 | P095 |
| Phosphine | Same | 7803-51-2 | P096 |
| Phorate | Phosphorodithioic acid, O,O-diethyl S-((ethylthio)methyl) ester | 298-02-2 | P094 |
| Phthalic acid esters, N.O.S. |  |  |  |
| Phthalic anhydride | 1,3-Isobenzofurandione | 85-44-9 | U190 |
| Physostigmine | Pyrrolo(2,3-b)indol-5-ol, 1,2,3,3a,8,8a-hexahydro-1,3a,8-trimethyl-, methylcarbamate (ester), (3aS-cis)- | 57-47-6 | P204 |
| Physostigmine salicylate | Benzoic acid, 2-hydroxy-, compound with (3aS-cis)-1,2,3,3a,8,8a-hexahydro-1,3a,8-trimethylpyrrolo(2,3-b)indol-5-yl methylcarbamate ester (1:1) | 57-64-7 | P188 |
| 2-Picoline | Pyridine, 2-methyl- | 109-06-8 | U191 |
| Polychlorinated biphenyls, N.O.S. |  |  |  |
| Potassium cyanide | Same | 151-50-8 | P098 |
| Potassium dimethyldithio­carbamate | Carbamodithioc acid, dimethyl, potassium salt | 128-03-0 |  |
| Potassium n-hydroxymethyl-n-methyl-dithiocarbamate | Carbamodithioc acid, (hydroxy­methyl)methyl-, monopotassium salt | 51026-28-9 |  |
| Potassium n-methyldithio­carbamate | Carbamodithioc acid, methyl-monopotassium salt | 137-41-7 |  |
| Potassium silver cyanide | Argentate(1-), bis(cyano-C)-, potassium) | 506-61-6 | P099 |
| Potassium pentachlorophenate | Pentachlorophenol, potassium salt | 7778736 | None |
| Promecarb | Phenol, 3-methyl-5-(1-methyl­ethyl)-, methyl carbamate | 2631-37-0 | P201 |
| Pronamide | Benzamide, 3,5-dichloro-N-(1,1-dimethyl-2-propynyl)- | 23950-58-5 | U192 |
| 1,3-Propane sultone | 1,2-Oxathiolane, 2,2-dioxide | 1120-71-4 | U193 |
| Propham | Carbamic acid, phenyl-, 1-methyl­ethyl ester | 122-42-9 | U373 |
| Propoxur | Phenol, 2-(1-methylethoxy)-, methylcarbamate | 114-26-1 | U411 |
| n-Propylamine | 1-Propanamine | 107-10-8 | U194 |
| Propargyl alcohol | 2-Propyn-1-ol | 107-19-7 | P102 |
| Propylene dichloride | Propane, 1,2-dichloro- | 78-87-5 | U083 |
| 1,2-Propylenimine | Aziridine, 2-methyl- | 75-55-8 | P067 |
| Propylthiouracil | 4(1H)-Pyrimidinone, 2,3-dihydro-6-propyl-2-thioxo- | 51-52-5 |  |
| Prosulfocarb | Carbamothioic acid, dipropyl-, S-(phenylmethyl) ester | 52888-80-9 | U387 |
| Pyridine | Same | 110-86-1 | U196 |
| Reserpine | Yohimban-16-carboxylic acid, 11,17-dimethoxy-18-((3,4,5-tri­methoxybenzoyl)oxy)-, methyl ester, (3β,16β,17α,18β,20α)-, | 50-55-5 | U200 |
| Resorcinol | 1,3-Benzenediol | 108-46-3 | U201 |
| Safrole | 1,3-Benzodioxole, 5-(2-propenyl)- | 94-59-7 | U203 |
| Selenium | Same | 7782-49-2 |  |
| Selenium compounds, N.O.S. |  |  |  |
| Selenium dioxide | Selenious acid | 7783-00-8 | U204 |
| Selenium sulfide | Selenium sulfide SeS2 | 7488-56-4 | U205 |
| Selenium, tetrakis(dimethyl-dithiocarbamate | Carbamodithioic acid, dimethyl-, tetraanhydrosulfide with ortho­thioselenious acid | 144-34-3 |  |
| Selenourea | Same | 630-10-4 | P103 |
| Silver | Same | 7440-22-4 |  |
| Silver compounds, N.O.S. |  |  |  |
| Silver cyanide | Silver cyanide AgCN | 506-64-9 | P104 |
| Silvex (2,4,5-TP) | Propanoic acid, 2-(2,4,5-trichlorophenoxy)- | 93-72-1 | See F027 |
| Sodium cyanide | Sodium cyanide NaCN | 143-33-9 | P106 |
| Sodium dibutyldithiocarbamate | Carbamodithioic acid, dibutyl-, sodium salt | 136-30-1 |  |
| Sodium diethyldithiocarbamate | Carbamodithioic acid, diethyl-, sodium salt | 148-18-5 |  |
| Sodium dimethyldithiocarbamate | Carbamodithioic acid, dimethyl-, sodium salt | 128-04-1 |  |
| Sodium pentachlorophenate | Pentachlorophenol, sodium salt | 131522 | None |
| Streptozotocin | D-Glucose, 2-deoxy-2-(((methyl­nitrosoamino)carbonyl)amino)- | 18883-66-4 | U206 |
| Strychnine | Strychnidin-10-one | 57-24-9 | P108 |
| Strychnine salts |  |  | P108 |
| Sulfallate | Carbamodithioic acid, diethyl-, 2-chloro-2-propenyl ester | 95-06-7 |  |
| TCDD | Dibenzo(b,e)(1,4)dioxin, 2,3,7,8-tetrachloro- | 1746-01-6 |  |
| Tetrabutylthiuram disulfide | Thioperoxydicarbonic diamide, tetrabutyl | 1634-02-2 |  |
| Tetramethylthiuram monosulfide | Bis(dimethylthiocarbamoyl) sulfide | 97-74-5 |  |
| 1,2,4,5-Tetrachlorobenzene | Benzene, 1,2,4,5-tetrachloro- | 95-94-3 | U207 |
| Tetrachlorodibenzo-p-dioxins |  |  |  |
| Tetrachlorodibenzofurans |  |  |  |
| Tetrachloroethane, N.O.S. | Ethane, tetrachloro-, N.O.S. | 25322-20-7 |  |
| 1,1,1,2-Tetrachloroethane | Ethane, 1,1,1,2-tetrachloro- | 630-20-6 | U208 |
| 1,1,2,2-Tetrachloroethane | Ethane, 1,1,2,2-tetrachloro- | 79-34-5 | U209 |
| Tetrachloroethylene | Ethene, tetrachloro- | 127-18-4 | U210 |
| 2,3,4,6-Tetrachlorophenol | Phenol, 2,3,4,6-tetrachloro- | 58-90-2 | See F027 |
| 2,3,4,6-Tetrachlorophenol, potassium salt | Same | 53535276 | None |
| 2,3,4,6-Tetrachlorophenol, sodium salt | Same | 25567559 | None |
| Tetraethyldithiopyrophosphate | Thiodiphosphoric acid, tetraethyl ester | 3689-24-5 | P109 |
| Tetraethyl lead | Plumbane, tetraethyl- | 78-00-2 | P110 |
| Tetraethylpyrophosphate | Diphosphoric acid, tetraethyl ester | 107-49-3 | P111 |
| Tetranitromethane | Methane, tetranitro- | 509-14-8 | P112 |
| Thallium | Same | 7440-28-0 |  |
| Thallium compounds |  |  |  |
| Thallic oxide | Thallium oxide Tl2O3 | 1314-32-5 | P113 |
| Thallium (I) acetate | Acetic acid, thallium (1+) salt | 563-68-8 | U214 |
| Thallium (I) carbonate | Carbonic acid, dithallium (1+) salt | 6533-73-9 | U215 |
| Thallium (I) chloride | Thallium chloride TlCl | 7791-12-0 | U216 |
| Thallium (I) nitrate | Nitric acid, thallium (1+) salt | 10102-45-1 | U217 |
| Thallium selenite | Selenious acid, dithallium (1+) salt | 12039-52-0 | P114 |
| Thallium (I) sulfate | Sulfuric acid, dithallium (1+) salt | 7446-18-6 | P115 |
| Thioacetamide | Ethanethioamide | 62-55-5 | U218 |
| Thiodicarb | Ethanimidothioic acid, N,N'-(thiobis((methylimino)carbonyl­oxy))-bis-, dimethyl ester | 59669-26-0 | U410 |
| Thiofanox | 2-Butanone, 3,3-dimethyl-1-(methylthio)-, O-((methylamino)­carbonyl)oxime | 39196-18-4 | P045 |
| Thiophanate-methyl | Carbamic acid, (1,2-phyenylenebis(iminocarbono­thioyl))bis-, dimethyl ester | 23564-05-8 | U409 |
| Thiomethanol | Methanethiol | 74-93-1 | U153 |
| Thiophenol | Benzenethiol | 108-98-5 | P014 |
| Thiosemicarbazide | Hydrazinecarbothioamide | 79-19-6 | P116 |
| Thiourea | Same | 62-56-6 | P219 |
| Thiram | Thioperoxydicarbonic diamide ((H2N)C(S))2S2, tetramethyl- | 137-26-8 | U244 |
| Tirpate | 1,3-Dithiolane-2-carboxaldehyde, 2,4-dimethyl-, O-((methylamino)­carbonyl)oxime | 26419-73-8 | P185 |
| Toluene | Benzene, methyl- | 108-88-3 | U220 |
| Toluenediamine | Benzenediamine, ar-methyl- | 25376-45-8 | U221 |
| Toluene-2,4-diamine | 1,3-Benzenediamine, 4-methyl- | 95-80-7 |  |
| Toluene-2,6-diamine | 1,3-Benzenediamine, 2-methyl- | 823-40-5 |  |
| Toluene-3,4-diamine | 1,2-Benzenediamine, 4-methyl- | 496-72-0 |  |
| Toluene diisocyanate | Benzene, 1,3-diisocyanatomethyl- | 26471-62-5 | U223 |
| o-Toluidine | Benzenamine, 2-methyl- | 95-53-4 | U328 |
| o-Toluidine hydrochloride | Benzeneamine, 2-methyl-, hydro­chloride | 636-21-5 | U222 |
| p-Toluidine | Benzenamine, 4-methyl- | 106-49-0 | U353 |
| Toxaphene | Same | 8001-35-2 | P123 |
| Triallate | Carbamothioic acid, bis(1-methyl­ethyl)-, S-(2,3,3-trichloro-2-propenyl) ester | 2303-17-5 | U389 |
| 1,2,4-Trichlorobenzene | Benzene, 1,2,4-trichloro- | 120-82-1 |  |
| 1,1,2-Trichloroethane | Ethane, 1,1,2-trichloro- | 79-00-5 | U227 |
| Trichloroethylene | Ethene, trichloro- | 79-01-6 | U228 |
| Trichloromethanethiol | Methanethiol, trichloro- | 75-70-7 | P118 |
| Trichloromonofluoromethane | Methane, trichlorofluoro- | 75-69-4 | U121 |
| 2,4,5-Trichlorophenol | Phenol, 2,4,5-trichloro- | 95-95-4 | See F027 |
| 2,4,6-Trichlorophenol | Phenol, 2,4,6-trichloro- | 88-06-2 | See F027 |
| 2,4,5-T | Acetic acid, (2,4,5-trichloro­phenoxy)- | 93-76-5 | See F027 |
| Trichloropropane, N.O.S. |  | 25735-29-9 |  |
| 1,2,3-Trichloropropane | Propane, 1,2,3-trichloro- | 96-18-4 |  |
| Triethylamine | Ethanamine, N,N-diethyl- | 121-44-8 | U404 |
| O,O,O-Triethylphosphorothioate | Phosphorothioic acid, O,O,O-triethyl ester | 126-68-1 |  |
| 1,3,5-Trinitrobenzene | Benzene, 1,3,5-trinitro- | 99-35-4 | U234 |
| Tris(1-aziridinyl)phosphine sulfide | Aziridine, 1,1',1"-phosphino­thioylidynetris- | 52-24-4 |  |
| Tris(2,3-dibromopropyl) phosphate | 1-Propanol, 2,3-dibromo-, phosphate (3:1) | 126-72-7 | U235 |
| Trypan blue | 2,7-Naphthalenedisulfonic acid, 3,3'-((3,3'-dimethyl(1,1'-biphenyl)-4,4'-diyl)bis(azo))bis(5-amino-4-hydroxy)‑, tetrasodium salt | 72-57-1 | U236 |
| Uracil mustard | 2,4-(1H,3H)-Pyrimidinedione, 5-(bis(2-chloroethyl)amino)- | 66-75-1 | U237 |
| Vanadium pentoxide | Vanadium oxide V2O5 | 1314-62-1 | P120 |
| Vernolate | Carbamothioc acid, dipropyl-, S-propyl ester | 1929-77-7 |  |
| Vinyl chloride | Ethene, chloro- | 75-01-4 | U043 |
| Warfarin | 2H-1-Benzopyran-2-one, 4-hydroxy-3-(3-oxo-1-phenylbutyl)-, when present at concentrations less than 0.3 percent | 81-81-2 | U248 |
| Warfarin | 2H-1-Benzopyran-2-one, 4-hydroxy-3-(3-oxo-1-phenylbutyl)-, when present at concentrations greater than 0.3 percent | 81-81-2 | P001 |
| Warfarin salts, when present at concentrations less than 0.3 percent |  |  | U248 |
| Warfarin salts, when present at concentrations greater than 0.3 percent |  |  | P001 |
| Zinc cyanide | Zinc cyanide Zn(CN)2 | 557-21-1 | P121 |
| Zinc phosphide | Zinc phosphide P2Zn3, when present at concentrations greater than 10 percent | 1314-84-7 | P122 |
| Zinc phosphide | Zinc phosphide P2Zn3, when present at concentrations of 10 percent or less | 1314-84-7 | U249 |
| Ziram | Zinc, bis(dimethylcarbamo­dithioato-S,S')- (T-4)- | 137-30-4 | P205 |

Note:  The abbreviation N.O.S. (not otherwise specified) signifies those members of the general class that are not specifically listed by name in this Section.

(Source: Amended at 42 Ill. Reg. 21673, effective November 19, 2018)

**Section 721.APPENDIX I Wastes Excluded by Administrative Action**

**Section 721.TABLE A Wastes Excluded by USEPA pursuant to 40 CFR 260.20 and 260.22 from Non-Specific Sources**

|  |  |
| --- | --- |
| Facility Address | Waste Description |

|  |
| --- |
| (None excluded from an Illinois source at this time) |

(Source: Amended at 37 Ill. Reg. 3213, effective March 4, 2013)

**Section** **721.APPENDIX I Wastes Excluded by Administrative Action**

**Section** **721.TABLE B Wastes Excluded by USEPA pursuant to 40 CFR 260.20 and 260.22 from Specific Sources**

|  |  |
| --- | --- |
| Facility Address | Waste Description |
| Amoco Oil Company  Wood River, Illinois | 150 million gallons of DAF float from petroleum refining contained in four surge ponds after treatment with the Chemfix stabilization process. This waste contains USEPA hazardous waste number K048. This exclusion applies to the 150 million gallons of waste after chemical stabilization as long as the mixing ratios of the reagent with the waste are monitored continuously and do not vary outside of the limits presented in the demonstration samples and one grab sample is taken each hour from each treatment unit, composited, and TCLP tests performed on each sample. If the levels of lead or total chromium exceed 0.5 ppm in the EP extract, then the waste that was processed during the compositing period is considered hazardous; the treatment residue must be pumped into bermed cells to ensure that the waste is identifiable in the event that removal is necessary. |
| Conversion Systems, Inc.  Horsham, Pennsylvania (Sterling, Illinois operations) | Chemically stabilized electric arc furnace dust (CSEAFD) that is generated by Conversion Systems, Inc. (CSI) (using the Super Detox® treatment process, as modified by CSI to treat electric arc furnace dust (EAFD) (USEPA hazardous waste no. K061)), at the following site and which is disposed of in a RCRA Subtitle D municipal solid waste landfill (MSWLF): Northwestern Steel, Sterling, Illinois.  CSI must implement a testing program for each site that meets the following conditions:  1. Verification testing requirements: Sample collection and analyses, including quality control procedures, must be performed using appropriate methods. As applicable to the method-defined parameters of concern, analyses requiring the use of methods in “Test Methods for Evaluating Solid Waste, Physical/Chemical Methods”, USEPA publication number EPA-530/SW-846, incorporated by reference in 35 Ill. Adm. Code 720.111(a), must be used without substitution. As applicable, the EPA-530/SW-846 methods might include Methods 0010, 0011, 0020, 0023A, 0030, 0031, 0040, 0050, 0051, 0060, 0061, 1010A, 1020B, 1110A, 1310B, 1311, 1312, 1320, 1330A, 9010C, 9012B, 9040C, 9045D, 9060A, 9070A (uses USEPA Method 1664, Rev. A), 9071B, and 9095B.  A. Initial verification testing: During the first 20 days of full-scale operation of a newly-constructed Super Detox® treatment facility, CSI must analyze a minimum of four composite samples of CSEAFD representative of the full 20-day period. Composite samples must be composed of representative samples collected from every batch generated. The CSEAFD samples must be analyzed for the constituents listed in condition 3 below. CSI must report the operational and analytical test data, including quality control information, obtained during this initial period no later than 60 days after the generation of the first batch of CSEAFD.  B. Addition of new Super Detox® treatment facilities to the exclusion:  Option 1: If USEPA approves additional facilities, CSI may petition the Board for identical-in substance amendment of this exclusion pursuant to Section 22.4 for the Act and 35 Ill. Adm. Code 102 and 720.120(a), or  Option 2: If USEPA has not approved such amendment, CSI may petition the Board for amendment pursuant to the general rulemaking procedures of Section 27 of the Act and 35 Ill. Adm. Code 102 and 720.120(b); or  Option 3: Alternatively to options 1 or 2 above, CSI may petition the Board for a hazardous waste delisting pursuant to Section 28.1 of the Act and Subpart D of 35 Ill. Adm. Code 104 and 35 Ill. Adm. Code 720.122.  If CSI pursues general rulemaking (option 2 above) or hazardous waste delisting (option 3 above), it must demonstrate that the CSEAFD generated by a specific Super Detox® treatment facility consistently meets the delisting levels specified in condition 3 below.  C. Subsequent verification testing: For the approved facility, CSI must collect and analyze at least one composite sample of CSEAFD each month. The composite samples must be composed of representative samples collected from all batches treated in each month. These monthly representative samples must be analyzed, prior to the disposal of the CSEAFD, for the constituents listed in condition 3 below. CSI may, at its discretion, analyze composite samples gathered more frequently to demonstrate that smaller batches of waste are non-hazardous.  2. Waste holding and handling: CSI must store as hazardous all CSEAFD generated until verification testing, as specified in condition 1A or 1C above, as appropriate, is completed and valid analyses demonstrate that condition 3 below is satisfied. If the levels of constituents measured in the samples of CSEAFD do not exceed the levels set forth in condition 3, then the CSEAFD is non-hazardous and may be disposed of in a RCRA Subtitle D municipal solid waste landfill. If constituent levels in a sample exceed any of the delisting levels set forth in condition 3 below, the CSEAFD generated during the time period corresponding to this sample must be retreated until it meets these levels or managed and disposed of as hazardous waste, in accordance with 35 Ill. Adm. Code 702 through 705, 720 through 728, 733, 738, and 739. CSEAFD generated by a new CSI treatment facility must be managed as a hazardous waste prior to the addition of the name and location of the facility to this exclusion pursuant to condition 1C above. After addition of the new facility to the exclusion pursuant to condition 1B above, CSEAFD generated during the verification testing in condition 1A is also non-hazardous if the delisting levels in condition 3 are satisfied.  3. Delisting levels: All leachable concentrations for metals must not exceed the following levels (in parts per million (ppm)): antimony—0.06; arsenic—0.50; barium—7.6; beryllium—0.010; cadmium—0.050; chromium—0.33; lead—0.15; mercury—0.009; nickel—1; selenium—0.16; silver—0.30; thallium—0.020; vanadium—2; and zinc—70. Metal concentrations must be measured in the waste leachate by the method specified in Section 721.124.  4. Changes in operating conditions: After initiating subsequent testing, as described in condition 1C, if CSI significantly changes the stabilization process established pursuant to condition 1 (e.g., use of new stabilization reagents), CSI must seek amendment of this exclusion using one of the options set forth in condition 1B above. After written amendment of this exclusion, CSI may manage CSEAFD wastes generated from the new process as non-hazardous if the wastes meet the delisting levels set forth in condition 3 above.  5. Data submittals: At least one month prior to operation of a new Super Detox® treatment facility, CSI must notify the Agency in writing when the Super Detox® treatment facility is scheduled to be on-line. The data obtained through condition 1A must be submitted to the Agency within the time period specified. Records of operating conditions and analytical data from condition 1 must be compiled, summarized, and maintained on site for a minimum of five years. These records and data must be furnished to the Agency upon request and made available for inspection. Failure to submit the required data within the specified time period or to maintain the required records on site for the specified time will be considered a violation of the Act and Board regulations. All data submitted must be accompanied by a signed copy of the following certification statement to attest to the truth and accuracy of the data submitted:  “Under civil and criminal penalty of law for the making or submission of false or fraudulent statements or representations, I certify that the information contained in or accompanying this document is true, accurate, and complete.  “As to (those) identified section(s) of this document for which I cannot personally verify its (their) truth and accuracy, I certify as the company official having supervisory responsibility for the persons who, acting under my direct instructions, made the verification that this information is true, accurate, and complete.  “In the event that any of this information is determined by the Board or a court of law to be false, inaccurate, or incomplete, and upon conveyance of this fact to the company, I recognize and agree that this exclusion of waste will be void as if it never had effect or to the extent directed by the Board or court and that the company will be liable for any actions taken in contravention of the company’s obligations under the federal RCRA and Comprehensive Environmental Response, Compensation and Liability Act (42 USC 9601 et seq.) and corresponding provisions of the Act premised upon the company’s reliance on the void exclusion.”  BOARD NOTE: The obligations of this exclusion are derived from but also distinct from the obligations under the corresponding federally-granted exclusion of table 2 of appendix IX to 40 CFR 261. |

(Source: Amended at 42 Ill. Reg. 21673, effective November 19, 2018)

**Section 721.APPENDIX I Wastes Excluded by Administrative Action**

**Section 721.TABLE C Wastes Excluded by USEPA pursuant to 40 CFR 260.20 and 260.22 from Commercial Chemical Products, Off-Specification Species, Container Residues, and Soil Residues Thereof**

|  |  |
| --- | --- |
| Facility Address | Waste Description |
| (None excluded from an Illinois source at this time) | |

(Source: Amended at 37 Ill. Reg. 3213, effective March 4, 2013)

**Section** **721.APPENDIX I Wastes Excluded by Administrative Action**

**Section 721.TABLE D Wastes Excluded by the Board by Adjusted Standard**

The Board has entered the following orders on petitions for adjusted standards for delisting, pursuant to 35 Ill. Adm. Code 720.122.

AS 91-1 Petition of Keystone Steel & Wire Co. for Hazardous Waste Delisting (Feb. 6, 1992 and Apr. 23, 1992). (Chemically stabilized electric arc furnace dust (K061 waste).)

AS 91‑3 Petition of Peoria Disposal Company for an Adjusted Standard from 35 Ill. Adm. Code 721.Subpart D (Feb. 4, 1993 and Mar. 11, 1993). (Chemically stabilized wastewater treatment sludges from electroplating, anodizing, chemical milling and etching, and circuit board manufacturing (F006 waste).)

AS 93-7 Petition of Keystone Steel & Wire Company for an Adjusted Standard from 35 Ill. Adm. Code 721.132 (Feb. 17, 1994, Mar. 17, 1994, and Dec. 14, 1994). (Chemically stabilized waste pickling liquor (K062 waste).)

AS 94-10 Petition of Envirite Corporation for an Adjusted Standard from 35 Ill. Adm. Code 721.Subpart D, AS 94-10 (Dec. 14, 1994 and Feb. 16, 1995). (Sludge from the treatment of multiple hazardous wastes (F006, F007, F008, F009, F011, F012, F019, K002, K003, K004, K005, K006, K007, K008, and K062 wastes).)

AS 08-5 Petition of BFI Waste Systems of North America, Inc. for Waste Delisting (Dec. 4, 2008). (F039 waste)

AS 08-10 RCRA Delisting Adjusted Standard Petition of Peoria Disposal Co. (Jan. 8, 2009). (Treated K061 waste)

(Source: Amended at 42 Ill. Reg. 21673, effective November 19, 2018)

**Section721.APPENDIX J Method of Analysis for Chlorinated Dibenzo‑p‑Dioxins and Dibenzofurans (Repealed)**

(Source: Repealed at 18 Ill. Reg. 12175, effective July 29, 1994)

**Section 721.APPENDIX Y Table to Section 721.138: Maximum Contaminant Concentration and Minimum Detection Limit Values for Comparable Fuel Specification (Repealed)**

(Source: Repealed at 42 Ill. Reg. 21673, effective November 19, 2018)

**Section** **721.APPENDIX Z Table to Section 721.102: Recycled Materials That Are Solid Waste**

The following table lists the instances when a recycled secondary material is solid waste, based on the type of secondary material and the mode of material management during recycling. This table supports the requirements of the recycling provision of the definition of solid waste rule, at Section 721.102(c).

Table

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | 1 | 2 | 3 | 4 |
|  | Use constituting disposal | Burning for energy recovery or use to produce a fuel | Reclamation (except as provided in Section 721.104­(a)(17), (a)(23), (a)(24), or (a)(27)) | Speculative accumulation |
| Applicable Subsection of Section 721.102: | (c)(1) | (c)(2) | (c)(3) | (c)(4) |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Spent materials | Yes | Yes | Yes | Yes |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sludges (listed in Section 721.131 or 721.132) | Yes | Yes | Yes | Yes |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sludges exhibiting a characteristic of hazardous waste | Yes | Yes | No | Yes |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| By-products (listed in Section 721.131 or 721.132) | Yes | Yes | Yes | Yes |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| By-products exhibiting a characteristic of hazardous waste | Yes | Yes | No | Yes |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Commercial chemical products listed in Section 721.133 | Yes | Yes | No | No |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Scrap metal that is not excluded pursuant to Section 721.104(a)(13) | Yes | Yes | Yes | Yes |

Yes - Defined as a solid waste

No - Not defined as a solid waste

BOARD NOTE:  Derived from Table 1 to 40 CFR 261.2 (2017).  The terms “spent materials”, “sludges”, “by-products”, “scrap metal”, and “processed scrap metal” are defined in Section 721.101.

(Source: Amended at 42 Ill. Reg. 21673, effective November 19, 2018)