ILLINOIS POLLUTION CONTROL BOARD

October 2, 2003

IN THE MATTER OF:	)

)	R03-15

SDWA UPDATE, USEPA AMENDMENTS	)	(Identical-in-Substance

(July 1, 2002 through December 31, 2002)	)	Rulemaking - Public Water Supply)

Adopted Rule.  Final Order.

OPINION OF THE BOARD (by W.A. Marovitz):

The Board today adopts amendments to the Illinois regulations that are “identical in substance” to drinking water regulations adopted by the United States Environmental Protection Agency (USEPA).  The USEPA rules implement Sections 1412(b), 1414(c), 1417(a), and 1445(a) of the federal Safe Drinking Water Act (SDWA) (42 U.S.C. §§ 300g-1(a), 300g-3(c), 300g-6(a), and 300j-4(a) (1994)).  This docket includes federal SDWA amendments that USEPA adopted in the period July 1, 2002 through December 31, 2002.  The substantive amendments involved in this proceeding update the analytical methods approved for determining contaminants in drinking water.  They also make minor changes to the consumer confidence report rule.

Sections 7.2 and 17.5 of the Environmental Protection Act (Act) (415 ILCS 5/7.2 and 17.5 (2002)) provide for quick adoption by the Board of regulations that are identical in substance to federal regulations that USEPA adopts to implement Sections 1412(b), 1414(c), 1417(a), and 1445(a) of the federal SDWA.  Section 17.5 also provides that Title VII of the Act and section 5 of the Administrative Procedure Act (APA) (5 ILCS 100/5-35 and 5-40 (2002)) do not apply to the Board’s adoption of identical-in-substance regulations.  The federal SDWA regulations are found at 40 C.F.R. 141 through 143.

This opinion supports an order that the Board also adopts today.  That order includes the text of the adopted amendments.  The Board will cause the adopted amendments to be filed no later than October 23, 2003 and published in the Illinois Register.

FEDERAL ACTIONS CONSIDERED IN THIS RULEMAKING

The following briefly summarizes the federal actions considered in this rulemaking.

Docket R03-1:  July 1, 2002 through December 31, 2002 SDWA Amendments

USEPA amended the federal SDWA regulations on five occasions during the period July 1, 2002 through December 31, 2002.  These are summarized below:

67 Fed. Reg. 65220 (October 23, 2002)

USEPA updated the various methods used for analysis of contaminants in wastewater and drinking water.  This included amendments to both the methods of 40 C.F.R. 136 and those referenced in 40 C.F.R. 141.

67 Fed. Reg. 65888 (October 29, 2002)

USEPA approved the analytical method and minimum reporting level for unregulated contaminant monitoring for Aeromonas bacteria and the approval of new methods for analysis of various synthetic organic chemical (SOC) contaminants in water.

67 Fed. Reg. 68911 (November 13, 2002)

USEPA corrected the October 29, 2002 action approving new methods for analysis for Aeromonas bacteria and the approval of two new methods for analysis of various SOC contaminants in water.

67 Fed. Reg. 70850 (November 27, 2002)

USEPA amended the public notice segments of the consumer confidence report rule (CCR).  It revised the mandatory health effects language for two SOC contaminants:  di(2-ethylhexyl)adipate and di(2-ethylhexyl)phthalate.  USEPA made a small number of minor amendments to the appendix to the CCR.

67 Fed. Reg. 73011 (December 9, 2002)

USEPA corrected a single misspelling in the November 27, 2002 (67 Fed. Reg. 70850) amendments to the public notice segments of the consumer confidence report rule (CCR).

No Board Action on Certain Aspects of the Federal Actions

Certain aspects of two of the federal actions that occurred during the period of July 1, 2002 through December 31, 2002, will require no action on the part of the Board to amend the Illinois drinking water regulations.  Major segments of the federal action of October 29, 2002 (67 Fed. Reg. 65888), related to monitoring for the unregulated microbiological contaminant, Aeromonas bacteria.  On November 13, 2002 (67 Fed. Reg. 68911), USEPA adopted corrections to the October 29, 2002 amendments, including segments relating to the Aeromonas bacteria monitoring requirements.  As stated in SDWA Update, USEPA Regulations (July 1, 1999 through December 31, 1999), R00-10 (Aug. 24, 2000), USEPA and the Agency have both commented that the unregulated contaminant monitoring provisions are not segments of the federal SDWA rules that the Board is required to adopt and maintain.  The Board will take no action on the aspects of these two sets of amendments that relate to unregulated contaminant monitoring for Aeromonas bacteria.

Other Federal Actions Having a Direct Impact on the

Illinois SDWA (Drinking Water) Regulations

In addition to the amendments to the federal SDWA regulations, amendments to certain other federal regulations occasionally have an effect on the Illinois hazardous waste rules.  Most notably, 35 Ill. Adm. Code 611.102 includes the incorporation of Appendices B and C of 40 C.F.R. 136 by reference.  These are federal Clean Water Act methods for analysis of contaminants in water.

As of the date of adopting the amendments involved in this docket, the Board has found three sets of amendments to the analytical methods for analysis of contaminants in water in 40 C.F.R. 136, but none of those amendments affected the text of the incorporated materials of Appendices B and C.  The three sets of amendments are the following:  October 23, 2002 (67 Fed. Reg. 65220), October 29, 2002 (67 Fed. Reg. 65876), and November 19, 2002 (67 Fed. Reg. 69952).  Segments of the USEPA amendments of October 23, 2002 and October 29, 2002, also involved drinking water methods, but the segments relating to 40 C.F.R. 136 will not require Board attention.  The federal amendments of November 19, 2002, are similarly irrelevant to drinking water regulation; they pertain to whole effluent toxicity (WET) testing.

None of these will require the Board to update the version of 40 C.F.R. 136 incorporated by reference in Section 611.102 to include the amendments.

Summary Tabulation of the Federal Actions Included in This Docket

| October 23, 2002 (67 Fed. Reg. 65220) | Updated methods for analysis of drinking water contaminants. |
| --- | --- |
| October 29, 2002 (67 Fed. Reg. 65888) | Two new methods for analysis of SOC contaminants in drinking water. |
| November 13, 2002 (67 Fed. Reg. 68911) | Correction of the October 29, 2002 new methods for analysis of SOC contaminants in drinking water. |
| November 27, 2002 (67 Fed. Reg. 70850) | Revised mandatory health effects language for di(2-ethylhexyl)adipate and di(2-ethylhexyl)phthalate and minor amendments to the appendix to the CCR. |
| December 9, 2002 (67 Fed. Reg. 73011) | Correction to the November 27, 2002 CCR amendments. |

PUBLIC COMMENTS

The Board proposed the present amendments for public comment on July 10, 2003.  A Notice of Proposed Amendments appeared in the July 25, 2003 issue of the Illinois Register, at 27 Ill. Reg. 11389.  The Board received public comments on this proposal for 45 days following that publication, until September 8, 2003.  USEPA filed a September 9, 2003 request for additional time, until September 30, 2003, to file its comments.  USEPA filed its comments on October 1, 2003.  The Board hereby accepts the USEPA comments.  The Board will file the adopted amendments with the Secretary of State no later than October 23, 2003.

During the public comment period the Board received two comments, as follow:

PC 1	September 8, 2003 letter from Lou Allyn Byus, Assistant Manager, Field Operations, Division of Public Water Supplies, Illinois Environmental Protection Agency, with attached July 17, 2003 letter from Charlene Denys, Chief, Ground Water and Drinking Water Branch, USEPA Region 5 to Roger Selburg, Manager, Division of Public Water Supplies.

PC 2	September 30, 2003 letter from Charlene J. Denys, Chief, Ground Water and Drinking Water Branch, USEPA, Region 5.

In PC 1, the Agency requests that the Board delete segments of the regulations and of certain Board notes that pertain to aldicarb, aldicarb sulfoxide, and aldicarb sulfone (the aldicarbs).  That request is discussed in detail in the segment of this opinion that begins on page 9.  The Board has amended the rules to address the substance of the Agency’s suggestions.  The Agency further requests that the Board make specific corrections to various segments of the rules.  The Board has made those corrections, as requested, and will not discuss them in any detail.  The corrections are itemized and indicated as suggested by the Agency, however, in the table that begins on page 87 of this opinion.  In PC 2, USEPA expressed its agreement with the comments of the Agency and stated that the Agency comments addressed all of USEPA’s concerns.

In addition to the comments received, the Board received a copy of the proposed amendments from the Joint Committee on Administrative Rules (JCAR) with suggested minor amendments and corrections to the text.  The Board does not discuss any particular JCAR suggestion or change prompted by any JCAR suggestion.  The revisions adopted are marked as suggested by JCAR in the table that begins on page 87 of this opinion.  A table that begins on page 95 indicates suggestions that the Board has not incorporated, along with a brief description of the reasons that the Board chose not to follow each suggestion.

DISCUSSION

The following discussion begins with a description of the types of deviations the Board makes from the literal text of federal regulations in adopting identical-in-substance rules.  It is followed by a discussion of the amendments and actions undertaken in direct response to the federal actions involved in this proceeding.  This first series of discussions is organized by federal subject matter, generally appearing in chronological order of the relevant Federal Register notices involved.  Finally, this discussion closes with a description of the amendments and actions that are not directly derived from the federal actions.

Discussion of the Federal Actions

Updated Methods for Analysis for Contaminants—Sections 611.101, 611.109, 611.510, 611.526, 611.600, 611.601, 611.611, 611.612, 611.645, and 611.720

On October 23, 2002 (67 Fed. Reg. 65220), USEPA amended the methods for analysis of contaminants in water and wastewater.  This included analytical methods used for determining compliance with the SDWA drinking water requirements.  The methods are for determining chemical, microbiological, and radiological contamination of water.  USEPA noted that a number of entities updated their published methods:  ASTM International, the United States Geological Survey (USGS), the United States Department of Energy (USDOE), the American Public Health Association (APHA), the American Water Works Association (AWWA), and the Water Environment Federation (WEF).  In updating the references to the various methods, USEPA stated that previously approved versions of the methods are still available for use.  On October 29, 2002, USEPA approved two new methods for analysis of drinking water for various SOC contaminants.  USEPA published a correction to the October 29, 2002 notice on November 13, 2002 (67 Fed. Reg. 68911).  Persons interested in the details of the federal amendments should consult the Federal Register notices of October 23, 2002, October 29, 2002, and November 13, 2002.

The Board incorporated the October 23, 2002 and October 29, 2002 federal amendments into the Illinois drinking water regulations by revision of the various references to the methods, where necessary, and by updating the incorporations of the methods by reference.  The principal amendments on October 23, 2002, included the addition of references to the new Twentieth Edition of the Standard Methods for the Examination of Water and Wastewater and updating several of the ASTM method references.  The principal amendments on October 29, 2003, included the addition of USEPA methods 531.2 and 515.4 for SOC contaminants, two commercially available methods for total coliforms in water, two new methods for analysis of cyanide in water (one available from USEPA, and one commercially available), and a commercial method for analysis of a single SOC in water.  These amendments prompted a plenary review of all the methods incorporated by reference and of the incorporations of those methods by reference.  This has resulted in the addition and deletion of a number of incorporations of methods by reference based on substantive references to the methods for use in the text of the rules.  The Board notes that new USEPA methods 531.2 and 515.4 are available for download from the USEPA website.  This is the first time the Board has listed the Internet as a source for incorporated documents.

The table that appears below on page 12 itemizes the changes made by the Board to the text of the federal rules.  The Board requested public comment on the October 23, 2002 and October 29, 2002 federal analytical methods amendments and the November 13, 2002 corrections.  Although the Board received a number of suggestions for minor corrections to the text, there were no substantive comments.

Revised Health Effects Language for the Consumer Confidence Rule—Appendix A to Part 611

On November 27, 2002 (67 Fed. Reg. 70850), USEPA amended aspects of the health effects language for the consumer confidence rule.  The principal amendments relate to two chemicals, di(2-ethylhexyl)adipate and di(2-ethylhexyl)phthalate.  Other amendments are called minor corrections by USEPA.  USEPA published a minor correction to the November 27, 2002 action on December 9, 2002 (67 Fed. Reg. 73011).  Persons interested in the details of the federal amendments should consult the Federal Register notices of November 27, 2002 and December 9, 2002.

The Board incorporated the November 27, 2002 and December 9, 2002 federal amendments into the Illinois drinking water regulations with only minor stylistic changes that have no substantive effect.

The table that appears below on page 12 itemizes the changes made by the Board to the text of the federal rules.  The Board requested public comment on the November 27, 2002 and December 9, 2002 federal analytical methods amendments.  Although the Board received a number of suggestions for minor corrections to the text, there were no substantive comments.

General Revisions and Deviations from the Federal Text

In incorporating the federal rules into the Illinois system, some deviation from the federal text is unavoidable.  This deviation arises primarily through differences between the federal and state regulatory structure and systems.  Some deviation also arises through errors in and problems with the federal text itself.  The Board conforms the federal text to the Illinois rules and regulatory scheme and corrects errors in the text during these routine update rulemakings.

In addition to the amendments derived from federal amendments, the Board often finds it necessary to alter the text of various passages of the existing rules as provisions are opened for update in response to USEPA actions.  This involves correcting deficiencies, clarifying provisions, and making other changes that are necessary to establish a clear set of rules that closely parallel the corresponding federal requirements within the codification scheme of the Illinois Administrative Code.

The Board updates the citations to the Code of Federal Regulations to the most recent version available.  As of the date of this opinion, the most recent version of the Code of Federal Regulations available to the Board is the July 1, 2002 edition.  Thus, we have updated all citations to the 2002 edition, adding references to later amendments using their appropriate Federal Register citation, where necessary.

The Board substituted “or” for “/” in most instances where this appeared in the federal base text, using “and” where more appropriate.  The Board further used this opportunity to make a number of corrections to punctuation, grammar, spelling, and cross-reference format throughout the opened text.  We changed “who” to “that” and “he” or “she” to “it,” where the person to which the regulation referred was not necessarily a natural person, or to “he or she,” where a natural person was evident; changed “which” to “that” for restrictive relative clauses; substituted “must” for “shall”; capitalized the section headings and corrected their format where necessary; and corrected punctuation within sentences.

In addition, the federal rules have been edited to establish a uniform usage throughout the Board’s regulations.  For example, with respect to “shall,” “will,” and “may,” “must” is used when an action is required by the rule, without regard to whether the action is required of the subject of the sentence or not.  “Shall” is no longer used, since it is not used in everyday language.  Thus, where a federal rule uses “shall,” the Board usually substitutes “must.”  An exception to this would be that the Board renders such phrases as “no person shall” as “no person may.”  This is a break from our former practice where “shall” was used when the subject of a sentence has a duty to do something.  “Will” is used when the Board obliges itself to do something.  “May” is used when choice of a provision is optional, with the exception of proscriptive use of may as indicated in the above example.  “Or” is used rather than “and/or,” and denotes “one or both.”  “Either . . . or” denotes “one but not both.”  “And” denotes “both.”

JCAR has requested that the Board refer to the United States Environmental Protection Agency in the same manner throughout all of our bodies of regulations—i.e., air, water, drinking water, Resource Conservation and Recovery Act (RCRA) Subtitle D (municipal solid waste landfill), RCRA Subtitle C (hazardous waste), underground injection control (UIC), etc.  The Board has decided to refer to the United States Environmental Protection Agency as “USEPA.”  We will continue this conversion in future rulemakings, as additional sections become open to amendment.  We will further convert “EPA” used in federal text to “USEPA,” where USEPA is clearly intended.

The Board has assembled tables to aid in the location of these alterations and to briefly outline their intended purpose.  The tables set forth the miscellaneous deviations from the federal text and corrections to the pre-amended base text of the rules in detail.  The tables are set forth and explained beginning at page 12 of this opinion.  There is no further discussion of most of the deviations and revisions elsewhere in this opinion.

Agency or Board Action

Section 7.2(a)(5) of the Act requires the Board to specify portions of the program USEPA over which will retain decision making authority.  Based on the general division of functions within the Act and other Illinois statutes, the Board is also to specify which State agency is to make decisions.

In situations in which the Board has determined that USEPA will retain decision-making authority, the Board has replaced “Regional Administrator” with USEPA, so as to avoid specifying which office within USEPA is to make a decision.

In some identical-in-substance rules, certain decisions pertaining to a permit application are not appropriate for the Agency to consider.  In determining the general division of authority between the Agency and the Board, the following factors should be considered:

1.	Whether the person making the decision is applying a Board regulation, or taking action contrary to a Board regulation--i.e., the decision is effectively granting relief from a Board regulation.  It generally takes some form of Board action to grant relief from a Board regulation.

2.	Whether there is a clear standard for action such that the Board can give meaningful review to an Agency decision.

3.	Whether the action would result in exemption from the permit requirement itself.  If so, Board action is generally required.

4.	Whether the decision amounts to “determining, defining or implementing environmental control standards” within the meaning of section 5(b) of the Act.  If so, it must be made by the Board.

There are four common classes of Board decisions:  variance, adjusted standard, site-specific rulemaking, and enforcement.  The first three are methods by which a regulation can be temporarily postponed (variance) or adjusted to meet specific situations (adjusted standard or site-specific rulemaking).  There often are differences in the nomenclature for these decisions between the USEPA and Board regulations.

Discussion of Corrective Amendments

The Board has traditionally used the occasion of these identical-in-substance updates to correct segments of the base text of the Illinois regulations.  The Board has added to this proceeding a number of corrective amendments to sections of the rules not affected by the underlying federal amendments.  These corrections are nearly exclusively non-substantive in effect.

When a necessary minor correction comes to the attention of the Board, Board staff makes a note of the correction, and it is set aside until the next opportunity to make the correction.  The next opportunity generally presents itself when the section involved is next opened for amendment as a result of amendments to the corresponding federal text.  Over the last few years, the Board has cataloged many changes, but the pace of completing the corrections has been slow, since only a limited number of all the sections involved in the wastewater pretreatment regulations have been the subject of federal amendments.

The Board is including a number of corrections in this docket.  The overall length of the text of Part 611 is about 450 pages.  The Board has reviewed the text of Part 611 in its entirety, and the proposal for public comment includes all corrections that came to the attention of the Board.  In the future, as time allows, the Board will open other Parts of Subtitle F relating to drinking water for corrections if federally derived amendments prompt such action.

The Board will not discuss particular corrective amendments in this segment of this discussion.  The corrections are each itemized in the table that begins on page 12 of this opinion.  The Board requested that the Agency, JCAR, and the regulated community review the table and the text of the corrections and comment on the corrections.  The Board also asked that the Agency, JCAR, and the regulated community aid in this process by submitting suggestions for correction of any errors of which they were aware.  The Board received suggestions for corrections from the Agency, in PC 1, and from JCAR.  The Board has made corrections to the text based on the suggestions received.  The following discussion considers the Agency suggestions relating to the aldicarbs.  The Board does not engage in specific discussion of the rest of the suggested changes, but the corrections made are reflected in table 3, which begins on page 87 of this opinion, and those not made are indicated in table 4, beginning on page 95.

Deletion of Requirements Relating to Aldicarb, Aldicarb Sulfoxide, and Aldicarb Sulfone

In PC 1, the Agency requested that the Board delete all references in the regulations that relate to aldicarb, aldicarb sulfoxide, and aldicarb sulfone (the aldicarbs).  These references relate to the maximum contaminant level (MCL), monitoring, analytical methods, and laboratory certification requirements for the aldicarbs (the aldicarb requirements).  The Agency attached a letter from USEPA and asserts that Illinois does not need to retain the aldicarb requirements to satisfy USEPA requirements.  The letter from USEPA briefly outlines the history and status of the aldicarb requirements.  USEPA concludes that it is not necessary to the State to retain the aldicarb requirements until USEPA takes further action under a national primary drinking water regulation (NPDWR) relating to them.

USEPA established the aldicarb requirements in 1991 as part of the “Phase IIB” NPDWRs, at 56 Fed. Reg. 30266 (July 1, 1991).  They were to become effective January 1, 1993.  See 56 Fed. Reg. 30266, 30274 (adding 40 C.F.R. 141.6(g) for the Phase IIB NPDWRs).  That action added the aldicarb requirements:  the MCLs (40 C.F.R. 141.61(c)), the best available technology (BAT) designations (40 C.F.R. 141.61(b)), the laboratory certification requirements (40 C.F.R. 141.24(h)(19)), and the public notification requirements (40 C.F.R. 141.32(e)(25)-(e)(27)).  The structure of the regulations was such that the existence of MCLs imposed analytical requirements for the aldicarbs.  See 40 C.F.R. 141.24(h)(11) (1991).

USEPA indefinitely postponed the effective date for the aldicarb requirements in 1992.  See 57 Fed. Reg. 22178 (May 27, 1992).  USEPA stayed the effectiveness pending its reconsideration of the MCLs for the aldicarbs.  To effect the stay, USEPA amended the effective date statement for the Phase IIB requirements to postpone the effectiveness of the MCLs for the aldicarbs, but did not postpone the effectiveness of the public notice requirements.  Further, USEPA added a footnote that required monitoring for the aldicarbs as unregulated contaminants.  See 57 Fed. Reg. 22178.

The Board observes that 40 C.F.R. 141.24(h)(11) imposes monitoring requirements for the purpose of demonstrating compliance with the MCLs of 40 C.F.R. 141.61(c).  If there is no effective MCL, the monitoring requirements cannot apply.  Similarly, the requirements for public notice cannot apply if there is no effective MCL, and the federal laboratory certification requirements cannot apply if analyses for the aldicarbs are not required to demonstrate compliance.

When incorporating the Phase IIB requirements into the Illinois regulations, in Phase IIB, and Lead and Copper Rules (June 1, 1991 through December 31, 1991), R92-3 (May 5, 1993), the Board incorporated the substantive content of the federal regulations.  To effect the federal stay, the Board added Board notes to references to the aldicarbs at Sections 611.311 (listings of the MCLs and BAT), 611.640 (definition of “Phase IIB SOCs”), 611.648(b) (sampling requirements), and Table Z to Part 611 (listing the federal effective date).  The notes explained the stay of the effective date for the MCLs, but also stated that the monitoring requirements for the aldicarbs were to become effective on January 1, 1993.

The Agency requested in PC 1 that the Board remove all requirements pertaining to the aldicarbs from the Illinois regulations.  The Agency especially requests that the Board remove the segment of the Board notes that states that the monitoring requirements became effective January 1, 1993.  The Board has granted the Agency’s request in significant part in these adopted amendments, but the Board cannot grant the request in its entirety.

Sections 7.2 and 17.5 of the Act require the Board to adopt regulations that are identical-in-substance to the federal regulations.  The federal regulations have retained the aldicarb requirements for several years, and USEPA has not taken action to remove them.  USEPA instead amended the effective date requirement to indefinitely postpone their effective date for the MCLs for these contaminants.  The MCLs, although not yet effective, remain codified in 40 C.F.R. 141.61(c).  The laboratory certification requirements remain codified in 40 C.F.R. 141.24(h)(18) and (h)(19).  The mandatory health effects language remains at 40 C.F.R. 141.32(e)(25) through (e)(27).

Section 7.2 of the Act defines “identical in substance” as meaning State regulations that require the same actions by the same persons as the federal regulations would require if administered in Illinois.  Thus, the removal of the aldicarb requirements from the Illinois regulations is possible because the federal aldicarb requirements would impose no requirements if they were implemented in Illinois because they never became effective.  The federal aldicarb requirements will not become effective until USEPA amends its rules to remove the postponement language from 40 C.F.R. 141.6.  While it is possible to remove all of the aldicarb requirements and maintain the Illinois regulations as identical-in-substance to the federal rules, removal of the aldicarb requirements would create a disparity between the language of the State and federal rules.  The Board would prefer to avoid such a disparity, especially since there is a simple alternative that would avoid the disparity.

Rather than remove the aldicarb requirements from the Illinois regulations, the Board has chosen to more closely follow the structure of the corresponding federal regulations relative to the aldicarbs.  The Board has retained the language of the aldicarb requirements, just as they appear in the corresponding federal rules.  To reflect the federal postponement of the effective date, the Board has amended the Board note attached to the aldicarb MCLs and BAT designations at Section 611.311.  The amended Board note clearly explains the postponed effective date for the federal MCLs for the aldicarbs, and it directly states that the aldicarb requirements are not effective in Illinois until the Board takes further action.  The Board further attached a statement to each reference to the aldicarbs and each of the aldicarb requirements that directs attention to the Board note attached to Section 611.311.  The following table indicates the action taken with respect to each reference to the aldicarbs and each of the aldicarb requirements.

| State Provision | Subject Matter | Corresponding Federal Provision | Board Action |
| --- | --- | --- | --- |
| 611.101 “SOCs” | Definition of “SOCs” | None | Added a Board note directing attention to the note attached to Section 611.311 |
| 611.311(b) | Designations of BAT | 40 C.F.R. 141.61(b) | Added a Board note to the entire Section explaining the regulatory status of the aldicarbs |
| 611.311(c) | Designation of MCLs | 40 C.F.R. 141.61(c) | Added a Board note to the entire Section explaining the regulatory status of the aldicarbs |
| 611.640 | Definition of “Phase IIB SOCs” | None | Replaced former explanatory Board note with a note directing attention to the note attached to Section 611.311 |
| 611.648(b) | Aldicarb followup monitoring requirements | 40 C.F.R. 141.24(h)(1)-(h)(3) | Added a Board note directing attention to the note attached to Section 611.311 |
| 611.648(g)(5)(B)(ii) | SOC sampling requirement | 40 C.F.R. 141.24(h)(6)(v) | Added a Board note directing attention to the note attached to Section 611.311 |
| 611.648(r)(2) | Detection limits for aldicarbs | 40 C.F.R. 141.24(h)(18) | Added a Board note directing attention to the note attached to Section 611.311 |
| 611.648(s)(2)(B) | laboratory acceptance limits for aldicarbs | 40 C.F.R. 141.24(h)(19)(i)(B) | Added a Board note directing attention to the note attached to Section 611.311 |
| 611.Table Z | Federal effective date for “Phase IIB SOCs” | 40 C.F.R. 141.6 | Replaced former explanatory Board note with a note directing attention to the note attached to Section 611.311 |

Removal of Special Monitoring Requirements for Unregualted Contaminants

Review of the aldicarb requirements forced review of the unregulated contaminants monitoring requirements.  Section 611.510(b)(11) set forth the Phase V unregulated organic contaminants and their respective analytical methods.  Sections 611.631 and 611.658 direct attention to Section 611.510 for requirements relating to monitoring unregulated inorganic and organic chemical contaminants, respectively.  The aldicarbs were listed in Section 611.510(b) as Phase V unregulated contaminants.  The Board note attached to Section 611.510(b) indicated it was derived from 40 C.F.R. 141.40(n) (2000).  Review of that version of the Code of Federal Regulations revealed that USEPA extensively amended 40 C.F.R. 141.40 in 1999 (at 64 Fed. Reg. 50556 (Sept. 17, 1999, effective January 1, 2001), and those amendments removed subsection (n).

In Safe Drinking Water Update, USEPA Regulations (July 1, 1999 through December 31, 1999), R00-10 (Aug. 24, 2000), the Board noted that USEPA and the Agency urged the Board not to incorporate the 1999 federal amendments to 40 C.F.R. 141.40.  USEPA and the Agency had asserted that the unregulated contaminants monitoring requirements were not a necessary element of the State SDWA program.  The Board did not incorporate those amendments, and the Board did not adopt the proposed amendments to Section 611.510.

Re-examination of the content of Sections 611.510, 611.631, and 611,658 results in the conclusion that the Board must repeal this Section at this time.  The time for completion of the monitoring as required under the existing text is long past.  The federal provisions on which Section 611.510 was originally based no longer exist in the USEPA regulations.  Finally, the monitoring required by Section 611.510 is not required by USEPA as an element of the Illinois SDWA program.  For these reasons, the Board has repealed Sections 611.510, 611.631, and 611,658 on adoption of these amendments.

In repealing the obsolete unregulated contaminants monitoring provisions of Sections 611.510, 611.631, and 611,658, the Board observes that unregulated contaminants monitoring will continue.  USEPA will periodically adopt regulations that require such monitoring.  USEPA will directly administer those requirements.

Discussion of Miscellaneous Housekeeping Amendments

Table 1 below list numerous corrections and amendments that are not based on current federal amendments.  Table 1 (beginning immediately below) includes deviations made in this final order from the verbatim text of the federal amendments.  Table 2 (beginning after table 1 immediately below) contains corrections and clarifications that the Board made in the base text involved in this proposal.  The amendments listed in Table 2 are housekeeping amendments not directly derived from the current federal amendments.  Table 3 (beginning on page 87 below) is a listing of revisions made to the text of the amendments from that proposed and set forth in the Board’s opinion and order of July 10, 2003.  Table 3 indicates the changes made, as well as the source that suggested each of the changes.  Table 4 (beginning on page 95 below) indicates suggested revisions that the Board has not made in adopting these amendments.  Each entry gives a brief explanation why the Board did not incorporate the suggested change.  Some of the entries in these tables are discussed further in appropriate segments of the general discussion beginning at page 6 of this opinion.

Table 1:

Deviations from the Text of the Federal Amendments

| Illinois Section | 40 C.F.R. Section | Revision(s) |
| --- | --- | --- |
| 611.102(a) “Membrane Filter . . .” | 141.21(f)(3) table, notes 13 and 14 | Corrected the spelling of “Escherichla” to “Escherichia” |
| 611.102(a) “Readycult Coliforms . . .” | 141.21(f)(3) table, notes 13 and 14 | Corrected the spelling of “Escherichla” to “Escherichia” |
| 611.102(b) “EM Science” | 141.21(f)(3) table, notes 13 and 14 | Corrected the spelling of “Escherichla” to “Escherichia” |
| 611.526(f)(2) | 141.21(a)(6)(ii) | Changed “the 18th edition (1992) may be used . . . as described in Method 9221B (paragraph 3) of Standard Methods (18th edition)” to “Standard Methods, 18th ed.: Method 9221 B may be used . . .” |
| 611.531(a)(2)(C)(i) | 141.74(a)(1) table note 2 | Changed numeric “8” to written “eight” |
| 611.Appendix A “chlorine dioxide” | Appendix A to Subpart O | Corrected “.8” to “800”; added “containing” before “chlorine dioxide” |
| 611.Appendix A “chlorite” | Appendix A to Subpart O | Added “containing” before “chlorite” |
| 611.Appendix A “di(2-ethylhexyl)adipate” | Appendix A to Subpart O | Added commas before and after “such as . . . enlargement” to offset the parenthetical |
| 611.Appendix H, ¶E.33 “di(2-ethylhexyl)adipate” | Appendix B to Subpart Q | Added commas before and after “such as . . . enlargement” to offset the parenthetical |

Table 2:

Board Housekeeping Amendments

| Section | Source | Revision(s) |
| --- | --- | --- |
| Part 611 heading | Board | Corrected the spelling of “pollutionf” to “pollution” |
| 611 table of contents, Section 611.100 entry | Board | Added a comma after “scope” to offset the final element of a series |
| 611 table of contents, Section 611.114 entry | Board | Changed to capitalized “Requirements” |
| 611 table of contents, Section 611.120 entry | Board | Changed to capitalized “Dates” |
| 611 table of contents, Section 611.232 entry | Board | Changed to capitalized “Site-Specific” |
| 611 table of contents, Section 611.272 entry | Board | Changed to capitalized “Following” |
| 611 table of contents, Section 611.300 entry | Board | Changed “chemicals” to “chemical contaminants” |
| 611 table of contents, Section 611.301 entry | Board | Changed “chemicals” to “chemical contaminants” |
| 611 table of contents, Section 611.310 entry | Board | Changed “chemicals” to “chemical contaminants” |
| 611 table of contents, Section 611.311 entry | Board | Changed “organic contaminants” to “organic chemical contaminants” |
| 611 table of contents, 611.320 entry | JCAR | Added “repealed” in parentheses |
| 611 table of contents, Subpart I heading | JCAR | Changed “and” to upper-case “AND” |
| 611 table of contents, Section 611.591 entry | Board | Added the indefinite article “a” before “State” |
| 611 table of contents, Section 611.680 entry | Board | Added a comma after “analytical” to offset the final element of a series |
| 611 table of contents, Subpart R heading | Board | Changed an em-dash to a colon |
| 611 table of contents, Section 611.870 entry | Board | Added “repealed” in parentheses |
| 611 table of contents, Section 611.881 entry | Board | Removed “of this Subpart” |
| 611 table of contents, Section 611.902 entry | Board | Changed an em-dash to a colon |
| 611 table of contents, Section 611.903 entry | Board | Changed an em-dash to a colon |
| 611 table of contents, Section 611.904 entry | Board | Changed an em-dash to a colon |
| 611 table of contents, Subpart X heading | Board | Changed an em-dash to a colon |
| 611 source note | Board, JCAR | Added a comma before “effective” in the entry for R00-10 |
| 611.100 heading | Board | Added a comma after “scope” to offset the final element of a series |
| 611.100(a) | Board, JCAR | Changed “which” to “that” for a restrictive relative clause; corrected the citation “42 U.S.C. 300f et seq.” to “42 USC 300g-1(b), 300g-3(c), 300g-6(a), and 300j-4(a)”; added the ending period |
| 611.100(b) | Board | Changed “which” to “that” for a restrictive relative clause; added the statutory citation “415 ILCS 5/7.2(a)(6)” in brackets |
| 611.100(c) | Board | Added a comma after “(‘non-CWS’)” to offset the final element of a series |
| 611.100(c)(2) | Board | Added “or DPH” |
| 611.100(c) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.100(d)(4) | Board | Changed “which” to “that” for a restrictive relative clause |
| 611.100(d) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.101 preamble | Board | Changed “the term” to “the following terms have the given meanings” |
| 611.101 “Agency” Board note | Board | Added the alternative abbreviated terms “Public Health or DPH” in parentheses |
| 611.101 “approved source of bottled water” | JCAR | Changed “state” to capitalized “State” |
| 611.101 “best available technology” | Board | Added a comma after “techniques” to offset the final element of a series |
| 611.101 “CT” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.101 “CT99.9” | Board | Changed “Section 611.Appendix B” to “Appendix B of this Part” |
| 611.101 “CT99.9” Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.101 “compliance cycle” | Board | Changed “begins” to past-tense “began” (twice); changed “ends” to past-tense “ended” |
| 611.101 “compliance period” | Board | Changed “runs” to past-tense “ran”; removed the unnecessary comma after “1993”; removed the unnecessary comma after “1996”; removed the unnecessary comma after “1999” |
| 611.101 “comprehensive performance evaluation Board note” | Board | Changed “appropriate” to “appropriately codified” |
| 611.101 “contaminant” | Board | Added a comma after “biological” to offset the final element of a series |
| 611.101 “diatomaceous earth filtration” | Board | Added “the following occur” |
| 611.101 “disinfection contact time” | Board | Added “as follows”; changed the ending comma to a semicolon |
| 611.101 “haloacetic acids (five)” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.101 “halogen” | Board | Added a comma after “bromine” to offset the final element of a series |
| 611.101 “inactivation ratio” | Board | Added “as follows” (twice) |
| 611.101 “initial compliance period” | Board | Added a comma after “thallium” to offset the final element of a series; changed “suppliers whose supplies have” to singular “a supplier whose system has”; changed “begins” to past-tense “began” |
| 611.101 “ℓ” | Board | Changed “L” to “ℓ” |
| 611.101 “maximum contaminant level goal” Board note | Board | Added the statutory citation “415 ILCS 5/17.5” in brackets |
| 611.101 “MFL” Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.101 “mg/ℓ” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.101 “Public Health” | Board | Added “or ‘DPH’” as an alternative defined term |
| 611.101 “public water system” | Board | Added “the following” |
| 611.101 “public water system” Board note | Board | Changed “Subpart F” to “Subpart F of this Part” |
| 611.101 “radioactive contaminants” Board note | Board | Changed “Subpart U” to “Subpart U of this Part” |
| 611.101 “residual disinfectant concentration” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.101 “sanitary survey” | Board | Added a comma after “operation” for a restrictive relative clause (twice) |
| 611.101 “service connection” Board note | Board, JCAR | Updated the United States Code citation to the most recent edition available; changed the symbol “&” to written “and” |
| 611.101 “SOC” | Board | Changed “benzo[a]pyrene” to “benzo(a)pyrene” |
| 611.101 “SOC” Board note | Agency | Added a cross-reference to a Board note explaining the regulatory status of requirements pertaining to the aldicarbs |
| 611.101 “special irrigation district” Board note | Board, JCAR | Updated the United States Code citation to the most recent edition available; changed the symbol “&” to written “and” |
| 611.101 “Subpart B system” | Board | Changed “Subpart B” to “Subpart B of this Part”; changed “611.Appendix B” to “Appendix B of this Part”; changed “611.Appendix C of this Part” to “Appendix C of this Part” |
| 611.101 “SUVA” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.101 “total organic carbon” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.101 “total trihalomethanes” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.101 “USEPA” | Board | Removed the alternative defined term “or ‘U.S. EPA’” |
| 611.101 “wellhead protection program” | Board, JCAR | Added the statutory citation “42 USC 300h-7” as a parenthetical offset by commas; added the statutory citation “415 ILCS 5.17.1” in brackets; removed the unnecessary comma from before “and 35 Ill. Adm. Code” that separated a two-element series; changed “35 Ill. Adm. Code 615 et seq.” to “35 Ill. Adm. Code 615-617” |
| 611.102(a) “Kaleda 101” | JCAR, Board | Corrected the spelling of “Kaleda”; moved the comma inside the closing quotation mark after “Thiocyanate” |
| 611.102(a) “Membrane Filter . . .” | JCAR, Board | Corrected the spelling of “Escherichia”; moved the comma inside the closing quotation mark after “Waters” |
| 611.102(a) “QuickChem Method . . .” | Board | Moved the comma inside the closing quotation mark after “analysis” |
| 611.102(a) “Readycult Coliforms . . .” | JCAR | Corrected the spelling of “Escherichla” to “Escherichia”; added a comma inside the closing quotation mark after “Waters” |
| 611.102(a) “SimPlate Method” | JCAR | Changed “method” to capitalized “Method” |
| 611.102(a) “Standard Methods” | JCAR | Removed the unnecessary comma after “Methods” that separated the subject and verb |
| 611.102(a) “Syngenta AG-625” | Board | Removed the address and telephone information from the definition |
| 611.102(a) “USEPA Organic Methods” | JCAR | Added a space to change “EPA815/B–00/001” to “EPA 815/B–00/001” |
| 611.102(b) “Access Analytical Systems, Inc.” | Board | Removed the entry for which no references are set forth |
| 611.102(b) “Advanced Polymer Systems” | Board | Changed the ending colon to a period |
| 611.102(b) “Advanced Polymer Systems” “Amco-AEPA-1 Polymer” | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.102(b) “American Public Health Association” | Board | Changed the ending colon to a period |
| 611.102(b) “American Waterworks Association,” “National Field Evaluation . . .” | Board | Moved the reference into correct alphabetical order; corrected the spelling of “Edburg” to “Edberg” |
| 611.102(b) “American Water Works Association” | Board | Changed the ending colon to a period |
| 611.102(b) “American Water Works Association” “Standard Methods,” 13th edition | Board | Placed the reference title “Standard Methods . . . Wastewater” in quotation marks |
| 611.102(b) “American Water Works Association” “Standard Methods,” 13th edition, Method 302 | Board | Added a comma after “suspended” to offset the final element of a series |
| 611.102(b) “American Water Works Association” “Standard Methods,” 13th edition, Method 305 | Board | Added a comma after “suspended” to offset the final element of a series |
| 611.102(b) “American Water Works Association” “Standard Methods,” 17th edition | Board | Added references to approved methods from this edition |
| 611.102(b) “American Water Works Association” “Standard Methods,” 17th edition, “Method 7110 B” | Board | Added a reference to this approved method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 17th edition, “Method 7500-Cs B” | Board | Added a reference to this approved method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 17th edition, “Method 77500-3H B” | Board | Added a reference to this approved method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 17th edition, “Method 7500-I B” | Board | Added a reference to this approved method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 17th edition, “Method 7500-I C” | Board | Added a reference to this approved method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 17th edition, “Method 7500-I D” | Board | Added a reference to this approved method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 17th edition, “Method 7500-Ra B” | Board | Added a reference to this approved method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 17th edition, “Method 7500-Ra C” | Board | Added a reference to this approved method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 17th edition, “Method 7500-Ra D” | Board | Added a reference to this approved method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 17th edition, “Method 7500-Sr B” | Board | Added a reference to this approved method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 17th edition, “Method 7500-U B” | Board | Added a reference to this approved method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 17th edition, “Method 7500-U C” | Board | Added a reference to this approved method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 18th edition | Board | Placed the reference title “Standard Methods . . . Wastewater” in quotation marks; changed the ending colon to a period |
| 611.102(b) “American Water Works Association” “Standard Methods,” 18th edition, “Method 3500-Mg E” | Board | Corrected the method title from “EDTA Titrimetric Method” to “Calculation Method” |
| 611.102(b) “American Water Works Association” “Standard Methods,” 18th edition, “Method 4500-Cl D” | Board | Added a reference to this approved method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 18th edition, “Method 4500-Cl E” | Board | Added a reference to this approved method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 18th edition, “Method 4500-Cl F” | Board | Added a reference to this approved method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 18th edition, “Method 4500-Cl G” | Board | Added a reference to this approved method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 18th edition, “Method 4500-Cl H” | Board | Added a reference to this approved method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 18th edition, “Method 4500-Cl I” | Board | Added a reference to this approved method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 18th edition, “Method 4500-ClO2 D” | Board | Added a reference to this approved method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 18th edition, “Method 4500-ClO2 E” | Board | Added a reference to this approved method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 18th edition, “Method 4500-SO42- C” | Board | Removed the reference to this obsolete method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 18th edition, “Method 4500-SO42- D” | Board | Removed the reference to this obsolete method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 18th edition, “Method 4500-SO42- F” | Board | Removed the reference to this obsolete method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 18th edition, “Method 6610” | Board | Removed the reference to this method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 18th edition, “Method 7500-Sr B” | Board | Added a reference to this approved method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 18th edition, “Method 9221 E” | Board | Added a reference to this approved method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 18th edition, “Method 9222 D” | Board | Added a reference to this approved method |
| 611.102(b) “American Water Works Association” “Supplement to the 18th Edition” | Board | Added references to approved methods from this edition |
| 611.102(b) “American Water Works Association” “Supplement to the 18th Edition,” “Method 6610” | Board | Added the reference to this method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition | Board | Placed the reference title “Standard Methods . . . Wastewater” in quotation marks; changed the ending colon to a period |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 2130 B” | Board | Added the reference to this method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 2550” | Board | Added a comma after “Laboratory” |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 3112 B” | Board | Added the reference to this method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 3500-Mg E” | Board | Corrected the method title from “EDTA Titrimetric Method” to “Calculation Method” |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 4500-Cl D” | Board | Moved the method into proper alphanumeric order |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 4500-Cl E” | Board | Moved the method into proper alphanumeric order |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 4500-Cl F” | Board | Moved the method into proper alphanumeric order |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 4500-Cl G” | Board | Moved the method into proper alphanumeric order |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 4500-Cl H” | Board | Moved the method into proper alphanumeric order |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 4500-Cl I” | Board | Moved the method into proper alphanumeric order |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 4500-ClO2 C” | Board | Moved the method into proper alphanumeric order |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 4500-ClO2 D” | Board | Moved the method into proper alphanumeric order |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 4500-ClO2 E” | Board | Moved the method into proper alphanumeric order |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 4500-O3 B” | Board | Added the reference to this method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 6651” | Board | Added the reference to this method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 7110 B” | Board | Added the reference to this method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 7110 C” | Board | Added the reference to this method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 7120 B” | Board | Corrected the method number from “7120-B” to “7120 B”; added “Gamma-Emitting Radionuclides” to the method title |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 7500-Cs B” | Board | Added the reference to this method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 7500-3H B” | Board | Added the reference to this method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 7500-I B” | Board | Added the reference to this method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 7500-I C” | Board | Added the reference to this method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 7500-I D” | Board | Added the reference to this method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 7500-Ra B” | Board | Added the reference to this method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 7500-Ra C” | Board | Added the reference to this method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 7500-Ra D” | Board | Added the reference to this method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 7500-Sr B” | Board | Added the reference to this method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 7500-U B” | Board | Added the reference to this method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 9215 B” | Board | Added the reference to this method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 9221 A” | Board | Added the reference to this method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 9221 B” | Board | Added the reference to this method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 9221 C” | Board | Added the reference to this method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 9221 D” | Board | Added the reference to this method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 9221 E” | Board | Added the reference to this method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 9222 A” | Board | Added the reference to this method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 9222 B” | Board | Added the reference to this method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 9222 C” | Board | Added the reference to this method |
| 611.102(b) “American Water Works Association” “Standard Methods,” 19th edition, “Method 9223” | Board | Added the reference to this method |
| 611.102(b) “American Water Works Association” “Supplement to the 19th Edition” | Board | Placed the reference title “Supplement to the 19th Edition . . . Wastewater” in quotation marks; changed the ending colon to a period |
| 611.102(b) “American Water Works Association” “Standard Methods,” 20th edition, “Method 9130 B” | Board | Added the reference to this method |
| 611.102(b) “Analytical Technology, Inc.” | Board | Changed the ending colon to a period |
| 611.102(b) “ASTM” | Board | Changed the ending colon to a period |
| 611.102(b) “Bran & Luebbe” | Board | Changed the ending colon to a period; updated the Code of Federal Regulations citation to the most recent edition available (twice) |
| 611.102(b) “EM Science” | JCAR | Added a comma after “Darmstadt”; corrected the spelling of “Escherichla” to “Escherichia” (twice) |
| 611.102(b) “ERDA Health and Safety Laboratory” | Board | Changed the ending colon to a period; updated the Code of Federal Regulations citation to the most recent edition available |
| 611.102(b) “Great Lakes Instruments, Inc.” | Board | Changed the ending colon to a period |
| 611.102(b) “The Hack Company” | Board | Changed the ending colon to a period |
| 611.102(b) “Millipore Corporation” | Board | Changed the ending colon to a period |
| 611.102(b) “NCRP” | Board | Changed the ending colon to a period |
| 611.102(b) “NSF” | Board | Changed the ending colon to a period |
| 611.102(b) “NTIS” | Board | Changed the ending colon to a period |
| 611.102(b) “NTIS,” “Technical Notes . . .” Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.102(b) “New Jersey Department . . .” | Board | Changed the ending colon to a period |
| 611.102(b) “New York Department . . .” | Board | Changed the ending colon to a period |
| 611.102(b) “Palintest, Ltd.” | Board | Changed the ending colon to a period |
| 611.102(b) “United States Department of Energy” | Board | Changed the ending colon to a period |
| 611.102(b) “United States Environmental Protection Agency, Office of Ground Water and Drinking Water,” “Method 515.4” | JCAR | Added a space to change “EPA815/B–00/001” to “EPA 815/B–00/001” |
| 611.102(b) “United States Environmental Protection Agency, Office of Ground Water and Drinking Water,” “Method 531.2” | JCAR | Added a comma after “Method 531.2” |
| 611.102(b) “United States Environmental Protection Agency” | Board | Changed the ending colon to a period |
| 611.102(b) “USEPA, Science and Technology Branch” | Board | Changed the ending colon to a period |
| 611.102(b) “USGS” | Board | Changed the ending colon to a period |
| 611.102(b) “Waters Corporation” | Board | Changed the ending colon to a period |
| 611.102(c) | Board | Corrected “Appendix B and C” to “Appendices B and C”; updated the Code of Federal Regulations citation to the most recent edition available |
| 611.103 | Board, JCAR | Corrected the spelling of “invlidity” to “invalidity”; added a comma after “sentence” to offset the final element of a series |
| 611.107(a) | Board | Corrected the subsection number format from “(a)” to “(b)”; added the statutory citation “415 ILCS 5/4(c)” in brackets |
| 611.107(b) | Board | Corrected the subsection number format from “(b)” to “(b)”; added the statutory citation “415 ILCS 5/4(d)” in brackets |
| 611.108 | Board | Added the statutory citation “415 ILCS 5/4(r)” in brackets |
| 611.109(a) | Board | Added the statutory citation “415 ILCS 5/Title VIII” in brackets |
| 611.109 Board note | Board | Changed “from 40 CFR 141.22(e) . . . and from 40 CFR 141.23(a)(4)” to “from 40 CFR 141.22(e) and 141.23 (a)(4)”’ updated the Code of Federal Regulations citation to the most recent edition available |
| 611.110(a) | Board | Added the statutory citation “415 ILCS 5/39(a)” in brackets |
| 611.110(c) | Board | Added the statutory citation “415 ILCS 5/40” in brackets |
| 611.110(d) | Board | Changed “initiated either” to “initiated in either of the following ways” |
| 611.110(d)(2) Board note | Board | Changed “subsection (d)(2) of this Section” to “this subsection (d)(2)”; changed “this subsection” to “this subsection (d)(2)” |
| 611.110(e) | Board | Changed “inorganic chemical contaminants” to “IOCs”; added a semicolon after “SOCs)” to offset the final element of a series that contains sub-series; changed the ending punctuation from a colon to a period |
| 611.110(e) Board note | Board | Changed “this subsection” to “this subsection (e)” |
| 611.110(e)(1) | Board | Changed the ending punctuation from a cmma to a semicolon |
| 611.110(e)(2)(D) | Board | Changed the ending punctuation from a colon to a period |
| 611.110(e)(2)(E) | Board | Added “as follows” offset by a comma |
| 611.110(e) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available (five times) |
| 611.111 preamble | Board | Changed “Section 1415” to lower-case “section 1415” (three times); changed “1415(a)(1)(A) and (B)” to “1415(a)(1)(A) and (a)(1)(B)”; added the statutory citation “42 USC 300g-4(a)(1)(A) and (a)(1)(B)” in parentheses; added the statutory citation “415 ILCS 5/35-37” in brackets (twice); changed “35 Ill. Adm. Code 104” to “Subpart B of 35 Ill. Adm. Code 104”; added the statutory citation “415 ILCS 5/27-28” in brackets; added the statutory citation “415 ILCS 5/28.1” in brackets; changed “35 Ill. Adm. Code 106” to “Subpart D of 35 Ill. Adm. Code 104” |
| 611.111(a) | Board | Added a comma after “rule” to offset the final element of a series |
| 611.111(a)(1) | Board | Changed “shall” to “must”; changed “35 Ill. Adm. Code 102, 104, or 106” to “35 Ill. Adm. Code 102 or 104” |
| 611.111(b)(1) | Board | Changed “shall” to “must” |
| 611.111(b)(1)(B) | Board | Changed “which” to “that” for a restrictive relative clause; added “the following” |
| 611.111(b)(2) | Board | Added “the following” |
| 611.111(b)(2)(A) | Board | Changed the ending punctuation from a comma to a semicolon |
| 611.111(b)(3)(B) | Board | Added “do the following” |
| 611.111(c)(1) | Board | Changed “shall” to “must” |
| 611.111(d) | Board | Changed “35 Ill. Adm. Code 102, 104, or 106” to “35 Ill. Adm. Code 102 or 104” |
| 611.111(e) | Board | Added “from any of the following” |
| 611.111(f) | Board | Changed “shall” to “must”; changed “Opinion and Order” to lower-case “opinion and order”; changed “Section 1415” to lower-case “section 1415”; added the statutory citation “42 USC 300g-4” in parentheses |
| 611.111 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available (twice); changed “Section 1415” to lower-case “section 1415”; changed “1415(a)(1)(A) and (B)” to “1415(a)(1)(A) and (a)(1)(B)” |
| 611.112 preamble | Board | Changed “Section 1416” to lower-case “section 1416” (three times); added the statutory citation “42 USC 300g-5” in parentheses; added the statutory citation “415 ILCS 5/35-37” in brackets (twice); changed “35 Ill. Adm. Code 104” to “Subpart B of 35 Ill. Adm. Code 104”; added the statutory citation “415 ILCS 5/27-28” in brackets; added the statutory citation “415 ILCS 5/28.1” in brackets; changed “35 Ill. Adm. Code 106” to “Subpart D of 35 Ill. Adm. Code 104” |
| 611.112(a)(1) | Board | Changed “shall” to “must”; changed “35 Ill. Adm. Code 102, 104, or 106” to “35 Ill. Adm. Code 102 or 104” |
| 611.112(b) | Board | Changed “shall” to “must” |
| 611.112(b)(2) | Board | Added “either of the following” |
| 611.112(c) | Board | Added “the following” |
| 611.112(d) | Board | Changed “Section 1412” to lower-case “section 1412”; added the statutory citation “42 USC 300g-1(b)(10)” in parentheses |
| 611.112(d)(2) | Board | Changed “which” to “that” for a restrictive relative clause |
| 611.112(e) | Board | Changed “35 Ill. Adm. Code 102, 104, or 106” to “35 Ill. Adm. Code 102 or 104” |
| 611.112(f) | Board | Changed “shall” to “must”; changed “Section 1416” to lower-case “section 1416”; added the statutory citation “42 USC 300g-5” in parentheses |
| 611.112(f) Board note | Board | Changed “Section 1416” to lower-case “section 1416”; added the statutory citation “42 USC 300g-5” in parentheses |
| 611.112(g) | Board | Added “from any of the following” |
| 611.112 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available (twice) |
| 611.113 preamble | Board | Changed “Section 1415” to lower-case “section 1415”; added the statutory citation “42 USC 300g-4(a)(3)” in parentheses |
| 611.113(b) | Board | Changed “shall” to “must”; changed “35 Ill. Adm. Code 106.Subpart G” to “Subpart D of 35 Ill. Adm. Code 104” |
| 611.113(c) | Board | Changed “shall” to “must” |
| 611.113(e)(1) | Board | Changed “shall” to “must”; changed the ending punctuation from a comma to a semicolon |
| 611.113(e)(2) | Board | Changed “shall” to “must”; changed “U.S. EPA” to “USEPA” |
| 611.113(e) Board note | Board | Changed “Section 1415” to lower-case “section 1415”; added the statutory citation “42 USC 300g-4(a)(3)” in parentheses |
| 611.114 heading | Board | Changed to capitalized “Requirements” |
| 611.114 preamble | Board | Changed “shall” to “must”; changed “site which” to “site of which the following is true” |
| 611.114(a) | Board | Added a comma after “fires” to offset the final element of a series; changed “which” to “that” for a restrictive relative clause; changed the ending punctuation from a period to a semicolon; changed “Or” to lower-case “or”; removed the comma after the ending conjunction |
| 611.114 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.115(a) | Board | Changed the em-dash after “supply” to a period; changed “shall” to “must” |
| 611.115(b) | Board | Changed the em-dash after “supply” to a period; changed “shall” to “must” |
| 611.115(c) | Board | Changed “shall” to “must” |
| 611.120 heading | Board | Changed to capitalized “Dates” |
| 611.120 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.121(a) | Board, JCAR | Changed “no person must cause” to “no person may cause” |
| 611.121(b) | Board | Changed the ending colon to a period |
| 611.121(b)(1) | Board | Changed “shall” to “must” (twice) |
| 611.121(b)(2) | Board | Changed “shall” to “must” |
| 611.121(c) | Board, JCAR | Changed “A MCL . . . must apply” to “An MCL . . . applies” |
| 611.121 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.125 | Board | Changed “which” to “that” for a restrictive relative clause; changed “shall” to “must” |
| 611.126(a) | Board | Added “any” before “solder”; added “any” before “flux”; removed the unnecessary comma after “flux” that separated the subject and verb; added “either of the following” |
| 611.126(a)(1) | Board | Changed the ending comma to a semicolon |
| 611.126(b) | Board | Added “means as follows” |
| 611.126 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available; updated the United States Code citation to the most recent edition available |
| 611.130(a)(1) | Board | Changed “which” to “that” for a restrictive relative clause |
| 611.130(a)(2)(A)(v) | Board | Changed the ending comma to a semicolon |
| 611.130(a)(4)(B) | Board | Changed the ending comma to a semicolon |
| 611.130(a) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.130(b)(2)(A)(vii) | Board | Changed the ending comma to a semicolon |
| 611.130(b)(4)(A) | Board, JCAR | Changed the ending comma to a semicolon |
| 611.130(b) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.130(c) | Board | Changed “inorganic chemical contaminant” to abbreviated “IOC” |
| 611.130(c)(1) | Board | Changed “inorganic chemical contaminant” to abbreviated “IOC”; changed “inorganic chemical contaminants” to abbreviated “IOCs” |
| 611.130(c)(2)(A) | Board | Changed the ending comma to a semicolon |
| 611.130(c) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.130(d) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.130(e) | Board | Changed the ending colon to a period |
| 611.130(e)(4)(B) | Board | Changed “21 CFR 129.80(g)(1) through (3)” to “21 CFR 129.80(g)(1) through (g)(3)” |
| 611.130(e) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.130(f)(2)(D) | JCAR | Added “do” before “the following” |
| 611.130(f) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.130(g)(1) | JCAR | Changed “the following means the following” to “the following means” |
| 611.130(g)(4) | Board | Added the statutory citation “415 ILCS 5/36” in brackets |
| 611.130(g) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.131 preamble | Board | Changed “Section 1415” to lower-case “section 1415” |
| 611.131(a) Board note | Board | Changed “35 Ill. Adm. Code 104” to “Subpart B of 35 Ill. Adm. Code 104” |
| 611.131(c)(2)(B) | Board | Changed “Section 1412” to lower-case “section 1412” |
| 611.131(e)(3) | Board | Changed “Section 1412” to lower-case “section 1412” |
| 611.131(f)(1)(C) | Board | Added “the following” |
| 611.131(f)(2)(C) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available; added the statutory citation “415 ILCS 5/36” in brackets |
| 611.131(f)(2)(D) | Board | Added “the following” |
| 611.131(g) | Board | Changed “35 Ill. Adm. Code 104” to “Subpart B of 35 Ill. Adm. Code 104” |
| 611.131(g)(1) | Board | Added “the following” |
| 611.131(g)(1)(A) | Board | Changed the ending comma to a semicolon |
| 611.131(i) | Board | Changed “Section 1415” to lower-case “section 1415” |
| 611.131 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.160(a) | Board | Changed “shall” to “must” |
| 611.160(a)(3) | Board | Changed “shall” to “must” |
| 611.160(b) | Board | Changed “shall” to “must” |
| 611.160(c) | Board | Added the statutory citation “415 ILCS 5/40” in brackets |
| 611.201 | Board | Changed “shall” to “must” (three times); changed “U.S. EPA” to “USEPA” |
| 611.202 | Board | Changed “this Subpart” to “this Subpart B”; added the indefinite article and changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” |
| 611.211 preamble | Board | Changed “shall” to “must” |
| 611.211(b) | JCAR | Corrected the spelling of “site specfic” and added a hyphen to “site-specific” |
| 611.211(b)(5) | JCAR | Removed the ending period |
| 611.211(b)(6) | JCAR | Removed the ending period |
| 611.211 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available; changed “Preamble” to lower-case “preamble discussion”; removed the comma before the date and placed the date in parentheses |
| 611.212 preamble | Board | Changed “shall” to “must” (twice); added “the following” |
| 611.212(a) | Board | Changed “which” to “that” for a restrictive relative clause |
| 611.212(b)(3) | Board | Added “the following” |
| 611.212(b)(3)(B) | Board | Changed the ending comma to a semicolon |
| 611.212(b)(4) | Board | Changed “which” to “that” for a restrictive relative clause |
| 611.212(d)(1) | JCAR | Changed the ending comma to a semicolon |
| 611.212(d)(2) | Board | Changed the ending comma to a semicolon |
| 611.212(f) | Board | Changed “which” to “that” for a restrictive relative clause |
| 611.212(f)(1) | Board | Changed the ending period to a semicolon; removed the comma from after the ending conjunction “or” |
| 611.212(f)(2) | Board | Changed “which” to “that” for a restrictive relative clause |
| 611.212(g) | Board | Added a comma after “algae” to offset the final element of a series |
| 611.212 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.213 preamble | Board | Added a comma after “611.532(f)(2)” to offset the final element of a series; changed “shall” to “must” |
| 611.213(a) | Board | Changed “which” to “that” for a restrictive relative clause; added “the following” |
| 611.213(b) | Board | Added “the following” |
| 611.213(b)(1) | Board | Changed “which” to “that” for a restrictive relative clause |
| 611.213 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.220(a) | Board | Changed “this Subpart” to “this Subpart B”; changed “shall” to “must”; changed “which” to “that” for a restrictive relative clause; added “the following” |
| 611.220(b) | Board | Added “either of the following is true” |
| 611.220(b)(1) | Board | Changed “it” to “the supplier” |
| 611.220(b)(2) | Board | Changed “it” to “the supplier” |
| 611.220(c) | Board | Changed “shall” to “must” |
| 611.220(d) | Board | Changed “this Subpart” to “this Subpart B” |
| 611.220 Board note | Board | Added the statutory citation “415 ILCS 45” in brackets |
| 611.230 heading | JCAR | Corrected “611.230” to “Section 611.230” |
| 611.230(a) | Board | Changed “shall” to “must” |
| 611.230(b) | Board | Changed “shall” to “must” |
| 611.230(c) | Board | Changed “shall” to “must” (twice) |
| 611.230(d) | Board, JCAR | Corrected “Section 611.231 and 611.232” to plural “Sections 611.231 and 611.232”; changed “shall” to “must” |
| 611.230 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.231 preamble | Board | Changed “shall” to “must” |
| 611.231(b) | Board | Added “the following are true” |
| 611.231(b) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.231(c) | Board | Changed “which” to “that” for a restrictive relative clause |
| 611.231(d) | Board | Changed “shall” to “must” |
| 611.232 heading | Board | Changed to capitalized “Site-Specific” |
| 611.232(b)(1) | Board | Added “the following” |
| 611.232(b)(1)(C) | Board | Added “do the following” |
| 611.232(c) | Board | Added “the following” |
| 611.232 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.233(a) | Board | Added “the following is true” |
| 611.233(a)(1) | Board | Added “either of the following” |
| 611.233(c) | Board | Changed “which” to “that” for a restrictive relative clause; added “either of the following is true” |
| 611.233 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.240(a) | Board | Changed “shall” to “must” |
| 611.240(b) | Board | Changed “shall” to “must” |
| 611.240(c) | Board | Added the indefinite article and changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” |
| 611.240(d) | Board | Changed “shall” to “must” |
| 611.240(e) | Board | Changed “shall” to “must” |
| 611.240(f) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.240(g) | Board | Changed “which” to “that” for a restrictive relative clause; changed “shall” to “must”; added the statutory citation “415 ILCS 5/17(b)” |
| 611.240(g)(1) | Board | Changed “shall” to “must” |
| 611.240(g)(2) | Board | Changed “which” to “that” for a restrictive relative clause |
| 611.241 preamble | Board | Changed “shall” to “must” |
| 611.241(a) | Board | Changed “shall” to “must”; changed “value(s)” to “values” (twice) |
| 611.241(a)(1) | Board | Changed “Section 611.Appendix B” to “Appendix B of this Part” |
| 611.241(a)(2) | Board | Added the indefinite article and changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” |
| 611.241(b) | Board | Added “of the following” |
| 611.241(b)(2) | Board | Changed “mg/L” to “mg/ℓ”; added the indefinite article and changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110”; changed “shall” to “must” |
| 611.241(c) | Board, JCAR | Corrected “Section 611.531(e) and 611.532(e)” to plural “Sections 611.531(e) and 611.532(e)”; changed “mg/L” to “mg/ℓ” |
| 611.241(d)(1) | Board, JCAR | Corrected “Section Section 611.531(e) and 611.532(f)” to plural “Sections 611.531(e) and 611.532(f)”; changed the equation to standard equation format; added “the terms mean the following”; changed the ending periods to semicolons (three times); changed the ending period to a comma; changed the ending conjunction to lower-case “and”; removed the comma after the ending conjunction |
| 611.241 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.242 preamble | Board | Changed “shall” to “must” |
| 611.242(a) | Board | Changed “and/or” to “or” |
| 611.242(c)(1) | Board | Added a comma after “chlorine” to offset the final element of a series |
| 611.242(c)(1) | Board | Added “the terms mean the following”; changed the ending period to a comma; changed the ending conjunction to lower-case “and”; removed the comma after the ending conjunction |
| 611.242 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.250(a)(1) | Board, JCAR | Added the indefinite article and changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110”; changed numeric “5” to written “five” |
| 611.250(b)(1) | Board | Added the indefinite article and changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” |
| 611.250(d) | Board | Added the indefinite article and changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” |
| 611.260 preamble | Board | Added the indefinite article and changed “special exception permit” to the defined abbreviation “a SEP” (twice); added “issued pursuant to Section 611.110” (twice) |
| 611.260(a) | Board | Added “the following” |
| 611.260(b) | Board | Added “the following” |
| 611.260(b)(1) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.260(b)(2) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.260(b)(3) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.260(b)(8)(F) | Board | Added “the terms mean the following”; added a semicolon as ending punctuation (four times); added the ending conjunction “and”; added the ending period |
| 611.260(b)(9) | Board | Added the indefinite article and changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110”; added “the following is true” |
| 611.260(e)(3) | Board | Changed “mg/L” to “mg/ℓ” (twice) |
| 611.260 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.262(a) | Board | Added “the following” |
| 611.262(b) | Board | Added “the following” |
| 611.262(b)(1) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.262(b)(2) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.260(b)(3)(F) | Board | Added “the terms mean the following”; added a semicolon as ending punctuation (four times); added the ending conjunction “and”; added the ending period |
| 611.262(c)(3) | Board | Changed “mg/L” to “mg/ℓ” (twice) |
| 611.262 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.271 preamble | Board | Changed “shall” to “must”; added a comma after “reconstruction” to offset the final element of a series |
| 611.272 heading | Board | Changed to capitalized “Following” |
| 611.272(a) | Board | Added a comma after “reconstruction” to offset the final element of a series; changed “shall” to “must” |
| 611.272(b) | Board | Added the indefinite article and changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” |
| 611.276(c) | Board | Added a comma after “as defined in 611.101” to complete its offset as a parenthetical |
| 611.276 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.280(c) | Board | Changed “shall” to “must” |
| 611.280(d)(1) | Board | Changed “shall” to “must” |
| 611.280(d)(2) | Board | Added the indefinite article and changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” |
| 611.280 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.290(a) | Board | Changed “shall” to “must” |
| 611.290(c) | Board | Changed “shall” to “must” |
| 611.290 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.295 | Board | Changed “this Subpart” to “this Subpart D” (twice) |
| 611.295 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.296(a) | Board | Changed “shall” to “must”; added “the terms mean the following”; changed “A * B” to “A × B”; changed the ending period to a semicolon (twice); added the ending conjunction “and”; changed the ending colon to a period |
| 611.296(b) | Board | Added “is the following” |
| 611.296 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.300 heading | Board | Changed “chemicals” to “chemical contaminants” |
| 611.300(a) | Board | Changed “inorganic chemicals” to “inorganic chemical contaminants”; added the abbreviation “IOCs” in parentheses; changed “mg/L” to “mg/ℓ” |
| 611.300(a) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.300(b) | Board | Changed “inorganic chemicals” to the defined abbreviation “IOCs”; changed “mg/L” to “mg/ℓ” |
| 611.300(b) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.300(c) | Board | Removed the unnecessary date from the Code of Federal Regulations citation |
| 611.300(d)(1) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.300(d)(3) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.300(d)(4) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.300(d) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.300(e)(2) | Board | Added the indefinite article and changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” (twice) |
| 611.300(e) Board note | Board | Changed “subsection (e) of this Section” to “this subsection (e)” |
| 611.301 heading | Board | Changed “chemicals” to “chemical contaminants” |
| 611.301(b) | Board | Changed “mg/L” to “mg/ℓ” (fourteen times) |
| 611.301(c) | Board, JCAR | Changed “inorganic chemicals” to the defined abbreviation “IOCs”; added blank lines between table rows to enhance readability; changed “BAT(s)” to “BATs”; changed “µg/L” to “µg/ℓ” (three times) |
| 611.301(d) | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.301 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.310 heading | Board | Changed “chemicals” to “chemical contaminants” |
| 611.310 preamble | Board | Changed “organic chemicals” to “inorganic chemical contaminants” (twice); changed “mg/L” to “mg/ℓ” |
| 611.310(a) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.310(b) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.310(c)(1) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.310(c)(2) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.310(c) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.311 heading | Board | Changed “organic contaminants” to “organic chemical contaminants” |
| 611.311(a) | Board | Changed “are” to past-tense “were”; changed “mg/L” to “mg/ℓ” |
| 611.311(b) | Board, Agency | Changed “U.S. EPA” to “USEPA”; added the defined abbreviation “VOCs” in parentheses; added the defined abbreviation “SOCs” in parentheses; added an asterisk (*) to the entry for each aldicarb compound (three times); added an end note directing attention to the end Board note; changed the brackets to parentheses in “benzo(a)pyrene” |
| 611.311(c) | Board, Agency | Changed “synthetic organic chemical contaminants (SOCs)” to the defined abbreviation “SOCs”; added an asterisk (*) to the entry for each aldicarb compound (three times); added an end note directing attention to the end Board note; changed the brackets to parentheses in “benzo(a)pyrene” (twice); changed “are” to past-tense “were”; changed “mg/L” to “mg/ℓ” |
| 611.311 Board note | Board, Agency | Updated the Code of Federal Regulations citation to the most recent edition available (twice); amended the explanation of the regulatory status of the requirements pertaining to the aldicarbs |
| 611.312(a) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.312 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.313(a) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.313 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.320 | Board | Repealed this obsolete provision |
| 611.325(d) | Board | Added “are the following” |
| 611.325(d)(4) | Board | Changed “subpart B” to “Subpart B of this Part”; added a comma after “dioxide” to offset the final element of a series |
| 611.325 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.330(b) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.330(c) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.330(e) | Board | Changed “µg/L” to “µg/ℓ” |
| 611.330 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.331(b) | Board | Changed “pCi/L” to “pCi/ℓ” |
| 611.331 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.350(a)(1) | Board | Changed “this Subpart” to “this Subpart G” (twice) |
| 611.350(a)(2) | Board | Changed “this Subpart” to “this Subpart G” |
| 611.350(b) | Board | Changed “this Subpart” to “this Subpart G” |
| 611.350(b) “action level” | Board | Changed “this Subpart” to “this Subpart G”; changed “mg/L” to “mg/ℓ” (twice) |
| 611.350(b) “maximum permissible concentration” Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available; added “see” before “Section”; moved the ending period inside the closing parenthesis mark |
| 611.350(b) “method detection limit” | Board | Changed “mg/L” to “mg/ℓ” (three times) |
| 611.350(b) “method detection limit” Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.350(b) “monitoring period” | Board | Changed “this Subpart” to “this Subpart G” |
| 611.350(b) “90th percentile level” Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.350(b) “practical quantitation” limit” | Board | Changed “mg/L” to “mg/ℓ” (twice) |
| 611.350(b) “practical quantitation” Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.350(b) “small system” Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.350(c) | Board | Changed the ending colon to a period |
| 611.350(c)(1) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.350(c)(2) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.350(d) | Board | Changed the ending colon to a period |
| 611.350(h) | Board | Changed “this Subpart” to “this Subpart G” |
| 611.350(i) | Board | Changed “this Subpart” to “this Subpart G” |
| 611.350(k) | Board | Changed “this Subpart” to “this Subpart G”; changed “special exception permit (SEP)” to the defined abbreviation “SEP”; added “and Section 611.110” |
| 611.350 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.351(b)(1) | Board | Changed “small or medium-sized” to “small- or medium-sized” |
| 611.351(b)(3)(B) Board note | Board | Removed the unnecessary note as to the effective date |
| 611.351(c)(1)(A) | Board | Changed the ending comma to a semicolon |
| 611.351(c)(4) | Board | Changed “small or medium-sized” to “small- or medium-sized” (twice) |
| 611.351(d)(1) Board note | Board | Removed the unnecessary note as to the effective date |
| 611.351(e) | Board | Changed “small or medium-sized” to “small- or medium-sized” (twice); added a comma after “611.356” to offset the final element of a series |
| 611.351 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.352(a)(1) | Board | Changed “small or medium-sized” to “small- or medium-sized” |
| 611.352(b) | Board | Changed “small or medium-sized” to “small- or medium-sized” |
| 611.352(c) | Board | Changed the ending colon to a period |
| 611.352(c)(2) | Board | Removed the unnecessary word “either” from before “pipe” |
| 611.352(c)(4)(B) | Board | Added “that” before “it adversely affects” for a restrictive relative clause |
| 611.352(d) | Board | Changed the ending colon to a period |
| 611.352(g) | JCAR | Changed “Sections 611.357(d) through (f)” to singular “Section 611.357(d) through (f)” |
| 611.352(g)(1) Board note | JCAR, Board | Changed “this subsection” to singular “this subsection (g)” |
| 611.352(h)(4) | Board | Added the statutory citation “425 ILCS 5/39 and 40” in brackets |
| 611.352(i)(1) | JCAR | Changed the ending comma to a semicolon |
| 611.352(i)(2) | Board | Changed the ending comma to a semicolon |
| 611.352 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.353(a) | Board | Changed “Completing Source Water Treatment Steps” to lower-case “completing source water treatment steps”; added the ending period |
| 611.353(b) | Board | Added the ending period |
| 611.353(b)(2)(B)(i) | JCAR | Changed the ending comma to a semicolon |
| 611.353(b)(2)(B)(ii) | JCAR | Changed the ending comma to a semicolon |
| 611.353(b)(2)(B)(iii) | Board | Changed the ending comma to a semicolon |
| 611.353(b)(7)(A) | JCAR | Changed the ending comma to a semicolon |
| 611.353(b)(6)(E) | Board | Added the statutory citation “425 ILCS 5/39 and 40” in brackets |
| 611.353(b)(7) | Board | Added “the following is true” |
| 611.353(b)(7)(B) | Board | Changed the ending comma to a semicolon |
| 611.353 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.354(b)(3) | JCAR | Added a comma after “e.g.” |
| 611.354(c) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.354(d) | Board | Added a comma after “local” to offset the final element of a series |
| 611.354 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.355(a)(1) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available; removed the unnecessary words “in this subsection (a)(1)” |
| 611.355(b)(1) | Board | Changed the brackets on “insert . . . sample” to parentheses; placed quotation marks on “free”; changed “$” to “the cost”; changed the brackets on “insert . . . supplier” to parentheses |
| 611.355(b)(2) | Board | Changed the brackets on “insert . . . supplier” to parentheses |
| 611.355(c)(2)(A) | JCAR | Changed “within 60 days of” to “within 60 days after” |
| 611.355(c)(3)(A) | Board, JCAR | Changed the colon after “Section” to a comma; changed the ending comma to a semicolon |
| 611.355(c)(3)(B) | Board | Added a comma after “Section” |
| 611.355(c)(7) | Board | Corrected “this section” to capitalized “this Section”; added “the following are true” |
| 611.355 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.356(a)(3)(A) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.356(a)(3)(B) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.356(a)(3)(C) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.356(a)(3)(D) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.356(a)(3)(E) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.356(a)(4)(A)(i) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.356(a)(4)(A)(ii) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.356(a)(4)(A)(iii) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.356(a)(4)(A)(iv) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.356(a)(4)(B)(i) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.356(a)(4)(B)(ii) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.356(a)(4)(B)(iii) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.356(a)(4)(C)(i) | Board | Changed the ending comma to a semicolon |
| 611.356(a)(4)(C) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.356(b)(1) | Board | Changed “this Subpart” to “this Subpart G” |
| 611.356(b)(2)(B) | JCAR, Board | Added a parenthesis mark to correct the subsection number format |
| 611.356(d)(1)(B) | Board | Changed “small or medium-sized” to “small- or medium-sized” |
| 611.356(d)(1)(B)(i) | Board | Changed the ending comma to a semicolon |
| 611.356(d)(2)(B) | Board | Changed “small or medium-sized” to “small- or medium-sized” |
| 611.356(d)(4)(A) | Board | Changed “small or medium-sized” to “small- or medium-sized” (twice) |
| 611.356(d)(4)(C) | Board | Changed “small or medium-sized” to “small- or medium-sized” |
| 611.356(d)(4)(C)(i) | Board | Changed “small or medium-sized” to “small- or medium-sized” (twice) |
| 611.356(d)(4)(E) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.356(d)(4)(F)(i) | Board | Changed “small or medium-sized” to “small- or medium-sized” (twice) |
| 611.356(d)(4)(H) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.356(g)(1)(A)(ii) Board note | Board | Changed “Section 1417” to lower-case “section 1417” |
| 611.356(g)(2) Board note | Board | Changed “and/or” to “or” |
| 611.356(g)(2)(A) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.356(g)(2)(B) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.356(g)(5)(A) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.356(g)(5)(B) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.356(g)(7) Board note | Board | Removed the unnecessary note as to the effective date |
| 611.356(g)(7)(B) | Board | Changed “meets” to past-tense “met” |
| 611.356(g)(7)(B) Board note | Board | Removed the unnecessary note as to the effective date |
| 611.356 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.357 preamble | Board | Changed “small or medium-sized” to “small- or medium-sized” (twice) |
| 611.357(a) | Board | Added the ending period |
| 611.357(a)(1) | Board | Added the ending period |
| 611.357(a)(2) | Board | Added the ending period |
| 611.357(b)(2) | Board | Changed “small or medium-sized” to “small- or medium-sized” (twice) |
| 611.357(b)(3) | Board | Changed the ending colon to a period |
| 611.357(c)(2) | Board | Changed “small or medium-sized” to “small- or medium-sized” (twice) |
| 611.357(d)(1) | Board | Changed “large systems” to “large system suppliers” |
| 611.357(d)(2) | Board | Changed “small or medium-sized systems” to “small- or medium-sized system suppliers”; changed “small or medium-sized” to “small- or medium-sized” |
| 611.357(e)(2)(B)(i) | JCAR | Changed the ending comma to a semicolon |
| 611.357(e)(2)(B)(ii) | Board | Changed “mg/L” to “mg/ℓ”; changed the ending comma to a semicolon |
| 611.357(f) | Board | Changed “systems” to “suppliers” |
| 611.357 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.358(a) | Board | Added the ending period |
| 611.358(a)(1)(D) | Board | Changed “mg/L” to “mg/ℓ” (twice) |
| 611.358(a)(2) | Board | Added the ending period |
| 611.358(e)(1)(B) | Board | Changed “mg/L” to “mg/ℓ” (twice) |
| 611.358(e)(2)(B) | Board | Changed “mg/L” to “mg/ℓ” (twice) |
| 611.358 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.359(a) | Board | Changed “this Subpart” to “this Subpart G” |
| 611.359(a)(2)(A) | Board | Changed “mg/L” to “mg/ℓ” (twice) |
| 611.359(a)(2)(B) | Board | Changed “mg/L” to “mg/ℓ” (twice) |
| 611.359(a)(2)(C) | Board | Changed “mg/L” to “mg/ℓ”; corrected “35 Ill. Adm. Code 183” to “35 Ill. Adm. Code 186”; updated the Code of Federal Regulations citation to the most recent edition available |
| 611.359(a) Board note | Board | Added the Code of Federal Regulations citation to the source of the provision |
| 611.359(a) | Board | Changed “this Subpart” to “this Subpart G” (twice) |
| 611.359(b) Board note | Board | Added the Code of Federal Regulations citation to the source of the provision |
| 611.359(c)(1) | Board | Changed “mg/L” to “mg/ℓ” (twice) |
| 611.359(c)(2) | Board | Changed “mg/L” to “mg/ℓ” (four times) |
| 611.359(c) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.360(a)(1) | JCAR | Changed “section” to capitalized “Section” |
| 611.360(a)(1)(A) | Board | Changed “611.356(a)(3) through (7)” to “611.356(a)(3) through (a)(7)” |
| 611.360(a)(1)(C) | Board | Removed the unnecessary Federal Register citation; moved the period inside the closing quotation mark |
| 611.360(a)(2) | Board | Changed “611.355(c)(7)(A) and (B)” to “611.355(c)(7)(A) and (c)(7)(B)” |
| 611.360(a)(2)(A) Board note | Board | Removed the unnecessary note as to the effective date |
| 611.360(a)(4)(D) | Board | Changed “has” to past-tense “had”; changed “provide” to past perfect tense “have provided” |
| 611.360(a)(2)(D) Board note | Board | Removed the unnecessary note as to the effective date |
| 611.360(e)(1)(A) | JCAR | Changed the ending comma to a semicolon |
| 611.360(e)(1)(B) | Board | Changed the ending comma to a semicolon |
| 611.360(e)(2)(A) | Board | Changed the ending comma to a semicolon |
| 611.360(e)(2)(B) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.360(f)(1) | Board | Added “the following” |
| 611.360(g) | Board | Changed “this Subpart” to “this Subpart G” |
| 611.360(h) | Board | Added “the following is true” |
| 611.360 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.361 | Board, JCAR | Changed “this Subpart” to “this Subpart G”; changed “shall” to “must” (twice); changed “section” to capitalized “Section” |
| 611.361 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.Subpart I heading | JCAR | Changed “and” to upper-case “AND” |
| 611.380(a) | Board | Changed “this Subpart” to “this Subpart I” |
| 611.380(a)(1) | Board | Changed “this Subpart” to “this Subpart I” |
| 611.380(a)(2) | Board | Changed “this Subpart” to “this Subpart I” |
| 611.380(b)(1) | Board | Changed “this Subpart” to “this Subpart I” (three times) |
| 611.380(b)(2) | Board | Changed “this Subpart” to “this Subpart I” (twice) |
| 611.380 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.381(a) | Board | Changed “this Subpart” to “this Subpart I” |
| 611.381(d) | Board | Changed “these parameters” to “the following parameters”; changed the ending colon to a period |
| 611.381(c)(1) | Board | Removed a space to change “D 1253-86” to “D1253-86” |
| 611.381(d)(1) | Board | Changed the ending comma to a semicolon |
| 611.381(d)(2) | Board | Changed the ending comma to a semicolon |
| 611.381(d)(3) | Board | Changed the ending comma to a semicolon |
| 611.381(d)(4) | Board | Changed “mg/L” to “mg/ℓ”; changed the ending comma to a semicolon |
| 611.381(d)(4)(A) | Board | Changed the symbol “<” to written “less than”; changed “mg/L” to “mg/ℓ”; changed the ending comma to a semicolon |
| 611.381(d)(4)(B) | Board | Corrected “UVfffff4” to written “UV254”; changed the ending comma to a semicolon |
| 611.381(d)(5) | Board | Corrected “611.611 (a) (17)” to “611.611(a)(17)”; changed the ending comma to a semicolon |
| 611.381 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.382(a)(5) | Board | Changed “this Subpart” to “this Subpart I”; changed “40 CFR 141 Subpart M” to “40 CFR 141, Subpart M” |
| 611.382(b)(1)(A) | Board | Changed “the frequency indicated in the following table” to “the following frequency”; changed the table to standard subsection format; changed “serving” to “that serves” (three times); changed “using” to “that uses” (twice); changed “serving” to “which serves” (twice) |
| 611.382(b)(1)(A) Board note | Board | Changed “1” to “Board note”; combined the text of the footnotes into a single note; removed note 2 |
| 611.382(b)(1)(B) | Board | Changed “the following table” to “the following”; changed the table to standard subsection format; changed “serving” to “that serves” (three times); changed “≤” to “less than or equal to” (twelve times); changed “mg/L” to “mg/ℓ” (twelve times); changed “using” to “that uses” (twice); changed “serving” to “which serves” (twice) |
| 611.382(b)(1)(B)(i) | JCAR | Changed “less than equal to” to “less than or equal to” (three times); added the indefinite article “a” before “distribution system” |
| 611.382(b)(1)(B)(ii) | JCAR | Added the verb “is” before “less than” (twice); changed “less than equal to” to “less than or equal to” (twice); added the indefinite article “a” before “distribution system” |
| 611.382(b)(1)(B)(iii) | JCAR | Added the verb “is” before “less than” (twice); changed “less than equal to” to “less than or equal to” (twice); added the indefinite article “a” before “distribution system” |
| 611.382(b)(1)(B)(iv) | JCAR | Added the verb “is” before “less than” (four times); changed “less than equal to” to “less than or equal to” (four times); added the indefinite article “a” before “distribution system”; added the definite article “the” before “quarter” |
| 611.382(b)(1)(C) | Board | Changed “mg/L” to “mg/ℓ” (eight times); changed “>” to “greater than” (twice) |
| 611.382(b)(1)(D) | Board | Changed “≤” to “less than or equal to” (twice); changed “mg/L” to “mg/ℓ” (twice) |
| 611.382(b)(3)(B) | Board | Changed “mg/L” to “mg/ℓ” (three times) |
| 611.382(d)(2) | Board | Changed “mg/L” to “mg/ℓ” (four times); changed “≥” to “greater than or equal to” |
| 611.382(e) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.382(i) | Board | Changed “this Subpart” to “this Subpart I” |
| 611.382 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.383(a)(2) | Board | Changed “this Subpart” to “this Subpart I” |
| 611.383(c)(1)(B) | Board | Changed “which” to “that” for a restrictive relative clause |
| 611.383 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.384(b) | Board | Changed “the information in the following table” to “the following specified information”; changed the table to standard subsection format; changed “monitoring” to “that monitors” (five times) |
| 611.384(b)(1) | Board | Restored missing text |
| 611.384(b)(1)(D) | JCAR | Changed “section” to capitalized “Section” |
| 611.384(b)(3)(B) | JCAR | Changed the ending semicolon to a period |
| 611.384(b)(5) | Board | Added the indefinite article “a” before “supplier” |
| 611.384(b) Board note | Board | Changed “1” to “Board note”; changed “that information” to “the required information” |
| 611.384(c) | Board | Changed “the information in the following table” to “the following specified information”; changed the table to standard subsection format; changed “monitoring” to “that monitors” (twice) |
| 611.384(c)(2) | Board | Changed “suppliers monitoring” to singular “a supplier that monitors” |
| 611.384(c) Board note | Board | Changed “1” to “Board note”; changed “that information” to “the required information” |
| 611.384(d) | Board | Changed “the information in the following table” to “the following specified information”; changed the table to standard subsection format; changed “monitoring” to “that monitors” (twice) |
| 611.384(d)(2)(H) | JCAR | Corrected “CaCO3” to subscript “CaCO3” |
| 611.384(d) Board note | Board | Changed “1” to “Board note”; changed “that information” to “the required information” |
| 611.384 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.385(a)(2)(A) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.385(a)(2)(B) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.385(a)(2)(C) | Board | Changed “mg/L” to “mg/ℓ” (six times) |
| 611.385(a)(2)(D) | Board | Changed “mg/L” to “mg/ℓ” (twice) |
| 611.385(a)(2)(E) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.385(a)(2)(F) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.385(a)(3)(A) | Board | Changed “mg/L” to “mg/ℓ”; changed the ending period to a semicolon; added the ending conjunction “and” |
| 611.385(a)(3)(B) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.385(b)(2) | Board | Changed “>” to “greater than”; changed “mg/L” to “mg/ℓ” (three times); added “following” before “specified” |
| 611.385(b)(2), note 2 to table | Board | Changed “softening systems meeting . . . are” to singular “a softening system that meets . . . is” |
| 611.385(b)(2), note 3 to table | Board | Changed “practicing” to “that practices” |
| 611.385(b)(4)(A) | Board | Changed “this Subpart” to “this Subpart I”; added commas before and after “as determined . . . Section” to offset it as a parenthetical; changed “mg/L” to “mg/ℓ” (twice); changed “≤” to “less than or equal to” |
| 611.385(b)(4)(B) | Board | Changed “mg/L” to “mg/ℓ” (twice) |
| 611.385(b)(4)(C) | Board | Changed “mg/L” to “mg/ℓ” (three times) |
| 611.385(b)(4)(E) | Board | Changed “mg/L” to “mg/ℓ” (four times) |
| 611.385(c)(1)(A) | Board | Added “the following” |
| 611.385(c)(2)(A) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.385(c)(2)(B) | Board | Changed “mg/L” to “mg/ℓ”; corrected “subsection (c)(1(C) of this Section” to “subsection (c)(1)(C) of this Section” |
| 611.385(c)(2)(C) | Board | Changed “≤” to “less than or equal to”; changed “mg/L” to “mg/ℓ” |
| 611.385(c)(2)(D) | Board | Changed “≤” to “less than or equal to”; changed “mg/L” to “mg/ℓ” |
| 611.385(c)(2)(E) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.385 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.480(e)(2) | Board | Added the indefinite article and changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110”; changed “shall” to “must” (twice); changed “U.S. EPA” to “USEPA” |
| 611.480 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.490(a) | Board | Added “as follows” |
| 611.490(a)(1) | Board | Added the statutory citation “415 ILCS 5/4(o)” in brackets; removed the unnecessary ending conjunction “or” and the ending comma |
| 611.490(a)(2) | Board | Removed the unnecessary ending comma after the conjunction “or” |
| 611.490(b) | Board | Changed “shall” to “must” |
| 611.490(b) Board note | Board | Added “subsections (a) and (b) are”; updated the Code of Federal Regulations citation to the most recent edition available |
| 611.490(c) | Board | Changed “shall” to “must” |
| 611.491(a) | Board | Changed “shall” to “must” |
| 611.491(b) | Board, JCAR | Changed “nothing in this Subpart shall” to “nothing in this Subpart K may” |
| 611.500 | Board | Changed “shall” to “must” (twice); added the indefinite article and changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110”; changed “U.S. EPA” to “USEPA” |
| 611.500 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.510 | Board | Repealed the outdated unregulated contaminants monitoring requirements |
| 611.521(a) | Board | Added the indefinite article and changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” |
| 611.521(b) | Board | Changed “Section 611.Table A” to “Table A of this Part” |
| 611.521(c)(1) | Board | Removed the obsolete “Beginning June 29, 1994” and the comma that offset it |
| 611.521(e) | Board | Added the indefinite article and changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” |
| 611.521 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.522(a) | Board | Changed “shall” to “must” (five times) |
| 611.522(b) | Board | Changed “shall” to “must” |
| 611.522(c) | Board | Changed “shall” to “must” (twice); changed “sample(s)” to “samples” |
| 611.522(d) | Board | Changed “shall” to “must” (twice); changed “subsections (a) through (c)” to “subsections (a) through (c) of this Section”; changed “subsection (a)” to “subsection (a) of this Section” |
| 611.522(e) | Board | Changed “sample(s)” to “samples”; changed “shall” to “must”; changed “subsection (e)(1) or (2)” to “subsection (e)(1) or (e)(2) of this Section”; added “the following occurs” |
| 611.522(e)(2)(A) | Board | Changed “shall” to “must”; changed “U.S. EPA” to “USEPA” |
| 611.522(e)(2)(C) | Board | Changed “shall” to “must”; changed “subsections (a) through (d)” to “subsections (a) through (d) of this Section” |
| 611.522(f) | Board | Changed “sample(s)” to “samples” (twice) |
| 611.522 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.523(a) | Board | Changed “shall” to “must”; changed “subsection (a)(1), (a)(2), or (a)(3) of this Section” to “subsection (a)(1), (a)(2), or (a)(3)” |
| 611.523(a)(2) | Board | Changed “sample(s)” to “samples” |
| 611.523(a)(3) | Board | Changed “which” to “that” for a restrictive relative clause; changed “shall” to “must” (three times); changed “U.S. EPA” to “USEPA” |
| 611.523(b) | Board | Changed “shall” to “must” (four times) |
| 611.523 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.524(a)(1) | Board | Changed “which” to “that” for a restrictive relative clause (twice); changed “shall” to “must” (three times); changed “an initial sanitary survey by June 29, 1994 . . . another sanitary survey every five years . . . subsequent sanitary surveys at least every tem years. . . after the initial survey” to “a sanitary survey at least every five years . . . a sanitary survey at least once every ten years” to remove obsolete language; changed “non-CWSs” to singular “a non-CWS” |
| 611.524(b) | Board | Added “that” before “the survey” for a restrictive relative clause |
| 611.524 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.525(a) | Board | Changed “shall” to “must” (three times) |
| 611.525(b) | Board | Changed “shall” to “must”; changed “subsection (a)” to “subsection (a) of this Section” |
| 611.525 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.526(a) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.526(c) | Board | Changed “shall” to “must” |
| 611.526(c)(1) | Board | Add “as follows” offset by a comma |
| 611.526(c)(3) | Board | Corrected “Method 9221” to “Method 9221 D”; add “as follows” offset by a comma |
| 611.526(e) | Board | Changed “shall” to “must” |
| 611.526(f) | Board | Changed “shall” to “must” |
| 611.526(f)(1) | Board | Changed “µg/L” to “µg/ℓ” (twice); changed “mg/L” to “mg/ℓ” |
| 611.526(f)(2) | Board | Changed “µg/L” to “µg/ℓ” (twice); corrected “Method 9221 B” to “Method 9221 G” |
| 611.526(f)(2) | Board | Changed “Section 611.Appendix D” to “Section 611.Appendix D” |
| 611.526(g) | Board | Changed “mL” to “mℓ” |
| 611.526 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.527(b) | Board | Changed “Subpart V” to “Subpart V of this Part” |
| 611.527 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.531 preamble | Board | Changed “method(s)” to “methods”; changed “this Subpart” to “this Subpart L” |
| 611.531(a) | Board | Added “do as follows” |
| 611.531(a)(2) | Board | Added “as follows” offset by a comma |
| 611.531(a)(2)(A) | Board | Changed the ending colon to a period |
| 611.531(a)(2)(A) Board note | Board | Changed “611.Subpart B” to “Subpart B of this Part”; changed numeric “8” to written “eight” |
| 611.531(a)(2)(B) | Board | Changed the ending colon to a period |
| 611.531(a)(2)(B) Board note | Board | Changed “611.Subpart B” to “Subpart B of this Part”; changed numeric “8” to written “eight” |
| 611.531(a)(2)(C)(i) Board note | Board | Changed numeric “8” to written “eight” |
| 611.531(a)(2)(D) | Board | Changed the ending colon to a period |
| 611.531(a)(2)(D)(iii) | Board | Corrected the subsection number |
| 611.531(a)(2)(D)(iv) | JCAR | Corrected the spelling of “Hack” to “Hach” |
| 611.531(b) | Board | Changed “shall” to “must” |
| 611.531(b)(1) | Board | Changed the ending colon to a period |
| 611.531(b)(2) | Board | Changed the ending colon to a period |
| 611.531(b)(3) | Board | Changed the ending colon to a period |
| 611.531(b)(5)(B) | Board | Changed written “ten-tube” to numeric “10-tube” |
| 611.531 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.532 preamble | Board | Changed “shall begin monitoring December 31, 1990” to “must monitor”; changed “required, in which case . . . specify alternative” to “required. If the Agency . . ., it must specify alternative”; added “which” before “does not provide” for a subsequent restrictive relative clause; changed “filtration treatment shall begin monitoring beginning December 31, 1990, or 6 months” to “filtration treatment must monitor within six months”; changed “the Agency determines” to “the Agency has determined”; removed the parenthetical “whichever is later”; changed “shall” to “must” |
| 611.532(a) | Board | Changed “shall” to “must”; changed “Table B” to “Table B of this Part” |
| 611.532(b) | Board | Changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” |
| 611.532(c) | Board | Changed “Table B” to “Table B of this Part” |
| 611.532(c)(3) | Board | Changed “time(s)” to “times” |
| 611.532(c)(4) | Board | Changed “RDC(s)” to “RDCs” |
| 611.532(c)(5) | Board | Changed “Section 611.241(a)(1) and (2)” to “Section 611.241(a)(1) and (a)(2)” |
| 611.532(d)(1)(B)(i) | Board | Added “the following” |
| 611.532(d)(1)(B)(ii) | Board | Added “as follows” offset by a comma |
| 611.532(d)(2) | Board | Changed “shall” to “must”; changed “subsection (d)(1)(B)” to “subsection (d)(1)(B) of this Section” |
| 611.532(d)(3) | Board | Changed the format of the equation |
| 611.532(e) | Board | Changed numeric “4” to written “four” (twice); changed numeric “5” to written “five”; changed “mg/L” to “mg/ℓ” (twice); changed “Table C” to “Table C of this Part”; changed “shall” to “must” |
| 611.532(f)(1) | Board | Changed “Section 611.521 et seq.” to “Subpart L of this Section”; changed “shall” to “must”; changed “which” to “that” for a restrictive relative clause; changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” |
| 611.532(f)(2) | Board | Changed “subsection (f)(1)” to “subsection (f)(1) of this Section” |
| 611.532 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.533 preamble | Board | Changed “shall” to “must”; removed “beginning June 29, 1993 . . ., whichever is later” as obsolete |
| 611.533(a) | Board | Changed “special exception permit” to the defined abbreviation “a SEP” (twice); added “issued pursuant to Section 611.110” (twice); added a comma after “filtration” to offset the final element of a series; corrected “permitcondition” to “permit condition” |
| 611.533(b)(1) | Board | Changed numeric “4” to written “four”; changed numeric “5” to written “five” |
| 611.533(b)(2) | Board | Changed “mg/L” to “mg/ℓ” (twice); changed “shall” to “must”; changed numeric “4” to written “four” |
| 611.533(c)(1) | Board | Changed “shall” to “must”; changed “which” to “that” for a restrictive relative clause |
| 611.533 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.560 Preamble | Board | Changed “apply to unfiltered PWSs until December 30, 1991 . . . ally to filtered PWSs until June 29, 1993. . . . apply to unfiltered PWSs that the Agency . . . until June 29, 1993, or until filtration is installed, whichever is later” to apply to unfiltered PWSs until filtration is installed” to remove all expired applicability provisions |
| 611.560(a) | Board | Changed “point(s)” to “points” |
| 611.560(c) | Board | Replaced an obsolete past effective date statement with an explanatory statement |
| 611.560 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.591 heading | Board | Added the indefinite article “a” before “State” |
| 611.591 preamble | Board | Added a comma after “reporting” to offset the final element of a series; added “do the following” |
| 611.591(b) | Board | Changed “Subpart T” to “Subpart T of this Part”; removed the unnecessary comma after the ending conjunction “and” |
| 611.592 preamble | Board | Added a comma after “reporting” to offset the final element of a series |
| 611.600 preamble | Board | Changed “shall” to “must”; changed “this Subpart” to “this Subpart N” |
| 611.600(d) | Board | Changed “this Subpart” to “this Subpart N” |
| 611.600(d) table | Board | Changed “mg/L” to “mg/ℓ” (five times); changed the colon to a period after “footnotes” |
| 611.600 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available (twice) |
| 611.601(a)(3) | Board | Corrected “a SEP” to “an SEP” |
| 611.601(c) | Board | Removed “USEPA” from before the word “provision” |
| 611.601 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.602(a) | Board | Changed “subsection (c)” to “subsection (c) of this Section” |
| 611.602(i)(1) | Board | Changed “subsection (a)” to “subsection (a) of this Section” |
| 611.602(j) | Board | Replaced an obsolete past “grandfather” requirement with an explanatory statement |
| 611.602 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.603 preamble | Board | Removed the past effective date statement in parentheses |
| 611.603(a) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.603(b)(1) | Board | Corrected “a SEP” to “an SEP” |
| 611.603(b)(2) | Board | Corrected “a SEP” to “an SEP” |
| 611.603(b) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.603(c) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.603(d) | Board | Corrected “a SEP” to “an SEP” |
| 611.603(d)(4) | Board | Corrected “a SEP” to “an SEP” |
| 611.603(d) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.603(e) | Board | Added “the following” |
| 611.603(e) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.603(f)(1) | Board | Corrected “a SEP” to “an SEP” |
| 611.603(f)(1) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.603(f)(2) | Board | Corrected “a SEP” to “an SEP” (twice) |
| 611.603(f)(2) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.603(g) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.603(h)(1) | Board | Corrected “a SEP” to “an SEP” |
| 611.603(h)(2) | Board | Corrected “a SEP” to “an SEP” |
| 611.603(h) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.603(i) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.604 preamble | Board | Changed “shall” to “must” |
| 611.604(a) | Board | Changed “shall” to “must”; removed the past effective date and offsetting comma |
| 611.604(a)(1) | Board | Changed the ending colon to a period |
| 611.604(a)(1) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.604(a)(2) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.604(b)(1) | Board | Changed “shall” to “must” |
| 611.604(b)(2) | Board | Changed “shall” to “must” |
| 611.604(b)(2)(B) | Board, JCAR | Changed “shall” to “must” (twice); corrected the spelling of “consitently” to “consistently”; changed “subsection (b)(1)” to “subsection (b)(1) of this Section” |
| 611.604(b) Board note | Board, JCAR | Changed “drawn from” to “derived from”; updated the Code of Federal Regulations citation to the most recent edition available |
| 611.604(c)(1) | Board | Changed “shall” to “must” |
| 611.604(c)(2) | Board | Changed “shall” to “must” |
| 611.604(c) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.604(e) | Board | Changed “shall” to “must”; changed “quarter(s)” to “quarters” |
| 611.604(e) Board note | Board, JCAR | Changed “drawn from” to “derived from”; updated the Code of Federal Regulations citation to the most recent edition available |
| 611.605 preamble | Board | Changed “shall” to “must” |
| 611.605(a) | Board | Replaced an obsolete sampling requirement with an explanatory statement |
| 611.605(b) | Board | Changed “U.S. EPA” to “USEPA” (twice) |
| 611.605(c) | Board | Changed “repeat monitoring” to “monitoring” |
| 611.605(c)(1)(A) | Board | Changed “subsection (c)(1)(A)” to “subsection (c)(1)(A) of this Section “; changed “shall” to “must”; changed “subsection (c)(2)” to “subsection (c)(2) of this Section” |
| 611.605(c)(2)(B) | Board | Changed “shall” to “must”; changed “subsection (c)(1)” to “subsection (c)(1) of this Section” |
| 611.605(d) | Board | Changed “shall” to “must”; changed “quarter(s)” to “quarters”; changed “which” to “that” for a restrictive relative clause |
| 611.605 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.606 preamble | Board | Removed the past effective date statement in parentheses |
| 611.606 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.607 | Board | Changed “a federal provision authorizing” to “which authorizes”; changed “sampling with regard to . . .” to “that is required under federal law”; removed “the Act authorizes . . . this Section”; changed “U.S. EPA rules” to “the corresponding federal rules” |
| 611.608 | Board | Changed “this Subpart” to “this Subpart N” |
| 611.608 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.609(c) | Board | Changed “nitrate or nitrite exceed the MCLs in the initial sample” to “nitrate or nitrite in the initial sample exceed the MCLs” |
| 611.609(d) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.609 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.610 | Board | Changed “shall” to “must” |
| 611.610 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.611(a) | Board | Changed “remain” to past-tense “remained”; changed “will not be available” to present-tense “are not available” |
| 611.611(a)(1) | Board | Moved the entry from (a)(21) to place in alphabetical order; changed the ending colon to a period |
| 611.611(a)(1)(A) | Board | Changed the ending colon to a period |
| 611.611(a)(1)(A)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(2) | Board | Renumbered the entry from (a)(1) to accommodate alphabetical ordering; changed the ending colon to a period |
| 611.611(a)(3) | Board | Renumbered the entry from (a)(2) to accommodate alphabetical ordering; changed the ending colon to a period |
| 611.611(a)(3) Board note | Board | Changed “µL” to “µℓ”; changed “mL” to “mℓ”; changed “mg/L” to “mg/ℓ” |
| 611.611(a)(3)(A) | Board | Changed the ending colon to a period |
| 611.611(a)(3)(A) Board note | Board | Changed “mg/L” to “mg/ℓ” (three times) |
| 611.611(a)(3)(A)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(3)(D) | Board | Changed the ending colon to a period |
| 611.611(a)(3)(D)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(3)(E) | Board | Changed the ending colon to a period |
| 611.611(a)(3)(E)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(4) | Board | Renumbered the entry from (a)(3) to accommodate alphabetical ordering |
| 611.611(a)(5) | Board | Renumbered the entry from (a)(4) to accommodate alphabetical ordering; changed the ending colon to a period |
| 611.611(a)(5)(A) | Board | Changed the ending colon to a period |
| 611.611(a)(5)(A)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(6) | Board | Renumbered the entry from (a)(5) to accommodate alphabetical ordering; changed the ending colon to a period |
| 611.611(a)(6)(A) | Board | Changed the ending colon to a period |
| 611.611(a)(6)(A)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(6)(D) | Board | Changed the ending colon to a period |
| 611.611(a)(6)(D)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(7) | Board | Renumbered the entry from (a)(6) to accommodate alphabetical ordering; changed the ending colon to a period |
| 611.611(a)(8) | Board | Moved the entry from (a)(20) to place in alphabetical order; changed the ending colon to a period |
| 611.611(a)(8)(A) | Board | Changed the ending colon to a period |
| 611.611(a)(8)(A)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(8)(B) | Board | Changed the ending colon to a period |
| 611.611(a)(8)(B)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(8)(C) | Board | Changed the ending colon to a period |
| 611.611(a)(8)(C)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(9) | Board | Renumbered the entry from (a)(7) to accommodate alphabetical ordering; changed the ending colon to a period |
| 611.611(a)(9)(A) | Board | Changed the ending colon to a period |
| 611.611(a)(9)(A)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(10) | Board | Moved the entry from (a)(17) to place in alphabetical order; changed the ending colon to a period |
| 611.611(a)(10)(A) | Board | Changed the ending colon to a period |
| 611.611(a)(10)(A)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(11) | Board | Moved the entry from (a)(19) to place in alphabetical order; changed the ending colon to a period |
| 611.611(a)(11)(A) | Board | Changed the ending colon to a period |
| 611.611(a)(12) | Board | Renumbered the entry from (a)(8) to accommodate alphabetical ordering; changed the ending colon to a period |
| 611.611(a)(12)(A) | Board | Changed the ending colon to a period |
| 611.611(a)(12)(A)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(12)(B) | Board | Changed the ending colon to a period |
| 611.611(a)(12)(B)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(12)(B)(ii) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(13) | Board | Renumbered the entry from (a)(9) to accommodate alphabetical ordering; changed the ending colon to a period |
| 611.611(a)(13)(A) | Board | Changed the ending colon to a period |
| 611.611(a)(13)(A)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(13)(C) | Board | Changed the ending colon to a period |
| 611.611(a)(13)(C)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(13)(E) | Board | Changed the ending colon to a period |
| 611.611(a)(13)(E)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(14) | Board | Moved the entry from (a)(16) to place in alphabetical order; changed the ending colon to a period |
| 611.611(a)(14)(A) | Board | Changed the ending colon to a period |
| 611.611(a)(14)(A)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(14)(B) | Board | Changed the ending colon to a period |
| 611.611(a)(14)(B)(i) | Board | Updated the method “D1688-90” to “D1688-95”; changed the ending comma to a semicolon |
| 611.611(a)(15) | Board | Added the entry that was formerly omitted |
| 611.611(a)(16) | Board | Renumbered the entry from (a)(10) to accommodate alphabetical ordering; changed the ending colon to a period |
| 611.611(a)(16)(A) | Board | Changed the ending colon to a period |
| 611.611(a)(16)(A)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(16)(A)(ii) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(17) | Board | Renumbered the entry from (a)(11) to accommodate alphabetical ordering; changed the ending colon to a period |
| 611.611(a)(17)(A) | Board | Changed the ending colon to a period |
| 611.611(a)(17)(A)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(18) | Board | Renumbered the entry from (a)(12) to accommodate alphabetical ordering; changed the ending colon to a period |
| 611.611(a)(18)(A) | Board | Changed the ending colon to a period |
| 611.611(a)(18)(A)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(18)(A)(ii) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(18)(A)(iii) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(18)(B) | Board | Changed the ending colon to a period |
| 611.611(a)(18)(B)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(18)(B)(ii) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(18)(C) | Board | Changed the ending colon to a period |
| 611.611(a)(18)(C)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(18)(D) | Board | Changed the ending colon to a period |
| 611.611(a)(18)(D)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(19) | Board | Renumbered the entry from (a)(13) to accommodate alphabetical ordering; changed the ending colon to a period |
| 611.611(a)(19)(A) | Board | Changed the ending colon to a period |
| 611.611(a)(19)(A)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(19)(A)(ii) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(19)(A)(iii) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(19)(B) | Board | Changed the ending colon to a period |
| 611.611(a)(19)(B)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(19)(B)(ii) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(19)(C) | Board | Changed the ending colon to a period |
| 611.611(a)(19)(C)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(20) | Board | Moved the entry from (a)(22) to place in alphabetical order; changed the ending colon to a period |
| 611.611(a)(20)(A) | Board | Changed the ending colon to a period |
| 611.611(a)(20)(A)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(20)(B) | Board | Changed the ending colon to a period |
| 611.611(a)(20)(B)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(20)(F) | Board | Changed the ending colon to a period |
| 611.611(a)(20)(F)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(20)(F)(ii) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(21) | Board | Moved the entry from (a)(18) to place in alphabetical order; changed the ending colon to a period |
| 611.611(a)(21)(A) | Board | Changed the ending colon to a period |
| 611.611(a)(21)(A)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(21)(A)(ii) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(22) | Board | Renumbered the entry from (a)(14) to accommodate alphabetical ordering; changed the ending colon to a period |
| 611.611(a)(22)(A) | Board | Changed the ending colon to a period |
| 611.611(a)(22)(A)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(22)(D) | Board | Changed the ending colon to a period |
| 611.611(a)(22)(D)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(23) | Board | Moved the entry from (a)(23) to place in alphabetical order; changed the ending colon to a period |
| 611.611(a)(23)(G)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(a)(24) | Board | Moved the entry from (a)(25) to place in alphabetical order; changed the ending colon to a period |
| 611.611(a)(25) | Board | Moved the entry from (a)(24) to place in alphabetical order |
| 611.611(a)(26) | Board | Moved the entry from (a)(15) to place in alphabetical order; changed the ending colon to a period |
| 611.611(a)(17)(C) | Board | Changed the ending colon to a period |
| 611.611(a)(17)(C)(i) | Board | Changed the ending comma to a semicolon |
| 611.611(b)(1) | Board | Changed the ending colon to a period |
| 611.611(b)(2) | Board | Changed the ending colon to a period |
| 611.611(b)(3) | Board | Changed the ending colon to a period |
| 611.611(b)(4) | Board | Changed the ending colon to a period |
| 611.611(b)(5) | Board | Changed the ending colon to a period |
| 611.611(b)(5)(C) | Board | Changed numeric “6” to written “six” |
| 611.611(b)(6) | Board | Changed the ending colon to a period |
| 611.611(b)(6)(C) | Board | Changed numeric “6” to written “six” |
| 611.611(b)(7) | Board | Changed the ending colon to a period |
| 611.611(b)(7)(C) | Board | Changed numeric “6” to written “six” |
| 611.611(b)(8) | Board | Changed the ending colon to a period |
| 611.611(b)(8)(A) | Board | Changed “>” to “greater than” |
| 611.611(b)(9) | Board | Changed the ending colon to a period |
| 611.611(b)(9)(C) | Board | Changed numeric “1” to written “one” |
| 611.611(b)(10) | Board | Changed the ending colon to a period |
| 611.611(b)(11) | Board | Changed the ending colon to a period |
| 611.611(b)(11)(C) | Board | Changed numeric “6” to written “six” |
| 611.611(b)(12) | Board | Changed the ending colon to a period |
| 611.611(b)(13) | Board | Changed the ending colon to a period |
| 611.611(b)(14) | Board | Changed the ending colon to a period |
| 611.611(b)(15) | Board | Changed the ending colon to a period |
| 611.611(b)(15)(C) | Board | Changed numeric “6” to written “six” |
| 611.611(b)(16) | Board | Changed the ending colon to a period |
| 611.611(b)(16)(C) | Board | Changed numeric “6” to written “six” |
| 611.611(b)(11) | Board | Changed the ending colon to a period |
| 611.611(c) | Board | Changed “this Subpart” to “this Subpart N”; deleted the past-effective statement “laboratories may . . . until January 1, 1996”; added “does as follows” |
| 611.611(c)(1) | Board | Added “it” |
| 611.611(c)(2) | Board | Added “it” |
| 611.611(c)(2)(A) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.611(c)(2)(B) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.611(c)(2)(D) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.611(c)(2)(E) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.611(c)(2)(F) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.611(c)(2)(G) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.611(c)(2)(H) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.611(c)(2)(I) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.611(c)(2)(J) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.611(c)(2)(K) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.611(c)(2)(L) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.611(c)(2)(M) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.611(c)(2)(N) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.611(c)(2)(O) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.611 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.612(a)(3) | Board | Removed the unnecessary date from the Code of Federal Regulations citation |
| 611.612(a)(4) | Board | Removed the unnecessary date from the Code of Federal Regulations citation; removed “this authority exists . . . not through federal rules” |
| 611.612(b) | Board, JCAR | Corrected “analyses” to singular “analysis”; changed numeric “7” to written “seven” |
| 611.612(d) | Board | Removed the unnecessary date from the Code of Federal Regulations citation; removed “the Board has followed . . . that old MCL” |
| 611.612(e) | Board | Removed the unnecessary date from the Code of Federal Regulations citation; removed “the Board did not . . . in R88-26” |
| 611.612(f)(2) | Board | Changed the ending colon to a period |
| 611.612(f)(2)(A) | Board | Removed the reference “18th ed.” and its offsetting comma; changed the ending colon to a period |
| 611.612(f)(2)(A)(i) | Board | Removed the unnecessary ending conjunction “or”; added the reference “18th or 19th ed.” and its offsetting comma; changed the ending comma to a semicolon |
| 611.612(f)(2)(A)(ii) | Board | Added the reference “18th or 19th ed.” and its offsetting comma; changed the ending comma to a semicolon |
| 611.612(f)(2)(A)(iii) | Board | Added the reference “18th, 19th, or 20th ed.” and its offsetting comma |
| 611.612(f)(2)(B) | Board, JCAR | Corrected “EPA Environmental Metals Methods” to the defined term “USEPA Environmental Metals Methods”; changed the ending colon to a period |
| 611.612(f)(2)(B)(i) | Board | Changed the ending comma to a semicolon |
| 611.612(f)(3)(A) | Board | Removed the reference “18th ed.” and its offsetting comma; changed the ending colon to a period |
| 611.612(f)(3)(A)(i) | Board | Removed the unnecessary ending conjunction “or”; added the reference “18th or 19th ed.” and its offsetting comma; changed the ending comma to a semicolon |
| 611.612(f)(3)(A)(ii) | Board | Added the reference “18th or 19th ed.” and its offsetting comma; changed the ending comma to a semicolon |
| 611.612(f)(3)(A)(iii) | Board | Added the reference “18th, 19th, or 20th ed.” and its offsetting comma |
| 611.612(f)(3)(B) | Board, JCAR | Corrected “EPA Environmental Metals Methods” to the defined term “USEPA Environmental Metals Methods”; changed the ending colon to a period |
| 611.612(f)(3)(B)(i) | Board | Changed the ending comma to a semicolon |
| 611.612(f)(3)(B)(ii) | Board | Changed the ending comma to a semicolon |
| 611.612(f)(4)(A) | Board | Removed the reference “18th ed.” and its offsetting comma; changed the ending colon to a period |
| 611.612(f)(4)(A)(ii) | Board | Added the reference “18th or 19th ed.” and its offsetting comma; changed the ending comma to a semicolon |
| 611.612(f)(4)(A)(iii) | Board | Added the reference “18th, 19th, or 20th ed.” and its offsetting comma |
| 611.612(f)(4)(B) | Board, JCAR | Corrected “EPA Environmental Metals Methods” to the defined term “USEPA Environmental Metals Methods”; changed the ending colon to a period |
| 611.612(f)(4)(B)(i) | Board | Changed the ending comma to a semicolon |
| 611.612 Board note | Board, JCAR | Updated the Code of Federal Regulations citation to the most recent edition available (twice); removed “USEPA removed . . . the analytical method”; changed “state” to capitalized “State”; changed “subsections (f)(1), (f)(3), and (f)(4) of this Section” to “subsection (f) of this Section”; changed “state-only” to capitalized “state-only”; removed “the predecessor . . . codified as Section 611.606” |
| 611.630(a) | Board | Changed “shall” to “must” (twice) |
| 611.630(b) | Board | Changed “shall” to “must” (twice) |
| 611.630(c) | Board | Changed “shall” to “must” |
| 611.630 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.631 | Board | Repealed the outdated unregulated contaminants monitoring requirements |
| 611.640 preamble | Board | Changed “this Subpart” to “this Subpart O” |
| 611.640 “old MCL” | Board | Changed “include” to singular “includes” |
| 611.640 “Phase II SOCs” | Board | Added “the following” |
| 611.640 “Phase IIB SOCs” | Board | Added “the following” |
| 611.640 “Phase IIB SOCs” Board note | Agency | Replaced the former explanation with a cross-reference to a Board note explaining the regulatory status of requirements pertaining to the aldicarbs |
| 611.640 “Phase IIB SOCs” Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available (twice) |
| 611.640 “Phase V SOCs” | Board | Added “the following”; changed “benzo[a]pyrene” to “benzo(a)pyrene” |
| 611.640 “Phase V SOCs” Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available; removed “and became effective January 17, 1994” and the offsetting comma |
| 611.640 “Phase I VOCs” | Board | Added “the following” |
| 611.640 “Phase I VOCs” Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.640 “Phase II VOCs” | Board | Added “the following” |
| 611.640 “Phase II VOCs” Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.640 “Phase V VOCs” | Board | Added “the following” |
| 611.640 “Phase V VOCs” Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available; removed “and became effective January 17, 1994” and the offsetting comma |
| 611.640 “revised MCL” | Board | Removed the quotation marks (five times) |
| 611.641(a)(1) | Board | Changed “shall” to “must” |
| 611.641(b) | Board | Changed “shall” to “must”; changed numeric “7” to written “seven” |
| 611.641(c) | Board | Changed “shall” to “must”; changed “Subpart T” to “Subpart T of this Part”; added a comma after “standard” to offset the final element of a series |
| 611.641 Board note | Board, JCAR | Changed “state-only” to capitalized “state-only”; removed the unnecessary Federal Register citation “at 59 Fed. Reg. 34323 (July 1, 1994)” |
| 611.645 preamble | Board | Changed “shall” to “must”; added a comma before “unless otherwise” to offset the parenthetical; added “all methods . . . Section 611.102” |
| 611.645 “volatile organic contaminants” | Board | Changed the ending colon to a period |
| 611.645 “synthetic organic contaminants” | Board | Changed the ending colon to a period |
| 611.645 “synthetic organic contaminants” “2,3,7,8-TCDD” | Board | Changed “Method 1613” to “Dioxin and Furan Method 1613” |
| 611.645 “synthetic organic contaminants” “2,4-D” | Board | Changed “D5317-93” to “ASTM Method D5317-93” |
| 611.645 “synthetic organic contaminants” “2,4,5-TP” | Board | Changed “D5317-93” to “ASTM Method D5317-93” |
| 611.645 “synthetic organic contaminants” “carbofuran” | Board | Added the reference to “Standard Methods, . . .” for “Method 6610” |
| 611.645 “synthetic organic contaminants” “glyphosate” | Board | Added the reference to “Standard Methods, . . .” for “Method 6651” |
| 611.645 “synthetic organic contaminants” “oxamyl” | Board | Added the reference to “Standard Methods, . . .” for “Method 6610” |
| 611.645 “synthetic organic contaminants” “PCBs” | JCAR | Corrected the spelling of “Araclors” to “Aroclors” |
| 611.645 “synthetic organic contaminants” “pentachlorophenol” | Board | Changed “D5317-93” to “ASTM Method D5317-93” |
| 611.645 “synthetic organic contaminants” “picloram” | Board | Changed “D5317-93” to “ASTM Method D5317-93” |
| 611.645 “total trihalomethanes” | Board | Changed the ending colon to a period |
| 611.645 “State-only MCLs” | Board | Changed the ending colon to a period |
| 611.645 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.646(a) | Board | Added “the following . . . meanings” |
| 611.646(a) “detect” | JCAR | Corrected “means” to plural “mean” |
| 611.646(a) “detection limit” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.646(a) “detection limit” Board note | Board, JCAR | Updated the Code of Federal Regulations citation to the most recent edition available; corrected “section” to capitalized “Section”; added a comma after “however” |
| 611.646(a) “method detection limit” Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.646(c)(1) | JCAR | Changed “an SEP” to “a SEP” |
| 611.646(c)(2) | Board | Changed “an SEP” to “a SEP” |
| 611.646(c)(3) | Board | Changed “an SEP” to “a SEP” |
| 611.646(c) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.646(e) | Board | Added commas before and after “as allowed . . . this Section” to offset the parenthetical; changed “has been completed” to past-tense “was completed” |
| 611.646(g) | Board | Changed “an SEP” to “a SEP” (twice) |
| 611.646(g) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.646(h) | Board | Changed “an SEP” to “a SEP” |
| 611.646(i) | Board, JCAR | Changed “an SEP” to “a SEP” (five times); changed “must either” to “must do either of the following” |
| 611.646(i)(1) | Board | Changed “an SEP” to “a SEP” |
| 611.646(i) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available (twice) |
| 611.646(j) | Board | Changed “an SEP” to “a SEP” |
| 611.646(j)(1) | Board | Changed “an SEP” to “a SEP” |
| 611.646(j)(2) | Board | Changed “an SEP” to “a SEP” |
| 611.646(k) | Board | Added “the following must occur” |
| 611.646(k)(2)(A) | Board | Changed “an SEP” to “a SEP” |
| 611.646(k)(2)(B) | Board | Changed “an SEP” to “a SEP” |
| 611.646(k)(2)(C) | Board | Changed “an SEP” to “a SEP” |
| 611.646(k)(4) | Board | Changed “an SEP” to “a SEP” |
| 611.646(k)(5)(A) | Board | Added quotation marks to the defined term “two-carbon contaminants”; added “are the following” |
| 611.646(k)(5)(C) | Board | Changed “an SEP” to “a SEP” |
| 611.646(l)(2)(A) | Board | Changed “an SEP” to “a SEP” |
| 611.646(l)(2)(B) | Board | Changed “an SEP” to “a SEP” |
| 611.646(l)(2)(C) | Board | Changed “an SEP” to “a SEP” |
| 611.646(m) | Board | Changed “an SEP” to “a SEP” |
| 611.646(p) | Board | Removed the unnecessary Federal Register citation “at 59 Fed. Reg. 62468 (Dec. 5, 1994)” |
| 611.646(q)(1) | Board | Added “do the following” |
| 611.646(q)(1)(A) | Board | Added “it must” |
| 611.646(q)(1)(B) | Board | Added “it must” |
| 611.646(q)(1)(C) | Board | Added “it must”; changed “mg/L” to “mg/ℓ” |
| 611.646(q)(1)(D) | Board | Added “it must”; changed “mg/L” to “mg/ℓ” |
| 611.646(q)(1)(E) | Board | Added “it must”; changed “mg/L” to “mg/ℓ” |
| 611.646(q)(2) | Board | Added “do the following” |
| 611.646(q)(2)(A) | Board | Added “it must” |
| 611.646(q)(2)(B) | Board | Added “it must” |
| 611.646(q)(2)(C) | Board | Added “it must”; changed “mg/L” to “mg/ℓ” |
| 611.646(q)(2)(D) | Board | Added “it must” |
| 611.646(r)(2) | Board | Changed “an SEP” to “a SEP” |
| 611.646(s) | Board | Changed “an SEP” to “a SEP” |
| 611.646(t) | Board | Added “do the following” |
| 611.646(t)(2) | Board | Added “it must”; changed “mg/L” to “mg/ℓ” |
| 611.646(v) | Board | Changed “which” to “that” for a restrictive relative clause |
| 611.646 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available (twice) |
| 611.648(b) Board note | Agency | Replaced the former explanation with a cross-reference to a Board note explaining the regulatory status of requirements pertaining to the aldicarbs |
| 611.648(c)(3) | Board | Changed “an SEP” to “a SEP” |
| 611.648(c) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available (twice) |
| 611.648(e) | Board | Changed “an SEP” to “a SEP” (twice) |
| 611.648(f) | Board | Changed “an SEP” to “a SEP” |
| 611.648(g)(2)(A) | Board | Changed “an SEP” to “a SEP” |
| 611.648(g)(2)(B) | Board | Changed “an SEP” to “a SEP” |
| 611.648(g)(2)(C) | Board | Changed “an SEP” to “a SEP” |
| 611.648(g)(4) | Board | Changed “an SEP” to “a SEP” |
| 611.648(g)(5)(B) | Board | Changed the ending colon to a period |
| 611.648(g)(5)(B)(i) Board note | Agency | Added a cross-reference to a Board note explaining the regulatory status of requirements pertaining to the aldicarbs |
| 611.648(g)(5)(B)(i) | Board | Changed the ending colon to a period |
| 611.648(g)(5)(B)(ii) | Board | Changed the ending colon to a period |
| 611.648(h)(2)(A) | Board | Changed “an SEP” to “a SEP” |
| 611.648(h)(2)(B) | Board | Changed “an SEP” to “a SEP” |
| 611.648(h)(2)(C) | Board | Changed “an SEP” to “a SEP” |
| 611.648(k) | Board | Changed “shall” to “must” |
| 611.648(l) | Board | Removed the unnecessary Federal Register citation “at 59 Fed. Reg. 62468 (Dec. 5, 1994)” |
| 611.648(n)(2) | Board | Changed “an SEP” to “a SEP” |
| 611.648(o) | Board | Changed “an SEP” to “a SEP” |
| 611.648(p) | Board | Changed “that the Board . . . it reserves” to “relating to reserving”; removed the conjunction “and”; added “that” before “would serve . . .” for a restrictive relative clause |
| 611.648(r)(1) | Board | Added “the following” offset by a comma; changed “mg/L” to “mg/ℓ” |
| 611.648(r)(2) | Board | Added “the following” offset by a comma; changed “mg/L” to “mg/ℓ” |
| 611.648(r)(2) Board note | Agency | Added a cross-reference to a Board note explaining the regulatory status of requirements pertaining to the aldicarbs |
| 611.648(s)(2)(B) Board note | Agency | Added a cross-reference to a Board note explaining the regulatory status of requirements pertaining to the aldicarbs |
| 611.648 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.658 | Board | Repealed the outdated unregulated contaminants monitoring requirements |
| 611.680 heading | Board | Added a comma after “analytical” to offset the final element of a series |
| 611.680(a)(1) | Board | Corrected “this Subpart” to “this Subpart P” |
| 611.680(a)(2) | Board | Corrected “this Subpart” to “this Subpart P”; changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” |
| 611.680(b)(2) | Board | Changed “shall” to “must”; changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” |
| 611.680(b)(3) | Board | Changed “mg/L” to “mg/ℓ”; changed “shall” to “must”; changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” |
| 611.680(b) Board note | Board | Changed “derived” to “subsections (a) and (b) of this Section are derived”; updated the Code of Federal Regulations citation to the most recent edition available |
| 611.680(c) | Board | Changed “submit” to past-perfect tense “have submitted” changed “subsection (b)” to “subsection (b) of this Section” |
| 611.680(d) | Board | Changed “this Subpart” to “this Subpart P” |
| 611.683(a) | Board | Changed “special exception permit” to the defined abbreviation “a SEP”; added “pursuant to Section 611.110” |
| 611.683(a)(1) | Board | Changed “shall” to “must” |
| 611.683(a)(2) | Board | Changed “shall” to “must”; changed “mg/L” to “mg/ℓ” |
| 611.683(b)(1) | Board | Changed “mg/L” to “mg/ℓ”; changed “shall” to “must” |
| 611.683(b)(2) | Board | Changed “shall” to “must” |
| 611.683(b)(3) | Board | Changed “shall” to “must” |
| 611.683 Board note | Board | Corrected “141.30 (c)” to “141.30(c)”; updated the Code of Federal Regulations citation to the most recent edition available |
| 611.684 | Board | Corrected “611.312a)” to “611.312(a)”; changed “611.680(b)(1) or (2)” to “611.680(b)(1) or (b)(2)”; changed “Subpart V” to “Subpart V of this Part” |
| 611.684 Board note | Board | Corrected “141.30 (c)” to “141.30(c)”; updated the Code of Federal Regulations citation to the most recent edition available |
| 611.685 | Board | Changed “this Subpart P” to “this Subpart P” |
| 611.685 Board note | Board | Corrected “141.30 (c)” to “141.30(c)”; updated the Code of Federal Regulations citation to the most recent edition available |
| 611.686 preamble | Board | Changed “shall” to “must”; changed “special exception permit” to the defined abbreviation “a SEP” (twice); added “pursuant to Section 611.110”; added “the following” |
| 611.686(c) | Board | Added a comma after “nitrogen” to offset the final element of a series |
| 611.686(d) | Board | Changed “shall” to “must”; added commas before and after “as appropriate” to offset a parenthetical |
| 611.686 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.687(b) | Board | Changed “shall” to “must” |
| 611.687(c) | Board | Changed “shall” to “must” |
| 611.687(c)(2) | Board | Changed “mL” to “mℓ” |
| 611.687 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.688 | Board | Changed “apply” to past-tense “applied” |
| 611.720(a)(1) | Board | Changed the ending colon to a period |
| 611.720(a)(1)(A) | Board | Removed the erroneous reference to “ASTM Method 302”; renumbered the subsection from “(B)” to “(A)” |
| 611.720(a)(1)(A)(i) | Board | Added “13th ed.” offset by a comma |
| 611.720(a)(1)(A)(ii) | Board | Added “17th, 18th, 19th ed.” offset by a comma |
| 611.720(a)(1)(B) | Board | Renumbered the subsection from “(C)” to “(B)” |
| 611.720(a)(1)(C) | Board | Corrected “Method 900” to “Method 900.0”; renumbered the subsection from “(D)” to “(C)” |
| 611.720(a)(1)(D) | Board | Renumbered the subsection from “(E)” to “(D)” |
| 611.720(a)(1)(E) | Board | Renumbered the subsection from “(F)” to “(E)” |
| 611.720(a)(1)(F) | Board, JCAR | Renumbered the subsection from “(G)” to “(F)”; added the missing ending period |
| 611.720(a)(2) | Board | Changed the ending colon to a period |
| 611.720(a)(2)(A) | Board | Added “18th, 19th ed.” offset by a comma |
| 611.720(a)(3) | Board | Changed the ending colon to a period |
| 611.720(a)(3)(A) | Board | Changed the ending colon to a period |
| 611.720(a)(3)(A)(i) | JCAR | Removed a space to change “D 2460-90” to “D2460-90” |
| 611.720(a)(3)(A)(ii) | JCAR | Removed a space to change “D 3454-97” to “D3454-97” |
| 611.720(a)(3)(C) | Board | Changed the ending colon to a period |
| 611.720(a)(3)(C)(i) | Board | Added “13th ed.” offset by a comma |
| 611.720(a)(3)(C)(ii) | Board | Added “13th ed.” offset by a comma |
| 611.720(a)(3)(C)(iii) | Board | Added “17th, 18th, 19th ed.” offset by a comma |
| 611.720(a)(3)(C)(iv) | Board | Added “17th, 18th, 19th ed.” offset by a comma |
| 611.720(a)(3)(F) | Board | Corrected “Method 903, 903.1” to “Methods 903.0, 903.1” |
| 611.720(a)(3)(I) | Board | Changed the ending colon to a period |
| 611.720(a)(4) | Board | Changed the ending colon to a period |
| 611.720(a)(4)(A) | Board, JCAR | Added “17th, 18th, 19th ed.” offset by a comma; added the ending semicolon |
| 611.720(a)(4)(D) | Board | Corrected “Method 904” to “Methods 904.0” |
| 611.720(a)(5) | Board | Changed the ending colon to a period |
| 611.720(a)(5)(A) | Board | Added the previously missing reference to “Method 7500-U” |
| 611.720(a)(5)(B) | Board | Removed the erroneous reference to “Method D 2907”; renumbered the subsection from “(A)” to “(B)”; changed the ending colon to a period |
| 611.720(a)(5)(B)(i) | Board | Renumbered the subsection from “(ii)” to “(i)”; corrected the reference “D-2907” to “D2907” |
| 611.720(a)(5)(B)(ii) | Board, JCAR | Renumbered the subsection from “(iii)” to “(ii)”; removed a space to change “D 3972-97” to “D3972-97” |
| 611.720(a)(5)(B)(iii) | Board, JCAR | Renumbered the subsection from “(iv)” to “(iii)”; removed a space to change “D 5174-97” to “D5174-97” |
| 611.720(a)(5)(C) | Board | Corrected “Method 908” to “Methods 908.0”; renumbered the subsection from “(B)” to “(C)” |
| 611.720(a)(5)(D) | Board | Renumbered the subsection from “(C)” to “(D)” |
| 611.720(a)(5)(E) | Board | Renumbered the subsection from “(D)” to “(E)”; removed the unnecessary ending conjunction “or” |
| 611.720(a)(5)(F) | Board | Added the previously missing references to “USDOE Methods: Method U-02 or U-04”” |
| 611.720(a)(5)(G) | Board | Renumbered the subsection from “(E)” to “(G)”; changed the ending colon to a period |
| 611.720(a)(6) | Board | Added “radioactive”; changed the ending colon to a period |
| 611.720(a)(6)(A) | Board | Changed the ending colon to a period |
| 611.720(a)(6)(A)(i) | JCAR | Removed a space to change “D 2459-72” to “D2459-72” |
| 611.720(a)(6)(A)(ii) | JCAR | Removed a space to change “D 3649-91” to “D3649-91” |
| 611.720(a)(6)(B) | Board | Changed the ending colon to a period |
| 611.720(a)(6)(B)(i) | Board | Changed “(19th ed.)” to “19th ed.” offset by a comma |
| 611.720(a)(6)(B)(ii) | Board | Added “17th, 18th, 19th ed.” offset by a comma |
| 611.720(a)(6)(E) | Board | Corrected “Method 901” to “Method 901.0” |
| 611.720(a)(6)(G) | Board | Changed the ending colon to a period |
| 611.720(a)(7) | Board | Added “radioactive”; changed the ending colon to a period |
| 611.720(a)(7)(A) | Board | Changed the ending colon to a period |
| 611.720(a)(7)(A)(i) | JCAR | Removed a space to change “D 3649-91” to “D3649-91” |
| 611.720(a)(7)(A)(ii) | JCAR | Removed a space to change “D 4785-93” to “D4785-93” |
| 611.720(a)(7)(B) | Board | Changed the ending colon to a period |
| 611.720(a)(7)(B)(i) | Board | Changed “(19th ed.)” to “19th ed.” offset by a comma |
| 611.720(a)(7)(B)(ii) | Board | Added “17th, 18th, 19th ed.” offset by a comma |
| 611.720(a)(7)(B)(iii) | Board | Added “17th, 18th, 19th ed.” offset by a comma |
| 611.720(a)(7)(B)(iv) | Board | Added “17th, 18th, 19th ed.” offset by a comma |
| 611.720(a)(7)(F) | Board | Corrected “Method 901.1, 902” to “Method 901.1, 902.0” |
| 611.720(a)(8) | Board | Added “radioactive”; changed the ending colon to a period |
| 611.720(a)(8)(A) | Board | Changed the ending colon to a period |
| 611.720(a)(8)(A)(i) | Board | Added “13th ed.” offset by a comma |
| 611.720(a)(8)(A)(ii) | Board | Added “17th, 18th, 19th ed.” offset by a comma |
| 611.720(a)(8)(B) | Board | Changed the ending colon to a period |
| 611.720(a)(8)(D) | Board | Corrected “Method 905” to “Method 905.0” |
| 611.720(a)(9) | Board | Changed the ending colon to a period |
| 611.720(a)(9)(A) | JCAR | Removed a space to change “D 4107-91” to “D4107-91” |
| 611.720(a)(9)(B) | Board | Changed the ending colon to a period |
| 611.720(a)(9)(B)(i) | Board | Added “13th ed.” offset by a comma |
| 611.720(a)(9)(B)(ii) | Board | Added “17th, 18th, 19th ed.” offset by a comma |
| 611.720(a)(9)(D) | Board | Corrected “Method 906” to “Method 906.0” |
| 611.720(a)(10) | Board | Changed the ending colon to a period |
| 611.720(a)(10)(A) | Board | Changed the ending colon to a period |
| 611.720(a)(10)(A)(i) | JCAR | Removed a space to change “D 3649-91” to “D3649-91” |
| 611.720(a)(10)(A)(ii) | JCAR | Removed a space to change “D 4785-93” to “D4785-93” |
| 611.720(a)(10)(B) | Board | Changed the ending colon to a period |
| 611.720(a)(10)(B)(i) | Board | Changed “(19th ed.)” to “19th ed.” offset by a comma |
| 611.720(a)(10)(B)(ii) | Board | Added “17th, 18th, 19th ed.” offset by a comma |
| 611.720(a)(10)(B)(iii) | Board | Added “17th, 18th, 19th ed.” offset by a comma |
| 611.720(a)(10)(D) | Board | Corrected “Methods 901, 901.1, 902” to “Methods 901.0, 901.1, or 902.0” |
| 611.720(b) | Board | Changed “subsection (a)” to “subsection (a) of this Section” |
| 611.720(c) | Board | Changed “1.96 sigma” to “1.96σ”; added a comma before “where” to offset the parenthetical; changed “sigma” to “σ” |
| 611.720(c)(1) table | Board | Changed “pCi/L” to “pCi/ℓ” (three times) |
| 611.720(c)(1) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.720(c)(2) table | Board | Changed “pCi/L” to “pCi/ℓ” (six times) |
| 611.720(c)(2) Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available; removed “effective December 8, 2003” and the offsetting comma |
| 611.720 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.731(a)(1) | Board | Added a comma before “unless” to offset the parenthetical |
| 611.731(e) | Board | Changed “pCi/L” to “pCi/ℓ” (twice) |
| 611.731(e)(2) | Board | Changed “and/or” to “or” |
| 611.731(f)(1) | Board | Changed “pCi/L” to “pCi/ℓ” (twice); changed “1.96 sigma” to “1.96σ”; changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” |
| 611.731(f)(2) | Board | Changed “pCi/L” to “pCi/ℓ” (twice) |
| 611.731(h) | Board | Changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” |
| 611.731(h)(1) | Board | Changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” |
| 611.731(h)(2) | Board | Changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” |
| 611.731(h)(3) | Board | Changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” |
| 611.731(h)(5) | Board | Changed “pCi/L” to “pCi/ℓ” |
| 611.731 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.732(a)(1) | Board | Changed “pCi/L” to “pCi/ℓ” |
| 611.732(b)(4) | Board | Changed “pCi/L” to “pCi/ℓ” |
| 611.732(d) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.732(g) | Board | Changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110”; changed “pCi/L” to “pCi/ℓ” |
| 611.732(g)(1) | Board | Changed “pCi/L” to “pCi/ℓ” |
| 611.732(g)(2) | Board | Changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” |
| 611.732(g)(3) | Board | Changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” |
| 611.732(i) | Board | Changed “shall” to “must” |
| 611.732(j) | Board | Changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” |
| 611.732(j)(1) | Board, JCAR | Changed “pCi/L” to “pCi/ℓ” (twice); corrected the spelling of “constitutents” to “constituents” |
| 611.732(j)(2) | Board | Changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” |
| 611.732(j)(3) | Board | Changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” |
| 611.732(j)(4) | Board | Changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” |
| 611.732(i) | Board | Changed “shall” to “must”; added a comma after “standard” to offset the final element of a series |
| 611.732 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.733(c)(5) | Board | Changed “and/or” to “or” |
| 611.733(e) | Board | Added a comma before “as required” to offset the parenthetical |
| 611.733 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.Subpart R heading | Board | Changed an em-dash to a colon |
| 611.740(a) | Board | Changed “this Subpart” to “this Subpart R” (three times); removed the past effective date statement “beginning January 1, 2002” and its offsetting comma; added “the following” |
| 611.740(b) | Board | Changed “this Subpart” to “this Subpart R”; added “the following is true” |
| 611.741 preamble | Board | Changed “this Subpart” to “this Subpart R” |
| 611.741(a) | Board | Added “do the following” offset by a comma |
| 611.741 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.742(a) | Board | Changed “this Subpart” to “this Subpart R” |
| 611.742(a)(1)(A) | Board | Corrected the Code of Federal Regulations citation to the 1995 edition |
| 611.742(a)(1)(A) Board note | JCAR | Removed “as amended at . . . (Dec. 5, 1994)” and the offsetting comma |
| 611.742(a)(2)(A) | Board | Corrected the Code of Federal Regulations citation to the 1995 edition |
| 611.742(a)(2)(A) Board note | JCAR | Removed “as amended at . . . (Dec. 5, 1994)” and the offsetting comma |
| 611.742(a)(2)(C) | Board | Changed “subsection (a)(2)(A) or (B)” to “subsection (a)(2)(A) or (a)(2)(B)”; changed “must either” to “must do either of the following” |
| 611.742(a)(2)(C)(i) | Board | Removed the past-effective statement “This monitoring . . . no later than March 31, 2000” |
| 611.742(a)(3) | Board | Changed “subsection (a)(1) or (2)” to “subsection (a)(1) or (a)(2)” |
| 611.742(a)(4) | Board | Changed “subsection (a)(1) or (2)” to “subsection (a)(1) or (a)(2)” |
| 611.742(a)(5)(A) | Board | Changed “must submit” to past-perfect tense “must have submitted” |
| 611.742(a)(5)(B) | Board | Changed “has” to past-tense “had”; removed the unnecessary Federal Register citation “as amended . . . (Dec. 5, 1994)”; changed “must submit” to past-perfect tense “must have submitted” |
| 611.742(a)(5)(C) | Board | Changed “conducts” to past-tense “conducted”; changed “must submit” to past-perfect tense “must have submitted” |
| 611.742(a)(5)(D) | Board | Changed “elects” to past-tense “elected”; changed “must notify” to past-perfect tense “must have notified” |
| 611.742(a)(5)(C) | Board | Changed “elects” to past-tense “elected”; changed “must submit” to past-perfect tense “must have submitted” |
| 611.742(a)(4) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.742(b)(1) | Board | Changed numeric “1” to written “one” |
| 611.742(b)(2) | Board | Changed “must begin” to past-perfect tense “must have begun” |
| 611.742(b)(3)(A) | Board | Changed “has” to past-tense “had”; changed “must submit” to past-perfect tense “must have submitted” |
| 611.742(c)(1) | Board | Added “the following” |
| 611.742 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.742 preamble | Board | Changed “this Subpart” to “this Subpart R” (twice); changed “does” to past-tense “did”; changed “must provide” to past-perfect tense “must have provided” |
| 611.743 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.744(a) | Board | Changed “this Subpart” to “this Subpart R”; changed “shall” to “must” (three times) |
| 611.744(b) | Board | Changed “shall” to “must” (twice) |
| 611.744 Board note | Board | Added the citation to the most recent available edition of the Code of Federal Regulations for the source of this provision |
| 611.745 preamble | Board | Changed “this Subpart” to “this Subpart R” (twice); removed the past effective notation “beginning January 1, 2002” (twice) |
| 611.745(b) | Board | Changed “subsections (b)(1) through (4)” to “subsections (b)(1) through (b)(4)” (twice) |
| 611.745 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.830 | Board | Added “those noted as” |
| 611.831 | Board | Changed “shall” to “must” |
| 611.833 | Board | Added the statutory citation “415 ILCS 5/17(b)” in brackets; changed “shall” to “must” |
| 611.840(a)(2) | Board | Changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” |
| 611.840(d) | Board | Added a comma after “posted” to offset the final element of a series |
| 611.840(e) | Board | Changed “which” to “that” for a restrictive relative clause; added the statutory citation “415 ILCS 5/4” in brackets |
| 611.840 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.860(a)(1) | Board | Added a comma after “place” to offset the final element of a series |
| 611.860(a)(2) | Board | Added a comma after “sample” to offset the final element of a series |
| 611.860(a)(3) | Board | Added the definite article “the” |
| 611.860(a)(4) | Board | Added the definite article “the” |
| 611.860(c) | Board | Added a comma after “summaries” to offset the final element of a series; added a comma after “Agency” to offset the final element of a series |
| 611.860 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.881 heading | Board | Removed “of this Subpart” |
| 611.881(a) | Board | Changed “this Subpart” to “this Subpart U” |
| 611.881(b) | Board | Changed “this Subpart” to “this Subpart U” |
| 611.881(c) | Board | Changed “this Subpart” to “this Subpart U” |
| 611.881(d) | Board | Changed “this Subpart” to “this Subpart U”; changed the reference “611.646” to “611.646(a)” |
| 611.881 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.881(d) | Agency | Changed the reference “611.646” to “611.646(a)” |
| 611.882(a) | Board | Changed “shall” to “must”; changed “deliver” to past-perfect tense “have delivered”; added “it must deliver” before “subsequent reports”; changed “contain” to past-perfect tense “have contained”; removed the unnecessary commas before and after “or prior to”; added a comma before “as prescribed” to offset the parenthetical |
| 611.882(b) | Board | Changed “shall” to “must” |
| 611.882(c) | Board | Added “as follows” |
| 611.882 Board note | Board | Added the citation to the most recent available edition of the Code of Federal Regulations for the source of this provision |
| 611.883(b)(2) | Agency | Changed “PWS” to “supplier” |
| 611.883(c)(3)(B) | Board | Changed “which” to “that” for a restrictive relative clause |
| 611.883(d)(1)(C) | Board | Changed “Subpart L” to “Subpart L of this Part” |
| 611.883(d)(3) | Board, JCAR | Changed “be” to past-perfect tense “have been”; added “must be . . . collected in”; removed the redundant “thereafter” after “subsequent calendar years” |
| 611.883(d)(4)(B) | Board | Added “federal” before “Maximum Contaminant Level Goal” |
| 611.883(d)(4)(D) Board note | Board | Changed “Appendix A” to “Appendix A of this Part” |
| 611.883(d)(4)(I) | Board | Changed “which” to “that” for a restrictive relative clause |
| 611.883(e) | Board | Added “as follows” |
| 611.883(e)(2) | Board | Changed “which” to “that” for a restrictive relative clause |
| 611.883(f)(1) | JCAR | Changed the ending semicolon to a period |
| 611.883(f)(2) | Board | Changed “which” to “that” for a restrictive relative clause |
| 611.883(f)(3) | JCAR | Changed “Sections 611.350(d), 611.351, 611.352, 611.353, or 611.354” to singular “Section 611.350(d), 611.351, 611.352, 611.353, or 611.354” |
| 611.883(f)(6) | JCAR | Changed the ending semicolon to a period and removed the ending conjunction “and” |
| 611.883(g) | JCAR | Changed “Sections 611.111, 611.112, or 611.131” to singular “Section 611.111, 611.112, or 611.131” |
| 611.883(h)(1)(C) | Board | Changed “which” to “that” for a restrictive relative clause |
| 611.884(b) | Board | Removed the past-effective language “ending in the report due by July 1, 2001, . . . report due by July 1, 2002”; changed “mg/L” to “mg/ℓ” (twice) |
| 611.884(c) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.884(e) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.884(f) | Board | Removed the past-effective language “beginning in the report due by July 1, 2002, and”; changed “ending” to “until”; changed “mg/L” to “mg/ℓ” (twice) |
| 611.884 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.885(g)(2) | Board | Changed “subsections (g)(1)(A) and (B)” to “subsections (g)(1)(A) and (g)(1)(B)”; changed “this Subpart” to “this Subpart U” |
| 611.885 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.901(a)(1) | Board | Changed the ending colon to a period |
| 611.901(a)(2) | Board | Changed the ending colon to a period |
| 611.901(a)(3) | Board | Changed the ending colon to a period |
| 611.901(a)(3)(E) | Board | Changed “this Subpart” to “this Subpart V”; changed “Appendix G” to “Appendix G of this Part” |
| 611.901 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.902 heading | Board | Changed an em-dash to a colon |
| 611.902(a)(5) | Board, JCAR | Replaced a reference to an obsolete federal provision that corresponds with a provision repealed in this proceeding with an explanatory statement |
| 611.902(a)(8) | Board | Changed “an SEP” to “a SEP” |
| 611.902(b) | Board | Added “do the following” |
| 611.902(b)(1) | Board | Added “it must” |
| 611.902(b)(2) | Board | Added “it must” |
| 611.902(b)(3) | Board | Added “it must” |
| 611.902(c)(4) | Board | Changed “an SEP” to “a SEP” |
| 611.903 heading | Board | Changed an em-dash to a colon |
| 611.903(a) | Board | Changed “this subsection” to “this subsection (a)” |
| 611.903(a)(1) | Board | Changed “an SEP” to “a SEP” |
| 611.903(a)(2) | Board | Changed “an SEP” to “a SEP” |
| 611.903(b)(1) | JCAR | Changed “an SEP” to “a SEP” |
| 611.903(b)(3)(A) | Board | Corrected “Section 141.320(b)” to “Section 611.320(b)” |
| 611.903(c)(1) | Board, JCAR | Changed “an SEP” to “a SEP”; added “the following” |
| 611.903(c)(2) | Board, JCAR | Changed “an SEP” to “a SEP”; added “means” |
| 611.904 heading | Board | Changed an em-dash to a colon |
| 611.904(a)(3) | Board | Changed “Section 1415” to lower-case “section 1415”; changed “Section 1416” to lower-case “section 1416” |
| 611.904(b)(1) | Board | Changed “Section 1415” to lower-case “section 1415” (three times); changed “Section 1416” to lower-case “section 1416” (three times) |
| 611.904 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.905(b) | Board | Changed “Section 1415” to lower-case “section 1415”; changed “Section 1416” to lower-case “section 1416” |
| 611.905(b)(1) | Board | Changed “Section 1415” to lower-case “section 1415”; changed “Section 1416” to lower-case “section 1416” |
| 611.905(b)(1)(A) | Board | Changed “Section 1415” to lower-case “section 1415”; changed “Section 1416” to lower-case “section 1416” |
| 611.905(b)(1)(B) | Board | Changed “Section 1415” to lower-case “section 1415”; changed “Section 1416” to lower-case “section 1416” |
| 611.905(b)(1)(C) | Board | Changed “Section 1415” to lower-case “section 1415”; changed “Section 1416” to lower-case “section 1416” |
| 611.905(b)(1)(D) | Board | Changed “Section 1415” to lower-case “section 1415”; changed “Section 1416” to lower-case “section 1416” |
| 611.905(b)(2) | Board | Changed “Section 1415” to lower-case “section 1415”; changed “Section 1416” to lower-case “section 1416” |
| 611.905(c)(1)(D) | Board | Changed “which” to “that” for a restrictive relative clause |
| 611.905(d)(1) | Board | Changed “Section 1415” to lower-case “section 1415” (twice); changed “Section 1416” to lower-case “section 1416” (twice) |
| 611.905(d)(2) | Board | Changed brackets to parentheses on “compliance period”; changed brackets to parentheses on “contaminants” |
| 611.905 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.906(a) | Board | Changed “Section 1415” to lower-case “section 1415”; changed “Section 1416” to lower-case “section 1416” |
| 611.906(b) | Board | Changed “Section 1415” to lower-case “section 1415” (twice); changed “Section 1416” to lower-case “section 1416” (twice) |
| 611.906 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.907 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.908(a) | Board | Corrected “Pubic Health” to “Public Health”; changed “mg/L” to “mg/ℓ” (twice) |
| 611.908(c) mandatory text | Board | Changed “mg/L” to “mg/ℓ” (twice); changed brackets to parentheses on “name”; changed brackets to parentheses on “insert value”; changed “and/or” to “or” |
| 611.908(c) mandatory text | Board | Changed “mg/L” to “mg/ℓ” (five times); changed brackets to parentheses on “name”; changed brackets to parentheses on “insert value”; changed “and/or” to “or”; changed brackets to parentheses on “name of water system contact”; changed brackets to parentheses on “name of community water system”; changed brackets to parentheses on “phone number” |
| 611.908 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.909(b) | Board | Changed “mg/L” to “mg/ℓ” |
| 611.909 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.910(a) | Board | Changed “this Subpart” to “this Subpart V” |
| 611.910 Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.Subpart X heading | Board | Changed an em-dash to a colon |
| 611.950(a)(1) | Board | Changed “2 log” to hyphenated “2-log” |
| 611.952(a) | Board | Changed “which” to “that” for a restrictive relative clause |
| 611.953(a) | Board | Changed “an SEP” to “a SEP” |
| 611.953(b) | Board | Changed “mg/L” to “mg/ℓ” (twice) |
| 611.953(c)(1) | Board | Changed “begin” to past-perfect tense “have begun” |
| 611.953(e)(1)(A) | Board | Changed the ending comma to a semicolon |
| 611.954(b) | Board | Added “the following” |
| 611.955(b)(1)(B) | Board | Changed “an SEP” to “a SEP” |
| 611.955(b)(2)(B) | Board | Changed “an SEP” to “a SEP” |
| 611.955(b)(2) | Board | Changed “which” to “that” for a restrictive relative clause; corrected “Sections 611.231 and 233” to “Sections 611.231 and 611.233” |
| 611.955(c)(1) | Board | Corrected “filtration(filtration” to “filtration (filtration”; added “the following” |
| 611.955(c)(1)(B) | Board | Changed “and/or” to “or” |
| 611.955(c)(1)(C) | Board | Changed “and/or” to “or” |
| 611.956(d)(1) | Board | Changed “which” to “that” for a restrictive relative clause |
| 611.956(d)(2) | Board | Changed “which” to “that” for a restrictive relative clause |
| 611.957(a)(3) | Board | Changed “mg/L” to “mg/ℓ” (twice) |
| 611.957(a)(3)(A) | Board | Removed the reference to the past effective date “by July 1, 2003” and the offsetting comma |
| 611.Appendix A “microbiological contaminants” heading | Board | Changed the ending colon to a period |
| 611.Appendix A “total coliform bacteria” | Board, Agency | Changed “mg/L” to “mg/ℓ”; changed “40” to “40 or more” (twice); changed numeric “<5%” to written “fewer than five percent” (twice); changed numeric “fewer than 1” to “one or fewer” (twice) |
| 611.Appendix A “fecal coliform bacteria” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “total organic carbon” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “turbidity” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “radioactive contaminants” heading | Board | Changed the ending colon to a period |
| 611.Appendix A “beta/photon emitters” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “alpha emitters” | Board | Changed “pCi/L” to “pCi/ℓ” (twice); changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “combined radium” | Board | Changed “pCi/L” to “pCi/ℓ” (twice); changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “uranium” | Board | Changed “pCi/L” to “pCi/ℓ” (twice); changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “inorganic contaminants” heading | Board | Changed the ending colon to a period |
| 611.Appendix A “antimony” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “arsenic” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “asbestos” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “barium” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “beryllium” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “cadmium” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “chloramines” | JCAR | Corrected the spelling of “stomache” to “stomach” |
| 611.Appendix A “chlorine” | JCAR | Corrected the spelling of “stomache” to “stomach” |
| 611.Appendix A “chromium” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “copper” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “cyanide” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “fluoride” | Board | Changed “mg/L” to “mg/ℓ”; changed “and/or” to “or” |
| 611.Appendix A “lead” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “mercury” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “nitrate” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “nitrite” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “selenium” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “thallium” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “synthetic organic contaminants” heading | Board | Changed the ending colon to a period |
| 611.Appendix A “2,4-D” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “2,4,5-TP” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “acrylamide” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “alachlor” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “atrazine” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “benzo(a)pyrene” | Board | Changed “nanograms/L” to “nanograms/ℓ”; changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “carbofuran” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “chlordane” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “dalapon” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “di(2-ethylhexyl)adipate” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “di(2-ethylhexyl)phthalate” | Board | Removed the unnecessary comma after “liver” that separated a two-element series; added “they” before “may have” to complete an independent clause |
| 611.Appendix A “dibromochloropropane” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “dinoseb” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “diquat” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “dioxin” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “endothall” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “endrin” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “epichlorohydrin” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “ethylene dibromide” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “glyphosate” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “heptachlor” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “heptachlor epoxide” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “hexachlorobenzene” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “hexachlorocyclopentadiene” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “lindane” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “mthoxychlor” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “oxamyl” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “PCSs” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “pentachlorophenol” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “picloram” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “simazine” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “toxaphene” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “volatile organic contaminants” heading | Board | Changed the ending colon to a period |
| 611.Appendix A “benzene” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “carbon tetrachloride” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “chlorobenzene” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “o-dichlorobenzene” | Board | Changed “mg/L” to “mg/ℓ”; changed a comma to a semicolon for a series containing a sub-series (twice) |
| 611.Appendix A “p-dichlorobenzene” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “1,2-dichloroethane” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “1,2-dichloroethylene” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “1,1-dichloroethylene” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “cis-1,2-dichloroethylene” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “trans-1,2-dichloroethylene” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “dichloromethane” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “1,2-dichloropropane” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “ethylbenzene” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “haloacetic acids” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “styrene” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “tetrachloroethylene” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “1,2,4-trichlorobenzene” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “1,1,1-trichloroethane” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “1,1,2-trichloroethane” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “trichloroethylene” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “TTHMs” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “toluene” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “vinyl chloride” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “xylenes” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “key” heading | Board | Changed the ending colon to a period |
| 611.Appendix A “key” “pCi/ℓ” | Board | Changed “pCi/L” to “pCi/ℓ” |
| 611.Appendix A “key” “ppm” | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix A “key” “ppb” | Board | Changed “g/L” to “g/ℓ” |
| 611.Appendix A Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.Appendix B Table 1.1 heading | Board | Changed the title from all caps to title case |
| 611.Appendix B Table 1.1 | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix B, table 1.1 | JCAR | Corrected the appearance of the symbol “≤” |
| 611.Appendix B Table 1.2 heading | Board | Changed the title from all caps to title case |
| 611.Appendix B Table 1.2 | Board, JCAR | Corrected the appearance of the symbol “≤”; changed “mg/L” to “mg/ℓ” |
| 611.Appendix B Table 1.3 heading | Board | Changed the title from all caps to title case |
| 611.Appendix B Table 1.3 | Board, JCAR | Corrected the appearance of the symbol “≤”; changed “mg/L” to “mg/ℓ” |
| 611.Appendix B Table 1.4 heading | Board | Changed the title from all caps to title case |
| 611.Appendix B Table 1.4 | Board | Corrected the appearance of the symbol “≤”; changed “mg/L” to “mg/ℓ” |
| 611.Appendix B Table 1.5 heading | Board | Changed the title from all caps to title case |
| 611.Appendix B Table 1.5 | Board | Corrected the appearance of the symbol “≤”; changed “mg/L” to “mg/ℓ” |
| 611.Appendix B Table 1.6 heading | Board | Changed the title from all caps to title case |
| 611.Appendix B Table 1.6 | Board | Corrected the appearance of the symbol “≤”; changed “mg/L” to “mg/ℓ” |
| 611.Appendix B Table 2.1 heading | Board | Changed the title from all caps to title case |
| 611.Appendix B Table 2.1 | Board | Changed “25°C” to “≥25°C” |
| 611.Appendix B Table 3.1 heading | Board | Changed the title from all caps to title case |
| 611.Appendix B Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.Appendix C “DDT” | Board | Replaced the bracket in the chemical name with a parenthesis |
| 611.Appendix C “dieldrin” | Board | Replaced the brackets in the chemical name with parentheses |
| 611.Appendix C “endrin” | Board | Replaced the brackets in the chemical name with parentheses |
| 611.Appendix C “heptachlor epoxide” | Board | Replaced the brackets in the chemical name with parentheses |
| 611.Appendix C “methoxychlor” | Board | Replaced the bracket in the chemical name with a parenthesis |
| 611.Appendix C Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.Appendix D | Board | Changed “mL” to “mℓ” (four times); changed numeric “1” to written “one” |
| 611.Appendix D Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.Appendix E, ¶1 | Board | Replaced the brackets with parentheses around “insert name of water supplier”; changed “mg/L” to “mg/ℓ”; replaced the brackets with parentheses around “insert date . . . your system”; replaced the brackets with parentheses around “insert . . . phone number” |
| 611.Appendix E, ¶4 A | Board | Replaced the brackets with parentheses around “insert . . . water system” |
| 611.Appendix E, ¶4 B i | Board | Replaced the brackets with parentheses around “insert . . . 30 days” |
| 611.Appendix E, ¶4 B v | Board | Replaced the brackets with parentheses around “insert . . . permits”; replaced the brackets with parentheses around “insert . . . the line” |
| 611.Appendix E, ¶4 D i | Board | Replaced the brackets with parentheses around “insert . . . utilities”; replaced the brackets with parentheses around “insert phone number” |
| 611.Appendix E, ¶4 D ii | Board | Replaced the brackets with parentheses around “insert . . . permits”; replaced the brackets with parentheses around “insert phone number” |
| 611.Appendix E, ¶4 D iii | Board | Replaced the brackets with parentheses around “insert . . . department”; replaced the brackets with parentheses around “insert phone number” |
| 611.Appendix E, ¶4 E | Board | Replaced the brackets with parentheses around “insert . . . laboratories” |
| 611.Appendix E Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.Appendix F, ¶1 | Board | Replaced the brackets with parentheses around “insert name of water supplier”; changed “mg/L” to “mg/ℓ”; replaced the brackets with parentheses around “insert . . . your system”; replaced the brackets with parentheses around “insert . . . phone number” |
| 611.Appendix F, ¶3 B | Board | Added a comma after “brass” to offset the final element of a series; added a comma after “pipes” to offset the final element of a series |
| 611.Appendix F, ¶4 D i | Board | Replaced the brackets with parentheses around “insert . . . if appropriate”; replaced the brackets with parentheses around “insert phone number” |
| 611.Appendix F, ¶4 D ii | Board | Replaced the brackets with parentheses around “insert . . . health department”; replaced the brackets with parentheses around “insert phone number” |
| 611.Appendix F Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available; corrected “900-20(k)(2)” to “900.20(k)(2)” |
| 611.Appendix G preamble | Board | Changed “this Appendix” to “this Appendix G” |
| 611.Appendix G, ¶I.A.4. | Board | Changed “>” to “greater than” |
| 611.Appendix G, ¶I.B.3. | Board | Changed “>” to “greater than”; changed “m” to “µm” |
| 611.Appendix G, ¶I.C. | Board | Changed “mg/L” to “mg/ℓ” (twice) |
| 611.Appendix G, ¶III. | Board | Changed “Section 1415” to lower-case “section 1415”; changed “Section 1416” to lower-case “section 1416”; changed the ending colon to a period |
| 611.Appendix G, ¶IV. | Board | Changed the ending colon to a period |
| 611.Appendix G, ¶ IV.F. | Board | Changed “an SEP” to “a SEP” |
| 611.Appendix G, endnote 1 | Board | Changed “an SEP” to “a SEP” (twice) |
| 611.Appendix G, endnote 5 | Board | Changed “an SEP” to “a SEP” |
| 611.Appendix G, endnote 6 | Board | Changed “an SEP” to “a SEP” |
| 611.Appendix G, endnote 7 | Board | Changed “become effective” to past-tense “were effective” |
| 611.Appendix G, endnote 12 | Board | Changed “are effective” to past-tense “were effective” |
| 611.Appendix G, endnote 13 | Board | Removed the past-effective “beginning January 1, 2002” (twice) |
| 611.Appendix H column headings | Board | Changed “mg/L” to “mg/ℓ” (twice) |
| 611.Appendix H, ¶A.2b “turbidity” | Board | Added a comma after “diarrhea” to offset the final element of a series |
| 611.Appendix H, ¶A.2c “turbidity” | Board | Added a comma after “diarrhea” to offset the final element of a series |
| 611.Appendix H, ¶C.16 “fluoride” | Board | Changed “and/or” to “or” |
| 611.Appendix H, ¶E.34 “di(2-ethylhexyl)phthalate” | Board | Removed the unnecessary comma after “liver” that separated a two-element series; added “they” before “may have” for an independent clause |
| 611.Appendix H, ¶G.77 “alpha emitters” | Board | Changed “pCi/L” to “pCi/ℓ” |
| 611.Appendix H, ¶G.78 “combined radium” | Board | Changed “pCi/L” to “pCi/ℓ” |
| 611.Appendix H, ¶G.79 “uranium” | Board | Changed “µg/L” to “µg/ℓ” |
| 611.Appendix H, endnote 8 | Board | Removed the past-effective “after January 1, 2002” and the offsetting comma |
| 611.Appendix H, endnote 11 | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix H, endnote 13 | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix H, endnote 14 | Board | Changed “mg/L” to “mg/ℓ” |
| 611.Appendix H, endnote 18 | Board | Removed the past-effective “beginning January 1, 2002” (twice) |
| 611.Appendix H, endnote 19 | Board | Changed “mg/L” to “mg/ℓ” (twice); changed “is” to past-tense “was” |
| 611.Appendix I Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.Table A | Board, JCAR | Changed “month” to capitalized “Month”; changed “which “ to “that” for a restrictive relative clause |
| 611.Table A Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.Table B Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.Table C | Board | Changed “special exception permit” to the defined abbreviation “a SEP”; added “issued pursuant to Section 611.110” |
| 611.Table C Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.Table E | Board | Replaced “upon effective date1” in the table and endnote 1 with the date set forth in the table “January 1, 1992”; replaced “upon effective date2” in the table and endnote 1 with the date set forth in the table “July 1, 1992” |
| 611.Table E Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.Table G | JCAR | Corrected “PH” to “pH” (seven times) |
| 611.Table G, “after corrosion control,” row 2, column 2 | Board | Added a comma after “rate” to offset the final element of a series |
| 611.Table G, “after the Agency specifies . . . corrosion control,” row 2, column 2 | Board | Added a comma after “rate” to offset the final element of a series |
| 611.Table G, “reduced monitoring,” row 2, column 2 | Board | Added a comma after “rate” to offset the final element of a series |
| 611.Table G, endnote 1 | Board | Added “this” before “Table G” |
| 611.Table G, endnote 8 | Board | Changed “mg/L” to “mg/ℓ” (twice) |
| 611.Table G Board note | Board | Updated the Code of Federal Regulations citation to the most recent edition available |
| 611.Table Z “Phase IIB SOCs” | Agency | Replace the former explanatory language with a cross-reference to a Board note explaining the regulatory status of requirements pertaining to the aldicarbs |
| 611.Table Z, “Phase V SOCs” | Board | Changed the brackets to parentheses in the chemical name |
| 611.Table Z, “disinfection/ disinfection byproducts” | Board | Changed “serving 10,000 persons” to “serving10,000 or fewer persons”; changed “” to “equal to or fewer than”; changed “>” to “more than” |
| 611.Table Z “radionuclides” | JCAR | Corrected the spelling of “radionuclidess” to “radionuclides” |

Table 3:

Revisions to the Text of the Proposed Amendments in Final Adoption

| Section | Source | Revision(s) |
| --- | --- | --- |
| 611 table of contents, 611.320 entry | JCAR | Added “repealed” in parentheses |
| 611 table of contents, Subpart I heading | JCAR | Changed “and” to upper-case “AND” |
| 611 source note | Board, JCAR | Added a comma before “effective” in the entry for R00-10 |
| 611.100(a) | JCAR | Changed “U.S.C.” to “USC” |
| 611.101 “approved source of bottled water” | JCAR | Changed “state” to capitalized “State” |
| 611.101 “service connection” Board note | JCAR | Changed the symbol “&” to written “and” |
| 611.101 “SOC” Board note | Agency | Added a cross-reference to a Board note explaining the regulatory status of the requirements pertaining to the aldicarbs |
| 611.101 “special irrigation district” Board note | JCAR | Changed the symbol “&” to written “and” |
| 611.101 “trihalomethane” | JCAR | Added a comma after each listed compound name (three times) |
| 611.101 “wellhead protection program” Board note | JCAR | Removed the unnecessary comma from before “and 35 Ill. Adm. Code” that separated a two-element series |
| 611.102(a) “Kaleda 101” | JCAR, Board | Corrected the spelling of “Kaleda”; moved the comma inside the closing quotation mark after “Thiocyanate” |
| 611.102(a) “Membrane Filter . . .” | JCAR, Board | Corrected the spelling of “Escherichia”; moved the comma inside the closing quotation mark after “Waters” |
| 611.102(a) “QuickChem Method . . .” | Board | Moved the comma inside the closing quotation mark after “analysis” |
| 611.102(a) “Readycult Coliforms . . .” | JCAR | Corrected the spelling of “Escherichla” to “Escherichia”; added a comma inside the closing quotation mark after “Waters” |
| 611.102(a) “SimPlate Method” | JCAR | Changed “method” to capitalized “Method” |
| 611.102(a) “Standard Methods” | JCAR | Removed the unnecessary comma after “Methods” that separated the subject and verb |
| 611.102(a) “Syngenta AG-625” | Board | Removed the address and telephone information from the definition |
| 611.102(a) “USEPA Organic Methods” | JCAR | Added a space to change “EPA815/B–00/001” to “EPA 815/B–00/001” |
| 611.102(b) “American Waterworks Association,” “National Field Evaluation . . .” | Board | Moved the reference into correct alphabetical order; corrected the spelling of “Edburg” to “Edberg” |
| 611.102(b) “EM Science” | JCAR | Added a comma after “Darmstadt”; corrected the spelling of “Escherichla” to “Escherichia” (twice) |
| 611.102(b) “United States Environmental Protection Agency, Office of Ground Water and Drinking Water,” “Method 515.4” | JCAR | Added a space to change “EPA815/B–00/001” to “EPA 815/B–00/001” |
| 611.102(b) “United States Environmental Protection Agency, Office of Ground Water and Drinking Water,” “Method 531.2” | JCAR | Added a comma after “Method 531.2” |
| 611.103 | JCAR | Corrected the spelling of “invlidity” to “invalidity” |
| 611.121(a) | JCAR, Board | Changed “no person must cause” to “no person may cause” |
| 611.121(c) | JCAR, Board | Changed “A MCL . . . must apply” to “An MCL . . . applies” |
| 611.126 Board note | JCAR | Changed “Section 1417” to lower-case “section 1417” |
| 611.130(a)(4)(A) | JCAR | Changed the ending comma to a semicolon |
| 611.130(f)(2)(D) | JCAR | Added “do” before “the following” |
| 611.130(g)(1) | JCAR | Changed “the following means the following” to “the following means” |
| 611.211(b) | JCAR | Corrected the spelling of “site specfic” and added a hyphen to “site-specific” |
| 611.211(b)(5) | JCAR | Removed the ending period |
| 611.211(b)(6) | JCAR | Removed the ending period |
| 611.212(d)(1) | JCAR | Changed the ending comma to a semicolon |
| 611.230 heading | JCAR | Corrected “611.230” to “Section 611.230” |
| 611.230(d) | JCAR | Corrected “Section 611.231 and 611.232” to plural “Sections 611.231 and 611.232” |
| 611.241(c) | JCAR | Corrected “Section 611.531(e) and 611.532(e)” to plural “Sections 611.531(e) and 611.532(e)” |
| 611.241(d)(1) | JCAR, Board | Corrected “Section Section 611.531(e) and 611.532(f)” to plural “Sections 611.531(e) and 611.532(f)”; changed the equation to standard equation format; changed the ending periods to semicolons (three times) |
| 611.250(a)(1) | JCAR, Board | Changed numeric “5” to written “five” |
| 611.301(c) | JCAR | Added blank lines between table rows to enhance readability |
| 611.311(b) | Agency, Board | Added an asterisk (*) to the entry for each aldicarb compound (three times); added an end note directing attention to the end Board note |
| 611.311(c) | Agency, Board | Added an asterisk (*) to the entry for each aldicarb compound (three times); added an end note directing attention to the end Board note |
| 611.311 Board note | Agency | Amended the explanation of the regulatory status of the requirements pertaining to the aldicarbs |
| 611.352(g) | JCAR | Changed “Sections 611.357(d) through (f)” to singular “Section 611.357(d) through (f)” |
| 611.352(g)(1) Board note | JCAR, Board | Changed “this subsection” to singular “this subsection (g)” |
| 611.352(i)(1) | JCAR | Changed the ending comma to a semicolon |
| 611.353(b)(2)(B)(i) | JCAR | Changed the ending comma to a semicolon |
| 611.353(b)(2)(B)(ii) | JCAR | Changed the ending comma to a semicolon |
| 611.353(b)(7)(A) | JCAR | Changed the ending comma to a semicolon |
| 611.354(b)(3) | JCAR | Added a comma after “e.g.” |
| 611.355(c)(2)(A) | JCAR | Changed “within 60 days of” to “within 60 days after” |
| 611.355(c)(3)(A) | JCAR, Board | Changed the colon after “Section” to a comma |
| 611.355(c)(3)(B) | Board | Added a comma after “Section” |
| 611.356(b)(2)(B) | JCAR, Board | Added a parenthesis mark to correct the subsection number format |
| 611.357(e)(2)(B)(i) | JCAR | Changed the ending comma to a semicolon |
| 611.360(a)(1) | JCAR | Changed “section” to capitalized “Section” |
| 611.360(e)(1)(A) | JCAR | Changed the ending comma to a semicolon |
| 611.361 | JCAR | Changed “section” to capitalized “Section” |
| 611.Subpart I heading | JCAR | Changed “and” to upper-case “AND” |
| 611.381(c)(1) | Board | Removed a space to change “D 1253-86” to “D1253-86” |
| 611.382(b)(1)(B)(i) | JCAR | Changed “less than equal to” to “less than or equal to” (three times); added the indefinite article “a” before “distribution system” |
| 611.382(b)(1)(B)(ii) | JCAR | Added the verb “is” before “less than” (twice); changed “less than equal to” to “less than or equal to” (twice); added the indefinite article “a” before “distribution system” |
| 611.382(b)(1)(B)(iii) | JCAR | Added the verb “is” before “less than” (twice); changed “less than equal to” to “less than or equal to” (twice); added the indefinite article “a” before “distribution system” |
| 611.382(b)(1)(B)(iv) | JCAR | Added the verb “is” before “less than” (four times); changed “less than equal to” to “less than or equal to” (four times); added the indefinite article “a” before “distribution system”; added the definite article “the” before “quarter” |
| 611.384(b)(1)(D) | JCAR | Changed “section” to capitalized “Section” |
| 611.384(b)(3)(B) | JCAR | Changed the ending semicolon to a period |
| 611.384(b)(5) | Board | Added the indefinite article “a” before “supplier” |
| 611.384(c)(2) | Board | Changed “suppliers monitoring” to singular “a supplier that monitors” |
| 611.384(d)(2)(H) | JCAR | Corrected “CaCO3” to subscript “CaCO3” |
| 611.385(b)(2), note 2 to table | Board | Changed “softening systems meeting . . . are” to singular “a softening system that meets . . . is” |
| 611.385(b)(2), note 3 to table | Board | Changed “practicing” to “that practices” |
| 611.491(b) | JCAR, Board | Changed “nothing . . . must be construed” to “nothing . . . may be construed” |
| 611.510 | Board | Repealed the outdated unregulated contaminants monitoring requirements |
| 611.526(f)(2) | Board | Removed the parenthetical “paragraph 3” from after the first appearance of “Method 9221 B” |
| 611.531(a)(2)(D)(iv) | JCAR | Corrected the spelling of “Hack” to “Hach” |
| 611.601(a)(3) | Board | Corrected “a SEP” to “an SEP” |
| 611.603(b)(1) | Board | Corrected “a SEP” to “an SEP” |
| 611.603(b)(2) | Board | Corrected “a SEP” to “an SEP” |
| 611.603(d) | Board | Corrected “a SEP” to “an SEP” |
| 611.603(d)(4) | Board | Corrected “a SEP” to “an SEP” |
| 611.603(f)(1) | Board | Corrected “a SEP” to “an SEP” |
| 611.603(f)(2) | Board | Corrected “a SEP” to “an SEP” (twice) |
| 611.603(h)(1) | Board | Corrected “a SEP” to “an SEP” |
| 611.603(h)(2) | Board | Corrected “a SEP” to “an SEP” |
| 611.604(b)(2)(B) | Board | Corrected the spelling of “consitently” to “consistently” |
| 611.604(b) Board note | JCAR | Changed “drawn from” to “derived from” |
| 611.604(e) Board note | JCAR | Changed “drawn from” to “derived from” |
| 611.611(a)(1) | Board | Moved the entry from (a)(21) to place in alphabetical order |
| 611.611(a)(2) | Board | Renumbered the entry from (a)(1) to accommodate alphabetical ordering |
| 611.611(a)(3) | Board | Renumbered the entry from (a)(2) to accommodate alphabetical ordering |
| 611.611(a)(4) | Board | Renumbered the entry from (a)(3) to accommodate alphabetical ordering |
| 611.611(a)(5) | Board | Renumbered the entry from (a)(4) to accommodate alphabetical ordering |
| 611.611(a)(6) | Board | Renumbered the entry from (a)(5) to accommodate alphabetical ordering |
| 611.611(a)(7) | Board | Renumbered the entry from (a)(6) to accommodate alphabetical ordering |
| 611.611(a)(8) | Board | Moved the entry from (a)(20) to place in alphabetical order |
| 611.611(a)(9) | Board | Renumbered the entry from (a)(7) to accommodate alphabetical ordering |
| 611.611(a)(10) | Board | Moved the entry from (a)(17) to place in alphabetical order |
| 611.611(a)(11) | Board | Moved the entry from (a)(19) to place in alphabetical order |
| 611.611(a)(12) | Board | Renumbered the entry from (a)(8) to accommodate alphabetical ordering |
| 611.611(a)(13) | Board | Renumbered the entry from (a)(9) to accommodate alphabetical ordering |
| 611.611(a)(14) | Board | Moved the entry from (a)(16) to place in alphabetical order |
| 611.611(a)(15) | Board | Added the entry that was formerly omitted |
| 611.611(a)(16) | Board | Renumbered the entry from (a)(10) to accommodate alphabetical ordering |
| 611.611(a)(17) | Board | Renumbered the entry from (a)(11) to accommodate alphabetical ordering |
| 611.611(a)(18) | Board | Renumbered the entry from (a)(12) to accommodate alphabetical ordering |
| 611.611(a)(19) | Board | Renumbered the entry from (a)(13) to accommodate alphabetical ordering |
| 611.611(a)(20) | Board | Moved the entry from (a)(22) to place in alphabetical order |
| 611.611(a)(21) | Board | Moved the entry from (a)(18) to place in alphabetical order |
| 611.611(a)(22) | Board | Renumbered the entry from (a)(14) to accommodate alphabetical ordering |
| 611.611(a)(23) | Board | Moved the entry from (a)(23) to place in alphabetical order |
| 611.611(a)(24) | Board | Moved the entry from (a)(25) to place in alphabetical order |
| 611.611(a)(25) | Board | Moved the entry from (a)(24) to place in alphabetical order |
| 611.611(a)(26) | Board | Moved the entry from (a)(15) to place in alphabetical order |
| 611.612(b) | JCAR | Corrected “analyses” to singular “analysis” |
| 611.612(f)(2)(B) | JCAR | Corrected “EPA Environmental Metals Methods” to the defined term “USEPA Environmental Metals Methods” |
| 611.612(f)(3)(B) | JCAR | Corrected “EPA Environmental Metals Methods” to the defined term “USEPA Environmental Metals Methods” |
| 611.612(f)(4)(B) | JCAR | Corrected “EPA Environmental Metals Methods” to the defined term “USEPA Environmental Metals Methods” |
| 611.612 Board note | JCAR | Changed “state” to capitalized “State”; changed “state-only” to capitalized “state-only” |
| 611.631 | Board | Repealed the outdated unregulated contaminants monitoring requirements |
| 611.640 “Phase IIB SOCs” Board note | Agency | Replaced the former explanation with a cross-reference to a Board note explaining the regulatory status of requirements pertaining to the aldicarbs |
| 611.641 Board note | JCAR | Changed “state-only” to capitalized “state-only” |
| 611.645 “synthetic organic contaminants” “PCBs” | JCAR | Corrected the spelling of “Araclors” to “Aroclors” |
| 611.646(a) “detect” | JCAR | Corrected “means” to plural “mean” |
| 611.646(a) “detection limit” Board note | JCAR | Corrected “section” to capitalized “Section”; added a comma after “however” |
| 611.646(c)(1) | JCAR | Changed “an SEP” to “a SEP” |
| 611.646(c)(2) | Board | Changed “an SEP” to “a SEP” |
| 611.646(c)(3) | Board | Changed “an SEP” to “a SEP” |
| 611.646(g) | Board | Changed “an SEP” to “a SEP” (twice) |
| 611.646(h) | Board | Changed “an SEP” to “a SEP” |
| 611.646(i) | Board, JCAR | Changed “an SEP” to “a SEP” (five times); changed “must either of the following” to “must do either of the following” |
| 611.646(i)(1) | Board | Changed “an SEP” to “a SEP” |
| 611.646(j) | Board | Changed “an SEP” to “a SEP” |
| 611.646(j)(1) | Board | Changed “an SEP” to “a SEP” |
| 611.646(j)(2) | Board | Changed “an SEP” to “a SEP” |
| 611.646(k)(2)(A) | Board | Changed “an SEP” to “a SEP” |
| 611.646(k)(2)(B) | Board | Changed “an SEP” to “a SEP” |
| 611.646(k)(2)(C) | Board | Changed “an SEP” to “a SEP” |
| 611.646(k)(4) | Board | Changed “an SEP” to “a SEP” |
| 611.646(k)(5)(C) | Board | Changed “an SEP” to “a SEP” |
| 611.646(l)(2)(A) | Board | Changed “an SEP” to “a SEP” |
| 611.646(l)(2)(B) | Board | Changed “an SEP” to “a SEP” |
| 611.646(l)(2)(C) | Board | Changed “an SEP” to “a SEP” |
| 611.646(m) | Board | Changed “an SEP” to “a SEP” |
| 611.646(r)(2) | Board | Changed “an SEP” to “a SEP” |
| 611.646(s) | Board | Changed “an SEP” to “a SEP” |
| 611.648(b) Board note | Agency | Replaced the former explanation with a cross-reference to a Board note explaining the regulatory status of requirements pertaining to the aldicarbs |
| 611.648(c)(3) | Board | Changed “an SEP” to “a SEP” |
| 611.648(e) | Board | Changed “an SEP” to “a SEP” (twice) |
| 611.648(f) | Board | Changed “an SEP” to “a SEP” |
| 611.648(g)(2)(A) | Board | Changed “an SEP” to “a SEP” |
| 611.648(g)(2)(B) | Board | Changed “an SEP” to “a SEP” |
| 611.648(g)(2)(C) | Board | Changed “an SEP” to “a SEP” |
| 611.648(g)(4) | Board | Changed “an SEP” to “a SEP” |
| 611.648(g)(5)(B)(i) Board note | Agency | Added a cross-reference to a Board note explaining the regulatory status of requirements pertaining to the aldicarbs |
| 611.648(h)(2)(A) | Board | Changed “an SEP” to “a SEP” |
| 611.648(h)(2)(B) | Board | Changed “an SEP” to “a SEP” |
| 611.648(h)(2)(C) | Board | Changed “an SEP” to “a SEP” |
| 611.648(n)(2) | Board | Changed “an SEP” to “a SEP” |
| 611.648(o) | Board | Changed “an SEP” to “a SEP” |
| 611.648(r)(2) Board note | Agency | Added a cross-reference to a Board note explaining the regulatory status of requirements pertaining to the aldicarbs |
| 611.648(s)(2)(B) Board note | Agency | Added a cross-reference to a Board note explaining the regulatory status of requirements pertaining to the aldicarbs |
| 611.658 | Board | Repealed the outdated unregulated contaminants monitoring requirements |
| 611.686 pramble | JCAR | Corrected “a a SEP” to “a SEP” |
| 611.720(a)(1)(F) | JCAR | Added the missing ending period |
| 611.720(a)(3)(A)(i) | JCAR | Removed a space to change “D 2460-90” to “D2460-90” |
| 611.720(a)(3)(A)(ii) | JCAR | Removed a space to change “D 3454-97” to “D3454-97” |
| 611.720(a)(4)(A) | Board, JCAR | Changed the colon after “Methods” to a comma; changed the ending period to a semicolon |
| 611.720(a)(5)(A) | Board, JCAR | Changed the colon after “Methods” to a comma; changed the ending period to a semicolon |
| 611.720(a)(5)(B)(i) | JCAR | Removed a space to change “D 2907-97” to “D2907-97” |
| 611.720(a)(5)(B)(ii) | JCAR | Removed a space to change “D 3972-97” to “D3972-97” |
| 611.720(a)(5)(B)(iii) | JCAR | Removed a space to change “D 5174-97” to “D5174-97” |
| 611.720(a)(6)(A)(i) | JCAR | Removed a space to change “D 2459-72” to “D2459-72” |
| 611.720(a)(6)(A)(ii) | JCAR | Removed a space to change “D 3649-91” to “D3649-91” |
| 611.720(a)(7)(A)(i) | JCAR | Removed a space to change “D 3649-91” to “D3649-91” |
| 611.720(a)(7)(A)(ii) | JCAR | Removed a space to change “D 4785-93” to “D4785-93” |
| 611.720(a)(9)(A) | JCAR | Removed a space to change “D 4107-91” to “D4107-91” |
| 611.720(a)(10)(A)(i) | JCAR | Removed a space to change “D 3649-91” to “D3649-91” |
| 611.720(a)(10)(A)(ii) | JCAR | Removed a space to change “D 4785-93” to “D4785-93” |
| 611.720(c)(2) Board note | JCAR | Removed “effective December 8, 2003” and the offsetting comma |
| 611.732(j)(1) | JCAR | Corrected the spelling of “constitutents” to “constituents” |
| 611.742(a)(1)(A) Board note | JCAR | Removed “as amended at . . . (Dec. 5, 1994)” and the offsetting comma |
| 611.742(a)(2)(A) Board note | JCAR | Removed “as amended at . . . (Dec. 5, 1994)” and the offsetting comma |
| 611.881(d) | Agency | Changed the reference “611.646” to “611.646(a)” |
| 611.883(b)(2) | Agency | Changed “PWS” to “supplier” |
| 611.883(d)(3) | JCAR | Removed the redundant “thereafter” after “subsequent calendar years” |
| 611.883(f)(1) | JCAR | Changed the ending semicolon to a period |
| 611.883(f)(3) | JCAR | Changed “Sections 611.350(d), 611.351, 611.352, 611.353, or 611.354” to singular “Section 611.350(d), 611.351, 611.352, 611.353, or 611.354” |
| 611.883(f)(6) | JCAR | Changed the ending semicolon to a period and removed the ending conjunction “and” |
| 611.883(g) | JCAR | Changed “Sections 611.111, 611.112, or 611.131” to singular “Section 611.111, 611.112, or 611.131” |
| 611.902(a)(5) | Board, JCAR | Replaced a reference to an obsolete federal provision that corresponds with a provision repealed in this proceeding with an explanatory statement |
| 611.902(a)(8) | Board | Changed “an SEP” to “a SEP” |
| 611.902(c)(4) | Board | Changed “an SEP” to “a SEP” |
| 611.903(a)(1) | Board | Changed “an SEP” to “a SEP” |
| 611.903(a)(2) | Board | Changed “an SEP” to “a SEP” |
| 611.903(b)(1) | JCAR | Changed “an SEP” to “a SEP” |
| 611.903(c)(1) | JCAR | Changed “an SEP” to “a SEP” |
| 611.903(c)(2) | JCAR | Changed “an SEP” to “a SEP” |
| 611.908(a) | JCAR | Corrected “Pubic Health” to “Public Health” |
| 611.953(a) | Board | Changed “an SEP” to “a SEP” |
| 611.955(b)(1)(B) | Board | Changed “an SEP” to “a SEP” |
| 611.955(b)(2)(B) | Board | Changed “an SEP” to “a SEP” |
| 611.Appendix A “total coliform bacteria” | Agency, Board | Changed “greater than or equal to 40” to “40 or more” (twice); changed numeric “5%” to written “five percent” (twice); changed “<” to “fewer than five percent” to “five percent or fewer” (twice); changed numeric “fewer than 1” to “one or fewer” (twice) |
| 611.Appendix A “chloramines” | JCAR | Corrected the spelling of “stomache” to “stomach” |
| 611.Appendix A “chlorine” | JCAR | Corrected the spelling of “stomache” to “stomach” |
| 611.Appendix B, table 1.1 | JCAR | Corrected the appearance of the symbol “≤” |
| 611.Appendix B, table 1.2 | JCAR | Corrected the appearance of the symbol “≤” |
| 611.Appendix B, table 1.3 | JCAR | Corrected the appearance of the symbol “≤” |
| 611.Appendix B, table 1.4 | JCAR | Corrected the appearance of the symbol “≤” |
| 611.Appendix B, table 1.5 | JCAR | Corrected the appearance of the symbol “≤” |
| 611.Appendix B, table 1.6 | JCAR | Corrected the appearance of the symbol “≤” |
| 611.Appendix B, table 2.1 | Board | Removed the erroneous doubled entry of the table heading |
| 611.Appendix C “DDT” | Board, JCAR | Removed the editing index mark “@@@” |
| 611.Appendix C Board note | JCAR | Removed the strikeout to retain the conjunction “and” |
| 611.Appendix G, ¶ IV.F. | Board | Changed “an SEP” to “a SEP” |
| 611.Appendix G, endnote 1 | Board | Changed “an SEP” to “a SEP” (twice) |
| 611.Appendix G, endnote 5 | Board | Changed “an SEP” to “a SEP” |
| 611.Appendix G, endnote 6 | Board | Changed “an SEP” to “a SEP” |
| 611.Table A | JCAR | Changed “month” to capitalized “Month” |
| 611.Table G | JCAR | Corrected “PH” to “pH” (seven times) |
| 611.Table Z “Phase IIB SOCs” | Agency | Replace the former explanatory language with a cross-reference to a Board note explaining the regulatory status of requirements pertaining to the aldicarbs |
| 611.Table Z “disinfection/ disinfectant byproducts” | Board | Changed “serving 10,000 persons” to “serving10,000 or fewer persons” |
| 611.Table Z “radionuclides” | JCAR | Corrected the spelling of “radionuclidess” to “radionuclides” |

Table 4

Requested Revisions to the Text of the Proposed Amendments Not Made in Final Adoption

| Section Affected | Source(s) of Request: Requested Revision(s) | Explanation |
| --- | --- | --- |
| 611 table of contents, appendices and tables listings | JCAR: Use upper-case “APPENDIX” and “TABLE” | The Office of the Secretary of State (SOS) has voiced a preference for simple capitalized “Appendix” and “Table” |
| 611.102(b) “American Waterworks Association,” “National Field Evaluation . . .” | JCAR: Change “Multiple Tube” to hyphenated “Multiple-Tube” | This error appears in the title of the cited reference |
| 611.241(d)(1) | JCAR: Remove the ending periods and the conjunction “and” between the variable definitions | The Board instead chose to change the periods to semicolons, retaining the conjunction |
| 611.261(b)(8)(F) | JCAR: Remove the ending semicolons and the conjunction “and” between the variable definitions | The Board chose to retain the semicolons and conjunction to standardize the format |
| 611.262(b)(2)(F) | JCAR: Remove the ending semicolons and the conjunction “and” between the variable definitions | The Board chose to retain the semicolons and conjunction to standardize the format |
| 611.296(a) | JCAR: Remove the ending semicolons and the conjunction “and” between the variable definitions | The Board chose to retain the semicolons and conjunction to standardize the format |
| 611.356(a)(4)(C)(iii) | JCAR: Remove the subsection designation | 1 Ill. Adm. Code 100.340 of the SOS rules prohibits the use of unlabeled paragraphs after the first numbered subsection in the text of a Section |
| 611.360(e)(2)(C) | JCAR: Remove the subsection designation | 1 Ill. Adm. Code 100.340 of the SOS rules prohibits the use of unlabeled paragraphs after the first numbered subsection in the text of a Section |
| 611.500 | JCAR: Change “the Agency must” to “the Agency will” | A statement that could be confused as one of present intent is inappropriate where an imperative is intended |
| 611.526(f)(2) | JCAR: Correct the spelling of “paragpah” to “paragraph” | This appeared as “paragraph” in the text of the July 10, 2003 proposal for public comment |
| 611.645 “SOCs” | JCAR: Change “dioxin” to capitalized “Dioxin” | “Dioxin” is a generic name, not a trade name or other proper noun |
| 611.957(b)(1) | JCAR: Move the phrase “as necessary records” to follow the verb “retain” | The phrase refers to “results of filter monitoring” |
| 611.957(b)(2) | JCAR: Move the phrase “as necessary records” to follow the verb “retain” | The phrase refers to “results of its disinfection profile” |
| 611.957(b)(1) | JCAR: Move the phrase “as necessary records” to follow the verb “retain” | The phrase refers to “disinfection benchmark” |

I, Dorothy M. Gunn, Clerk of the Illinois Pollution Control Board, certify that the Board adopted the above opinion on October 2, 2003, by a vote of 7-0.

Dorothy M. Gunn, Clerk

Illinois Pollution Control Board

. USEPA indicated in the most recent semiannual regulatory agenda that it anticipates adoption of such an NPDWR in August 2005.  See 68 Fed. Reg. 31108 (May 27, 2003).

. The newer requirements of 40 C.F.R. 141, Subpart O, which do not include requirements relating to the aldicarbs, recently superceded the mandatory health effects language of 40 C.F.R. 141.32(e)(25) through (e)(27).