ILLINOIS POLLUTION CONTROL BOARD

October 19, 2000

| IN THE MATTER OF: WASTEWATER PRETREATMENT UPDATE, USEPA REGULATIONS (January 1, 2000, through June 30, 2000) | ) ) ) ) ) | R01-5 (Identical-in-Substance Rulemaking - Water) |
| --- | --- | --- |

Proposed Rule.  Proposal for Public Comment.

OPINION AND ORDER OF THE BOARD (by N.J. Melas):

Pursuant to Sections 7.2 and 13.3 of the Environmental Protection Act (Act) (415 ILCS 5/7.2 and 13.3 (1998)), the Board proposes amendments to the Illinois wastewater pretreatment regulations.  Section 13.3 of the Act provides for quick adoption of regulations that are identical-in-substance to federal wastewater pretreatment regulations adopted by the United States Environmental Protection Agency (USEPA) pursuant to Sections 307(b), (c), and (d) and 402(b)(9) of the Federal Water Pollution Control Act (FWPCA) (33 U.S.C. §§ 1317(b), (c), (d), 1342(b)(9) (1996)).  Section 13.3 of the Act also provides that Title VII of the Act and Section 5 of the Administrative Procedure Act (APA) (5 ILCS 100/5-35 and 5-40 (1998)), do not apply to this rulemaking.  Accordingly, this rulemaking is not subject to first or second-notice review by the Joint Committee on Administrative Rules (JCAR).

Section 7.2(b) of the Act (415 ILCS 5/7.2 (1998)) requires the Board to complete its identical-in-substance rulemaking actions within one year of the date of the earliest federal amendments involved in a docket.  In this docket, the earliest federal action requiring Board action occurred on January 19, 2000.  Thus, the Board must complete its rulemaking activity in this docket prior to January 19, 2001.

FEDERAL ACTIONS CONSIDERED IN THIS RULEMAKING

This proposed rulemaking incorporates certain federal amendments that occurred during the period of January 1, 2000, through June 30, 2000.  The federal wastewater pretreatment regulations are found at 40 C.F.R. §§ 400-499, interspersed throughout the federal wastewater effluent discharge rules.  The USEPA amended its wastewater pretreatment regulations five times during that period:  January 19, 2000; January 27, 2000; March 16, 2000; March 21, 2000; and May 23, 2000.  This rulemaking incorporates all of these actions.

The federal amendments incorporated into this rulemaking are summarized as follows:

| Federal Action January 19, 2000 (65 Fed. Reg. 3008) January 27, 2000 (65 Fed. Reg. 4360) March 16, 2000 (65 Fed. Reg. 14344) March 21, 2000 (65 Fed. Reg. 15091) May 23, 2000 (65 Fed. Reg. 33423) |  | Summary Effluent Limitations Guidelines, Pretreatment Standards, and New Performance Standards for the Landfills Point Source Category. The USEPA adopted wastewater effluent limitation guidelines, pretreatment standards, and new source performance standards for the landfill point source category. One segment of the rulemaking was the amendment of Methods 625 and 1625 in 40 C.F.R. 136.3, Appendix A. Effluent Limitations Guidelines, Pretreatment Standards, and New Performance Standards for the Commercial Hazardous Waste Combustor Subcategory of the Waste Combustors Point Source Category. The USEPA adopted wastewater effluent limitation guidelines, pretreatment standards, and new source performance standards for the commercial hazardous waste combustor subcategory of the waste combustors point source category. Correction to Effluent Limitations Guidelines, Pretreatment Standards, and New Performance Standards for the Landfills Point Source Category. The USEPA corrected its January 19, 2000 (65 Fed. Reg. 3008) effluent guidelines, pretreatment standards, and new source performance standards for the landfill point source category. Amendment to Effluent Limitations Guidelines, Pretreatment Standards, and New Performance Standards for the Builder’s Paper and Board Mills Point Source Category. The USEPA removed its April 15, 1998 (63 Fed. Reg. 18504) effluent guidelines, pretreatment standards, and new source performance standards for the builder’s paper and board mills point source category in 40 C.F.R. 431. Correction to Effluent Limitations Guidelines, Pretreatment Standards, and New Performance Standards for the Commercial Hazardous Waste Combustor Subcategory of the Waste Combustors Point Source Category. The USEPA corrected its January 27, 2000 (65 Fed. Reg. 4360) effluent guidelines, pretreatment standards, and new source performance standards for the commercial hazardous waste combustor subcategory of the waste combustors point source category. |
| --- | --- | --- |

DISCUSSION

January 19, 2000:  Effluent Limitations Guidelines, Pretreatment Standards, and New Performance Standards for the Landfills Point Source Category; March 16, 2000:  Correcting Amendments to Effluent Limitations Guidelines, Pretreatment Standards, and New Performance Standards for the Landfills Point Source Category

Federal Action

The USEPA adopted wastewater effluent limitation guidelines, pretreatment standards, and new source performance standards for the landfill point source category on January 19, 2000 (65 Fed. Reg. 3008).  The regulation establishes technology-based effluent limitations for wastewater discharges associated with the operation and maintenance of new and existing hazardous and non-hazardous landfills regulated, respectively, under Subtitle C and Subtitle D of the Resource Conservation and Recovery Act (RCRA) (42 U.S.C. §§ 6901 et seq. (1998)).  Sources of landfill wastewater include, but are not limited to, landfill leachate and gas collection condensate.  One segment of the rulemaking was the amendment of Methods 625 and 1625 in 40 C.F.R. 136.3, Appendix A.

The USEPA adopted minor technical corrections to effluent limitation guidelines, pretreatment standards, and new source performance standards for the landfill point source category on March 16, 2000 (65 Fed. Reg. 14344).  Persons interested in a more detailed discussion of the January 19, 2000, and March 16, 2000 federal actions should refer to the cited Federal Register notices.

Amendment to Board Rules

The Board incorporates these amendments into its rules by adding “Subpart BT Landfills” to the Part 307 Sewer Discharge Criteria.  The Board also amends a single incorporation by reference to 40 C.F.R. 136 in the “Incorporations by Reference” Section found at 35 Ill. Adm. Code 310.107(b).

January 27, 2000: Effluent Limitations Guidelines, Pretreatment Standards, and New Performance Standards for the Commercial Hazardous Waste Combustor Subcategory of the Waste Combustors Point Source Category; May 23, 2000: Correcting Amendments to Effluent Limitations Guidelines, Pretreatment Standards, and New Performance Standards for the Commercial Hazardous Waste Combustor Subcategory of the Waste Combustors Point Source Category

Federal Action

The USEPA adopted wastewater effluent limitation guidelines, pretreatment standards, and new source performance standards for the commercial hazardous waste combustor subcategory of the waste combustors point source category on January 27, 2000 (65 Fed. Reg. 4360).  The regulation generally applies to hazardous waste combustion facilities, except cement kilns, regulated as “incinerators” or “boilers and industrial furnaces” under RCRA (42 U.S.C. §§ 6901 et seq. (1998)) under certain conditions.

The USEPA adopted minor technical corrections to effluent limitation guidelines, pretreatment standards, and new source performance standards for the landfill point source category on May 23, 2000 (65 Fed. Reg. 33423).  Persons interested in a more detailed discussion of the January 27, 2000 and May 23, 2000 federal actions should refer to the cited Federal Register notices.

Amendment to Board Rules

The Board incorporates these amendments into its rules by adding “Subpart BS Commercial Hazardous Waste Combustors” to the Part 307 Sewer Discharge Criteria.

March 21, 2000:  Removal of Effluent Limitations Guidelines, Pretreatment Standards, and New Performance Standards for the Builder’s Paper and Board Mills Point Source Category

Federal Action

The USEPA removed its April 15, 1998 (63 Fed. Reg. 18504) effluent guidelines, pretreatment standards, and new source performance standards for the builder’s paper and board mills point source category in 40 C.F.R. 431 on March 21, 2000 (65 Fed. Reg. 15091).  Persons interested in a more detailed discussion of the March 21, 2000 federal action should refer to the cited Federal Register notice.

Amendment to Board Rules

The Board takes no action as a result of this amendment.  The Board previously removed Subpart BF, “Builder’s Paper and Board Mills” in R99-4 at 23 Ill. Reg. 4413, effective March 31, 1999.

Board Housekeeping Amendments

| Section | Source | Revision(s) |
| --- | --- | --- |
| 307 Table of Contents | JCAR | Added “307.6505 Repackaging of Agricultural Pesticides Performed at Refilling Establishments” |
| 307 Authority Note | Board | Added Section “7.2” |
| 307 Source Note | JCAR | Changed “:” to “;” after “July 12, 1999” |
| 307.1503 | JCAR | Changed “Seasoned Products” to “Cultured Products” |

In Section 307.1503, the Board is amending the text of the title of the section to “Cultured Products” from “Seasoned Products” to reflect the correct title in the table of contents and in corresponding 40 C.F.R. 405.30.  In the table of contents, the Board is adding “307.6505 Repackaging of Agricultural Pesticides Performed at Refilling Establishments” which corresponds to the text of the regulations.  The Board also changed a colon to a semicolon after “July 12, 1999” in the source note.  These changes are being made in response to a suggestion from JCAR, made on September 25, 2000.  The Board added Section 7.2 of the Act to the authority note.

Public Comments

The Board will accept public comments in this matter for a period of 45 days after publication of the proposed amendments in the Illinois Register.  After the expiration of the 45-day public comment period, the Board will proceed to adoption of the regulations based on this proposal on or before the January 19, 2001 completion date specified by Section 7.2(b) of the Act.

ORDER

The Board adopts the following proposal for public comment.  The Board directs the Clerk of the Board to cause publication of the following proposal for public comment in the Illinois Register:

TITLE 35:  ENVIRONMENTAL PROTECTION

SUBTITLE C:  WATER POLLUTION

CHAPTER I:  POLLUTION CONTROL BOARD

PART 307

SEWER DISCHARGE CRITERIA

SUBPART A:  GENERAL PROVISIONS

Section

| 307.101 | Preamble (Renumbered) |
| --- | --- |
| 307.102 | General Requirements (Renumbered) |
| 307.103 | Mercury (Renumbered) |
| 307.104 | Cyanide (STORET number 00720) (Renumbered) |
| 307.105 | Pretreatment Requirements (Repealed) |
| 307.1001 | Preamble |
| 307.1002 | Definitions |
| 307.1003 | Test Procedures for Measurement |
| 307.1005 | Toxic Pollutants |

SUBPART B:  GENERAL AND SPECIFIC PRETREATMENT REQUIREMENTS

Section

| 307.1101 | General and Specific Requirements |
| --- | --- |
| 307.1102 | Mercury |
| 307.1103 | Cyanide |

SUBPART F:  DAIRY PRODUCTS PROCESSING

Section

| 307.1501 | Receiving Stations |
| --- | --- |
| 307.1502 | Fluid Products |
| 307.1503 | Cultured Products |
| 307.1504 | Butter |
| 307.1505 | Cottage Cheese and Cultured Cream Cheese |
| 307.1506 | Natural and Processed Cheese |
| 307.1507 | Fluid Mix for Ice Cream and other Frozen Desserts |
| 307.1508 | Ice Cream, Frozen Desserts, Novelties and Other Dairy Desserts |
| 307.1509 | Condensed Milk |
| 307.1510 | Dry Milk |
| 307.1511 | Condensed Whey |
| 307.1512 | Dry Whey |

SUBPART G:  GRAIN MILLS

Section

| 307.1601 | Corn Wet Milling |
| --- | --- |
| 307.1602 | Corn Dry Milling |
| 307.1603 | Normal Wheat Flour Milling |
| 307.1604 | Bulgur Wheat Flour Milling |
| 307.1605 | Normal Rice Milling |
| 307.1606 | Parboiled Rice Milling |
| 307.1607 | Animal Feed |
| 307.1608 | Hot Cereal |
| 307.1609 | Ready-to-eat Cereal |
| 307.1610 | Wheat Starch and Gluten |

SUBPART H:  CANNED AND PRESERVED FRUITS AND VEGETABLES

Section

| 307.1700 | General Provisions |
| --- | --- |
| 307.1701 | Apple Juice |
| 307.1702 | Apple Products |
| 307.1703 | Citrus Products |
| 307.1704 | Frozen Potato Products |
| 307.1705 | Dehydrated Potato Products |
| 307.1706 | Canned and Preserved Fruits |
| 307.1707 | Canned and Preserved Vegetables |
| 307.1708 | Canned and Miscellaneous Specialties |

SUBPART I:  CANNED AND PRESERVED SEAFOOD

Section

| 307.1801 | Farm-raised Catfish |
| --- | --- |
| 307.1815 | Fish Meal Processing Subcategory |

SUBPART J:  SUGAR PROCESSING

Section

| 307.1901 | Beet Sugar Processing |
| --- | --- |
| 307.1902 | Crystalline Cane Sugar Refining |
| 307.1903 | Liquid Cane Sugar Refining |

SUBPART K:  TEXTILE MILLS

Section

| 307.2000 | General Provisions |
| --- | --- |
| 307.2001 | Wool Scouring |
| 307.2002 | Wool Finishing |
| 307.2003 | Low Water Use Processing |
| 307.2004 | Woven Fabric Finishing |
| 307.2005 | Knit Fabric Finishing |
| 307.2006 | Carpet Finishing |
| 307.2007 | Stock and Yarn Finishing |
| 307.2008 | Nonwoven Manufacturing |
| 307.2009 | Felted Fabric Processing |

SUBPART L:  CEMENT MANUFACTURING

Section

| 307.2101 | Nonleaching |
| --- | --- |
| 307.2102 | Leaching |
| 307.2103 | Materials Storage Piles Runoff |

SUBPART M:  FEEDLOTS

Section

| 307.2201 | General |
| --- | --- |
| 307.2202 | Ducks |

SUBPART N:  ELECTROPLATING

Section

| 307.2300 | General Provisions |
| --- | --- |
| 307.2301 | Electroplating of Common Metals |
| 307.2302 | Electroplating of Precious Metals |
| 307.2304 | Anodizing |
| 307.2305 | Coatings |
| 307.2306 | Chemical Etching and Milling |
| 307.2307 | Electroless Plating |
| 307.2308 | Printed Circuit Boards |

SUBPART O:  ORGANIC CHEMICALS, PLASTICS AND SYNTHETIC FIBERS

Section

| 307.2400 | General Provisions |
| --- | --- |
| 307.2401 | Rayon Fibers |
| 307.2402 | Other Fibers |
| 307.2403 | Thermoplastic Resins |
| 307.2404 | Thermosetting Resins |
| 307.2405 | Commodity Organic Chemicals |
| 307.2406 | Bulk Organic Chemicals |
| 307.2407 | Specialty Organic Chemicals |
| 307.2410 | Indirect Discharge Point Sources |
| 307.2490 | Non-complexed Metal-bearing and Cyanide-bearing Wastestreams |
| 307.2491 | Complexed Metal-bearing Wastestreams |

SUBPART P:  INORGANIC CHEMICALS MANUFACTURING

Section

| 307.2500 | General Provisions |
| --- | --- |
| 307.2501 | Aluminum Chloride Production |
| 307.2502 | Aluminum Sulfate Production |
| 307.2503 | Calcium Carbide Production |
| 307.2504 | Calcium Chloride Production |
| 307.2505 | Calcium Oxide Production |
| 307.2506 | Chlor-alkali Process (Chlorine and Sodium or Potassium Hydroxide Production) |
| 307.2508 | Hydrofluoric Acid Production |
| 307.2509 | Hydrogen Peroxide Production |
| 307.2511 | Potassium Metal Production |
| 307.2512 | Potassium Dichromate Production |
| 307.2513 | Potassium Sulfate Production |
| 307.2514 | Sodium Bicarbonate Production |
| 307.2516 | Sodium Chloride Production |
| 307.2517 | Sodium Dichromate and Sodium Sulfate Production |
| 307.2520 | Sodium Sulfite Production |
| 307.2522 | Titanium Dioxide Production |
| 307.2523 | Aluminum Fluoride Production |
| 307.2524 | Ammonium Chloride Production |
| 307.2527 | Borax Production |
| 307.2528 | Boric Acid Production |
| 307.2529 | Bromine Production |
| 307.2530 | Calcium Carbonate Production |
| 307.2531 | Calcium Hydroxide Production |
| 307.2533 | Carbon Monoxide and Byproduct Hydrogen Production |
| 307.2534 | Chrome Pigments Production |
| 307.2535 | Chromic Acid Production |
| 307.2536 | Copper Salts Production |
| 307.2538 | Ferric Chloride Production |
| 307.2540 | Fluorine Production |
| 307.2541 | Hydrogen Production |
| 307.2542 | Hydrogen Cyanide Production |
| 307.2543 | Iodine Production |
| 307.2544 | Lead Monoxide Production |
| 307.2545 | Lithium Carbonate Production |
| 307.2547 | Nickel Salts Production |
| 307.2549 | Oxygen and Nitrogen Production |
| 307.2550 | Potassium Chloride Production |
| 307.2551 | Potassium Iodide Production |
| 307.2553 | Silver Nitrate Production |
| 307.2554 | Sodium Bisulfite Production |
| 307.2555 | Sodium Fluoride Production |
| 307.2560 | Stannic Oxide Production |
| 307.2563 | Zinc Sulfate Production |
| 307.2564 | Cadmium Pigments and Salts Production |
| 307.2565 | Cobalt Salts Production |
| 307.2566 | Sodium Chlorate Production |
| 307.2567 | Zinc Chloride Production |

SUBPART R:  SOAP AND DETERGENTS

Section

| 307.2701 | Soap Manufacturing by Batch Kettle |
| --- | --- |
| 307.2702 | Fatty Acid Manufacturing by Fat Splitting |
| 307.2703 | Soap Manufacturing by Fatty Acid Neutralization |
| 307.2704 | Glycerine Concentration |
| 307.2705 | Glycerine Distillation |
| 307.2706 | Manufacture of Soap Flakes and Powders |
| 307.2707 | Manufacture of Bar Soaps |
| 307.2708 | Manufacture of Liquid Soaps |
| 307.2709 | Oleum Sulfonation and Sulfation |
| 307.2710 | Air-Sulfur Trioxide Sulfation and Sulfonation |
| 307.2711 | Sulfur Trioxide Solvent and Vacuum Sulfonation |
| 307.2712 | Sulfamic Acid Sulfation |
| 307.2713 | Chlorosulfonic Acid Sulfation |
| 307.2714 | Neutralization of Sulfuric Acid Esters and Sulfonic Acids |
| 307.2715 | Manufacture of Spray Dried Detergents |
| 307.2716 | Manufacture of Liquid Detergents |
| 307.2717 | Manufacturing of Detergents by Dry Blending |
| 307.2718 | Manufacture of Drum Dried Detergents |
| 307.2719 | Manufacture of Detergent Bars and Cakes |

SUBPART S:  FERTILIZER MANUFACTURING

Section

| 307.2801 | Phosphate |
| --- | --- |
| 307.2802 | Ammonia |
| 307.2803 | Urea |
| 307.2804 | Ammonium Nitrate |
| 307.2805 | Nitric Acid |
| 307.2806 | Ammonium Sulfate Production |
| 307.2807 | Mixed and Blend Fertilizer Production |

SUBPART T:  PETROLEUM REFINING

Section

| 307.2901 | Topping |
| --- | --- |
| 307.2902 | Cracking |
| 307.2903 | Petrochemical |
| 307.2904 | Lube |
| 307.2905 | Integrated |

SUBPART U:  IRON AND STEEL MANUFACTURING

Section

| 307.3000 | General Provisions |
| --- | --- |
| 307.3001 | Cokemaking |
| 307.3002 | Sintering |
| 307.3003 | Ironmaking |
| 307.3004 | Steelmaking |
| 307.3005 | Vacuum Degassing |
| 307.3006 | Continuous Casting |
| 307.3007 | Hot Forming |
| 307.3008 | Salt Bath Descaling |
| 307.3009 | Acid Pickling |
| 307.3010 | Cold Forming |
| 307.3011 | Alkaline Cleaning |
| 307.3012 | Hot Coating |

SUBPART V:  NONFERROUS METALS MANUFACTURING

Section

| 307.3100 | General Provisions |
| --- | --- |
| 307.3101 | Bauxite Refining |
| 307.3102 | Primary Aluminum Smelting |
| 307.3103 | Secondary Aluminum Smelting |
| 307.3104 | Primary Copper Smelting |
| 307.3105 | Primary Electrolytic Copper Refining |
| 307.3106 | Secondary Copper |
| 307.3107 | Primary Lead |
| 307.3108 | Primary Zinc |
| 307.3109 | Metallurgical Acid Plants |
| 307.3110 | Primary Tungsten |
| 307.3111 | Primary Columbium-Tantalum |
| 307.3112 | Secondary Silver |
| 307.3113 | Secondary Lead |
| 307.3114 | Primary Antimony |
| 307.3115 | Primary Beryllium |
| 307.3116 | Primary and Secondary Germanium and Gallium |
| 307.3117 | Secondary Indium |
| 307.3118 | Secondary Mercury |
| 307.3119 | Primary Molybdenum and Rhenium |
| 307.3120 | Secondary Molybdenum and Vanadium |
| 307.3121 | Primary Nickel and Cobalt |
| 307.3122 | Secondary Nickel |
| 307.3123 | Primary Precious Metals and Mercury |
| 307.3124 | Secondary Precious Metals |
| 307.3125 | Primary Rare Earth Metals |
| 307.3126 | Secondary Tantalum |
| 307.3127 | Secondary Tin |
| 307.3128 | Primary and Secondary Titanium |
| 307.3129 | Secondary Tungsten and Cobalt |
| 307.3130 | Secondary Uranium |
| 307.3131 | Primary Zirconium and Hafnium |

SUBPART X:  STEAM ELECTRIC POWER GENERATING

Section

| 307.3301 | Steam Electric Power Generating |
| --- | --- |

SUBPART Y:  FERROALLOY MANUFACTURING

Section

| 307.3401 | Open Electric Furnaces With Wet Air Pollution Control Devices |
| --- | --- |
| 307.3402 | Covered Electric Furnaces and Other Smelting Operations with Wet Air Pollution Control Devices |
| 307.3403 | Slag Processing |
| 307.3404 | Covered Calcium Carbide Furnaces With Wet Air Pollution Control Devices |
| 307.3405 | Other Calcium Carbide Furnaces |
| 307.3406 | Electrolytic Manganese Products |
| 307.3407 | Electrolytic Chromium |

SUBPART Z:  LEATHER TANNING AND FINISHING

Section

| 307.3500 | General Provisions |
| --- | --- |
| 307.3501 | Hair Pulp, Chrome Tan, Retan-Wet Finish |
| 307.3502 | Hair Save, Chrome Tan, Retan-Wet Finish |
| 307.3503 | Hair Save or Pulp, Non-Chrome Tan, Retan-Wet Finish |
| 307.3504 | Retan-Wet Finish-Sides |
| 307.3505 | No Beamhouse |
| 307.3506 | Through-the-Blue |
| 307.3507 | Shearling |
| 307.3508 | Pigskin |
| 307.3509 | Retan-Wet Finish-Splits |
| 307.3590 | Potassium Ferricyanide Titration Method |

SUBPART BA:  GLASS MANUFACTURING

Section

| 307.3601 | Insulation Fiberglass |
| --- | --- |
| 307.3602 | Sheet Glass Manufacturing |
| 307.3603 | Rolled Glass Manufacturing |
| 307.3604 | Plate Glass Manufacturing |
| 307.3605 | Float Glass Manufacturing |
| 307.3606 | Automotive Glass Tempering |
| 307.3607 | Automotive Glass Laminating |
| 307.3608 | Glass Container Manufacturing |
| 307.3610 | Glass Tubing (Danner) Manufacturing |
| 307.3611 | Television Picture Tube Envelope Manufacturing |
| 307.3612 | Incandescent Lamp Envelope Manufacturing |
| 307.3613 | Hand Pressed and Blown Glass Manufacturing |

SUBPART BB:  ASBESTOS MANUFACTURING

Section

| 307.3701 | Asbestos-Cement Pipe |
| --- | --- |
| 307.3702 | Asbestos-Cement Sheet |
| 307.3703 | Asbestos Paper (Starch Binder) |
| 307.3704 | Asbestos Paper (Elastomeric Binder) |
| 307.3705 | Asbestos Millboard |
| 307.3706 | Asbestos Roofing |
| 307.3707 | Asbestos Floor Tile |
| 307.3708 | Coating or Finishing of Asbestos Textiles |
| 307.3709 | Solvent Recovery |
| 307.3710 | Vapor Absorption |
| 307.3711 | Wet Dust Collection |

SUBPART BC:  RUBBER MANUFACTURING

Section

| 307.3801 | Tire and Inner Tube Plants |
| --- | --- |
| 307.3802 | Emulsion Crumb Rubber |
| 307.3803 | Solution Crumb Rubber |
| 307.3804 | Latex Rubber |
| 307.3805 | Small-Sized General Molded, Extruded and Fabricated Rubber Plants |
| 307.3806 | Medium-Sized General Molded, Extruded and Fabricated Rubber Plants |
| 307.3807 | Large-Sized General Molded, Extruded and Fabricated Rubber Plants |
| 307.3808 | Wet Digestion Reclaimed Rubber |
| 307.3809 | Pan, Dry Digestion and Mechanical Reclaimed Rubber |
| 307.3810 | Latex-Dipped, Latex-Extruded and Latex-Molded Rubber |
| 307.3811 | Latex Foam |

SUBPART BD:  TIMBER PRODUCTS PROCESSING

Section

| 307.3900 | General Provisions |
| --- | --- |
| 307.3901 | Barking |
| 307.3902 | Veneer |
| 307.3903 | Plywood |
| 307.3904 | Dry Process Hardboard |
| 307.3905 | Wet Process Hardboard |
| 307.3906 | Wood Preserving-Water Borne or Nonpressure |
| 307.3907 | Wood Preserving-Steam |
| 307.3908 | Wood Preserving-Boulton |
| 307.3909 | Wet Storage |
| 307.3910 | Log Washing |
| 307.3911 | Sawmills and Planing Mills |
| 307.3912 | Finishing |
| 307.3913 | Particleboard Manufacturing |
| 307.3914 | Insulation Board |
| 307.3915 | Wood Furniture and Fixture Production Without Water Wash Spray Booth(s) or Without Laundry Facilities |
| 307.3916 | Wood Furniture and Fixture Production with Water Wash Spray Booth(s) or With Laundry Facilities |

SUBPART BE:  PULP, PAPER AND PAPERBOARD

Section

| 307.4000 | General Provisions |
| --- | --- |
| 307.4001 | Dissolving Kraft |
| 307.4002 | Bleached Papergrade Kraft and Soda |
| 307.4003 | Unbleached Kraft |
| 307.4004 | Dissolving Sulfite |
| 307.4005 | Papergrade Sulfite |
| 307.4006 | Semi-Chemical |
| 307.4007 | Mechanical Pulp |
| 307.4008 | Non-Wood Chemical Pulp |
| 307.4009 | Secondary Fiber Deink |
| 307.4010 | Secondary Fiber Non-Deink |
| 307.4011 | Fine and Lightweight Papers from Purchased Pulp |
| 307.4012 | Tissue, Filter, Non-Woven, and Paperboard from Purchased Pulp |
| 307.4013 | Groundwood-Thermo-Mechanical (Repealed) |
| 307.4014 | Groundwood-CMN Papers (Repealed) |
| 307.4015 | Groundwood-Fine Papers (Repealed) |
| 307.4016 | Soda (Repealed) |
| 307.4017 | Deink (Repealed) |
| 307.4018 | Nonintegrated-Fine Papers (Repealed) |
| 307.4019 | Nonintegrated-Tissue Papers (Repealed) |
| 307.4020 | Tissue From Wastepaper (Repealed) |
| 307.4021 | Papergrade Sulfite (Drum Wash) (Repealed) |
| 307.4022 | Unbleached Kraft and Semi-Chemical (Repealed) |
| 307.4023 | Wastepaper-Molded Products (Repealed) |
| 307.4024 | Nonintegrated-Lightweight Papers (Repealed) |
| 307.4025 | Nonintegrated-Filter and Nonwoven Papers (Repealed) |
| 307.4026 | Nonintegrated-Paperboard (Repealed) |

SUBPART BF:  BUILDERS' PAPER AND BOARD MILLS (Repealed)

Section

| 307.4101 | Builder's Paper and Roofing Felt (Repealed) |
| --- | --- |

SUBPART BG:  MEAT PRODUCTS

Section

| 307.4201 | Simple Slaughterhouse |
| --- | --- |
| 307.4202 | Complex Slaughterhouse |
| 307.4203 | Low-Processing Packinghouse |
| 307.4204 | High-Processing Packinghouse |
| 307.4205 | Small Processor |
| 307.4206 | Meat Cutter |
| 307.4207 | Sausage and Luncheon Meats Processor |
| 307.4208 | Ham Processor |
| 307.4209 | Canned Meats Processor |
| 307.4210 | Renderer |

SUBPART BH:  METAL FINISHING

Section

| 307.4300 | General Provisions |
| --- | --- |
| 307.4301 | Metal Finishing |

SUBPART BN:  PHARMACEUTICAL MANUFACTURING

Section

| 307.4900 | General Provisions |
| --- | --- |
| 307.4901 | Fermentation Products |
| 307.4902 | Extraction Products |
| 307.4903 | Chemical Synthesis Products |
| 307.4904 | Mixing/Compounding and Formulation |
| 307.4905 | Research (Repealed) |

SUBPART BR:  PAVING AND ROOFING MATERIALS (TARS AND ASPHALT)

Section

| 307.5301 | Asphalt Emulsion |
| --- | --- |
| 307.5302 | Asphalt Concrete |
| 307.5303 | Asphalt Roofing |
| 307.5304 | Linoleum and Printed Asphalt Felt |

SUBPART BS:  WASTE COMBUSTORS

Section

| 307.5401 | Commercial Hazardous Waste Combustor |
| --- | --- |

SUBPART BT:  LANDFILLS

Section

| 307.5500 | General Provisions |
| --- | --- |
| 307.5501 | RCRA Subtitle C Hazardous Waste Landfill |
| 307.5502 | RCRA Subtitle D Non-Hazardous Waste Landfill |

SUBPART BU:  PAINT FORMULATING

Section

| 307.5601 | Oil-Base Solvent Wash Paint |
| --- | --- |

SUBPART BV:  INK FORMULATING

Section

| 307.5701 | Oil-Base Solvent Wash Ink |
| --- | --- |

SUBPART CD:  PESTICIDE CHEMICALS

Section

| 307.6500 | General Provisions |
| --- | --- |
| 307.6501 | Organic Pesticide Chemicals Manufacturing |
| 307.6502 | Metallo-Organic Pesticides Chemicals Manufacturing |
| 307.6503 | Pesticide Chemicals Formulating and Packaging |
| 307.6505 | Repackaging of Agricultural Pesticides Performed at Refilling Establishments |

SUBPART CG:  CARBON BLACK MANUFACTURING

Section

| 307.6801 | Carbon Black Furnace Process |
| --- | --- |
| 307.6802 | Carbon Black Thermal Process |
| 307.6803 | Carbon Black Channel Process |
| 307.6804 | Carbon Black Lamp Process |

SUBPART CJ:  BATTERY MANUFACTURING

Section

| 307.7100 | General Provisions |
| --- | --- |
| 307.7101 | Cadmium |
| 307.7102 | Calcium |
| 307.7103 | Lead |
| 307.7104 | Leclanche |
| 307.7105 | Lithium |
| 307.7106 | Magnesium |
| 307.7107 | Zinc |

SUBPART CL:  PLASTICS MOLDING AND FORMING

Section

| 307.7300 | General Provisions |
| --- | --- |
| 307.7301 | Contact Cooling and Heating Water |
| 307.7302 | Cleaning Water |
| 307.7303 | Finishing Water |

SUBPART CM:  METAL MOLDING AND CASTING

Section

| 307.7400 | General Provisions |
| --- | --- |
| 307.7401 | Aluminum Casting |
| 307.7402 | Copper Casting |
| 307.7403 | Ferrous Casting |
| 307.7404 | Zinc Casting |

SUBPART CN:  COIL COATING

Section

| 307.7500 | General Provisions |
| --- | --- |
| 307.7501 | Steel Basis Material |
| 307.7502 | Galvanized Basis Material |
| 307.7503 | Aluminum Basis Material |
| 307.7504 | Canmaking |

SUBPART CO:  PORCELAIN ENAMELING

Section

| 307.7600 | General Provisions |
| --- | --- |
| 307.7601 | Steel Basis Material |
| 307.7602 | Cast Iron Basis Material |
| 307.7603 | Aluminum Basis Material |
| 307.7604 | Copper Basis Material |

SUBPART CP:  ALUMINUM FORMING

Section

| 307.7700 | General Provisions |
| --- | --- |
| 307.7701 | Rolling With Neat Oils |
| 307.7702 | Rolling With Emulsions |
| 307.7703 | Extrusion |
| 307.7704 | Forging |
| 307.7705 | Drawing With Neat Oils |
| 307.7706 | Drawing With Emulsions or Soaps |

SUBPART CQ:  COPPER FORMING

Section

| 307.7800 | General Provisions |
| --- | --- |
| 307.7801 | Copper Forming |
| 307.7802 | Beryllium Copper Forming |

SUBPART CR:  ELECTRICAL AND ELECTRONIC COMPONENTS

Section

| 307.7901 | Semiconductor |
| --- | --- |
| 307.7902 | Electronic Crystals |
| 307.7903 | Cathode Ray Tube |
| 307.7904 | Luminescent Materials |

SUBPART CT:  NONFERROUS METALS FORMING AND METAL POWDERS

Section

| 307.8100 | General Provisions |
| --- | --- |
| 307.8101 | Lead-Tin-Bismuth Forming |
| 307.8102 | Magnesium Forming |
| 307.8103 | Nickel-Cobalt Forming |
| 307.8104 | Precious Metals Forming |
| 307.8105 | Refractory Metals Forming |
| 307.8106 | Titanium Forming |
| 307.8107 | Uranium Forming |
| 307.8108 | Zinc Forming |
| 307.8109 | Zirconium-Hafnium Forming |
| 307.8110 | Metal Powders |

| Appendix A | References to Previous Rules (Repealed) |
| --- | --- |

AUTHORITY:  Implementing Sections 7.2, 13, and 13.3 and authorized by Section 27 of the Environmental Protection Act [415 ILCS 5/7.2, 13, 13.3, and 27].

### SOURCE:  Adopted in R70-5, at 1 PCB 426, March 31, 1971; amended in R71-14, at 4 PCB 3, March 7, 1972; amended in R74-3, at 19 PCB 182, October 30, 1975; amended in R74-15, 16, at 31 PCB 405, at 2 Ill. Reg. 44, p. 151, effective November 2, 1978; amended in R76-17, at 31 PCB 713, at 2 Ill. Reg. 45, p. 101, effective November 5, 1978; amended in R76-21, at 44 PCB 203, at 6 Ill. Reg. 563, effective December 24, 1981; codified at 6 Ill. Reg. 7818; amended in R82-5, 10, at 54 PCB 411, at 8 Ill. Reg. 1625, effective January 18, 1984; amended in R86-44 at 12 Ill. Reg. 2592, effective January 13, 1988; amended in R88-11 at 12 Ill. Reg. 13094, effective July 29, 1988; amended in R88-18 at 13 Ill. Reg. 1794, effective January 31, 1989; amended in R89-3 at 13 Ill. Reg. 19288, effective November 17, 1989; amended in R88-9 at 14 Ill. Reg. 3100, effective February 20, 1990; amended in R89-12 at 14 Ill. Reg. 7620, effective May 8, 1990; amended in R91-5 at 16 Ill. Reg. 7377, effective April 27, 1992; amended in R93-2 at 17 Ill. Reg. 19483, effective October 29, 1993; amended in R94-10 at 19 Ill. Reg. 9142, effective June 23, 1995; amended in R95-22 at 20 Ill. Reg. 5549, effective April 1, 1996; amended in R97-23 at 21 Ill. Reg. 11930, effective August 12, 1997; amended in R99-4 at 23 Ill. Reg. 4413, effective March 31, 1999; amended in R99-17 at 23 Ill. Reg. 8421, effective July 12, 1999; amended in R00-15 at 24 Ill. Reg. 11640, effective July 24, 2000; amended in R01-5 at 25 Ill. Reg. _______, effective _______________.

SUBPART A: GENERAL PROVISIONS

Section 310.107	Incorporations by Reference

a)	The following publications are incorporated by reference:

1)	The consent decree in NRDC v. Costle, 12 Environment Reporter Cases 1833 (D.C. Cir. August 16, 1978).

2)	Standard Industrial Classification Manual (1972), and 1977 Supplement, republished in 1983, available from the Superintendent of Documents, U.S. Government Printing Office, Washington, D.C. 20401.

b)	The following provisions of the Code of Federal Regulations are incorporated by reference:

40 CFR 2.302 (1999)

40 CFR 25 (1999)

40 CFR 122, Appendix D, Tables II and III (1999)

40 CFR 128.140(b) (1977)

40 CFR 136 (1999), as amended at 64 Fed. Reg. 42552, August 4, 1999, and 64 Fed. Reg. 73414, December 30, 1999, and 65 Fed. Reg. 3008, January 19, 2000 

40 CFR 403 (1999)

40 CFR 403, Appendix D (1999)

c)	The following federal statutes are incorporated by reference:

1)	Section 1001 of the Criminal Code (18 USC 1001) as of July 1, 1988

2)	Clean Water Act (33 USC 1251 et seq.) as of July 1, 1988

3)	Subtitles C and D of the Resource Conservation and Recovery Act (42 USC 6901 et seq.) as of July 1, 1988

d)	This Part incorporates no future editions or amendments.

(Source:  Amended at 25 Ill. Reg.               , effective                          .)

#### Section 307.1503 	SeasonedCultured Products

a)	Applicability.  This Section applies to discharges resulting from the manufacture of cultured products, including cultured skim milk (cultured buttermilk), yoghurt, sour cream and dips of various types.

b)	Specialized definitions.  The Board incorporates by reference 40 CFR 405.31 (1994).  This incorporation includes no later amendments or editions.

c)	Existing sources:

1)	The Board incorporates by reference 40 CFR 405.34 (1994), at 60 Fed. Reg. 33926 effective June 29, 1995.  This incorporation includes no later amendments or editions.

2)	No person subject to the pretreatment standards incorporated by reference in subsection (c)(1) shall cause, threaten or allow the discharge of any contaminant to a POTW in violation of such standards.

d)	New sources:

1)	The Board incorporates by reference 40 CFR 405.36 (1994), as amended. at 60 Fed. Reg. 33926 effective June 29, 1995.  This incorporation includes no later amendments or editions.

2)	No person subject to the pretreatment standards incorporated by reference in subsection (d)(1) shall cause, threaten or allow the discharge of any contaminant to a POTW in violation of such standards.

3)	"New source" means any building, structure, facility or installation the construction of which commenced after December 20, 1973.

(Source:  Amended at 25 Ill. Reg.               , effective                          .)

SUBPART BS:  WASTE COMBUSTORS

307.5401	Commercial Hazardous Waste Combustor

a)	Applicability.

1)	The Board incorporates by reference 40 CFR 444.10 (1999), as amended at 65 Fed. Reg. 4360, January 27, 2000.  This incorporation includes no later amendments or editions.

2)	This Section applies to discharges of wastewater that are associated with Commercial Hazardous Waste Combustor wastewater, as defined in the materials incorporated by reference in Section 307.5401(a)(1).

b)	Definitions.  The Board incorporates by reference 40 CFR 444.11 (1999), as amended at 65 Fed. Reg. 4360, January 27, 2000.  This incorporation includes no later amendments or editions.

c)	Monitoring requirements. The Board incorporates by reference 40 CFR 444.12 (1999), as amended at 65 Fed. Reg. 4360, January 27, 2000 and 65 Fed. Reg. 33423, May 23, 2000.  This incorporation includes no later amendments or editions.

d)	Existing sources:

1)	The Board incorporates by reference 40 CFR 444.16 (1999), as amended at 65 Fed. Reg. 4360, January 27.  This incorporation includes no later amendments or editions.

2)	No person subject to the pretreatment standards incorporated by reference in Section 307.5401(d)(1) shall cause, threaten or allow the discharge of any contaminant to a POTW in violation of such standards.

e)	New sources:

1)	The Board incorporates by reference 40 CFR 444.18 (1999), as amended at 65 Fed. Reg. 4360, January 27, 2000.  This incorporation includes no later amendments or editions.

2)	No person subject to the pretreatment standards incorporated by reference in Section 307.5401(e)(1) shall cause, threaten or allow the discharge of any contaminant to a POTW in violation of such standards.

(Source:  Added at 25 Ill. Reg.               , effective                          .)

SUBPART BT:  LANDFILLS

307.5500	General Provisions

a)	Applicability.

1)	The Board incorporates by reference 40 CFR 445.1 (1999), as amended at 65 Fed. Reg. 3008, January 19, 2000.  This incorporation includes no later amendments or editions.

2)	This Section applies to discharges of wastewater from landfill units, as defined in the materials incorporated by reference in Section 307.5500(a)(1).

b)	General definitions.  The Board incorporates by reference 40 CFR 445.2 (1999), as amended at 65 Fed. Reg. 3008, January 19, 2000.  This incorporation includes no later amendments or editions.

c)	General Pretreatment Standards.   The Board incorporates by reference 40 CFR 445.3 (1999), as amended at 65 Fed. Reg. 3008, January 19, 2000.  This incorporation includes no later amendments or editions.

(Source:  Added at 25 Ill. Reg.               , effective                          .)

307.5501	RCRA Subtitle C Hazardous Waste Landfill

a)	Applicability.  Except as provided in Section 307.5500, this Section applies to discharges of wastewater from landfills subject to the provisions of 40 CFR Part 264, Standards for Owners and Operators of Hazardous Waste Treatment, Storage, and Disposal Facilities, Subpart N-(Landfills); and 40 CFR Part 265, Interim Status Standards for Owners and Operators of Hazardous Waste Treatment, Storage, and Disposal Facilities, Subpart N-(Landfills).

b)	Existing sources:

1)	The Board incorporates by reference 40 CFR 445.11 (1999), as amended at 65 Fed. Reg. 3008, January 19, 2000 and 65 Fed. Reg. 14344, March 16, 2000.  This incorporation includes no later amendments or editions.

2)	No person subject to the pretreatment standards incorporated by reference in Section 307.5501(b)(1) shall cause, threaten or allow the discharge of any contaminant to a POTW in violation of such standards.

c)	New sources:

1)	The Board incorporates by reference 40 CFR 445.14 (1999), as amended at 65 Fed. Reg. 3008, January 19, 2000.  This incorporation includes no later amendments or editions.

2)	No person subject to the pretreatment standards incorporated by reference in Section 307.5501(c)(1) shall cause, threaten or allow the discharge of any contaminant to a POTW in violation of such standards.

(Source:  Added at 25 Ill. Reg.               , effective                          .)

307.5502	RCRA Subtitle D Non-Hazardous Waste Landfill

a)	Applicability.  Except as provided in Section 307.5500, this Section applies to discharges of wastewater from landfills subject to the provisions of 40 CFR Part 258, Criteria for Municipal Solid Waste Landfills; and 40 CFR Part 257, Criteria for Classification of Solid Waste Disposal Facilities and Practices.

b)	Existing sources:

1)	The Board incorporates by reference 40 CFR 445.21 (1999), as amended at 65 Fed. Reg. 3008, January 19, 2000 and 65 Fed. Reg. 14344, March 16, 2000.  This incorporation includes no later amendments or editions.

2)	No person subject to the pretreatment standards incorporated by reference in Section 307.5502(b)(1) shall cause, threaten or allow the discharge of any contaminant to a POTW in violation of such standards.

c)	New sources:

1)	The Board incorporates by reference 40 CFR 445.24 (1999), as amended at 65 Fed. Reg. 3008, January 19, 2000.  This incorporation includes no later amendments or editions.

2)	No person subject to the pretreatment standards incorporated by reference in Section 307.5502(c)(1) shall cause, threaten or allow the discharge of any contaminant to a POTW in violation of such standards.

(Source:  Added at 25 Ill. Reg.               , effective                          .)

IT IS SO ORDERED.

I, Dorothy M. Gunn, Clerk of the Illinois Pollution Control Board, hereby certify that the above opinion and order was adopted on the          day of                            2000 by a vote of           .

_____________________

Dorothy M. Gunn, Clerk

Illinois Pollution Control Board