TITLE 35: ENVIRONMENTAL PROTECTION

SUBTITLE G: WASTE DISPOSAL

CHAPTER I: POLLUTION CONTROL BOARD

SUBCHAPTER c: HAZARDOUS WASTE OPERATING REQUIREMENTS

PART 739

STANDARDS FOR THE MANAGEMENT OF USED OIL

SUBPART A: DEFINITIONS

Section

739.100 Definitions

SUBPART B: APPLICABILITY

Section

739.110 Applicability

739.111 Used Oil Specifications

739.112 Prohibitions

739.113 Electronic Reporting

SUBPART C: STANDARDS FOR USED OIL GENERATORS

Section

739.120 Applicability

739.121 Hazardous Waste Mixing

739.122 Used Oil Storage

739.123 On-Site Burning in Space Heaters

739.124 Off-Site Shipments

SUBPART D: STANDARDS FOR USED OIL COLLECTION CENTERS AND AGGREGATION POINTS

Section

739.130 Do-It-Yourselfer Used Oil Collection Centers

739.131 Used Oil Collection Centers

739.132 Used Oil Aggregate Points Owned by the Generator

SUBPART E: STANDARDS FOR USED OIL TRANSPORTER AND TRANSFER FACILITIES

Section

739.140 Applicability

739.141 Restrictions on Transporters that Are Not Also Processors

739.142 Notification

739.143 Used Oil Transportation

739.144 Rebuttable Presumption for Used Oil

739.145 Used Oil Storage at Transfer Facilities

739.146 Tracking

739.147 Management of Residues

SUBPART F: STANDARDS FOR USED OIL PROCESSORS

Section

739.150 Applicability

739.151 Notification

739.152 General Facility Standards

739.153 Rebuttable Presumption for Used Oil

739.154 Used Oil Management

739.155 Analysis Plan

739.156 Tracking

739.157 Operating Record and Reporting

739.158 Off-Site Shipments of Used Oil

739.159 Management of Residues

SUBPART G: STANDARDS FOR USED OIL BURNERS THAT BURN OFF-SPECIFICATION USED OIL FOR ENERGY RECOVERY

Section

739.160 Applicability

739.161 Restriction on Burning

739.162 Notification

739.163 Rebuttable Presumption for Used Oil

739.164 Used Oil Storage

739.165 Tracking

739.166 Notices

739.167 Management of Residues

SUBPART H: STANDARDS FOR USED OIL FUEL MARKETERS

Section

739.170 Applicability

739.171 Prohibitions

739.172 On-Specification Used Oil Fuel

739.173 Notification

739.174 Tracking

739.175 Notices

SUBPART I: DISPOSAL OF USED OIL

Section

739.180 Applicability

739.181 Disposal

739.182 Use As a Dust Suppressant

AUTHORITY: Implementing Sections 7.2 and 22.4 and authorized by Section 27 of the Environmental Protection Act [415 ILCS 5/7.2, 22.4, and 27].

SOURCE: Adopted in R93-4 at 17 Ill. Reg. 20954, effective November 22, 1993; amended in R93-16 at 18 Ill. Reg. 6931, effective April 26, 1994; amended in R94-17 at 18 Ill. Reg. 17616, effective November 23, 1994; amended in R95-6 at 19 Ill. Reg. 10036, effective June 27, 1995; amended in R96-10/R97-3/R97-5 at 22 Ill. Reg. 767, effective December 16, 1997; amended in R98-21/R99-2/R99-7 at 23 Ill. Reg. 2274, effective January 19, 1999; amended in R04-16 at 28 Ill. Reg. 10706, effective July 19, 2004; amended in R06-5/R06-6/R06-7 at 30 Ill. Reg. 4094, effective February 23, 2006; amended in R06-16/R06-17/R06-18 at 31 Ill. Reg. 1413, effective December 20, 2006; amended in R07-5/R07-14 at 32 Ill. Reg. 13047, effective July 14, 2008; amended in R06-20(A) at 34 Ill. Reg. 3296, effective February 25, 2010; amended in R06-20(B) at 34 Ill. Reg. 17381, effective October 29, 2010; amended in R13-15 at 37 Ill. Reg. 17963, effective October 24, 2013; amended in R17-14/R17-15/R18-12/R18-31 at 43 Ill. Reg. 667, effective November 19, 2018; amended in R19-11 at 43 Ill. Reg. 6101, May 2, 2019.

SUBPART A: DEFINITIONS

**Section** **739.100 Definitions**

Terms that are defined in 35 Ill. Adm. Code 720.110, 721.101, and 731.112 have the same meanings when used in this Part.

“Aboveground tank” means a tank used to store or process used oil that is not an underground storage tank, as defined in 35 Ill. Adm. Code 280.12.

BOARD NOTE: This definition is different from the definition for “aboveground tank” given in 35 Ill. Adm. Code 720.110. Although the meanings are similar, the main distinction is that the definition for this Part limits the tanks to those used to store or process used oil, whereas the 720.110 definition contemplates tanks that contain hazardous wastes. This definition of aboveground tank is limited to this Part only.

“Classification”, as used in this Part, means a short description of the waste generating activity and designation as either hazardous waste with the appropriate hazardous waste code, nonhazardous used oil, nonhazardous used oil mixture, or nonhazardous other special waste.

“Container” means any portable device in which a material is stored, transported, treated, disposed of, or otherwise handled.

“Do-it-yourselfer used oil collection center” means any site or facility that accepts or aggregates and stores used oil collected only from household do-it-yourselfers.

“Existing tank” means a tank that is used for the storage or processing of used oil and that is in operation, or for which installation had commenced on or prior to October 4, 1996. Installation will be considered to have commenced if the owner or operator had obtained all federal, state, and local approvals or permits necessary to begin installation of the tank and if either of the following had occurred:

A continuous on-site installation program had begun; or

The owner or operator had entered into contractual obligations that cannot be canceled or modified without substantial loss for installation of the tank to be completed within a reasonable time.

BOARD NOTE: This definition is similar to the definition for “Existing tank system” in 35 Ill. Adm. Code 720.110. Although the meanings are similar, the definition given above for “existing tank” in this Part limits the tanks to those used to store or process used oil, whereas the 720.110 definition contemplates tanks systems that contain hazardous wastes. This definition of existing tank is limited to this Part only.

“Household ‘do-it-yourselfer’ used oil” means oil that is derived from households, such as used oil generated by individuals who generate used oil through the maintenance of their personal vehicles.

BOARD NOTE: Household “do-it-yourselfer” used oil is not subject to the State’s special waste hauling permit requirements under Part 809.

“Household ‘do-it-yourselfer’ used oil generator” means an individual who generates household “do-it-yourselfer” used oil.

“New tank” means a tank that will be used to store or process used oil and for which installation had commenced after October 4, 1996.

BOARD NOTE: This definition is similar to the definition given for “New tank system” given in 35 Ill. Adm. Code 720.110. Although the meanings are similar, the definition given above for “new tank” in this Part limits the tanks to those used to store or process used oil, whereas the 720.110 definition contemplates new tanks systems that contain hazardous wastes. This definition of new tank is limited to this Part only.

“Petroleum refining facility” means an establishment primarily engaged in producing gasoline, kerosene, distillate fuel oils, residual fuel oils, and lubricants, through fractionation, straight distillation of crude oil, redistillation of unfinished petroleum derivatives, cracking, or other processes (i.e., facilities classified as SIC 2911).

“Processing” means chemical or physical operations designed to produce from used oil, or to make used oil more amenable for production of, fuel oils, lubricants, or other used oil-derived product. Processing includes, but is not limited to the following: blending used oil with virgin petroleum products, blending used oils to meet the fuel specification, filtration, simple distillation, chemical or physical separation, and re-refining.

“Re-refining distillation bottoms” means the heavy fraction produced by vacuum distillation of filtered and dehydrated used oil. The composition of still bottoms varies with column operation and feedstock.

“Tank” means any stationary device, designed to contain an accumulation of used oil that is constructed primarily of non-earthen materials (e.g., wood, concrete, steel, plastic) which provide structural support.

“Used oil” means any oil that has been refined from crude oil or any synthetic oil that has been used and as a result of such use is contaminated by physical or chemical impurities.

“Used oil aggregation point” means any site or facility that accepts, aggregates, or stores used oil collected only from other used oil generation sites owned or operated by the owner or operator of the aggregation point, from which used oil is transported to the aggregation point in shipments of no more than 55 gallons (208 ℓ). Used oil aggregation points may also accept used oil from household do-it-yourselfers.

“Used oil burner” means a facility where used oil not meeting the specification requirements in Section 739.111 is burned for energy recovery in devices identified in Section 739.161(a).

“Used oil collection center” means any site or facility that is registered by the Agency to manage used oil and accepts or aggregates and stores used oil collected from used oil generators regulated under Subpart C that bring used oil to the collection center in shipments of no more than 55 gallons (208 ℓ) under the provisions of Section 739.124. Used oil collection centers may also accept used oil from household do-it-yourselfers.

“Used oil fuel marketer” means any person that conducts either of the following activities:

Directs a shipment of off-specification used oil from their facility to a used oil burner; or

First claims that used oil that is to be burned for energy recovery meets the used oil fuel specifications set forth in Section 739.111.

“Used oil generator” means any person, by site, whose act or process produces used oil or whose act first causes used oil to become subject to regulation.

“Used oil processor” means a facility that processes used oil.

“Used oil transfer facility” means any transportation-related facility including loading docks, parking areas, storage areas, and other areas where shipments of used oil are held for more than 24 hours and not longer than 35 days during the normal course of transportation or prior to an activity performed pursuant to Section 739.120(b)(2). Transfer facilities that store used oil for more than 35 days are subject to regulation under Subpart F.

“Used oil transporter” means any person that transports used oil, any person that collects used oil from more than one generator and that transports the collected oil, and owners and operators of used oil transfer facilities. Used oil transporters may consolidate or aggregate loads of used oil for purposes of transportation but, with the following exception, may not process used oil. Transporters may conduct incidental processing operations that occur in the normal course of used oil transportation (e.g., settling and water separation), but that are not designed to produce (or make more amenable for production of) used oil derived products or used oil fuel.

(Source: Amended at 43 Ill. Reg. 667, effective November 19, 2018)

SUBPART B: APPLICABILITY

**Section** **739.110 Applicability**

This Section identifies those materials that are subject to regulation as used oil under this Part. This Section also identifies some materials that are not subject to regulation as used oil under this Part, and indicates whether these materials may be subject to regulation as hazardous waste under 35 Ill. Adm. Code 702, 703, and 720 through 728.

a) Used Oil. Used oil is presumed to be recycled, unless a used oil handler disposes of used oil or sends used oil for disposal. Except as provided in Section 739.111, the regulations of this Part apply to used oil and to materials identified in this Section as being subject to regulation as used oil, whether or not the used oil or material exhibits any characteristics of hazardous waste identified in Subpart C of 35 Ill. Adm. Code 721.

b) Mixtures of Used Oil and Hazardous Waste

1) Listed Hazardous Waste

A) A mixture of used oil and hazardous waste that is listed in Subpart D of 35 Ill. Adm. Code 721 is subject to regulation as hazardous waste under 35 Ill. Adm. Code 702, 703, and 720 through 728, rather than as used oil under this Part.

B) Rebuttable Presumption for Used Oil. Used oil containing more than 1,000 ppm total halogens is presumed to be a hazardous waste because it has been mixed with halogenated hazardous waste listed in Subpart D of 35 Ill. Adm. Code 721. An owner or operator may rebut this presumption by demonstrating that the used oil does not contain hazardous waste (for example, by showing that the used oil does not contain significant concentrations of halogenated hazardous constituents listed in Appendix H of 35 Ill. Adm. Code 721).

i) This rebuttable presumption does not apply to metalworking oils or fluids containing chlorinated paraffins, if they are processed, through a tolling arrangement as described in Section 739.124(c), to reclaim metalworking oils or fluids. This presumption does apply to metalworking oils or fluids if such oils or fluids are recycled in any other manner, or disposed.

ii) This rebuttable presumption does not apply to used oils contaminated with chlorofluorocarbons (CFCs) removed from refrigeration units where the CFCs are destined for reclamation. This rebuttable presumption does apply to used oils contaminated with CFCs that have been mixed with used oil from sources other than refrigeration units.

2) Characteristic Hazardous Waste. A mixture of used oil and hazardous waste that solely exhibits one or more of the hazardous waste characteristics identified in Subpart C of 35 Ill. Adm. Code 721 and a mixture of used oil and hazardous waste that is listed in Subpart D solely because it exhibits one or more of the characteristics of hazardous waste identified in Subpart C of 35 Ill. Adm. Code 721 is subject to the following:

A) Except as provided in subsection (b)(2)(C), regulation as hazardous waste under 35 Ill. Adm. Code 702, 703, and 720 through 728 rather than as used oil under this Part, if the resultant mixture exhibits any characteristics of hazardous waste identified in Subpart C of 35 Ill. Adm. Code 721.

B) Except as provided in subsection (b)(2)(C), regulation as used oil under this Part, if the resultant mixture does not exhibit any characteristics of hazardous waste identified under Subpart C of 35 Ill. Adm. Code 721.

C) Regulation as used oil under this Part, if the mixture is of used oil and a waste that is hazardous solely because it exhibits the characteristic of ignitability (e.g., ignitable-only mineral spirits), provided that the resultant mixture does not exhibit the characteristic of ignitability under 35 Ill. Adm. Code 721.121.

3) VSQG Hazardous Waste. A mixture of used oil and VSQG hazardous waste regulated under 35 Ill. Adm. Code 722.114 is subject to regulation as used oil under this Part.

c) Materials Containing or Otherwise Contaminated with Used Oil

1) Except as provided in subsection (c)(2), the following is true of a material containing or otherwise contaminated with used oil from which the used oil has been properly drained or removed to the extent possible so that no visible signs of free-flowing oil remain in or on the material:

A) The material is not used oil, so it is not subject to this Part; and

B) If applicable, the material is subject to the hazardous waste regulations of 35 Ill. Adm. Code 702, 703, and 720 through 728.

2) A material containing or otherwise contaminated with used oil that is burned for energy recovery is subject to regulation as used oil under this Part.

3) Used oil drained or removed from materials containing or otherwise contaminated with used oil is subject to regulation as used oil under this Part.

d) Mixtures of Used Oil with Products

1) Except as provided in subsection (d)(2), mixtures of used oil and fuels or other fuel products are subject to regulation as used oil under this Part.

2) Mixtures of used oil and diesel fuel mixed on-site by the generator of the used oil for use in the generator’s own vehicles are not subject to this Part once the used oil and diesel fuel have been mixed. Prior to mixing, the used oil is subject to the requirements of Subpart C.

e) Materials Derived from Used Oil

1) The following is true of materials that are reclaimed from used oil, which are used beneficially, and which are not burned for energy recovery or used in a manner constituting disposal (e.g., re-refined lubricants):

A) The materials are not used oil and thus are not subject to this Part; and

B) The materials are not solid wastes and are thus not subject to the hazardous waste regulations of 35 Ill. Adm. Code 702, 703, and 720 through 728, as provided in 35 Ill. Adm. Code 721.103(e)(1).

2) Materials produced from used oil that are burned for energy recovery (e.g., used oil fuels) are subject to regulation as used oil under this Part.

3) Except as provided in subsection (e)(4), the following is true of materials derived from used oil that are disposed of or used in a manner constituting disposal:

A) The materials are not used oil and thus are not subject to this Part; and

B) The materials are solid wastes and thus are subject to the hazardous waste regulations of 35 Ill. Adm. Code 702, 703, and 720 through 728 if the materials are listed or identified as hazardous waste.

4) Used oil re-refining distillation bottoms that are used as feedstock to manufacture asphalt products are not subject to this Part.

f) Wastewater. Wastewater, the discharge of which is subject to regulation under either section 402 or 307(b) of the federal Clean Water Act (including wastewaters at facilities that have eliminated the discharge of wastewater), contaminated with de minimis quantities of used oil are not subject to the requirements of this Part. For purposes of this subsection, “de minimis” quantities of used oils are defined as small spills, leaks, or drippings from pumps, machinery, pipes, and other similar equipment during normal operations or small amounts of oil lost to the wastewater treatment system during washing or draining operations. This exception will not apply if the used oil is discarded as a result of abnormal manufacturing operations resulting in substantial leaks, spills, or other releases, or to used oil recovered from wastewaters.

g) Used Oil Introduced into Crude Oil Pipelines or a Petroleum Refining Facility

1) Used oil mixed with crude oil or natural gas liquids (e.g., in a production separator or crude oil stock tank) for insertion into a crude oil pipeline is exempt from the requirements of this Part. The used oil is subject to the requirements of this Part prior to the mixing of used oil with crude oil or natural gas liquids.

2) Mixtures of used oil and crude oil or natural gas liquids containing less than one percent used oil that are being stored or transported to a crude oil pipeline or petroleum refining facility for insertion into the refining process at a point prior to crude distillation or catalytic cracking are exempt from the requirements of this Part.

3) Used oil that is inserted into the petroleum refining process before crude distillation or catalytic cracking without prior mixing with crude oil is exempt from the requirements of this Part, provided that the used oil contains less than one percent of the crude oil feed to any petroleum refining facility process unit at any given time. Prior to insertion into the petroleum refining process, the used oil is subject to the requirements of this Part.

4) Except as provided in subsection (g)(5), used oil that is introduced into a petroleum refining facility process after crude distillation or catalytic cracking is exempt from the requirements of this Part only if the used oil meets the specification of Section 739.111. Prior to insertion into the petroleum refining facility process, the used oil is subject to the requirements of this Part.

5) Used oil that is incidentally captured by a hydrocarbon recovery system or wastewater treatment system as part of routine process operations at a petroleum refining facility and inserted into the petroleum refining facility process is exempt from the requirements of this Part. This exemption does not extend to used oil that is intentionally introduced into a hydrocarbon recovery system (e.g., by pouring collected used oil into the wastewater treatment system).

6) Tank bottoms from stock tanks containing exempt mixtures of used oil and crude oil or natural gas liquids are exempt from the requirements of this Part.

h) Used Oil on Vessels. Used oil produced on vessels from normal shipboard operations is not subject to this Part until it is transported ashore.

i) Used Oil Containing PCBs. Used oil containing PCBs, as defined at 40 CFR 761.3 (Definitions), incorporated by reference at 35 Ill. Adm. Code 720.111(b), at any concentration less than 50 ppm is subject to the requirements of this Part unless, because of dilution, it is regulated under federal 40 CFR 761 as a used oil containing PCBs at 50 ppm or greater. PCB-containing used oil subject to the requirements of this Part may also be subject to the prohibitions and requirements of 40 CFR 761, including 40 CFR 761.20(d) and (e). Used oil containing PCBs at concentrations of 50 ppm or greater is not subject to the requirements of this Part, but is subject to regulation under federal 40 CFR 761. No person may avoid these provisions by diluting used oil containing PCBs, unless otherwise specifically provided for in this Part or federal 40 CFR 761.

(Source: Amended at 43 Ill. Reg. 667, effective November 19, 2018)

**Section 739.111 Used Oil Specifications**

Used oil burned for energy recovery, and any fuel produced from used oil by processing, blending, or other treatment, is subject to regulation under this Part unless it is shown not to exceed any of the allowable levels of the constituents and properties shown in the following table. Once used oil that is to be burned for energy recovery has been shown not to exceed any allowable level and the person making that showing complies with Sections 739.172, 739.173, and 739.174(b), the used oil is no longer subject to this Part.

Used Oil Allowable Levels When Burned for Energy Recovery1

|  |  |
| --- | --- |
| Constituent/property | Allowable level |
| Arsenic | 5 ppm maximum |
| Cadmium | 2 ppm maximum |
| Chromium | 10 ppm maximum |
| Lead | 100 ppm maximum |
| Flash point | 100 °F minimum |
| Total halogens | 4,000 ppm maximum2 |

FOOTNOTE: 1 The allowable levels do not apply to mixtures of used oil and hazardous waste that continue to be regulated as hazardous waste (see Section 739.110(b)).

FOOTNOTE: 2 Used oil containing more than 1,000 ppm total halogens is presumed to be a hazardous waste under the rebuttable presumption provided under Section 739.110(b)(1). Such used oil is subject to Subpart H of 35 Ill. Adm. Code 726, rather than this Part, when burned for energy recovery unless the presumption of mixing can be successfully rebutted.

NOTE: Applicable standards for the burning of used oil containing PCBs are imposed by 40 CFR 761.20(e).

(Source: Amended at 32 Ill. Reg. 13047, effective July 14, 2008)

**Section 739.112 Prohibitions**

a) Surface impoundment prohibition. Used oil must not be managed in surface impoundments or waste piles, unless the units are subject to regulation under 35 Ill. Adm. Code 724 or 725.

b) Use as a dust suppressant. The use of used oil as a dust suppressant is prohibited.

c) Burning in particular units. Off-specification used oil fuel may be burned for energy recovery in only the following devices:

1) Industrial furnaces identified in 35 Ill. Adm. Code 720.110;

2) Boilers, as defined in 35 Ill. Adm. Code 720.110, that are identified as follows:

A) Industrial boilers located on the site of a facility engaged in a manufacturing process where substances are transformed into new products, including the component parts of products, by mechanical or chemical processes;

B) Utility boilers used to produce electric power, steam, heated or cooled air, or other gases or fluids for sale; or

C) Used oil-fired space heaters provided that the burner meets the provisions of Section 739.123.

3) Hazardous waste incinerators subject to regulation under Subpart O of 35 Ill. Adm. Code 724 or 725.

(Source: Amended at 28 Ill. Reg. 10706, effective July 19, 2004)

**Section 739.113 Electronic Reporting**

The filing of any document pursuant to any provision of this Part as an electronic document is subject to 35 Ill. Adm. Code 720.104.

BOARD NOTE: Derived from 40 CFR 3, as added, and 40 CFR 271.10(b), 271.11(b), and 271.12(h) (2005), as amended at 70 Fed. Reg. 59848 (Oct. 13, 2005).

(Source: Added at 31 Ill. Reg. 1413, effective December 20, 2006)

SUBPART C: STANDARDS FOR USED OIL GENERATORS

**Section** **739.120 Applicability**

a) General. This Subpart C applies to all generators of used oil, except the following:

1) Household “Do-It-Yourselfer” Used Oil Generators. Household “do-it-yourselfer” used oil generators are not subject to regulation under this Part.

2) Vessels. Vessels at sea or at port are not subject to this Subpart C. For purposes of this Subpart C, used oil produced on vessels from normal shipboard operations is considered to be generated at the time it is transported ashore. The owner or operator of the vessel and the persons removing or accepting used oil from the vessel are co-generators of the used oil and are both responsible for managing the waste in compliance with this Subpart C once the used oil is transported ashore. The co-generators may decide among themselves which party will fulfill the requirements of this Subpart C.

3) Diesel Fuel. Mixtures of used oil and diesel fuel mixed by the generator of the used oil for use in the generator’s own vehicles are not subject to this Part once the used oil and diesel fuel have been mixed. Prior to mixing, the used oil fuel is subject to the requirements of this Subpart C.

4) Farmers. Farmers who generate an average of 25 gallons (95 ℓ) per month or less of used oil from vehicles or machinery used on the farm in a calendar year are not subject to the requirements of this Part.

b) Other Applicable Provisions. A used oil generator that conducts any of the following activities is subject to the requirements of other applicable provisions of this Part, as indicated in subsections (b)(1) through (b)(5):

1) A generator that transports used oil, except under the self-transport provisions of Section 739.124(a) and (b), must also comply with Subpart E.

2) A Generator That Processes or Re-Refines Used Oil

A) Except as provided in subsection (b)(2)(B), a generator that processes or re-refines used oil must also comply with Subpart F.

B) A generator that performs the following activities is not a used oil processor, provided that the used oil is generated on-site and is not being sent off-site to a burner of on- or off-specification used oil fuel:

i) Filtering, cleaning, or otherwise reconditioning used oil before returning it for reuse by the generator;

ii) Separating used oil from wastewater generated on-site to make the wastewater acceptable for discharge or reuse pursuant to section 402 or 307(b) for the federal Clean Water Act (33 USC 1317 or 1342), 40 CFR 403 through 499, or 35 Ill. Adm. Code 310 or 309, governing the discharge of wastewaters;

iii) Using oil mist collectors to remove small droplets of used oil from in-plant air to make plant air suitable for continued recirculation;

iv) Draining or otherwise removing used oil from materials containing or otherwise contaminated with used oil in order to remove excessive oil to the extent possible pursuant to Section 739.110(c); or

v) Filtering, separating, or otherwise reconditioning used oil before burning it in a space heater pursuant to Section 739.123.

3) A generator that burns off-specification used oil for energy recovery, except under the on-site space heater provisions of Section 739.123, must also comply with Subpart G.

4) A generator that directs shipments of off-specification used oil from their facility to a used oil burner or first claims that used oil that is to be burned for energy recovery meets the used oil fuel specifications set forth in Section 739.111 must also comply with Subpart H.

5) A generator that disposes of used oil must also comply with Subpart I.

(Source: Amended at 43 Ill. Reg. 667, effective November 19, 2018)

**Section 739.121 Hazardous Waste Mixing**

a) Mixtures of used oil and hazardous waste must be managed in accordance with Section 739.110(b).

b) The rebuttable presumption for used oil of Section 739.110(b)(1)(B) applies to used oil managed by generators. Under the rebuttable presumption for used oil of Section 739.110(b)(1)(B), used oil containing greater than 1,000 ppm total halogens is presumed to be a hazardous waste and thus must be managed as hazardous waste and not as used oil unless the presumption is rebutted. However, the rebuttable presumption does not apply to certain metalworking oils and fluids and certain used oils removed from refrigeration units.

(Source: Amended at 28 Ill. Reg. 10706, effective July 19, 2004)

**Section** **739.122 Used Oil Storage**

A used oil generator is subject to all applicable federal Spill Prevention, Control and Countermeasures (40 CFR 112) in addition to the requirements of this Subpart C. A used oil generator is also subject to the Underground Storage Tank (35 Ill. Adm. Code 731) standards for used oil stored in underground tanks whether or not the used oil exhibits any characteristics of hazardous waste, in addition to the requirements of this Subpart C.

a) Storage Units. A used oil generator may not store used oil in units other than tanks, containers, or units subject to regulation under 35 Ill. Adm. Code 724 or 725.

b) Condition of Units. The following must be true of containers and aboveground tanks used to store used oil at a generator facility:

1) The containers must be in good condition (no severe rusting, apparent structural defects or deterioration); and

2) The containers may not be leaking (no visible leaks).

c) Labels

1) Containers and aboveground tanks used to store used oil at generator facilities must be labeled or marked clearly with the words “Used Oil”.

2) Fill pipes used to transfer used oil into underground storage tanks at generator facilities must be labeled or marked clearly with the words “Used Oil”.

d) Response to Releases. Upon detection of a release of used oil to the environment that is not subject to the federal requirements of subpart F of 40 CFR 280 and which has occurred after October 4, 1996, a generator must perform the following cleanup steps:

BOARD NOTE: Corresponding 40 CFR 279.22(d) applies to releases that “occurred after the effective date of the authorized used oil program for the State in which the release is located”. The Board adopted the used oil standards in docket R93-4 at 17 Ill. Reg. 20954, effective November 22, 1993. USEPA approved the Illinois standards at 61 Fed. Reg. 40521 (Aug. 5, 1996), effective October 4, 1996. The Board has interpreted “the effective date of the authorized used oil program” to mean the October 4, 1996 date of federal authorization of the Illinois program, and we substituted that date for the federal effective date language. Had USEPA written something like “the effective date of the used oil program in the authorized State in which the release is located”, the Board would have used the November 22, 1993 effective date of the Illinois used oil standards.

1) Stop the release;

2) Contain the released used oil;

3) properly clean up and manage the released used oil and other materials; and

4) If necessary, repair or replace any leaking used oil storage containers or tanks prior to returning them to service.

(Source: Amended at 43 Ill. Reg. 667, effective November 19, 2018)

**Section 739.123 On-Site Burning in Space Heaters**

A generator may burn used oil in used oil-fired space heaters provided that the following conditions are fulfilled:

a) The heater burns only used oil that the owner or operator generates or used oil received from household do-it-yourself used oil generators;

b) The heater is designed to have a maximum capacity of not more than 0.5 million Btu per hour; and

c) The combustion gases from the heater are vented to the ambient air.

(Source: Amended at 28 Ill. Reg. 10706, effective July 19, 2004)

**Section** **739.124 Off-Site Shipments**

Except as provided in subsections (a) through (c), a generator must ensure that its used oil is transported only by transporters that have obtained a USEPA identification number and an Illinois special waste identification number pursuant to 35 Ill. Adm. Code 809.

BOARD NOTE: A generator that qualifies for an exemption under subsections (a) through (c) may still be subject to the State’s special waste hauling permit requirements under 35 Ill. Adm. Code 809.

a) Self-Transportation of Small Amounts to Registered Collection Centers. A generator may transport, without a USEPA identification number and an Illinois special waste identification number, used oil that is generated at the generator’s site and used oil collected from household do-it-yourselfers to a used oil collection center provided that the following conditions are fulfilled:

1) The generator transports the used oil in a vehicle owned by the generator or owned by an employee of the generator;

2) The generator transports no more than 55 gallons (208 ℓ) of used oil at any time; and

3) The generator transports the used oil to a used oil collection center that has registered by written notification with the Agency to manage used oil. This notification must include information sufficient for the Agency to identify, locate and communicate with the facility. The notification must be submitted on forms provided by the Agency.

b) Self-Transportation of Small Amounts to Aggregation Points Owned by the Generator. A generator may transport, without a USEPA identification number and an Illinois special waste identification number, used oil that is generated at the generator’s site to an aggregation point provided that the following conditions are fulfilled:

1) The generator transports the used oil in a vehicle owned by the generator or owned by an employee of the generator;

2) The generator transports no more than 55 gallons (208 ℓ) of used oil at any time; and

3) The generator transports the used oil to an aggregation point that is owned or operated by the same generator.

c) Tolling Arrangements. A used oil generator may arrange for used oil to be transported by a transporter without a USEPA identification number and an Illinois special waste identification number if the used oil is reclaimed under a contractual agreement pursuant to which reclaimed oil is returned by the processor to the generator for use as a lubricant, cutting oil, or coolant. The contract (known as a “tolling arrangement”) must indicate the following information:

1) The type of used oil and the frequency of shipments;

2) That the vehicle used to transport the used oil to the processing facility and to deliver recycled used oil back to the generator is owned and operated by the used oil processor; and

3) That reclaimed oil will be returned to the generator.

(Source: Amended at 43 Ill. Reg. 667, effective November 19, 2018)

SUBPART D: STANDARDS FOR USED OIL COLLECTION CENTERS AND AGGREGATION POINTS

**Section** **739.130 Do-It-Yourselfer Used Oil Collection Centers**

a) Applicability. This Section applies to owners or operators of all do-it-yourselfer (DIY) used oil collection centers. A DIY used oil collection center is any site or facility that accepts or aggregates and stores used oil collected only from household do-it-yourselfers.

b) DIY Used Oil Collection Center Requirements. Owners or operators of all DIY used oil collection centers must comply with the generator standards in Subpart C.

(Source: Amended at 43 Ill. Reg. 667, effective November 19, 2018)

**Section** **739.131 Used Oil Collection Centers**

a) Applicability. This Section applies to owners or operators of used oil collection centers. A used oil collection center is any site or facility that accepts, aggregates or stores used oil collected from used oil generators regulated under Subpart C who bring used oil to the collection center in shipments of no more than 55 gallons (208 ℓ) under the provisions of Section 739.124(a). Used oil collection centers may also accept used oil from household do-it-yourselfers.

BOARD NOTE: A generator who qualifies for an exemption under Section 739.124 may still be subject to the State’s special waste hauling permit requirements under Part 809.

b) Used Oil Collection Center Requirements. Owners or operators of all used oil collection centers must do the following:

1) Comply with the generator standards in Subpart C; and

2) Be registered by the Agency to manage used oil. The used oil collection center must register by written notification with the Agency to manage used oil. This notification must include information sufficient for the Agency to identify, locate and communicate with the facility. The notification must be submitted on forms provided by the Agency.

(Source: Amended at 43 Ill. Reg. 667, effective November 19, 2018)

**Section** **739.132 Used Oil Aggregate Points Owned by the Generator**

a) Applicability. This Section applies to owners or operators of all used oil aggregation points. A used oil aggregation point is any site or facility that accepts, aggregates, or stores used oil collected only from other used oil generation sites owned or operated by the owner or operator of the aggregation point, from which used oil is transported to the aggregation point in shipments of no more than 55 gallons (208 ℓ) under the provisions of Section 739.124(b). A used oil aggregation point may also accept used oil from household do-it-yourselfers.

BOARD NOTE: A generator who qualifies for an exemption under Section 739.124 may still be subject to the State’s special waste hauling permit requirements under Part 809.

b) Used Oil Aggregation Point Requirements. Owners or operators of all used oil aggregation points must comply with the generator standards in Subpart C.

(Source: Amended at 43 Ill. Reg. 667, effective November 19, 2018)

SUBPART E: STANDARDS FOR USED OIL TRANSPORTER AND TRANSFER FACILITIES

**Section** **739.140 Applicability**

a) General. Except as provided in subsections (a)(1) through (a)(4), this Subpart E applies to all used oil transporters. A used oil transporter is a person that transports used oil, a person that collects used oil from more than one generator and transport the collected oil, and an owner or operator of a used oil transfer facility.

1) This Subpart E does not apply to on-site transportation.

2) This Subpart E does not apply to a generator that transports shipments of used oil totaling 55 gallons (208 ℓ) or less from the generator to a used oil collection center as specified in Section 739.124(a).

3) This Subpart E does not apply to a generator that transports shipments of used oil totaling 55 gallons (208 ℓ) or less from the generator to a used oil aggregation point owned or operated by the same generator as specified in Section 739.124(b).

4) This Subpart E does not apply to transportation of used oil from household do-it-yourselfers to a regulated used oil generator, collection center, aggregation point, processor, or burner subject to the requirements of this Part. Except as provided in subsections (a)(1) through (a)(3), this Subpart E does, however, apply to transportation of collected household do-it-yourselfer used oil from regulated used oil generators, collection centers, aggregation points, or other facilities where household do-it-yourselfer used oil is collected.

BOARD NOTE: A generator that qualifies for an exemption under Section 739.124 may still be subject to the State’s special waste hauling permit requirements under Part 809.

b) Imports and Exports. A transporter that imports used oil from abroad or export used oil outside of the United States are subject to the requirements of this Subpart E from the time the used oil enters and until the time it exits the United States.

c) Trucks Used to Transport Hazardous Waste. Unless trucks previously used to transport hazardous waste are emptied as described in 35 Ill. Adm. Code 721.107 prior to transporting used oil, the used oil is considered to have been mixed with the hazardous waste and must be managed as hazardous waste unless, under the provisions of Section 739.110(b), the hazardous waste and used oil mixture is determined not to be hazardous waste.

d) Other Applicable Provisions. A used oil transporter that conducts the following activities are also subject to other applicable provisions of this Part as indicated in subsections (d)(1) through (d)(5):

1) A transporter that generates used oil must also comply with Subpart C;

2) A transporter that processes or re-refines used oil, except as provided in Section 739.141, must also comply with Subpart F;

3) A transporter that burns off-specification used oil for energy recovery must also comply with Subpart G;

4) A transporter that directs shipments of off-specification used oil from its facility to a used oil burner or first claims that used oil that is to be burned for energy recovery meets the used oil fuel specifications set forth in Section 739.111 must also comply with Subpart H; and

5) A transporter that disposes of used oil must also comply with Subpart I.

(Source: Amended at 43 Ill. Reg. 667, effective November 19, 2018)

**Section** **739.141 Restrictions on Transporters that Are Not Also Processors**

a) A used oil transporter may consolidate or aggregate loads of used oil for purposes of transportation. However, except as provided in subsection (b), a used oil transporter may not process used oil unless they also comply with the requirements for processors in Subpart F.

b) A transporter may conduct incidental processing operations that occur in the normal course of used oil transportation (e.g., settling and water separation), but that are not designed to produce (or make more amenable for production of) used oil derived products unless it also complies with the processor requirements in Subpart F.

c) A transporter of used oil that is removed from oil-bearing electrical transformers and turbines and which is filtered by the transporter or at a transfer facility prior to being returned to its original use is not subject to the processor and re-refiner requirements in Subpart F.

(Source: Amended at 43 Ill. Reg. 667, effective November 19, 2018)

**Section 739.142 Notification**

a) Identification Numbers. A used oil transporter that has not previously complied with the notification requirements of RCRA section 3010 must comply with these requirements and obtain a USEPA identification number pursuant to RCRA section 3010 and an Illinois special waste identification number.

b) Mechanics of Notification

1) A used oil transporter that has not received a USEPA identification number may obtain one by notifying the Agency of its used oil activity by submitting either of the following:

A) A completed Notification of RCRA Subtitle C Activities (Site Identification Form) (USEPA Form 8700-12) to the Agency; or

BOARD NOTE: USEPA Form 8700-12 is available from the Agency, Bureau of Land (217-782-6762). It is also available on-line for download in PDF file format: www.epa.gov/‌hwgenerators/‌instructions-and-form-hazardous-waste-generators-transporters-and-treatment-storage-and.

B) A letter to the Agency requesting a USEPA identification number. The letter should include the following information:

i) The transporter company name;

ii) The owner of the transporter company;

iii) The mailing address for the transporter;

iv) The name and telephone number for the transporter point of contact;

v) The type of transport activity (i.e., transport only, transport and transfer facility, or transfer facility only);

vi) The location of all transfer facilities at which used oil is stored;

vii) The name and telephone number for a contact at each transfer facility.

2) A used oil transporter that has not received an Illinois special waste identification number may obtain one pursuant to 35 Ill. Adm. Code 809 by contacting the Agency at the following address: Division of Land Pollution Control, Illinois EPA, 1021 North Grand Avenue, Springfield, Illinois 62794-9276 (217-782-6761).

(Source: Amended at 43 Ill. Reg. 6101, May 2, 2019)

**Section 739.143 Used Oil Transportation**

a) Deliveries. A used oil transporter must deliver all used oil received to one of the following:

1) Another used oil transporter, provided that the transporter has obtained a USEPA identification number and an Illinois special waste identification number;

2) A used oil processing facility that has obtained a USEPA identification number and an Illinois special waste identification number;

3) An off-specification used oil burner facility that has obtained a USEPA identification number and an Illinois special waste identification number; or

4) An on-specification used oil burner facility.

b) USDOT requirements. A used oil transporter must comply with all applicable USDOT requirements in 49 CFR 171 through 180. A person transporting used oil that meets the definition of a hazardous material in 49 CFR 171.8 (Definitions and Abbreviations), incorporated by reference in 35 Ill. Adm. Code 720.111(b), must comply with all applicable USDOT Hazardous Materials Regulations in 49 CFR 171 (General Information, Regulations, and Definitions), 172 (Hazardous Materials Table, Special Provisions, Hazardous Materials Communications, Emergency Response Information, and Training Requirements), 173 (Shippers—General Requirements for Shipments and Packages), 174 (Carriage by Rail), 175 (Carriage by Aircraft), 176 (Carriage by Vessel), 177 (Carriage by Public Highway), 178 (Specifications for Packagings), 179 (Specifications for Tank Cars), and 180 (Continuing Qualification and Maintenance of Packagings), incorporated by reference in 35 Ill. Adm. Code 720.111(b).

c) Used oil discharges.

1) In the event of a discharge of used oil during transportation, the transporter must take appropriate immediate action to protect human health and the environment (e.g., notify local authorities, dike the discharge area).

2) If a discharge of used oil occurs during transportation and an official (State or local government or a federal agency) acting within the scope of official responsibilities determines that immediate removal of the used oil is necessary to protect human health or the environment, that official may authorize the removal of the used oil by a transporter that does not have a USEPA identification number and an Illinois special waste identification number.

3) An air, rail, highway, or water transporter that has discharged used oil must do the following:

A) Give notice, if required by federal 49 CFR 171.15 (Immediate Notice of Certain Hazardous Materials Incidents), incorporated by reference in 35 Ill. Adm. Code 720.111(b), to the National Response Center (800-424-8802 or 202-426-2675); and

B) Report in writing as required by federal 49 CFR 171.16 (Detailed Hazardous Materials Incident Reports), incorporated by reference in 35 Ill. Adm. Code 720.111(b), to the Director, Office of Hazardous Materials Regulations, Materials Transportation Bureau, Department of Transportation, Washington, DC 20590.

4) A water transporter that has discharged used oil must give notice as required by federal 33 CFR 153.203 (Procedure for the Notice of Discharge), incorporated by reference in 35 Ill. Adm. Code 720.111(b).

5) A transporter must clean up any used oil discharge that occurs during transportation or take such action as may be required or approved by federal, state, or local officials so that the used oil discharge no longer presents a hazard to human health or the environment.

(Source: Amended at 32 Ill. Reg. 13047, effective July 14, 2008)

**Section** **739.144 Rebuttable Presumption for Used Oil**

a) To ensure that used oil is not a hazardous waste under the rebuttable presumption of Section 739.110(b)(1)(B), the used oil transporter must determine whether the total halogen content of used oil being transported or stored at a transfer facility is above or below 1,000 ppm.

b) The transporter must make this determination by the following means:

1) Testing the used oil; or

2) Applying knowledge of the halogen content of the used oil in light of the materials or processes used.

c) If the used oil contains greater than or equal to 1,000 ppm total halogens, it is presumed to be a hazardous waste because it has been mixed with halogenated hazardous waste listed in Subpart D of 35 Ill. Adm. Code 721. The owner or operator may rebut the presumption by demonstrating that the used oil does not contain hazardous waste (for example, by showing that the used oil does not contain significant concentrations of halogenated hazardous constituents listed in Appendix H of 35 Ill. Adm. Code 721).

1) The rebuttable presumption does not apply to metalworking oils and fluids containing chlorinated paraffins, if they are processed, through a tolling arrangement as described in Section 739.124(c), to reclaim metalworking oils and fluids. The presumption does apply to metalworking oils and fluids if such oils and fluids are recycled in any other manner, or disposed.

2) The rebuttable presumption does not apply to used oils contaminated with chlorofluorocarbons (CFCs) removed from refrigeration units if the CFCs are destined for reclamation. The rebuttable presumption does apply to used oils contaminated with CFCs that have been mixed with used oil from sources other than refrigeration units.

d) Record Retention. Records of analyses conducted or information used to comply with subsections (a), (b), and (c) must be maintained by the transporter for at least three years.

(Source: Amended at 43 Ill. Reg. 667, effective November 19, 2018)

**Section** **739.145 Used Oil Storage at Transfer Facilities**

A used oil transporter is subject to all applicable Spill Prevention, Control and Countermeasures (40 CFR 112) in addition to the requirements of this Subpart E. A used oil transporter is also subject to the Underground Storage Tank (35 Ill. Adm. Code 731) standards for used oil stored in underground tanks whether or not the used oil exhibits any characteristics of hazardous waste, in addition to the requirements of this Subpart.

a) Applicability. This Section applies to used oil transfer facilities. Used oil transfer facilities are transportation-related facilities including loading docks, parking areas, storage areas, and other areas where shipments of used oil are held for more than 24 hours during the normal course of transportation and not longer than 35 days. A transfer facility that store used oil for more than 35 days are subject to regulation under Subpart F.

b) Storage Units. An owner or operator of a used oil transfer facility may not store used oil in units other than tanks, containers, or units subject to regulation under 35 Ill. Adm. Code 724 or 725.

c) Condition of Units. The following must be true of containers and aboveground tanks used to store used oil at a transfer facility:

1) The containers must be in good condition (no severe rusting, apparent structural defects or deterioration); and

2) The containers may not be leaking (no visible leaks).

d) Secondary Containment for Containers. Containers used to store used oil at a transfer facility must be equipped with a secondary containment system.

1) The secondary containment system must consist of the following, at a minimum:

A) Both of the following:

i) Dikes, berms, or retaining walls; and

ii) A floor. The floor must cover the entire area within the dikes, berms, or retaining walls; or

B) An equivalent secondary containment system.

2) The entire containment system, including walls and floors, must be sufficiently impervious to used oil to prevent any used oil released into the containment system from migrating out of the system to the soil, groundwater, or surface water.

e) Secondary Containment for Existing Aboveground Tanks. Existing aboveground tanks used to store used oil at a transfer facility must be equipped with a secondary containment system.

1) The secondary containment system must consist of the following, at a minimum:

A) Both of the following:

i) Dikes, berms, or retaining walls; and

ii) A floor. The floor must cover the entire area within the dike, berm, or retaining wall except areas where existing portions of the tank meet the ground; or

B) An equivalent secondary containment system.

2) The entire containment system, including walls and floors, must be sufficiently impervious to used oil to prevent any used oil released into the containment system from migrating out of the system to the soil, groundwater, or surface water.

f) Secondary Containment for New Aboveground Tanks. New aboveground tanks used to store used oil at a transfer facility must be equipped with a secondary containment system.

1) The secondary containment system must consist of the following, at a minimum:

A) Both of the following:

i) Dikes, berms, or retaining walls; and

ii) A floor. The floor must cover the entire area within the dike, berm, or retaining wall; or

B) An equivalent secondary containment system.

2) The entire containment system, including walls and floors, must be sufficiently impervious to used oil to prevent any used oil released into the containment system from migrating out of the system to the soil, groundwater, or surface water.

g) Labels

1) Containers and aboveground tanks used to store used oil at transfer facilities must be labeled or marked clearly with the words “Used Oil”.

2) Fill pipes used to transfer used oil into underground storage tanks at transfer facilities must be labeled or marked clearly with the words “Used Oil”.

h) Response to Releases. Upon detection of a release of used oil to the environment that is not subject to the federal requirements of subpart F of 40 CFR 280 and which has occurred after October 4, 1996, an owner or operator of a transfer facility must perform the following cleanup steps:

BOARD NOTE: Corresponding 40 CFR 279.45(h) applies to releases that “occurred after the effective date of the authorized used oil program for the State in which the release is located”. The Board adopted the used oil standards in docket R93-4 at 17 Ill. Reg. 20954, effective November 22, 1993. USEPA approved the Illinois standards at 61 Fed. Reg. 40521 (Aug. 5, 1996), effective October 4, 1996. The Board has interpreted “the effective date of the authorized used oil program” to mean the October 4, 1996 date of federal authorization of the Illinois program, and we substituted that date for the federal effective date language. Had USEPA written something like “the effective date of the used oil program in the authorized State in which the release is located”, the Board would have used the November 22, 1993 effective date of the Illinois used oil standards.

1) Stop the release;

2) Contain the released used oil;

3) properly clean up and manage the released used oil and other materials; and

4) If necessary, repair or replace any leaking used oil storage containers or tanks prior to returning them to service.

(Source: Amended at 43 Ill. Reg. 667, effective November 19, 2018)

**Section** **739.146 Tracking**

a) Acceptance. A used oil transporter must keep a record of each used oil shipment accepted for transport. Records for each shipment must include the following:

1) The name and address of the generator, transporter, or processor that provided the used oil for transport;

2) The USEPA identification number and Illinois special waste identification number (if applicable) of the generator, transporter, or processor that provided the used oil for transport;

3) The quantity of used oil accepted;

4) The date of acceptance;

5) The signature:

A) Except as provided in subsection (a)(5)(B), the signature, dated upon receipt of the used oil, of a representative of the generator, transporter, or processor or re-refiner that provided the used oil for transport.

B) An intermediate rail transporter is not required to sign the record of acceptance; and

6) If the transporter has accepted any shipment of mixtures of used oil and materials identified in 35 Ill. Adm. Code 808.121(b)(6), the following:

A) Information stating when and where the special waste was generated;

B) The classification and quantity of the special waste delivered to the transporter;

C) Any special handling instructions pertinent to emergency personnel in the event of an accident; and

D) A generator’s certification as follows: “I hereby declare that the contents of this consignment are fully and accurately described above by the proper shipping name, and are classified, packaged, marked and labeled/placarded, and are in all respects in proper condition for transport according to applicable international and national governmental regulations. If export shipment and I am the Primary Exporter, I certify that the contents of this consignment conform to the terms of the attached EPA Acknowledgement of Consent. I certify that the waste minimization statement identified in 40 CFR 262.27(a) (if I am a large quantity generator) or (b) (if I am a small quantity generator) is true.”

b) Deliveries. A used oil transporter must keep a record of each shipment of used oil that is delivered to another used oil transporter, or to a used oil burner, processor, or disposal facility. Records of each delivery must include the following:

1) The name and address of the receiving facility or transporter;

2) The USEPA identification number and Illinois special waste identification number of the receiving facility or transporter;

3) The quantity of used oil delivered;

4) The date of delivery;

5) The signature:

A) Except as provided in subsection (b)(5)(B), the signature, dated upon receipt of the used oil, of a representative of the receiving facility or transporter.

B) An intermediate rail transporter is not required to sign the record of acceptance.

c) Exports of Used Oil. A used oil transporter must maintain the records described in subsections (b)(1) through (b)(4) for each shipment of used oil exported to any foreign country.

d) Record Retention. The records described in subsections (a), (b), and (c) must be maintained for at least three years.

(Source: Amended at 43 Ill. Reg. 667, effective November 19, 2018)

**Section 739.147 Management of Residues**

Transporters who generate residues from the storage or transport of used oil must manage the residues as specified in Section 739.110(e).

(Source: Amended at 28 Ill. Reg. 10706, effective July 19, 2004)

SUBPART F: STANDARDS FOR USED OIL PROCESSORS

**Section** **739.150 Applicability**

a) The requirements of this Subpart F apply to owners and operators of facilities that process used oil. Processing means chemical or physical operations designed to produce from used oil, or to make used oil more amenable for production of, fuel oils, lubricants, or other used oil-derived products. Processing includes, but is not limited to the following: blending used oil with virgin petroleum products, blending used oils to meet the fuel specification, filtration, simple distillation, chemical or physical separation, and re-refining. The requirements of this Subpart F do not apply to the following:

1) A transporter that conducts incidental processing operations that occur during the normal course of transportation, as provided in Section 739.141; or

2) A burner that conducts incidental processing operations that occur during the normal course of used oil management prior to burning, as provided in Section 739.161(b).

b) Other Applicable Provisions. A used oil processor that conducts the following activities are also subject to the requirements of other applicable provisions of this Part, as indicated in subsections (b)(1) through (b)(5).

1) A processor that generates used oil must also comply with Subpart C;

2) A processor that transports used oil must also comply with Subpart E;

3) Except as provided in subsections (b)(3)(A) and (b)(3)(B), a processor that burns off-specification used oil for energy recovery must also comply with Subpart G. Processors burning used oil for energy recovery under the following conditions are not subject to Subpart G:

A) The used oil is burned in an on-site space heater that meets the requirements of Section 739.123; or

B) The used oil is burned for purposes of processing used oil, which is considered burning incidentally to used oil processing;

4) A processor that directs shipments of off-specification used oil from their facility to a used oil burner or first claim that used oil that is to be burned for energy recovery meets the used oil fuel specifications set forth in Section 739.111 must also comply with Subpart H; and

5) A processor that disposes of used oil also must comply with Subpart I.

(Source: Amended at 43 Ill. Reg. 667, effective November 19, 2018)

**Section 739.151 Notification**

a) Identification Numbers. A used oil processor or re-refiner that has not previously complied with the notification requirements of RCRA section 3010 must obtain a USEPA identification number pursuant to RCRA section 3010 and an Illinois special waste identification number.

b) Mechanics of Notification

1) A used oil processor or re-refiner that has not received a USEPA identification number may obtain one by notifying the Agency of its used oil activity by submitting either of the following:

A) A completed Notification of RCRA Subtitle C Activities (Site Identification Form) (USEPA Form 8700-12) to the Agency; or

BOARD NOTE: USEPA Form 8700-12 is available from the Agency, Bureau of Land (217-782-6762). It is also available on-line for download in PDF file format: www.epa.gov/‌hwgenerators/‌instructions-and-form-hazardous-waste-generators-transporters-and-treatment-storage-and.

B) A letter to the Agency requesting a USEPA identification number. The letter should include the following information:

i) The processor or re-refiner company name;

ii) The owner of the processor or re-refiner company;

iii) The mailing address for the processor or re-refiner;

iv) The name and telephone number for the processor or re-refiner point of contact;

v) The type of transport activity (i.e., transport only, transport and transfer facility, or transfer facility only);

vi) The location of all transfer facilities at which used oil is stored;

vii) The name and telephone number for a contact at each transfer facility.

2) A used oil processor or re-refiner that has not received an Illinois special waste identification number may obtain one by contacting the Agency at the following address: Division of Land Pollution Control, Illinois EPA, 1021 North Grand Avenue, Springfield, Illinois 62794-9276 (217-782-6761).

(Source: Amended at 43 Ill. Reg. 6101, May 2, 2019)

**Section** **739.152 General Facility Standards**

a) Preparedness and Prevention. An owner or operator of a used oil processing or re-refining facility must comply with the following requirements:

1) Maintenance and Operation of a Facility. All facilities must be maintained and operated to minimize the possibility of a fire, explosion, or any unplanned sudden or non-sudden release of used oil to air, soil, or surface water that could threaten human health or the environment.

2) Required Equipment. All facilities must be equipped with the following, unless none of the hazards posed by used oil handled at the facility could require a particular kind of equipment specified in this subsection (a)(2):

A) An internal communications or alarm system capable of providing immediate emergency instruction (voice or signal) to facility personnel;

B) A device, such as a telephone (immediately available at the scene of operations) or a hand-held two-way radio, capable of summoning emergency assistance from local police departments, fire departments, or State or local emergency response teams;

C) Portable fire extinguishers, fire control equipment (including special extinguishing equipment, such as that using foam, inert gas, or dry chemicals), spill control equipment, and decontamination equipment; and

D) Water at adequate volume and pressure to supply water hose streams, foam producing equipment, automatic sprinklers, or water spray systems.

3) Testing and Maintenance of Equipment. All facility communications or alarm systems, fire protection equipment, spill control equipment, and decontamination equipment, where required, must be tested and maintained as necessary to assure its proper operation in time of emergency.

4) Access to Communications or Alarm System

A) Whenever used oil is being poured, mixed, spread, or otherwise handled, all personnel involved in the operation must have immediate access to an internal alarm or emergency communication device, either directly or through visual or voice contact with another employee, unless such a device is not required in subsection (a)(2).

B) If there is ever just one employee on the premises while the facility is operating, the employee must have immediate access to a device, such as a telephone (immediately available at the scene of operation) or a hand-held two-way radio, capable of summoning external emergency assistance, unless such a device is not required in subsection (a)(2).

5) Required Aisle Space. The owner or operator must maintain aisle space to allow the unobstructed movement of personnel, fire protection equipment, spill control equipment, and decontamination equipment to any area of facility operation in an emergency, unless aisle space is not needed for any of these purposes.

6) Arrangements with Local Authorities

A) The owner or operator must attempt to make the following arrangements, as appropriate for the type of used oil handled at the facility and the potential need for the services of these organizations:

i) Arrangements to familiarize police, fire departments, and emergency response teams with the layout of the facility, properties of used oil handled at the facility and associated hazards, places where facility personnel would normally be working, entrances to roads inside the facility, and possible evacuation routes;

ii) If more than one police and fire department might respond to an emergency, agreements designating primary emergency authority to a specific police and a specific fire department, and agreements with any others to provide support to the primary emergency authority;

iii) Agreements with State emergency response teams, emergency response contractors, and equipment suppliers; and

iv) Arrangements to familiarize local hospitals with the properties of used oil handled at the facility and the types of injuries or illnesses that could result from fires, explosions, or releases at the facility.

B) Where State or local authorities decline to enter into such arrangements, the owner or operator must document the refusal in the operating record.

b) Contingency Plan and Emergency Procedures. An owner or operator of a used oil processing or re-refining facility must comply with the following requirements:

1) Purpose and Implementation of Contingency Plan

A) Each owner or operator must have a contingency plan for the facility. The contingency plan must be designed to minimize hazards to human health or the environment from fires, explosions, or any unplanned sudden or non-sudden release of used oil to air, soil, or surface water.

B) The provisions of the plan must be carried out immediately whenever there is a fire, explosion, or release of used oil that could threaten human health or the environment.

2) Content of Contingency Plan

A) The contingency plan must describe the actions facility personnel must take to comply with subsections (b)(1) and (b)(6) in response to fires, explosions, or any unplanned sudden or non-sudden release of used oil to air, soil, or surface water at the facility.

B) If the owner or operator has already prepared a Spill Prevention Control and Countermeasures (SPCC) Plan in accordance with federal 40 CFR 112 or some other emergency or contingency plan exists for the facility under federal, State, or local regulation (e.g., federal 40 CFR 300 or 40 CFR 280), the owner or operator need only amend that plan to incorporate used oil management provisions that are sufficient to comply with the requirements of this Part.

C) The plan must describe arrangements agreed to by local police departments, fire departments, hospitals, contractors, and State and local emergency response teams to coordinate emergency services, pursuant to subsection (a)(6).

D) The plan must list names, addresses, and phone numbers (office and home) of all persons qualified to act as emergency coordinator (see subsection (b)(5)), and this list must be kept up to date. Where more than one person is listed, one must be named as primary emergency coordinator and others must be listed in the order in which they will assume responsibility as alternates.

E) The plan must include a list of all emergency equipment at the facility (such as fire extinguishing systems, spill control equipment, communications and alarm systems (internal and external), and decontamination equipment), where this equipment is required. This list must be kept up to date. In addition, the plan must include the location and a physical description of each item on the list, and a brief outline of its capabilities.

F) The plan must include an evacuation plan for facility personnel where there is a possibility that evacuation could be necessary. This plan must describe signals to be used to begin evacuation, evacuation routes, and alternate evacuation routes (in cases where the primary routes could be blocked by releases of used oil or fires).

3) Copies of Contingency Plan. Copies of the contingency plan and all revisions to the plan must be disposed of as follows:

A) Maintained at the facility; and

B) Submitted to all local police departments, fire departments, hospitals, and State and local emergency response teams that may be called upon to provide emergency services.

4) Amendment of Contingency Plan. The contingency plan must be reviewed, and immediately amended, if necessary, whenever one of the following occurs:

A) Applicable regulations are revised;

B) The plan fails in an emergency;

C) The facility changes—in its design, construction, operation, maintenance, or other circumstances—in a way that materially increases the potential for fires, explosions, or releases of used oil, or changes the response necessary in an emergency;

D) The list of emergency coordinators changes; or

E) The list of emergency equipment changes.

5) Emergency Coordinator. At all times, there must be at least one employee either on the facility premises or on call (i.e., available to respond to an emergency by reaching the facility within a short period of time) with the responsibility for coordinating all emergency response measures. This emergency coordinator must be thoroughly familiar with all aspects of the facility’s contingency plan, all operations and activities at the facility, the location and characteristic of used oil handled, the location of all records within the facility, and facility layout. In addition, this person must have the authority to commit the resources needed to carry out the contingency plan.

BOARD NOTE: USEPA cited the following as guidance: “The emergency coordinator’s responsibilities are more fully spelled out in paragraph (b)(6) of this section. Applicable responsibilities for the emergency coordinator vary, depending on factors such as type and variety of used oil handled by the facility, and type and complexity of the facility” in the note appended to corresponding 40 CFR 279.52(b)(5).

6) Emergency Procedures

A) Whenever there is an imminent or actual emergency situation, the emergency coordinator (or the designee when the emergency coordinator is on call) must immediately do the following:

i) Activate internal facility alarms or communication systems, where applicable, to notify all facility personnel; and

ii) Notify appropriate State or local agencies with designated response roles if their help is needed.

B) Whenever there is a release, fire, or explosion, the emergency coordinator must immediately identify the character, exact source, amount, and areal extent of any released materials. He or she may do this by observation or review of facility records or manifests and, if necessary, by chemical analyses.

C) Concurrently, the emergency coordinator must assess possible hazards to human health or the environment that may result from the release, fire, or explosion. This assessment must consider both direct and indirect effects of the release, fire, or explosion (e.g., the effects of any toxic, irritating, or asphyxiating gases that are generated, or the effects of any hazardous surface water run-offs from water or chemical agents used to control fire and heat-induced explosions).

D) If the emergency coordinator determines that the facility has had a release, fire, or explosion that could threaten human health, or the environment, outside the facility, he or she must report his findings as follows:

i) If his assessment indicated that evacuation of local areas may be advisable, he or she must immediately notify appropriate local authorities. He or she must be available to help appropriate officials decide whether local areas should be evacuated; and

ii) He must immediately notify either the government official designated as the on-scene coordinator for the geographical area (in the applicable regional contingency plan under federal 40 CFR 300), or the National Response Center (using their 24-hour toll free number (800) 424-8802). The report must include the following information: name and telephone number of reporter; name and address of facility; time and type of incident (e.g., release, fire); name and quantity of materials involved, to the extent known; the extent of injuries, if any; and the possible hazards to human health, or the environment, outside the facility.

E) During an emergency, the emergency coordinator must take all reasonable measures necessary to ensure that fires, explosions, and releases do not occur, recur, or spread to other used oil or hazardous waste at the facility. These measures must include, where applicable, stopping processes and operation, collecting and containing released used oil, and removing or isolating containers.

F) If the facility stops operation in response to a fire, explosion, or release, the emergency coordinator must monitor for leaks, pressure buildup, gas generation, or ruptures in valves, pipes, or other equipment, wherever this is appropriate.

G) Immediately after an emergency, the emergency coordinator must provide for recycling, storing, or disposing of recovered used oil, contaminated soil or surface water, or any other material that results from a release, fire, or explosion at the facility.

H) The emergency coordinator must ensure that the following occur, in the affected areas of the facility:

i) No waste or used oil that may be incompatible with the released material is recycled, treated, stored, or disposed of until cleanup procedures are completed;

ii) All emergency equipment listed in the contingency plan is cleaned and fit for its intended use before operations are resumed; and

iii) The owner or operator must notify the Agency and all other appropriate State and local authorities that the facility is in compliance with subsections (b)(6)(H)(i) and (b)(6)(H)(ii) before operations are resumed in the affected areas of the facility.

I) The owner or operator must note in the operating record the time, date, and details of any incident that requires implementing the contingency plan. Within 15 days after the incident, it must submit a written report on the incident to USEPA Region 5. The report must include the following:

i) The name, address, and telephone number of the owner or operator;

ii) The name, address, and telephone number of the facility;

iii) The date, time, and type of incident (e.g., fire, explosion);

iv) The name and quantity of materials involved;

v) The extent of injuries, if any;

vi) An assessment of actual or potential hazards to human health or the environment, where this is applicable; and

vii) The estimated quantity and disposition of recovered material that resulted from the incident.

(Source: Amended at 43 Ill. Reg. 667, effective November 19, 2018)

**Section 739.153 Rebuttable Presumption for Used Oil**

a) To ensure that used oil is not a hazardous waste under the rebuttable presumption of Section 739.110(b)(1)(ii), the owner or operator of a used oil processing facility must determine whether the total halogen content of used oil managed at the facility is above or below 1,000 ppm.

b) The owner or operator must make this determination by the following means:

1) Testing the used oil; or

2) Applying knowledge of the halogen content of the used oil in light of the materials or processes used.

c) If the used oil contains greater than or equal to 1,000 ppm total halogens, it is presumed to be a hazardous waste because it has been mixed with halogenated hazardous waste listed in Subpart D of 35 Ill. Adm. Code 721. The owner or operator may rebut the presumption by demonstrating that the used oil does not contain hazardous waste (for example, by showing that the used oil does not contain significant concentrations of halogenated hazardous constituents listed in Appendix H of 35 Ill. Adm. Code 721).

1) The rebuttable presumption does not apply to metalworking oils and fluids containing chlorinated paraffins, if they are processed, through a tolling arrangement as described in Section 739.124(c), to reclaim metalworking oils and fluids. The presumption does apply to metalworking oils and fluids if such oils and fluids are recycled in any other manner, or disposed.

2) The rebuttable presumption does not apply to used oils contaminated with chlorofluorocarbons (CFCs) removed from refrigeration units if the CFC are destined for reclamation. The rebuttable presumption does apply to used oils contaminated with CFCs that have been mixed with used oil from sources other than refrigeration units.

(Source: Amended at 30 Ill. Reg. 4094, effective February 23, 2006)

**Section** **739.154 Used Oil Management**

A used oil processor is subject to all applicable Spill Prevention, Control and Countermeasures (40 CFR 112) in addition to the requirements of this Subpart F. A used oil processor or re-refiner is also subject to the Underground Storage Tank (35 Ill. Adm. Code 731) standards for used oil stored in underground tanks whether or not the used oil exhibits any characteristics of hazardous waste, in addition to the requirements of this Subpart F.

a) Management Units. A used oil processor may not store used oil in units other than tanks, containers, or units subject to regulation under 35 Ill. Adm. Code 724 or 725.

b) Condition of Units. The following must be true of containers and aboveground tanks used to store or process used oil at a processing facility:

1) The containers must be in good condition (no severe rusting, apparent structural defects or deterioration); and

2) The containers may not be leaking (no visible leaks).

c) Secondary Containment for Containers. Containers used to store or process used oil at processing and re-refining facilities must be equipped with a secondary containment system.

1) The secondary containment system must consist of the following, at a minimum:

A) Both of the following:

i) Dikes, berms, or retaining walls; and

ii) A floor. The floor must cover the entire area within the dike, berm, or retaining wall; or

B) An equivalent secondary containment system.

2) The entire containment system, including walls and floor, must be sufficiently impervious to used oil to prevent any used oil released into the containment system from migrating out of the system to the soil, groundwater, or surface water.

d) Secondary Containment for Existing Aboveground Tanks. Existing aboveground tanks used to store or process used oil at processing and re-refining facilities must be equipped with a secondary containment system.

1) The secondary containment system must consist of the following, at a minimum:

A) Both of the following:

i) Dikes, berms, or retaining walls; and

ii) A floor. The floor must cover the entire area within the dike, berm, or retaining wall except areas where existing portions of the tank meet the ground; or

B) An equivalent secondary containment system.

2) The entire containment system, including walls and floor, must be sufficiently impervious to used oil to prevent any used oil released into the containment system from migrating out of the system to the soil, groundwater, or surface water.

e) Secondary Containment for New Aboveground Tanks. New aboveground tanks used to store or process used oil at processing and re-refining facilities must be equipped with a secondary containment system.

1) The secondary containment system must consist of the following, at a minimum:

A) Both of the following:

i) Dikes, berms, or retaining walls; and

ii) A floor. The floor must cover the entire area within the dike, berm, or retaining wall; or

B) An equivalent secondary containment system.

2) The entire containment system, including walls and floor, must be sufficiently impervious to used oil to prevent any used oil released into the containment system from migrating out of the system to the soil, groundwater, or surface water.

f) Labels

1) Containers and aboveground tanks used to store used oil at processing facilities must be labeled or marked clearly with the words “Used Oil”.

2) Fill pipes used to transfer used oil into underground storage tanks at processing facilities must be labeled or marked clearly with the words “Used Oil”.

g) Response to Releases. Upon detection of a release of used oil to the environment that is not subject to the federal requirements of subpart F of 40 CFR 280 and which has occurred after October 4, 1996, a processor must perform the following cleanup steps:

BOARD NOTE: Corresponding 40 CFR 279.54(g) applies to releases that “occurred after the effective date of the authorized used oil program for the State in which the release is located”. The Board adopted the used oil standards in docket R93-4 at 17 Ill. Reg. 20954, effective November 22, 1993. USEPA approved the Illinois standards at 61 Fed. Reg. 40521 (Aug. 5, 1996), effective October 4, 1996. The Board has interpreted “the effective date of the authorized used oil program” to mean the October 4, 1996 date of federal authorization of the Illinois program, and we substituted that date for the federal effective date language. Had USEPA written something like “the effective date of the used oil program in the authorized State in which the release is located”, the Board would have used the November 22, 1993 effective date of the Illinois used oil standards.

1) Stop the release;

2) Contain the released used oil;

3) properly clean up and manage the released used oil and other materials; and

4) If necessary, repair or replace any leaking used oil storage containers or tanks prior to returning them to service.

h) Closure

1) Aboveground Tanks. An owner or operator that stores or processes used oil in aboveground tanks must comply with the following requirements:

A) At closure of a tank system, the owner or operator must remove or decontaminate used oil residues in tanks, contaminated containment system components, contaminated soils, and structures and equipment contaminated with used oil, and manage them as hazardous waste, unless the materials are not hazardous waste under this chapter.

B) If the owner or operator demonstrates that not all contaminated soils can be practicably removed or decontaminated as required in subsection (h)(1)(A), then the owner or operator must close the tank system and perform post-closure care in accordance with the closure and post-closure care requirements that apply to hazardous waste landfills (35 Ill. Adm. Code 725.410).

2) Containers. An owner or operator that stores used oil in containers must comply with the following requirements:

A) At closure, containers holding used oils or residues of used oil must be removed from the site;

B) The owner or operator must remove or decontaminate used oil residues, contaminated containment system components, contaminated soils, and structures and equipment contaminated with used oil, and manage them as hazardous waste, unless the materials are not hazardous waste 35 Ill. Adm. Code 721.

(Source: Amended at 43 Ill. Reg. 667, effective November 19, 2018)

**Section 739.155 Analysis Plan**

An owner or operator of a used oil processing or re-refining facility must develop and follow a written analysis plan describing the procedures that will be used to comply with the analysis requirements of Section 739.153 and, if applicable, Section 739.172. The owner or operator must keep the plan at the facility.

a) Rebuttable presumption for used oil in Section 739.153. At a minimum, the plan must specify the following:

1) Whether sample analyses or knowledge of the halogen content of the used oil will be used to make this determination;

2) If sample analyses are used to make this determination, the following requirements must be fulfilled:

A) The sampling method used to obtain representative samples to be analyzed. A representative sample may be obtained using either of the following:

i) One of the sampling methods in Appendix I of 35 Ill. Adm. Code 721; or

ii) A method shown to be equivalent under 35 Ill. Adm. Code 720.120 and 720.121;

B) The frequency of sampling to be performed, and whether the analysis will be performed on-site or off-site; and

C) The methods used to analyze used oil for the parameters specified in Section 739.153; and

3) The type of information that will be used to determine the halogen content of the used oil.

b) On-specification used oil fuel in Section 739.172. At a minimum, the plan must specify the following if Section 739.172 is applicable:

1) Whether sample analyses or other information will be used to make this determination;

2) If sample analyses are used to make this determination, the following must be specified:

A) The sampling method used to obtain representative samples to be analyzed. A representative sample may be obtained using either of the following:

i) One of the sampling methods in Appendix I of 35 Ill. Adm. Code 721; or

ii) A method shown to be equivalent under 35 Ill. Adm. Code 720.120 and 720.121;

B) Whether used oil will be sampled and analyzed prior to or after any processing;

C) The frequency of sampling to be performed, and whether the analysis will be performed on-site or off-site; and

D) The methods used to analyze used oil for the parameters specified in Section 739.172; and

3) The type of information that will be used to make the on-specification used oil fuel determination.

(Source: Amended at 32 Ill. Reg. 13047, effective July 14, 2008)

**Section** **739.156 Tracking**

a) Acceptance. A used oil processor must keep a record of each used oil shipment accepted for processing. These records may take the form of a log, invoice, manifest, bill of lading or other shipping documents. Records for each shipment must include the following information:

1) The name and address of the transporter that delivered the used oil to the processor;

2) The name and address of the generator or processor from whom the used oil was sent for processing;

3) The USEPA identification number and Illinois special waste identification number of the transporter that delivered the used oil to the processor;

4) The USEPA identification number and Illinois special waste identification number (if applicable) of the generator or processor from whom the used oil was sent for processing;

5) The quantity of used oil accepted;

6) The date of acceptance; and

7) If the transporter has accepted any shipment of mixtures of used oil and materials identified in 35 Ill. Adm. Code 808.121(b)(6), the following:

A) Information stating when and where the special waste was generated;

B) The classification and quantity of the special waste delivered to the transporter;

C) Any special handling instructions pertinent to emergency personnel in the event of an accident; and

D) A generator’s certification as follows: “I hereby declare that the contents of this consignment are fully and accurately described above by the proper shipping name, and are classified, packaged, marked and labeled/placarded, and are in all respects in proper condition for transport according to applicable international and national governmental regulations. If export shipment and I am the Primary Exporter, I certify that the contents of this consignment conform to the terms of the attached EPA Acknowledgement of Consent. I certify that the waste minimization statement identified in 40 CFR 262.27(a) (if I am a large quantity generator) or (b) (if I am a small quantity generator) is true.”

b) Deliveries. A used oil processor must keep a record of each shipment of used oil that is delivered to another used oil burner, processor, or disposal facility. These records may take the form of a log, invoice, manifest, bill of lading or other shipping documents. Records of each delivery must include the following information:

1) The name and address of the transporter that delivers the used oil to the burner, processor, or disposal facility;

2) The name and address of the burner, processor, or disposal facility that will receive the used oil;

3) The USEPA identification number and Illinois special waste identification number of the transporter that delivers the used oil to the burner, processor or disposal facility;

4) The USEPA identification number and Illinois special waste identification number of the burner, processor, or disposal facility that will receive the used oil;

5) The quantity of used oil shipped;

6) The date of shipment; and

7) If the transporter has accepted any shipment of mixtures of used oil and materials identified in 35 Ill. Adm. Code 808.121(b)(6), the following:

A) Information stating when and where the special waste was generated;

B) The classification and quantity of the special waste delivered to the transporter;

C) Any special handling instructions pertinent to emergency personnel in the event of an accident; and

D) A generator’s certification as follows: “I hereby declare that the contents of this consignment are fully and accurately described above by the proper shipping name, and are classified, packaged, marked and labeled/placarded, and are in all respects in proper condition for transport according to applicable international and national governmental regulations. If export shipment and I am the Primary Exporter, I certify that the contents of this consignment conform to the terms of the attached EPA Acknowledgement of Consent. I certify that the waste minimization statement identified in 40 CFR 262.27(a) (if I am a large quantity generator) or (b) (if I am a small quantity generator) is true.”

c) Record Retention. The records described in subsections (a) and (b) must be maintained for at least three years.

(Source: Amended at 43 Ill. Reg. 667, effective November 19, 2018)

**Section 739.157 Operating Record and Reporting**

a) Operating record.

1) The owner or operator must keep a written operating record at the facility.

2) The following information must be recorded, as it becomes available, and maintained in the operating record until closure of the facility;

A) Records and results of used oil analyses performed as described in the analysis plan required under Section 739.155; and

B) Summary reports and details of all incidents that require implementation of the contingency plan, as specified in Section 739.152(b).

b) Reporting. A used oil processor must report to USEPA Region 5, in the form of a letter, on a biennial basis (by March 1 of each even numbered year), the following information concerning used oil activities during the previous calendar year;

1) The USEPA identification number and Illinois special waste identification number, name, and address of the processor;

2) The calendar year covered by the report; and

3) The quantities of used oil accepted for processing and the manner in which the used oil is processed, including the specific processes employed.

(Source: Amended at 28 Ill. Reg. 10706, effective July 19, 2004)

**Section 739.158 Off-Site Shipments of Used Oil**

A used oil processor that initiates a shipment of used oil off-site must ship the used oil using a used oil transporter that has obtained a USEPA identification number and Illinois special waste identification number.

(Source: Amended at 28 Ill. Reg. 10706, effective July 19, 2004)

**Section 739.159 Management of Residues**

An owner or operator that generates residues from the storage, processing, or re-refining of used oil must manage the residues as specified in Section 739.110(e).

(Source: Amended at 32 Ill. Reg. 13047, effective July 14, 2008)

SUBPART G: STANDARDS FOR USED OIL BURNERS THAT BURN OFF-SPECIFICATION USED OIL FOR ENERGY RECOVERY

**Section** **739.160 Applicability**

a) General. The requirements of this Subpart G apply to used oil burners except as specified in subsections (a)(1) and (a)(2). A used oil burner is a facility where used oil not meeting the specification requirements in Section 739.111 is burned for energy recovery in devices identified in Section 739.161(a). Facilities burning used oil for energy recovery under the following conditions are not subject to this Subpart G:

1) The used oil is burned by the generator in an on-site space heater under the provisions of Section 739.123; or

2) The used oil is burned by a processor for purposes of processing used oil, which is considered burning incidentally to used oil processing.

b) Other Applicable Provisions. A used oil burner that conducts the following activities is also subject to the indicated provisions of this Part:

1) A burner that generates used oil must also comply with Subpart C;

2) A burner that transports used oil must also comply with Subpart E;

3) Except as provided in Section 739.161(b), a burner that processes or re-refines used oil must also comply with Subpart F;

4) A burner that directs shipments of off-specification used oil from their facility to a used oil burner or first claim that used oil that is to be burned for energy recovery meets the used oil fuel specifications set forth in Section 739.111 must also comply with Subpart H; and

5) A burner that disposes of used oil must comply with Subpart I.

c) Specification Fuel. This Subpart G does not apply to a person burning used oil that meets the used oil fuel specification of Section 739.111, provided that the burner complies with the requirements of Subpart H.

(Source: Amended at 43 Ill. Reg. 667, effective November 19, 2018)

**Section** **739.161 Restriction on Burning**

a) Off-specification used oil fuel may only be burned for energy recovery in the following devices:

1) Industrial furnaces identified in 35 Ill. Adm. Code 720.110;

2) Boilers, as defined in 35 Ill. Adm. Code 720.110, that are identified as follows:

A) Industrial boilers located on the site of a facility engaged in a manufacturing process where substances are transformed into new products, including the component parts of products, by mechanical or chemical processes;

B) Utility boilers used to produce electric power, steam, heated or cooled air, or other gases or fluids for sale; or

C) Used oil-fired space heaters provided that the burner meets the provisions of Section 739.123; or

3) Hazardous waste incinerators subject to regulation under Subpart O of 35 Ill. Adm. Code 724 or 725.

b) Restrictions

1) With the following exception, a used oil burner may not process used oil unless it also complies with the requirements of Subpart F.

2) A used oil burner may aggregate off-specification used oil with virgin oil or on-specification used oil for purposes of burning, but may not aggregate for purposes of producing on-specification used oil.

(Source: Amended at 43 Ill. Reg. 667, effective November 19, 2018)

**Section 739.162 Notification**

a) Identification Numbers. A used oil burner that has not previously complied with the notification requirements of RCRA section 3010 must comply with these requirements and obtain a USEPA identification number pursuant to RCRA section 3010 and an Illinois special waste identification number.

b) Mechanics of Notification. A used oil burner that has not received a USEPA identification number may obtain one by notifying the Agency of its used oil activity by submitting either of the following:

1) A completed Notification of RCRA Subtitle C Activities (Site Identification Form) (USEPA Form 8700-12) to the Agency; or

BOARD NOTE: USEPA Form 8700-12 is available from the Agency, Bureau of Land (217-782-6762). It is also available on-line for download in PDF file format: www.epa.gov/hwgenerators/instructions-and-form-hazardous-waste-generators-transporters-and-treatment-storage-and.

2) A letter to the Agency requesting a USEPA identification number. The letter should include the following information:

A) The burner company name;

B) The owner of the burner company;

C) The mailing address for the burner;

D) The name and telephone number for the burner point of contact;

E) The type of used oil activity; and

F) The location of the burner facility.

c) A used oil burner that has not previously obtained an Illinois special waste identification number may obtain one by contacting the Agency at the following address: Division of Land Pollution Control, Illinois EPA, 1021 North Grand Avenue, Springfield, Illinois 62794-9276 (217-782-6761).

(Source: Amended at 43 Ill. Reg. 6101, May 2, 2019)

**Section** **739.163 Rebuttable Presumption for Used Oil**

a) To ensure that used oil managed at a used oil burner facility is not hazardous waste under the rebuttable presumption of Section 739.110(b)(1)(ii), a used oil burner must determine whether the total halogen content of used oil managed at the facility is above or below 1,000 ppm.

b) The used oil burner must determine if the used oil contains above or below 1,000 ppm total halogens by the following means:

1) Testing the used oil;

2) Applying knowledge of the halogen content of the used oil in light of the materials or processes used; or

3) If the used oil has been received from a processor subject to regulation under Subpart F, using information provided by the processor.

c) If the used oil contains greater than or equal to 1,000 ppm total halogens, it is presumed to be a hazardous waste because it has been mixed with halogenated hazardous waste listed in Subpart D of 35 Ill. Adm. Code 721. The owner or operator may rebut the presumption by demonstrating that the used oil does not contain hazardous waste (for example, by showing that the used oil does not contain significant concentrations of halogenated hazardous constituents listed in Appendix H of 35 Ill. Adm. Code 721).

1) The rebuttable presumption does not apply to metalworking oils or fluids containing chlorinated paraffins, if they are processed, through a tolling arrangement as described in Section 739.124(c), to reclaim metalworking oils or fluids. The presumption does apply to metalworking oils or fluids if such oils and fluids are recycled in any other manner, or disposed.

2) The rebuttable presumption does not apply to used oils contaminated with chlorofluorocarbons (CFCs) removed from refrigeration units where the CFCs are destined for reclamation. The rebuttable presumption does apply to used oils contaminated with CFCs that have been mixed with used oil from sources other than refrigeration units.

d) Record Retention. Records of analyses conducted or information used to comply with subsections (a), (b), and (c) must be maintained by the burner for at least three years.

(Source: Amended at 43 Ill. Reg. 667, effective November 19, 2018)

**Section** **739.164 Used Oil Storage**

A used oil burner is subject to all applicable Spill Prevention, Control and Countermeasures (federal 40 CFR 112) in addition to the requirements of this Subpart G. A used oil burner is also subject to the Underground Storage Tank (35 Ill. Adm. Code 731) standards for used oil stored in underground tanks whether or not the used oil exhibits any characteristics of hazardous waste, in addition to the requirements of this Subpart G.

a) Storage Units. A used oil burner may not store used oil in units other than tanks, containers, or units subject to regulation under 35 Ill. Adm. Code 724 or 725.

b) Condition of Units. The following must be true of containers and aboveground tanks used to store used oil at a burner facility:

1) The containers must be in good condition (no severe rusting, apparent structural defects or deterioration); and

2) The containers may not be leaking (no visible leaks).

c) Secondary Containment for Containers. Containers used to store used oil at a burner facility must be equipped with a secondary containment system.

1) The secondary containment system must consist of the following, at a minimum:

A) Dikes, berms, or retaining walls; and

B) A floor. The floor must cover the entire area within the dike, berm, or retaining wall.

2) The entire containment system, including walls and floor, must be sufficiently impervious to used oil to prevent any used oil released into the containment system from migrating out of the system to the soil, groundwater, or surface water.

d) Secondary Containment for Existing Aboveground Tanks. Existing aboveground tanks used to store used oil at burner facilities must be equipped with a secondary containment system.

1) The secondary containment system must consist of the following, at a minimum:

A) Both of the following:

i) Dikes, berms, or retaining walls; and

ii) A floor. The floor must cover the entire area within the dike, berm, or retaining wall except areas where existing portions of the tank meet the ground; or

B) An equivalent secondary containment system.

2) The entire containment system, including walls and floor, must be sufficiently impervious to used oil to prevent any used oil released into the containment system from migrating out of the system to the soil, groundwater, or surface water.

e) Secondary Containment for New Aboveground Tanks. A new aboveground tank used to store used oil at burner facilities must be equipped with a secondary containment system.

1) The secondary containment system must consist of the following, at a minimum:

A) Both of the following:

i) Dikes, berms, or retaining walls; and

ii) A floor. The floor must cover the entire area within the dike, berm, or retaining wall; or

B) An equivalent secondary containment system.

2) The entire containment system, including walls and floor, must be sufficiently impervious to used oil to prevent any used oil released into the containment system from migrating out of the system to the soil, groundwater, or surface water.

f) Labels

1) A container or aboveground tank used to store used oil at a burner facility must be labeled or marked clearly with the words “Used Oil”.

2) Fill pipes used to transfer used oil into underground storage tanks at burner facilities must be labeled or marked clearly with the words “Used Oil”.

g) Response to Releases. Upon detection of a release of used oil to the environment that is not subject to the federal requirements of subpart F of 40 CFR 280 and which has occurred after October 4, 1996, a burner must perform the following cleanup steps:

BOARD NOTE: Corresponding 40 CFR 279.64(g) applies to releases that “occurred after the effective date of the authorized used oil program for the State in which the release is located”. The Board adopted the used oil standards in docket R93-4 at 17 Ill. Reg. 20954, effective November 22, 1993. USEPA approved the Illinois standards at 61 Fed. Reg. 40521 (Aug. 5, 1996), effective October 4, 1996. The Board has interpreted “the effective date of the authorized used oil program” to mean the October 4, 1996 date of federal authorization of the Illinois program, and we substituted that date for the federal effective date language. Had USEPA written something like “the effective date of the used oil program in the authorized State in which the release is located”, the Board would have used the November 22, 1993 effective date of the Illinois used oil standards.

1) Stop the release;

2) Contain the released used oil;

3) properly clean up and manage the released used oil and other materials; and

4) If necessary, repair or replace any leaking used oil storage containers or tanks prior to returning them to service.

(Source: Amended at 43 Ill. Reg. 667, effective November 19, 2018)

**Section** **739.165 Tracking**

a) Acceptance. A used oil burner must keep a record of each used oil shipment accepted for burning. These records may take the form of a log, invoice, manifest, bill of lading, or other shipping documents. Records for each shipment must include the following information:

1) The name and address of the transporter that delivered the used oil to the burner;

2) The name and address of the generator or processor from whom the used oil was sent to the burner;

3) The USEPA identification number and Illinois special waste identification number of the transporter that delivered the used oil to the burner;

4) The USEPA identification number and Illinois special waste identification number (if applicable) of the generator or processor from whom the used oil was sent to the burner;

5) The quantity of used oil accepted;

6) The date of acceptance; and

7) If the transporter has accepted any shipment of mixtures of used oil and materials identified in 35 Ill. Adm. Code 808.121(b)(5) or (b)(6), the following:

A) Information stating when and where the special waste was generated;

B) The classification and quantity of the special waste delivered to the transporter;

C) Any special handling instructions pertinent to emergency personnel in the event of an accident; and

D) A generator’s certification as follows: “I hereby declare that the contents of this consignment are fully and accurately described above by the proper shipping name, and are classified, packaged, marked and labeled/placarded, and are in all respects in proper condition for transport according to applicable international and national governmental regulations. If export shipment and I am the Primary Exporter, I certify that the contents of this consignment conform to the terms of the attached EPA Acknowledgement of Consent. I certify that the waste minimization statement identified in 40 CFR 262.27(a) (if I am a large quantity generator) or (b) (if I am a small quantity generator) is true.”

b) Record Retention. The records described in subsection (a) must be maintained for at least three years.

(Source: Amended at 43 Ill. Reg. 667, effective November 19, 2018)

**Section** **739.166 Notices**

a) Certification. Before a burner accepts the first shipment of off-specification used oil fuel from a generator, transporter, or processor, the burner must provide to the generator, transporter, or processor a one-time written and signed notice certifying the following:

1) That the burner has notified USEPA stating the location and general description of his used oil management activities; and

2) That the burner will burn the used oil only in an industrial furnace or boiler identified in Section 739.161(a).

b) Certification Retention. The certification described in subsection (a) must be maintained for three years from the date the burner last receives shipment of off-specification used oil from that generator, transporter, or processor.

(Source: Amended at 43 Ill. Reg. 667, effective November 19, 2018)

**Section 739.167 Management of Residues**

A burner that generates residues from the storage or burning of used oil must manage the residues as specified in Section 739.110(e).

(Source: Amended at 28 Ill. Reg. 10706, effective July 19, 2004)

SUBPART H: STANDARDS FOR USED OIL FUEL MARKETERS

**Section** **739.170 Applicability**

a) Any person that conducts either of the following activities is subject to the requirements of this Subpart H:

1) Directs a shipment of off-specification used oil from their facility to a used oil burner; or

2) First claims that used oil that is to be burned for energy recovery meets the used oil fuel specifications set forth in Section 739.111.

b) The following persons are not marketers subject to this Subpart H:

1) A used oil generator, or a transporter that transports used oil received only from generators, unless the generator or transporter directs a shipment of off-specification used oil from its facility to a used oil burner. However, a processor that burns some used oil fuel for purposes of processing is considered to be burning incidentally to processing. Thus, generator or transporter that directs shipments of off-specification used oil to a processor that incidentally burns used oil is not a marketer subject to this Subpart H;

2) A person that directs shipments of on-specification used oil and which is not the first person to claim the oil meets the used oil fuel specifications of Section 739.111.

c) Any person subject to the requirements of this Subpart H must also comply with one of the following:

1) Subpart C—Standards for Used Oil Generators;

2) Subpart E—Standards for Used Oil Transporters and Transfer Facilities;

3) Subpart F—Standards for Used Oil Processors and Re-refiners; or

4) Subpart G—Standards for Used Oil Burners that Burn Off-Specification Used Oil for Energy Recovery.

(Source: Amended at 43 Ill. Reg. 667, effective November 19, 2018)

**Section 739.171 Prohibitions**

A used oil fuel marketer may initiate a shipment of off-specification used oil only to a used oil burner that fulfills the following conditions:

a) Has a USEPA identification number and Illinois special waste identification number; and

b) Burns the used oil in an industrial furnace or boiler identified in Section 739.161(a).

(Source: Amended at 28 Ill. Reg. 10706, effective July 19, 2004)

**Section 739.172 On-Specification Used Oil Fuel**

a) Analysis of used oil fuel. A generator, transporter, processor, or burner may determine that used oil that is to be burned for energy recovery meets the fuel specifications of Section 739.111 by performing analyses or obtaining copies of analyses or other information documenting that the used oil fuel meets the specifications.

b) Record retention. A generator, transporter, processor, or burner that first claims that used oil that is to be burned for energy recovery meets the specifications for used oil fuel under this Part must keep copies of analyses of the used oil (or other information used to make the determination) for three years.

(Source: Amended at 28 Ill. Reg. 10706, effective July 19, 2004)

**Section 739.173 Notification**

a) A used oil fuel marketer subject to the requirements of this Section that has not previously complied with the notification requirements of RCRA section 3010 must comply with these requirements and obtain a USEPA identification number pursuant to RCRA section 3010 and an Illinois special waste identification number.

b) A used oil marketer that has not received a USEPA identification number may obtain one by notifying the USEPA Region 5 of its used oil activity by submitting either of the following:

1) A completed Notification of RCRA Subtitle C Activities (Site Identification Form) (USEPA Form 8700-12) to the Agency; or

BOARD NOTE: USEPA Form 8700-12 is available from the Agency, Bureau of Land (217-782-6762). It is also available on-line for download in PDF file format: www.epa.gov/hwgenerators/instructions-and-form-hazardous-waste-generators-transporters-and-treatment-storage-and.

2) A letter to the Agency requesting a USEPA identification number. The letter should include the following information:

A) The marketer company name;

B) The owner of the marketer;

C) The mailing address for the marketer;

D) The name and telephone number for the marketer point of contact; and

E) The type of used oil activity (i.e., generator directing shipments of off-specification used oil to a burner).

c) A used oil burner that has not previously obtained an Illinois special waste identification number may obtain one by contacting the Agency at the following address: Division of Land Pollution Control, Illinois EPA, 1021 North Grand Avenue, Springfield, Illinois 62794-9276 (217-782-6761).

(Source: Amended at 43 Ill. Reg. 6101, May 2, 2019)

**Section** **739.174 Tracking**

a) Off-Specification Used Oil Delivery. Any used oil fuel marketer that directs a shipment of off-specification used oil to a burner must keep a record of each shipment of used oil to a used oil burner. These records may take the form of a log, invoice, manifest, bill of lading or other shipping documents. Records for each shipment must include the following information:

1) The name and address of the transporter that delivers the used oil to the burner;

2) The name and address of the burner that will receive the used oil;

3) The USEPA identification number and Illinois special waste identification number of the transporter that delivers the used oil to the burner;

4) The USEPA identification number and Illinois special waste identification number of the burner;

5) The quantity of used oil shipped;

6) The date of shipment; and

7) If the transporter has accepted any shipment of mixtures of used oil and materials identified in 35 Ill. Adm. Code 808.121(b)(5) or (b)(6), the following:

A) Information stating when and where the special waste was generated;

B) The classification and quantity of the special waste delivered to the transporter;

C) Any special handling instructions pertinent to emergency personnel in the event of an accident; and

D) A generator’s certification as follows: “I hereby declare that the contents of this consignment are fully and accurately described above by the proper shipping name, and are classified, packaged, marked and labeled/placarded, and are in all respects in proper condition for transport according to applicable international and national governmental regulations. If export shipment and I am the Primary Exporter, I certify that the contents of this consignment conform to the terms of the attached EPA Acknowledgement of Consent. I certify that the waste minimization statement identified in 40 CFR 262.27(a) (if I am a large quantity generator) or (b) (if I am a small quantity generator) is true.”

b) On-Specification Used Oil Delivery. A generator, transporter, processor or re-refiner, or burner that first claims that used oil that is to be burned for energy recovery meets the fuel specifications under Section 739.111 must keep a record of each shipment of used oil to the facility to which it delivers the used oil. Records for each shipment must include the following information:

1) The name and address of the facility receiving the shipment;

2) The quantity of used oil fuel delivered;

3) The date of shipment or delivery; and

4) A cross-reference to the record of used oil analysis or other information used to make the determination that the oil meets the specification as required under Section 739.172(a).

c) Record Retention. The records described in subsections (a) and (b) must be maintained for at least three years.

(Source: Amended at 43 Ill. Reg. 667, effective November 19, 2018)

**Section** **739.175 Notices**

a) Certification. Before a used oil generator, transporter, or processor directs the first shipment of off-specification used oil fuel to a burner, it must obtain a one-time written and signed notice from the burner certifying the following:

1) That the burner has notified USEPA stating the location and general description of used oil management activities; and

2) That the burner will burn the off-specification used oil only in an industrial furnace or boiler identified in Section 739.161(a).

b) Certification Retention. The certification described in subsection (a) must be maintained for three years from the date the last shipment of off-specification used oil is shipped to the burner.

(Source: Amended at 43 Ill. Reg. 667, effective November 19, 2018)

SUBPART I: DISPOSAL OF USED OIL

**Section 739.180 Applicability**

The requirements of this Subpart I apply to all used oils that cannot be recycled and are therefore being disposed of.

(Source: Amended at 30 Ill. Reg. 4094, effective February 23, 2006)

**Section 739.181 Disposal**

a) Disposal of hazardous used oils. A used oil that is identified as a hazardous waste and which cannot be recycled in accordance with this Part must be managed in accordance with the hazardous waste management requirements of 35 Ill. Adm. Code 702, 703, and 720 through 728.

b) Disposal of non-hazardous used oils. A used oil that is not a hazardous waste and cannot be recycled under this Part must be disposed of in accordance with the requirements of 35 Ill. Adm. Code 807 through 815 and 40 CFR 257 and 258, incorporated by reference in 35 Ill. Adm. Code 720.111(b).

(Source: Amended at 37 Ill. Reg. 17963, effective October 24, 2013)

**Section 739.182 Use As a Dust Suppressant**

The use of used oil as a dust suppressant is prohibited.

(Source: Amended at 28 Ill. Reg. 10706, effective July 19, 2004)